## stm-abasa3_
OPEN 6.2.4
Mon Jun 22 2015 12:48:50
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "12:49:01 Coolers: Tblock -> 0.00 C"
Remark= | "12:49:04 CO2 Mixer -> OFF"
Remark= | "12:57:39 CO2 Mixer: CO2R -> 400 uml"
Remark= | "13:02:41 Coolers: Tblock -> 21.27 C"
Remark= | "13:03:15 Flow: Fixed -> 500 umol/s"
1 | 13:04:15 | 930 | 0 | 21.5274 | 0.34292 | 245.4358 | 9.5809 | 2.3153 | 25.6934 | 6 | 1.42 | 1 | 2.84 | 23.2715 | 25.6934 | 21.2618 | 401.5921 | 371.4781 | 1.7675 | 13.1176 | 4.6925 | 34.8248 | 499.8303 | 1500.0564 | 189.2755 | 76.0974 | -0.41314 | 0.30476 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0095809 | 298.8434 | 296.4215 | 240.009 | -2.4858 | 3.3135 | 43.5432 | 30.4256 | 24.4824 | 3.0829 | 0.30597 | 0.99821 | 2.0847 | 0.19424 | 18.677 | 0.6607 | 35.8357 | 361.245 | 0.021355
2 | 13:04:15 | 930 | 0 | 21.5274 | 0.34292 | 245.4358 | 9.5809 | 2.3153 | 25.6934 | 6 | 1.42 | 1 | 2.84 | 23.2715 | 25.6934 | 21.2618 | 401.5921 | 371.4781 | 1.7675 | 13.1176 | 4.6925 | 34.8248 | 499.8303 | 1500.0564 | 189.2755 | 76.0974 | -0.41314 | 0.30476 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0095809 | 298.8434 | 296.4215 | 240.009 | -2.4858 | 3.3135 | 43.5432 | 30.4256 | 24.4824 | 3.0829 | 0.30597 | 0.99821 | 2.0847 | 0.19424 | 18.677 | 0.6607 | 35.8357 | 361.245 | 0.021355
3 | 13:04:16 | 930.5 | 0 | 21.4991 | 0.34298 | 245.5834 | 9.5799 | 2.3147 | 25.689 | 6 | 1.42 | 1 | 2.84 | 23.2708 | 25.689 | 21.2619 | 401.5405 | 371.4628 | 1.7655 | 13.1138 | 4.6873 | 34.8161 | 499.8582 | 1500.1156 | 189.1933 | 76.0971 | -0.41314 | 0.30476 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0095799 | 298.839 | 296.4208 | 240.0185 | -2.4847 | 3.3127 | 43.532 | 30.4181 | 24.4799 | 3.0824 | 0.30602 | 0.99793 | 2.0845 | 0.19427 | 18.6882 | 0.66113 | 35.8366 | 361.2431 | 0.021328
4 | 13:04:16 | 931 | 0 | 21.4833 | 0.34301 | 245.6641 | 9.5795 | 2.3144 | 25.6864 | 6 | 1.42 | 1 | 2.84 | 23.2702 | 25.6864 | 21.2623 | 401.5112 | 371.4518 | 1.7629 | 13.1111 | 4.6804 | 34.81 | 499.8428 | 1500.2046 | 189.1044 | 76.0967 | -0.41314 | 0.30476 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0095795 | 298.8364 | 296.4202 | 240.0327 | -2.4841 | 3.3121 | 43.5255 | 30.4144 | 24.4783 | 3.0821 | 0.30605 | 0.99771 | 2.0844 | 0.19429 | 18.6942 | 0.66136 | 35.836 | 361.2397 | 0.021312
5 | 13:04:17 | 931.5 | 0 | 21.4709 | 0.343 | 245.6936 | 9.5779 | 2.3141 | 25.6829 | 6 | 1.42 | 1 | 2.84 | 23.2694 | 25.6829 | 21.2634 | 401.461 | 371.4169 | 1.7601 | 13.1067 | 4.6732 | 34.7997 | 499.8313 | 1500.327 | 189.0968 | 76.0962 | -0.41314 | 0.30476 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0095779 | 298.8329 | 296.4194 | 240.0523 | -2.4826 | 3.3115 | 43.5168 | 30.41 | 24.4762 | 3.0817 | 0.30604 | 0.99737 | 2.0843 | 0.19429 | 18.6963 | 0.6615 | 35.8326 | 361.2107 | 0.021299
6 | 13:04:17 | 932 | 0 | 21.3786 | 0.34319 | 246.2237 | 9.5791 | 2.3133 | 25.6785 | 6 | 1.42 | 1 | 2.84 | 23.2689 | 25.6785 | 21.2641 | 401.3596 | 371.4265 | 1.7579 | 13.1057 | 4.6675 | 34.7981 | 499.8448 | 1500.3275 | 189.0793 | 76.0962 | -0.41314 | 0.30476 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0095791 | 298.8285 | 296.4189 | 240.0524 | -2.4828 | 3.3106 | 43.5054 | 30.3997 | 24.4737 | 3.0813 | 0.30619 | 0.9973 | 2.084 | 0.19438 | 18.7367 | 0.66291 | 35.8418 | 361.2641 | 0.02121
7 | 13:04:18 | 932.5 | 0 | 21.3161 | 0.34329 | 246.5351 | 9.5799 | 2.3129 | 25.6756 | 6 | 1.42 | 1 | 2.84 | 23.2693 | 25.6756 | 21.2637 | 401.2467 | 371.3896 | 1.7559 | 13.1042 | 4.662 | 34.7933 | 499.8614 | 1500.3767 | 189.0438 | 76.0961 | -0.41314 | 0.30476 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0095799 | 298.8256 | 296.4193 | 240.0603 | -2.4826 | 3.31 | 43.4981 | 30.3939 | 24.4725 | 3.081 | 0.30627 | 0.99718 | 2.0839 | 0.19443 | 18.7604 | 0.66382 | 35.8457 | 361.257 | 0.021151
8 | 13:04:19 | 933 | 0 | 21.2819 | 0.34332 | 246.7047 | 9.5801 | 2.3127 | 25.6744 | 6 | 1.42 | 1 | 2.84 | 23.2684 | 25.6744 | 21.2647 | 401.1941 | 371.3775 | 1.7538 | 13.1027 | 4.6568 | 34.7912 | 499.8502 | 1500.4694 | 188.9631 | 76.0959 | -0.41314 | 0.30476 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0095801 | 298.8244 | 296.4184 | 240.0751 | -2.4825 | 3.3098 | 43.495 | 30.3923 | 24.4714 | 3.0808 | 0.3063 | 0.99706 | 2.0838 | 0.19445 | 18.7732 | 0.6643 | 35.8452 | 361.2611 | 0.021116
9 | 13:04:19 | 933.5 | 0 | 21.2831 | 0.34351 | 246.7544 | 9.5805 | 2.3117 | 25.6685 | 6 | 1.42 | 1 | 2.84 | 23.2688 | 25.6685 | 21.2647 | 401.1924 | 371.3734 | 1.7517 | 13.1013 | 4.651 | 34.7863 | 499.837 | 1500.5698 | 188.9765 | 76.0956 | -0.41314 | 0.30476 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0095805 | 298.8185 | 296.4188 | 240.0912 | -2.4817 | 3.3086 | 43.4801 | 30.3788 | 24.4687 | 3.0803 | 0.30644 | 0.99695 | 2.0834 | 0.19455 | 18.7769 | 0.66444 | 35.856 | 361.2565 | 0.021124
10 | 13:04:20 | 934 | 0 | 21.2611 | 0.34357 | 246.9065 | 9.579 | 2.311 | 25.6637 | 6 | 1.42 | 1 | 2.84 | 23.2676 | 25.6637 | 21.2649 | 401.1884 | 371.3954 | 1.7496 | 13.0978 | 4.6458 | 34.7796 | 499.823 | 1500.5609 | 188.9519 | 76.0957 | -0.41314 | 0.30476 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.009579 | 298.8137 | 296.4176 | 240.0897 | -2.4805 | 3.3077 | 43.4676 | 30.3698 | 24.4657 | 3.0798 | 0.30649 | 0.99669 | 2.0831 | 0.19457 | 18.7885 | 0.66481 | 35.8583 | 361.289 | 0.021102
11 | 13:04:20 | 934.5 | 0 | 21.2717 | 0.34367 | 246.8917 | 9.5791 | 2.3104 | 25.66 | 6 | 1.42 | 1 | 2.84 | 23.2668 | 25.66 | 21.2658 | 401.2081 | 371.4007 | 1.7467 | 13.0957 | 4.6383 | 34.7758 | 499.7951 | 1500.6161 | 188.8899 | 76.0958 | -0.41314 | 0.30476 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83299 | 0.0095791 | 298.81 | 296.4168 | 240.0986 | -2.48 | 3.307 | 43.4578 | 30.3621 | 24.4634 | 3.0794 | 0.30657 | 0.99653 | 2.0828 | 0.19463 | 18.7874 | 0.66476 | 35.8626 | 361.2892 | 0.021115
12 | 13:04:21 | 935.5 | 0 | 21.3333 | 0.34412 | 246.7168 | 9.5811 | 2.3083 | 25.6482 | 6 | 1.42 | 1 | 2.84 | 23.2644 | 25.6482 | 21.2658 | 401.2742 | 371.3938 | 1.7428 | 13.0936 | 4.6288 | 34.7754 | 499.8253 | 1500.6002 | 188.9681 | 76.0963 | -0.41314 | 0.30476 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0095811 | 298.7982 | 296.4144 | 240.096 | -2.4799 | 3.3046 | 43.4272 | 30.3336 | 24.4563 | 3.0781 | 0.30693 | 0.99637 | 2.0817 | 0.19486 | 18.7742 | 0.6643 | 35.8877 | 361.2529 | 0.021193
13 | 13:04:21 | 936 | 0 | 21.3626 | 0.34431 | 246.593 | 9.5803 | 2.307 | 25.6402 | 6 | 1.42 | 1 | 2.84 | 23.2633 | 25.6402 | 21.2659 | 401.2672 | 371.3533 | 1.7405 | 13.09 | 4.6229 | 34.7681 | 499.8389 | 1500.6497 | 188.97 | 76.0961 | -0.41314 | 0.30476 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0095803 | 298.7902 | 296.4133 | 240.1039 | -2.4784 | 3.3031 | 43.4067 | 30.3167 | 24.4518 | 3.0772 | 0.30708 | 0.9961 | 2.0811 | 0.19495 | 18.7648 | 0.66404 | 35.8977 | 361.1986 | 0.021231
14 | 13:04:22 | 936.5 | 0 | 21.3192 | 0.34453 | 246.8826 | 9.5807 | 2.3058 | 25.6333 | 6 | 1.42 | 1 | 2.84 | 23.2623 | 25.6333 | 21.267 | 401.2167 | 371.355 | 1.7384 | 13.0883 | 4.6176 | 34.7656 | 499.8453 | 1500.7031 | 188.9422 | 76.0961 | -0.41314 | 0.30476 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0095807 | 298.7833 | 296.4123 | 240.1125 | -2.4778 | 3.3017 | 43.3891 | 30.3008 | 24.4478 | 3.0765 | 0.30726 | 0.99596 | 2.0805 | 0.19507 | 18.7868 | 0.66482 | 35.9105 | 361.2209 | 0.021194
15 | 13:04:22 | 937 | 0 | 21.2301 | 0.34483 | 247.3882 | 9.5811 | 2.3041 | 25.6243 | 6 | 1.42 | 1 | 2.84 | 23.2617 | 25.6243 | 21.2669 | 401.0735 | 371.3193 | 1.7361 | 13.0863 | 4.6116 | 34.7618 | 499.8497 | 1500.6886 | 188.9265 | 76.0963 | -0.41314 | 0.30476 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0095811 | 298.7743 | 296.4117 | 240.1102 | -2.4769 | 3.3 | 43.3656 | 30.2792 | 24.443 | 3.0756 | 0.30749 | 0.99582 | 2.0798 | 0.19522 | 18.8253 | 0.66624 | 35.9283 | 361.2275 | 0.021116 | 21.3697 | 23.2677 | 25.6675 | #DIV/0! | 933.1667 | 0 | 21.3697 | 0.34354 | 246.3606 | 9.58 | 2.3114 | 25.6675 | 6 | 1.42 | 1 | 2.84 | 23.2677 | 25.6675 | 21.2643 | 401.3279 | 371.4048 | 1.7531 | 13.1022 | 4.6552 | 34.7914 | 499.8376 | 1500.4215 | 189.0438 | 76.0963 | -0.41314 | 0.30476 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.00958 | 298.8175 | 296.4177 | 240.0674 | -2.4817 | 3.3084 | 43.4769 | 30.3747 | 24.4676 | 3.0801 | 0.30647 | 0.99703 | 2.0831 | 0.19456 | 18.7471 | 0.66332 | 35.8607 | 361.2467 | 0.021214
Remark= | "13:04:45 Coolers: Tblock -> 26.00 C"
Remark= | "13:06:47 Flow: Fixed -> 500 umol/s"
Remark= | "13:08:02 Flow: Fixed -> 500 umol/s"
16 | 13:08:25 | 1180 | 0 | 20.8539 | 0.31354 | 239.3454 | 9.2702 | 2.4191 | 27.212 | 6 | 1.42 | 1 | 2.84 | 26.8878 | 27.212 | 25.9922 | 400.81 | 371.64 | 4.8812 | 15.8334 | 10.4467 | 33.887 | 499.8109 | 1499.9365 | 192.2893 | 76.0984 | -0.74694 | 0.29449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83302 | 0.0092702 | 300.362 | 300.0378 | 239.9898 | -2.0387 | 3.624 | 47.622 | 31.7886 | 27.0499 | 3.5897 | 0.28237 | 1.2049 | 2.3848 | 0.17904 | 18.2138 | 0.64402 | 37.9152 | 361.7271 | 0.021858
17 | 13:08:25 | 1180 | 0 | 20.8539 | 0.31354 | 239.3454 | 9.2702 | 2.4191 | 27.212 | 6 | 1.42 | 1 | 2.84 | 26.8878 | 27.212 | 25.9922 | 400.81 | 371.64 | 4.8812 | 15.8334 | 10.4467 | 33.887 | 499.8109 | 1499.9365 | 192.2893 | 76.0984 | -0.74694 | 0.29449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83302 | 0.0092702 | 300.362 | 300.0378 | 239.9898 | -2.0387 | 3.624 | 47.622 | 31.7886 | 27.0499 | 3.5897 | 0.28237 | 1.2049 | 2.3848 | 0.17904 | 18.2138 | 0.64402 | 37.9152 | 361.7271 | 0.021858
18 | 13:08:26 | 1180.5 | 0 | 20.8655 | 0.31351 | 239.2475 | 9.2705 | 2.4194 | 27.2137 | 6 | 1.42 | 1 | 2.84 | 26.8887 | 27.2137 | 25.992 | 400.7989 | 371.6163 | 4.8822 | 15.8344 | 10.4484 | 33.8872 | 499.8309 | 1499.9088 | 192.2937 | 76.0984 | -0.74694 | 0.29449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0092705 | 300.3637 | 300.0387 | 239.9854 | -2.039 | 3.6243 | 47.6268 | 31.7924 | 27.0512 | 3.5899 | 0.28234 | 1.205 | 2.385 | 0.17902 | 18.2064 | 0.6438 | 37.9131 | 361.6978 | 0.021871
19 | 13:08:26 | 1181 | 0 | 20.8539 | 0.31352 | 239.342 | 9.2711 | 2.4194 | 27.2147 | 6 | 1.42 | 1 | 2.84 | 26.8897 | 27.2147 | 25.9915 | 400.8165 | 371.6463 | 4.8828 | 15.836 | 10.4492 | 33.889 | 499.8142 | 1499.8458 | 192.2827 | 76.0987 | -0.74694 | 0.29449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83302 | 0.0092711 | 300.3647 | 300.0397 | 239.9753 | -2.0394 | 3.6245 | 47.6295 | 31.7934 | 27.0522 | 3.5901 | 0.28235 | 1.2051 | 2.385 | 0.17903 | 18.2136 | 0.644 | 37.9147 | 361.7334 | 0.021858
20 | 13:08:27 | 1181.5 | 0 | 20.8545 | 0.31345 | 239.3003 | 9.2696 | 2.4196 | 27.2146 | 6 | 1.42 | 1 | 2.84 | 26.8904 | 27.2146 | 25.991 | 400.8025 | 371.6321 | 4.8826 | 15.8342 | 10.4482 | 33.8833 | 499.8109 | 1499.8767 | 192.1279 | 76.0986 | -0.74694 | 0.29449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83302 | 0.0092696 | 300.3646 | 300.0404 | 239.9803 | -2.0385 | 3.6245 | 47.6292 | 31.795 | 27.0525 | 3.5902 | 0.28229 | 1.205 | 2.3853 | 0.17899 | 18.2104 | 0.64392 | 37.9098 | 361.7189 | 0.021857
21 | 13:08:27 | 1182 | 0 | 20.8702 | 0.3134 | 239.1923 | 9.2692 | 2.4198 | 27.2157 | 6 | 1.42 | 1 | 2.84 | 26.8917 | 27.2157 | 25.9908 | 400.8165 | 371.627 | 4.8829 | 15.8342 | 10.4482 | 33.8811 | 499.8008 | 1499.9001 | 192.0867 | 76.0987 | -0.74694 | 0.29449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.833 | 0.0092692 | 300.3657 | 300.0417 | 239.984 | -2.0382 | 3.6247 | 47.6322 | 31.798 | 27.0537 | 3.5905 | 0.28225 | 1.205 | 2.3855 | 0.17896 | 18.2022 | 0.64364 | 37.9069 | 361.7062 | 0.021872
22 | 13:08:28 | 1182.5 | 0 | 20.8565 | 0.31338 | 239.2794 | 9.2698 | 2.4201 | 27.2174 | 6 | 1.42 | 1 | 2.84 | 26.8922 | 27.2174 | 25.991 | 400.822 | 371.6479 | 4.8834 | 15.8355 | 10.4489 | 33.8829 | 499.7924 | 1499.895 | 192.2267 | 76.0991 | -0.74694 | 0.29449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83299 | 0.0092698 | 300.3674 | 300.0422 | 239.9832 | -2.0387 | 3.6251 | 47.6369 | 31.8014 | 27.0548 | 3.5907 | 0.28224 | 1.2051 | 2.3856 | 0.17896 | 18.209 | 0.64383 | 37.9059 | 361.7338 | 0.021855
23 | 13:08:28 | 1183 | 0 | 20.8726 | 0.31349 | 239.2455 | 9.273 | 2.4201 | 27.2191 | 6 | 1.42 | 1 | 2.84 | 26.8931 | 27.2191 | 25.9913 | 400.8606 | 371.6661 | 4.8835 | 15.8392 | 10.4486 | 33.8892 | 499.8011 | 1499.8196 | 192.3109 | 76.0994 | -0.74694 | 0.29449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.833 | 0.009273 | 300.3691 | 300.0431 | 239.9711 | -2.0406 | 3.6255 | 47.6413 | 31.8021 | 27.0561 | 3.591 | 0.28233 | 1.2054 | 2.3856 | 0.17901 | 18.2064 | 0.64371 | 37.9121 | 361.7442 | 0.021875
24 | 13:08:29 | 1183.5 | 0 | 20.9122 | 0.31355 | 239.041 | 9.2742 | 2.4201 | 27.2194 | 6 | 1.42 | 1 | 2.84 | 26.8938 | 27.2194 | 25.9911 | 400.9 | 371.6577 | 4.8839 | 15.841 | 10.449 | 33.8915 | 499.8036 | 1499.817 | 192.3973 | 76.0994 | -0.74694 | 0.29449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83301 | 0.0092742 | 300.3694 | 300.0438 | 239.9707 | -2.0412 | 3.6255 | 47.6422 | 31.8013 | 27.0566 | 3.5911 | 0.28237 | 1.2055 | 2.3856 | 0.17904 | 18.1909 | 0.64318 | 37.916 | 361.7171 | 0.021921
25 | 13:08:29 | 1184 | 0 | 20.9518 | 0.31361 | 238.8311 | 9.2767 | 2.4203 | 27.2209 | 6 | 1.42 | 1 | 2.84 | 26.8942 | 27.2209 | 25.9913 | 400.9341 | 371.6447 | 4.8826 | 15.8421 | 10.446 | 33.8932 | 499.8269 | 1499.7966 | 192.3375 | 76.0994 | -0.74694 | 0.29449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0092767 | 300.3709 | 300.0442 | 239.9675 | -2.0427 | 3.6259 | 47.6464 | 31.8043 | 27.0576 | 3.5913 | 0.28242 | 1.2056 | 2.3857 | 0.17907 | 18.1749 | 0.64263 | 37.9164 | 361.6852 | 0.021964
26 | 13:08:30 | 1184.5 | 0 | 20.9534 | 0.31351 | 238.7963 | 9.276 | 2.4208 | 27.2228 | 6 | 1.42 | 1 | 2.84 | 26.8944 | 27.2228 | 25.9912 | 400.9462 | 371.6543 | 4.8819 | 15.8408 | 10.4445 | 33.8903 | 499.8135 | 1499.7876 | 192.4388 | 76.0998 | -0.74694 | 0.29449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83302 | 0.009276 | 300.3728 | 300.0444 | 239.966 | -2.0425 | 3.6263 | 47.6514 | 31.8106 | 27.0586 | 3.5915 | 0.28234 | 1.2055 | 2.386 | 0.17902 | 18.1724 | 0.64252 | 37.9087 | 361.6941 | 0.021961
27 | 13:08:30 | 1185 | 0 | 20.9515 | 0.31343 | 238.7713 | 9.2755 | 2.4212 | 27.2245 | 6 | 1.42 | 1 | 2.84 | 26.8946 | 27.2245 | 25.9919 | 400.9363 | 371.6485 | 4.882 | 15.8397 | 10.4444 | 33.8876 | 499.8409 | 1499.8229 | 192.4511 | 76.0998 | -0.74694 | 0.29449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0092755 | 300.3745 | 300.0446 | 239.9717 | -2.0424 | 3.6266 | 47.6561 | 31.8163 | 27.0595 | 3.5917 | 0.28228 | 1.2054 | 2.3863 | 0.17898 | 18.1704 | 0.64247 | 37.9019 | 361.6892 | 0.021955
28 | 13:08:31 | 1185.5 | 0 | 20.9468 | 0.31337 | 238.797 | 9.2756 | 2.4217 | 27.2266 | 6 | 1.42 | 1 | 2.84 | 26.8955 | 27.2266 | 25.9926 | 400.9567 | 371.6747 | 4.8819 | 15.8396 | 10.4437 | 33.8854 | 499.8493 | 1499.8073 | 192.4937 | 76.0997 | -0.74694 | 0.29449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0092756 | 300.3766 | 300.0455 | 239.9692 | -2.0427 | 3.6271 | 47.6622 | 31.8226 | 27.0611 | 3.592 | 0.28222 | 1.2054 | 2.3866 | 0.17895 | 18.1724 | 0.64249 | 37.8962 | 361.7176 | 0.021945
29 | 13:08:31 | 1186 | 0 | 20.9588 | 0.31326 | 238.689 | 9.2755 | 2.4224 | 27.2297 | 6 | 1.42 | 1 | 2.84 | 26.8957 | 27.2297 | 25.993 | 400.9666 | 371.6708 | 4.8819 | 15.8393 | 10.4436 | 33.8844 | 499.8589 | 1499.7853 | 192.6009 | 76.0997 | -0.74694 | 0.29449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0092755 | 300.3797 | 300.0457 | 239.9656 | -2.0431 | 3.6277 | 47.6709 | 31.8316 | 27.0627 | 3.5924 | 0.28214 | 1.2054 | 2.387 | 0.17889 | 18.1642 | 0.64221 | 37.8877 | 361.708 | 0.021954
30 | 13:08:32 | 1186.5 | 0 | 20.974 | 0.31325 | 238.5895 | 9.2754 | 2.4224 | 27.2299 | 6 | 1.42 | 1 | 2.84 | 26.8964 | 27.2299 | 25.9925 | 400.9709 | 371.6587 | 4.8822 | 15.8389 | 10.4439 | 33.882 | 499.8868 | 1499.7313 | 192.4793 | 76.0996 | -0.74694 | 0.29449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0092754 | 300.3799 | 300.0464 | 239.957 | -2.043 | 3.6278 | 47.6713 | 31.8324 | 27.0631 | 3.5925 | 0.28213 | 1.2053 | 2.3871 | 0.17889 | 18.1566 | 0.64196 | 37.8863 | 361.6887 | 0.02197 | 20.902 | 26.8924 | 27.2195 | #DIV/0! | 1183.0333 | 0 | 20.902 | 0.31345 | 239.0542 | 9.2728 | 2.4204 | 27.2195 | 6 | 1.42 | 1 | 2.84 | 26.8924 | 27.2195 | 25.9917 | 400.8765 | 371.6484 | 4.8824 | 15.8375 | 10.4467 | 33.8867 | 499.8235 | 1499.8445 | 192.3404 | 76.0991 | -0.74694 | 0.29449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0092728 | 300.3695 | 300.0424 | 239.9751 | -2.0406 | 3.6256 | 47.6427 | 31.8052 | 27.056 | 3.5909 | 0.2823 | 1.2052 | 2.3857 | 0.17899 | 18.1918 | 0.64323 | 37.9071 | 361.7126 | 0.021905
Remark= | "13:08:41 Coolers: Tblock -> 31.00 C"
Remark= | "13:11:15 Flow: Fixed -> 500 umol/s"
31 | 13:11:52 | 1387.5 | 0 | 19.7751 | 0.2751 | 231.2945 | 8.6816 | 2.532 | 29.7984 | 6 | 1.42 | 1 | 2.84 | 31.0827 | 29.7984 | 31.0704 | 399.9682 | 372.3528 | 11.879 | 22.0693 | 19.9422 | 37.0493 | 499.8891 | 1498.5188 | 193.9051 | 76.0933 | -0.77264 | 0.29077 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0086816 | 302.9484 | 304.2327 | 239.763 | -1.5018 | 4.2114 | 55.3446 | 33.2753 | 30.4405 | 4.3694 | 0.2508 | 1.6793 | 2.6901 | 0.15877 | 17.6 | 0.62117 | 42.9786 | 362.9526 | 0.023416
32 | 13:11:53 | 1387.5 | 0 | 19.7751 | 0.2751 | 231.2945 | 8.6816 | 2.532 | 29.7984 | 6 | 1.42 | 1 | 2.84 | 31.0827 | 29.7984 | 31.0704 | 399.9682 | 372.3528 | 11.879 | 22.0693 | 19.9422 | 37.0493 | 499.8891 | 1498.5188 | 193.9051 | 76.0933 | -0.77264 | 0.29077 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0086816 | 302.9484 | 304.2327 | 239.763 | -1.5018 | 4.2114 | 55.3446 | 33.2753 | 30.4405 | 4.3694 | 0.2508 | 1.6793 | 2.6901 | 0.15877 | 17.6 | 0.62117 | 42.9786 | 362.9526 | 0.023416
33 | 13:11:53 | 1388 | 0 | 19.7606 | 0.27514 | 231.4088 | 8.6837 | 2.5323 | 29.8004 | 6 | 1.42 | 1 | 2.84 | 31.0838 | 29.8004 | 31.0695 | 399.9638 | 372.363 | 11.8791 | 22.0725 | 19.941 | 37.0523 | 499.8563 | 1498.5186 | 193.8404 | 76.0934 | -0.77264 | 0.29077 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0086837 | 302.9504 | 304.2338 | 239.763 | -1.5031 | 4.2119 | 55.3511 | 33.2786 | 30.4421 | 4.3698 | 0.25084 | 1.6796 | 2.6903 | 0.15879 | 17.6087 | 0.62146 | 42.9801 | 362.9698 | 0.023399
34 | 13:11:54 | 1388.5 | 0 | 19.7559 | 0.27502 | 231.3785 | 8.6828 | 2.533 | 29.8034 | 6 | 1.42 | 1 | 2.84 | 31.0851 | 29.8034 | 31.0697 | 399.9506 | 372.3559 | 11.8801 | 22.0725 | 19.9412 | 37.0494 | 499.8564 | 1498.5133 | 193.771 | 76.0933 | -0.77264 | 0.29077 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0086828 | 302.9534 | 304.2351 | 239.7621 | -1.5028 | 4.2126 | 55.3606 | 33.2881 | 30.4442 | 4.3704 | 0.25074 | 1.6796 | 2.6908 | 0.15873 | 17.6063 | 0.62139 | 42.9712 | 362.9649 | 0.023389
35 | 13:11:54 | 1389 | 0 | 19.801 | 0.27508 | 231.1109 | 8.6857 | 2.5333 | 29.8063 | 6 | 1.42 | 1 | 2.84 | 31.087 | 29.8063 | 31.0699 | 399.9937 | 372.3426 | 11.8815 | 22.0775 | 19.9414 | 37.054 | 499.8376 | 1498.422 | 193.8158 | 76.0935 | -0.77264 | 0.29077 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0086857 | 302.9563 | 304.237 | 239.7475 | -1.5046 | 4.2133 | 55.3698 | 33.2923 | 30.4467 | 4.371 | 0.25079 | 1.68 | 2.691 | 0.15876 | 17.586 | 0.62069 | 42.9742 | 362.9301 | 0.023446
36 | 13:11:55 | 1389.5 | 0 | 19.7835 | 0.27512 | 231.2445 | 8.6881 | 2.5337 | 29.809 | 6 | 1.42 | 1 | 2.84 | 31.0884 | 29.809 | 31.0698 | 399.9868 | 372.3559 | 11.8825 | 22.0812 | 19.9415 | 37.0571 | 499.8457 | 1498.4172 | 193.8179 | 76.0935 | -0.77264 | 0.29077 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0086881 | 302.959 | 304.2384 | 239.7468 | -1.5061 | 4.2139 | 55.3783 | 33.2971 | 30.4487 | 4.3715 | 0.25082 | 1.6802 | 2.6913 | 0.15878 | 17.5962 | 0.62103 | 42.9751 | 362.9518 | 0.023425
37 | 13:11:55 | 1390 | 0 | 19.7904 | 0.27509 | 231.2251 | 8.6889 | 2.5341 | 29.8117 | 6 | 1.42 | 1 | 2.84 | 31.09 | 29.8117 | 31.07 | 400.0351 | 372.395 | 11.8846 | 22.0843 | 19.9432 | 37.0589 | 499.8407 | 1498.5088 | 193.8444 | 76.0933 | -0.77264 | 0.29077 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0086889 | 302.9617 | 304.24 | 239.7614 | -1.5064 | 4.2146 | 55.3871 | 33.3028 | 30.4509 | 4.372 | 0.2508 | 1.6805 | 2.6916 | 0.15876 | 17.5947 | 0.62091 | 42.9734 | 362.9876 | 0.023429
38 | 13:11:56 | 1390.5 | 0 | 19.8002 | 0.27509 | 231.1647 | 8.6915 | 2.5349 | 29.8162 | 6 | 1.42 | 1 | 2.84 | 31.0912 | 29.8162 | 31.0702 | 400.0541 | 372.4015 | 11.8856 | 22.0881 | 19.9435 | 37.0629 | 499.8477 | 1498.7792 | 193.8951 | 76.0936 | -0.77264 | 0.29077 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0086915 | 302.9662 | 304.2412 | 239.8047 | -1.5077 | 4.2157 | 55.4011 | 33.313 | 30.4537 | 4.3727 | 0.2508 | 1.6808 | 2.692 | 0.15876 | 17.5902 | 0.62074 | 42.9699 | 362.9894 | 0.023439
39 | 13:11:56 | 1391 | 0 | 19.8085 | 0.27504 | 231.0927 | 8.6931 | 2.5358 | 29.8206 | 6 | 1.42 | 1 | 2.84 | 31.0931 | 29.8206 | 31.0706 | 400.0693 | 372.4066 | 11.8871 | 22.0912 | 19.9439 | 37.0639 | 499.8604 | 1499.0659 | 193.8184 | 76.0934 | -0.77264 | 0.29077 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0086931 | 302.9706 | 304.2431 | 239.8505 | -1.5083 | 4.2167 | 55.4154 | 33.3242 | 30.4569 | 4.3735 | 0.25075 | 1.681 | 2.6925 | 0.15874 | 17.5846 | 0.62054 | 42.964 | 362.9906 | 0.023446
40 | 13:11:57 | 1391.5 | 0 | 19.7997 | 0.27497 | 231.1301 | 8.6942 | 2.5366 | 29.825 | 6 | 1.42 | 1 | 2.84 | 31.0942 | 29.825 | 31.0712 | 400.0749 | 372.423 | 11.8888 | 22.0938 | 19.9454 | 37.066 | 499.8783 | 1499.318 | 193.8092 | 76.0935 | -0.77264 | 0.29077 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0086942 | 302.975 | 304.2442 | 239.8909 | -1.5089 | 4.2178 | 55.4292 | 33.3354 | 30.4596 | 4.3742 | 0.2507 | 1.6812 | 2.693 | 0.1587 | 17.5875 | 0.62061 | 42.9573 | 363.0112 | 0.02343
41 | 13:11:57 | 1392 | 0 | 19.8145 | 0.27491 | 231.0032 | 8.6951 | 2.5374 | 29.8292 | 6 | 1.42 | 1 | 2.84 | 31.0956 | 29.8292 | 31.0714 | 400.0875 | 372.419 | 11.8913 | 22.0968 | 19.9482 | 37.0684 | 499.9039 | 1499.519 | 193.8361 | 76.0937 | -0.77264 | 0.29077 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0086951 | 302.9792 | 304.2456 | 239.923 | -1.5094 | 4.2188 | 55.4426 | 33.3458 | 30.4624 | 4.3749 | 0.25064 | 1.6814 | 2.6935 | 0.15867 | 17.5779 | 0.62028 | 42.9516 | 363.0001 | 0.023445
42 | 13:11:58 | 1392.5 | 0 | 19.8155 | 0.27492 | 230.9869 | 8.6973 | 2.5379 | 29.8324 | 6 | 1.42 | 1 | 2.84 | 31.0972 | 29.8324 | 31.071 | 400.076 | 372.406 | 11.8922 | 22.1 | 19.9479 | 37.0705 | 499.9147 | 1499.7877 | 193.88 | 76.0942 | -0.77264 | 0.29077 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0086973 | 302.9824 | 304.2472 | 239.966 | -1.5102 | 4.2196 | 55.4526 | 33.3526 | 30.4648 | 4.3755 | 0.25066 | 1.6817 | 2.6938 | 0.15867 | 17.5768 | 0.62026 | 42.9501 | 362.9867 | 0.023447
43 | 13:11:58 | 1393 | 0 | 19.7786 | 0.27484 | 231.2065 | 8.6975 | 2.5387 | 29.8361 | 6 | 1.42 | 1 | 2.84 | 31.0987 | 29.8361 | 31.0716 | 400.0645 | 372.4405 | 11.8942 | 22.1015 | 19.9497 | 37.07 | 499.955 | 1500.0947 | 193.9132 | 76.0942 | -0.77264 | 0.29077 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83326 | 0.0086975 | 302.9861 | 304.2487 | 240.0152 | -1.5101 | 4.2205 | 55.4643 | 33.3627 | 30.4674 | 4.3762 | 0.25059 | 1.6818 | 2.6944 | 0.15863 | 17.5935 | 0.62079 | 42.9428 | 363.0387 | 0.023396
44 | 13:11:59 | 1393.5 | 0 | 19.7973 | 0.27475 | 231.0621 | 8.6977 | 2.5395 | 29.84 | 6 | 1.42 | 1 | 2.84 | 31.1005 | 29.84 | 31.0719 | 400.0994 | 372.4519 | 11.8961 | 22.1039 | 19.9508 | 37.0701 | 499.938 | 1500.3123 | 193.9356 | 76.0943 | -0.77264 | 0.29077 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0086977 | 302.99 | 304.2505 | 240.05 | -1.51 | 4.2214 | 55.4765 | 33.3726 | 30.4702 | 4.3769 | 0.25051 | 1.682 | 2.6949 | 0.15858 | 17.5825 | 0.62038 | 42.9365 | 363.0413 | 0.023414
45 | 13:11:59 | 1394 | 0 | 19.7929 | 0.27472 | 231.0751 | 8.6988 | 2.54 | 29.8432 | 6 | 1.42 | 1 | 2.84 | 31.1017 | 29.8432 | 31.0714 | 400.0963 | 372.4535 | 11.8978 | 22.1069 | 19.9522 | 37.0726 | 499.9374 | 1500.3958 | 193.9727 | 76.0944 | -0.77264 | 0.29077 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0086988 | 302.9932 | 304.2517 | 240.0633 | -1.5107 | 4.2222 | 55.4867 | 33.3798 | 30.4724 | 4.3774 | 0.25049 | 1.6822 | 2.6952 | 0.15857 | 17.5835 | 0.62041 | 42.9337 | 363.0449 | 0.023407 | 19.7899 | 31.0915 | 29.818 | #DIV/0! | 1390.5333 | 0 | 19.7899 | 0.27499 | 231.1785 | 8.6905 | 2.5354 | 29.818 | 6 | 1.42 | 1 | 2.84 | 31.0915 | 29.818 | 31.0706 | 400.0326 | 372.3947 | 11.8866 | 22.0872 | 19.945 | 37.061 | 499.8833 | 1499.1127 | 193.864 | 76.0937 | -0.77264 | 0.29077 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0086905 | 302.968 | 304.2415 | 239.858 | -1.5068 | 4.2161 | 55.407 | 33.3197 | 30.4547 | 4.373 | 0.25072 | 1.6807 | 2.6923 | 0.15871 | 17.5912 | 0.62079 | 42.9625 | 362.9875 | 0.023423
Remark= | "13:12:08 Coolers: Tblock -> 36.00 C"
Remark= | "13:16:48 Flow: Fixed -> 500 umol/s"
46 | 13:17:01 | 1696.5 | 0 | 18.0448 | 0.23893 | 225.2071 | 8.8799 | 2.9206 | 33.0657 | 6 | 1.42 | 1 | 2.84 | 35.5101 | 33.0657 | 35.9516 | 399.4898 | 373.8444 | 17.8988 | 28.2568 | 23.443 | 37.0095 | 499.8447 | 1498.7025 | 198.023 | 76.0951 | -0.34051 | 0.27879 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0088799 | 306.2157 | 308.6601 | 239.7924 | -1.4199 | 5.0708 | 66.6375 | 38.3807 | 34.2879 | 5.4294 | 0.22039 | 2.1502 | 3.2792 | 0.1393 | 17.1372 | 0.60241 | 44.227 | 365.2668 | 0.021849
47 | 13:17:01 | 1697 | 0 | 18.0375 | 0.23897 | 225.2837 | 8.8817 | 2.9207 | 33.0671 | 6 | 1.42 | 1 | 2.84 | 35.5112 | 33.0671 | 35.953 | 399.4873 | 373.851 | 17.9015 | 28.2611 | 23.4449 | 37.0124 | 499.8683 | 1498.7169 | 198.1459 | 76.0947 | -0.34051 | 0.27879 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0088817 | 306.2171 | 308.6612 | 239.7947 | -1.4208 | 5.0712 | 66.643 | 38.382 | 34.2892 | 5.4298 | 0.22042 | 2.1505 | 3.2793 | 0.13932 | 17.1429 | 0.6026 | 44.2303 | 365.2769 | 0.021841
48 | 13:17:02 | 1697 | 0 | 18.0375 | 0.23897 | 225.2837 | 8.8817 | 2.9207 | 33.0671 | 6 | 1.42 | 1 | 2.84 | 35.5112 | 33.0671 | 35.953 | 399.4873 | 373.851 | 17.9015 | 28.2611 | 23.4449 | 37.0124 | 499.8683 | 1498.7169 | 198.1459 | 76.0947 | -0.34051 | 0.27879 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0088817 | 306.2171 | 308.6612 | 239.7947 | -1.4208 | 5.0712 | 66.643 | 38.382 | 34.2892 | 5.4298 | 0.22042 | 2.1505 | 3.2793 | 0.13932 | 17.1429 | 0.6026 | 44.2303 | 365.2769 | 0.021841
49 | 13:17:02 | 1697.5 | 0 | 18.0472 | 0.23903 | 225.2421 | 8.8828 | 2.9204 | 33.067 | 6 | 1.42 | 1 | 2.84 | 35.5114 | 33.067 | 35.9531 | 399.4962 | 373.8475 | 17.9032 | 28.2642 | 23.447 | 37.0163 | 499.8606 | 1498.6696 | 198.227 | 76.0948 | -0.34051 | 0.27879 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0088828 | 306.217 | 308.6614 | 239.7871 | -1.4214 | 5.0712 | 66.6426 | 38.3784 | 34.2892 | 5.4298 | 0.22047 | 2.1508 | 3.279 | 0.13935 | 17.1398 | 0.6025 | 44.236 | 365.2687 | 0.021856
50 | 13:17:03 | 1698 | 0 | 18.0422 | 0.23905 | 225.2762 | 8.8846 | 2.9207 | 33.069 | 6 | 1.42 | 1 | 2.84 | 35.5128 | 33.069 | 35.9532 | 399.4819 | 373.8383 | 17.9043 | 28.2673 | 23.4465 | 37.0174 | 499.8597 | 1498.7107 | 198.241 | 76.0947 | -0.34051 | 0.27879 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0088846 | 306.219 | 308.6628 | 239.7937 | -1.4223 | 5.0717 | 66.65 | 38.3827 | 34.2909 | 5.4303 | 0.22049 | 2.151 | 3.2793 | 0.13936 | 17.1423 | 0.6026 | 44.236 | 365.2619 | 0.021851
51 | 13:17:03 | 1698.5 | 0 | 18.0636 | 0.23906 | 225.1237 | 8.8858 | 2.921 | 33.0708 | 6 | 1.42 | 1 | 2.84 | 35.514 | 33.0708 | 35.9537 | 399.4996 | 373.8308 | 17.9063 | 28.2704 | 23.4477 | 37.0191 | 499.8772 | 1498.696 | 198.2667 | 76.095 | -0.34051 | 0.27879 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0088858 | 306.2208 | 308.664 | 239.7914 | -1.4231 | 5.0722 | 66.6567 | 38.3863 | 34.2924 | 5.4308 | 0.2205 | 2.1512 | 3.2795 | 0.13937 | 17.1308 | 0.60221 | 44.2363 | 365.2442 | 0.021878
52 | 13:17:04 | 1699 | 0 | 18.0838 | 0.23915 | 225.0084 | 8.8869 | 2.9203 | 33.0694 | 6 | 1.42 | 1 | 2.84 | 35.5146 | 33.0694 | 35.9526 | 399.4973 | 373.8047 | 17.9089 | 28.2739 | 23.4503 | 37.0226 | 499.8902 | 1498.6619 | 198.2945 | 76.0951 | -0.34051 | 0.27879 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0088869 | 306.2194 | 308.6646 | 239.7859 | -1.4234 | 5.0718 | 66.6512 | 38.3773 | 34.292 | 5.4306 | 0.22058 | 2.1515 | 3.2791 | 0.13942 | 17.122 | 0.60194 | 44.2465 | 365.2085 | 0.021909
53 | 13:17:04 | 1699.5 | 0 | 18.1018 | 0.23916 | 224.8518 | 8.8859 | 2.9199 | 33.0679 | 6 | 1.42 | 1 | 2.84 | 35.5153 | 33.0679 | 35.9521 | 399.4783 | 373.7639 | 17.91 | 28.2743 | 23.4508 | 37.0214 | 499.869 | 1498.686 | 198.3455 | 76.0949 | -0.34051 | 0.27879 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0088859 | 306.2179 | 308.6653 | 239.7898 | -1.4225 | 5.0714 | 66.6461 | 38.3718 | 34.2916 | 5.4305 | 0.22058 | 2.1515 | 3.279 | 0.13942 | 17.1101 | 0.60159 | 44.2505 | 365.1592 | 0.021936
54 | 13:17:05 | 1700 | 0 | 18.1191 | 0.23922 | 224.7672 | 8.8874 | 2.9197 | 33.0683 | 6 | 1.42 | 1 | 2.84 | 35.516 | 33.0683 | 35.9522 | 399.5047 | 373.7694 | 17.9121 | 28.2779 | 23.4526 | 37.0247 | 499.8822 | 1498.6508 | 198.3724 | 76.0948 | -0.34051 | 0.27879 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0088874 | 306.2183 | 308.666 | 239.7841 | -1.4233 | 5.0715 | 66.6474 | 38.3695 | 34.2921 | 5.4307 | 0.22063 | 2.1518 | 3.2789 | 0.13945 | 17.1036 | 0.60135 | 44.2559 | 365.1565 | 0.02196
55 | 13:17:05 | 1700.5 | 0 | 18.1237 | 0.23927 | 224.7719 | 8.8882 | 2.9194 | 33.0679 | 6 | 1.42 | 1 | 2.84 | 35.517 | 33.0679 | 35.9521 | 399.5183 | 373.7771 | 17.9146 | 28.2813 | 23.4546 | 37.0271 | 499.8823 | 1498.6555 | 198.3927 | 76.0949 | -0.34051 | 0.27879 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0088882 | 306.2179 | 308.667 | 239.7849 | -1.4236 | 5.0714 | 66.646 | 38.3647 | 34.2925 | 5.4308 | 0.22068 | 2.1521 | 3.2787 | 0.13948 | 17.104 | 0.60135 | 44.2626 | 365.1619 | 0.021968
56 | 13:17:06 | 1701 | 0 | 18.125 | 0.23924 | 224.7354 | 8.8877 | 2.9196 | 33.0691 | 6 | 1.42 | 1 | 2.84 | 35.5182 | 33.0691 | 35.9521 | 399.5111 | 373.7676 | 17.9163 | 28.2828 | 23.4554 | 37.0269 | 499.8615 | 1498.6143 | 198.3663 | 76.0949 | -0.34051 | 0.27879 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0088877 | 306.2191 | 308.6682 | 239.7783 | -1.4234 | 5.0718 | 66.6503 | 38.3675 | 34.2936 | 5.4311 | 0.22065 | 2.1522 | 3.279 | 0.13946 | 17.1012 | 0.60127 | 44.2614 | 365.1518 | 0.02197
57 | 13:17:06 | 1701.5 | 0 | 18.1242 | 0.23921 | 224.7204 | 8.8877 | 2.9199 | 33.0709 | 6 | 1.42 | 1 | 2.84 | 35.5194 | 33.0709 | 35.9517 | 399.5052 | 373.7629 | 17.919 | 28.2853 | 23.4573 | 37.0276 | 499.8666 | 1498.5732 | 198.4194 | 76.095 | -0.34051 | 0.27879 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0088877 | 306.2209 | 308.6694 | 239.7717 | -1.4235 | 5.0723 | 66.657 | 38.3717 | 34.2951 | 5.4316 | 0.22063 | 2.1524 | 3.2792 | 0.13945 | 17.1001 | 0.60124 | 44.2601 | 365.1475 | 0.021969
58 | 13:17:07 | 1702 | 0 | 18.1212 | 0.23917 | 224.7213 | 8.887 | 2.9201 | 33.0723 | 6 | 1.42 | 1 | 2.84 | 35.5206 | 33.0723 | 35.9514 | 399.5025 | 373.7647 | 17.9221 | 28.2874 | 23.46 | 37.0282 | 499.8762 | 1498.5211 | 198.4151 | 76.0954 | -0.34051 | 0.27879 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.008887 | 306.2223 | 308.6706 | 239.7634 | -1.4233 | 5.0727 | 66.6621 | 38.3746 | 34.2965 | 5.432 | 0.22059 | 2.1525 | 3.2795 | 0.13943 | 17.1003 | 0.60124 | 44.2591 | 365.1508 | 0.021964
59 | 13:17:07 | 1702.5 | 0 | 18.0883 | 0.23918 | 224.9646 | 8.8866 | 2.9198 | 33.0719 | 6 | 1.42 | 1 | 2.84 | 35.5218 | 33.0719 | 35.9508 | 399.4692 | 373.7707 | 17.9244 | 28.2894 | 23.4614 | 37.0283 | 499.8683 | 1498.54 | 198.4338 | 76.0955 | -0.34051 | 0.27879 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0088866 | 306.2219 | 308.6718 | 239.7664 | -1.4228 | 5.0725 | 66.6602 | 38.3708 | 34.2968 | 5.4321 | 0.2206 | 2.1527 | 3.2794 | 0.13943 | 17.1188 | 0.60188 | 44.2634 | 365.1724 | 0.021925
60 | 13:17:08 | 1703 | 0 | 18.0846 | 0.23914 | 224.9855 | 8.8869 | 2.9204 | 33.074 | 6 | 1.42 | 1 | 2.84 | 35.523 | 33.074 | 35.951 | 399.4832 | 373.7896 | 17.9258 | 28.2907 | 23.4617 | 37.0276 | 499.8859 | 1498.5215 | 198.5095 | 76.0955 | -0.34051 | 0.27879 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0088869 | 306.224 | 308.673 | 239.7634 | -1.4231 | 5.0732 | 66.6683 | 38.3776 | 34.2985 | 5.4326 | 0.22057 | 2.1528 | 3.2798 | 0.13941 | 17.1204 | 0.6019 | 44.2593 | 365.1931 | 0.021918 | 18.083 | 35.5158 | 33.0692 | #DIV/0! | 1699.5667 | 0 | 18.083 | 0.23912 | 224.9962 | 8.8854 | 2.9202 | 33.0692 | 6 | 1.42 | 1 | 2.84 | 35.5158 | 33.0692 | 35.9522 | 399.4941 | 373.8022 | 17.9113 | 28.2749 | 23.4519 | 37.0214 | 499.8707 | 1498.6425 | 198.3066 | 76.095 | -0.34051 | 0.27879 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0088854 | 306.2192 | 308.6658 | 239.7828 | -1.4225 | 5.0718 | 66.6508 | 38.3758 | 34.2925 | 5.4308 | 0.22055 | 2.1516 | 3.2792 | 0.1394 | 17.1211 | 0.60191 | 44.2477 | 365.2065 | 0.021909
Remark= | "13:17:18 Coolers: Tblock -> 41.00 C"
Remark= | "13:19:42 Flow: Fixed -> 500 umol/s"
61 | 13:19:55 | 1869.5 | 0 | 17.391 | 0.22406 | 223.1617 | 8.8785 | 3.0761 | 35.107 | 6 | 1.42 | 1 | 2.84 | 39.5893 | 35.107 | 41.0348 | 400.8997 | 376.0194 | 23.953 | 34.2443 | 25.1321 | 35.9301 | 499.9002 | 1499.3927 | 200.1817 | 76.0954 | -0.18334 | 0.1933 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0088785 | 308.257 | 312.7393 | 239.9028 | -1.0959 | 5.6819 | 74.6686 | 40.4243 | 37.3482 | 6.4257 | 0.20767 | 2.6058 | 3.8198 | 0.13117 | 16.9816 | 0.59348 | 46.9305 | 367.7526 | 0.022193
62 | 13:19:55 | 1869.5 | 0 | 17.391 | 0.22406 | 223.1617 | 8.8785 | 3.0761 | 35.107 | 6 | 1.42 | 1 | 2.84 | 39.5893 | 35.107 | 41.0348 | 400.8997 | 376.0194 | 23.953 | 34.2443 | 25.1321 | 35.9301 | 499.9002 | 1499.3927 | 200.1817 | 76.0954 | -0.18334 | 0.1933 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0088785 | 308.257 | 312.7393 | 239.9028 | -1.0959 | 5.6819 | 74.6686 | 40.4243 | 37.3482 | 6.4257 | 0.20767 | 2.6058 | 3.8198 | 0.13117 | 16.9816 | 0.59348 | 46.9305 | 367.7526 | 0.022193
63 | 13:19:55 | 1870 | 0 | 17.4286 | 0.22402 | 222.8834 | 8.8787 | 3.0766 | 35.1096 | 6 | 1.42 | 1 | 2.84 | 39.5913 | 35.1096 | 41.0348 | 400.9685 | 376.0416 | 23.9561 | 34.2482 | 25.1329 | 35.9305 | 499.8787 | 1499.3145 | 200.2564 | 76.0959 | -0.18334 | 0.1933 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0088787 | 308.2596 | 312.7413 | 239.8903 | -1.0962 | 5.6828 | 74.6788 | 40.4307 | 37.3504 | 6.4265 | 0.20764 | 2.6061 | 3.8203 | 0.13116 | 16.9605 | 0.59271 | 46.9285 | 367.7568 | 0.02224
64 | 13:19:56 | 1870.5 | 0 | 17.4435 | 0.22399 | 222.7636 | 8.8794 | 3.0773 | 35.1128 | 6 | 1.42 | 1 | 2.84 | 39.5931 | 35.1128 | 41.0349 | 401.0007 | 376.0557 | 23.9597 | 34.2524 | 25.1341 | 35.9314 | 499.8832 | 1499.3185 | 200.2781 | 76.0958 | -0.18334 | 0.1933 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0088794 | 308.2628 | 312.7431 | 239.891 | -1.0967 | 5.6837 | 74.6919 | 40.4395 | 37.3529 | 6.4274 | 0.20761 | 2.6065 | 3.8209 | 0.13114 | 16.9514 | 0.59237 | 46.9251 | 367.7639 | 0.022257
65 | 13:19:56 | 1871 | 0 | 17.4185 | 0.2239 | 222.8954 | 8.8808 | 3.0788 | 35.1186 | 6 | 1.42 | 1 | 2.84 | 39.5952 | 35.1186 | 41.0353 | 400.9731 | 376.0577 | 23.9627 | 34.2568 | 25.1344 | 35.9319 | 499.8905 | 1499.2786 | 200.2535 | 76.0959 | -0.18334 | 0.1933 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0088808 | 308.2686 | 312.7452 | 239.8846 | -1.098 | 5.6856 | 74.7159 | 40.4591 | 37.3569 | 6.4288 | 0.20754 | 2.6068 | 3.8219 | 0.13109 | 16.9614 | 0.59272 | 46.9142 | 367.7778 | 0.022219
66 | 13:19:57 | 1871.5 | 0 | 17.3934 | 0.22383 | 223.0457 | 8.8814 | 3.0799 | 35.1231 | 6 | 1.42 | 1 | 2.84 | 39.5987 | 35.1231 | 41.036 | 400.9548 | 376.069 | 23.9662 | 34.2612 | 25.1335 | 35.9298 | 499.8859 | 1499.214 | 200.2829 | 76.0958 | -0.18334 | 0.1933 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0088814 | 308.2731 | 312.7487 | 239.8742 | -1.0986 | 5.687 | 74.7346 | 40.4734 | 37.3609 | 6.4301 | 0.20748 | 2.6071 | 3.823 | 0.13105 | 16.9728 | 0.5931 | 46.9068 | 367.801 | 0.022182
67 | 13:19:57 | 1872 | 0 | 17.3922 | 0.22381 | 223.0365 | 8.8837 | 3.0808 | 35.1274 | 6 | 1.42 | 1 | 2.84 | 39.6009 | 35.1274 | 41.0356 | 400.9531 | 376.0673 | 23.9686 | 34.2662 | 25.1329 | 35.9308 | 499.8774 | 1499.196 | 200.252 | 76.0957 | -0.18334 | 0.1933 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0088837 | 308.2774 | 312.7509 | 239.8714 | -1.1001 | 5.6883 | 74.7525 | 40.4863 | 37.3642 | 6.4313 | 0.20746 | 2.6075 | 3.8238 | 0.13104 | 16.9721 | 0.59308 | 46.9016 | 367.7999 | 0.022178
68 | 13:19:58 | 1872.5 | 0 | 17.3545 | 0.2238 | 223.308 | 8.8858 | 3.0816 | 35.1312 | 6 | 1.42 | 1 | 2.84 | 39.6039 | 35.1312 | 41.0354 | 400.9137 | 376.0715 | 23.9713 | 34.2716 | 25.1316 | 35.9305 | 499.8628 | 1499.2123 | 200.3027 | 76.0955 | -0.18334 | 0.1933 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0088858 | 308.2812 | 312.7539 | 239.874 | -1.1012 | 5.6895 | 74.7686 | 40.497 | 37.3676 | 6.4325 | 0.20746 | 2.6079 | 3.8246 | 0.13104 | 16.9927 | 0.59379 | 46.8983 | 367.822 | 0.022127
69 | 13:19:58 | 1873 | 0 | 17.3366 | 0.22366 | 223.3208 | 8.8858 | 3.0834 | 35.1375 | 6 | 1.42 | 1 | 2.84 | 39.6066 | 35.1375 | 41.0359 | 400.8592 | 376.0393 | 23.9739 | 34.2739 | 25.1308 | 35.9279 | 499.8744 | 1499.1993 | 200.2598 | 76.0955 | -0.18334 | 0.1933 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0088858 | 308.2875 | 312.7566 | 239.8719 | -1.1018 | 5.6915 | 74.7944 | 40.5205 | 37.372 | 6.434 | 0.20733 | 2.6081 | 3.826 | 0.13096 | 16.9937 | 0.59388 | 46.8825 | 367.7983 | 0.022099
70 | 13:19:59 | 1873.5 | 0 | 17.314 | 0.22359 | 223.4204 | 8.8867 | 3.0845 | 35.1418 | 6 | 1.42 | 1 | 2.84 | 39.6085 | 35.1418 | 41.0363 | 400.8075 | 376.0135 | 23.9759 | 34.2774 | 25.1302 | 35.9276 | 499.8524 | 1499.1858 | 200.1354 | 76.0952 | -0.18334 | 0.1933 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0088867 | 308.2918 | 312.7585 | 239.8697 | -1.1026 | 5.6929 | 74.8127 | 40.5353 | 37.3752 | 6.4351 | 0.20727 | 2.6083 | 3.8268 | 0.13092 | 17.0012 | 0.59418 | 46.8744 | 367.7833 | 0.022067
71 | 13:19:59 | 1874 | 0 | 17.2844 | 0.22356 | 223.6059 | 8.8882 | 3.0855 | 35.1458 | 6 | 1.42 | 1 | 2.84 | 39.6107 | 35.1458 | 41.0352 | 400.7637 | 376.0049 | 23.9789 | 34.282 | 25.1302 | 35.928 | 499.8558 | 1499.1519 | 200.1902 | 76.0947 | -0.18334 | 0.1933 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0088882 | 308.2958 | 312.7607 | 239.8643 | -1.1037 | 5.6941 | 74.8297 | 40.5476 | 37.3783 | 6.4362 | 0.20724 | 2.6087 | 3.8275 | 0.1309 | 17.0152 | 0.59469 | 46.869 | 367.7887 | 0.022026
72 | 13:20:00 | 1874.5 | 0 | 17.2614 | 0.22353 | 223.7628 | 8.8901 | 3.0865 | 35.1498 | 6 | 1.42 | 1 | 2.84 | 39.6128 | 35.1498 | 41.0349 | 400.7466 | 376.0143 | 23.9802 | 34.2855 | 25.1288 | 35.9277 | 499.8543 | 1499.0896 | 200.1791 | 76.0947 | -0.18334 | 0.1933 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0088901 | 308.2998 | 312.7628 | 239.8543 | -1.105 | 5.6954 | 74.8463 | 40.5607 | 37.3813 | 6.4373 | 0.20722 | 2.6089 | 3.8283 | 0.13089 | 17.0272 | 0.59509 | 46.8626 | 367.809 | 0.021993
73 | 13:20:01 | 1875 | 0 | 17.269 | 0.22355 | 223.7205 | 8.8922 | 3.087 | 35.1523 | 6 | 1.42 | 1 | 2.84 | 39.6148 | 35.1523 | 41.0345 | 400.764 | 376.0222 | 23.9816 | 34.2892 | 25.1275 | 35.9277 | 499.8654 | 1499.0837 | 200.1979 | 76.0945 | -0.18334 | 0.1933 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0088922 | 308.3023 | 312.7648 | 239.8534 | -1.1062 | 5.6962 | 74.8566 | 40.5674 | 37.3835 | 6.4381 | 0.20723 | 2.6092 | 3.8288 | 0.13089 | 17.0239 | 0.59497 | 46.861 | 367.8133 | 0.022001
74 | 13:20:01 | 1875.5 | 0 | 17.257 | 0.22357 | 223.8289 | 8.8967 | 3.0881 | 35.1572 | 6 | 1.42 | 1 | 2.84 | 39.6166 | 35.1572 | 41.0343 | 400.7635 | 376.0357 | 23.9825 | 34.2945 | 25.1261 | 35.9297 | 499.9016 | 1499.0824 | 200.239 | 76.0947 | -0.18334 | 0.1933 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0088967 | 308.3072 | 312.7666 | 239.8532 | -1.1089 | 5.6977 | 74.877 | 40.5825 | 37.3869 | 6.4393 | 0.20726 | 2.6096 | 3.8296 | 0.13091 | 17.0322 | 0.59523 | 46.8555 | 367.8326 | 0.021982
75 | 13:20:02 | 1876 | 0 | 17.2414 | 0.2236 | 223.9571 | 8.9004 | 3.0891 | 35.1616 | 6 | 1.42 | 1 | 2.84 | 39.6188 | 35.1616 | 41.0343 | 400.7537 | 376.0434 | 23.9841 | 34.3 | 25.1248 | 35.9314 | 499.9147 | 1498.9911 | 200.3385 | 76.0947 | -0.18334 | 0.1933 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0089004 | 308.3116 | 312.7688 | 239.8386 | -1.1113 | 5.6991 | 74.8951 | 40.5951 | 37.3902 | 6.4404 | 0.20728 | 2.6101 | 3.8304 | 0.13092 | 17.0419 | 0.59556 | 46.8517 | 367.8477 | 0.02196 | 17.3451 | 39.6034 | 35.1322 | #DIV/0! | 1872.5333 | 0 | 17.3451 | 0.22377 | 223.3248 | 8.8858 | 3.0821 | 35.1322 | 6 | 1.42 | 1 | 2.84 | 39.6034 | 35.1322 | 41.0351 | 400.8681 | 376.0383 | 23.9698 | 34.2698 | 25.1308 | 35.9297 | 499.8798 | 1499.2069 | 200.2353 | 76.0953 | -0.18334 | 0.1933 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0088858 | 308.2822 | 312.7534 | 239.8731 | -1.1015 | 5.6899 | 74.7728 | 40.5029 | 37.3678 | 6.4326 | 0.20743 | 2.6078 | 3.8248 | 0.13102 | 16.994 | 0.59389 | 46.8928 | 367.7933 | 0.022115
Remark= | "13:20:09 Coolers: Tblock -> 46.00 C"
Remark= | "13:23:49 Flow: Fixed -> 500 umol/s"
76 | 13:24:07 | 2122.5 | 0 | 15.5246 | 0.20682 | 226.8426 | 9.3164 | 3.4388 | 38.0026 | 6 | 1.42 | 1 | 2.84 | 44.1685 | 38.0026 | 46.1176 | 400.4302 | 377.571 | 31.5964 | 42.3071 | 26.0418 | 34.8696 | 499.813 | 1499.423 | 202.9262 | 76.0971 | -0.059075 | 0.12289 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83302 | 0.0093164 | 311.1526 | 317.3185 | 239.9077 | -1.0293 | 6.6582 | 87.4964 | 45.1894 | 41.0856 | 7.8546 | 0.19278 | 3.2194 | 4.6351 | 0.12168 | 17.2621 | 0.60079 | 48.5175 | 370.1914 | 0.020347
77 | 13:24:07 | 2122.5 | 0 | 15.5246 | 0.20682 | 226.8426 | 9.3164 | 3.4388 | 38.0026 | 6 | 1.42 | 1 | 2.84 | 44.1685 | 38.0026 | 46.1176 | 400.4302 | 377.571 | 31.5964 | 42.3071 | 26.0418 | 34.8696 | 499.813 | 1499.423 | 202.9262 | 76.0971 | -0.059075 | 0.12289 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83302 | 0.0093164 | 311.1526 | 317.3185 | 239.9077 | -1.0293 | 6.6582 | 87.4964 | 45.1894 | 41.0856 | 7.8546 | 0.19278 | 3.2194 | 4.6351 | 0.12168 | 17.2621 | 0.60079 | 48.5175 | 370.1914 | 0.020347
78 | 13:24:08 | 2123 | 0 | 15.491 | 0.20675 | 227.0919 | 9.3171 | 3.4401 | 38.0068 | 6 | 1.42 | 1 | 2.84 | 44.1701 | 38.0068 | 46.1167 | 400.4216 | 377.6034 | 31.5989 | 42.3097 | 26.0418 | 34.869 | 499.8432 | 1499.3624 | 203.009 | 76.0974 | -0.059075 | 0.12289 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0093171 | 311.1568 | 317.3201 | 239.898 | -1.0302 | 6.6597 | 87.5161 | 45.2063 | 41.0885 | 7.8558 | 0.19272 | 3.2197 | 4.6361 | 0.12164 | 17.2811 | 0.6014 | 48.5079 | 370.2397 | 0.020296
79 | 13:24:08 | 2123.5 | 0 | 15.4398 | 0.20672 | 227.4822 | 9.3175 | 3.4408 | 38.009 | 6 | 1.42 | 1 | 2.84 | 44.1716 | 38.009 | 46.1157 | 400.3722 | 377.6154 | 31.6006 | 42.3117 | 26.0409 | 34.8676 | 499.8491 | 1499.3735 | 202.9215 | 76.0966 | -0.059075 | 0.12289 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0093175 | 311.159 | 317.3216 | 239.8998 | -1.0305 | 6.6605 | 87.5275 | 45.2157 | 41.0903 | 7.8565 | 0.19269 | 3.2198 | 4.6368 | 0.12162 | 17.3106 | 0.60242 | 48.5029 | 370.2761 | 0.020225
80 | 13:24:09 | 2124 | 0 | 15.4268 | 0.20665 | 227.5439 | 9.3173 | 3.4416 | 38.0119 | 6 | 1.42 | 1 | 2.84 | 44.173 | 38.0119 | 46.1153 | 400.3555 | 377.6153 | 31.6032 | 42.3137 | 26.0412 | 34.8666 | 499.8668 | 1499.3512 | 203.043 | 76.0965 | -0.059075 | 0.12289 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0093173 | 311.1619 | 317.323 | 239.8962 | -1.0306 | 6.6616 | 87.541 | 45.2273 | 41.0925 | 7.8574 | 0.19263 | 3.2199 | 4.6375 | 0.12158 | 17.3153 | 0.60258 | 48.4962 | 370.2822 | 0.020205
81 | 13:24:09 | 2124.5 | 0 | 15.3905 | 0.20673 | 227.8595 | 9.3201 | 3.4415 | 38.0125 | 6 | 1.42 | 1 | 2.84 | 44.174 | 38.0125 | 46.1147 | 400.2977 | 377.5998 | 31.6051 | 42.3189 | 26.0414 | 34.8691 | 499.8642 | 1499.3882 | 203.1031 | 76.0965 | -0.059075 | 0.12289 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0093201 | 311.1625 | 317.324 | 239.9021 | -1.0319 | 6.6618 | 87.5442 | 45.2253 | 41.0933 | 7.8578 | 0.1927 | 3.2203 | 4.6375 | 0.12162 | 17.3393 | 0.60344 | 48.5014 | 370.2838 | 0.020159
82 | 13:24:10 | 2125 | 0 | 15.306 | 0.20671 | 228.4781 | 9.321 | 3.4421 | 38.0147 | 6 | 1.42 | 1 | 2.84 | 44.1752 | 38.0147 | 46.115 | 400.1556 | 377.5602 | 31.6063 | 42.3207 | 26.0409 | 34.8685 | 499.8855 | 1499.4076 | 203.1342 | 76.0968 | -0.059075 | 0.12289 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.009321 | 311.1647 | 317.3252 | 239.9052 | -1.0325 | 6.6626 | 87.554 | 45.2333 | 41.095 | 7.8585 | 0.19268 | 3.2205 | 4.638 | 0.12161 | 17.3865 | 0.60514 | 48.4974 | 370.2844 | 0.020047
83 | 13:24:10 | 2125.5 | 0 | 15.2445 | 0.20683 | 229.0275 | 9.3242 | 3.4415 | 38.0139 | 6 | 1.42 | 1 | 2.84 | 44.1758 | 38.0139 | 46.1138 | 400.075 | 377.5529 | 31.6081 | 42.3256 | 26.0416 | 34.8716 | 499.9073 | 1499.4004 | 203.1649 | 76.0969 | -0.059075 | 0.12289 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0093242 | 311.1639 | 317.3258 | 239.9041 | -1.0339 | 6.6623 | 87.5503 | 45.2246 | 41.0949 | 7.8584 | 0.19279 | 3.2208 | 4.6376 | 0.12168 | 17.4283 | 0.60661 | 48.5071 | 370.3064 | 0.019969
84 | 13:24:11 | 2126 | 0 | 15.1882 | 0.20689 | 229.4737 | 9.3279 | 3.4418 | 38.0157 | 6 | 1.42 | 1 | 2.84 | 44.1778 | 38.0157 | 46.1137 | 399.9711 | 377.5157 | 31.6083 | 42.3298 | 26.0391 | 34.8715 | 499.9133 | 1499.4489 | 203.1533 | 76.0973 | -0.059075 | 0.12289 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0093279 | 311.1657 | 317.3278 | 239.9118 | -1.0357 | 6.663 | 87.5585 | 45.2286 | 41.0968 | 7.8592 | 0.19285 | 3.2212 | 4.6381 | 0.12172 | 17.4623 | 0.60785 | 48.5081 | 370.2959 | 0.019896
85 | 13:24:11 | 2126.5 | 0 | 15.125 | 0.20689 | 229.9564 | 9.329 | 3.4423 | 38.0178 | 6 | 1.42 | 1 | 2.84 | 44.1785 | 38.0178 | 46.1137 | 399.8845 | 377.5047 | 31.61 | 42.3326 | 26.0397 | 34.8729 | 499.9175 | 1499.4213 | 203.1226 | 76.0977 | -0.059075 | 0.12289 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.009329 | 311.1678 | 317.3285 | 239.9074 | -1.0365 | 6.6637 | 87.5675 | 45.2349 | 41.0981 | 7.8598 | 0.19284 | 3.2214 | 4.6384 | 0.12171 | 17.4992 | 0.60915 | 48.5059 | 370.315 | 0.019812
86 | 13:24:12 | 2127 | 0 | 15.1139 | 0.20693 | 230.0402 | 9.3306 | 3.4422 | 38.0178 | 6 | 1.42 | 1 | 2.84 | 44.1793 | 38.0178 | 46.114 | 399.8427 | 377.4757 | 31.6094 | 42.334 | 26.038 | 34.8723 | 499.914 | 1499.4795 | 203.0611 | 76.0972 | -0.059075 | 0.12289 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0093306 | 311.1678 | 317.3293 | 239.9167 | -1.0371 | 6.6637 | 87.5682 | 45.2342 | 41.0985 | 7.86 | 0.19288 | 3.2215 | 4.6385 | 0.12174 | 17.5054 | 0.60942 | 48.5077 | 370.2913 | 0.019799
87 | 13:24:12 | 2127.5 | 0 | 15.1514 | 0.20702 | 229.7995 | 9.3332 | 3.4418 | 38.0174 | 6 | 1.42 | 1 | 2.84 | 44.1799 | 38.0174 | 46.1131 | 399.8934 | 377.4811 | 31.6103 | 42.3373 | 26.0382 | 34.8743 | 499.9351 | 1499.4352 | 203.1376 | 76.0978 | -0.059075 | 0.12289 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0093332 | 311.1674 | 317.3299 | 239.9096 | -1.0383 | 6.6636 | 87.566 | 45.2287 | 41.0987 | 7.86 | 0.19295 | 3.2218 | 4.6382 | 0.12178 | 17.4872 | 0.60877 | 48.5142 | 370.2788 | 0.019851
88 | 13:24:13 | 2128 | 0 | 15.1921 | 0.20706 | 229.4706 | 9.3353 | 3.4419 | 38.0182 | 6 | 1.42 | 1 | 2.84 | 44.1818 | 38.0182 | 46.1115 | 399.9109 | 377.4491 | 31.6103 | 42.3397 | 26.0356 | 34.8728 | 499.9346 | 1499.4888 | 203.055 | 76.0978 | -0.059075 | 0.12289 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0093353 | 311.1682 | 317.3318 | 239.9182 | -1.0391 | 6.6639 | 87.5697 | 45.2299 | 41.1 | 7.8606 | 0.19299 | 3.222 | 4.6386 | 0.12181 | 17.4622 | 0.60795 | 48.5155 | 370.2275 | 0.019908
89 | 13:24:13 | 2128.5 | 0 | 15.2571 | 0.20706 | 228.9606 | 9.3369 | 3.4425 | 38.0204 | 6 | 1.42 | 1 | 2.84 | 44.1831 | 38.0204 | 46.1109 | 399.9994 | 377.4594 | 31.6108 | 42.3418 | 26.0342 | 34.8721 | 499.951 | 1499.4755 | 203.0324 | 76.0977 | -0.059075 | 0.12289 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0093369 | 311.1704 | 317.3331 | 239.9161 | -1.0401 | 6.6646 | 87.5801 | 45.2383 | 41.1018 | 7.8613 | 0.19299 | 3.2221 | 4.6392 | 0.12181 | 17.4234 | 0.60658 | 48.5117 | 370.2069 | 0.019993
90 | 13:24:14 | 2129 | 0 | 15.324 | 0.20704 | 228.4563 | 9.3396 | 3.4437 | 38.0246 | 6 | 1.42 | 1 | 2.84 | 44.1845 | 38.0246 | 46.1102 | 400.1277 | 377.5056 | 31.6118 | 42.3459 | 26.0331 | 34.8728 | 499.9495 | 1499.4686 | 203.021 | 76.0975 | -0.059075 | 0.12289 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0093396 | 311.1746 | 317.3345 | 239.915 | -1.0419 | 6.6661 | 87.6001 | 45.2542 | 41.1045 | 7.8625 | 0.19297 | 3.2224 | 4.6401 | 0.1218 | 17.385 | 0.60517 | 48.5043 | 370.2213 | 0.020077 | 15.3133 | 44.1761 | 38.0137 | #DIV/0! | 2125.5333 | 0 | 15.3133 | 0.20686 | 228.4884 | 9.3255 | 3.4414 | 38.0137 | 6 | 1.42 | 1 | 2.84 | 44.1761 | 38.0137 | 46.1142 | 400.1445 | 377.5387 | 31.6057 | 42.325 | 26.0393 | 34.8707 | 499.8905 | 1499.4231 | 203.0541 | 76.0972 | -0.059075 | 0.12289 | 0.8 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0093255 | 311.1637 | 317.3261 | 239.9077 | -1.0345 | 6.6622 | 87.5491 | 45.224 | 41.0949 | 7.8585 | 0.19282 | 3.2208 | 4.6376 | 0.1217 | 17.3873 | 0.60521 | 48.5077 | 370.2595 | 0.020062
Remark= | "13:24:28 Coolers: Tblock -> 0.00 C"
Remark= | "13:24:32 CO2 Mixer -> OFF"