## stm-as2_
OPEN 6.3.2
Sun Feb 5 2106 23:59:18
Unit= | PSC-2470
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/LED2x3.xml
Remark=
Obs | HHMMSS | YYYYMMDD | DOY | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | YYYYMMDD | DOY | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "00:01:50 Coolers: Tblock -> 21.23 C"
Remark= | "00:02:26 Flow: Fixed -> 500 umol/s"
Remark= | "00:03:21 Coolers: Tblock -> 22.00 C"
Remark= | "00:04:21 Flow: Fixed -> 500 umol/s"
1 | 00:05:29 | 21060206 | 1 | 0 | 21.6361 | 0.3461 | 273.0379 | 11.6397 | 2.6466 | 27.4753 | 0.43401 | 2.6421 | 1 | 5.2842 | 23.5563 | 27.4753 | 22.0186 | 400.009 | 397.7286 | 12.5668 | 13.5637 | 32.8444 | 35.4498 | 499.8822 | 1501.3457 | 1953.8822 | 76.2141 | 3.0407 | 0.45808 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5177 | 0.01164 | 300.6253 | 296.7063 | 240.2153 | -2.1564 | 3.6803 | 48.2891 | 34.7254 | 25.5158 | 3.2788 | 0.32483 | 1.0337 | 2.245 | 0.20483 | 20.8093 | 0.68649 | 30.3552 | 392.201 | 0.016746
2 | 00:05:29 | 21060206 | 1 | 0 | 21.6361 | 0.3461 | 273.0379 | 11.6397 | 2.6466 | 27.4753 | 0.43401 | 2.6421 | 1 | 5.2842 | 23.5563 | 27.4753 | 22.0186 | 400.009 | 397.7286 | 12.5668 | 13.5637 | 32.8444 | 35.4498 | 499.8822 | 1501.3457 | 1953.8822 | 76.2141 | 3.0407 | 0.45808 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5177 | 0.01164 | 300.6253 | 296.7063 | 240.2153 | -2.1564 | 3.6803 | 48.2891 | 34.7254 | 25.5158 | 3.2788 | 0.32483 | 1.0337 | 2.245 | 0.20483 | 20.8093 | 0.68649 | 30.3552 | 392.201 | 0.016746
3 | 00:05:30 | 21060206 | 1 | 0 | 22.566 | 0.34609 | 268.579 | 11.642 | 2.6472 | 27.4777 | 0.43401 | 2.6421 | 1 | 5.2842 | 23.5566 | 27.4777 | 22.0187 | 400.0505 | 397.6892 | 12.5655 | 13.5626 | 32.8405 | 35.4465 | 499.8748 | 1501.3279 | 1953.9609 | 76.2142 | 3.0407 | 0.45808 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5175 | 0.011642 | 300.6277 | 296.7066 | 240.2125 | -2.1572 | 3.6808 | 48.2957 | 34.7331 | 25.5171 | 3.279 | 0.32482 | 1.0337 | 2.2454 | 0.20482 | 20.4695 | 0.67535 | 30.3488 | 391.9241 | 0.017474
4 | 00:05:30 | 21060206 | 1 | 0 | 22.9762 | 0.34562 | 266.4808 | 11.6305 | 2.6479 | 27.4805 | 0.43401 | 2.6421 | 1 | 5.2842 | 23.5566 | 27.4805 | 22.0187 | 400.0793 | 397.683 | 12.5645 | 13.5606 | 32.8381 | 35.4414 | 499.8929 | 1501.3434 | 1953.8882 | 76.2144 | 3.0407 | 0.45808 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5179 | 0.01163 | 300.6305 | 296.7066 | 240.2149 | -2.154 | 3.6814 | 48.3034 | 34.7428 | 25.5185 | 3.2793 | 0.3244 | 1.0335 | 2.2458 | 0.20456 | 20.3097 | 0.67008 | 30.3346 | 391.813 | 0.017788
5 | 00:05:31 | 21060206 | 1 | 0 | 23.5606 | 0.34508 | 263.5174 | 11.6155 | 2.6484 | 27.4821 | 0.43401 | 2.6421 | 1 | 5.2842 | 23.5567 | 27.4821 | 22.019 | 400.1137 | 397.6671 | 12.5639 | 13.5587 | 32.8361 | 35.436 | 499.9 | 1501.3917 | 1953.8832 | 76.2142 | 3.0407 | 0.45808 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5181 | 0.011616 | 300.6321 | 296.7067 | 240.2227 | -2.1496 | 3.6818 | 48.308 | 34.7494 | 25.5194 | 3.2795 | 0.32393 | 1.0334 | 2.2461 | 0.20425 | 20.0838 | 0.66266 | 30.3213 | 391.6479 | 0.018241
6 | 00:05:31 | 21060206 | 1 | 0 | 24.0582 | 0.34493 | 261.0866 | 11.6121 | 2.6487 | 27.4832 | 0.43401 | 2.6421 | 1 | 5.2842 | 23.5568 | 27.4832 | 22.0192 | 400.144 | 397.6544 | 12.5635 | 13.558 | 32.8349 | 35.4339 | 499.9147 | 1501.3997 | 1953.7357 | 76.2142 | 3.0407 | 0.45808 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5184 | 0.011612 | 300.6332 | 296.7068 | 240.2239 | -2.1486 | 3.682 | 48.3113 | 34.7533 | 25.52 | 3.2796 | 0.32379 | 1.0333 | 2.2463 | 0.20417 | 19.8985 | 0.65657 | 30.3161 | 391.508 | 0.018629
7 | 00:05:32 | 21060206 | 1 | 0 | 24.0215 | 0.34408 | 260.968 | 11.5856 | 2.6488 | 27.4828 | 0.43401 | 2.6421 | 1 | 5.2842 | 23.5566 | 27.4828 | 22.0193 | 400.1142 | 397.6288 | 12.5631 | 13.5553 | 32.8342 | 35.4274 | 499.9128 | 1501.402 | 1953.5579 | 76.2143 | 3.0407 | 0.45808 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5184 | 0.011586 | 300.6328 | 296.7066 | 240.2243 | -2.1407 | 3.6819 | 48.3101 | 34.7548 | 25.5197 | 3.2795 | 0.32304 | 1.0331 | 2.2464 | 0.20369 | 19.8895 | 0.65631 | 30.3009 | 391.4918 | 0.018592
8 | 00:05:32 | 21060206 | 1 | 0 | 23.6625 | 0.34404 | 262.649 | 11.585 | 2.6489 | 27.4831 | 0.43401 | 2.6421 | 1 | 5.2842 | 23.557 | 27.4831 | 22.0193 | 400.0616 | 397.6074 | 12.5622 | 13.5543 | 32.8312 | 35.4241 | 499.9147 | 1501.392 | 1953.3433 | 76.2144 | 3.0407 | 0.45808 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5184 | 0.011585 | 300.6331 | 296.707 | 240.2227 | -2.1405 | 3.682 | 48.3107 | 34.7564 | 25.52 | 3.2796 | 0.32301 | 1.033 | 2.2466 | 0.20367 | 20.0176 | 0.66057 | 30.2983 | 391.5621 | 0.01831
9 | 00:05:33 | 21060206 | 1 | 0 | 22.7237 | 0.34471 | 267.3331 | 11.6052 | 2.6487 | 27.4821 | 0.43401 | 2.6421 | 1 | 5.2842 | 23.557 | 27.4821 | 22.0195 | 399.9796 | 397.6062 | 12.5609 | 13.5547 | 32.8279 | 35.4254 | 499.9155 | 1501.4141 | 1953.1427 | 76.2146 | 3.0407 | 0.45808 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5184 | 0.011605 | 300.6321 | 296.707 | 240.2262 | -2.1464 | 3.6818 | 48.3078 | 34.753 | 25.5195 | 3.2795 | 0.3236 | 1.0331 | 2.2464 | 0.20405 | 20.3747 | 0.67236 | 30.3092 | 391.8007 | 0.017579
10 | 00:05:33 | 21060206 | 1 | 0 | 22.2188 | 0.34464 | 269.7139 | 11.6019 | 2.6485 | 27.4805 | 0.43401 | 2.6421 | 1 | 5.2842 | 23.5572 | 27.4805 | 22.0195 | 399.9304 | 397.6008 | 12.5594 | 13.5531 | 32.8235 | 35.4203 | 499.9011 | 1501.4396 | 1953.045 | 76.2145 | 3.0407 | 0.45808 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5181 | 0.011602 | 300.6305 | 296.7072 | 240.2303 | -2.1453 | 3.6814 | 48.3034 | 34.7503 | 25.5189 | 3.2794 | 0.32354 | 1.0329 | 2.2464 | 0.20401 | 20.5561 | 0.67835 | 30.3076 | 391.9244 | 0.017182
11 | 00:05:34 | 21060206 | 1 | 0 | 22.0372 | 0.34491 | 270.6587 | 11.6094 | 2.6483 | 27.4794 | 0.43401 | 2.6421 | 1 | 5.2842 | 23.5576 | 27.4794 | 22.0197 | 399.9158 | 397.6018 | 12.5584 | 13.5526 | 32.82 | 35.4183 | 499.9189 | 1501.463 | 1952.8286 | 76.2141 | 3.0407 | 0.45808 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5185 | 0.011609 | 300.6294 | 296.7076 | 240.2341 | -2.1474 | 3.6812 | 48.3004 | 34.7478 | 25.5185 | 3.2793 | 0.32377 | 1.0329 | 2.2464 | 0.20416 | 20.628 | 0.68073 | 30.3118 | 391.9718 | 0.017042
12 | 00:05:35 | 21060206 | 1 | 0 | 22.6777 | 0.34532 | 267.698 | 11.6208 | 2.6479 | 27.4772 | 0.43401 | 2.6421 | 1 | 5.2842 | 23.5581 | 27.4772 | 22.0201 | 399.9329 | 397.563 | 12.5568 | 13.552 | 32.8146 | 35.4154 | 499.9179 | 1501.4648 | 1952.5402 | 76.2141 | 3.0407 | 0.45808 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5185 | 0.011621 | 300.6272 | 296.7081 | 240.2344 | -2.1506 | 3.6807 | 48.2945 | 34.7425 | 25.5177 | 3.2791 | 0.32414 | 1.0329 | 2.2463 | 0.20439 | 20.4023 | 0.67335 | 30.3193 | 391.7693 | 0.01755
13 | 00:05:35 | 21060206 | 1 | 0 | 22.5796 | 0.34557 | 268.239 | 11.6284 | 2.6478 | 27.4764 | 0.43401 | 2.6421 | 1 | 5.2842 | 23.5585 | 27.4764 | 22.0199 | 399.9242 | 397.5625 | 12.5545 | 13.5503 | 32.808 | 35.4104 | 499.9143 | 1501.446 | 1952.407 | 76.2142 | 3.0407 | 0.45808 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5184 | 0.011628 | 300.6264 | 296.7085 | 240.2314 | -2.1528 | 3.6805 | 48.2919 | 34.7416 | 25.5174 | 3.2791 | 0.32436 | 1.0327 | 2.2464 | 0.20453 | 20.4436 | 0.67471 | 30.3207 | 391.7939 | 0.017474
14 | 00:05:36 | 21060206 | 1 | 0 | 22.3198 | 0.34643 | 269.7431 | 11.6535 | 2.6473 | 27.4743 | 0.43401 | 2.6421 | 1 | 5.2842 | 23.5588 | 27.4743 | 22.0198 | 399.9197 | 397.5797 | 12.5528 | 13.5508 | 32.8027 | 35.4107 | 499.9141 | 1501.4052 | 1952.2548 | 76.214 | 3.0407 | 0.45808 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5184 | 0.011653 | 300.6243 | 296.7088 | 240.2248 | -2.1601 | 3.6801 | 48.2862 | 34.7354 | 25.5166 | 3.2789 | 0.32512 | 1.0328 | 2.2462 | 0.20501 | 20.5582 | 0.67846 | 30.3356 | 391.8774 | 0.017278
15 | 00:05:36 | 21060206 | 1 | 0 | 22.9296 | 0.34663 | 266.9009 | 11.6582 | 2.647 | 27.4725 | 0.43401 | 2.6421 | 1 | 5.2842 | 23.5593 | 27.4725 | 22.0199 | 399.9604 | 397.5674 | 12.5517 | 13.5501 | 32.7993 | 35.4081 | 499.9366 | 1501.3787 | 1952.1014 | 76.2143 | 3.0407 | 0.45808 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5189 | 0.011658 | 300.6225 | 296.7093 | 240.2206 | -2.1614 | 3.6797 | 48.281 | 34.7309 | 25.5159 | 3.2788 | 0.32529 | 1.0327 | 2.2461 | 0.20512 | 20.3417 | 0.67133 | 30.3398 | 391.7094 | 0.01776 | 22.7736 | 23.5573 | 27.4788 | 21060206 | 1 | 0 | 22.7736 | 0.34535 | 267.3095 | 11.6218 | 2.6479 | 27.4788 | 0.43401 | 2.6421 | 1 | 5.2842 | 23.5573 | 27.4788 | 22.0193 | 400.0096 | 397.6312 | 12.5607 | 13.556 | 32.8266 | 35.4278 | 499.9062 | 1501.3973 | 1953.2302 | 76.2142 | 3.0407 | 0.45808 | 0.84444 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5182 | 0.011622 | 300.6288 | 296.7073 | 240.2236 | -2.1512 | 3.6811 | 48.2988 | 34.7428 | 25.5181 | 3.2792 | 0.32416 | 1.0332 | 2.2461 | 0.20441 | 20.3728 | 0.67225 | 30.3249 | 391.8131 | 0.017626
Remark= | "00:05:46 Coolers: Tblock -> 27.00 C"
Remark= | "00:08:38 Flow: Fixed -> 500 umol/s"
Remark= | "00:12:22 Flow: Fixed -> 500 umol/s"
16 | 00:14:19 | 21060206 | 1 | 0 | 24.6946 | 0.37493 | 265.9856 | 12.7543 | 2.6752 | 29.3895 | 0.43401 | 2.6421 | 1 | 5.2842 | 27.8512 | 29.3895 | 27.0453 | 399.4907 | 396.9073 | 17.7843 | 18.8707 | 36.0255 | 38.2262 | 499.9167 | 1500.0454 | 1954.7992 | 76.2077 | 2.5619 | 0.44963 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5185 | 0.012754 | 302.5395 | 301.0012 | 240.0073 | -2.306 | 4.1133 | 53.9752 | 35.1045 | 28.6204 | 3.9343 | 0.35009 | 1.4381 | 2.4962 | 0.22091 | 20.2702 | 0.67015 | 36.9751 | 390.5983 | 0.023377
17 | 00:14:20 | 21060206 | 1 | 0 | 24.6946 | 0.37493 | 265.9856 | 12.7543 | 2.6752 | 29.3895 | 0.43401 | 2.6421 | 1 | 5.2842 | 27.8512 | 29.3895 | 27.0453 | 399.4907 | 396.9073 | 17.7843 | 18.8707 | 36.0255 | 38.2262 | 499.9167 | 1500.0454 | 1954.7992 | 76.2077 | 2.5619 | 0.44963 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5185 | 0.012754 | 302.5395 | 301.0012 | 240.0073 | -2.306 | 4.1133 | 53.9752 | 35.1045 | 28.6204 | 3.9343 | 0.35009 | 1.4381 | 2.4962 | 0.22091 | 20.2702 | 0.67015 | 36.9751 | 390.5983 | 0.023377
18 | 00:14:20 | 21060206 | 1 | 0 | 24.2036 | 0.37366 | 267.7942 | 12.7135 | 2.6751 | 29.388 | 0.43401 | 2.6421 | 1 | 5.2842 | 27.8517 | 29.388 | 27.0455 | 399.4341 | 396.8947 | 17.7844 | 18.8674 | 36.0248 | 38.2184 | 499.9085 | 1500.0511 | 1955.0209 | 76.2077 | 2.5619 | 0.44963 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5183 | 0.012714 | 302.538 | 301.0017 | 240.0082 | -2.2936 | 4.113 | 53.9705 | 35.1032 | 28.6199 | 3.9342 | 0.34899 | 1.4378 | 2.4963 | 0.22021 | 20.408 | 0.67472 | 36.9583 | 390.7112 | 0.022895
19 | 00:14:21 | 21060206 | 1 | 0 | 24.3319 | 0.37305 | 267.0609 | 12.6903 | 2.6744 | 29.3846 | 0.43401 | 2.6421 | 1 | 5.2842 | 27.8517 | 29.3846 | 27.0453 | 399.4383 | 396.8886 | 17.7858 | 18.8667 | 36.0278 | 38.2173 | 499.9236 | 1500.0409 | 1955.3163 | 76.2078 | 2.5619 | 0.44963 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5186 | 0.01269 | 302.5346 | 301.0017 | 240.0065 | -2.2864 | 4.1121 | 53.9597 | 35.0929 | 28.6181 | 3.9338 | 0.34845 | 1.4378 | 2.496 | 0.21987 | 20.3521 | 0.67289 | 36.9575 | 390.6724 | 0.023018
20 | 00:14:21 | 21060206 | 1 | 0 | 24.8065 | 0.37272 | 264.8566 | 12.6795 | 2.6743 | 29.384 | 0.43401 | 2.6421 | 1 | 5.2842 | 27.8518 | 29.384 | 27.0451 | 399.4642 | 396.8738 | 17.7856 | 18.8656 | 36.0271 | 38.2148 | 499.9265 | 1499.9985 | 1955.6045 | 76.2077 | 2.5619 | 0.44963 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5187 | 0.012679 | 302.534 | 301.0018 | 239.9998 | -2.2832 | 4.112 | 53.958 | 35.0924 | 28.6179 | 3.9337 | 0.34816 | 1.4377 | 2.496 | 0.21968 | 20.1841 | 0.66736 | 36.953 | 390.5362 | 0.023472
21 | 00:14:22 | 21060206 | 1 | 0 | 24.6929 | 0.3729 | 265.4149 | 12.6906 | 2.6754 | 29.3888 | 0.43401 | 2.6421 | 1 | 5.2842 | 27.8524 | 29.3888 | 27.0452 | 399.4693 | 396.8884 | 17.7846 | 18.8655 | 36.0241 | 38.2135 | 499.9504 | 1499.9668 | 1955.7321 | 76.2082 | 2.5619 | 0.44963 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5192 | 0.012691 | 302.5388 | 301.0024 | 239.9947 | -2.2869 | 4.1131 | 53.9725 | 35.1069 | 28.6206 | 3.9343 | 0.34832 | 1.4377 | 2.4966 | 0.21978 | 20.2268 | 0.66874 | 36.9452 | 390.5799 | 0.023357
22 | 00:14:22 | 21060206 | 1 | 0 | 25.3944 | 0.37266 | 262.2269 | 12.6875 | 2.6764 | 29.3927 | 0.43401 | 2.6421 | 1 | 5.2842 | 27.8528 | 29.3927 | 27.0447 | 399.5187 | 396.8771 | 17.7847 | 18.8653 | 36.0233 | 38.2121 | 499.9651 | 1499.9603 | 1955.8109 | 76.208 | 2.5619 | 0.44963 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5196 | 0.012688 | 302.5427 | 301.0028 | 239.9936 | -2.2862 | 4.1141 | 53.9848 | 35.1195 | 28.6227 | 3.9348 | 0.34811 | 1.4377 | 2.4971 | 0.21965 | 19.9838 | 0.66073 | 36.934 | 390.3894 | 0.024025
23 | 00:14:23 | 21060206 | 1 | 0 | 25.9266 | 0.37206 | 259.6894 | 12.6705 | 2.6768 | 29.3937 | 0.43401 | 2.6421 | 1 | 5.2842 | 27.8529 | 29.3937 | 27.0429 | 399.5584 | 396.8713 | 17.7839 | 18.8631 | 36.0213 | 38.2071 | 499.9739 | 1499.9518 | 1955.8423 | 76.2077 | 2.5619 | 0.44963 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5198 | 0.01267 | 302.5437 | 301.0029 | 239.9923 | -2.2812 | 4.1143 | 53.988 | 35.1249 | 28.6233 | 3.9349 | 0.34759 | 1.4375 | 2.4974 | 0.21932 | 19.7903 | 0.65434 | 36.9213 | 390.2476 | 0.024529
24 | 00:14:23 | 21060206 | 1 | 0 | 26.0722 | 0.37104 | 258.7409 | 12.6379 | 2.6768 | 29.3927 | 0.43401 | 2.6421 | 1 | 5.2842 | 27.8527 | 29.3927 | 27.0408 | 399.565 | 396.8664 | 17.7841 | 18.8604 | 36.0221 | 38.2023 | 499.9746 | 1499.9388 | 1956.0059 | 76.2077 | 2.5619 | 0.44963 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5198 | 0.012638 | 302.5427 | 301.0027 | 239.9902 | -2.2715 | 4.1141 | 53.985 | 35.1245 | 28.6227 | 3.9348 | 0.3467 | 1.4373 | 2.4975 | 0.21875 | 19.718 | 0.65196 | 36.9073 | 390.2055 | 0.02466
25 | 00:14:24 | 21060206 | 1 | 0 | 25.9693 | 0.37094 | 259.1609 | 12.6348 | 2.6768 | 29.3924 | 0.43401 | 2.6421 | 1 | 5.2842 | 27.8528 | 29.3924 | 27.0394 | 399.5499 | 396.8604 | 17.7827 | 18.8588 | 36.0192 | 38.1989 | 499.9779 | 1499.9142 | 1956.2278 | 76.2078 | 2.5619 | 0.44963 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5199 | 0.012635 | 302.5424 | 301.0028 | 239.9863 | -2.2705 | 4.114 | 53.9839 | 35.1251 | 28.6226 | 3.9348 | 0.34661 | 1.4372 | 2.4976 | 0.21869 | 19.7501 | 0.65303 | 36.904 | 390.2257 | 0.024559
26 | 00:14:24 | 21060206 | 1 | 0 | 25.6103 | 0.37187 | 261.0093 | 12.668 | 2.6775 | 29.3958 | 0.43401 | 2.6421 | 1 | 5.2842 | 27.8528 | 29.3958 | 27.0377 | 399.5062 | 396.8467 | 17.7813 | 18.8602 | 36.016 | 38.2014 | 499.9818 | 1499.8887 | 1956.3625 | 76.2076 | 2.5619 | 0.44963 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.52 | 0.012668 | 302.5458 | 301.0028 | 239.9822 | -2.2807 | 4.1148 | 53.9946 | 35.1344 | 28.6243 | 3.9352 | 0.34742 | 1.4373 | 2.4979 | 0.21921 | 19.8909 | 0.65771 | 36.9098 | 390.3038 | 0.024219
27 | 00:14:25 | 21060206 | 1 | 0 | 24.983 | 0.37264 | 263.9867 | 12.6971 | 2.6785 | 29.4 | 0.43401 | 2.6421 | 1 | 5.2842 | 27.8534 | 29.4 | 27.0356 | 399.4412 | 396.835 | 17.779 | 18.8605 | 36.0103 | 38.2007 | 499.9601 | 1499.8503 | 1956.3903 | 76.2075 | 2.5619 | 0.44963 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5195 | 0.012697 | 302.55 | 301.0034 | 239.976 | -2.2897 | 4.1158 | 54.0079 | 35.1474 | 28.6267 | 3.9357 | 0.34809 | 1.4373 | 2.4984 | 0.21964 | 20.1178 | 0.66523 | 36.91 | 390.4524 | 0.023617
28 | 00:14:25 | 21060206 | 1 | 0 | 24.7491 | 0.37269 | 265.0254 | 12.7007 | 2.6789 | 29.4012 | 0.43401 | 2.6421 | 1 | 5.2842 | 27.8538 | 29.4012 | 27.0334 | 399.4108 | 396.8248 | 17.7774 | 18.8592 | 36.0062 | 38.1972 | 499.9495 | 1499.8767 | 1956.6766 | 76.2074 | 2.5619 | 0.44963 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5192 | 0.012701 | 302.5512 | 301.0038 | 239.9803 | -2.2909 | 4.1161 | 54.0116 | 35.1524 | 28.6275 | 3.9359 | 0.34814 | 1.4372 | 2.4987 | 0.21967 | 20.1969 | 0.66787 | 36.906 | 390.5019 | 0.02339
29 | 00:14:26 | 21060206 | 1 | 0 | 25.728 | 0.37332 | 260.8302 | 12.718 | 2.6783 | 29.3985 | 0.43401 | 2.6421 | 1 | 5.2842 | 27.8537 | 29.3985 | 27.0311 | 399.4441 | 396.7724 | 17.7754 | 18.8587 | 36.002 | 38.1961 | 499.9224 | 1499.884 | 1956.9578 | 76.2069 | 2.5619 | 0.44963 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5186 | 0.012718 | 302.5485 | 301.0037 | 239.9814 | -2.2958 | 4.1154 | 54.0035 | 35.1449 | 28.6261 | 3.9356 | 0.34869 | 1.4372 | 2.4984 | 0.22002 | 19.8771 | 0.65738 | 36.9174 | 390.1994 | 0.024342
30 | 00:14:26 | 21060206 | 1 | 0 | 25.8867 | 0.37441 | 260.4406 | 12.7477 | 2.6773 | 29.3942 | 0.43401 | 2.6421 | 1 | 5.2842 | 27.8535 | 29.3942 | 27.0293 | 399.4492 | 396.7627 | 17.7727 | 18.8586 | 35.9969 | 38.1962 | 499.9145 | 1499.8696 | 1957.2244 | 76.207 | 2.5619 | 0.44963 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5184 | 0.012748 | 302.5442 | 301.0035 | 239.9791 | -2.3044 | 4.1144 | 53.9903 | 35.1318 | 28.6239 | 3.9351 | 0.34964 | 1.4372 | 2.4979 | 0.22062 | 19.8474 | 0.65641 | 36.938 | 390.1492 | 0.024509 | 25.1829 | 27.8525 | 29.3924 | 21060206 | 1 | 0 | 25.1829 | 0.37292 | 263.2139 | 12.6963 | 2.6765 | 29.3924 | 0.43401 | 2.6421 | 1 | 5.2842 | 27.8525 | 29.3924 | 27.0404 | 399.4821 | 396.8585 | 17.782 | 18.8634 | 36.0181 | 38.2086 | 499.9441 | 1499.9522 | 1955.918 | 76.2076 | 2.5619 | 0.44963 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5191 | 0.012696 | 302.5424 | 301.0025 | 239.9923 | -2.2889 | 4.114 | 53.984 | 35.1206 | 28.6225 | 3.9347 | 0.34834 | 1.4375 | 2.4972 | 0.21979 | 20.0589 | 0.66324 | 36.9341 | 390.4248 | 0.023823
Remark= | "00:14:42 Coolers: Tblock -> 32.00 C"
Remark= | "00:17:26 Flow: Fixed -> 500 umol/s"
31 | 00:19:42 | 21060206 | 1 | 0 | 27.7919 | 0.3314 | 234.9309 | 12.9418 | 3.0283 | 31.8736 | 0.43401 | 2.6421 | 1 | 5.2842 | 32.1556 | 31.8736 | 32.0427 | 399.9803 | 397.1214 | 21.379 | 22.4773 | 33.8162 | 35.5534 | 499.9333 | 1499.326 | 1985.9095 | 76.1972 | 1.7308 | 0.40512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5188 | 0.012942 | 305.0236 | 305.3056 | 239.8922 | -2.2116 | 4.741 | 62.2207 | 39.7433 | 32.0146 | 4.779 | 0.31185 | 1.7127 | 3.0663 | 0.19657 | 17.9011 | 0.59158 | 37.2368 | 390.0211 | 0.026534
32 | 00:19:42 | 21060206 | 1 | 0 | 27.7919 | 0.3314 | 234.9309 | 12.9418 | 3.0283 | 31.8736 | 0.43401 | 2.6421 | 1 | 5.2842 | 32.1556 | 31.8736 | 32.0427 | 399.9803 | 397.1214 | 21.379 | 22.4773 | 33.8162 | 35.5534 | 499.9333 | 1499.326 | 1985.9095 | 76.1972 | 1.7308 | 0.40512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5188 | 0.012942 | 305.0236 | 305.3056 | 239.8922 | -2.2116 | 4.741 | 62.2207 | 39.7433 | 32.0146 | 4.779 | 0.31185 | 1.7127 | 3.0663 | 0.19657 | 17.9011 | 0.59158 | 37.2368 | 390.0211 | 0.026534
33 | 00:19:42 | 21060206 | 1 | 0 | 28.0651 | 0.33096 | 233.3918 | 12.927 | 3.0287 | 31.8746 | 0.43401 | 2.6421 | 1 | 5.2842 | 32.1566 | 31.8746 | 32.0428 | 399.9884 | 397.1062 | 21.3786 | 22.4756 | 33.8135 | 35.5486 | 499.9267 | 1499.293 | 1985.8115 | 76.1973 | 1.7308 | 0.40512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5187 | 0.012927 | 305.0246 | 305.3066 | 239.8869 | -2.2072 | 4.7413 | 62.2238 | 39.7482 | 32.0156 | 4.7793 | 0.31145 | 1.7126 | 3.0667 | 0.19632 | 17.7838 | 0.58773 | 37.2273 | 389.9362 | 0.026794
34 | 00:19:43 | 21060206 | 1 | 0 | 28.0968 | 0.32968 | 232.736 | 12.8826 | 3.0293 | 31.8756 | 0.43401 | 2.6421 | 1 | 5.2842 | 32.157 | 31.8756 | 32.0427 | 400.0034 | 397.1201 | 21.3785 | 22.4718 | 33.8127 | 35.5418 | 499.9341 | 1499.2881 | 1985.8712 | 76.1973 | 1.7308 | 0.40512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5189 | 0.012883 | 305.0256 | 305.307 | 239.8861 | -2.194 | 4.7416 | 62.2273 | 39.7555 | 32.0163 | 4.7795 | 0.31032 | 1.7123 | 3.0672 | 0.1956 | 17.7339 | 0.58606 | 37.2049 | 389.942 | 0.026808
35 | 00:19:44 | 21060206 | 1 | 0 | 28.5315 | 0.32934 | 230.4204 | 12.8712 | 3.0295 | 31.8762 | 0.43401 | 2.6421 | 1 | 5.2842 | 32.1572 | 31.8762 | 32.0418 | 400.0155 | 397.0948 | 21.3779 | 22.4702 | 33.8114 | 35.539 | 499.9291 | 1499.2314 | 1985.9231 | 76.1975 | 1.7308 | 0.40512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5187 | 0.012871 | 305.0262 | 305.3072 | 239.877 | -2.1907 | 4.7417 | 62.2292 | 39.7591 | 32.0167 | 4.7796 | 0.31002 | 1.7122 | 3.0674 | 0.19541 | 17.5575 | 0.58027 | 37.1975 | 389.8056 | 0.027226
36 | 00:19:44 | 21060206 | 1 | 0 | 28.644 | 0.32971 | 230.0019 | 12.8861 | 3.0299 | 31.8772 | 0.43401 | 2.6421 | 1 | 5.2842 | 32.1578 | 31.8772 | 32.0414 | 400.0156 | 397.0847 | 21.3762 | 22.4697 | 33.8073 | 35.5368 | 499.9303 | 1499.1581 | 1986.1838 | 76.1974 | 1.7308 | 0.40512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5188 | 0.012886 | 305.0272 | 305.3078 | 239.8653 | -2.1953 | 4.742 | 62.233 | 39.7633 | 32.0175 | 4.7798 | 0.31035 | 1.7121 | 3.0677 | 0.19562 | 17.5255 | 0.57923 | 37.1986 | 389.7668 | 0.027337
37 | 00:19:45 | 21060206 | 1 | 0 | 28.0407 | 0.32989 | 233.0839 | 12.8946 | 3.0303 | 31.8785 | 0.43401 | 2.6421 | 1 | 5.2842 | 32.1594 | 31.8785 | 32.0415 | 399.9909 | 397.112 | 21.3748 | 22.4691 | 33.8023 | 35.5328 | 499.9324 | 1499.1788 | 1986.3629 | 76.1974 | 1.7308 | 0.40512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5188 | 0.012895 | 305.0285 | 305.3094 | 239.8686 | -2.1978 | 4.7423 | 62.2377 | 39.7686 | 32.0189 | 4.7802 | 0.31051 | 1.7121 | 3.0681 | 0.19572 | 17.7604 | 0.58695 | 37.1969 | 389.9482 | 0.026748
38 | 00:19:45 | 21060206 | 1 | 0 | 27.7847 | 0.32971 | 234.2793 | 12.8897 | 3.0307 | 31.8798 | 0.43401 | 2.6421 | 1 | 5.2842 | 32.1603 | 31.8798 | 32.041 | 399.9751 | 397.1187 | 21.3738 | 22.4676 | 33.7988 | 35.5285 | 499.9399 | 1499.1924 | 1986.3839 | 76.1973 | 1.7308 | 0.40512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.519 | 0.01289 | 305.0298 | 305.3103 | 239.8708 | -2.1963 | 4.7427 | 62.2422 | 39.7745 | 32.02 | 4.7805 | 0.31034 | 1.712 | 3.0685 | 0.19562 | 17.8515 | 0.58995 | 37.1898 | 390.0203 | 0.026494
39 | 00:19:46 | 21060206 | 1 | 0 | 27.4653 | 0.32984 | 235.9082 | 12.8979 | 3.0315 | 31.8826 | 0.43401 | 2.6421 | 1 | 5.2842 | 32.1608 | 31.8826 | 32.0405 | 399.9512 | 397.1222 | 21.3729 | 22.4675 | 33.7963 | 35.5271 | 499.9348 | 1499.193 | 1986.5186 | 76.1969 | 1.7308 | 0.40512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5189 | 0.012898 | 305.0326 | 305.3108 | 239.8709 | -2.1989 | 4.7434 | 62.2524 | 39.7849 | 32.0217 | 4.781 | 0.31046 | 1.712 | 3.069 | 0.19569 | 17.9755 | 0.59404 | 37.1849 | 390.1053 | 0.02618
40 | 00:19:46 | 21060206 | 1 | 0 | 27.2163 | 0.33028 | 237.3174 | 12.9168 | 3.0321 | 31.885 | 0.43401 | 2.6421 | 1 | 5.2842 | 32.161 | 31.885 | 32.0399 | 399.9405 | 397.1324 | 21.3718 | 22.468 | 33.7944 | 35.5277 | 499.9359 | 1499.2253 | 1986.4714 | 76.1971 | 1.7308 | 0.40512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5189 | 0.012917 | 305.035 | 305.311 | 239.876 | -2.2047 | 4.7441 | 62.2608 | 39.7928 | 32.023 | 4.7813 | 0.31085 | 1.712 | 3.0693 | 0.19594 | 18.0829 | 0.59758 | 37.1855 | 390.1792 | 0.025938
41 | 00:19:47 | 21060206 | 1 | 0 | 27.1664 | 0.33037 | 237.5836 | 12.9234 | 3.0329 | 31.8875 | 0.43401 | 2.6421 | 1 | 5.2842 | 32.1617 | 31.8875 | 32.0392 | 399.9259 | 397.122 | 21.3701 | 22.4668 | 33.7903 | 35.5244 | 499.947 | 1499.239 | 1986.5168 | 76.1971 | 1.7308 | 0.40512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5192 | 0.012923 | 305.0375 | 305.3117 | 239.8782 | -2.2068 | 4.7448 | 62.2696 | 39.8028 | 32.0246 | 4.7817 | 0.31093 | 1.7119 | 3.0698 | 0.19599 | 18.1032 | 0.59826 | 37.1794 | 390.1816 | 0.025886
42 | 00:19:47 | 21060206 | 1 | 0 | 27.0516 | 0.33098 | 238.3957 | 12.9487 | 3.0335 | 31.89 | 0.43401 | 2.6421 | 1 | 5.2842 | 32.1628 | 31.89 | 32.0386 | 399.9305 | 397.1357 | 21.3689 | 22.4677 | 33.7862 | 35.5236 | 499.95 | 1499.2101 | 1986.5715 | 76.1972 | 1.7308 | 0.40512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5192 | 0.012949 | 305.04 | 305.3128 | 239.8736 | -2.2145 | 4.7454 | 62.2784 | 39.8106 | 32.0264 | 4.7822 | 0.31147 | 1.712 | 3.0703 | 0.19633 | 18.1651 | 0.60029 | 37.1825 | 390.2246 | 0.025776
43 | 00:19:48 | 21060206 | 1 | 0 | 26.5146 | 0.3309 | 241.0319 | 12.9495 | 3.0343 | 31.8931 | 0.43401 | 2.6421 | 1 | 5.2842 | 32.1638 | 31.8931 | 32.0389 | 399.9107 | 397.1625 | 21.3686 | 22.4675 | 33.7837 | 35.5211 | 499.9578 | 1499.2805 | 1986.597 | 76.1967 | 1.7308 | 0.40512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5194 | 0.01295 | 305.0431 | 305.3138 | 239.8849 | -2.2148 | 4.7463 | 62.2897 | 39.8223 | 32.0284 | 4.7828 | 0.3114 | 1.7119 | 3.0708 | 0.19629 | 18.3658 | 0.60688 | 37.1743 | 390.3886 | 0.025248
44 | 00:19:48 | 21060206 | 1 | 0 | 25.7405 | 0.33016 | 244.6067 | 12.9259 | 3.0352 | 31.8961 | 0.43401 | 2.6421 | 1 | 5.2842 | 32.1644 | 31.8961 | 32.0386 | 399.8808 | 397.2006 | 21.3694 | 22.4663 | 33.7837 | 35.5178 | 499.9512 | 1499.3208 | 1986.3369 | 76.1965 | 1.7308 | 0.40512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5193 | 0.012926 | 305.0461 | 305.3144 | 239.8913 | -2.2079 | 4.7471 | 62.3003 | 39.834 | 32.0303 | 4.7833 | 0.31074 | 1.7119 | 3.0714 | 0.19587 | 18.6382 | 0.61583 | 37.1579 | 390.6244 | 0.024485
45 | 00:19:49 | 21060206 | 1 | 0 | 25.7759 | 0.32918 | 244.0606 | 12.8934 | 3.036 | 31.8985 | 0.43401 | 2.6421 | 1 | 5.2842 | 32.1646 | 31.8985 | 32.0378 | 399.8763 | 397.194 | 21.3702 | 22.4644 | 33.7845 | 35.5143 | 499.9265 | 1499.3118 | 1986.0879 | 76.1962 | 1.7308 | 0.40512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5187 | 0.012893 | 305.0485 | 305.3146 | 239.8899 | -2.1984 | 4.7477 | 62.309 | 39.8446 | 32.0315 | 4.7836 | 0.30988 | 1.7117 | 3.0719 | 0.19532 | 18.5965 | 0.61446 | 37.1387 | 390.6088 | 0.024507 | 27.4451 | 32.1599 | 31.8828 | 21060206 | 1 | 0 | 27.4451 | 0.33025 | 236.1786 | 12.9127 | 3.0314 | 31.8828 | 0.43401 | 2.6421 | 1 | 5.2842 | 32.1599 | 31.8828 | 32.0407 | 399.9577 | 397.1299 | 21.374 | 22.4698 | 33.7998 | 35.5327 | 499.9375 | 1499.2516 | 1986.2304 | 76.1971 | 1.7308 | 0.40512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5189 | 0.012913 | 305.0328 | 305.3099 | 239.8803 | -2.2034 | 4.7435 | 62.253 | 39.7832 | 32.0213 | 4.7809 | 0.31083 | 1.7121 | 3.0687 | 0.19592 | 17.9961 | 0.59471 | 37.1928 | 390.1183 | 0.026166
Remark= | "00:19:57 Coolers: Tblock -> 37.00 C"
Remark= | "00:21:50 Flow: Fixed -> 500 umol/s"
46 | 00:25:13 | 21060206 | 1 | 0 | 31.1655 | 0.25473 | 172.3121 | 11.3578 | 3.3814 | 34.5753 | 0.43401 | 2.6421 | 1 | 5.2842 | 36.4767 | 34.5753 | 37.0382 | 400.4009 | 397.3036 | 27.0739 | 28.0322 | 33.6611 | 34.8526 | 499.9535 | 1501.3058 | 1999.2289 | 76.1772 | 1.1248 | 0.3414 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5193 | 0.011358 | 307.7253 | 309.6267 | 240.2089 | -1.5946 | 5.5169 | 72.4215 | 44.3892 | 35.526 | 5.815 | 0.24302 | 2.1354 | 3.6796 | 0.1529 | 13.1263 | 0.4337 | 38.4336 | 389.3415 | 0.030765
47 | 00:25:13 | 21060206 | 1 | 0 | 31.1655 | 0.25473 | 172.3121 | 11.3578 | 3.3814 | 34.5753 | 0.43401 | 2.6421 | 1 | 5.2842 | 36.4767 | 34.5753 | 37.0382 | 400.4009 | 397.3036 | 27.0739 | 28.0322 | 33.6611 | 34.8526 | 499.9535 | 1501.3058 | 1999.2289 | 76.1772 | 1.1248 | 0.3414 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5193 | 0.011358 | 307.7253 | 309.6267 | 240.2089 | -1.5946 | 5.5169 | 72.4215 | 44.3892 | 35.526 | 5.815 | 0.24302 | 2.1354 | 3.6796 | 0.1529 | 13.1263 | 0.4337 | 38.4336 | 389.3415 | 0.030765
48 | 00:25:14 | 21060206 | 1 | 0 | 30.8217 | 0.25401 | 173.957 | 11.3307 | 3.3825 | 34.578 | 0.43401 | 2.6421 | 1 | 5.2842 | 36.477 | 34.578 | 37.038 | 400.3857 | 397.3193 | 27.0727 | 28.0288 | 33.659 | 34.8477 | 499.9581 | 1501.3452 | 1999.3527 | 76.1773 | 1.1248 | 0.3414 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5194 | 0.011331 | 307.728 | 309.627 | 240.2152 | -1.5867 | 5.5177 | 72.4323 | 44.4035 | 35.5275 | 5.8155 | 0.24236 | 2.1352 | 3.6803 | 0.15248 | 13.2516 | 0.43783 | 38.4147 | 389.445 | 0.030402
49 | 00:25:14 | 21060206 | 1 | 0 | 30.8357 | 0.25425 | 174.0405 | 11.3428 | 3.3831 | 34.5794 | 0.43401 | 2.6421 | 1 | 5.2842 | 36.4774 | 34.5794 | 37.038 | 400.386 | 397.3181 | 27.0705 | 28.0275 | 33.6556 | 34.8454 | 499.9805 | 1501.3762 | 1999.4026 | 76.1773 | 1.1248 | 0.3414 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5199 | 0.011343 | 307.7294 | 309.6274 | 240.2202 | -1.5903 | 5.5181 | 72.4382 | 44.4107 | 35.5284 | 5.8158 | 0.24258 | 2.1351 | 3.6807 | 0.15262 | 13.2579 | 0.43804 | 38.4123 | 389.4402 | 0.030415
50 | 00:25:15 | 21060206 | 1 | 0 | 30.804 | 0.25314 | 173.4247 | 11.2982 | 3.3838 | 34.5809 | 0.43401 | 2.6421 | 1 | 5.2842 | 36.4776 | 34.5809 | 37.0376 | 400.3874 | 397.3238 | 27.0701 | 28.0234 | 33.6548 | 34.8399 | 499.9845 | 1501.4124 | 1999.4287 | 76.1774 | 1.1248 | 0.3414 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.52 | 0.011298 | 307.7309 | 309.6276 | 240.226 | -1.5771 | 5.5186 | 72.4439 | 44.4205 | 35.5292 | 5.816 | 0.24157 | 2.1347 | 3.6813 | 0.15198 | 13.211 | 0.43648 | 38.3912 | 389.454 | 0.030366
51 | 00:25:15 | 21060206 | 1 | 0 | 30.1022 | 0.25337 | 178.0455 | 11.3094 | 3.3843 | 34.5826 | 0.43401 | 2.6421 | 1 | 5.2842 | 36.4783 | 34.5826 | 37.0379 | 400.3376 | 397.3344 | 27.0698 | 28.024 | 33.6532 | 34.8394 | 499.9783 | 1501.4867 | 1999.4835 | 76.1776 | 1.1248 | 0.3414 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5199 | 0.011309 | 307.7326 | 309.6283 | 240.2379 | -1.5805 | 5.5191 | 72.4508 | 44.4268 | 35.5305 | 5.8164 | 0.24177 | 2.1348 | 3.6816 | 0.15211 | 13.5631 | 0.4481 | 38.3906 | 389.6439 | 0.029659
52 | 00:25:16 | 21060206 | 1 | 0 | 29.6256 | 0.25232 | 180.3275 | 11.2667 | 3.3849 | 34.5839 | 0.43401 | 2.6421 | 1 | 5.2842 | 36.4789 | 34.5839 | 37.0383 | 400.3085 | 397.3482 | 27.071 | 28.0216 | 33.6535 | 34.8352 | 499.9904 | 1501.5347 | 1999.5194 | 76.1778 | 1.1248 | 0.3414 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5202 | 0.011267 | 307.7339 | 309.6289 | 240.2455 | -1.5678 | 5.5195 | 72.4558 | 44.4342 | 35.5314 | 5.8167 | 0.24082 | 2.1346 | 3.6821 | 0.15151 | 13.7369 | 0.45383 | 38.3728 | 389.7795 | 0.029166
53 | 00:25:16 | 21060206 | 1 | 0 | 29.164 | 0.2521 | 183.0949 | 11.2581 | 3.3852 | 34.5845 | 0.43401 | 2.6421 | 1 | 5.2842 | 36.4792 | 34.5845 | 37.0384 | 400.2555 | 397.3357 | 27.0704 | 28.0203 | 33.6525 | 34.8333 | 499.9946 | 1501.594 | 1999.4274 | 76.178 | 1.1248 | 0.3414 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5203 | 0.011258 | 307.7345 | 309.6292 | 240.255 | -1.5652 | 5.5197 | 72.4578 | 44.4375 | 35.5318 | 5.8169 | 0.24062 | 2.1345 | 3.6823 | 0.15138 | 13.9478 | 0.46081 | 38.3675 | 389.8849 | 0.028699
54 | 00:25:17 | 21060206 | 1 | 0 | 29.1344 | 0.25204 | 183.2286 | 11.2554 | 3.3852 | 34.584 | 0.43401 | 2.6421 | 1 | 5.2842 | 36.4791 | 34.584 | 37.0381 | 400.2408 | 397.3236 | 27.0687 | 28.0184 | 33.6505 | 34.8311 | 499.9925 | 1501.6389 | 1999.3998 | 76.178 | 1.1248 | 0.3414 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5202 | 0.011255 | 307.734 | 309.6291 | 240.2622 | -1.5643 | 5.5195 | 72.4558 | 44.4374 | 35.5315 | 5.8168 | 0.24056 | 2.1344 | 3.6824 | 0.15134 | 13.958 | 0.46116 | 38.3653 | 389.8804 | 0.028669
55 | 00:25:18 | 21060206 | 1 | 0 | 28.8599 | 0.25198 | 184.9354 | 11.2528 | 3.3851 | 34.5829 | 0.43401 | 2.6421 | 1 | 5.2842 | 36.4791 | 34.5829 | 37.038 | 400.2115 | 397.3182 | 27.0661 | 28.0155 | 33.6471 | 34.8274 | 499.9921 | 1501.7108 | 1999.4595 | 76.1779 | 1.1248 | 0.3414 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5202 | 0.011253 | 307.7329 | 309.6291 | 240.2737 | -1.5633 | 5.5192 | 72.4518 | 44.4363 | 35.531 | 5.8166 | 0.24051 | 2.1342 | 3.6824 | 0.15131 | 14.088 | 0.46546 | 38.3631 | 389.9451 | 0.028393
56 | 00:25:18 | 21060206 | 1 | 0 | 28.3018 | 0.25198 | 188.4805 | 11.2518 | 3.3848 | 34.5816 | 0.43401 | 2.6421 | 1 | 5.2842 | 36.4797 | 34.5816 | 37.0382 | 400.1532 | 397.3085 | 27.064 | 28.0133 | 33.6434 | 34.8236 | 499.9986 | 1501.7572 | 1999.4813 | 76.1777 | 1.1248 | 0.3414 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5203 | 0.011252 | 307.7316 | 309.6297 | 240.2811 | -1.5629 | 5.5188 | 72.4467 | 44.4334 | 35.5307 | 5.8165 | 0.24051 | 2.134 | 3.6825 | 0.15131 | 14.358 | 0.47439 | 38.363 | 390.078 | 0.027834
57 | 00:25:19 | 21060206 | 1 | 0 | 27.4779 | 0.25204 | 193.7896 | 11.2535 | 3.3845 | 34.5804 | 0.43401 | 2.6421 | 1 | 5.2842 | 36.4797 | 34.5804 | 37.0382 | 400.0959 | 397.3224 | 27.0627 | 28.0122 | 33.6419 | 34.8223 | 499.9698 | 1501.7546 | 1999.3108 | 76.1779 | 1.1248 | 0.3414 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5197 | 0.011253 | 307.7304 | 309.6297 | 240.2807 | -1.5632 | 5.5184 | 72.4413 | 44.4291 | 35.53 | 5.8163 | 0.24057 | 2.1339 | 3.6824 | 0.15135 | 14.7625 | 0.48774 | 38.3653 | 390.3024 | 0.02701
58 | 00:25:19 | 21060206 | 1 | 0 | 27.3114 | 0.25346 | 195.7653 | 11.3124 | 3.3841 | 34.5793 | 0.43401 | 2.6421 | 1 | 5.2842 | 36.4805 | 34.5793 | 37.038 | 400.0565 | 397.2955 | 27.0594 | 28.0139 | 33.6363 | 34.8228 | 499.9661 | 1501.5728 | 1999.3093 | 76.178 | 1.1248 | 0.3414 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5196 | 0.011312 | 307.7293 | 309.6305 | 240.2516 | -1.5808 | 5.5181 | 72.4369 | 44.423 | 35.5299 | 5.8162 | 0.24186 | 2.134 | 3.6822 | 0.15217 | 14.913 | 0.49274 | 38.3859 | 390.318 | 0.026859
59 | 00:25:20 | 21060206 | 1 | 0 | 27.4588 | 0.25272 | 194.3042 | 11.2818 | 3.3844 | 34.5794 | 0.43401 | 2.6421 | 1 | 5.2842 | 36.481 | 34.5794 | 37.0379 | 400.0329 | 397.2601 | 27.0585 | 28.0104 | 33.6343 | 34.8175 | 499.9637 | 1501.3573 | 1999.2043 | 76.1778 | 1.1248 | 0.3414 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5195 | 0.011282 | 307.7294 | 309.631 | 240.2172 | -1.5719 | 5.5181 | 72.4378 | 44.4274 | 35.5302 | 5.8163 | 0.24119 | 2.1338 | 3.6826 | 0.15174 | 14.8017 | 0.48911 | 38.3724 | 390.245 | 0.027
60 | 00:25:20 | 21060206 | 1 | 0 | 27.8305 | 0.25289 | 192.0275 | 11.2906 | 3.3848 | 34.5806 | 0.43401 | 2.6421 | 1 | 5.2842 | 36.4821 | 34.5806 | 37.0374 | 400.0367 | 397.2314 | 27.0568 | 28.0095 | 33.6301 | 34.8143 | 499.9586 | 1501.1729 | 1999.2112 | 76.1777 | 1.1248 | 0.3414 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5194 | 0.011291 | 307.7306 | 309.6321 | 240.1877 | -1.5747 | 5.5185 | 72.4425 | 44.4331 | 35.5313 | 5.8167 | 0.24134 | 2.1337 | 3.683 | 0.15183 | 14.6282 | 0.48341 | 38.3703 | 390.1213 | 0.027373 | 29.3372 | 36.4789 | 34.5805 | 21060206 | 1 | 0 | 29.3372 | 0.25305 | 182.6697 | 11.2947 | 3.384 | 34.5805 | 0.43401 | 2.6421 | 1 | 5.2842 | 36.4789 | 34.5805 | 37.038 | 400.246 | 397.3098 | 27.0672 | 28.0202 | 33.649 | 34.8337 | 499.9757 | 1501.4883 | 1999.3632 | 76.1777 | 1.1248 | 0.3414 | 0.88889 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5198 | 0.011295 | 307.7305 | 309.6289 | 240.2381 | -1.5759 | 5.5185 | 72.4423 | 44.4221 | 35.5297 | 5.8162 | 0.24149 | 2.1345 | 3.6817 | 0.15193 | 13.9153 | 0.45977 | 38.3868 | 389.8147 | 0.028892
Remark= | "00:25:35 Coolers: Tblock -> 42.00 C"
Remark= | "00:28:23 Flow: Fixed -> 500 umol/s"
Remark= | "00:30:26 Flow: Fixed -> 500 umol/s"
61 | 00:30:46 | 21060206 | 1 | 0 | 17.2989 | 0.21922 | 240.4747 | 10.9793 | 3.7365 | 37.3042 | 0.43401 | 2.6421 | 1 | 5.2842 | 40.8483 | 37.3042 | 42.0317 | 399.5744 | 397.6935 | 34.1813 | 35.101 | 33.5699 | 34.4732 | 499.9176 | 1499.475 | 2031.9786 | 76.1758 | 0.96316 | 0.25641 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5185 | 0.010979 | 310.4542 | 313.9983 | 239.916 | -1.3301 | 6.4103 | 84.1516 | 49.0506 | 39.0762 | 7.0555 | 0.21049 | 2.6738 | 4.3817 | 0.13231 | 18.3183 | 0.60467 | 40.4848 | 393.274 | 0.017808
62 | 00:30:46 | 21060206 | 1 | 0 | 17.2989 | 0.21922 | 240.4747 | 10.9793 | 3.7365 | 37.3042 | 0.43401 | 2.6421 | 1 | 5.2842 | 40.8483 | 37.3042 | 42.0317 | 399.5744 | 397.6935 | 34.1813 | 35.101 | 33.5699 | 34.4732 | 499.9176 | 1499.475 | 2031.9786 | 76.1758 | 0.96316 | 0.25641 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5185 | 0.010979 | 310.4542 | 313.9983 | 239.916 | -1.3301 | 6.4103 | 84.1516 | 49.0506 | 39.0762 | 7.0555 | 0.21049 | 2.6738 | 4.3817 | 0.13231 | 18.3183 | 0.60467 | 40.4848 | 393.274 | 0.017808
63 | 00:30:47 | 21060206 | 1 | 0 | 16.8298 | 0.21944 | 243.9986 | 10.9882 | 3.7359 | 37.3028 | 0.43401 | 2.6421 | 1 | 5.2842 | 40.849 | 37.3028 | 42.0317 | 399.534 | 397.6935 | 34.1812 | 35.1017 | 33.5685 | 34.4725 | 499.9288 | 1499.4937 | 2031.8307 | 76.1757 | 0.96316 | 0.25641 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5187 | 0.010988 | 310.4528 | 313.999 | 239.919 | -1.3325 | 6.4098 | 84.1456 | 49.0439 | 39.0759 | 7.0554 | 0.21069 | 2.6739 | 4.3815 | 0.13244 | 18.5868 | 0.61353 | 40.4912 | 393.3939 | 0.017323
64 | 00:30:47 | 21060206 | 1 | 0 | 16.608 | 0.21985 | 245.8262 | 11.0095 | 3.7365 | 37.3049 | 0.43401 | 2.6421 | 1 | 5.2842 | 40.8501 | 37.3049 | 42.032 | 399.5234 | 397.7015 | 34.1811 | 35.1034 | 33.5665 | 34.4722 | 499.924 | 1499.4708 | 2031.891 | 76.1758 | 0.96316 | 0.25641 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5186 | 0.01101 | 310.4549 | 314.0001 | 239.9153 | -1.339 | 6.4106 | 84.1547 | 49.0513 | 39.0775 | 7.056 | 0.21107 | 2.674 | 4.382 | 0.13268 | 18.726 | 0.61812 | 40.4927 | 393.4585 | 0.017092
65 | 00:30:48 | 21060206 | 1 | 0 | 16.9629 | 0.21974 | 243.1562 | 11.0071 | 3.7375 | 37.3077 | 0.43401 | 2.6421 | 1 | 5.2842 | 40.8513 | 37.3077 | 42.0323 | 399.516 | 397.6634 | 34.1815 | 35.1035 | 33.565 | 34.4704 | 499.9371 | 1499.4739 | 2031.8459 | 76.1761 | 0.96316 | 0.25641 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5189 | 0.011007 | 310.4577 | 314.0013 | 239.9158 | -1.3384 | 6.4115 | 84.1675 | 49.0639 | 39.0795 | 7.0567 | 0.21096 | 2.6741 | 4.3827 | 0.13261 | 18.5227 | 0.61146 | 40.4848 | 393.3297 | 0.01746
66 | 00:30:48 | 21060206 | 1 | 0 | 17.3932 | 0.21883 | 239.5233 | 10.9696 | 3.7396 | 37.3135 | 0.43401 | 2.6421 | 1 | 5.2842 | 40.8525 | 37.3135 | 42.0327 | 399.5551 | 397.6664 | 34.1842 | 35.1031 | 33.5654 | 34.4676 | 499.9368 | 1499.4659 | 2031.8397 | 76.1758 | 0.96316 | 0.25641 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5189 | 0.01097 | 310.4635 | 314.0025 | 239.9145 | -1.3277 | 6.4136 | 84.1942 | 49.0912 | 39.083 | 7.0581 | 0.21013 | 2.674 | 4.3841 | 0.13208 | 18.2459 | 0.60232 | 40.4601 | 393.2228 | 0.017896
67 | 00:30:49 | 21060206 | 1 | 0 | 18.2889 | 0.21797 | 232.4889 | 10.9329 | 3.7411 | 37.3175 | 0.43401 | 2.6421 | 1 | 5.2842 | 40.8536 | 37.3175 | 42.033 | 399.6222 | 397.657 | 34.1861 | 35.1019 | 33.5652 | 34.4643 | 499.9386 | 1499.498 | 2031.8234 | 76.1758 | 0.96316 | 0.25641 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.519 | 0.010933 | 310.4675 | 314.0036 | 239.9197 | -1.317 | 6.415 | 84.2129 | 49.111 | 39.0856 | 7.0591 | 0.20934 | 2.6739 | 4.3851 | 0.13158 | 17.71 | 0.58465 | 40.4394 | 392.9846 | 0.01882
68 | 00:30:49 | 21060206 | 1 | 0 | 18.5444 | 0.21847 | 230.8998 | 10.9595 | 3.7419 | 37.3205 | 0.43401 | 2.6421 | 1 | 5.2842 | 40.8544 | 37.3205 | 42.0336 | 399.6273 | 397.6391 | 34.1858 | 35.1038 | 33.5636 | 34.4649 | 499.9409 | 1499.5715 | 2031.9276 | 76.1761 | 0.96316 | 0.25641 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.519 | 0.01096 | 310.4705 | 314.0044 | 239.9314 | -1.325 | 6.416 | 84.2262 | 49.1224 | 39.0875 | 7.0598 | 0.20979 | 2.6741 | 4.3857 | 0.13187 | 17.589 | 0.58068 | 40.4399 | 392.9014 | 0.019087
69 | 00:30:50 | 21060206 | 1 | 0 | 17.9629 | 0.21835 | 235.0919 | 10.9579 | 3.7432 | 37.3246 | 0.43401 | 2.6421 | 1 | 5.2842 | 40.8554 | 37.3246 | 42.0349 | 399.613 | 397.6753 | 34.1876 | 35.1055 | 33.5637 | 34.4649 | 499.9492 | 1499.5414 | 2032.2705 | 76.1763 | 0.96316 | 0.25641 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5192 | 0.010958 | 310.4746 | 314.0054 | 239.9266 | -1.3248 | 6.4175 | 84.2447 | 49.1392 | 39.09 | 7.0607 | 0.20969 | 2.6742 | 4.3865 | 0.13181 | 17.9084 | 0.59117 | 40.4307 | 393.0862 | 0.018476
70 | 00:30:50 | 21060206 | 1 | 0 | 18.1296 | 0.21776 | 233.5073 | 10.9332 | 3.7446 | 37.3284 | 0.43401 | 2.6421 | 1 | 5.2842 | 40.8563 | 37.3284 | 42.036 | 399.6148 | 397.6635 | 34.1893 | 35.1051 | 33.5637 | 34.4627 | 499.9636 | 1499.5798 | 2032.4668 | 76.1762 | 0.96316 | 0.25641 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5195 | 0.010933 | 310.4784 | 314.0063 | 239.9328 | -1.3177 | 6.4188 | 84.2621 | 49.157 | 39.0923 | 7.0616 | 0.20914 | 2.6742 | 4.3875 | 0.13146 | 17.7877 | 0.5872 | 40.4144 | 393.0318 | 0.018642
71 | 00:30:51 | 21060206 | 1 | 0 | 18.1203 | 0.21789 | 233.6467 | 10.9459 | 3.7467 | 37.3348 | 0.43401 | 2.6421 | 1 | 5.2842 | 40.8575 | 37.3348 | 42.0371 | 399.6244 | 397.6736 | 34.1894 | 35.1063 | 33.5616 | 34.4616 | 499.9657 | 1499.6034 | 2032.5607 | 76.1762 | 0.96316 | 0.25641 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5196 | 0.010946 | 310.4848 | 314.0075 | 239.9365 | -1.3219 | 6.421 | 84.2914 | 49.1851 | 39.0961 | 7.0631 | 0.20926 | 2.6743 | 4.3888 | 0.13154 | 17.7983 | 0.58753 | 40.4015 | 393.0442 | 0.018626
72 | 00:30:51 | 21060206 | 1 | 0 | 18.4478 | 0.21759 | 231.0635 | 10.9366 | 3.7484 | 37.3398 | 0.43401 | 2.6421 | 1 | 5.2842 | 40.8585 | 37.3398 | 42.038 | 399.6477 | 397.6688 | 34.192 | 35.108 | 33.5624 | 34.4615 | 499.9818 | 1499.6169 | 2032.5515 | 76.176 | 0.96316 | 0.25641 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.52 | 0.010937 | 310.4898 | 314.0085 | 239.9387 | -1.3194 | 6.4228 | 84.3146 | 49.2066 | 39.0991 | 7.0642 | 0.20899 | 2.6744 | 4.3898 | 0.13136 | 17.6015 | 0.58104 | 40.3879 | 392.9558 | 0.018961
73 | 00:30:52 | 21060206 | 1 | 0 | 17.9521 | 0.21804 | 234.9792 | 10.9624 | 3.7497 | 37.3443 | 0.43401 | 2.6421 | 1 | 5.2842 | 40.8592 | 37.3443 | 42.0395 | 399.6508 | 397.714 | 34.1926 | 35.1108 | 33.5617 | 34.4629 | 499.9863 | 1499.5909 | 2032.6604 | 76.1759 | 0.96316 | 0.25641 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5201 | 0.010962 | 310.4943 | 314.0092 | 239.9345 | -1.3274 | 6.4243 | 84.3355 | 49.2247 | 39.1017 | 7.0652 | 0.2094 | 2.6746 | 4.3906 | 0.13163 | 17.8998 | 0.59082 | 40.3849 | 393.1276 | 0.018442
74 | 00:30:52 | 21060206 | 1 | 0 | 17.8734 | 0.21861 | 235.8859 | 10.9876 | 3.749 | 37.3426 | 0.43401 | 2.6421 | 1 | 5.2842 | 40.8599 | 37.3426 | 42.0406 | 399.6433 | 397.7124 | 34.1926 | 35.113 | 33.5605 | 34.4638 | 499.9655 | 1499.5563 | 2032.8066 | 76.176 | 0.96316 | 0.25641 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5196 | 0.010988 | 310.4926 | 314.0099 | 239.929 | -1.3347 | 6.4237 | 84.3274 | 49.2144 | 39.1012 | 7.065 | 0.20993 | 2.6748 | 4.3902 | 0.13196 | 17.9688 | 0.59311 | 40.3979 | 393.1461 | 0.018366
75 | 00:30:53 | 21060206 | 1 | 0 | 17.3728 | 0.21959 | 240.0707 | 11.0328 | 3.7483 | 37.3413 | 0.43401 | 2.6421 | 1 | 5.2842 | 40.8605 | 37.3413 | 42.0411 | 399.5941 | 397.7051 | 34.1919 | 35.116 | 33.5589 | 34.4659 | 499.9748 | 1499.5297 | 2032.717 | 76.1765 | 0.96316 | 0.25641 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5198 | 0.011033 | 310.4913 | 314.0105 | 239.9247 | -1.348 | 6.4233 | 84.3212 | 49.2052 | 39.1009 | 7.0649 | 0.21083 | 2.675 | 4.3899 | 0.13253 | 18.2877 | 0.60364 | 40.4155 | 393.2667 | 0.017854 | 17.6723 | 40.8543 | 37.3221 | 21060206 | 1 | 0 | 17.6723 | 0.2187 | 237.4058 | 10.9721 | 3.7424 | 37.3221 | 0.43401 | 2.6421 | 1 | 5.2842 | 40.8543 | 37.3221 | 42.035 | 399.5943 | 397.6814 | 34.1865 | 35.1056 | 33.5644 | 34.4668 | 499.9486 | 1499.5295 | 2032.2099 | 76.176 | 0.96316 | 0.25641 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5192 | 0.010972 | 310.4721 | 314.0043 | 239.9247 | -1.3289 | 6.4166 | 84.2334 | 49.1278 | 39.0882 | 7.0601 | 0.21001 | 2.6742 | 4.3859 | 0.13201 | 18.0846 | 0.59697 | 40.4407 | 393.1665 | 0.018177
Remark= | "00:31:01 Coolers: Tblock -> 47.00 C"
Remark= | "00:38:03 Flow: Fixed -> 500 umol/s"
76 | 00:39:24 | 21060206 | 1 | 0 | 16.0109 | 0.14355 | 193.0364 | 6.7448 | 3.4228 | 38.8442 | 0.43401 | 2.6421 | 1 | 5.2842 | 45.2369 | 38.8442 | 47.0209 | 400.0152 | 398.392 | 45.9804 | 46.5387 | 35.8992 | 36.3351 | 499.9383 | 1501.3257 | 364.4195 | 76.1774 | 0.98376 | 0.074397 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.519 | 0.0067448 | 311.9942 | 318.3869 | 240.2121 | 0.19501 | 6.968 | 91.4703 | 44.9316 | 42.0406 | 8.2611 | 0.13975 | 3.5452 | 4.7159 | 0.087679 | 14.705 | 0.48454 | 48.6331 | 394.3016 | 0.019748
77 | 00:39:24 | 21060206 | 1 | 0 | 16.0109 | 0.14355 | 193.0364 | 6.7448 | 3.4228 | 38.8442 | 0.43401 | 2.6421 | 1 | 5.2842 | 45.2369 | 38.8442 | 47.0209 | 400.0152 | 398.392 | 45.9804 | 46.5387 | 35.8992 | 36.3351 | 499.9383 | 1501.3257 | 364.4195 | 76.1774 | 0.98376 | 0.074397 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.519 | 0.0067448 | 311.9942 | 318.3869 | 240.2121 | 0.19501 | 6.968 | 91.4703 | 44.9316 | 42.0406 | 8.2611 | 0.13975 | 3.5452 | 4.7159 | 0.087679 | 14.705 | 0.48454 | 48.6331 | 394.3016 | 0.019748
78 | 00:39:25 | 21060206 | 1 | 0 | 16.0605 | 0.14329 | 192.1839 | 6.7301 | 3.4214 | 38.84 | 0.43401 | 2.6421 | 1 | 5.2842 | 45.2365 | 38.84 | 47.0201 | 400.0132 | 398.3861 | 45.9787 | 46.5357 | 35.8987 | 36.3336 | 499.9426 | 1501.3351 | 364.5609 | 76.1774 | 0.98376 | 0.074397 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5191 | 0.0067301 | 311.99 | 318.3865 | 240.2136 | 0.19969 | 6.9664 | 91.4493 | 44.9136 | 42.0383 | 8.26 | 0.13951 | 3.545 | 4.7151 | 0.087525 | 14.6401 | 0.48241 | 48.6401 | 394.283 | 0.019813
79 | 00:39:25 | 21060206 | 1 | 0 | 15.9565 | 0.14351 | 193.5932 | 6.7367 | 3.4197 | 38.8351 | 0.43401 | 2.6421 | 1 | 5.2842 | 45.2363 | 38.8351 | 47.0197 | 399.9982 | 398.38 | 45.9758 | 46.5334 | 35.8969 | 36.3322 | 499.9475 | 1501.3749 | 364.6957 | 76.1775 | 0.98376 | 0.074397 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5192 | 0.0067367 | 311.9851 | 318.3863 | 240.22 | 0.19821 | 6.9645 | 91.425 | 44.8916 | 42.0357 | 8.2589 | 0.13971 | 3.5448 | 4.7141 | 0.087654 | 14.7474 | 0.48595 | 48.6544 | 394.3034 | 0.019689
80 | 00:39:26 | 21060206 | 1 | 0 | 15.4187 | 0.14385 | 199.9032 | 6.7507 | 3.419 | 38.8326 | 0.43401 | 2.6421 | 1 | 5.2842 | 45.2363 | 38.8326 | 47.0201 | 399.9582 | 398.3862 | 45.9725 | 46.5313 | 35.8941 | 36.3304 | 499.9407 | 1501.4185 | 364.7914 | 76.1773 | 0.98376 | 0.074397 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.519 | 0.0067507 | 311.9826 | 318.3863 | 240.2269 | 0.19431 | 6.9636 | 91.4133 | 44.882 | 42.0345 | 8.2584 | 0.14004 | 3.5446 | 4.7138 | 0.087857 | 15.2281 | 0.50178 | 48.6623 | 394.447 | 0.019022
81 | 00:39:26 | 21060206 | 1 | 0 | 14.4789 | 0.1438 | 210.1881 | 6.7449 | 3.4172 | 38.8275 | 0.43401 | 2.6421 | 1 | 5.2842 | 45.2362 | 38.8275 | 47.0204 | 399.902 | 398.4118 | 45.9706 | 46.5289 | 35.893 | 36.3289 | 499.954 | 1501.3971 | 364.9201 | 76.1775 | 0.98376 | 0.074397 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5193 | 0.0067449 | 311.9775 | 318.3862 | 240.2235 | 0.19644 | 6.9617 | 91.3879 | 44.859 | 42.0319 | 8.2573 | 0.13999 | 3.5445 | 4.7128 | 0.087828 | 16.0116 | 0.52756 | 48.6747 | 394.7127 | 0.017855
82 | 00:39:27 | 21060206 | 1 | 0 | 14.6775 | 0.14428 | 208.5293 | 6.763 | 3.4153 | 38.8222 | 0.43401 | 2.6421 | 1 | 5.2842 | 45.2355 | 38.8222 | 47.0203 | 399.9001 | 398.3921 | 45.9678 | 46.5276 | 35.8922 | 36.3293 | 499.9661 | 1501.4105 | 365.0464 | 76.1777 | 0.98376 | 0.074397 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5196 | 0.006763 | 311.9722 | 318.3855 | 240.2257 | 0.1915 | 6.9597 | 91.3615 | 44.834 | 42.0289 | 8.256 | 0.14045 | 3.5444 | 4.7116 | 0.088115 | 15.8853 | 0.52343 | 48.6939 | 394.6423 | 0.01811
83 | 00:39:27 | 21060206 | 1 | 0 | 14.2333 | 0.14519 | 214.3658 | 6.8 | 3.4131 | 38.8162 | 0.43401 | 2.6421 | 1 | 5.2842 | 45.235 | 38.8162 | 47.0197 | 399.8787 | 398.4079 | 45.9641 | 46.527 | 35.8902 | 36.3297 | 499.9527 | 1501.4349 | 365.1834 | 76.1777 | 0.98376 | 0.074397 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5193 | 0.0068 | 311.9662 | 318.385 | 240.2296 | 0.18106 | 6.9575 | 91.332 | 44.805 | 42.0256 | 8.2545 | 0.14131 | 3.5443 | 4.7102 | 0.088658 | 16.3299 | 0.53806 | 48.7199 | 394.7716 | 0.017566
84 | 00:39:28 | 21060206 | 1 | 0 | 14.4984 | 0.14432 | 210.5497 | 6.7557 | 3.4109 | 38.8088 | 0.43401 | 2.6421 | 1 | 5.2842 | 45.2346 | 38.8088 | 47.0188 | 399.8748 | 398.3826 | 45.9607 | 46.5199 | 35.8884 | 36.325 | 499.9545 | 1501.472 | 365.3196 | 76.1777 | 0.98376 | 0.074397 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5193 | 0.0067557 | 311.9588 | 318.3846 | 240.2355 | 0.19484 | 6.9547 | 91.2953 | 44.7755 | 42.0217 | 8.2528 | 0.14048 | 3.5438 | 4.7091 | 0.088138 | 16.0392 | 0.52851 | 48.7261 | 394.6785 | 0.017899
85 | 00:39:28 | 21060206 | 1 | 0 | 14.4943 | 0.14443 | 210.7102 | 6.7616 | 3.4113 | 38.8095 | 0.43401 | 2.6421 | 1 | 5.2842 | 45.2349 | 38.8095 | 47.0188 | 399.8698 | 398.3777 | 45.959 | 46.5186 | 35.8865 | 36.3236 | 499.9567 | 1501.5042 | 365.4293 | 76.1778 | 0.98376 | 0.074397 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5194 | 0.0067616 | 311.9595 | 318.3849 | 240.2407 | 0.19307 | 6.9549 | 91.2988 | 44.7802 | 42.0222 | 8.253 | 0.14059 | 3.5437 | 4.7094 | 0.088207 | 16.0514 | 0.52892 | 48.7237 | 394.6747 | 0.017894
86 | 00:39:29 | 21060206 | 1 | 0 | 15.0351 | 0.14406 | 204.3719 | 6.7457 | 3.4118 | 38.8103 | 0.43401 | 2.6421 | 1 | 5.2842 | 45.2345 | 38.8103 | 47.0183 | 399.9021 | 398.3636 | 45.9564 | 46.5148 | 35.8853 | 36.3213 | 499.9645 | 1501.5518 | 365.5648 | 76.1779 | 0.98376 | 0.074397 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5196 | 0.0067457 | 311.9603 | 318.3845 | 240.2483 | 0.19775 | 6.9552 | 91.3024 | 44.7876 | 42.0224 | 8.2531 | 0.14024 | 3.5434 | 4.7097 | 0.087983 | 15.5686 | 0.51303 | 48.7136 | 394.5225 | 0.018565
87 | 00:39:29 | 21060206 | 1 | 0 | 15.0663 | 0.14274 | 202.5287 | 6.6883 | 3.4133 | 38.8127 | 0.43401 | 2.6421 | 1 | 5.2842 | 45.234 | 38.8127 | 47.0181 | 399.9032 | 398.364 | 45.9544 | 46.5081 | 35.8846 | 36.3169 | 499.9539 | 1501.5969 | 365.665 | 76.1778 | 0.98376 | 0.074397 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5193 | 0.0066883 | 311.9627 | 318.384 | 240.2555 | 0.21453 | 6.9561 | 91.3146 | 44.8065 | 42.0233 | 8.2536 | 0.13898 | 3.5429 | 4.7107 | 0.087195 | 15.4282 | 0.5084 | 48.6862 | 394.5149 | 0.018593
88 | 00:39:30 | 21060206 | 1 | 0 | 14.9524 | 0.14178 | 202.7005 | 6.6455 | 3.4138 | 38.8127 | 0.43401 | 2.6421 | 1 | 5.2842 | 45.2338 | 38.8127 | 47.0172 | 399.9016 | 398.3737 | 45.9513 | 46.5014 | 35.8826 | 36.3121 | 499.9605 | 1501.6119 | 365.8355 | 76.178 | 0.98376 | 0.074397 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5195 | 0.0066455 | 311.9627 | 318.3838 | 240.2579 | 0.22721 | 6.9561 | 91.3143 | 44.813 | 42.0233 | 8.2535 | 0.13807 | 3.5424 | 4.7111 | 0.086622 | 15.4413 | 0.50882 | 48.6698 | 394.5537 | 0.018444
89 | 00:39:30 | 21060206 | 1 | 0 | 14.9611 | 0.14217 | 203.0367 | 6.6629 | 3.4136 | 38.8118 | 0.43401 | 2.6421 | 1 | 5.2842 | 45.2336 | 38.8118 | 47.0164 | 399.8896 | 398.3604 | 45.9478 | 46.4993 | 35.8801 | 36.3108 | 499.9523 | 1501.6733 | 365.9669 | 76.1779 | 0.98376 | 0.074397 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5193 | 0.0066629 | 311.9618 | 318.3836 | 240.2677 | 0.22219 | 6.9558 | 91.3102 | 44.8109 | 42.0227 | 8.2533 | 0.13844 | 3.5422 | 4.7111 | 0.086854 | 15.4669 | 0.50968 | 48.6737 | 394.5382 | 0.018457
90 | 00:39:31 | 21060206 | 1 | 0 | 14.5874 | 0.14266 | 207.7426 | 6.6868 | 3.4143 | 38.8133 | 0.43401 | 2.6421 | 1 | 5.2842 | 45.2337 | 38.8133 | 47.0159 | 399.8755 | 398.3779 | 45.9444 | 46.4979 | 35.8774 | 36.3096 | 499.9562 | 1501.6941 | 366.113 | 76.1777 | 0.98376 | 0.074397 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5194 | 0.0066868 | 311.9633 | 318.3837 | 240.271 | 0.21499 | 6.9564 | 91.3175 | 44.8196 | 42.0235 | 8.2536 | 0.13891 | 3.5421 | 4.7115 | 0.08715 | 15.8253 | 0.52147 | 48.6723 | 394.6511 | 0.017991 | 15.0962 | 45.2353 | 38.8227 | 21060206 | 1 | 0 | 15.0962 | 0.14355 | 203.0984 | 6.7308 | 3.416 | 38.8227 | 0.43401 | 2.6421 | 1 | 5.2842 | 45.2353 | 38.8227 | 47.019 | 399.9265 | 398.3832 | 45.9643 | 46.5214 | 35.8899 | 36.3249 | 499.9519 | 1501.4751 | 365.1954 | 76.1776 | 0.98376 | 0.074397 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 11.5193 | 0.0067308 | 311.9727 | 318.3853 | 240.236 | 0.20105 | 6.9599 | 91.3642 | 44.8428 | 42.029 | 8.256 | 0.13975 | 3.5439 | 4.7121 | 0.087676 | 15.4716 | 0.50981 | 48.6784 | 394.5265 | 0.018626
Remark= | "00:39:51 Coolers: Tblock -> 50.00 C"