## stm-as4_
OPEN 6.3.2
Sun Feb 5 2106 23:38:28
Unit= | PSC-2470
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/LED2x3.xml
Remark=
Obs | HHMMSS | YYYYMMDD | DOY | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | YYYYMMDD | DOY | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "23:38:51 Coolers: Tblock -> 0.00 C"
Remark= | "23:46:44 Coolers: Tblock -> 22.00 C"
Remark= | "23:49:59 Flow: Fixed -> 500 umol/s"
1 | 23:51:12 | 21060205 | 1 | 0 | 25.2209 | 0.37534 | 263.5931 | 10.7298 | 2.2744 | 25.9742 | 0.94645 | 2.5296 | 1 | 5.0592 | 23.3862 | 25.9742 | 22.0157 | 399.4994 | 393.9255 | 12.345 | 14.3468 | 32.6344 | 37.9263 | 500.0171 | 1500.0887 | 0.25605 | 76.3003 | 3.5463 | 0.42421 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2831 | 0.01073 | 299.1242 | 296.5362 | 240.0142 | -1.8553 | 3.3691 | 44.156 | 29.8091 | 24.6802 | 3.1196 | 0.34942 | 1.0947 | 2.0249 | 0.22058 | 20.1122 | 0.66914 | 35.2602 | 387.1955 | 0.022968
2 | 23:51:13 | 21060205 | 1 | 0 | 25.2209 | 0.37534 | 263.5931 | 10.7298 | 2.2744 | 25.9742 | 0.94645 | 2.5296 | 1 | 5.0592 | 23.3862 | 25.9742 | 22.0157 | 399.4994 | 393.9255 | 12.345 | 14.3468 | 32.6344 | 37.9263 | 500.0171 | 1500.0887 | 0.25605 | 76.3003 | 3.5463 | 0.42421 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2831 | 0.01073 | 299.1242 | 296.5362 | 240.0142 | -1.8553 | 3.3691 | 44.156 | 29.8091 | 24.6802 | 3.1196 | 0.34942 | 1.0947 | 2.0249 | 0.22058 | 20.1122 | 0.66914 | 35.2602 | 387.1955 | 0.022968
3 | 23:51:13 | 21060205 | 1 | 0 | 23.3955 | 0.37517 | 271.6376 | 10.7237 | 2.2741 | 25.972 | 0.94645 | 2.5296 | 1 | 5.0592 | 23.3853 | 25.972 | 22.0154 | 399.1616 | 393.9335 | 12.3444 | 14.3451 | 32.6344 | 37.9237 | 500.0081 | 1500.0648 | 0.20864 | 76.3004 | 3.5463 | 0.42421 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.283 | 0.010724 | 299.122 | 296.5353 | 240.0104 | -1.8534 | 3.3687 | 44.1502 | 29.8051 | 24.6786 | 3.1193 | 0.34927 | 1.0945 | 2.0247 | 0.22048 | 20.7261 | 0.68955 | 35.2587 | 387.6906 | 0.021277
4 | 23:51:14 | 21060205 | 1 | 0 | 21.7237 | 0.37533 | 279.0262 | 10.7243 | 2.2734 | 25.9687 | 0.94645 | 2.5296 | 1 | 5.0592 | 23.385 | 25.9687 | 22.0154 | 398.786 | 393.8741 | 12.3453 | 14.3462 | 32.6374 | 37.9274 | 499.9782 | 1500.0811 | 0.26909 | 76.3005 | 3.5463 | 0.42421 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2827 | 0.010724 | 299.1187 | 296.535 | 240.013 | -1.8533 | 3.368 | 44.1415 | 29.7953 | 24.6769 | 3.1189 | 0.34941 | 1.0946 | 2.0243 | 0.22057 | 21.2898 | 0.70841 | 35.2694 | 388.0773 | 0.019743
5 | 23:51:14 | 21060205 | 1 | 0 | 21.2961 | 0.37522 | 280.8566 | 10.7179 | 2.2727 | 25.9645 | 0.94645 | 2.5296 | 1 | 5.0592 | 23.3844 | 25.9645 | 22.0154 | 398.6615 | 393.8308 | 12.3444 | 14.3444 | 32.6365 | 37.9239 | 499.947 | 1500.0741 | 0.23116 | 76.3006 | 3.5463 | 0.42421 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2823 | 0.010718 | 299.1145 | 296.5344 | 240.0119 | -1.851 | 3.3672 | 44.1303 | 29.786 | 24.6744 | 3.1185 | 0.34931 | 1.0945 | 2.024 | 0.22051 | 21.4295 | 0.71314 | 35.2723 | 388.1481 | 0.019353
6 | 23:51:15 | 21060205 | 1 | 0 | 23.5595 | 0.37546 | 270.8109 | 10.7182 | 2.2714 | 25.9576 | 0.94645 | 2.5296 | 1 | 5.0592 | 23.384 | 25.9576 | 22.0154 | 398.9883 | 393.7289 | 12.3431 | 14.3432 | 32.6337 | 37.9217 | 499.9128 | 1500.0759 | 0.20626 | 76.3008 | 3.5463 | 0.42421 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.282 | 0.010718 | 299.1076 | 296.534 | 240.0121 | -1.8506 | 3.3658 | 44.1123 | 29.7691 | 24.6708 | 3.1178 | 0.34952 | 1.0944 | 2.0234 | 0.22064 | 20.6631 | 0.68781 | 35.286 | 387.4423 | 0.021457
7 | 23:51:15 | 21060205 | 1 | 0 | 26.7592 | 0.3756 | 256.6557 | 10.7158 | 2.2702 | 25.9507 | 0.94645 | 2.5296 | 1 | 5.0592 | 23.3835 | 25.9507 | 22.0151 | 399.5442 | 393.6796 | 12.3419 | 14.3416 | 32.6318 | 37.9187 | 499.9258 | 1500.0847 | 0.20389 | 76.3009 | 3.5463 | 0.42421 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2821 | 0.010716 | 299.1007 | 296.5335 | 240.0135 | -1.8494 | 3.3644 | 44.0943 | 29.7527 | 24.6671 | 3.1171 | 0.34964 | 1.0943 | 2.0228 | 0.22072 | 19.5831 | 0.65194 | 35.2975 | 386.5391 | 0.024436
8 | 23:51:16 | 21060205 | 1 | 0 | 30.1568 | 0.37557 | 241.565 | 10.7117 | 2.2695 | 25.9469 | 0.94645 | 2.5296 | 1 | 5.0592 | 23.3829 | 25.9469 | 22.015 | 400.1289 | 393.6213 | 12.3415 | 14.3404 | 32.6318 | 37.9169 | 499.9203 | 1500.1202 | 0.19204 | 76.3008 | 3.5463 | 0.42421 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2821 | 0.010712 | 299.0969 | 296.5329 | 240.0192 | -1.8478 | 3.3637 | 44.0842 | 29.7439 | 24.6649 | 3.1167 | 0.34961 | 1.0942 | 2.0225 | 0.2207 | 18.4316 | 0.6137 | 35.302 | 385.5742 | 0.027611
9 | 23:51:16 | 21060205 | 1 | 0 | 32.7181 | 0.37578 | 230.27 | 10.7148 | 2.269 | 25.9442 | 0.94645 | 2.5296 | 1 | 5.0592 | 23.3828 | 25.9442 | 22.0149 | 400.5671 | 393.5742 | 12.3407 | 14.3403 | 32.6299 | 37.9168 | 499.8983 | 1500.1639 | 0.22523 | 76.3009 | 3.5463 | 0.42421 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2818 | 0.010715 | 299.0942 | 296.5328 | 240.0262 | -1.8485 | 3.3631 | 44.0772 | 29.737 | 24.6635 | 3.1164 | 0.3498 | 1.0942 | 2.0223 | 0.22082 | 17.5698 | 0.58507 | 35.3095 | 384.8436 | 0.030019
10 | 23:51:17 | 21060205 | 1 | 0 | 33.6713 | 0.37589 | 226.154 | 10.7186 | 2.2691 | 25.9453 | 0.94645 | 2.5296 | 1 | 5.0592 | 23.3819 | 25.9453 | 22.0152 | 400.8078 | 393.6335 | 12.3407 | 14.3411 | 32.6317 | 37.9213 | 499.8594 | 1500.1669 | 0.26791 | 76.301 | 3.5463 | 0.42421 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2814 | 0.010719 | 299.0953 | 296.5319 | 240.0267 | -1.8498 | 3.3634 | 44.0801 | 29.739 | 24.6636 | 3.1165 | 0.3499 | 1.0942 | 2.0222 | 0.22088 | 17.2558 | 0.57453 | 35.3105 | 384.6485 | 0.03091
11 | 23:51:17 | 21060205 | 1 | 0 | 34.6359 | 0.37583 | 221.9364 | 10.7193 | 2.2696 | 25.9477 | 0.94645 | 2.5296 | 1 | 5.0592 | 23.3818 | 25.9477 | 22.0156 | 401.0661 | 393.7091 | 12.3406 | 14.3411 | 32.6317 | 37.9214 | 499.8723 | 1500.126 | 0.21575 | 76.3011 | 3.5463 | 0.42421 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2816 | 0.010719 | 299.0977 | 296.5318 | 240.0202 | -1.8503 | 3.3638 | 44.0863 | 29.7452 | 24.6648 | 3.1167 | 0.34984 | 1.0942 | 2.0224 | 0.22085 | 16.934 | 0.56371 | 35.3052 | 384.4668 | 0.031806
12 | 23:51:18 | 21060205 | 1 | 0 | 36.0779 | 0.37558 | 215.521 | 10.7149 | 2.2701 | 25.9492 | 0.94645 | 2.5296 | 1 | 5.0592 | 23.3811 | 25.9492 | 22.0153 | 401.404 | 393.7743 | 12.3391 | 14.3387 | 32.6292 | 37.917 | 499.8799 | 1500.1399 | 0.1541 | 76.3014 | 3.5463 | 0.42421 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2816 | 0.010715 | 299.0992 | 296.5311 | 240.0224 | -1.8491 | 3.3641 | 44.09 | 29.7513 | 24.6651 | 3.1167 | 0.34963 | 1.0941 | 2.0227 | 0.22071 | 16.4445 | 0.54732 | 35.2944 | 384.1472 | 0.033147
13 | 23:51:18 | 21060205 | 1 | 0 | 36.0199 | 0.37543 | 215.8938 | 10.7135 | 2.2706 | 25.9517 | 0.94645 | 2.5296 | 1 | 5.0592 | 23.3806 | 25.9517 | 22.0151 | 401.5818 | 393.9633 | 12.3389 | 14.3381 | 32.6296 | 37.9165 | 499.9117 | 1500.1584 | 0.28332 | 76.3014 | 3.5463 | 0.42421 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.282 | 0.010714 | 299.1017 | 296.5306 | 240.0253 | -1.8489 | 3.3646 | 44.0967 | 29.7586 | 24.6662 | 3.1169 | 0.3495 | 1.094 | 2.0229 | 0.22063 | 16.473 | 0.548 | 35.2864 | 384.3517 | 0.033069
14 | 23:51:20 | 21060205 | 1 | 0 | 32.9601 | 0.37478 | 229.47 | 10.6972 | 2.2708 | 25.9521 | 0.94645 | 2.5296 | 1 | 5.0592 | 23.3792 | 25.9521 | 22.0158 | 401.2927 | 394.2535 | 12.3399 | 14.3362 | 32.6349 | 37.9146 | 499.8704 | 1500.1649 | 0.2525 | 76.3013 | 3.5463 | 0.42421 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2815 | 0.010697 | 299.1021 | 296.5292 | 240.0264 | -1.8439 | 3.3647 | 44.0975 | 29.7613 | 24.6656 | 3.1168 | 0.34893 | 1.0939 | 2.023 | 0.22027 | 17.5089 | 0.58204 | 35.274 | 385.4584 | 0.030162
15 | 23:51:20 | 21060205 | 1 | 0 | 33.6342 | 0.37456 | 226.4381 | 10.6895 | 2.2704 | 25.9496 | 0.94645 | 2.5296 | 1 | 5.0592 | 23.3793 | 25.9496 | 22.0157 | 401.4559 | 394.2897 | 12.3403 | 14.3352 | 32.6358 | 37.9115 | 499.8807 | 1500.174 | 0.2359 | 76.3011 | 3.5463 | 0.42421 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2816 | 0.010689 | 299.0996 | 296.5293 | 240.0278 | -1.8413 | 3.3642 | 44.0912 | 29.756 | 24.6644 | 3.1166 | 0.34874 | 1.0938 | 2.0228 | 0.22015 | 17.2775 | 0.57429 | 35.2738 | 385.3147 | 0.030791 | 29.1367 | 23.3829 | 25.9566 | 21060205 | 1 | 0 | 29.1367 | 0.37539 | 246.2281 | 10.7159 | 2.2713 | 25.9566 | 0.94645 | 2.5296 | 1 | 5.0592 | 23.3829 | 25.9566 | 22.0154 | 400.163 | 393.8478 | 12.3421 | 14.3417 | 32.6332 | 37.9203 | 499.9266 | 1500.1182 | 0.23053 | 76.3009 | 3.5463 | 0.42421 | 0.82222 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2821 | 0.010716 | 299.1066 | 296.5329 | 240.0189 | -1.8499 | 3.3656 | 44.1096 | 29.7679 | 24.6698 | 3.1176 | 0.34946 | 1.0943 | 2.0233 | 0.2206 | 18.7874 | 0.62519 | 35.284 | 386.0729 | 0.026648
Remark= | "23:51:37 Coolers: Tblock -> 27.00 C"
Remark= | "23:55:13 Flow: Fixed -> 500 umol/s"
Remark= | "23:57:28 Flow: Fixed -> 500 umol/s"
16 | 23:58:00 | 21060205 | 1 | 0 | 33.2427 | 0.36186 | 224.8157 | 11.4356 | 2.4972 | 28.0263 | 0.94645 | 2.5296 | 1 | 5.0592 | 27.5457 | 28.0263 | 27.0484 | 404.6564 | 397.5017 | 14.9565 | 17.0847 | 30.8787 | 35.2725 | 499.8767 | 1498.5636 | 0.074682 | 76.2957 | 2.8474 | 0.39366 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2816 | 0.011436 | 301.1763 | 300.6957 | 239.7702 | -1.9055 | 3.8007 | 49.815 | 32.7303 | 27.786 | 3.7478 | 0.3377 | 1.3035 | 2.4443 | 0.21311 | 17.1525 | 0.56557 | 36.56 | 388.6312 | 0.031273
17 | 23:58:00 | 21060205 | 1 | 0 | 33.2427 | 0.36186 | 224.8157 | 11.4356 | 2.4972 | 28.0263 | 0.94645 | 2.5296 | 1 | 5.0592 | 27.5457 | 28.0263 | 27.0484 | 404.6564 | 397.5017 | 14.9565 | 17.0847 | 30.8787 | 35.2725 | 499.8767 | 1498.5636 | 0.074682 | 76.2957 | 2.8474 | 0.39366 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2816 | 0.011436 | 301.1763 | 300.6957 | 239.7702 | -1.9055 | 3.8007 | 49.815 | 32.7303 | 27.786 | 3.7478 | 0.3377 | 1.3035 | 2.4443 | 0.21311 | 17.1525 | 0.56557 | 36.56 | 388.6312 | 0.031273
18 | 23:58:00 | 21060205 | 1 | 0 | 33.2427 | 0.36186 | 224.8157 | 11.4356 | 2.4972 | 28.0263 | 0.94645 | 2.5296 | 1 | 5.0592 | 27.5457 | 28.0263 | 27.0484 | 404.6564 | 397.5017 | 14.9565 | 17.0847 | 30.8787 | 35.2725 | 499.8767 | 1498.5636 | 0.074682 | 76.2957 | 2.8474 | 0.39366 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2816 | 0.011436 | 301.1763 | 300.6957 | 239.7702 | -1.9055 | 3.8007 | 49.815 | 32.7303 | 27.786 | 3.7478 | 0.3377 | 1.3035 | 2.4443 | 0.21311 | 17.1525 | 0.56557 | 36.56 | 388.6312 | 0.031273
19 | 23:58:01 | 21060205 | 1 | 0 | 34.1822 | 0.36159 | 220.4317 | 11.4271 | 2.497 | 28.0249 | 0.94645 | 2.5296 | 1 | 5.0592 | 27.5459 | 28.0249 | 27.0482 | 404.8503 | 397.519 | 14.9559 | 17.0823 | 30.877 | 35.267 | 499.9241 | 1498.5742 | 0.13514 | 76.2957 | 2.8474 | 0.39366 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2821 | 0.011427 | 301.1749 | 300.6959 | 239.7719 | -1.9027 | 3.8003 | 49.8108 | 32.7284 | 27.7854 | 3.7476 | 0.33747 | 1.3033 | 2.4443 | 0.21296 | 16.818 | 0.55452 | 36.5553 | 388.3977 | 0.032172
20 | 23:58:01 | 21060205 | 1 | 0 | 33.7997 | 0.36143 | 222.1617 | 11.4214 | 2.4968 | 28.0238 | 0.94645 | 2.5296 | 1 | 5.0592 | 27.5462 | 28.0238 | 27.0483 | 404.8252 | 397.567 | 14.9566 | 17.0819 | 30.878 | 35.2655 | 499.9484 | 1498.5598 | 0.16122 | 76.2958 | 2.8474 | 0.39366 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2824 | 0.011421 | 301.1738 | 300.6962 | 239.7696 | -1.9008 | 3.8001 | 49.8077 | 32.7258 | 27.785 | 3.7475 | 0.33733 | 1.3033 | 2.4443 | 0.21287 | 16.95 | 0.5588 | 36.5547 | 388.5478 | 0.031799
21 | 23:58:02 | 21060205 | 1 | 0 | 32.0769 | 0.36166 | 230.1867 | 11.4278 | 2.4968 | 28.0236 | 0.94645 | 2.5296 | 1 | 5.0592 | 27.5465 | 28.0236 | 27.048 | 404.5573 | 397.6246 | 14.956 | 17.0824 | 30.8761 | 35.266 | 499.9442 | 1498.5906 | 0.24538 | 76.2955 | 2.8474 | 0.39366 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2823 | 0.011428 | 301.1736 | 300.6965 | 239.7745 | -1.9027 | 3.8001 | 49.8072 | 32.7247 | 27.785 | 3.7475 | 0.33753 | 1.3033 | 2.4442 | 0.213 | 17.5622 | 0.5789 | 36.5588 | 389.0651 | 0.030141
22 | 23:58:02 | 21060205 | 1 | 0 | 30.0318 | 0.36132 | 239.4477 | 11.4212 | 2.4975 | 28.0263 | 0.94645 | 2.5296 | 1 | 5.0592 | 27.547 | 28.0263 | 27.0478 | 404.2068 | 397.6619 | 14.9557 | 17.0809 | 30.8747 | 35.2619 | 499.9603 | 1498.6171 | 0.23116 | 76.2954 | 2.8474 | 0.39366 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2825 | 0.011421 | 301.1763 | 300.697 | 239.7787 | -1.9008 | 3.8007 | 49.815 | 32.7341 | 27.7866 | 3.7479 | 0.33724 | 1.3032 | 2.4447 | 0.21281 | 18.2688 | 0.60214 | 36.5465 | 389.6481 | 0.028168
23 | 23:58:03 | 21060205 | 1 | 0 | 28.3288 | 0.36131 | 247.2592 | 11.4234 | 2.498 | 28.0288 | 0.94645 | 2.5296 | 1 | 5.0592 | 27.547 | 28.0288 | 27.0467 | 403.9135 | 397.6908 | 14.9555 | 17.081 | 30.8739 | 35.2618 | 499.9691 | 1498.6218 | 0.24775 | 76.295 | 2.8474 | 0.39366 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2826 | 0.011423 | 301.1788 | 300.697 | 239.7795 | -1.9017 | 3.8012 | 49.8225 | 32.7414 | 27.7879 | 3.7482 | 0.33723 | 1.3032 | 2.445 | 0.2128 | 18.8647 | 0.62174 | 36.5414 | 390.1314 | 0.026534
24 | 23:58:03 | 21060205 | 1 | 0 | 26.8806 | 0.36125 | 253.8619 | 11.4222 | 2.4981 | 28.0293 | 0.94645 | 2.5296 | 1 | 5.0592 | 27.5473 | 28.0293 | 27.0448 | 403.6324 | 397.6841 | 14.9559 | 17.0811 | 30.8741 | 35.2614 | 499.9768 | 1498.6482 | 0.22049 | 76.2951 | 2.8474 | 0.39366 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2827 | 0.011422 | 301.1793 | 300.6973 | 239.7837 | -1.9013 | 3.8013 | 49.8239 | 32.7428 | 27.7883 | 3.7483 | 0.33718 | 1.3032 | 2.4451 | 0.21277 | 19.3684 | 0.63835 | 36.5399 | 390.5112 | 0.025152
25 | 23:58:04 | 21060205 | 1 | 0 | 25.6083 | 0.36156 | 259.7352 | 11.4312 | 2.4981 | 28.0291 | 0.94645 | 2.5296 | 1 | 5.0592 | 27.5479 | 28.0291 | 27.0428 | 403.3443 | 397.6362 | 14.9543 | 17.0812 | 30.8698 | 35.2604 | 499.9767 | 1498.6812 | 0.20863 | 76.295 | 2.8474 | 0.39366 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2827 | 0.011431 | 301.1791 | 300.6979 | 239.789 | -1.904 | 3.8013 | 49.8234 | 32.7422 | 27.7885 | 3.7483 | 0.33745 | 1.3032 | 2.4451 | 0.21295 | 19.8165 | 0.6532 | 36.5441 | 390.8028 | 0.023946
26 | 23:58:04 | 21060205 | 1 | 0 | 24.526 | 0.36194 | 264.7679 | 11.4429 | 2.4982 | 28.0299 | 0.94645 | 2.5296 | 1 | 5.0592 | 27.5484 | 28.0299 | 27.0413 | 403.113 | 397.6089 | 14.9525 | 17.0817 | 30.8653 | 35.2604 | 499.9691 | 1498.7051 | 0.21456 | 76.2954 | 2.8474 | 0.39366 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2826 | 0.011443 | 301.1799 | 300.6984 | 239.7928 | -1.9077 | 3.8015 | 49.8256 | 32.744 | 27.7892 | 3.7485 | 0.33777 | 1.3033 | 2.4452 | 0.21315 | 20.2006 | 0.6659 | 36.5478 | 391.0644 | 0.022921
27 | 23:58:05 | 21060205 | 1 | 0 | 24.0976 | 0.36208 | 266.7079 | 11.4487 | 2.4986 | 28.0316 | 0.94645 | 2.5296 | 1 | 5.0592 | 27.5485 | 28.0316 | 27.0387 | 402.9747 | 397.551 | 14.9515 | 17.0819 | 30.8633 | 35.2609 | 499.9323 | 1498.6858 | 0.19441 | 76.2956 | 2.8474 | 0.39366 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2822 | 0.011449 | 301.1816 | 300.6985 | 239.7897 | -1.9096 | 3.8018 | 49.8305 | 32.7486 | 27.79 | 3.7486 | 0.3379 | 1.3033 | 2.4454 | 0.21323 | 20.3486 | 0.67088 | 36.5465 | 391.1208 | 0.022517
28 | 23:58:05 | 21060205 | 1 | 0 | 24.4564 | 0.36267 | 265.1634 | 11.4677 | 2.4989 | 28.0339 | 0.94645 | 2.5296 | 1 | 5.0592 | 27.5485 | 28.0339 | 27.0359 | 402.9657 | 397.4724 | 14.9501 | 17.0841 | 30.8602 | 35.2654 | 499.8944 | 1498.7319 | 0.23708 | 76.2954 | 2.8474 | 0.39366 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2818 | 0.011468 | 301.1839 | 300.6985 | 239.7971 | -1.9157 | 3.8023 | 49.8372 | 32.753 | 27.7912 | 3.7489 | 0.33841 | 1.3034 | 2.4455 | 0.21356 | 20.2308 | 0.66712 | 36.553 | 390.9464 | 0.022866
29 | 23:58:06 | 21060205 | 1 | 0 | 25.417 | 0.36251 | 260.6818 | 11.4639 | 2.4991 | 28.0346 | 0.94645 | 2.5296 | 1 | 5.0592 | 27.5487 | 28.0346 | 27.0334 | 403.0917 | 397.4169 | 14.95 | 17.0834 | 30.8598 | 35.2635 | 499.8943 | 1498.7238 | 0.15292 | 76.2958 | 2.8474 | 0.39366 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2818 | 0.011464 | 301.1846 | 300.6987 | 239.7958 | -1.9145 | 3.8025 | 49.8388 | 32.7555 | 27.7916 | 3.749 | 0.33827 | 1.3034 | 2.4456 | 0.21347 | 19.8889 | 0.65594 | 36.5485 | 390.6346 | 0.023781
30 | 23:58:06 | 21060205 | 1 | 0 | 26.5041 | 0.36254 | 255.6621 | 11.4626 | 2.4987 | 28.0325 | 0.94645 | 2.5296 | 1 | 5.0592 | 27.5484 | 28.0325 | 27.0312 | 403.2226 | 397.3421 | 14.9496 | 17.0829 | 30.8596 | 35.263 | 499.8813 | 1498.7531 | 0.2193 | 76.2956 | 2.8474 | 0.39366 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2816 | 0.011463 | 301.1825 | 300.6984 | 239.8005 | -1.914 | 3.802 | 49.8329 | 32.75 | 27.7904 | 3.7487 | 0.33829 | 1.3033 | 2.4454 | 0.21349 | 19.5059 | 0.64343 | 36.552 | 390.2697 | 0.024823 | 29.0425 | 27.5472 | 28.0285 | 21060205 | 1 | 0 | 29.0425 | 0.36183 | 244.0343 | 11.4378 | 2.4978 | 28.0285 | 0.94645 | 2.5296 | 1 | 5.0592 | 27.5472 | 28.0285 | 27.0435 | 403.9111 | 397.552 | 14.9542 | 17.0826 | 30.8712 | 35.265 | 499.9268 | 1498.6389 | 0.17947 | 76.2955 | 2.8474 | 0.39366 | 0.68889 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2821 | 0.011438 | 301.1785 | 300.6972 | 239.7822 | -1.9061 | 3.8011 | 49.8213 | 32.7388 | 27.7878 | 3.7482 | 0.33768 | 1.3033 | 2.4448 | 0.21309 | 18.6187 | 0.61384 | 36.5512 | 389.8022 | 0.027243
Remark= | "23:58:28 Coolers: Tblock -> 32.00 C"
Remark= | "00:02:38 Flow: Fixed -> 500 umol/s"
31 | 00:03:52 | 21060206 | 1 | 0 | 26.8052 | 0.29488 | 222.2691 | 10.328 | 2.7118 | 30.8969 | 0.94645 | 2.5296 | 1 | 5.0592 | 31.8997 | 30.8969 | 32.0415 | 398.9178 | 393.0752 | 21.3327 | 23.2423 | 34.2764 | 37.3447 | 499.9838 | 1499.4778 | 0.23116 | 76.2896 | 2.6191 | 0.36119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2827 | 0.010328 | 304.0469 | 305.0497 | 239.9164 | -1.4306 | 4.4849 | 58.7882 | 35.5459 | 31.3983 | 4.6149 | 0.27864 | 1.7731 | 2.8417 | 0.17554 | 16.9568 | 0.56546 | 40.4221 | 385.9224 | 0.028076
32 | 00:03:53 | 21060206 | 1 | 0 | 26.8052 | 0.29488 | 222.2691 | 10.328 | 2.7118 | 30.8969 | 0.94645 | 2.5296 | 1 | 5.0592 | 31.8997 | 30.8969 | 32.0415 | 398.9178 | 393.0752 | 21.3327 | 23.2423 | 34.2764 | 37.3447 | 499.9838 | 1499.4778 | 0.23116 | 76.2896 | 2.6191 | 0.36119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2827 | 0.010328 | 304.0469 | 305.0497 | 239.9164 | -1.4306 | 4.4849 | 58.7882 | 35.5459 | 31.3983 | 4.6149 | 0.27864 | 1.7731 | 2.8417 | 0.17554 | 16.9568 | 0.56546 | 40.4221 | 385.9224 | 0.028076
33 | 00:03:53 | 21060206 | 1 | 0 | 24.709 | 0.29453 | 233.7278 | 10.3188 | 2.7123 | 30.8984 | 0.94645 | 2.5296 | 1 | 5.0592 | 31.9003 | 30.8984 | 32.0418 | 398.5355 | 393.0904 | 21.3322 | 23.2401 | 34.2744 | 37.3398 | 499.9873 | 1499.4937 | 0.22405 | 76.2895 | 2.6191 | 0.36119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2828 | 0.010319 | 304.0484 | 305.0503 | 239.919 | -1.4278 | 4.4853 | 58.7934 | 35.5533 | 31.3994 | 4.6151 | 0.27833 | 1.773 | 2.8422 | 0.17534 | 17.831 | 0.59459 | 40.4111 | 386.497 | 0.025835
34 | 00:03:54 | 21060206 | 1 | 0 | 23.6953 | 0.29499 | 239.5279 | 10.3344 | 2.7124 | 30.8992 | 0.94645 | 2.5296 | 1 | 5.0592 | 31.9012 | 30.8992 | 32.0421 | 398.3327 | 393.0786 | 21.3308 | 23.2415 | 34.2706 | 37.3404 | 500.0107 | 1499.5334 | 0.2039 | 76.2896 | 2.6191 | 0.36119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.283 | 0.010334 | 304.0492 | 305.0512 | 239.9253 | -1.4327 | 4.4855 | 58.7961 | 35.5546 | 31.4002 | 4.6154 | 0.27874 | 1.7731 | 2.8423 | 0.1756 | 18.2735 | 0.60936 | 40.4167 | 386.7556 | 0.024762
35 | 00:03:54 | 21060206 | 1 | 0 | 23.3184 | 0.29514 | 241.6642 | 10.339 | 2.7124 | 30.8989 | 0.94645 | 2.5296 | 1 | 5.0592 | 31.9018 | 30.8989 | 32.0421 | 398.2491 | 393.0661 | 21.3299 | 23.2414 | 34.268 | 37.339 | 500.0196 | 1499.5258 | 0.1956 | 76.2899 | 2.6191 | 0.36119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2831 | 0.010339 | 304.0489 | 305.0518 | 239.9241 | -1.434 | 4.4854 | 58.7947 | 35.5532 | 31.4004 | 4.6154 | 0.27887 | 1.7731 | 2.8423 | 0.17569 | 18.4365 | 0.61482 | 40.4192 | 386.8437 | 0.024364
36 | 00:03:55 | 21060206 | 1 | 0 | 23.5003 | 0.29522 | 240.664 | 10.3397 | 2.7119 | 30.8971 | 0.94645 | 2.5296 | 1 | 5.0592 | 31.9027 | 30.8971 | 32.042 | 398.254 | 393.0366 | 21.3297 | 23.2413 | 34.2659 | 37.3368 | 500.0268 | 1499.5692 | 0.27146 | 76.2898 | 2.6191 | 0.36119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2832 | 0.01034 | 304.0471 | 305.0527 | 239.9311 | -1.4339 | 4.485 | 58.7886 | 35.5474 | 31.3999 | 4.6153 | 0.27894 | 1.7731 | 2.8422 | 0.17573 | 18.3602 | 0.61232 | 40.424 | 386.7657 | 0.024562
37 | 00:03:55 | 21060206 | 1 | 0 | 24.4444 | 0.29573 | 235.6449 | 10.3538 | 2.7112 | 30.8948 | 0.94645 | 2.5296 | 1 | 5.0592 | 31.9036 | 30.8948 | 32.0423 | 398.4051 | 393.0077 | 21.3283 | 23.2427 | 34.262 | 37.3373 | 499.9927 | 1499.585 | 0.24301 | 76.2899 | 2.6191 | 0.36119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2828 | 0.010354 | 304.0448 | 305.0536 | 239.9336 | -1.438 | 4.4844 | 58.7809 | 35.5383 | 31.3992 | 4.6151 | 0.27939 | 1.7732 | 2.8419 | 0.17602 | 17.9773 | 0.59959 | 40.4373 | 386.4849 | 0.025576
38 | 00:03:56 | 21060206 | 1 | 0 | 26.3645 | 0.29594 | 225.1304 | 10.3596 | 2.7109 | 30.8933 | 0.94645 | 2.5296 | 1 | 5.0592 | 31.9044 | 30.8933 | 32.0434 | 398.747 | 392.9854 | 21.3266 | 23.2421 | 34.2577 | 37.3347 | 499.9654 | 1499.6188 | 0.22405 | 76.29 | 2.6191 | 0.36119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2825 | 0.01036 | 304.0433 | 305.0544 | 239.939 | -1.4396 | 4.484 | 58.7758 | 35.5337 | 31.3989 | 4.615 | 0.27959 | 1.7731 | 2.8419 | 0.17614 | 17.1752 | 0.57287 | 40.4423 | 385.9502 | 0.027626
39 | 00:03:56 | 21060206 | 1 | 0 | 28.9352 | 0.29628 | 211.1212 | 10.3689 | 2.7104 | 30.8915 | 0.94645 | 2.5296 | 1 | 5.0592 | 31.9052 | 30.8915 | 32.0448 | 399.2245 | 392.9756 | 21.3252 | 23.2424 | 34.254 | 37.3336 | 499.9661 | 1499.646 | 0.20271 | 76.2902 | 2.6191 | 0.36119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2825 | 0.010369 | 304.0415 | 305.0552 | 239.9434 | -1.4422 | 4.4835 | 58.7695 | 35.5271 | 31.3983 | 4.6149 | 0.27989 | 1.7732 | 2.8417 | 0.17633 | 16.1065 | 0.53724 | 40.451 | 385.2544 | 0.030381
40 | 00:03:57 | 21060206 | 1 | 0 | 31.5095 | 0.2969 | 197.2996 | 10.3893 | 2.7104 | 30.8921 | 0.94645 | 2.5296 | 1 | 5.0592 | 31.9061 | 30.8921 | 32.0467 | 399.7306 | 392.9931 | 21.3234 | 23.2444 | 34.2496 | 37.335 | 499.9813 | 1499.6639 | 0.20271 | 76.2904 | 2.6191 | 0.36119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2827 | 0.010389 | 304.0421 | 305.0561 | 239.9462 | -1.4485 | 4.4837 | 58.7715 | 35.5272 | 31.3991 | 4.6151 | 0.28044 | 1.7733 | 2.8417 | 0.17668 | 15.0521 | 0.50204 | 40.4596 | 384.585 | 0.033149
41 | 00:03:57 | 21060206 | 1 | 0 | 33.5476 | 0.29695 | 186.1501 | 10.3898 | 2.7101 | 30.8907 | 0.94645 | 2.5296 | 1 | 5.0592 | 31.9066 | 30.8907 | 32.048 | 400.1453 | 393.022 | 21.3218 | 23.2429 | 34.2462 | 37.3316 | 499.9912 | 1499.6896 | 0.23827 | 76.2906 | 2.6191 | 0.36119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2828 | 0.01039 | 304.0407 | 305.0566 | 239.9503 | -1.4485 | 4.4833 | 58.7665 | 35.5237 | 31.3986 | 4.6149 | 0.28048 | 1.7732 | 2.8417 | 0.17671 | 14.2015 | 0.47364 | 40.4611 | 384.0701 | 0.035342
42 | 00:03:58 | 21060206 | 1 | 0 | 34.7568 | 0.29672 | 179.4057 | 10.3835 | 2.7104 | 30.8911 | 0.94645 | 2.5296 | 1 | 5.0592 | 31.9074 | 30.8911 | 32.0494 | 400.4185 | 393.0665 | 21.3208 | 23.2407 | 34.2427 | 37.3262 | 499.9769 | 1499.7369 | 0.2442 | 76.2901 | 2.6191 | 0.36119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2827 | 0.010384 | 304.0411 | 305.0574 | 239.9579 | -1.4464 | 4.4834 | 58.7682 | 35.5274 | 31.3992 | 4.6151 | 0.28028 | 1.773 | 2.8421 | 0.17658 | 13.6869 | 0.45643 | 40.454 | 383.7919 | 0.036636
43 | 00:03:58 | 21060206 | 1 | 0 | 35.6452 | 0.29651 | 174.443 | 10.3794 | 2.7112 | 30.8938 | 0.94645 | 2.5296 | 1 | 5.0592 | 31.9081 | 30.8938 | 32.0515 | 400.6563 | 393.1361 | 21.3208 | 23.24 | 34.2412 | 37.3234 | 499.9644 | 1499.7783 | 0.21812 | 76.29 | 2.6191 | 0.36119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2825 | 0.010379 | 304.0438 | 305.0581 | 239.9645 | -1.4453 | 4.4841 | 58.7775 | 35.5375 | 31.401 | 4.6156 | 0.28009 | 1.773 | 2.8426 | 0.17646 | 13.3083 | 0.44372 | 40.4438 | 383.6245 | 0.037579
44 | 00:03:59 | 21060206 | 1 | 0 | 36.4909 | 0.29662 | 169.9583 | 10.3871 | 2.7122 | 30.8976 | 0.94645 | 2.5296 | 1 | 5.0592 | 31.9085 | 30.8976 | 32.053 | 400.9285 | 393.2472 | 21.3187 | 23.2393 | 34.237 | 37.3215 | 499.9551 | 1499.7758 | 0.17308 | 76.2897 | 2.6191 | 0.36119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2824 | 0.010387 | 304.0476 | 305.0585 | 239.9641 | -1.448 | 4.4851 | 58.7904 | 35.551 | 31.403 | 4.6161 | 0.28019 | 1.7729 | 2.8432 | 0.17652 | 12.9661 | 0.43219 | 40.4352 | 383.5099 | 0.038474
45 | 00:03:59 | 21060206 | 1 | 0 | 37.298 | 0.29632 | 165.4145 | 10.3805 | 2.713 | 30.9003 | 0.94645 | 2.5296 | 1 | 5.0592 | 31.9089 | 30.9003 | 32.0542 | 401.1858 | 393.3522 | 21.3178 | 23.2372 | 34.2348 | 37.3173 | 499.967 | 1499.8049 | 0.20509 | 76.2897 | 2.6191 | 0.36119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2826 | 0.010381 | 304.0503 | 305.0589 | 239.9688 | -1.4461 | 4.4858 | 58.7993 | 35.5622 | 31.4046 | 4.6165 | 0.27992 | 1.7728 | 2.8437 | 0.17636 | 12.6194 | 0.42053 | 40.4221 | 383.3995 | 0.039324 | 29.1884 | 31.9043 | 30.8955 | 21060206 | 1 | 0 | 29.1884 | 0.29584 | 209.646 | 10.3586 | 2.7115 | 30.8955 | 0.94645 | 2.5296 | 1 | 5.0592 | 31.9043 | 30.8955 | 32.0456 | 399.3766 | 393.0805 | 21.3261 | 23.2414 | 34.2571 | 37.3337 | 499.9848 | 1499.6251 | 0.22057 | 76.2899 | 2.6191 | 0.36119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2827 | 0.010359 | 304.0455 | 305.0543 | 239.94 | -1.4395 | 4.4846 | 58.7833 | 35.5419 | 31.3999 | 4.6153 | 0.2795 | 1.7731 | 2.8422 | 0.17608 | 15.9939 | 0.53335 | 40.4348 | 385.2918 | 0.030651
Remark= | "00:04:18 Coolers: Tblock -> 37.00 C"
Remark= | "00:07:16 Flow: Fixed -> 500 umol/s"
46 | 00:09:13 | 21060206 | 1 | 0 | 22.4321 | 0.22365 | 209.2384 | 8.9423 | 3.0335 | 33.325 | 0.94645 | 2.5296 | 1 | 5.0592 | 36.146 | 33.325 | 37.0332 | 400.7997 | 395.8828 | 26.0334 | 27.6795 | 33.0068 | 35.0937 | 499.9336 | 1500.7679 | 0.24657 | 76.2857 | 1.91 | 0.28687 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2822 | 0.0089423 | 306.475 | 309.296 | 240.1229 | -0.83379 | 5.1451 | 67.4451 | 39.7656 | 34.7355 | 5.5662 | 0.21418 | 2.1115 | 3.4546 | 0.13468 | 15.9619 | 0.52854 | 40.7165 | 389.8969 | 0.023426
47 | 00:09:13 | 21060206 | 1 | 0 | 22.4321 | 0.22365 | 209.2384 | 8.9423 | 3.0335 | 33.325 | 0.94645 | 2.5296 | 1 | 5.0592 | 36.146 | 33.325 | 37.0332 | 400.7997 | 395.8828 | 26.0334 | 27.6795 | 33.0068 | 35.0937 | 499.9336 | 1500.7679 | 0.24657 | 76.2857 | 1.91 | 0.28687 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2822 | 0.0089423 | 306.475 | 309.296 | 240.1229 | -0.83379 | 5.1451 | 67.4451 | 39.7656 | 34.7355 | 5.5662 | 0.21418 | 2.1115 | 3.4546 | 0.13468 | 15.9619 | 0.52854 | 40.7165 | 389.8969 | 0.023426
48 | 00:09:14 | 21060206 | 1 | 0 | 21.2251 | 0.22364 | 217.913 | 8.9419 | 3.0335 | 33.325 | 0.94645 | 2.5296 | 1 | 5.0592 | 36.1466 | 33.325 | 37.0333 | 400.5764 | 395.8881 | 26.0346 | 27.6805 | 33.0071 | 35.0939 | 499.9453 | 1500.7825 | 0.23353 | 76.2856 | 1.91 | 0.28687 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2823 | 0.0089419 | 306.475 | 309.2966 | 240.1252 | -0.83358 | 5.1451 | 67.4452 | 39.7647 | 34.7358 | 5.5663 | 0.21417 | 2.1116 | 3.4546 | 0.13468 | 16.6236 | 0.55044 | 40.7178 | 390.2244 | 0.022147
49 | 00:09:14 | 21060206 | 1 | 0 | 19.794 | 0.22362 | 228.1933 | 8.9404 | 3.0333 | 33.324 | 0.94645 | 2.5296 | 1 | 5.0592 | 36.147 | 33.324 | 37.0338 | 400.3125 | 395.8952 | 26.0339 | 27.6796 | 33.0056 | 35.0919 | 499.945 | 1500.7935 | 0.2442 | 76.2854 | 1.91 | 0.28687 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2823 | 0.0089404 | 306.474 | 309.297 | 240.1269 | -0.833 | 5.1448 | 67.4415 | 39.7619 | 34.7355 | 5.5662 | 0.21415 | 2.1115 | 3.4546 | 0.13467 | 17.4078 | 0.5764 | 40.7186 | 390.6133 | 0.020634
50 | 00:09:15 | 21060206 | 1 | 0 | 18.3129 | 0.22367 | 238.8598 | 8.9403 | 3.0326 | 33.3221 | 0.94645 | 2.5296 | 1 | 5.0592 | 36.1471 | 33.3221 | 37.0336 | 400.0225 | 395.8855 | 26.0354 | 27.6811 | 33.0072 | 35.0935 | 499.9378 | 1500.7764 | 0.22168 | 76.2852 | 1.91 | 0.28687 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2822 | 0.0089403 | 306.4721 | 309.2971 | 240.1242 | -0.83282 | 5.1443 | 67.4346 | 39.7535 | 34.7346 | 5.5659 | 0.2142 | 2.1117 | 3.4542 | 0.13469 | 18.2215 | 0.60336 | 40.7257 | 390.9989 | 0.019074
51 | 00:09:15 | 21060206 | 1 | 0 | 17.2215 | 0.22327 | 246.4341 | 8.9221 | 3.0316 | 33.3178 | 0.94645 | 2.5296 | 1 | 5.0592 | 36.1472 | 33.3178 | 37.0332 | 399.7453 | 395.8163 | 26.0361 | 27.6785 | 33.0078 | 35.0899 | 499.921 | 1500.777 | 0.22049 | 76.2852 | 1.91 | 0.28687 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2821 | 0.0089221 | 306.4678 | 309.2972 | 240.1243 | -0.8268 | 5.143 | 67.4185 | 39.7401 | 34.7325 | 5.5652 | 0.21384 | 2.1115 | 3.4538 | 0.13446 | 18.7993 | 0.6226 | 40.7278 | 391.2209 | 0.017928
52 | 00:09:16 | 21060206 | 1 | 0 | 16.2474 | 0.22348 | 253.4991 | 8.928 | 3.0308 | 33.3153 | 0.94645 | 2.5296 | 1 | 5.0592 | 36.148 | 33.3153 | 37.0335 | 399.4985 | 395.7536 | 26.035 | 27.6784 | 33.0051 | 35.0885 | 499.921 | 1500.8048 | 0.24065 | 76.2852 | 1.91 | 0.28687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2821 | 0.008928 | 306.4653 | 309.298 | 240.1288 | -0.82831 | 5.1423 | 67.4089 | 39.7305 | 34.7316 | 5.565 | 0.21403 | 2.1115 | 3.4535 | 0.13459 | 19.3382 | 0.64055 | 40.7364 | 391.4181 | 0.016909
53 | 00:09:16 | 21060206 | 1 | 0 | 15.4939 | 0.223 | 258.6382 | 8.9077 | 3.0303 | 33.3124 | 0.94645 | 2.5296 | 1 | 5.0592 | 36.148 | 33.3124 | 37.0332 | 399.3002 | 395.6998 | 26.0355 | 27.6752 | 33.0057 | 35.0844 | 499.942 | 1500.8719 | 0.24302 | 76.2853 | 1.91 | 0.28687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2823 | 0.0089077 | 306.4624 | 309.298 | 240.1395 | -0.8217 | 5.1415 | 67.398 | 39.7229 | 34.7302 | 5.5645 | 0.21359 | 2.1112 | 3.4533 | 0.13431 | 19.7303 | 0.65362 | 40.7332 | 391.5653 | 0.016118
54 | 00:09:17 | 21060206 | 1 | 0 | 15.2856 | 0.22296 | 260.0424 | 8.9044 | 3.0297 | 33.3104 | 0.94645 | 2.5296 | 1 | 5.0592 | 36.1479 | 33.3104 | 37.0327 | 399.174 | 395.6133 | 26.0358 | 27.6749 | 33.0062 | 35.0841 | 499.9337 | 1500.8909 | 0.22049 | 76.2852 | 1.91 | 0.28687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2822 | 0.0089044 | 306.4604 | 309.2979 | 240.1425 | -0.8205 | 5.1409 | 67.3905 | 39.7156 | 34.7292 | 5.5642 | 0.21355 | 2.1112 | 3.453 | 0.13428 | 19.8374 | 0.65731 | 40.7371 | 391.5345 | 0.015904
55 | 00:09:17 | 21060206 | 1 | 0 | 14.7633 | 0.22295 | 263.7318 | 8.9025 | 3.0292 | 33.3083 | 0.94645 | 2.5296 | 1 | 5.0592 | 36.1478 | 33.3083 | 37.0328 | 398.994 | 395.5324 | 26.0353 | 27.6741 | 33.006 | 35.0835 | 499.9284 | 1500.931 | 0.18493 | 76.2854 | 1.91 | 0.28687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2821 | 0.0089025 | 306.4583 | 309.2978 | 240.149 | -0.81968 | 5.1403 | 67.3824 | 39.7083 | 34.728 | 5.5639 | 0.21354 | 2.1111 | 3.4527 | 0.13428 | 20.1189 | 0.66678 | 40.7411 | 391.5929 | 0.01536
56 | 00:09:18 | 21060206 | 1 | 0 | 14.3115 | 0.22296 | 266.8999 | 8.9024 | 3.0291 | 33.3077 | 0.94645 | 2.5296 | 1 | 5.0592 | 36.1477 | 33.3077 | 37.0322 | 398.8092 | 395.4333 | 26.0342 | 27.673 | 33.0048 | 35.0823 | 499.9178 | 1500.9136 | 0.17782 | 76.2856 | 1.91 | 0.28687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.282 | 0.0089024 | 306.4577 | 309.2977 | 240.1462 | -0.81965 | 5.1401 | 67.38 | 39.707 | 34.7277 | 5.5638 | 0.21355 | 2.1111 | 3.4527 | 0.13428 | 20.3606 | 0.67496 | 40.7411 | 391.6143 | 0.014889
57 | 00:09:18 | 21060206 | 1 | 0 | 13.9297 | 0.22298 | 269.572 | 8.9041 | 3.0293 | 33.3084 | 0.94645 | 2.5296 | 1 | 5.0592 | 36.1477 | 33.3084 | 37.0321 | 398.6418 | 395.3382 | 26.0328 | 27.6718 | 33.003 | 35.0809 | 499.9262 | 1500.8964 | 0.16359 | 76.2859 | 1.91 | 0.28687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2821 | 0.0089041 | 306.4584 | 309.2977 | 240.1434 | -0.82023 | 5.1403 | 67.3822 | 39.7103 | 34.728 | 5.5639 | 0.21357 | 2.111 | 3.4529 | 0.1343 | 20.5645 | 0.68188 | 40.7383 | 391.6212 | 0.01449
58 | 00:09:19 | 21060206 | 1 | 0 | 14.2795 | 0.22332 | 267.0713 | 8.9176 | 3.0296 | 33.3091 | 0.94645 | 2.5296 | 1 | 5.0592 | 36.1481 | 33.3091 | 37.0322 | 398.573 | 395.2025 | 26.0303 | 27.6718 | 32.9991 | 35.0801 | 499.9433 | 1500.8994 | 0.19086 | 76.2859 | 1.91 | 0.28687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2823 | 0.0089176 | 306.4591 | 309.2981 | 240.1439 | -0.82444 | 5.1405 | 67.385 | 39.7132 | 34.7286 | 5.564 | 0.21388 | 2.111 | 3.4531 | 0.13449 | 20.3738 | 0.67578 | 40.7401 | 391.3922 | 0.014864
59 | 00:09:19 | 21060206 | 1 | 0 | 14.8365 | 0.2237 | 263.145 | 8.9333 | 3.03 | 33.311 | 0.94645 | 2.5296 | 1 | 5.0592 | 36.1486 | 33.311 | 37.0323 | 398.5851 | 395.1082 | 26.0291 | 27.6735 | 32.9967 | 35.0812 | 499.9514 | 1500.8788 | 0.18256 | 76.2859 | 1.91 | 0.28687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2824 | 0.0089333 | 306.461 | 309.2986 | 240.1406 | -0.82945 | 5.1411 | 67.3922 | 39.7187 | 34.7298 | 5.5644 | 0.21422 | 2.1111 | 3.4533 | 0.13471 | 20.0743 | 0.66601 | 40.7422 | 391.1492 | 0.015454
60 | 00:09:20 | 21060206 | 1 | 0 | 15.4473 | 0.22388 | 258.7476 | 8.9423 | 3.0306 | 33.313 | 0.94645 | 2.5296 | 1 | 5.0592 | 36.1488 | 33.313 | 37.0322 | 398.6004 | 395.0073 | 26.0268 | 27.6728 | 32.9934 | 35.0801 | 499.9348 | 1500.8636 | 0.22997 | 76.2859 | 1.91 | 0.28687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2822 | 0.0089423 | 306.463 | 309.2988 | 240.1382 | -0.83239 | 5.1416 | 67.3994 | 39.7266 | 34.7309 | 5.5647 | 0.2144 | 2.111 | 3.4537 | 0.13482 | 19.7388 | 0.65505 | 40.7388 | 390.8853 | 0.016099 | 17.0675 | 36.1475 | 33.3156 | 21060206 | 1 | 0 | 17.0675 | 0.22338 | 247.415 | 8.9248 | 3.0311 | 33.3156 | 0.94645 | 2.5296 | 1 | 5.0592 | 36.1475 | 33.3156 | 37.0329 | 399.4955 | 395.596 | 26.0334 | 27.6763 | 33.0041 | 35.0868 | 499.9343 | 1500.841 | 0.21646 | 76.2855 | 1.91 | 0.28687 | 0.8 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2822 | 0.0089248 | 306.4656 | 309.2975 | 240.1346 | -0.82734 | 5.1424 | 67.4099 | 39.7336 | 34.7316 | 5.565 | 0.21394 | 2.1113 | 3.4537 | 0.13453 | 18.8742 | 0.62545 | 40.7314 | 391.0416 | 0.017781
Remark= | "00:09:53 Coolers: Tblock -> 42.00 C"
Remark= | "00:15:13 Flow: Fixed -> 500 umol/s"
Remark= | "00:17:23 Flow: Fixed -> 500 umol/s"
61 | 00:18:53 | 21060206 | 1 | 0 | 17.2881 | 0.18094 | 214.9614 | 8.2688 | 3.4003 | 36.5135 | 0.94645 | 2.5296 | 1 | 5.0592 | 40.7119 | 36.5135 | 42.0354 | 399.4089 | 395.5174 | 34.4001 | 35.9091 | 34.076 | 35.5708 | 499.9986 | 1499.3429 | 0.16123 | 76.2777 | 2.6679 | 0.22128 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2829 | 0.0082688 | 309.6635 | 313.8619 | 239.8949 | -0.48967 | 6.1394 | 80.4873 | 44.5782 | 38.6127 | 6.8815 | 0.17469 | 2.7391 | 4.1425 | 0.10973 | 16.3968 | 0.54349 | 43.2228 | 390.9042 | 0.019116
62 | 00:18:53 | 21060206 | 1 | 0 | 17.2881 | 0.18094 | 214.9614 | 8.2688 | 3.4003 | 36.5135 | 0.94645 | 2.5296 | 1 | 5.0592 | 40.7119 | 36.5135 | 42.0354 | 399.4089 | 395.5174 | 34.4001 | 35.9091 | 34.076 | 35.5708 | 499.9986 | 1499.3429 | 0.16123 | 76.2777 | 2.6679 | 0.22128 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2829 | 0.0082688 | 309.6635 | 313.8619 | 239.8949 | -0.48967 | 6.1394 | 80.4873 | 44.5782 | 38.6127 | 6.8815 | 0.17469 | 2.7391 | 4.1425 | 0.10973 | 16.3968 | 0.54349 | 43.2228 | 390.9042 | 0.019116
63 | 00:18:54 | 21060206 | 1 | 0 | 17.2881 | 0.18094 | 214.9614 | 8.2688 | 3.4003 | 36.5135 | 0.94645 | 2.5296 | 1 | 5.0592 | 40.7119 | 36.5135 | 42.0354 | 399.4089 | 395.5174 | 34.4001 | 35.9091 | 34.076 | 35.5708 | 499.9986 | 1499.3429 | 0.16123 | 76.2777 | 2.6679 | 0.22128 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2829 | 0.0082688 | 309.6635 | 313.8619 | 239.8949 | -0.48967 | 6.1394 | 80.4873 | 44.5782 | 38.6127 | 6.8815 | 0.17469 | 2.7391 | 4.1425 | 0.10973 | 16.3968 | 0.54349 | 43.2228 | 390.9042 | 0.019116
64 | 00:18:54 | 21060206 | 1 | 0 | 17.333 | 0.18138 | 214.9053 | 8.2874 | 3.4001 | 36.5134 | 0.94645 | 2.5296 | 1 | 5.0592 | 40.713 | 36.5134 | 42.0354 | 399.3993 | 395.4977 | 34.3992 | 35.9117 | 34.0732 | 35.5714 | 499.968 | 1499.3309 | 0.15648 | 76.2776 | 2.6679 | 0.22128 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2826 | 0.0082874 | 309.6634 | 313.863 | 239.8929 | -0.49534 | 6.1394 | 80.4869 | 44.5752 | 38.6132 | 6.8817 | 0.1751 | 2.7393 | 4.1425 | 0.10998 | 16.3925 | 0.54338 | 43.231 | 390.8725 | 0.019171
65 | 00:18:55 | 21060206 | 1 | 0 | 17.2125 | 0.18128 | 215.8816 | 8.2815 | 3.3994 | 36.5109 | 0.94645 | 2.5296 | 1 | 5.0592 | 40.7137 | 36.5109 | 42.0359 | 399.3666 | 395.4883 | 34.3986 | 35.91 | 34.0712 | 35.5682 | 499.9763 | 1499.3259 | 0.20509 | 76.2773 | 2.6679 | 0.22128 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2827 | 0.0082815 | 309.6609 | 313.8637 | 239.8921 | -0.49321 | 6.1385 | 80.4759 | 44.5659 | 38.6123 | 6.8814 | 0.17501 | 2.7391 | 4.1423 | 0.10993 | 16.4669 | 0.54586 | 43.2344 | 390.8953 | 0.019038
66 | 00:18:55 | 21060206 | 1 | 0 | 17.1491 | 0.18186 | 216.8743 | 8.3056 | 3.3988 | 36.5097 | 0.94645 | 2.5296 | 1 | 5.0592 | 40.7137 | 36.5097 | 42.0352 | 399.3203 | 395.4523 | 34.3969 | 35.9126 | 34.0696 | 35.571 | 499.9905 | 1499.2844 | 0.14463 | 76.2779 | 2.6679 | 0.22128 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2828 | 0.0083056 | 309.6597 | 313.8637 | 239.8855 | -0.5006 | 6.1381 | 80.4703 | 44.5577 | 38.6117 | 6.8812 | 0.17555 | 2.7393 | 4.1418 | 0.11027 | 16.5427 | 0.54842 | 43.2473 | 390.8762 | 0.018974
67 | 00:18:56 | 21060206 | 1 | 0 | 16.7581 | 0.18218 | 220.5028 | 8.3199 | 3.3989 | 36.51 | 0.94645 | 2.5296 | 1 | 5.0592 | 40.7151 | 36.51 | 42.0358 | 399.2054 | 395.4107 | 34.3942 | 35.9124 | 34.0646 | 35.5683 | 500.0281 | 1499.2971 | 0.14581 | 76.278 | 2.6679 | 0.22128 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2832 | 0.0083199 | 309.66 | 313.8651 | 239.8875 | -0.50492 | 6.1382 | 80.4713 | 44.5589 | 38.6125 | 6.8815 | 0.17585 | 2.7393 | 4.1421 | 0.11046 | 16.8195 | 0.55766 | 43.2499 | 390.9389 | 0.01854
68 | 00:18:56 | 21060206 | 1 | 0 | 16.1196 | 0.18279 | 226.4909 | 8.3444 | 3.3979 | 36.5078 | 0.94645 | 2.5296 | 1 | 5.0592 | 40.7152 | 36.5078 | 42.0358 | 399.0404 | 395.365 | 34.3924 | 35.915 | 34.0626 | 35.5706 | 500.0466 | 1499.2942 | 0.16004 | 76.2779 | 2.6679 | 0.22128 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2834 | 0.0083444 | 309.6578 | 313.8652 | 239.8871 | -0.51227 | 6.1375 | 80.4618 | 44.5467 | 38.6115 | 6.8811 | 0.17642 | 2.7395 | 4.1416 | 0.11082 | 17.2762 | 0.57287 | 43.2655 | 391.0636 | 0.017834
69 | 00:18:57 | 21060206 | 1 | 0 | 15.1683 | 0.18291 | 234.7964 | 8.3489 | 3.3977 | 36.5073 | 0.94645 | 2.5296 | 1 | 5.0592 | 40.7156 | 36.5073 | 42.0364 | 398.8079 | 395.3124 | 34.3917 | 35.9151 | 34.0613 | 35.5701 | 500.0558 | 1499.2842 | 0.20034 | 76.2782 | 2.6679 | 0.22128 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2835 | 0.0083489 | 309.6573 | 313.8656 | 239.8855 | -0.51359 | 6.1373 | 80.4592 | 44.5441 | 38.6114 | 6.8811 | 0.17652 | 2.7395 | 4.1415 | 0.11088 | 17.9098 | 0.59395 | 43.2683 | 391.2648 | 0.016774
70 | 00:18:57 | 21060206 | 1 | 0 | 13.3289 | 0.18294 | 250.7279 | 8.3487 | 3.397 | 36.5039 | 0.94645 | 2.5296 | 1 | 5.0592 | 40.717 | 36.5039 | 42.0382 | 398.3694 | 395.2223 | 34.3863 | 35.9097 | 34.0534 | 35.562 | 500.0665 | 1499.2374 | 0.23946 | 76.2782 | 2.6679 | 0.22128 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2836 | 0.0083487 | 309.6539 | 313.867 | 239.878 | -0.51314 | 6.1361 | 80.4442 | 44.5345 | 38.6104 | 6.8807 | 0.17656 | 2.7391 | 4.1416 | 0.11091 | 19.1251 | 0.6344 | 43.271 | 391.6655 | 0.014726
71 | 00:18:58 | 21060206 | 1 | 0 | 13.1432 | 0.18318 | 252.4058 | 8.3603 | 3.3975 | 36.5053 | 0.94645 | 2.5296 | 1 | 5.0592 | 40.718 | 36.5053 | 42.0397 | 398.2545 | 395.1418 | 34.3837 | 35.9091 | 34.049 | 35.5597 | 500.0745 | 1499.2649 | 0.25606 | 76.2783 | 2.6679 | 0.22128 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2837 | 0.0083603 | 309.6553 | 313.868 | 239.8824 | -0.51674 | 6.1366 | 80.4504 | 44.5412 | 38.6116 | 6.8811 | 0.17678 | 2.7391 | 4.1421 | 0.11104 | 19.2531 | 0.63877 | 43.2691 | 391.6346 | 0.014521
72 | 00:18:58 | 21060206 | 1 | 0 | 13.5947 | 0.18361 | 248.6637 | 8.3802 | 3.3979 | 36.5067 | 0.94645 | 2.5296 | 1 | 5.0592 | 40.7192 | 36.5067 | 42.0409 | 398.2464 | 395.0468 | 34.3814 | 35.9106 | 34.0445 | 35.5586 | 500.0597 | 1499.2295 | 0.21101 | 76.278 | 2.6679 | 0.22128 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2835 | 0.0083802 | 309.6567 | 313.8692 | 239.8767 | -0.52291 | 6.1371 | 80.4567 | 44.5462 | 38.613 | 6.8816 | 0.17718 | 2.7392 | 4.1424 | 0.1113 | 18.9676 | 0.62945 | 43.2717 | 391.4191 | 0.015029
73 | 00:18:59 | 21060206 | 1 | 0 | 14.2546 | 0.18369 | 242.9557 | 8.3869 | 3.3991 | 36.5103 | 0.94645 | 2.5296 | 1 | 5.0592 | 40.7204 | 36.5103 | 42.0426 | 398.3327 | 395.0078 | 34.3798 | 35.9102 | 34.0406 | 35.5559 | 500.0606 | 1499.228 | 0.25132 | 76.2776 | 2.6679 | 0.22128 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2835 | 0.0083869 | 309.6603 | 313.8704 | 239.8765 | -0.52519 | 6.1383 | 80.473 | 44.5628 | 38.6153 | 6.8825 | 0.17725 | 2.7391 | 4.1434 | 0.11134 | 18.5321 | 0.61507 | 43.2624 | 391.204 | 0.015764
74 | 00:18:59 | 21060206 | 1 | 0 | 15.6804 | 0.1837 | 230.5641 | 8.3916 | 3.4007 | 36.5149 | 0.94645 | 2.5296 | 1 | 5.0592 | 40.7207 | 36.5149 | 42.0434 | 398.5464 | 394.951 | 34.3791 | 35.9104 | 34.0391 | 35.5553 | 500.0242 | 1499.1614 | 0.18849 | 76.2772 | 2.6679 | 0.22128 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2832 | 0.0083916 | 309.6649 | 313.8707 | 239.8658 | -0.52712 | 6.1399 | 80.4939 | 44.5835 | 38.6178 | 6.8834 | 0.17727 | 2.7391 | 4.1443 | 0.11135 | 17.5868 | 0.58378 | 43.2503 | 390.7668 | 0.017355
75 | 00:19:00 | 21060206 | 1 | 0 | 17.622 | 0.18362 | 213.6453 | 8.3885 | 3.401 | 36.5153 | 0.94645 | 2.5296 | 1 | 5.0592 | 40.7213 | 36.5153 | 42.044 | 398.8659 | 394.9032 | 34.3771 | 35.9079 | 34.0361 | 35.5518 | 500.0016 | 1499.1489 | 0.20745 | 76.2776 | 2.6679 | 0.22128 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2829 | 0.0083885 | 309.6653 | 313.8713 | 239.8638 | -0.52614 | 6.14 | 80.495 | 44.5871 | 38.6183 | 6.8836 | 0.17719 | 2.739 | 4.1446 | 0.1113 | 16.2963 | 0.54101 | 43.2456 | 390.2009 | 0.01953 | 15.9486 | 40.7159 | 36.5104 | 21060206 | 1 | 0 | 15.9486 | 0.1824 | 227.5532 | 8.33 | 3.3991 | 36.5104 | 0.94645 | 2.5296 | 1 | 5.0592 | 40.7159 | 36.5104 | 42.038 | 398.9321 | 395.2901 | 34.3907 | 35.9108 | 34.0596 | 35.565 | 500.0232 | 1499.2744 | 0.18999 | 76.2778 | 2.6679 | 0.22128 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2831 | 0.00833 | 309.6604 | 313.8659 | 239.8839 | -0.50801 | 6.1383 | 80.4734 | 44.5626 | 38.6132 | 6.8817 | 0.17605 | 2.7392 | 4.1425 | 0.11058 | 17.3573 | 0.57567 | 43.249 | 391.0343 | 0.01764
Remark= | "00:19:12 Coolers: Tblock -> 47.00 C"
Remark= | "00:27:35 Flow: Fixed -> 500 umol/s"
Remark= | "00:29:00 Flow: Fixed -> 500 umol/s"
76 | 00:29:45 | 21060206 | 1 | 0 | 14.6329 | 0.16527 | 224.9258 | 8.3722 | 3.712 | 39.3768 | 0.94645 | 2.5296 | 1 | 5.0592 | 45.1084 | 39.3768 | 47.0098 | 399.838 | 396.4396 | 43.8297 | 45.3427 | 34.49 | 35.6807 | 499.9577 | 1501.6329 | 0.19797 | 76.2716 | 1.5959 | 0.00063442 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2825 | 0.0083722 | 312.5268 | 318.2584 | 240.2613 | -0.35942 | 7.1704 | 94.0111 | 48.6684 | 42.2426 | 8.3493 | 0.16004 | 3.4584 | 4.891 | 0.10048 | 17.1555 | 0.56736 | 46.1143 | 392.535 | 0.01719
77 | 00:29:46 | 21060206 | 1 | 0 | 15.0688 | 0.16502 | 220.5332 | 8.3575 | 3.7108 | 39.373 | 0.94645 | 2.5296 | 1 | 5.0592 | 45.1082 | 39.373 | 47.0096 | 399.8876 | 396.4078 | 43.8286 | 45.339 | 34.4895 | 35.6781 | 499.9606 | 1501.6771 | 0.22642 | 76.2716 | 1.5959 | 0.00063442 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2825 | 0.0083575 | 312.523 | 318.2582 | 240.2683 | -0.35453 | 7.1689 | 93.9918 | 48.6529 | 42.2406 | 8.3484 | 0.15981 | 3.4581 | 4.8904 | 0.10034 | 16.8204 | 0.55633 | 46.1186 | 392.3868 | 0.017711
78 | 00:29:46 | 21060206 | 1 | 0 | 15.0688 | 0.16502 | 220.5332 | 8.3575 | 3.7108 | 39.373 | 0.94645 | 2.5296 | 1 | 5.0592 | 45.1082 | 39.373 | 47.0096 | 399.8876 | 396.4078 | 43.8286 | 45.339 | 34.4895 | 35.6781 | 499.9606 | 1501.6771 | 0.22642 | 76.2716 | 1.5959 | 0.00063442 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2825 | 0.0083575 | 312.523 | 318.2582 | 240.2683 | -0.35453 | 7.1689 | 93.9918 | 48.6529 | 42.2406 | 8.3484 | 0.15981 | 3.4581 | 4.8904 | 0.10034 | 16.8204 | 0.55633 | 46.1186 | 392.3868 | 0.017711
79 | 00:29:46 | 21060206 | 1 | 0 | 15.4028 | 0.16555 | 217.7879 | 8.3835 | 3.7108 | 39.3733 | 0.94645 | 2.5296 | 1 | 5.0592 | 45.1075 | 39.3733 | 47.0095 | 399.9422 | 396.3972 | 43.8251 | 45.3403 | 34.488 | 35.6803 | 499.9435 | 1501.5647 | 0.22879 | 76.2717 | 1.5959 | 0.00063442 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2823 | 0.0083835 | 312.5233 | 318.2575 | 240.2503 | -0.36275 | 7.169 | 93.9931 | 48.6528 | 42.2404 | 8.3484 | 0.16031 | 3.4582 | 4.8902 | 0.10065 | 16.6111 | 0.54942 | 46.1247 | 392.287 | 0.01811
80 | 00:29:47 | 21060206 | 1 | 0 | 15.4528 | 0.16536 | 217.1485 | 8.3722 | 3.71 | 39.3704 | 0.94645 | 2.5296 | 1 | 5.0592 | 45.1068 | 39.3704 | 47.0089 | 399.9504 | 396.3967 | 43.8227 | 45.3358 | 34.4874 | 35.6782 | 499.9367 | 1501.3451 | 0.18374 | 76.272 | 1.5959 | 0.00063442 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2822 | 0.0083722 | 312.5204 | 318.2568 | 240.2152 | -0.3593 | 7.1679 | 93.9781 | 48.6423 | 42.2386 | 8.3476 | 0.16013 | 3.4578 | 4.8897 | 0.10054 | 16.5623 | 0.54781 | 46.1264 | 392.2733 | 0.018171
81 | 00:29:47 | 21060206 | 1 | 0 | 15.4299 | 0.16563 | 217.5981 | 8.385 | 3.71 | 39.3699 | 0.94645 | 2.5296 | 1 | 5.0592 | 45.1058 | 39.3699 | 47.0084 | 399.9469 | 396.3966 | 43.8188 | 45.3343 | 34.4864 | 35.6791 | 499.9344 | 1501.1539 | 0.13751 | 76.2723 | 1.5959 | 0.00063442 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2822 | 0.008385 | 312.5199 | 318.2558 | 240.1846 | -0.36351 | 7.1677 | 93.9753 | 48.641 | 42.2378 | 8.3472 | 0.16038 | 3.4577 | 4.8895 | 0.10069 | 16.5967 | 0.54894 | 46.1291 | 392.2792 | 0.018144
82 | 00:29:48 | 21060206 | 1 | 0 | 15.3366 | 0.16553 | 218.4069 | 8.3777 | 3.709 | 39.3666 | 0.94645 | 2.5296 | 1 | 5.0592 | 45.1048 | 39.3666 | 47.008 | 399.9278 | 396.3957 | 43.8165 | 45.3306 | 34.4863 | 35.678 | 499.9396 | 1500.9506 | 0.1873 | 76.2722 | 1.5959 | 0.00063442 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2823 | 0.0083777 | 312.5166 | 318.2548 | 240.1521 | -0.36129 | 7.1664 | 93.9586 | 48.6279 | 42.2357 | 8.3463 | 0.16028 | 3.4575 | 4.8888 | 0.10064 | 16.6584 | 0.55098 | 46.1335 | 392.3032 | 0.018035
83 | 00:29:49 | 21060206 | 1 | 0 | 15.1396 | 0.16597 | 220.7082 | 8.3946 | 3.707 | 39.3611 | 0.94645 | 2.5296 | 1 | 5.0592 | 45.1039 | 39.3611 | 47.0066 | 399.9289 | 396.4329 | 43.8121 | 45.3293 | 34.4846 | 35.6787 | 499.95 | 1500.704 | 0.17426 | 76.2725 | 1.5959 | 0.00063442 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2824 | 0.0083946 | 312.5111 | 318.2539 | 240.1126 | -0.36637 | 7.1643 | 93.9307 | 48.6015 | 42.2325 | 8.3449 | 0.1607 | 3.4574 | 4.8875 | 0.1009 | 16.834 | 0.55674 | 46.1523 | 392.393 | 0.017807
84 | 00:29:49 | 21060206 | 1 | 0 | 15.0643 | 0.16628 | 221.6919 | 8.4066 | 3.7057 | 39.3571 | 0.94645 | 2.5296 | 1 | 5.0592 | 45.1045 | 39.3571 | 47.0059 | 399.9155 | 396.433 | 43.8068 | 45.326 | 34.4794 | 35.6752 | 499.9722 | 1500.5118 | 0.16359 | 76.2726 | 1.5959 | 0.00063442 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2826 | 0.0084066 | 312.5071 | 318.2545 | 240.0819 | -0.36984 | 7.1628 | 93.9103 | 48.5843 | 42.2308 | 8.3441 | 0.16098 | 3.4571 | 4.887 | 0.10108 | 16.909 | 0.55922 | 46.1634 | 392.4132 | 0.017722
85 | 00:29:50 | 21060206 | 1 | 0 | 15.125 | 0.1669 | 221.6465 | 8.4337 | 3.7043 | 39.3534 | 0.94645 | 2.5296 | 1 | 5.0592 | 45.1044 | 39.3534 | 47.0057 | 399.9312 | 396.4352 | 43.8014 | 45.3256 | 34.4754 | 35.675 | 499.9696 | 1500.3098 | 0.179 | 76.2727 | 1.5959 | 0.00063442 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2826 | 0.0084337 | 312.5034 | 318.2544 | 240.0496 | -0.3781 | 7.1614 | 93.8918 | 48.5662 | 42.2289 | 8.3433 | 0.16157 | 3.4571 | 4.8862 | 0.10144 | 16.9056 | 0.5591 | 46.1798 | 392.3992 | 0.0178
86 | 00:29:50 | 21060206 | 1 | 0 | 15.1044 | 0.16747 | 222.3448 | 8.4558 | 3.7018 | 39.3467 | 0.94645 | 2.5296 | 1 | 5.0592 | 45.1033 | 39.3467 | 47.0051 | 399.9418 | 396.4479 | 43.7964 | 45.3245 | 34.4733 | 35.6762 | 499.9618 | 1500.0892 | 0.22642 | 76.2726 | 1.5959 | 0.00063442 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2825 | 0.0084558 | 312.4967 | 318.2533 | 240.0143 | -0.38462 | 7.1588 | 93.8578 | 48.5333 | 42.225 | 8.3416 | 0.1621 | 3.457 | 4.8846 | 0.10178 | 16.9588 | 0.56084 | 46.2037 | 392.4174 | 0.017784
87 | 00:29:51 | 21060206 | 1 | 0 | 15.0983 | 0.16799 | 222.8779 | 8.4735 | 3.6985 | 39.3384 | 0.94645 | 2.5296 | 1 | 5.0592 | 45.1023 | 39.3384 | 47.0044 | 399.9682 | 396.4741 | 43.794 | 45.3254 | 34.4732 | 35.6786 | 499.9684 | 1499.9984 | 0.22998 | 76.2727 | 1.5959 | 0.00063442 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2826 | 0.0084735 | 312.4884 | 318.2523 | 239.9997 | -0.38953 | 7.1556 | 93.8159 | 48.4906 | 42.2204 | 8.3396 | 0.16259 | 3.4571 | 4.8825 | 0.10209 | 16.9995 | 0.56215 | 46.2336 | 392.4452 | 0.017787
88 | 00:29:51 | 21060206 | 1 | 0 | 15.1422 | 0.16859 | 222.998 | 8.4955 | 3.6953 | 39.3305 | 0.94645 | 2.5296 | 1 | 5.0592 | 45.102 | 39.3305 | 47.004 | 399.9929 | 396.489 | 43.7923 | 45.3275 | 34.4725 | 35.681 | 499.9864 | 1500.027 | 0.28807 | 76.2728 | 1.5959 | 0.00063442 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2828 | 0.0084955 | 312.4805 | 318.252 | 240.0043 | -0.39559 | 7.1526 | 93.7762 | 48.4486 | 42.2162 | 8.3378 | 0.16316 | 3.4573 | 4.8805 | 0.10245 | 17.0087 | 0.56243 | 46.2646 | 392.4484 | 0.017851
89 | 00:29:52 | 21060206 | 1 | 0 | 15.1303 | 0.16908 | 223.5576 | 8.5134 | 3.6928 | 39.3244 | 0.94645 | 2.5296 | 1 | 5.0592 | 45.1018 | 39.3244 | 47.0035 | 400.0269 | 396.5239 | 43.7916 | 45.3301 | 34.4721 | 35.6832 | 499.9985 | 1500.0205 | 0.37579 | 76.2724 | 1.5959 | 0.00063442 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2829 | 0.0085134 | 312.4744 | 318.2518 | 240.0033 | -0.40057 | 7.1502 | 93.7458 | 48.4158 | 42.2131 | 8.3364 | 0.16361 | 3.4574 | 4.879 | 0.10274 | 17.0513 | 0.56379 | 46.2895 | 392.4865 | 0.017845
90 | 00:29:52 | 21060206 | 1 | 0 | 14.9551 | 0.1696 | 225.671 | 8.5373 | 3.6921 | 39.3226 | 0.94645 | 2.5296 | 1 | 5.0592 | 45.1014 | 39.3226 | 47.0031 | 400.0526 | 396.5808 | 43.7875 | 45.3303 | 34.4695 | 35.6841 | 499.9801 | 1500.0411 | 0.3426 | 76.2722 | 1.5959 | 0.00063442 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2827 | 0.0085373 | 312.4726 | 318.2514 | 240.0066 | -0.40777 | 7.1495 | 93.7372 | 48.4069 | 42.212 | 8.3359 | 0.1641 | 3.4574 | 4.8785 | 0.10304 | 17.2124 | 0.56904 | 46.3 | 392.5901 | 0.017637 | 15.1435 | 45.1049 | 39.3558 | 21060206 | 1 | 0 | 15.1435 | 0.16662 | 221.2286 | 8.4211 | 3.7047 | 39.3558 | 0.94645 | 2.5296 | 1 | 5.0592 | 45.1049 | 39.3558 | 47.0068 | 399.9426 | 396.4439 | 43.8101 | 45.332 | 34.4812 | 35.679 | 499.9613 | 1500.7802 | 0.22452 | 76.2722 | 1.5959 | 0.00063442 | 0.73333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.2825 | 0.0084211 | 312.5058 | 318.2549 | 240.1248 | -0.37385 | 7.1623 | 93.9044 | 48.5724 | 42.2303 | 8.344 | 0.1613 | 3.4576 | 4.8864 | 0.10128 | 16.8736 | 0.55803 | 46.1768 | 392.4029 | 0.01782
Remark= | "00:30:19 Coolers: Tblock -> 50.00 C"