## stm-as5_
OPEN 6.3.2
Sun Feb 6 2106 00:46:12
Unit= | PSC-2470
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/LED2x3.xml
Remark=
Obs | HHMMSS | YYYYMMDD | DOY | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | YYYYMMDD | DOY | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "00:46:20 Coolers: Tblock -> 0.00 C"
Remark= | "00:54:47 Coolers: Tblock -> 23.66 C"
Remark= | "00:56:52 Flow: Fixed -> 500 umol/s"
1 | 00:57:36 | 21060206 | 1 | 0 | 22.5428 | 0.21391 | 205.2075 | 7.0145 | 2.5227 | 27.489 | 0.85175 | 2.5504 | 1 | 5.1008 | 24.9063 | 27.489 | 23.6857 | 400.5352 | 396.2206 | 14.0421 | 15.2191 | 33.865 | 36.7036 | 499.8856 | 1500.481 | 0.080614 | 76.2566 | 3.0145 | 0.42662 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8689 | 0.0070145 | 300.639 | 298.0563 | 240.0769 | -0.69411 | 3.6833 | 48.3009 | 33.0818 | 26.1977 | 3.4139 | 0.2053 | 1.1606 | 2.2534 | 0.12906 | 15.6484 | 0.51791 | 32.1094 | 390.2542 | 0.018548
2 | 00:57:37 | 21060206 | 1 | 0 | 22.5428 | 0.21391 | 205.2075 | 7.0145 | 2.5227 | 27.489 | 0.85175 | 2.5504 | 1 | 5.1008 | 24.9063 | 27.489 | 23.6857 | 400.5352 | 396.2206 | 14.0421 | 15.2191 | 33.865 | 36.7036 | 499.8856 | 1500.481 | 0.080614 | 76.2566 | 3.0145 | 0.42662 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8689 | 0.0070145 | 300.639 | 298.0563 | 240.0769 | -0.69411 | 3.6833 | 48.3009 | 33.0818 | 26.1977 | 3.4139 | 0.2053 | 1.1606 | 2.2534 | 0.12906 | 15.6484 | 0.51791 | 32.1094 | 390.2542 | 0.018548
3 | 00:57:37 | 21060206 | 1 | 0 | 22.5428 | 0.21391 | 205.2075 | 7.0145 | 2.5227 | 27.489 | 0.85175 | 2.5504 | 1 | 5.1008 | 24.9063 | 27.489 | 23.6857 | 400.5352 | 396.2206 | 14.0421 | 15.2191 | 33.865 | 36.7036 | 499.8856 | 1500.481 | 0.080614 | 76.2566 | 3.0145 | 0.42662 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8689 | 0.0070145 | 300.639 | 298.0563 | 240.0769 | -0.69411 | 3.6833 | 48.3009 | 33.0818 | 26.1977 | 3.4139 | 0.2053 | 1.1606 | 2.2534 | 0.12906 | 15.6484 | 0.51791 | 32.1094 | 390.2542 | 0.018548
4 | 00:57:37 | 21060206 | 1 | 0 | 21.8476 | 0.21372 | 210.3498 | 7.0084 | 2.5226 | 27.489 | 0.85175 | 2.5504 | 1 | 5.1008 | 24.9061 | 27.489 | 23.6857 | 400.4564 | 396.2605 | 14.0438 | 15.2198 | 33.8696 | 36.7058 | 499.8759 | 1500.4741 | 0.084171 | 76.2566 | 3.0145 | 0.42662 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8688 | 0.0070084 | 300.639 | 298.0561 | 240.0759 | -0.69224 | 3.6832 | 48.3007 | 33.0809 | 26.1975 | 3.4139 | 0.20513 | 1.1606 | 2.2533 | 0.12895 | 16.0406 | 0.53084 | 32.1086 | 390.4782 | 0.017965
5 | 00:57:38 | 21060206 | 1 | 0 | 21.3001 | 0.21406 | 214.7518 | 7.0159 | 2.5215 | 27.4844 | 0.85175 | 2.5504 | 1 | 5.1008 | 24.906 | 27.4844 | 23.6859 | 400.3818 | 396.2787 | 14.0444 | 15.2216 | 33.8712 | 36.7105 | 499.8735 | 1500.4897 | 0.052162 | 76.2565 | 3.0145 | 0.42662 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8688 | 0.0070159 | 300.6344 | 298.056 | 240.0784 | -0.69417 | 3.6823 | 48.2879 | 33.0663 | 26.1952 | 3.4134 | 0.20544 | 1.1607 | 2.2527 | 0.12915 | 16.3762 | 0.54192 | 32.1253 | 390.6412 | 0.017517
6 | 00:57:38 | 21060206 | 1 | 0 | 20.7029 | 0.21425 | 219.3987 | 7.0195 | 2.5207 | 27.4805 | 0.85175 | 2.5504 | 1 | 5.1008 | 24.9061 | 27.4805 | 23.6868 | 400.2836 | 396.282 | 14.0441 | 15.222 | 33.8706 | 36.7113 | 499.8762 | 1500.522 | 0.068759 | 76.2566 | 3.0145 | 0.42662 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8688 | 0.0070195 | 300.6305 | 298.0561 | 240.0835 | -0.69493 | 3.6814 | 48.2769 | 33.0548 | 26.1933 | 3.413 | 0.20562 | 1.1608 | 2.2523 | 0.12926 | 16.7306 | 0.55364 | 32.1361 | 390.8026 | 0.017024
7 | 00:57:39 | 21060206 | 1 | 0 | 20.4088 | 0.2141 | 221.5078 | 7.0133 | 2.5202 | 27.4784 | 0.85175 | 2.5504 | 1 | 5.1008 | 24.9055 | 27.4784 | 23.6871 | 400.2286 | 396.2775 | 14.0456 | 15.2225 | 33.8753 | 36.7136 | 499.8722 | 1500.5417 | 0.10551 | 76.2566 | 3.0145 | 0.42662 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8687 | 0.0070133 | 300.6284 | 298.0555 | 240.0867 | -0.69287 | 3.681 | 48.2709 | 33.0484 | 26.192 | 3.4128 | 0.20548 | 1.1608 | 2.252 | 0.12917 | 16.8914 | 0.55897 | 32.1392 | 390.8759 | 0.016781
8 | 00:57:39 | 21060206 | 1 | 0 | 20.1113 | 0.21409 | 223.722 | 7.0187 | 2.5222 | 27.4883 | 0.85175 | 2.5504 | 1 | 5.1008 | 24.9055 | 27.4883 | 23.6876 | 400.1696 | 396.2688 | 14.0462 | 15.224 | 33.877 | 36.7176 | 499.8659 | 1500.5432 | 0.14937 | 76.257 | 3.0145 | 0.42662 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8687 | 0.0070187 | 300.6383 | 298.0555 | 240.0869 | -0.69533 | 3.6831 | 48.2986 | 33.0746 | 26.1969 | 3.4138 | 0.20547 | 1.1609 | 2.2528 | 0.12917 | 17.0604 | 0.56457 | 32.1232 | 390.946 | 0.016525
9 | 00:57:40 | 21060206 | 1 | 0 | 19.6123 | 0.21399 | 227.4052 | 7.0216 | 2.5243 | 27.4989 | 0.85175 | 2.5504 | 1 | 5.1008 | 24.9054 | 27.4989 | 23.688 | 400.0902 | 396.2742 | 14.0473 | 15.2255 | 33.8796 | 36.7213 | 499.864 | 1500.5569 | 0.10433 | 76.2569 | 3.0145 | 0.42662 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8686 | 0.0070216 | 300.6489 | 298.0554 | 240.0891 | -0.6971 | 3.6854 | 48.3287 | 33.1031 | 26.2022 | 3.4148 | 0.20537 | 1.1611 | 2.2538 | 0.12911 | 17.3412 | 0.57386 | 32.1045 | 391.0835 | 0.0161
10 | 00:57:40 | 21060206 | 1 | 0 | 19.6215 | 0.21415 | 227.3911 | 7.0303 | 2.5256 | 27.5052 | 0.85175 | 2.5504 | 1 | 5.1008 | 24.9048 | 27.5052 | 23.6885 | 400.043 | 396.2249 | 14.0473 | 15.2271 | 33.8808 | 36.7262 | 499.855 | 1500.533 | 0.12803 | 76.2567 | 3.0145 | 0.42662 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8685 | 0.0070303 | 300.6552 | 298.0548 | 240.0853 | -0.70037 | 3.6867 | 48.3464 | 33.1194 | 26.205 | 3.4154 | 0.20553 | 1.1612 | 2.2542 | 0.1292 | 17.3401 | 0.57389 | 32.0976 | 391.0317 | 0.016106
11 | 00:57:41 | 21060206 | 1 | 0 | 19.4747 | 0.21396 | 228.3266 | 7.0281 | 2.527 | 27.5117 | 0.85175 | 2.5504 | 1 | 5.1008 | 24.9044 | 27.5117 | 23.6897 | 399.9843 | 396.1914 | 14.0479 | 15.2272 | 33.8829 | 36.7274 | 499.864 | 1500.5493 | 0.14345 | 76.2565 | 3.0145 | 0.42662 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8686 | 0.0070281 | 300.6617 | 298.0544 | 240.0879 | -0.70024 | 3.6881 | 48.3649 | 33.1377 | 26.208 | 3.416 | 0.20535 | 1.1612 | 2.2548 | 0.12909 | 17.4114 | 0.5763 | 32.0828 | 391.0371 | 0.015978
12 | 00:57:41 | 21060206 | 1 | 0 | 19.4063 | 0.21449 | 229.1942 | 7.0432 | 2.5264 | 27.5097 | 0.85175 | 2.5504 | 1 | 5.1008 | 24.9045 | 27.5097 | 23.6909 | 399.9705 | 396.1883 | 14.0477 | 15.2296 | 33.8823 | 36.7328 | 499.8759 | 1500.5308 | 0.14226 | 76.2565 | 3.0145 | 0.42662 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8688 | 0.0070432 | 300.6597 | 298.0545 | 240.0849 | -0.70474 | 3.6877 | 48.3593 | 33.1298 | 26.2071 | 3.4158 | 0.20583 | 1.1614 | 2.2545 | 0.1294 | 17.4776 | 0.5785 | 32.0981 | 391.0521 | 0.015929
13 | 00:57:42 | 21060206 | 1 | 0 | 19.564 | 0.21478 | 228.1753 | 7.0507 | 2.5258 | 27.5077 | 0.85175 | 2.5504 | 1 | 5.1008 | 24.9045 | 27.5077 | 23.6918 | 399.9705 | 396.161 | 14.0478 | 15.2309 | 33.8827 | 36.7363 | 499.8767 | 1500.5367 | 0.12329 | 76.2568 | 3.0145 | 0.42662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8688 | 0.0070507 | 300.6577 | 298.0545 | 240.0859 | -0.70688 | 3.6873 | 48.3534 | 33.1225 | 26.2061 | 3.4156 | 0.2061 | 1.1615 | 2.2542 | 0.12956 | 17.3999 | 0.57597 | 32.1086 | 390.983 | 0.016066
14 | 00:57:42 | 21060206 | 1 | 0 | 19.8941 | 0.21476 | 225.6557 | 7.0482 | 2.5251 | 27.5047 | 0.85175 | 2.5504 | 1 | 5.1008 | 24.9042 | 27.5047 | 23.6926 | 399.9897 | 396.1242 | 14.0495 | 15.2322 | 33.8873 | 36.7399 | 499.8857 | 1500.4891 | 0.087728 | 76.2564 | 3.0145 | 0.42662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8689 | 0.0070482 | 300.6547 | 298.0542 | 240.0783 | -0.70597 | 3.6866 | 48.3454 | 33.1132 | 26.2044 | 3.4153 | 0.20609 | 1.1616 | 2.2537 | 0.12956 | 17.2077 | 0.56966 | 32.1164 | 390.8589 | 0.016347
15 | 00:57:43 | 21060206 | 1 | 0 | 19.8708 | 0.2152 | 226.1194 | 7.0601 | 2.5244 | 27.5024 | 0.85175 | 2.5504 | 1 | 5.1008 | 24.9041 | 27.5024 | 23.6931 | 399.9763 | 396.1141 | 14.0498 | 15.2345 | 33.8882 | 36.7456 | 499.8893 | 1500.4338 | 0.061646 | 76.2565 | 3.0145 | 0.42662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8689 | 0.0070601 | 300.6524 | 298.0541 | 240.0694 | -0.70952 | 3.6861 | 48.3388 | 33.1043 | 26.2033 | 3.4151 | 0.20649 | 1.1617 | 2.2533 | 0.12981 | 17.2431 | 0.57084 | 32.1311 | 390.8549 | 0.016335 | 20.6295 | 24.9053 | 27.4952 | 21060206 | 1 | 0 | 20.6295 | 0.21422 | 219.8413 | 7.0268 | 2.5236 | 27.4952 | 0.85175 | 2.5504 | 1 | 5.1008 | 24.9053 | 27.4952 | 23.6883 | 400.21 | 396.2205 | 14.0458 | 15.2249 | 33.8762 | 36.7199 | 499.8754 | 1500.5096 | 0.099504 | 76.2566 | 3.0145 | 0.42662 | 0.73333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8688 | 0.0070268 | 300.6452 | 298.0553 | 240.0815 | -0.69845 | 3.6846 | 48.3183 | 33.0934 | 26.2003 | 3.4145 | 0.20559 | 1.161 | 2.2535 | 0.12924 | 16.7644 | 0.55485 | 32.1133 | 390.7605 | 0.016954
Remark= | "00:57:53 Coolers: Tblock -> 29.00 C"
Remark= | "00:59:21 Flow: Fixed -> 500 umol/s"
16 | 00:59:36 | 21060206 | 1 | 0 | 23.5718 | 0.23393 | 210.558 | 8.0404 | 2.6421 | 29.2357 | 0.85175 | 2.5504 | 1 | 5.1008 | 28.9284 | 29.2357 | 29.0411 | 399.9898 | 395.4315 | 17.4715 | 18.8157 | 33.2649 | 35.8243 | 499.8663 | 1499.8722 | 0.20627 | 76.2562 | 1.9471 | 0.35513 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8687 | 0.0080404 | 302.3857 | 302.0784 | 239.9795 | -0.82694 | 4.077 | 53.4641 | 34.6483 | 29.0821 | 4.0409 | 0.22367 | 1.4348 | 2.6061 | 0.14068 | 16.0563 | 0.53248 | 35.7116 | 389.1928 | 0.021629
17 | 00:59:37 | 21060206 | 1 | 0 | 23.5718 | 0.23393 | 210.558 | 8.0404 | 2.6421 | 29.2357 | 0.85175 | 2.5504 | 1 | 5.1008 | 28.9284 | 29.2357 | 29.0411 | 399.9898 | 395.4315 | 17.4715 | 18.8157 | 33.2649 | 35.8243 | 499.8663 | 1499.8722 | 0.20627 | 76.2562 | 1.9471 | 0.35513 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8687 | 0.0080404 | 302.3857 | 302.0784 | 239.9795 | -0.82694 | 4.077 | 53.4641 | 34.6483 | 29.0821 | 4.0409 | 0.22367 | 1.4348 | 2.6061 | 0.14068 | 16.0563 | 0.53248 | 35.7116 | 389.1928 | 0.021629
18 | 00:59:37 | 21060206 | 1 | 0 | 23.1927 | 0.23397 | 213.2027 | 8.0421 | 2.6422 | 29.2363 | 0.85175 | 2.5504 | 1 | 5.1008 | 28.9302 | 29.2363 | 29.0409 | 399.9194 | 395.4256 | 17.4718 | 18.8163 | 33.2622 | 35.8219 | 499.869 | 1499.8737 | 0.2288 | 76.2564 | 1.9471 | 0.35513 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8687 | 0.0080421 | 302.3863 | 302.0802 | 239.9798 | -0.8274 | 4.0771 | 53.4658 | 34.6494 | 29.0833 | 4.0412 | 0.22371 | 1.4349 | 2.6063 | 0.14071 | 16.2581 | 0.53917 | 35.7121 | 389.2873 | 0.021276
19 | 00:59:38 | 21060206 | 1 | 0 | 23.0935 | 0.23418 | 213.9732 | 8.0502 | 2.6426 | 29.2382 | 0.85175 | 2.5504 | 1 | 5.1008 | 28.9324 | 29.2382 | 29.0413 | 399.8504 | 395.373 | 17.4715 | 18.8174 | 33.2571 | 35.8191 | 499.8677 | 1499.8671 | 0.23117 | 76.2557 | 1.9471 | 0.35513 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8687 | 0.0080502 | 302.3882 | 302.0824 | 239.9787 | -0.82986 | 4.0775 | 53.4719 | 34.6545 | 29.0853 | 4.0417 | 0.2239 | 1.4349 | 2.6067 | 0.14083 | 16.3167 | 0.54119 | 35.7125 | 389.261 | 0.021187
20 | 00:59:38 | 21060206 | 1 | 0 | 22.8114 | 0.23455 | 216.1298 | 8.0631 | 2.6429 | 29.2402 | 0.85175 | 2.5504 | 1 | 5.1008 | 28.9349 | 29.2402 | 29.0413 | 399.7785 | 395.3485 | 17.4717 | 18.8197 | 33.2526 | 35.8182 | 499.8852 | 1499.8645 | 0.21576 | 76.2557 | 1.9471 | 0.35513 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8689 | 0.0080631 | 302.3902 | 302.0849 | 239.9783 | -0.83378 | 4.078 | 53.478 | 34.6583 | 29.0875 | 4.0422 | 0.22423 | 1.4351 | 2.6071 | 0.14104 | 16.4811 | 0.54668 | 35.7167 | 389.3111 | 0.020928
21 | 00:59:39 | 21060206 | 1 | 0 | 22.4405 | 0.23524 | 219.0828 | 8.0866 | 2.6431 | 29.242 | 0.85175 | 2.5504 | 1 | 5.1008 | 28.9378 | 29.242 | 29.0416 | 399.6718 | 395.3035 | 17.4703 | 18.8222 | 33.2444 | 35.817 | 499.881 | 1499.8752 | 0.18375 | 76.256 | 1.9471 | 0.35513 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8688 | 0.0080866 | 302.392 | 302.0878 | 239.98 | -0.84094 | 4.0784 | 53.4835 | 34.6613 | 29.0899 | 4.0427 | 0.22487 | 1.4353 | 2.6074 | 0.14144 | 16.7064 | 0.55421 | 35.7259 | 389.3643 | 0.02059
22 | 00:59:39 | 21060206 | 1 | 0 | 21.6747 | 0.23516 | 224.3032 | 8.085 | 2.6434 | 29.2433 | 0.85175 | 2.5504 | 1 | 5.1008 | 28.9404 | 29.2433 | 29.0417 | 399.548 | 395.3103 | 17.4706 | 18.8222 | 33.24 | 35.8117 | 499.8963 | 1499.8953 | 0.23829 | 76.256 | 1.9471 | 0.35513 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.869 | 0.008085 | 302.3933 | 302.0904 | 239.9832 | -0.8403 | 4.0787 | 53.4874 | 34.6651 | 29.0918 | 4.0432 | 0.2248 | 1.4353 | 2.6079 | 0.14139 | 17.1045 | 0.56741 | 35.7224 | 389.5738 | 0.019875
23 | 00:59:40 | 21060206 | 1 | 0 | 21.5063 | 0.23529 | 225.5109 | 8.0907 | 2.6439 | 29.2456 | 0.85175 | 2.5504 | 1 | 5.1008 | 28.9429 | 29.2456 | 29.0417 | 399.4915 | 395.2821 | 17.4711 | 18.8237 | 33.2361 | 35.8093 | 499.8932 | 1499.8867 | 0.23117 | 76.2558 | 1.9471 | 0.35513 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.869 | 0.0080907 | 302.3956 | 302.0929 | 239.9819 | -0.84206 | 4.0793 | 53.4946 | 34.671 | 29.0942 | 4.0438 | 0.22492 | 1.4354 | 2.6083 | 0.14147 | 17.1965 | 0.57051 | 35.7216 | 389.5901 | 0.019719
24 | 00:59:40 | 21060206 | 1 | 0 | 21.4908 | 0.23566 | 225.7966 | 8.1057 | 2.6448 | 29.2499 | 0.85175 | 2.5504 | 1 | 5.1008 | 28.9452 | 29.2499 | 29.0416 | 399.4541 | 395.2464 | 17.4692 | 18.8243 | 33.2281 | 35.8057 | 499.8846 | 1499.9299 | 0.25963 | 76.2556 | 1.9471 | 0.35513 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8689 | 0.0081057 | 302.3999 | 302.0952 | 239.9888 | -0.84679 | 4.0803 | 53.508 | 34.6837 | 29.0975 | 4.0445 | 0.22525 | 1.4355 | 2.6091 | 0.14168 | 17.2183 | 0.57128 | 35.718 | 389.5585 | 0.019705
25 | 00:59:41 | 21060206 | 1 | 0 | 21.5111 | 0.23606 | 225.862 | 8.1204 | 2.6453 | 29.2528 | 0.85175 | 2.5504 | 1 | 5.1008 | 28.9477 | 29.2528 | 29.0416 | 399.4252 | 395.213 | 17.4689 | 18.8265 | 33.2226 | 35.8045 | 499.8828 | 1499.9475 | 0.27978 | 76.2553 | 1.9471 | 0.35513 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8689 | 0.0081204 | 302.4028 | 302.0977 | 239.9916 | -0.85136 | 4.081 | 53.5172 | 34.6907 | 29.1002 | 4.0452 | 0.22561 | 1.4356 | 2.6095 | 0.14191 | 17.2232 | 0.57149 | 35.7205 | 389.5198 | 0.019727
26 | 00:59:41 | 21060206 | 1 | 0 | 21.7457 | 0.23616 | 224.2881 | 8.1261 | 2.6461 | 29.2562 | 0.85175 | 2.5504 | 1 | 5.1008 | 28.9503 | 29.2562 | 29.042 | 399.4402 | 395.1878 | 17.4694 | 18.8279 | 33.2184 | 35.8016 | 499.8952 | 1499.9132 | 0.3272 | 76.255 | 1.9471 | 0.35513 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.869 | 0.0081261 | 302.4062 | 302.1003 | 239.9861 | -0.85322 | 4.0818 | 53.5282 | 34.7003 | 29.1032 | 4.0459 | 0.22571 | 1.4357 | 2.6101 | 0.14197 | 17.1031 | 0.56755 | 35.7167 | 389.4325 | 0.019944
27 | 00:59:42 | 21060206 | 1 | 0 | 21.5682 | 0.23627 | 225.5668 | 8.1312 | 2.6465 | 29.2588 | 0.85175 | 2.5504 | 1 | 5.1008 | 28.9526 | 29.2588 | 29.0418 | 399.4095 | 395.187 | 17.47 | 18.8294 | 33.2152 | 35.7997 | 499.8949 | 1499.9099 | 0.32602 | 76.2551 | 1.9471 | 0.35513 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.869 | 0.0081312 | 302.4088 | 302.1026 | 239.9856 | -0.85483 | 4.0824 | 53.5359 | 34.7065 | 29.1057 | 4.0464 | 0.22581 | 1.4358 | 2.6106 | 0.14203 | 17.2006 | 0.57078 | 35.7155 | 389.4786 | 0.019778
28 | 00:59:42 | 21060206 | 1 | 0 | 21.4493 | 0.23632 | 226.3866 | 8.134 | 2.6469 | 29.2607 | 0.85175 | 2.5504 | 1 | 5.1008 | 28.9547 | 29.2607 | 29.0418 | 399.369 | 395.1667 | 17.4706 | 18.8304 | 33.2122 | 35.7973 | 499.8937 | 1499.8805 | 0.32246 | 76.255 | 1.9471 | 0.35513 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.869 | 0.008134 | 302.4107 | 302.1047 | 239.9809 | -0.85569 | 4.0828 | 53.5419 | 34.7115 | 29.1077 | 4.0469 | 0.22585 | 1.4359 | 2.611 | 0.14206 | 17.2631 | 0.57289 | 35.7138 | 389.4898 | 0.019668
29 | 00:59:43 | 21060206 | 1 | 0 | 21.3295 | 0.23634 | 227.2106 | 8.1371 | 2.6476 | 29.2642 | 0.85175 | 2.5504 | 1 | 5.1008 | 28.9572 | 29.2642 | 29.0419 | 399.3418 | 395.1597 | 17.4718 | 18.8321 | 33.2097 | 35.7954 | 499.8959 | 1499.8363 | 0.25014 | 76.255 | 1.9471 | 0.35513 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.869 | 0.0081371 | 302.4142 | 302.1072 | 239.9738 | -0.85678 | 4.0837 | 53.5529 | 34.7208 | 29.1107 | 4.0476 | 0.22588 | 1.436 | 2.6116 | 0.14208 | 17.3259 | 0.57498 | 35.7097 | 389.5144 | 0.019554
30 | 00:59:44 | 21060206 | 1 | 0 | 21.7337 | 0.23653 | 224.4935 | 8.1461 | 2.6485 | 29.2682 | 0.85175 | 2.5504 | 1 | 5.1008 | 28.9594 | 29.2682 | 29.042 | 399.3478 | 395.0962 | 17.4707 | 18.8326 | 33.2035 | 35.7918 | 499.883 | 1499.829 | 0.24777 | 76.2552 | 1.9471 | 0.35513 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8689 | 0.0081461 | 302.4182 | 302.1094 | 239.9726 | -0.85972 | 4.0846 | 53.5652 | 34.7325 | 29.1138 | 4.0483 | 0.22605 | 1.4361 | 2.6123 | 0.14219 | 17.1188 | 0.5682 | 35.7045 | 389.344 | 0.019931 | 22.1794 | 28.9428 | 29.2485 | 21060206 | 1 | 0 | 22.1794 | 0.23531 | 220.8615 | 8.0933 | 2.6446 | 29.2485 | 0.85175 | 2.5504 | 1 | 5.1008 | 28.9428 | 29.2485 | 29.0416 | 399.6018 | 395.2775 | 17.4707 | 18.8238 | 33.2355 | 35.8095 | 499.8837 | 1499.8835 | 0.2503 | 76.2556 | 1.9471 | 0.35513 | 0.88889 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8689 | 0.0080933 | 302.3985 | 302.0928 | 239.9814 | -0.84311 | 4.08 | 53.5039 | 34.6802 | 29.0957 | 4.0441 | 0.22493 | 1.4354 | 2.6087 | 0.14148 | 16.8419 | 0.55875 | 35.7155 | 389.4074 | 0.020343
Remark= | "00:59:55 Coolers: Tblock -> 34.00 C"
Remark= | "01:01:51 Flow: Fixed -> 500 umol/s"
31 | 01:02:12 | 21060206 | 1 | 0 | 23.8248 | 0.27935 | 232.9957 | 9.9532 | 2.7473 | 31.038 | 0.85175 | 2.5504 | 1 | 5.1008 | 33.151 | 31.038 | 34.0321 | 399.3078 | 394.5793 | 21.6066 | 23.263 | 32.3357 | 34.8146 | 499.9065 | 1499.7112 | 0.14937 | 76.2519 | 1.2489 | 0.28156 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8691 | 0.0099532 | 304.188 | 306.301 | 239.9538 | -1.2085 | 4.5212 | 59.2925 | 36.0295 | 32.0945 | 4.8007 | 0.26485 | 1.7738 | 3.0268 | 0.16677 | 17.7664 | 0.59049 | 39.9091 | 388.2737 | 0.024489
32 | 01:02:13 | 21060206 | 1 | 0 | 23.6601 | 0.27982 | 234.1581 | 9.9701 | 2.7476 | 31.0398 | 0.85175 | 2.5504 | 1 | 5.1008 | 33.1531 | 31.0398 | 34.0316 | 399.2662 | 394.5646 | 21.6057 | 23.2649 | 32.3305 | 34.8133 | 499.9066 | 1499.7416 | 0.16834 | 76.252 | 1.2489 | 0.28156 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8691 | 0.0099701 | 304.1898 | 306.3031 | 239.9586 | -1.2137 | 4.5216 | 59.2986 | 36.0337 | 32.0965 | 4.8012 | 0.26527 | 1.774 | 3.0272 | 0.16704 | 17.855 | 0.59346 | 39.9132 | 388.3026 | 0.02432
33 | 01:02:13 | 21060206 | 1 | 0 | 23.5417 | 0.28036 | 235.0831 | 9.9891 | 2.7479 | 31.0413 | 0.85175 | 2.5504 | 1 | 5.1008 | 33.1551 | 31.0413 | 34.0317 | 399.2341 | 394.5515 | 21.6047 | 23.267 | 32.3252 | 34.8125 | 499.9064 | 1499.7782 | 0.16123 | 76.2515 | 1.2489 | 0.28156 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8691 | 0.0099891 | 304.1913 | 306.3051 | 239.9645 | -1.2195 | 4.522 | 59.3038 | 36.0368 | 32.0982 | 4.8017 | 0.26575 | 1.7741 | 3.0275 | 0.16735 | 17.9254 | 0.59582 | 39.919 | 388.3208 | 0.024201
34 | 01:02:14 | 21060206 | 1 | 0 | 23.5417 | 0.28036 | 235.0831 | 9.9891 | 2.7479 | 31.0413 | 0.85175 | 2.5504 | 1 | 5.1008 | 33.1551 | 31.0413 | 34.0317 | 399.2341 | 394.5515 | 21.6047 | 23.267 | 32.3252 | 34.8125 | 499.9064 | 1499.7782 | 0.16123 | 76.2515 | 1.2489 | 0.28156 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8691 | 0.0099891 | 304.1913 | 306.3051 | 239.9645 | -1.2195 | 4.522 | 59.3038 | 36.0368 | 32.0982 | 4.8017 | 0.26575 | 1.7741 | 3.0275 | 0.16735 | 17.9254 | 0.59582 | 39.919 | 388.3208 | 0.024201
35 | 01:02:14 | 21060206 | 1 | 0 | 23.1912 | 0.28023 | 237.0395 | 9.9876 | 2.7486 | 31.0436 | 0.85175 | 2.5504 | 1 | 5.1008 | 33.157 | 31.0436 | 34.0318 | 399.1562 | 394.5335 | 21.6036 | 23.2657 | 32.32 | 34.8066 | 499.9148 | 1499.8478 | 0.17664 | 76.2513 | 1.2489 | 0.28156 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8692 | 0.0099876 | 304.1936 | 306.307 | 239.9756 | -1.2189 | 4.5226 | 59.3118 | 36.0461 | 32.1003 | 4.8023 | 0.26564 | 1.774 | 3.0282 | 0.16728 | 18.0746 | 0.60081 | 39.9101 | 388.3956 | 0.02383
36 | 01:02:15 | 21060206 | 1 | 0 | 22.9462 | 0.28091 | 238.7232 | 10.0115 | 2.7488 | 31.0454 | 0.85175 | 2.5504 | 1 | 5.1008 | 33.1584 | 31.0454 | 34.0315 | 399.0709 | 394.4885 | 21.6021 | 23.2681 | 32.3153 | 34.8076 | 499.9162 | 1499.8262 | 0.22762 | 76.2514 | 1.2489 | 0.28156 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8693 | 0.010012 | 304.1954 | 306.3084 | 239.9722 | -1.2264 | 4.5231 | 59.3179 | 36.0498 | 32.1019 | 4.8027 | 0.26625 | 1.7742 | 3.0285 | 0.16766 | 18.203 | 0.60515 | 39.9174 | 388.4154 | 0.023582
37 | 01:02:15 | 21060206 | 1 | 0 | 22.5159 | 0.28129 | 241.3537 | 10.0268 | 2.7495 | 31.0484 | 0.85175 | 2.5504 | 1 | 5.1008 | 33.1598 | 31.0484 | 34.031 | 398.9694 | 394.4592 | 21.6014 | 23.2701 | 32.3118 | 34.8077 | 499.9113 | 1499.8231 | 0.20154 | 76.2515 | 1.2489 | 0.28156 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8692 | 0.010027 | 304.1984 | 306.3098 | 239.9717 | -1.2312 | 4.5238 | 59.3278 | 36.0578 | 32.1041 | 4.8033 | 0.26659 | 1.7744 | 3.0289 | 0.16788 | 18.4036 | 0.61186 | 39.918 | 388.5 | 0.023135
38 | 01:02:16 | 21060206 | 1 | 0 | 22.5357 | 0.28118 | 241.1264 | 10.0239 | 2.7497 | 31.0498 | 0.85175 | 2.5504 | 1 | 5.1008 | 33.1619 | 31.0498 | 34.0305 | 398.9098 | 394.3965 | 21.6031 | 23.2712 | 32.3103 | 34.8052 | 499.9119 | 1499.8956 | 0.25252 | 76.2512 | 1.2489 | 0.28156 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8692 | 0.010024 | 304.1998 | 306.3119 | 239.9833 | -1.2302 | 4.5242 | 59.3327 | 36.0615 | 32.1058 | 4.8038 | 0.26649 | 1.7745 | 3.0293 | 0.16781 | 18.3862 | 0.61138 | 39.9153 | 388.4321 | 0.023158
39 | 01:02:16 | 21060206 | 1 | 0 | 22.3203 | 0.28069 | 242.1278 | 10.0076 | 2.7498 | 31.0496 | 0.85175 | 2.5504 | 1 | 5.1008 | 33.1641 | 31.0496 | 34.0308 | 398.839 | 394.3635 | 21.6047 | 23.2702 | 32.3089 | 34.7995 | 499.9071 | 1499.9053 | 0.16953 | 76.2512 | 1.2489 | 0.28156 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8691 | 0.010008 | 304.1996 | 306.3141 | 239.9848 | -1.2249 | 4.5241 | 59.3321 | 36.062 | 32.1068 | 4.804 | 0.26605 | 1.7744 | 3.0297 | 0.16754 | 18.4625 | 0.61397 | 39.9085 | 388.4561 | 0.022931
40 | 01:02:17 | 21060206 | 1 | 0 | 22.3062 | 0.28065 | 242.1475 | 10.0072 | 2.75 | 31.0506 | 0.85175 | 2.5504 | 1 | 5.1008 | 33.1661 | 31.0506 | 34.0314 | 398.7901 | 394.3171 | 21.6052 | 23.2706 | 32.306 | 34.7962 | 499.9051 | 1499.9309 | 0.23948 | 76.2514 | 1.2489 | 0.28156 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8691 | 0.010007 | 304.2006 | 306.3161 | 239.9889 | -1.2247 | 4.5244 | 59.3355 | 36.0649 | 32.1083 | 4.8044 | 0.26602 | 1.7744 | 3.03 | 0.16752 | 18.4641 | 0.61409 | 39.9065 | 388.4134 | 0.022918
41 | 01:02:17 | 21060206 | 1 | 0 | 22.3158 | 0.28056 | 242.0161 | 10.0051 | 2.7503 | 31.0519 | 0.85175 | 2.5504 | 1 | 5.1008 | 33.1678 | 31.0519 | 34.0326 | 398.7586 | 394.2843 | 21.6056 | 23.2707 | 32.3036 | 34.7931 | 499.9086 | 1499.9067 | 0.21695 | 76.2516 | 1.2489 | 0.28156 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8692 | 0.010005 | 304.2019 | 306.3178 | 239.9851 | -1.224 | 4.5248 | 59.3398 | 36.0692 | 32.1099 | 4.8049 | 0.26593 | 1.7744 | 3.0304 | 0.16746 | 18.4541 | 0.61381 | 39.9026 | 388.378 | 0.022928
42 | 01:02:18 | 21060206 | 1 | 0 | 22.3659 | 0.2802 | 241.5409 | 9.9943 | 2.7506 | 31.0529 | 0.85175 | 2.5504 | 1 | 5.1008 | 33.1698 | 31.0529 | 34.033 | 398.7381 | 394.2561 | 21.6066 | 23.2698 | 32.3016 | 34.788 | 499.9216 | 1499.933 | 0.23117 | 76.2517 | 1.2489 | 0.28156 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8693 | 0.0099943 | 304.2029 | 306.3198 | 239.9893 | -1.2206 | 4.525 | 59.3428 | 36.073 | 32.1113 | 4.8053 | 0.26561 | 1.7744 | 3.0309 | 0.16726 | 18.4179 | 0.61265 | 39.8952 | 388.3366 | 0.022977
43 | 01:02:18 | 21060206 | 1 | 0 | 22.9264 | 0.28049 | 238.3528 | 10.0054 | 2.751 | 31.0549 | 0.85175 | 2.5504 | 1 | 5.1008 | 33.1714 | 31.0549 | 34.0341 | 398.7688 | 394.1906 | 21.6065 | 23.2715 | 32.2983 | 34.7873 | 499.9173 | 1499.9249 | 0.25014 | 76.2516 | 1.2489 | 0.28156 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8693 | 0.010005 | 304.2049 | 306.3214 | 239.988 | -1.224 | 4.5255 | 59.3498 | 36.0783 | 32.1132 | 4.8058 | 0.26587 | 1.7745 | 3.0313 | 0.16742 | 18.1748 | 0.60466 | 39.8964 | 388.1228 | 0.023567
44 | 01:02:19 | 21060206 | 1 | 0 | 23.5548 | 0.28048 | 234.6567 | 10.0065 | 2.7514 | 31.056 | 0.85175 | 2.5504 | 1 | 5.1008 | 33.1737 | 31.056 | 34.035 | 398.8279 | 394.1425 | 21.6054 | 23.2706 | 32.2925 | 34.7814 | 499.9072 | 1499.9739 | 0.17309 | 76.2514 | 1.2489 | 0.28156 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8691 | 0.010006 | 304.206 | 306.3237 | 239.9958 | -1.2242 | 4.5258 | 59.3536 | 36.083 | 32.1148 | 4.8062 | 0.26586 | 1.7744 | 3.0318 | 0.16742 | 17.8929 | 0.59536 | 39.8923 | 387.9084 | 0.024224
45 | 01:02:19 | 21060206 | 1 | 0 | 24.1759 | 0.2804 | 230.9927 | 10.0042 | 2.7515 | 31.0566 | 0.85175 | 2.5504 | 1 | 5.1008 | 33.176 | 31.0566 | 34.0362 | 398.9087 | 394.1178 | 21.6068 | 23.2717 | 32.2904 | 34.7784 | 499.9146 | 1500.0083 | 0.14701 | 76.2513 | 1.2489 | 0.28156 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8692 | 0.010004 | 304.2066 | 306.326 | 240.0013 | -1.2233 | 4.526 | 59.3559 | 36.0843 | 32.1163 | 4.8066 | 0.26579 | 1.7745 | 3.0321 | 0.16737 | 17.6135 | 0.5861 | 39.8915 | 387.7193 | 0.024874 | 23.0482 | 33.1627 | 31.048 | 21060206 | 1 | 0 | 23.0482 | 0.28046 | 237.8265 | 9.9988 | 2.7495 | 31.048 | 0.85175 | 2.5504 | 1 | 5.1008 | 33.1627 | 31.048 | 34.0323 | 398.9853 | 394.3865 | 21.6049 | 23.2688 | 32.3117 | 34.8003 | 499.9108 | 1499.8657 | 0.19506 | 76.2515 | 1.2489 | 0.28156 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8692 | 0.0099988 | 304.198 | 306.3127 | 239.9785 | -1.2222 | 4.5237 | 59.3266 | 36.0578 | 32.1053 | 4.8036 | 0.26585 | 1.7743 | 3.0293 | 0.16741 | 18.1346 | 0.60303 | 39.9076 | 388.2864 | 0.023689
Remark= | "01:02:30 Coolers: Tblock -> 39.00 C"
Remark= | "01:05:00 Flow: Fixed -> 500 umol/s"
46 | 01:05:35 | 21060206 | 1 | 0 | 28.0703 | 0.31614 | 225.2323 | 11.7936 | 2.8731 | 33.3861 | 0.85175 | 2.5504 | 1 | 5.1008 | 37.5958 | 33.3861 | 39.0237 | 399.8829 | 394.3079 | 28.0804 | 30.0295 | 32.8743 | 35.1561 | 499.9099 | 1499.882 | 0.1968 | 76.247 | 0.79465 | 0.16765 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8692 | 0.011794 | 306.5361 | 310.7458 | 239.9811 | -1.5803 | 5.1627 | 67.7107 | 37.6811 | 35.4909 | 5.8038 | 0.29769 | 2.2897 | 3.5141 | 0.18763 | 17.1733 | 0.57121 | 44.9051 | 386.8787 | 0.032581
47 | 01:05:36 | 21060206 | 1 | 0 | 28.0703 | 0.31614 | 225.2323 | 11.7936 | 2.8731 | 33.3861 | 0.85175 | 2.5504 | 1 | 5.1008 | 37.5958 | 33.3861 | 39.0237 | 399.8829 | 394.3079 | 28.0804 | 30.0295 | 32.8743 | 35.1561 | 499.9099 | 1499.882 | 0.1968 | 76.247 | 0.79465 | 0.16765 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8692 | 0.011794 | 306.5361 | 310.7458 | 239.9811 | -1.5803 | 5.1627 | 67.7107 | 37.6811 | 35.4909 | 5.8038 | 0.29769 | 2.2897 | 3.5141 | 0.18763 | 17.1733 | 0.57121 | 44.9051 | 386.8787 | 0.032581
48 | 01:05:36 | 21060206 | 1 | 0 | 28.0703 | 0.31614 | 225.2323 | 11.7936 | 2.8731 | 33.3861 | 0.85175 | 2.5504 | 1 | 5.1008 | 37.5958 | 33.3861 | 39.0237 | 399.8829 | 394.3079 | 28.0804 | 30.0295 | 32.8743 | 35.1561 | 499.9099 | 1499.882 | 0.1968 | 76.247 | 0.79465 | 0.16765 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8692 | 0.011794 | 306.5361 | 310.7458 | 239.9811 | -1.5803 | 5.1627 | 67.7107 | 37.6811 | 35.4909 | 5.8038 | 0.29769 | 2.2897 | 3.5141 | 0.18763 | 17.1733 | 0.57121 | 44.9051 | 386.8787 | 0.032581
49 | 01:05:36 | 21060206 | 1 | 0 | 28.1393 | 0.3168 | 225.1564 | 11.8175 | 2.8733 | 33.3875 | 0.85175 | 2.5504 | 1 | 5.1008 | 37.5981 | 33.3875 | 39.0235 | 399.891 | 394.3027 | 28.0791 | 30.0321 | 32.8688 | 35.155 | 499.9089 | 1499.8784 | 0.11737 | 76.2473 | 0.79465 | 0.16765 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8692 | 0.011818 | 306.5375 | 310.7481 | 239.9805 | -1.5876 | 5.1631 | 67.7157 | 37.6836 | 35.4928 | 5.8043 | 0.29827 | 2.2899 | 3.5145 | 0.188 | 17.1676 | 0.57102 | 44.9121 | 386.8551 | 0.032668
50 | 01:05:37 | 21060206 | 1 | 0 | 28.0579 | 0.31692 | 225.6311 | 11.8305 | 2.8753 | 33.3951 | 0.85175 | 2.5504 | 1 | 5.1008 | 37.5998 | 33.3951 | 39.0233 | 399.892 | 394.3166 | 28.079 | 30.0342 | 32.8658 | 35.1543 | 499.9067 | 1499.851 | 0.15174 | 76.2477 | 0.79465 | 0.16765 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8691 | 0.01183 | 306.5451 | 310.7498 | 239.9761 | -1.5921 | 5.1653 | 67.7443 | 37.71 | 35.4974 | 5.8058 | 0.29839 | 2.29 | 3.5158 | 0.18807 | 17.2039 | 0.57221 | 44.8971 | 386.8906 | 0.03256
51 | 01:05:37 | 21060206 | 1 | 0 | 27.8582 | 0.31686 | 226.637 | 11.8354 | 2.877 | 33.401 | 0.85175 | 2.5504 | 1 | 5.1008 | 37.6025 | 33.401 | 39.0234 | 399.8755 | 394.3337 | 28.078 | 30.034 | 32.8598 | 35.149 | 499.901 | 1499.8464 | 0.19086 | 76.248 | 0.79465 | 0.16765 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8691 | 0.011835 | 306.551 | 310.7525 | 239.9754 | -1.5939 | 5.1671 | 67.7666 | 37.7325 | 35.5018 | 5.8072 | 0.29833 | 2.29 | 3.5172 | 0.18804 | 17.2806 | 0.57473 | 44.881 | 386.9606 | 0.032311
52 | 01:05:38 | 21060206 | 1 | 0 | 27.6396 | 0.31664 | 227.6828 | 11.8335 | 2.8784 | 33.4061 | 0.85175 | 2.5504 | 1 | 5.1008 | 37.6046 | 33.4061 | 39.0237 | 399.8623 | 394.3581 | 28.079 | 30.0346 | 32.8573 | 35.1457 | 499.9228 | 1499.8445 | 0.11144 | 76.2481 | 0.79465 | 0.16765 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8693 | 0.011834 | 306.5561 | 310.7546 | 239.9751 | -1.5935 | 5.1685 | 67.7856 | 37.751 | 35.5053 | 5.8084 | 0.29813 | 2.2901 | 3.5183 | 0.18791 | 17.3604 | 0.57735 | 44.8667 | 387.0428 | 0.03204
53 | 01:05:38 | 21060206 | 1 | 0 | 27.3655 | 0.31668 | 229.1366 | 11.839 | 2.8794 | 33.4098 | 0.85175 | 2.5504 | 1 | 5.1008 | 37.6065 | 33.4098 | 39.0233 | 399.8486 | 394.3907 | 28.0798 | 30.0363 | 32.8549 | 35.1441 | 499.9291 | 1499.8403 | 0.17664 | 76.2479 | 0.79465 | 0.16765 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8694 | 0.011839 | 306.5598 | 310.7565 | 239.9744 | -1.5954 | 5.1696 | 67.8001 | 37.7639 | 35.5082 | 5.8093 | 0.29816 | 2.2902 | 3.5191 | 0.18793 | 17.4712 | 0.58099 | 44.8597 | 387.1479 | 0.031709
54 | 01:05:39 | 21060206 | 1 | 0 | 27.4787 | 0.31627 | 228.3708 | 11.83 | 2.8807 | 33.4146 | 0.85175 | 2.5504 | 1 | 5.1008 | 37.6086 | 33.4146 | 39.0232 | 399.8676 | 394.3911 | 28.0822 | 30.0371 | 32.8539 | 35.1411 | 499.9382 | 1499.8032 | 0.15767 | 76.248 | 0.79465 | 0.16765 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8695 | 0.01183 | 306.5646 | 310.7586 | 239.9685 | -1.5929 | 5.171 | 67.8179 | 37.7808 | 35.5116 | 5.8104 | 0.2978 | 2.2903 | 3.5201 | 0.1877 | 17.4128 | 0.57905 | 44.8448 | 387.1184 | 0.031832
55 | 01:05:39 | 21060206 | 1 | 0 | 27.4023 | 0.31625 | 228.7545 | 11.841 | 2.8835 | 33.4249 | 0.85175 | 2.5504 | 1 | 5.1008 | 37.6107 | 33.4249 | 39.0232 | 399.8736 | 394.4092 | 28.083 | 30.0398 | 32.851 | 35.14 | 499.931 | 1499.7732 | 0.15056 | 76.2479 | 0.79465 | 0.16765 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8694 | 0.011841 | 306.5749 | 310.7607 | 239.9637 | -1.597 | 5.174 | 67.8572 | 37.8174 | 35.5178 | 5.8124 | 0.29778 | 2.2905 | 3.5219 | 0.18769 | 17.442 | 0.57999 | 44.8218 | 387.1568 | 0.031724
56 | 01:05:40 | 21060206 | 1 | 0 | 27.3454 | 0.31628 | 229.0615 | 11.8515 | 2.8857 | 33.4333 | 0.85175 | 2.5504 | 1 | 5.1008 | 37.6129 | 33.4333 | 39.0233 | 399.8778 | 394.4224 | 28.0849 | 30.0435 | 32.8494 | 35.1402 | 499.9276 | 1499.8197 | 0.17545 | 76.2478 | 0.79465 | 0.16765 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8694 | 0.011852 | 306.5833 | 310.7629 | 239.9711 | -1.6007 | 5.1764 | 67.8896 | 37.8461 | 35.5231 | 5.8141 | 0.29782 | 2.2907 | 3.5233 | 0.18771 | 17.4654 | 0.58075 | 44.8056 | 387.1849 | 0.031645
57 | 01:05:41 | 21060206 | 1 | 0 | 27.6014 | 0.31583 | 227.519 | 11.8429 | 2.8875 | 33.4398 | 0.85175 | 2.5504 | 1 | 5.1008 | 37.6148 | 33.4398 | 39.0227 | 399.9073 | 394.4089 | 28.0874 | 30.0445 | 32.8489 | 35.1378 | 499.9276 | 1499.8284 | 0.10551 | 76.2477 | 0.79465 | 0.16765 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8694 | 0.011843 | 306.5898 | 310.7648 | 239.9725 | -1.5984 | 5.1783 | 67.914 | 37.8695 | 35.5273 | 5.8154 | 0.29741 | 2.2908 | 3.5246 | 0.18745 | 17.3478 | 0.57686 | 44.786 | 387.1037 | 0.031933
58 | 01:05:41 | 21060206 | 1 | 0 | 27.6762 | 0.31572 | 227.0732 | 11.8447 | 2.8888 | 33.4444 | 0.85175 | 2.5504 | 1 | 5.1008 | 37.6174 | 33.4444 | 39.0223 | 399.9155 | 394.4042 | 28.0876 | 30.0451 | 32.8442 | 35.1332 | 499.9263 | 1499.8691 | 0.14938 | 76.2474 | 0.79465 | 0.16765 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8694 | 0.011845 | 306.5944 | 310.7674 | 239.9791 | -1.5991 | 5.1796 | 67.9319 | 37.8869 | 35.5309 | 5.8166 | 0.29732 | 2.2909 | 3.5257 | 0.18739 | 17.3137 | 0.57574 | 44.7736 | 387.0793 | 0.032013
59 | 01:05:42 | 21060206 | 1 | 0 | 27.9352 | 0.31616 | 225.9164 | 11.864 | 2.8897 | 33.4491 | 0.85175 | 2.5504 | 1 | 5.1008 | 37.6192 | 33.4491 | 39.0213 | 399.9619 | 394.4052 | 28.09 | 30.0506 | 32.844 | 35.1363 | 499.9337 | 1499.8789 | 0.12092 | 76.2475 | 0.79465 | 0.16765 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8695 | 0.011864 | 306.5991 | 310.7692 | 239.9806 | -1.6052 | 5.181 | 67.9497 | 37.8992 | 35.5341 | 5.8176 | 0.2977 | 2.2913 | 3.5263 | 0.18764 | 17.2256 | 0.5728 | 44.7739 | 387.0117 | 0.032319
60 | 01:05:42 | 21060206 | 1 | 0 | 28.0954 | 0.3167 | 225.3002 | 11.8889 | 2.891 | 33.4542 | 0.85175 | 2.5504 | 1 | 5.1008 | 37.6213 | 33.4542 | 39.0205 | 399.9705 | 394.3848 | 28.0886 | 30.0533 | 32.8384 | 35.1354 | 499.9221 | 1499.9131 | 0.24422 | 76.2473 | 0.79465 | 0.16765 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8693 | 0.011889 | 306.6042 | 310.7713 | 239.9861 | -1.6131 | 5.1825 | 67.9694 | 37.9161 | 35.5378 | 5.8188 | 0.29819 | 2.2915 | 3.5273 | 0.18795 | 17.1785 | 0.57127 | 44.7702 | 386.9489 | 0.032507 | 27.7871 | 37.6069 | 33.4145 | 21060206 | 1 | 0 | 27.7871 | 0.31637 | 226.7958 | 11.8333 | 2.8806 | 33.4145 | 0.85175 | 2.5504 | 1 | 5.1008 | 37.6069 | 33.4145 | 39.023 | 399.8928 | 394.3634 | 28.0827 | 30.0382 | 32.8573 | 35.1454 | 499.9203 | 1499.8528 | 0.16281 | 76.2476 | 0.79465 | 0.16765 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8693 | 0.011833 | 306.5645 | 310.7569 | 239.9764 | -1.594 | 5.171 | 67.8183 | 37.78 | 35.5107 | 5.8101 | 0.29789 | 2.2903 | 3.5198 | 0.18776 | 17.2926 | 0.57509 | 44.8472 | 387.0091 | 0.0322
Remark= | "01:05:50 Coolers: Tblock -> 44.00 C"
Remark= | "01:09:34 Flow: Fixed -> 500 umol/s"
61 | 01:10:25 | 21060206 | 1 | 0 | 27.2739 | 0.36687 | 247.5516 | 13.8288 | 2.9009 | 35.7853 | 0.85175 | 2.5504 | 1 | 5.1008 | 42.0907 | 35.7853 | 44.0154 | 399.9508 | 394.375 | 37.0568 | 39.3202 | 34.11 | 36.1934 | 499.9379 | 1500.1902 | 0.069946 | 76.242 | 0.90806 | 0.015534 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8695 | 0.013829 | 308.9353 | 315.2407 | 240.0304 | -1.9974 | 5.8987 | 77.3682 | 38.048 | 38.938 | 7.0032 | 0.34225 | 2.9978 | 4.0054 | 0.21599 | 18.8738 | 0.62771 | 51.2793 | 387.1565 | 0.036125
62 | 01:10:26 | 21060206 | 1 | 0 | 27.2739 | 0.36687 | 247.5516 | 13.8288 | 2.9009 | 35.7853 | 0.85175 | 2.5504 | 1 | 5.1008 | 42.0907 | 35.7853 | 44.0154 | 399.9508 | 394.375 | 37.0568 | 39.3202 | 34.11 | 36.1934 | 499.9379 | 1500.1902 | 0.069946 | 76.242 | 0.90806 | 0.015534 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8695 | 0.013829 | 308.9353 | 315.2407 | 240.0304 | -1.9974 | 5.8987 | 77.3682 | 38.048 | 38.938 | 7.0032 | 0.34225 | 2.9978 | 4.0054 | 0.21599 | 18.8738 | 0.62771 | 51.2793 | 387.1565 | 0.036125
63 | 01:10:26 | 21060206 | 1 | 0 | 27.079 | 0.3663 | 248.2407 | 13.8108 | 2.9013 | 35.7858 | 0.85175 | 2.5504 | 1 | 5.1008 | 42.092 | 35.7858 | 44.0149 | 399.9131 | 394.3716 | 37.0563 | 39.3168 | 34.1069 | 36.1875 | 499.9308 | 1500.2152 | 0.067575 | 76.2414 | 0.90806 | 0.015534 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8694 | 0.013811 | 308.9358 | 315.242 | 240.0344 | -1.9918 | 5.8988 | 77.3707 | 38.0539 | 38.9389 | 7.0036 | 0.34175 | 2.9976 | 4.006 | 0.21567 | 18.9262 | 0.62946 | 51.2683 | 387.2047 | 0.035854
64 | 01:10:27 | 21060206 | 1 | 0 | 27.1185 | 0.36626 | 248.0669 | 13.8088 | 2.9011 | 35.7858 | 0.85175 | 2.5504 | 1 | 5.1008 | 42.0934 | 35.7858 | 44.0155 | 399.9347 | 394.3865 | 37.0591 | 39.3193 | 34.1069 | 36.1871 | 499.9255 | 1500.224 | 0.046236 | 76.2411 | 0.90806 | 0.015534 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8694 | 0.013809 | 308.9358 | 315.2434 | 240.0358 | -1.991 | 5.8989 | 77.3712 | 38.0519 | 38.9396 | 7.0038 | 0.34172 | 2.9977 | 4.0061 | 0.21565 | 18.9129 | 0.62899 | 51.2708 | 387.2091 | 0.035908
65 | 01:10:27 | 21060206 | 1 | 0 | 26.8707 | 0.36647 | 249.275 | 13.8146 | 2.9008 | 35.785 | 0.85175 | 2.5504 | 1 | 5.1008 | 42.0939 | 35.785 | 44.0153 | 399.9206 | 394.4139 | 37.0591 | 39.3203 | 34.106 | 36.187 | 499.9084 | 1500.1919 | 0.049792 | 76.2413 | 0.90806 | 0.015534 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8692 | 0.013815 | 308.935 | 315.2439 | 240.0307 | -1.9927 | 5.8986 | 77.3674 | 38.0471 | 38.9394 | 7.0038 | 0.34191 | 2.9978 | 4.0059 | 0.21577 | 19.005 | 0.63201 | 51.2765 | 387.3021 | 0.035575
66 | 01:10:28 | 21060206 | 1 | 0 | 26.9662 | 0.3664 | 248.8138 | 13.8115 | 2.9006 | 35.7846 | 0.85175 | 2.5504 | 1 | 5.1008 | 42.0945 | 35.7846 | 44.0152 | 399.925 | 394.4024 | 37.0598 | 39.3204 | 34.1054 | 36.1859 | 499.9135 | 1500.1848 | 0.097213 | 76.2411 | 0.90806 | 0.015534 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8692 | 0.013811 | 308.9346 | 315.2445 | 240.0296 | -1.9917 | 5.8985 | 77.366 | 38.0456 | 38.9396 | 7.0038 | 0.34184 | 2.9978 | 4.006 | 0.21573 | 18.9698 | 0.63086 | 51.277 | 387.2653 | 0.035705
67 | 01:10:28 | 21060206 | 1 | 0 | 27.348 | 0.36598 | 246.9268 | 13.7964 | 2.9006 | 35.7843 | 0.85175 | 2.5504 | 1 | 5.1008 | 42.0958 | 35.7843 | 44.0153 | 399.9484 | 394.3618 | 37.0611 | 39.3193 | 34.1044 | 36.1825 | 499.9072 | 1500.2059 | 0.13634 | 76.2414 | 0.90806 | 0.015534 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8691 | 0.013796 | 308.9343 | 315.2458 | 240.0329 | -1.9869 | 5.8984 | 77.3643 | 38.045 | 38.9401 | 7.004 | 0.34148 | 2.9978 | 4.0063 | 0.2155 | 18.8261 | 0.62614 | 51.2729 | 387.1236 | 0.036221
68 | 01:10:29 | 21060206 | 1 | 0 | 27.6519 | 0.36578 | 245.4811 | 13.7943 | 2.9016 | 35.7873 | 0.85175 | 2.5504 | 1 | 5.1008 | 42.0972 | 35.7873 | 44.016 | 399.9908 | 394.3526 | 37.0607 | 39.3186 | 34.1016 | 36.1792 | 499.9105 | 1500.2075 | 0.14582 | 76.2415 | 0.90806 | 0.015534 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8692 | 0.013794 | 308.9373 | 315.2472 | 240.0332 | -1.9864 | 5.8993 | 77.3769 | 38.0583 | 38.9422 | 7.0048 | 0.3413 | 2.9977 | 4.0071 | 0.21539 | 18.7158 | 0.62249 | 51.2617 | 387.034 | 0.036624
69 | 01:10:29 | 21060206 | 1 | 0 | 27.6802 | 0.36518 | 245.1612 | 13.775 | 2.902 | 35.7879 | 0.85175 | 2.5504 | 1 | 5.1008 | 42.0985 | 35.7879 | 44.0164 | 399.9973 | 394.3557 | 37.0619 | 39.3165 | 34.1003 | 36.1748 | 499.9174 | 1500.1781 | 0.097212 | 76.2414 | 0.90806 | 0.015534 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8693 | 0.013775 | 308.9379 | 315.2485 | 240.0285 | -1.9804 | 5.8995 | 77.3797 | 38.0631 | 38.9432 | 7.0052 | 0.34078 | 2.9976 | 4.0077 | 0.21505 | 18.6914 | 0.62168 | 51.252 | 387.0296 | 0.036655
70 | 01:10:30 | 21060206 | 1 | 0 | 27.4981 | 0.36513 | 245.9833 | 13.7712 | 2.9015 | 35.7864 | 0.85175 | 2.5504 | 1 | 5.1008 | 42.0995 | 35.7864 | 44.0169 | 399.9803 | 394.3699 | 37.062 | 39.3161 | 34.0985 | 36.1723 | 499.9214 | 1500.2019 | 0.086543 | 76.2412 | 0.90806 | 0.015534 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8693 | 0.013771 | 308.9364 | 315.2495 | 240.0323 | -1.979 | 5.899 | 77.3735 | 38.0574 | 38.943 | 7.0051 | 0.34074 | 2.9975 | 4.0076 | 0.21503 | 18.7541 | 0.62374 | 51.2551 | 387.0921 | 0.03641
71 | 01:10:30 | 21060206 | 1 | 0 | 27.6753 | 0.36547 | 245.298 | 13.7851 | 2.9019 | 35.7881 | 0.85175 | 2.5504 | 1 | 5.1008 | 42.1005 | 35.7881 | 44.0176 | 400.0177 | 394.3763 | 37.0619 | 39.3182 | 34.0967 | 36.1725 | 499.9268 | 1500.1602 | 0.091284 | 76.2412 | 0.90806 | 0.015534 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8694 | 0.013785 | 308.9381 | 315.2505 | 240.0256 | -1.9834 | 5.8996 | 77.3806 | 38.0623 | 38.9443 | 7.0056 | 0.34104 | 2.9977 | 4.0079 | 0.21522 | 18.7018 | 0.62199 | 51.2561 | 387.0515 | 0.03665
72 | 01:10:31 | 21060206 | 1 | 0 | 27.7605 | 0.36574 | 244.971 | 13.8058 | 2.9043 | 35.7957 | 0.85175 | 2.5504 | 1 | 5.1008 | 42.1013 | 35.7957 | 44.0177 | 400.0212 | 394.3641 | 37.0598 | 39.3195 | 34.0935 | 36.1723 | 499.9449 | 1500.1884 | 0.10314 | 76.2416 | 0.90806 | 0.015534 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8696 | 0.013806 | 308.9457 | 315.2513 | 240.0301 | -1.9903 | 5.9021 | 77.4128 | 38.0933 | 38.9485 | 7.0072 | 0.34127 | 2.9978 | 4.0094 | 0.21536 | 18.677 | 0.62118 | 51.2382 | 387.0168 | 0.036753
73 | 01:10:31 | 21060206 | 1 | 0 | 27.9008 | 0.36528 | 244.1327 | 13.8047 | 2.9074 | 35.8046 | 0.85175 | 2.5504 | 1 | 5.1008 | 42.1025 | 35.8046 | 44.0181 | 400.0034 | 394.3226 | 37.0578 | 39.3172 | 34.0895 | 36.1679 | 499.9532 | 1500.2096 | 0.085357 | 76.2414 | 0.90806 | 0.015534 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8697 | 0.013805 | 308.9546 | 315.2525 | 240.0335 | -1.9906 | 5.905 | 77.4508 | 38.1336 | 38.9535 | 7.0091 | 0.34087 | 2.9976 | 4.0115 | 0.21511 | 18.613 | 0.61912 | 51.2056 | 386.9382 | 0.036923
74 | 01:10:32 | 21060206 | 1 | 0 | 27.747 | 0.36454 | 244.5741 | 13.789 | 2.9096 | 35.8115 | 0.85175 | 2.5504 | 1 | 5.1008 | 42.1036 | 35.8115 | 44.019 | 399.9827 | 394.3291 | 37.0604 | 39.3172 | 34.09 | 36.1659 | 499.9497 | 1500.2234 | 0.068759 | 76.2418 | 0.90806 | 0.015534 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8696 | 0.013789 | 308.9615 | 315.2536 | 240.0357 | -1.9862 | 5.9072 | 77.4798 | 38.1626 | 38.9575 | 7.0106 | 0.34022 | 2.9976 | 4.013 | 0.2147 | 18.6468 | 0.62023 | 51.1794 | 386.9854 | 0.036696
75 | 01:10:32 | 21060206 | 1 | 0 | 27.5633 | 0.36492 | 245.5322 | 13.8086 | 2.9108 | 35.8156 | 0.85175 | 2.5504 | 1 | 5.1008 | 42.1045 | 35.8156 | 44.0197 | 399.9659 | 394.3423 | 37.0592 | 39.3192 | 34.0872 | 36.166 | 499.9536 | 1500.2572 | 0.026081 | 76.2413 | 0.90806 | 0.015534 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8697 | 0.013809 | 308.9656 | 315.2545 | 240.0411 | -1.9925 | 5.9085 | 77.4978 | 38.1786 | 38.96 | 7.0115 | 0.34056 | 2.9978 | 4.0138 | 0.21491 | 18.7197 | 0.62264 | 51.1732 | 387.0472 | 0.036443 | 27.4272 | 42.0972 | 35.7915 | 21060206 | 1 | 0 | 27.4272 | 0.36581 | 246.504 | 13.8022 | 2.903 | 35.7915 | 0.85175 | 2.5504 | 1 | 5.1008 | 42.0972 | 35.7915 | 44.0166 | 399.9668 | 394.3666 | 37.0595 | 39.3186 | 34.1004 | 36.1792 | 499.9292 | 1500.2019 | 0.082749 | 76.2415 | 0.90806 | 0.015534 | 0.91111 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8694 | 0.013802 | 308.9415 | 315.2472 | 240.0323 | -1.9892 | 5.9007 | 77.3952 | 38.0766 | 38.9444 | 7.0056 | 0.34133 | 2.9977 | 4.0079 | 0.21541 | 18.7938 | 0.62506 | 51.2497 | 387.1075 | 0.036311
Remark= | "01:10:45 Coolers: Tblock -> 49.00 C"
Remark= | "01:16:16 Flow: Fixed -> 500 umol/s"
Remark= | "01:17:21 Coolers: Tblock -> 47.11 C"
Remark= | "01:19:26 Flow: Fixed -> 500 umol/s"
76 | 01:19:53 | 21060206 | 1 | 0 | 23.9977 | 0.38619 | 266.3496 | 15.4469 | 3.0663 | 37.5519 | 0.85175 | 2.5504 | 1 | 5.1008 | 45.0701 | 37.5519 | 47.1433 | 399.8721 | 394.7444 | 42.4968 | 45.0102 | 33.4883 | 35.4689 | 499.9123 | 1499.4117 | 0.37345 | 76.2284 | 0.35951 | -0.060668 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8692 | 0.015447 | 310.7019 | 318.2201 | 239.9059 | -2.3647 | 6.4973 | 85.2349 | 40.2246 | 41.311 | 7.9489 | 0.35901 | 3.4311 | 4.5179 | 0.22667 | 20.3034 | 0.67474 | 53.0729 | 388.393 | 0.032792
77 | 01:19:54 | 21060206 | 1 | 0 | 24.0958 | 0.38595 | 265.8456 | 15.4372 | 3.0661 | 37.5517 | 0.85175 | 2.5504 | 1 | 5.1008 | 45.0708 | 37.5517 | 47.1428 | 399.8583 | 394.7148 | 42.4999 | 45.0117 | 33.4895 | 35.4687 | 499.9216 | 1499.6854 | 0.30587 | 76.2283 | 0.35951 | -0.060668 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8693 | 0.015437 | 310.7017 | 318.2208 | 239.9497 | -2.3613 | 6.4972 | 85.234 | 40.2223 | 41.3113 | 7.949 | 0.3588 | 3.4312 | 4.5179 | 0.22654 | 20.265 | 0.67351 | 53.0731 | 388.3374 | 0.032931
78 | 01:19:54 | 21060206 | 1 | 0 | 24.0958 | 0.38595 | 265.8456 | 15.4372 | 3.0661 | 37.5517 | 0.85175 | 2.5504 | 1 | 5.1008 | 45.0708 | 37.5517 | 47.1428 | 399.8583 | 394.7148 | 42.4999 | 45.0117 | 33.4895 | 35.4687 | 499.9216 | 1499.6854 | 0.30587 | 76.2283 | 0.35951 | -0.060668 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8693 | 0.015437 | 310.7017 | 318.2208 | 239.9497 | -2.3613 | 6.4972 | 85.234 | 40.2223 | 41.3113 | 7.949 | 0.3588 | 3.4312 | 4.5179 | 0.22654 | 20.265 | 0.67351 | 53.0731 | 388.3374 | 0.032931
79 | 01:19:54 | 21060206 | 1 | 0 | 23.8711 | 0.38583 | 266.7669 | 15.4266 | 3.0649 | 37.5484 | 0.85175 | 2.5504 | 1 | 5.1008 | 45.0719 | 37.5484 | 47.1423 | 399.8031 | 394.6986 | 42.5019 | 45.0119 | 33.489 | 35.4668 | 499.9229 | 1499.9454 | 0.3687 | 76.2281 | 0.35951 | -0.060668 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8693 | 0.015427 | 310.6984 | 318.2219 | 239.9913 | -2.3574 | 6.4961 | 85.219 | 40.2071 | 41.3102 | 7.9486 | 0.35869 | 3.4312 | 4.5174 | 0.22647 | 20.3351 | 0.67587 | 53.0819 | 388.3807 | 0.032626
80 | 01:19:55 | 21060206 | 1 | 0 | 23.8123 | 0.38578 | 266.9943 | 15.4309 | 3.0661 | 37.5523 | 0.85175 | 2.5504 | 1 | 5.1008 | 45.0727 | 37.5523 | 47.1422 | 399.7908 | 394.696 | 42.5036 | 45.0144 | 33.4889 | 35.4672 | 499.917 | 1500.214 | 0.32247 | 76.2279 | 0.35951 | -0.060668 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8693 | 0.015431 | 310.7023 | 318.2227 | 240.0342 | -2.3587 | 6.4974 | 85.2371 | 40.2227 | 41.3125 | 7.9495 | 0.35865 | 3.4314 | 4.5182 | 0.22645 | 20.3524 | 0.67646 | 53.0727 | 388.3937 | 0.032539
81 | 01:19:56 | 21060206 | 1 | 0 | 23.6302 | 0.38565 | 267.7352 | 15.436 | 3.068 | 37.558 | 0.85175 | 2.5504 | 1 | 5.1008 | 45.073 | 37.558 | 47.1425 | 399.769 | 394.7049 | 42.5044 | 45.016 | 33.489 | 35.4678 | 499.9208 | 1500.3274 | 0.36989 | 76.228 | 0.35951 | -0.060668 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8693 | 0.015436 | 310.708 | 318.223 | 240.0524 | -2.3606 | 6.4995 | 85.2637 | 40.2477 | 41.3155 | 7.9508 | 0.35854 | 3.4315 | 4.5194 | 0.22638 | 20.4089 | 0.67832 | 53.0564 | 388.4508 | 0.032275
82 | 01:19:56 | 21060206 | 1 | 0 | 23.5034 | 0.38557 | 268.2841 | 15.4336 | 3.0681 | 37.5589 | 0.85175 | 2.5504 | 1 | 5.1008 | 45.0736 | 37.5589 | 47.1418 | 399.778 | 394.7356 | 42.5068 | 45.018 | 33.49 | 35.4685 | 499.9254 | 1500.3315 | 0.32484 | 76.2281 | 0.35951 | -0.060668 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8694 | 0.015434 | 310.7089 | 318.2236 | 240.053 | -2.3598 | 6.4998 | 85.2674 | 40.2494 | 41.3162 | 7.9511 | 0.35847 | 3.4316 | 4.5195 | 0.22633 | 20.4508 | 0.67966 | 53.0555 | 388.5151 | 0.032096
83 | 01:19:57 | 21060206 | 1 | 0 | 23.8062 | 0.38585 | 267.0185 | 15.4524 | 3.0697 | 37.5639 | 0.85175 | 2.5504 | 1 | 5.1008 | 45.0733 | 37.5639 | 47.1405 | 399.7975 | 394.7022 | 42.5063 | 45.0206 | 33.4901 | 35.4711 | 499.9134 | 1500.376 | 0.29757 | 76.228 | 0.35951 | -0.060668 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8692 | 0.015452 | 310.7139 | 318.2233 | 240.0602 | -2.366 | 6.5016 | 85.2909 | 40.2703 | 41.3186 | 7.9521 | 0.35872 | 3.4318 | 4.5203 | 0.22649 | 20.3543 | 0.67651 | 53.0459 | 388.4015 | 0.032513
84 | 01:19:57 | 21060206 | 1 | 0 | 23.8748 | 0.38566 | 266.6686 | 15.4386 | 3.0685 | 37.5602 | 0.85175 | 2.5504 | 1 | 5.1008 | 45.0733 | 37.5602 | 47.139 | 399.79 | 394.684 | 42.5076 | 45.0196 | 33.4911 | 35.4703 | 499.9168 | 1500.373 | 0.22762 | 76.2283 | 0.35951 | -0.060668 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8693 | 0.015439 | 310.7102 | 318.2233 | 240.0597 | -2.3615 | 6.5002 | 85.2734 | 40.2537 | 41.3168 | 7.9513 | 0.35855 | 3.4318 | 4.5196 | 0.22638 | 20.3277 | 0.67565 | 53.0543 | 388.3651 | 0.032615
85 | 01:19:58 | 21060206 | 1 | 0 | 23.9147 | 0.38511 | 266.3381 | 15.4272 | 3.0702 | 37.5652 | 0.85175 | 2.5504 | 1 | 5.1008 | 45.0738 | 37.5652 | 47.1381 | 399.7843 | 394.6724 | 42.51 | 45.0201 | 33.4921 | 35.4697 | 499.9242 | 1500.3533 | 0.19917 | 76.2281 | 0.35951 | -0.060668 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8693 | 0.015427 | 310.7152 | 318.2238 | 240.0565 | -2.3584 | 6.502 | 85.2968 | 40.2767 | 41.3195 | 7.9525 | 0.35807 | 3.4318 | 4.5207 | 0.22608 | 20.3025 | 0.67483 | 53.0352 | 388.343 | 0.03266
86 | 01:19:58 | 21060206 | 1 | 0 | 23.8321 | 0.38539 | 266.7648 | 15.4478 | 3.0722 | 37.572 | 0.85175 | 2.5504 | 1 | 5.1008 | 45.0739 | 37.572 | 47.1367 | 399.7902 | 394.6909 | 42.5125 | 45.026 | 33.4941 | 35.4743 | 499.921 | 1500.3708 | 0.25963 | 76.2283 | 0.35951 | -0.060668 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8693 | 0.015448 | 310.722 | 318.2239 | 240.0593 | -2.3653 | 6.5044 | 85.328 | 40.302 | 41.3229 | 7.9539 | 0.35832 | 3.4323 | 4.5217 | 0.22623 | 20.335 | 0.67588 | 53.0243 | 388.3833 | 0.032537
87 | 01:19:59 | 21060206 | 1 | 0 | 23.9986 | 0.38517 | 265.9828 | 15.4478 | 3.0738 | 37.5771 | 0.85175 | 2.5504 | 1 | 5.1008 | 45.0741 | 37.5771 | 47.1353 | 399.8156 | 394.688 | 42.5146 | 45.0281 | 33.4954 | 35.4756 | 499.9218 | 1500.3844 | 0.27149 | 76.2285 | 0.35951 | -0.060668 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8693 | 0.015448 | 310.7271 | 318.2241 | 240.0615 | -2.3657 | 6.5062 | 85.3514 | 40.3233 | 41.3256 | 7.9551 | 0.35812 | 3.4324 | 4.5226 | 0.22611 | 20.2755 | 0.67391 | 53.0098 | 388.3364 | 0.032759
88 | 01:19:59 | 21060206 | 1 | 0 | 24.3266 | 0.38511 | 264.5472 | 15.4434 | 3.0734 | 37.5763 | 0.85175 | 2.5504 | 1 | 5.1008 | 45.0736 | 37.5763 | 47.1328 | 399.8485 | 394.6654 | 42.5171 | 45.0298 | 33.4983 | 35.4779 | 499.9323 | 1500.3264 | 0.29283 | 76.2287 | 0.35951 | -0.060668 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8694 | 0.015443 | 310.7263 | 318.2236 | 240.0522 | -2.3644 | 6.5059 | 85.3474 | 40.3176 | 41.3249 | 7.9548 | 0.35807 | 3.4326 | 4.5222 | 0.22608 | 20.1661 | 0.67031 | 53.0139 | 388.227 | 0.033219
89 | 01:20:00 | 21060206 | 1 | 0 | 24.5096 | 0.38572 | 263.9157 | 15.4544 | 3.0711 | 37.5704 | 0.85175 | 2.5504 | 1 | 5.1008 | 45.0736 | 37.5704 | 47.1301 | 399.8577 | 394.6428 | 42.5175 | 45.0319 | 33.4988 | 35.4799 | 499.939 | 1500.3022 | 0.13041 | 76.2292 | 0.35951 | -0.060668 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8695 | 0.015454 | 310.7204 | 318.2236 | 240.0484 | -2.3673 | 6.5038 | 85.3195 | 40.2876 | 41.322 | 7.9535 | 0.3586 | 3.4327 | 4.5208 | 0.22641 | 20.1181 | 0.66875 | 53.0393 | 388.1559 | 0.033491
90 | 01:20:00 | 21060206 | 1 | 0 | 24.5178 | 0.38581 | 263.8917 | 15.4553 | 3.0706 | 37.569 | 0.85175 | 2.5504 | 1 | 5.1008 | 45.0733 | 37.569 | 47.128 | 399.8428 | 394.6264 | 42.5172 | 45.0318 | 33.4992 | 35.4805 | 499.9241 | 1500.2932 | 0.11855 | 76.2294 | 0.35951 | -0.060668 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8693 | 0.015455 | 310.719 | 318.2233 | 240.0469 | -2.3675 | 6.5034 | 85.3131 | 40.2813 | 41.3211 | 7.9532 | 0.35868 | 3.4327 | 4.5204 | 0.22646 | 20.1163 | 0.66871 | 53.0441 | 388.1373 | 0.033507 | 23.9858 | 45.0728 | 37.5618 | 21060206 | 1 | 0 | 23.9858 | 0.38565 | 266.1966 | 15.441 | 3.069 | 37.5618 | 0.85175 | 2.5504 | 1 | 5.1008 | 45.0728 | 37.5618 | 47.1385 | 399.8171 | 394.6921 | 42.5078 | 45.0201 | 33.4922 | 35.4717 | 499.9223 | 1500.1587 | 0.27789 | 76.2284 | 0.35951 | -0.060668 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.8693 | 0.015441 | 310.7118 | 318.2228 | 240.0254 | -2.3627 | 6.5008 | 85.2807 | 40.2606 | 41.3173 | 7.9516 | 0.35854 | 3.4318 | 4.5198 | 0.22638 | 20.2917 | 0.67444 | 53.0502 | 388.3438 | 0.032766
Remark= | "01:20:15 Coolers: Tblock -> 50.00 C"