## stm-as6_
OPEN 6.2.4
Mon Jun 22 2015 13:49:35
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "13:50:38 CO2 Mixer: CO2R -> 400 uml"
Remark= | "13:50:46 Coolers: Tblock -> 22.70 C"
Remark= | "13:57:16 Flow: Fixed -> 500 umol/s"
Remark= | "13:57:44 Flow: Fixed -> 500 umol/s"
Remark= | "14:00:10 Flow: Fixed -> 500 umol/s"
1 | 14:01:40 | 730.5 | 0 | 10.7219 | 0.12056 | 235.1916 | 4.498 | 2.8094 | 28.2619 | 0.53607 | 2.6197 | 1 | 5.2394 | 24.6197 | 28.2619 | 22.6944 | 400.9514 | 399.6089 | 13.2485 | 13.7242 | 32.4168 | 33.5809 | 499.8788 | 1500.254 | 263.676 | 76.0548 | 1.5743 | 0.41905 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3248 | 0.004498 | 301.4119 | 297.7697 | 240.0406 | -0.003606 | 3.8532 | 50.6631 | 36.9389 | 26.4408 | 3.4633 | 0.11785 | 1.0438 | 2.4195 | 0.073895 | 17.8875 | 0.58855 | 26.3584 | 396.8462 | 0.0071215
2 | 14:01:41 | 730.5 | 0 | 10.7219 | 0.12056 | 235.1916 | 4.498 | 2.8094 | 28.2619 | 0.53607 | 2.6197 | 1 | 5.2394 | 24.6197 | 28.2619 | 22.6944 | 400.9514 | 399.6089 | 13.2485 | 13.7242 | 32.4168 | 33.5809 | 499.8788 | 1500.254 | 263.676 | 76.0548 | 1.5743 | 0.41905 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3248 | 0.004498 | 301.4119 | 297.7697 | 240.0406 | -0.003606 | 3.8532 | 50.6631 | 36.9389 | 26.4408 | 3.4633 | 0.11785 | 1.0438 | 2.4195 | 0.073895 | 17.8875 | 0.58855 | 26.3584 | 396.8462 | 0.0071215
3 | 14:01:41 | 731 | 0 | 10.7391 | 0.12036 | 234.7192 | 4.494 | 2.8113 | 28.2707 | 0.53607 | 2.6197 | 1 | 5.2394 | 24.6202 | 28.2707 | 22.6955 | 400.9488 | 399.6045 | 13.2491 | 13.7244 | 32.4172 | 33.5802 | 499.8863 | 1500.3644 | 263.8881 | 76.0548 | 1.5743 | 0.41905 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3249 | 0.004494 | 301.4207 | 297.7702 | 240.0583 | -0.0029289 | 3.8551 | 50.689 | 36.9647 | 26.4455 | 3.4642 | 0.11766 | 1.0438 | 2.4204 | 0.073775 | 17.8515 | 0.58738 | 26.341 | 396.8374 | 0.0071283
4 | 14:01:42 | 731 | 0 | 10.7391 | 0.12036 | 234.7192 | 4.494 | 2.8113 | 28.2707 | 0.53607 | 2.6197 | 1 | 5.2394 | 24.6202 | 28.2707 | 22.6955 | 400.9488 | 399.6045 | 13.2491 | 13.7244 | 32.4172 | 33.5802 | 499.8863 | 1500.3644 | 263.8881 | 76.0548 | 1.5743 | 0.41905 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3249 | 0.004494 | 301.4207 | 297.7702 | 240.0583 | -0.0029289 | 3.8551 | 50.689 | 36.9647 | 26.4455 | 3.4642 | 0.11766 | 1.0438 | 2.4204 | 0.073775 | 17.8515 | 0.58738 | 26.341 | 396.8374 | 0.0071283
5 | 14:01:42 | 731.5 | 0 | 10.9746 | 0.12103 | 232.3728 | 4.5199 | 2.8123 | 28.2755 | 0.53607 | 2.6197 | 1 | 5.2394 | 24.6203 | 28.2755 | 22.6962 | 400.9521 | 399.5815 | 13.2478 | 13.7259 | 32.4138 | 33.5835 | 499.869 | 1500.4303 | 263.3851 | 76.0546 | 1.5743 | 0.41905 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3246 | 0.0045199 | 301.4255 | 297.7703 | 240.0688 | -0.011037 | 3.8562 | 50.7034 | 36.9775 | 26.4479 | 3.4647 | 0.1183 | 1.0439 | 2.4208 | 0.074175 | 17.673 | 0.58154 | 26.3447 | 396.7537 | 0.0072872
6 | 14:01:43 | 732 | 0 | 11.4505 | 0.12205 | 227.3725 | 4.5559 | 2.8115 | 28.273 | 0.53607 | 2.6197 | 1 | 5.2394 | 24.6207 | 28.273 | 22.6962 | 400.9927 | 399.5695 | 13.2471 | 13.7289 | 32.4114 | 33.5904 | 499.876 | 1500.4836 | 262.7141 | 76.0549 | 1.5743 | 0.41905 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3248 | 0.0045559 | 301.423 | 297.7707 | 240.0774 | -0.021584 | 3.8557 | 50.6957 | 36.9668 | 26.4469 | 3.4645 | 0.11927 | 1.0442 | 2.4204 | 0.07479 | 17.2928 | 0.56904 | 26.3692 | 396.6191 | 0.0076128
7 | 14:01:43 | 732.5 | 0 | 11.0177 | 0.12211 | 233.0922 | 4.5587 | 2.8118 | 28.2743 | 0.53607 | 2.6197 | 1 | 5.2394 | 24.6197 | 28.2743 | 22.6968 | 400.9813 | 399.6043 | 13.247 | 13.7291 | 32.413 | 33.5929 | 499.8491 | 1500.543 | 261.8365 | 76.0546 | 1.5743 | 0.41905 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3243 | 0.0045587 | 301.4243 | 297.7697 | 240.0869 | -0.022537 | 3.8559 | 50.6996 | 36.9705 | 26.447 | 3.4645 | 0.11933 | 1.0442 | 2.4204 | 0.074828 | 17.7277 | 0.58331 | 26.3683 | 396.7654 | 0.0073221
8 | 14:01:44 | 733 | 0 | 10.7726 | 0.12213 | 236.2997 | 4.56 | 2.8122 | 28.2758 | 0.53607 | 2.6197 | 1 | 5.2394 | 24.62 | 28.2758 | 22.6971 | 400.9683 | 399.6175 | 13.2455 | 13.7278 | 32.409 | 33.5892 | 499.8239 | 1500.4769 | 260.6624 | 76.0549 | 1.5743 | 0.41905 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3238 | 0.00456 | 301.4258 | 297.77 | 240.0763 | -0.023112 | 3.8563 | 50.7039 | 36.9761 | 26.4479 | 3.4647 | 0.11935 | 1.0441 | 2.4207 | 0.074839 | 17.9717 | 0.59131 | 26.3634 | 396.8417 | 0.0071566
9 | 14:01:44 | 733.5 | 0 | 10.7376 | 0.12246 | 237.1208 | 4.5697 | 2.8109 | 28.2702 | 0.53607 | 2.6197 | 1 | 5.2394 | 24.6201 | 28.2702 | 22.6969 | 400.9628 | 399.6152 | 13.2448 | 13.7281 | 32.4071 | 33.5898 | 499.8097 | 1500.4869 | 259.5872 | 76.055 | 1.5743 | 0.41905 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3235 | 0.0045697 | 301.4202 | 297.7701 | 240.0779 | -0.02557 | 3.855 | 50.6875 | 36.9593 | 26.4452 | 3.4642 | 0.11966 | 1.0441 | 2.4201 | 0.075033 | 18.0342 | 0.59337 | 26.378 | 396.8485 | 0.0071372
10 | 14:01:45 | 734 | 0 | 11.4943 | 0.12325 | 228.2537 | 4.5954 | 2.809 | 28.2621 | 0.53607 | 2.6197 | 1 | 5.2394 | 24.6201 | 28.2621 | 22.6971 | 401.0111 | 399.5813 | 13.2436 | 13.7297 | 32.4043 | 33.5937 | 499.7865 | 1500.4771 | 258.8517 | 76.055 | 1.5743 | 0.41905 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3231 | 0.0045954 | 301.4121 | 297.7701 | 240.0763 | -0.032653 | 3.8532 | 50.6634 | 36.9337 | 26.4411 | 3.4633 | 0.12042 | 1.0442 | 2.4191 | 0.07551 | 17.3598 | 0.57123 | 26.4059 | 396.6196 | 0.0076526
11 | 14:01:45 | 734.5 | 0 | 11.461 | 0.12417 | 229.7604 | 4.6268 | 2.8077 | 28.2571 | 0.53607 | 2.6197 | 1 | 5.2394 | 24.6199 | 28.2571 | 22.6971 | 401.0057 | 399.578 | 13.242 | 13.7314 | 32.4009 | 33.5986 | 499.7756 | 1500.4319 | 258.1573 | 76.0558 | 1.5743 | 0.41905 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3229 | 0.0046268 | 301.4071 | 297.7699 | 240.0691 | -0.041779 | 3.8521 | 50.6482 | 36.9167 | 26.4385 | 3.4628 | 0.1213 | 1.0444 | 2.4185 | 0.076063 | 17.4746 | 0.57501 | 26.4306 | 396.6249 | 0.0076375
12 | 14:01:46 | 735 | 0 | 12.0476 | 0.12471 | 222.9123 | 4.6435 | 2.806 | 28.2495 | 0.53607 | 2.6197 | 1 | 5.2394 | 24.6202 | 28.2495 | 22.6973 | 401.0428 | 399.5515 | 13.2403 | 13.7316 | 32.3964 | 33.5983 | 499.7658 | 1500.4154 | 257.3593 | 76.0558 | 1.5743 | 0.41905 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3227 | 0.0046435 | 301.3995 | 297.7702 | 240.0665 | -0.046186 | 3.8504 | 50.6257 | 36.8941 | 26.4348 | 3.4621 | 0.12181 | 1.0444 | 2.4177 | 0.076386 | 16.9538 | 0.55791 | 26.4513 | 396.4473 | 0.0080383
13 | 14:01:46 | 735.5 | 0 | 12.0133 | 0.12455 | 223.1789 | 4.6345 | 2.8042 | 28.241 | 0.53607 | 2.6197 | 1 | 5.2394 | 24.6199 | 28.241 | 22.6975 | 401.052 | 399.5648 | 13.2401 | 13.7304 | 32.3963 | 33.596 | 499.7632 | 1500.3783 | 257.0502 | 76.056 | 1.5743 | 0.41905 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3227 | 0.0046345 | 301.391 | 297.7699 | 240.0605 | -0.042864 | 3.8485 | 50.6006 | 36.8702 | 26.4304 | 3.4612 | 0.12166 | 1.0443 | 2.4169 | 0.076289 | 16.9741 | 0.55856 | 26.4613 | 396.4694 | 0.0080179
14 | 14:01:47 | 736 | 0 | 12.3748 | 0.12448 | 218.4845 | 4.6314 | 2.8037 | 28.2382 | 0.53607 | 2.6197 | 1 | 5.2394 | 24.6195 | 28.2382 | 22.6973 | 401.0692 | 399.5432 | 13.2388 | 13.7287 | 32.394 | 33.5929 | 499.7515 | 1500.2587 | 257.2266 | 76.0561 | 1.5743 | 0.41905 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3224 | 0.0046314 | 301.3882 | 297.7695 | 240.0414 | -0.04185 | 3.8479 | 50.5923 | 36.8636 | 26.4289 | 3.4608 | 0.12159 | 1.0442 | 2.4167 | 0.076251 | 16.6171 | 0.54684 | 26.462 | 396.3547 | 0.0082618
15 | 14:01:47 | 736.5 | 0 | 12.496 | 0.12438 | 216.8069 | 4.6273 | 2.8035 | 28.2371 | 0.53607 | 2.6197 | 1 | 5.2394 | 24.6204 | 28.2371 | 22.6973 | 401.0755 | 399.5368 | 13.2384 | 13.728 | 32.3914 | 33.5892 | 499.7626 | 1500.2145 | 257.8898 | 76.0563 | 1.5743 | 0.41905 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3226 | 0.0046273 | 301.3871 | 297.7704 | 240.0343 | -0.040504 | 3.8476 | 50.589 | 36.8611 | 26.4288 | 3.4608 | 0.1215 | 1.0441 | 2.4167 | 0.076189 | 16.4895 | 0.54265 | 26.461 | 396.317 | 0.0083432 | 11.3175 | 24.62 | 28.2613 | #DIV/0! | 733.1334 | 0 | 11.3175 | 0.12248 | 229.6984 | 4.5671 | 2.809 | 28.2613 | 0.53607 | 2.6197 | 1 | 5.2394 | 24.62 | 28.2613 | 22.6964 | 400.9943 | 399.5847 | 13.2447 | 13.7278 | 32.407 | 33.5891 | 499.8242 | 1500.3889 | 260.6566 | 76.0552 | 1.5743 | 0.41905 | 0.88889 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3238 | 0.0045671 | 301.4113 | 297.77 | 240.0622 | -0.024183 | 3.853 | 50.6609 | 36.9331 | 26.4407 | 3.4633 | 0.11968 | 1.0441 | 2.4192 | 0.075046 | 17.4698 | 0.57484 | 26.393 | 396.6686 | 0.0075311
Remark= | "14:02:04 Coolers: Tblock -> 28.00 C"
Remark= | "14:04:06 Flow: Fixed -> 500 umol/s"
16 | 14:04:47 | 917 | 0 | 13.7803 | 0.10964 | 175.1715 | 4.2816 | 2.9184 | 30.2149 | 0.53607 | 2.6197 | 1 | 5.2394 | 28.6917 | 30.2149 | 27.938 | 399.7721 | 398.1113 | 17.8913 | 18.3421 | 34.4421 | 35.3099 | 499.8203 | 1499.8357 | 242.7396 | 76.0516 | 0.95557 | 0.38679 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3237 | 0.0042816 | 303.3649 | 301.8417 | 239.9737 | 0.22477 | 4.3133 | 56.7156 | 38.3735 | 29.4533 | 4.1285 | 0.10739 | 1.3949 | 2.7335 | 0.067317 | 13.3221 | 0.44001 | 31.1432 | 394.5606 | 0.010877
17 | 14:04:47 | 917 | 0 | 13.7803 | 0.10964 | 175.1715 | 4.2816 | 2.9184 | 30.2149 | 0.53607 | 2.6197 | 1 | 5.2394 | 28.6917 | 30.2149 | 27.938 | 399.7721 | 398.1113 | 17.8913 | 18.3421 | 34.4421 | 35.3099 | 499.8203 | 1499.8357 | 242.7396 | 76.0516 | 0.95557 | 0.38679 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3237 | 0.0042816 | 303.3649 | 301.8417 | 239.9737 | 0.22477 | 4.3133 | 56.7156 | 38.3735 | 29.4533 | 4.1285 | 0.10739 | 1.3949 | 2.7335 | 0.067317 | 13.3221 | 0.44001 | 31.1432 | 394.5606 | 0.010877
18 | 14:04:48 | 917.5 | 0 | 14.0469 | 0.10968 | 171.3739 | 4.2841 | 2.919 | 30.2173 | 0.53607 | 2.6197 | 1 | 5.2394 | 28.6918 | 30.2173 | 27.938 | 399.7708 | 398.0813 | 17.8901 | 18.3412 | 34.4396 | 35.308 | 499.7937 | 1499.8334 | 247.416 | 76.0517 | 0.95557 | 0.38679 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3232 | 0.0042841 | 303.3673 | 301.8418 | 239.9733 | 0.22381 | 4.3139 | 56.7235 | 38.3823 | 29.4545 | 4.1288 | 0.10743 | 1.3949 | 2.7339 | 0.067341 | 13.0333 | 0.4305 | 31.1372 | 394.4619 | 0.011088
19 | 14:04:48 | 918 | 0 | 14.1551 | 0.10994 | 170.3021 | 4.295 | 2.9194 | 30.2194 | 0.53607 | 2.6197 | 1 | 5.2394 | 28.6927 | 30.2194 | 27.9379 | 399.7856 | 398.084 | 17.8906 | 18.3428 | 34.4386 | 35.3092 | 499.7831 | 1499.8324 | 249.036 | 76.0514 | 0.95557 | 0.38679 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.323 | 0.004295 | 303.3694 | 301.8427 | 239.9732 | 0.22045 | 4.3144 | 56.7304 | 38.3876 | 29.456 | 4.1291 | 0.10768 | 1.395 | 2.7341 | 0.067502 | 12.9517 | 0.4278 | 31.1393 | 394.4367 | 0.011175
20 | 14:04:49 | 918.5 | 0 | 14.2585 | 0.11001 | 168.9108 | 4.2972 | 2.9193 | 30.2186 | 0.53607 | 2.6197 | 1 | 5.2394 | 28.6944 | 30.2186 | 27.9377 | 399.7676 | 398.0547 | 17.8902 | 18.3427 | 34.4342 | 35.3052 | 499.7657 | 1499.8663 | 251.2641 | 76.0511 | 0.95557 | 0.38679 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3227 | 0.0042972 | 303.3686 | 301.8444 | 239.9786 | 0.22001 | 4.3142 | 56.7282 | 38.3855 | 29.4565 | 4.1292 | 0.10775 | 1.395 | 2.7343 | 0.067541 | 12.8459 | 0.42434 | 31.1412 | 394.3808 | 0.011259
21 | 14:04:49 | 919 | 0 | 14.1391 | 0.10975 | 170.1695 | 4.2882 | 2.9198 | 30.221 | 0.53607 | 2.6197 | 1 | 5.2394 | 28.6954 | 30.221 | 27.9377 | 399.7699 | 398.0701 | 17.8923 | 18.3438 | 34.4363 | 35.3054 | 499.7627 | 1499.8691 | 254.1488 | 76.0512 | 0.95557 | 0.38679 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3226 | 0.0042882 | 303.371 | 301.8454 | 239.9791 | 0.22261 | 4.3148 | 56.736 | 38.3922 | 29.4582 | 4.1297 | 0.1075 | 1.3951 | 2.7346 | 0.067386 | 12.9416 | 0.42749 | 31.135 | 394.427 | 0.011161
22 | 14:04:50 | 919.5 | 0 | 14.0191 | 0.10995 | 172.2391 | 4.2955 | 2.9197 | 30.221 | 0.53607 | 2.6197 | 1 | 5.2394 | 28.6959 | 30.221 | 27.9373 | 399.7514 | 398.0643 | 17.8918 | 18.3441 | 34.4346 | 35.3051 | 499.7781 | 1499.8821 | 254.7823 | 76.0514 | 0.95557 | 0.38679 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3229 | 0.0042955 | 303.371 | 301.8459 | 239.9811 | 0.22047 | 4.3148 | 56.7356 | 38.3914 | 29.4584 | 4.1297 | 0.10769 | 1.3951 | 2.7346 | 0.067504 | 13.099 | 0.43269 | 31.1384 | 394.4521 | 0.011067
23 | 14:04:50 | 920 | 0 | 14.0069 | 0.10983 | 172.1715 | 4.2925 | 2.9207 | 30.2245 | 0.53607 | 2.6197 | 1 | 5.2394 | 28.6968 | 30.2245 | 27.9373 | 399.7161 | 398.0304 | 17.8914 | 18.3434 | 34.432 | 35.3019 | 499.772 | 1499.8663 | 253.5754 | 76.0515 | 0.95557 | 0.38679 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3228 | 0.0042925 | 303.3745 | 301.8468 | 239.9786 | 0.22113 | 4.3157 | 56.747 | 38.4036 | 29.4606 | 4.1302 | 0.10758 | 1.395 | 2.7352 | 0.067435 | 13.0939 | 0.43256 | 31.1286 | 394.4213 | 0.011055
24 | 14:04:51 | 920.5 | 0 | 13.4648 | 0.1094 | 179.2091 | 4.2779 | 2.922 | 30.2296 | 0.53607 | 2.6197 | 1 | 5.2394 | 28.6981 | 30.2296 | 27.9371 | 399.6695 | 398.0425 | 17.8916 | 18.3421 | 34.4297 | 35.2966 | 499.7544 | 1499.8613 | 251.2575 | 76.0514 | 0.95557 | 0.38679 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3225 | 0.0042779 | 303.3796 | 301.8481 | 239.9778 | 0.2252 | 4.317 | 56.7639 | 38.4218 | 29.4639 | 4.131 | 0.10716 | 1.3949 | 2.7361 | 0.067172 | 13.6291 | 0.45023 | 31.1103 | 394.5731 | 0.010616
25 | 14:04:51 | 921 | 0 | 13.1272 | 0.10847 | 182.4956 | 4.2453 | 2.9241 | 30.2372 | 0.53607 | 2.6197 | 1 | 5.2394 | 28.6992 | 30.2372 | 27.9384 | 399.6591 | 398.0697 | 17.8927 | 18.3397 | 34.4295 | 35.2897 | 499.7669 | 1499.8998 | 251.1066 | 76.0509 | 0.95557 | 0.38679 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3227 | 0.0042453 | 303.3872 | 301.8492 | 239.984 | 0.2345 | 4.3189 | 56.789 | 38.4493 | 29.4682 | 4.132 | 0.10627 | 1.3948 | 2.7373 | 0.066611 | 13.8789 | 0.45845 | 31.0787 | 394.6873 | 0.010337
26 | 14:04:52 | 921.5 | 0 | 12.9705 | 0.10741 | 182.9741 | 4.2059 | 2.9249 | 30.2399 | 0.53607 | 2.6197 | 1 | 5.2394 | 28.7007 | 30.2399 | 27.9388 | 399.6736 | 398.1027 | 17.8947 | 18.3376 | 34.4303 | 35.2824 | 499.7838 | 1499.8822 | 250.1437 | 76.051 | 0.95557 | 0.38679 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.323 | 0.0042059 | 303.3899 | 301.8507 | 239.9811 | 0.24623 | 4.3195 | 56.7975 | 38.4599 | 29.4703 | 4.1325 | 0.10525 | 1.3946 | 2.7379 | 0.065972 | 13.9154 | 0.45962 | 31.0561 | 394.7607 | 0.010204
27 | 14:04:52 | 922 | 0 | 12.6403 | 0.10624 | 185.8651 | 4.1612 | 2.9249 | 30.2388 | 0.53607 | 2.6197 | 1 | 5.2394 | 28.7024 | 30.2388 | 27.9382 | 399.6804 | 398.1469 | 17.8957 | 18.3339 | 34.429 | 35.2719 | 499.7968 | 1499.8702 | 248.9007 | 76.0512 | 0.95557 | 0.38679 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3233 | 0.0041612 | 303.3888 | 301.8524 | 239.9792 | 0.25988 | 4.3192 | 56.7939 | 38.46 | 29.4706 | 4.1326 | 0.10413 | 1.3943 | 2.7383 | 0.065269 | 14.1353 | 0.46683 | 31.0368 | 394.8899 | 0.0099347
28 | 14:04:53 | 922.5 | 0 | 12.1003 | 0.10519 | 192.1753 | 4.1225 | 2.926 | 30.2423 | 0.53607 | 2.6197 | 1 | 5.2394 | 28.7031 | 30.2423 | 27.9381 | 399.6855 | 398.2115 | 17.8973 | 18.3313 | 34.4308 | 35.2658 | 499.808 | 1499.8469 | 248.5852 | 76.0514 | 0.95557 | 0.38679 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3235 | 0.0041225 | 303.3923 | 301.8531 | 239.9755 | 0.27127 | 4.3201 | 56.8052 | 38.4738 | 29.4727 | 4.1331 | 0.10312 | 1.3941 | 2.739 | 0.064636 | 14.6152 | 0.4826 | 31.0119 | 395.0937 | 0.0094979
29 | 14:04:53 | 923 | 0 | 11.7257 | 0.10458 | 196.8007 | 4.0988 | 2.926 | 30.2415 | 0.53607 | 2.6197 | 1 | 5.2394 | 28.7042 | 30.2415 | 27.9376 | 399.6694 | 398.2367 | 17.8971 | 18.3287 | 34.4282 | 35.2584 | 499.8235 | 1499.8209 | 247.5063 | 76.0516 | 0.95557 | 0.38679 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3238 | 0.0040988 | 303.3915 | 301.8542 | 239.9713 | 0.27852 | 4.3199 | 56.8022 | 38.4736 | 29.4729 | 4.1331 | 0.10253 | 1.3939 | 2.7392 | 0.064264 | 14.967 | 0.49418 | 31.001 | 395.2154 | 0.0091977
30 | 14:04:54 | 923.5 | 0 | 11.6281 | 0.10359 | 196.6127 | 4.0615 | 2.9265 | 30.2431 | 0.53607 | 2.6197 | 1 | 5.2394 | 28.7059 | 30.2431 | 27.9378 | 399.6475 | 398.2268 | 17.8988 | 18.3265 | 34.4285 | 35.2511 | 499.8095 | 1499.8042 | 245.7775 | 76.0522 | 0.95557 | 0.38679 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3235 | 0.0040615 | 303.3931 | 301.8559 | 239.9687 | 0.28971 | 4.3203 | 56.8071 | 38.4806 | 29.4745 | 4.1335 | 0.10158 | 1.3938 | 2.7398 | 0.063666 | 14.9528 | 0.49372 | 30.9814 | 395.2307 | 0.009115 | 13.3229 | 28.6976 | 30.2283 | #DIV/0! | 920.0334 | 0 | 13.3229 | 0.10822 | 179.4428 | 4.2326 | 2.9219 | 30.2283 | 0.53607 | 2.6197 | 1 | 5.2394 | 28.6976 | 30.2283 | 27.9379 | 399.7194 | 398.1096 | 17.8931 | 18.3388 | 34.4337 | 35.2914 | 499.7893 | 1499.8538 | 249.2653 | 76.0514 | 0.95557 | 0.38679 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3231 | 0.0042326 | 303.3783 | 301.8476 | 239.9766 | 0.23889 | 4.3166 | 56.7594 | 38.4206 | 29.4629 | 4.1308 | 0.10603 | 1.3947 | 2.7361 | 0.066462 | 13.6469 | 0.45073 | 31.0922 | 394.6768 | 0.010497
Remark= | "14:05:03 Coolers: Tblock -> 33.00 C"
Remark= | "14:06:28 Flow: Fixed -> 500 umol/s"
31 | 14:06:44 | 1034 | 0 | 10.1576 | 0.09742 | 208.8728 | 3.9297 | 2.9906 | 31.9373 | 0.53607 | 2.6197 | 1 | 5.2394 | 32.5373 | 31.9373 | 33.0291 | 399.516 | 398.2587 | 22.83 | 23.2417 | 35.273 | 35.9091 | 499.8315 | 1498.9071 | 253.5053 | 76.0501 | 0.98987 | 0.331 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3239 | 0.0039297 | 305.0873 | 305.6873 | 239.8251 | 0.50304 | 4.7582 | 62.5663 | 39.3246 | 32.2373 | 4.8396 | 0.095642 | 1.7675 | 3.0721 | 0.059933 | 15.8848 | 0.52447 | 35.5285 | 395.6415 | 0.0091215
32 | 14:06:45 | 1034 | 0 | 10.1576 | 0.09742 | 208.8728 | 3.9297 | 2.9906 | 31.9373 | 0.53607 | 2.6197 | 1 | 5.2394 | 32.5373 | 31.9373 | 33.0291 | 399.516 | 398.2587 | 22.83 | 23.2417 | 35.273 | 35.9091 | 499.8315 | 1498.9071 | 253.5053 | 76.0501 | 0.98987 | 0.331 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3239 | 0.0039297 | 305.0873 | 305.6873 | 239.8251 | 0.50304 | 4.7582 | 62.5663 | 39.3246 | 32.2373 | 4.8396 | 0.095642 | 1.7675 | 3.0721 | 0.059933 | 15.8848 | 0.52447 | 35.5285 | 395.6415 | 0.0091215
33 | 14:06:45 | 1034.5 | 0 | 8.9561 | 0.096996 | 227.6786 | 3.9151 | 2.9923 | 31.9425 | 0.53607 | 2.6197 | 1 | 5.2394 | 32.5413 | 31.9425 | 33.0297 | 399.4164 | 398.2886 | 22.8279 | 23.2381 | 35.2618 | 35.8953 | 499.8506 | 1498.9281 | 252.0893 | 76.0498 | 0.98987 | 0.331 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3243 | 0.0039151 | 305.0925 | 305.6913 | 239.8285 | 0.50732 | 4.7596 | 62.585 | 39.347 | 32.2419 | 4.8409 | 0.095233 | 1.7672 | 3.0736 | 0.059677 | 17.3149 | 0.57164 | 35.5056 | 395.9809 | 0.0080304
34 | 14:06:46 | 1035 | 0 | 8.2423 | 0.096204 | 238.1814 | 3.8855 | 2.9936 | 31.946 | 0.53607 | 2.6197 | 1 | 5.2394 | 32.5445 | 31.946 | 33.0298 | 399.3539 | 398.304 | 22.8265 | 23.2335 | 35.253 | 35.8816 | 499.8382 | 1498.9823 | 251.104 | 76.0492 | 0.98987 | 0.331 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3241 | 0.0038855 | 305.096 | 305.6945 | 239.8372 | 0.51626 | 4.7605 | 62.5978 | 39.3643 | 32.2452 | 4.8418 | 0.09447 | 1.7669 | 3.0749 | 0.059197 | 18.1135 | 0.59799 | 35.4805 | 396.1802 | 0.0073815
35 | 14:06:46 | 1035.5 | 0 | 8.0555 | 0.096733 | 241.9376 | 3.9078 | 2.9946 | 31.9499 | 0.53607 | 2.6197 | 1 | 5.2394 | 32.5481 | 31.9499 | 33.0292 | 399.3346 | 398.3037 | 22.8242 | 23.2335 | 35.2423 | 35.8744 | 499.8205 | 1498.9633 | 250.1278 | 76.0496 | 0.98987 | 0.331 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3237 | 0.0039078 | 305.0999 | 305.6981 | 239.8341 | 0.50953 | 4.7615 | 62.6111 | 39.3776 | 32.249 | 4.8428 | 0.094979 | 1.7669 | 3.0759 | 0.059517 | 18.3992 | 0.60742 | 35.4784 | 396.2281 | 0.0072129
36 | 14:06:47 | 1036 | 0 | 7.9647 | 0.097439 | 244.3421 | 3.938 | 2.9963 | 31.9562 | 0.53607 | 2.6197 | 1 | 5.2394 | 32.5522 | 31.9562 | 33.0304 | 399.3402 | 398.3178 | 22.8215 | 23.234 | 35.2302 | 35.867 | 499.8422 | 1498.9623 | 250.4289 | 76.0499 | 0.98987 | 0.331 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3241 | 0.003938 | 305.1062 | 305.7022 | 239.834 | 0.50025 | 4.7633 | 62.6334 | 39.3994 | 32.2542 | 4.8442 | 0.09566 | 1.7669 | 3.0773 | 0.059945 | 18.5822 | 0.61344 | 35.4734 | 396.2656 | 0.0071299
37 | 14:06:48 | 1037 | 0 | 8.6165 | 0.099429 | 236.5435 | 4.0198 | 2.9984 | 31.965 | 0.53607 | 2.6197 | 1 | 5.2394 | 32.5597 | 31.965 | 33.0302 | 399.4144 | 398.3186 | 22.8165 | 23.2376 | 35.2076 | 35.8574 | 499.8582 | 1498.9694 | 250.7709 | 76.05 | 0.98987 | 0.331 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3244 | 0.0040198 | 305.115 | 305.7097 | 239.8351 | 0.4756 | 4.7656 | 62.6643 | 39.4268 | 32.2624 | 4.8464 | 0.097578 | 1.7672 | 3.0792 | 0.06115 | 17.9891 | 0.59386 | 35.4833 | 396.0985 | 0.0077188
38 | 14:06:48 | 1037.5 | 0 | 9.0374 | 0.10052 | 231.3873 | 4.0648 | 2.9997 | 31.9704 | 0.53607 | 2.6197 | 1 | 5.2394 | 32.5618 | 31.9704 | 33.0298 | 399.4493 | 398.3065 | 22.8145 | 23.2403 | 35.2005 | 35.8575 | 499.8699 | 1498.9445 | 250.5711 | 76.0502 | 0.98987 | 0.331 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3246 | 0.0040648 | 305.1204 | 305.7118 | 239.8311 | 0.46179 | 4.7671 | 62.6836 | 39.4433 | 32.2661 | 4.8475 | 0.098627 | 1.7674 | 3.0801 | 0.061809 | 17.597 | 0.58093 | 35.4886 | 395.9779 | 0.0080995
39 | 14:06:49 | 1038 | 0 | 9.6239 | 0.10157 | 223.7192 | 4.1084 | 3.001 | 31.9759 | 0.53607 | 2.6197 | 1 | 5.2394 | 32.5646 | 31.9759 | 33.03 | 399.5057 | 398.2982 | 22.8123 | 23.2426 | 35.1913 | 35.8552 | 499.8837 | 1498.9159 | 250.5082 | 76.05 | 0.98987 | 0.331 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3249 | 0.0041084 | 305.1259 | 305.7146 | 239.8265 | 0.44846 | 4.7686 | 62.703 | 39.4604 | 32.2702 | 4.8486 | 0.09964 | 1.7676 | 3.081 | 0.062445 | 17.0138 | 0.56169 | 35.4925 | 395.8184 | 0.0086297
40 | 14:06:49 | 1038.5 | 0 | 10.0375 | 0.102 | 217.9003 | 4.1269 | 3.0022 | 31.9805 | 0.53607 | 2.6197 | 1 | 5.2394 | 32.5674 | 31.9805 | 33.0301 | 399.5105 | 398.2578 | 22.811 | 23.2433 | 35.1841 | 35.8509 | 499.8917 | 1498.9225 | 251.2315 | 76.0501 | 0.98987 | 0.331 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.325 | 0.0041269 | 305.1305 | 305.7174 | 239.8276 | 0.44274 | 4.7698 | 62.7193 | 39.476 | 32.2739 | 4.8496 | 0.10005 | 1.7677 | 3.082 | 0.062703 | 16.5713 | 0.54713 | 35.4883 | 395.6715 | 0.0090028
41 | 14:06:50 | 1039 | 0 | 10.0262 | 0.10297 | 219.5133 | 4.1667 | 3.0029 | 31.9844 | 0.53607 | 2.6197 | 1 | 5.2394 | 32.5704 | 31.9844 | 33.0298 | 399.5099 | 398.2567 | 22.8102 | 23.2467 | 35.177 | 35.8501 | 499.8903 | 1498.7572 | 251.5257 | 76.0508 | 0.98987 | 0.331 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.325 | 0.0041667 | 305.1344 | 305.7204 | 239.8011 | 0.43053 | 4.7709 | 62.7327 | 39.486 | 32.2774 | 4.8506 | 0.10099 | 1.7679 | 3.0826 | 0.063293 | 16.6942 | 0.55119 | 35.497 | 395.6733 | 0.0089948
42 | 14:06:51 | 1039.5 | 0 | 10.2503 | 0.10301 | 216.1134 | 4.1701 | 3.0042 | 31.9889 | 0.53607 | 2.6197 | 1 | 5.2394 | 32.5731 | 31.9889 | 33.03 | 399.5091 | 398.2318 | 22.8095 | 23.2463 | 35.1706 | 35.844 | 499.8999 | 1498.7173 | 251.8694 | 76.0506 | 0.98987 | 0.331 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3252 | 0.0041701 | 305.1389 | 305.7231 | 239.7948 | 0.42933 | 4.7721 | 62.7488 | 39.5025 | 32.281 | 4.8516 | 0.10103 | 1.7679 | 3.0837 | 0.063317 | 16.4356 | 0.54268 | 35.4866 | 395.5907 | 0.009195
43 | 14:06:51 | 1040.5 | 0 | 10.0695 | 0.10295 | 218.7421 | 4.1716 | 3.007 | 31.9985 | 0.53607 | 2.6197 | 1 | 5.2394 | 32.5786 | 31.9985 | 33.0292 | 399.4686 | 398.2106 | 22.8058 | 23.2428 | 35.1539 | 35.8275 | 499.8844 | 1498.7159 | 248.3484 | 76.0505 | 0.98987 | 0.331 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3249 | 0.0041716 | 305.1485 | 305.7286 | 239.7945 | 0.42855 | 4.7747 | 62.7829 | 39.5401 | 32.2885 | 4.8536 | 0.10096 | 1.7676 | 3.086 | 0.063278 | 16.6354 | 0.54931 | 35.4584 | 395.6161 | 0.0090251
44 | 14:06:52 | 1041 | 0 | 9.8069 | 0.1022 | 221.7009 | 4.1443 | 3.0089 | 32.0052 | 0.53607 | 2.6197 | 1 | 5.2394 | 32.5812 | 32.0052 | 33.0303 | 399.4811 | 398.2525 | 22.8075 | 23.2415 | 35.1515 | 35.8206 | 499.8925 | 1498.6603 | 247.7371 | 76.0511 | 0.98987 | 0.331 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3251 | 0.0041443 | 305.1552 | 305.7312 | 239.7856 | 0.43633 | 4.7765 | 62.8062 | 39.5647 | 32.2932 | 4.8549 | 0.10024 | 1.7675 | 3.0874 | 0.062823 | 16.8606 | 0.55668 | 35.4325 | 395.7256 | 0.0087809
45 | 14:06:52 | 1041.5 | 0 | 10.0073 | 0.10175 | 217.9215 | 4.1283 | 3.0101 | 32.0089 | 0.53607 | 2.6197 | 1 | 5.2394 | 32.5846 | 32.0089 | 33.0301 | 399.4792 | 398.2296 | 22.8067 | 23.2392 | 35.1439 | 35.8102 | 499.8575 | 1498.6642 | 247.3112 | 76.0513 | 0.98987 | 0.331 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3244 | 0.0041283 | 305.1589 | 305.7346 | 239.7863 | 0.44112 | 4.7775 | 62.8194 | 39.5802 | 32.2968 | 4.8559 | 0.099813 | 1.7674 | 3.0885 | 0.062554 | 16.5732 | 0.54723 | 35.4149 | 395.6511 | 0.0089575 | 9.4006 | 32.5601 | 31.9698 | #DIV/0! | 1037.4334 | 0 | 9.4006 | 0.099907 | 224.8951 | 4.0404 | 2.9995 | 31.9698 | 0.53607 | 2.6197 | 1 | 5.2394 | 32.5601 | 31.9698 | 33.0298 | 399.4537 | 398.2729 | 22.8169 | 23.2402 | 35.2076 | 35.8607 | 499.8628 | 1498.8611 | 250.7089 | 76.0502 | 0.98987 | 0.331 | 0.88889 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3245 | 0.0040404 | 305.1198 | 305.7101 | 239.8178 | 0.46893 | 4.7669 | 62.6813 | 39.4412 | 32.265 | 4.8472 | 0.098037 | 1.7674 | 3.0797 | 0.061438 | 17.1033 | 0.56467 | 35.4825 | 395.8507 | 0.0084268
Remark= | "14:07:02 Coolers: Tblock -> 38.00 C"
Remark= | "14:09:04 Flow: Fixed -> 500 umol/s"
46 | 14:09:22 | 1193 | 0 | 9.2383 | 0.094275 | 216.569 | 4.3534 | 3.3939 | 34.6688 | 0.53607 | 2.6197 | 1 | 5.2394 | 36.9148 | 34.6688 | 38.1008 | 400.0361 | 398.8591 | 27.8403 | 28.294 | 33.7364 | 34.2861 | 499.8622 | 1499.6237 | 255.005 | 76.0465 | 0.75446 | 0.27365 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3245 | 0.0043534 | 307.8188 | 310.0648 | 239.9398 | 0.51958 | 5.5456 | 72.9239 | 44.6299 | 35.7918 | 5.9008 | 0.092608 | 2.1517 | 3.7491 | 0.058028 | 16.4693 | 0.54297 | 36.6764 | 396.4788 | 0.0085459
47 | 14:09:23 | 1193 | 0 | 9.2383 | 0.094275 | 216.569 | 4.3534 | 3.3939 | 34.6688 | 0.53607 | 2.6197 | 1 | 5.2394 | 36.9148 | 34.6688 | 38.1008 | 400.0361 | 398.8591 | 27.8403 | 28.294 | 33.7364 | 34.2861 | 499.8622 | 1499.6237 | 255.005 | 76.0465 | 0.75446 | 0.27365 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3245 | 0.0043534 | 307.8188 | 310.0648 | 239.9398 | 0.51958 | 5.5456 | 72.9239 | 44.6299 | 35.7918 | 5.9008 | 0.092608 | 2.1517 | 3.7491 | 0.058028 | 16.4693 | 0.54297 | 36.6764 | 396.4788 | 0.0085459
48 | 14:09:23 | 1193 | 0 | 9.2383 | 0.094275 | 216.569 | 4.3534 | 3.3939 | 34.6688 | 0.53607 | 2.6197 | 1 | 5.2394 | 36.9148 | 34.6688 | 38.1008 | 400.0361 | 398.8591 | 27.8403 | 28.294 | 33.7364 | 34.2861 | 499.8622 | 1499.6237 | 255.005 | 76.0465 | 0.75446 | 0.27365 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3245 | 0.0043534 | 307.8188 | 310.0648 | 239.9398 | 0.51958 | 5.5456 | 72.9239 | 44.6299 | 35.7918 | 5.9008 | 0.092608 | 2.1517 | 3.7491 | 0.058028 | 16.4693 | 0.54297 | 36.6764 | 396.4788 | 0.0085459
49 | 14:09:23 | 1193.5 | 0 | 9.7473 | 0.093777 | 207.2396 | 4.3317 | 3.3946 | 34.6703 | 0.53607 | 2.6197 | 1 | 5.2394 | 36.9171 | 34.6703 | 38.1008 | 400.0646 | 398.834 | 27.8399 | 28.2913 | 33.7316 | 34.2786 | 499.8639 | 1499.6462 | 255.0338 | 76.0465 | 0.75446 | 0.27365 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3245 | 0.0043317 | 307.8203 | 310.0671 | 239.9434 | 0.52618 | 5.5461 | 72.9298 | 44.6385 | 35.7937 | 5.9014 | 0.092128 | 2.1515 | 3.75 | 0.057726 | 15.7599 | 0.51961 | 36.6633 | 396.3225 | 0.0090171
50 | 14:09:24 | 1194 | 0 | 9.409 | 0.093898 | 213.089 | 4.3382 | 3.3954 | 34.6729 | 0.53607 | 2.6197 | 1 | 5.2394 | 36.9202 | 34.6729 | 38.1009 | 400.0349 | 398.8402 | 27.8394 | 28.2915 | 33.7252 | 34.2729 | 499.8654 | 1499.6519 | 255.1838 | 76.0464 | 0.75446 | 0.27365 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3246 | 0.0043382 | 307.8229 | 310.0702 | 239.9443 | 0.52429 | 5.5468 | 72.9404 | 44.6489 | 35.7965 | 5.9023 | 0.092245 | 2.1515 | 3.7509 | 0.057799 | 16.2046 | 0.53427 | 36.6588 | 396.4159 | 0.008701
51 | 14:09:24 | 1194.5 | 0 | 9.1979 | 0.093792 | 216.4197 | 4.3347 | 3.3964 | 34.6755 | 0.53607 | 2.6197 | 1 | 5.2394 | 36.9223 | 34.6755 | 38.1004 | 399.999 | 398.8272 | 27.8377 | 28.2894 | 33.719 | 34.2661 | 499.8663 | 1499.7137 | 255.2112 | 76.046 | 0.75446 | 0.27365 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3246 | 0.0043347 | 307.8255 | 310.0723 | 239.9542 | 0.52537 | 5.5477 | 72.9514 | 44.6619 | 35.7989 | 5.9031 | 0.092143 | 2.1513 | 3.7518 | 0.057735 | 16.4579 | 0.54264 | 36.6482 | 396.4572 | 0.0085025
52 | 14:09:25 | 1195 | 0 | 8.6478 | 0.093925 | 225.8289 | 4.342 | 3.3973 | 34.6789 | 0.53607 | 2.6197 | 1 | 5.2394 | 36.9246 | 34.6789 | 38.1003 | 399.9754 | 398.8623 | 27.8379 | 28.2903 | 33.7149 | 34.2629 | 499.8919 | 1499.6814 | 255.2965 | 76.0458 | 0.75446 | 0.27365 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3251 | 0.004342 | 307.8289 | 310.0746 | 239.949 | 0.52306 | 5.5487 | 72.9651 | 44.6748 | 35.8017 | 5.904 | 0.092271 | 2.1514 | 3.7527 | 0.057816 | 17.1733 | 0.56618 | 36.6431 | 396.6341 | 0.0079893
53 | 14:09:25 | 1195.5 | 0 | 8.3624 | 0.093807 | 230.391 | 4.3378 | 3.3982 | 34.6813 | 0.53607 | 2.6197 | 1 | 5.2394 | 36.9279 | 34.6813 | 38.1006 | 399.9259 | 398.8436 | 27.8363 | 28.2884 | 33.7069 | 34.2543 | 499.8867 | 1499.7053 | 255.1846 | 76.0456 | 0.75446 | 0.27365 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.325 | 0.0043378 | 307.8313 | 310.0779 | 239.9528 | 0.52442 | 5.5494 | 72.975 | 44.6867 | 35.8046 | 5.905 | 0.092157 | 2.1512 | 3.7538 | 0.057744 | 17.5202 | 0.57765 | 36.6332 | 396.6889 | 0.0077224
54 | 14:09:26 | 1196 | 0 | 8.4484 | 0.093325 | 228.1946 | 4.3166 | 3.3988 | 34.6823 | 0.53607 | 2.6197 | 1 | 5.2394 | 36.9298 | 34.6823 | 38.1 | 399.8919 | 398.8012 | 27.8357 | 28.2855 | 33.7026 | 34.2472 | 499.8737 | 1499.7367 | 254.8322 | 76.0454 | 0.75446 | 0.27365 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3247 | 0.0043166 | 307.8323 | 310.0798 | 239.9579 | 0.53088 | 5.5498 | 72.9795 | 44.694 | 35.806 | 5.9054 | 0.091692 | 2.151 | 3.7544 | 0.057452 | 17.3531 | 0.5722 | 36.6209 | 396.6244 | 0.0078005
55 | 14:09:26 | 1196.5 | 0 | 8.2756 | 0.093617 | 231.4778 | 4.3318 | 3.4002 | 34.6868 | 0.53607 | 2.6197 | 1 | 5.2394 | 36.9316 | 34.6868 | 38.0998 | 399.8384 | 398.7657 | 27.8341 | 28.2855 | 33.6971 | 34.2436 | 499.8523 | 1499.7378 | 254.325 | 76.0452 | 0.75446 | 0.27365 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3243 | 0.0043318 | 307.8368 | 310.0816 | 239.958 | 0.52612 | 5.5512 | 72.9981 | 44.7126 | 35.8092 | 5.9065 | 0.091974 | 2.151 | 3.7555 | 0.057629 | 17.6028 | 0.58049 | 36.6135 | 396.6333 | 0.0076393
56 | 14:09:27 | 1197 | 0 | 7.6679 | 0.094068 | 242.2072 | 4.3536 | 3.4012 | 34.69 | 0.53607 | 2.6197 | 1 | 5.2394 | 36.9335 | 34.69 | 38.0996 | 399.7394 | 398.7309 | 27.8306 | 28.2843 | 33.6895 | 34.2388 | 499.8436 | 1499.7343 | 254.046 | 76.0451 | 0.75446 | 0.27365 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3242 | 0.0043536 | 307.84 | 310.0835 | 239.9575 | 0.51945 | 5.5521 | 73.0109 | 44.7266 | 35.8117 | 5.9073 | 0.092409 | 2.1509 | 3.7564 | 0.057902 | 18.4187 | 0.60745 | 36.6098 | 396.7551 | 0.0070754
57 | 14:09:28 | 1197.5 | 0 | 7.6117 | 0.09443 | 243.5702 | 4.3718 | 3.4025 | 34.6942 | 0.53607 | 2.6197 | 1 | 5.2394 | 36.9363 | 34.6942 | 38.0992 | 399.689 | 398.6857 | 27.8289 | 28.2845 | 33.6822 | 34.2336 | 499.8491 | 1499.8022 | 253.994 | 76.045 | 0.75446 | 0.27365 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3243 | 0.0043718 | 307.8442 | 310.0863 | 239.9684 | 0.51397 | 5.5534 | 73.0281 | 44.7435 | 35.8153 | 5.9084 | 0.092759 | 2.1509 | 3.7575 | 0.058122 | 18.5223 | 0.61093 | 36.6044 | 396.7245 | 0.0070231
58 | 14:09:28 | 1198.5 | 0 | 8.5477 | 0.094268 | 227.7474 | 4.3691 | 3.4061 | 34.7058 | 0.53607 | 2.6197 | 1 | 5.2394 | 36.9414 | 34.7058 | 38.1006 | 399.7489 | 398.6454 | 27.8288 | 28.2842 | 33.6728 | 34.2238 | 499.8185 | 1499.7661 | 253.5873 | 76.0453 | 0.75446 | 0.27365 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3237 | 0.0043691 | 307.8558 | 310.0914 | 239.9626 | 0.51419 | 5.557 | 73.0749 | 44.7907 | 35.8236 | 5.9111 | 0.092601 | 2.1509 | 3.7603 | 0.058023 | 17.3191 | 0.5713 | 36.5747 | 396.4429 | 0.0078858
59 | 14:09:29 | 1199 | 0 | 8.8512 | 0.093917 | 222.1245 | 4.3555 | 3.4079 | 34.711 | 0.53607 | 2.6197 | 1 | 5.2394 | 36.9439 | 34.711 | 38.1011 | 399.7489 | 398.6134 | 27.828 | 28.2819 | 33.6672 | 34.2164 | 499.8049 | 1499.8475 | 253.1326 | 76.0451 | 0.75446 | 0.27365 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3234 | 0.0043555 | 307.861 | 310.0939 | 239.9756 | 0.51813 | 5.5586 | 73.0961 | 44.8142 | 35.8274 | 5.9124 | 0.092263 | 2.1507 | 3.7617 | 0.057811 | 16.8915 | 0.55724 | 36.5551 | 396.3327 | 0.0081637
60 | 14:09:29 | 1199.5 | 0 | 9.1938 | 0.094018 | 216.564 | 4.3615 | 3.409 | 34.7148 | 0.53607 | 2.6197 | 1 | 5.2394 | 36.9451 | 34.7148 | 38.1016 | 399.783 | 398.6104 | 27.8284 | 28.2829 | 33.6657 | 34.2156 | 499.8145 | 1499.7856 | 252.8284 | 76.0455 | 0.75446 | 0.27365 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3236 | 0.0043615 | 307.8648 | 310.0951 | 239.9657 | 0.51604 | 5.5598 | 73.1112 | 44.8283 | 35.8299 | 5.9132 | 0.09236 | 2.1508 | 3.7624 | 0.057872 | 16.4687 | 0.5433 | 36.5489 | 396.2415 | 0.0084803 | 8.7784 | 36.9279 | 34.6847 | #DIV/0! | 1195.7 | 0 | 8.7784 | 0.093978 | 223.6374 | 4.347 | 3.3993 | 34.6847 | 0.53607 | 2.6197 | 1 | 5.2394 | 36.9279 | 34.6847 | 38.1005 | 399.9032 | 398.7758 | 27.8351 | 28.2881 | 33.7056 | 34.2541 | 499.8545 | 1499.712 | 254.5114 | 76.0458 | 0.75446 | 0.27365 | 0.93333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3244 | 0.004347 | 307.8347 | 310.0779 | 239.9539 | 0.52139 | 5.5505 | 72.9888 | 44.7007 | 35.8063 | 5.9055 | 0.092322 | 2.1512 | 3.7543 | 0.057848 | 17.0067 | 0.56081 | 36.6269 | 396.514 | 0.0081092
Remark= | "14:09:49 Coolers: Tblock -> 43.00 C"
Remark= | "14:15:15 Flow: Fixed -> 500 umol/s"
61 | 14:15:40 | 1571 | 0 | 4.6736 | 0.048485 | 215.2538 | 2.8217 | 4.1818 | 38.724 | 0.53607 | 2.6197 | 1 | 5.2394 | 41.6445 | 38.724 | 42.9788 | 400.1772 | 399.5551 | 35.7629 | 36.0546 | 33.6081 | 33.8823 | 499.8548 | 1500.2881 | 239.5039 | 76.0285 | 2.082 | 0.24958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3244 | 0.0028217 | 311.874 | 314.7945 | 240.0461 | 1.0447 | 6.923 | 91.0574 | 55.0028 | 40.1842 | 7.4869 | 0.04804 | 2.7412 | 4.7458 | 0.030065 | 16.3654 | 0.53873 | 36.0873 | 398.3508 | 0.0042339
62 | 14:15:41 | 1571 | 0 | 4.6736 | 0.048485 | 215.2538 | 2.8217 | 4.1818 | 38.724 | 0.53607 | 2.6197 | 1 | 5.2394 | 41.6445 | 38.724 | 42.9788 | 400.1772 | 399.5551 | 35.7629 | 36.0546 | 33.6081 | 33.8823 | 499.8548 | 1500.2881 | 239.5039 | 76.0285 | 2.082 | 0.24958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3244 | 0.0028217 | 311.874 | 314.7945 | 240.0461 | 1.0447 | 6.923 | 91.0574 | 55.0028 | 40.1842 | 7.4869 | 0.04804 | 2.7412 | 4.7458 | 0.030065 | 16.3654 | 0.53873 | 36.0873 | 398.3508 | 0.0042339
63 | 14:15:41 | 1571.5 | 0 | 4.8403 | 0.048422 | 209.7529 | 2.8188 | 4.1828 | 38.7264 | 0.53607 | 2.6197 | 1 | 5.2394 | 41.6448 | 38.7264 | 42.9787 | 400.197 | 399.5571 | 35.7616 | 36.053 | 33.6063 | 33.8801 | 499.8508 | 1500.2517 | 233.0365 | 76.0283 | 2.082 | 0.24958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3243 | 0.0028188 | 311.8764 | 314.7948 | 240.0403 | 1.0453 | 6.9239 | 91.0697 | 55.0167 | 40.1856 | 7.4875 | 0.047978 | 2.741 | 4.7464 | 0.030026 | 15.9472 | 0.52496 | 36.0786 | 398.3099 | 0.0043843
64 | 14:15:42 | 1572 | 0 | 4.8585 | 0.048069 | 208.0803 | 2.7993 | 4.1842 | 38.73 | 0.53607 | 2.6197 | 1 | 5.2394 | 41.6458 | 38.73 | 42.9782 | 400.2451 | 399.604 | 35.7633 | 36.0527 | 33.6061 | 33.878 | 499.8358 | 1500.2308 | 229.9761 | 76.0282 | 2.082 | 0.24958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.324 | 0.0027993 | 311.88 | 314.7958 | 240.0369 | 1.0509 | 6.9252 | 91.0871 | 55.0344 | 40.1879 | 7.4884 | 0.047632 | 2.741 | 4.7474 | 0.029809 | 15.82 | 0.52072 | 36.0654 | 398.3522 | 0.0043988
65 | 14:15:42 | 1572.5 | 0 | 5.0205 | 0.048216 | 203.3709 | 2.8078 | 4.1842 | 38.7303 | 0.53607 | 2.6197 | 1 | 5.2394 | 41.6476 | 38.7303 | 42.9795 | 400.255 | 399.5962 | 35.764 | 36.0542 | 33.6034 | 33.8761 | 499.8555 | 1500.2484 | 227.0692 | 76.0279 | 2.082 | 0.24958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3244 | 0.0028078 | 311.8803 | 314.7976 | 240.0397 | 1.0485 | 6.9253 | 91.089 | 55.0348 | 40.1889 | 7.4888 | 0.047776 | 2.7411 | 4.7477 | 0.029899 | 15.4619 | 0.50894 | 36.068 | 398.3026 | 0.0045462
66 | 14:15:43 | 1573 | 0 | 4.8009 | 0.048192 | 210.3422 | 2.805 | 4.1821 | 38.7249 | 0.53607 | 2.6197 | 1 | 5.2394 | 41.6483 | 38.7249 | 42.9791 | 400.2505 | 399.6154 | 35.7656 | 36.0555 | 33.6035 | 33.876 | 499.851 | 1500.1971 | 223.9784 | 76.0279 | 2.082 | 0.24958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3243 | 0.002805 | 311.8749 | 314.7983 | 240.0315 | 1.0498 | 6.9233 | 91.0626 | 55.0071 | 40.1866 | 7.4879 | 0.047753 | 2.7412 | 4.7467 | 0.029885 | 15.9919 | 0.52636 | 36.0822 | 398.3783 | 0.0043483
67 | 14:15:43 | 1573.5 | 0 | 4.0201 | 0.047914 | 234.6006 | 2.7886 | 4.1816 | 38.7232 | 0.53607 | 2.6197 | 1 | 5.2394 | 41.6492 | 38.7232 | 42.9791 | 400.2091 | 399.6584 | 35.7652 | 36.0535 | 33.6018 | 33.8727 | 499.8563 | 1500.1494 | 223.1592 | 76.0282 | 2.082 | 0.24958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3244 | 0.0027886 | 311.8732 | 314.7992 | 240.0239 | 1.0549 | 6.9227 | 91.0539 | 55.0004 | 40.1862 | 7.4877 | 0.047479 | 2.7411 | 4.7466 | 0.029713 | 17.8363 | 0.587 | 36.0809 | 398.6226 | 0.0036387
68 | 14:15:44 | 1574 | 0 | 3.7146 | 0.047962 | 244.5618 | 2.7921 | 4.1826 | 38.7261 | 0.53607 | 2.6197 | 1 | 5.2394 | 41.6493 | 38.7261 | 42.9786 | 400.2086 | 399.6906 | 35.7658 | 36.0544 | 33.602 | 33.8732 | 499.8746 | 1500.1165 | 223.0605 | 76.0278 | 2.082 | 0.24958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3247 | 0.0027921 | 311.8761 | 314.7993 | 240.0186 | 1.0536 | 6.9238 | 91.0687 | 55.0143 | 40.1877 | 7.4883 | 0.047527 | 2.7411 | 4.7472 | 0.029743 | 18.5935 | 0.61188 | 36.0751 | 398.7334 | 0.0033607
69 | 14:15:44 | 1574.5 | 0 | 3.7932 | 0.047967 | 242.0368 | 2.7932 | 4.1837 | 38.7289 | 0.53607 | 2.6197 | 1 | 5.2394 | 41.6502 | 38.7289 | 42.9793 | 400.2132 | 399.6866 | 35.7649 | 36.0536 | 33.5996 | 33.8708 | 499.8714 | 1500.062 | 219.2128 | 76.0278 | 2.082 | 0.24958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3247 | 0.0027932 | 311.8789 | 314.8002 | 240.0099 | 1.053 | 6.9248 | 91.0825 | 55.0289 | 40.1895 | 7.4891 | 0.047532 | 2.7411 | 4.748 | 0.029746 | 18.4015 | 0.60557 | 36.0675 | 398.7093 | 0.0034314
70 | 14:15:45 | 1575 | 0 | 3.6558 | 0.047768 | 245.9745 | 2.7818 | 4.1838 | 38.7291 | 0.53607 | 2.6197 | 1 | 5.2394 | 41.6503 | 38.7291 | 42.9793 | 400.2103 | 399.6991 | 35.7662 | 36.0538 | 33.6006 | 33.8707 | 499.9106 | 1500.0278 | 218.0581 | 76.0276 | 2.082 | 0.24958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3254 | 0.0027818 | 311.8791 | 314.8003 | 240.0044 | 1.0564 | 6.9249 | 91.0837 | 55.03 | 40.1897 | 7.4891 | 0.047336 | 2.7411 | 4.748 | 0.029624 | 18.7008 | 0.6154 | 36.0647 | 398.7571 | 0.0033064
71 | 14:15:46 | 1575.5 | 0 | 3.2544 | 0.047791 | 258.967 | 2.7836 | 4.1846 | 38.7315 | 0.53607 | 2.6197 | 1 | 5.2394 | 41.6511 | 38.7315 | 42.9795 | 400.1702 | 399.7019 | 35.7673 | 36.0551 | 33.6003 | 33.8706 | 499.9082 | 1499.9591 | 220.9734 | 76.0277 | 2.082 | 0.24958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3254 | 0.0027836 | 311.8815 | 314.8011 | 239.9935 | 1.0556 | 6.9258 | 91.0951 | 55.04 | 40.1913 | 7.4897 | 0.047359 | 2.7412 | 4.7486 | 0.029638 | 19.6887 | 0.6479 | 36.0608 | 398.8634 | 0.0029422
72 | 14:15:46 | 1576 | 0 | 3.0409 | 0.04799 | 266.2303 | 2.7951 | 4.1846 | 38.7319 | 0.53607 | 2.6197 | 1 | 5.2394 | 41.6521 | 38.7319 | 42.9801 | 400.1275 | 399.6816 | 35.768 | 36.0569 | 33.5991 | 33.8705 | 499.9394 | 1499.9401 | 219.502 | 76.0279 | 2.082 | 0.24958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3259 | 0.0027951 | 311.8819 | 314.8021 | 239.9904 | 1.0522 | 6.9259 | 91.0968 | 55.0398 | 40.192 | 7.49 | 0.047555 | 2.7413 | 4.7487 | 0.02976 | 20.2409 | 0.66611 | 36.0645 | 398.8981 | 0.0027493
73 | 14:15:47 | 1577 | 0 | 2.8471 | 0.04791 | 272.2283 | 2.7924 | 4.1873 | 38.7386 | 0.53607 | 2.6197 | 1 | 5.2394 | 41.6517 | 38.7386 | 42.9773 | 400.0511 | 399.6261 | 35.7655 | 36.0541 | 33.5974 | 33.8685 | 499.9258 | 1499.9482 | 219.4933 | 76.0277 | 2.082 | 0.24958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3257 | 0.0027924 | 311.8886 | 314.8017 | 239.9917 | 1.0524 | 6.9284 | 91.1301 | 55.076 | 40.1951 | 7.4913 | 0.047476 | 2.7411 | 4.7502 | 0.029711 | 20.6969 | 0.68121 | 36.0439 | 398.8925 | 0.0025727
74 | 14:15:47 | 1577.5 | 0 | 3.1747 | 0.047607 | 261.003 | 2.7753 | 4.1879 | 38.7402 | 0.53607 | 2.6197 | 1 | 5.2394 | 41.652 | 38.7402 | 42.9768 | 400.0358 | 399.5764 | 35.7681 | 36.055 | 33.5993 | 33.8688 | 499.9477 | 1499.9893 | 214.0483 | 76.0278 | 2.082 | 0.24958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3261 | 0.0027753 | 311.8902 | 314.802 | 239.9983 | 1.0575 | 6.929 | 91.1381 | 55.0831 | 40.1961 | 7.4917 | 0.047179 | 2.7412 | 4.7505 | 0.029525 | 19.8435 | 0.6532 | 36.0372 | 398.7584 | 0.0028691
75 | 14:15:48 | 1578 | 0 | 3.3524 | 0.047892 | 255.8763 | 2.7906 | 4.1863 | 38.736 | 0.53607 | 2.6197 | 1 | 5.2394 | 41.6524 | 38.736 | 42.9766 | 400.0229 | 399.5439 | 35.7662 | 36.0546 | 33.597 | 33.8679 | 499.9641 | 1499.989 | 211.8018 | 76.0283 | 2.082 | 0.24958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.3264 | 0.0027906 | 311.886 | 314.8024 | 239.9982 | 1.0533 | 6.9274 | 91.1167 | 55.0622 | 40.1942 | 7.4909 | 0.047458 | 2.7412 | 4.7498 | 0.0297 | 19.4538 | 0.64042 | 36.0508 | 398.6801 | 0.0030314 | 3.9814 | 41.6489 | 38.7297 | #DIV/0! | 1574.1334 | 0 | 3.9814 | 0.048045 | 236.2355 | 2.7978 | 4.1839 | 38.7297 | 0.53607 | 2.6197 | 1 | 5.2394 | 41.6489 | 38.7297 | 42.9786 | 400.17 | 399.6232 | 35.7652 | 36.0544 | 33.6022 | 33.8739 | 499.8867 | 1500.1124 | 224.1585 | 76.028 | 2.082 | 0.24958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 9.325 | 0.0027978 | 311.8797 | 314.7989 | 240.018 | 1.0515 | 6.9251 | 91.0859 | 55.0316 | 40.1893 | 7.489 | 0.047608 | 2.7411 | 4.7478 | 0.029794 | 17.9605 | 0.59114 | 36.0676 | 398.5973 | 0.0036032