## stm-as7_
OPEN 6.2.4
Mon Jun 22 2015 14:27:25
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "14:27:51 Coolers: Tblock -> 0.00 C"
Remark= | "14:28:00 CO2 Mixer: CO2R -> 400 uml"
Remark= | "14:28:14 Lamp: ParIn -> 1500 uml"
Remark= | "14:35:45 Coolers: Tblock -> 26.81 C"
Remark= | "14:36:54 Flow: Fixed -> 500 umol/s"
Remark= | "14:38:00 Flow: Fixed -> 500 umol/s"
1 | 14:38:21 | 671.5 | 0 | 11.9037 | 0.17342 | 267.7184 | 4.91 | 2.1557 | 26.8685 | 0.86952 | 2.5465 | 1 | 5.0929 | 28.6457 | 26.8685 | 26.7627 | 398.6282 | 396.2191 | 17.5034 | 18.3418 | 33.8095 | 35.4291 | 499.8634 | 1501.2369 | 265.8832 | 76.1061 | 2.42 | 0.45155 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7487 | 0.00491 | 300.0185 | 301.7957 | 240.1979 | 0.31244 | 3.5516 | 46.6665 | 28.3247 | 27.7571 | 3.7414 | 0.16771 | 1.3959 | 2.3455 | 0.10532 | 20.375 | 0.67568 | 39.3308 | 393.0638 | 0.011911
2 | 14:38:22 | 672 | 0 | 12.0765 | 0.1736 | 266.2189 | 4.9145 | 2.1555 | 26.8672 | 0.86952 | 2.5465 | 1 | 5.0929 | 28.6448 | 26.8672 | 26.7626 | 398.6501 | 396.2106 | 17.5013 | 18.3405 | 33.8073 | 35.4285 | 499.8364 | 1501.272 | 265.8874 | 76.1061 | 2.42 | 0.45155 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7484 | 0.0049145 | 300.0172 | 301.7948 | 240.2035 | 0.31113 | 3.5513 | 46.663 | 28.3225 | 27.756 | 3.7412 | 0.16788 | 1.3958 | 2.3454 | 0.10542 | 20.2609 | 0.67191 | 39.3331 | 393.0094 | 0.012086
3 | 14:38:22 | 672 | 0 | 12.0765 | 0.1736 | 266.2189 | 4.9145 | 2.1555 | 26.8672 | 0.86952 | 2.5465 | 1 | 5.0929 | 28.6448 | 26.8672 | 26.7626 | 398.6501 | 396.2106 | 17.5013 | 18.3405 | 33.8073 | 35.4285 | 499.8364 | 1501.272 | 265.8874 | 76.1061 | 2.42 | 0.45155 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7484 | 0.0049145 | 300.0172 | 301.7948 | 240.2035 | 0.31113 | 3.5513 | 46.663 | 28.3225 | 27.756 | 3.7412 | 0.16788 | 1.3958 | 2.3454 | 0.10542 | 20.2609 | 0.67191 | 39.3331 | 393.0094 | 0.012086
4 | 14:38:23 | 672.5 | 0 | 12.3159 | 0.17388 | 264.1855 | 4.9216 | 2.1552 | 26.8656 | 0.86952 | 2.5465 | 1 | 5.0929 | 28.6445 | 26.8656 | 26.7626 | 398.6954 | 396.2137 | 17.4992 | 18.3397 | 33.8039 | 35.4275 | 499.8236 | 1501.2026 | 265.8325 | 76.1063 | 2.42 | 0.45155 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7482 | 0.0049216 | 300.0156 | 301.7945 | 240.1924 | 0.30897 | 3.551 | 46.6585 | 28.3188 | 27.7551 | 3.741 | 0.16814 | 1.3958 | 2.3452 | 0.10559 | 20.1062 | 0.66678 | 39.3387 | 392.949 | 0.01233
5 | 14:38:23 | 673 | 0 | 12.2428 | 0.17384 | 264.8565 | 4.9199 | 2.155 | 26.8642 | 0.86952 | 2.5465 | 1 | 5.0929 | 28.6444 | 26.8642 | 26.7623 | 398.7046 | 396.2357 | 17.4983 | 18.3385 | 33.8024 | 35.4254 | 499.8436 | 1501.2391 | 266.0708 | 76.1063 | 2.42 | 0.45155 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7485 | 0.0049199 | 300.0142 | 301.7944 | 240.1983 | 0.30963 | 3.5507 | 46.6547 | 28.3163 | 27.7543 | 3.7408 | 0.1681 | 1.3957 | 2.3452 | 0.10557 | 20.1573 | 0.66843 | 39.3388 | 392.9905 | 0.012255
6 | 14:38:24 | 673.5 | 0 | 12.199 | 0.17441 | 265.6779 | 4.9349 | 2.1547 | 26.8633 | 0.86952 | 2.5465 | 1 | 5.0929 | 28.6444 | 26.8633 | 26.7627 | 398.7532 | 396.2909 | 17.497 | 18.3398 | 33.8003 | 35.4282 | 499.8406 | 1501.2042 | 266.1704 | 76.1069 | 2.42 | 0.45155 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7484 | 0.0049349 | 300.0133 | 301.7944 | 240.1927 | 0.30503 | 3.5505 | 46.6518 | 28.3121 | 27.7538 | 3.7407 | 0.16864 | 1.3958 | 2.3449 | 0.1059 | 20.2199 | 0.67041 | 39.3506 | 393.0573 | 0.012213
7 | 14:38:24 | 674 | 0 | 12.1198 | 0.17439 | 266.4132 | 4.9338 | 2.1545 | 26.8619 | 0.86952 | 2.5465 | 1 | 5.0929 | 28.6445 | 26.8619 | 26.763 | 398.7565 | 396.3079 | 17.496 | 18.3385 | 33.7979 | 35.4256 | 499.8311 | 1501.3169 | 266.2215 | 76.1068 | 2.42 | 0.45155 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7483 | 0.0049338 | 300.0119 | 301.7945 | 240.2107 | 0.30562 | 3.5502 | 46.6479 | 28.3094 | 27.7532 | 3.7406 | 0.16862 | 1.3957 | 2.3449 | 0.10589 | 20.2759 | 0.67224 | 39.3512 | 393.0953 | 0.012133
8 | 14:38:25 | 674.5 | 0 | 12.089 | 0.17469 | 266.9029 | 4.9415 | 2.1543 | 26.8611 | 0.86952 | 2.5465 | 1 | 5.0929 | 28.6437 | 26.8611 | 26.7636 | 398.7704 | 396.3267 | 17.495 | 18.3389 | 33.7979 | 35.4281 | 499.8491 | 1501.319 | 266.2069 | 76.1072 | 2.42 | 0.45155 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7485 | 0.0049415 | 300.0111 | 301.7937 | 240.211 | 0.30323 | 3.5501 | 46.6455 | 28.3066 | 27.7524 | 3.7404 | 0.1689 | 1.3957 | 2.3447 | 0.10607 | 20.3132 | 0.67344 | 39.3576 | 393.1222 | 0.012103
9 | 14:38:25 | 675 | 0 | 12.1563 | 0.17523 | 266.6199 | 4.9558 | 2.1542 | 26.8605 | 0.86952 | 2.5465 | 1 | 5.0929 | 28.6431 | 26.8605 | 26.7639 | 398.7862 | 396.3298 | 17.4932 | 18.3395 | 33.7955 | 35.4304 | 499.8476 | 1501.3285 | 266.2146 | 76.1074 | 2.42 | 0.45155 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7485 | 0.0049558 | 300.0105 | 301.7931 | 240.2126 | 0.29882 | 3.5499 | 46.644 | 28.3045 | 27.7518 | 3.7403 | 0.1694 | 1.3958 | 2.3445 | 0.10638 | 20.2917 | 0.67272 | 39.3663 | 393.1075 | 0.012173
10 | 14:38:26 | 675.5 | 0 | 11.9207 | 0.17509 | 268.689 | 4.9521 | 2.1541 | 26.8599 | 0.86952 | 2.5465 | 1 | 5.0929 | 28.6429 | 26.8599 | 26.7642 | 398.7299 | 396.3148 | 17.4926 | 18.3382 | 33.7946 | 35.4284 | 499.8526 | 1501.353 | 266.2557 | 76.1072 | 2.42 | 0.45155 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7486 | 0.0049521 | 300.0099 | 301.7929 | 240.2165 | 0.30005 | 3.5498 | 46.6423 | 28.304 | 27.7514 | 3.7402 | 0.16927 | 1.3957 | 2.3445 | 0.1063 | 20.4492 | 0.67797 | 39.3636 | 393.155 | 0.011935
11 | 14:38:26 | 676 | 0 | 11.6187 | 0.17543 | 271.6904 | 4.961 | 2.1541 | 26.8597 | 0.86952 | 2.5465 | 1 | 5.0929 | 28.6427 | 26.8597 | 26.7636 | 398.7071 | 396.3439 | 17.4911 | 18.3383 | 33.7922 | 35.4289 | 499.8571 | 1501.3422 | 266.2141 | 76.1073 | 2.42 | 0.45155 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7486 | 0.004961 | 300.0097 | 301.7927 | 240.2147 | 0.29726 | 3.5498 | 46.6416 | 28.3033 | 27.7512 | 3.7401 | 0.16959 | 1.3957 | 2.3445 | 0.1065 | 20.6776 | 0.68549 | 39.3681 | 393.2641 | 0.011631
12 | 14:38:27 | 676.5 | 0 | 11.3187 | 0.17572 | 274.6302 | 4.9694 | 2.1542 | 26.8602 | 0.86952 | 2.5465 | 1 | 5.0929 | 28.6421 | 26.8602 | 26.7641 | 398.6754 | 396.364 | 17.4896 | 18.3381 | 33.7905 | 35.4299 | 499.8882 | 1501.4279 | 266.2794 | 76.107 | 2.42 | 0.45155 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.749 | 0.0049694 | 300.0102 | 301.7921 | 240.2285 | 0.29466 | 3.5499 | 46.6433 | 28.3051 | 27.7511 | 3.7401 | 0.16986 | 1.3957 | 2.3445 | 0.10667 | 20.9013 | 0.69287 | 39.3698 | 393.3637 | 0.011328
13 | 14:38:28 | 678.5 | 0 | 11.6169 | 0.1764 | 272.1901 | 4.99 | 2.1551 | 26.863 | 0.86952 | 2.5465 | 1 | 5.0929 | 28.6394 | 26.863 | 26.7649 | 398.6239 | 396.2593 | 17.4829 | 18.3349 | 33.7824 | 35.4288 | 499.9002 | 1501.4996 | 266.0927 | 76.1063 | 2.42 | 0.45155 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7491 | 0.00499 | 300.013 | 301.7894 | 240.2399 | 0.28793 | 3.5505 | 46.6514 | 28.3165 | 27.7512 | 3.7401 | 0.17049 | 1.3954 | 2.3447 | 0.10707 | 20.7154 | 0.6869 | 39.3636 | 393.18 | 0.01163
14 | 14:38:29 | 679 | 0 | 11.4883 | 0.17623 | 273.2699 | 4.9857 | 2.1552 | 26.8631 | 0.86952 | 2.5465 | 1 | 5.0929 | 28.6388 | 26.8631 | 26.7649 | 398.6078 | 396.266 | 17.4815 | 18.3328 | 33.7808 | 35.4259 | 499.9075 | 1501.5413 | 266.0382 | 76.1059 | 2.42 | 0.45155 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7492 | 0.0049857 | 300.0131 | 301.7888 | 240.2466 | 0.28923 | 3.5505 | 46.6518 | 28.319 | 27.7509 | 3.7401 | 0.17034 | 1.3952 | 2.3448 | 0.10697 | 20.7975 | 0.68961 | 39.3569 | 393.2207 | 0.011499
15 | 14:38:29 | 679.5 | 0 | 11.6321 | 0.17673 | 272.257 | 4.9997 | 2.1553 | 26.8636 | 0.86952 | 2.5465 | 1 | 5.0929 | 28.6379 | 26.8636 | 26.7651 | 398.6406 | 396.2727 | 17.4795 | 18.3332 | 33.7787 | 35.4284 | 499.8971 | 1501.5156 | 266.0328 | 76.1061 | 2.42 | 0.45155 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7491 | 0.0049997 | 300.0136 | 301.7879 | 240.2425 | 0.28476 | 3.5506 | 46.6532 | 28.32 | 27.7508 | 3.7401 | 0.17081 | 1.3953 | 2.3448 | 0.10727 | 20.7204 | 0.68704 | 39.3623 | 393.1893 | 0.011645 | 11.9183 | 28.6429 | 26.8633 | #DIV/0! | 674.8667 | 0 | 11.9183 | 0.17485 | 268.5026 | 4.947 | 2.1549 | 26.8633 | 0.86952 | 2.5465 | 1 | 5.0929 | 28.6429 | 26.8633 | 26.7635 | 398.692 | 396.2777 | 17.4935 | 18.3382 | 33.7961 | 35.4281 | 499.8583 | 1501.3381 | 266.0859 | 76.1066 | 2.42 | 0.45155 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7486 | 0.004947 | 300.0133 | 301.7929 | 240.2141 | 0.30133 | 3.5505 | 46.6519 | 28.3137 | 27.7531 | 3.7406 | 0.16904 | 1.3957 | 2.3449 | 0.10616 | 20.4348 | 0.67756 | 39.3523 | 393.1185 | 0.011931
Remark= | "14:38:40 Coolers: Tblock -> 32.00 C"
Remark= | "14:41:04 Flow: Fixed -> 500 umol/s"
16 | 14:41:17 | 846.5 | 0 | 12.4998 | 0.14492 | 235.1171 | 5.7574 | 2.9723 | 32.2643 | 0.86952 | 2.5465 | 1 | 5.0929 | 32.6194 | 32.2643 | 32.0507 | 399.6344 | 397.0624 | 23.655 | 24.6318 | 36.4067 | 37.9101 | 499.8755 | 1500.2668 | 268.0409 | 76.1085 | 2.0813 | 0.38524 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7488 | 0.0057574 | 305.4143 | 305.7694 | 240.0427 | -0.066299 | 4.847 | 63.6853 | 39.0535 | 32.4419 | 4.8958 | 0.14091 | 1.8747 | 3.0211 | 0.088422 | 17.8944 | 0.59214 | 37.6194 | 393.7491 | 0.011942
17 | 14:41:17 | 846.5 | 0 | 12.4998 | 0.14492 | 235.1171 | 5.7574 | 2.9723 | 32.2643 | 0.86952 | 2.5465 | 1 | 5.0929 | 32.6194 | 32.2643 | 32.0507 | 399.6344 | 397.0624 | 23.655 | 24.6318 | 36.4067 | 37.9101 | 499.8755 | 1500.2668 | 268.0409 | 76.1085 | 2.0813 | 0.38524 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7488 | 0.0057574 | 305.4143 | 305.7694 | 240.0427 | -0.066299 | 4.847 | 63.6853 | 39.0535 | 32.4419 | 4.8958 | 0.14091 | 1.8747 | 3.0211 | 0.088422 | 17.8944 | 0.59214 | 37.6194 | 393.7491 | 0.011942
18 | 14:41:17 | 847 | 0 | 12.4512 | 0.14537 | 236.0646 | 5.7742 | 2.9721 | 32.2637 | 0.86952 | 2.5465 | 1 | 5.0929 | 32.6213 | 32.2637 | 32.0515 | 399.6377 | 397.073 | 23.6519 | 24.6316 | 36.398 | 37.9056 | 499.8744 | 1500.2273 | 267.9788 | 76.1082 | 2.0813 | 0.38524 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7488 | 0.0057742 | 305.4137 | 305.7713 | 240.0364 | -0.071291 | 4.8468 | 63.6831 | 39.0516 | 32.4425 | 4.896 | 0.14133 | 1.8747 | 3.0213 | 0.088686 | 17.9665 | 0.59451 | 37.6257 | 393.7725 | 0.011897
19 | 14:41:18 | 847 | 0 | 12.4512 | 0.14537 | 236.0646 | 5.7742 | 2.9721 | 32.2637 | 0.86952 | 2.5465 | 1 | 5.0929 | 32.6213 | 32.2637 | 32.0515 | 399.6377 | 397.073 | 23.6519 | 24.6316 | 36.398 | 37.9056 | 499.8744 | 1500.2273 | 267.9788 | 76.1082 | 2.0813 | 0.38524 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7488 | 0.0057742 | 305.4137 | 305.7713 | 240.0364 | -0.071291 | 4.8468 | 63.6831 | 39.0516 | 32.4425 | 4.896 | 0.14133 | 1.8747 | 3.0213 | 0.088686 | 17.9665 | 0.59451 | 37.6257 | 393.7725 | 0.011897
20 | 14:41:18 | 847.5 | 0 | 12.3262 | 0.14557 | 237.6212 | 5.781 | 2.9717 | 32.2616 | 0.86952 | 2.5465 | 1 | 5.0929 | 32.6232 | 32.2616 | 32.0507 | 399.6246 | 397.0812 | 23.6489 | 24.6297 | 36.3898 | 37.8991 | 499.87 | 1500.2336 | 268.1072 | 76.1086 | 2.0813 | 0.38524 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7488 | 0.005781 | 305.4116 | 305.7732 | 240.0374 | -0.073065 | 4.8463 | 63.6756 | 39.0458 | 32.4424 | 4.896 | 0.14152 | 1.8745 | 3.0214 | 0.088805 | 18.085 | 0.59842 | 37.6302 | 393.8138 | 0.011778
21 | 14:41:19 | 848 | 0 | 12.1761 | 0.14579 | 239.4633 | 5.7888 | 2.9714 | 32.2595 | 0.86952 | 2.5465 | 1 | 5.0929 | 32.6233 | 32.2595 | 32.05 | 399.6041 | 397.0864 | 23.6445 | 24.6266 | 36.383 | 37.8942 | 499.9048 | 1500.2092 | 268.2498 | 76.1089 | 2.0813 | 0.38524 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7492 | 0.0057888 | 305.4095 | 305.7733 | 240.0335 | -0.075289 | 4.8457 | 63.6675 | 39.0409 | 32.4414 | 4.8957 | 0.14173 | 1.8743 | 3.0214 | 0.088937 | 18.2253 | 0.60305 | 37.6332 | 393.8589 | 0.011634
22 | 14:41:19 | 848.5 | 0 | 12.4755 | 0.14602 | 236.3801 | 5.7964 | 2.9707 | 32.2568 | 0.86952 | 2.5465 | 1 | 5.0929 | 32.6231 | 32.2568 | 32.0487 | 399.6178 | 397.0474 | 23.6415 | 24.625 | 36.3791 | 37.8924 | 499.8785 | 1500.1519 | 268.2155 | 76.1094 | 2.0813 | 0.38524 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7489 | 0.0057964 | 305.4068 | 305.7731 | 240.0243 | -0.077488 | 4.8449 | 63.6574 | 39.0324 | 32.4399 | 4.8953 | 0.14195 | 1.8742 | 3.0211 | 0.089074 | 17.9907 | 0.59534 | 37.6399 | 393.7405 | 0.011926
23 | 14:41:20 | 849 | 0 | 12.44 | 0.14619 | 236.9319 | 5.8029 | 2.9707 | 32.256 | 0.86952 | 2.5465 | 1 | 5.0929 | 32.6241 | 32.256 | 32.0486 | 399.6229 | 397.0583 | 23.6383 | 24.6227 | 36.3721 | 37.887 | 499.8991 | 1500.1559 | 268.1614 | 76.1096 | 2.0813 | 0.38524 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7491 | 0.0058029 | 305.406 | 305.7741 | 240.0249 | -0.079319 | 4.8447 | 63.6543 | 39.0316 | 32.44 | 4.8953 | 0.14211 | 1.874 | 3.0213 | 0.089176 | 18.0328 | 0.59672 | 37.6405 | 393.7608 | 0.011892
24 | 14:41:20 | 849.5 | 0 | 12.503 | 0.14624 | 236.2865 | 5.8042 | 2.9704 | 32.2543 | 0.86952 | 2.5465 | 1 | 5.0929 | 32.6264 | 32.2543 | 32.048 | 399.6248 | 397.0493 | 23.636 | 24.6207 | 36.3639 | 37.8789 | 499.9128 | 1500.1549 | 268.1175 | 76.1097 | 2.0813 | 0.38524 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7493 | 0.0058042 | 305.4043 | 305.7764 | 240.0248 | -0.079401 | 4.8443 | 63.6484 | 39.0277 | 32.4404 | 4.8954 | 0.14216 | 1.8739 | 3.0215 | 0.089206 | 17.9837 | 0.59511 | 37.6418 | 393.7351 | 0.011953
25 | 14:41:21 | 850 | 0 | 12.2006 | 0.14638 | 239.7274 | 5.8096 | 2.9704 | 32.2537 | 0.86952 | 2.5465 | 1 | 5.0929 | 32.6271 | 32.2537 | 32.0478 | 399.6064 | 397.0831 | 23.633 | 24.6186 | 36.3581 | 37.8744 | 499.923 | 1500.0961 | 268.0598 | 76.1101 | 2.0813 | 0.38524 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7494 | 0.0058096 | 305.4037 | 305.7771 | 240.0154 | -0.081009 | 4.8441 | 63.6457 | 39.0271 | 32.4404 | 4.8954 | 0.14229 | 1.8737 | 3.0217 | 0.089291 | 18.2457 | 0.60372 | 37.6419 | 393.8491 | 0.011661
26 | 14:41:21 | 850.5 | 0 | 12.1774 | 0.1465 | 240.078 | 5.8142 | 2.9703 | 32.253 | 0.86952 | 2.5465 | 1 | 5.0929 | 32.6283 | 32.253 | 32.0481 | 399.5945 | 397.075 | 23.63 | 24.6163 | 36.351 | 37.8684 | 499.9342 | 1500.0946 | 267.9151 | 76.1103 | 2.0813 | 0.38524 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7495 | 0.0058142 | 305.403 | 305.7783 | 240.0151 | -0.082253 | 4.8439 | 63.643 | 39.0267 | 32.4407 | 4.8955 | 0.14241 | 1.8736 | 3.0219 | 0.089363 | 18.2724 | 0.60462 | 37.6415 | 393.8471 | 0.011638
27 | 14:41:22 | 851 | 0 | 12.0226 | 0.14628 | 241.5724 | 5.8059 | 2.9705 | 32.2529 | 0.86952 | 2.5465 | 1 | 5.0929 | 32.6292 | 32.2529 | 32.0479 | 399.5816 | 397.0897 | 23.6285 | 24.6134 | 36.3472 | 37.8622 | 499.9613 | 1500.0254 | 267.8911 | 76.1107 | 2.0813 | 0.38524 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7498 | 0.0058059 | 305.4029 | 305.7792 | 240.0041 | -0.079677 | 4.8439 | 63.6424 | 39.029 | 32.4411 | 4.8956 | 0.14219 | 1.8733 | 3.0222 | 0.089229 | 18.3862 | 0.60836 | 37.6347 | 393.9028 | 0.011487
28 | 14:41:22 | 851.5 | 0 | 12.0901 | 0.14632 | 240.8875 | 5.8079 | 2.9708 | 32.2533 | 0.86952 | 2.5465 | 1 | 5.0929 | 32.6303 | 32.2533 | 32.0484 | 399.6079 | 397.1042 | 23.626 | 24.6112 | 36.3412 | 37.8566 | 499.9698 | 1499.994 | 267.8725 | 76.1109 | 2.0813 | 0.38524 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7499 | 0.0058079 | 305.4033 | 305.7803 | 239.999 | -0.080279 | 4.844 | 63.6436 | 39.0323 | 32.4418 | 4.8958 | 0.14223 | 1.8732 | 3.0226 | 0.089253 | 18.3342 | 0.60661 | 37.631 | 393.8994 | 0.01155
29 | 14:41:23 | 852 | 0 | 12.1576 | 0.14677 | 240.547 | 5.8259 | 2.9712 | 32.2547 | 0.86952 | 2.5465 | 1 | 5.0929 | 32.6332 | 32.2547 | 32.0495 | 399.6223 | 397.1054 | 23.6233 | 24.6116 | 36.3309 | 37.8509 | 499.944 | 1499.9445 | 267.803 | 76.1108 | 2.0813 | 0.38524 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7496 | 0.0058259 | 305.4047 | 305.7832 | 239.9911 | -0.085768 | 4.8444 | 63.6488 | 39.0372 | 32.444 | 4.8964 | 0.14265 | 1.8732 | 3.0232 | 0.08952 | 18.3082 | 0.60575 | 37.6335 | 393.8827 | 0.011616
30 | 14:41:23 | 852.5 | 0 | 11.9643 | 0.14706 | 242.9159 | 5.8383 | 2.9716 | 32.256 | 0.86952 | 2.5465 | 1 | 5.0929 | 32.6351 | 32.256 | 32.0509 | 399.6149 | 397.1309 | 23.6202 | 24.6106 | 36.3221 | 37.8451 | 499.9619 | 1499.9192 | 267.7529 | 76.1105 | 2.0813 | 0.38524 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7498 | 0.0058383 | 305.406 | 305.7851 | 239.9871 | -0.08954 | 4.8447 | 63.6535 | 39.0429 | 32.4456 | 4.8968 | 0.14294 | 1.8731 | 3.0237 | 0.089697 | 18.4885 | 0.61168 | 37.6325 | 393.9595 | 0.011429 | 12.2957 | 32.6257 | 32.2579 | #DIV/0! | 849.1333 | 0 | 12.2957 | 0.14598 | 238.3183 | 5.7959 | 2.9712 | 32.2579 | 0.86952 | 2.5465 | 1 | 5.0929 | 32.6257 | 32.2579 | 32.0495 | 399.6177 | 397.0788 | 23.6389 | 24.6222 | 36.3699 | 37.8827 | 499.9106 | 1500.1312 | 268.0123 | 76.1095 | 2.0813 | 0.38524 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7492 | 0.0057959 | 305.4079 | 305.7757 | 240.021 | -0.077218 | 4.8452 | 63.6611 | 39.0389 | 32.4418 | 4.8958 | 0.14191 | 1.874 | 3.0218 | 0.089051 | 18.1383 | 0.60018 | 37.6327 | 393.8195 | 0.01175
Remark= | "14:41:33 Coolers: Tblock -> 37.00 C"
Remark= | "14:43:23 Flow: Fixed -> 500 umol/s"
31 | 14:44:00 | 1010.5 | 0 | 10.7398 | 0.10645 | 205.7362 | 6.0095 | 4.1395 | 37.1381 | 0.86952 | 2.5465 | 1 | 5.0929 | 36.618 | 37.1381 | 36.935 | 400.0728 | 397.7888 | 28.0617 | 29.0767 | 34.5898 | 35.8409 | 499.8756 | 1499.9675 | 269.3481 | 76.1103 | 2.0103 | 0.31711 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7488 | 0.0060095 | 310.2881 | 309.768 | 239.9948 | -0.22052 | 6.3526 | 83.4653 | 54.3887 | 36.8781 | 6.263 | 0.10427 | 2.213 | 4.05 | 0.065364 | 15.6586 | 0.5172 | 32.3651 | 394.942 | 0.0088012
32 | 14:44:01 | 1010.5 | 0 | 10.7398 | 0.10645 | 205.7362 | 6.0095 | 4.1395 | 37.1381 | 0.86952 | 2.5465 | 1 | 5.0929 | 36.618 | 37.1381 | 36.935 | 400.0728 | 397.7888 | 28.0617 | 29.0767 | 34.5898 | 35.8409 | 499.8756 | 1499.9675 | 269.3481 | 76.1103 | 2.0103 | 0.31711 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7488 | 0.0060095 | 310.2881 | 309.768 | 239.9948 | -0.22052 | 6.3526 | 83.4653 | 54.3887 | 36.8781 | 6.263 | 0.10427 | 2.213 | 4.05 | 0.065364 | 15.6586 | 0.5172 | 32.3651 | 394.942 | 0.0088012
33 | 14:44:01 | 1011 | 0 | 10.7717 | 0.1066 | 205.4785 | 6.0175 | 4.1395 | 37.1376 | 0.86952 | 2.5465 | 1 | 5.0929 | 36.6193 | 37.1376 | 36.9355 | 400.0753 | 397.7853 | 28.0579 | 29.0741 | 34.5827 | 35.8353 | 499.8848 | 1499.9806 | 269.3683 | 76.1104 | 2.0103 | 0.31711 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.749 | 0.0060175 | 310.2876 | 309.7693 | 239.9969 | -0.22279 | 6.3524 | 83.4626 | 54.3885 | 36.8784 | 6.2632 | 0.10441 | 2.2128 | 4.0503 | 0.065451 | 15.6391 | 0.51656 | 32.3652 | 394.93 | 0.0088276
34 | 14:44:02 | 1011.5 | 0 | 10.7813 | 0.10658 | 205.322 | 6.0169 | 4.1397 | 37.1378 | 0.86952 | 2.5465 | 1 | 5.0929 | 36.6219 | 37.1378 | 36.936 | 400.0885 | 397.7968 | 28.0561 | 29.0723 | 34.5754 | 35.8278 | 499.8847 | 1499.9761 | 269.475 | 76.11 | 2.0103 | 0.31711 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.749 | 0.0060169 | 310.2878 | 309.7719 | 239.9962 | -0.2224 | 6.3524 | 83.4639 | 54.3916 | 36.8798 | 6.2636 | 0.1044 | 2.2127 | 4.0509 | 0.065441 | 15.6271 | 0.51615 | 32.3622 | 394.939 | 0.0088344
35 | 14:44:02 | 1012 | 0 | 10.7735 | 0.10649 | 205.2911 | 6.0116 | 4.1397 | 37.137 | 0.86952 | 2.5465 | 1 | 5.0929 | 36.6246 | 37.137 | 36.9364 | 400.0801 | 397.7902 | 28.0539 | 29.0692 | 34.5674 | 35.8184 | 499.8928 | 1500.0049 | 269.4041 | 76.1096 | 2.0103 | 0.31711 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.749 | 0.0060116 | 310.287 | 309.7746 | 240.0008 | -0.22044 | 6.3522 | 83.4611 | 54.392 | 36.8808 | 6.264 | 0.10431 | 2.2124 | 4.0515 | 0.065383 | 15.6246 | 0.51608 | 32.3584 | 394.9345 | 0.0088271
36 | 14:44:03 | 1012.5 | 0 | 10.7474 | 0.10659 | 205.8176 | 6.0175 | 4.1399 | 37.137 | 0.86952 | 2.5465 | 1 | 5.0929 | 36.6271 | 37.137 | 36.9371 | 400.0722 | 397.7864 | 28.0516 | 29.0679 | 34.5597 | 35.8118 | 499.8888 | 1500.0099 | 269.3178 | 76.1093 | 2.0103 | 0.31711 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.749 | 0.0060175 | 310.287 | 309.7771 | 240.0016 | -0.22202 | 6.3522 | 83.4614 | 54.3935 | 36.882 | 6.2644 | 0.1044 | 2.2123 | 4.0521 | 0.065445 | 15.6646 | 0.51741 | 32.3581 | 394.9376 | 0.0088056
37 | 14:44:04 | 1013 | 0 | 10.6915 | 0.10624 | 206.1344 | 5.9983 | 4.14 | 37.1365 | 0.86952 | 2.5465 | 1 | 5.0929 | 36.6296 | 37.1365 | 36.9376 | 400.071 | 397.7962 | 28.0505 | 29.0635 | 34.5535 | 35.8014 | 499.8934 | 1500.0604 | 269.3275 | 76.1091 | 2.0103 | 0.31711 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7491 | 0.0059983 | 310.2865 | 309.7796 | 240.0097 | -0.21581 | 6.352 | 83.4593 | 54.3958 | 36.8831 | 6.2647 | 0.10407 | 2.212 | 4.0527 | 0.065234 | 15.6887 | 0.51819 | 32.3493 | 394.9622 | 0.0087569
38 | 14:44:04 | 1013.5 | 0 | 10.8697 | 0.10632 | 203.6287 | 6.0026 | 4.1399 | 37.1359 | 0.86952 | 2.5465 | 1 | 5.0929 | 36.6309 | 37.1359 | 36.9376 | 400.0876 | 397.7815 | 28.0481 | 29.0619 | 34.5481 | 35.7968 | 499.879 | 1499.9867 | 269.3268 | 76.109 | 2.0103 | 0.31711 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7489 | 0.0060026 | 310.2859 | 309.7809 | 239.9979 | -0.21705 | 6.3518 | 83.4568 | 54.3948 | 36.8834 | 6.2649 | 0.10414 | 2.2119 | 4.053 | 0.065282 | 15.498 | 0.51191 | 32.3496 | 394.9002 | 0.0089043
39 | 14:44:05 | 1014 | 0 | 10.9692 | 0.10624 | 202.0569 | 5.9984 | 4.1401 | 37.1356 | 0.86952 | 2.5465 | 1 | 5.0929 | 36.6323 | 37.1356 | 36.9376 | 400.1097 | 397.7866 | 28.0455 | 29.0586 | 34.5421 | 35.7898 | 499.8819 | 1499.9969 | 269.3359 | 76.1088 | 2.0103 | 0.31711 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7489 | 0.0059984 | 310.2856 | 309.7823 | 239.9995 | -0.21559 | 6.3517 | 83.4556 | 54.397 | 36.884 | 6.2651 | 0.10407 | 2.2116 | 4.0534 | 0.065234 | 15.3783 | 0.50795 | 32.345 | 394.879 | 0.008985
40 | 14:44:05 | 1014.5 | 0 | 10.8744 | 0.10607 | 203.228 | 5.9889 | 4.14 | 37.1347 | 0.86952 | 2.5465 | 1 | 5.0929 | 36.6331 | 37.1347 | 36.9372 | 400.127 | 397.8211 | 28.0439 | 29.0553 | 34.5388 | 35.7845 | 499.9135 | 1499.8967 | 269.2938 | 76.1089 | 2.0103 | 0.31711 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7493 | 0.0059889 | 310.2847 | 309.7831 | 239.9835 | -0.21265 | 6.3514 | 83.4512 | 54.3959 | 36.8839 | 6.265 | 0.10391 | 2.2114 | 4.0537 | 0.065132 | 15.4675 | 0.51085 | 32.3409 | 394.9386 | 0.0089049
41 | 14:44:06 | 1015 | 0 | 10.9766 | 0.10593 | 201.4976 | 5.9816 | 4.1402 | 37.1343 | 0.86952 | 2.5465 | 1 | 5.0929 | 36.6353 | 37.1343 | 36.9373 | 400.1183 | 397.7952 | 28.0413 | 29.0515 | 34.5312 | 35.7752 | 499.9102 | 1499.8412 | 269.2216 | 76.1085 | 2.0103 | 0.31711 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7492 | 0.0059816 | 310.2843 | 309.7853 | 239.9746 | -0.21023 | 6.3513 | 83.4501 | 54.3986 | 36.8848 | 6.2653 | 0.10377 | 2.2111 | 4.0543 | 0.065049 | 15.3357 | 0.50654 | 32.3351 | 394.8856 | 0.0089881
42 | 14:44:06 | 1015.5 | 0 | 11.0118 | 0.10578 | 200.7326 | 5.9732 | 4.1402 | 37.1338 | 0.86952 | 2.5465 | 1 | 5.0929 | 36.6364 | 37.1338 | 36.9365 | 400.1049 | 397.7762 | 28.0398 | 29.0486 | 34.5271 | 35.7693 | 499.8983 | 1499.8477 | 269.2285 | 76.1082 | 2.0103 | 0.31711 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7491 | 0.0059732 | 310.2838 | 309.7864 | 239.9756 | -0.2075 | 6.3511 | 83.448 | 54.3994 | 36.8851 | 6.2655 | 0.10363 | 2.2108 | 4.0546 | 0.064957 | 15.2774 | 0.50464 | 32.3306 | 394.8573 | 0.0090164
43 | 14:44:07 | 1016 | 0 | 10.9263 | 0.10576 | 201.9666 | 5.9726 | 4.1407 | 37.1341 | 0.86952 | 2.5465 | 1 | 5.0929 | 36.6382 | 37.1341 | 36.9364 | 400.1013 | 397.7876 | 28.0357 | 29.0444 | 34.5187 | 35.7606 | 499.9091 | 1499.8038 | 269.2405 | 76.1083 | 2.0103 | 0.31711 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7492 | 0.0059726 | 310.2841 | 309.7882 | 239.9686 | -0.20723 | 6.3512 | 83.4492 | 54.4048 | 36.8862 | 6.2658 | 0.10361 | 2.2105 | 4.0553 | 0.064944 | 15.3713 | 0.50772 | 32.3246 | 394.8913 | 0.0089439
44 | 14:44:07 | 1017 | 0 | 11.2625 | 0.10547 | 196.5674 | 5.9576 | 4.1412 | 37.1338 | 0.86952 | 2.5465 | 1 | 5.0929 | 36.6421 | 37.1338 | 36.9354 | 400.1516 | 397.7806 | 28.0301 | 29.0362 | 34.5043 | 35.7428 | 499.9306 | 1499.7971 | 269.2407 | 76.1078 | 2.0103 | 0.31711 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7495 | 0.0059576 | 310.2838 | 309.7921 | 239.9675 | -0.20227 | 6.3511 | 83.4483 | 54.412 | 36.8879 | 6.2664 | 0.10333 | 2.2099 | 4.0565 | 0.064772 | 14.9603 | 0.49416 | 32.3115 | 394.7952 | 0.0092177
45 | 14:44:08 | 1017.5 | 0 | 11.2171 | 0.10516 | 196.776 | 5.9412 | 4.1416 | 37.1341 | 0.86952 | 2.5465 | 1 | 5.0929 | 36.6445 | 37.1341 | 36.9357 | 400.1612 | 397.7994 | 28.0288 | 29.032 | 34.4981 | 35.7329 | 499.9697 | 1499.7373 | 269.2622 | 76.1078 | 2.0103 | 0.31711 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7499 | 0.0059412 | 310.2841 | 309.7945 | 239.958 | -0.1971 | 6.3512 | 83.4497 | 54.4176 | 36.8893 | 6.2669 | 0.10304 | 2.2096 | 4.0573 | 0.064586 | 14.9762 | 0.49466 | 32.3018 | 394.826 | 0.009177 | 10.8902 | 36.6301 | 37.1359 | #DIV/0! | 1013.6 | 0 | 10.8902 | 0.10614 | 203.0646 | 5.9931 | 4.1401 | 37.1359 | 0.86952 | 2.5465 | 1 | 5.0929 | 36.6301 | 37.1359 | 36.9364 | 400.0996 | 397.7907 | 28.0471 | 29.0593 | 34.5485 | 35.7952 | 499.8992 | 1499.925 | 269.3159 | 76.1091 | 2.0103 | 0.31711 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7491 | 0.0059931 | 310.2859 | 309.7801 | 239.988 | -0.21428 | 6.3518 | 83.4565 | 54.3973 | 36.883 | 6.2647 | 0.10398 | 2.2117 | 4.0531 | 0.065176 | 15.4551 | 0.51048 | 32.3442 | 394.904 | 0.0089194
Remark= | "14:44:16 Coolers: Tblock -> 42.00 C"
Remark= | "14:47:48 Flow: Fixed -> 500 umol/s"
46 | 14:48:08 | 1258 | 0 | 6.7849 | 0.05387 | 159.1317 | 4.2371 | 5.6114 | 42.1915 | 0.86952 | 2.5465 | 1 | 5.0929 | 41.1286 | 42.1915 | 42.018 | 399.3159 | 397.8425 | 34.9649 | 35.6756 | 33.8064 | 34.4936 | 499.8951 | 1499.4344 | 267.0058 | 76.1165 | 2.0533 | 0.2818 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7491 | 0.0042371 | 315.3415 | 314.2786 | 239.9095 | 0.26843 | 8.3269 | 109.3971 | 73.7214 | 41.66 | 8.097 | 0.053306 | 2.7155 | 5.3814 | 0.033366 | 12.1126 | 0.39999 | 28.1012 | 396.044 | 0.0048142
47 | 14:48:08 | 1258.5 | 0 | 6.5053 | 0.053848 | 166.9659 | 4.235 | 5.611 | 42.1896 | 0.86952 | 2.5465 | 1 | 5.0929 | 41.1301 | 42.1896 | 42.0176 | 399.2959 | 397.8712 | 34.9601 | 35.6705 | 33.7992 | 34.486 | 499.8678 | 1499.4517 | 267.0138 | 76.1168 | 2.0533 | 0.2818 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7488 | 0.004235 | 315.3396 | 314.2801 | 239.9123 | 0.2694 | 8.3261 | 109.3858 | 73.7153 | 41.6598 | 8.0969 | 0.053285 | 2.7151 | 5.3817 | 0.033353 | 12.7089 | 0.41965 | 28.1001 | 396.1468 | 0.0046145
48 | 14:48:09 | 1258.5 | 0 | 6.5053 | 0.053848 | 166.9659 | 4.235 | 5.611 | 42.1896 | 0.86952 | 2.5465 | 1 | 5.0929 | 41.1301 | 42.1896 | 42.0176 | 399.2959 | 397.8712 | 34.9601 | 35.6705 | 33.7992 | 34.486 | 499.8678 | 1499.4517 | 267.0138 | 76.1168 | 2.0533 | 0.2818 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7488 | 0.004235 | 315.3396 | 314.2801 | 239.9123 | 0.2694 | 8.3261 | 109.3858 | 73.7153 | 41.6598 | 8.0969 | 0.053285 | 2.7151 | 5.3817 | 0.033353 | 12.7089 | 0.41965 | 28.1001 | 396.1468 | 0.0046145
49 | 14:48:09 | 1259 | 0 | 6.6451 | 0.053959 | 163.4055 | 4.2435 | 5.6108 | 42.1887 | 0.86952 | 2.5465 | 1 | 5.0929 | 41.1309 | 42.1887 | 42.0179 | 399.3161 | 397.8663 | 34.9558 | 35.6677 | 33.7939 | 34.4821 | 499.8245 | 1499.3939 | 267.0512 | 76.1173 | 2.0533 | 0.2818 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7483 | 0.0042435 | 315.3387 | 314.2809 | 239.903 | 0.26691 | 8.3257 | 109.3799 | 73.7122 | 41.6598 | 8.0968 | 0.053394 | 2.7149 | 5.3819 | 0.033421 | 12.438 | 0.4107 | 28.1011 | 396.1049 | 0.0047143
50 | 14:48:10 | 1259.5 | 0 | 6.9678 | 0.054077 | 154.7344 | 4.2528 | 5.611 | 42.1886 | 0.86952 | 2.5465 | 1 | 5.0929 | 41.132 | 42.1886 | 42.0191 | 399.3552 | 397.8486 | 34.9503 | 35.6638 | 33.7869 | 34.4766 | 499.8073 | 1499.3678 | 266.994 | 76.1181 | 2.0533 | 0.2818 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7481 | 0.0042528 | 315.3386 | 314.282 | 239.8988 | 0.26415 | 8.3257 | 109.3783 | 73.7145 | 41.6603 | 8.0971 | 0.053509 | 2.7147 | 5.3824 | 0.033494 | 11.7781 | 0.38893 | 28.0997 | 396.0016 | 0.0049443
51 | 14:48:10 | 1260 | 0 | 7.1783 | 0.054316 | 149.6943 | 4.2712 | 5.6108 | 42.1881 | 0.86952 | 2.5465 | 1 | 5.0929 | 41.1335 | 42.1881 | 42.0195 | 399.3825 | 397.8381 | 34.946 | 35.6625 | 33.7802 | 34.4728 | 499.821 | 1499.3508 | 267.0179 | 76.1187 | 2.0533 | 0.2818 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7482 | 0.0042712 | 315.3381 | 314.2835 | 239.8961 | 0.2587 | 8.3254 | 109.3744 | 73.7118 | 41.6608 | 8.0973 | 0.053743 | 2.7146 | 5.3827 | 0.03364 | 11.3945 | 0.37627 | 28.1033 | 395.9353 | 0.0050951
52 | 14:48:11 | 1260.5 | 0 | 7.0676 | 0.054287 | 152.7108 | 4.2686 | 5.6105 | 42.1862 | 0.86952 | 2.5465 | 1 | 5.0929 | 41.1347 | 42.1862 | 42.0194 | 399.3891 | 397.8641 | 34.941 | 35.6571 | 33.7733 | 34.4655 | 499.8174 | 1499.371 | 267.0968 | 76.1187 | 2.0533 | 0.2818 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7482 | 0.0042686 | 315.3362 | 314.2847 | 239.8994 | 0.25979 | 8.3246 | 109.3637 | 73.7066 | 41.6605 | 8.0971 | 0.053715 | 2.7142 | 5.383 | 0.033623 | 11.6241 | 0.38383 | 28.1016 | 395.9907 | 0.0050155
53 | 14:48:11 | 1261 | 0 | 7.0371 | 0.05428 | 153.5513 | 4.268 | 5.6104 | 42.1854 | 0.86952 | 2.5465 | 1 | 5.0929 | 41.1361 | 42.1854 | 42.0198 | 399.3981 | 397.8784 | 34.9361 | 35.6521 | 33.7663 | 34.4583 | 499.8301 | 1499.3566 | 267.1931 | 76.1194 | 2.0533 | 0.2818 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7483 | 0.004268 | 315.3354 | 314.2861 | 239.897 | 0.26018 | 8.3242 | 109.3578 | 73.7056 | 41.6608 | 8.0973 | 0.053708 | 2.7138 | 5.3834 | 0.033618 | 11.6882 | 0.38593 | 28.0989 | 396.0131 | 0.0049932
54 | 14:48:12 | 1261.5 | 0 | 7.0272 | 0.054454 | 154.4322 | 4.2815 | 5.6105 | 42.1849 | 0.86952 | 2.5465 | 1 | 5.0929 | 41.1376 | 42.1849 | 42.0199 | 399.3772 | 397.8583 | 34.93 | 35.6483 | 33.7581 | 34.4523 | 499.8157 | 1499.3434 | 267.2152 | 76.12 | 2.0533 | 0.2818 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7482 | 0.0042815 | 315.3349 | 314.2876 | 239.8949 | 0.25622 | 8.3241 | 109.3542 | 73.7059 | 41.6613 | 8.0975 | 0.053878 | 2.7136 | 5.3839 | 0.033725 | 11.7554 | 0.38816 | 28.0991 | 395.9956 | 0.0049864
55 | 14:48:12 | 1262 | 0 | 6.9637 | 0.05456 | 156.5832 | 4.2897 | 5.6104 | 42.1841 | 0.86952 | 2.5465 | 1 | 5.0929 | 41.1395 | 42.1841 | 42.0197 | 399.3724 | 397.864 | 34.9247 | 35.6444 | 33.7498 | 34.4453 | 499.8154 | 1499.2994 | 267.2235 | 76.1206 | 2.0533 | 0.2818 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7482 | 0.0042897 | 315.3341 | 314.2895 | 239.8879 | 0.25392 | 8.3237 | 109.3489 | 73.7045 | 41.6618 | 8.0977 | 0.053982 | 2.7133 | 5.3844 | 0.03379 | 11.9192 | 0.39356 | 28.0988 | 396.0181 | 0.004941
56 | 14:48:13 | 1262.5 | 0 | 7.2016 | 0.054697 | 150.4252 | 4.3003 | 5.6104 | 42.1838 | 0.86952 | 2.5465 | 1 | 5.0929 | 41.1411 | 42.1838 | 42.02 | 399.3757 | 397.8253 | 34.9206 | 35.642 | 33.7432 | 34.4403 | 499.8324 | 1499.3533 | 267.2258 | 76.1209 | 2.0533 | 0.2818 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7483 | 0.0043003 | 315.3338 | 314.2911 | 239.8965 | 0.25094 | 8.3235 | 109.3462 | 73.7042 | 41.6624 | 8.098 | 0.054115 | 2.7131 | 5.3849 | 0.033874 | 11.4505 | 0.37812 | 28.0994 | 395.9163 | 0.0051112
57 | 14:48:13 | 1263 | 0 | 7.8016 | 0.055222 | 135.7783 | 4.3411 | 5.6104 | 42.1838 | 0.86952 | 2.5465 | 1 | 5.0929 | 41.1434 | 42.1838 | 42.0201 | 399.4416 | 397.784 | 34.9152 | 35.6434 | 33.7337 | 34.4373 | 499.8395 | 1499.4481 | 267.381 | 76.1208 | 2.0533 | 0.2818 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7484 | 0.0043411 | 315.3338 | 314.2934 | 239.9117 | 0.23878 | 8.3236 | 109.3468 | 73.7033 | 41.6636 | 8.0985 | 0.05463 | 2.7132 | 5.3853 | 0.034197 | 10.3356 | 0.34134 | 28.1079 | 395.716 | 0.0055415
58 | 14:48:14 | 1263.5 | 0 | 7.5415 | 0.055361 | 143.4611 | 4.3517 | 5.6101 | 42.183 | 0.86952 | 2.5465 | 1 | 5.0929 | 41.1449 | 42.183 | 42.0192 | 399.4137 | 397.8007 | 34.9117 | 35.6417 | 33.7277 | 34.433 | 499.8494 | 1499.4547 | 267.4477 | 76.121 | 2.0533 | 0.2818 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7485 | 0.0043517 | 315.333 | 314.2949 | 239.9127 | 0.23576 | 8.3232 | 109.342 | 73.7003 | 41.664 | 8.0986 | 0.054766 | 2.7131 | 5.3856 | 0.034282 | 10.9204 | 0.36064 | 28.1099 | 395.8016 | 0.005356
59 | 14:48:14 | 1264 | 0 | 7.6253 | 0.05524 | 140.6816 | 4.3425 | 5.6104 | 42.1825 | 0.86952 | 2.5465 | 1 | 5.0929 | 41.1456 | 42.1825 | 42.0188 | 399.3985 | 397.7715 | 34.9068 | 35.6353 | 33.7219 | 34.4256 | 499.8395 | 1499.4753 | 267.4445 | 76.1213 | 2.0533 | 0.2818 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7484 | 0.0043425 | 315.3325 | 314.2956 | 239.916 | 0.23872 | 8.323 | 109.3386 | 73.7033 | 41.6641 | 8.0987 | 0.054648 | 2.7126 | 5.3861 | 0.034207 | 10.7089 | 0.35367 | 28.1034 | 395.7502 | 0.0054149
60 | 14:48:15 | 1264.5 | 0 | 7.7308 | 0.055322 | 138.0631 | 4.3489 | 5.6105 | 42.1823 | 0.86952 | 2.5465 | 1 | 5.0929 | 41.1465 | 42.1823 | 42.0185 | 399.3861 | 397.7403 | 34.9027 | 35.6323 | 33.7164 | 34.4212 | 499.8235 | 1499.5001 | 267.3012 | 76.1217 | 2.0533 | 0.2818 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7482 | 0.0043489 | 315.3323 | 314.2965 | 239.92 | 0.2369 | 8.3229 | 109.3368 | 73.7045 | 41.6644 | 8.0988 | 0.054727 | 2.7124 | 5.3864 | 0.034257 | 10.5096 | 0.34712 | 28.1024 | 395.6911 | 0.0054905 | 7.1055 | 41.137 | 42.1862 | #DIV/0! | 1261.0667 | 0 | 7.1055 | 0.054489 | 152.439 | 4.2845 | 5.6106 | 42.1862 | 0.86952 | 2.5465 | 1 | 5.0929 | 41.137 | 42.1862 | 42.019 | 399.3676 | 397.835 | 34.9351 | 35.6538 | 33.7637 | 34.4584 | 499.8364 | 1499.4035 | 267.175 | 76.1192 | 2.0533 | 0.2818 | 0.73333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7484 | 0.0042845 | 315.3362 | 314.287 | 239.9046 | 0.25522 | 8.3246 | 109.3624 | 73.7086 | 41.6616 | 8.0976 | 0.053913 | 2.7139 | 5.3837 | 0.033747 | 11.6035 | 0.38317 | 28.1018 | 395.9515 | 0.0050431
Remark= | "14:48:25 Coolers: Tblock -> 47.00 C"
Remark= | "14:51:07 Flow: Fixed -> 500 umol/s"
61 | 14:51:20 | 1450 | 0 | 4.6545 | 0.071922 | 261.9894 | 4.4117 | 4.3764 | 41.3289 | 0.86952 | 2.5465 | 1 | 5.0929 | 45.4267 | 41.3289 | 47.0943 | 400.7634 | 399.6472 | 46.299 | 47.0302 | 35.7708 | 36.3357 | 499.9279 | 1499.2477 | 268.9825 | 76.1222 | 2.3284 | 0.13957 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7494 | 0.0044117 | 314.4789 | 318.5767 | 239.8796 | 0.70224 | 7.9565 | 104.5224 | 57.4921 | 43.3778 | 8.8608 | 0.07092 | 3.58 | 5.2807 | 0.044414 | 19.9432 | 0.65555 | 41.3143 | 398.4134 | 0.0048266
62 | 14:51:20 | 1450 | 0 | 4.6545 | 0.071922 | 261.9894 | 4.4117 | 4.3764 | 41.3289 | 0.86952 | 2.5465 | 1 | 5.0929 | 45.4267 | 41.3289 | 47.0943 | 400.7634 | 399.6472 | 46.299 | 47.0302 | 35.7708 | 36.3357 | 499.9279 | 1499.2477 | 268.9825 | 76.1222 | 2.3284 | 0.13957 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7494 | 0.0044117 | 314.4789 | 318.5767 | 239.8796 | 0.70224 | 7.9565 | 104.5224 | 57.4921 | 43.3778 | 8.8608 | 0.07092 | 3.58 | 5.2807 | 0.044414 | 19.9432 | 0.65555 | 41.3143 | 398.4134 | 0.0048266
63 | 14:51:21 | 1450.5 | 0 | 4.8526 | 0.0721 | 257.9945 | 4.4204 | 4.3746 | 41.3239 | 0.86952 | 2.5465 | 1 | 5.0929 | 45.4276 | 41.3239 | 47.0933 | 400.785 | 399.6337 | 46.2941 | 47.0268 | 35.7657 | 36.3317 | 499.9272 | 1499.2404 | 269.0073 | 76.1228 | 2.3284 | 0.13957 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7494 | 0.0044204 | 314.4739 | 318.5776 | 239.8785 | 0.70011 | 7.9544 | 104.4939 | 57.4671 | 43.3758 | 8.8598 | 0.071093 | 3.5798 | 5.28 | 0.044523 | 19.6393 | 0.64558 | 41.327 | 398.3474 | 0.0050344
64 | 14:51:21 | 1451 | 0 | 4.6229 | 0.072276 | 263.1675 | 4.4286 | 4.3722 | 41.3178 | 0.86952 | 2.5465 | 1 | 5.0929 | 45.4291 | 41.3178 | 47.094 | 400.7478 | 399.6359 | 46.2895 | 47.0235 | 35.7596 | 36.3266 | 499.9334 | 1499.3733 | 268.964 | 76.123 | 2.3284 | 0.13957 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7495 | 0.0044286 | 314.4678 | 318.5791 | 239.8997 | 0.69848 | 7.9518 | 104.4597 | 57.4361 | 43.3734 | 8.8587 | 0.071264 | 3.5796 | 5.2792 | 0.04463 | 20.0331 | 0.65852 | 41.3425 | 398.4105 | 0.0047972
65 | 14:51:22 | 1451.5 | 0 | 4.5415 | 0.072156 | 264.7352 | 4.419 | 4.3701 | 41.3123 | 0.86952 | 2.5465 | 1 | 5.0929 | 45.4295 | 41.3123 | 47.0941 | 400.7025 | 399.6055 | 46.2884 | 47.0209 | 35.7584 | 36.3242 | 499.911 | 1499.4706 | 268.9223 | 76.124 | 2.3284 | 0.13957 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7493 | 0.004419 | 314.4623 | 318.5795 | 239.9153 | 0.70206 | 7.9495 | 104.4282 | 57.4073 | 43.3709 | 8.8576 | 0.071148 | 3.5794 | 5.2782 | 0.044557 | 20.1527 | 0.66249 | 41.354 | 398.4016 | 0.0047141
66 | 14:51:22 | 1452 | 0 | 4.3771 | 0.072338 | 268.4692 | 4.429 | 4.3691 | 41.3097 | 0.86952 | 2.5465 | 1 | 5.0929 | 45.4305 | 41.3097 | 47.0925 | 400.6497 | 399.5806 | 46.284 | 47.0182 | 35.7535 | 36.3206 | 499.9091 | 1499.5237 | 268.9001 | 76.1247 | 2.3284 | 0.13957 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7492 | 0.004429 | 314.4597 | 318.5805 | 239.9238 | 0.69943 | 7.9484 | 104.4123 | 57.3941 | 43.3701 | 8.8572 | 0.071325 | 3.5792 | 5.2779 | 0.044668 | 20.4371 | 0.67188 | 41.3613 | 398.4204 | 0.004544
67 | 14:51:23 | 1452 | 0 | 4.3771 | 0.072338 | 268.4692 | 4.429 | 4.3691 | 41.3097 | 0.86952 | 2.5465 | 1 | 5.0929 | 45.4305 | 41.3097 | 47.0925 | 400.6497 | 399.5806 | 46.284 | 47.0182 | 35.7535 | 36.3206 | 499.9091 | 1499.5237 | 268.9001 | 76.1247 | 2.3284 | 0.13957 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7492 | 0.004429 | 314.4597 | 318.5805 | 239.9238 | 0.69943 | 7.9484 | 104.4123 | 57.3941 | 43.3701 | 8.8572 | 0.071325 | 3.5792 | 5.2779 | 0.044668 | 20.4371 | 0.67188 | 41.3613 | 398.4204 | 0.004544
68 | 14:51:23 | 1452.5 | 0 | 4.3178 | 0.072281 | 269.6196 | 4.4243 | 4.368 | 41.3059 | 0.86952 | 2.5465 | 1 | 5.0929 | 45.4306 | 41.3059 | 47.0923 | 400.5818 | 399.5233 | 46.279 | 47.0124 | 35.7493 | 36.3158 | 499.9244 | 1499.6104 | 268.891 | 76.1246 | 2.3284 | 0.13957 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7494 | 0.0044243 | 314.4559 | 318.5806 | 239.9377 | 0.7013 | 7.9468 | 104.3917 | 57.3793 | 43.3683 | 8.8564 | 0.07127 | 3.5788 | 5.2776 | 0.044633 | 20.5247 | 0.67485 | 41.365 | 398.3788 | 0.0044833
69 | 14:51:24 | 1453 | 0 | 4.3518 | 0.072212 | 268.7726 | 4.4194 | 4.3673 | 41.3035 | 0.86952 | 2.5465 | 1 | 5.0929 | 45.4313 | 41.3035 | 47.091 | 400.5436 | 399.4796 | 46.275 | 47.0076 | 35.7452 | 36.3111 | 499.9006 | 1499.662 | 268.9069 | 76.125 | 2.3284 | 0.13957 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7491 | 0.0044194 | 314.4535 | 318.5813 | 239.9459 | 0.70314 | 7.9458 | 104.3778 | 57.3702 | 43.3674 | 8.856 | 0.071203 | 3.5785 | 5.2775 | 0.044591 | 20.4603 | 0.67281 | 41.3663 | 398.3261 | 0.0045193
70 | 14:51:24 | 1453.5 | 0 | 4.8605 | 0.07244 | 258.1505 | 4.4353 | 4.3694 | 41.3077 | 0.86952 | 2.5465 | 1 | 5.0929 | 45.4335 | 41.3077 | 47.0923 | 400.567 | 399.4135 | 46.2691 | 47.0043 | 35.7366 | 36.3044 | 499.9157 | 1499.725 | 268.9436 | 76.1249 | 2.3284 | 0.13957 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7493 | 0.0044353 | 314.4577 | 318.5835 | 239.956 | 0.69817 | 7.9475 | 104.4015 | 57.3972 | 43.3706 | 8.8574 | 0.071424 | 3.5782 | 5.2792 | 0.04473 | 19.6517 | 0.64632 | 41.354 | 398.1251 | 0.0050487
71 | 14:51:25 | 1454 | 0 | 5.2213 | 0.07232 | 250.2143 | 4.4305 | 4.3717 | 41.3129 | 0.86952 | 2.5465 | 1 | 5.0929 | 45.4332 | 41.3129 | 47.0916 | 400.5729 | 399.357 | 46.2675 | 47.0019 | 35.7357 | 36.303 | 499.9032 | 1499.7709 | 269.0927 | 76.125 | 2.3284 | 0.13957 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7492 | 0.0044305 | 314.4629 | 318.5832 | 239.9633 | 0.6992 | 7.9497 | 104.4296 | 57.4277 | 43.3731 | 8.8586 | 0.071307 | 3.578 | 5.2806 | 0.044657 | 19.0476 | 0.62654 | 41.3364 | 397.973 | 0.0054232
72 | 14:51:25 | 1454.5 | 0 | 5.1534 | 0.072326 | 251.6173 | 4.4328 | 4.3736 | 41.3168 | 0.86952 | 2.5465 | 1 | 5.0929 | 45.4336 | 41.3168 | 47.0905 | 400.515 | 399.3108 | 46.263 | 46.9978 | 35.7319 | 36.2994 | 499.9146 | 1499.8109 | 269.0385 | 76.1254 | 2.3284 | 0.13957 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7493 | 0.0044328 | 314.4668 | 318.5836 | 239.9697 | 0.6982 | 7.9513 | 104.4506 | 57.4528 | 43.3752 | 8.8595 | 0.071313 | 3.5777 | 5.2818 | 0.044661 | 19.1545 | 0.63013 | 41.3221 | 397.9447 | 0.0053512
73 | 14:51:26 | 1455 | 0 | 5.3047 | 0.07221 | 248.1578 | 4.4245 | 4.3724 | 41.3124 | 0.86952 | 2.5465 | 1 | 5.0929 | 45.4334 | 41.3124 | 47.0896 | 400.4735 | 399.2437 | 46.2573 | 46.9906 | 35.7275 | 36.2939 | 499.9619 | 1499.7892 | 269.1534 | 76.1247 | 2.3284 | 0.13957 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7498 | 0.0044245 | 314.4624 | 318.5834 | 239.9663 | 0.7011 | 7.9495 | 104.4275 | 57.4369 | 43.3729 | 8.8585 | 0.0712 | 3.5771 | 5.2814 | 0.04459 | 18.8909 | 0.62157 | 41.325 | 397.8376 | 0.0055102
74 | 14:51:26 | 1455.5 | 0 | 5.1827 | 0.072284 | 250.8405 | 4.4296 | 4.373 | 41.3131 | 0.86952 | 2.5465 | 1 | 5.0929 | 45.4339 | 41.3131 | 47.089 | 400.4179 | 399.209 | 46.2529 | 46.9871 | 35.7229 | 36.2899 | 499.9574 | 1499.809 | 269.0185 | 76.124 | 2.3284 | 0.13957 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7498 | 0.0044296 | 314.4631 | 318.5839 | 239.9694 | 0.69955 | 7.9498 | 104.4323 | 57.4452 | 43.3735 | 8.8588 | 0.071273 | 3.5768 | 5.2819 | 0.044635 | 19.095 | 0.62834 | 41.32 | 397.8352 | 0.0053829
75 | 14:51:27 | 1456 | 0 | 4.84 | 0.072217 | 258.068 | 4.4266 | 4.3739 | 41.315 | 0.86952 | 2.5465 | 1 | 5.0929 | 45.4329 | 41.315 | 47.0888 | 400.373 | 399.224 | 46.2512 | 46.9849 | 35.7233 | 36.2899 | 499.9738 | 1499.8224 | 269.0324 | 76.1239 | 2.3284 | 0.13957 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.75 | 0.0044266 | 314.465 | 318.5829 | 239.9716 | 0.70021 | 7.9506 | 104.443 | 57.4582 | 43.374 | 8.859 | 0.071207 | 3.5767 | 5.2823 | 0.044594 | 19.6452 | 0.64642 | 41.3118 | 397.941 | 0.0050246 | 4.7542 | 45.4309 | 41.3146 | #DIV/0! | 1452.7333 | 0 | 4.7542 | 0.072223 | 260.1503 | 4.4248 | 4.3718 | 41.3146 | 0.86952 | 2.5465 | 1 | 5.0929 | 45.4309 | 41.3146 | 47.092 | 400.6071 | 399.4728 | 46.2769 | 47.0103 | 35.747 | 36.3135 | 499.9265 | 1499.5751 | 268.9824 | 76.1241 | 2.3284 | 0.13957 | 0.84444 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7494 | 0.0044248 | 314.4646 | 318.5809 | 239.932 | 0.70032 | 7.9504 | 104.4403 | 57.43 | 43.3727 | 8.8584 | 0.071213 | 3.5786 | 5.2798 | 0.044598 | 19.8037 | 0.65123 | 41.3384 | 398.2126 | 0.0049353
Remark= | "14:51:37 Coolers: Tblock -> 50.00 C"
Remark= | "14:56:12 Flow: Fixed -> 500 umol/s"
76 | 14:56:25 | 1755 | 0 | 3.7556 | 0.11502 | 305.1285 | 8.0691 | 5.0182 | 42.96 | 0.86952 | 2.5465 | 1 | 5.0929 | 48.1583 | 42.96 | 49.8179 | 399.8559 | 398.6432 | 46.6362 | 47.9723 | 31.3473 | 32.2454 | 499.9306 | 1499.3478 | 267.3684 | 76.1117 | 2.9783 | 0.1115 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7495 | 0.0080691 | 316.11 | 321.3083 | 239.8956 | -0.30057 | 8.6695 | 113.9049 | 65.9325 | 45.5592 | 9.92 | 0.11248 | 3.6513 | 6.2687 | 0.070523 | 23.2238 | 0.76542 | 38.4095 | 397.6477 | 0.0036276
77 | 14:56:25 | 1755.5 | 0 | 3.824 | 0.11483 | 304.1149 | 8.0557 | 5.0178 | 42.9586 | 0.86952 | 2.5465 | 1 | 5.0929 | 48.1577 | 42.9586 | 49.8181 | 399.8472 | 398.6236 | 46.6347 | 47.9687 | 31.3473 | 32.244 | 499.9166 | 1499.3529 | 267.4389 | 76.112 | 2.9783 | 0.1115 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7493 | 0.0080557 | 316.1086 | 321.3077 | 239.8965 | -0.29639 | 8.6688 | 113.8956 | 65.927 | 45.5581 | 9.9194 | 0.1123 | 3.651 | 6.2685 | 0.070412 | 23.1468 | 0.76291 | 38.4079 | 397.6099 | 0.0036939
78 | 14:56:26 | 1755.5 | 0 | 3.824 | 0.11483 | 304.1149 | 8.0557 | 5.0178 | 42.9586 | 0.86952 | 2.5465 | 1 | 5.0929 | 48.1577 | 42.9586 | 49.8181 | 399.8472 | 398.6236 | 46.6347 | 47.9687 | 31.3473 | 32.244 | 499.9166 | 1499.3529 | 267.4389 | 76.112 | 2.9783 | 0.1115 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7493 | 0.0080557 | 316.1086 | 321.3077 | 239.8965 | -0.29639 | 8.6688 | 113.8956 | 65.927 | 45.5581 | 9.9194 | 0.1123 | 3.651 | 6.2685 | 0.070412 | 23.1468 | 0.76291 | 38.4079 | 397.6099 | 0.0036939
79 | 14:56:26 | 1756 | 0 | 3.9939 | 0.11493 | 301.8735 | 8.0573 | 5.0147 | 42.9512 | 0.86952 | 2.5465 | 1 | 5.0929 | 48.1573 | 42.9512 | 49.8185 | 399.8425 | 398.5891 | 46.6322 | 47.9664 | 31.3463 | 32.2432 | 499.8917 | 1499.3606 | 267.3758 | 76.112 | 2.9783 | 0.1115 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.749 | 0.0080573 | 316.1012 | 321.3073 | 239.8977 | -0.29621 | 8.6655 | 113.8517 | 65.8853 | 45.5542 | 9.9175 | 0.1124 | 3.6508 | 6.2666 | 0.070472 | 22.9762 | 0.75735 | 38.4258 | 397.5305 | 0.0038605
80 | 14:56:27 | 1756.5 | 0 | 3.8919 | 0.11499 | 303.317 | 8.0549 | 5.0108 | 42.9422 | 0.86952 | 2.5465 | 1 | 5.0929 | 48.1571 | 42.9422 | 49.8174 | 399.8459 | 398.6104 | 46.6299 | 47.9638 | 31.3449 | 32.2416 | 499.8607 | 1499.3784 | 267.3308 | 76.1119 | 2.9783 | 0.1115 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7487 | 0.0080549 | 316.0922 | 321.3071 | 239.9005 | -0.29462 | 8.6614 | 113.7985 | 65.8347 | 45.5497 | 9.9151 | 0.11245 | 3.6506 | 6.2645 | 0.070508 | 23.086 | 0.76094 | 38.4469 | 397.5787 | 0.0037636
81 | 14:56:27 | 1757 | 0 | 4.0952 | 0.11485 | 300.5193 | 8.0465 | 5.0116 | 42.9436 | 0.86952 | 2.5465 | 1 | 5.0929 | 48.1571 | 42.9436 | 49.8175 | 399.8824 | 398.6121 | 46.6282 | 47.9608 | 31.3441 | 32.2399 | 499.8561 | 1499.4856 | 267.3568 | 76.1123 | 2.9783 | 0.1115 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7486 | 0.0080465 | 316.0936 | 321.3071 | 239.9177 | -0.29209 | 8.662 | 113.8062 | 65.8454 | 45.5503 | 9.9155 | 0.11232 | 3.6504 | 6.2651 | 0.070423 | 22.8732 | 0.75391 | 38.4393 | 397.5266 | 0.0039599
82 | 14:56:28 | 1757.5 | 0 | 3.8813 | 0.11507 | 303.5187 | 8.0595 | 5.0104 | 42.9409 | 0.86952 | 2.5465 | 1 | 5.0929 | 48.1576 | 42.9409 | 49.8178 | 399.8669 | 398.6329 | 46.6265 | 47.9612 | 31.3419 | 32.2391 | 499.8577 | 1499.48 | 267.451 | 76.1121 | 2.9783 | 0.1115 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7486 | 0.0080595 | 316.0909 | 321.3076 | 239.9168 | -0.29575 | 8.6608 | 113.7903 | 65.829 | 45.5493 | 9.9149 | 0.11253 | 3.6504 | 6.2645 | 0.070555 | 23.1015 | 0.7614 | 38.4491 | 397.6041 | 0.0037533
83 | 14:56:28 | 1758 | 0 | 3.9708 | 0.11481 | 302.1744 | 8.0437 | 5.0118 | 42.9435 | 0.86952 | 2.5465 | 1 | 5.0929 | 48.1579 | 42.9435 | 49.819 | 399.8688 | 398.6203 | 46.6255 | 47.9576 | 31.3407 | 32.2362 | 499.8605 | 1499.5801 | 267.4585 | 76.112 | 2.9783 | 0.1115 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7487 | 0.0080437 | 316.0935 | 321.3079 | 239.9328 | -0.29104 | 8.662 | 113.8057 | 65.8481 | 45.5507 | 9.9157 | 0.11228 | 3.6501 | 6.2655 | 0.070396 | 22.9991 | 0.75805 | 38.4361 | 397.5677 | 0.0038389
84 | 14:56:29 | 1758.5 | 0 | 4.056 | 0.11468 | 300.9675 | 8.0351 | 5.0117 | 42.9427 | 0.86952 | 2.5465 | 1 | 5.0929 | 48.1585 | 42.9427 | 49.8204 | 399.8765 | 398.6138 | 46.6246 | 47.9553 | 31.339 | 32.2334 | 499.8896 | 1499.6871 | 267.5066 | 76.1113 | 2.9783 | 0.1115 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.749 | 0.0080351 | 316.0927 | 321.3085 | 239.9499 | -0.28817 | 8.6617 | 113.8025 | 65.8472 | 45.5506 | 9.9156 | 0.11216 | 3.6499 | 6.2657 | 0.070321 | 22.907 | 0.75504 | 38.4338 | 397.5387 | 0.0039213
85 | 14:56:29 | 1759 | 0 | 4.1257 | 0.11474 | 300.0703 | 8.0338 | 5.0084 | 42.9353 | 0.86952 | 2.5465 | 1 | 5.0929 | 48.1589 | 42.9353 | 49.821 | 399.8736 | 398.5989 | 46.6244 | 47.9548 | 31.3379 | 32.2321 | 499.8973 | 1499.7335 | 267.4765 | 76.1109 | 2.9783 | 0.1115 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7491 | 0.0080338 | 316.0853 | 321.3089 | 239.9574 | -0.28696 | 8.6583 | 113.7589 | 65.804 | 45.5471 | 9.9138 | 0.11221 | 3.6499 | 6.264 | 0.070357 | 22.8386 | 0.75281 | 38.4528 | 397.5053 | 0.003991
86 | 14:56:30 | 1759.5 | 0 | 4.0001 | 0.1148 | 301.8111 | 8.0361 | 5.0073 | 42.9327 | 0.86952 | 2.5465 | 1 | 5.0929 | 48.1589 | 42.9327 | 49.8217 | 399.8687 | 398.6158 | 46.6235 | 47.9543 | 31.3372 | 32.2317 | 499.9077 | 1499.7963 | 267.4311 | 76.1106 | 2.9783 | 0.1115 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7492 | 0.0080361 | 316.0827 | 321.3089 | 239.9674 | -0.28735 | 8.6571 | 113.7439 | 65.7896 | 45.5458 | 9.9132 | 0.11227 | 3.6498 | 6.2634 | 0.070393 | 22.971 | 0.75715 | 38.4594 | 397.5555 | 0.0038696
87 | 14:56:30 | 1760 | 0 | 3.9152 | 0.11492 | 302.9814 | 8.0457 | 5.0085 | 42.9353 | 0.86952 | 2.5465 | 1 | 5.0929 | 48.159 | 42.9353 | 49.822 | 399.8426 | 398.6039 | 46.6215 | 47.9537 | 31.3359 | 32.2314 | 499.9439 | 1499.8601 | 267.4237 | 76.1109 | 2.9783 | 0.1115 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7496 | 0.0080457 | 316.0853 | 321.309 | 239.9776 | -0.29046 | 8.6583 | 113.7589 | 65.8052 | 45.5472 | 9.9139 | 0.11238 | 3.6498 | 6.2641 | 0.070461 | 23.0602 | 0.76011 | 38.4538 | 397.566 | 0.003787
88 | 14:56:31 | 1760.5 | 0 | 3.7921 | 0.11498 | 304.6196 | 8.0593 | 5.0139 | 42.9474 | 0.86952 | 2.5465 | 1 | 5.0929 | 48.1599 | 42.9474 | 49.8229 | 399.8197 | 398.6015 | 46.6199 | 47.9543 | 31.3333 | 32.2302 | 499.9787 | 1499.8856 | 267.3357 | 76.1108 | 2.9783 | 0.1115 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.75 | 0.0080593 | 316.0974 | 321.3099 | 239.9817 | -0.29562 | 8.6637 | 113.8307 | 65.8764 | 45.5536 | 9.9172 | 0.11244 | 3.6498 | 6.2673 | 0.070501 | 23.1848 | 0.76422 | 38.4245 | 397.5964 | 0.0036647
89 | 14:56:31 | 1761 | 0 | 3.6209 | 0.11487 | 306.8796 | 8.0545 | 5.0157 | 42.9509 | 0.86952 | 2.5465 | 1 | 5.0929 | 48.1595 | 42.9509 | 49.8229 | 399.8157 | 398.6277 | 46.6183 | 47.9518 | 31.333 | 32.2294 | 499.9852 | 1499.8745 | 267.3311 | 76.111 | 2.9783 | 0.1115 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7501 | 0.0080545 | 316.1009 | 321.3095 | 239.9799 | -0.29452 | 8.6653 | 113.8511 | 65.8993 | 45.5552 | 9.9179 | 0.11234 | 3.6497 | 6.2683 | 0.070433 | 23.3569 | 0.76984 | 38.4122 | 397.6679 | 0.0034975
90 | 14:56:32 | 1761.5 | 0 | 3.7356 | 0.11483 | 305.3083 | 8.0547 | 5.0176 | 42.9549 | 0.86952 | 2.5465 | 1 | 5.0929 | 48.16 | 42.9549 | 49.8237 | 399.8403 | 398.6322 | 46.6161 | 47.9497 | 31.331 | 32.2273 | 499.9839 | 1499.9532 | 267.2765 | 76.1114 | 2.9783 | 0.1115 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7501 | 0.0080547 | 316.1049 | 321.31 | 239.9925 | -0.29484 | 8.6671 | 113.8745 | 65.9247 | 45.5574 | 9.9191 | 0.11229 | 3.6495 | 6.2696 | 0.070407 | 23.2375 | 0.76589 | 38.3998 | 397.642 | 0.0036075 | 3.8988 | 48.1584 | 42.9465 | #DIV/0! | 1758.0667 | 0 | 3.8988 | 0.11488 | 303.1599 | 8.0508 | 5.0131 | 42.9465 | 0.86952 | 2.5465 | 1 | 5.0929 | 48.1584 | 42.9465 | 49.8199 | 399.8529 | 398.6166 | 46.6264 | 47.9596 | 31.3405 | 32.2366 | 499.9118 | 1499.6086 | 267.4 | 76.1115 | 2.9783 | 0.1115 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.7493 | 0.0080508 | 316.0965 | 321.3084 | 239.9374 | -0.2934 | 8.6634 | 113.8246 | 65.865 | 45.5524 | 9.9165 | 0.11234 | 3.6503 | 6.2663 | 0.070438 | 23.074 | 0.76053 | 38.4306 | 397.5831 | 0.0037687