## stm-pbchan3_
OPEN 6.2.4
Thr Jul 2 2015 12:43:33
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "12:43:39 Coolers: Tblock -> 0.00 C"
Remark= | "12:56:05 Coolers: Tblock -> 4.91 C"
Remark= | "12:56:33 Flow: Fixed -> 500 umol/s"
1 | 12:56:47 | 799 | 0 | 18.4949 | 0.37323 | 284.1041 | 5.6178 | 1.1337 | 13.2701 | 5.188 | 1.5983 | 1 | 3.1966 | 7.5974 | 13.2701 | 4.9358 | 401.5229 | 380.1154 | -0.0041497 | 5.7915 | -0.027094 | 37.8138 | 499.963 | 1499.4589 | 295.7364 | 68.4071 | -0.096612 | 0.26119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.9637 | 0.0056178 | 286.4201 | 280.7474 | 239.9134 | -0.68908 | 1.5299 | 22.3644 | 16.5728 | 10.4338 | 1.2688 | 0.33421 | 0.39618 | 0.87258 | 0.21207 | 19.4347 | 0.74742 | 32.6963 | 372.3045 | 0.016243
2 | 12:56:48 | 799 | 0 | 18.4949 | 0.37323 | 284.1041 | 5.6178 | 1.1337 | 13.2701 | 5.188 | 1.5983 | 1 | 3.1966 | 7.5974 | 13.2701 | 4.9358 | 401.5229 | 380.1154 | -0.0041497 | 5.7915 | -0.027094 | 37.8138 | 499.963 | 1499.4589 | 295.7364 | 68.4071 | -0.096612 | 0.26119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.9637 | 0.0056178 | 286.4201 | 280.7474 | 239.9134 | -0.68908 | 1.5299 | 22.3644 | 16.5728 | 10.4338 | 1.2688 | 0.33421 | 0.39618 | 0.87258 | 0.21207 | 19.4347 | 0.74742 | 32.6963 | 372.3045 | 0.016243
3 | 12:56:48 | 799.5 | 0 | 18.522 | 0.37318 | 283.953 | 5.6164 | 1.1335 | 13.2672 | 5.188 | 1.5983 | 1 | 3.1966 | 7.5981 | 13.2672 | 4.9361 | 401.5319 | 380.0981 | -0.0041185 | 5.7898 | -0.026889 | 37.8003 | 499.9876 | 1499.5605 | 296.45 | 68.4067 | -0.096612 | 0.26119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96375 | 0.0056164 | 286.4172 | 280.7481 | 239.9297 | -0.68781 | 1.5296 | 22.3602 | 16.5705 | 10.4327 | 1.2687 | 0.33417 | 0.39606 | 0.8726 | 0.21204 | 19.4243 | 0.74705 | 32.6929 | 372.2758 | 0.016266
4 | 12:56:49 | 800 | 0 | 18.533 | 0.37309 | 283.8832 | 5.6155 | 1.1336 | 13.267 | 5.188 | 1.5983 | 1 | 3.1966 | 7.5987 | 13.267 | 4.9369 | 401.5431 | 380.0982 | -0.0042246 | 5.7888 | -0.02758 | 37.7921 | 499.9888 | 1499.5895 | 296.6515 | 68.4064 | -0.096612 | 0.26119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96375 | 0.0056155 | 286.417 | 280.7487 | 239.9343 | -0.68726 | 1.5296 | 22.36 | 16.5713 | 10.4328 | 1.2687 | 0.3341 | 0.39599 | 0.87269 | 0.212 | 19.4194 | 0.74687 | 32.6874 | 372.2712 | 0.016273
5 | 12:56:49 | 800.5 | 0 | 18.5182 | 0.37305 | 283.9522 | 5.615 | 1.1336 | 13.2669 | 5.188 | 1.5983 | 1 | 3.1966 | 7.5994 | 13.2669 | 4.9375 | 401.5368 | 380.1072 | -0.0039309 | 5.7886 | -0.025662 | 37.7891 | 499.9831 | 1499.5825 | 296.55 | 68.4061 | -0.096612 | 0.26119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96374 | 0.005615 | 286.4169 | 280.7494 | 239.9332 | -0.68695 | 1.5296 | 22.36 | 16.5714 | 10.4331 | 1.2687 | 0.33407 | 0.39598 | 0.87273 | 0.21198 | 19.4241 | 0.74703 | 32.686 | 372.2865 | 0.016259
6 | 12:56:50 | 801 | 0 | 18.5118 | 0.37309 | 283.967 | 5.6155 | 1.1336 | 13.2675 | 5.188 | 1.5983 | 1 | 3.1966 | 7.5998 | 13.2675 | 4.9384 | 401.5084 | 380.0844 | -0.0042503 | 5.7891 | -0.027746 | 37.7915 | 499.9601 | 1499.6827 | 296.2677 | 68.4063 | -0.096612 | 0.26119 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96369 | 0.0056155 | 286.4175 | 280.7498 | 239.9492 | -0.68706 | 1.5296 | 22.3608 | 16.5717 | 10.4336 | 1.2687 | 0.33409 | 0.39601 | 0.87273 | 0.21199 | 19.4251 | 0.74712 | 32.6879 | 372.2664 | 0.016255
7 | 12:56:50 | 801.5 | 0 | 18.4938 | 0.37306 | 284.0411 | 5.6148 | 1.1335 | 13.2663 | 5.188 | 1.5983 | 1 | 3.1966 | 7.6006 | 13.2663 | 4.9386 | 401.485 | 380.08 | -0.0041562 | 5.7884 | -0.027131 | 37.785 | 499.9612 | 1499.6877 | 295.8467 | 68.4066 | -0.096612 | 0.26119 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96369 | 0.0056148 | 286.4163 | 280.7506 | 239.95 | -0.68648 | 1.5295 | 22.359 | 16.5706 | 10.4334 | 1.2687 | 0.33407 | 0.39597 | 0.87276 | 0.21198 | 19.4303 | 0.74732 | 32.6865 | 372.2696 | 0.016238
8 | 12:56:51 | 802 | 0 | 18.4816 | 0.37313 | 284.0913 | 5.615 | 1.1334 | 13.2647 | 5.188 | 1.5983 | 1 | 3.1966 | 7.6005 | 13.2647 | 4.9389 | 401.4488 | 380.0565 | -0.0043754 | 5.7884 | -0.028561 | 37.7849 | 499.9586 | 1499.6827 | 295.4161 | 68.4061 | -0.096612 | 0.26119 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96369 | 0.005615 | 286.4147 | 280.7505 | 239.9492 | -0.6864 | 1.5293 | 22.3567 | 16.5683 | 10.4326 | 1.2687 | 0.33413 | 0.39596 | 0.87269 | 0.21202 | 19.4336 | 0.7475 | 32.6903 | 372.2512 | 0.01623
9 | 12:56:51 | 802.5 | 0 | 18.4407 | 0.37311 | 284.3001 | 5.6134 | 1.1331 | 13.2612 | 5.188 | 1.5983 | 1 | 3.1966 | 7.601 | 13.2612 | 4.9385 | 401.4281 | 380.0789 | -0.0044578 | 5.7867 | -0.029098 | 37.7726 | 499.9629 | 1499.6666 | 295.0099 | 68.4062 | -0.096612 | 0.26119 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.9637 | 0.0056134 | 286.4112 | 280.751 | 239.9467 | -0.68527 | 1.529 | 22.3516 | 16.5649 | 10.4311 | 1.2685 | 0.33411 | 0.39585 | 0.87268 | 0.212 | 19.4479 | 0.748 | 32.6886 | 372.2909 | 0.016192
10 | 12:56:52 | 803 | 0 | 18.4428 | 0.3732 | 284.3078 | 5.6138 | 1.1329 | 13.2593 | 5.188 | 1.5983 | 1 | 3.1966 | 7.6009 | 13.2593 | 4.9385 | 401.426 | 380.0745 | -0.0046798 | 5.7868 | -0.030547 | 37.7736 | 499.9647 | 1499.6226 | 294.6522 | 68.4062 | -0.096612 | 0.26119 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.9637 | 0.0056138 | 286.4093 | 280.7509 | 239.9396 | -0.68531 | 1.5288 | 22.3488 | 16.562 | 10.4301 | 1.2684 | 0.33419 | 0.39585 | 0.87259 | 0.21205 | 19.4484 | 0.74803 | 32.6938 | 372.2857 | 0.016196
11 | 12:56:52 | 803.5 | 0 | 18.4701 | 0.37322 | 284.1842 | 5.6148 | 1.1331 | 13.2613 | 5.188 | 1.5983 | 1 | 3.1966 | 7.6007 | 13.2613 | 4.9386 | 401.4557 | 380.0751 | -0.0053263 | 5.7873 | -0.034768 | 37.7777 | 499.9566 | 1499.5309 | 294.1101 | 68.4065 | -0.096612 | 0.26119 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96369 | 0.0056148 | 286.4113 | 280.7507 | 239.9249 | -0.68621 | 1.529 | 22.3516 | 16.5643 | 10.431 | 1.2685 | 0.3342 | 0.39589 | 0.87263 | 0.21206 | 19.44 | 0.74771 | 32.6932 | 372.2747 | 0.01622
12 | 12:56:53 | 804 | 0 | 18.501 | 0.37337 | 284.0832 | 5.6164 | 1.133 | 13.2605 | 5.188 | 1.5983 | 1 | 3.1966 | 7.6007 | 13.2605 | 4.9373 | 401.4985 | 380.0856 | -0.0065882 | 5.7876 | -0.043005 | 37.7793 | 499.9667 | 1499.4819 | 293.4525 | 68.4068 | -0.096612 | 0.26119 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96371 | 0.0056164 | 286.4105 | 280.7507 | 239.9171 | -0.68695 | 1.5289 | 22.3504 | 16.5628 | 10.4306 | 1.2685 | 0.33432 | 0.39591 | 0.87258 | 0.21214 | 19.4332 | 0.74742 | 32.6984 | 372.2722 | 0.01625
13 | 12:56:53 | 804.5 | 0 | 18.5219 | 0.37329 | 283.9549 | 5.6159 | 1.1331 | 13.261 | 5.188 | 1.5983 | 1 | 3.1966 | 7.6004 | 13.261 | 4.9367 | 401.506 | 380.0721 | -0.0072102 | 5.7864 | -0.047066 | 37.7725 | 499.9742 | 1499.4926 | 292.7273 | 68.4066 | -0.096612 | 0.26119 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96372 | 0.0056159 | 286.411 | 280.7504 | 239.9188 | -0.68682 | 1.529 | 22.3513 | 16.5648 | 10.4307 | 1.2685 | 0.33426 | 0.39583 | 0.87267 | 0.2121 | 19.4244 | 0.74711 | 32.6913 | 372.2498 | 0.016266
14 | 12:56:54 | 805 | 0 | 18.5601 | 0.37315 | 283.753 | 5.6151 | 1.1334 | 13.2626 | 5.188 | 1.5983 | 1 | 3.1966 | 7.6005 | 13.2626 | 4.9361 | 401.5518 | 380.0791 | -0.0069189 | 5.7857 | -0.045165 | 37.7674 | 499.9897 | 1499.4299 | 291.8039 | 68.4066 | -0.096612 | 0.26119 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96375 | 0.0056151 | 286.4126 | 280.7505 | 239.9088 | -0.68669 | 1.5291 | 22.3535 | 16.5679 | 10.4315 | 1.2686 | 0.33415 | 0.39578 | 0.87279 | 0.21203 | 19.4106 | 0.74656 | 32.6832 | 372.2407 | 0.016296
15 | 12:56:54 | 805.5 | 0 | 18.5972 | 0.37312 | 283.5676 | 5.6166 | 1.1337 | 13.2671 | 5.188 | 1.5983 | 1 | 3.1966 | 7.6006 | 13.2671 | 4.937 | 401.5883 | 380.0774 | -0.0073973 | 5.7866 | -0.048287 | 37.7726 | 500.0073 | 1499.3755 | 290.6991 | 68.4062 | -0.096612 | 0.26119 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96378 | 0.0056166 | 286.4171 | 280.7506 | 239.9001 | -0.68799 | 1.5296 | 22.3603 | 16.5737 | 10.4339 | 1.2688 | 0.33412 | 0.39584 | 0.87293 | 0.21201 | 19.3978 | 0.74608 | 32.6786 | 372.2233 | 0.016327 | 18.5056 | 7.5998 | 13.2648 | #DIV/0! | 802.0333 | 0 | 18.5056 | 0.37317 | 284.0165 | 5.6156 | 1.1334 | 13.2648 | 5.188 | 1.5983 | 1 | 3.1966 | 7.5998 | 13.2648 | 4.9374 | 401.5036 | 380.0865 | -0.0050623 | 5.7882 | -0.033046 | 37.7858 | 499.9725 | 1499.5536 | 294.7406 | 68.4065 | -0.096612 | 0.26119 | 0.86667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96372 | 0.0056156 | 286.4148 | 280.7498 | 239.9286 | -0.68702 | 1.5294 | 22.3569 | 16.5686 | 10.4323 | 1.2686 | 0.33416 | 0.39595 | 0.87268 | 0.21204 | 19.4286 | 0.74724 | 32.69 | 372.2711 | 0.01625
Remark= | "12:57:01 Coolers: Tblock -> 10.00 C"
Remark= | "13:00:06 Flow: Fixed -> 500 umol/s"
16 | 13:00:24 | 1015 | 0 | 19.6256 | 0.34268 | 267.097 | 5.3956 | 1.1734 | 14.7247 | 5.188 | 1.5983 | 1 | 3.1966 | 11.2389 | 14.7247 | 10.0091 | 398.4556 | 375.9848 | 1.8681 | 7.4255 | 9.5461 | 37.9453 | 499.9435 | 1499.8058 | 55.412 | 68.4015 | -0.55724 | 0.25823 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96366 | 0.0053956 | 287.8747 | 284.3889 | 239.9689 | -0.3588 | 1.6813 | 24.5796 | 17.154 | 12.9818 | 1.5013 | 0.3095 | 0.50792 | 0.99342 | 0.19617 | 18.2698 | 0.71039 | 35.9424 | 367.6964 | 0.019184
17 | 13:00:24 | 1015 | 0 | 19.6256 | 0.34268 | 267.097 | 5.3956 | 1.1734 | 14.7247 | 5.188 | 1.5983 | 1 | 3.1966 | 11.2389 | 14.7247 | 10.0091 | 398.4556 | 375.9848 | 1.8681 | 7.4255 | 9.5461 | 37.9453 | 499.9435 | 1499.8058 | 55.412 | 68.4015 | -0.55724 | 0.25823 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96366 | 0.0053956 | 287.8747 | 284.3889 | 239.9689 | -0.3588 | 1.6813 | 24.5796 | 17.154 | 12.9818 | 1.5013 | 0.3095 | 0.50792 | 0.99342 | 0.19617 | 18.2698 | 0.71039 | 35.9424 | 367.6964 | 0.019184
18 | 13:00:24 | 1015 | 0 | 19.6256 | 0.34268 | 267.097 | 5.3956 | 1.1734 | 14.7247 | 5.188 | 1.5983 | 1 | 3.1966 | 11.2389 | 14.7247 | 10.0091 | 398.4556 | 375.9848 | 1.8681 | 7.4255 | 9.5461 | 37.9453 | 499.9435 | 1499.8058 | 55.412 | 68.4015 | -0.55724 | 0.25823 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96366 | 0.0053956 | 287.8747 | 284.3889 | 239.9689 | -0.3588 | 1.6813 | 24.5796 | 17.154 | 12.9818 | 1.5013 | 0.3095 | 0.50792 | 0.99342 | 0.19617 | 18.2698 | 0.71039 | 35.9424 | 367.6964 | 0.019184
19 | 13:00:25 | 1015.5 | 0 | 19.6499 | 0.34258 | 266.9125 | 5.394 | 1.1734 | 14.7231 | 5.188 | 1.5983 | 1 | 3.1966 | 11.2391 | 14.7231 | 10.0087 | 398.4458 | 375.9498 | 1.8671 | 7.4232 | 9.5408 | 37.9323 | 499.927 | 1499.9178 | 55.4221 | 68.4013 | -0.55724 | 0.25823 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96363 | 0.005394 | 287.8731 | 284.3891 | 239.9869 | -0.35767 | 1.6811 | 24.5772 | 17.154 | 12.9811 | 1.5013 | 0.30942 | 0.50775 | 0.99352 | 0.19611 | 18.2572 | 0.70997 | 35.9344 | 367.6512 | 0.019206
20 | 13:00:25 | 1016 | 0 | 19.6406 | 0.34255 | 266.9329 | 5.3929 | 1.1732 | 14.7209 | 5.188 | 1.5983 | 1 | 3.1966 | 11.2391 | 14.7209 | 10.0088 | 398.416 | 375.929 | 1.8666 | 7.4218 | 9.5383 | 37.9256 | 499.9012 | 1499.9677 | 55.3181 | 68.4017 | -0.55724 | 0.25823 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96358 | 0.0053929 | 287.8709 | 284.3891 | 239.9948 | -0.35681 | 1.6809 | 24.5735 | 17.1517 | 12.98 | 1.5012 | 0.30939 | 0.50766 | 0.9935 | 0.1961 | 18.2587 | 0.71006 | 35.9331 | 367.6343 | 0.019197
21 | 13:00:26 | 1016.5 | 0 | 19.648 | 0.34267 | 266.8906 | 5.3927 | 1.1728 | 14.7161 | 5.188 | 1.5983 | 1 | 3.1966 | 11.239 | 14.7161 | 10.0088 | 398.383 | 375.8875 | 1.8649 | 7.4202 | 9.53 | 37.9181 | 499.8746 | 1499.9564 | 55.2342 | 68.4019 | -0.55724 | 0.25823 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96353 | 0.0053927 | 287.8661 | 284.389 | 239.993 | -0.3562 | 1.6803 | 24.5658 | 17.1456 | 12.9775 | 1.5009 | 0.30949 | 0.50756 | 0.99336 | 0.19616 | 18.2558 | 0.71003 | 35.9384 | 367.5897 | 0.019209
22 | 13:00:26 | 1017 | 0 | 19.6045 | 0.34259 | 267.0798 | 5.3912 | 1.1727 | 14.7142 | 5.188 | 1.5983 | 1 | 3.1966 | 11.2394 | 14.7142 | 10.0092 | 398.3274 | 375.8788 | 1.865 | 7.4184 | 9.5298 | 37.9075 | 499.8998 | 1499.9534 | 55.2109 | 68.4017 | -0.55724 | 0.25823 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96358 | 0.0053912 | 287.8642 | 284.3894 | 239.9925 | -0.35522 | 1.6801 | 24.5629 | 17.1445 | 12.9768 | 1.5008 | 0.30943 | 0.50743 | 0.99342 | 0.19612 | 18.2687 | 0.71055 | 35.9336 | 367.5993 | 0.019164
23 | 13:00:27 | 1017.5 | 0 | 19.5535 | 0.3426 | 267.3546 | 5.39 | 1.1724 | 14.7103 | 5.188 | 1.5983 | 1 | 3.1966 | 11.2396 | 14.7103 | 10.0092 | 398.2856 | 375.8908 | 1.8646 | 7.4167 | 9.5278 | 37.8983 | 499.9107 | 1499.9475 | 55.1749 | 68.402 | -0.55724 | 0.25823 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.9636 | 0.00539 | 287.8603 | 284.3896 | 239.9916 | -0.35421 | 1.6797 | 24.5567 | 17.14 | 12.975 | 1.5007 | 0.30944 | 0.50731 | 0.99335 | 0.19613 | 18.2876 | 0.71126 | 35.9347 | 367.6329 | 0.019113
24 | 13:00:28 | 1018 | 0 | 19.5463 | 0.3425 | 267.3309 | 5.3887 | 1.1724 | 14.709 | 5.188 | 1.5983 | 1 | 3.1966 | 11.2405 | 14.709 | 10.0099 | 398.2427 | 375.8565 | 1.8636 | 7.4142 | 9.5219 | 37.8835 | 499.9188 | 1499.9882 | 55.0505 | 68.4017 | -0.55724 | 0.25823 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96361 | 0.0053887 | 287.859 | 284.3905 | 239.9981 | -0.35329 | 1.6796 | 24.5547 | 17.1405 | 12.9748 | 1.5006 | 0.30936 | 0.50715 | 0.9935 | 0.19608 | 18.2859 | 0.71126 | 35.9261 | 367.6016 | 0.019103
25 | 13:00:28 | 1018.5 | 0 | 19.5485 | 0.34238 | 267.3024 | 5.3879 | 1.1726 | 14.7101 | 5.188 | 1.5983 | 1 | 3.1966 | 11.2417 | 14.7101 | 10.0103 | 398.2609 | 375.8724 | 1.8632 | 7.4131 | 9.5193 | 37.8749 | 499.9137 | 1500.0175 | 55.0794 | 68.4015 | -0.55724 | 0.25823 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.9636 | 0.0053879 | 287.8601 | 284.3917 | 240.0028 | -0.35286 | 1.6797 | 24.5566 | 17.1434 | 12.9759 | 1.5008 | 0.30926 | 0.50707 | 0.99369 | 0.19601 | 18.2839 | 0.71115 | 35.9178 | 367.6166 | 0.0191
26 | 13:00:29 | 1019 | 0 | 19.5753 | 0.34228 | 267.1332 | 5.3868 | 1.1727 | 14.7098 | 5.188 | 1.5983 | 1 | 3.1966 | 11.243 | 14.7098 | 10.0106 | 398.2825 | 375.8673 | 1.8625 | 7.4111 | 9.5148 | 37.8611 | 499.9316 | 1500.0886 | 54.9992 | 68.4012 | -0.55724 | 0.25823 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96364 | 0.0053868 | 287.8598 | 284.393 | 240.0142 | -0.35205 | 1.6797 | 24.5561 | 17.1449 | 12.9764 | 1.5008 | 0.30917 | 0.50693 | 0.99388 | 0.19596 | 18.2722 | 0.71071 | 35.909 | 367.6002 | 0.019122
27 | 13:00:29 | 1019.5 | 0 | 19.5562 | 0.34222 | 267.236 | 5.3871 | 1.173 | 14.7117 | 5.188 | 1.5983 | 1 | 3.1966 | 11.2441 | 14.7117 | 10.0111 | 398.2857 | 375.8918 | 1.8621 | 7.4107 | 9.5123 | 37.8562 | 499.9663 | 1500.0585 | 54.9235 | 68.4015 | -0.55724 | 0.25823 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.9637 | 0.0053871 | 287.8617 | 284.3941 | 240.0094 | -0.35232 | 1.6799 | 24.5591 | 17.1484 | 12.9779 | 1.501 | 0.30912 | 0.5069 | 0.99405 | 0.19593 | 18.2793 | 0.71094 | 35.9027 | 367.6328 | 0.019098
28 | 13:00:30 | 1020 | 0 | 19.5832 | 0.34215 | 267.095 | 5.3878 | 1.1733 | 14.7147 | 5.188 | 1.5983 | 1 | 3.1966 | 11.2446 | 14.7147 | 10.0115 | 398.3301 | 375.9088 | 1.861 | 7.41 | 9.5062 | 37.8516 | 499.9884 | 1500.0815 | 54.9192 | 68.4014 | -0.55724 | 0.25823 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96375 | 0.0053878 | 287.8647 | 284.3946 | 240.013 | -0.35289 | 1.6802 | 24.5638 | 17.1538 | 12.9796 | 1.5011 | 0.30907 | 0.50685 | 0.99427 | 0.19589 | 18.2697 | 0.71053 | 35.8934 | 367.6383 | 0.01912
29 | 13:00:30 | 1020.5 | 0 | 19.5613 | 0.342 | 267.2049 | 5.3871 | 1.1736 | 14.7165 | 5.188 | 1.5983 | 1 | 3.1966 | 11.2453 | 14.7165 | 10.0121 | 398.3473 | 375.9492 | 1.8604 | 7.4086 | 9.5029 | 37.8426 | 499.9987 | 1500.0875 | 54.9041 | 68.4015 | -0.55724 | 0.25823 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96377 | 0.0053871 | 287.8665 | 284.3953 | 240.014 | -0.35266 | 1.6804 | 24.5666 | 17.158 | 12.9809 | 1.5013 | 0.30895 | 0.50676 | 0.99449 | 0.19581 | 18.2772 | 0.71075 | 35.8824 | 367.688 | 0.01909
30 | 13:00:31 | 1021 | 0 | 19.6072 | 0.34182 | 266.9158 | 5.3859 | 1.174 | 14.7179 | 5.188 | 1.5983 | 1 | 3.1966 | 11.2456 | 14.7179 | 10.0128 | 398.3879 | 375.9435 | 1.8594 | 7.4062 | 9.4973 | 37.8292 | 500.0184 | 1500.1505 | 54.8944 | 68.4013 | -0.55724 | 0.25823 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.9638 | 0.0053859 | 287.8679 | 284.3956 | 240.0241 | -0.35213 | 1.6805 | 24.569 | 17.1628 | 12.9818 | 1.5013 | 0.3088 | 0.50659 | 0.99475 | 0.19572 | 18.2574 | 0.70999 | 35.8672 | 367.6629 | 0.019128 | 19.5968 | 11.2412 | 14.7166 | #DIV/0! | 1017.6 | 0 | 19.5968 | 0.34243 | 267.112 | 5.3906 | 1.1731 | 14.7166 | 5.188 | 1.5983 | 1 | 3.1966 | 11.2412 | 14.7166 | 10.01 | 398.3575 | 375.9187 | 1.8643 | 7.4167 | 9.5253 | 37.8944 | 499.9387 | 1499.9755 | 55.1578 | 68.4015 | -0.55724 | 0.25823 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96365 | 0.0053906 | 287.8666 | 284.3912 | 239.9961 | -0.35498 | 1.6804 | 24.5667 | 17.15 | 12.9789 | 1.5011 | 0.30929 | 0.50732 | 0.99374 | 0.19603 | 18.2709 | 0.71056 | 35.92 | 367.6424 | 0.019147
Remark= | "13:00:37 Coolers: Tblock -> 15.00 C"
Remark= | "13:03:15 Flow: Fixed -> 500 umol/s"
Remark= | "13:04:58 Flow: Fixed -> 500 umol/s"
Remark= | "13:05:55 Flow: Fixed -> 500 umol/s"
31 | 13:06:10 | 1361.5 | 0 | 17.2277 | 0.18329 | 213.1824 | 3.5107 | 1.3592 | 17.1701 | 5.188 | 1.5983 | 1 | 3.1966 | 15.3965 | 17.1701 | 15.0895 | 399.7603 | 380.4962 | 5.2544 | 8.8653 | 20.4726 | 34.5417 | 499.9281 | 1500.8829 | 64.3627 | 68.4013 | -0.69232 | 0.28524 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96363 | 0.0035107 | 290.3201 | 288.5465 | 240.1413 | 0.72051 | 1.9656 | 28.7366 | 19.8713 | 16.2833 | 1.858 | 0.17335 | 0.6064 | 1.2516 | 0.10919 | 14.582 | 0.56027 | 33.347 | 373.2205 | 0.015393
32 | 13:06:11 | 1361.5 | 0 | 17.2277 | 0.18329 | 213.1824 | 3.5107 | 1.3592 | 17.1701 | 5.188 | 1.5983 | 1 | 3.1966 | 15.3965 | 17.1701 | 15.0895 | 399.7603 | 380.4962 | 5.2544 | 8.8653 | 20.4726 | 34.5417 | 499.9281 | 1500.8829 | 64.3627 | 68.4013 | -0.69232 | 0.28524 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96363 | 0.0035107 | 290.3201 | 288.5465 | 240.1413 | 0.72051 | 1.9656 | 28.7366 | 19.8713 | 16.2833 | 1.858 | 0.17335 | 0.6064 | 1.2516 | 0.10919 | 14.582 | 0.56027 | 33.347 | 373.2205 | 0.015393
33 | 13:06:11 | 1361.5 | 0 | 17.2277 | 0.18329 | 213.1824 | 3.5107 | 1.3592 | 17.1701 | 5.188 | 1.5983 | 1 | 3.1966 | 15.3965 | 17.1701 | 15.0895 | 399.7603 | 380.4962 | 5.2544 | 8.8653 | 20.4726 | 34.5417 | 499.9281 | 1500.8829 | 64.3627 | 68.4013 | -0.69232 | 0.28524 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96363 | 0.0035107 | 290.3201 | 288.5465 | 240.1413 | 0.72051 | 1.9656 | 28.7366 | 19.8713 | 16.2833 | 1.858 | 0.17335 | 0.6064 | 1.2516 | 0.10919 | 14.582 | 0.56027 | 33.347 | 373.2205 | 0.015393
34 | 13:06:11 | 1362 | 0 | 17.22 | 0.1831 | 213.1108 | 3.5077 | 1.3594 | 17.17 | 5.188 | 1.5983 | 1 | 3.1966 | 15.3975 | 17.17 | 15.0898 | 399.7643 | 380.5098 | 5.255 | 8.8627 | 20.4737 | 34.5295 | 499.9393 | 1500.8927 | 64.5246 | 68.4014 | -0.69232 | 0.28524 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96365 | 0.0035077 | 290.32 | 288.5475 | 240.1428 | 0.72209 | 1.9656 | 28.7364 | 19.8737 | 16.2838 | 1.858 | 0.17318 | 0.60622 | 1.2518 | 0.10909 | 14.5771 | 0.56007 | 33.3349 | 373.2373 | 0.01538
35 | 13:06:12 | 1362.5 | 0 | 17.2349 | 0.18298 | 212.8771 | 3.5065 | 1.3598 | 17.1727 | 5.188 | 1.5983 | 1 | 3.1966 | 15.3981 | 17.1727 | 15.0903 | 399.7801 | 380.5109 | 5.2551 | 8.8616 | 20.4736 | 34.5242 | 499.9503 | 1500.8929 | 64.6121 | 68.4017 | -0.69232 | 0.28524 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96367 | 0.0035065 | 290.3227 | 288.5481 | 240.1429 | 0.72238 | 1.9659 | 28.7411 | 19.8795 | 16.2854 | 1.8582 | 0.17307 | 0.60615 | 1.2521 | 0.10902 | 14.5612 | 0.55945 | 33.3238 | 373.2322 | 0.015388
36 | 13:06:12 | 1363 | 0 | 17.1785 | 0.18276 | 213.2284 | 3.5037 | 1.3602 | 17.1748 | 5.188 | 1.5983 | 1 | 3.1966 | 15.3986 | 17.1748 | 15.0905 | 399.7467 | 380.537 | 5.2553 | 8.8589 | 20.4735 | 34.5122 | 499.9484 | 1500.9432 | 64.6167 | 68.4015 | -0.69232 | 0.28524 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96367 | 0.0035037 | 290.3248 | 288.5486 | 240.1509 | 0.72364 | 1.9662 | 28.7451 | 19.8862 | 16.2867 | 1.8584 | 0.17287 | 0.60596 | 1.2524 | 0.10889 | 14.5851 | 0.56034 | 33.3061 | 373.2821 | 0.015328
37 | 13:06:13 | 1363.5 | 0 | 17.1637 | 0.18259 | 213.2438 | 3.5016 | 1.3606 | 17.177 | 5.188 | 1.5983 | 1 | 3.1966 | 15.3992 | 17.177 | 15.0903 | 399.7499 | 380.5567 | 5.2558 | 8.8572 | 20.4747 | 34.5045 | 499.9572 | 1500.8811 | 64.7036 | 68.402 | -0.69232 | 0.28524 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96369 | 0.0035016 | 290.327 | 288.5492 | 240.141 | 0.72433 | 1.9665 | 28.7488 | 19.8917 | 16.2881 | 1.8585 | 0.17272 | 0.60585 | 1.2527 | 0.1088 | 14.5863 | 0.56035 | 33.2932 | 373.308 | 0.015307
38 | 13:06:13 | 1364 | 0 | 17.1439 | 0.18236 | 213.2169 | 3.4989 | 1.3612 | 17.1793 | 5.188 | 1.5983 | 1 | 3.1966 | 15.3999 | 17.1793 | 15.0909 | 399.7111 | 380.5391 | 5.2549 | 8.8535 | 20.4701 | 34.4887 | 499.9467 | 1500.8859 | 64.8118 | 68.4019 | -0.69232 | 0.28524 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96367 | 0.0034989 | 290.3293 | 288.5499 | 240.1417 | 0.72545 | 1.9668 | 28.7532 | 19.8996 | 16.2896 | 1.8587 | 0.17252 | 0.6056 | 1.2531 | 0.10867 | 14.5844 | 0.5603 | 33.272 | 373.2988 | 0.01528
39 | 13:06:14 | 1364.5 | 0 | 17.1716 | 0.18225 | 212.8489 | 3.4973 | 1.3613 | 17.1798 | 5.188 | 1.5983 | 1 | 3.1966 | 15.3999 | 17.1798 | 15.0909 | 399.7133 | 380.5131 | 5.2548 | 8.8519 | 20.47 | 34.4823 | 499.9427 | 1500.9128 | 64.8803 | 68.4017 | -0.69232 | 0.28524 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96366 | 0.0034973 | 290.3298 | 288.5499 | 240.146 | 0.7262 | 1.9668 | 28.7541 | 19.9022 | 16.2899 | 1.8588 | 0.17242 | 0.60549 | 1.2533 | 0.10861 | 14.5592 | 0.55937 | 33.2635 | 373.2611 | 0.015303
40 | 13:06:14 | 1365 | 0 | 17.1882 | 0.18209 | 212.564 | 3.4951 | 1.3616 | 17.1807 | 5.188 | 1.5983 | 1 | 3.1966 | 15.4005 | 17.1807 | 15.0916 | 399.7288 | 380.5131 | 5.2546 | 8.8493 | 20.4683 | 34.4707 | 499.9622 | 1500.8405 | 65.1177 | 68.4017 | -0.69232 | 0.28524 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.9637 | 0.0034951 | 290.3307 | 288.5505 | 240.1345 | 0.72707 | 1.9669 | 28.7558 | 19.9066 | 16.2906 | 1.8588 | 0.17228 | 0.60531 | 1.2535 | 0.10851 | 14.5397 | 0.55862 | 33.2496 | 373.2541 | 0.015311
41 | 13:06:15 | 1365.5 | 0 | 17.2277 | 0.18199 | 212.1066 | 3.4938 | 1.3618 | 17.1816 | 5.188 | 1.5983 | 1 | 3.1966 | 15.4006 | 17.1816 | 15.0915 | 399.753 | 380.4967 | 5.2546 | 8.848 | 20.4686 | 34.4659 | 499.9578 | 1500.8029 | 65.3107 | 68.4024 | -0.69232 | 0.28524 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96369 | 0.0034938 | 290.3316 | 288.5506 | 240.1285 | 0.72755 | 1.9671 | 28.7571 | 19.9092 | 16.2911 | 1.8589 | 0.17219 | 0.60522 | 1.2537 | 0.10846 | 14.5086 | 0.55745 | 33.2419 | 373.221 | 0.015344
42 | 13:06:16 | 1366 | 0 | 17.2402 | 0.1817 | 211.7423 | 3.4899 | 1.3624 | 17.1834 | 5.188 | 1.5983 | 1 | 3.1966 | 15.4004 | 17.1834 | 15.0916 | 399.7552 | 380.487 | 5.2539 | 8.8433 | 20.4658 | 34.4481 | 499.9451 | 1500.7657 | 65.3358 | 68.4023 | -0.69232 | 0.28524 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96366 | 0.0034899 | 290.3334 | 288.5504 | 240.1225 | 0.7291 | 1.9673 | 28.7605 | 19.9172 | 16.2919 | 1.859 | 0.17193 | 0.6049 | 1.2541 | 0.10829 | 14.4837 | 0.5565 | 33.2172 | 373.206 | 0.015345
43 | 13:06:16 | 1366.5 | 0 | 17.2353 | 0.1814 | 211.5451 | 3.4861 | 1.363 | 17.186 | 5.188 | 1.5983 | 1 | 3.1966 | 15.4008 | 17.186 | 15.0917 | 399.7546 | 380.4942 | 5.2532 | 8.8386 | 20.4628 | 34.4289 | 499.9771 | 1500.8 | 65.4017 | 68.4022 | -0.69232 | 0.28524 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96373 | 0.0034861 | 290.336 | 288.5508 | 240.128 | 0.7307 | 1.9676 | 28.7651 | 19.9265 | 16.2934 | 1.8592 | 0.17166 | 0.60458 | 1.2546 | 0.10812 | 14.4701 | 0.55597 | 33.1909 | 373.2153 | 0.015328
44 | 13:06:17 | 1367 | 0 | 17.2556 | 0.18124 | 211.2296 | 3.4843 | 1.3635 | 17.1884 | 5.188 | 1.5983 | 1 | 3.1966 | 15.4011 | 17.1884 | 15.0917 | 399.7823 | 380.5023 | 5.2534 | 8.8367 | 20.4628 | 34.4206 | 499.9991 | 1500.8292 | 65.4818 | 68.4019 | -0.69232 | 0.28524 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96377 | 0.0034843 | 290.3384 | 288.5511 | 240.1327 | 0.73137 | 1.9679 | 28.7698 | 19.933 | 16.2948 | 1.8593 | 0.17151 | 0.60445 | 1.2549 | 0.10803 | 14.4485 | 0.55513 | 33.1763 | 373.2149 | 0.015339
45 | 13:06:17 | 1367.5 | 0 | 17.2449 | 0.18099 | 211.1154 | 3.4809 | 1.3639 | 17.1901 | 5.188 | 1.5983 | 1 | 3.1966 | 15.4011 | 17.1901 | 15.092 | 399.7704 | 380.5027 | 5.2536 | 8.8335 | 20.4638 | 34.4078 | 499.996 | 1500.843 | 65.4931 | 68.4014 | -0.69232 | 0.28524 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96376 | 0.0034809 | 290.3401 | 288.5511 | 240.1349 | 0.73285 | 1.9681 | 28.773 | 19.9395 | 16.2956 | 1.8594 | 0.17129 | 0.60422 | 1.2552 | 0.10789 | 14.4406 | 0.55483 | 33.1572 | 373.2198 | 0.015321 | 17.2125 | 15.3992 | 17.1783 | #DIV/0! | 1364.1 | 0 | 17.2125 | 0.18235 | 212.5584 | 3.4985 | 1.3611 | 17.1783 | 5.188 | 1.5983 | 1 | 3.1966 | 15.3992 | 17.1783 | 15.0907 | 399.7527 | 380.5101 | 5.2545 | 8.8527 | 20.4697 | 34.4872 | 499.9538 | 1500.8626 | 64.8919 | 68.4017 | -0.69232 | 0.28524 | 0.77778 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96368 | 0.0034985 | 290.3283 | 288.5492 | 240.138 | 0.72562 | 1.9666 | 28.7513 | 19.8986 | 16.2887 | 1.8586 | 0.17251 | 0.60554 | 1.2531 | 0.10866 | 14.5394 | 0.55861 | 33.2712 | 373.2408 | 0.015343
Remark= | "13:06:21 Coolers: Tblock -> 20.00 C"
Remark= | "13:09:19 Flow: Fixed -> 500 umol/s"
46 | 13:09:30 | 1561 | 0 | 15.0874 | 0.13963 | 193.4182 | 2.8665 | 1.4326 | 19.3503 | 5.188 | 1.5983 | 1 | 3.1966 | 19.3668 | 19.3503 | 19.9775 | 399.3769 | 382.5844 | 9.0688 | 12.0074 | 27.4933 | 36.4018 | 499.9977 | 1499.3857 | 51.3566 | 68.3985 | -0.90142 | 0.27657 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96376 | 0.0028665 | 292.5003 | 292.5168 | 239.9017 | 1.2231 | 2.2539 | 32.9517 | 20.9444 | 19.3586 | 2.255 | 0.13378 | 0.82129 | 1.4337 | 0.084122 | 13.2295 | 0.50556 | 37.6989 | 376.2126 | 0.015119
47 | 13:09:30 | 1561 | 0 | 15.0874 | 0.13963 | 193.4182 | 2.8665 | 1.4326 | 19.3503 | 5.188 | 1.5983 | 1 | 3.1966 | 19.3668 | 19.3503 | 19.9775 | 399.3769 | 382.5844 | 9.0688 | 12.0074 | 27.4933 | 36.4018 | 499.9977 | 1499.3857 | 51.3566 | 68.3985 | -0.90142 | 0.27657 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96376 | 0.0028665 | 292.5003 | 292.5168 | 239.9017 | 1.2231 | 2.2539 | 32.9517 | 20.9444 | 19.3586 | 2.255 | 0.13378 | 0.82129 | 1.4337 | 0.084122 | 13.2295 | 0.50556 | 37.6989 | 376.2126 | 0.015119
48 | 13:09:31 | 1561.5 | 0 | 15.0426 | 0.13955 | 193.866 | 2.8659 | 1.4331 | 19.3541 | 5.188 | 1.5983 | 1 | 3.1966 | 19.3677 | 19.3541 | 19.9774 | 399.3573 | 382.6106 | 9.0692 | 12.0073 | 27.493 | 36.3999 | 499.9751 | 1499.3225 | 51.4142 | 68.3989 | -0.90142 | 0.27657 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96372 | 0.0028659 | 292.5041 | 292.5177 | 239.8916 | 1.2229 | 2.2544 | 32.9593 | 20.952 | 19.3609 | 2.2553 | 0.13371 | 0.82129 | 1.434 | 0.084075 | 13.2602 | 0.50669 | 37.6888 | 376.2578 | 0.015068
49 | 13:09:31 | 1562 | 0 | 15.0431 | 0.13954 | 193.8356 | 2.8662 | 1.4332 | 19.355 | 5.188 | 1.5983 | 1 | 3.1966 | 19.3678 | 19.355 | 19.9771 | 399.3382 | 382.591 | 9.0688 | 12.0072 | 27.4918 | 36.3992 | 499.9772 | 1499.3542 | 51.4192 | 68.3989 | -0.90142 | 0.27657 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96373 | 0.0028662 | 292.505 | 292.5178 | 239.8967 | 1.2227 | 2.2545 | 32.9613 | 20.9541 | 19.3614 | 2.2554 | 0.13371 | 0.82128 | 1.4341 | 0.084073 | 13.2582 | 0.50664 | 37.6861 | 376.238 | 0.015068
50 | 13:09:32 | 1562.5 | 0 | 14.9956 | 0.13939 | 194.2171 | 2.8639 | 1.4336 | 19.357 | 5.188 | 1.5983 | 1 | 3.1966 | 19.369 | 19.357 | 19.9775 | 399.3101 | 382.6132 | 9.0694 | 12.0053 | 27.4913 | 36.3908 | 499.9824 | 1499.3677 | 51.4913 | 68.3988 | -0.90142 | 0.27657 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96374 | 0.0028639 | 292.507 | 292.519 | 239.8988 | 1.2237 | 2.2548 | 32.9654 | 20.9601 | 19.363 | 2.2556 | 0.13356 | 0.82115 | 1.4345 | 0.08398 | 13.2842 | 0.50761 | 37.6731 | 376.2802 | 0.015014
51 | 13:09:33 | 1563 | 0 | 14.9871 | 0.13942 | 194.3553 | 2.8651 | 1.4339 | 19.3594 | 5.188 | 1.5983 | 1 | 3.1966 | 19.3711 | 19.3594 | 19.9778 | 399.3009 | 382.6126 | 9.0689 | 12.0061 | 27.4865 | 36.3885 | 499.9879 | 1499.3923 | 51.4967 | 68.3989 | -0.90142 | 0.27657 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96375 | 0.0028651 | 292.5094 | 292.5211 | 239.9028 | 1.2232 | 2.2551 | 32.9701 | 20.964 | 19.3652 | 2.2559 | 0.13359 | 0.8212 | 1.4347 | 0.084 | 13.2937 | 0.50797 | 37.6708 | 376.2832 | 0.015004
52 | 13:09:33 | 1563.5 | 0 | 14.9975 | 0.13945 | 194.2657 | 2.8656 | 1.4339 | 19.3597 | 5.188 | 1.5983 | 1 | 3.1966 | 19.3724 | 19.3597 | 19.9773 | 399.3068 | 382.6075 | 9.0693 | 12.007 | 27.4856 | 36.3886 | 499.9906 | 1499.3374 | 51.4919 | 68.3993 | -0.90142 | 0.27657 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96375 | 0.0028656 | 292.5097 | 292.5224 | 239.894 | 1.2229 | 2.2552 | 32.9706 | 20.9636 | 19.366 | 2.2561 | 0.13362 | 0.82127 | 1.4348 | 0.084018 | 13.2876 | 0.50774 | 37.6735 | 376.2737 | 0.015016
53 | 13:09:34 | 1564 | 0 | 14.9843 | 0.1394 | 194.3673 | 2.8653 | 1.4342 | 19.362 | 5.188 | 1.5983 | 1 | 3.1966 | 19.3734 | 19.362 | 19.9774 | 399.3015 | 382.6156 | 9.07 | 12.0075 | 27.486 | 36.3877 | 499.9767 | 1499.3746 | 51.457 | 68.3992 | -0.90142 | 0.27657 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96372 | 0.0028653 | 292.512 | 292.5234 | 239.8999 | 1.223 | 2.2555 | 32.9755 | 20.968 | 19.3677 | 2.2563 | 0.13358 | 0.8213 | 1.435 | 0.08399 | 13.2946 | 0.508 | 37.6685 | 376.2873 | 0.015
54 | 13:09:34 | 1564.5 | 0 | 15.0327 | 0.13929 | 193.6678 | 2.864 | 1.4347 | 19.3651 | 5.188 | 1.5983 | 1 | 3.1966 | 19.3742 | 19.3651 | 19.9783 | 399.3613 | 382.6257 | 9.0709 | 12.007 | 27.4872 | 36.3842 | 499.9783 | 1499.4518 | 51.5493 | 68.3993 | -0.90142 | 0.27657 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96373 | 0.002864 | 292.5151 | 292.5242 | 239.9123 | 1.2235 | 2.2559 | 32.9817 | 20.9748 | 19.3697 | 2.2566 | 0.13347 | 0.82127 | 1.4353 | 0.083923 | 13.2467 | 0.50615 | 37.658 | 376.277 | 0.015045
55 | 13:09:35 | 1565 | 0 | 15.0614 | 0.1393 | 193.3695 | 2.8642 | 1.4347 | 19.3652 | 5.188 | 1.5983 | 1 | 3.1966 | 19.3749 | 19.3652 | 19.9786 | 399.4149 | 382.6488 | 9.0708 | 12.0072 | 27.4857 | 36.3834 | 499.9611 | 1499.4435 | 51.6466 | 68.3993 | -0.90142 | 0.27657 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96369 | 0.0028642 | 292.5152 | 292.5249 | 239.911 | 1.2235 | 2.2559 | 32.9819 | 20.9747 | 19.37 | 2.2566 | 0.13348 | 0.82128 | 1.4353 | 0.08393 | 13.2263 | 0.50534 | 37.6587 | 376.288 | 0.015073
56 | 13:09:35 | 1565.5 | 0 | 15.0522 | 0.13925 | 193.4207 | 2.8636 | 1.4349 | 19.3668 | 5.188 | 1.5983 | 1 | 3.1966 | 19.3765 | 19.3668 | 19.9789 | 399.4157 | 382.6592 | 9.0715 | 12.0074 | 27.4851 | 36.3802 | 499.9576 | 1499.4592 | 51.645 | 68.3992 | -0.90142 | 0.27657 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96369 | 0.0028636 | 292.5168 | 292.5265 | 239.9135 | 1.2238 | 2.2562 | 32.9853 | 20.978 | 19.3717 | 2.2569 | 0.13343 | 0.82129 | 1.4356 | 0.0839 | 13.2298 | 0.50546 | 37.6543 | 376.3023 | 0.015062
57 | 13:09:36 | 1566 | 0 | 15.0372 | 0.13925 | 193.6282 | 2.864 | 1.4351 | 19.3687 | 5.188 | 1.5983 | 1 | 3.1966 | 19.3775 | 19.3687 | 19.9792 | 399.4337 | 382.6926 | 9.0717 | 12.0079 | 27.4839 | 36.3797 | 499.9601 | 1499.4626 | 51.6464 | 68.3992 | -0.90142 | 0.27657 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96369 | 0.002864 | 292.5187 | 292.5275 | 239.914 | 1.2234 | 2.2564 | 32.9891 | 20.9812 | 19.3731 | 2.2571 | 0.13343 | 0.82133 | 1.4357 | 0.0839 | 13.244 | 0.50596 | 37.6518 | 376.3421 | 0.015044
58 | 13:09:36 | 1566.5 | 0 | 15.0984 | 0.13936 | 193.0331 | 2.8664 | 1.4351 | 19.3698 | 5.188 | 1.5983 | 1 | 3.1966 | 19.3787 | 19.3698 | 19.9792 | 399.4757 | 382.6699 | 9.0714 | 12.0102 | 27.4812 | 36.3838 | 499.9484 | 1499.4293 | 51.6443 | 68.3994 | -0.90142 | 0.27657 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96367 | 0.0028664 | 292.5198 | 292.5287 | 239.9087 | 1.2223 | 2.2566 | 32.9913 | 20.9812 | 19.3743 | 2.2572 | 0.13354 | 0.82149 | 1.4357 | 0.083968 | 13.2034 | 0.50444 | 37.6581 | 376.2935 | 0.01511
59 | 13:09:37 | 1567 | 0 | 15.1286 | 0.1393 | 192.5947 | 2.8661 | 1.4356 | 19.3736 | 5.188 | 1.5983 | 1 | 3.1966 | 19.3791 | 19.3736 | 19.9799 | 399.507 | 382.67 | 9.0715 | 12.0099 | 27.4807 | 36.3824 | 499.9498 | 1499.408 | 51.6628 | 68.3998 | -0.90142 | 0.27657 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96367 | 0.0028661 | 292.5236 | 292.5291 | 239.9053 | 1.222 | 2.2571 | 32.9988 | 20.9889 | 19.3763 | 2.2575 | 0.13348 | 0.82148 | 1.436 | 0.08393 | 13.1734 | 0.50329 | 37.6478 | 376.2808 | 0.015137
60 | 13:09:37 | 1567.5 | 0 | 15.1688 | 0.13916 | 191.9105 | 2.8645 | 1.4362 | 19.3767 | 5.188 | 1.5983 | 1 | 3.1966 | 19.3804 | 19.3767 | 19.9803 | 399.5133 | 382.6346 | 9.0706 | 12.0076 | 27.476 | 36.3724 | 499.9313 | 1499.4569 | 51.6635 | 68.3999 | -0.90142 | 0.27657 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96364 | 0.0028645 | 292.5267 | 292.5304 | 239.9131 | 1.2226 | 2.2576 | 33.0053 | 20.9977 | 19.3786 | 2.2578 | 0.13335 | 0.82132 | 1.4365 | 0.083847 | 13.1267 | 0.50155 | 37.631 | 376.2285 | 0.015172 | 15.0536 | 19.3731 | 19.3623 | #DIV/0! | 1564.0333 | 0 | 15.0536 | 0.13939 | 193.5579 | 2.8652 | 1.4342 | 19.3623 | 5.188 | 1.5983 | 1 | 3.1966 | 19.3731 | 19.3623 | 19.9783 | 399.386 | 382.628 | 9.0701 | 12.0075 | 27.4867 | 36.3883 | 499.9715 | 1499.4021 | 51.5294 | 68.3992 | -0.90142 | 0.27657 | 0.91111 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96371 | 0.0028652 | 292.5123 | 292.5231 | 239.9043 | 1.223 | 2.2555 | 32.9759 | 20.9685 | 19.3677 | 2.2563 | 0.13357 | 0.8213 | 1.435 | 0.083985 | 13.2392 | 0.50586 | 37.6679 | 376.2705 | 0.01507
Remark= | "13:09:46 Coolers: Tblock -> 25.00 C"
Remark= | "13:12:02 Flow: Fixed -> 500 umol/s"
61 | 13:12:22 | 1733.5 | 0 | 14.3955 | 0.13309 | 194.4125 | 2.9271 | 1.5262 | 21.2921 | 5.188 | 1.5983 | 1 | 3.1966 | 23.4517 | 21.2921 | 25.0537 | 400.2892 | 384.1849 | 11.8455 | 14.8377 | 27.9604 | 35.0232 | 499.9737 | 1500.4622 | 50.7579 | 68.3989 | -1.2684 | 0.23192 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96372 | 0.0029271 | 294.4421 | 296.6017 | 240.0739 | 1.4493 | 2.5411 | 37.1509 | 22.3132 | 22.3719 | 2.7143 | 0.12777 | 1.0149 | 1.6994 | 0.080319 | 13.2976 | 0.50604 | 40.8009 | 378.1053 | 0.015534
62 | 13:12:22 | 1733.5 | 0 | 14.3955 | 0.13309 | 194.4125 | 2.9271 | 1.5262 | 21.2921 | 5.188 | 1.5983 | 1 | 3.1966 | 23.4517 | 21.2921 | 25.0537 | 400.2892 | 384.1849 | 11.8455 | 14.8377 | 27.9604 | 35.0232 | 499.9737 | 1500.4622 | 50.7579 | 68.3989 | -1.2684 | 0.23192 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96372 | 0.0029271 | 294.4421 | 296.6017 | 240.0739 | 1.4493 | 2.5411 | 37.1509 | 22.3132 | 22.3719 | 2.7143 | 0.12777 | 1.0149 | 1.6994 | 0.080319 | 13.2976 | 0.50604 | 40.8009 | 378.1053 | 0.015534
63 | 13:12:23 | 1733.5 | 0 | 14.3955 | 0.13309 | 194.4125 | 2.9271 | 1.5262 | 21.2921 | 5.188 | 1.5983 | 1 | 3.1966 | 23.4517 | 21.2921 | 25.0537 | 400.2892 | 384.1849 | 11.8455 | 14.8377 | 27.9604 | 35.0232 | 499.9737 | 1500.4622 | 50.7579 | 68.3989 | -1.2684 | 0.23192 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96372 | 0.0029271 | 294.4421 | 296.6017 | 240.0739 | 1.4493 | 2.5411 | 37.1509 | 22.3132 | 22.3719 | 2.7143 | 0.12777 | 1.0149 | 1.6994 | 0.080319 | 13.2976 | 0.50604 | 40.8009 | 378.1053 | 0.015534
64 | 13:12:23 | 1734 | 0 | 14.3897 | 0.13316 | 194.5529 | 2.9282 | 1.526 | 21.2912 | 5.188 | 1.5983 | 1 | 3.1966 | 23.4538 | 21.2912 | 25.0535 | 400.2603 | 384.1601 | 11.8448 | 14.8385 | 27.9553 | 35.0207 | 499.9265 | 1500.4286 | 50.6627 | 68.399 | -1.2684 | 0.23192 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96363 | 0.0029282 | 294.4412 | 296.6038 | 240.0686 | 1.4491 | 2.5409 | 37.1488 | 22.3103 | 22.3725 | 2.7144 | 0.12784 | 1.0149 | 1.6994 | 0.080361 | 13.3072 | 0.50644 | 40.8065 | 378.0829 | 0.015531
65 | 13:12:24 | 1734.5 | 0 | 14.4096 | 0.13335 | 194.5511 | 2.9322 | 1.526 | 21.2924 | 5.188 | 1.5983 | 1 | 3.1966 | 23.4571 | 21.2924 | 25.0532 | 400.2805 | 384.1579 | 11.8439 | 14.8416 | 27.9475 | 35.0212 | 499.9249 | 1500.4597 | 50.5463 | 68.3991 | -1.2684 | 0.23192 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96362 | 0.0029322 | 294.4424 | 296.6071 | 240.0735 | 1.4475 | 2.5411 | 37.1517 | 22.31 | 22.3748 | 2.7148 | 0.12801 | 1.0152 | 1.6996 | 0.080472 | 13.3071 | 0.50644 | 40.815 | 378.0724 | 0.015556
66 | 13:12:24 | 1735 | 0 | 14.4108 | 0.13341 | 194.6193 | 2.933 | 1.5258 | 21.2923 | 5.188 | 1.5983 | 1 | 3.1966 | 23.4593 | 21.2923 | 25.0526 | 400.2962 | 384.1712 | 11.845 | 14.8438 | 27.9466 | 35.0217 | 499.898 | 1500.4801 | 50.5354 | 68.3991 | -1.2684 | 0.23192 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96357 | 0.002933 | 294.4423 | 296.6093 | 240.0768 | 1.4474 | 2.5411 | 37.1513 | 22.3075 | 22.3758 | 2.7149 | 0.12806 | 1.0153 | 1.6996 | 0.080503 | 13.3118 | 0.5066 | 40.822 | 378.0852 | 0.015559
67 | 13:12:25 | 1735.5 | 0 | 14.4296 | 0.1335 | 194.5032 | 2.9353 | 1.526 | 21.2942 | 5.188 | 1.5983 | 1 | 3.1966 | 23.4618 | 21.2942 | 25.0536 | 400.314 | 384.1693 | 11.845 | 14.8459 | 27.9424 | 35.0214 | 499.9181 | 1500.4065 | 50.5312 | 68.3992 | -1.2684 | 0.23192 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96361 | 0.0029353 | 294.4442 | 296.6118 | 240.065 | 1.4463 | 2.5414 | 37.1556 | 22.3096 | 22.378 | 2.7153 | 0.12815 | 1.0154 | 1.6998 | 0.080557 | 13.3039 | 0.5063 | 40.8246 | 378.0753 | 0.015581
68 | 13:12:25 | 1736 | 0 | 14.4478 | 0.1335 | 194.2865 | 2.936 | 1.5264 | 21.2973 | 5.188 | 1.5983 | 1 | 3.1966 | 23.4643 | 21.2973 | 25.0539 | 400.3437 | 384.1802 | 11.8455 | 14.8471 | 27.9393 | 35.019 | 499.9307 | 1500.3672 | 50.4816 | 68.3993 | -1.2684 | 0.23192 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96364 | 0.002936 | 294.4473 | 296.6143 | 240.0587 | 1.4458 | 2.5419 | 37.1628 | 22.3157 | 22.3808 | 2.7158 | 0.12815 | 1.0155 | 1.7002 | 0.080556 | 13.2891 | 0.50572 | 40.8197 | 378.0785 | 0.015599
69 | 13:12:26 | 1736.5 | 0 | 14.404 | 0.13341 | 194.733 | 2.9346 | 1.5266 | 21.2985 | 5.188 | 1.5983 | 1 | 3.1966 | 23.4657 | 21.2985 | 25.0535 | 400.3323 | 384.214 | 11.8456 | 14.8459 | 27.9372 | 35.0131 | 499.9103 | 1500.4658 | 50.4696 | 68.3989 | -1.2684 | 0.23192 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.9636 | 0.0029346 | 294.4485 | 296.6157 | 240.0745 | 1.4467 | 2.5421 | 37.1655 | 22.3197 | 22.3821 | 2.716 | 0.12806 | 1.0154 | 1.7005 | 0.080502 | 13.3195 | 0.50683 | 40.812 | 378.1308 | 0.015546
70 | 13:12:26 | 1737 | 0 | 14.452 | 0.13356 | 194.3344 | 2.9386 | 1.527 | 21.302 | 5.188 | 1.5983 | 1 | 3.1966 | 23.4672 | 21.302 | 25.0533 | 400.3747 | 384.2054 | 11.8449 | 14.8492 | 27.9325 | 35.017 | 499.9185 | 1500.5275 | 50.4435 | 68.398 | -1.2684 | 0.23192 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96361 | 0.0029386 | 294.452 | 296.6172 | 240.0844 | 1.4447 | 2.5426 | 37.174 | 22.3248 | 22.3846 | 2.7164 | 0.1282 | 1.0157 | 1.7007 | 0.080592 | 13.2921 | 0.50581 | 40.8141 | 378.1019 | 0.0156
71 | 13:12:27 | 1737.5 | 0 | 14.531 | 0.13365 | 193.4718 | 2.9413 | 1.5274 | 21.3054 | 5.188 | 1.5983 | 1 | 3.1966 | 23.4703 | 21.3054 | 25.0529 | 400.439 | 384.1868 | 11.8445 | 14.8515 | 27.926 | 35.0158 | 499.9236 | 1500.5657 | 50.4391 | 68.3974 | -1.2684 | 0.23192 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96362 | 0.0029413 | 294.4554 | 296.6203 | 240.0905 | 1.4434 | 2.5432 | 37.1821 | 22.3306 | 22.3878 | 2.7169 | 0.12829 | 1.0158 | 1.7011 | 0.080647 | 13.233 | 0.50359 | 40.8131 | 378.05 | 0.015687
72 | 13:12:27 | 1738 | 0 | 14.5355 | 0.13361 | 193.4025 | 2.9419 | 1.5281 | 21.3103 | 5.188 | 1.5983 | 1 | 3.1966 | 23.4729 | 21.3103 | 25.0527 | 400.4899 | 384.234 | 11.8448 | 14.8521 | 27.9222 | 35.0115 | 499.9658 | 1500.5762 | 50.4676 | 68.397 | -1.2684 | 0.23192 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.9637 | 0.0029419 | 294.4603 | 296.6229 | 240.0922 | 1.4429 | 2.5439 | 37.1934 | 22.3413 | 22.3916 | 2.7175 | 0.12825 | 1.0158 | 1.7017 | 0.080622 | 13.2282 | 0.50335 | 40.8015 | 378.0953 | 0.015686
73 | 13:12:28 | 1738.5 | 0 | 14.5501 | 0.13344 | 193.0012 | 2.9399 | 1.529 | 21.3155 | 5.188 | 1.5983 | 1 | 3.1966 | 23.474 | 21.3155 | 25.0531 | 400.508 | 384.2377 | 11.8455 | 14.8508 | 27.922 | 35.0063 | 499.9635 | 1500.5747 | 50.4376 | 68.3973 | -1.2684 | 0.23192 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.9637 | 0.0029399 | 294.4655 | 296.624 | 240.0919 | 1.4433 | 2.5447 | 37.2053 | 22.3544 | 22.3948 | 2.7181 | 0.12809 | 1.0158 | 1.7023 | 0.080521 | 13.2008 | 0.5023 | 40.7823 | 378.0928 | 0.015694
74 | 13:12:28 | 1739 | 0 | 14.605 | 0.13342 | 192.2691 | 2.9418 | 1.5302 | 21.3238 | 5.188 | 1.5983 | 1 | 3.1966 | 23.4764 | 21.3238 | 25.0546 | 400.54 | 384.2136 | 11.8444 | 14.8515 | 27.9158 | 35.003 | 500.01 | 1500.5193 | 50.4017 | 68.3977 | -1.2684 | 0.23192 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96379 | 0.0029418 | 294.4738 | 296.6264 | 240.0831 | 1.4416 | 2.546 | 37.224 | 22.3725 | 22.4001 | 2.7189 | 0.12807 | 1.0158 | 1.7031 | 0.080507 | 13.1508 | 0.50042 | 40.7632 | 378.0455 | 0.015748
75 | 13:12:29 | 1739.5 | 0 | 14.6175 | 0.13346 | 192.1983 | 2.9436 | 1.5307 | 21.3276 | 5.188 | 1.5983 | 1 | 3.1966 | 23.4783 | 21.3276 | 25.0537 | 400.5898 | 384.2484 | 11.8443 | 14.8534 | 27.912 | 35.0031 | 499.9748 | 1500.6003 | 50.3179 | 68.3971 | -1.2684 | 0.23192 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96372 | 0.0029436 | 294.4776 | 296.6283 | 240.096 | 1.4407 | 2.5466 | 37.2329 | 22.3795 | 22.4029 | 2.7194 | 0.12811 | 1.0159 | 1.7035 | 0.080531 | 13.1458 | 0.50019 | 40.7592 | 378.0751 | 0.015759 | 14.4646 | 23.4637 | 21.3018 | #DIV/0! | 1736.1 | 0 | 14.4646 | 0.13338 | 193.9441 | 2.9352 | 1.5272 | 21.3018 | 5.188 | 1.5983 | 1 | 3.1966 | 23.4637 | 21.3018 | 25.0534 | 400.3757 | 384.1955 | 11.845 | 14.8456 | 27.9387 | 35.0162 | 499.9457 | 1500.4905 | 50.5339 | 68.3984 | -1.2684 | 0.23192 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96366 | 0.0029352 | 294.4518 | 296.6137 | 240.0785 | 1.4458 | 2.5426 | 37.1733 | 22.3277 | 22.3828 | 2.7161 | 0.12804 | 1.0154 | 1.7007 | 0.080488 | 13.2655 | 0.50481 | 40.8024 | 378.0868 | 0.01561
Remark= | "13:12:54 Coolers: Tblock -> 0.00 C"
Remark= | "13:23:49 Flow: Fixed -> 500 umol/s"
Remark= | "13:24:17 Coolers: Tblock -> 3.76 C"
Remark= | "13:26:12 Flow: Fixed -> 500 umol/s"
76 | 13:26:31 | 2582.5 | 0 | 15.5348 | 0.13608 | 185.6045 | 2.2515 | 1.1641 | 12.9075 | 5.188 | 1.5983 | 1 | 3.1966 | 6.6294 | 12.9075 | 4.4283 | 399.7653 | 382.7185 | 2.4948 | 4.8243 | 17.4026 | 33.6527 | 499.0085 | 1500.504 | 44.7086 | 68.3946 | -1.1855 | 0.29302 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96186 | 0.0022515 | 286.0575 | 279.7794 | 240.0806 | 0.86206 | 1.4941 | 21.8447 | 17.0204 | 9.7685 | 1.2135 | 0.13052 | 0.32996 | 0.88357 | 0.082057 | 12.6944 | 0.48496 | 24.2559 | 376.1578 | 0.010017
77 | 13:26:32 | 2582.5 | 0 | 15.5348 | 0.13608 | 185.6045 | 2.2515 | 1.1641 | 12.9075 | 5.188 | 1.5983 | 1 | 3.1966 | 6.6294 | 12.9075 | 4.4283 | 399.7653 | 382.7185 | 2.4948 | 4.8243 | 17.4026 | 33.6527 | 499.0085 | 1500.504 | 44.7086 | 68.3946 | -1.1855 | 0.29302 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96186 | 0.0022515 | 286.0575 | 279.7794 | 240.0806 | 0.86206 | 1.4941 | 21.8447 | 17.0204 | 9.7685 | 1.2135 | 0.13052 | 0.32996 | 0.88357 | 0.082057 | 12.6944 | 0.48496 | 24.2559 | 376.1578 | 0.010017
78 | 13:26:32 | 2583 | 0 | 15.5362 | 0.13613 | 185.6599 | 2.2523 | 1.164 | 12.9068 | 5.188 | 1.5983 | 1 | 3.1966 | 6.6312 | 12.9068 | 4.4196 | 399.768 | 382.7197 | 2.494 | 4.8242 | 17.3949 | 33.648 | 499.0138 | 1500.4769 | 44.601 | 68.3944 | -1.1855 | 0.29302 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96187 | 0.0022523 | 286.0568 | 279.7812 | 240.0763 | 0.86192 | 1.494 | 21.8438 | 17.0196 | 9.769 | 1.2136 | 0.13057 | 0.32995 | 0.88361 | 0.082088 | 12.6981 | 0.48511 | 24.2578 | 376.1584 | 0.010019
79 | 13:26:32 | 2583 | 0 | 15.5362 | 0.13613 | 185.6599 | 2.2523 | 1.164 | 12.9068 | 5.188 | 1.5983 | 1 | 3.1966 | 6.6312 | 12.9068 | 4.4196 | 399.768 | 382.7197 | 2.494 | 4.8242 | 17.3949 | 33.648 | 499.0138 | 1500.4769 | 44.601 | 68.3944 | -1.1855 | 0.29302 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96187 | 0.0022523 | 286.0568 | 279.7812 | 240.0763 | 0.86192 | 1.494 | 21.8438 | 17.0196 | 9.769 | 1.2136 | 0.13057 | 0.32995 | 0.88361 | 0.082088 | 12.6981 | 0.48511 | 24.2578 | 376.1584 | 0.010019
80 | 13:26:33 | 2583.5 | 0 | 15.5381 | 0.13616 | 185.6807 | 2.253 | 1.1642 | 12.9082 | 5.188 | 1.5983 | 1 | 3.1966 | 6.6321 | 12.9082 | 4.4109 | 399.7766 | 382.726 | 2.4931 | 4.8241 | 17.3876 | 33.6451 | 499.0087 | 1500.4888 | 44.574 | 68.3946 | -1.1855 | 0.29302 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96186 | 0.002253 | 286.0582 | 279.7821 | 240.0782 | 0.86154 | 1.4941 | 21.8457 | 17.0216 | 9.7701 | 1.2137 | 0.1306 | 0.32994 | 0.88371 | 0.082105 | 12.6996 | 0.48515 | 24.2559 | 376.1638 | 0.010019
81 | 13:26:33 | 2584 | 0 | 15.4874 | 0.1361 | 186.2303 | 2.2522 | 1.1642 | 12.908 | 5.188 | 1.5983 | 1 | 3.1966 | 6.6323 | 12.908 | 4.4015 | 399.7392 | 382.7415 | 2.493 | 4.8233 | 17.3872 | 33.6387 | 499.0096 | 1500.5614 | 44.556 | 68.3944 | -1.1855 | 0.29302 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96186 | 0.0022522 | 286.058 | 279.7823 | 240.0898 | 0.86208 | 1.4941 | 21.8455 | 17.0222 | 9.7702 | 1.2137 | 0.13055 | 0.32988 | 0.88377 | 0.082072 | 12.7371 | 0.48657 | 24.2511 | 376.2007 | 0.0099837
82 | 13:26:34 | 2584.5 | 0 | 15.4649 | 0.13609 | 186.5001 | 2.2523 | 1.1644 | 12.9088 | 5.188 | 1.5983 | 1 | 3.1966 | 6.6327 | 12.9088 | 4.3921 | 399.7299 | 382.7556 | 2.4918 | 4.8221 | 17.3777 | 33.6295 | 499.0129 | 1500.5122 | 44.4358 | 68.3946 | -1.1855 | 0.29302 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96187 | 0.0022523 | 286.0588 | 279.7827 | 240.0819 | 0.8619 | 1.4942 | 21.8465 | 17.0245 | 9.7708 | 1.2137 | 0.13054 | 0.3298 | 0.8839 | 0.082066 | 12.7556 | 0.48726 | 24.2446 | 376.2244 | 0.0099659
83 | 13:26:35 | 2585 | 0 | 15.4638 | 0.13608 | 186.4959 | 2.2523 | 1.1644 | 12.9089 | 5.188 | 1.5983 | 1 | 3.1966 | 6.6313 | 12.9089 | 4.3818 | 399.7212 | 382.7488 | 2.4914 | 4.8216 | 17.3771 | 33.6296 | 499.0332 | 1500.5454 | 44.4846 | 68.3944 | -1.1855 | 0.29302 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96191 | 0.0022523 | 286.0589 | 279.7813 | 240.0873 | 0.86181 | 1.4942 | 21.8468 | 17.0252 | 9.7701 | 1.2137 | 0.13053 | 0.32977 | 0.88388 | 0.082062 | 12.7553 | 0.48725 | 24.2421 | 376.2181 | 0.0099643
84 | 13:26:35 | 2585.5 | 0 | 15.4553 | 0.13607 | 186.5947 | 2.2521 | 1.1645 | 12.9088 | 5.188 | 1.5983 | 1 | 3.1966 | 6.6306 | 12.9088 | 4.3719 | 399.7288 | 382.7654 | 2.491 | 4.821 | 17.3751 | 33.627 | 499.036 | 1500.5114 | 44.5077 | 68.3945 | -1.1855 | 0.29302 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96191 | 0.0022521 | 286.0588 | 279.7806 | 240.0818 | 0.86178 | 1.4942 | 21.8466 | 17.0256 | 9.7697 | 1.2136 | 0.13051 | 0.32973 | 0.88389 | 0.082053 | 12.762 | 0.48749 | 24.2394 | 376.2382 | 0.0099572
85 | 13:26:36 | 2586 | 0 | 15.4214 | 0.13612 | 187.0842 | 2.2524 | 1.1642 | 12.9056 | 5.188 | 1.5983 | 1 | 3.1966 | 6.6295 | 12.9056 | 4.3611 | 399.7038 | 382.7766 | 2.4907 | 4.8208 | 17.3744 | 33.6282 | 499.0717 | 1500.5476 | 44.476 | 68.3943 | -1.1855 | 0.29302 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96198 | 0.0022524 | 286.0556 | 279.7795 | 240.0876 | 0.86196 | 1.4939 | 21.842 | 17.0212 | 9.7675 | 1.2134 | 0.13056 | 0.32972 | 0.88373 | 0.082084 | 12.7955 | 0.48876 | 24.2444 | 376.2638 | 0.0099367
86 | 13:26:36 | 2586.5 | 0 | 15.3872 | 0.13617 | 187.5672 | 2.253 | 1.1641 | 12.9048 | 5.188 | 1.5983 | 1 | 3.1966 | 6.6276 | 12.9048 | 4.3501 | 399.681 | 382.7901 | 2.4899 | 4.8205 | 17.3705 | 33.6298 | 499.0981 | 1500.5847 | 44.4207 | 68.3941 | -1.1855 | 0.29302 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96203 | 0.002253 | 286.0548 | 279.7776 | 240.0935 | 0.86164 | 1.4938 | 21.8409 | 17.0205 | 9.7662 | 1.2133 | 0.1306 | 0.32969 | 0.88365 | 0.082109 | 12.8285 | 0.49 | 24.2449 | 376.2918 | 0.0099141
87 | 13:26:37 | 2587 | 0 | 15.3546 | 0.13623 | 188.0905 | 2.2532 | 1.1637 | 12.9002 | 5.188 | 1.5983 | 1 | 3.1966 | 6.6261 | 12.9002 | 4.3379 | 399.6884 | 382.8315 | 2.4895 | 4.8203 | 17.3699 | 33.6323 | 499.1065 | 1500.6421 | 44.4344 | 68.3941 | -1.1855 | 0.29302 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96205 | 0.0022532 | 286.0502 | 279.7761 | 240.1027 | 0.86197 | 1.4933 | 21.8344 | 17.0141 | 9.7631 | 1.2131 | 0.13067 | 0.32968 | 0.88341 | 0.082149 | 12.8643 | 0.49131 | 24.2524 | 376.3469 | 0.0098947
88 | 13:26:37 | 2588 | 0 | 15.3779 | 0.13642 | 188.0994 | 2.2533 | 1.1622 | 12.8849 | 5.188 | 1.5983 | 1 | 3.1966 | 6.6219 | 12.8849 | 4.3135 | 399.7506 | 382.8705 | 2.4885 | 4.8193 | 17.368 | 33.6351 | 499.1418 | 1500.6062 | 44.4296 | 68.3944 | -1.1855 | 0.29302 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96212 | 0.0022533 | 286.0349 | 279.7719 | 240.097 | 0.8631 | 1.4919 | 21.8125 | 16.9932 | 9.7534 | 1.2123 | 0.13084 | 0.32961 | 0.88268 | 0.082256 | 12.865 | 0.49129 | 24.2745 | 376.376 | 0.009918
89 | 13:26:38 | 2588.5 | 0 | 15.4137 | 0.13652 | 187.8257 | 2.2537 | 1.1616 | 12.8779 | 5.188 | 1.5983 | 1 | 3.1966 | 6.6189 | 12.8779 | 4.3008 | 399.8018 | 382.886 | 2.4879 | 4.8188 | 17.3668 | 33.6383 | 499.1917 | 1500.6339 | 44.4749 | 68.3938 | -1.1855 | 0.29302 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96221 | 0.0022537 | 286.0279 | 279.7689 | 240.1014 | 0.86343 | 1.4912 | 21.8027 | 16.9839 | 9.7484 | 1.2119 | 0.13093 | 0.32958 | 0.88231 | 0.082317 | 12.8461 | 0.49055 | 24.2847 | 376.3764 | 0.0099453
90 | 13:26:38 | 2589 | 0 | 15.4128 | 0.1367 | 188.0953 | 2.2548 | 1.1607 | 12.8691 | 5.188 | 1.5983 | 1 | 3.1966 | 6.6168 | 12.8691 | 4.2876 | 399.8295 | 382.9139 | 2.4868 | 4.8189 | 17.3618 | 33.6435 | 499.1859 | 1500.6469 | 44.3652 | 68.3936 | -1.1855 | 0.29302 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.9622 | 0.0022548 | 286.0191 | 279.7668 | 240.1035 | 0.8637 | 1.4903 | 21.7902 | 16.9713 | 9.7429 | 1.2114 | 0.13109 | 0.32958 | 0.88186 | 0.082418 | 12.8645 | 0.49122 | 24.3017 | 376.4047 | 0.0099509 | 15.4613 | 6.6281 | 12.9009 | #DIV/0! | 2585.2333 | 0 | 15.4613 | 0.13621 | 186.7195 | 2.2527 | 1.1636 | 12.9009 | 5.188 | 1.5983 | 1 | 3.1966 | 6.6281 | 12.9009 | 4.3737 | 399.7478 | 382.7788 | 2.4914 | 4.8218 | 17.3807 | 33.6386 | 499.0627 | 1500.5495 | 44.5185 | 68.3943 | -1.1855 | 0.29302 | 0.86667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96196 | 0.0022527 | 286.0509 | 279.7781 | 240.0879 | 0.86219 | 1.4934 | 21.8354 | 17.0135 | 9.7645 | 1.2132 | 0.13064 | 0.32979 | 0.88341 | 0.082132 | 12.7706 | 0.4878 | 24.2575 | 376.2491 | 0.0099682
Remark= | "13:26:52 Coolers: Tblock -> 0.00 C"
Remark= | "13:29:33 Flow: Fixed -> 500 umol/s"
91 | 13:29:55 | 2786.5 | 0 | 15.3335 | 0.1392 | 192.4562 | 2.1002 | 1.0636 | 11.5789 | 5.188 | 1.5983 | 1 | 3.1966 | 4.5444 | 11.5789 | 1.7912 | 399.2475 | 382.4737 | 2.2935 | 4.4668 | 18.487 | 36.0053 | 499.0959 | 1501.0121 | 49.867 | 68.3884 | -1.2022 | 0.28871 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96203 | 0.0021002 | 284.7289 | 277.6944 | 240.1619 | 0.86996 | 1.369 | 20.0185 | 15.5517 | 8.0616 | 1.0814 | 0.13339 | 0.30548 | 0.77591 | 0.083873 | 13.1618 | 0.50319 | 24.6325 | 375.998 | 0.010045
92 | 13:29:55 | 2786.5 | 0 | 15.3335 | 0.1392 | 192.4562 | 2.1002 | 1.0636 | 11.5789 | 5.188 | 1.5983 | 1 | 3.1966 | 4.5444 | 11.5789 | 1.7912 | 399.2475 | 382.4737 | 2.2935 | 4.4668 | 18.487 | 36.0053 | 499.0959 | 1501.0121 | 49.867 | 68.3884 | -1.2022 | 0.28871 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96203 | 0.0021002 | 284.7289 | 277.6944 | 240.1619 | 0.86996 | 1.369 | 20.0185 | 15.5517 | 8.0616 | 1.0814 | 0.13339 | 0.30548 | 0.77591 | 0.083873 | 13.1618 | 0.50319 | 24.6325 | 375.998 | 0.010045
93 | 13:29:56 | 2787 | 0 | 15.347 | 0.13916 | 192.2812 | 2.0994 | 1.0634 | 11.5769 | 5.188 | 1.5983 | 1 | 3.1966 | 4.5416 | 11.5769 | 1.7888 | 399.2938 | 382.5063 | 2.2933 | 4.4659 | 18.4894 | 36.0045 | 499.0958 | 1501.0145 | 49.9533 | 68.388 | -1.2022 | 0.28871 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96203 | 0.0020994 | 284.7269 | 277.6916 | 240.1623 | 0.87028 | 1.3689 | 20.016 | 15.5501 | 8.0593 | 1.0812 | 0.13335 | 0.30541 | 0.7758 | 0.08385 | 13.1497 | 0.50269 | 24.6299 | 376.0249 | 0.010052
94 | 13:29:56 | 2787.5 | 0 | 15.3462 | 0.13924 | 192.4053 | 2.0998 | 1.0631 | 11.5731 | 5.188 | 1.5983 | 1 | 3.1966 | 4.5395 | 11.5731 | 1.7865 | 399.3064 | 382.5192 | 2.2934 | 4.4664 | 18.4924 | 36.0136 | 499.0855 | 1500.9659 | 50.003 | 68.3878 | -1.2022 | 0.28871 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96201 | 0.0020998 | 284.7231 | 277.6895 | 240.1545 | 0.87022 | 1.3685 | 20.0109 | 15.5446 | 8.0563 | 1.081 | 0.13343 | 0.30544 | 0.77555 | 0.083896 | 13.1582 | 0.503 | 24.6398 | 376.0381 | 0.010056
95 | 13:29:57 | 2788 | 0 | 15.3374 | 0.13922 | 192.5102 | 2.0988 | 1.0627 | 11.5689 | 5.188 | 1.5983 | 1 | 3.1966 | 4.5378 | 11.5689 | 1.7848 | 399.3253 | 382.5474 | 2.2935 | 4.4655 | 18.4958 | 36.0113 | 499.0775 | 1500.9156 | 50.2381 | 68.3883 | -1.2022 | 0.28871 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96199 | 0.0020988 | 284.7189 | 277.6878 | 240.1465 | 0.87089 | 1.3681 | 20.0052 | 15.5397 | 8.0533 | 1.0808 | 0.13341 | 0.30539 | 0.77539 | 0.083883 | 13.1654 | 0.50323 | 24.6414 | 376.07 | 0.01005
96 | 13:29:57 | 2788.5 | 0 | 15.3597 | 0.13929 | 192.358 | 2.0993 | 1.0624 | 11.566 | 5.188 | 1.5983 | 1 | 3.1966 | 4.5356 | 11.566 | 1.783 | 399.3608 | 382.5596 | 2.2933 | 4.4658 | 18.497 | 36.0196 | 499.0823 | 1500.9553 | 50.3699 | 68.3884 | -1.2022 | 0.28871 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.962 | 0.0020993 | 284.716 | 277.6856 | 240.1528 | 0.87079 | 1.3679 | 20.0013 | 15.5355 | 8.0508 | 1.0806 | 0.13348 | 0.30541 | 0.77518 | 0.083928 | 13.1551 | 0.50282 | 24.6492 | 376.0728 | 0.010067
97 | 13:29:58 | 2789 | 0 | 15.3462 | 0.13924 | 192.4735 | 2.0984 | 1.0624 | 11.5642 | 5.188 | 1.5983 | 1 | 3.1966 | 4.5337 | 11.5642 | 1.7815 | 399.3687 | 382.5818 | 2.2934 | 4.465 | 18.5004 | 36.0174 | 499.0794 | 1500.926 | 50.4493 | 68.3884 | -1.2022 | 0.28871 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96199 | 0.0020984 | 284.7142 | 277.6837 | 240.1482 | 0.8712 | 1.3677 | 19.999 | 15.5341 | 8.049 | 1.0805 | 0.13343 | 0.30535 | 0.7751 | 0.083897 | 13.163 | 0.50309 | 24.6464 | 376.1007 | 0.010057
98 | 13:29:59 | 2789.5 | 0 | 15.2877 | 0.13926 | 193.2186 | 2.0981 | 1.0621 | 11.5605 | 5.188 | 1.5983 | 1 | 3.1966 | 4.5311 | 11.5605 | 1.7788 | 399.3429 | 382.6172 | 2.2927 | 4.464 | 18.498 | 36.0154 | 499.0929 | 1500.9611 | 50.4981 | 68.3877 | -1.2022 | 0.28871 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96202 | 0.0020981 | 284.7105 | 277.6811 | 240.1538 | 0.87153 | 1.3674 | 19.9944 | 15.5304 | 8.0458 | 1.0802 | 0.13345 | 0.30528 | 0.77494 | 0.083907 | 13.2138 | 0.50499 | 24.6472 | 376.1608 | 0.010017
99 | 13:29:59 | 2790 | 0 | 15.298 | 0.13937 | 193.2605 | 2.0989 | 1.0617 | 11.5567 | 5.188 | 1.5983 | 1 | 3.1966 | 4.5294 | 11.5567 | 1.7767 | 399.3746 | 382.6384 | 2.2927 | 4.4647 | 18.4999 | 36.0258 | 499.1098 | 1500.9897 | 50.6158 | 68.3879 | -1.2022 | 0.28871 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96205 | 0.0020989 | 284.7067 | 277.6794 | 240.1584 | 0.87142 | 1.367 | 19.9893 | 15.5246 | 8.0431 | 1.08 | 0.13355 | 0.30533 | 0.77469 | 0.083972 | 13.2167 | 0.50507 | 24.6589 | 376.1776 | 0.010028
100 | 13:30:00 | 2790.5 | 0 | 15.2381 | 0.13943 | 194.0753 | 2.0992 | 1.0614 | 11.5542 | 5.188 | 1.5983 | 1 | 3.1966 | 4.5274 | 11.5542 | 1.7748 | 399.3536 | 382.6794 | 2.2926 | 4.4649 | 18.5017 | 36.0327 | 499.1059 | 1500.949 | 50.7185 | 68.3888 | -1.2022 | 0.28871 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96205 | 0.0020992 | 284.7042 | 277.6774 | 240.1518 | 0.8713 | 1.3668 | 19.9857 | 15.5208 | 8.0408 | 1.0799 | 0.1336 | 0.30535 | 0.77451 | 0.084004 | 13.2726 | 0.50715 | 24.6651 | 376.2439 | 0.0099895
101 | 13:30:00 | 2791 | 0 | 15.1745 | 0.13937 | 194.7755 | 2.0978 | 1.0611 | 11.5498 | 5.188 | 1.5983 | 1 | 3.1966 | 4.5258 | 11.5498 | 1.7727 | 399.3018 | 382.6937 | 2.2927 | 4.4637 | 18.5051 | 36.027 | 499.0952 | 1500.9432 | 50.7332 | 68.3889 | -1.2022 | 0.28871 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96203 | 0.0020978 | 284.6998 | 277.6758 | 240.1509 | 0.87227 | 1.3664 | 19.9798 | 15.5162 | 8.0378 | 1.0796 | 0.13355 | 0.30526 | 0.77437 | 0.083974 | 13.3205 | 0.50896 | 24.6646 | 376.2851 | 0.0099465
102 | 13:30:01 | 2791.5 | 0 | 15.1575 | 0.13943 | 195.0528 | 2.0981 | 1.0609 | 11.5468 | 5.188 | 1.5983 | 1 | 3.1966 | 4.5232 | 11.5468 | 1.7708 | 399.2932 | 382.7039 | 2.2923 | 4.4633 | 18.5049 | 36.031 | 499.1328 | 1500.9541 | 50.8536 | 68.3892 | -1.2022 | 0.28871 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.9621 | 0.0020981 | 284.6968 | 277.6732 | 240.1527 | 0.87222 | 1.3661 | 19.9758 | 15.5125 | 8.035 | 1.0794 | 0.1336 | 0.30524 | 0.77419 | 0.084005 | 13.3395 | 0.50967 | 24.6687 | 376.3025 | 0.0099366
103 | 13:30:01 | 2792 | 0 | 15.1327 | 0.13947 | 195.3696 | 2.0982 | 1.0606 | 11.5433 | 5.188 | 1.5983 | 1 | 3.1966 | 4.5205 | 11.5433 | 1.7686 | 399.2402 | 382.677 | 2.2915 | 4.4626 | 18.5024 | 36.032 | 499.1412 | 1501.021 | 50.8852 | 68.3893 | -1.2022 | 0.28871 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96211 | 0.0020982 | 284.6933 | 277.6705 | 240.1634 | 0.87243 | 1.3658 | 19.9711 | 15.5085 | 8.0319 | 1.0792 | 0.13364 | 0.30519 | 0.77401 | 0.084028 | 13.3612 | 0.51053 | 24.6714 | 376.2861 | 0.0099218
104 | 13:30:02 | 2792.5 | 0 | 15.0903 | 0.1394 | 195.7853 | 2.0969 | 1.0604 | 11.5399 | 5.188 | 1.5983 | 1 | 3.1966 | 4.518 | 11.5399 | 1.7667 | 399.1903 | 382.6728 | 2.2912 | 4.4608 | 18.5028 | 36.0235 | 499.1717 | 1501.056 | 50.8899 | 68.389 | -1.2022 | 0.28871 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96217 | 0.0020969 | 284.6899 | 277.668 | 240.169 | 0.87323 | 1.3655 | 19.9667 | 15.5059 | 8.0289 | 1.079 | 0.13358 | 0.30507 | 0.77392 | 0.083991 | 13.3896 | 0.51163 | 24.6661 | 376.2997 | 0.0098916
105 | 13:30:02 | 2793.5 | 0 | 15.1227 | 0.13953 | 195.5213 | 2.0965 | 1.0594 | 11.5277 | 5.188 | 1.5983 | 1 | 3.1966 | 4.5132 | 11.5277 | 1.7624 | 399.1806 | 382.6297 | 2.2907 | 4.46 | 18.5055 | 36.0293 | 499.1738 | 1501.1034 | 51.0239 | 68.3898 | -1.2022 | 0.28871 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96218 | 0.0020965 | 284.6777 | 277.6632 | 240.1765 | 0.87432 | 1.3644 | 19.9504 | 15.4905 | 8.0205 | 1.0784 | 0.13369 | 0.30502 | 0.77335 | 0.084062 | 13.3717 | 0.51099 | 24.6833 | 376.243 | 0.0099212 | 15.2603 | 4.531 | 11.559 | #DIV/0! | 2789.5667 | 0 | 15.2603 | 0.13932 | 193.6 | 2.0987 | 1.0619 | 11.559 | 5.188 | 1.5983 | 1 | 3.1966 | 4.531 | 11.559 | 1.7786 | 399.2952 | 382.5982 | 2.2927 | 4.4644 | 18.4979 | 36.0196 | 499.109 | 1500.9853 | 50.4644 | 68.3885 | -1.2022 | 0.28871 | 0.95556 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.96205 | 0.0020987 | 284.709 | 277.681 | 240.1576 | 0.87147 | 1.3672 | 19.9922 | 15.5278 | 8.045 | 1.0802 | 0.1335 | 0.30531 | 0.77485 | 0.083943 | 13.24 | 0.50601 | 24.6531 | 376.1534 | 0.010002