## stm-pbcup1_
OPEN 6.2.4
Wed Jul 1 2015 10:30:19
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "10:31:14 CO2 Mixer: CO2R -> 400 uml"
Remark= | "10:31:21 Coolers: Tblock -> 0.00 C"
Remark= | "10:31:28 Lamp: ParIn -> 1500 uml"
Remark= | "10:44:34 Coolers: Tblock -> 4.22 C"
Remark= | "10:45:01 Flow: Fixed -> 500 umol/s"
1 | 10:45:26 | 918.5 | 0 | 11.6687 | 0.23784 | 292.0469 | 3.7745 | 1.1611 | 13.2632 | 6 | 1.42 | 1 | 2.84 | 6.8903 | 13.2632 | 4.3622 | 401.1408 | 385.3914 | 0.87092 | 5.3764 | 5.973 | 36.8725 | 499.9539 | 1500.4901 | 199.9801 | 68.46 | -2.2772 | 0.21838 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83326 | 0.0037745 | 286.4132 | 280.0403 | 240.0784 | 0.13502 | 1.5292 | 22.3371 | 16.9607 | 10.0768 | 1.2388 | 0.21946 | 0.36807 | 0.87078 | 0.1387 | 19.9935 | 0.75779 | 28.9523 | 379.8447 | 0.008894
2 | 10:45:27 | 918.5 | 0 | 11.6687 | 0.23784 | 292.0469 | 3.7745 | 1.1611 | 13.2632 | 6 | 1.42 | 1 | 2.84 | 6.8903 | 13.2632 | 4.3622 | 401.1408 | 385.3914 | 0.87092 | 5.3764 | 5.973 | 36.8725 | 499.9539 | 1500.4901 | 199.9801 | 68.46 | -2.2772 | 0.21838 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83326 | 0.0037745 | 286.4132 | 280.0403 | 240.0784 | 0.13502 | 1.5292 | 22.3371 | 16.9607 | 10.0768 | 1.2388 | 0.21946 | 0.36807 | 0.87078 | 0.1387 | 19.9935 | 0.75779 | 28.9523 | 379.8447 | 0.008894
3 | 10:45:27 | 919 | 0 | 11.669 | 0.23784 | 292.049 | 3.7743 | 1.1611 | 13.2625 | 6 | 1.42 | 1 | 2.84 | 6.8895 | 13.2625 | 4.3619 | 401.1466 | 385.3965 | 0.87058 | 5.3759 | 5.971 | 36.8713 | 499.9438 | 1500.4744 | 199.8474 | 68.4595 | -2.2772 | 0.21838 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0037743 | 286.4125 | 280.0395 | 240.0759 | 0.13508 | 1.5291 | 22.3361 | 16.9602 | 10.076 | 1.2388 | 0.21946 | 0.36803 | 0.87075 | 0.1387 | 19.9935 | 0.75779 | 28.9514 | 379.8497 | 0.0088939
4 | 10:45:28 | 919.5 | 0 | 11.6887 | 0.23775 | 291.8493 | 3.7732 | 1.1611 | 13.262 | 6 | 1.42 | 1 | 2.84 | 6.889 | 13.262 | 4.3609 | 401.1393 | 385.3649 | 0.87052 | 5.3749 | 5.9707 | 36.8652 | 499.9006 | 1500.4561 | 199.7458 | 68.4592 | -2.2772 | 0.21838 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0037732 | 286.412 | 280.039 | 240.073 | 0.13566 | 1.5291 | 22.3356 | 16.9607 | 10.0755 | 1.2387 | 0.21938 | 0.36796 | 0.87078 | 0.13865 | 19.9798 | 0.75733 | 28.9455 | 379.8087 | 0.008908
5 | 10:45:28 | 920 | 0 | 11.6652 | 0.23766 | 291.9942 | 3.7724 | 1.1613 | 13.2631 | 6 | 1.42 | 1 | 2.84 | 6.889 | 13.2631 | 4.3611 | 401.1182 | 385.3724 | 0.87073 | 5.3741 | 5.9722 | 36.8602 | 499.9041 | 1500.4402 | 199.8073 | 68.4598 | -2.2772 | 0.21838 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0037724 | 286.4131 | 280.039 | 240.0704 | 0.13592 | 1.5292 | 22.337 | 16.9628 | 10.0761 | 1.2388 | 0.21931 | 0.36791 | 0.87088 | 0.13861 | 19.9899 | 0.75769 | 28.939 | 379.8274 | 0.0088877
6 | 10:45:29 | 920.5 | 0 | 11.66 | 0.23765 | 292.0262 | 3.7728 | 1.1614 | 13.2647 | 6 | 1.42 | 1 | 2.84 | 6.8892 | 13.2647 | 4.3612 | 401.1115 | 385.3719 | 0.87014 | 5.374 | 5.9681 | 36.8589 | 499.9078 | 1500.4019 | 199.6492 | 68.4599 | -2.2772 | 0.21838 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0037728 | 286.4147 | 280.0392 | 240.0643 | 0.13545 | 1.5293 | 22.3393 | 16.9653 | 10.077 | 1.2389 | 0.2193 | 0.3679 | 0.87096 | 0.1386 | 19.9921 | 0.75778 | 28.9358 | 379.8293 | 0.0088827
7 | 10:45:29 | 921 | 0 | 11.6786 | 0.23757 | 291.8611 | 3.7721 | 1.1616 | 13.2655 | 6 | 1.42 | 1 | 2.84 | 6.8892 | 13.2655 | 4.3609 | 401.1274 | 385.3657 | 0.86972 | 5.3728 | 5.9652 | 36.851 | 499.9067 | 1500.4583 | 199.6591 | 68.46 | -2.2772 | 0.21838 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0037721 | 286.4155 | 280.0392 | 240.0733 | 0.13581 | 1.5294 | 22.3403 | 16.9675 | 10.0773 | 1.2389 | 0.21923 | 0.36782 | 0.87107 | 0.13856 | 19.9808 | 0.75736 | 28.928 | 379.8142 | 0.0088949
8 | 10:45:30 | 921.5 | 0 | 11.6822 | 0.23768 | 291.8739 | 3.7732 | 1.1615 | 13.2643 | 6 | 1.42 | 1 | 2.84 | 6.8895 | 13.2643 | 4.3604 | 401.1365 | 385.3696 | 0.86844 | 5.3729 | 5.9563 | 36.8509 | 499.8938 | 1500.4575 | 199.5815 | 68.4598 | -2.2772 | 0.21838 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0037732 | 286.4143 | 280.0395 | 240.0732 | 0.13541 | 1.5293 | 22.3387 | 16.9657 | 10.0769 | 1.2389 | 0.21932 | 0.36783 | 0.87103 | 0.13861 | 19.9816 | 0.75739 | 28.9326 | 379.8165 | 0.0088989
9 | 10:45:30 | 922 | 0 | 11.6855 | 0.23763 | 291.8729 | 3.7728 | 1.1616 | 13.2644 | 6 | 1.42 | 1 | 2.84 | 6.8899 | 13.2644 | 4.3612 | 401.1796 | 385.4095 | 0.86812 | 5.3719 | 5.954 | 36.843 | 499.9156 | 1500.4463 | 199.4821 | 68.4598 | -2.2772 | 0.21838 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0037728 | 286.4144 | 280.0399 | 240.0714 | 0.13564 | 1.5293 | 22.3388 | 16.9669 | 10.0771 | 1.2389 | 0.21928 | 0.36776 | 0.87112 | 0.13859 | 19.9816 | 0.75731 | 28.9272 | 379.8547 | 0.0088989
10 | 10:45:31 | 922.5 | 0 | 11.6922 | 0.23772 | 291.8849 | 3.7741 | 1.1615 | 13.2646 | 6 | 1.42 | 1 | 2.84 | 6.8902 | 13.2646 | 4.3608 | 401.2179 | 385.4388 | 0.86703 | 5.3725 | 5.9463 | 36.8458 | 499.9116 | 1500.3903 | 199.3589 | 68.4599 | -2.2772 | 0.21838 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0037741 | 286.4146 | 280.0402 | 240.0624 | 0.13484 | 1.5293 | 22.3391 | 16.9667 | 10.0774 | 1.2389 | 0.21936 | 0.3678 | 0.87111 | 0.13864 | 19.9824 | 0.75728 | 28.9312 | 379.8809 | 0.0089046
11 | 10:45:31 | 923 | 0 | 11.7104 | 0.23773 | 291.7819 | 3.7749 | 1.1617 | 13.2666 | 6 | 1.42 | 1 | 2.84 | 6.8912 | 13.2666 | 4.3616 | 401.267 | 385.4659 | 0.86605 | 5.3723 | 5.9392 | 36.8423 | 499.9182 | 1500.399 | 199.4001 | 68.46 | -2.2772 | 0.21838 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0037749 | 286.4166 | 280.0412 | 240.0638 | 0.13435 | 1.5295 | 22.3419 | 16.9696 | 10.0789 | 1.239 | 0.21937 | 0.36779 | 0.87124 | 0.13864 | 19.9754 | 0.75696 | 28.9278 | 379.8993 | 0.008917
12 | 10:45:32 | 923.5 | 0 | 11.721 | 0.23786 | 291.8002 | 3.7767 | 1.1617 | 13.2667 | 6 | 1.42 | 1 | 2.84 | 6.8914 | 13.2667 | 4.3611 | 401.3324 | 385.5182 | 0.86449 | 5.3727 | 5.9285 | 36.8446 | 499.9418 | 1500.3932 | 199.3269 | 68.46 | -2.2772 | 0.21838 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0037767 | 286.4167 | 280.0414 | 240.0629 | 0.13337 | 1.5295 | 22.342 | 16.9693 | 10.079 | 1.239 | 0.21948 | 0.36782 | 0.87122 | 0.13871 | 19.9767 | 0.7569 | 28.9324 | 379.9467 | 0.0089253
13 | 10:45:32 | 924 | 0 | 11.744 | 0.23799 | 291.7178 | 3.7774 | 1.1613 | 13.2626 | 6 | 1.42 | 1 | 2.84 | 6.8915 | 13.2626 | 4.3605 | 401.3963 | 385.5539 | 0.86341 | 5.3725 | 5.921 | 36.8427 | 499.9383 | 1500.3771 | 199.2349 | 68.4599 | -2.2772 | 0.21838 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0037774 | 286.4126 | 280.0415 | 240.0603 | 0.13349 | 1.5291 | 22.3361 | 16.9636 | 10.0771 | 1.2389 | 0.21959 | 0.3678 | 0.87107 | 0.13879 | 19.971 | 0.75662 | 28.9407 | 379.9714 | 0.0089449
14 | 10:45:33 | 924.5 | 0 | 11.7749 | 0.23808 | 291.5528 | 3.7774 | 1.1609 | 13.2579 | 6 | 1.42 | 1 | 2.84 | 6.8912 | 13.2579 | 4.3596 | 401.4557 | 385.576 | 0.86251 | 5.3716 | 5.915 | 36.8374 | 499.9378 | 1500.4187 | 199.3434 | 68.4597 | -2.2772 | 0.21838 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0037774 | 286.4079 | 280.0412 | 240.067 | 0.13411 | 1.5287 | 22.3293 | 16.9577 | 10.0745 | 1.2387 | 0.21967 | 0.36774 | 0.87093 | 0.13884 | 19.9596 | 0.75615 | 28.9462 | 379.9788 | 0.00897
15 | 10:45:33 | 925 | 0 | 11.7694 | 0.23821 | 291.668 | 3.7791 | 1.1608 | 13.2578 | 6 | 1.42 | 1 | 2.84 | 6.8908 | 13.2578 | 4.3601 | 401.4829 | 385.6091 | 0.86154 | 5.3726 | 5.9085 | 36.8453 | 499.9401 | 1500.3488 | 199.1983 | 68.4596 | -2.2772 | 0.21838 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0037791 | 286.4078 | 280.0408 | 240.0558 | 0.13303 | 1.5287 | 22.3293 | 16.9567 | 10.0743 | 1.2386 | 0.21978 | 0.36781 | 0.87084 | 0.13891 | 19.9675 | 0.75638 | 28.9534 | 380.0145 | 0.0089671 | 11.6986 | 6.8901 | 13.2633 | #DIV/0! | 921.5333 | 0 | 11.6986 | 0.2378 | 291.8684 | 3.7746 | 1.1613 | 13.2633 | 6 | 1.42 | 1 | 2.84 | 6.8901 | 13.2633 | 4.361 | 401.2262 | 385.4397 | 0.86767 | 5.3736 | 5.9508 | 36.8536 | 499.9245 | 1500.4295 | 199.573 | 68.4598 | -2.2772 | 0.21838 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0037746 | 286.4133 | 280.0401 | 240.0687 | 0.13481 | 1.5292 | 22.3372 | 16.9636 | 10.0767 | 1.2388 | 0.21943 | 0.36787 | 0.87097 | 0.13868 | 19.9813 | 0.75724 | 28.9397 | 379.8788 | 0.0089121
Remark= | "10:45:48 Coolers: Tblock -> 9.00 C"
Remark= | "10:47:20 Flow: Fixed -> 500 umol/s"
Remark= | "10:47:57 Flow: Fixed -> 500 umol/s"
16 | 10:48:41 | 1114 | 0 | 12.1546 | 0.23604 | 286.9474 | 4.0334 | 1.2471 | 14.8685 | 6 | 1.42 | 1 | 2.84 | 10.5174 | 14.8685 | 9.0306 | 401.4888 | 385.0389 | 1.7634 | 6.572 | 9.4614 | 35.2609 | 499.9771 | 1499.9509 | 234.3424 | 68.4543 | -2.7877 | 0.21381 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8333 | 0.0040334 | 288.0185 | 283.6674 | 239.9921 | 0.22003 | 1.6969 | 24.7895 | 18.2175 | 12.693 | 1.4732 | 0.21793 | 0.44988 | 1.0233 | 0.13773 | 19.6428 | 0.74524 | 31.0694 | 379.2612 | 0.0099572
17 | 10:48:42 | 1114 | 0 | 12.1546 | 0.23604 | 286.9474 | 4.0334 | 1.2471 | 14.8685 | 6 | 1.42 | 1 | 2.84 | 10.5174 | 14.8685 | 9.0306 | 401.4888 | 385.0389 | 1.7634 | 6.572 | 9.4614 | 35.2609 | 499.9771 | 1499.9509 | 234.3424 | 68.4543 | -2.7877 | 0.21381 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8333 | 0.0040334 | 288.0185 | 283.6674 | 239.9921 | 0.22003 | 1.6969 | 24.7895 | 18.2175 | 12.693 | 1.4732 | 0.21793 | 0.44988 | 1.0233 | 0.13773 | 19.6428 | 0.74524 | 31.0694 | 379.2612 | 0.0099572
18 | 10:48:42 | 1114.5 | 0 | 12.159 | 0.23604 | 286.9147 | 4.0335 | 1.2471 | 14.8688 | 6 | 1.42 | 1 | 2.84 | 10.5186 | 14.8688 | 9.0305 | 401.4951 | 385.0384 | 1.7626 | 6.5717 | 9.4562 | 35.2566 | 499.9345 | 1499.9463 | 234.031 | 68.4545 | -2.7877 | 0.21381 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0040335 | 288.0188 | 283.6686 | 239.9914 | 0.22007 | 1.697 | 24.7898 | 18.2182 | 12.6937 | 1.4733 | 0.21793 | 0.44986 | 1.0234 | 0.13773 | 19.6406 | 0.74516 | 31.068 | 379.2586 | 0.0099604
19 | 10:48:43 | 1115 | 0 | 12.1646 | 0.23605 | 286.9015 | 4.0342 | 1.2473 | 14.8707 | 6 | 1.42 | 1 | 2.84 | 10.5194 | 14.8707 | 9.0309 | 401.5275 | 385.0633 | 1.7626 | 6.5725 | 9.4556 | 35.2595 | 499.9222 | 1499.8921 | 233.7746 | 68.4548 | -2.7877 | 0.21381 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0040342 | 288.0207 | 283.6694 | 239.9827 | 0.21948 | 1.6972 | 24.7928 | 18.2203 | 12.6951 | 1.4734 | 0.21794 | 0.44992 | 1.0235 | 0.13773 | 19.6398 | 0.74508 | 31.0684 | 379.2809 | 0.0099645
20 | 10:48:43 | 1115.5 | 0 | 12.2686 | 0.23612 | 286.1189 | 4.0353 | 1.2473 | 14.8715 | 6 | 1.42 | 1 | 2.84 | 10.5204 | 14.8715 | 9.0305 | 401.5902 | 385.0015 | 1.7622 | 6.5734 | 9.4531 | 35.2616 | 499.9367 | 1499.9026 | 233.4957 | 68.4546 | -2.7877 | 0.21381 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0040353 | 288.0215 | 283.6704 | 239.9844 | 0.21892 | 1.6973 | 24.7942 | 18.2208 | 12.696 | 1.4735 | 0.21799 | 0.44998 | 1.0235 | 0.13777 | 19.5862 | 0.74316 | 31.0715 | 379.1696 | 0.010054
21 | 10:48:44 | 1116 | 0 | 12.3343 | 0.23626 | 285.6714 | 4.037 | 1.2471 | 14.871 | 6 | 1.42 | 1 | 2.84 | 10.5209 | 14.871 | 9.0306 | 401.6434 | 384.9739 | 1.7612 | 6.5747 | 9.4472 | 35.2676 | 499.9023 | 1499.921 | 233.1408 | 68.4544 | -2.7877 | 0.21381 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.004037 | 288.021 | 283.6709 | 239.9874 | 0.21817 | 1.6972 | 24.7934 | 18.2187 | 12.6959 | 1.4735 | 0.21811 | 0.45007 | 1.0234 | 0.13784 | 19.5555 | 0.74205 | 31.0804 | 379.1108 | 0.010112
22 | 10:48:44 | 1116.5 | 0 | 12.3681 | 0.23632 | 285.4445 | 4.0379 | 1.2471 | 14.8708 | 6 | 1.42 | 1 | 2.84 | 10.5218 | 14.8708 | 9.0312 | 401.6764 | 384.9654 | 1.7605 | 6.5752 | 9.4429 | 35.2679 | 499.8813 | 1499.9177 | 232.8596 | 68.4543 | -2.7877 | 0.21381 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0040379 | 288.0208 | 283.6718 | 239.9868 | 0.21786 | 1.6972 | 24.7931 | 18.2179 | 12.6963 | 1.4735 | 0.21817 | 0.4501 | 1.0234 | 0.13788 | 19.5399 | 0.74148 | 31.0841 | 379.0862 | 0.010142
23 | 10:48:45 | 1117 | 0 | 12.3741 | 0.2364 | 285.4549 | 4.0384 | 1.2469 | 14.8696 | 6 | 1.42 | 1 | 2.84 | 10.523 | 14.8696 | 9.0318 | 401.7106 | 384.9915 | 1.7608 | 6.5763 | 9.4437 | 35.2708 | 499.8685 | 1499.9211 | 232.5207 | 68.4539 | -2.7877 | 0.21381 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0040384 | 288.0196 | 283.673 | 239.9874 | 0.21786 | 1.6971 | 24.7913 | 18.215 | 12.6963 | 1.4735 | 0.21823 | 0.45017 | 1.0234 | 0.13792 | 19.5405 | 0.74146 | 31.0917 | 379.1095 | 0.010148
24 | 10:48:45 | 1117.5 | 0 | 12.421 | 0.23647 | 285.1234 | 4.0388 | 1.2467 | 14.8679 | 6 | 1.42 | 1 | 2.84 | 10.5248 | 14.8679 | 9.0327 | 401.742 | 384.9673 | 1.761 | 6.5768 | 9.4437 | 35.2692 | 499.8884 | 1499.8999 | 232.2485 | 68.4538 | -2.7877 | 0.21381 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0040388 | 288.0179 | 283.6748 | 239.984 | 0.21803 | 1.6969 | 24.7886 | 18.2118 | 12.6964 | 1.4735 | 0.21829 | 0.45021 | 1.0233 | 0.13796 | 19.5178 | 0.74064 | 31.0981 | 379.063 | 0.01019
25 | 10:48:46 | 1118 | 0 | 12.4018 | 0.23646 | 285.2895 | 4.039 | 1.2468 | 14.8687 | 6 | 1.42 | 1 | 2.84 | 10.526 | 14.8687 | 9.0333 | 401.7528 | 385.0008 | 1.7607 | 6.5768 | 9.4413 | 35.2662 | 499.8858 | 1499.9017 | 231.9497 | 68.4538 | -2.7877 | 0.21381 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.004039 | 288.0187 | 283.676 | 239.9843 | 0.21797 | 1.697 | 24.7899 | 18.2132 | 12.6974 | 1.4736 | 0.21829 | 0.4502 | 1.0234 | 0.13795 | 19.5291 | 0.74101 | 31.0963 | 379.1055 | 0.010173
26 | 10:48:46 | 1118.5 | 0 | 12.4238 | 0.23645 | 285.1341 | 4.0405 | 1.2473 | 14.874 | 6 | 1.42 | 1 | 2.84 | 10.5271 | 14.874 | 9.0336 | 401.7892 | 385.0103 | 1.76 | 6.5777 | 9.4369 | 35.2691 | 499.894 | 1499.9269 | 231.547 | 68.4542 | -2.7877 | 0.21381 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0040405 | 288.024 | 283.6771 | 239.9883 | 0.21671 | 1.6975 | 24.7982 | 18.2205 | 12.7005 | 1.4739 | 0.21828 | 0.45027 | 1.0237 | 0.13795 | 19.5186 | 0.74059 | 31.0912 | 379.1046 | 0.010189
27 | 10:48:47 | 1119 | 0 | 12.4397 | 0.23661 | 285.05 | 4.043 | 1.2473 | 14.8751 | 6 | 1.42 | 1 | 2.84 | 10.5284 | 14.8751 | 9.0339 | 401.7809 | 384.9826 | 1.7594 | 6.5798 | 9.4327 | 35.2775 | 499.9131 | 1499.9175 | 231.1448 | 68.4543 | -2.7877 | 0.21381 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.004043 | 288.0251 | 283.6784 | 239.9868 | 0.21538 | 1.6977 | 24.8 | 18.2202 | 12.7017 | 1.4741 | 0.21841 | 0.45042 | 1.0236 | 0.13803 | 19.5129 | 0.74042 | 31.1008 | 379.0693 | 0.010206
28 | 10:48:47 | 1119.5 | 0 | 12.3906 | 0.23675 | 285.4791 | 4.0452 | 1.2473 | 14.8766 | 6 | 1.42 | 1 | 2.84 | 10.5298 | 14.8766 | 9.0345 | 401.7541 | 385.014 | 1.7592 | 6.5822 | 9.4309 | 35.2863 | 499.9292 | 1499.8837 | 230.8348 | 68.454 | -2.7877 | 0.21381 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0040452 | 288.0266 | 283.6798 | 239.9814 | 0.21414 | 1.6978 | 24.8024 | 18.2203 | 12.7032 | 1.4742 | 0.21853 | 0.45057 | 1.0236 | 0.13811 | 19.5422 | 0.74148 | 31.11 | 379.1241 | 0.010167
29 | 10:48:48 | 1120 | 0 | 12.3273 | 0.23662 | 285.9001 | 4.0446 | 1.2477 | 14.8803 | 6 | 1.42 | 1 | 2.84 | 10.5305 | 14.8803 | 9.0347 | 401.6934 | 385.0306 | 1.7598 | 6.5818 | 9.4339 | 35.2828 | 499.9605 | 1499.8787 | 230.6269 | 68.4539 | -2.7877 | 0.21381 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0040446 | 288.0303 | 283.6805 | 239.9806 | 0.21405 | 1.6982 | 24.8085 | 18.2267 | 12.7054 | 1.4744 | 0.21842 | 0.45055 | 1.0239 | 0.13804 | 19.571 | 0.74254 | 31.0997 | 379.1708 | 0.010111
30 | 10:48:48 | 1120.5 | 0 | 12.2703 | 0.23648 | 286.2806 | 4.0429 | 1.2479 | 14.8814 | 6 | 1.42 | 1 | 2.84 | 10.5314 | 14.8814 | 9.0353 | 401.6494 | 385.056 | 1.7612 | 6.581 | 9.4404 | 35.2764 | 499.9712 | 1499.8413 | 230.3394 | 68.4539 | -2.7877 | 0.21381 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83329 | 0.0040429 | 288.0314 | 283.6814 | 239.9746 | 0.21486 | 1.6984 | 24.8102 | 18.2292 | 12.7064 | 1.4745 | 0.2183 | 0.4505 | 1.024 | 0.13796 | 19.597 | 0.74348 | 31.0917 | 379.2233 | 0.01006 | 12.3102 | 10.5238 | 14.8722 | #DIV/0! | 1117.0333 | 0 | 12.3102 | 0.23634 | 285.9105 | 4.0385 | 1.2472 | 14.8722 | 6 | 1.42 | 1 | 2.84 | 10.5238 | 14.8722 | 9.0323 | 401.6522 | 385.0116 | 1.7612 | 6.5763 | 9.4454 | 35.2689 | 499.9228 | 1499.9102 | 232.4799 | 68.4542 | -2.7877 | 0.21381 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0040385 | 288.0222 | 283.6738 | 239.9856 | 0.21757 | 1.6974 | 24.7954 | 18.2192 | 12.698 | 1.4737 | 0.21818 | 0.45017 | 1.0235 | 0.13789 | 19.5718 | 0.7426 | 31.086 | 379.1599 | 0.010093
Remark= | "10:48:58 Coolers: Tblock -> 14.00 C"
Remark= | "10:51:40 Flow: Fixed -> 500 umol/s"
31 | 10:52:14 | 1326 | 0 | 12.9811 | 0.23184 | 276.2861 | 4.42 | 1.3849 | 17.2972 | 6 | 1.42 | 1 | 2.84 | 14.7792 | 17.2972 | 14.1114 | 400.5009 | 382.8908 | 3.457 | 8.7153 | 14.025 | 35.358 | 499.9476 | 1499.8286 | 235.6913 | 68.4499 | -2.9223 | 0.20449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.00442 | 290.4472 | 287.9292 | 239.9726 | 0.22512 | 1.9815 | 28.9481 | 20.2328 | 16.0382 | 1.8292 | 0.21434 | 0.59656 | 1.2326 | 0.13543 | 18.9118 | 0.72158 | 34.1414 | 376.7202 | 0.011765
32 | 10:52:14 | 1326 | 0 | 12.9811 | 0.23184 | 276.2861 | 4.42 | 1.3849 | 17.2972 | 6 | 1.42 | 1 | 2.84 | 14.7792 | 17.2972 | 14.1114 | 400.5009 | 382.8908 | 3.457 | 8.7153 | 14.025 | 35.358 | 499.9476 | 1499.8286 | 235.6913 | 68.4499 | -2.9223 | 0.20449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.00442 | 290.4472 | 287.9292 | 239.9726 | 0.22512 | 1.9815 | 28.9481 | 20.2328 | 16.0382 | 1.8292 | 0.21434 | 0.59656 | 1.2326 | 0.13543 | 18.9118 | 0.72158 | 34.1414 | 376.7202 | 0.011765
33 | 10:52:15 | 1326.5 | 0 | 12.9634 | 0.23182 | 276.4551 | 4.4204 | 1.3851 | 17.2992 | 6 | 1.42 | 1 | 2.84 | 14.781 | 17.2992 | 14.1111 | 400.5296 | 382.9413 | 3.4573 | 8.7159 | 14.0247 | 35.3559 | 499.9736 | 1499.8398 | 235.8599 | 68.4496 | -2.9223 | 0.20449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83329 | 0.0044204 | 290.4492 | 287.931 | 239.9744 | 0.22491 | 1.9817 | 28.9518 | 20.236 | 16.0401 | 1.8294 | 0.21433 | 0.5966 | 1.2328 | 0.13542 | 18.9233 | 0.72193 | 34.1391 | 376.7791 | 0.011746
34 | 10:52:15 | 1327 | 0 | 12.9544 | 0.23184 | 276.5355 | 4.421 | 1.3853 | 17.3002 | 6 | 1.42 | 1 | 2.84 | 14.7821 | 17.3002 | 14.1111 | 400.5309 | 382.9529 | 3.4568 | 8.716 | 14.0213 | 35.354 | 499.9688 | 1499.845 | 236.0201 | 68.4496 | -2.9223 | 0.20449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.004421 | 290.4502 | 287.9321 | 239.9752 | 0.22463 | 1.9819 | 28.9536 | 20.2376 | 16.0412 | 1.8295 | 0.21434 | 0.59661 | 1.2329 | 0.13543 | 18.9287 | 0.72211 | 34.138 | 376.795 | 0.011737
35 | 10:52:16 | 1327.5 | 0 | 12.9093 | 0.23191 | 276.9356 | 4.4217 | 1.3851 | 17.2995 | 6 | 1.42 | 1 | 2.84 | 14.7841 | 17.2995 | 14.1108 | 400.5217 | 382.9971 | 3.4568 | 8.7171 | 14.02 | 35.3541 | 499.9622 | 1499.8778 | 236.1815 | 68.4499 | -2.9223 | 0.20449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0044217 | 290.4495 | 287.9341 | 239.9804 | 0.22461 | 1.9818 | 28.9522 | 20.2352 | 16.0418 | 1.8296 | 0.2144 | 0.59668 | 1.2329 | 0.13547 | 18.9562 | 0.72308 | 34.1445 | 376.8606 | 0.011696
36 | 10:52:16 | 1328 | 0 | 12.8977 | 0.23195 | 277.0632 | 4.4221 | 1.385 | 17.2989 | 6 | 1.42 | 1 | 2.84 | 14.7861 | 17.2989 | 14.1113 | 400.5346 | 383.0237 | 3.4573 | 8.7179 | 14.0199 | 35.3527 | 499.9681 | 1499.8854 | 236.39 | 68.45 | -2.9223 | 0.20449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.0044221 | 290.4489 | 287.9361 | 239.9817 | 0.22476 | 1.9817 | 28.951 | 20.2332 | 16.0425 | 1.8297 | 0.21444 | 0.59674 | 1.2329 | 0.1355 | 18.965 | 0.72336 | 34.1492 | 376.8927 | 0.011686
37 | 10:52:17 | 1328.5 | 0 | 12.9446 | 0.23211 | 276.7527 | 4.4237 | 1.3846 | 17.2971 | 6 | 1.42 | 1 | 2.84 | 14.7876 | 17.2971 | 14.1106 | 400.5605 | 382.9928 | 3.4569 | 8.7195 | 14.0171 | 35.3556 | 499.9673 | 1499.9176 | 236.5283 | 68.4496 | -2.9223 | 0.20449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.0044237 | 290.4471 | 287.9376 | 239.9868 | 0.22437 | 1.9815 | 28.9479 | 20.2285 | 16.0424 | 1.8296 | 0.21457 | 0.59684 | 1.2328 | 0.13558 | 18.9436 | 0.72261 | 34.1608 | 376.8395 | 0.011734
38 | 10:52:17 | 1329 | 0 | 12.9553 | 0.23218 | 276.7089 | 4.425 | 1.3846 | 17.2973 | 6 | 1.42 | 1 | 2.84 | 14.7889 | 17.2973 | 14.1109 | 400.5818 | 382.9999 | 3.4557 | 8.7199 | 14.0109 | 35.3546 | 499.9453 | 1499.9207 | 236.7124 | 68.4497 | -2.9223 | 0.20449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.004425 | 290.4473 | 287.9389 | 239.9873 | 0.22385 | 1.9815 | 28.9484 | 20.2285 | 16.0431 | 1.8297 | 0.21463 | 0.59688 | 1.2329 | 0.13562 | 18.9406 | 0.72248 | 34.1633 | 376.8416 | 0.011745
39 | 10:52:18 | 1329.5 | 0 | 12.9006 | 0.23215 | 277.1452 | 4.4248 | 1.3847 | 17.298 | 6 | 1.42 | 1 | 2.84 | 14.7902 | 17.298 | 14.1111 | 400.5676 | 383.051 | 3.4562 | 8.7202 | 14.0117 | 35.3525 | 499.9447 | 1499.9222 | 236.9536 | 68.4496 | -2.9223 | 0.20449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0044248 | 290.448 | 287.9402 | 239.9876 | 0.22405 | 1.9816 | 28.9496 | 20.2294 | 16.0441 | 1.8298 | 0.21461 | 0.59689 | 1.233 | 0.1356 | 18.9705 | 0.72352 | 34.1624 | 376.9187 | 0.011693
40 | 10:52:18 | 1330 | 0 | 12.8845 | 0.23224 | 277.303 | 4.4268 | 1.3848 | 17.2999 | 6 | 1.42 | 1 | 2.84 | 14.792 | 17.2999 | 14.1114 | 400.5563 | 383.0588 | 3.4554 | 8.7216 | 14.0069 | 35.3542 | 499.9652 | 1499.8976 | 237.122 | 68.4497 | -2.9223 | 0.20449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.0044268 | 290.4499 | 287.942 | 239.9836 | 0.22289 | 1.9818 | 28.9531 | 20.2315 | 16.046 | 1.8301 | 0.21469 | 0.59699 | 1.2331 | 0.13565 | 18.9813 | 0.72392 | 34.1654 | 376.9341 | 0.011679
41 | 10:52:19 | 1330.5 | 0 | 12.9177 | 0.23218 | 277.0317 | 4.427 | 1.3853 | 17.3032 | 6 | 1.42 | 1 | 2.84 | 14.7936 | 17.3032 | 14.112 | 400.5937 | 383.0556 | 3.4547 | 8.7214 | 14.0029 | 35.35 | 499.949 | 1499.8553 | 237.3243 | 68.4504 | -2.9223 | 0.20449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.004427 | 290.4532 | 287.9436 | 239.9769 | 0.22248 | 1.9822 | 28.9588 | 20.2374 | 16.0484 | 1.8303 | 0.21463 | 0.59698 | 1.2334 | 0.13562 | 18.9629 | 0.72322 | 34.1574 | 376.9152 | 0.011707
42 | 10:52:19 | 1331 | 0 | 12.9306 | 0.23216 | 276.9501 | 4.4279 | 1.3856 | 17.3069 | 6 | 1.42 | 1 | 2.84 | 14.795 | 17.3069 | 14.112 | 400.6345 | 383.0803 | 3.4549 | 8.7225 | 14.0023 | 35.3517 | 499.9434 | 1499.8143 | 237.5066 | 68.4505 | -2.9223 | 0.20449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0044279 | 290.4569 | 287.945 | 239.9703 | 0.22166 | 1.9827 | 28.9656 | 20.2431 | 16.051 | 1.8306 | 0.21461 | 0.59706 | 1.2336 | 0.13561 | 18.9574 | 0.72296 | 34.1538 | 376.9337 | 0.011716
43 | 10:52:20 | 1331.5 | 0 | 12.9848 | 0.23211 | 276.5156 | 4.4288 | 1.3862 | 17.3119 | 6 | 1.42 | 1 | 2.84 | 14.7961 | 17.3119 | 14.1122 | 400.6813 | 383.0615 | 3.4546 | 8.7235 | 14.0002 | 35.3527 | 499.9353 | 1499.8843 | 237.5793 | 68.4501 | -2.9223 | 0.20449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0044288 | 290.4619 | 287.9461 | 239.9815 | 0.22081 | 1.9833 | 28.9748 | 20.2513 | 16.054 | 1.831 | 0.21457 | 0.59713 | 1.2339 | 0.13558 | 18.9275 | 0.72186 | 34.1465 | 376.8892 | 0.011764
44 | 10:52:20 | 1332 | 0 | 13.0347 | 0.23218 | 276.168 | 4.4316 | 1.3866 | 17.316 | 6 | 1.42 | 1 | 2.84 | 14.797 | 17.316 | 14.112 | 400.7309 | 383.0492 | 3.4527 | 8.7251 | 13.9913 | 35.3568 | 499.9143 | 1499.9127 | 237.6308 | 68.4493 | -2.9223 | 0.20449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0044316 | 290.466 | 287.947 | 239.986 | 0.21898 | 1.9838 | 28.9827 | 20.2576 | 16.0565 | 1.8313 | 0.21464 | 0.59722 | 1.2341 | 0.13562 | 18.9035 | 0.72097 | 34.1452 | 376.8531 | 0.01181
45 | 10:52:21 | 1332.5 | 0 | 13.0286 | 0.23215 | 276.2136 | 4.4321 | 1.387 | 17.3189 | 6 | 1.42 | 1 | 2.84 | 14.7986 | 17.3189 | 14.1124 | 400.7433 | 383.0681 | 3.4517 | 8.7249 | 13.9862 | 35.3526 | 499.9031 | 1499.9071 | 237.8242 | 68.45 | -2.9223 | 0.20449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0044321 | 290.4689 | 287.9486 | 239.9851 | 0.21854 | 1.9842 | 28.9877 | 20.2628 | 16.0587 | 1.8316 | 0.21461 | 0.59722 | 1.2343 | 0.1356 | 18.9068 | 0.72106 | 34.1388 | 376.875 | 0.011802 | 12.9512 | 14.7887 | 17.3028 | #DIV/0! | 1329.0333 | 0 | 12.9512 | 0.23204 | 276.69 | 4.4249 | 1.3853 | 17.3028 | 6 | 1.42 | 1 | 2.84 | 14.7887 | 17.3028 | 14.1114 | 400.5846 | 383.0076 | 3.4557 | 8.7197 | 14.011 | 35.3542 | 499.949 | 1499.8758 | 236.7344 | 68.4499 | -2.9223 | 0.20449 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0044249 | 290.4528 | 287.9387 | 239.9801 | 0.22312 | 1.9822 | 28.9582 | 20.2385 | 16.0457 | 1.83 | 0.21452 | 0.59686 | 1.2332 | 0.13554 | 18.9394 | 0.72241 | 34.1498 | 376.8512 | 0.011736
Remark= | "10:52:29 Coolers: Tblock -> 19.00 C"
Remark= | "10:54:25 Flow: Fixed -> 500 umol/s"
46 | 10:55:07 | 1498.5 | 0 | 13.0774 | 0.22519 | 271.0018 | 4.678 | 1.5003 | 19.5434 | 6 | 1.42 | 1 | 2.84 | 18.866 | 19.5434 | 18.9978 | 399.6515 | 381.8116 | 5.8568 | 11.4076 | 18.3315 | 35.7049 | 499.9001 | 1501.0776 | 244.3514 | 68.4458 | -2.9186 | 0.17844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.004678 | 292.6934 | 292.016 | 240.1724 | 0.31718 | 2.2811 | 33.3268 | 21.9192 | 19.2047 | 2.2335 | 0.20865 | 0.7808 | 1.4527 | 0.1318 | 18.5489 | 0.70978 | 37.6672 | 375.5952 | 0.013115
47 | 10:55:07 | 1498.5 | 0 | 13.0774 | 0.22519 | 271.0018 | 4.678 | 1.5003 | 19.5434 | 6 | 1.42 | 1 | 2.84 | 18.866 | 19.5434 | 18.9978 | 399.6515 | 381.8116 | 5.8568 | 11.4076 | 18.3315 | 35.7049 | 499.9001 | 1501.0776 | 244.3514 | 68.4458 | -2.9186 | 0.17844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.004678 | 292.6934 | 292.016 | 240.1724 | 0.31718 | 2.2811 | 33.3268 | 21.9192 | 19.2047 | 2.2335 | 0.20865 | 0.7808 | 1.4527 | 0.1318 | 18.5489 | 0.70978 | 37.6672 | 375.5952 | 0.013115
48 | 10:55:08 | 1499 | 0 | 13.1233 | 0.22519 | 270.67 | 4.6787 | 1.5005 | 19.5455 | 6 | 1.42 | 1 | 2.84 | 18.8681 | 19.5455 | 18.9985 | 399.7188 | 381.825 | 5.8571 | 11.4082 | 18.3301 | 35.7025 | 499.9422 | 1500.9901 | 244.4635 | 68.4463 | -2.9186 | 0.17844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0046787 | 292.6955 | 292.0181 | 240.1584 | 0.31663 | 2.2814 | 33.3309 | 21.9227 | 19.2068 | 2.2338 | 0.20865 | 0.78085 | 1.453 | 0.1318 | 18.5263 | 0.70888 | 37.6647 | 375.5869 | 0.01316
49 | 10:55:08 | 1499.5 | 0 | 13.1977 | 0.22521 | 270.0624 | 4.6798 | 1.5008 | 19.5474 | 6 | 1.42 | 1 | 2.84 | 18.8688 | 19.5474 | 18.9999 | 399.7493 | 381.7657 | 5.8562 | 11.4087 | 18.3264 | 35.7023 | 499.9341 | 1501.0205 | 244.4725 | 68.4459 | -2.9186 | 0.17844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0046798 | 292.6974 | 292.0188 | 240.1633 | 0.31595 | 2.2816 | 33.3351 | 21.9264 | 19.2081 | 2.234 | 0.20866 | 0.78088 | 1.4531 | 0.1318 | 18.4847 | 0.7074 | 37.6623 | 375.4922 | 0.013237
50 | 10:55:09 | 1500 | 0 | 13.2002 | 0.22512 | 270.03 | 4.6788 | 1.501 | 19.5482 | 6 | 1.42 | 1 | 2.84 | 18.8717 | 19.5482 | 18.9999 | 399.7751 | 381.7886 | 5.856 | 11.4074 | 18.3225 | 35.6917 | 499.9271 | 1501.0659 | 244.4396 | 68.4458 | -2.9186 | 0.17844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0046788 | 292.6982 | 292.0217 | 240.1705 | 0.31685 | 2.2818 | 33.3366 | 21.9292 | 19.2099 | 2.2342 | 0.20859 | 0.78079 | 1.4534 | 0.13176 | 18.4824 | 0.70728 | 37.6554 | 375.5139 | 0.013237
51 | 10:55:09 | 1500.5 | 0 | 13.2497 | 0.22529 | 269.7349 | 4.6814 | 1.5008 | 19.5476 | 6 | 1.42 | 1 | 2.84 | 18.8736 | 19.5476 | 19.0006 | 399.8414 | 381.794 | 5.8545 | 11.409 | 18.3156 | 35.6925 | 499.9206 | 1501.0685 | 244.5223 | 68.4454 | -2.9186 | 0.17844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0046814 | 292.6976 | 292.0236 | 240.171 | 0.31581 | 2.2817 | 33.3356 | 21.9265 | 19.2106 | 2.2343 | 0.20873 | 0.7809 | 1.4534 | 0.13185 | 18.4621 | 0.70649 | 37.6644 | 375.4957 | 0.01329
52 | 10:55:10 | 1501 | 0 | 13.2756 | 0.22541 | 269.5858 | 4.6837 | 1.5007 | 19.5483 | 6 | 1.42 | 1 | 2.84 | 18.8755 | 19.5483 | 19.0008 | 399.866 | 381.7869 | 5.8539 | 11.411 | 18.3116 | 35.6945 | 499.9284 | 1501.0249 | 244.5212 | 68.4457 | -2.9186 | 0.17844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0046837 | 292.6983 | 292.0255 | 240.164 | 0.3147 | 2.2818 | 33.3369 | 21.9259 | 19.2119 | 2.2345 | 0.20883 | 0.78103 | 1.4535 | 0.13192 | 18.452 | 0.70612 | 37.671 | 375.4763 | 0.013319
53 | 10:55:10 | 1501.5 | 0 | 13.2753 | 0.22542 | 269.5832 | 4.6842 | 1.5009 | 19.5489 | 6 | 1.42 | 1 | 2.84 | 18.8776 | 19.5489 | 19.0007 | 399.8579 | 381.7795 | 5.8527 | 11.4102 | 18.3052 | 35.6874 | 499.9418 | 1500.9952 | 244.5496 | 68.4458 | -2.9186 | 0.17844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0046842 | 292.6989 | 292.0276 | 240.1592 | 0.31455 | 2.2819 | 33.3381 | 21.9279 | 19.2133 | 2.2347 | 0.20884 | 0.78098 | 1.4537 | 0.13192 | 18.4518 | 0.70612 | 37.6679 | 375.4691 | 0.013318
54 | 10:55:11 | 1502 | 0 | 13.2454 | 0.22543 | 269.814 | 4.6844 | 1.5009 | 19.5486 | 6 | 1.42 | 1 | 2.84 | 18.8792 | 19.5486 | 19.0001 | 399.8261 | 381.7836 | 5.8519 | 11.4096 | 18.3009 | 35.682 | 499.947 | 1500.9712 | 244.4883 | 68.4458 | -2.9186 | 0.17844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0046844 | 292.6986 | 292.0292 | 240.1554 | 0.31463 | 2.2818 | 33.3376 | 21.9279 | 19.2139 | 2.2348 | 0.20885 | 0.78094 | 1.4538 | 0.13192 | 18.4676 | 0.70672 | 37.6669 | 375.4874 | 0.013287
55 | 10:55:11 | 1502.5 | 0 | 13.2103 | 0.22548 | 270.1405 | 4.6857 | 1.501 | 19.5498 | 6 | 1.42 | 1 | 2.84 | 18.8802 | 19.5498 | 19.0002 | 399.831 | 381.8305 | 5.8517 | 11.4108 | 18.299 | 35.683 | 499.9673 | 1500.9829 | 244.5545 | 68.4453 | -2.9186 | 0.17844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.0046857 | 292.6998 | 292.0302 | 240.1573 | 0.31393 | 2.282 | 33.3403 | 21.9295 | 19.215 | 2.2349 | 0.20889 | 0.78101 | 1.4539 | 0.13195 | 18.4899 | 0.70749 | 37.6684 | 375.551 | 0.01325
56 | 10:55:12 | 1503 | 0 | 13.2168 | 0.22543 | 270.0588 | 4.6862 | 1.5014 | 19.5528 | 6 | 1.42 | 1 | 2.84 | 18.8813 | 19.5528 | 19.0001 | 399.8306 | 381.8206 | 5.8503 | 11.4104 | 18.2935 | 35.6796 | 499.9259 | 1501.0336 | 244.5532 | 68.4453 | -2.9186 | 0.17844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0046862 | 292.7028 | 292.0313 | 240.1654 | 0.31352 | 2.2824 | 33.3466 | 21.9361 | 19.2171 | 2.2352 | 0.20885 | 0.78099 | 1.4542 | 0.13193 | 18.4843 | 0.70729 | 37.6601 | 375.538 | 0.013254
57 | 10:55:12 | 1503.5 | 0 | 13.2033 | 0.22552 | 270.2309 | 4.6888 | 1.5017 | 19.5553 | 6 | 1.42 | 1 | 2.84 | 18.8823 | 19.5553 | 18.9991 | 399.8537 | 381.8588 | 5.8487 | 11.4117 | 18.2874 | 35.6816 | 499.9334 | 1501.0061 | 244.5751 | 68.4457 | -2.9186 | 0.17844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0046888 | 292.7053 | 292.0323 | 240.161 | 0.31194 | 2.2828 | 33.3516 | 21.9398 | 19.2188 | 2.2355 | 0.20893 | 0.78108 | 1.4544 | 0.13197 | 18.4961 | 0.70767 | 37.6606 | 375.5826 | 0.013239
58 | 10:55:13 | 1504 | 0 | 13.2125 | 0.22559 | 270.2 | 4.6916 | 1.5022 | 19.5594 | 6 | 1.42 | 1 | 2.84 | 18.8838 | 19.5594 | 18.9991 | 399.8783 | 381.8712 | 5.847 | 11.4134 | 18.2804 | 35.6834 | 499.9385 | 1500.9735 | 244.5137 | 68.4454 | -2.9186 | 0.17844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0046916 | 292.7094 | 292.0338 | 240.1558 | 0.31003 | 2.2834 | 33.3602 | 21.9468 | 19.2216 | 2.2359 | 0.20899 | 0.7812 | 1.4547 | 0.13201 | 18.4939 | 0.70757 | 37.6582 | 375.5906 | 0.013247
59 | 10:55:13 | 1504.5 | 0 | 13.1867 | 0.22558 | 270.42 | 4.6931 | 1.5027 | 19.5631 | 6 | 1.42 | 1 | 2.84 | 18.8848 | 19.5631 | 18.9976 | 399.8823 | 381.9061 | 5.8456 | 11.4135 | 18.2748 | 35.6816 | 499.9625 | 1500.9705 | 244.5273 | 68.4461 | -2.9186 | 0.17844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0046931 | 292.7131 | 292.0348 | 240.1553 | 0.30889 | 2.2839 | 33.3675 | 21.954 | 19.224 | 2.2362 | 0.20898 | 0.78121 | 1.455 | 0.13201 | 18.5092 | 0.70808 | 37.6509 | 375.6378 | 0.013217
60 | 10:55:14 | 1505 | 0 | 13.1566 | 0.2255 | 270.6103 | 4.6943 | 1.5035 | 19.5686 | 6 | 1.42 | 1 | 2.84 | 18.8865 | 19.5686 | 18.998 | 399.8517 | 381.9112 | 5.8429 | 11.4122 | 18.2646 | 35.6738 | 499.9643 | 1500.9906 | 244.5704 | 68.4459 | -2.9186 | 0.17844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0046943 | 292.7186 | 292.0365 | 240.1585 | 0.30782 | 2.2846 | 33.3789 | 21.9667 | 19.2275 | 2.2367 | 0.20892 | 0.78112 | 1.4556 | 0.13197 | 18.5222 | 0.70857 | 37.6343 | 375.6572 | 0.013181 | 13.1939 | 18.8764 | 19.5514 | #DIV/0! | 1501.5333 | 0 | 13.1939 | 0.22537 | 270.2096 | 4.6845 | 1.5012 | 19.5514 | 6 | 1.42 | 1 | 2.84 | 18.8764 | 19.5514 | 18.9994 | 399.8043 | 381.823 | 5.8522 | 11.4101 | 18.305 | 35.6897 | 499.9356 | 1501.0166 | 244.4969 | 68.4457 | -2.9186 | 0.17844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0046845 | 292.7014 | 292.0264 | 240.1626 | 0.31397 | 2.2822 | 33.3433 | 21.9332 | 19.2139 | 2.2348 | 0.2088 | 0.78097 | 1.4538 | 0.13189 | 18.4947 | 0.70768 | 37.6613 | 375.5513 | 0.013231
Remark= | "10:55:24 Coolers: Tblock -> 24.00 C"
Remark= | "10:57:23 Flow: Fixed -> 500 umol/s"
61 | 10:57:42 | 1655 | 0 | 12.9312 | 0.21395 | 267.8464 | 4.8159 | 1.6132 | 21.6998 | 6 | 1.42 | 1 | 2.84 | 23.0391 | 21.6998 | 24.0812 | 401.0022 | 383.2687 | 8.7988 | 14.4945 | 21.3079 | 35.101 | 499.9705 | 1499.0944 | 241.1912 | 68.4463 | -2.8812 | 0.13468 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.0048159 | 294.8498 | 296.1891 | 239.8551 | 0.50417 | 2.6053 | 38.0635 | 23.569 | 22.3694 | 2.7139 | 0.19896 | 0.9921 | 1.7218 | 0.12562 | 18.3331 | 0.69885 | 40.8637 | 377.1219 | 0.014012
62 | 10:57:43 | 1655 | 0 | 12.9312 | 0.21395 | 267.8464 | 4.8159 | 1.6132 | 21.6998 | 6 | 1.42 | 1 | 2.84 | 23.0391 | 21.6998 | 24.0812 | 401.0022 | 383.2687 | 8.7988 | 14.4945 | 21.3079 | 35.101 | 499.9705 | 1499.0944 | 241.1912 | 68.4463 | -2.8812 | 0.13468 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.0048159 | 294.8498 | 296.1891 | 239.8551 | 0.50417 | 2.6053 | 38.0635 | 23.569 | 22.3694 | 2.7139 | 0.19896 | 0.9921 | 1.7218 | 0.12562 | 18.3331 | 0.69885 | 40.8637 | 377.1219 | 0.014012
63 | 10:57:43 | 1655.5 | 0 | 12.9221 | 0.21403 | 267.9368 | 4.8192 | 1.6138 | 21.7043 | 6 | 1.42 | 1 | 2.84 | 23.0412 | 21.7043 | 24.0802 | 400.9824 | 383.257 | 8.7968 | 14.4968 | 21.3005 | 35.1025 | 499.9306 | 1499.0575 | 241.0477 | 68.447 | -2.8812 | 0.13468 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0048192 | 294.8543 | 296.1912 | 239.8492 | 0.50208 | 2.606 | 38.0736 | 23.5767 | 22.3727 | 2.7144 | 0.19903 | 0.99227 | 1.7222 | 0.12566 | 18.3395 | 0.6991 | 40.8611 | 377.1144 | 0.014001
64 | 10:57:44 | 1656 | 0 | 12.9687 | 0.21408 | 267.5492 | 4.8218 | 1.6143 | 21.7081 | 6 | 1.42 | 1 | 2.84 | 23.0443 | 21.7081 | 24.0801 | 400.9982 | 383.2158 | 8.7951 | 14.4982 | 21.2924 | 35.0991 | 499.9285 | 1499.11 | 240.8739 | 68.4465 | -2.8812 | 0.13468 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0048218 | 294.8581 | 296.1943 | 239.8576 | 0.50072 | 2.6066 | 38.0829 | 23.5846 | 22.3762 | 2.715 | 0.19907 | 0.99235 | 1.7226 | 0.12569 | 18.3128 | 0.69817 | 40.8563 | 377.0511 | 0.014053
65 | 10:57:44 | 1656.5 | 0 | 12.9363 | 0.21423 | 267.8778 | 4.8266 | 1.6148 | 21.7125 | 6 | 1.42 | 1 | 2.84 | 23.0475 | 21.7125 | 24.08 | 400.9724 | 383.2271 | 8.7921 | 14.5008 | 21.2809 | 35.0984 | 499.9399 | 1499.1527 | 240.7248 | 68.4465 | -2.8812 | 0.13468 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0048266 | 294.8625 | 296.1975 | 239.8644 | 0.49811 | 2.6073 | 38.0931 | 23.5923 | 22.38 | 2.7156 | 0.1992 | 0.99253 | 1.7231 | 0.12577 | 18.3353 | 0.69901 | 40.8555 | 377.0778 | 0.014016
66 | 10:57:45 | 1657 | 0 | 13.0031 | 0.21427 | 267.3431 | 4.83 | 1.6156 | 21.7183 | 6 | 1.42 | 1 | 2.84 | 23.0507 | 21.7183 | 24.0806 | 401.0269 | 383.1994 | 8.7899 | 14.5026 | 21.2713 | 35.0962 | 499.9223 | 1499.1527 | 240.5829 | 68.4464 | -2.8812 | 0.13468 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.00483 | 294.8683 | 296.2007 | 239.8644 | 0.49602 | 2.6083 | 38.1066 | 23.604 | 22.3845 | 2.7164 | 0.19924 | 0.99265 | 1.7237 | 0.12579 | 18.2987 | 0.69766 | 40.8477 | 377.0183 | 0.014088
67 | 10:57:45 | 1657.5 | 0 | 12.9841 | 0.2142 | 267.4691 | 4.8311 | 1.6165 | 21.7239 | 6 | 1.42 | 1 | 2.84 | 23.0542 | 21.7239 | 24.081 | 401.0232 | 383.2181 | 8.7886 | 14.5026 | 21.2637 | 35.0887 | 499.9298 | 1499.1204 | 240.294 | 68.4464 | -2.8812 | 0.13468 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0048311 | 294.8739 | 296.2042 | 239.8593 | 0.49507 | 2.6092 | 38.1197 | 23.6171 | 22.3891 | 2.7171 | 0.19918 | 0.99265 | 1.7245 | 0.12575 | 18.3073 | 0.69796 | 40.8334 | 377.0461 | 0.014062
68 | 10:57:46 | 1658 | 0 | 12.9468 | 0.21425 | 267.8065 | 4.8344 | 1.6172 | 21.7292 | 6 | 1.42 | 1 | 2.84 | 23.0574 | 21.7292 | 24.0815 | 401.0083 | 383.2466 | 8.7865 | 14.5044 | 21.2545 | 35.0861 | 499.9364 | 1499.0443 | 240.2539 | 68.4464 | -2.8812 | 0.13468 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0048344 | 294.8792 | 296.2074 | 239.8471 | 0.49292 | 2.61 | 38.132 | 23.6276 | 22.3933 | 2.7178 | 0.19922 | 0.99277 | 1.7251 | 0.12578 | 18.3304 | 0.69878 | 40.8267 | 377.0923 | 0.014017
69 | 10:57:46 | 1658.5 | 0 | 12.935 | 0.21422 | 267.8962 | 4.8358 | 1.6179 | 21.7341 | 6 | 1.42 | 1 | 2.84 | 23.061 | 21.7341 | 24.082 | 401.0116 | 383.2633 | 8.7867 | 14.5062 | 21.2505 | 35.0829 | 499.9378 | 1499.0579 | 240.2187 | 68.4466 | -2.8812 | 0.13468 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0048358 | 294.8841 | 296.211 | 239.8493 | 0.49205 | 2.6108 | 38.1434 | 23.6372 | 22.3976 | 2.7185 | 0.1992 | 0.9929 | 1.7256 | 0.12577 | 18.3366 | 0.69899 | 40.8194 | 377.1146 | 0.014001
70 | 10:57:47 | 1659 | 0 | 12.9484 | 0.21417 | 267.7682 | 4.8369 | 1.6186 | 21.739 | 6 | 1.42 | 1 | 2.84 | 23.0652 | 21.739 | 24.0817 | 401.0359 | 383.2709 | 8.786 | 14.5068 | 21.2434 | 35.0756 | 499.933 | 1499.0264 | 240.088 | 68.4466 | -2.8812 | 0.13468 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0048369 | 294.889 | 296.2152 | 239.8442 | 0.49133 | 2.6116 | 38.1549 | 23.6481 | 22.4021 | 2.7193 | 0.19915 | 0.99294 | 1.7263 | 0.12574 | 18.3278 | 0.69864 | 40.8085 | 377.1158 | 0.014012
71 | 10:57:47 | 1659.5 | 0 | 12.9705 | 0.21405 | 267.5217 | 4.8373 | 1.6196 | 21.7447 | 6 | 1.42 | 1 | 2.84 | 23.0682 | 21.7447 | 24.082 | 401.0477 | 383.2561 | 8.7847 | 14.506 | 21.2362 | 35.0669 | 499.9366 | 1499.0741 | 239.9166 | 68.4461 | -2.8812 | 0.13468 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0048373 | 294.8947 | 296.2182 | 239.8519 | 0.49085 | 2.6125 | 38.1683 | 23.6623 | 22.4065 | 2.72 | 0.19905 | 0.99288 | 1.7271 | 0.12567 | 18.3108 | 0.69802 | 40.791 | 377.0906 | 0.014031
72 | 10:57:48 | 1660 | 0 | 12.9733 | 0.21395 | 267.4823 | 4.8388 | 1.6208 | 21.7525 | 6 | 1.42 | 1 | 2.84 | 23.0706 | 21.7525 | 24.0826 | 401.0905 | 383.295 | 8.7838 | 14.5067 | 21.2309 | 35.0636 | 499.9493 | 1499.0894 | 239.7995 | 68.4461 | -2.8812 | 0.13468 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0048388 | 294.9025 | 296.2206 | 239.8543 | 0.48937 | 2.6137 | 38.1866 | 23.6799 | 22.4116 | 2.7208 | 0.19896 | 0.99293 | 1.7279 | 0.12562 | 18.3081 | 0.69785 | 40.7729 | 377.1281 | 0.014026
73 | 10:57:48 | 1660.5 | 0 | 13.0262 | 0.21384 | 267.0019 | 4.8393 | 1.6217 | 21.7583 | 6 | 1.42 | 1 | 2.84 | 23.0736 | 21.7583 | 24.0819 | 401.1418 | 383.2831 | 8.7837 | 14.507 | 21.2269 | 35.058 | 499.9591 | 1499.0217 | 239.7368 | 68.4461 | -2.8812 | 0.13468 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0048393 | 294.9083 | 296.2236 | 239.8435 | 0.48866 | 2.6146 | 38.2 | 23.693 | 22.4159 | 2.7216 | 0.19887 | 0.99295 | 1.7286 | 0.12555 | 18.2752 | 0.69662 | 40.7584 | 377.091 | 0.01408
74 | 10:57:49 | 1661 | 0 | 13.0417 | 0.21381 | 266.8678 | 4.8412 | 1.6225 | 21.7637 | 6 | 1.42 | 1 | 2.84 | 23.0762 | 21.7637 | 24.0816 | 401.1688 | 383.2904 | 8.7815 | 14.5072 | 21.2184 | 35.0531 | 499.9546 | 1499.0095 | 239.6132 | 68.4463 | -2.8812 | 0.13468 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83326 | 0.0048412 | 294.9137 | 296.2262 | 239.8415 | 0.48724 | 2.6155 | 38.2126 | 23.7054 | 22.42 | 2.7222 | 0.19884 | 0.99297 | 1.7293 | 0.12554 | 18.2661 | 0.69625 | 40.7459 | 377.091 | 0.014092
75 | 10:57:49 | 1661.5 | 0 | 13.0507 | 0.21379 | 266.7618 | 4.8431 | 1.6233 | 21.7689 | 6 | 1.42 | 1 | 2.84 | 23.0785 | 21.7689 | 24.0812 | 401.1585 | 383.2686 | 8.78 | 14.5079 | 21.2118 | 35.05 | 499.9515 | 1499.0249 | 239.5327 | 68.4466 | -2.8812 | 0.13468 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0048431 | 294.9189 | 296.2285 | 239.844 | 0.48592 | 2.6163 | 38.2245 | 23.7166 | 22.4237 | 2.7229 | 0.19882 | 0.99302 | 1.7298 | 0.12553 | 18.2589 | 0.69602 | 40.7356 | 377.0649 | 0.014099 | 12.9713 | 23.0578 | 21.7305 | #DIV/0! | 1658.0333 | 0 | 12.9713 | 0.21405 | 267.5317 | 4.8312 | 1.6175 | 21.7305 | 6 | 1.42 | 1 | 2.84 | 23.0578 | 21.7305 | 24.0812 | 401.0447 | 383.2553 | 8.7889 | 14.5028 | 21.2598 | 35.0815 | 499.9434 | 1499.0753 | 240.3377 | 68.4464 | -2.8812 | 0.13468 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0048312 | 294.8805 | 296.2078 | 239.852 | 0.49458 | 2.6102 | 38.135 | 23.6322 | 22.3941 | 2.718 | 0.19905 | 0.99267 | 1.7253 | 0.12567 | 18.3116 | 0.69805 | 40.816 | 377.0893 | 0.01404
Remark= | "10:57:57 Coolers: Tblock -> 29.00 C"
Remark= | "11:00:39 Flow: Fixed -> 500 umol/s"
76 | 11:01:00 | 1851.5 | 0 | 12.3782 | 0.19452 | 260.9134 | 4.9548 | 1.8028 | 24.6408 | 6 | 1.42 | 1 | 2.84 | 27.3871 | 24.6408 | 28.9567 | 399.715 | 382.5846 | 13.2979 | 19.1306 | 24.8597 | 35.7636 | 499.9476 | 1499.8359 | 236.5268 | 68.4471 | -2.607 | 0.092455 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0049548 | 297.7908 | 300.5371 | 239.9737 | 0.63002 | 3.1122 | 45.4689 | 26.3383 | 26.014 | 3.377 | 0.18205 | 1.3094 | 2.0676 | 0.11484 | 17.8588 | 0.68198 | 43.9776 | 376.7006 | 0.014451
77 | 11:01:00 | 1851.5 | 0 | 12.3782 | 0.19452 | 260.9134 | 4.9548 | 1.8028 | 24.6408 | 6 | 1.42 | 1 | 2.84 | 27.3871 | 24.6408 | 28.9567 | 399.715 | 382.5846 | 13.2979 | 19.1306 | 24.8597 | 35.7636 | 499.9476 | 1499.8359 | 236.5268 | 68.4471 | -2.607 | 0.092455 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0049548 | 297.7908 | 300.5371 | 239.9737 | 0.63002 | 3.1122 | 45.4689 | 26.3383 | 26.014 | 3.377 | 0.18205 | 1.3094 | 2.0676 | 0.11484 | 17.8588 | 0.68198 | 43.9776 | 376.7006 | 0.014451
78 | 11:01:01 | 1852 | 0 | 12.3887 | 0.19452 | 260.8093 | 4.9569 | 1.8035 | 24.645 | 6 | 1.42 | 1 | 2.84 | 27.389 | 24.645 | 28.9568 | 399.7166 | 382.5734 | 13.2969 | 19.1317 | 24.855 | 35.7618 | 499.9689 | 1499.9147 | 236.5785 | 68.4467 | -2.607 | 0.092455 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.0049569 | 297.795 | 300.539 | 239.9863 | 0.62876 | 3.113 | 45.4805 | 26.3488 | 26.017 | 3.3776 | 0.18205 | 1.3095 | 2.0681 | 0.11484 | 17.8515 | 0.68172 | 43.9694 | 376.6844 | 0.014461
79 | 11:01:01 | 1852.5 | 0 | 12.4203 | 0.19456 | 260.532 | 4.9589 | 1.8039 | 24.6479 | 6 | 1.42 | 1 | 2.84 | 27.3911 | 24.6479 | 28.9571 | 399.7286 | 382.5468 | 13.2971 | 19.1343 | 24.8524 | 35.7622 | 499.9689 | 1499.9584 | 236.5711 | 68.4467 | -2.607 | 0.092455 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.0049589 | 297.7979 | 300.5411 | 239.9933 | 0.62769 | 3.1135 | 45.4886 | 26.3543 | 26.0195 | 3.3782 | 0.18208 | 1.3097 | 2.0685 | 0.11486 | 17.8325 | 0.68105 | 43.968 | 376.6428 | 0.014499
80 | 11:01:02 | 1853 | 0 | 12.4588 | 0.19462 | 260.2104 | 4.9614 | 1.8042 | 24.6506 | 6 | 1.42 | 1 | 2.84 | 27.3937 | 24.6506 | 28.9567 | 399.7553 | 382.5262 | 13.2959 | 19.1359 | 24.8463 | 35.7597 | 499.9695 | 1499.9291 | 236.5161 | 68.4468 | -2.607 | 0.092455 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.0049614 | 297.8006 | 300.5437 | 239.9886 | 0.62636 | 3.114 | 45.4957 | 26.3598 | 26.0221 | 3.3787 | 0.18213 | 1.3098 | 2.0689 | 0.11489 | 17.8106 | 0.68024 | 43.9659 | 376.6039 | 0.014545
81 | 11:01:02 | 1853.5 | 0 | 12.4338 | 0.19461 | 260.4285 | 4.9626 | 1.8048 | 24.6537 | 6 | 1.42 | 1 | 2.84 | 27.396 | 24.6537 | 28.9563 | 399.7421 | 382.5411 | 13.2947 | 19.1366 | 24.8408 | 35.7563 | 499.9348 | 1499.9082 | 236.5483 | 68.4472 | -2.607 | 0.092455 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0049626 | 297.8037 | 300.546 | 239.9853 | 0.62558 | 3.1146 | 45.5041 | 26.3675 | 26.0249 | 3.3792 | 0.18213 | 1.3098 | 2.0694 | 0.11489 | 17.8256 | 0.68079 | 43.9594 | 376.6307 | 0.014512
82 | 11:01:03 | 1854 | 0 | 12.4185 | 0.19455 | 260.5216 | 4.9628 | 1.8053 | 24.6568 | 6 | 1.42 | 1 | 2.84 | 27.3983 | 24.6568 | 28.9555 | 399.7197 | 382.5369 | 13.2945 | 19.1367 | 24.837 | 35.7516 | 499.929 | 1499.8955 | 236.6288 | 68.4471 | -2.607 | 0.092455 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0049628 | 297.8068 | 300.5483 | 239.9833 | 0.62534 | 3.1152 | 45.5124 | 26.3757 | 26.0276 | 3.3798 | 0.18208 | 1.3099 | 2.0699 | 0.11486 | 17.8319 | 0.68104 | 43.9509 | 376.6337 | 0.014492
83 | 11:01:03 | 1854.5 | 0 | 12.4173 | 0.19444 | 260.4824 | 4.9623 | 1.8061 | 24.6606 | 6 | 1.42 | 1 | 2.84 | 27.4008 | 24.6606 | 28.9561 | 399.731 | 382.5491 | 13.2942 | 19.1361 | 24.833 | 35.7454 | 499.9068 | 1499.9341 | 236.5423 | 68.4472 | -2.607 | 0.092455 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0049623 | 297.8106 | 300.5508 | 239.9894 | 0.62552 | 3.1159 | 45.5226 | 26.3865 | 26.0307 | 3.3804 | 0.18198 | 1.3098 | 2.0706 | 0.1148 | 17.8293 | 0.68091 | 43.9382 | 376.6465 | 0.014486
84 | 11:01:04 | 1855 | 0 | 12.4284 | 0.19437 | 260.3336 | 4.9632 | 1.807 | 24.6659 | 6 | 1.42 | 1 | 2.84 | 27.4021 | 24.6659 | 28.957 | 399.7367 | 382.5406 | 13.2936 | 19.1368 | 24.8298 | 35.7436 | 499.8942 | 1499.9712 | 236.4878 | 68.4466 | -2.607 | 0.092455 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0049632 | 297.8159 | 300.5521 | 239.9954 | 0.62456 | 3.1169 | 45.5375 | 26.4007 | 26.034 | 3.381 | 0.18192 | 1.3098 | 2.0712 | 0.11475 | 17.8189 | 0.68054 | 43.9245 | 376.6327 | 0.014495
85 | 11:01:04 | 1855.5 | 0 | 12.4346 | 0.19431 | 260.274 | 4.9643 | 1.8079 | 24.6709 | 6 | 1.42 | 1 | 2.84 | 27.4043 | 24.6709 | 28.9571 | 399.7749 | 382.5713 | 13.2932 | 19.1374 | 24.8259 | 35.7403 | 499.9082 | 1500.0248 | 236.5428 | 68.4468 | -2.607 | 0.092455 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0049643 | 297.8209 | 300.5543 | 240.004 | 0.62372 | 3.1178 | 45.5511 | 26.4136 | 26.0376 | 3.3818 | 0.18187 | 1.3099 | 2.0719 | 0.11472 | 17.8149 | 0.68033 | 43.9124 | 376.6605 | 0.014497
86 | 11:01:05 | 1856 | 0 | 12.4396 | 0.19429 | 260.2436 | 4.9662 | 1.8088 | 24.6765 | 6 | 1.42 | 1 | 2.84 | 27.4065 | 24.6765 | 28.9572 | 399.8158 | 382.6039 | 13.2926 | 19.1395 | 24.8216 | 35.7396 | 499.8742 | 1499.9685 | 236.5432 | 68.4468 | -2.607 | 0.092455 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0049662 | 297.8265 | 300.5565 | 239.995 | 0.62215 | 3.1189 | 45.5662 | 26.4267 | 26.0415 | 3.3826 | 0.18184 | 1.31 | 2.0725 | 0.11471 | 17.8129 | 0.68019 | 43.9023 | 376.6907 | 0.014498
87 | 11:01:05 | 1856.5 | 0 | 12.4171 | 0.19415 | 260.393 | 4.9662 | 1.81 | 24.6824 | 6 | 1.42 | 1 | 2.84 | 27.4085 | 24.6824 | 28.957 | 399.827 | 382.6416 | 13.292 | 19.139 | 24.8176 | 35.7344 | 499.8659 | 1500.0416 | 236.5441 | 68.4466 | -2.607 | 0.092455 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0049662 | 297.8324 | 300.5585 | 240.0067 | 0.62178 | 3.12 | 45.5825 | 26.4435 | 26.0454 | 3.3833 | 0.18173 | 1.31 | 2.0733 | 0.11463 | 17.823 | 0.68051 | 43.8837 | 376.7392 | 0.014464
88 | 11:01:06 | 1857 | 0 | 12.3643 | 0.19408 | 260.8563 | 4.9671 | 1.8108 | 24.6875 | 6 | 1.42 | 1 | 2.84 | 27.4099 | 24.6875 | 28.9573 | 399.8193 | 382.6966 | 13.2923 | 19.1402 | 24.8158 | 35.7335 | 499.8683 | 1500.0482 | 236.5786 | 68.4463 | -2.607 | 0.092455 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0049671 | 297.8375 | 300.5599 | 240.0077 | 0.62083 | 3.1209 | 45.5966 | 26.4564 | 26.0487 | 3.384 | 0.18167 | 1.3101 | 2.0739 | 0.1146 | 17.8547 | 0.68163 | 43.8722 | 376.8192 | 0.014395
89 | 11:01:06 | 1857.5 | 0 | 12.3531 | 0.19404 | 260.9509 | 4.9689 | 1.8118 | 24.6937 | 6 | 1.42 | 1 | 2.84 | 27.4125 | 24.6937 | 28.9574 | 399.8336 | 382.7257 | 13.293 | 19.1423 | 24.8135 | 35.7321 | 499.9398 | 1500.0339 | 236.5146 | 68.4465 | -2.607 | 0.092455 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0049689 | 297.8437 | 300.5625 | 240.0054 | 0.61937 | 3.1221 | 45.6132 | 26.471 | 26.0531 | 3.3849 | 0.18163 | 1.3102 | 2.0746 | 0.11457 | 17.8612 | 0.68182 | 43.8604 | 376.8536 | 0.014377
90 | 11:01:07 | 1858 | 0 | 12.3609 | 0.19396 | 260.8326 | 4.9698 | 1.8129 | 24.6992 | 6 | 1.42 | 1 | 2.84 | 27.4142 | 24.6992 | 28.9579 | 399.8416 | 382.7246 | 13.2921 | 19.1422 | 24.8093 | 35.7284 | 499.9583 | 1500.0303 | 236.4655 | 68.4463 | -2.607 | 0.092455 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83326 | 0.0049698 | 297.8492 | 300.5642 | 240.0048 | 0.61838 | 3.1231 | 45.6285 | 26.4862 | 26.0567 | 3.3856 | 0.18156 | 1.3102 | 2.0754 | 0.11453 | 17.853 | 0.68152 | 43.8448 | 376.8488 | 0.014381 | 12.4061 | 27.4001 | 24.6648 | #DIV/0! | 1854.5333 | 0 | 12.4061 | 0.19437 | 260.5797 | 4.9627 | 1.8068 | 24.6648 | 6 | 1.42 | 1 | 2.84 | 27.4001 | 24.6648 | 28.9569 | 399.7648 | 382.5965 | 13.2945 | 19.1367 | 24.8345 | 35.7477 | 499.9255 | 1499.9554 | 236.541 | 68.4468 | -2.607 | 0.092455 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0049627 | 297.8148 | 300.5501 | 239.9929 | 0.62467 | 3.1167 | 45.5345 | 26.3978 | 26.0324 | 3.3807 | 0.18192 | 1.3098 | 2.0709 | 0.11476 | 17.8358 | 0.68108 | 43.9271 | 376.6992 | 0.014467
Remark= | "11:01:18 Coolers: Tblock -> 34.00 C"
Remark= | "11:06:44 Flow: Fixed -> 500 umol/s"
91 | 11:07:11 | 2223 | 0 | 11.27 | 0.1482 | 241.9261 | 4.6011 | 2.1471 | 28.0001 | 6 | 1.42 | 1 | 2.84 | 31.9966 | 28.0001 | 34.0334 | 400.9698 | 385.3131 | 18.6825 | 24.0727 | 26.7854 | 34.5135 | 499.8309 | 1500.9231 | 236.1251 | 68.4479 | -2.0437 | 0.033223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0046011 | 301.1501 | 305.1466 | 240.1477 | 1.0054 | 3.7949 | 55.4415 | 31.3688 | 29.9983 | 4.26 | 0.14085 | 1.6477 | 2.6123 | 0.088662 | 16.5593 | 0.62787 | 43.9997 | 379.9559 | 0.013051
92 | 11:07:11 | 2223 | 0 | 11.27 | 0.1482 | 241.9261 | 4.6011 | 2.1471 | 28.0001 | 6 | 1.42 | 1 | 2.84 | 31.9966 | 28.0001 | 34.0334 | 400.9698 | 385.3131 | 18.6825 | 24.0727 | 26.7854 | 34.5135 | 499.8309 | 1500.9231 | 236.1251 | 68.4479 | -2.0437 | 0.033223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0046011 | 301.1501 | 305.1466 | 240.1477 | 1.0054 | 3.7949 | 55.4415 | 31.3688 | 29.9983 | 4.26 | 0.14085 | 1.6477 | 2.6123 | 0.088662 | 16.5593 | 0.62787 | 43.9997 | 379.9559 | 0.013051
93 | 11:07:12 | 2223.5 | 0 | 11.2981 | 0.14807 | 241.5019 | 4.599 | 2.1479 | 28.0029 | 6 | 1.42 | 1 | 2.84 | 31.9979 | 28.0029 | 34.0338 | 400.9948 | 385.3063 | 18.6836 | 24.0711 | 26.7849 | 34.5084 | 499.861 | 1500.9001 | 236.4042 | 68.4478 | -2.0437 | 0.033223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.004599 | 301.1529 | 305.1479 | 240.144 | 1.0063 | 3.7955 | 55.4507 | 31.3796 | 30.0004 | 4.2606 | 0.14073 | 1.6476 | 2.6129 | 0.088589 | 16.5303 | 0.62678 | 43.9869 | 379.9357 | 0.01308
94 | 11:07:12 | 2224 | 0 | 11.288 | 0.148 | 241.5572 | 4.598 | 2.1483 | 28.0048 | 6 | 1.42 | 1 | 2.84 | 31.9994 | 28.0048 | 34.0339 | 400.9845 | 385.3088 | 18.684 | 24.0703 | 26.7832 | 34.5043 | 499.8695 | 1500.9348 | 236.7879 | 68.4475 | -2.0437 | 0.033223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.004598 | 301.1548 | 305.1494 | 240.1496 | 1.0068 | 3.7959 | 55.4569 | 31.3867 | 30.0021 | 4.261 | 0.14067 | 1.6475 | 2.6134 | 0.08855 | 16.534 | 0.62692 | 43.9793 | 379.9431 | 0.013066
95 | 11:07:13 | 2224.5 | 0 | 11.2686 | 0.1479 | 241.7076 | 4.5967 | 2.149 | 28.0077 | 6 | 1.42 | 1 | 2.84 | 32.0007 | 28.0077 | 34.0343 | 400.9824 | 385.3298 | 18.6849 | 24.0697 | 26.7825 | 34.501 | 499.8478 | 1500.9827 | 236.9901 | 68.4475 | -2.0437 | 0.033223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0045967 | 301.1577 | 305.1507 | 240.1572 | 1.0074 | 3.7965 | 55.4665 | 31.3967 | 30.0042 | 4.2615 | 0.14058 | 1.6475 | 2.614 | 0.088494 | 16.5443 | 0.62727 | 43.9689 | 379.9732 | 0.01304
96 | 11:07:13 | 2225 | 0 | 11.2285 | 0.14785 | 242.1085 | 4.5958 | 2.1494 | 28.009 | 6 | 1.42 | 1 | 2.84 | 32.0021 | 28.009 | 34.0341 | 400.9434 | 385.3389 | 18.6842 | 24.0682 | 26.7792 | 34.4959 | 499.8351 | 1500.9989 | 237.2258 | 68.4473 | -2.0437 | 0.033223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0045958 | 301.159 | 305.1521 | 240.1598 | 1.0079 | 3.7968 | 55.471 | 31.4027 | 30.0056 | 4.2618 | 0.14053 | 1.6474 | 2.6144 | 0.088461 | 16.5717 | 0.6283 | 43.9616 | 380.0014 | 0.01299
97 | 11:07:14 | 2225.5 | 0 | 11.2072 | 0.14778 | 242.2823 | 4.5944 | 2.1497 | 28.0097 | 6 | 1.42 | 1 | 2.84 | 32.003 | 28.0097 | 34.0337 | 400.9094 | 385.3312 | 18.6845 | 24.0668 | 26.7784 | 34.4923 | 499.8376 | 1501.0079 | 237.3751 | 68.4476 | -2.0437 | 0.033223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0045944 | 301.1597 | 305.153 | 240.1613 | 1.0087 | 3.797 | 55.4728 | 31.406 | 30.0063 | 4.262 | 0.14047 | 1.6473 | 2.6147 | 0.088424 | 16.5836 | 0.62876 | 43.9563 | 380.0039 | 0.012964
98 | 11:07:14 | 2226 | 0 | 11.202 | 0.14771 | 242.2822 | 4.5929 | 2.15 | 28.0107 | 6 | 1.42 | 1 | 2.84 | 32.0042 | 28.0107 | 34.0327 | 400.9074 | 385.3366 | 18.6847 | 24.0651 | 26.7771 | 34.4878 | 499.8508 | 1500.9413 | 237.5587 | 68.448 | -2.0437 | 0.033223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0045929 | 301.1607 | 305.1542 | 240.1506 | 1.0094 | 3.7972 | 55.4759 | 31.4108 | 30.0074 | 4.2623 | 0.1404 | 1.6472 | 2.6151 | 0.088381 | 16.5837 | 0.62875 | 43.9495 | 380.0117 | 0.012955
99 | 11:07:15 | 2226.5 | 0 | 11.2236 | 0.14765 | 242.0015 | 4.5923 | 2.1505 | 28.0127 | 6 | 1.42 | 1 | 2.84 | 32.0048 | 28.0127 | 34.0327 | 400.9414 | 385.3445 | 18.684 | 24.0639 | 26.7753 | 34.4849 | 499.8365 | 1500.9984 | 237.7798 | 68.4482 | -2.0437 | 0.033223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0045923 | 301.1627 | 305.1548 | 240.1597 | 1.0096 | 3.7977 | 55.4822 | 31.4183 | 30.0088 | 4.2626 | 0.14035 | 1.6471 | 2.6155 | 0.088348 | 16.5646 | 0.62801 | 43.9412 | 380.0093 | 0.012978
100 | 11:07:15 | 2227 | 0 | 11.1965 | 0.14759 | 242.2517 | 4.5909 | 2.1507 | 28.0132 | 6 | 1.42 | 1 | 2.84 | 32.0064 | 28.0132 | 34.0332 | 400.9129 | 385.3487 | 18.684 | 24.0624 | 26.7726 | 34.4794 | 499.8246 | 1501.0377 | 237.9201 | 68.4476 | -2.0437 | 0.033223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0045909 | 301.1632 | 305.1564 | 240.166 | 1.0106 | 3.7978 | 55.4842 | 31.4217 | 30.0098 | 4.2629 | 0.1403 | 1.647 | 2.6158 | 0.088312 | 16.5816 | 0.62866 | 43.9359 | 380.0264 | 0.012945
101 | 11:07:16 | 2227.5 | 0 | 11.2496 | 0.14762 | 241.6479 | 4.5932 | 2.1513 | 28.0163 | 6 | 1.42 | 1 | 2.84 | 32.0076 | 28.0163 | 34.0328 | 400.9351 | 385.3061 | 18.683 | 24.0641 | 26.7695 | 34.4797 | 499.818 | 1501.0868 | 238.0938 | 68.4478 | -2.0437 | 0.033223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83303 | 0.0045932 | 301.1663 | 305.1576 | 240.1739 | 1.0092 | 3.7985 | 55.4942 | 31.4301 | 30.0119 | 4.2634 | 0.14033 | 1.6471 | 2.6162 | 0.088331 | 16.5403 | 0.62716 | 43.9314 | 379.9586 | 0.013007
102 | 11:07:16 | 2228 | 0 | 11.2754 | 0.1476 | 241.3448 | 4.5932 | 2.1516 | 28.0177 | 6 | 1.42 | 1 | 2.84 | 32.0093 | 28.0177 | 34.0322 | 400.963 | 385.3029 | 18.6833 | 24.0645 | 26.7673 | 34.477 | 499.8132 | 1501.0988 | 238.115 | 68.4481 | -2.0437 | 0.033223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83302 | 0.0045932 | 301.1677 | 305.1593 | 240.1758 | 1.0093 | 3.7988 | 55.4983 | 31.4339 | 30.0135 | 4.2638 | 0.14031 | 1.6472 | 2.6166 | 0.088321 | 16.5196 | 0.62638 | 43.9284 | 379.9431 | 0.013036
103 | 11:07:17 | 2228.5 | 0 | 11.2748 | 0.14748 | 241.2603 | 4.5907 | 2.152 | 28.0192 | 6 | 1.42 | 1 | 2.84 | 32.0103 | 28.0192 | 34.0322 | 400.9695 | 385.3122 | 18.6846 | 24.0625 | 26.7677 | 34.4722 | 499.8445 | 1501.0817 | 238.3536 | 68.4482 | -2.0437 | 0.033223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0045907 | 301.1692 | 305.1603 | 240.1731 | 1.0105 | 3.7991 | 55.503 | 31.4405 | 30.0147 | 4.2641 | 0.1402 | 1.647 | 2.617 | 0.088253 | 16.5138 | 0.62614 | 43.9189 | 379.9527 | 0.013033
104 | 11:07:17 | 2229 | 0 | 11.2369 | 0.14737 | 241.6238 | 4.5883 | 2.1525 | 28.0209 | 6 | 1.42 | 1 | 2.84 | 32.0111 | 28.0209 | 34.0319 | 400.9669 | 385.356 | 18.6857 | 24.0609 | 26.7683 | 34.4685 | 499.844 | 1501.0647 | 238.5323 | 68.4484 | -2.0437 | 0.033223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0045883 | 301.1709 | 305.1611 | 240.1703 | 1.0116 | 3.7995 | 55.5084 | 31.4475 | 30.016 | 4.2644 | 0.1401 | 1.6469 | 2.6174 | 0.088187 | 16.5388 | 0.62701 | 43.9096 | 380.0145 | 0.012984
105 | 11:07:18 | 2229.5 | 0 | 11.1904 | 0.14724 | 242.0776 | 4.5854 | 2.1529 | 28.0216 | 6 | 1.42 | 1 | 2.84 | 32.0131 | 28.0216 | 34.0319 | 400.9553 | 385.4017 | 18.6861 | 24.0577 | 26.7654 | 34.4597 | 499.8573 | 1501.1505 | 238.7034 | 68.4478 | -2.0437 | 0.033223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0045854 | 301.1716 | 305.1631 | 240.1841 | 1.0134 | 3.7996 | 55.5111 | 31.4533 | 30.0173 | 4.2647 | 0.13999 | 1.6467 | 2.618 | 0.088115 | 16.5697 | 0.62812 | 43.8996 | 380.0824 | 0.012925 | 11.2453 | 32.0042 | 28.0111 | #DIV/0! | 2226.0333 | 0 | 11.2453 | 0.14775 | 241.8333 | 4.5942 | 2.15 | 28.0111 | 6 | 1.42 | 1 | 2.84 | 32.0042 | 28.0111 | 34.0331 | 400.9537 | 385.33 | 18.6841 | 24.0662 | 26.7761 | 34.4892 | 499.8401 | 1501.0087 | 237.4727 | 68.4478 | -2.0437 | 0.033223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0045942 | 301.1611 | 305.1542 | 240.1614 | 1.0088 | 3.7973 | 55.4772 | 31.411 | 30.0076 | 4.2623 | 0.14044 | 1.6473 | 2.615 | 0.088406 | 16.553 | 0.6276 | 43.9511 | 379.9845 | 0.013007