## stm-pbcup2_
OPEN 6.2.4
Wed Jul 1 2015 11:22:55
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "11:26:41 Flow: Fixed -> 500 umol/s"
Remark= | "11:26:51 Coolers: Tblock -> 4.06 C"
Remark= | "11:27:40 Flow: Fixed -> 500 umol/s"
1 | 11:28:03 | 311.5 | 0 | 11.5832 | 0.25011 | 295.0724 | 3.8287 | 1.1247 | 12.8411 | 6 | 1.42 | 1 | 2.84 | 6.7513 | 12.8411 | 4.1522 | 399.3654 | 383.7003 | 0.73073 | 5.3015 | 5.0588 | 36.702 | 499.9238 | 1498.6351 | 53.2865 | 68.4495 | -2.4093 | 0.23232 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0038287 | 285.9911 | 279.9013 | 239.7816 | 0.13828 | 1.4876 | 21.7325 | 16.4311 | 9.7962 | 1.2158 | 0.22986 | 0.36288 | 0.8529 | 0.14536 | 20.1976 | 0.76902 | 29.5614 | 378.1942 | 0.009054
2 | 11:28:04 | 311.5 | 0 | 11.5832 | 0.25011 | 295.0724 | 3.8287 | 1.1247 | 12.8411 | 6 | 1.42 | 1 | 2.84 | 6.7513 | 12.8411 | 4.1522 | 399.3654 | 383.7003 | 0.73073 | 5.3015 | 5.0588 | 36.702 | 499.9238 | 1498.6351 | 53.2865 | 68.4495 | -2.4093 | 0.23232 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0038287 | 285.9911 | 279.9013 | 239.7816 | 0.13828 | 1.4876 | 21.7325 | 16.4311 | 9.7962 | 1.2158 | 0.22986 | 0.36288 | 0.8529 | 0.14536 | 20.1976 | 0.76902 | 29.5614 | 378.1942 | 0.009054
3 | 11:28:04 | 312 | 0 | 11.5913 | 0.25004 | 294.9948 | 3.828 | 1.1248 | 12.8414 | 6 | 1.42 | 1 | 2.84 | 6.7508 | 12.8414 | 4.1525 | 399.3717 | 383.6972 | 0.73106 | 5.301 | 5.0613 | 36.6997 | 499.9222 | 1498.6273 | 53.1287 | 68.4493 | -2.4093 | 0.23232 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.003828 | 285.9914 | 279.9008 | 239.7804 | 0.13854 | 1.4876 | 21.733 | 16.432 | 9.7961 | 1.2158 | 0.22981 | 0.36285 | 0.85293 | 0.14532 | 20.1922 | 0.76882 | 29.5573 | 378.1872 | 0.0090592
4 | 11:28:05 | 312.5 | 0 | 11.617 | 0.25015 | 294.8437 | 3.8288 | 1.1245 | 12.8398 | 6 | 1.42 | 1 | 2.84 | 6.7506 | 12.8398 | 4.1516 | 399.3932 | 383.6862 | 0.73068 | 5.302 | 5.0587 | 36.707 | 499.8818 | 1498.6176 | 52.9594 | 68.4489 | -2.4093 | 0.23232 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0038288 | 285.9898 | 279.9006 | 239.7788 | 0.13824 | 1.4875 | 21.7309 | 16.4289 | 9.7952 | 1.2157 | 0.2299 | 0.36291 | 0.85279 | 0.14538 | 20.1817 | 0.76845 | 29.5664 | 378.164 | 0.0090827
5 | 11:28:05 | 313 | 0 | 11.5863 | 0.25009 | 295.0642 | 3.8288 | 1.1248 | 12.8427 | 6 | 1.42 | 1 | 2.84 | 6.7499 | 12.8427 | 4.1512 | 399.3901 | 383.7195 | 0.73114 | 5.3024 | 5.0621 | 36.7123 | 499.872 | 1498.604 | 52.9363 | 68.4491 | -2.4093 | 0.23232 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0038288 | 285.9927 | 279.8999 | 239.7766 | 0.13781 | 1.4877 | 21.735 | 16.4325 | 9.7963 | 1.2158 | 0.22985 | 0.36295 | 0.85284 | 0.14535 | 20.1969 | 0.76896 | 29.5626 | 378.2119 | 0.0090563
6 | 11:28:06 | 313.5 | 0 | 11.5916 | 0.25013 | 295.027 | 3.8296 | 1.1248 | 12.8437 | 6 | 1.42 | 1 | 2.84 | 6.7495 | 12.8437 | 4.1513 | 399.383 | 383.7057 | 0.73073 | 5.303 | 5.0594 | 36.7169 | 499.8694 | 1498.6226 | 52.7863 | 68.4486 | -2.4093 | 0.23232 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0038296 | 285.9937 | 279.8995 | 239.7796 | 0.13726 | 1.4878 | 21.7365 | 16.4334 | 9.7966 | 1.2158 | 0.22988 | 0.36299 | 0.85283 | 0.14537 | 20.1942 | 0.76889 | 29.5644 | 378.1956 | 0.0090614
7 | 11:28:06 | 314 | 0 | 11.5718 | 0.25015 | 295.1782 | 3.8299 | 1.1249 | 12.8446 | 6 | 1.42 | 1 | 2.84 | 6.749 | 12.8446 | 4.1504 | 399.3733 | 383.7195 | 0.73118 | 5.3038 | 5.0627 | 36.7241 | 499.8681 | 1498.5714 | 52.6502 | 68.4489 | -2.4093 | 0.23232 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0038299 | 285.9946 | 279.899 | 239.7714 | 0.13683 | 1.4879 | 21.7376 | 16.4338 | 9.7968 | 1.2158 | 0.2299 | 0.36304 | 0.85278 | 0.14538 | 20.2046 | 0.76926 | 29.5669 | 378.2188 | 0.0090462
8 | 11:28:07 | 314.5 | 0 | 11.5919 | 0.2503 | 295.0449 | 3.831 | 1.1246 | 12.8423 | 6 | 1.42 | 1 | 2.84 | 6.7486 | 12.8423 | 4.1496 | 399.3521 | 383.6736 | 0.7309 | 5.305 | 5.0609 | 36.7333 | 499.8582 | 1498.6349 | 52.6348 | 68.4487 | -2.4093 | 0.23232 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.003831 | 285.9923 | 279.8986 | 239.7816 | 0.13656 | 1.4877 | 21.7346 | 16.4295 | 9.7955 | 1.2157 | 0.23003 | 0.36312 | 0.8526 | 0.14546 | 20.1954 | 0.769 | 29.5789 | 378.1634 | 0.0090669
9 | 11:28:07 | 315 | 0 | 11.592 | 0.2505 | 295.1188 | 3.8318 | 1.124 | 12.8367 | 6 | 1.42 | 1 | 2.84 | 6.7483 | 12.8367 | 4.1486 | 399.3645 | 383.6862 | 0.73075 | 5.3056 | 5.0599 | 36.7377 | 499.8829 | 1498.6285 | 52.7912 | 68.4489 | -2.4093 | 0.23232 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0038318 | 285.9867 | 279.8983 | 239.7806 | 0.13679 | 1.4872 | 21.7265 | 16.4209 | 9.7925 | 1.2155 | 0.23019 | 0.36316 | 0.85232 | 0.14557 | 20.2006 | 0.76917 | 29.5943 | 378.1759 | 0.0090714
10 | 11:28:08 | 315.5 | 0 | 11.6023 | 0.25053 | 295.0348 | 3.8314 | 1.1238 | 12.8339 | 6 | 1.42 | 1 | 2.84 | 6.7472 | 12.8339 | 4.1473 | 399.3512 | 383.6602 | 0.73061 | 5.3051 | 5.0594 | 36.7374 | 499.8656 | 1498.5974 | 52.8695 | 68.4489 | -2.4093 | 0.23232 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0038314 | 285.9839 | 279.8972 | 239.7756 | 0.13715 | 1.4869 | 21.7225 | 16.4174 | 9.7906 | 1.2153 | 0.23022 | 0.36313 | 0.85219 | 0.14558 | 20.1948 | 0.769 | 29.5974 | 378.1451 | 0.0090811
11 | 11:28:08 | 316 | 0 | 11.5931 | 0.25069 | 295.1655 | 3.8328 | 1.1235 | 12.8318 | 6 | 1.42 | 1 | 2.84 | 6.747 | 12.8318 | 4.1464 | 399.3589 | 383.679 | 0.72997 | 5.3059 | 5.0551 | 36.7437 | 499.8872 | 1498.5765 | 53.201 | 68.4494 | -2.4093 | 0.23232 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0038328 | 285.9818 | 279.897 | 239.7722 | 0.13663 | 1.4867 | 21.7192 | 16.4133 | 9.7894 | 1.2152 | 0.23036 | 0.36319 | 0.85204 | 0.14567 | 20.2039 | 0.7693 | 29.6081 | 378.1681 | 0.0090767
12 | 11:28:09 | 316.5 | 0 | 11.5494 | 0.25073 | 295.4839 | 3.8327 | 1.1233 | 12.8295 | 6 | 1.42 | 1 | 2.84 | 6.7455 | 12.8295 | 4.1461 | 399.316 | 383.6894 | 0.72966 | 5.3052 | 5.0534 | 36.7428 | 499.9163 | 1498.6394 | 53.4684 | 68.4494 | -2.4093 | 0.23232 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0038327 | 285.9795 | 279.8955 | 239.7823 | 0.1369 | 1.4865 | 21.7161 | 16.4108 | 9.7875 | 1.2151 | 0.23039 | 0.36314 | 0.85193 | 0.14569 | 20.2257 | 0.77011 | 29.6095 | 378.1994 | 0.0090421
13 | 11:28:09 | 317 | 0 | 11.5497 | 0.25084 | 295.5158 | 3.8329 | 1.1229 | 12.8252 | 6 | 1.42 | 1 | 2.84 | 6.7454 | 12.8252 | 4.1456 | 399.313 | 383.6871 | 0.72972 | 5.3052 | 5.0539 | 36.7428 | 499.9509 | 1498.6533 | 53.8503 | 68.4492 | -2.4093 | 0.23232 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0038329 | 285.9752 | 279.8954 | 239.7845 | 0.13733 | 1.486 | 21.7101 | 16.4048 | 9.7853 | 1.2149 | 0.23049 | 0.36314 | 0.85176 | 0.14575 | 20.2278 | 0.7702 | 29.6185 | 378.1969 | 0.0090452
14 | 11:28:10 | 317.5 | 0 | 11.5496 | 0.25091 | 295.5501 | 3.8324 | 1.1225 | 12.8212 | 6 | 1.42 | 1 | 2.84 | 6.7448 | 12.8212 | 4.1442 | 399.3239 | 383.6988 | 0.73078 | 5.3055 | 5.0615 | 36.7464 | 499.9699 | 1498.6345 | 54.4764 | 68.4494 | -2.4093 | 0.23232 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.0038324 | 285.9712 | 279.8948 | 239.7815 | 0.13798 | 1.4856 | 21.7043 | 16.3988 | 9.783 | 1.2147 | 0.23054 | 0.36316 | 0.85155 | 0.14579 | 20.2302 | 0.77027 | 29.6274 | 378.2087 | 0.0090475
15 | 11:28:10 | 318 | 0 | 11.5513 | 0.251 | 295.5507 | 3.8323 | 1.1221 | 12.8164 | 6 | 1.42 | 1 | 2.84 | 6.7435 | 12.8164 | 4.1433 | 399.3071 | 383.6795 | 0.72982 | 5.3046 | 5.0553 | 36.7436 | 499.9484 | 1498.7119 | 55.1165 | 68.449 | -2.4093 | 0.23232 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0038323 | 285.9664 | 279.8935 | 239.7939 | 0.13861 | 1.4852 | 21.6975 | 16.3929 | 9.7799 | 1.2145 | 0.23062 | 0.3631 | 0.85136 | 0.14584 | 20.2302 | 0.77031 | 29.6333 | 378.1885 | 0.0090511 | 11.5803 | 6.7482 | 12.8354 | #DIV/0! | 314.5334 | 0 | 11.5803 | 0.25042 | 295.1811 | 3.8306 | 1.124 | 12.8354 | 6 | 1.42 | 1 | 2.84 | 6.7482 | 12.8354 | 4.1488 | 399.3553 | 383.6922 | 0.73056 | 5.3038 | 5.0588 | 36.7261 | 499.9027 | 1498.626 | 53.2961 | 68.4491 | -2.4093 | 0.23232 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0038306 | 285.9854 | 279.8982 | 239.7802 | 0.13755 | 1.487 | 21.7246 | 16.4207 | 9.7918 | 1.2154 | 0.23013 | 0.36304 | 0.85238 | 0.14552 | 20.2049 | 0.76932 | 29.5872 | 378.1875 | 0.0090597
Remark= | "11:28:21 Coolers: Tblock -> 9.00 C"
Remark= | "11:31:05 Flow: Fixed -> 500 umol/s"
16 | 11:31:30 | 519 | 0 | 12.6377 | 0.2602 | 290.4875 | 4.3489 | 1.229 | 14.8889 | 6 | 1.42 | 1 | 2.84 | 10.6277 | 14.8889 | 9.033 | 401.1905 | 384.0196 | 1.6856 | 6.869 | 8.9767 | 36.5806 | 499.9543 | 1498.8497 | 255.1508 | 68.4473 | -2.8527 | 0.21443 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83326 | 0.0043489 | 288.0389 | 283.7777 | 239.816 | 0.061368 | 1.6992 | 24.8246 | 17.9557 | 12.7583 | 1.4795 | 0.23837 | 0.47016 | 1.0094 | 0.1508 | 19.8831 | 0.75644 | 32.6738 | 378.0122 | 0.010924
17 | 11:31:30 | 519 | 0 | 12.6377 | 0.2602 | 290.4875 | 4.3489 | 1.229 | 14.8889 | 6 | 1.42 | 1 | 2.84 | 10.6277 | 14.8889 | 9.033 | 401.1905 | 384.0196 | 1.6856 | 6.869 | 8.9767 | 36.5806 | 499.9543 | 1498.8497 | 255.1508 | 68.4473 | -2.8527 | 0.21443 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83326 | 0.0043489 | 288.0389 | 283.7777 | 239.816 | 0.061368 | 1.6992 | 24.8246 | 17.9557 | 12.7583 | 1.4795 | 0.23837 | 0.47016 | 1.0094 | 0.1508 | 19.8831 | 0.75644 | 32.6738 | 378.0122 | 0.010924
18 | 11:31:31 | 519.5 | 0 | 12.5974 | 0.2602 | 290.7624 | 4.3488 | 1.229 | 14.889 | 6 | 1.42 | 1 | 2.84 | 10.6291 | 14.889 | 9.033 | 401.1553 | 384.033 | 1.6858 | 6.869 | 8.977 | 36.5775 | 499.961 | 1498.896 | 254.9355 | 68.4475 | -2.8527 | 0.21443 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0043488 | 288.039 | 283.7791 | 239.8234 | 0.061652 | 1.6992 | 24.8247 | 17.9557 | 12.7591 | 1.4796 | 0.23836 | 0.47016 | 1.0094 | 0.15079 | 19.902 | 0.75713 | 32.6736 | 378.0448 | 0.010888
19 | 11:31:31 | 520 | 0 | 12.63 | 0.26028 | 290.5824 | 4.351 | 1.2293 | 14.8924 | 6 | 1.42 | 1 | 2.84 | 10.6311 | 14.8924 | 9.0338 | 401.2059 | 384.043 | 1.6851 | 6.871 | 8.9721 | 36.5833 | 499.9493 | 1498.8636 | 254.9021 | 68.4477 | -2.8527 | 0.21443 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.004351 | 288.0424 | 283.7811 | 239.8182 | 0.060261 | 1.6996 | 24.8301 | 17.9591 | 12.7618 | 1.4799 | 0.23843 | 0.4703 | 1.0096 | 0.15084 | 19.8897 | 0.75664 | 32.6771 | 378.0393 | 0.010917
20 | 11:31:32 | 520.5 | 0 | 12.5973 | 0.26029 | 290.8062 | 4.3509 | 1.2292 | 14.8923 | 6 | 1.42 | 1 | 2.84 | 10.6326 | 14.8923 | 9.0332 | 401.1771 | 384.0529 | 1.6855 | 6.8714 | 8.9731 | 36.5816 | 499.9363 | 1498.9139 | 254.8548 | 68.4472 | -2.8527 | 0.21443 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0043509 | 288.0423 | 283.7826 | 239.8262 | 0.060596 | 1.6995 | 24.83 | 17.9586 | 12.7624 | 1.4799 | 0.23843 | 0.47033 | 1.0096 | 0.15084 | 19.9049 | 0.7572 | 32.6787 | 378.0647 | 0.010889
21 | 11:31:32 | 521 | 0 | 12.6114 | 0.26046 | 290.7736 | 4.3529 | 1.229 | 14.8918 | 6 | 1.42 | 1 | 2.84 | 10.6342 | 14.8918 | 9.034 | 401.2025 | 384.06 | 1.6849 | 6.8733 | 8.9693 | 36.5882 | 499.9188 | 1498.9419 | 254.7647 | 68.4473 | -2.8527 | 0.21443 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0043529 | 288.0418 | 283.7842 | 239.8307 | 0.05986 | 1.6995 | 24.8292 | 17.9559 | 12.763 | 1.48 | 0.23858 | 0.47046 | 1.0095 | 0.15093 | 19.9027 | 0.7571 | 32.6907 | 378.0652 | 0.010905
22 | 11:31:33 | 521.5 | 0 | 12.5563 | 0.26036 | 291.1111 | 4.3519 | 1.2292 | 14.8934 | 6 | 1.42 | 1 | 2.84 | 10.6359 | 14.8934 | 9.0346 | 401.1474 | 384.0699 | 1.6856 | 6.8733 | 8.9718 | 36.5839 | 499.8769 | 1498.9346 | 254.7526 | 68.4475 | -2.8527 | 0.21443 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0043519 | 288.0434 | 283.7859 | 239.8295 | 0.06035 | 1.6997 | 24.8318 | 17.9585 | 12.7647 | 1.4802 | 0.23849 | 0.47046 | 1.0097 | 0.15088 | 19.9258 | 0.75796 | 32.6855 | 378.1012 | 0.010854
23 | 11:31:33 | 522 | 0 | 12.599 | 0.26064 | 290.8961 | 4.356 | 1.2292 | 14.8955 | 6 | 1.42 | 1 | 2.84 | 10.6381 | 14.8955 | 9.0357 | 401.1795 | 384.0502 | 1.6853 | 6.8775 | 8.9689 | 36.6011 | 499.9134 | 1498.8821 | 254.764 | 68.4476 | -2.8527 | 0.21443 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.004356 | 288.0455 | 283.7881 | 239.8211 | 0.058066 | 1.6999 | 24.8351 | 17.9576 | 12.7668 | 1.4804 | 0.23873 | 0.47075 | 1.0096 | 0.15103 | 19.9112 | 0.75744 | 32.7037 | 378.0613 | 0.010899
24 | 11:31:34 | 522.5 | 0 | 12.5857 | 0.2607 | 291.0059 | 4.3568 | 1.2291 | 14.8962 | 6 | 1.42 | 1 | 2.84 | 10.6397 | 14.8962 | 9.0361 | 401.1688 | 384.0558 | 1.686 | 6.879 | 8.9719 | 36.6049 | 499.9349 | 1498.9324 | 254.8324 | 68.4476 | -2.8527 | 0.21443 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0043568 | 288.0462 | 283.7897 | 239.8292 | 0.057856 | 1.7 | 24.8361 | 17.9571 | 12.768 | 1.4805 | 0.23878 | 0.47085 | 1.0096 | 0.15106 | 19.9187 | 0.75772 | 32.7094 | 378.0731 | 0.010889
25 | 11:31:34 | 523 | 0 | 12.6031 | 0.26088 | 290.9541 | 4.359 | 1.2289 | 14.8962 | 6 | 1.42 | 1 | 2.84 | 10.6418 | 14.8962 | 9.0372 | 401.1967 | 384.0616 | 1.6865 | 6.882 | 8.9732 | 36.616 | 499.9294 | 1498.9078 | 254.9875 | 68.4477 | -2.8527 | 0.21443 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.004359 | 288.0462 | 283.7918 | 239.8252 | 0.056937 | 1.7 | 24.8361 | 17.954 | 12.769 | 1.4806 | 0.23893 | 0.47106 | 1.0095 | 0.15116 | 19.9151 | 0.75757 | 32.7247 | 378.0707 | 0.010909
26 | 11:31:35 | 523.5 | 0 | 12.6412 | 0.26114 | 290.7797 | 4.3628 | 1.2289 | 14.8985 | 6 | 1.42 | 1 | 2.84 | 10.6438 | 14.8985 | 9.0379 | 401.2424 | 384.061 | 1.6863 | 6.886 | 8.971 | 36.6327 | 499.962 | 1498.9055 | 255.1741 | 68.4476 | -2.8527 | 0.21443 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0043628 | 288.0485 | 283.7938 | 239.8249 | 0.054831 | 1.7002 | 24.8399 | 17.9538 | 12.7712 | 1.4808 | 0.23915 | 0.47133 | 1.0094 | 0.1513 | 19.9032 | 0.75712 | 32.7411 | 378.0519 | 0.010948
27 | 11:31:35 | 524 | 0 | 12.5957 | 0.26112 | 291.0858 | 4.3623 | 1.2288 | 14.8984 | 6 | 1.42 | 1 | 2.84 | 10.6452 | 14.8984 | 9.0381 | 401.2025 | 384.0758 | 1.6875 | 6.8866 | 8.9762 | 36.6323 | 499.9635 | 1498.9114 | 255.3234 | 68.4479 | -2.8527 | 0.21443 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0043623 | 288.0484 | 283.7952 | 239.8258 | 0.055273 | 1.7002 | 24.8396 | 17.953 | 12.7718 | 1.4808 | 0.23913 | 0.47137 | 1.0095 | 0.15129 | 19.9242 | 0.75789 | 32.7431 | 378.0884 | 0.010908
28 | 11:31:36 | 524.5 | 0 | 12.6205 | 0.26123 | 290.9653 | 4.3641 | 1.2288 | 14.8998 | 6 | 1.42 | 1 | 2.84 | 10.647 | 14.8998 | 9.0385 | 401.241 | 384.0837 | 1.6875 | 6.8888 | 8.9756 | 36.6395 | 499.9613 | 1498.8567 | 255.5126 | 68.4481 | -2.8527 | 0.21443 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0043641 | 288.0498 | 283.797 | 239.8171 | 0.054288 | 1.7004 | 24.8418 | 17.953 | 12.7734 | 1.481 | 0.23923 | 0.47152 | 1.0095 | 0.15135 | 19.916 | 0.75756 | 32.7513 | 378.0845 | 0.010932
29 | 11:31:36 | 525 | 0 | 12.593 | 0.26115 | 291.1337 | 4.3646 | 1.2293 | 14.9048 | 6 | 1.42 | 1 | 2.84 | 10.6489 | 14.9048 | 9.0388 | 401.2252 | 384.1005 | 1.6881 | 6.8899 | 8.9772 | 36.6406 | 499.9622 | 1498.8195 | 255.897 | 68.4479 | -2.8527 | 0.21443 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0043646 | 288.0548 | 283.7989 | 239.8111 | 0.053569 | 1.7009 | 24.8497 | 17.9599 | 12.7769 | 1.4813 | 0.23916 | 0.4716 | 1.0097 | 0.15131 | 19.9275 | 0.75796 | 32.7451 | 378.1144 | 0.010906
30 | 11:31:37 | 525.5 | 0 | 12.6133 | 0.26124 | 291.0085 | 4.366 | 1.2294 | 14.9065 | 6 | 1.42 | 1 | 2.84 | 10.6504 | 14.9065 | 9.0391 | 401.2322 | 384.083 | 1.6888 | 6.8922 | 8.98 | 36.649 | 499.9712 | 1498.8197 | 256.2246 | 68.4476 | -2.8527 | 0.21443 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83329 | 0.004366 | 288.0565 | 283.8004 | 239.8111 | 0.05276 | 1.7011 | 24.8527 | 17.9605 | 12.7785 | 1.4815 | 0.23923 | 0.47175 | 1.0097 | 0.15135 | 19.9188 | 0.75767 | 32.7523 | 378.0873 | 0.010926 | 12.608 | 10.6382 | 14.8955 | #DIV/0! | 522.0334 | 0 | 12.608 | 0.26067 | 290.856 | 4.3563 | 1.2291 | 14.8955 | 6 | 1.42 | 1 | 2.84 | 10.6382 | 14.8955 | 9.0357 | 401.1972 | 384.058 | 1.6863 | 6.8785 | 8.974 | 36.6061 | 499.9433 | 1498.8856 | 255.1484 | 68.4476 | -2.8527 | 0.21443 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0043563 | 288.0455 | 283.7882 | 239.8217 | 0.057936 | 1.6999 | 24.8351 | 17.9565 | 12.7669 | 1.4804 | 0.23876 | 0.47082 | 1.0095 | 0.15105 | 19.9084 | 0.75732 | 32.7083 | 378.0647 | 0.010908
Remark= | "11:31:45 Coolers: Tblock -> 14.00 C"
Remark= | "11:34:10 Flow: Fixed -> 500 umol/s"
31 | 11:34:28 | 696.5 | 0 | 13.2035 | 0.26893 | 285.8528 | 4.966 | 1.3569 | 17.4524 | 6 | 1.42 | 1 | 2.84 | 14.8479 | 17.4524 | 14.112 | 399.5555 | 381.4344 | 3.5058 | 9.4102 | 14.1599 | 38.0073 | 499.8968 | 1499.2823 | 257.5103 | 68.4474 | -2.7867 | 0.21096 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.004966 | 290.6024 | 287.9979 | 239.8852 | -0.0753 | 2.001 | 29.2343 | 19.8241 | 16.1501 | 1.8423 | 0.24566 | 0.64411 | 1.1982 | 0.15547 | 19.5659 | 0.74942 | 36.8342 | 375.1581 | 0.012964
32 | 11:34:28 | 696.5 | 0 | 13.2035 | 0.26893 | 285.8528 | 4.966 | 1.3569 | 17.4524 | 6 | 1.42 | 1 | 2.84 | 14.8479 | 17.4524 | 14.112 | 399.5555 | 381.4344 | 3.5058 | 9.4102 | 14.1599 | 38.0073 | 499.8968 | 1499.2823 | 257.5103 | 68.4474 | -2.7867 | 0.21096 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.004966 | 290.6024 | 287.9979 | 239.8852 | -0.0753 | 2.001 | 29.2343 | 19.8241 | 16.1501 | 1.8423 | 0.24566 | 0.64411 | 1.1982 | 0.15547 | 19.5659 | 0.74942 | 36.8342 | 375.1581 | 0.012964
33 | 11:34:29 | 696.5 | 0 | 13.2035 | 0.26893 | 285.8528 | 4.966 | 1.3569 | 17.4524 | 6 | 1.42 | 1 | 2.84 | 14.8479 | 17.4524 | 14.112 | 399.5555 | 381.4344 | 3.5058 | 9.4102 | 14.1599 | 38.0073 | 499.8968 | 1499.2823 | 257.5103 | 68.4474 | -2.7867 | 0.21096 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.004966 | 290.6024 | 287.9979 | 239.8852 | -0.0753 | 2.001 | 29.2343 | 19.8241 | 16.1501 | 1.8423 | 0.24566 | 0.64411 | 1.1982 | 0.15547 | 19.5659 | 0.74942 | 36.8342 | 375.1581 | 0.012964
34 | 11:34:29 | 697 | 0 | 13.2024 | 0.26902 | 285.9056 | 4.9686 | 1.3572 | 17.4562 | 6 | 1.42 | 1 | 2.84 | 14.8497 | 17.4562 | 14.1121 | 399.5763 | 381.4568 | 3.5063 | 9.4132 | 14.16 | 38.0148 | 499.9366 | 1499.2605 | 257.2857 | 68.4473 | -2.7867 | 0.21096 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0049686 | 290.6062 | 287.9997 | 239.8817 | -0.076942 | 2.0015 | 29.2414 | 19.8281 | 16.1529 | 1.8426 | 0.24574 | 0.64431 | 1.1983 | 0.15552 | 19.5695 | 0.74951 | 36.8381 | 375.181 | 0.012963
35 | 11:34:30 | 697.5 | 0 | 13.1951 | 0.26912 | 285.9726 | 4.9714 | 1.3575 | 17.4603 | 6 | 1.42 | 1 | 2.84 | 14.8519 | 17.4603 | 14.1122 | 399.5635 | 381.4517 | 3.5062 | 9.4164 | 14.1575 | 38.0222 | 499.9425 | 1499.2969 | 256.9934 | 68.4472 | -2.7867 | 0.21096 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0049714 | 290.6103 | 288.0019 | 239.8875 | -0.078634 | 2.002 | 29.2492 | 19.8328 | 16.1561 | 1.843 | 0.24582 | 0.64453 | 1.1984 | 0.15557 | 19.574 | 0.7497 | 36.8418 | 375.1794 | 0.012957
36 | 11:34:30 | 698 | 0 | 13.2193 | 0.2692 | 285.8315 | 4.9732 | 1.3576 | 17.4624 | 6 | 1.42 | 1 | 2.84 | 14.8535 | 17.4624 | 14.112 | 399.5806 | 381.4387 | 3.5068 | 9.4191 | 14.1585 | 38.0295 | 499.9351 | 1499.2444 | 256.7167 | 68.4476 | -2.7867 | 0.21096 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0049732 | 290.6124 | 288.0035 | 239.8791 | -0.079712 | 2.0023 | 29.2528 | 19.8337 | 16.1579 | 1.8432 | 0.24589 | 0.64472 | 1.1985 | 0.15562 | 19.5645 | 0.74935 | 36.8483 | 375.1549 | 0.012984
37 | 11:34:31 | 698.5 | 0 | 13.2555 | 0.26932 | 285.5863 | 4.9751 | 1.3576 | 17.4636 | 6 | 1.42 | 1 | 2.84 | 14.8554 | 17.4636 | 14.1114 | 399.5729 | 381.388 | 3.5071 | 9.4214 | 14.1581 | 38.034 | 499.9629 | 1499.265 | 256.3591 | 68.4472 | -2.7867 | 0.21096 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0049751 | 290.6136 | 288.0054 | 239.8824 | -0.080616 | 2.0024 | 29.2552 | 19.8337 | 16.1595 | 1.8434 | 0.24599 | 0.64487 | 1.1985 | 0.15568 | 19.5476 | 0.74881 | 36.8555 | 375.087 | 0.013025
38 | 11:34:31 | 699 | 0 | 13.2373 | 0.26939 | 285.7466 | 4.9773 | 1.3578 | 17.4674 | 6 | 1.42 | 1 | 2.84 | 14.8579 | 17.4674 | 14.1114 | 399.5775 | 381.4138 | 3.5083 | 9.425 | 14.1607 | 38.0424 | 499.9766 | 1499.2517 | 256.1572 | 68.4474 | -2.7867 | 0.21096 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83329 | 0.0049773 | 290.6174 | 288.0079 | 239.8803 | -0.081962 | 2.0029 | 29.2622 | 19.8371 | 16.1627 | 1.8437 | 0.24605 | 0.64512 | 1.1986 | 0.15572 | 19.5586 | 0.74918 | 36.861 | 375.1214 | 0.013008
39 | 11:34:32 | 699.5 | 0 | 13.2191 | 0.26949 | 285.9031 | 4.9789 | 1.3578 | 17.4687 | 6 | 1.42 | 1 | 2.84 | 14.8598 | 17.4687 | 14.1116 | 399.5711 | 381.4286 | 3.5087 | 9.4273 | 14.1608 | 38.0473 | 499.9839 | 1499.1694 | 255.9025 | 68.4477 | -2.7867 | 0.21096 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83331 | 0.0049789 | 290.6187 | 288.0098 | 239.8671 | -0.08292 | 2.0031 | 29.2645 | 19.8371 | 16.1643 | 1.8439 | 0.24613 | 0.64528 | 1.1987 | 0.15577 | 19.5694 | 0.74956 | 36.8676 | 375.1449 | 0.012991
40 | 11:34:32 | 700 | 0 | 13.2146 | 0.26949 | 285.934 | 4.9796 | 1.358 | 17.4711 | 6 | 1.42 | 1 | 2.84 | 14.8618 | 17.4711 | 14.1111 | 399.5698 | 381.4323 | 3.5097 | 9.4291 | 14.1629 | 38.0496 | 499.9825 | 1499.1233 | 255.647 | 68.4481 | -2.7867 | 0.21096 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8333 | 0.0049796 | 290.6211 | 288.0118 | 239.8597 | -0.083412 | 2.0034 | 29.2687 | 19.8397 | 16.1665 | 1.8442 | 0.24613 | 0.6454 | 1.1988 | 0.15577 | 19.5716 | 0.74963 | 36.8686 | 375.1507 | 0.012987
41 | 11:34:33 | 700.5 | 0 | 13.2455 | 0.26951 | 285.7286 | 4.9805 | 1.3581 | 17.4728 | 6 | 1.42 | 1 | 2.84 | 14.8641 | 17.4728 | 14.1115 | 399.5916 | 381.417 | 3.5096 | 9.43 | 14.1603 | 38.0474 | 499.99 | 1499.1069 | 255.466 | 68.4479 | -2.7867 | 0.21096 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83332 | 0.0049805 | 290.6228 | 288.0141 | 239.8571 | -0.083853 | 2.0036 | 29.2719 | 19.842 | 16.1685 | 1.8444 | 0.24615 | 0.64546 | 1.199 | 0.15579 | 19.5575 | 0.74912 | 36.8685 | 375.1208 | 0.013018
42 | 11:34:33 | 701 | 0 | 13.2742 | 0.26948 | 285.5129 | 4.9811 | 1.3584 | 17.4762 | 6 | 1.42 | 1 | 2.84 | 14.866 | 17.4762 | 14.1113 | 399.6036 | 381.393 | 3.5101 | 9.4317 | 14.1608 | 38.0499 | 499.9507 | 1499.0814 | 255.1876 | 68.4479 | -2.7867 | 0.21096 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0049811 | 290.6262 | 288.016 | 239.853 | -0.084436 | 2.004 | 29.2781 | 19.8464 | 16.1711 | 1.8447 | 0.24613 | 0.64558 | 1.1992 | 0.15577 | 19.5428 | 0.74861 | 36.8668 | 375.0831 | 0.013047
43 | 11:34:34 | 701.5 | 0 | 13.283 | 0.26956 | 285.4778 | 4.9827 | 1.3585 | 17.478 | 6 | 1.42 | 1 | 2.84 | 14.8677 | 17.478 | 14.1115 | 399.6129 | 381.3907 | 3.5106 | 9.4341 | 14.161 | 38.0555 | 499.9399 | 1499.0515 | 254.9984 | 68.448 | -2.7867 | 0.21096 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0049827 | 290.628 | 288.0177 | 239.8482 | -0.085344 | 2.0043 | 29.2815 | 19.8473 | 16.1729 | 1.8449 | 0.24619 | 0.64575 | 1.1992 | 0.15581 | 19.5404 | 0.74852 | 36.8726 | 375.0767 | 0.013058
44 | 11:34:34 | 702 | 0 | 13.3003 | 0.26971 | 285.4012 | 4.9862 | 1.3588 | 17.4818 | 6 | 1.42 | 1 | 2.84 | 14.8696 | 17.4818 | 14.112 | 399.6263 | 381.3833 | 3.5102 | 9.4373 | 14.1577 | 38.0638 | 499.9848 | 1499.0231 | 254.8372 | 68.4479 | -2.7867 | 0.21096 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83331 | 0.0049862 | 290.6318 | 288.0196 | 239.8437 | -0.087484 | 2.0047 | 29.2885 | 19.8512 | 16.1757 | 1.8453 | 0.24632 | 0.64597 | 1.1993 | 0.15589 | 19.5351 | 0.74833 | 36.8782 | 375.061 | 0.013078
45 | 11:34:35 | 702.5 | 0 | 13.256 | 0.26969 | 285.7037 | 4.9881 | 1.3594 | 17.488 | 6 | 1.42 | 1 | 2.84 | 14.8722 | 17.488 | 14.1129 | 399.6077 | 381.4171 | 3.5108 | 9.4401 | 14.1578 | 38.0685 | 499.9919 | 1498.9401 | 254.7003 | 68.4478 | -2.7867 | 0.21096 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83332 | 0.0049881 | 290.638 | 288.0222 | 239.8304 | -0.089113 | 2.0055 | 29.3001 | 19.8599 | 16.1801 | 1.8458 | 0.2463 | 0.64616 | 1.1996 | 0.15588 | 19.5558 | 0.74906 | 36.8744 | 375.1158 | 0.013031 | 13.2342 | 14.8582 | 17.4669 | #DIV/0! | 699.1 | 0 | 13.2342 | 0.26932 | 285.7508 | 4.9761 | 1.3578 | 17.4669 | 6 | 1.42 | 1 | 2.84 | 14.8582 | 17.4669 | 14.1118 | 399.5813 | 381.421 | 3.5081 | 9.4237 | 14.1597 | 38.0365 | 499.9512 | 1499.1774 | 256.1855 | 68.4476 | -2.7867 | 0.21096 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0049761 | 290.6169 | 288.0082 | 239.8684 | -0.081355 | 2.0029 | 29.2611 | 19.8374 | 16.1626 | 1.8437 | 0.24599 | 0.64503 | 1.1987 | 0.15568 | 19.559 | 0.74917 | 36.8563 | 375.1301 | 0.013003
Remark= | "11:34:41 Coolers: Tblock -> 19.00 C"
Remark= | "11:37:36 Flow: Fixed -> 500 umol/s"
46 | 11:37:52 | 900.5 | 0 | 13.8874 | 0.27322 | 280.3325 | 6.0198 | 1.615 | 20.2458 | 6 | 1.42 | 1 | 2.84 | 19.2309 | 20.2458 | 18.9909 | 400.3937 | 380.9742 | 4.0702 | 11.2139 | 12.4526 | 34.3082 | 499.9323 | 1499.3612 | 257.8086 | 68.4441 | -2.6526 | 0.18626 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0060198 | 293.3958 | 292.3809 | 239.8978 | -0.43593 | 2.3826 | 34.8104 | 23.5965 | 19.7383 | 2.3089 | 0.24924 | 0.76753 | 1.5413 | 0.15777 | 19.1871 | 0.73583 | 36.7066 | 374.3728 | 0.013616
47 | 11:37:53 | 900.5 | 0 | 13.8874 | 0.27322 | 280.3325 | 6.0198 | 1.615 | 20.2458 | 6 | 1.42 | 1 | 2.84 | 19.2309 | 20.2458 | 18.9909 | 400.3937 | 380.9742 | 4.0702 | 11.2139 | 12.4526 | 34.3082 | 499.9323 | 1499.3612 | 257.8086 | 68.4441 | -2.6526 | 0.18626 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0060198 | 293.3958 | 292.3809 | 239.8978 | -0.43593 | 2.3826 | 34.8104 | 23.5965 | 19.7383 | 2.3089 | 0.24924 | 0.76753 | 1.5413 | 0.15777 | 19.1871 | 0.73583 | 36.7066 | 374.3728 | 0.013616
48 | 11:37:53 | 901 | 0 | 13.899 | 0.27323 | 280.2458 | 6.0218 | 1.6155 | 20.2502 | 6 | 1.42 | 1 | 2.84 | 19.2324 | 20.2502 | 18.9909 | 400.3951 | 380.9604 | 4.0701 | 11.2162 | 12.451 | 34.3122 | 499.9247 | 1499.299 | 257.8708 | 68.4445 | -2.6526 | 0.18626 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0060218 | 293.4002 | 292.3824 | 239.8878 | -0.43748 | 2.3832 | 34.8198 | 23.6035 | 19.7413 | 2.3093 | 0.24925 | 0.76769 | 1.5416 | 0.15777 | 19.1813 | 0.73563 | 36.7046 | 374.3535 | 0.013628
49 | 11:37:54 | 901.5 | 0 | 13.8589 | 0.27328 | 280.5446 | 6.0241 | 1.6159 | 20.254 | 6 | 1.42 | 1 | 2.84 | 19.2341 | 20.254 | 18.9915 | 400.3876 | 381.0001 | 4.0702 | 11.219 | 12.45 | 34.3171 | 499.9338 | 1499.2334 | 257.9798 | 68.4449 | -2.6526 | 0.18626 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0060241 | 293.404 | 292.3841 | 239.8773 | -0.43912 | 2.3838 | 34.8278 | 23.6088 | 19.7441 | 2.3097 | 0.24929 | 0.76788 | 1.5418 | 0.1578 | 19.2018 | 0.73634 | 36.7056 | 374.4122 | 0.013587
50 | 11:37:54 | 902 | 0 | 13.847 | 0.27333 | 280.6488 | 6.026 | 1.6161 | 20.2566 | 6 | 1.42 | 1 | 2.84 | 19.2355 | 20.2566 | 18.9916 | 400.3918 | 381.0171 | 4.0701 | 11.2213 | 12.4487 | 34.3212 | 499.9189 | 1499.1896 | 258.0485 | 68.4449 | -2.6526 | 0.18626 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.006026 | 293.4066 | 292.3855 | 239.8703 | -0.44032 | 2.3842 | 34.8333 | 23.612 | 19.7461 | 2.31 | 0.24933 | 0.76804 | 1.5419 | 0.15782 | 19.209 | 0.73658 | 36.708 | 374.4349 | 0.013575
51 | 11:37:55 | 902.5 | 0 | 13.8912 | 0.27337 | 280.3602 | 6.0276 | 1.6163 | 20.259 | 6 | 1.42 | 1 | 2.84 | 19.238 | 20.259 | 18.9917 | 400.4217 | 380.9935 | 4.07 | 11.2231 | 12.4465 | 34.3214 | 499.9222 | 1499.2184 | 258.0397 | 68.4445 | -2.6526 | 0.18626 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0060276 | 293.409 | 292.388 | 239.8749 | -0.44114 | 2.3845 | 34.8386 | 23.6154 | 19.7485 | 2.3103 | 0.24936 | 0.76816 | 1.5421 | 0.15784 | 19.1891 | 0.73587 | 36.7088 | 374.3903 | 0.01362
52 | 11:37:55 | 903 | 0 | 13.907 | 0.27334 | 280.2481 | 6.028 | 1.6166 | 20.2609 | 6 | 1.42 | 1 | 2.84 | 19.2396 | 20.2609 | 18.9918 | 400.4369 | 380.9889 | 4.0703 | 11.224 | 12.446 | 34.3207 | 499.9051 | 1499.1938 | 258.0325 | 68.4445 | -2.6526 | 0.18626 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.006028 | 293.4109 | 292.3896 | 239.871 | -0.44142 | 2.3848 | 34.8428 | 23.6188 | 19.7502 | 2.3106 | 0.24934 | 0.76822 | 1.5423 | 0.15783 | 19.1814 | 0.73558 | 36.7069 | 374.3781 | 0.013636
53 | 11:37:55 | 903.5 | 0 | 13.8845 | 0.2733 | 280.3649 | 6.0286 | 1.6169 | 20.2635 | 6 | 1.42 | 1 | 2.84 | 19.2405 | 20.2635 | 18.9917 | 400.4011 | 380.9794 | 4.0695 | 11.2242 | 12.4431 | 34.3194 | 499.8923 | 1499.1987 | 258.0967 | 68.4447 | -2.6526 | 0.18626 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0060286 | 293.4135 | 292.3905 | 239.8718 | -0.44194 | 2.3852 | 34.8483 | 23.6241 | 19.752 | 2.3108 | 0.24931 | 0.76823 | 1.5426 | 0.15781 | 19.1895 | 0.73591 | 36.7016 | 374.3793 | 0.013611
54 | 11:37:56 | 904 | 0 | 13.8745 | 0.27326 | 280.3927 | 6.0297 | 1.6175 | 20.2674 | 6 | 1.42 | 1 | 2.84 | 19.2412 | 20.2674 | 18.9918 | 400.3719 | 380.9618 | 4.0689 | 11.2249 | 12.4405 | 34.3198 | 499.8896 | 1499.2744 | 258.081 | 68.4441 | -2.6526 | 0.18626 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0060297 | 293.4174 | 292.3912 | 239.8839 | -0.4428 | 2.3858 | 34.8569 | 23.632 | 19.7543 | 2.3111 | 0.24927 | 0.76828 | 1.5429 | 0.15779 | 19.1912 | 0.73601 | 36.6949 | 374.3665 | 0.0136
55 | 11:37:56 | 904.5 | 0 | 13.8755 | 0.27328 | 280.3899 | 6.0315 | 1.6178 | 20.2702 | 6 | 1.42 | 1 | 2.84 | 19.2425 | 20.2702 | 18.9919 | 400.3739 | 380.9628 | 4.0682 | 11.2259 | 12.4374 | 34.32 | 499.9186 | 1499.3363 | 258.0733 | 68.4439 | -2.6526 | 0.18626 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0060315 | 293.4202 | 292.3925 | 239.8938 | -0.4438 | 2.3862 | 34.8631 | 23.6372 | 19.7563 | 2.3114 | 0.24929 | 0.76834 | 1.5431 | 0.1578 | 19.191 | 0.736 | 36.6924 | 374.367 | 0.0136
56 | 11:37:57 | 905 | 0 | 13.9134 | 0.27331 | 280.1086 | 6.0334 | 1.6181 | 20.2726 | 6 | 1.42 | 1 | 2.84 | 19.2443 | 20.2726 | 18.9921 | 400.3645 | 380.9081 | 4.0669 | 11.2266 | 12.4318 | 34.3178 | 499.9351 | 1499.4052 | 258.0137 | 68.4432 | -2.6526 | 0.18626 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0060334 | 293.4226 | 292.3943 | 239.9048 | -0.44475 | 2.3865 | 34.8687 | 23.6421 | 19.7585 | 2.3117 | 0.24931 | 0.76838 | 1.5434 | 0.15781 | 19.1715 | 0.73537 | 36.6898 | 374.2944 | 0.013638
57 | 11:37:58 | 905.5 | 0 | 13.9929 | 0.27323 | 279.5378 | 6.0344 | 1.6188 | 20.2769 | 6 | 1.42 | 1 | 2.84 | 19.2456 | 20.2769 | 18.9928 | 400.411 | 380.8598 | 4.0648 | 11.2255 | 12.4243 | 34.3113 | 499.954 | 1499.4652 | 258.0514 | 68.4427 | -2.6526 | 0.18626 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83326 | 0.0060344 | 293.4269 | 292.3956 | 239.9144 | -0.44557 | 2.3872 | 34.8781 | 23.6526 | 19.7613 | 2.3121 | 0.24925 | 0.7683 | 1.5438 | 0.15777 | 19.1323 | 0.73397 | 36.6768 | 374.2082 | 0.013715
58 | 11:37:58 | 906 | 0 | 14.0146 | 0.2732 | 279.3762 | 6.0355 | 1.6193 | 20.2796 | 6 | 1.42 | 1 | 2.84 | 19.2478 | 20.2796 | 18.9927 | 400.4205 | 380.843 | 4.0635 | 11.2254 | 12.4187 | 34.3065 | 499.9561 | 1499.5314 | 258.0045 | 68.4426 | -2.6526 | 0.18626 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83326 | 0.0060355 | 293.4296 | 292.3978 | 239.925 | -0.44606 | 2.3876 | 34.884 | 23.6586 | 19.7637 | 2.3125 | 0.24922 | 0.7683 | 1.5442 | 0.15776 | 19.1212 | 0.73357 | 36.6708 | 374.1811 | 0.013735
59 | 11:37:59 | 906.5 | 0 | 13.9835 | 0.27314 | 279.5517 | 6.0364 | 1.6198 | 20.2834 | 6 | 1.42 | 1 | 2.84 | 19.2485 | 20.2834 | 18.993 | 400.3863 | 380.8463 | 4.0624 | 11.2252 | 12.4148 | 34.3044 | 499.9737 | 1499.4955 | 258.0512 | 68.443 | -2.6526 | 0.18626 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83329 | 0.0060364 | 293.4334 | 292.3985 | 239.9193 | -0.44704 | 2.3881 | 34.8921 | 23.6669 | 19.766 | 2.3128 | 0.24918 | 0.76829 | 1.5445 | 0.15772 | 19.1334 | 0.73403 | 36.6619 | 374.1993 | 0.0137
60 | 11:37:59 | 907 | 0 | 13.9468 | 0.27317 | 279.8065 | 6.0391 | 1.6204 | 20.2876 | 6 | 1.42 | 1 | 2.84 | 19.2496 | 20.2876 | 18.9936 | 400.3663 | 380.869 | 4.0605 | 11.2265 | 12.4082 | 34.3059 | 499.9758 | 1499.5206 | 258.0249 | 68.4427 | -2.6526 | 0.18626 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83329 | 0.0060391 | 293.4376 | 292.3996 | 239.9233 | -0.4488 | 2.3887 | 34.9012 | 23.6748 | 19.7686 | 2.3132 | 0.2492 | 0.76837 | 1.5448 | 0.15774 | 19.1507 | 0.73465 | 36.6577 | 374.2394 | 0.013661 | 13.9109 | 19.2401 | 20.2649 | #DIV/0! | 903.5334 | 0 | 13.9109 | 0.27326 | 280.1494 | 6.029 | 1.6173 | 20.2649 | 6 | 1.42 | 1 | 2.84 | 19.2401 | 20.2649 | 18.9919 | 400.3944 | 380.9426 | 4.0677 | 11.2224 | 12.4377 | 34.3143 | 499.931 | 1499.3389 | 257.999 | 68.4439 | -2.6526 | 0.18626 | 0.97778 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.006029 | 293.4149 | 292.3901 | 239.8942 | -0.44214 | 2.3854 | 34.8517 | 23.6293 | 19.7525 | 2.3109 | 0.24927 | 0.7681 | 1.5428 | 0.15779 | 19.1745 | 0.73541 | 36.6929 | 374.33 | 0.013636
Remark= | "11:38:09 Coolers: Tblock -> 24.00 C"
Remark= | "11:39:46 Flow: Fixed -> 500 umol/s"
61 | 11:40:03 | 1031 | 0 | 13.8462 | 0.26854 | 279.3577 | 6.1252 | 1.6627 | 22.1358 | 6 | 1.42 | 1 | 2.84 | 23.2463 | 22.1358 | 24.0774 | 400.9974 | 381.5733 | 7.5555 | 14.7984 | 18.0682 | 35.3889 | 499.8998 | 1499.486 | 259.2722 | 68.4426 | -2.823 | 0.14474 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0061252 | 295.2858 | 296.3963 | 239.9177 | -0.21184 | 2.6756 | 39.0921 | 24.2937 | 22.691 | 2.7674 | 0.24534 | 1.0128 | 1.7546 | 0.15526 | 19.12 | 0.73212 | 41.6515 | 374.9915 | 0.015379
62 | 11:40:03 | 1031 | 0 | 13.8462 | 0.26854 | 279.3577 | 6.1252 | 1.6627 | 22.1358 | 6 | 1.42 | 1 | 2.84 | 23.2463 | 22.1358 | 24.0774 | 400.9974 | 381.5733 | 7.5555 | 14.7984 | 18.0682 | 35.3889 | 499.8998 | 1499.486 | 259.2722 | 68.4426 | -2.823 | 0.14474 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0061252 | 295.2858 | 296.3963 | 239.9177 | -0.21184 | 2.6756 | 39.0921 | 24.2937 | 22.691 | 2.7674 | 0.24534 | 1.0128 | 1.7546 | 0.15526 | 19.12 | 0.73212 | 41.6515 | 374.9915 | 0.015379
63 | 11:40:04 | 1031.5 | 0 | 13.8718 | 0.26849 | 279.1628 | 6.1259 | 1.6632 | 22.1396 | 6 | 1.42 | 1 | 2.84 | 23.2496 | 22.1396 | 24.0765 | 401.0119 | 381.5569 | 7.5573 | 14.801 | 18.069 | 35.3881 | 499.8992 | 1499.4844 | 259.3541 | 68.4426 | -2.823 | 0.14474 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0061259 | 295.2896 | 296.3996 | 239.9175 | -0.21226 | 2.6762 | 39.1011 | 24.3 | 22.6946 | 2.768 | 0.2453 | 1.013 | 1.755 | 0.15524 | 19.1066 | 0.73164 | 41.6484 | 374.9629 | 0.015408
64 | 11:40:04 | 1032 | 0 | 13.8934 | 0.26856 | 279.0199 | 6.1283 | 1.6634 | 22.1429 | 6 | 1.42 | 1 | 2.84 | 23.2528 | 22.1429 | 24.0763 | 401.0112 | 381.5294 | 7.5587 | 14.8053 | 18.0687 | 35.3914 | 499.8953 | 1499.5125 | 259.5914 | 68.4426 | -2.823 | 0.14474 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0061283 | 295.2929 | 296.4028 | 239.922 | -0.21348 | 2.6767 | 39.1089 | 24.3036 | 22.6978 | 2.7686 | 0.24536 | 1.0133 | 1.7553 | 0.15528 | 19.0968 | 0.73132 | 41.6525 | 374.9251 | 0.015435
65 | 11:40:05 | 1032.5 | 0 | 13.9149 | 0.26856 | 278.8644 | 6.13 | 1.6638 | 22.147 | 6 | 1.42 | 1 | 2.84 | 23.2562 | 22.147 | 24.077 | 401.019 | 381.511 | 7.5603 | 14.8088 | 18.069 | 35.3926 | 499.9041 | 1499.5094 | 259.6086 | 68.4429 | -2.823 | 0.14474 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.00613 | 295.297 | 296.4062 | 239.9215 | -0.21448 | 2.6774 | 39.1187 | 24.3099 | 22.7016 | 2.7692 | 0.24536 | 1.0136 | 1.7556 | 0.15528 | 19.0863 | 0.73095 | 41.6516 | 374.8965 | 0.01546
66 | 11:40:05 | 1033 | 0 | 13.8784 | 0.26842 | 279.0817 | 6.129 | 1.6644 | 22.1515 | 6 | 1.42 | 1 | 2.84 | 23.2591 | 22.1515 | 24.0785 | 401.0128 | 381.5485 | 7.564 | 14.8113 | 18.0746 | 35.3926 | 499.8971 | 1499.5841 | 259.5539 | 68.4427 | -2.823 | 0.14474 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.006129 | 295.3015 | 296.4091 | 239.9335 | -0.21402 | 2.6781 | 39.1293 | 24.318 | 22.7053 | 2.7698 | 0.24524 | 1.0137 | 1.7561 | 0.1552 | 19.1011 | 0.73144 | 41.645 | 374.9513 | 0.015414
67 | 11:40:06 | 1033.5 | 0 | 13.9337 | 0.26842 | 278.6935 | 6.1305 | 1.6648 | 22.155 | 6 | 1.42 | 1 | 2.84 | 23.2618 | 22.155 | 24.0785 | 401.0437 | 381.5115 | 7.5644 | 14.8138 | 18.0726 | 35.3928 | 499.8685 | 1499.6106 | 259.4662 | 68.4429 | -2.823 | 0.14474 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0061305 | 295.305 | 296.4118 | 239.9377 | -0.21482 | 2.6787 | 39.1375 | 24.3237 | 22.7084 | 2.7703 | 0.24524 | 1.0139 | 1.7564 | 0.1552 | 19.0746 | 0.7305 | 41.6431 | 374.8881 | 0.015478
68 | 11:40:06 | 1034 | 0 | 13.913 | 0.26822 | 278.7838 | 6.1293 | 1.6656 | 22.1599 | 6 | 1.42 | 1 | 2.84 | 23.2645 | 22.1599 | 24.0783 | 401.0435 | 381.5368 | 7.566 | 14.8141 | 18.0736 | 35.3877 | 499.876 | 1499.6641 | 259.2239 | 68.443 | -2.823 | 0.14474 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0061293 | 295.3099 | 296.4145 | 239.9462 | -0.21444 | 2.6795 | 39.1492 | 24.3352 | 22.7122 | 2.771 | 0.24508 | 1.0139 | 1.7571 | 0.1551 | 19.0808 | 0.73069 | 41.6291 | 374.9232 | 0.015448
69 | 11:40:07 | 1034.5 | 0 | 13.9192 | 0.2682 | 278.7412 | 6.1302 | 1.6659 | 22.1629 | 6 | 1.42 | 1 | 2.84 | 23.2672 | 22.1629 | 24.0782 | 401.0587 | 381.5432 | 7.5666 | 14.8161 | 18.0721 | 35.3867 | 499.853 | 1499.7156 | 258.929 | 68.443 | -2.823 | 0.14474 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0061302 | 295.3129 | 296.4172 | 239.9545 | -0.21485 | 2.68 | 39.1564 | 24.3404 | 22.715 | 2.7715 | 0.24506 | 1.0141 | 1.7574 | 0.15509 | 19.0779 | 0.73056 | 41.6266 | 374.9267 | 0.015454
70 | 11:40:07 | 1035 | 0 | 13.9168 | 0.26822 | 278.8049 | 6.1319 | 1.6663 | 22.1663 | 6 | 1.42 | 1 | 2.84 | 23.2695 | 22.1663 | 24.0779 | 401.1037 | 381.5916 | 7.568 | 14.8187 | 18.0728 | 35.3881 | 499.8965 | 1499.7349 | 258.6426 | 68.4434 | -2.823 | 0.14474 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0061319 | 295.3163 | 296.4195 | 239.9576 | -0.21581 | 2.6805 | 39.1643 | 24.3456 | 22.7179 | 2.7719 | 0.24507 | 1.0142 | 1.7577 | 0.15509 | 19.0824 | 0.73064 | 41.6258 | 374.9763 | 0.015449
71 | 11:40:08 | 1035.5 | 0 | 13.9553 | 0.2682 | 278.551 | 6.134 | 1.667 | 22.1719 | 6 | 1.42 | 1 | 2.84 | 23.2728 | 22.1719 | 24.0782 | 401.1526 | 381.5933 | 7.569 | 14.8222 | 18.0717 | 35.3895 | 499.8955 | 1499.7823 | 258.4409 | 68.4433 | -2.823 | 0.14474 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.006134 | 295.3219 | 296.4228 | 239.9652 | -0.21714 | 2.6815 | 39.1778 | 24.3556 | 22.7224 | 2.7727 | 0.24505 | 1.0145 | 1.7582 | 0.15508 | 19.0649 | 0.72997 | 41.6212 | 374.9596 | 0.015491
72 | 11:40:08 | 1036 | 0 | 13.972 | 0.26812 | 278.432 | 6.1346 | 1.6675 | 22.1756 | 6 | 1.42 | 1 | 2.84 | 23.276 | 22.1756 | 24.0778 | 401.1852 | 381.6058 | 7.5693 | 14.8231 | 18.0688 | 35.3846 | 499.9019 | 1499.8572 | 258.1525 | 68.4434 | -2.823 | 0.14474 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0061346 | 295.3256 | 296.426 | 239.9771 | -0.21734 | 2.6821 | 39.1865 | 24.3634 | 22.7258 | 2.7733 | 0.24499 | 1.0145 | 1.7587 | 0.15504 | 19.0568 | 0.72963 | 41.6137 | 374.9642 | 0.015506
73 | 11:40:09 | 1036.5 | 0 | 13.9836 | 0.26807 | 278.3773 | 6.1351 | 1.668 | 22.1795 | 6 | 1.42 | 1 | 2.84 | 23.2798 | 22.1795 | 24.0766 | 401.2415 | 381.6476 | 7.571 | 14.8254 | 18.0689 | 35.3824 | 499.9002 | 1499.8906 | 258.072 | 68.4435 | -2.823 | 0.14474 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0061351 | 295.3295 | 296.4298 | 239.9825 | -0.21759 | 2.6827 | 39.1958 | 24.3704 | 22.7297 | 2.7739 | 0.24495 | 1.0147 | 1.7592 | 0.15501 | 19.0531 | 0.72941 | 41.6095 | 375.0004 | 0.015516
74 | 11:40:09 | 1037 | 0 | 13.9952 | 0.26812 | 278.3141 | 6.1379 | 1.6684 | 22.1832 | 6 | 1.42 | 1 | 2.84 | 23.2829 | 22.1832 | 24.0745 | 401.2544 | 381.6452 | 7.5697 | 14.8274 | 18.0625 | 35.3807 | 499.9002 | 1499.8677 | 258.0381 | 68.4438 | -2.823 | 0.14474 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0061379 | 295.3332 | 296.4329 | 239.9788 | -0.21916 | 2.6833 | 39.2043 | 24.3769 | 22.733 | 2.7745 | 0.24499 | 1.0148 | 1.7596 | 0.15504 | 19.0489 | 0.72925 | 41.6072 | 374.9925 | 0.015528
75 | 11:40:10 | 1037.5 | 0 | 13.9907 | 0.26806 | 278.3395 | 6.1389 | 1.669 | 22.1875 | 6 | 1.42 | 1 | 2.84 | 23.2868 | 22.1875 | 24.0741 | 401.2677 | 381.6653 | 7.5713 | 14.8295 | 18.0621 | 35.377 | 499.951 | 1499.8813 | 257.8923 | 68.4434 | -2.823 | 0.14474 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0061389 | 295.3375 | 296.4368 | 239.981 | -0.21969 | 2.684 | 39.215 | 24.3855 | 22.7372 | 2.7752 | 0.24494 | 1.015 | 1.7602 | 0.15501 | 19.0505 | 0.72928 | 41.601 | 375.0148 | 0.01552 | 13.922 | 23.2648 | 22.1596 | #DIV/0! | 1034.0334 | 0 | 13.922 | 0.26831 | 278.7921 | 6.1311 | 1.6655 | 22.1596 | 6 | 1.42 | 1 | 2.84 | 23.2648 | 22.1596 | 24.0771 | 401.0934 | 381.5755 | 7.5644 | 14.8142 | 18.0695 | 35.3875 | 499.8959 | 1499.6711 | 258.9007 | 68.443 | -2.823 | 0.14474 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0061311 | 295.3096 | 296.4148 | 239.9474 | -0.21525 | 2.6794 | 39.1486 | 24.3344 | 22.7122 | 2.771 | 0.24515 | 1.0139 | 1.757 | 0.15515 | 19.0814 | 0.73063 | 41.6319 | 374.9576 | 0.015458
Remark= | "11:40:21 Coolers: Tblock -> 29.00 C"
Remark= | "11:42:20 Flow: Fixed -> 500 umol/s"
76 | 11:42:40 | 1188 | 0 | 13.5777 | 0.25619 | 275.5545 | 6.2897 | 1.7738 | 24.3633 | 6 | 1.42 | 1 | 2.84 | 27.3779 | 24.3633 | 28.9623 | 399.9597 | 380.7877 | 11.3975 | 18.8051 | 21.3185 | 35.1739 | 499.8762 | 1500.135 | 247.856 | 68.4466 | -2.6355 | 0.083007 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0062897 | 297.5133 | 300.5279 | 240.0216 | -0.03108 | 3.061 | 44.7204 | 25.9153 | 25.8706 | 3.3485 | 0.23499 | 1.2871 | 2.0614 | 0.14864 | 18.8608 | 0.72364 | 45.1017 | 374.3335 | 0.016359
77 | 11:42:40 | 1188 | 0 | 13.5777 | 0.25619 | 275.5545 | 6.2897 | 1.7738 | 24.3633 | 6 | 1.42 | 1 | 2.84 | 27.3779 | 24.3633 | 28.9623 | 399.9597 | 380.7877 | 11.3975 | 18.8051 | 21.3185 | 35.1739 | 499.8762 | 1500.135 | 247.856 | 68.4466 | -2.6355 | 0.083007 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0062897 | 297.5133 | 300.5279 | 240.0216 | -0.03108 | 3.061 | 44.7204 | 25.9153 | 25.8706 | 3.3485 | 0.23499 | 1.2871 | 2.0614 | 0.14864 | 18.8608 | 0.72364 | 45.1017 | 374.3335 | 0.016359
78 | 11:42:40 | 1188.5 | 0 | 13.5824 | 0.25622 | 275.5181 | 6.2928 | 1.7745 | 24.3682 | 6 | 1.42 | 1 | 2.84 | 27.3818 | 24.3682 | 28.9614 | 399.9571 | 380.778 | 11.3971 | 18.8083 | 21.3128 | 35.1718 | 499.8735 | 1500.1793 | 247.8546 | 68.4468 | -2.6355 | 0.083007 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0062928 | 297.5182 | 300.5318 | 240.0287 | -0.032729 | 3.0619 | 44.7334 | 25.9252 | 25.875 | 3.3494 | 0.23502 | 1.2874 | 2.062 | 0.14865 | 18.8583 | 0.72357 | 45.0968 | 374.3216 | 0.016364
79 | 11:42:41 | 1189 | 0 | 13.6075 | 0.25622 | 275.322 | 6.2953 | 1.7752 | 24.3732 | 6 | 1.42 | 1 | 2.84 | 27.3853 | 24.3732 | 28.9614 | 399.9641 | 380.7532 | 11.3966 | 18.8111 | 21.3076 | 35.1699 | 499.8528 | 1500.1271 | 247.7622 | 68.4468 | -2.6355 | 0.083007 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0062953 | 297.5232 | 300.5353 | 240.0203 | -0.034339 | 3.0628 | 44.7469 | 25.9357 | 25.8793 | 3.3502 | 0.23501 | 1.2876 | 2.0627 | 0.14865 | 18.8449 | 0.7231 | 45.0903 | 374.2848 | 0.016393
80 | 11:42:41 | 1189.5 | 0 | 13.6428 | 0.25618 | 275.0448 | 6.297 | 1.7759 | 24.3781 | 6 | 1.42 | 1 | 2.84 | 27.3892 | 24.3781 | 28.9605 | 399.9803 | 380.7263 | 11.397 | 18.8135 | 21.3036 | 35.1667 | 499.8481 | 1500.0594 | 247.7298 | 68.4471 | -2.6355 | 0.083007 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.006297 | 297.5281 | 300.5392 | 240.0095 | -0.035479 | 3.0637 | 44.7598 | 25.9463 | 25.8837 | 3.3511 | 0.23498 | 1.2877 | 2.0634 | 0.14863 | 18.826 | 0.72242 | 45.0828 | 374.2411 | 0.016435
81 | 11:42:42 | 1190 | 0 | 13.6789 | 0.25621 | 274.7705 | 6.2997 | 1.7765 | 24.3818 | 6 | 1.42 | 1 | 2.84 | 27.3935 | 24.3818 | 28.9595 | 399.9794 | 380.68 | 11.3959 | 18.8159 | 21.2961 | 35.1624 | 499.8233 | 1500.0551 | 247.6633 | 68.4473 | -2.6355 | 0.083007 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0062997 | 297.5318 | 300.5435 | 240.0088 | -0.036801 | 3.0644 | 44.7697 | 25.9538 | 25.8877 | 3.3519 | 0.23501 | 1.2879 | 2.064 | 0.14865 | 18.8073 | 0.72179 | 45.0794 | 374.1777 | 0.01648
82 | 11:42:42 | 1190 | 0 | 13.6789 | 0.25621 | 274.7705 | 6.2997 | 1.7765 | 24.3818 | 6 | 1.42 | 1 | 2.84 | 27.3935 | 24.3818 | 28.9595 | 399.9794 | 380.68 | 11.3959 | 18.8159 | 21.2961 | 35.1624 | 499.8233 | 1500.0551 | 247.6633 | 68.4473 | -2.6355 | 0.083007 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0062997 | 297.5318 | 300.5435 | 240.0088 | -0.036801 | 3.0644 | 44.7697 | 25.9538 | 25.8877 | 3.3519 | 0.23501 | 1.2879 | 2.064 | 0.14865 | 18.8073 | 0.72179 | 45.0794 | 374.1777 | 0.01648
83 | 11:42:43 | 1190.5 | 0 | 13.6793 | 0.25645 | 274.8229 | 6.3064 | 1.7768 | 24.3861 | 6 | 1.42 | 1 | 2.84 | 27.3974 | 24.3861 | 28.9596 | 399.962 | 380.6595 | 11.3947 | 18.8224 | 21.2889 | 35.1663 | 499.8292 | 1500.0796 | 247.552 | 68.4467 | -2.6355 | 0.083007 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0063064 | 297.5361 | 300.5474 | 240.0127 | -0.040272 | 3.0651 | 44.7814 | 25.9589 | 25.8917 | 3.3527 | 0.23521 | 1.2883 | 2.0644 | 0.14878 | 18.8107 | 0.72197 | 45.0865 | 374.157 | 0.016484
84 | 11:42:43 | 1191 | 0 | 13.6572 | 0.25649 | 274.9562 | 6.3091 | 1.7773 | 24.3901 | 6 | 1.42 | 1 | 2.84 | 27.4014 | 24.3901 | 28.9598 | 399.9162 | 380.6391 | 11.395 | 18.826 | 21.2844 | 35.1644 | 499.8265 | 1500.1268 | 247.4914 | 68.4464 | -2.6355 | 0.083007 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0063091 | 297.5401 | 300.5514 | 240.0203 | -0.041563 | 3.0659 | 44.7924 | 25.9664 | 25.8957 | 3.3535 | 0.23524 | 1.2886 | 2.0649 | 0.1488 | 18.8198 | 0.72235 | 45.0843 | 374.1471 | 0.016457
85 | 11:42:44 | 1191.5 | 0 | 13.6136 | 0.25647 | 275.2323 | 6.3107 | 1.7778 | 24.394 | 6 | 1.42 | 1 | 2.84 | 27.4052 | 24.394 | 28.9594 | 399.8618 | 380.6366 | 11.3961 | 18.8288 | 21.2816 | 35.1618 | 499.8316 | 1500.1239 | 247.3819 | 68.4463 | -2.6355 | 0.083007 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0063107 | 297.544 | 300.5552 | 240.0198 | -0.042404 | 3.0666 | 44.8031 | 25.9742 | 25.8996 | 3.3543 | 0.23523 | 1.2888 | 2.0655 | 0.14879 | 18.8386 | 0.72308 | 45.0803 | 374.1654 | 0.016402
86 | 11:42:44 | 1192 | 0 | 13.6164 | 0.25636 | 275.1288 | 6.3113 | 1.7787 | 24.3991 | 6 | 1.42 | 1 | 2.84 | 27.4084 | 24.3991 | 28.9592 | 399.823 | 380.5939 | 11.3962 | 18.8299 | 21.2777 | 35.1569 | 499.817 | 1500.1898 | 247.1407 | 68.4455 | -2.6355 | 0.083007 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83303 | 0.0063113 | 297.5491 | 300.5584 | 240.0304 | -0.042849 | 3.0675 | 44.8171 | 25.9872 | 25.9037 | 3.3551 | 0.23513 | 1.2888 | 2.0663 | 0.14873 | 18.8313 | 0.72289 | 45.0676 | 374.1213 | 0.016403
87 | 11:42:45 | 1192.5 | 0 | 13.6216 | 0.25639 | 275.0964 | 6.3146 | 1.7794 | 24.4047 | 6 | 1.42 | 1 | 2.84 | 27.4109 | 24.4047 | 28.9586 | 399.8272 | 380.59 | 11.3971 | 18.8348 | 21.2762 | 35.1608 | 499.8073 | 1500.1617 | 246.8449 | 68.4456 | -2.6355 | 0.083007 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83301 | 0.0063146 | 297.5547 | 300.5609 | 240.0259 | -0.045032 | 3.0686 | 44.8322 | 25.9974 | 25.9078 | 3.3559 | 0.23516 | 1.2892 | 2.0667 | 0.14875 | 18.8291 | 0.72282 | 45.0646 | 374.115 | 0.016408
88 | 11:42:45 | 1193 | 0 | 13.6173 | 0.25649 | 275.1508 | 6.3198 | 1.7802 | 24.411 | 6 | 1.42 | 1 | 2.84 | 27.4146 | 24.411 | 28.9584 | 399.8219 | 380.5888 | 11.3971 | 18.8403 | 21.2715 | 35.1634 | 499.8407 | 1500.2042 | 246.6199 | 68.4452 | -2.6355 | 0.083007 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0063198 | 297.561 | 300.5646 | 240.0327 | -0.047992 | 3.0697 | 44.8491 | 26.0088 | 25.9128 | 3.3569 | 0.23525 | 1.2895 | 2.0674 | 0.1488 | 18.8328 | 0.72296 | 45.0624 | 374.1158 | 0.016402
89 | 11:42:46 | 1193.5 | 0 | 13.6457 | 0.25649 | 274.934 | 6.3226 | 1.781 | 24.4168 | 6 | 1.42 | 1 | 2.84 | 27.4179 | 24.4168 | 28.9583 | 399.8329 | 380.5647 | 11.3981 | 18.8445 | 21.2691 | 35.1645 | 499.8451 | 1500.2502 | 246.2506 | 68.4452 | -2.6355 | 0.083007 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0063226 | 297.5668 | 300.5679 | 240.04 | -0.049726 | 3.0708 | 44.8649 | 26.0204 | 25.9173 | 3.3578 | 0.23525 | 1.2898 | 2.068 | 0.1488 | 18.8179 | 0.72244 | 45.0567 | 374.0781 | 0.016436
90 | 11:42:46 | 1194 | 0 | 13.6335 | 0.25649 | 275.0329 | 6.3258 | 1.7819 | 24.4241 | 6 | 1.42 | 1 | 2.84 | 27.4202 | 24.4241 | 28.9585 | 399.8479 | 380.5939 | 11.4007 | 18.8505 | 21.2713 | 35.171 | 499.8773 | 1500.2332 | 245.9359 | 68.4452 | -2.6355 | 0.083007 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0063258 | 297.5741 | 300.5702 | 240.0373 | -0.052108 | 3.0721 | 44.8844 | 26.0339 | 25.9221 | 3.3587 | 0.23524 | 1.2902 | 2.0685 | 0.1488 | 18.8247 | 0.72264 | 45.0511 | 374.1132 | 0.016418 | 13.6287 | 27.3983 | 24.389 | #DIV/0! | 1190.7334 | 0 | 13.6287 | 0.25634 | 275.1259 | 6.3056 | 1.7773 | 24.389 | 6 | 1.42 | 1 | 2.84 | 27.3983 | 24.389 | 28.9599 | 399.9115 | 380.6706 | 11.3968 | 18.8235 | 21.2916 | 35.166 | 499.8432 | 1500.141 | 247.3068 | 68.4463 | -2.6355 | 0.083007 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0063056 | 297.539 | 300.5483 | 240.0226 | -0.040017 | 3.0657 | 44.7897 | 25.9662 | 25.8937 | 3.3531 | 0.23512 | 1.2884 | 2.0647 | 0.14872 | 18.8314 | 0.72274 | 45.079 | 374.1922 | 0.016419
Remark= | "11:42:58 Coolers: Tblock -> 34.00 C"
Remark= | "11:46:38 Flow: Fixed -> 500 umol/s"
91 | 11:46:55 | 1443.5 | 0 | 13.0513 | 0.22972 | 267.4296 | 6.7797 | 2.0963 | 27.9275 | 6 | 1.42 | 1 | 2.84 | 32.1857 | 27.9275 | 34.0289 | 399.761 | 380.9957 | 16.6433 | 24.5807 | 23.608 | 34.8668 | 499.8925 | 1500.7589 | 148.0098 | 68.4479 | -2.1073 | -0.0015855 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0067797 | 301.0775 | 305.3357 | 240.1214 | -0.090993 | 3.7788 | 55.2075 | 30.6268 | 30.0566 | 4.2743 | 0.21253 | 1.6825 | 2.5918 | 0.13428 | 18.305 | 0.70192 | 46.5431 | 374.7917 | 0.016208
92 | 11:46:55 | 1443.5 | 0 | 13.0513 | 0.22972 | 267.4296 | 6.7797 | 2.0963 | 27.9275 | 6 | 1.42 | 1 | 2.84 | 32.1857 | 27.9275 | 34.0289 | 399.761 | 380.9957 | 16.6433 | 24.5807 | 23.608 | 34.8668 | 499.8925 | 1500.7589 | 148.0098 | 68.4479 | -2.1073 | -0.0015855 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0067797 | 301.0775 | 305.3357 | 240.1214 | -0.090993 | 3.7788 | 55.2075 | 30.6268 | 30.0566 | 4.2743 | 0.21253 | 1.6825 | 2.5918 | 0.13428 | 18.305 | 0.70192 | 46.5431 | 374.7917 | 0.016208
93 | 11:46:56 | 1444 | 0 | 13.0817 | 0.22971 | 267.1854 | 6.7819 | 2.0971 | 27.932 | 6 | 1.42 | 1 | 2.84 | 32.1884 | 27.932 | 34.029 | 399.7854 | 380.982 | 16.6435 | 24.5837 | 23.6046 | 34.8658 | 499.8711 | 1500.7784 | 147.9489 | 68.4482 | -2.1073 | -0.0015855 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0067819 | 301.082 | 305.3384 | 240.1245 | -0.092317 | 3.7798 | 55.2216 | 30.6379 | 30.0602 | 4.2752 | 0.21252 | 1.6827 | 2.5925 | 0.13427 | 18.2883 | 0.70131 | 46.5367 | 374.7636 | 0.016244
94 | 11:46:56 | 1444 | 0 | 13.0817 | 0.22971 | 267.1854 | 6.7819 | 2.0971 | 27.932 | 6 | 1.42 | 1 | 2.84 | 32.1884 | 27.932 | 34.029 | 399.7854 | 380.982 | 16.6435 | 24.5837 | 23.6046 | 34.8658 | 499.8711 | 1500.7784 | 147.9489 | 68.4482 | -2.1073 | -0.0015855 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0067819 | 301.082 | 305.3384 | 240.1245 | -0.092317 | 3.7798 | 55.2216 | 30.6379 | 30.0602 | 4.2752 | 0.21252 | 1.6827 | 2.5925 | 0.13427 | 18.2883 | 0.70131 | 46.5367 | 374.7636 | 0.016244
95 | 11:46:57 | 1444.5 | 0 | 13.0579 | 0.22959 | 267.3008 | 6.7808 | 2.0978 | 27.9352 | 6 | 1.42 | 1 | 2.84 | 32.1906 | 27.9352 | 34.0288 | 399.7531 | 380.9781 | 16.6437 | 24.583 | 23.6022 | 34.8608 | 499.8514 | 1500.8105 | 147.8325 | 68.4486 | -2.1073 | -0.0015855 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0067808 | 301.0852 | 305.3406 | 240.1297 | -0.091841 | 3.7805 | 55.2315 | 30.6485 | 30.0629 | 4.2759 | 0.21242 | 1.6827 | 2.5932 | 0.1342 | 18.2964 | 0.70162 | 46.5254 | 374.771 | 0.01621
96 | 11:46:57 | 1445 | 0 | 13.0327 | 0.22956 | 267.5016 | 6.7819 | 2.0984 | 27.9386 | 6 | 1.42 | 1 | 2.84 | 32.1933 | 27.9386 | 34.0292 | 399.7584 | 381.0126 | 16.6454 | 24.586 | 23.601 | 34.8598 | 499.8448 | 1500.8184 | 147.6561 | 68.4487 | -2.1073 | -0.0015855 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0067819 | 301.0886 | 305.3433 | 240.1309 | -0.092458 | 3.7813 | 55.2426 | 30.6565 | 30.066 | 4.2766 | 0.21239 | 1.6829 | 2.5937 | 0.13419 | 18.3101 | 0.70208 | 46.5212 | 374.8175 | 0.016176
97 | 11:46:58 | 1445.5 | 0 | 13.0093 | 0.22945 | 267.6484 | 6.7817 | 2.0992 | 27.9428 | 6 | 1.42 | 1 | 2.84 | 32.1962 | 27.9428 | 34.0298 | 399.7575 | 381.0399 | 16.6471 | 24.5874 | 23.5993 | 34.8556 | 499.8528 | 1500.8682 | 147.3828 | 68.4482 | -2.1073 | -0.0015855 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0067817 | 301.0928 | 305.3462 | 240.1389 | -0.092417 | 3.7822 | 55.2564 | 30.669 | 30.0695 | 4.2775 | 0.2123 | 1.683 | 2.5945 | 0.13413 | 18.32 | 0.70242 | 46.5105 | 374.8559 | 0.016141
98 | 11:46:58 | 1446 | 0 | 13.075 | 0.22942 | 267.1462 | 6.7816 | 2.0995 | 27.9445 | 6 | 1.42 | 1 | 2.84 | 32.199 | 27.9445 | 34.0296 | 399.8266 | 381.0302 | 16.6485 | 24.5887 | 23.5977 | 34.8522 | 499.8533 | 1500.9493 | 147.247 | 68.4486 | -2.1073 | -0.0015855 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0067816 | 301.0945 | 305.349 | 240.1519 | -0.092071 | 3.7826 | 55.2615 | 30.6728 | 30.0717 | 4.278 | 0.21227 | 1.6831 | 2.595 | 0.13411 | 18.2858 | 0.70112 | 46.5081 | 374.815 | 0.016224
99 | 11:46:59 | 1446.5 | 0 | 13.1313 | 0.22939 | 266.7211 | 6.7827 | 2.1001 | 27.948 | 6 | 1.42 | 1 | 2.84 | 32.201 | 27.948 | 34.0294 | 399.8931 | 381.0278 | 16.65 | 24.5919 | 23.5974 | 34.853 | 499.8279 | 1500.9827 | 147.0832 | 68.4491 | -2.1073 | -0.0015855 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0067827 | 301.098 | 305.351 | 240.1572 | -0.092782 | 3.7834 | 55.2725 | 30.6806 | 30.0745 | 4.2787 | 0.21225 | 1.6833 | 2.5954 | 0.1341 | 18.2568 | 0.7 | 46.5042 | 374.7859 | 0.016294
100 | 11:46:59 | 1447 | 0 | 13.153 | 0.22921 | 266.4985 | 6.7809 | 2.101 | 27.9522 | 6 | 1.42 | 1 | 2.84 | 32.2038 | 27.9522 | 34.0296 | 399.9334 | 381.0422 | 16.6511 | 24.591 | 23.5954 | 34.8466 | 499.8174 | 1501.0056 | 147.0971 | 68.4498 | -2.1073 | -0.0015855 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83303 | 0.0067809 | 301.1022 | 305.3538 | 240.1609 | -0.091977 | 3.7843 | 55.2856 | 30.6946 | 30.078 | 4.2796 | 0.21209 | 1.6832 | 2.5963 | 0.134 | 18.2418 | 0.69939 | 46.4891 | 374.7899 | 0.016315
101 | 11:47:00 | 1447.5 | 0 | 13.1406 | 0.22921 | 266.5992 | 6.7828 | 2.1016 | 27.9556 | 6 | 1.42 | 1 | 2.84 | 32.2062 | 27.9556 | 34.0292 | 399.935 | 381.0574 | 16.6505 | 24.5928 | 23.5917 | 34.8449 | 499.8048 | 1500.9812 | 147.0757 | 68.4507 | -2.1073 | -0.0015855 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83301 | 0.0067828 | 301.1056 | 305.3562 | 240.157 | -0.093137 | 3.785 | 55.2958 | 30.703 | 30.0809 | 4.2803 | 0.21209 | 1.6834 | 2.5969 | 0.134 | 18.2489 | 0.69963 | 46.484 | 374.811 | 0.016297
102 | 11:47:00 | 1448 | 0 | 13.0799 | 0.22901 | 267.0093 | 6.7814 | 2.1029 | 27.9615 | 6 | 1.42 | 1 | 2.84 | 32.2097 | 27.9615 | 34.0298 | 399.9196 | 381.1162 | 16.653 | 24.5932 | 23.5907 | 34.8388 | 499.8346 | 1500.958 | 147.1198 | 68.4509 | -2.1073 | -0.0015855 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0067814 | 301.1115 | 305.3597 | 240.1533 | -0.092756 | 3.7863 | 55.3144 | 30.7212 | 30.0856 | 4.2814 | 0.21192 | 1.6834 | 2.598 | 0.13389 | 18.277 | 0.7006 | 46.4663 | 374.8986 | 0.016212
103 | 11:47:01 | 1448.5 | 0 | 13.0436 | 0.22896 | 267.2785 | 6.7815 | 2.1033 | 27.964 | 6 | 1.42 | 1 | 2.84 | 32.2123 | 27.964 | 34.0296 | 399.9067 | 381.1469 | 16.6551 | 24.5953 | 23.59 | 34.8362 | 499.844 | 1500.9586 | 147.119 | 68.4504 | -2.1073 | -0.0015855 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0067815 | 301.114 | 305.3623 | 240.1534 | -0.092767 | 3.7869 | 55.3231 | 30.7279 | 30.0882 | 4.2821 | 0.21188 | 1.6836 | 2.5985 | 0.13386 | 18.2953 | 0.70125 | 46.4618 | 374.9466 | 0.016163
104 | 11:47:01 | 1449 | 0 | 13.0121 | 0.22883 | 267.4543 | 6.7813 | 2.1043 | 27.9687 | 6 | 1.42 | 1 | 2.84 | 32.214 | 27.9687 | 34.0294 | 399.8727 | 381.1511 | 16.6558 | 24.5954 | 23.5887 | 34.8332 | 499.8551 | 1500.931 | 147.1409 | 68.4506 | -2.1073 | -0.0015855 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0067813 | 301.1187 | 305.364 | 240.149 | -0.093095 | 3.7879 | 55.338 | 30.7426 | 30.0914 | 4.2829 | 0.21177 | 1.6836 | 2.5993 | 0.13379 | 18.3074 | 0.7017 | 46.448 | 374.9658 | 0.016118
105 | 11:47:02 | 1449.5 | 0 | 13.0461 | 0.22878 | 267.1571 | 6.7832 | 2.1054 | 27.9741 | 6 | 1.42 | 1 | 2.84 | 32.216 | 27.9741 | 34.0296 | 399.8899 | 381.1274 | 16.6564 | 24.598 | 23.5872 | 34.8334 | 499.8699 | 1500.8647 | 147.2412 | 68.4512 | -2.1073 | -0.0015855 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0067832 | 301.1241 | 305.366 | 240.1384 | -0.094677 | 3.7891 | 55.355 | 30.757 | 30.095 | 4.2838 | 0.21172 | 1.6838 | 2.6 | 0.13376 | 18.2872 | 0.70097 | 46.4379 | 374.9259 | 0.016159 | 13.0698 | 32.1994 | 27.947 | #DIV/0! | 1446.1334 | 0 | 13.0698 | 0.22935 | 267.1697 | 6.7815 | 2.1 | 27.947 | 6 | 1.42 | 1 | 2.84 | 32.1994 | 27.947 | 34.0293 | 399.8359 | 381.0457 | 16.6487 | 24.5888 | 23.5977 | 34.852 | 499.8522 | 1500.8802 | 147.4608 | 68.4493 | -2.1073 | -0.0015855 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0067815 | 301.097 | 305.3494 | 240.1408 | -0.09244 | 3.7831 | 55.269 | 30.6802 | 30.0732 | 4.2784 | 0.21221 | 1.6831 | 2.5953 | 0.13407 | 18.2876 | 0.70115 | 46.5011 | 374.8329 | 0.016214