## stm-pbcup3_
OPEN 6.2.4
Wed Jul 1 2015 12:07:14
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "12:07:58 Coolers: Tblock -> 4.98 C"
Remark= | "12:08:20 Flow: Fixed -> 500 umol/s"
1 | 12:09:00 | 109 | 0 | 12.1194 | 0.22691 | 281.248 | 3.7639 | 1.2089 | 13.7775 | 6 | 1.42 | 1 | 2.84 | 7.6851 | 13.7775 | 5.0951 | 398.2253 | 381.9559 | 0.94651 | 5.4389 | 6.148 | 35.3285 | 499.9708 | 1500.4916 | 55.7505 | 68.4628 | -2.0416 | 0.24967 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.0037639 | 286.9275 | 280.8351 | 240.0786 | 0.16858 | 1.5813 | 23.0969 | 17.6579 | 10.7313 | 1.2942 | 0.21012 | 0.37237 | 0.92181 | 0.13274 | 19.255 | 0.73634 | 28.18 | 376.1949 | 0.0090784
2 | 12:09:00 | 109 | 0 | 12.1194 | 0.22691 | 281.248 | 3.7639 | 1.2089 | 13.7775 | 6 | 1.42 | 1 | 2.84 | 7.6851 | 13.7775 | 5.0951 | 398.2253 | 381.9559 | 0.94651 | 5.4389 | 6.148 | 35.3285 | 499.9708 | 1500.4916 | 55.7505 | 68.4628 | -2.0416 | 0.24967 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.0037639 | 286.9275 | 280.8351 | 240.0786 | 0.16858 | 1.5813 | 23.0969 | 17.6579 | 10.7313 | 1.2942 | 0.21012 | 0.37237 | 0.92181 | 0.13274 | 19.255 | 0.73634 | 28.18 | 376.1949 | 0.0090784
3 | 12:09:01 | 109.5 | 0 | 12.157 | 0.22713 | 280.998 | 3.7645 | 1.208 | 13.7682 | 6 | 1.42 | 1 | 2.84 | 7.684 | 13.7682 | 5.0946 | 398.2066 | 381.8909 | 0.94539 | 5.4388 | 6.1412 | 35.3302 | 499.9354 | 1500.49 | 55.7714 | 68.4628 | -2.0416 | 0.24967 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0037645 | 286.9182 | 280.834 | 240.0784 | 0.16931 | 1.5803 | 23.0828 | 17.644 | 10.7261 | 1.2937 | 0.21031 | 0.37235 | 0.92137 | 0.13286 | 19.2379 | 0.73581 | 28.1986 | 376.1121 | 0.0091146
4 | 12:09:01 | 110 | 0 | 12.1691 | 0.22724 | 280.9074 | 3.764 | 1.2073 | 13.7608 | 6 | 1.42 | 1 | 2.84 | 7.6826 | 13.7608 | 5.0953 | 398.1764 | 381.8462 | 0.9441 | 5.437 | 6.1334 | 35.3223 | 499.9257 | 1500.5052 | 55.821 | 68.4627 | -2.0416 | 0.24967 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.003764 | 286.9108 | 280.8326 | 240.0808 | 0.17033 | 1.5796 | 23.0717 | 17.6347 | 10.7217 | 1.2933 | 0.2104 | 0.37223 | 0.9211 | 0.13292 | 19.2317 | 0.73566 | 28.205 | 376.0616 | 0.009127
5 | 12:09:02 | 110.5 | 0 | 12.1159 | 0.22716 | 281.2694 | 3.7613 | 1.2068 | 13.7541 | 6 | 1.42 | 1 | 2.84 | 7.6815 | 13.7541 | 5.0949 | 398.1039 | 381.8374 | 0.94401 | 5.4342 | 6.1333 | 35.3061 | 499.8794 | 1500.5356 | 55.924 | 68.4629 | -2.0416 | 0.24967 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0037613 | 286.9041 | 280.8315 | 240.0857 | 0.17251 | 1.5789 | 23.0617 | 17.6276 | 10.7178 | 1.293 | 0.21034 | 0.37204 | 0.92097 | 0.13288 | 19.2565 | 0.73662 | 28.2016 | 376.0781 | 0.0090856
6 | 12:09:02 | 111 | 0 | 12.1122 | 0.22713 | 281.2622 | 3.7597 | 1.2065 | 13.7493 | 6 | 1.42 | 1 | 2.84 | 7.6804 | 13.7493 | 5.0948 | 398.074 | 381.8123 | 0.94326 | 5.4317 | 6.1289 | 35.2927 | 499.8638 | 1500.5653 | 55.8975 | 68.4631 | -2.0416 | 0.24967 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0037597 | 286.8993 | 280.8304 | 240.0904 | 0.17388 | 1.5784 | 23.0544 | 17.6227 | 10.7149 | 1.2928 | 0.21031 | 0.37187 | 0.92088 | 0.13286 | 19.2561 | 0.73665 | 28.198 | 376.0548 | 0.0090822
7 | 12:09:03 | 111.5 | 0 | 12.1589 | 0.22707 | 280.8391 | 3.759 | 1.2065 | 13.7479 | 6 | 1.42 | 1 | 2.84 | 7.6796 | 13.7479 | 5.0951 | 398.0724 | 381.7552 | 0.94138 | 5.4289 | 6.1171 | 35.2769 | 499.8626 | 1500.5197 | 55.928 | 68.4634 | -2.0416 | 0.24967 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.003759 | 286.8979 | 280.8296 | 240.0831 | 0.17427 | 1.5782 | 23.0522 | 17.6233 | 10.7137 | 1.2927 | 0.21026 | 0.37168 | 0.92097 | 0.13283 | 19.2272 | 0.73565 | 28.1878 | 375.9755 | 0.0091158
8 | 12:09:03 | 112 | 0 | 12.1522 | 0.22713 | 280.8852 | 3.7585 | 1.2061 | 13.742 | 6 | 1.42 | 1 | 2.84 | 7.6787 | 13.742 | 5.0948 | 398.034 | 381.7249 | 0.93961 | 5.4267 | 6.1059 | 35.2643 | 499.8531 | 1500.5267 | 55.9753 | 68.4632 | -2.0416 | 0.24967 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0037585 | 286.892 | 280.8287 | 240.0843 | 0.17515 | 1.5776 | 23.0435 | 17.6168 | 10.7104 | 1.2924 | 0.21031 | 0.37153 | 0.92084 | 0.13286 | 19.2303 | 0.73583 | 28.1888 | 375.9484 | 0.0091118
9 | 12:09:04 | 112.5 | 0 | 12.1628 | 0.22717 | 280.7908 | 3.7576 | 1.2056 | 13.7362 | 6 | 1.42 | 1 | 2.84 | 7.6779 | 13.7362 | 5.0951 | 398.0114 | 381.6903 | 0.93877 | 5.4247 | 6.1008 | 35.2536 | 499.8581 | 1500.5421 | 55.8947 | 68.4632 | -2.0416 | 0.24967 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0037576 | 286.8862 | 280.8279 | 240.0867 | 0.17628 | 1.577 | 23.0347 | 17.61 | 10.7071 | 1.2921 | 0.21034 | 0.37139 | 0.92069 | 0.13288 | 19.2238 | 0.73565 | 28.1906 | 375.9087 | 0.0091213
10 | 12:09:04 | 113 | 0 | 12.2024 | 0.22734 | 280.5269 | 3.7578 | 1.2049 | 13.7282 | 6 | 1.42 | 1 | 2.84 | 7.6769 | 13.7282 | 5.0958 | 398.0182 | 381.6508 | 0.9378 | 5.4237 | 6.095 | 35.2497 | 499.8923 | 1500.5106 | 55.9116 | 68.4637 | -2.0416 | 0.24967 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0037578 | 286.8782 | 280.8269 | 240.0817 | 0.17697 | 1.5762 | 23.0226 | 17.5989 | 10.7025 | 1.2917 | 0.21049 | 0.37133 | 0.92037 | 0.13297 | 19.2059 | 0.73504 | 28.2024 | 375.8503 | 0.0091563
11 | 12:09:05 | 113.5 | 0 | 12.1792 | 0.22725 | 280.6888 | 3.7543 | 1.2042 | 13.7189 | 6 | 1.42 | 1 | 2.84 | 7.6763 | 13.7189 | 5.0959 | 398.0062 | 381.6686 | 0.93779 | 5.4194 | 6.0951 | 35.2235 | 499.9069 | 1500.5886 | 55.9384 | 68.4639 | -2.0416 | 0.24967 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0037543 | 286.8689 | 280.8263 | 240.0942 | 0.18003 | 1.5753 | 23.0086 | 17.5892 | 10.6976 | 1.2913 | 0.21041 | 0.37103 | 0.92023 | 0.13292 | 19.2171 | 0.73543 | 28.1971 | 375.8792 | 0.0091364
12 | 12:09:05 | 114 | 0 | 12.1021 | 0.22721 | 281.2924 | 3.7517 | 1.2036 | 13.7102 | 6 | 1.42 | 1 | 2.84 | 7.6757 | 13.7102 | 5.0957 | 397.9543 | 381.7096 | 0.93743 | 5.4161 | 6.0931 | 35.2033 | 499.8838 | 1500.6782 | 55.8814 | 68.4639 | -2.0416 | 0.24967 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0037517 | 286.8602 | 280.8257 | 240.1085 | 0.18262 | 1.5744 | 22.9956 | 17.5795 | 10.693 | 1.2909 | 0.21038 | 0.37081 | 0.92006 | 0.1329 | 19.2584 | 0.73693 | 28.1958 | 375.9568 | 0.0090763
13 | 12:09:06 | 114.5 | 0 | 12.158 | 0.2273 | 280.8845 | 3.7518 | 1.2032 | 13.7053 | 6 | 1.42 | 1 | 2.84 | 7.6747 | 13.7053 | 5.0963 | 397.9919 | 381.6801 | 0.93552 | 5.4144 | 6.081 | 35.1943 | 499.8809 | 1500.7568 | 55.8597 | 68.4637 | -2.0416 | 0.24967 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0037518 | 286.8553 | 280.8247 | 240.1211 | 0.18319 | 1.5739 | 22.9883 | 17.5739 | 10.69 | 1.2906 | 0.21046 | 0.37069 | 0.91993 | 0.13295 | 19.2304 | 0.73592 | 28.1981 | 375.9008 | 0.0091203
14 | 12:09:06 | 115 | 0 | 12.1945 | 0.22748 | 280.7082 | 3.7518 | 1.2023 | 13.6958 | 6 | 1.42 | 1 | 2.84 | 7.674 | 13.6958 | 5.0971 | 398.0561 | 381.7003 | 0.93423 | 5.4131 | 6.073 | 35.1879 | 499.8828 | 1500.7935 | 55.8646 | 68.4636 | -2.0416 | 0.24967 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0037518 | 286.8458 | 280.824 | 240.1269 | 0.18433 | 1.5729 | 22.9741 | 17.561 | 10.6849 | 1.2902 | 0.21061 | 0.3706 | 0.91957 | 0.13305 | 19.2183 | 0.73542 | 28.2115 | 375.9036 | 0.009152
15 | 12:09:07 | 115.5 | 0 | 12.1496 | 0.22755 | 281.1506 | 3.7502 | 1.2014 | 13.6858 | 6 | 1.42 | 1 | 2.84 | 7.6729 | 13.6858 | 5.0973 | 398.0814 | 381.7794 | 0.9338 | 5.4109 | 6.0706 | 35.176 | 499.8623 | 1500.8291 | 55.8505 | 68.4636 | -2.0416 | 0.24967 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0037502 | 286.8358 | 280.8229 | 240.1327 | 0.18637 | 1.5719 | 22.9593 | 17.5485 | 10.6794 | 1.2897 | 0.21067 | 0.37045 | 0.91925 | 0.13309 | 19.2486 | 0.73642 | 28.2188 | 376.004 | 0.0091182 | 12.1502 | 7.679 | 13.7372 | #DIV/0! | 112.0334 | 0 | 12.1502 | 0.2272 | 280.98 | 3.758 | 1.2056 | 13.7372 | 6 | 1.42 | 1 | 2.84 | 7.679 | 13.7372 | 5.0955 | 398.0825 | 381.7772 | 0.94041 | 5.4265 | 6.111 | 35.2625 | 499.8952 | 1500.5883 | 55.8679 | 68.4633 | -2.0416 | 0.24967 | 0.73333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.003758 | 286.8872 | 280.829 | 240.0941 | 0.17616 | 1.5771 | 23.0362 | 17.6097 | 10.7081 | 1.2922 | 0.21037 | 0.37152 | 0.92066 | 0.1329 | 19.2368 | 0.73598 | 28.1969 | 376.0016 | 0.0091116
Remark= | "12:09:16 Coolers: Tblock -> 10.00 C"
Remark= | "12:12:17 Flow: Fixed -> 500 umol/s"
Remark= | "12:12:55 Flow: Fixed -> 500 umol/s"
16 | 12:13:14 | 363.5 | 0 | 12.358 | 0.19678 | 266.9303 | 3.453 | 1.2632 | 15.5411 | 6 | 1.42 | 1 | 2.84 | 11.42 | 15.5411 | 10.0137 | 399.4589 | 383.0386 | 3.3167 | 7.4304 | 16.7616 | 37.5509 | 499.8925 | 1499.5773 | 310.1995 | 68.463 | -2.8854 | 0.25036 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.003453 | 288.6911 | 284.57 | 239.9324 | 0.54986 | 1.7719 | 25.8811 | 18.4507 | 13.4805 | 1.551 | 0.18403 | 0.50871 | 1.0423 | 0.1161 | 18.2748 | 0.69688 | 32.2 | 377.1642 | 0.010551
17 | 12:13:14 | 363.5 | 0 | 12.358 | 0.19678 | 266.9303 | 3.453 | 1.2632 | 15.5411 | 6 | 1.42 | 1 | 2.84 | 11.42 | 15.5411 | 10.0137 | 399.4589 | 383.0386 | 3.3167 | 7.4304 | 16.7616 | 37.5509 | 499.8925 | 1499.5773 | 310.1995 | 68.463 | -2.8854 | 0.25036 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.003453 | 288.6911 | 284.57 | 239.9324 | 0.54986 | 1.7719 | 25.8811 | 18.4507 | 13.4805 | 1.551 | 0.18403 | 0.50871 | 1.0423 | 0.1161 | 18.2748 | 0.69688 | 32.2 | 377.1642 | 0.010551
18 | 12:13:15 | 364 | 0 | 12.3709 | 0.19693 | 266.852 | 3.455 | 1.263 | 15.5427 | 6 | 1.42 | 1 | 2.84 | 11.4222 | 15.5427 | 10.0135 | 399.4315 | 382.9936 | 3.319 | 7.4354 | 16.7705 | 37.5705 | 499.8502 | 1499.5878 | 310.5336 | 68.4626 | -2.8854 | 0.25036 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.003455 | 288.6927 | 284.5722 | 239.934 | 0.54887 | 1.7721 | 25.884 | 18.4486 | 13.4824 | 1.5512 | 0.18416 | 0.50905 | 1.0422 | 0.11618 | 18.2694 | 0.69675 | 32.2184 | 377.113 | 0.010569
19 | 12:13:15 | 364.5 | 0 | 12.3506 | 0.19685 | 266.9826 | 3.4546 | 1.2634 | 15.5472 | 6 | 1.42 | 1 | 2.84 | 11.4245 | 15.5472 | 10.0134 | 399.4079 | 382.9947 | 3.3221 | 7.438 | 16.7836 | 37.5777 | 499.8551 | 1499.5571 | 310.799 | 68.4621 | -2.8854 | 0.25036 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0034546 | 288.6972 | 284.5745 | 239.9291 | 0.54872 | 1.7726 | 25.8916 | 18.4536 | 13.4859 | 1.5515 | 0.18409 | 0.50922 | 1.0423 | 0.11614 | 18.2782 | 0.69709 | 32.2178 | 377.1238 | 0.010551
20 | 12:13:16 | 365 | 0 | 12.3703 | 0.19689 | 266.809 | 3.4554 | 1.2634 | 15.55 | 6 | 1.42 | 1 | 2.84 | 11.4271 | 15.55 | 10.0141 | 399.4032 | 382.9668 | 3.3257 | 7.4423 | 16.7989 | 37.5933 | 499.873 | 1499.5065 | 311.0639 | 68.4625 | -2.8854 | 0.25036 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0034554 | 288.7 | 284.5771 | 239.921 | 0.54819 | 1.7729 | 25.8961 | 18.4538 | 13.4885 | 1.5518 | 0.18412 | 0.50952 | 1.0423 | 0.11616 | 18.2664 | 0.69669 | 32.2295 | 377.0865 | 0.010573
21 | 12:13:16 | 365.5 | 0 | 12.3725 | 0.19696 | 266.8314 | 3.4559 | 1.2632 | 15.5505 | 6 | 1.42 | 1 | 2.84 | 11.4299 | 15.5505 | 10.0141 | 399.4106 | 382.9713 | 3.3291 | 7.4464 | 16.813 | 37.6065 | 499.8771 | 1499.4802 | 311.3539 | 68.4622 | -2.8854 | 0.25036 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0034559 | 288.7005 | 284.5799 | 239.9168 | 0.54812 | 1.773 | 25.897 | 18.4507 | 13.4902 | 1.552 | 0.18418 | 0.50979 | 1.0422 | 0.1162 | 18.2679 | 0.69674 | 32.2447 | 377.0901 | 0.01058
22 | 12:13:17 | 366 | 0 | 12.4479 | 0.19715 | 266.2607 | 3.4582 | 1.2629 | 15.5504 | 6 | 1.42 | 1 | 2.84 | 11.4328 | 15.5504 | 10.0138 | 399.4727 | 382.9418 | 3.331 | 7.451 | 16.8194 | 37.6226 | 499.8705 | 1499.428 | 311.6754 | 68.462 | -2.8854 | 0.25036 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0034582 | 288.7004 | 284.5828 | 239.9085 | 0.54718 | 1.773 | 25.897 | 18.4461 | 13.4916 | 1.5521 | 0.18435 | 0.51011 | 1.042 | 0.1163 | 18.2287 | 0.6953 | 32.2657 | 377.0246 | 0.010653
23 | 12:13:17 | 366.5 | 0 | 12.493 | 0.1972 | 265.9064 | 3.4589 | 1.2628 | 15.5516 | 6 | 1.42 | 1 | 2.84 | 11.4355 | 15.5516 | 10.013 | 399.527 | 382.9417 | 3.3328 | 7.4537 | 16.8257 | 37.6294 | 499.8745 | 1499.321 | 311.8344 | 68.4621 | -2.8854 | 0.25036 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0034589 | 288.7016 | 284.5855 | 239.8914 | 0.54675 | 1.7731 | 25.899 | 18.4453 | 13.4936 | 1.5523 | 0.1844 | 0.51029 | 1.042 | 0.11633 | 18.2045 | 0.69438 | 32.2746 | 377.0031 | 0.010695
24 | 12:13:18 | 367 | 0 | 12.4021 | 0.19722 | 266.7436 | 3.4593 | 1.2628 | 15.5533 | 6 | 1.42 | 1 | 2.84 | 11.4379 | 15.5533 | 10.013 | 399.4796 | 383.0031 | 3.335 | 7.4562 | 16.8336 | 37.6359 | 499.8753 | 1499.3607 | 311.9058 | 68.4613 | -2.8854 | 0.25036 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0034593 | 288.7033 | 284.5879 | 239.8977 | 0.54671 | 1.7733 | 25.902 | 18.4458 | 13.4956 | 1.5525 | 0.18441 | 0.51046 | 1.0421 | 0.11634 | 18.2616 | 0.69645 | 32.2808 | 377.1077 | 0.010616
25 | 12:13:18 | 367.5 | 0 | 12.3324 | 0.19713 | 267.3204 | 3.4586 | 1.2631 | 15.5563 | 6 | 1.42 | 1 | 2.84 | 11.441 | 15.5563 | 10.0131 | 399.4277 | 383.0356 | 3.3375 | 7.4577 | 16.8426 | 37.6353 | 499.8924 | 1499.3223 | 312.2144 | 68.4611 | -2.8854 | 0.25036 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0034586 | 288.7063 | 284.591 | 239.8916 | 0.54702 | 1.7736 | 25.9071 | 18.4494 | 13.4986 | 1.5528 | 0.18433 | 0.51056 | 1.0423 | 0.11629 | 18.301 | 0.6979 | 32.2787 | 377.1734 | 0.010554
26 | 12:13:19 | 368 | 0 | 12.2991 | 0.19711 | 267.6092 | 3.4589 | 1.2633 | 15.5598 | 6 | 1.42 | 1 | 2.84 | 11.443 | 15.5598 | 10.0132 | 399.4066 | 383.0553 | 3.3396 | 7.4599 | 16.8512 | 37.6418 | 499.9262 | 1499.2295 | 312.2961 | 68.4616 | -2.8854 | 0.25036 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0034589 | 288.7098 | 284.593 | 239.8767 | 0.54648 | 1.774 | 25.9127 | 18.4528 | 13.5014 | 1.5531 | 0.18432 | 0.51072 | 1.0424 | 0.11628 | 18.321 | 0.69862 | 32.2802 | 377.2089 | 0.010525
27 | 12:13:19 | 368.5 | 0 | 12.3512 | 0.19728 | 267.2186 | 3.4622 | 1.2635 | 15.5638 | 6 | 1.42 | 1 | 2.84 | 11.445 | 15.5638 | 10.0124 | 399.4371 | 383.0218 | 3.3392 | 7.4635 | 16.847 | 37.6551 | 499.9231 | 1499.1532 | 312.4672 | 68.4619 | -2.8854 | 0.25036 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0034622 | 288.7138 | 284.595 | 239.8645 | 0.5443 | 1.7745 | 25.9192 | 18.4557 | 13.5044 | 1.5534 | 0.18447 | 0.51096 | 1.0425 | 0.11638 | 18.2943 | 0.69766 | 32.2899 | 377.1506 | 0.010575
28 | 12:13:20 | 369 | 0 | 12.3757 | 0.19733 | 267.0174 | 3.4644 | 1.264 | 15.5692 | 6 | 1.42 | 1 | 2.84 | 11.4463 | 15.5692 | 10.011 | 399.4507 | 383.0049 | 3.3388 | 7.4657 | 16.8435 | 37.6631 | 499.9139 | 1499.1431 | 312.5778 | 68.4617 | -2.8854 | 0.25036 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0034644 | 288.7192 | 284.5963 | 239.8629 | 0.54261 | 1.7751 | 25.9284 | 18.4626 | 13.5078 | 1.5538 | 0.18451 | 0.51112 | 1.0427 | 0.11641 | 18.2805 | 0.69716 | 32.2893 | 377.1221 | 0.010596
29 | 12:13:20 | 369.5 | 0 | 12.4784 | 0.19749 | 266.1857 | 3.4688 | 1.2646 | 15.577 | 6 | 1.42 | 1 | 2.84 | 11.4483 | 15.577 | 10.0109 | 399.5373 | 382.9664 | 3.3372 | 7.4693 | 16.8335 | 37.6764 | 499.9197 | 1499.047 | 312.7827 | 68.462 | -2.8854 | 0.25036 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0034688 | 288.727 | 284.5983 | 239.8475 | 0.53938 | 1.776 | 25.9411 | 18.4718 | 13.5126 | 1.5543 | 0.18465 | 0.51136 | 1.0429 | 0.11649 | 18.2236 | 0.69506 | 32.2919 | 377.0347 | 0.010687
30 | 12:13:21 | 370 | 0 | 12.4623 | 0.19742 | 266.2917 | 3.4698 | 1.2654 | 15.5846 | 6 | 1.42 | 1 | 2.84 | 11.4498 | 15.5846 | 10.0104 | 399.5276 | 382.9758 | 3.3372 | 7.4705 | 16.832 | 37.6789 | 499.9254 | 1499.021 | 312.8378 | 68.4623 | -2.8854 | 0.25036 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0034698 | 288.7346 | 284.5998 | 239.8434 | 0.538 | 1.7768 | 25.9537 | 18.4832 | 13.5172 | 1.5547 | 0.18459 | 0.51145 | 1.0433 | 0.11646 | 18.2309 | 0.69532 | 32.2811 | 377.0518 | 0.01067 | 12.3882 | 11.4349 | 15.5559 | #DIV/0! | 366.5334 | 0 | 12.3882 | 0.1971 | 266.7926 | 3.4591 | 1.2634 | 15.5559 | 6 | 1.42 | 1 | 2.84 | 11.4349 | 15.5559 | 10.0129 | 399.4558 | 382.9967 | 3.3305 | 7.4514 | 16.8145 | 37.6192 | 499.8908 | 1499.3541 | 311.6494 | 68.4621 | -2.8854 | 0.25036 | 0.97778 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0034591 | 288.7059 | 284.5849 | 239.8967 | 0.54614 | 1.7736 | 25.9061 | 18.4547 | 13.4954 | 1.5525 | 0.18431 | 0.51014 | 1.0424 | 0.11628 | 18.2652 | 0.69659 | 32.2562 | 377.1079 | 0.010596
Remark= | "12:13:29 Coolers: Tblock -> 15.00 C"
Remark= | "12:15:32 Flow: Fixed -> 500 umol/s"
31 | 12:16:28 | 558 | 0 | 12.6171 | 0.18043 | 253.0315 | 3.7977 | 1.5015 | 18.4805 | 6 | 1.42 | 1 | 2.84 | 15.6713 | 18.4805 | 15.0755 | 399.1671 | 382.2825 | 4.7338 | 9.2493 | 18.1375 | 35.4389 | 499.9436 | 1499.0532 | 129.5819 | 68.4594 | -2.8276 | 0.24316 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0037977 | 291.6305 | 288.8213 | 239.8485 | 0.51122 | 2.1347 | 31.1821 | 21.9328 | 17.0759 | 1.9539 | 0.16965 | 0.6332 | 1.3207 | 0.10695 | 17.3224 | 0.6619 | 32.4995 | 376.285 | 0.010897
32 | 12:16:29 | 558 | 0 | 12.6171 | 0.18043 | 253.0315 | 3.7977 | 1.5015 | 18.4805 | 6 | 1.42 | 1 | 2.84 | 15.6713 | 18.4805 | 15.0755 | 399.1671 | 382.2825 | 4.7338 | 9.2493 | 18.1375 | 35.4389 | 499.9436 | 1499.0532 | 129.5819 | 68.4594 | -2.8276 | 0.24316 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0037977 | 291.6305 | 288.8213 | 239.8485 | 0.51122 | 2.1347 | 31.1821 | 21.9328 | 17.0759 | 1.9539 | 0.16965 | 0.6332 | 1.3207 | 0.10695 | 17.3224 | 0.6619 | 32.4995 | 376.285 | 0.010897
33 | 12:16:29 | 558 | 0 | 12.6171 | 0.18043 | 253.0315 | 3.7977 | 1.5015 | 18.4805 | 6 | 1.42 | 1 | 2.84 | 15.6713 | 18.4805 | 15.0755 | 399.1671 | 382.2825 | 4.7338 | 9.2493 | 18.1375 | 35.4389 | 499.9436 | 1499.0532 | 129.5819 | 68.4594 | -2.8276 | 0.24316 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0037977 | 291.6305 | 288.8213 | 239.8485 | 0.51122 | 2.1347 | 31.1821 | 21.9328 | 17.0759 | 1.9539 | 0.16965 | 0.6332 | 1.3207 | 0.10695 | 17.3224 | 0.6619 | 32.4995 | 376.285 | 0.010897
34 | 12:16:29 | 558.5 | 0 | 12.6049 | 0.18031 | 253.092 | 3.7964 | 1.5019 | 18.4831 | 6 | 1.42 | 1 | 2.84 | 15.6724 | 18.4831 | 15.076 | 399.1782 | 382.3089 | 4.7339 | 9.2479 | 18.1367 | 35.4311 | 499.9491 | 1499.1383 | 143.1007 | 68.4594 | -2.8276 | 0.24316 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0037964 | 291.6331 | 288.8224 | 239.8621 | 0.51186 | 2.135 | 31.1871 | 21.9391 | 17.0777 | 1.9542 | 0.16954 | 0.63311 | 1.3211 | 0.10688 | 17.3265 | 0.66201 | 32.4878 | 376.3171 | 0.010882
35 | 12:16:30 | 559 | 0 | 12.568 | 0.1801 | 253.3085 | 3.7941 | 1.5027 | 18.4875 | 6 | 1.42 | 1 | 2.84 | 15.6732 | 18.4875 | 15.0754 | 399.144 | 382.321 | 4.7343 | 9.2454 | 18.1374 | 35.4196 | 499.9784 | 1499.2312 | 158.3364 | 68.4597 | -2.8276 | 0.24316 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8333 | 0.0037941 | 291.6375 | 288.8232 | 239.877 | 0.51278 | 2.1356 | 31.1955 | 21.9501 | 17.0804 | 1.9545 | 0.16936 | 0.63294 | 1.3216 | 0.10676 | 17.3414 | 0.66255 | 32.4673 | 376.3468 | 0.010842
36 | 12:16:30 | 559.5 | 0 | 12.5345 | 0.17998 | 253.532 | 3.793 | 1.5031 | 18.4893 | 6 | 1.42 | 1 | 2.84 | 15.6737 | 18.4893 | 15.0754 | 399.0916 | 382.3092 | 4.7326 | 9.2423 | 18.1303 | 35.407 | 499.9731 | 1499.3695 | 174.4804 | 68.4599 | -2.8276 | 0.24316 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83329 | 0.003793 | 291.6393 | 288.8237 | 239.8991 | 0.51348 | 2.1359 | 31.1989 | 21.9566 | 17.0815 | 1.9546 | 0.16926 | 0.63273 | 1.3219 | 0.1067 | 17.3568 | 0.66316 | 32.4522 | 376.3509 | 0.010808
37 | 12:16:31 | 560 | 0 | 12.5284 | 0.18 | 253.5853 | 3.7943 | 1.5035 | 18.4919 | 6 | 1.42 | 1 | 2.84 | 15.6743 | 18.4919 | 15.0759 | 399.0735 | 382.2985 | 4.7308 | 9.2419 | 18.1227 | 35.404 | 499.9907 | 1499.5581 | 190.9634 | 68.4601 | -2.8276 | 0.24316 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83332 | 0.0037943 | 291.6419 | 288.8243 | 239.9293 | 0.5129 | 2.1362 | 31.2039 | 21.9621 | 17.0831 | 1.9548 | 0.16927 | 0.6327 | 1.3221 | 0.10671 | 17.3605 | 0.66332 | 32.4465 | 376.3431 | 0.010801
38 | 12:16:31 | 560.5 | 0 | 12.5603 | 0.17998 | 253.2644 | 3.7953 | 1.504 | 18.4953 | 6 | 1.42 | 1 | 2.84 | 15.6745 | 18.4953 | 15.076 | 399.0986 | 382.2849 | 4.7286 | 9.2409 | 18.114 | 35.3996 | 499.9918 | 1499.6945 | 206.903 | 68.4596 | -2.8276 | 0.24316 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83332 | 0.0037953 | 291.6453 | 288.8245 | 239.9511 | 0.51221 | 2.1367 | 31.2108 | 21.9699 | 17.0849 | 1.955 | 0.16926 | 0.63263 | 1.3224 | 0.1067 | 17.3384 | 0.6625 | 32.4367 | 376.3143 | 0.010826
39 | 12:16:32 | 561 | 0 | 12.5221 | 0.17993 | 253.5832 | 3.7949 | 1.5043 | 18.4963 | 6 | 1.42 | 1 | 2.84 | 15.6761 | 18.4963 | 15.0764 | 399.0545 | 382.2866 | 4.7274 | 9.2393 | 18.1075 | 35.3897 | 499.9851 | 1499.8157 | 221.4575 | 68.4594 | -2.8276 | 0.24316 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83331 | 0.0037949 | 291.6463 | 288.8261 | 239.9705 | 0.51272 | 2.1368 | 31.2129 | 21.9736 | 17.0862 | 1.9552 | 0.16921 | 0.63252 | 1.3227 | 0.10667 | 17.3602 | 0.66333 | 32.4286 | 376.3342 | 0.01079
40 | 12:16:32 | 561.5 | 0 | 12.5061 | 0.17983 | 253.6437 | 3.7945 | 1.5049 | 18.4995 | 6 | 1.42 | 1 | 2.84 | 15.6764 | 18.4995 | 15.0767 | 399.0116 | 382.2623 | 4.7253 | 9.2369 | 18.099 | 35.3798 | 499.958 | 1499.9325 | 234.4281 | 68.4593 | -2.8276 | 0.24316 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83326 | 0.0037945 | 291.6495 | 288.8264 | 239.9892 | 0.51279 | 2.1372 | 31.2192 | 21.9823 | 17.088 | 1.9554 | 0.16912 | 0.63235 | 1.3231 | 0.10661 | 17.3643 | 0.66353 | 32.4133 | 376.3174 | 0.010772
41 | 12:16:33 | 562 | 0 | 12.4643 | 0.17969 | 253.9562 | 3.7931 | 1.5055 | 18.5025 | 6 | 1.42 | 1 | 2.84 | 15.6787 | 18.5025 | 15.0772 | 398.9799 | 382.2811 | 4.7243 | 9.2343 | 18.0924 | 35.3646 | 499.954 | 1500.0229 | 245.0608 | 68.4593 | -2.8276 | 0.24316 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83326 | 0.0037931 | 291.6525 | 288.8287 | 240.0037 | 0.5136 | 2.1376 | 31.225 | 21.9907 | 17.0906 | 1.9558 | 0.169 | 0.63218 | 1.3236 | 0.10653 | 17.3857 | 0.66432 | 32.3967 | 376.3562 | 0.010729
42 | 12:16:34 | 562.5 | 0 | 12.4908 | 0.17971 | 253.7023 | 3.7944 | 1.5058 | 18.5047 | 6 | 1.42 | 1 | 2.84 | 15.6797 | 18.5047 | 15.0773 | 398.9942 | 382.2625 | 4.7218 | 9.2336 | 18.0819 | 35.3595 | 499.9346 | 1500.2069 | 253.259 | 68.4591 | -2.8276 | 0.24316 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0037944 | 291.6547 | 288.8297 | 240.0331 | 0.5131 | 2.1379 | 31.2295 | 21.9959 | 17.0922 | 1.956 | 0.16901 | 0.63212 | 1.3238 | 0.10654 | 17.3682 | 0.66369 | 32.3906 | 376.3249 | 0.010751
43 | 12:16:34 | 563 | 0 | 12.5234 | 0.17973 | 253.4167 | 3.7955 | 1.5061 | 18.5072 | 6 | 1.42 | 1 | 2.84 | 15.681 | 18.5072 | 15.0778 | 399.0415 | 382.2691 | 4.7202 | 9.2336 | 18.0741 | 35.3566 | 499.9076 | 1500.2843 | 259.1008 | 68.459 | -2.8276 | 0.24316 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0037955 | 291.6572 | 288.831 | 240.0455 | 0.51248 | 2.1383 | 31.2343 | 22.0007 | 17.0941 | 1.9562 | 0.16903 | 0.63213 | 1.3241 | 0.10655 | 17.3487 | 0.66293 | 32.3866 | 376.3161 | 0.010778
44 | 12:16:35 | 563.5 | 0 | 12.5421 | 0.17973 | 253.2544 | 3.797 | 1.5067 | 18.5117 | 6 | 1.42 | 1 | 2.84 | 15.6821 | 18.5117 | 15.0788 | 399.0792 | 382.2844 | 4.7187 | 9.2337 | 18.0673 | 35.3547 | 499.9292 | 1500.3499 | 262.8351 | 68.4594 | -2.8276 | 0.24316 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.003797 | 291.6617 | 288.8321 | 240.056 | 0.51137 | 2.1389 | 31.243 | 22.0093 | 17.0969 | 1.9565 | 0.16903 | 0.63214 | 1.3244 | 0.10655 | 17.3376 | 0.66248 | 32.3787 | 376.3224 | 0.010791
45 | 12:16:35 | 564 | 0 | 12.5391 | 0.17959 | 253.2022 | 3.796 | 1.5074 | 18.5152 | 6 | 1.42 | 1 | 2.84 | 15.683 | 18.5152 | 15.079 | 399.0807 | 382.2895 | 4.7176 | 9.2315 | 18.062 | 35.3441 | 499.9137 | 1500.3965 | 265.0345 | 68.4591 | -2.8276 | 0.24316 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.003796 | 291.6652 | 288.833 | 240.0634 | 0.51168 | 2.1393 | 31.2499 | 22.0184 | 17.0991 | 1.9568 | 0.16891 | 0.63198 | 1.3248 | 0.10648 | 17.334 | 0.66233 | 32.3626 | 376.329 | 0.010783 | 12.549 | 15.6759 | 18.4951 | #DIV/0! | 560.6 | 0 | 12.549 | 0.17999 | 253.3757 | 3.7954 | 1.504 | 18.4951 | 6 | 1.42 | 1 | 2.84 | 15.6759 | 18.4951 | 15.0766 | 399.0886 | 382.287 | 4.7278 | 9.2406 | 18.1092 | 35.3951 | 499.9531 | 1499.6773 | 200.247 | 68.4594 | -2.8276 | 0.24316 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83326 | 0.0037954 | 291.6451 | 288.8259 | 239.9484 | 0.51231 | 2.1366 | 31.2104 | 21.9698 | 17.0855 | 1.9551 | 0.16926 | 0.63261 | 1.3225 | 0.1067 | 17.346 | 0.66279 | 32.4364 | 376.3218 | 0.010816
Remark= | "12:16:43 Coolers: Tblock -> 20.00 C"
Remark= | "12:18:21 Flow: Fixed -> 500 umol/s"
46 | 12:18:39 | 688.5 | 0 | 11.9723 | 0.15968 | 246.5662 | 3.6727 | 1.6236 | 20.6264 | 6 | 1.42 | 1 | 2.84 | 19.5857 | 20.6264 | 19.9788 | 400.5417 | 384.4772 | 7.5585 | 11.9141 | 22.6246 | 35.662 | 499.8974 | 1498.7535 | 321.3913 | 68.4583 | -2.939 | 0.22731 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0036727 | 293.7764 | 292.7357 | 239.8006 | 0.7928 | 2.4392 | 35.6304 | 23.7163 | 20.1061 | 2.3621 | 0.15118 | 0.81562 | 1.5464 | 0.095214 | 16.8795 | 0.6413 | 35.4467 | 378.7862 | 0.011204
47 | 12:18:39 | 688.5 | 0 | 11.9723 | 0.15968 | 246.5662 | 3.6727 | 1.6236 | 20.6264 | 6 | 1.42 | 1 | 2.84 | 19.5857 | 20.6264 | 19.9788 | 400.5417 | 384.4772 | 7.5585 | 11.9141 | 22.6246 | 35.662 | 499.8974 | 1498.7535 | 321.3913 | 68.4583 | -2.939 | 0.22731 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0036727 | 293.7764 | 292.7357 | 239.8006 | 0.7928 | 2.4392 | 35.6304 | 23.7163 | 20.1061 | 2.3621 | 0.15118 | 0.81562 | 1.5464 | 0.095214 | 16.8795 | 0.6413 | 35.4467 | 378.7862 | 0.011204
48 | 12:18:39 | 689 | 0 | 11.9558 | 0.15953 | 246.6244 | 3.6715 | 1.6244 | 20.634 | 6 | 1.42 | 1 | 2.84 | 19.5897 | 20.634 | 19.9784 | 400.5226 | 384.4774 | 7.5637 | 11.9182 | 22.6347 | 35.6657 | 499.8657 | 1498.7758 | 321.5274 | 68.4585 | -2.939 | 0.22731 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0036715 | 293.784 | 292.7397 | 239.8041 | 0.79295 | 2.4403 | 35.647 | 23.7287 | 20.1118 | 2.3629 | 0.15105 | 0.8159 | 1.547 | 0.095133 | 16.8835 | 0.64145 | 35.439 | 378.7941 | 0.011186
49 | 12:18:40 | 689.5 | 0 | 11.9402 | 0.1593 | 246.6087 | 3.6687 | 1.6254 | 20.6414 | 6 | 1.42 | 1 | 2.84 | 19.5935 | 20.6414 | 19.9781 | 400.5059 | 384.4804 | 7.5692 | 11.9204 | 22.6456 | 35.6635 | 499.8594 | 1498.7921 | 321.6489 | 68.4585 | -2.939 | 0.22731 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0036687 | 293.7914 | 292.7435 | 239.8067 | 0.79399 | 2.4415 | 35.6634 | 23.743 | 20.1175 | 2.3637 | 0.15084 | 0.81605 | 1.5477 | 0.095 | 16.8825 | 0.64141 | 35.4243 | 378.8046 | 0.011166
50 | 12:18:40 | 690 | 0 | 11.888 | 0.15907 | 246.9979 | 3.666 | 1.6264 | 20.6493 | 6 | 1.42 | 1 | 2.84 | 19.5974 | 20.6493 | 19.9787 | 400.4706 | 384.5096 | 7.5749 | 11.9227 | 22.6572 | 35.6619 | 499.8795 | 1498.7843 | 321.7188 | 68.4583 | -2.939 | 0.22731 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.003666 | 293.7993 | 292.7474 | 239.8055 | 0.79485 | 2.4426 | 35.6808 | 23.7581 | 20.1234 | 2.3646 | 0.15063 | 0.81621 | 1.5484 | 0.094869 | 16.9091 | 0.64237 | 35.4092 | 378.8586 | 0.011111
51 | 12:18:41 | 690.5 | 0 | 11.9272 | 0.15903 | 246.5171 | 3.6673 | 1.6274 | 20.6581 | 6 | 1.42 | 1 | 2.84 | 19.6019 | 20.6581 | 19.9788 | 400.4753 | 384.4667 | 7.5791 | 11.9285 | 22.6633 | 35.6691 | 499.8717 | 1498.8054 | 321.9273 | 68.4583 | -2.939 | 0.22731 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0036673 | 293.8081 | 292.7519 | 239.8089 | 0.79362 | 2.444 | 35.7001 | 23.7716 | 20.13 | 2.3656 | 0.1506 | 0.8166 | 1.549 | 0.094848 | 16.8761 | 0.64119 | 35.4057 | 378.7971 | 0.011148
52 | 12:18:41 | 691 | 0 | 11.9406 | 0.15897 | 246.3095 | 3.6678 | 1.6282 | 20.6659 | 6 | 1.42 | 1 | 2.84 | 19.6067 | 20.6659 | 19.9787 | 400.4758 | 384.451 | 7.5838 | 11.9337 | 22.6706 | 35.6741 | 499.8743 | 1498.8376 | 322.0044 | 68.4582 | -2.939 | 0.22731 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0036678 | 293.8159 | 292.7567 | 239.814 | 0.79303 | 2.4451 | 35.7172 | 23.7835 | 20.1363 | 2.3665 | 0.15054 | 0.81696 | 1.5495 | 0.094811 | 16.8619 | 0.64068 | 35.4022 | 378.775 | 0.01116
53 | 12:18:42 | 691.5 | 0 | 11.9094 | 0.15885 | 246.556 | 3.6674 | 1.6291 | 20.6738 | 6 | 1.42 | 1 | 2.84 | 19.6108 | 20.6738 | 19.9789 | 400.4566 | 384.4687 | 7.5882 | 11.9378 | 22.678 | 35.6772 | 499.855 | 1498.8993 | 321.9763 | 68.4577 | -2.939 | 0.22731 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0036674 | 293.8238 | 292.7608 | 239.8239 | 0.79284 | 2.4463 | 35.735 | 23.7972 | 20.1423 | 2.3674 | 0.15044 | 0.81724 | 1.5501 | 0.094745 | 16.8786 | 0.64129 | 35.3941 | 378.8075 | 0.011128
54 | 12:18:43 | 692 | 0 | 11.8806 | 0.15869 | 246.7577 | 3.666 | 1.63 | 20.6815 | 6 | 1.42 | 1 | 2.84 | 19.6148 | 20.6815 | 19.9788 | 400.452 | 384.499 | 7.5936 | 11.9415 | 22.6882 | 35.6791 | 499.8509 | 1498.9716 | 321.9843 | 68.4574 | -2.939 | 0.22731 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.003666 | 293.8315 | 292.7648 | 239.8354 | 0.79323 | 2.4475 | 35.7521 | 23.8105 | 20.1481 | 2.3682 | 0.15029 | 0.81749 | 1.5507 | 0.094654 | 16.8924 | 0.64176 | 35.3845 | 378.8515 | 0.011096
55 | 12:18:43 | 692.5 | 0 | 11.8984 | 0.1586 | 246.4805 | 3.6657 | 1.6308 | 20.6882 | 6 | 1.42 | 1 | 2.84 | 19.6189 | 20.6882 | 19.9788 | 400.4573 | 384.4834 | 7.5971 | 11.9447 | 22.6929 | 35.6793 | 499.8583 | 1499.0496 | 321.8156 | 68.4571 | -2.939 | 0.22731 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0036657 | 293.8382 | 292.7689 | 239.8479 | 0.79315 | 2.4485 | 35.7671 | 23.8224 | 20.1536 | 2.369 | 0.15021 | 0.8177 | 1.5513 | 0.094599 | 16.8733 | 0.64107 | 35.3768 | 378.8274 | 0.011111
56 | 12:18:44 | 693 | 0 | 11.9252 | 0.15849 | 246.1265 | 3.6654 | 1.6317 | 20.6958 | 6 | 1.42 | 1 | 2.84 | 19.6235 | 20.6958 | 19.9795 | 400.4969 | 384.4919 | 7.6021 | 11.9491 | 22.7013 | 35.682 | 499.8913 | 1499.0966 | 321.7469 | 68.4566 | -2.939 | 0.22731 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0036654 | 293.8458 | 292.7735 | 239.8554 | 0.79299 | 2.4497 | 35.7841 | 23.835 | 20.1596 | 2.3699 | 0.15011 | 0.81799 | 1.5519 | 0.094539 | 16.849 | 0.64013 | 35.3703 | 378.8232 | 0.011134
57 | 12:18:44 | 693.5 | 0 | 11.9734 | 0.15838 | 245.5377 | 3.6657 | 1.6328 | 20.7054 | 6 | 1.42 | 1 | 2.84 | 19.6275 | 20.7054 | 19.9807 | 400.5558 | 384.4934 | 7.606 | 11.9531 | 22.7072 | 35.6851 | 499.9055 | 1499.0651 | 321.6536 | 68.4565 | -2.939 | 0.22731 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0036657 | 293.8554 | 292.7775 | 239.8504 | 0.79205 | 2.4511 | 35.8052 | 23.8521 | 20.1664 | 2.3709 | 0.15002 | 0.81827 | 1.5526 | 0.094477 | 16.8086 | 0.6386 | 35.359 | 378.8019 | 0.011176
58 | 12:18:45 | 694 | 0 | 11.9924 | 0.15831 | 245.2778 | 3.6656 | 1.6335 | 20.7118 | 6 | 1.42 | 1 | 2.84 | 19.6308 | 20.7118 | 19.9797 | 400.5761 | 384.4905 | 7.6108 | 11.9578 | 22.7167 | 35.6919 | 499.8956 | 1499.0505 | 321.6552 | 68.4568 | -2.939 | 0.22731 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0036656 | 293.8618 | 292.7808 | 239.8481 | 0.79165 | 2.4521 | 35.8193 | 23.8615 | 20.1713 | 2.3716 | 0.14995 | 0.81859 | 1.553 | 0.094436 | 16.7909 | 0.63793 | 35.3568 | 378.7899 | 0.011194
59 | 12:18:45 | 694.5 | 0 | 11.957 | 0.15815 | 245.5441 | 3.6635 | 1.6341 | 20.7171 | 6 | 1.42 | 1 | 2.84 | 19.6343 | 20.7171 | 19.9794 | 400.5589 | 384.5167 | 7.6158 | 11.9603 | 22.7266 | 35.6914 | 499.8923 | 1499.1007 | 321.4903 | 68.4562 | -2.939 | 0.22731 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0036635 | 293.8671 | 292.7843 | 239.8561 | 0.79263 | 2.4529 | 35.8312 | 23.8708 | 20.1757 | 2.3723 | 0.1498 | 0.81876 | 1.5535 | 0.094343 | 16.809 | 0.63858 | 35.3489 | 378.8329 | 0.011157
60 | 12:18:46 | 695 | 0 | 11.9297 | 0.15806 | 245.7654 | 3.663 | 1.6347 | 20.7229 | 6 | 1.42 | 1 | 2.84 | 19.6376 | 20.7229 | 19.9792 | 400.5325 | 384.5234 | 7.6203 | 11.9642 | 22.7353 | 35.6955 | 499.8971 | 1499.1163 | 321.4299 | 68.4563 | -2.939 | 0.22731 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.003663 | 293.8729 | 292.7876 | 239.8586 | 0.79259 | 2.4537 | 35.8439 | 23.8797 | 20.1802 | 2.3729 | 0.14973 | 0.81902 | 1.5539 | 0.094294 | 16.8242 | 0.63914 | 35.3454 | 378.8526 | 0.01113 | 11.9375 | 19.6106 | 20.6732 | #DIV/0! | 691.5334 | 0 | 11.9375 | 0.15885 | 246.2824 | 3.6673 | 1.629 | 20.6732 | 6 | 1.42 | 1 | 2.84 | 19.6106 | 20.6732 | 19.979 | 400.508 | 384.4871 | 7.5881 | 11.9374 | 22.6778 | 35.676 | 499.8794 | 1498.9235 | 321.6908 | 68.4575 | -2.939 | 0.22731 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0036673 | 293.8232 | 292.7606 | 239.8277 | 0.79301 | 2.4462 | 35.7338 | 23.7965 | 20.1419 | 2.3673 | 0.15044 | 0.8172 | 1.5501 | 0.094745 | 16.8599 | 0.64055 | 35.394 | 378.8126 | 0.011154
Remark= | "12:18:55 Coolers: Tblock -> 25.00 C"
Remark= | "12:21:04 Flow: Fixed -> 500 umol/s"
61 | 12:21:20 | 849.5 | 0 | 11.0733 | 0.1325 | 231.3385 | 3.6059 | 1.8926 | 23.814 | 6 | 1.42 | 1 | 2.84 | 24.1403 | 23.814 | 25.038 | 399.2896 | 384.337 | 11.3565 | 15.6164 | 25.7408 | 35.3965 | 499.9483 | 1499.7378 | 272.7554 | 68.459 | -2.7698 | 0.18642 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0036059 | 296.964 | 297.2903 | 239.958 | 1.0042 | 2.9617 | 43.262 | 27.6456 | 23.9772 | 2.9909 | 0.12659 | 1.0691 | 1.9218 | 0.07963 | 15.8372 | 0.60192 | 37.0938 | 379.0733 | 0.010836
62 | 12:21:20 | 849.5 | 0 | 11.0733 | 0.1325 | 231.3385 | 3.6059 | 1.8926 | 23.814 | 6 | 1.42 | 1 | 2.84 | 24.1403 | 23.814 | 25.038 | 399.2896 | 384.337 | 11.3565 | 15.6164 | 25.7408 | 35.3965 | 499.9483 | 1499.7378 | 272.7554 | 68.459 | -2.7698 | 0.18642 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0036059 | 296.964 | 297.2903 | 239.958 | 1.0042 | 2.9617 | 43.262 | 27.6456 | 23.9772 | 2.9909 | 0.12659 | 1.0691 | 1.9218 | 0.07963 | 15.8372 | 0.60192 | 37.0938 | 379.0733 | 0.010836
63 | 12:21:21 | 850 | 0 | 11.0489 | 0.13244 | 231.5882 | 3.6067 | 1.8938 | 23.8208 | 6 | 1.42 | 1 | 2.84 | 24.1426 | 23.8208 | 25.038 | 399.2774 | 384.3534 | 11.356 | 15.617 | 25.7362 | 35.3928 | 499.9384 | 1499.7316 | 272.2343 | 68.4589 | -2.7698 | 0.18642 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0036067 | 296.9708 | 297.2926 | 239.957 | 1.0032 | 2.9629 | 43.2798 | 27.6628 | 23.9817 | 2.9917 | 0.12654 | 1.0691 | 1.9226 | 0.079597 | 15.8543 | 0.60254 | 37.0787 | 379.1013 | 0.010807
64 | 12:21:21 | 850.5 | 0 | 11.0608 | 0.1324 | 231.3866 | 3.6076 | 1.8948 | 23.8264 | 6 | 1.42 | 1 | 2.84 | 24.1451 | 23.8264 | 25.0387 | 399.2821 | 384.3431 | 11.3541 | 15.6163 | 25.7281 | 35.3862 | 499.9272 | 1499.7073 | 271.6451 | 68.4593 | -2.7698 | 0.18642 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0036076 | 296.9764 | 297.2951 | 239.9532 | 1.0022 | 2.9639 | 43.2942 | 27.678 | 23.9858 | 2.9924 | 0.1265 | 1.0691 | 1.9233 | 0.079575 | 15.8406 | 0.60203 | 37.064 | 379.0853 | 0.010814
65 | 12:21:22 | 851 | 0 | 11.0935 | 0.13235 | 230.9119 | 3.6082 | 1.8958 | 23.8318 | 6 | 1.42 | 1 | 2.84 | 24.1482 | 23.8318 | 25.0391 | 399.3066 | 384.3278 | 11.3521 | 15.6151 | 25.7191 | 35.3773 | 499.9139 | 1499.6738 | 271.2475 | 68.4602 | -2.7698 | 0.18642 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0036082 | 296.9818 | 297.2982 | 239.9478 | 1.0015 | 2.9648 | 43.3075 | 27.6925 | 23.99 | 2.9932 | 0.12646 | 1.069 | 1.9242 | 0.079545 | 15.8083 | 0.60082 | 37.0489 | 379.0545 | 0.010843
66 | 12:21:22 | 851.5 | 0 | 11.09 | 0.1323 | 230.8942 | 3.6087 | 1.8968 | 23.8366 | 6 | 1.42 | 1 | 2.84 | 24.1514 | 23.8366 | 25.0394 | 399.302 | 384.3269 | 11.3498 | 15.6134 | 25.7091 | 35.3669 | 499.9066 | 1499.6346 | 270.8129 | 68.4607 | -2.7698 | 0.18642 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0036087 | 296.9866 | 297.3014 | 239.9415 | 1.001 | 2.9657 | 43.3198 | 27.7065 | 23.994 | 2.9939 | 0.12641 | 1.0689 | 1.925 | 0.079514 | 15.8072 | 0.60078 | 37.0334 | 379.0553 | 0.010835
67 | 12:21:23 | 852 | 0 | 11.0648 | 0.13233 | 231.2507 | 3.6107 | 1.8974 | 23.84 | 6 | 1.42 | 1 | 2.84 | 24.1545 | 23.84 | 25.0392 | 399.2943 | 384.348 | 11.3468 | 15.6129 | 25.6975 | 35.3593 | 499.8927 | 1499.6465 | 270.4742 | 68.4607 | -2.7698 | 0.18642 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0036107 | 296.99 | 297.3045 | 239.9434 | 0.99988 | 2.9663 | 43.3287 | 27.7158 | 23.9973 | 2.9945 | 0.12644 | 1.0689 | 1.9256 | 0.079532 | 15.8316 | 0.60167 | 37.0255 | 379.0883 | 0.010807
68 | 12:21:23 | 852.5 | 0 | 11.057 | 0.13234 | 231.3712 | 3.6123 | 1.898 | 23.843 | 6 | 1.42 | 1 | 2.84 | 24.1572 | 23.843 | 25.0388 | 399.3005 | 384.362 | 11.3438 | 15.612 | 25.6867 | 35.3515 | 499.8675 | 1499.6361 | 269.9955 | 68.4604 | -2.7698 | 0.18642 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0036123 | 296.993 | 297.3072 | 239.9418 | 0.99901 | 2.9668 | 43.3366 | 27.7245 | 24.0001 | 2.995 | 0.12645 | 1.0688 | 1.9262 | 0.079541 | 15.8398 | 0.60196 | 37.0172 | 379.1061 | 0.010796
69 | 12:21:24 | 853 | 0 | 11.0446 | 0.13233 | 231.509 | 3.6136 | 1.8989 | 23.8476 | 6 | 1.42 | 1 | 2.84 | 24.1601 | 23.8476 | 25.0385 | 399.2963 | 384.371 | 11.3407 | 15.6108 | 25.6751 | 35.3424 | 499.8298 | 1499.5962 | 269.4959 | 68.4603 | -2.7698 | 0.18642 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0036136 | 296.9976 | 297.3101 | 239.9354 | 0.99801 | 2.9677 | 43.3487 | 27.7379 | 24.0038 | 2.9957 | 0.12644 | 1.0687 | 1.9269 | 0.079531 | 15.8492 | 0.60231 | 37.0037 | 379.1209 | 0.01078
70 | 12:21:24 | 853.5 | 0 | 11.0284 | 0.13226 | 231.6538 | 3.6139 | 1.9 | 23.8524 | 6 | 1.42 | 1 | 2.84 | 24.1631 | 23.8524 | 25.0386 | 399.2941 | 384.3877 | 11.3379 | 15.6083 | 25.6643 | 35.3309 | 499.8227 | 1499.547 | 268.9972 | 68.4609 | -2.7698 | 0.18642 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0036139 | 297.0024 | 297.3131 | 239.9275 | 0.99751 | 2.9685 | 43.3609 | 27.7526 | 24.0078 | 2.9964 | 0.12638 | 1.0686 | 1.9278 | 0.079495 | 15.8592 | 0.60266 | 36.9865 | 379.1453 | 0.010759
71 | 12:21:25 | 854 | 0 | 11.0479 | 0.1322 | 231.326 | 3.6146 | 1.9012 | 23.8587 | 6 | 1.42 | 1 | 2.84 | 24.1661 | 23.8587 | 25.0388 | 399.3015 | 384.3715 | 11.3349 | 15.6062 | 25.6528 | 35.3197 | 499.8238 | 1499.5686 | 268.5308 | 68.4611 | -2.7698 | 0.18642 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0036146 | 297.0087 | 297.3161 | 239.931 | 0.99673 | 2.9696 | 43.3771 | 27.7709 | 24.0124 | 2.9972 | 0.12632 | 1.0684 | 1.9288 | 0.079458 | 15.8368 | 0.60183 | 36.9667 | 379.1199 | 0.010772
72 | 12:21:25 | 854.5 | 0 | 11.0393 | 0.13221 | 231.455 | 3.6173 | 1.9024 | 23.8654 | 6 | 1.42 | 1 | 2.84 | 24.1695 | 23.8654 | 25.0381 | 399.31 | 384.3895 | 11.3322 | 15.6066 | 25.6416 | 35.3132 | 499.8383 | 1499.4908 | 267.9651 | 68.4608 | -2.7698 | 0.18642 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0036173 | 297.0154 | 297.3195 | 239.9185 | 0.99474 | 2.9708 | 43.3948 | 27.7882 | 24.0174 | 2.9981 | 0.12633 | 1.0684 | 1.9297 | 0.079466 | 15.8456 | 0.60214 | 36.9528 | 379.1419 | 0.010759
73 | 12:21:26 | 855 | 0 | 10.994 | 0.13214 | 231.9628 | 3.6179 | 1.9037 | 23.8723 | 6 | 1.42 | 1 | 2.84 | 24.1729 | 23.8723 | 25.0386 | 399.2939 | 384.4271 | 11.3298 | 15.6049 | 25.6309 | 35.3023 | 499.8341 | 1499.4884 | 267.2834 | 68.4607 | -2.7698 | 0.18642 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0036179 | 297.0223 | 297.3229 | 239.9181 | 0.99394 | 2.9721 | 43.4128 | 27.8079 | 24.0226 | 2.999 | 0.12626 | 1.0683 | 1.9307 | 0.079422 | 15.8803 | 0.6034 | 36.9322 | 379.2011 | 0.010708
74 | 12:21:26 | 855.5 | 0 | 11.0318 | 0.13209 | 231.4364 | 3.6193 | 1.9051 | 23.8793 | 6 | 1.42 | 1 | 2.84 | 24.1756 | 23.8793 | 25.0388 | 399.3317 | 384.4189 | 11.3274 | 15.6042 | 25.6209 | 35.2944 | 499.8334 | 1499.4973 | 266.5618 | 68.4599 | -2.7698 | 0.18642 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0036193 | 297.0293 | 297.3256 | 239.9196 | 0.99262 | 2.9733 | 43.4318 | 27.8276 | 24.0275 | 2.9999 | 0.12622 | 1.0683 | 1.9317 | 0.079397 | 15.8441 | 0.60204 | 36.9136 | 379.1749 | 0.01074
75 | 12:21:27 | 856 | 0 | 11.0171 | 0.13203 | 231.5642 | 3.6204 | 1.9064 | 23.8868 | 6 | 1.42 | 1 | 2.84 | 24.1785 | 23.8868 | 25.0395 | 399.3308 | 384.436 | 11.326 | 15.6038 | 25.6132 | 35.2873 | 499.8629 | 1499.5082 | 265.488 | 68.4594 | -2.7698 | 0.18642 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0036204 | 297.0368 | 297.3285 | 239.9213 | 0.99144 | 2.9747 | 43.4517 | 27.8478 | 24.0326 | 3.0009 | 0.12617 | 1.0682 | 1.9326 | 0.079362 | 15.8527 | 0.60235 | 36.8946 | 379.199 | 0.010719 | 11.051 | 24.1577 | 23.8459 | #DIV/0! | 852.5334 | 0 | 11.051 | 0.1323 | 231.3991 | 3.6122 | 1.8986 | 23.8459 | 6 | 1.42 | 1 | 2.84 | 24.1577 | 23.8459 | 25.0387 | 399.3 | 384.3691 | 11.343 | 15.611 | 25.6838 | 35.3478 | 499.8792 | 1499.6135 | 269.7495 | 68.4601 | -2.7698 | 0.18642 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0036122 | 296.9959 | 297.3077 | 239.9381 | 0.99868 | 2.9674 | 43.3446 | 27.7336 | 24.0018 | 2.9953 | 0.12641 | 1.0687 | 1.9266 | 0.079513 | 15.8416 | 0.60202 | 37.007 | 379.116 | 0.010787
Remark= | "12:21:35 Coolers: Tblock -> 30.00 C"
Remark= | "12:25:33 Flow: Fixed -> 500 umol/s"
76 | 12:26:00 | 1129.5 | 0 | 9.5796 | 0.094384 | 201.8053 | 3.3488 | 2.4129 | 28.2499 | 6 | 1.42 | 1 | 2.84 | 29.0955 | 28.2499 | 30.114 | 399.0296 | 385.9794 | 17.0629 | 20.9982 | 28.8861 | 35.5482 | 499.8591 | 1499.3925 | 302.9445 | 68.4623 | -2.5013 | 0.14972 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0033488 | 301.3999 | 302.2455 | 239.9028 | 1.2058 | 3.8505 | 56.2424 | 35.2442 | 28.6727 | 3.9462 | 0.091348 | 1.4376 | 2.5086 | 0.057358 | 13.8161 | 0.52284 | 36.9144 | 381.4257 | 0.0092711
77 | 12:26:00 | 1129.5 | 0 | 9.5796 | 0.094384 | 201.8053 | 3.3488 | 2.4129 | 28.2499 | 6 | 1.42 | 1 | 2.84 | 29.0955 | 28.2499 | 30.114 | 399.0296 | 385.9794 | 17.0629 | 20.9982 | 28.8861 | 35.5482 | 499.8591 | 1499.3925 | 302.9445 | 68.4623 | -2.5013 | 0.14972 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0033488 | 301.3999 | 302.2455 | 239.9028 | 1.2058 | 3.8505 | 56.2424 | 35.2442 | 28.6727 | 3.9462 | 0.091348 | 1.4376 | 2.5086 | 0.057358 | 13.8161 | 0.52284 | 36.9144 | 381.4257 | 0.0092711
78 | 12:26:01 | 1130 | 0 | 9.5765 | 0.094293 | 201.7084 | 3.3462 | 2.4133 | 28.2523 | 6 | 1.42 | 1 | 2.84 | 29.0963 | 28.2523 | 30.1148 | 399.03 | 385.9844 | 17.0682 | 21.0005 | 28.8937 | 35.5505 | 499.8498 | 1499.4161 | 302.9616 | 68.4624 | -2.5013 | 0.14972 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0033462 | 301.4023 | 302.2463 | 239.9066 | 1.207 | 3.851 | 56.25 | 35.2495 | 28.6743 | 3.9466 | 0.091263 | 1.4377 | 2.5088 | 0.057304 | 13.8094 | 0.52258 | 36.9112 | 381.4322 | 0.0092672
79 | 12:26:01 | 1130.5 | 0 | 9.6384 | 0.094317 | 200.6629 | 3.3468 | 2.4131 | 28.2528 | 6 | 1.42 | 1 | 2.84 | 29.0973 | 28.2528 | 30.1146 | 399.0658 | 385.9453 | 17.0715 | 21.0047 | 28.8975 | 35.5553 | 499.8316 | 1499.4415 | 303.0081 | 68.4621 | -2.5013 | 0.14972 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0033468 | 301.4028 | 302.2473 | 239.9106 | 1.2068 | 3.8511 | 56.2519 | 35.2472 | 28.675 | 3.9468 | 0.091285 | 1.438 | 2.5087 | 0.057318 | 13.7378 | 0.51993 | 36.9176 | 381.3636 | 0.0093304
80 | 12:26:02 | 1131 | 0 | 9.6383 | 0.094253 | 200.5621 | 3.3449 | 2.4132 | 28.2542 | 6 | 1.42 | 1 | 2.84 | 29.0986 | 28.2542 | 30.1149 | 399.0736 | 385.9532 | 17.0764 | 21.0074 | 28.9035 | 35.5572 | 499.8018 | 1499.3947 | 302.989 | 68.4618 | -2.5013 | 0.14972 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.833 | 0.0033449 | 301.4042 | 302.2486 | 239.9031 | 1.2077 | 3.8514 | 56.2568 | 35.2494 | 28.6764 | 3.9471 | 0.091225 | 1.4382 | 2.5089 | 0.05728 | 13.7308 | 0.51965 | 36.9177 | 381.3716 | 0.0093301
81 | 12:26:02 | 1131.5 | 0 | 9.6515 | 0.094151 | 200.1504 | 3.3418 | 2.4136 | 28.2557 | 6 | 1.42 | 1 | 2.84 | 29.1 | 28.2557 | 30.1156 | 399.0733 | 385.9387 | 17.0799 | 21.0074 | 28.9071 | 35.5542 | 499.8094 | 1499.3105 | 303.1584 | 68.4619 | -2.5013 | 0.14972 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83302 | 0.0033418 | 301.4057 | 302.25 | 239.8897 | 1.2091 | 3.8518 | 56.2617 | 35.2543 | 28.6779 | 3.9474 | 0.09113 | 1.4382 | 2.5092 | 0.05722 | 13.7027 | 0.51861 | 36.9119 | 381.3508 | 0.009342
82 | 12:26:03 | 1132 | 0 | 9.6107 | 0.094049 | 200.6967 | 3.3384 | 2.4136 | 28.2563 | 6 | 1.42 | 1 | 2.84 | 29.1014 | 28.2563 | 30.1157 | 399.0506 | 385.9663 | 17.0848 | 21.0083 | 28.9131 | 35.5529 | 499.8006 | 1499.2848 | 303.1329 | 68.4618 | -2.5013 | 0.14972 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.833 | 0.0033384 | 301.4063 | 302.2514 | 239.8856 | 1.211 | 3.8519 | 56.2636 | 35.2552 | 28.6788 | 3.9476 | 0.091034 | 1.4383 | 2.5094 | 0.05716 | 13.7401 | 0.51999 | 36.9101 | 381.3978 | 0.0093009
83 | 12:26:03 | 1132.5 | 0 | 9.5702 | 0.093998 | 201.3221 | 3.3364 | 2.4135 | 28.2557 | 6 | 1.42 | 1 | 2.84 | 29.1023 | 28.2557 | 30.1156 | 399.0235 | 385.9887 | 17.0881 | 21.0093 | 28.9172 | 35.5527 | 499.8029 | 1499.2561 | 303.0693 | 68.4617 | -2.5013 | 0.14972 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.833 | 0.0033364 | 301.4057 | 302.2523 | 239.881 | 1.2122 | 3.8518 | 56.2619 | 35.2526 | 28.679 | 3.9477 | 0.090987 | 1.4383 | 2.5093 | 0.05713 | 13.7829 | 0.52158 | 36.9119 | 381.4395 | 0.0092611
84 | 12:26:04 | 1133 | 0 | 9.5763 | 0.094031 | 201.2687 | 3.3376 | 2.4135 | 28.257 | 6 | 1.42 | 1 | 2.84 | 29.1034 | 28.257 | 30.116 | 399.027 | 385.9844 | 17.0899 | 21.0124 | 28.9184 | 35.5558 | 499.8024 | 1499.2009 | 303.0795 | 68.4621 | -2.5013 | 0.14972 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.833 | 0.0033376 | 301.407 | 302.2534 | 239.8721 | 1.2114 | 3.8521 | 56.2657 | 35.2532 | 28.6802 | 3.9479 | 0.091017 | 1.4386 | 2.5094 | 0.057149 | 13.7793 | 0.52144 | 36.9155 | 381.4323 | 0.0092681
85 | 12:26:04 | 1133.5 | 0 | 9.603 | 0.094033 | 200.7978 | 3.3379 | 2.4136 | 28.2586 | 6 | 1.42 | 1 | 2.84 | 29.1048 | 28.2586 | 30.116 | 399.0373 | 385.963 | 17.0932 | 21.0159 | 28.9217 | 35.5588 | 499.8185 | 1499.16 | 303.1962 | 68.4622 | -2.5013 | 0.14972 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83303 | 0.0033379 | 301.4086 | 302.2548 | 239.8656 | 1.2112 | 3.8524 | 56.2708 | 35.2549 | 28.6817 | 3.9483 | 0.091019 | 1.4388 | 2.5095 | 0.05715 | 13.7471 | 0.52025 | 36.918 | 381.3983 | 0.0092953
86 | 12:26:05 | 1134 | 0 | 9.5579 | 0.094041 | 201.5832 | 3.3385 | 2.4139 | 28.2602 | 6 | 1.42 | 1 | 2.84 | 29.1064 | 28.2602 | 30.1151 | 398.9899 | 385.9696 | 17.0944 | 21.0177 | 28.921 | 35.5587 | 499.8254 | 1499.1377 | 303.4258 | 68.4621 | -2.5013 | 0.14972 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0033385 | 301.4102 | 302.2564 | 239.862 | 1.2108 | 3.8528 | 56.2761 | 35.2584 | 28.6833 | 3.9487 | 0.091027 | 1.4389 | 2.5097 | 0.057155 | 13.8008 | 0.52228 | 36.9177 | 381.4262 | 0.009251
87 | 12:26:05 | 1134.5 | 0 | 9.5353 | 0.093956 | 201.817 | 3.3369 | 2.4148 | 28.2645 | 6 | 1.42 | 1 | 2.84 | 29.108 | 28.2645 | 30.1152 | 398.9623 | 385.97 | 17.0962 | 21.0177 | 28.9215 | 35.5554 | 499.8292 | 1499.1115 | 303.5058 | 68.4623 | -2.5013 | 0.14972 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0033369 | 301.4145 | 302.258 | 239.8578 | 1.2112 | 3.8538 | 56.2901 | 35.2725 | 28.6863 | 3.9493 | 0.090947 | 1.4389 | 2.5104 | 0.057105 | 13.8169 | 0.52288 | 36.9059 | 381.4373 | 0.0092259
88 | 12:26:06 | 1135 | 0 | 9.5273 | 0.093834 | 201.7506 | 3.3341 | 2.4158 | 28.2685 | 6 | 1.42 | 1 | 2.84 | 29.1094 | 28.2685 | 30.1146 | 398.9607 | 385.9795 | 17.0982 | 21.0163 | 28.9226 | 35.5503 | 499.8412 | 1499.1326 | 303.5575 | 68.4623 | -2.5013 | 0.14972 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0033341 | 301.4185 | 302.2594 | 239.8612 | 1.2123 | 3.8546 | 56.3031 | 35.2868 | 28.6889 | 3.9499 | 0.090833 | 1.4388 | 2.5111 | 0.057033 | 13.8123 | 0.5227 | 36.8918 | 381.4507 | 0.0092143
89 | 12:26:06 | 1135.5 | 0 | 9.5705 | 0.093841 | 201.0211 | 3.3352 | 2.4164 | 28.2717 | 6 | 1.42 | 1 | 2.84 | 29.1107 | 28.2717 | 30.1137 | 399.0117 | 385.9781 | 17.0994 | 21.0188 | 28.9222 | 35.5515 | 499.8363 | 1499.1351 | 303.4593 | 68.4617 | -2.5013 | 0.14972 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0033352 | 301.4217 | 302.2607 | 239.8616 | 1.2115 | 3.8554 | 56.3143 | 35.2955 | 28.6912 | 3.9505 | 0.090839 | 1.439 | 2.5115 | 0.057037 | 13.7622 | 0.52081 | 36.8885 | 381.4288 | 0.0092557
90 | 12:26:07 | 1136 | 0 | 9.6774 | 0.093936 | 199.3414 | 3.3393 | 2.417 | 28.2759 | 6 | 1.42 | 1 | 2.84 | 29.1118 | 28.2759 | 30.1135 | 399.1245 | 385.9607 | 17.0993 | 21.0236 | 28.9202 | 35.5573 | 499.8355 | 1499.1517 | 303.5846 | 68.4617 | -2.5013 | 0.14972 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0033393 | 301.4259 | 302.2618 | 239.8643 | 1.2089 | 3.8563 | 56.328 | 35.3044 | 28.6939 | 3.9511 | 0.090929 | 1.4393 | 2.5118 | 0.057093 | 13.6472 | 0.51648 | 36.8894 | 381.3605 | 0.0093611 | 9.5928 | 29.1028 | 28.2589 | #DIV/0! | 1132.5334 | 0 | 9.5928 | 0.0941 | 201.0862 | 3.3408 | 2.4141 | 28.2589 | 6 | 1.42 | 1 | 2.84 | 29.1028 | 28.2589 | 30.1149 | 399.0326 | 385.9694 | 17.0844 | 21.0104 | 28.9101 | 35.5538 | 499.8269 | 1499.2612 | 303.2011 | 68.462 | -2.5013 | 0.14972 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0033408 | 301.4089 | 302.2528 | 239.8818 | 1.2095 | 3.8525 | 56.2719 | 35.2615 | 28.6808 | 3.9481 | 0.091082 | 1.4384 | 2.5097 | 0.05719 | 13.7668 | 0.52099 | 36.9091 | 381.4094 | 0.009283
Remark= | "12:26:15 Coolers: Tblock -> 35.00 C"
Remark= | "12:30:17 Flow: Fixed -> 500 umol/s"
91 | 12:30:56 | 1425.5 | 0 | 7.7191 | 0.069424 | 189.0287 | 2.7081 | 2.608 | 30.9551 | 6 | 1.42 | 1 | 2.84 | 33.442 | 30.9551 | 34.9995 | 399.601 | 389.071 | 24.474 | 27.6347 | 32.3514 | 36.5295 | 499.8729 | 1499.0889 | 258.5279 | 68.459 | -1.7686 | 0.063958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0027081 | 304.1051 | 306.592 | 239.8542 | 1.7735 | 4.4998 | 65.7305 | 38.0958 | 32.1986 | 4.829 | 0.067768 | 1.8918 | 2.9372 | 0.042501 | 12.9407 | 0.48585 | 40.655 | 385.4017 | 0.0081427
92 | 12:30:56 | 1425.5 | 0 | 7.7191 | 0.069424 | 189.0287 | 2.7081 | 2.608 | 30.9551 | 6 | 1.42 | 1 | 2.84 | 33.442 | 30.9551 | 34.9995 | 399.601 | 389.071 | 24.474 | 27.6347 | 32.3514 | 36.5295 | 499.8729 | 1499.0889 | 258.5279 | 68.459 | -1.7686 | 0.063958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0027081 | 304.1051 | 306.592 | 239.8542 | 1.7735 | 4.4998 | 65.7305 | 38.0958 | 32.1986 | 4.829 | 0.067768 | 1.8918 | 2.9372 | 0.042501 | 12.9407 | 0.48585 | 40.655 | 385.4017 | 0.0081427
93 | 12:30:57 | 1425.5 | 0 | 7.7191 | 0.069424 | 189.0287 | 2.7081 | 2.608 | 30.9551 | 6 | 1.42 | 1 | 2.84 | 33.442 | 30.9551 | 34.9995 | 399.601 | 389.071 | 24.474 | 27.6347 | 32.3514 | 36.5295 | 499.8729 | 1499.0889 | 258.5279 | 68.459 | -1.7686 | 0.063958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0027081 | 304.1051 | 306.592 | 239.8542 | 1.7735 | 4.4998 | 65.7305 | 38.0958 | 32.1986 | 4.829 | 0.067768 | 1.8918 | 2.9372 | 0.042501 | 12.9407 | 0.48585 | 40.655 | 385.4017 | 0.0081427
94 | 12:30:57 | 1426 | 0 | 7.7441 | 0.069437 | 188.4496 | 2.7087 | 2.6082 | 30.9559 | 6 | 1.42 | 1 | 2.84 | 33.4432 | 30.9559 | 34.9992 | 399.5877 | 389.0278 | 24.4744 | 27.6357 | 32.3496 | 36.5283 | 499.8854 | 1499.0742 | 260.2681 | 68.4588 | -1.7686 | 0.063958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0027087 | 304.1059 | 306.5932 | 239.8519 | 1.7732 | 4.5001 | 65.7338 | 38.0981 | 32.1996 | 4.8293 | 0.06778 | 1.8919 | 2.9374 | 0.042508 | 12.901 | 0.48441 | 40.6546 | 385.3467 | 0.0081701
95 | 12:30:58 | 1426.5 | 0 | 7.7681 | 0.069418 | 187.8207 | 2.7085 | 2.6086 | 30.9583 | 6 | 1.42 | 1 | 2.84 | 33.4452 | 30.9583 | 34.9999 | 399.583 | 388.9948 | 24.4768 | 27.6379 | 32.3493 | 36.527 | 499.8917 | 1499.0361 | 261.9806 | 68.4588 | -1.7686 | 0.063958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0027085 | 304.1083 | 306.5952 | 239.8458 | 1.7732 | 4.5007 | 65.7426 | 38.1048 | 32.2017 | 4.8299 | 0.067761 | 1.8921 | 2.9378 | 0.042497 | 12.858 | 0.48284 | 40.6514 | 385.3022 | 0.0081957
96 | 12:30:58 | 1427 | 0 | 7.7087 | 0.069381 | 189.0856 | 2.7077 | 2.6092 | 30.9608 | 6 | 1.42 | 1 | 2.84 | 33.446 | 30.9608 | 35.0001 | 399.5184 | 389.0017 | 24.4783 | 27.6384 | 32.3498 | 36.5261 | 499.8921 | 1499.0513 | 263.4753 | 68.4588 | -1.7686 | 0.063958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0027077 | 304.1108 | 306.596 | 239.8482 | 1.7734 | 4.5013 | 65.7519 | 38.1135 | 32.2034 | 4.8303 | 0.067726 | 1.8921 | 2.9382 | 0.042474 | 12.9446 | 0.48608 | 40.6451 | 385.3374 | 0.0081311
97 | 12:30:59 | 1427.5 | 0 | 7.6531 | 0.069287 | 190.1326 | 2.7045 | 2.6096 | 30.9617 | 6 | 1.42 | 1 | 2.84 | 33.4469 | 30.9617 | 35.0005 | 399.4633 | 389.0152 | 24.4806 | 27.6369 | 32.3514 | 36.5225 | 499.9108 | 1499.0137 | 264.7076 | 68.4588 | -1.7686 | 0.063958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0027045 | 304.1117 | 306.5969 | 239.8422 | 1.775 | 4.5015 | 65.7555 | 38.1186 | 32.2043 | 4.8306 | 0.067637 | 1.892 | 2.9386 | 0.042418 | 13.0163 | 0.48875 | 40.6385 | 385.3772 | 0.0080703
98 | 12:30:59 | 1428 | 0 | 7.6751 | 0.069267 | 189.5602 | 2.7045 | 2.6102 | 30.9645 | 6 | 1.42 | 1 | 2.84 | 33.4482 | 30.9645 | 35.002 | 399.4731 | 388.9986 | 24.4811 | 27.6373 | 32.3496 | 36.5204 | 499.9093 | 1499.0057 | 265.5364 | 68.459 | -1.7686 | 0.063958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0027045 | 304.1145 | 306.5982 | 239.8409 | 1.7748 | 4.5023 | 65.7658 | 38.1285 | 32.2064 | 4.8311 | 0.067618 | 1.892 | 2.9391 | 0.042407 | 12.9771 | 0.4873 | 40.6316 | 385.3502 | 0.0080927
99 | 12:31:00 | 1428.5 | 0 | 7.6256 | 0.06928 | 190.7308 | 2.7052 | 2.6104 | 30.9656 | 6 | 1.42 | 1 | 2.84 | 33.4491 | 30.9656 | 35.0017 | 399.4244 | 389.0087 | 24.4815 | 27.6386 | 32.3486 | 36.5203 | 499.8974 | 1498.9958 | 266.0404 | 68.459 | -1.7686 | 0.063958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0027052 | 304.1156 | 306.5991 | 239.8393 | 1.7744 | 4.5025 | 65.7698 | 38.1311 | 32.2073 | 4.8314 | 0.06763 | 1.8921 | 2.9393 | 0.042414 | 13.0572 | 0.4903 | 40.6312 | 385.3839 | 0.0080397
100 | 12:31:00 | 1429 | 0 | 7.6109 | 0.069258 | 191.0075 | 2.7046 | 2.6107 | 30.9665 | 6 | 1.42 | 1 | 2.84 | 33.4501 | 30.9665 | 35.0017 | 399.4007 | 389.0024 | 24.4818 | 27.6384 | 32.3473 | 36.5181 | 499.8682 | 1499.0012 | 266.3241 | 68.4593 | -1.7686 | 0.063958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0027046 | 304.1165 | 306.6001 | 239.8402 | 1.7747 | 4.5028 | 65.7729 | 38.1345 | 32.2083 | 4.8317 | 0.06761 | 1.8921 | 2.9396 | 0.042401 | 13.0762 | 0.49102 | 40.6283 | 385.3845 | 0.0080236
101 | 12:31:01 | 1429.5 | 0 | 7.5846 | 0.069209 | 191.4691 | 2.7034 | 2.6113 | 30.9691 | 6 | 1.42 | 1 | 2.84 | 33.4516 | 30.9691 | 35.0025 | 399.3535 | 388.9878 | 24.4843 | 27.6394 | 32.3476 | 36.516 | 499.8844 | 1499.0571 | 266.3122 | 68.4588 | -1.7686 | 0.063958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0027034 | 304.1191 | 306.6016 | 239.8491 | 1.7753 | 4.5034 | 65.783 | 38.1436 | 32.2103 | 4.8322 | 0.067563 | 1.8922 | 2.9401 | 0.042372 | 13.1077 | 0.49222 | 40.6218 | 385.3824 | 0.0079946
102 | 12:31:01 | 1430 | 0 | 7.5764 | 0.069086 | 191.338 | 2.6992 | 2.6118 | 30.9706 | 6 | 1.42 | 1 | 2.84 | 33.4522 | 30.9706 | 35.0021 | 399.3309 | 388.9757 | 24.4865 | 27.6371 | 32.3495 | 36.5118 | 499.8311 | 1499.0499 | 266.2432 | 68.4588 | -1.7686 | 0.063958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0026992 | 304.1206 | 306.6022 | 239.848 | 1.7773 | 4.5038 | 65.7888 | 38.1517 | 32.2114 | 4.8325 | 0.067445 | 1.892 | 2.9405 | 0.042298 | 13.0988 | 0.4919 | 40.6118 | 385.3743 | 0.0079842
103 | 12:31:02 | 1430.5 | 0 | 7.5418 | 0.069032 | 192.0145 | 2.6979 | 2.6125 | 30.9729 | 6 | 1.42 | 1 | 2.84 | 33.4527 | 30.9729 | 35.002 | 399.3092 | 388.9967 | 24.4869 | 27.6358 | 32.3493 | 36.5093 | 499.8518 | 1499.0629 | 266.2284 | 68.4592 | -1.7686 | 0.063958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0026979 | 304.1229 | 306.6027 | 239.8501 | 1.7777 | 4.5044 | 65.7972 | 38.1613 | 32.2128 | 4.8329 | 0.067394 | 1.8919 | 2.941 | 0.042265 | 13.1452 | 0.49361 | 40.603 | 385.4117 | 0.0079452
104 | 12:31:02 | 1431 | 0 | 7.5984 | 0.068973 | 190.5252 | 2.6964 | 2.6132 | 30.9759 | 6 | 1.42 | 1 | 2.84 | 33.4536 | 30.9759 | 35.0028 | 399.3347 | 388.9547 | 24.4886 | 27.6359 | 32.3497 | 36.5073 | 499.8389 | 1499.0466 | 266.303 | 68.4591 | -1.7686 | 0.063958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0026964 | 304.1259 | 306.6036 | 239.8475 | 1.7782 | 4.5052 | 65.8082 | 38.1723 | 32.2147 | 4.8334 | 0.067338 | 1.8919 | 2.9415 | 0.04223 | 13.0432 | 0.48984 | 40.5944 | 385.3428 | 0.0080046
105 | 12:31:03 | 1431.5 | 0 | 7.6534 | 0.068966 | 189.2225 | 2.6968 | 2.6139 | 30.9785 | 6 | 1.42 | 1 | 2.84 | 33.4547 | 30.9785 | 35.0024 | 399.3795 | 388.9333 | 24.4884 | 27.6362 | 32.3478 | 36.5058 | 499.8337 | 1499.0565 | 266.3514 | 68.4593 | -1.7686 | 0.063958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0026968 | 304.1285 | 306.6047 | 239.849 | 1.7777 | 4.5058 | 65.8179 | 38.1816 | 32.2166 | 4.8339 | 0.067331 | 1.892 | 2.942 | 0.042226 | 12.954 | 0.48652 | 40.5881 | 385.2953 | 0.0080623 | 7.6598 | 33.448 | 30.9644 | #DIV/0! | 1428.1 | 0 | 7.6598 | 0.069258 | 189.8962 | 2.7041 | 2.6102 | 30.9644 | 6 | 1.42 | 1 | 2.84 | 33.448 | 30.9644 | 35.001 | 399.4641 | 389.0074 | 24.4807 | 27.6368 | 32.3496 | 36.5201 | 499.8742 | 1499.0479 | 263.6903 | 68.459 | -1.7686 | 0.063958 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0027041 | 304.1144 | 306.598 | 239.8477 | 1.775 | 4.5022 | 65.7653 | 38.1285 | 32.2062 | 4.8311 | 0.067609 | 1.892 | 2.9391 | 0.042401 | 13.0001 | 0.48816 | 40.631 | 385.3662 | 0.0080762