## stm-pbvaoc2_
OPEN 6.2.4
Wed Jul 1 2015 13:23:29
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "13:41:01 Coolers: Tblock -> 6.82 C"
Remark= | "13:46:16 Flow: Fixed -> 500 umol/s"
Remark= | "13:46:40 Flow: Fixed -> 500 umol/s"
1 | 13:47:26 | 1448 | 0 | 13.8578 | 0.30485 | 291.6739 | 4.4031 | 1.0791 | 12.9431 | 6 | 1.42 | 1 | 2.84 | 9.3365 | 12.9431 | 6.8706 | 398.1992 | 379.5593 | 0.8615 | 6.1144 | 5.0011 | 35.4944 | 499.8643 | 1499.5752 | 160.8524 | 68.4303 | -2.0847 | 0.27605 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0044031 | 286.0931 | 282.4865 | 239.932 | 0.12089 | 1.4975 | 21.8843 | 15.7699 | 11.1398 | 1.3298 | 0.2753 | 0.41841 | 0.91138 | 0.17449 | 19.9593 | 0.76845 | 34.0009 | 372.972 | 0.012633
2 | 13:47:26 | 1448 | 0 | 13.8578 | 0.30485 | 291.6739 | 4.4031 | 1.0791 | 12.9431 | 6 | 1.42 | 1 | 2.84 | 9.3365 | 12.9431 | 6.8706 | 398.1992 | 379.5593 | 0.8615 | 6.1144 | 5.0011 | 35.4944 | 499.8643 | 1499.5752 | 160.8524 | 68.4303 | -2.0847 | 0.27605 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0044031 | 286.0931 | 282.4865 | 239.932 | 0.12089 | 1.4975 | 21.8843 | 15.7699 | 11.1398 | 1.3298 | 0.2753 | 0.41841 | 0.91138 | 0.17449 | 19.9593 | 0.76845 | 34.0009 | 372.972 | 0.012633
3 | 13:47:27 | 1448.5 | 0 | 13.8855 | 0.30478 | 291.5799 | 4.402 | 1.0791 | 12.9417 | 6 | 1.42 | 1 | 2.84 | 9.3372 | 12.9417 | 6.8708 | 398.3135 | 379.6403 | 0.86139 | 6.113 | 5.0002 | 35.4845 | 499.862 | 1499.5781 | 160.8292 | 68.4301 | -2.0847 | 0.27605 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.004402 | 286.0917 | 282.4872 | 239.9325 | 0.12173 | 1.4974 | 21.8823 | 15.7693 | 11.1394 | 1.3298 | 0.27524 | 0.41831 | 0.91144 | 0.17446 | 19.9528 | 0.76804 | 33.9962 | 373.0398 | 0.012654
4 | 13:47:27 | 1449 | 0 | 13.9317 | 0.30491 | 291.4592 | 4.4019 | 1.0787 | 12.937 | 6 | 1.42 | 1 | 2.84 | 9.3385 | 12.937 | 6.8717 | 398.4803 | 379.751 | 0.86111 | 6.1126 | 4.9981 | 35.4788 | 499.8562 | 1499.5625 | 160.8546 | 68.4301 | -2.0847 | 0.27605 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0044019 | 286.087 | 282.4885 | 239.93 | 0.12253 | 1.4969 | 21.8755 | 15.763 | 11.1378 | 1.3296 | 0.27534 | 0.41828 | 0.91132 | 0.17452 | 19.9446 | 0.7675 | 34.0051 | 373.1286 | 0.012697
5 | 13:47:28 | 1449.5 | 0 | 14.026 | 0.30513 | 291.0459 | 4.4021 | 1.078 | 12.9303 | 6 | 1.42 | 1 | 2.84 | 9.3384 | 12.9303 | 6.8718 | 398.6588 | 379.8155 | 0.86041 | 6.1122 | 4.9941 | 35.4775 | 499.8472 | 1499.501 | 160.7732 | 68.4306 | -2.0847 | 0.27605 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0044021 | 286.0803 | 282.4884 | 239.9202 | 0.12309 | 1.4963 | 21.8658 | 15.7535 | 11.1343 | 1.3293 | 0.27552 | 0.41826 | 0.91104 | 0.17464 | 19.9165 | 0.76628 | 34.02 | 373.1482 | 0.012788
6 | 13:47:28 | 1450 | 0 | 14.1137 | 0.30513 | 290.632 | 4.4018 | 1.078 | 12.9286 | 6 | 1.42 | 1 | 2.84 | 9.3386 | 12.9286 | 6.8717 | 398.8483 | 379.8992 | 0.85938 | 6.1109 | 4.9881 | 35.4692 | 499.8406 | 1499.4884 | 160.6539 | 68.4305 | -2.0847 | 0.27605 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0044018 | 286.0786 | 282.4886 | 239.9181 | 0.12346 | 1.4961 | 21.8634 | 15.7525 | 11.1336 | 1.3292 | 0.27552 | 0.41817 | 0.91107 | 0.17464 | 19.8881 | 0.76502 | 34.0173 | 373.1902 | 0.012865
7 | 13:47:29 | 1450.5 | 0 | 14.1549 | 0.30489 | 290.4367 | 4.4006 | 1.0784 | 12.9325 | 6 | 1.42 | 1 | 2.84 | 9.3384 | 12.9325 | 6.872 | 399.0009 | 380.0011 | 0.8589 | 6.1094 | 4.9853 | 35.4608 | 499.811 | 1499.5302 | 160.515 | 68.4301 | -2.0847 | 0.27605 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83302 | 0.0044006 | 286.0825 | 282.4884 | 239.9248 | 0.12364 | 1.4965 | 21.869 | 15.7596 | 11.1354 | 1.3294 | 0.27533 | 0.41807 | 0.91133 | 0.17451 | 19.8746 | 0.7643 | 33.9994 | 373.2725 | 0.012893
8 | 13:47:29 | 1451 | 0 | 14.2312 | 0.30487 | 290.0739 | 4.401 | 1.0786 | 12.9333 | 6 | 1.42 | 1 | 2.84 | 9.3379 | 12.9333 | 6.8714 | 399.1682 | 380.0773 | 0.85776 | 6.1084 | 4.9789 | 35.4563 | 499.8375 | 1499.4696 | 160.3829 | 68.4301 | -2.0847 | 0.27605 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.004401 | 286.0833 | 282.4879 | 239.9151 | 0.12317 | 1.4966 | 21.8702 | 15.7618 | 11.1356 | 1.3294 | 0.27531 | 0.418 | 0.91142 | 0.1745 | 19.8498 | 0.7632 | 33.9935 | 373.3125 | 0.012959
9 | 13:47:30 | 1451.5 | 0 | 14.3001 | 0.30495 | 289.7638 | 4.4003 | 1.0781 | 12.9284 | 6 | 1.42 | 1 | 2.84 | 9.3379 | 12.9284 | 6.8714 | 399.3087 | 380.1351 | 0.85807 | 6.1078 | 4.9807 | 35.453 | 499.8378 | 1499.4023 | 160.2879 | 68.4301 | -2.0847 | 0.27605 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0044003 | 286.0784 | 282.4879 | 239.9044 | 0.12403 | 1.4961 | 21.8632 | 15.7553 | 11.1331 | 1.3292 | 0.27538 | 0.41796 | 0.91124 | 0.17455 | 19.8286 | 0.76227 | 34.0013 | 373.3375 | 0.013024
10 | 13:47:30 | 1452 | 0 | 14.3455 | 0.3051 | 289.5574 | 4.4006 | 1.0777 | 12.9233 | 6 | 1.42 | 1 | 2.84 | 9.3374 | 12.9233 | 6.8718 | 399.3733 | 380.146 | 0.85683 | 6.1067 | 4.9736 | 35.4472 | 499.8625 | 1499.4474 | 160.0427 | 68.4294 | -2.0847 | 0.27605 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0044006 | 286.0733 | 282.4874 | 239.9116 | 0.12452 | 1.4956 | 21.8562 | 15.7495 | 11.1303 | 1.329 | 0.2755 | 0.41788 | 0.91107 | 0.17463 | 19.8142 | 0.7617 | 34.0081 | 373.3268 | 0.013068
11 | 13:47:31 | 1452.5 | 0 | 14.3589 | 0.30528 | 289.5535 | 4.403 | 1.0778 | 12.9244 | 6 | 1.42 | 1 | 2.84 | 9.337 | 12.9244 | 6.8713 | 399.4215 | 380.1765 | 0.85514 | 6.108 | 4.9639 | 35.4554 | 499.8522 | 1499.4556 | 159.8313 | 68.4292 | -2.0847 | 0.27605 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.004403 | 286.0744 | 282.487 | 239.9129 | 0.12309 | 1.4957 | 21.8578 | 15.7499 | 11.1307 | 1.329 | 0.27565 | 0.41796 | 0.91102 | 0.17472 | 19.8139 | 0.76163 | 34.015 | 373.3509 | 0.013082
12 | 13:47:31 | 1453 | 0 | 14.3516 | 0.30527 | 289.6156 | 4.4036 | 1.0779 | 12.9258 | 6 | 1.42 | 1 | 2.84 | 9.3373 | 12.9258 | 6.8706 | 399.4364 | 380.1999 | 0.85413 | 6.1076 | 4.9579 | 35.4527 | 499.8556 | 1499.475 | 159.555 | 68.429 | -2.0847 | 0.27605 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0044036 | 286.0758 | 282.4873 | 239.916 | 0.12266 | 1.4959 | 21.8599 | 15.7523 | 11.1316 | 1.3291 | 0.27564 | 0.41794 | 0.91112 | 0.17471 | 19.8181 | 0.76175 | 34.0111 | 373.3778 | 0.013073
13 | 13:47:32 | 1453.5 | 0 | 14.2769 | 0.30514 | 290.0439 | 4.404 | 1.0784 | 12.931 | 6 | 1.42 | 1 | 2.84 | 9.3373 | 12.931 | 6.8708 | 399.39 | 380.2432 | 0.85351 | 6.1074 | 4.9543 | 35.4515 | 499.8693 | 1499.4529 | 159.3298 | 68.4288 | -2.0847 | 0.27605 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.004404 | 286.081 | 282.4873 | 239.9125 | 0.12175 | 1.4964 | 21.8673 | 15.7599 | 11.1341 | 1.3293 | 0.27554 | 0.41792 | 0.91136 | 0.17465 | 19.8474 | 0.76279 | 33.9986 | 373.4566 | 0.012997
14 | 13:47:32 | 1454 | 0 | 14.2052 | 0.30528 | 290.4915 | 4.4038 | 1.0779 | 12.9256 | 6 | 1.42 | 1 | 2.84 | 9.3372 | 12.9256 | 6.8703 | 399.3087 | 380.2481 | 0.85338 | 6.107 | 4.9536 | 35.4489 | 499.8745 | 1499.4918 | 159.0539 | 68.4284 | -2.0847 | 0.27605 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0044038 | 286.0756 | 282.4872 | 239.9187 | 0.12259 | 1.4958 | 21.8597 | 15.7527 | 11.1314 | 1.329 | 0.27565 | 0.41789 | 0.91115 | 0.17472 | 19.8779 | 0.76395 | 34.0088 | 373.4956 | 0.012935
15 | 13:47:33 | 1454.5 | 0 | 14.1275 | 0.30549 | 291.0085 | 4.4043 | 1.0774 | 12.9193 | 6 | 1.42 | 1 | 2.84 | 9.3372 | 12.9193 | 6.8697 | 399.2378 | 380.2711 | 0.85245 | 6.1064 | 4.9482 | 35.445 | 499.8982 | 1499.4633 | 158.8916 | 68.4282 | -2.0847 | 0.27605 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0044043 | 286.0693 | 282.4872 | 239.9141 | 0.12305 | 1.4952 | 21.8509 | 15.7445 | 11.1283 | 1.3288 | 0.27582 | 0.41785 | 0.91092 | 0.17483 | 19.9132 | 0.76527 | 34.0212 | 373.5556 | 0.012867 | 14.135 | 9.3376 | 12.9312 | #DIV/0! | 1451.0333 | 0 | 14.135 | 0.30506 | 290.574 | 4.4023 | 1.0783 | 12.9312 | 6 | 1.42 | 1 | 2.84 | 9.3376 | 12.9312 | 6.8711 | 398.9563 | 379.9815 | 0.8577 | 6.1097 | 4.9786 | 35.4646 | 499.8555 | 1499.4979 | 160.1804 | 68.4297 | -2.0847 | 0.27605 | 0.75556 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0044023 | 286.0812 | 282.4876 | 239.9197 | 0.12274 | 1.4964 | 21.8673 | 15.7576 | 11.1344 | 1.3293 | 0.27547 | 0.41809 | 0.91122 | 0.1746 | 19.8839 | 0.76471 | 34.0065 | 373.2624 | 0.012878
Remark= | "13:47:40 Coolers: Tblock -> 12.00 C"
Remark= | "13:48:45 Flow: Fixed -> 500 umol/s"
16 | 13:50:04 | 1606.5 | 0 | 14.5701 | 0.29634 | 284.6403 | 4.6679 | 1.1705 | 15.106 | 6 | 1.42 | 1 | 2.84 | 13.2444 | 15.106 | 11.9499 | 399.0663 | 379.452 | 2.5191 | 8.0767 | 11.2855 | 36.1833 | 499.8777 | 1499.6277 | 142.8036 | 68.4234 | -2.3235 | 0.25983 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0046679 | 288.256 | 286.3944 | 239.9404 | 0.18076 | 1.7231 | 25.1827 | 17.1061 | 14.1752 | 1.6226 | 0.26834 | 0.55263 | 1.07 | 0.17002 | 19.4761 | 0.75014 | 37.4502 | 372.5261 | 0.014647
17 | 13:50:05 | 1606.5 | 0 | 14.5701 | 0.29634 | 284.6403 | 4.6679 | 1.1705 | 15.106 | 6 | 1.42 | 1 | 2.84 | 13.2444 | 15.106 | 11.9499 | 399.0663 | 379.452 | 2.5191 | 8.0767 | 11.2855 | 36.1833 | 499.8777 | 1499.6277 | 142.8036 | 68.4234 | -2.3235 | 0.25983 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0046679 | 288.256 | 286.3944 | 239.9404 | 0.18076 | 1.7231 | 25.1827 | 17.1061 | 14.1752 | 1.6226 | 0.26834 | 0.55263 | 1.07 | 0.17002 | 19.4761 | 0.75014 | 37.4502 | 372.5261 | 0.014647
18 | 13:50:05 | 1606.5 | 0 | 14.5701 | 0.29634 | 284.6403 | 4.6679 | 1.1705 | 15.106 | 6 | 1.42 | 1 | 2.84 | 13.2444 | 15.106 | 11.9499 | 399.0663 | 379.452 | 2.5191 | 8.0767 | 11.2855 | 36.1833 | 499.8777 | 1499.6277 | 142.8036 | 68.4234 | -2.3235 | 0.25983 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0046679 | 288.256 | 286.3944 | 239.9404 | 0.18076 | 1.7231 | 25.1827 | 17.1061 | 14.1752 | 1.6226 | 0.26834 | 0.55263 | 1.07 | 0.17002 | 19.4761 | 0.75014 | 37.4502 | 372.5261 | 0.014647
19 | 13:50:05 | 1607 | 0 | 14.597 | 0.29653 | 284.5289 | 4.6698 | 1.1703 | 15.1057 | 6 | 1.42 | 1 | 2.84 | 13.2461 | 15.1057 | 11.9503 | 399.0934 | 379.4456 | 2.5188 | 8.0787 | 11.2828 | 36.1885 | 499.8734 | 1499.5784 | 141.4548 | 68.4238 | -2.3235 | 0.25983 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0046698 | 288.2557 | 286.3961 | 239.9325 | 0.17987 | 1.7231 | 25.1821 | 17.1034 | 14.1759 | 1.6227 | 0.26849 | 0.55277 | 1.0699 | 0.17012 | 19.4685 | 0.74985 | 37.4622 | 372.5069 | 0.01468
20 | 13:50:06 | 1607.5 | 0 | 14.6135 | 0.29669 | 284.47 | 4.6717 | 1.1702 | 15.1056 | 6 | 1.42 | 1 | 2.84 | 13.2481 | 15.1056 | 11.9505 | 399.1089 | 379.4398 | 2.5179 | 8.0802 | 11.2774 | 36.1905 | 499.8535 | 1499.6165 | 139.8638 | 68.4236 | -2.3235 | 0.25983 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0046717 | 288.2556 | 286.3981 | 239.9386 | 0.17923 | 1.723 | 25.182 | 17.1018 | 14.1768 | 1.6228 | 0.26862 | 0.55288 | 1.0699 | 0.1702 | 19.4645 | 0.74971 | 37.4709 | 372.4933 | 0.0147
21 | 13:50:06 | 1608 | 0 | 14.6247 | 0.29667 | 284.3901 | 4.6729 | 1.1705 | 15.1092 | 6 | 1.42 | 1 | 2.84 | 13.2498 | 15.1092 | 11.95 | 399.1155 | 379.4331 | 2.5171 | 8.0807 | 11.2725 | 36.1883 | 499.8698 | 1499.6174 | 138.1092 | 68.4231 | -2.3235 | 0.25983 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0046729 | 288.2592 | 286.3998 | 239.9388 | 0.17836 | 1.7234 | 25.188 | 17.1073 | 14.1795 | 1.6231 | 0.26861 | 0.55291 | 1.0702 | 0.17019 | 19.4588 | 0.74951 | 37.465 | 372.4812 | 0.01471
22 | 13:50:07 | 1608.5 | 0 | 14.6289 | 0.29649 | 284.3144 | 4.6732 | 1.1713 | 15.1153 | 6 | 1.42 | 1 | 2.84 | 13.2521 | 15.1153 | 11.9503 | 399.1214 | 379.4342 | 2.5162 | 8.0801 | 11.2668 | 36.1803 | 499.8801 | 1499.6696 | 136.1562 | 68.4233 | -2.3235 | 0.25983 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0046732 | 288.2653 | 286.4021 | 239.9471 | 0.17778 | 1.7241 | 25.1979 | 17.1178 | 14.1837 | 1.6235 | 0.26846 | 0.55287 | 1.0706 | 0.1701 | 19.4537 | 0.74931 | 37.4474 | 372.4803 | 0.014707
23 | 13:50:07 | 1609 | 0 | 14.6359 | 0.29635 | 284.2229 | 4.6736 | 1.1718 | 15.1205 | 6 | 1.42 | 1 | 2.84 | 13.2537 | 15.1205 | 11.9502 | 399.1182 | 379.4223 | 2.5158 | 8.0802 | 11.2637 | 36.177 | 499.8745 | 1499.6868 | 133.9093 | 68.4232 | -2.3235 | 0.25983 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0046736 | 288.2705 | 286.4037 | 239.9499 | 0.17716 | 1.7247 | 25.2063 | 17.1262 | 14.1871 | 1.6239 | 0.26835 | 0.55287 | 1.071 | 0.17003 | 19.4475 | 0.74909 | 37.4349 | 372.4651 | 0.01471
24 | 13:50:08 | 1609.5 | 0 | 14.6322 | 0.29637 | 284.2338 | 4.6748 | 1.1721 | 15.1232 | 6 | 1.42 | 1 | 2.84 | 13.2551 | 15.1232 | 11.9495 | 399.1018 | 379.4091 | 2.515 | 8.081 | 11.2593 | 36.1775 | 499.857 | 1499.6614 | 131.4884 | 68.4233 | -2.3235 | 0.25983 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0046748 | 288.2732 | 286.4051 | 239.9458 | 0.17633 | 1.725 | 25.2106 | 17.1295 | 14.1891 | 1.6241 | 0.26836 | 0.55293 | 1.0711 | 0.17004 | 19.4482 | 0.74915 | 37.4331 | 372.4537 | 0.014706
25 | 13:50:08 | 1610 | 0 | 14.6127 | 0.29648 | 284.3807 | 4.6761 | 1.172 | 15.123 | 6 | 1.42 | 1 | 2.84 | 13.2568 | 15.123 | 11.9495 | 399.0839 | 379.4143 | 2.5142 | 8.0816 | 11.2543 | 36.1762 | 499.8635 | 1499.6014 | 129.0615 | 68.4232 | -2.3235 | 0.25983 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0046761 | 288.273 | 286.4068 | 239.9362 | 0.17576 | 1.725 | 25.2103 | 17.1286 | 14.1899 | 1.6242 | 0.26845 | 0.55297 | 1.0712 | 0.17009 | 19.4582 | 0.74953 | 37.4378 | 372.4681 | 0.014688
26 | 13:50:09 | 1610.5 | 0 | 14.5765 | 0.29642 | 284.5844 | 4.6764 | 1.1723 | 15.1253 | 6 | 1.42 | 1 | 2.84 | 13.2581 | 15.1253 | 11.9496 | 399.0528 | 379.4263 | 2.5133 | 8.0812 | 11.2496 | 36.1713 | 499.8589 | 1499.5885 | 126.4874 | 68.4237 | -2.3235 | 0.25983 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0046764 | 288.2753 | 286.4081 | 239.9342 | 0.17545 | 1.7252 | 25.2139 | 17.1328 | 14.1917 | 1.6243 | 0.2684 | 0.55294 | 1.0714 | 0.17006 | 19.4723 | 0.75004 | 37.4306 | 372.4973 | 0.014647
27 | 13:50:09 | 1611 | 0 | 14.5613 | 0.29629 | 284.609 | 4.6762 | 1.1727 | 15.1284 | 6 | 1.42 | 1 | 2.84 | 13.2593 | 15.1284 | 11.9495 | 399.0085 | 379.3998 | 2.5121 | 8.08 | 11.2433 | 36.1628 | 499.8424 | 1499.5629 | 123.8841 | 68.4233 | -2.3235 | 0.25983 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0046762 | 288.2784 | 286.4093 | 239.9301 | 0.17526 | 1.7256 | 25.219 | 17.1391 | 14.1938 | 1.6246 | 0.2683 | 0.55286 | 1.0717 | 0.16999 | 19.4739 | 0.75016 | 37.4175 | 372.4781 | 0.014628
28 | 13:50:10 | 1611.5 | 0 | 14.5398 | 0.29616 | 284.701 | 4.6765 | 1.1733 | 15.1329 | 6 | 1.42 | 1 | 2.84 | 13.2602 | 15.1329 | 11.949 | 398.9882 | 379.405 | 2.5111 | 8.0793 | 11.2381 | 36.158 | 499.8404 | 1499.5156 | 121.3623 | 68.4236 | -2.3235 | 0.25983 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0046765 | 288.2829 | 286.4102 | 239.9225 | 0.17455 | 1.7261 | 25.2263 | 17.1469 | 14.1966 | 1.6249 | 0.26819 | 0.55282 | 1.072 | 0.16993 | 19.4803 | 0.75039 | 37.404 | 372.4935 | 0.0146
29 | 13:50:10 | 1612 | 0 | 14.5424 | 0.29602 | 284.631 | 4.6765 | 1.1737 | 15.1369 | 6 | 1.42 | 1 | 2.84 | 13.2621 | 15.1369 | 11.95 | 398.9744 | 379.3882 | 2.5105 | 8.0787 | 11.2342 | 36.1512 | 499.8391 | 1499.5062 | 118.8373 | 68.4243 | -2.3235 | 0.25983 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0046765 | 288.2869 | 286.4121 | 239.921 | 0.1743 | 1.7265 | 25.2324 | 17.1537 | 14.1995 | 1.6252 | 0.26808 | 0.55278 | 1.0724 | 0.16986 | 19.4757 | 0.75024 | 37.3918 | 372.4754 | 0.014599
30 | 13:50:11 | 1612.5 | 0 | 14.5552 | 0.29604 | 284.5319 | 4.6773 | 1.1739 | 15.1386 | 6 | 1.42 | 1 | 2.84 | 13.263 | 15.1386 | 11.9503 | 398.9625 | 379.3601 | 2.5097 | 8.0791 | 11.2297 | 36.1506 | 499.8248 | 1499.4994 | 116.2861 | 68.4243 | -2.3235 | 0.25983 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0046773 | 288.2886 | 286.413 | 239.9199 | 0.17371 | 1.7267 | 25.2352 | 17.1561 | 14.2008 | 1.6253 | 0.26809 | 0.55281 | 1.0725 | 0.16986 | 19.4689 | 0.75003 | 37.39 | 372.4412 | 0.014612 | 14.5887 | 13.2532 | 15.1188 | #DIV/0! | 1609.1 | 0 | 14.5887 | 0.29637 | 284.5013 | 4.6732 | 1.1717 | 15.1188 | 6 | 1.42 | 1 | 2.84 | 13.2532 | 15.1188 | 11.9499 | 399.0619 | 379.4222 | 2.5153 | 8.0794 | 11.2619 | 36.1748 | 499.8607 | 1499.5991 | 132.3541 | 68.4235 | -2.3235 | 0.25983 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0046732 | 288.2688 | 286.4032 | 239.9359 | 0.17734 | 1.7245 | 25.2035 | 17.1241 | 14.186 | 1.6237 | 0.26836 | 0.55282 | 1.0709 | 0.17004 | 19.4666 | 0.74983 | 37.4357 | 372.4875 | 0.014662
Remark= | "13:50:20 Coolers: Tblock -> 17.00 C"
Remark= | "13:53:19 Flow: Fixed -> 500 umol/s"
31 | 13:54:22 | 1864 | 0 | 14.8182 | 0.2651 | 271.267 | 5.1191 | 1.4145 | 18.4594 | 6 | 1.42 | 1 | 2.84 | 17.5945 | 18.4594 | 17.019 | 398.8076 | 378.6937 | 4.4049 | 10.4852 | 14.9272 | 35.5319 | 499.8581 | 1499.4329 | 25.6903 | 68.4207 | -2.2006 | 0.25522 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0051191 | 291.6094 | 290.7445 | 239.9093 | 0.05921 | 2.1319 | 31.1584 | 20.6732 | 18.0269 | 2.0748 | 0.24247 | 0.7174 | 1.3574 | 0.15342 | 18.5603 | 0.71632 | 38.0254 | 371.6498 | 0.015161
32 | 13:54:22 | 1864 | 0 | 14.8182 | 0.2651 | 271.267 | 5.1191 | 1.4145 | 18.4594 | 6 | 1.42 | 1 | 2.84 | 17.5945 | 18.4594 | 17.019 | 398.8076 | 378.6937 | 4.4049 | 10.4852 | 14.9272 | 35.5319 | 499.8581 | 1499.4329 | 25.6903 | 68.4207 | -2.2006 | 0.25522 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0051191 | 291.6094 | 290.7445 | 239.9093 | 0.05921 | 2.1319 | 31.1584 | 20.6732 | 18.0269 | 2.0748 | 0.24247 | 0.7174 | 1.3574 | 0.15342 | 18.5603 | 0.71632 | 38.0254 | 371.6498 | 0.015161
33 | 13:54:23 | 1864.5 | 0 | 14.8339 | 0.26499 | 271.1266 | 5.1186 | 1.4148 | 18.462 | 6 | 1.42 | 1 | 2.84 | 17.5943 | 18.462 | 17.019 | 398.8247 | 378.6922 | 4.405 | 10.4846 | 14.9278 | 35.5305 | 499.8568 | 1499.4866 | 25.8217 | 68.4212 | -2.2006 | 0.25522 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0051186 | 291.612 | 290.7443 | 239.9178 | 0.059262 | 2.1322 | 31.1632 | 20.6785 | 18.0282 | 2.0749 | 0.24238 | 0.71737 | 1.3576 | 0.15337 | 18.5508 | 0.71595 | 38.0166 | 371.6409 | 0.015174
34 | 13:54:23 | 1865 | 0 | 14.8572 | 0.26492 | 270.9567 | 5.1178 | 1.415 | 18.4625 | 6 | 1.42 | 1 | 2.84 | 17.595 | 18.4625 | 17.0191 | 398.8556 | 378.696 | 4.4051 | 10.4837 | 14.9274 | 35.526 | 499.8691 | 1499.4878 | 25.9456 | 68.4214 | -2.2006 | 0.25522 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0051178 | 291.6125 | 290.745 | 239.918 | 0.059667 | 2.1323 | 31.1641 | 20.6805 | 18.0287 | 2.075 | 0.24232 | 0.71731 | 1.3577 | 0.15333 | 18.5392 | 0.7155 | 38.0113 | 371.6336 | 0.015196
35 | 13:54:24 | 1865.5 | 0 | 14.8542 | 0.26499 | 271.0043 | 5.1186 | 1.4149 | 18.4621 | 6 | 1.42 | 1 | 2.84 | 17.595 | 18.4621 | 17.0195 | 398.8568 | 378.7009 | 4.4051 | 10.4845 | 14.9276 | 35.5289 | 499.8802 | 1499.4581 | 26.1417 | 68.4218 | -2.2006 | 0.25522 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0051186 | 291.6121 | 290.745 | 239.9133 | 0.059251 | 2.1322 | 31.1633 | 20.6788 | 18.0286 | 2.075 | 0.24237 | 0.71737 | 1.3576 | 0.15337 | 18.5426 | 0.71562 | 38.016 | 371.6399 | 0.015195
36 | 13:54:24 | 1866 | 0 | 14.8679 | 0.26499 | 270.9203 | 5.1188 | 1.4149 | 18.4625 | 6 | 1.42 | 1 | 2.84 | 17.5948 | 18.4625 | 17.02 | 398.8788 | 378.7057 | 4.4044 | 10.4842 | 14.9253 | 35.5282 | 499.8697 | 1499.4415 | 26.2319 | 68.422 | -2.2006 | 0.25522 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0051188 | 291.6125 | 290.7448 | 239.9106 | 0.059028 | 2.1323 | 31.1639 | 20.6797 | 18.0287 | 2.075 | 0.24238 | 0.71735 | 1.3577 | 0.15337 | 18.5369 | 0.71538 | 38.0145 | 371.6382 | 0.015208
37 | 13:54:25 | 1866.5 | 0 | 14.8708 | 0.26496 | 270.8876 | 5.1188 | 1.4151 | 18.4629 | 6 | 1.42 | 1 | 2.84 | 17.5944 | 18.4629 | 17.0202 | 398.8792 | 378.7034 | 4.4035 | 10.483 | 14.9228 | 35.5252 | 499.8861 | 1499.4889 | 26.3106 | 68.4218 | -2.2006 | 0.25522 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0051188 | 291.6129 | 290.7444 | 239.9182 | 0.059059 | 2.1323 | 31.1648 | 20.6818 | 18.0287 | 2.075 | 0.24235 | 0.71727 | 1.3577 | 0.15335 | 18.5346 | 0.7153 | 38.0095 | 371.6346 | 0.015209
38 | 13:54:25 | 1867 | 0 | 14.8719 | 0.26488 | 270.8678 | 5.1191 | 1.4156 | 18.4668 | 6 | 1.42 | 1 | 2.84 | 17.5945 | 18.4668 | 17.0205 | 398.8996 | 378.7216 | 4.403 | 10.4832 | 14.9212 | 35.526 | 499.8675 | 1499.4512 | 26.3728 | 68.4226 | -2.2006 | 0.25522 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0051191 | 291.6168 | 290.7445 | 239.9122 | 0.058292 | 2.1329 | 31.1721 | 20.6889 | 18.0306 | 2.0753 | 0.24228 | 0.71729 | 1.358 | 0.15331 | 18.5335 | 0.71522 | 38.0007 | 371.6522 | 0.015206
39 | 13:54:26 | 1867.5 | 0 | 14.8564 | 0.26491 | 270.9798 | 5.1196 | 1.4156 | 18.4665 | 6 | 1.42 | 1 | 2.84 | 17.5938 | 18.4665 | 17.0204 | 398.8836 | 378.7236 | 4.4022 | 10.483 | 14.9192 | 35.527 | 499.8597 | 1499.5625 | 26.4101 | 68.4224 | -2.2006 | 0.25522 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0051196 | 291.6165 | 290.7438 | 239.93 | 0.058225 | 2.1328 | 31.1715 | 20.6885 | 18.0302 | 2.0752 | 0.24231 | 0.71727 | 1.3579 | 0.15332 | 18.5411 | 0.71551 | 38.0015 | 371.6616 | 0.01519
40 | 13:54:26 | 1868 | 0 | 14.8949 | 0.26481 | 270.6919 | 5.1193 | 1.4159 | 18.4689 | 6 | 1.42 | 1 | 2.84 | 17.5943 | 18.4689 | 17.0208 | 398.9228 | 378.7165 | 4.402 | 10.4825 | 14.9179 | 35.5239 | 499.8542 | 1499.5859 | 26.3733 | 68.4222 | -2.2006 | 0.25522 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0051193 | 291.6189 | 290.7443 | 239.9337 | 0.058205 | 2.1332 | 31.1763 | 20.6938 | 18.0316 | 2.0754 | 0.24223 | 0.71724 | 1.3582 | 0.15327 | 18.5213 | 0.71476 | 37.9931 | 371.6362 | 0.015227
41 | 13:54:27 | 1868.5 | 0 | 14.8852 | 0.26453 | 270.6638 | 5.1171 | 1.4167 | 18.4735 | 6 | 1.42 | 1 | 2.84 | 17.5947 | 18.4735 | 17.0223 | 398.9221 | 378.7275 | 4.4019 | 10.4801 | 14.9174 | 35.5151 | 499.8322 | 1499.5131 | 26.3613 | 68.4225 | -2.2006 | 0.25522 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0051171 | 291.6235 | 290.7447 | 239.9221 | 0.058676 | 2.1338 | 31.1852 | 20.7051 | 18.0341 | 2.0757 | 0.24199 | 0.71707 | 1.3586 | 0.15312 | 18.5195 | 0.71467 | 37.9711 | 371.6518 | 0.015208
42 | 13:54:27 | 1869 | 0 | 14.882 | 0.26434 | 270.6151 | 5.1162 | 1.4174 | 18.4779 | 6 | 1.42 | 1 | 2.84 | 17.5946 | 18.4779 | 17.0226 | 398.9177 | 378.7274 | 4.4016 | 10.4787 | 14.9161 | 35.5103 | 499.8339 | 1499.5264 | 26.2575 | 68.4223 | -2.2006 | 0.25522 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0051162 | 291.6279 | 290.7446 | 239.9242 | 0.058589 | 2.1344 | 31.1939 | 20.7152 | 18.0363 | 2.076 | 0.24183 | 0.71698 | 1.359 | 0.15302 | 18.5161 | 0.71454 | 37.954 | 371.6532 | 0.015198
43 | 13:54:28 | 1869.5 | 0 | 14.8997 | 0.26421 | 270.4616 | 5.116 | 1.418 | 18.4818 | 6 | 1.42 | 1 | 2.84 | 17.5955 | 18.4818 | 17.0234 | 398.9468 | 378.7358 | 4.4009 | 10.4777 | 14.9131 | 35.505 | 499.8462 | 1499.5913 | 26.1589 | 68.4223 | -2.2006 | 0.25522 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.005116 | 291.6318 | 290.7455 | 239.9346 | 0.05844 | 2.1349 | 31.2013 | 20.7237 | 18.0386 | 2.0763 | 0.24172 | 0.71691 | 1.3594 | 0.15295 | 18.5056 | 0.71412 | 37.9407 | 371.6533 | 0.015211
44 | 13:54:28 | 1870 | 0 | 14.9009 | 0.26411 | 270.4019 | 5.1152 | 1.4182 | 18.4836 | 6 | 1.42 | 1 | 2.84 | 17.5957 | 18.4836 | 17.0234 | 398.9307 | 378.7195 | 4.4015 | 10.4771 | 14.9149 | 35.5026 | 499.8654 | 1499.603 | 26.1015 | 68.4226 | -2.2006 | 0.25522 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0051152 | 291.6336 | 290.7457 | 239.9365 | 0.058668 | 2.1351 | 31.2048 | 20.7277 | 18.0396 | 2.0764 | 0.24164 | 0.71687 | 1.3596 | 0.15289 | 18.5016 | 0.71399 | 37.9334 | 371.6363 | 0.01521
45 | 13:54:29 | 1870.5 | 0 | 14.9151 | 0.26416 | 270.3045 | 5.1159 | 1.4182 | 18.4836 | 6 | 1.42 | 1 | 2.84 | 17.5961 | 18.4836 | 17.0237 | 398.9257 | 378.6968 | 4.4011 | 10.4776 | 14.9134 | 35.5038 | 499.8548 | 1499.5741 | 26.0216 | 68.4229 | -2.2006 | 0.25522 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0051159 | 291.6336 | 290.7461 | 239.9319 | 0.05832 | 2.1351 | 31.2046 | 20.727 | 18.0398 | 2.0765 | 0.24168 | 0.71691 | 1.3596 | 0.15292 | 18.495 | 0.71378 | 37.9361 | 371.6069 | 0.015226 | 14.8684 | 17.5948 | 18.4689 | #DIV/0! | 1867.0333 | 0 | 14.8684 | 0.26473 | 270.8277 | 5.1179 | 1.4159 | 18.4689 | 6 | 1.42 | 1 | 2.84 | 17.5948 | 18.4689 | 17.0209 | 398.8839 | 378.7103 | 4.4031 | 10.482 | 14.9212 | 35.5211 | 499.8595 | 1499.5091 | 26.1259 | 68.4219 | -2.2006 | 0.25522 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0051179 | 291.6189 | 290.7448 | 239.9214 | 0.058807 | 2.1331 | 31.1764 | 20.6944 | 18.0318 | 2.0754 | 0.24216 | 0.7172 | 1.3582 | 0.15323 | 18.5306 | 0.71513 | 37.9899 | 371.6426 | 0.015199
Remark= | "13:54:37 Coolers: Tblock -> 22.00 C"
Remark= | "13:56:32 Flow: Fixed -> 500 umol/s"
46 | 13:56:55 | 2016.5 | 0 | 14.4684 | 0.2372 | 265.3039 | 4.9377 | 1.5056 | 20.4967 | 6 | 1.42 | 1 | 2.84 | 21.5242 | 20.4967 | 22.111 | 401.0431 | 381.4169 | 7.5136 | 13.3609 | 19.9451 | 35.467 | 499.8971 | 1499.4426 | 29.6164 | 68.4197 | -2.4274 | 0.22687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0049377 | 293.6467 | 294.6742 | 239.9108 | 0.39841 | 2.4198 | 35.3666 | 22.0056 | 21.0104 | 2.4975 | 0.21892 | 0.91415 | 1.5834 | 0.13836 | 18.152 | 0.69557 | 41.1407 | 374.5393 | 0.015893
47 | 13:56:55 | 2016.5 | 0 | 14.4684 | 0.2372 | 265.3039 | 4.9377 | 1.5056 | 20.4967 | 6 | 1.42 | 1 | 2.84 | 21.5242 | 20.4967 | 22.111 | 401.0431 | 381.4169 | 7.5136 | 13.3609 | 19.9451 | 35.467 | 499.8971 | 1499.4426 | 29.6164 | 68.4197 | -2.4274 | 0.22687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0049377 | 293.6467 | 294.6742 | 239.9108 | 0.39841 | 2.4198 | 35.3666 | 22.0056 | 21.0104 | 2.4975 | 0.21892 | 0.91415 | 1.5834 | 0.13836 | 18.152 | 0.69557 | 41.1407 | 374.5393 | 0.015893
48 | 13:56:56 | 2017 | 0 | 14.3656 | 0.23705 | 265.8152 | 4.9373 | 1.5063 | 20.5017 | 6 | 1.42 | 1 | 2.84 | 21.527 | 20.5017 | 22.1114 | 400.7599 | 381.258 | 7.5144 | 13.3613 | 19.9438 | 35.4618 | 499.8896 | 1499.4612 | 30.0078 | 68.4196 | -2.4274 | 0.22687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0049373 | 293.6517 | 294.677 | 239.9138 | 0.39838 | 2.4205 | 35.3776 | 22.0163 | 21.0144 | 2.4981 | 0.21879 | 0.91418 | 1.584 | 0.13828 | 18.187 | 0.69721 | 41.1274 | 374.4293 | 0.015779
49 | 13:56:56 | 2017.5 | 0 | 14.2754 | 0.23704 | 266.2973 | 4.938 | 1.5066 | 20.5042 | 6 | 1.42 | 1 | 2.84 | 21.529 | 20.5042 | 22.1122 | 400.4948 | 381.1016 | 7.5145 | 13.3623 | 19.9414 | 35.46 | 499.8862 | 1499.4583 | 30.4828 | 68.4198 | -2.4274 | 0.22687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.004938 | 293.6542 | 294.679 | 239.9133 | 0.39795 | 2.4209 | 35.3828 | 22.0206 | 21.0166 | 2.4985 | 0.21878 | 0.91424 | 1.5842 | 0.13827 | 18.22 | 0.69876 | 41.1241 | 374.3157 | 0.015684
50 | 13:56:57 | 2018 | 0 | 14.2389 | 0.23703 | 266.3672 | 4.9387 | 1.5069 | 20.5064 | 6 | 1.42 | 1 | 2.84 | 21.5309 | 20.5064 | 22.1121 | 400.2592 | 380.9107 | 7.5146 | 13.3632 | 19.9394 | 35.4584 | 499.8867 | 1499.4468 | 30.9757 | 68.4199 | -2.4274 | 0.22687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0049387 | 293.6564 | 294.6809 | 239.9115 | 0.39752 | 2.4212 | 35.3877 | 22.0245 | 21.0187 | 2.4988 | 0.21877 | 0.91431 | 1.5845 | 0.13826 | 18.2248 | 0.69929 | 41.1214 | 374.1423 | 0.01565
51 | 13:56:57 | 2018.5 | 0 | 14.1927 | 0.23704 | 266.5615 | 4.9393 | 1.5071 | 20.5077 | 6 | 1.42 | 1 | 2.84 | 21.5329 | 20.5077 | 22.1117 | 400.0642 | 380.771 | 7.5144 | 13.3639 | 19.9366 | 35.456 | 499.8694 | 1499.4871 | 31.7939 | 68.42 | -2.4274 | 0.22687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0049393 | 293.6577 | 294.6829 | 239.9179 | 0.39739 | 2.4214 | 35.3904 | 22.0265 | 21.0203 | 2.499 | 0.21878 | 0.91435 | 1.5847 | 0.13827 | 18.2381 | 0.70006 | 41.1205 | 374.0245 | 0.015604
52 | 13:56:58 | 2019 | 0 | 14.1776 | 0.23693 | 266.5031 | 4.938 | 1.5072 | 20.5083 | 6 | 1.42 | 1 | 2.84 | 21.535 | 20.5083 | 22.1115 | 399.9171 | 380.6435 | 7.5145 | 13.3624 | 19.9341 | 35.4472 | 499.8691 | 1499.5205 | 32.8709 | 68.4195 | -2.4274 | 0.22687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.004938 | 293.6583 | 294.685 | 239.9233 | 0.39835 | 2.4215 | 35.3919 | 22.0295 | 21.0217 | 2.4993 | 0.21869 | 0.91425 | 1.585 | 0.13821 | 18.234 | 0.70014 | 41.1131 | 373.9041 | 0.015589
53 | 13:56:58 | 2019.5 | 0 | 14.1647 | 0.23692 | 266.49 | 4.9382 | 1.5074 | 20.51 | 6 | 1.42 | 1 | 2.84 | 21.5374 | 20.51 | 22.1112 | 399.8 | 380.543 | 7.5157 | 13.3637 | 19.9346 | 35.4457 | 499.8841 | 1499.4829 | 34.1065 | 68.4197 | -2.4274 | 0.22687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0049382 | 293.66 | 294.6874 | 239.9173 | 0.39825 | 2.4218 | 35.3956 | 22.0318 | 21.0237 | 2.4996 | 0.21867 | 0.91434 | 1.5852 | 0.1382 | 18.2332 | 0.70029 | 41.1124 | 373.8098 | 0.015579
54 | 13:56:59 | 2020 | 0 | 14.1648 | 0.23684 | 266.3716 | 4.9385 | 1.5079 | 20.5141 | 6 | 1.42 | 1 | 2.84 | 21.54 | 20.5141 | 22.1116 | 399.7131 | 380.4563 | 7.5165 | 13.3649 | 19.9334 | 35.443 | 499.886 | 1499.4924 | 35.3584 | 68.4196 | -2.4274 | 0.22687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0049385 | 293.6641 | 294.69 | 239.9188 | 0.3979 | 2.4224 | 35.4046 | 22.0397 | 21.027 | 2.5001 | 0.21861 | 0.91442 | 1.5857 | 0.13816 | 18.225 | 0.70014 | 41.1046 | 373.7231 | 0.015579
55 | 13:56:59 | 2020.5 | 0 | 14.1779 | 0.23676 | 266.1436 | 4.9388 | 1.5085 | 20.5178 | 6 | 1.42 | 1 | 2.84 | 21.5417 | 20.5178 | 22.1117 | 399.6262 | 380.3539 | 7.5164 | 13.3651 | 19.9312 | 35.4401 | 499.8808 | 1499.5215 | 36.4403 | 68.4198 | -2.4274 | 0.22687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0049388 | 293.6678 | 294.6917 | 239.9234 | 0.39757 | 2.4229 | 35.4126 | 22.0475 | 21.0297 | 2.5005 | 0.21854 | 0.91444 | 1.5861 | 0.13812 | 18.2095 | 0.69973 | 41.0954 | 373.6144 | 0.015595
56 | 13:57:00 | 2021 | 0 | 14.2186 | 0.23669 | 265.6768 | 4.9388 | 1.5089 | 20.5205 | 6 | 1.42 | 1 | 2.84 | 21.5433 | 20.5205 | 22.1116 | 399.5267 | 380.2053 | 7.5152 | 13.3643 | 19.926 | 35.4345 | 499.851 | 1499.6044 | 37.1802 | 68.4198 | -2.4274 | 0.22687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0049388 | 293.6705 | 294.6933 | 239.9367 | 0.39756 | 2.4233 | 35.4185 | 22.0542 | 21.0319 | 2.5008 | 0.21848 | 0.91438 | 1.5864 | 0.13808 | 18.1775 | 0.69877 | 41.0857 | 373.4464 | 0.015643
57 | 13:57:00 | 2021.5 | 0 | 14.2094 | 0.23665 | 265.613 | 4.9395 | 1.5093 | 20.5234 | 6 | 1.42 | 1 | 2.84 | 21.5455 | 20.5234 | 22.1113 | 399.3989 | 380.0892 | 7.515 | 13.3648 | 19.9225 | 35.4308 | 499.8581 | 1499.6598 | 37.6084 | 68.4193 | -2.4274 | 0.22687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0049395 | 293.6734 | 294.6955 | 239.9456 | 0.39722 | 2.4238 | 35.425 | 22.0602 | 21.0344 | 2.5012 | 0.21845 | 0.91441 | 1.5868 | 0.13806 | 18.1731 | 0.69882 | 41.0796 | 373.3347 | 0.015635
58 | 13:57:01 | 2022 | 0 | 14.1708 | 0.23647 | 265.7715 | 4.9391 | 1.5102 | 20.5293 | 6 | 1.42 | 1 | 2.84 | 21.548 | 20.5293 | 22.112 | 399.3115 | 380.0483 | 7.515 | 13.3645 | 19.9197 | 35.4244 | 499.8506 | 1499.6753 | 37.7768 | 68.4194 | -2.4274 | 0.22687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0049391 | 293.6793 | 294.698 | 239.948 | 0.39703 | 2.4246 | 35.4379 | 22.0734 | 21.0387 | 2.5019 | 0.2183 | 0.91439 | 1.5875 | 0.13796 | 18.1839 | 0.69931 | 41.062 | 373.3122 | 0.015587
59 | 13:57:01 | 2022.5 | 0 | 14.1555 | 0.2364 | 265.7873 | 4.9393 | 1.5108 | 20.5334 | 6 | 1.42 | 1 | 2.84 | 21.5504 | 20.5334 | 22.1119 | 399.2328 | 379.9875 | 7.5157 | 13.3656 | 19.9186 | 35.4227 | 499.8313 | 1499.6326 | 37.6918 | 68.42 | -2.4274 | 0.22687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0049393 | 293.6834 | 294.7004 | 239.9412 | 0.39657 | 2.4253 | 35.4467 | 22.0811 | 21.0419 | 2.5024 | 0.21823 | 0.91448 | 1.5879 | 0.13792 | 18.1852 | 0.69946 | 41.0544 | 373.2587 | 0.015569
60 | 13:57:02 | 2023 | 0 | 14.182 | 0.23637 | 265.4969 | 4.9413 | 1.5115 | 20.5391 | 6 | 1.42 | 1 | 2.84 | 21.5524 | 20.5391 | 22.1126 | 399.1753 | 379.8979 | 7.5151 | 13.3673 | 19.9147 | 35.4229 | 499.8342 | 1499.6261 | 37.2623 | 68.4202 | -2.4274 | 0.22687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0049413 | 293.6891 | 294.7024 | 239.9402 | 0.39507 | 2.4261 | 35.459 | 22.0916 | 21.0458 | 2.503 | 0.21821 | 0.91459 | 1.5884 | 0.13791 | 18.1654 | 0.69886 | 41.0457 | 373.1564 | 0.0156 | 14.242 | 21.5374 | 20.5139 | #DIV/0! | 2019.5333 | 0 | 14.242 | 0.23684 | 265.9669 | 4.9387 | 1.508 | 20.5139 | 6 | 1.42 | 1 | 2.84 | 21.5374 | 20.5139 | 22.1117 | 399.9577 | 380.6067 | 7.5149 | 13.3637 | 19.9324 | 35.4454 | 499.8714 | 1499.5303 | 33.9192 | 68.4197 | -2.4274 | 0.22687 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0049387 | 293.6639 | 294.6874 | 239.9248 | 0.39757 | 2.4223 | 35.4042 | 22.0405 | 21.0257 | 2.4999 | 0.21861 | 0.91434 | 1.5855 | 0.13816 | 18.1974 | 0.6988 | 41.1019 | 373.8367 | 0.015659
Remark= | "13:57:17 Coolers: Tblock -> 27.00 C"
Remark= | "13:58:59 Flow: Fixed -> 500 umol/s"
61 | 13:59:23 | 2165 | 0 | 14.1572 | 0.20992 | 253.1034 | 4.9104 | 1.6688 | 23.029 | 6 | 1.42 | 1 | 2.84 | 25.5469 | 23.029 | 26.9911 | 399.6444 | 380.4457 | 11.1099 | 16.8933 | 23.1412 | 35.1876 | 500.827 | 1500.1458 | 16.5298 | 68.4212 | -2.6754 | 0.18064 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83471 | 0.0049104 | 296.179 | 298.6969 | 240.0233 | 0.61801 | 2.8247 | 41.2836 | 24.3903 | 24.288 | 3.0472 | 0.19547 | 1.1559 | 1.8913 | 0.12339 | 17.3176 | 0.66528 | 43.3382 | 373.7161 | 0.016417
62 | 13:59:23 | 2165 | 0 | 14.1572 | 0.20992 | 253.1034 | 4.9104 | 1.6688 | 23.029 | 6 | 1.42 | 1 | 2.84 | 25.5469 | 23.029 | 26.9911 | 399.6444 | 380.4457 | 11.1099 | 16.8933 | 23.1412 | 35.1876 | 500.827 | 1500.1458 | 16.5298 | 68.4212 | -2.6754 | 0.18064 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83471 | 0.0049104 | 296.179 | 298.6969 | 240.0233 | 0.61801 | 2.8247 | 41.2836 | 24.3903 | 24.288 | 3.0472 | 0.19547 | 1.1559 | 1.8913 | 0.12339 | 17.3176 | 0.66528 | 43.3382 | 373.7161 | 0.016417
63 | 13:59:24 | 2165.5 | 0 | 14.1408 | 0.2099 | 253.2223 | 4.9113 | 1.6693 | 23.032 | 6 | 1.42 | 1 | 2.84 | 25.5495 | 23.032 | 26.9908 | 399.6287 | 380.4477 | 11.1094 | 16.8943 | 23.1365 | 35.1843 | 500.7866 | 1500.1791 | 16.569 | 68.4211 | -2.6754 | 0.18064 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83464 | 0.0049113 | 296.182 | 298.6995 | 240.0286 | 0.61752 | 2.8252 | 41.2913 | 24.397 | 24.2907 | 3.0477 | 0.19545 | 1.1559 | 1.8918 | 0.12338 | 17.3257 | 0.66559 | 43.3326 | 373.7259 | 0.016396
64 | 13:59:24 | 2166 | 0 | 14.1215 | 0.20992 | 253.3968 | 4.9133 | 1.6698 | 23.0357 | 6 | 1.42 | 1 | 2.84 | 25.5521 | 23.0357 | 26.9908 | 399.6233 | 380.4644 | 11.1089 | 16.8961 | 23.1319 | 35.1825 | 500.7864 | 1500.1837 | 16.6931 | 68.421 | -2.6754 | 0.18064 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83464 | 0.0049133 | 296.1857 | 298.7021 | 240.0294 | 0.6164 | 2.8258 | 41.3005 | 24.4044 | 24.2939 | 3.0483 | 0.19547 | 1.156 | 1.8922 | 0.12339 | 17.3377 | 0.66602 | 43.3281 | 373.7516 | 0.016371
65 | 13:59:25 | 2166.5 | 0 | 14.1232 | 0.20992 | 253.3707 | 4.9144 | 1.6701 | 23.0382 | 6 | 1.42 | 1 | 2.84 | 25.5545 | 23.0382 | 26.9906 | 399.6146 | 380.4529 | 11.1084 | 16.8971 | 23.1275 | 35.1794 | 500.7786 | 1500.1794 | 16.6869 | 68.4206 | -2.6754 | 0.18064 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83463 | 0.0049144 | 296.1882 | 298.7045 | 240.0287 | 0.61576 | 2.8262 | 41.3069 | 24.4099 | 24.2963 | 3.0487 | 0.19547 | 1.1561 | 1.8926 | 0.12339 | 17.3358 | 0.66597 | 43.324 | 373.7394 | 0.016372
66 | 13:59:25 | 2167 | 0 | 14.1361 | 0.20982 | 253.2286 | 4.9138 | 1.6706 | 23.0407 | 6 | 1.42 | 1 | 2.84 | 25.557 | 23.0407 | 26.9904 | 399.6427 | 380.4655 | 11.1081 | 16.8961 | 23.1233 | 35.1721 | 500.7693 | 1500.2231 | 16.7092 | 68.4205 | -2.6754 | 0.18064 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83462 | 0.0049138 | 296.1907 | 298.707 | 240.0357 | 0.61617 | 2.8267 | 41.3134 | 24.4172 | 24.2989 | 3.0492 | 0.19539 | 1.156 | 1.8931 | 0.12334 | 17.326 | 0.66558 | 43.3138 | 373.7458 | 0.016382
67 | 13:59:26 | 2167.5 | 0 | 14.1647 | 0.20985 | 253.0306 | 4.9152 | 1.6709 | 23.0427 | 6 | 1.42 | 1 | 2.84 | 25.5601 | 23.0427 | 26.9904 | 399.6958 | 380.4836 | 11.1077 | 16.8974 | 23.1182 | 35.1682 | 500.7696 | 1500.2109 | 16.6742 | 68.4203 | -2.6754 | 0.18064 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83462 | 0.0049152 | 296.1927 | 298.7101 | 240.0337 | 0.61558 | 2.827 | 41.3184 | 24.421 | 24.3014 | 3.0496 | 0.19541 | 1.1561 | 1.8935 | 0.12335 | 17.3124 | 0.66502 | 43.3122 | 373.7504 | 0.016415
68 | 13:59:26 | 2168 | 0 | 14.1652 | 0.20984 | 253.0419 | 4.9161 | 1.6713 | 23.0455 | 6 | 1.42 | 1 | 2.84 | 25.5628 | 23.0455 | 26.9909 | 399.7241 | 380.51 | 11.1079 | 16.8988 | 23.1148 | 35.1654 | 500.752 | 1500.2626 | 16.6745 | 68.4201 | -2.6754 | 0.18064 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83459 | 0.0049161 | 296.1955 | 298.7128 | 240.042 | 0.6152 | 2.8275 | 41.3256 | 24.4268 | 24.3042 | 3.0501 | 0.1954 | 1.1562 | 1.8939 | 0.12334 | 17.3132 | 0.66501 | 43.3083 | 373.7765 | 0.016413
69 | 13:59:27 | 2168.5 | 0 | 14.1714 | 0.2097 | 252.9394 | 4.9158 | 1.6722 | 23.0508 | 6 | 1.42 | 1 | 2.84 | 25.5658 | 23.0508 | 26.9909 | 399.7573 | 380.5354 | 11.1079 | 16.8986 | 23.1108 | 35.1586 | 500.7442 | 1500.2672 | 16.6459 | 68.42 | -2.6754 | 0.18064 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83457 | 0.0049158 | 296.2008 | 298.7158 | 240.0427 | 0.61506 | 2.8284 | 41.339 | 24.4404 | 24.3083 | 3.0509 | 0.19528 | 1.1562 | 1.8947 | 0.12327 | 17.3061 | 0.66469 | 43.2921 | 373.799 | 0.016413
70 | 13:59:27 | 2169 | 0 | 14.1624 | 0.20967 | 253.0072 | 4.9174 | 1.6729 | 23.0557 | 6 | 1.42 | 1 | 2.84 | 25.569 | 23.0557 | 26.9902 | 399.7642 | 380.5519 | 11.1075 | 16.9001 | 23.1054 | 35.155 | 500.7341 | 1500.2605 | 16.6014 | 68.4202 | -2.6754 | 0.18064 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83456 | 0.0049174 | 296.2057 | 298.719 | 240.0417 | 0.61402 | 2.8292 | 41.351 | 24.451 | 24.3124 | 3.0516 | 0.19525 | 1.1563 | 1.8953 | 0.12325 | 17.3108 | 0.66484 | 43.2831 | 373.8198 | 0.016398
71 | 13:59:28 | 2169.5 | 0 | 14.1833 | 0.20962 | 252.7844 | 4.9194 | 1.674 | 23.0623 | 6 | 1.42 | 1 | 2.84 | 25.5713 | 23.0623 | 26.99 | 399.7679 | 380.5301 | 11.106 | 16.9009 | 23.0993 | 35.152 | 500.7425 | 1500.2806 | 16.5685 | 68.4201 | -2.6754 | 0.18064 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83457 | 0.0049194 | 296.2123 | 298.7213 | 240.0449 | 0.61243 | 2.8304 | 41.3676 | 24.4667 | 24.3168 | 3.0524 | 0.19521 | 1.1564 | 1.8961 | 0.12322 | 17.2955 | 0.6643 | 43.268 | 373.788 | 0.016418
72 | 13:59:28 | 2170 | 0 | 14.1765 | 0.20951 | 252.8139 | 4.9199 | 1.675 | 23.0682 | 6 | 1.42 | 1 | 2.84 | 25.5738 | 23.0682 | 26.9903 | 399.7998 | 380.5695 | 11.1057 | 16.9013 | 23.0953 | 35.1476 | 500.7388 | 1500.2826 | 16.4752 | 68.4199 | -2.6754 | 0.18064 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83456 | 0.0049199 | 296.2182 | 298.7238 | 240.0452 | 0.61169 | 2.8314 | 41.3824 | 24.4811 | 24.321 | 3.0532 | 0.19511 | 1.1564 | 1.8968 | 0.12316 | 17.2975 | 0.6643 | 43.2524 | 373.8307 | 0.016402
73 | 13:59:29 | 2170.5 | 0 | 14.1741 | 0.20945 | 252.8096 | 4.9212 | 1.6758 | 23.0731 | 6 | 1.42 | 1 | 2.84 | 25.5764 | 23.0731 | 26.9904 | 399.8108 | 380.5836 | 11.1046 | 16.9014 | 23.0893 | 35.1423 | 500.7603 | 1500.3359 | 16.4519 | 68.4198 | -2.6754 | 0.18064 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8346 | 0.0049212 | 296.2231 | 298.7264 | 240.0537 | 0.61085 | 2.8322 | 41.3948 | 24.4934 | 24.3247 | 3.0539 | 0.19506 | 1.1564 | 1.8975 | 0.12313 | 17.2972 | 0.66427 | 43.2393 | 373.8459 | 0.016394
74 | 13:59:29 | 2171 | 0 | 14.1849 | 0.20945 | 252.71 | 4.924 | 1.6767 | 23.0792 | 6 | 1.42 | 1 | 2.84 | 25.5788 | 23.0792 | 26.9904 | 399.8135 | 380.5726 | 11.1036 | 16.9035 | 23.0839 | 35.1416 | 500.7721 | 1500.3376 | 16.3746 | 68.4196 | -2.6754 | 0.18064 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83462 | 0.004924 | 296.2292 | 298.7288 | 240.054 | 0.6089 | 2.8333 | 41.4101 | 24.5066 | 24.329 | 3.0547 | 0.19507 | 1.1565 | 1.8981 | 0.12313 | 17.2903 | 0.66403 | 43.2294 | 373.8298 | 0.016403
75 | 13:59:30 | 2171.5 | 0 | 14.1813 | 0.20932 | 252.6718 | 4.9242 | 1.6778 | 23.0854 | 6 | 1.42 | 1 | 2.84 | 25.5814 | 23.0854 | 26.9908 | 399.8202 | 380.5836 | 11.103 | 16.9032 | 23.0789 | 35.1354 | 500.7732 | 1500.3618 | 16.3483 | 68.4195 | -2.6754 | 0.18064 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83462 | 0.0049242 | 296.2354 | 298.7314 | 240.0579 | 0.60833 | 2.8343 | 41.4258 | 24.5226 | 24.3334 | 3.0555 | 0.19495 | 1.1565 | 1.899 | 0.12306 | 17.2877 | 0.66391 | 43.2108 | 373.8425 | 0.016392 | 14.16 | 25.5631 | 23.0512 | #DIV/0! | 2168.0333 | 0 | 14.16 | 0.20972 | 253.0156 | 4.9165 | 1.6723 | 23.0512 | 6 | 1.42 | 1 | 2.84 | 25.5631 | 23.0512 | 26.9906 | 399.7168 | 380.5095 | 11.1072 | 16.8984 | 23.1132 | 35.164 | 500.7708 | 1500.2438 | 16.5688 | 68.4203 | -2.6754 | 0.18064 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83462 | 0.0049165 | 296.2012 | 298.7131 | 240.039 | 0.61426 | 2.8285 | 41.3396 | 24.4412 | 24.3071 | 3.0507 | 0.1953 | 1.1562 | 1.8945 | 0.12328 | 17.3114 | 0.66494 | 43.2914 | 373.7785 | 0.0164
Remark= | "13:59:39 Coolers: Tblock -> 32.00 C"
Remark= | "14:03:19 Flow: Fixed -> 500 umol/s"
76 | 14:04:18 | 2460 | 0 | 13.6912 | 0.17284 | 231.9914 | 5.0314 | 2.0343 | 26.9476 | 6 | 1.42 | 1 | 2.84 | 30.2151 | 26.9476 | 32.0671 | 399.0696 | 380.3401 | 16.5141 | 22.4175 | 26.1966 | 35.5613 | 499.9029 | 1499.2876 | 19.5638 | 68.424 | -2.6525 | 0.10937 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0050314 | 300.0976 | 303.3651 | 239.886 | 0.66975 | 3.5682 | 52.1477 | 29.7301 | 28.5813 | 3.9254 | 0.16293 | 1.5339 | 2.3915 | 0.10267 | 15.8738 | 0.60996 | 44.178 | 373.832 | 0.01618
77 | 14:04:18 | 2460 | 0 | 13.6912 | 0.17284 | 231.9914 | 5.0314 | 2.0343 | 26.9476 | 6 | 1.42 | 1 | 2.84 | 30.2151 | 26.9476 | 32.0671 | 399.0696 | 380.3401 | 16.5141 | 22.4175 | 26.1966 | 35.5613 | 499.9029 | 1499.2876 | 19.5638 | 68.424 | -2.6525 | 0.10937 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0050314 | 300.0976 | 303.3651 | 239.886 | 0.66975 | 3.5682 | 52.1477 | 29.7301 | 28.5813 | 3.9254 | 0.16293 | 1.5339 | 2.3915 | 0.10267 | 15.8738 | 0.60996 | 44.178 | 373.832 | 0.01618
78 | 14:04:19 | 2460.5 | 0 | 13.7384 | 0.17242 | 231.1551 | 5.0373 | 2.0412 | 26.9822 | 6 | 1.42 | 1 | 2.84 | 30.2159 | 26.9822 | 32.0667 | 399.0916 | 380.3022 | 16.5125 | 22.423 | 26.1926 | 35.5682 | 499.8835 | 1499.3644 | 19.5588 | 68.4233 | -2.6525 | 0.10937 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0050373 | 300.1322 | 303.3659 | 239.8983 | 0.66213 | 3.5754 | 52.2543 | 29.8313 | 28.599 | 3.9294 | 0.16255 | 1.5343 | 2.3951 | 0.10244 | 15.8164 | 0.60782 | 44.0914 | 373.7717 | 0.016206
79 | 14:04:19 | 2461 | 0 | 13.7622 | 0.17199 | 230.5125 | 5.046 | 2.0494 | 27.0243 | 6 | 1.42 | 1 | 2.84 | 30.2172 | 27.0243 | 32.0668 | 399.0801 | 380.2586 | 16.5117 | 22.4324 | 26.1893 | 35.5801 | 499.8836 | 1499.3937 | 19.6543 | 68.423 | -2.6525 | 0.10937 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.005046 | 300.1743 | 303.3672 | 239.903 | 0.65201 | 3.5843 | 52.3841 | 29.9517 | 28.6208 | 3.9344 | 0.16217 | 1.5349 | 2.3995 | 0.10219 | 15.7724 | 0.6062 | 43.9927 | 373.7168 | 0.0162
80 | 14:04:20 | 2461.5 | 0 | 13.8082 | 0.17153 | 229.635 | 5.0558 | 2.0584 | 27.0705 | 6 | 1.42 | 1 | 2.84 | 30.2189 | 27.0705 | 32.067 | 399.1043 | 380.2234 | 16.5101 | 22.4422 | 26.1842 | 35.5923 | 499.8896 | 1499.4158 | 19.615 | 68.4231 | -2.6525 | 0.10937 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0050558 | 300.2205 | 303.3689 | 239.9065 | 0.64076 | 3.594 | 52.5262 | 30.084 | 28.6447 | 3.9398 | 0.16176 | 1.5356 | 2.4043 | 0.10193 | 15.7123 | 0.60395 | 43.8844 | 373.6597 | 0.016217
81 | 14:04:20 | 2462 | 0 | 13.786 | 0.17092 | 229.3234 | 5.0635 | 2.0683 | 27.1202 | 6 | 1.42 | 1 | 2.84 | 30.2204 | 27.1202 | 32.0672 | 399.0771 | 380.2198 | 16.5104 | 22.4513 | 26.1823 | 35.6035 | 499.8995 | 1499.4879 | 19.5632 | 68.4228 | -2.6525 | 0.10937 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0050635 | 300.2702 | 303.3704 | 239.9181 | 0.63022 | 3.6045 | 52.6799 | 30.2285 | 28.6703 | 3.9457 | 0.16121 | 1.5362 | 2.4095 | 0.10159 | 15.6909 | 0.60313 | 43.7631 | 373.6666 | 0.016146
82 | 14:04:21 | 2462.5 | 0 | 13.7793 | 0.17039 | 228.9348 | 5.073 | 2.0782 | 27.1703 | 6 | 1.42 | 1 | 2.84 | 30.2223 | 27.1703 | 32.0668 | 399.0842 | 380.2311 | 16.5105 | 22.4625 | 26.1799 | 35.6176 | 499.9146 | 1499.4827 | 19.6351 | 68.4233 | -2.6525 | 0.10937 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.005073 | 300.3203 | 303.3723 | 239.9172 | 0.61855 | 3.6151 | 52.8346 | 30.3721 | 28.6963 | 3.9516 | 0.16074 | 1.537 | 2.4147 | 0.10129 | 15.6645 | 0.60209 | 43.6467 | 373.6811 | 0.016094
83 | 14:04:21 | 2463 | 0 | 13.7783 | 0.16994 | 228.5376 | 5.0843 | 2.0878 | 27.2202 | 6 | 1.42 | 1 | 2.84 | 30.2237 | 27.2202 | 32.0675 | 399.0856 | 380.2281 | 16.5116 | 22.4768 | 26.1797 | 35.6376 | 499.903 | 1499.4807 | 19.6796 | 68.4237 | -2.6525 | 0.10937 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0050843 | 300.3702 | 303.3737 | 239.9169 | 0.60598 | 3.6257 | 52.9891 | 30.5123 | 28.7219 | 3.9575 | 0.16034 | 1.5379 | 2.4196 | 0.10103 | 15.6374 | 0.60105 | 43.5383 | 373.6785 | 0.016054
84 | 14:04:22 | 2463.5 | 0 | 13.77 | 0.1696 | 228.2945 | 5.0969 | 2.0967 | 27.2668 | 6 | 1.42 | 1 | 2.84 | 30.2245 | 27.2668 | 32.0664 | 399.079 | 380.2246 | 16.5102 | 22.4905 | 26.1763 | 35.6578 | 499.8722 | 1499.5282 | 19.6847 | 68.4236 | -2.6525 | 0.10937 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0050969 | 300.4168 | 303.3745 | 239.9245 | 0.59313 | 3.6356 | 53.1341 | 30.6436 | 28.7456 | 3.963 | 0.16004 | 1.5389 | 2.4241 | 0.10084 | 15.6207 | 0.60042 | 43.439 | 373.679 | 0.016007
85 | 14:04:22 | 2464 | 0 | 13.7182 | 0.16916 | 228.4339 | 5.1012 | 2.1035 | 27.3 | 6 | 1.42 | 1 | 2.84 | 30.2261 | 27.3 | 32.0667 | 399.0316 | 380.2358 | 16.5102 | 22.4959 | 26.1737 | 35.663 | 499.8333 | 1499.5471 | 19.6041 | 68.4234 | -2.6525 | 0.10937 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0051012 | 300.45 | 303.3761 | 239.9275 | 0.58651 | 3.6427 | 53.238 | 30.742 | 28.7631 | 3.967 | 0.15965 | 1.5392 | 2.4277 | 0.1006 | 15.6302 | 0.60077 | 43.3567 | 373.7148 | 0.015915
86 | 14:04:23 | 2464.5 | 0 | 13.6641 | 0.1691 | 228.9239 | 5.108 | 2.1069 | 27.3188 | 6 | 1.42 | 1 | 2.84 | 30.2281 | 27.3188 | 32.0671 | 399.0108 | 380.2761 | 16.5097 | 22.5036 | 26.1701 | 35.6711 | 499.8174 | 1499.5447 | 19.657 | 68.4236 | -2.6525 | 0.10937 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83303 | 0.005108 | 300.4688 | 303.3781 | 239.9271 | 0.58067 | 3.6467 | 53.2963 | 30.7927 | 28.7735 | 3.9694 | 0.1596 | 1.5398 | 2.4296 | 0.10056 | 15.6638 | 0.60199 | 43.3223 | 373.7808 | 0.015837
87 | 14:04:23 | 2465 | 0 | 13.6517 | 0.16921 | 229.138 | 5.1158 | 2.1088 | 27.33 | 6 | 1.42 | 1 | 2.84 | 30.2291 | 27.33 | 32.0668 | 399.023 | 380.2994 | 16.5087 | 22.5117 | 26.167 | 35.682 | 499.8149 | 1499.5592 | 19.5711 | 68.4237 | -2.6525 | 0.10937 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83302 | 0.0051158 | 300.48 | 303.3791 | 239.9295 | 0.57521 | 3.6491 | 53.3312 | 30.8195 | 28.7795 | 3.9708 | 0.1597 | 1.5403 | 2.4304 | 0.10062 | 15.6785 | 0.60252 | 43.311 | 373.81 | 0.015817
88 | 14:04:24 | 2465.5 | 0 | 13.6256 | 0.16928 | 229.4765 | 5.1215 | 2.1103 | 27.3395 | 6 | 1.42 | 1 | 2.84 | 30.2297 | 27.3395 | 32.0667 | 399.0436 | 380.3484 | 16.5089 | 22.5186 | 26.1667 | 35.692 | 499.8146 | 1499.412 | 19.7043 | 68.4243 | -2.6525 | 0.10937 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83302 | 0.0051215 | 300.4895 | 303.3797 | 239.9059 | 0.57073 | 3.6511 | 53.3603 | 30.8417 | 28.7846 | 3.9719 | 0.15976 | 1.5408 | 2.4311 | 0.10066 | 15.7018 | 0.60333 | 43.3013 | 373.8715 | 0.015781
89 | 14:04:24 | 2466 | 0 | 13.6521 | 0.16946 | 229.3323 | 5.129 | 2.1113 | 27.3459 | 6 | 1.42 | 1 | 2.84 | 30.2308 | 27.3459 | 32.0671 | 399.0648 | 380.3347 | 16.5069 | 22.5252 | 26.1619 | 35.7002 | 499.8217 | 1499.4113 | 19.7605 | 68.4244 | -2.6525 | 0.10937 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.005129 | 300.4959 | 303.3808 | 239.9058 | 0.56613 | 3.6525 | 53.3805 | 30.8553 | 28.7884 | 3.9728 | 0.15992 | 1.5413 | 2.4315 | 0.10076 | 15.6919 | 0.60297 | 43.3003 | 373.8451 | 0.015812
90 | 14:04:25 | 2466.5 | 0 | 13.6542 | 0.16965 | 229.4555 | 5.1354 | 2.1116 | 27.35 | 6 | 1.42 | 1 | 2.84 | 30.2319 | 27.35 | 32.0673 | 399.0752 | 380.3389 | 16.5062 | 22.5322 | 26.1591 | 35.7092 | 499.8024 | 1499.4115 | 19.7646 | 68.4244 | -2.6525 | 0.10937 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.833 | 0.0051354 | 300.5 | 303.3819 | 239.9058 | 0.56234 | 3.6534 | 53.3932 | 30.8609 | 28.7909 | 3.9734 | 0.16009 | 1.5418 | 2.4316 | 0.10087 | 15.7004 | 0.60329 | 43.3065 | 373.8483 | 0.015817 | 13.7181 | 30.2233 | 27.1822 | #DIV/0! | 2463.0333 | 0 | 13.7181 | 0.17055 | 229.6757 | 5.082 | 2.0801 | 27.1822 | 6 | 1.42 | 1 | 2.84 | 30.2233 | 27.1822 | 32.067 | 399.066 | 380.2801 | 16.5104 | 22.4734 | 26.1784 | 35.6332 | 499.8637 | 1499.441 | 19.6387 | 68.4236 | -2.6525 | 0.10937 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.005082 | 300.3322 | 303.3733 | 239.9105 | 0.61226 | 3.6178 | 52.8731 | 30.3997 | 28.7028 | 3.9531 | 0.16089 | 1.5377 | 2.4154 | 0.10138 | 15.7152 | 0.60396 | 43.6406 | 373.7592 | 0.016018
Remark= | "14:04:43 Coolers: Tblock -> 37.00 C"
Remark= | "14:05:23 Coolers: Tblock -> 0.00 C"