## stm-pcup1_
OPEN 6.2.4
Sun Jun 28 2015 09:50:19
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "09:51:53 CO2 Mixer: CO2R -> 400 uml"
Remark= | "09:52:04 Lamp: ParIn -> 1500 uml"
Remark= | "09:52:10 Coolers: Tblock -> 0.00 C"
Remark= | "10:05:15 Coolers: Tblock -> 5.13 C"
Remark= | "10:05:53 Flow: Fixed -> 500 umol/s"
1 | 10:06:27 | 986.5 | 0 | 10.6125 | 0.19303 | 284.7226 | 2.8818 | 1.1063 | 12.7196 | 6 | 1.42 | 1 | 2.84 | 7.5154 | 12.7196 | 5.1284 | 400.3334 | 386.2875 | 1.8208 | 5.2547 | 12.2875 | 35.4614 | 500.887 | 1501.2496 | 52.2245 | 70.3106 | -1.9863 | 0.27207 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83481 | 0.0028818 | 285.8696 | 280.6654 | 240.1999 | 0.74811 | 1.4758 | 20.9895 | 15.7348 | 10.1175 | 1.2422 | 0.18075 | 0.36946 | 0.87277 | 0.11401 | 20.019 | 0.73707 | 28.8725 | 381.2428 | 0.0080371
2 | 10:06:27 | 986.5 | 0 | 10.6125 | 0.19303 | 284.7226 | 2.8818 | 1.1063 | 12.7196 | 6 | 1.42 | 1 | 2.84 | 7.5154 | 12.7196 | 5.1284 | 400.3334 | 386.2875 | 1.8208 | 5.2547 | 12.2875 | 35.4614 | 500.887 | 1501.2496 | 52.2245 | 70.3106 | -1.9863 | 0.27207 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83481 | 0.0028818 | 285.8696 | 280.6654 | 240.1999 | 0.74811 | 1.4758 | 20.9895 | 15.7348 | 10.1175 | 1.2422 | 0.18075 | 0.36946 | 0.87277 | 0.11401 | 20.019 | 0.73707 | 28.8725 | 381.2428 | 0.0080371
3 | 10:06:28 | 987 | 0 | 10.6644 | 0.19315 | 284.2954 | 2.8828 | 1.106 | 12.7168 | 6 | 1.42 | 1 | 2.84 | 7.5143 | 12.7168 | 5.1284 | 400.3619 | 386.2532 | 1.8197 | 5.2548 | 12.281 | 35.4644 | 500.8786 | 1501.2927 | 52.0781 | 70.3101 | -1.9863 | 0.27207 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8348 | 0.0028828 | 285.8668 | 280.6643 | 240.2068 | 0.74791 | 1.4755 | 20.9858 | 15.731 | 10.1155 | 1.2421 | 0.18085 | 0.36947 | 0.8726 | 0.11408 | 19.9888 | 0.73603 | 28.8801 | 381.1839 | 0.0080798
4 | 10:06:28 | 987.5 | 0 | 10.6379 | 0.19317 | 284.5702 | 2.8825 | 1.1058 | 12.7145 | 6 | 1.42 | 1 | 2.84 | 7.5135 | 12.7145 | 5.1286 | 400.3661 | 386.2887 | 1.82 | 5.2549 | 12.2837 | 35.4669 | 500.8617 | 1501.3079 | 52.0857 | 70.3104 | -1.9863 | 0.27207 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83477 | 0.0028825 | 285.8645 | 280.6635 | 240.2093 | 0.74828 | 1.4753 | 20.9827 | 15.7278 | 10.114 | 1.2419 | 0.18087 | 0.36947 | 0.87247 | 0.11409 | 20.0083 | 0.73668 | 28.8845 | 381.232 | 0.0080599
5 | 10:06:29 | 988 | 0 | 10.6814 | 0.19323 | 284.1926 | 2.8826 | 1.1056 | 12.7117 | 6 | 1.42 | 1 | 2.84 | 7.5135 | 12.7117 | 5.1277 | 400.3884 | 386.2582 | 1.8195 | 5.2548 | 12.2805 | 35.4662 | 500.8345 | 1501.3933 | 52.0946 | 70.3102 | -1.9863 | 0.27207 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83472 | 0.0028826 | 285.8617 | 280.6635 | 240.2229 | 0.7487 | 1.475 | 20.9789 | 15.7241 | 10.1126 | 1.2418 | 0.18092 | 0.36946 | 0.87236 | 0.11412 | 19.9816 | 0.73576 | 28.8899 | 381.1807 | 0.0080955
6 | 10:06:29 | 988.5 | 0 | 10.6738 | 0.19318 | 284.2604 | 2.8815 | 1.1054 | 12.7095 | 6 | 1.42 | 1 | 2.84 | 7.5138 | 12.7095 | 5.127 | 400.4023 | 386.2809 | 1.8198 | 5.2539 | 12.282 | 35.4597 | 500.8047 | 1501.3826 | 52.0991 | 70.3105 | -1.9863 | 0.27207 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83467 | 0.0028815 | 285.8595 | 280.6638 | 240.2212 | 0.74958 | 1.4748 | 20.9757 | 15.7218 | 10.1116 | 1.2417 | 0.18088 | 0.3694 | 0.87234 | 0.11409 | 19.9865 | 0.73589 | 28.8886 | 381.2071 | 0.0080888
7 | 10:06:30 | 989 | 0 | 10.706 | 0.19332 | 284.0405 | 2.8819 | 1.1048 | 12.7039 | 6 | 1.42 | 1 | 2.84 | 7.514 | 12.7039 | 5.1264 | 400.4339 | 386.2733 | 1.8198 | 5.2545 | 12.2819 | 35.4631 | 500.791 | 1501.4427 | 52.0301 | 70.3105 | -1.9863 | 0.27207 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83465 | 0.0028819 | 285.8539 | 280.664 | 240.2308 | 0.75019 | 1.4743 | 20.9681 | 15.7136 | 10.109 | 1.2415 | 0.181 | 0.36944 | 0.87208 | 0.11417 | 19.971 | 0.73534 | 28.9033 | 381.1842 | 0.0081178
8 | 10:06:30 | 989.5 | 0 | 10.7295 | 0.19351 | 283.9363 | 2.8833 | 1.1043 | 12.6997 | 6 | 1.42 | 1 | 2.84 | 7.5141 | 12.6997 | 5.1266 | 400.4695 | 386.2799 | 1.8194 | 5.2558 | 12.2796 | 35.4722 | 500.7863 | 1501.3265 | 52.1847 | 70.3106 | -1.9863 | 0.27207 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83464 | 0.0028833 | 285.8497 | 280.6641 | 240.2122 | 0.74975 | 1.4739 | 20.9621 | 15.7063 | 10.1069 | 1.2413 | 0.18117 | 0.36954 | 0.87181 | 0.11428 | 19.9637 | 0.73505 | 28.9209 | 381.1796 | 0.0081407
9 | 10:06:31 | 990 | 0 | 10.7094 | 0.19356 | 284.1501 | 2.8831 | 1.104 | 12.6961 | 6 | 1.42 | 1 | 2.84 | 7.5131 | 12.6961 | 5.1267 | 400.4632 | 386.2976 | 1.8195 | 5.2556 | 12.2807 | 35.4731 | 500.7837 | 1501.3071 | 52.0961 | 70.3104 | -1.9863 | 0.27207 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83464 | 0.0028831 | 285.8461 | 280.6631 | 240.2091 | 0.75015 | 1.4735 | 20.9573 | 15.7017 | 10.1046 | 1.2412 | 0.18121 | 0.36952 | 0.87163 | 0.1143 | 19.9787 | 0.73557 | 28.9267 | 381.2069 | 0.0081265
10 | 10:06:31 | 990.5 | 0 | 10.7014 | 0.19355 | 284.2387 | 2.8821 | 1.1037 | 12.6925 | 6 | 1.42 | 1 | 2.84 | 7.5124 | 12.6925 | 5.1269 | 400.4777 | 386.3216 | 1.8195 | 5.2546 | 12.2814 | 35.4683 | 500.7666 | 1501.3492 | 52.0949 | 70.3105 | -1.9863 | 0.27207 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83461 | 0.0028821 | 285.8425 | 280.6624 | 240.2159 | 0.75108 | 1.4732 | 20.9524 | 15.6978 | 10.1024 | 1.241 | 0.1812 | 0.36946 | 0.87152 | 0.1143 | 19.985 | 0.73576 | 28.9277 | 381.2347 | 0.0081201
11 | 10:06:32 | 991 | 0 | 10.6374 | 0.19335 | 284.7798 | 2.8797 | 1.1038 | 12.692 | 6 | 1.42 | 1 | 2.84 | 7.512 | 12.692 | 5.1267 | 400.4774 | 386.399 | 1.8202 | 5.2524 | 12.2863 | 35.4542 | 500.7755 | 1501.3193 | 52.1757 | 70.3109 | -1.9863 | 0.27207 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83463 | 0.0028797 | 285.842 | 280.662 | 240.2111 | 0.75232 | 1.4731 | 20.9516 | 15.6992 | 10.102 | 1.2409 | 0.18103 | 0.3693 | 0.87164 | 0.11419 | 20.0231 | 0.73701 | 28.914 | 381.3425 | 0.0080655
12 | 10:06:32 | 991.5 | 0 | 10.6421 | 0.19331 | 284.7078 | 2.8796 | 1.104 | 12.693 | 6 | 1.42 | 1 | 2.84 | 7.5117 | 12.693 | 5.1268 | 400.4691 | 386.3861 | 1.8198 | 5.2516 | 12.2837 | 35.4493 | 500.8087 | 1501.3479 | 52.2765 | 70.3106 | -1.9863 | 0.27207 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83468 | 0.0028796 | 285.843 | 280.6617 | 240.2157 | 0.75231 | 1.4732 | 20.953 | 15.7014 | 10.1024 | 1.241 | 0.18099 | 0.36924 | 0.87173 | 0.11417 | 20.018 | 0.73685 | 28.9078 | 381.3274 | 0.0080676
13 | 10:06:33 | 992 | 0 | 10.6261 | 0.19329 | 284.8793 | 2.88 | 1.1042 | 12.696 | 6 | 1.42 | 1 | 2.84 | 7.5111 | 12.696 | 5.1272 | 400.4958 | 386.4316 | 1.8195 | 5.2519 | 12.2826 | 35.4527 | 500.8038 | 1501.2863 | 52.3365 | 70.3107 | -1.9863 | 0.27207 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83467 | 0.00288 | 285.846 | 280.6611 | 240.2058 | 0.75152 | 1.4735 | 20.9571 | 15.7053 | 10.1036 | 1.2411 | 0.18098 | 0.36926 | 0.87181 | 0.11416 | 20.0301 | 0.73721 | 28.9038 | 381.3805 | 0.0080532
14 | 10:06:33 | 992.5 | 0 | 10.6314 | 0.19336 | 284.8775 | 2.8806 | 1.1041 | 12.6944 | 6 | 1.42 | 1 | 2.84 | 7.5101 | 12.6944 | 5.127 | 400.5146 | 386.4446 | 1.8189 | 5.2517 | 12.2793 | 35.4542 | 500.8336 | 1501.3663 | 52.292 | 70.3101 | -1.9863 | 0.27207 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83472 | 0.0028806 | 285.8444 | 280.6601 | 240.2186 | 0.75144 | 1.4734 | 20.9551 | 15.7034 | 10.1022 | 1.241 | 0.18103 | 0.36925 | 0.87171 | 0.11419 | 20.0298 | 0.73718 | 28.9072 | 381.391 | 0.008058
15 | 10:06:34 | 993 | 0 | 10.6599 | 0.1935 | 284.6979 | 2.8822 | 1.104 | 12.6936 | 6 | 1.42 | 1 | 2.84 | 7.5094 | 12.6936 | 5.1277 | 400.5496 | 386.4453 | 1.818 | 5.2526 | 12.2735 | 35.4618 | 500.8524 | 1501.3979 | 52.294 | 70.31 | -1.9863 | 0.27207 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83475 | 0.0028822 | 285.8436 | 280.6594 | 240.2237 | 0.75066 | 1.4733 | 20.9539 | 15.7013 | 10.1015 | 1.2409 | 0.18116 | 0.36931 | 0.87158 | 0.11427 | 20.0171 | 0.73671 | 28.9159 | 381.3781 | 0.0080823 | 10.6617 | 7.5129 | 12.7035 | #DIV/0! | 989.5333 | 0 | 10.6617 | 0.1933 | 284.4715 | 2.8817 | 1.1048 | 12.7035 | 6 | 1.42 | 1 | 2.84 | 7.5129 | 12.7035 | 5.1274 | 400.4358 | 386.329 | 1.8197 | 5.2539 | 12.2821 | 35.4619 | 500.8237 | 1501.3346 | 52.1725 | 70.3104 | -1.9863 | 0.27207 | 0.88889 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83471 | 0.0028817 | 285.8535 | 280.6629 | 240.2135 | 0.75001 | 1.4742 | 20.9675 | 15.7136 | 10.1082 | 1.2415 | 0.18099 | 0.3694 | 0.87206 | 0.11416 | 20.0013 | 0.73634 | 28.901 | 381.2609 | 0.008082
Remark= | "10:06:39 Coolers: Tblock -> 10.00 C"
Remark= | "10:09:32 Flow: Fixed -> 500 umol/s"
16 | 10:10:17 | 1216 | 0 | 10.9848 | 0.18631 | 277.5187 | 3.0298 | 1.1997 | 14.7164 | 6 | 1.42 | 1 | 2.84 | 11.3055 | 14.7164 | 10.022 | 400.8367 | 386.2757 | 3.2311 | 6.8358 | 16.8977 | 35.7492 | 500.8647 | 1500.688 | 58.2925 | 70.3126 | -2.4853 | 0.27398 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83477 | 0.0030298 | 287.8664 | 284.4555 | 240.1101 | 0.86531 | 1.6804 | 23.8987 | 17.063 | 13.0109 | 1.5042 | 0.17484 | 0.48064 | 1.0236 | 0.11025 | 19.5131 | 0.71845 | 31.9528 | 381.0541 | 0.0092111
17 | 10:10:17 | 1216 | 0 | 10.9848 | 0.18631 | 277.5187 | 3.0298 | 1.1997 | 14.7164 | 6 | 1.42 | 1 | 2.84 | 11.3055 | 14.7164 | 10.022 | 400.8367 | 386.2757 | 3.2311 | 6.8358 | 16.8977 | 35.7492 | 500.8647 | 1500.688 | 58.2925 | 70.3126 | -2.4853 | 0.27398 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83477 | 0.0030298 | 287.8664 | 284.4555 | 240.1101 | 0.86531 | 1.6804 | 23.8987 | 17.063 | 13.0109 | 1.5042 | 0.17484 | 0.48064 | 1.0236 | 0.11025 | 19.5131 | 0.71845 | 31.9528 | 381.0541 | 0.0092111
18 | 10:10:18 | 1216.5 | 0 | 11.0583 | 0.18634 | 276.8442 | 3.0295 | 1.1994 | 14.7137 | 6 | 1.42 | 1 | 2.84 | 11.3065 | 14.7137 | 10.0218 | 400.8909 | 386.2412 | 3.2315 | 6.836 | 16.8985 | 35.7478 | 500.8336 | 1500.6664 | 58.2379 | 70.3125 | -2.4853 | 0.27398 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83472 | 0.0030295 | 287.8637 | 284.4565 | 240.1066 | 0.8659 | 1.6801 | 23.8946 | 17.0586 | 13.0101 | 1.5041 | 0.17486 | 0.48065 | 1.0235 | 0.11027 | 19.4656 | 0.71677 | 31.9591 | 380.9846 | 0.0092763
19 | 10:10:18 | 1217 | 0 | 11.0235 | 0.18624 | 277.0977 | 3.028 | 1.1994 | 14.7131 | 6 | 1.42 | 1 | 2.84 | 11.3074 | 14.7131 | 10.0211 | 400.8407 | 386.2327 | 3.2322 | 6.8351 | 16.9011 | 35.7408 | 500.8087 | 1500.6819 | 58.3002 | 70.3119 | -2.4853 | 0.27398 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83468 | 0.003028 | 287.8631 | 284.4574 | 240.1091 | 0.8669 | 1.68 | 23.8939 | 17.0588 | 13.0103 | 1.5041 | 0.17478 | 0.48059 | 1.0235 | 0.11021 | 19.4833 | 0.71744 | 31.9543 | 380.9926 | 0.0092455
20 | 10:10:19 | 1217.5 | 0 | 10.9716 | 0.18616 | 277.5242 | 3.027 | 1.1995 | 14.7133 | 6 | 1.42 | 1 | 2.84 | 11.3083 | 14.7133 | 10.0205 | 400.7794 | 386.2336 | 3.2326 | 6.8344 | 16.9021 | 35.7353 | 500.7923 | 1500.7085 | 58.3577 | 70.3117 | -2.4853 | 0.27398 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83465 | 0.003027 | 287.8633 | 284.4583 | 240.1134 | 0.86754 | 1.68 | 23.8943 | 17.0599 | 13.0108 | 1.5042 | 0.17471 | 0.48054 | 1.0236 | 0.11017 | 19.5132 | 0.71854 | 31.9494 | 381.0183 | 0.0092
21 | 10:10:19 | 1218 | 0 | 10.9361 | 0.18602 | 277.7907 | 3.0262 | 1.2 | 14.7177 | 6 | 1.42 | 1 | 2.84 | 11.309 | 14.7177 | 10.0213 | 400.7581 | 386.2553 | 3.2332 | 6.834 | 16.9045 | 35.7313 | 500.8012 | 1500.675 | 58.4129 | 70.312 | -2.4853 | 0.27398 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83467 | 0.0030262 | 287.8677 | 284.459 | 240.108 | 0.86746 | 1.6805 | 23.9009 | 17.0669 | 13.0133 | 1.5044 | 0.17459 | 0.48051 | 1.0239 | 0.11009 | 19.532 | 0.71919 | 31.9368 | 381.0568 | 0.0091657
22 | 10:10:20 | 1218.5 | 0 | 10.9349 | 0.18608 | 277.8388 | 3.0272 | 1.2001 | 14.7194 | 6 | 1.42 | 1 | 2.84 | 11.3105 | 14.7194 | 10.0211 | 400.7707 | 386.2676 | 3.2329 | 6.8352 | 16.9013 | 35.7345 | 500.7561 | 1500.575 | 58.5239 | 70.3123 | -2.4853 | 0.27398 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83459 | 0.0030272 | 287.8694 | 284.4605 | 240.092 | 0.86668 | 1.6807 | 23.9035 | 17.0682 | 13.0149 | 1.5046 | 0.17463 | 0.4806 | 1.024 | 0.11012 | 19.5355 | 0.71929 | 31.9398 | 381.0697 | 0.0091652
23 | 10:10:20 | 1219 | 0 | 10.9412 | 0.18611 | 277.7788 | 3.0277 | 1.2001 | 14.72 | 6 | 1.42 | 1 | 2.84 | 11.3113 | 14.72 | 10.0214 | 400.7593 | 386.2484 | 3.233 | 6.836 | 16.901 | 35.7364 | 500.7522 | 1500.5804 | 58.5307 | 70.3124 | -2.4853 | 0.27398 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83459 | 0.0030277 | 287.87 | 284.4613 | 240.0929 | 0.86645 | 1.6808 | 23.9044 | 17.0685 | 13.0157 | 1.5047 | 0.17466 | 0.48065 | 1.024 | 0.11014 | 19.5313 | 0.71917 | 31.9423 | 381.0475 | 0.0091717
24 | 10:10:21 | 1219.5 | 0 | 10.941 | 0.18599 | 277.7236 | 3.0259 | 1.2001 | 14.7191 | 6 | 1.42 | 1 | 2.84 | 11.3132 | 14.7191 | 10.0217 | 400.76 | 386.2498 | 3.2338 | 6.8347 | 16.9031 | 35.7253 | 500.7421 | 1500.5441 | 58.6356 | 70.3124 | -2.4853 | 0.27398 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83457 | 0.0030259 | 287.8691 | 284.4632 | 240.087 | 0.86768 | 1.6807 | 23.903 | 17.0683 | 13.0162 | 1.5047 | 0.17456 | 0.48056 | 1.0242 | 0.11007 | 19.5274 | 0.71903 | 31.9364 | 381.0489 | 0.0091699
25 | 10:10:21 | 1220 | 0 | 10.9281 | 0.18597 | 277.8345 | 3.0254 | 1.2 | 14.7181 | 6 | 1.42 | 1 | 2.84 | 11.3143 | 14.7181 | 10.0217 | 400.7498 | 386.2563 | 3.234 | 6.834 | 16.9032 | 35.7195 | 500.7793 | 1500.5244 | 58.7538 | 70.3125 | -2.4853 | 0.27398 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83463 | 0.0030254 | 287.8681 | 284.4643 | 240.0839 | 0.86817 | 1.6806 | 23.9014 | 17.0674 | 13.0162 | 1.5047 | 0.17454 | 0.48052 | 1.0242 | 0.11006 | 19.5353 | 0.7193 | 31.9351 | 381.0616 | 0.0091584
26 | 10:10:22 | 1220.5 | 0 | 10.9191 | 0.18615 | 278.0301 | 3.0278 | 1.1999 | 14.718 | 6 | 1.42 | 1 | 2.84 | 11.3156 | 14.718 | 10.0222 | 400.7637 | 386.2813 | 3.2331 | 6.8356 | 16.8967 | 35.7244 | 500.8311 | 1500.4373 | 58.8337 | 70.3127 | -2.4853 | 0.27398 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83472 | 0.0030278 | 287.868 | 284.4656 | 240.07 | 0.86689 | 1.6806 | 23.9011 | 17.0656 | 13.0168 | 1.5048 | 0.17469 | 0.48063 | 1.0241 | 0.11016 | 19.5491 | 0.71976 | 31.9455 | 381.0909 | 0.0091531
27 | 10:10:22 | 1221 | 0 | 10.913 | 0.18615 | 278.1066 | 3.0276 | 1.1998 | 14.7173 | 6 | 1.42 | 1 | 2.84 | 11.317 | 14.7173 | 10.0218 | 400.7754 | 386.301 | 3.2337 | 6.8358 | 16.8987 | 35.7228 | 500.8563 | 1500.3301 | 58.8192 | 70.3133 | -2.4853 | 0.27398 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83476 | 0.0030276 | 287.8673 | 284.467 | 240.0528 | 0.86702 | 1.6805 | 23.9 | 17.0641 | 13.0172 | 1.5048 | 0.1747 | 0.48065 | 1.0242 | 0.11016 | 19.5546 | 0.71992 | 31.948 | 381.1135 | 0.0091482
28 | 10:10:23 | 1221.5 | 0 | 10.9341 | 0.18623 | 277.9569 | 3.029 | 1.1999 | 14.7181 | 6 | 1.42 | 1 | 2.84 | 11.3179 | 14.7181 | 10.0225 | 400.8011 | 386.3012 | 3.2326 | 6.8363 | 16.8921 | 35.7229 | 500.8685 | 1500.3424 | 58.7854 | 70.3131 | -2.4853 | 0.27398 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83478 | 0.003029 | 287.8681 | 284.4679 | 240.0548 | 0.86635 | 1.6806 | 23.9012 | 17.0649 | 13.018 | 1.5049 | 0.17477 | 0.48068 | 1.0242 | 0.11021 | 19.544 | 0.71953 | 31.9501 | 381.1037 | 0.0091667
29 | 10:10:23 | 1222 | 0 | 10.943 | 0.18626 | 277.9066 | 3.029 | 1.1997 | 14.7164 | 6 | 1.42 | 1 | 2.84 | 11.3185 | 14.7164 | 10.0227 | 400.8221 | 386.3125 | 3.2328 | 6.8363 | 16.8923 | 35.7214 | 500.9025 | 1500.3539 | 58.8639 | 70.3127 | -2.4853 | 0.27398 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83484 | 0.003029 | 287.8664 | 284.4685 | 240.0566 | 0.86662 | 1.6804 | 23.8987 | 17.0624 | 13.0174 | 1.5048 | 0.1748 | 0.48068 | 1.0242 | 0.11022 | 19.5404 | 0.71938 | 31.9538 | 381.1108 | 0.009175
30 | 10:10:24 | 1222.5 | 0 | 10.9778 | 0.18626 | 277.5875 | 3.0296 | 1.1999 | 14.7185 | 6 | 1.42 | 1 | 2.84 | 11.3193 | 14.7185 | 10.0232 | 400.8568 | 386.3059 | 3.2326 | 6.8366 | 16.8903 | 35.721 | 500.9228 | 1500.4993 | 58.8614 | 70.3126 | -2.4853 | 0.27398 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83487 | 0.0030296 | 287.8685 | 284.4693 | 240.0799 | 0.86645 | 1.6806 | 23.902 | 17.0654 | 13.0189 | 1.505 | 0.1748 | 0.4807 | 1.0243 | 0.11022 | 19.5179 | 0.71857 | 31.9512 | 381.0876 | 0.009204 | 10.9594 | 11.312 | 14.717 | #DIV/0! | 1219.0333 | 0 | 10.9594 | 0.18617 | 277.6705 | 3.028 | 1.1998 | 14.717 | 6 | 1.42 | 1 | 2.84 | 11.312 | 14.717 | 10.0218 | 400.8001 | 386.2692 | 3.2327 | 6.8354 | 16.8987 | 35.7321 | 500.8251 | 1500.553 | 58.5668 | 70.3125 | -2.4853 | 0.27398 | 0.93333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83471 | 0.003028 | 287.867 | 284.462 | 240.0885 | 0.86671 | 1.6805 | 23.8998 | 17.0643 | 13.0145 | 1.5046 | 0.17472 | 0.48062 | 1.0239 | 0.11017 | 19.5237 | 0.71885 | 31.9472 | 381.0596 | 0.0091881
Remark= | "10:10:31 Coolers: Tblock -> 15.00 C"
Remark= | "10:13:32 Flow: Fixed -> 500 umol/s"
31 | 10:14:12 | 1452 | 0 | 11.3656 | 0.17975 | 267.8084 | 3.3223 | 1.3564 | 17.2567 | 6 | 1.42 | 1 | 2.84 | 15.5162 | 17.2567 | 15.0968 | 399.8031 | 384.6298 | 4.8664 | 8.8183 | 19.3421 | 35.0495 | 499.9639 | 1498.3876 | 63.9324 | 70.314 | -2.657 | 0.26883 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0033223 | 290.4067 | 288.6662 | 239.742 | 0.89802 | 1.9764 | 28.1085 | 19.2902 | 16.3864 | 1.8702 | 0.16905 | 0.62005 | 1.2502 | 0.10657 | 18.8307 | 0.69628 | 34.2435 | 379.2271 | 0.010263
32 | 10:14:13 | 1452 | 0 | 11.3656 | 0.17975 | 267.8084 | 3.3223 | 1.3564 | 17.2567 | 6 | 1.42 | 1 | 2.84 | 15.5162 | 17.2567 | 15.0968 | 399.8031 | 384.6298 | 4.8664 | 8.8183 | 19.3421 | 35.0495 | 499.9639 | 1498.3876 | 63.9324 | 70.314 | -2.657 | 0.26883 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0033223 | 290.4067 | 288.6662 | 239.742 | 0.89802 | 1.9764 | 28.1085 | 19.2902 | 16.3864 | 1.8702 | 0.16905 | 0.62005 | 1.2502 | 0.10657 | 18.8307 | 0.69628 | 34.2435 | 379.2271 | 0.010263
33 | 10:14:13 | 1452 | 0 | 11.3656 | 0.17975 | 267.8084 | 3.3223 | 1.3564 | 17.2567 | 6 | 1.42 | 1 | 2.84 | 15.5162 | 17.2567 | 15.0968 | 399.8031 | 384.6298 | 4.8664 | 8.8183 | 19.3421 | 35.0495 | 499.9639 | 1498.3876 | 63.9324 | 70.314 | -2.657 | 0.26883 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0033223 | 290.4067 | 288.6662 | 239.742 | 0.89802 | 1.9764 | 28.1085 | 19.2902 | 16.3864 | 1.8702 | 0.16905 | 0.62005 | 1.2502 | 0.10657 | 18.8307 | 0.69628 | 34.2435 | 379.2271 | 0.010263
34 | 10:14:14 | 1452.5 | 0 | 11.3577 | 0.17981 | 267.9236 | 3.323 | 1.3562 | 17.2557 | 6 | 1.42 | 1 | 2.84 | 15.5169 | 17.2557 | 15.0976 | 399.8012 | 384.6369 | 4.8665 | 8.8192 | 19.3418 | 35.0516 | 499.959 | 1498.3967 | 63.8585 | 70.314 | -2.657 | 0.26883 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83326 | 0.003323 | 290.4057 | 288.6669 | 239.7435 | 0.89791 | 1.9763 | 28.1068 | 19.2876 | 16.3863 | 1.8702 | 0.1691 | 0.62012 | 1.2501 | 0.1066 | 18.8388 | 0.69656 | 34.2497 | 379.238 | 0.010257
35 | 10:14:14 | 1453 | 0 | 11.4119 | 0.17988 | 267.4357 | 3.3238 | 1.356 | 17.255 | 6 | 1.42 | 1 | 2.84 | 15.5178 | 17.255 | 15.0982 | 399.8371 | 384.6071 | 4.8667 | 8.8205 | 19.3411 | 35.0544 | 499.9439 | 1498.4338 | 63.8555 | 70.3137 | -2.657 | 0.26883 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0033238 | 290.405 | 288.6678 | 239.7494 | 0.89775 | 1.9762 | 28.1057 | 19.2851 | 16.3864 | 1.8702 | 0.16917 | 0.6202 | 1.25 | 0.10664 | 18.8044 | 0.69535 | 34.2569 | 379.1824 | 0.01031
36 | 10:14:15 | 1453.5 | 0 | 11.3647 | 0.17979 | 267.8687 | 3.3228 | 1.3563 | 17.2568 | 6 | 1.42 | 1 | 2.84 | 15.5189 | 17.2568 | 15.0983 | 399.8348 | 384.6619 | 4.8671 | 8.8197 | 19.3418 | 35.049 | 499.9536 | 1498.3997 | 64.0292 | 70.3143 | -2.657 | 0.26883 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83326 | 0.0033228 | 290.4068 | 288.6689 | 239.7439 | 0.89812 | 1.9764 | 28.1086 | 19.289 | 16.3879 | 1.8704 | 0.16908 | 0.62015 | 1.2502 | 0.10659 | 18.835 | 0.69637 | 34.2486 | 379.2597 | 0.010263
37 | 10:14:15 | 1454 | 0 | 11.3662 | 0.17982 | 267.8796 | 3.3236 | 1.3564 | 17.258 | 6 | 1.42 | 1 | 2.84 | 15.5201 | 17.258 | 15.0986 | 399.8416 | 384.6662 | 4.867 | 8.8206 | 19.3396 | 35.0499 | 499.9408 | 1498.4053 | 64.1954 | 70.3145 | -2.657 | 0.26883 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0033236 | 290.408 | 288.6701 | 239.7448 | 0.8977 | 1.9766 | 28.1106 | 19.29 | 16.3891 | 1.8705 | 0.16912 | 0.62022 | 1.2503 | 0.10661 | 18.8358 | 0.69639 | 34.2504 | 379.2632 | 0.010265
38 | 10:14:16 | 1454.5 | 0 | 11.3942 | 0.17988 | 267.6355 | 3.3246 | 1.3563 | 17.2587 | 6 | 1.42 | 1 | 2.84 | 15.5215 | 17.2587 | 15.0994 | 399.8567 | 384.6465 | 4.8672 | 8.8222 | 19.3388 | 35.0532 | 499.9138 | 1498.7614 | 64.1656 | 70.3145 | -2.657 | 0.26883 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0033246 | 290.4087 | 288.6715 | 239.8018 | 0.89794 | 1.9767 | 28.1118 | 19.2896 | 16.3901 | 1.8707 | 0.16917 | 0.62033 | 1.2503 | 0.10664 | 18.8187 | 0.6958 | 34.2557 | 379.2303 | 0.010292
39 | 10:14:16 | 1455 | 0 | 11.4288 | 0.17986 | 267.2876 | 3.3247 | 1.3566 | 17.2606 | 6 | 1.42 | 1 | 2.84 | 15.5223 | 17.2606 | 15.0993 | 399.8859 | 384.6342 | 4.8668 | 8.822 | 19.3365 | 35.0508 | 499.9155 | 1499.1896 | 64.1775 | 70.3147 | -2.657 | 0.26883 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0033247 | 290.4106 | 288.6723 | 239.8703 | 0.89854 | 1.9769 | 28.1151 | 19.2931 | 16.3914 | 1.8708 | 0.16915 | 0.62032 | 1.2505 | 0.10663 | 18.7943 | 0.69491 | 34.2509 | 379.2015 | 0.010323
40 | 10:14:17 | 1455.5 | 0 | 11.427 | 0.17982 | 267.3016 | 3.3246 | 1.3567 | 17.2619 | 6 | 1.42 | 1 | 2.84 | 15.5229 | 17.2619 | 15.0998 | 399.9014 | 384.6517 | 4.8672 | 8.8222 | 19.3371 | 35.0501 | 499.9088 | 1499.6086 | 64.1114 | 70.3145 | -2.657 | 0.26883 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0033246 | 290.4119 | 288.6729 | 239.9374 | 0.89935 | 1.9771 | 28.1176 | 19.2954 | 16.3924 | 1.8709 | 0.16912 | 0.62033 | 1.2506 | 0.10661 | 18.7952 | 0.69492 | 34.248 | 379.2198 | 0.01032
41 | 10:14:17 | 1456 | 0 | 11.4172 | 0.17981 | 267.3563 | 3.3243 | 1.3568 | 17.2619 | 6 | 1.42 | 1 | 2.84 | 15.5243 | 17.2619 | 15.0997 | 399.8631 | 384.6259 | 4.8675 | 8.8221 | 19.3363 | 35.046 | 499.9251 | 1499.9503 | 64.1463 | 70.314 | -2.657 | 0.26883 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0033243 | 290.4119 | 288.6743 | 239.992 | 0.90031 | 1.9771 | 28.1178 | 19.2958 | 16.3931 | 1.871 | 0.1691 | 0.62031 | 1.2507 | 0.1066 | 18.7989 | 0.69511 | 34.2469 | 379.1987 | 0.010311
42 | 10:14:18 | 1456.5 | 0 | 11.4249 | 0.17968 | 267.2139 | 3.3232 | 1.3572 | 17.2645 | 6 | 1.42 | 1 | 2.84 | 15.5255 | 17.2645 | 15.0994 | 399.8749 | 384.6298 | 4.8673 | 8.8202 | 19.334 | 35.0363 | 499.9523 | 1500.2211 | 64.1562 | 70.3141 | -2.657 | 0.26883 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0033232 | 290.4145 | 288.6755 | 240.0354 | 0.90125 | 1.9774 | 28.1223 | 19.3021 | 16.395 | 1.8712 | 0.16899 | 0.62019 | 1.2511 | 0.10653 | 18.7889 | 0.69473 | 34.2331 | 379.1989 | 0.010314
43 | 10:14:18 | 1457 | 0 | 11.3864 | 0.17968 | 267.5836 | 3.3238 | 1.3575 | 17.2671 | 6 | 1.42 | 1 | 2.84 | 15.5267 | 17.2671 | 15.0996 | 399.8461 | 384.6471 | 4.867 | 8.8207 | 19.3315 | 35.0355 | 499.966 | 1500.4886 | 64.2203 | 70.3146 | -2.657 | 0.26883 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.0033238 | 290.4171 | 288.6767 | 240.0782 | 0.90123 | 1.9777 | 28.1267 | 19.306 | 16.3969 | 1.8715 | 0.16899 | 0.62022 | 1.2512 | 0.10653 | 18.815 | 0.69566 | 34.2296 | 379.2346 | 0.010277
44 | 10:14:19 | 1457.5 | 0 | 11.4323 | 0.17962 | 267.1077 | 3.3238 | 1.3578 | 17.27 | 6 | 1.42 | 1 | 2.84 | 15.5282 | 17.27 | 15.0997 | 399.8795 | 384.6259 | 4.8673 | 8.8209 | 19.3309 | 35.0329 | 499.9762 | 1500.821 | 64.1744 | 70.3142 | -2.657 | 0.26883 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83329 | 0.0033238 | 290.42 | 288.6782 | 240.1314 | 0.90169 | 1.9781 | 28.1321 | 19.3111 | 16.3991 | 1.8717 | 0.16894 | 0.62024 | 1.2515 | 0.1065 | 18.7815 | 0.69446 | 34.2234 | 379.1915 | 0.010318
45 | 10:14:19 | 1458 | 0 | 11.4388 | 0.17972 | 267.083 | 3.3253 | 1.3578 | 17.2705 | 6 | 1.42 | 1 | 2.84 | 15.5289 | 17.2705 | 15.0997 | 399.8712 | 384.6088 | 4.8671 | 8.8226 | 19.3295 | 35.0382 | 499.9613 | 1501.1041 | 64.2555 | 70.3147 | -2.657 | 0.26883 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0033253 | 290.4205 | 288.6789 | 240.1767 | 0.90149 | 1.9781 | 28.1328 | 19.3102 | 16.3997 | 1.8718 | 0.16902 | 0.62036 | 1.2514 | 0.10655 | 18.7799 | 0.69443 | 34.2302 | 379.1714 | 0.010326 | 11.3965 | 15.5215 | 17.2607 | #DIV/0! | 1454.6 | 0 | 11.3965 | 0.17977 | 267.5401 | 3.3236 | 1.3567 | 17.2607 | 6 | 1.42 | 1 | 2.84 | 15.5215 | 17.2607 | 15.0986 | 399.8468 | 384.6354 | 4.8669 | 8.8205 | 19.3377 | 35.0464 | 499.9472 | 1499.2629 | 64.0762 | 70.3142 | -2.657 | 0.26883 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0033236 | 290.4107 | 288.6715 | 239.8821 | 0.89916 | 1.9769 | 28.1156 | 19.295 | 16.3911 | 1.8708 | 0.16907 | 0.62021 | 1.2506 | 0.10658 | 18.8119 | 0.69557 | 34.2436 | 379.2181 | 0.010291
Remark= | "10:14:30 Coolers: Tblock -> 20.00 C"
Remark= | "10:18:27 Flow: Fixed -> 500 umol/s"
46 | 10:19:04 | 1744 | 0 | 11.53 | 0.17144 | 260.7052 | 3.6618 | 1.5563 | 20.21 | 6 | 1.42 | 1 | 2.84 | 19.8699 | 20.21 | 19.9799 | 401.0191 | 385.4868 | 7.3322 | 11.6757 | 22.1483 | 35.2688 | 499.9209 | 1500.9435 | 71.1621 | 70.3151 | -2.7582 | 0.25605 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0036618 | 293.36 | 293.0199 | 240.151 | 0.89395 | 2.3773 | 33.8092 | 22.1335 | 20.04 | 2.3524 | 0.16168 | 0.82098 | 1.5314 | 0.10188 | 18.3315 | 0.6763 | 36.8243 | 380.006 | 0.011173
47 | 10:19:05 | 1744 | 0 | 11.53 | 0.17144 | 260.7052 | 3.6618 | 1.5563 | 20.21 | 6 | 1.42 | 1 | 2.84 | 19.8699 | 20.21 | 19.9799 | 401.0191 | 385.4868 | 7.3322 | 11.6757 | 22.1483 | 35.2688 | 499.9209 | 1500.9435 | 71.1621 | 70.3151 | -2.7582 | 0.25605 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0036618 | 293.36 | 293.0199 | 240.151 | 0.89395 | 2.3773 | 33.8092 | 22.1335 | 20.04 | 2.3524 | 0.16168 | 0.82098 | 1.5314 | 0.10188 | 18.3315 | 0.6763 | 36.8243 | 380.006 | 0.011173
48 | 10:19:05 | 1744 | 0 | 11.53 | 0.17144 | 260.7052 | 3.6618 | 1.5563 | 20.21 | 6 | 1.42 | 1 | 2.84 | 19.8699 | 20.21 | 19.9799 | 401.0191 | 385.4868 | 7.3322 | 11.6757 | 22.1483 | 35.2688 | 499.9209 | 1500.9435 | 71.1621 | 70.3151 | -2.7582 | 0.25605 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0036618 | 293.36 | 293.0199 | 240.151 | 0.89395 | 2.3773 | 33.8092 | 22.1335 | 20.04 | 2.3524 | 0.16168 | 0.82098 | 1.5314 | 0.10188 | 18.3315 | 0.6763 | 36.8243 | 380.006 | 0.011173
49 | 10:19:06 | 1744.5 | 0 | 11.4831 | 0.17153 | 261.2729 | 3.6633 | 1.5562 | 20.2094 | 6 | 1.42 | 1 | 2.84 | 19.8705 | 20.2094 | 19.9805 | 401.021 | 385.5447 | 7.3317 | 11.6768 | 22.1461 | 35.2711 | 499.9406 | 1500.8672 | 71.1567 | 70.3153 | -2.7582 | 0.25605 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0036633 | 293.3594 | 293.0205 | 240.1387 | 0.89316 | 2.3772 | 33.8079 | 22.1311 | 20.0399 | 2.3524 | 0.16176 | 0.82106 | 1.5314 | 0.10194 | 18.3715 | 0.67767 | 36.8307 | 380.0862 | 0.011127
50 | 10:19:06 | 1745 | 0 | 11.5181 | 0.17159 | 260.947 | 3.6643 | 1.5561 | 20.2096 | 6 | 1.42 | 1 | 2.84 | 19.8719 | 20.2096 | 19.9806 | 401.0403 | 385.5209 | 7.3313 | 11.6779 | 22.143 | 35.2711 | 499.9196 | 1500.8422 | 71.2524 | 70.3149 | -2.7582 | 0.25605 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0036643 | 293.3596 | 293.0219 | 240.1347 | 0.89271 | 2.3772 | 33.8085 | 22.1306 | 20.0407 | 2.3525 | 0.16181 | 0.82113 | 1.5314 | 0.10197 | 18.3485 | 0.67687 | 36.8342 | 380.0458 | 0.011163
51 | 10:19:07 | 1745.5 | 0 | 11.4834 | 0.17156 | 261.2747 | 3.6638 | 1.5561 | 20.2092 | 6 | 1.42 | 1 | 2.84 | 19.8723 | 20.2092 | 19.9804 | 401.0077 | 385.5305 | 7.332 | 11.6777 | 22.1441 | 35.2692 | 499.9319 | 1500.9137 | 71.3074 | 70.3145 | -2.7582 | 0.25605 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0036638 | 293.3592 | 293.0223 | 240.1462 | 0.89327 | 2.3772 | 33.808 | 22.1303 | 20.0408 | 2.3525 | 0.16179 | 0.82111 | 1.5314 | 0.10195 | 18.3714 | 0.6777 | 36.8337 | 380.0719 | 0.011129
52 | 10:19:07 | 1746 | 0 | 11.4469 | 0.17169 | 261.7309 | 3.6659 | 1.5559 | 20.2084 | 6 | 1.42 | 1 | 2.84 | 19.8731 | 20.2084 | 19.9808 | 400.9922 | 385.5578 | 7.3302 | 11.6785 | 22.1379 | 35.2698 | 499.9352 | 1500.8486 | 71.2632 | 70.3145 | -2.7582 | 0.25605 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0036659 | 293.3584 | 293.0231 | 240.1358 | 0.89225 | 2.3771 | 33.8062 | 22.1277 | 20.0407 | 2.3525 | 0.1619 | 0.82117 | 1.5314 | 0.10202 | 18.4035 | 0.67884 | 36.8403 | 380.1165 | 0.011094
53 | 10:19:08 | 1746.5 | 0 | 11.4528 | 0.17174 | 261.7217 | 3.6668 | 1.5559 | 20.2091 | 6 | 1.42 | 1 | 2.84 | 19.8741 | 20.2091 | 19.9811 | 401.0164 | 385.5746 | 7.3309 | 11.6801 | 22.1388 | 35.2733 | 499.943 | 1500.7312 | 71.2684 | 70.3156 | -2.7582 | 0.25605 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0036668 | 293.3591 | 293.0241 | 240.117 | 0.89156 | 2.3772 | 33.8072 | 22.1271 | 20.0416 | 2.3527 | 0.16195 | 0.8213 | 1.5314 | 0.10205 | 18.4031 | 0.67878 | 36.8451 | 380.1305 | 0.011101
54 | 10:19:08 | 1747 | 0 | 11.4617 | 0.1718 | 261.6523 | 3.6677 | 1.5558 | 20.2087 | 6 | 1.42 | 1 | 2.84 | 19.8745 | 20.2087 | 19.9807 | 401.0064 | 385.5532 | 7.33 | 11.6805 | 22.1357 | 35.2738 | 499.9273 | 1500.7384 | 71.2623 | 70.3161 | -2.7582 | 0.25605 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0036677 | 293.3587 | 293.0245 | 240.1181 | 0.89118 | 2.3771 | 33.8061 | 22.1256 | 20.0416 | 2.3527 | 0.162 | 0.82133 | 1.5313 | 0.10209 | 18.3984 | 0.67864 | 36.8484 | 380.1049 | 0.011111
55 | 10:19:09 | 1747.5 | 0 | 11.4207 | 0.17183 | 262.1033 | 3.6687 | 1.5559 | 20.2101 | 6 | 1.42 | 1 | 2.84 | 19.8751 | 20.2101 | 19.9815 | 400.9944 | 385.59 | 7.3298 | 11.6815 | 22.1346 | 35.2756 | 499.9347 | 1500.764 | 71.4364 | 70.3167 | -2.7582 | 0.25605 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0036687 | 293.3601 | 293.0251 | 240.1222 | 0.8906 | 2.3773 | 33.8088 | 22.1273 | 20.0426 | 2.3528 | 0.16203 | 0.8214 | 1.5314 | 0.10211 | 18.4303 | 0.67975 | 36.8492 | 380.1611 | 0.01107
56 | 10:19:09 | 1748 | 0 | 11.4428 | 0.17194 | 261.954 | 3.6711 | 1.556 | 20.2114 | 6 | 1.42 | 1 | 2.84 | 19.8758 | 20.2114 | 19.982 | 401.0188 | 385.5878 | 7.3291 | 11.6832 | 22.1312 | 35.2792 | 499.9692 | 1500.7354 | 71.4163 | 70.3166 | -2.7582 | 0.25605 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.0036711 | 293.3614 | 293.0258 | 240.1177 | 0.88922 | 2.3775 | 33.8115 | 22.1283 | 20.0436 | 2.353 | 0.16213 | 0.82152 | 1.5314 | 0.10217 | 18.4197 | 0.67936 | 36.8536 | 380.1484 | 0.011093
57 | 10:19:10 | 1748.5 | 0 | 11.4515 | 0.17193 | 261.8406 | 3.6719 | 1.5564 | 20.2151 | 6 | 1.42 | 1 | 2.84 | 19.8769 | 20.2151 | 19.9822 | 401.0119 | 385.5706 | 7.3297 | 11.6846 | 22.1317 | 35.2812 | 499.9803 | 1500.714 | 71.421 | 70.3166 | -2.7582 | 0.25605 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8333 | 0.0036719 | 293.3651 | 293.0269 | 240.1142 | 0.88844 | 2.3781 | 33.8193 | 22.1347 | 20.046 | 2.3533 | 0.16211 | 0.82162 | 1.5317 | 0.10216 | 18.4117 | 0.6791 | 36.8493 | 380.1271 | 0.011101
58 | 10:19:10 | 1749 | 0 | 11.4575 | 0.17193 | 261.7954 | 3.6725 | 1.5567 | 20.2175 | 6 | 1.42 | 1 | 2.84 | 19.8775 | 20.2175 | 19.9821 | 401.0331 | 385.5855 | 7.3305 | 11.6858 | 22.1333 | 35.2833 | 500.0218 | 1500.7228 | 71.3964 | 70.3167 | -2.7582 | 0.25605 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83337 | 0.0036725 | 293.3675 | 293.0275 | 240.1156 | 0.88791 | 2.3784 | 33.8242 | 22.1384 | 20.0475 | 2.3535 | 0.16211 | 0.82171 | 1.5318 | 0.10216 | 18.4086 | 0.67896 | 36.8476 | 380.1392 | 0.011106
59 | 10:19:11 | 1749.5 | 0 | 11.4927 | 0.17193 | 261.4564 | 3.6737 | 1.5572 | 20.2213 | 6 | 1.42 | 1 | 2.84 | 19.8791 | 20.2213 | 19.983 | 401.0786 | 385.5891 | 7.3302 | 11.6867 | 22.1303 | 35.2825 | 500.0508 | 1500.6655 | 71.4823 | 70.3165 | -2.7582 | 0.25605 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83342 | 0.0036737 | 293.3713 | 293.0291 | 240.1065 | 0.88688 | 2.379 | 33.8321 | 22.1455 | 20.0502 | 2.3539 | 0.16211 | 0.82177 | 1.5321 | 0.10216 | 18.3847 | 0.67807 | 36.8421 | 380.126 | 0.011139
60 | 10:19:11 | 1750 | 0 | 11.4827 | 0.17195 | 261.5904 | 3.675 | 1.5576 | 20.2247 | 6 | 1.42 | 1 | 2.84 | 19.8801 | 20.2247 | 19.9829 | 401.0951 | 385.6174 | 7.3307 | 11.6886 | 22.1304 | 35.2862 | 500.0666 | 1500.6743 | 71.5414 | 70.3166 | -2.7582 | 0.25605 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83344 | 0.003675 | 293.3747 | 293.0301 | 240.1079 | 0.88587 | 2.3795 | 33.8394 | 22.1508 | 20.0524 | 2.3542 | 0.16213 | 0.8219 | 1.5323 | 0.10217 | 18.3942 | 0.67837 | 36.8406 | 380.1591 | 0.011128 | 11.4789 | 19.874 | 20.2123 | #DIV/0! | 1746.6 | 0 | 11.4789 | 0.17172 | 261.4304 | 3.6673 | 1.5563 | 20.2123 | 6 | 1.42 | 1 | 2.84 | 19.874 | 20.2123 | 19.9812 | 401.0249 | 385.5522 | 7.3308 | 11.6806 | 22.1388 | 35.2749 | 499.9589 | 1500.8032 | 71.3127 | 70.3157 | -2.7582 | 0.25605 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83326 | 0.0036673 | 293.3623 | 293.024 | 240.1285 | 0.89099 | 2.3776 | 33.8138 | 22.1332 | 20.0432 | 2.3529 | 0.16192 | 0.82133 | 1.5316 | 0.10204 | 18.3827 | 0.67807 | 36.8392 | 380.0956 | 0.011125
Remark= | "10:19:24 Coolers: Tblock -> 25.00 C"
Remark= | "10:23:14 Flow: Fixed -> 500 umol/s"
61 | 10:24:20 | 2059.5 | 0 | 11.4511 | 0.16418 | 255.0657 | 4.0648 | 1.7898 | 23.3101 | 6 | 1.42 | 1 | 2.84 | 24.3607 | 23.3101 | 25.0508 | 401.1277 | 385.504 | 10.603 | 15.4062 | 24.3608 | 35.3964 | 499.9364 | 1499.5149 | 79.3353 | 70.3161 | -2.6638 | 0.23102 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0040648 | 296.4601 | 297.5107 | 239.9224 | 0.86117 | 2.8731 | 40.8595 | 25.4533 | 23.8354 | 2.9655 | 0.1552 | 1.0833 | 1.8822 | 0.09777 | 17.9352 | 0.66164 | 39.405 | 380.0607 | 0.011873
62 | 10:24:20 | 2059.5 | 0 | 11.4511 | 0.16418 | 255.0657 | 4.0648 | 1.7898 | 23.3101 | 6 | 1.42 | 1 | 2.84 | 24.3607 | 23.3101 | 25.0508 | 401.1277 | 385.504 | 10.603 | 15.4062 | 24.3608 | 35.3964 | 499.9364 | 1499.5149 | 79.3353 | 70.3161 | -2.6638 | 0.23102 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0040648 | 296.4601 | 297.5107 | 239.9224 | 0.86117 | 2.8731 | 40.8595 | 25.4533 | 23.8354 | 2.9655 | 0.1552 | 1.0833 | 1.8822 | 0.09777 | 17.9352 | 0.66164 | 39.405 | 380.0607 | 0.011873
63 | 10:24:20 | 2059.5 | 0 | 11.4511 | 0.16418 | 255.0657 | 4.0648 | 1.7898 | 23.3101 | 6 | 1.42 | 1 | 2.84 | 24.3607 | 23.3101 | 25.0508 | 401.1277 | 385.504 | 10.603 | 15.4062 | 24.3608 | 35.3964 | 499.9364 | 1499.5149 | 79.3353 | 70.3161 | -2.6638 | 0.23102 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0040648 | 296.4601 | 297.5107 | 239.9224 | 0.86117 | 2.8731 | 40.8595 | 25.4533 | 23.8354 | 2.9655 | 0.1552 | 1.0833 | 1.8822 | 0.09777 | 17.9352 | 0.66164 | 39.405 | 380.0607 | 0.011873
64 | 10:24:21 | 2060 | 0 | 11.4288 | 0.16419 | 255.3139 | 4.0657 | 1.79 | 23.3121 | 6 | 1.42 | 1 | 2.84 | 24.3618 | 23.3121 | 25.0515 | 401.1219 | 385.5246 | 10.6034 | 15.4076 | 24.3601 | 35.3972 | 499.9417 | 1499.4398 | 79.383 | 70.3159 | -2.6638 | 0.23102 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0040657 | 296.4621 | 297.5118 | 239.9104 | 0.86044 | 2.8734 | 40.8647 | 25.4571 | 23.837 | 2.9658 | 0.15521 | 1.0834 | 1.8824 | 0.097777 | 17.9526 | 0.66225 | 39.4036 | 380.0918 | 0.011848
65 | 10:24:21 | 2060.5 | 0 | 11.4638 | 0.16428 | 255.0265 | 4.0678 | 1.79 | 23.313 | 6 | 1.42 | 1 | 2.84 | 24.3629 | 23.313 | 25.0524 | 401.1651 | 385.524 | 10.6033 | 15.4103 | 24.3583 | 35.4011 | 499.9166 | 1499.4413 | 79.4768 | 70.3158 | -2.6638 | 0.23102 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0040678 | 296.463 | 297.5129 | 239.9106 | 0.85933 | 2.8736 | 40.8669 | 25.4566 | 23.8379 | 2.9659 | 0.1553 | 1.0836 | 1.8824 | 0.097831 | 17.9324 | 0.66151 | 39.4098 | 380.0746 | 0.011887
66 | 10:24:22 | 2061 | 0 | 11.4594 | 0.16435 | 255.1451 | 4.0702 | 1.7903 | 23.3158 | 6 | 1.42 | 1 | 2.84 | 24.3632 | 23.3158 | 25.0537 | 401.1901 | 385.5541 | 10.6032 | 15.4127 | 24.3575 | 35.4058 | 499.9486 | 1499.4701 | 79.5267 | 70.3156 | -2.6638 | 0.23102 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0040702 | 296.4658 | 297.5132 | 239.9152 | 0.85782 | 2.8741 | 40.8737 | 25.461 | 23.8395 | 2.9662 | 0.15536 | 1.0838 | 1.8825 | 0.097871 | 17.9407 | 0.66176 | 39.4106 | 380.1069 | 0.011881
67 | 10:24:22 | 2061.5 | 0 | 11.4736 | 0.1643 | 254.9696 | 4.0698 | 1.7906 | 23.318 | 6 | 1.42 | 1 | 2.84 | 24.3644 | 23.318 | 25.0527 | 401.2096 | 385.5573 | 10.6048 | 15.4136 | 24.3594 | 35.4054 | 499.9648 | 1499.4663 | 79.4936 | 70.3159 | -2.6638 | 0.23102 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0040698 | 296.468 | 297.5144 | 239.9146 | 0.85789 | 2.8745 | 40.8792 | 25.4657 | 23.8412 | 2.9665 | 0.15532 | 1.0838 | 1.8827 | 0.097842 | 17.9284 | 0.6613 | 39.4065 | 380.1033 | 0.011895
68 | 10:24:23 | 2062 | 0 | 11.4917 | 0.16429 | 254.7627 | 4.0697 | 1.7907 | 23.3188 | 6 | 1.42 | 1 | 2.84 | 24.3658 | 23.3188 | 25.0529 | 401.2116 | 385.5378 | 10.6056 | 15.4143 | 24.3595 | 35.4043 | 499.9698 | 1499.457 | 79.5091 | 70.3161 | -2.6638 | 0.23102 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.0040697 | 296.4688 | 297.5158 | 239.9131 | 0.85798 | 2.8746 | 40.881 | 25.4667 | 23.8423 | 2.9667 | 0.15531 | 1.0839 | 1.8828 | 0.097837 | 17.9139 | 0.6608 | 39.4065 | 380.0751 | 0.011915
69 | 10:24:23 | 2062.5 | 0 | 11.5153 | 0.16446 | 254.6506 | 4.0736 | 1.7907 | 23.3207 | 6 | 1.42 | 1 | 2.84 | 24.3676 | 23.3207 | 25.053 | 401.2553 | 385.552 | 10.6062 | 15.4192 | 24.3583 | 35.4119 | 499.992 | 1499.4312 | 79.4786 | 70.3163 | -2.6638 | 0.23102 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83332 | 0.0040736 | 296.4707 | 297.5176 | 239.909 | 0.8559 | 2.8749 | 40.8856 | 25.4664 | 23.8441 | 2.967 | 0.15546 | 1.0842 | 1.8828 | 0.097931 | 17.9061 | 0.66048 | 39.417 | 380.0781 | 0.011942
70 | 10:24:24 | 2063 | 0 | 11.5147 | 0.16439 | 254.6151 | 4.0726 | 1.791 | 23.3226 | 6 | 1.42 | 1 | 2.84 | 24.3686 | 23.3226 | 25.0527 | 401.2616 | 385.5596 | 10.6079 | 15.4197 | 24.3608 | 35.411 | 499.996 | 1499.4514 | 79.5565 | 70.3165 | -2.6638 | 0.23102 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83333 | 0.0040726 | 296.4726 | 297.5186 | 239.9122 | 0.85634 | 2.8752 | 40.8901 | 25.4704 | 23.8456 | 2.9673 | 0.15539 | 1.0843 | 1.883 | 0.097891 | 17.9037 | 0.66038 | 39.4125 | 380.0861 | 0.01194
71 | 10:24:24 | 2063.5 | 0 | 11.5194 | 0.16445 | 254.6029 | 4.0741 | 1.791 | 23.3235 | 6 | 1.42 | 1 | 2.84 | 24.3694 | 23.3235 | 25.0528 | 401.2575 | 385.5497 | 10.6087 | 15.4221 | 24.3614 | 35.4148 | 500.0141 | 1499.4371 | 79.6233 | 70.3166 | -2.6638 | 0.23102 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83336 | 0.0040741 | 296.4735 | 297.5194 | 239.9099 | 0.8555 | 2.8754 | 40.8924 | 25.4702 | 23.8465 | 2.9675 | 0.15545 | 1.0844 | 1.883 | 0.097929 | 17.9028 | 0.66036 | 39.4175 | 380.0739 | 0.011947
72 | 10:24:25 | 2064 | 0 | 11.5607 | 0.16448 | 254.1791 | 4.0752 | 1.7911 | 23.3249 | 6 | 1.42 | 1 | 2.84 | 24.3707 | 23.3249 | 25.0531 | 401.2786 | 385.5213 | 10.6089 | 15.4234 | 24.3599 | 35.4148 | 500.0269 | 1499.5238 | 79.5991 | 70.3162 | -2.6638 | 0.23102 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83338 | 0.0040752 | 296.4749 | 297.5207 | 239.9238 | 0.8551 | 2.8757 | 40.896 | 25.4726 | 23.8478 | 2.9677 | 0.15548 | 1.0845 | 1.8832 | 0.097944 | 17.8729 | 0.65931 | 39.4176 | 380.0259 | 0.011991
73 | 10:24:25 | 2064.5 | 0 | 11.5746 | 0.1644 | 253.9579 | 4.0743 | 1.7916 | 23.3282 | 6 | 1.42 | 1 | 2.84 | 24.3708 | 23.3282 | 25.0529 | 401.2715 | 385.4981 | 10.611 | 15.4245 | 24.3647 | 35.4172 | 500.0307 | 1499.4679 | 79.625 | 70.3165 | -2.6638 | 0.23102 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83338 | 0.0040743 | 296.4782 | 297.5208 | 239.9149 | 0.85502 | 2.8762 | 40.9039 | 25.4795 | 23.8495 | 2.968 | 0.1554 | 1.0846 | 1.8834 | 0.097896 | 17.8574 | 0.65878 | 39.4111 | 379.9961 | 0.012005
74 | 10:24:26 | 2065 | 0 | 11.5825 | 0.16433 | 253.7802 | 4.0727 | 1.7917 | 23.3285 | 6 | 1.42 | 1 | 2.84 | 24.3715 | 23.3285 | 25.0513 | 401.2263 | 385.444 | 10.6129 | 15.4246 | 24.3681 | 35.4163 | 500.0138 | 1499.437 | 79.5487 | 70.317 | -2.6638 | 0.23102 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83336 | 0.0040727 | 296.4785 | 297.5215 | 239.9099 | 0.85585 | 2.8763 | 40.9043 | 25.4797 | 23.85 | 2.9681 | 0.15534 | 1.0846 | 1.8835 | 0.097857 | 17.8451 | 0.65841 | 39.4097 | 379.9382 | 0.012014
75 | 10:24:27 | 2065.5 | 0 | 11.5546 | 0.16442 | 254.1317 | 4.0752 | 1.7918 | 23.3304 | 6 | 1.42 | 1 | 2.84 | 24.3718 | 23.3304 | 25.0521 | 401.2068 | 385.4575 | 10.613 | 15.4274 | 24.368 | 35.4221 | 500.0373 | 1499.3549 | 79.6646 | 70.3169 | -2.6638 | 0.23102 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8334 | 0.0040752 | 296.4804 | 297.5218 | 239.8968 | 0.8542 | 2.8766 | 40.9092 | 25.4818 | 23.8511 | 2.9683 | 0.15542 | 1.0848 | 1.8835 | 0.097907 | 17.8697 | 0.6593 | 39.4135 | 379.965 | 0.011985 | 11.4995 | 24.366 | 23.3191 | #DIV/0! | 2062.1 | 0 | 11.4995 | 0.16432 | 254.6888 | 4.0704 | 1.7907 | 23.3191 | 6 | 1.42 | 1 | 2.84 | 24.366 | 23.3191 | 25.0522 | 401.2026 | 385.5194 | 10.6065 | 15.4159 | 24.3612 | 35.4074 | 499.9774 | 1499.4615 | 79.4994 | 70.3162 | -2.6638 | 0.23102 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8333 | 0.0040704 | 296.4691 | 297.516 | 239.9138 | 0.85766 | 2.8746 | 40.8817 | 25.4658 | 23.8426 | 2.9668 | 0.15534 | 1.084 | 1.8828 | 0.097855 | 17.9088 | 0.66064 | 39.4101 | 380.0531 | 0.011925
Remark= | "10:24:40 Coolers: Tblock -> 30.00 C"
Remark= | "10:30:34 Flow: Fixed -> 500 umol/s"
76 | 10:31:49 | 2508.5 | 0 | 11.1877 | 0.1571 | 249.4138 | 4.5357 | 2.068 | 26.4976 | 6 | 1.42 | 1 | 2.84 | 28.9304 | 26.4976 | 30.1326 | 399.5948 | 384.0767 | 14.6743 | 20.009 | 25.7593 | 35.1239 | 499.9264 | 1499.9302 | 92.6176 | 70.3144 | -2.0485 | 0.16396 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0045357 | 299.6476 | 302.0804 | 239.9888 | 0.81004 | 3.4749 | 49.4195 | 29.4105 | 27.714 | 3.732 | 0.14887 | 1.4069 | 2.3251 | 0.093748 | 17.5374 | 0.64939 | 41.5795 | 378.7586 | 0.012282
77 | 10:31:49 | 2508.5 | 0 | 11.1877 | 0.1571 | 249.4138 | 4.5357 | 2.068 | 26.4976 | 6 | 1.42 | 1 | 2.84 | 28.9304 | 26.4976 | 30.1326 | 399.5948 | 384.0767 | 14.6743 | 20.009 | 25.7593 | 35.1239 | 499.9264 | 1499.9302 | 92.6176 | 70.3144 | -2.0485 | 0.16396 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0045357 | 299.6476 | 302.0804 | 239.9888 | 0.81004 | 3.4749 | 49.4195 | 29.4105 | 27.714 | 3.732 | 0.14887 | 1.4069 | 2.3251 | 0.093748 | 17.5374 | 0.64939 | 41.5795 | 378.7586 | 0.012282
78 | 10:31:50 | 2509 | 0 | 11.1738 | 0.1571 | 249.5895 | 4.5358 | 2.068 | 26.4981 | 6 | 1.42 | 1 | 2.84 | 28.9313 | 26.4981 | 30.133 | 399.6128 | 384.1107 | 14.6747 | 20.0097 | 25.7587 | 35.1232 | 499.9081 | 1500.1982 | 92.7069 | 70.3144 | -2.0485 | 0.16396 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0045358 | 299.6481 | 302.0813 | 240.0317 | 0.81058 | 3.475 | 49.4209 | 29.4112 | 27.7147 | 3.7322 | 0.14887 | 1.407 | 2.3252 | 0.093747 | 17.5497 | 0.64979 | 41.5797 | 378.7992 | 0.012265
79 | 10:31:50 | 2509.5 | 0 | 11.1107 | 0.15714 | 250.3003 | 4.5363 | 2.0678 | 26.4969 | 6 | 1.42 | 1 | 2.84 | 28.932 | 26.4969 | 30.1334 | 399.5626 | 384.1353 | 14.6742 | 20.01 | 25.7567 | 35.1223 | 499.8903 | 1500.4442 | 92.65 | 70.3145 | -2.0485 | 0.16396 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0045363 | 299.6469 | 302.082 | 240.0711 | 0.81104 | 3.4748 | 49.4174 | 29.4075 | 27.7145 | 3.7321 | 0.1489 | 1.407 | 2.3251 | 0.09377 | 17.5997 | 0.65159 | 41.5839 | 378.8538 | 0.012195
80 | 10:31:51 | 2510 | 0 | 11.0551 | 0.15708 | 250.8542 | 4.5349 | 2.0679 | 26.4974 | 6 | 1.42 | 1 | 2.84 | 28.9327 | 26.4974 | 30.1337 | 399.5151 | 384.1546 | 14.6752 | 20.0095 | 25.7573 | 35.1199 | 499.8765 | 1500.5394 | 92.7044 | 70.3142 | -2.0485 | 0.16396 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0045349 | 299.6474 | 302.0827 | 240.0863 | 0.81195 | 3.4749 | 49.419 | 29.4095 | 27.7151 | 3.7323 | 0.14885 | 1.407 | 2.3253 | 0.093735 | 17.6386 | 0.653 | 41.5805 | 378.8996 | 0.012132
81 | 10:31:51 | 2510.5 | 0 | 11.0389 | 0.15707 | 251.0165 | 4.5347 | 2.068 | 26.498 | 6 | 1.42 | 1 | 2.84 | 28.9333 | 26.498 | 30.1337 | 399.4986 | 384.1574 | 14.6764 | 20.0106 | 25.7584 | 35.1204 | 499.8694 | 1500.552 | 92.6237 | 70.3138 | -2.0485 | 0.16396 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0045347 | 299.648 | 302.0833 | 240.0883 | 0.81209 | 3.475 | 49.421 | 29.4104 | 27.7156 | 3.7324 | 0.14884 | 1.407 | 2.3254 | 0.093728 | 17.6499 | 0.65342 | 41.5807 | 378.9101 | 0.012114
82 | 10:31:52 | 2511 | 0 | 11.0258 | 0.15706 | 251.1535 | 4.5341 | 2.0678 | 26.4974 | 6 | 1.42 | 1 | 2.84 | 28.9335 | 26.4974 | 30.1331 | 399.4919 | 384.166 | 14.6767 | 20.0104 | 25.7587 | 35.1198 | 499.8477 | 1500.5946 | 92.7126 | 70.314 | -2.0485 | 0.16396 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0045341 | 299.6474 | 302.0835 | 240.0951 | 0.81258 | 3.4749 | 49.4191 | 29.4087 | 27.7154 | 3.7323 | 0.14882 | 1.407 | 2.3253 | 0.093722 | 17.6596 | 0.65376 | 41.5817 | 378.9248 | 0.012099
83 | 10:31:52 | 2511.5 | 0 | 11.0477 | 0.15706 | 250.9273 | 4.5343 | 2.0678 | 26.4976 | 6 | 1.42 | 1 | 2.84 | 28.9332 | 26.4976 | 30.1325 | 399.5164 | 384.1637 | 14.6769 | 20.011 | 25.7597 | 35.1216 | 499.8303 | 1500.5797 | 92.8172 | 70.3146 | -2.0485 | 0.16396 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0045343 | 299.6476 | 302.0832 | 240.0927 | 0.81242 | 3.4749 | 49.4194 | 29.4084 | 27.7154 | 3.7323 | 0.14883 | 1.4071 | 2.3253 | 0.093725 | 17.6438 | 0.65318 | 41.5827 | 378.9121 | 0.012124
84 | 10:31:53 | 2512 | 0 | 11.0375 | 0.15696 | 250.9347 | 4.5322 | 2.0682 | 26.4988 | 6 | 1.42 | 1 | 2.84 | 28.9334 | 26.4988 | 30.1331 | 399.4784 | 384.1388 | 14.6779 | 20.0095 | 25.7611 | 35.1187 | 499.8252 | 1500.5846 | 92.729 | 70.3144 | -2.0485 | 0.16396 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0045322 | 299.6488 | 302.0834 | 240.0935 | 0.81336 | 3.4751 | 49.423 | 29.4135 | 27.7161 | 3.7325 | 0.14874 | 1.407 | 2.3255 | 0.093665 | 17.6443 | 0.65324 | 41.5748 | 378.8921 | 0.012111
85 | 10:31:53 | 2512.5 | 0 | 11.0345 | 0.15692 | 250.94 | 4.531 | 2.0681 | 26.4978 | 6 | 1.42 | 1 | 2.84 | 28.9339 | 26.4978 | 30.1325 | 399.4713 | 384.1353 | 14.6776 | 20.0082 | 25.7599 | 35.1153 | 499.8018 | 1500.6007 | 92.6145 | 70.3144 | -2.0485 | 0.16396 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.833 | 0.004531 | 299.6478 | 302.0839 | 240.0961 | 0.81419 | 3.4749 | 49.4202 | 29.412 | 27.7159 | 3.7324 | 0.14871 | 1.4069 | 2.3256 | 0.093646 | 17.6447 | 0.65326 | 41.5738 | 378.89 | 0.012108
86 | 10:31:54 | 2513 | 0 | 11.0512 | 0.15695 | 250.7542 | 4.5324 | 2.0684 | 26.4995 | 6 | 1.42 | 1 | 2.84 | 28.9338 | 26.4995 | 30.1328 | 399.4629 | 384.1068 | 14.6768 | 20.0087 | 25.7585 | 35.1164 | 499.8215 | 1500.6122 | 92.5404 | 70.3142 | -2.0485 | 0.16396 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0045324 | 299.6495 | 302.0838 | 240.0979 | 0.81327 | 3.4753 | 49.425 | 29.4163 | 27.7166 | 3.7326 | 0.14873 | 1.4069 | 2.3257 | 0.093661 | 17.6316 | 0.65282 | 41.5714 | 378.8536 | 0.012126
87 | 10:31:54 | 2513.5 | 0 | 11.109 | 0.15696 | 250.1393 | 4.5335 | 2.0687 | 26.5012 | 6 | 1.42 | 1 | 2.84 | 28.9331 | 26.5012 | 30.1327 | 399.5127 | 384.0871 | 14.6756 | 20.0088 | 25.7574 | 35.1179 | 499.828 | 1500.6068 | 92.5155 | 70.3141 | -2.0485 | 0.16396 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0045335 | 299.6512 | 302.0831 | 240.0971 | 0.81234 | 3.4756 | 49.4301 | 29.4213 | 27.7172 | 3.7327 | 0.14874 | 1.4069 | 2.3258 | 0.093668 | 17.5883 | 0.65126 | 41.5676 | 378.8064 | 0.01219
88 | 10:31:55 | 2514 | 0 | 11.1603 | 0.15698 | 249.6072 | 4.5344 | 2.0689 | 26.5023 | 6 | 1.42 | 1 | 2.84 | 28.9336 | 26.5023 | 30.1326 | 399.5661 | 384.0789 | 14.6753 | 20.0094 | 25.7561 | 35.1178 | 499.8411 | 1500.6183 | 92.4541 | 70.3141 | -2.0485 | 0.16396 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0045344 | 299.6523 | 302.0836 | 240.0989 | 0.81183 | 3.4759 | 49.4333 | 29.4238 | 27.718 | 3.7329 | 0.14876 | 1.4069 | 2.3259 | 0.093678 | 17.5509 | 0.64989 | 41.5664 | 378.7738 | 0.012247
89 | 10:31:56 | 2514.5 | 0 | 11.194 | 0.15702 | 249.2697 | 4.536 | 2.0692 | 26.5038 | 6 | 1.42 | 1 | 2.84 | 28.9342 | 26.5038 | 30.1327 | 399.5938 | 384.0663 | 14.6743 | 20.01 | 25.7537 | 35.118 | 499.8688 | 1500.6851 | 92.5438 | 70.3147 | -2.0485 | 0.16396 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.004536 | 299.6538 | 302.0842 | 240.1096 | 0.81097 | 3.4762 | 49.4374 | 29.4274 | 27.719 | 3.7331 | 0.14879 | 1.407 | 2.3261 | 0.0937 | 17.5273 | 0.64903 | 41.565 | 378.7452 | 0.012285
90 | 10:31:56 | 2515 | 0 | 11.2263 | 0.15702 | 248.9173 | 4.5371 | 2.0697 | 26.5063 | 6 | 1.42 | 1 | 2.84 | 28.9348 | 26.5063 | 30.133 | 399.6218 | 384.0551 | 14.6732 | 20.0102 | 25.7509 | 35.1171 | 499.8687 | 1500.6851 | 92.4358 | 70.3145 | -2.0485 | 0.16396 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0045371 | 299.6563 | 302.0848 | 240.1096 | 0.81014 | 3.4767 | 49.4449 | 29.4346 | 27.7206 | 3.7335 | 0.14879 | 1.407 | 2.3264 | 0.093699 | 17.5025 | 0.64813 | 41.5591 | 378.7186 | 0.012319 | 11.1094 | 28.9329 | 26.4994 | #DIV/0! | 2511.5333 | 0 | 11.1094 | 0.15703 | 250.2154 | 4.5346 | 2.0683 | 26.4994 | 6 | 1.42 | 1 | 2.84 | 28.9329 | 26.4994 | 30.1329 | 399.5396 | 384.114 | 14.6756 | 20.0096 | 25.7577 | 35.1197 | 499.862 | 1500.4774 | 92.6189 | 70.3143 | -2.0485 | 0.16396 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0045346 | 299.6494 | 302.0829 | 240.0764 | 0.81179 | 3.4753 | 49.4246 | 29.415 | 27.7161 | 3.7325 | 0.14881 | 1.407 | 2.3255 | 0.093709 | 17.5937 | 0.65141 | 41.5751 | 378.8331 | 0.012192
Remark= | "10:32:07 Coolers: Tblock -> 35.00 C"
Remark= | "10:36:56 Flow: Fixed -> 500 umol/s"
91 | 10:37:42 | 2861 | 0 | 10.8331 | 0.14998 | 246.0767 | 4.8955 | 2.3187 | 28.9099 | 6 | 1.42 | 1 | 2.84 | 33.1153 | 28.9099 | 35.0187 | 399.3325 | 384.0727 | 18.189 | 23.9245 | 25.1509 | 33.0818 | 499.8764 | 1499.5642 | 103.2604 | 70.3122 | -1.94 | 0.098017 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0048955 | 302.0599 | 306.2653 | 239.9303 | 0.88415 | 4.0009 | 56.9014 | 32.9768 | 31.0126 | 4.5146 | 0.14245 | 1.6822 | 2.8324 | 0.089681 | 17.3022 | 0.6407 | 42.6343 | 378.9231 | 0.012189
92 | 10:37:42 | 2861 | 0 | 10.8331 | 0.14998 | 246.0767 | 4.8955 | 2.3187 | 28.9099 | 6 | 1.42 | 1 | 2.84 | 33.1153 | 28.9099 | 35.0187 | 399.3325 | 384.0727 | 18.189 | 23.9245 | 25.1509 | 33.0818 | 499.8764 | 1499.5642 | 103.2604 | 70.3122 | -1.94 | 0.098017 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0048955 | 302.0599 | 306.2653 | 239.9303 | 0.88415 | 4.0009 | 56.9014 | 32.9768 | 31.0126 | 4.5146 | 0.14245 | 1.6822 | 2.8324 | 0.089681 | 17.3022 | 0.6407 | 42.6343 | 378.9231 | 0.012189
93 | 10:37:43 | 2861.5 | 0 | 10.8474 | 0.14981 | 245.7977 | 4.8923 | 2.3195 | 28.9132 | 6 | 1.42 | 1 | 2.84 | 33.1168 | 28.9132 | 35.0194 | 399.354 | 384.0786 | 18.1913 | 23.9231 | 25.1521 | 33.0771 | 499.8792 | 1499.542 | 103.3466 | 70.3121 | -1.94 | 0.098017 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0048923 | 302.0632 | 306.2668 | 239.9267 | 0.88552 | 4.0016 | 56.9123 | 32.9892 | 31.015 | 4.5152 | 0.14231 | 1.6821 | 2.8332 | 0.089587 | 17.2826 | 0.63997 | 42.6204 | 378.9222 | 0.012201
94 | 10:37:43 | 2862 | 0 | 10.7909 | 0.1498 | 246.4686 | 4.8923 | 2.3197 | 28.9143 | 6 | 1.42 | 1 | 2.84 | 33.1171 | 28.9143 | 35.0187 | 399.3589 | 384.1512 | 18.1923 | 23.9238 | 25.1531 | 33.0777 | 499.8892 | 1499.528 | 103.3453 | 70.3126 | -1.94 | 0.098017 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0048923 | 302.0643 | 306.2671 | 239.9245 | 0.88544 | 4.0019 | 56.9154 | 32.9916 | 31.0157 | 4.5154 | 0.14229 | 1.6821 | 2.8333 | 0.089579 | 17.3299 | 0.64159 | 42.619 | 379.0217 | 0.012134
95 | 10:37:44 | 2862.5 | 0 | 10.7946 | 0.14981 | 246.438 | 4.8933 | 2.3201 | 28.9167 | 6 | 1.42 | 1 | 2.84 | 33.1172 | 28.9167 | 35.0191 | 399.3734 | 384.1599 | 18.1928 | 23.9259 | 25.1538 | 33.0805 | 499.862 | 1499.597 | 103.3243 | 70.3128 | -1.94 | 0.098017 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0048933 | 302.0667 | 306.2672 | 239.9355 | 0.88469 | 4.0024 | 56.9232 | 32.9973 | 31.0169 | 4.5157 | 0.1423 | 1.6823 | 2.8334 | 0.089582 | 17.3277 | 0.6415 | 42.6167 | 379.0286 | 0.012137
96 | 10:37:44 | 2863 | 0 | 10.845 | 0.14981 | 245.8871 | 4.8942 | 2.3204 | 28.9182 | 6 | 1.42 | 1 | 2.84 | 33.1173 | 28.9182 | 35.019 | 399.4263 | 384.152 | 18.1923 | 23.9264 | 25.1528 | 33.0809 | 499.863 | 1499.6096 | 103.2447 | 70.3127 | -1.94 | 0.098017 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0048942 | 302.0682 | 306.2673 | 239.9375 | 0.88405 | 4.0028 | 56.9281 | 33.0017 | 31.0178 | 4.5159 | 0.14231 | 1.6823 | 2.8336 | 0.089587 | 17.289 | 0.64008 | 42.6141 | 378.9968 | 0.012194
97 | 10:37:45 | 2863.5 | 0 | 10.7617 | 0.14978 | 246.842 | 4.8935 | 2.3206 | 28.9194 | 6 | 1.42 | 1 | 2.84 | 33.118 | 28.9194 | 35.0189 | 399.4106 | 384.2352 | 18.1938 | 23.9274 | 25.154 | 33.0811 | 499.833 | 1499.6107 | 103.2549 | 70.313 | -1.94 | 0.098017 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0048935 | 302.0694 | 306.268 | 239.9377 | 0.88438 | 4.003 | 56.9318 | 33.0044 | 31.0187 | 4.5162 | 0.14227 | 1.6824 | 2.8338 | 0.089566 | 17.3562 | 0.64242 | 42.6122 | 379.1196 | 0.012096
98 | 10:37:45 | 2864 | 0 | 10.6417 | 0.14996 | 248.3908 | 4.8984 | 2.3202 | 28.9191 | 6 | 1.42 | 1 | 2.84 | 33.1192 | 28.9191 | 35.0187 | 399.379 | 384.345 | 18.1933 | 23.9326 | 25.1517 | 33.0861 | 499.8401 | 1499.5585 | 103.3616 | 70.3129 | -1.94 | 0.098017 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0048984 | 302.0691 | 306.2692 | 239.9294 | 0.88191 | 4.003 | 56.9311 | 32.9985 | 31.0191 | 4.5163 | 0.14244 | 1.6828 | 2.8335 | 0.089673 | 17.4651 | 0.64627 | 42.6251 | 379.2865 | 0.011959
99 | 10:37:46 | 2864.5 | 0 | 10.6768 | 0.15005 | 248.0425 | 4.901 | 2.3202 | 28.9197 | 6 | 1.42 | 1 | 2.84 | 33.1206 | 28.9197 | 35.019 | 399.3923 | 384.3152 | 18.1927 | 23.9349 | 25.1486 | 33.0863 | 499.8421 | 1499.5492 | 103.5347 | 70.3125 | -1.94 | 0.098017 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.004901 | 302.0697 | 306.2706 | 239.9279 | 0.88072 | 4.0031 | 56.9331 | 32.9983 | 31.0202 | 4.5166 | 0.14252 | 1.6829 | 2.8336 | 0.08972 | 17.4405 | 0.64541 | 42.6291 | 379.2399 | 0.012001
100 | 10:37:46 | 2865 | 0 | 10.747 | 0.15018 | 247.3421 | 4.9035 | 2.3195 | 28.9178 | 6 | 1.42 | 1 | 2.84 | 33.1213 | 28.9178 | 35.0193 | 399.4346 | 384.2719 | 18.1938 | 23.9391 | 25.1491 | 33.0908 | 499.8261 | 1499.5247 | 103.5244 | 70.3123 | -1.94 | 0.098017 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0049035 | 302.0678 | 306.2713 | 239.9239 | 0.87972 | 4.0027 | 56.9272 | 32.9881 | 31.0196 | 4.5164 | 0.14263 | 1.6832 | 2.8332 | 0.089794 | 17.3912 | 0.64366 | 42.6434 | 379.1632 | 0.012087
101 | 10:37:47 | 2865.5 | 0 | 10.7246 | 0.15026 | 247.6643 | 4.906 | 2.3195 | 28.9188 | 6 | 1.42 | 1 | 2.84 | 33.1216 | 28.9188 | 35.0187 | 399.4303 | 384.2931 | 18.1934 | 23.9417 | 25.1483 | 33.0941 | 499.8258 | 1499.5111 | 103.5028 | 70.3128 | -1.94 | 0.098017 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.004906 | 302.0688 | 306.2716 | 239.9218 | 0.87826 | 4.0029 | 56.9302 | 32.9885 | 31.0202 | 4.5166 | 0.14271 | 1.6834 | 2.8332 | 0.08984 | 17.414 | 0.64447 | 42.6471 | 379.1951 | 0.012062
102 | 10:37:47 | 2866 | 0 | 10.8212 | 0.15014 | 246.4382 | 4.9044 | 2.3203 | 28.9222 | 6 | 1.42 | 1 | 2.84 | 33.1228 | 28.9222 | 35.0194 | 399.4505 | 384.1987 | 18.1947 | 23.9411 | 25.1483 | 33.0908 | 499.8256 | 1499.54 | 103.5009 | 70.3123 | -1.94 | 0.098017 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0049044 | 302.0722 | 306.2728 | 239.9264 | 0.87887 | 4.0037 | 56.9416 | 33.0006 | 31.0225 | 4.5172 | 0.14261 | 1.6834 | 2.8338 | 0.089776 | 17.3276 | 0.64143 | 42.6351 | 379.0548 | 0.012171
103 | 10:37:48 | 2866.5 | 0 | 10.7701 | 0.15008 | 246.9866 | 4.9032 | 2.3207 | 28.9235 | 6 | 1.42 | 1 | 2.84 | 33.1245 | 28.9235 | 35.0191 | 399.4386 | 384.2491 | 18.1955 | 23.9402 | 25.1468 | 33.0861 | 499.8525 | 1499.567 | 103.4811 | 70.3118 | -1.94 | 0.098017 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0049032 | 302.0735 | 306.2745 | 239.9307 | 0.87963 | 4.004 | 56.9465 | 33.0063 | 31.024 | 4.5176 | 0.14254 | 1.6833 | 2.8343 | 0.089738 | 17.3661 | 0.64278 | 42.6286 | 379.1296 | 0.01211
104 | 10:37:48 | 2867 | 0 | 10.747 | 0.15025 | 247.3743 | 4.909 | 2.3209 | 28.9258 | 6 | 1.42 | 1 | 2.84 | 33.1254 | 28.9258 | 35.0197 | 399.4259 | 384.2607 | 18.1936 | 23.9453 | 25.1428 | 33.0914 | 499.8272 | 1499.5918 | 103.4824 | 70.3113 | -1.94 | 0.098017 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.004909 | 302.0758 | 306.2754 | 239.9347 | 0.87647 | 4.0045 | 56.9545 | 33.0092 | 31.0256 | 4.518 | 0.1427 | 1.6836 | 2.8343 | 0.089836 | 17.3932 | 0.64377 | 42.6346 | 379.1521 | 0.012085
105 | 10:37:49 | 2867.5 | 0 | 10.7682 | 0.15026 | 247.1093 | 4.9106 | 2.3215 | 28.9285 | 6 | 1.42 | 1 | 2.84 | 33.1264 | 28.9285 | 35.0194 | 399.407 | 384.2162 | 18.193 | 23.9464 | 25.1406 | 33.0911 | 499.8385 | 1499.5958 | 103.4723 | 70.3115 | -1.94 | 0.098017 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0049106 | 302.0785 | 306.2764 | 239.9353 | 0.87541 | 4.0052 | 56.9631 | 33.0167 | 31.0275 | 4.5184 | 0.14271 | 1.6837 | 2.8347 | 0.089845 | 17.3746 | 0.64315 | 42.6303 | 379.0975 | 0.012109 | 10.7735 | 33.1199 | 28.9185 | #DIV/0! | 2864.0333 | 0 | 10.7735 | 0.15001 | 246.8623 | 4.8995 | 2.32 | 28.9185 | 6 | 1.42 | 1 | 2.84 | 33.1199 | 28.9185 | 35.019 | 399.3964 | 384.2048 | 18.1927 | 23.9331 | 25.1496 | 33.0852 | 499.8505 | 1499.5636 | 103.3931 | 70.3123 | -1.94 | 0.098017 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0048995 | 302.0685 | 306.2699 | 239.9302 | 0.88156 | 4.0028 | 56.9294 | 32.9963 | 31.0192 | 4.5163 | 0.14248 | 1.6828 | 2.8335 | 0.089699 | 17.3575 | 0.64253 | 42.6283 | 379.0836 | 0.012115