## stm-pcup2_
OPEN 6.2.4
Sun Jun 28 2015 12:50:51
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "12:53:57 CO2 Mixer: CO2R -> 400 uml"
Remark= | "12:54:04 Coolers: Tblock -> 0.00 C"
Remark= | "12:54:13 Lamp: ParIn -> 1500 uml"
Remark= | "13:15:36 Coolers: Tblock -> 7.27 C"
Remark= | "13:18:47 Flow: Fixed -> 500 umol/s"
1 | 13:20:15 | 1783.5 | 0 | 11.9364 | 0.19817 | 269.1856 | 3.6175 | 1.3507 | 15.6946 | 6 | 1.42 | 1 | 2.84 | 9.6851 | 15.6946 | 7.2549 | 397.7563 | 381.3881 | 1.8231 | 6.242 | 10.6175 | 36.3526 | 488.1206 | 1499.2307 | 331.7938 | 70.2796 | -0.77926 | 0.31692 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81353 | 0.0036175 | 288.8446 | 282.8351 | 239.8769 | 0.2382 | 1.7894 | 25.4613 | 19.2193 | 12.6898 | 1.4729 | 0.18524 | 0.43869 | 1.0342 | 0.11687 | 18.9183 | 0.70581 | 28.3026 | 375.7141 | 0.0089917
2 | 13:20:15 | 1783.5 | 0 | 11.9364 | 0.19817 | 269.1856 | 3.6175 | 1.3507 | 15.6946 | 6 | 1.42 | 1 | 2.84 | 9.6851 | 15.6946 | 7.2549 | 397.7563 | 381.3881 | 1.8231 | 6.242 | 10.6175 | 36.3526 | 488.1206 | 1499.2307 | 331.7938 | 70.2796 | -0.77926 | 0.31692 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81353 | 0.0036175 | 288.8446 | 282.8351 | 239.8769 | 0.2382 | 1.7894 | 25.4613 | 19.2193 | 12.6898 | 1.4729 | 0.18524 | 0.43869 | 1.0342 | 0.11687 | 18.9183 | 0.70581 | 28.3026 | 375.7141 | 0.0089917
3 | 13:20:15 | 1784 | 0 | 11.8645 | 0.19816 | 269.7549 | 3.6174 | 1.3507 | 15.6948 | 6 | 1.42 | 1 | 2.84 | 9.6851 | 15.6948 | 7.2551 | 397.6321 | 381.3527 | 1.8237 | 6.2424 | 10.6207 | 36.3549 | 488.123 | 1499.3137 | 331.6829 | 70.2793 | -0.77926 | 0.31692 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81354 | 0.0036174 | 288.8448 | 282.8351 | 239.8902 | 0.23837 | 1.7894 | 25.4618 | 19.2194 | 12.69 | 1.4729 | 0.18523 | 0.43871 | 1.0342 | 0.11687 | 18.9582 | 0.70736 | 28.3036 | 375.7129 | 0.0089379
4 | 13:20:16 | 1784.5 | 0 | 11.8509 | 0.19807 | 269.7949 | 3.6164 | 1.3509 | 15.6957 | 6 | 1.42 | 1 | 2.84 | 9.6856 | 15.6957 | 7.255 | 397.5813 | 381.3187 | 1.8243 | 6.2419 | 10.624 | 36.3506 | 488.1063 | 1499.3113 | 331.5814 | 70.279 | -0.77926 | 0.31692 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81351 | 0.0036164 | 288.8457 | 282.8356 | 239.8898 | 0.23888 | 1.7895 | 25.4633 | 19.2214 | 12.6906 | 1.473 | 0.18516 | 0.43868 | 1.0343 | 0.11682 | 18.9609 | 0.70753 | 28.2982 | 375.6853 | 0.0089266
5 | 13:20:16 | 1785 | 0 | 11.8745 | 0.19811 | 269.6058 | 3.6161 | 1.3505 | 15.6935 | 6 | 1.42 | 1 | 2.84 | 9.6858 | 15.6935 | 7.2553 | 397.5985 | 381.3072 | 1.8258 | 6.2431 | 10.6326 | 36.357 | 488.1107 | 1499.3248 | 331.4213 | 70.2794 | -0.77926 | 0.31692 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81352 | 0.0036161 | 288.8435 | 282.8358 | 239.892 | 0.23933 | 1.7893 | 25.4596 | 19.2165 | 12.6896 | 1.4729 | 0.18519 | 0.43876 | 1.0341 | 0.11684 | 18.9477 | 0.70706 | 28.3069 | 375.6626 | 0.0089476
6 | 13:20:17 | 1785.5 | 0 | 11.9006 | 0.19816 | 269.4089 | 3.6164 | 1.3503 | 15.6923 | 6 | 1.42 | 1 | 2.84 | 9.686 | 15.6923 | 7.2548 | 397.6306 | 381.3056 | 1.826 | 6.244 | 10.6339 | 36.362 | 488.0686 | 1499.3534 | 331.398 | 70.2796 | -0.77926 | 0.31692 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81345 | 0.0036164 | 288.8423 | 282.836 | 239.8965 | 0.23943 | 1.7892 | 25.4576 | 19.2136 | 12.6892 | 1.4728 | 0.18524 | 0.43883 | 1.034 | 0.11687 | 18.934 | 0.70654 | 28.3134 | 375.6487 | 0.0089697
7 | 13:20:17 | 1786 | 0 | 11.9158 | 0.19812 | 269.2633 | 3.6156 | 1.3503 | 15.6925 | 6 | 1.42 | 1 | 2.84 | 9.6859 | 15.6925 | 7.2549 | 397.6539 | 381.3098 | 1.827 | 6.2443 | 10.6397 | 36.3638 | 488.0482 | 1499.3739 | 331.3673 | 70.2795 | -0.77926 | 0.31692 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81341 | 0.0036156 | 288.8425 | 282.8359 | 239.8998 | 0.23982 | 1.7892 | 25.458 | 19.2137 | 12.6892 | 1.4729 | 0.1852 | 0.43884 | 1.034 | 0.11684 | 18.9237 | 0.70615 | 28.313 | 375.6457 | 0.0089811
8 | 13:20:18 | 1786.5 | 0 | 11.9336 | 0.19813 | 269.139 | 3.6154 | 1.3501 | 15.6915 | 6 | 1.42 | 1 | 2.84 | 9.6864 | 15.6915 | 7.255 | 397.6942 | 381.3275 | 1.8279 | 6.2451 | 10.6448 | 36.3675 | 488.0258 | 1499.3638 | 331.3172 | 70.2797 | -0.77926 | 0.31692 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81338 | 0.0036154 | 288.8415 | 282.8364 | 239.8982 | 0.24012 | 1.7891 | 25.4562 | 19.2111 | 12.6889 | 1.4728 | 0.18521 | 0.4389 | 1.0339 | 0.11685 | 18.915 | 0.70579 | 28.3182 | 375.6549 | 0.0089959
9 | 13:20:18 | 1787 | 0 | 11.9213 | 0.19806 | 269.2318 | 3.6141 | 1.3501 | 15.6908 | 6 | 1.42 | 1 | 2.84 | 9.6861 | 15.6908 | 7.2553 | 397.7043 | 381.3508 | 1.8283 | 6.2446 | 10.6473 | 36.3651 | 487.955 | 1499.4196 | 331.1375 | 70.2797 | -0.77926 | 0.31692 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81326 | 0.0036141 | 288.8408 | 282.8361 | 239.9071 | 0.24097 | 1.789 | 25.455 | 19.2105 | 12.6884 | 1.4728 | 0.18515 | 0.43887 | 1.0339 | 0.11681 | 18.9215 | 0.706 | 28.3156 | 375.684 | 0.0089852
10 | 13:20:19 | 1787.5 | 0 | 11.9253 | 0.19805 | 269.2413 | 3.613 | 1.3498 | 15.6878 | 6 | 1.42 | 1 | 2.84 | 9.6874 | 15.6878 | 7.256 | 397.7573 | 381.3987 | 1.8294 | 6.2444 | 10.6524 | 36.361 | 487.9364 | 1499.3126 | 331.012 | 70.2797 | -0.77926 | 0.31692 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81323 | 0.003613 | 288.8378 | 282.8374 | 239.89 | 0.24187 | 1.7886 | 25.4502 | 19.2058 | 12.6876 | 1.4727 | 0.18514 | 0.43885 | 1.0338 | 0.11681 | 18.9222 | 0.70593 | 28.3192 | 375.73 | 0.0089882
11 | 13:20:19 | 1788 | 0 | 11.9723 | 0.19805 | 268.9005 | 3.6122 | 1.3495 | 15.6855 | 6 | 1.42 | 1 | 2.84 | 9.6871 | 15.6855 | 7.2557 | 397.8703 | 381.4537 | 1.8305 | 6.2447 | 10.6594 | 36.3635 | 487.9301 | 1499.2429 | 330.9597 | 70.2798 | -0.77926 | 0.31692 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81322 | 0.0036122 | 288.8355 | 282.8371 | 239.8789 | 0.24239 | 1.7884 | 25.4464 | 19.2017 | 12.6863 | 1.4726 | 0.18514 | 0.43888 | 1.0337 | 0.11681 | 18.8983 | 0.70494 | 28.324 | 375.7627 | 0.0090244
12 | 13:20:20 | 1788.5 | 0 | 12.0547 | 0.1981 | 268.3042 | 3.6133 | 1.3496 | 15.6873 | 6 | 1.42 | 1 | 2.84 | 9.6867 | 15.6873 | 7.2564 | 398.0497 | 381.5316 | 1.8309 | 6.2462 | 10.6618 | 36.3736 | 487.9484 | 1499.2196 | 330.9794 | 70.2805 | -0.77926 | 0.31692 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81325 | 0.0036133 | 288.8373 | 282.8367 | 239.8751 | 0.2415 | 1.7886 | 25.4491 | 19.2029 | 12.687 | 1.4726 | 0.18518 | 0.43898 | 1.0337 | 0.11683 | 18.8566 | 0.70323 | 28.3281 | 375.8013 | 0.0090869
13 | 13:20:20 | 1789 | 0 | 12.1276 | 0.19811 | 267.7516 | 3.6133 | 1.3495 | 15.6869 | 6 | 1.42 | 1 | 2.84 | 9.6868 | 15.6869 | 7.2559 | 398.1961 | 381.588 | 1.8311 | 6.2465 | 10.663 | 36.375 | 487.9446 | 1499.2322 | 330.8833 | 70.2806 | -0.77926 | 0.31692 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81324 | 0.0036133 | 288.8369 | 282.8368 | 239.8771 | 0.24157 | 1.7885 | 25.4484 | 19.2019 | 12.6869 | 1.4726 | 0.18519 | 0.43901 | 1.0336 | 0.11684 | 18.8177 | 0.70168 | 28.3301 | 375.8231 | 0.009142
14 | 13:20:21 | 1789.5 | 0 | 12.2539 | 0.19806 | 266.7228 | 3.613 | 1.3497 | 15.6886 | 6 | 1.42 | 1 | 2.84 | 9.6864 | 15.6886 | 7.2567 | 398.4168 | 381.6537 | 1.8314 | 6.2462 | 10.6651 | 36.3747 | 487.9553 | 1499.1814 | 330.7957 | 70.2807 | -0.77926 | 0.31692 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81326 | 0.003613 | 288.8386 | 282.8364 | 239.869 | 0.2414 | 1.7887 | 25.4512 | 19.205 | 12.6875 | 1.4727 | 0.18515 | 0.43899 | 1.0337 | 0.11681 | 18.7455 | 0.69886 | 28.3253 | 375.8288 | 0.0092355
15 | 13:20:22 | 1790 | 0 | 12.3944 | 0.19809 | 265.6048 | 3.6143 | 1.35 | 15.6919 | 6 | 1.42 | 1 | 2.84 | 9.6864 | 15.6919 | 7.257 | 398.6421 | 381.7057 | 1.8313 | 6.2477 | 10.6648 | 36.3834 | 487.9662 | 1499.1827 | 330.6009 | 70.2811 | -0.77926 | 0.31692 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81328 | 0.0036143 | 288.8419 | 282.8364 | 239.8692 | 0.24029 | 1.7891 | 25.4564 | 19.2087 | 12.6891 | 1.4728 | 0.18518 | 0.43909 | 1.0338 | 0.11683 | 18.667 | 0.69584 | 28.3266 | 375.8141 | 0.0093421 | 11.9908 | 9.6861 | 15.6912 | #DIV/0! | 1786.5333 | 0 | 11.9908 | 0.19811 | 268.7397 | 3.615 | 1.3502 | 15.6912 | 6 | 1.42 | 1 | 2.84 | 9.6861 | 15.6912 | 7.2555 | 397.8627 | 381.4253 | 1.8276 | 6.2443 | 10.643 | 36.3638 | 488.024 | 1499.2862 | 331.2483 | 70.2798 | -0.77926 | 0.31692 | 0.75556 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81337 | 0.003615 | 288.8412 | 282.8361 | 239.8858 | 0.24016 | 1.789 | 25.4557 | 19.2114 | 12.6887 | 1.4728 | 0.18519 | 0.43885 | 1.0339 | 0.11684 | 18.887 | 0.70457 | 28.3152 | 375.7255 | 0.0090364
Remark= | "13:20:39 Coolers: Tblock -> 12.00 C"
Remark= | "13:23:42 Flow: Fixed -> 500 umol/s"
Remark= | "13:24:50 Flow: Fixed -> 500 umol/s"
16 | 13:25:45 | 2113.5 | 0 | 12.8074 | 0.19275 | 258.1499 | 4.0535 | 1.5475 | 18.5157 | 6 | 1.42 | 1 | 2.84 | 13.7319 | 18.5157 | 11.9405 | 399.6902 | 382.0349 | 3.4797 | 8.4228 | 15.5104 | 37.5441 | 487.8762 | 1499.4537 | 234.0622 | 70.2752 | -1.144 | 0.3223 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81313 | 0.0040535 | 291.6657 | 286.8819 | 239.9126 | 0.13442 | 2.1394 | 30.4433 | 22.0205 | 16.1238 | 1.8392 | 0.1805 | 0.59192 | 1.2473 | 0.11385 | 18.1415 | 0.67572 | 30.9221 | 375.9469 | 0.010534
17 | 13:25:45 | 2113.5 | 0 | 12.8074 | 0.19275 | 258.1499 | 4.0535 | 1.5475 | 18.5157 | 6 | 1.42 | 1 | 2.84 | 13.7319 | 18.5157 | 11.9405 | 399.6902 | 382.0349 | 3.4797 | 8.4228 | 15.5104 | 37.5441 | 487.8762 | 1499.4537 | 234.0622 | 70.2752 | -1.144 | 0.3223 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81313 | 0.0040535 | 291.6657 | 286.8819 | 239.9126 | 0.13442 | 2.1394 | 30.4433 | 22.0205 | 16.1238 | 1.8392 | 0.1805 | 0.59192 | 1.2473 | 0.11385 | 18.1415 | 0.67572 | 30.9221 | 375.9469 | 0.010534
18 | 13:25:46 | 2114 | 0 | 12.8238 | 0.19281 | 258.0104 | 4.0539 | 1.5472 | 18.5141 | 6 | 1.42 | 1 | 2.84 | 13.7323 | 18.5141 | 11.9408 | 399.6827 | 382.0066 | 3.4796 | 8.4233 | 15.5096 | 37.5454 | 487.8594 | 1499.2994 | 222.9649 | 70.2755 | -1.144 | 0.3223 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.8131 | 0.0040539 | 291.6641 | 286.8823 | 239.8879 | 0.13419 | 2.1392 | 30.4402 | 22.0169 | 16.1232 | 1.8391 | 0.18055 | 0.59195 | 1.2472 | 0.11388 | 18.1318 | 0.67541 | 30.9276 | 375.9108 | 0.010551
19 | 13:25:46 | 2114 | 0 | 12.8238 | 0.19281 | 258.0104 | 4.0539 | 1.5472 | 18.5141 | 6 | 1.42 | 1 | 2.84 | 13.7323 | 18.5141 | 11.9408 | 399.6827 | 382.0066 | 3.4796 | 8.4233 | 15.5096 | 37.5454 | 487.8594 | 1499.2994 | 222.9649 | 70.2755 | -1.144 | 0.3223 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.8131 | 0.0040539 | 291.6641 | 286.8823 | 239.8879 | 0.13419 | 2.1392 | 30.4402 | 22.0169 | 16.1232 | 1.8391 | 0.18055 | 0.59195 | 1.2472 | 0.11388 | 18.1318 | 0.67541 | 30.9276 | 375.9108 | 0.010551
20 | 13:25:47 | 2114.5 | 0 | 12.8515 | 0.19278 | 257.7015 | 4.053 | 1.5471 | 18.5123 | 6 | 1.42 | 1 | 2.84 | 13.732 | 18.5123 | 11.9401 | 399.6544 | 381.9438 | 3.4797 | 8.4226 | 15.5101 | 37.5426 | 487.8282 | 1499.1058 | 211.7625 | 70.2751 | -1.144 | 0.3223 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81305 | 0.004053 | 291.6623 | 286.882 | 239.8569 | 0.13451 | 2.139 | 30.4368 | 22.0142 | 16.1221 | 1.839 | 0.18053 | 0.5919 | 1.2471 | 0.11387 | 18.11 | 0.67471 | 30.928 | 375.8349 | 0.010576
21 | 13:25:47 | 2115 | 0 | 12.8604 | 0.19281 | 257.6036 | 4.0533 | 1.547 | 18.5116 | 6 | 1.42 | 1 | 2.84 | 13.7322 | 18.5116 | 11.9397 | 399.6274 | 381.9057 | 3.479 | 8.4225 | 15.5071 | 37.5415 | 487.8216 | 1498.9481 | 200.4021 | 70.2751 | -1.144 | 0.3223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81304 | 0.0040533 | 291.6616 | 286.8822 | 239.8317 | 0.13413 | 2.1389 | 30.4356 | 22.0132 | 16.1219 | 1.839 | 0.18055 | 0.59189 | 1.2471 | 0.11389 | 18.1031 | 0.67452 | 30.9293 | 375.7925 | 0.010585
22 | 13:25:48 | 2115.5 | 0 | 12.819 | 0.19275 | 257.9086 | 4.0524 | 1.5471 | 18.5118 | 6 | 1.42 | 1 | 2.84 | 13.7327 | 18.5118 | 11.9399 | 399.558 | 381.8882 | 3.479 | 8.4212 | 15.5066 | 37.5346 | 487.8352 | 1498.793 | 189.2649 | 70.2751 | -1.144 | 0.3223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81306 | 0.0040524 | 291.6618 | 286.8827 | 239.8069 | 0.13437 | 2.1389 | 30.4359 | 22.0147 | 16.1222 | 1.839 | 0.1805 | 0.5918 | 1.2472 | 0.11385 | 18.1246 | 0.67535 | 30.9236 | 375.7947 | 0.010549
23 | 13:25:48 | 2116 | 0 | 12.779 | 0.19274 | 258.208 | 4.0518 | 1.547 | 18.5108 | 6 | 1.42 | 1 | 2.84 | 13.7326 | 18.5108 | 11.94 | 399.4662 | 381.8455 | 3.4793 | 8.4209 | 15.5082 | 37.534 | 487.8218 | 1498.5243 | 178.6426 | 70.2757 | -1.144 | 0.3223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81304 | 0.0040518 | 291.6608 | 286.8826 | 239.7639 | 0.13427 | 2.1388 | 30.4337 | 22.0128 | 16.1217 | 1.8389 | 0.18049 | 0.59179 | 1.2471 | 0.11385 | 18.1457 | 0.67621 | 30.9246 | 375.771 | 0.010517
24 | 13:25:49 | 2116.5 | 0 | 12.7464 | 0.19272 | 258.4261 | 4.0512 | 1.5469 | 18.5098 | 6 | 1.42 | 1 | 2.84 | 13.7329 | 18.5098 | 11.9396 | 399.3736 | 381.7919 | 3.4788 | 8.4201 | 15.5054 | 37.5296 | 487.772 | 1498.3837 | 168.4545 | 70.2754 | -1.144 | 0.3223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81295 | 0.0040512 | 291.6598 | 286.8829 | 239.7414 | 0.13449 | 2.1386 | 30.432 | 22.0118 | 16.1213 | 1.8389 | 0.18047 | 0.59173 | 1.2472 | 0.11383 | 18.161 | 0.67688 | 30.9232 | 375.7329 | 0.01049
25 | 13:25:49 | 2117 | 0 | 12.6994 | 0.19269 | 258.7952 | 4.0515 | 1.5472 | 18.5121 | 6 | 1.42 | 1 | 2.84 | 13.7325 | 18.5121 | 11.9395 | 399.294 | 381.7704 | 3.4789 | 8.4205 | 15.5065 | 37.5323 | 487.7818 | 1498.2335 | 158.9183 | 70.2754 | -1.144 | 0.3223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81297 | 0.0040515 | 291.6621 | 286.8825 | 239.7174 | 0.13372 | 2.1389 | 30.4364 | 22.0159 | 16.1223 | 1.839 | 0.18045 | 0.59175 | 1.2472 | 0.11382 | 18.1869 | 0.67788 | 30.9198 | 375.7337 | 0.010451
26 | 13:25:50 | 2117.5 | 0 | 12.6878 | 0.19272 | 258.8946 | 4.0522 | 1.5473 | 18.5132 | 6 | 1.42 | 1 | 2.84 | 13.7321 | 18.5132 | 11.9399 | 399.2647 | 381.7551 | 3.479 | 8.4215 | 15.5073 | 37.5377 | 487.7817 | 1498.0781 | 150.0354 | 70.2758 | -1.144 | 0.3223 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81297 | 0.0040522 | 291.6632 | 286.8821 | 239.6925 | 0.13285 | 2.1391 | 30.4384 | 22.0169 | 16.1227 | 1.839 | 0.18047 | 0.59182 | 1.2472 | 0.11384 | 18.194 | 0.67817 | 30.9215 | 375.7239 | 0.010442
27 | 13:25:50 | 2118 | 0 | 12.6696 | 0.19269 | 259.021 | 4.0517 | 1.5473 | 18.5133 | 6 | 1.42 | 1 | 2.84 | 13.7324 | 18.5133 | 11.9399 | 399.2283 | 381.7415 | 3.4787 | 8.4206 | 15.5057 | 37.5331 | 487.7854 | 1497.9414 | 141.9178 | 70.2758 | -1.144 | 0.3223 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81298 | 0.0040517 | 291.6633 | 286.8824 | 239.6706 | 0.13286 | 2.1391 | 30.4384 | 22.0179 | 16.1228 | 1.8391 | 0.18044 | 0.59176 | 1.2473 | 0.11382 | 18.2029 | 0.67852 | 30.918 | 375.719 | 0.010426
28 | 13:25:51 | 2118.5 | 0 | 12.6608 | 0.19269 | 259.1217 | 4.0517 | 1.5473 | 18.5128 | 6 | 1.42 | 1 | 2.84 | 13.7331 | 18.5128 | 11.9403 | 399.2393 | 381.764 | 3.4786 | 8.4202 | 15.5044 | 37.5298 | 487.8069 | 1497.8256 | 134.8031 | 70.2758 | -1.144 | 0.3223 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81301 | 0.0040517 | 291.6628 | 286.8831 | 239.6521 | 0.13277 | 2.139 | 30.4376 | 22.0174 | 16.123 | 1.8391 | 0.18045 | 0.59174 | 1.2473 | 0.11382 | 18.21 | 0.67875 | 30.9178 | 375.7456 | 0.010418
29 | 13:25:51 | 2119 | 0 | 12.7098 | 0.19272 | 258.7224 | 4.0521 | 1.5472 | 18.5125 | 6 | 1.42 | 1 | 2.84 | 13.7338 | 18.5125 | 11.9411 | 399.3107 | 381.7751 | 3.4784 | 8.4205 | 15.503 | 37.5289 | 487.8102 | 1497.7175 | 128.9504 | 70.2754 | -1.144 | 0.3223 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81302 | 0.0040521 | 291.6625 | 286.8838 | 239.6348 | 0.13252 | 2.139 | 30.4372 | 22.0167 | 16.1232 | 1.8391 | 0.18047 | 0.59175 | 1.2474 | 0.11383 | 18.1818 | 0.67768 | 30.9194 | 375.7335 | 0.010459
30 | 13:25:52 | 2119.5 | 0 | 12.7668 | 0.19277 | 258.3052 | 4.0528 | 1.5471 | 18.5121 | 6 | 1.42 | 1 | 2.84 | 13.7344 | 18.5121 | 11.9411 | 399.4268 | 381.8199 | 3.4784 | 8.4215 | 15.5024 | 37.5324 | 487.7933 | 1497.5979 | 124.3688 | 70.2757 | -1.144 | 0.3223 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81299 | 0.0040528 | 291.6621 | 286.8844 | 239.6157 | 0.13202 | 2.1389 | 30.4363 | 22.0148 | 16.1233 | 1.8391 | 0.18052 | 0.59183 | 1.2473 | 0.11386 | 18.1526 | 0.67651 | 30.9248 | 375.7512 | 0.010507 | 12.7675 | 13.7326 | 18.5128 | #DIV/0! | 2116.1333 | 0 | 12.7675 | 0.19275 | 258.3352 | 4.0526 | 1.5472 | 18.5128 | 6 | 1.42 | 1 | 2.84 | 13.7326 | 18.5128 | 11.9402 | 399.4793 | 381.8723 | 3.4791 | 8.4216 | 15.5071 | 37.537 | 487.8206 | 1498.577 | 180.105 | 70.2754 | -1.144 | 0.3223 | 0.77778 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81303 | 0.0040526 | 291.6628 | 286.8826 | 239.7723 | 0.13372 | 2.139 | 30.4377 | 22.0161 | 16.1227 | 1.839 | 0.1805 | 0.59183 | 1.2472 | 0.11385 | 18.1546 | 0.6765 | 30.9233 | 375.8032 | 0.010506
Remark= | "13:26:03 Coolers: Tblock -> 17.00 C"
Remark= | "13:29:30 Flow: Fixed -> 500 umol/s"
Remark= | "13:32:01 Flow: Fixed -> 500 umol/s"
31 | 13:32:58 | 2547.5 | 0 | 12.7194 | 0.17917 | 252.0024 | 3.9282 | 1.6017 | 20.0047 | 6 | 1.42 | 1 | 2.84 | 17.7501 | 20.0047 | 17.029 | 400.8945 | 383.4695 | 5.8501 | 10.6106 | 20.1612 | 36.5674 | 489.8379 | 1500.0448 | 347.7176 | 70.2683 | -1.2308 | 0.31682 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.8164 | 0.0039282 | 293.1547 | 290.9001 | 240.0072 | 0.50785 | 2.3473 | 33.4047 | 22.7941 | 18.8774 | 2.1884 | 0.16854 | 0.74559 | 1.4428 | 0.10624 | 17.7078 | 0.65716 | 34.3689 | 377.4233 | 0.011583
32 | 13:32:59 | 2547.5 | 0 | 12.7194 | 0.17917 | 252.0024 | 3.9282 | 1.6017 | 20.0047 | 6 | 1.42 | 1 | 2.84 | 17.7501 | 20.0047 | 17.029 | 400.8945 | 383.4695 | 5.8501 | 10.6106 | 20.1612 | 36.5674 | 489.8379 | 1500.0448 | 347.7176 | 70.2683 | -1.2308 | 0.31682 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.8164 | 0.0039282 | 293.1547 | 290.9001 | 240.0072 | 0.50785 | 2.3473 | 33.4047 | 22.7941 | 18.8774 | 2.1884 | 0.16854 | 0.74559 | 1.4428 | 0.10624 | 17.7078 | 0.65716 | 34.3689 | 377.4233 | 0.011583
33 | 13:32:59 | 2548 | 0 | 12.7585 | 0.17907 | 251.6535 | 3.9265 | 1.6019 | 20.0059 | 6 | 1.42 | 1 | 2.84 | 17.7504 | 20.0059 | 17.0286 | 401.0238 | 383.5506 | 5.8514 | 10.6101 | 20.1652 | 36.565 | 489.8176 | 1500.0193 | 347.5206 | 70.2683 | -1.2308 | 0.31682 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81636 | 0.0039265 | 293.1559 | 290.9004 | 240.0031 | 0.50854 | 2.3475 | 33.4072 | 22.797 | 18.8781 | 2.1885 | 0.16845 | 0.74556 | 1.4429 | 0.10619 | 17.6833 | 0.65612 | 34.363 | 377.4859 | 0.011614
34 | 13:33:00 | 2548.5 | 0 | 12.8325 | 0.17906 | 250.9728 | 3.9265 | 1.602 | 20.0072 | 6 | 1.42 | 1 | 2.84 | 17.7509 | 20.0072 | 17.0287 | 401.1286 | 383.5635 | 5.8524 | 10.6115 | 20.1681 | 36.5683 | 489.7882 | 1499.967 | 347.3186 | 70.2682 | -1.2308 | 0.31682 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81631 | 0.0039265 | 293.1572 | 290.9009 | 239.9947 | 0.50831 | 2.3477 | 33.41 | 22.7985 | 18.8791 | 2.1886 | 0.16844 | 0.74565 | 1.4429 | 0.10618 | 17.6354 | 0.65432 | 34.3638 | 377.4635 | 0.011683
35 | 13:33:00 | 2549 | 0 | 12.829 | 0.17894 | 251.0061 | 3.9246 | 1.6022 | 20.0087 | 6 | 1.42 | 1 | 2.84 | 17.7516 | 20.0087 | 17.0297 | 401.2002 | 383.6391 | 5.8555 | 10.6125 | 20.178 | 36.5702 | 489.764 | 1499.913 | 347.2288 | 70.2681 | -1.2308 | 0.31682 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81627 | 0.0039246 | 293.1587 | 290.9016 | 239.9861 | 0.50912 | 2.3479 | 33.4131 | 22.8006 | 18.8801 | 2.1887 | 0.16834 | 0.74572 | 1.443 | 0.10612 | 17.6377 | 0.65428 | 34.3613 | 377.5408 | 0.011676
36 | 13:33:01 | 2549.5 | 0 | 12.7692 | 0.17886 | 251.5715 | 3.9231 | 1.6022 | 20.0096 | 6 | 1.42 | 1 | 2.84 | 17.7517 | 20.0096 | 17.03 | 401.1938 | 383.7058 | 5.8581 | 10.6133 | 20.1865 | 36.5728 | 489.7469 | 1499.9088 | 347.0235 | 70.2681 | -1.2308 | 0.31682 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81624 | 0.0039231 | 293.1596 | 290.9017 | 239.9854 | 0.50982 | 2.348 | 33.415 | 22.8017 | 18.8806 | 2.1888 | 0.16826 | 0.74578 | 1.443 | 0.10607 | 17.6775 | 0.65564 | 34.36 | 377.636 | 0.011618
37 | 13:33:01 | 2550 | 0 | 12.6573 | 0.17883 | 252.6376 | 3.9222 | 1.6021 | 20.009 | 6 | 1.42 | 1 | 2.84 | 17.7524 | 20.009 | 17.03 | 401.1045 | 383.7535 | 5.8597 | 10.614 | 20.1914 | 36.5737 | 489.7372 | 1499.9476 | 346.7708 | 70.2678 | -1.2308 | 0.31682 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81623 | 0.0039222 | 293.159 | 290.9024 | 239.9916 | 0.5105 | 2.3479 | 33.414 | 22.7999 | 18.8807 | 2.1888 | 0.16824 | 0.74582 | 1.443 | 0.10605 | 17.7523 | 0.65833 | 34.3625 | 377.7368 | 0.011514
38 | 13:33:02 | 2550.5 | 0 | 12.5855 | 0.17872 | 253.2797 | 3.9203 | 1.6023 | 20.0106 | 6 | 1.42 | 1 | 2.84 | 17.7528 | 20.0106 | 17.0302 | 401.0654 | 383.8033 | 5.8631 | 10.615 | 20.2024 | 36.5759 | 489.7484 | 1500.0037 | 346.5181 | 70.2678 | -1.2308 | 0.31682 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81625 | 0.0039203 | 293.1606 | 290.9028 | 240.0006 | 0.51146 | 2.3482 | 33.4172 | 22.8022 | 18.8817 | 2.189 | 0.16814 | 0.74589 | 1.4431 | 0.10599 | 17.7974 | 0.65992 | 34.3597 | 377.8208 | 0.011445
39 | 13:33:02 | 2551 | 0 | 12.5649 | 0.17875 | 253.4975 | 3.9201 | 1.6019 | 20.0096 | 6 | 1.42 | 1 | 2.84 | 17.7536 | 20.0096 | 17.0301 | 401.0498 | 383.812 | 5.8657 | 10.6175 | 20.2104 | 36.5828 | 489.7212 | 1500.0477 | 346.2572 | 70.2677 | -1.2308 | 0.31682 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.8162 | 0.0039201 | 293.1596 | 290.9036 | 240.0076 | 0.51191 | 2.348 | 33.4151 | 22.7976 | 18.8816 | 2.1889 | 0.16817 | 0.74607 | 1.4429 | 0.10601 | 17.8127 | 0.66047 | 34.3696 | 377.8393 | 0.01143
40 | 13:33:03 | 2551.5 | 0 | 12.576 | 0.17866 | 253.3648 | 3.9183 | 1.602 | 20.0107 | 6 | 1.42 | 1 | 2.84 | 17.7548 | 20.0107 | 17.0303 | 401.0903 | 383.8395 | 5.8696 | 10.6193 | 20.2223 | 36.5862 | 489.7137 | 1499.9792 | 346.087 | 70.2677 | -1.2308 | 0.31682 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81619 | 0.0039183 | 293.1607 | 290.9048 | 239.9967 | 0.51274 | 2.3482 | 33.4174 | 22.798 | 18.8827 | 2.1891 | 0.16808 | 0.7462 | 1.4429 | 0.10595 | 17.8034 | 0.66008 | 34.3705 | 377.8615 | 0.011439
41 | 13:33:03 | 2552 | 0 | 12.609 | 0.17875 | 253.1134 | 3.9196 | 1.6017 | 20.0107 | 6 | 1.42 | 1 | 2.84 | 17.7555 | 20.0107 | 17.0301 | 401.1252 | 383.8338 | 5.8717 | 10.6229 | 20.2287 | 36.5971 | 489.7283 | 1499.9679 | 345.8101 | 70.268 | -1.2308 | 0.31682 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81621 | 0.0039196 | 293.1607 | 290.9055 | 239.9949 | 0.51209 | 2.3482 | 33.4173 | 22.7944 | 18.8831 | 2.1891 | 0.16817 | 0.74645 | 1.4427 | 0.10601 | 17.7858 | 0.65943 | 34.3827 | 377.84 | 0.011474
42 | 13:33:04 | 2552.5 | 0 | 12.6003 | 0.17877 | 253.2108 | 3.9196 | 1.6016 | 20.0108 | 6 | 1.42 | 1 | 2.84 | 17.7563 | 20.0108 | 17.0303 | 401.1226 | 383.8419 | 5.8736 | 10.6247 | 20.2342 | 36.6016 | 489.7286 | 1500.0386 | 345.5543 | 70.2679 | -1.2308 | 0.31682 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81621 | 0.0039196 | 293.1608 | 290.9063 | 240.0062 | 0.51231 | 2.3482 | 33.4176 | 22.7929 | 18.8835 | 2.1892 | 0.16818 | 0.74658 | 1.4426 | 0.10601 | 17.7926 | 0.65967 | 34.388 | 377.8523 | 0.011467
43 | 13:33:04 | 2553 | 0 | 12.6014 | 0.17874 | 253.1297 | 3.9192 | 1.6017 | 20.0118 | 6 | 1.42 | 1 | 2.84 | 17.757 | 20.0118 | 17.0294 | 401.0652 | 383.7846 | 5.8752 | 10.6256 | 20.2389 | 36.6031 | 489.7593 | 1500.0425 | 345.2898 | 70.2683 | -1.2308 | 0.31682 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81627 | 0.0039192 | 293.1618 | 290.907 | 240.0068 | 0.51247 | 2.3483 | 33.4194 | 22.7938 | 18.8844 | 2.1893 | 0.16816 | 0.74664 | 1.4427 | 0.106 | 17.787 | 0.65956 | 34.3883 | 377.7946 | 0.01147
44 | 13:33:05 | 2553.5 | 0 | 12.5868 | 0.17889 | 253.3107 | 3.9214 | 1.6013 | 20.0108 | 6 | 1.42 | 1 | 2.84 | 17.7575 | 20.0108 | 17.0292 | 400.9958 | 383.7337 | 5.8759 | 10.6286 | 20.2408 | 36.6124 | 489.7957 | 1500.0599 | 345.028 | 70.2685 | -1.2308 | 0.31682 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81633 | 0.0039214 | 293.1608 | 290.9075 | 240.0096 | 0.51156 | 2.3482 | 33.4172 | 22.7886 | 18.8841 | 2.1893 | 0.16829 | 0.74686 | 1.4424 | 0.10608 | 17.7998 | 0.66012 | 34.4021 | 377.7506 | 0.011463
45 | 13:33:05 | 2554 | 0 | 12.5717 | 0.17887 | 253.3863 | 3.9211 | 1.6013 | 20.0114 | 6 | 1.42 | 1 | 2.84 | 17.7579 | 20.0114 | 17.029 | 400.9233 | 383.6801 | 5.8773 | 10.6295 | 20.245 | 36.6148 | 489.7986 | 1499.9918 | 344.8322 | 70.2686 | -1.2308 | 0.31682 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81633 | 0.0039211 | 293.1614 | 290.9079 | 239.9987 | 0.51156 | 2.3483 | 33.4185 | 22.789 | 18.8846 | 2.1894 | 0.16827 | 0.74692 | 1.4424 | 0.10607 | 17.8051 | 0.66041 | 34.4031 | 377.7041 | 0.011451 | 12.6654 | 17.7535 | 20.0091 | #DIV/0! | 2550.5333 | 0 | 12.6654 | 0.17888 | 252.5426 | 3.9226 | 1.6018 | 20.0091 | 6 | 1.42 | 1 | 2.84 | 17.7535 | 20.0091 | 17.0296 | 401.0585 | 383.6987 | 5.8633 | 10.6177 | 20.2023 | 36.5839 | 489.7682 | 1499.9984 | 346.4449 | 70.2681 | -1.2308 | 0.31682 | 0.8 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81628 | 0.0039226 | 293.1591 | 290.9035 | 239.9997 | 0.51054 | 2.3479 | 33.4139 | 22.7962 | 18.8813 | 2.1889 | 0.16828 | 0.74609 | 1.4428 | 0.10608 | 17.7457 | 0.65818 | 34.3742 | 377.6782 | 0.011527
Remark= | "13:33:15 Coolers: Tblock -> 22.00 C"
Remark= | "13:36:57 Flow: Fixed -> 500 umol/s"
46 | 13:38:11 | 2860 | 0 | 12.9633 | 0.17417 | 242.2905 | 4.7695 | 1.9852 | 23.7829 | 6 | 1.42 | 1 | 2.84 | 22.4509 | 23.7829 | 22.103 | 400.1185 | 382.0277 | 8.0616 | 13.8168 | 20.7702 | 35.5981 | 490.3734 | 1500.0563 | 120.5768 | 70.2689 | -1.4707 | 0.29701 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81729 | 0.0047695 | 296.9329 | 295.6009 | 240.009 | 0.17499 | 2.9561 | 42.0688 | 28.2521 | 23.1169 | 2.8397 | 0.1641 | 0.97089 | 1.8688 | 0.10342 | 17.0255 | 0.63422 | 34.9048 | 375.8655 | 0.012038
47 | 13:38:12 | 2860 | 0 | 12.9633 | 0.17417 | 242.2905 | 4.7695 | 1.9852 | 23.7829 | 6 | 1.42 | 1 | 2.84 | 22.4509 | 23.7829 | 22.103 | 400.1185 | 382.0277 | 8.0616 | 13.8168 | 20.7702 | 35.5981 | 490.3734 | 1500.0563 | 120.5768 | 70.2689 | -1.4707 | 0.29701 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81729 | 0.0047695 | 296.9329 | 295.6009 | 240.009 | 0.17499 | 2.9561 | 42.0688 | 28.2521 | 23.1169 | 2.8397 | 0.1641 | 0.97089 | 1.8688 | 0.10342 | 17.0255 | 0.63422 | 34.9048 | 375.8655 | 0.012038
48 | 13:38:12 | 2860.5 | 0 | 12.9269 | 0.17402 | 242.6237 | 4.7668 | 1.9857 | 23.7849 | 6 | 1.42 | 1 | 2.84 | 22.4523 | 23.7849 | 22.1028 | 400.1713 | 382.1247 | 8.0628 | 13.8151 | 20.7717 | 35.5909 | 490.3447 | 1499.9698 | 115.4891 | 70.2691 | -1.4707 | 0.29701 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81724 | 0.0047668 | 296.9349 | 295.6023 | 239.9952 | 0.17614 | 2.9565 | 42.074 | 28.259 | 23.1186 | 2.84 | 0.16397 | 0.97077 | 1.8693 | 0.10334 | 17.0489 | 0.63493 | 34.8936 | 375.9798 | 0.011997
49 | 13:38:13 | 2861 | 0 | 12.8128 | 0.17395 | 243.7406 | 4.7653 | 1.9858 | 23.7853 | 6 | 1.42 | 1 | 2.84 | 22.4536 | 23.7853 | 22.1027 | 400.1198 | 382.2126 | 8.0642 | 13.8147 | 20.7737 | 35.5872 | 490.3339 | 1499.9427 | 111.4131 | 70.269 | -1.4707 | 0.29701 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81722 | 0.0047653 | 296.9353 | 295.6036 | 239.9908 | 0.17702 | 2.9566 | 42.0751 | 28.2603 | 23.1194 | 2.8402 | 0.16391 | 0.97075 | 1.8694 | 0.1033 | 17.1274 | 0.63771 | 34.8906 | 376.1221 | 0.011886
50 | 13:38:13 | 2861.5 | 0 | 12.7591 | 0.17399 | 244.3279 | 4.7661 | 1.9858 | 23.7857 | 6 | 1.42 | 1 | 2.84 | 22.4544 | 23.7857 | 22.1024 | 400.111 | 382.2684 | 8.0648 | 13.8165 | 20.7741 | 35.59 | 490.319 | 1499.9149 | 108.3004 | 70.2693 | -1.4707 | 0.29701 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.8172 | 0.0047661 | 296.9357 | 295.6044 | 239.9864 | 0.1766 | 2.9566 | 42.0758 | 28.2593 | 23.12 | 2.8403 | 0.16394 | 0.97087 | 1.8694 | 0.10332 | 17.1687 | 0.63915 | 34.8947 | 376.2033 | 0.011835
51 | 13:38:14 | 2862 | 0 | 12.7801 | 0.17396 | 244.1572 | 4.766 | 1.986 | 23.7866 | 6 | 1.42 | 1 | 2.84 | 22.4547 | 23.7866 | 22.1016 | 400.1893 | 382.3184 | 8.0635 | 13.8157 | 20.7703 | 35.5873 | 490.2577 | 1499.915 | 105.7562 | 70.2691 | -1.4707 | 0.29701 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.8171 | 0.004766 | 296.9366 | 295.6047 | 239.9864 | 0.17658 | 2.9568 | 42.0783 | 28.2626 | 23.1207 | 2.8404 | 0.16392 | 0.97082 | 1.8696 | 0.10331 | 17.1567 | 0.63862 | 34.8905 | 376.2434 | 0.011852
52 | 13:38:14 | 2862.5 | 0 | 12.8361 | 0.17391 | 243.6459 | 4.7654 | 1.9863 | 23.7883 | 6 | 1.42 | 1 | 2.84 | 22.4554 | 23.7883 | 22.1018 | 400.3184 | 382.3766 | 8.063 | 13.8153 | 20.7682 | 35.5846 | 490.1961 | 1499.9218 | 103.6457 | 70.2689 | -1.4707 | 0.29701 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81699 | 0.0047654 | 296.9383 | 295.6054 | 239.9875 | 0.17675 | 2.9571 | 42.0826 | 28.2673 | 23.1218 | 2.8406 | 0.16387 | 0.97079 | 1.8698 | 0.10328 | 17.1207 | 0.63719 | 34.885 | 376.275 | 0.011901
53 | 13:38:15 | 2863 | 0 | 12.9289 | 0.17393 | 242.81 | 4.7669 | 1.9867 | 23.7909 | 6 | 1.42 | 1 | 2.84 | 22.4559 | 23.7909 | 22.102 | 400.4667 | 382.4111 | 8.0622 | 13.8161 | 20.7656 | 35.5857 | 490.2143 | 1499.8235 | 101.756 | 70.2693 | -1.4707 | 0.29701 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81702 | 0.0047669 | 296.9409 | 295.6059 | 239.9718 | 0.1755 | 2.9576 | 42.0891 | 28.273 | 23.1234 | 2.8409 | 0.16389 | 0.97084 | 1.87 | 0.10329 | 17.0621 | 0.63494 | 34.882 | 376.2653 | 0.011986
54 | 13:38:15 | 2863.5 | 0 | 12.9541 | 0.17397 | 242.638 | 4.7683 | 1.9868 | 23.7921 | 6 | 1.42 | 1 | 2.84 | 22.4566 | 23.7921 | 22.1023 | 400.5398 | 382.4518 | 8.0615 | 13.8172 | 20.763 | 35.5873 | 490.1961 | 1499.7906 | 99.7346 | 70.2697 | -1.4707 | 0.29701 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81699 | 0.0047683 | 296.9421 | 295.6066 | 239.9665 | 0.17467 | 2.9578 | 42.0917 | 28.2745 | 23.1244 | 2.841 | 0.16393 | 0.97093 | 1.8701 | 0.10331 | 17.0501 | 0.63443 | 34.8834 | 376.294 | 0.012009
55 | 13:38:16 | 2864 | 0 | 12.9187 | 0.174 | 243.0208 | 4.769 | 1.9869 | 23.7928 | 6 | 1.42 | 1 | 2.84 | 22.457 | 23.7928 | 22.1014 | 400.5271 | 382.4818 | 8.062 | 13.8187 | 20.764 | 35.5905 | 490.1903 | 1499.7352 | 97.5256 | 70.2698 | -1.4707 | 0.29701 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81698 | 0.004769 | 296.9428 | 295.607 | 239.9576 | 0.17411 | 2.9579 | 42.0934 | 28.2747 | 23.1249 | 2.8411 | 0.16395 | 0.97104 | 1.8701 | 0.10333 | 17.077 | 0.63538 | 34.8862 | 376.3408 | 0.011975
56 | 13:38:16 | 2864.5 | 0 | 12.8866 | 0.17411 | 243.4223 | 4.7723 | 1.987 | 23.7947 | 6 | 1.42 | 1 | 2.84 | 22.4574 | 23.7947 | 22.1011 | 400.5124 | 382.5063 | 8.0613 | 13.8214 | 20.7615 | 35.5965 | 490.2352 | 1499.697 | 95.1972 | 70.27 | -1.4707 | 0.29701 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81706 | 0.0047723 | 296.9447 | 295.6074 | 239.9515 | 0.17213 | 2.9582 | 42.0982 | 28.2768 | 23.1261 | 2.8413 | 0.16405 | 0.97123 | 1.8701 | 0.10339 | 17.1053 | 0.63639 | 34.8909 | 376.3807 | 0.011946
57 | 13:38:17 | 2865 | 0 | 12.968 | 0.17418 | 242.705 | 4.7749 | 1.9873 | 23.7969 | 6 | 1.42 | 1 | 2.84 | 22.4579 | 23.7969 | 22.1008 | 400.618 | 382.5125 | 8.06 | 13.8228 | 20.7576 | 35.599 | 490.2761 | 1499.6155 | 93.0064 | 70.2701 | -1.4707 | 0.29701 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81713 | 0.0047749 | 296.9469 | 295.6079 | 239.9385 | 0.17038 | 2.9586 | 42.1037 | 28.2809 | 23.1274 | 2.8415 | 0.16412 | 0.97133 | 1.8702 | 0.10343 | 17.0549 | 0.6345 | 34.8913 | 376.3481 | 0.012023
58 | 13:38:17 | 2865.5 | 0 | 13.0405 | 0.17427 | 242.067 | 4.7774 | 1.9874 | 23.7978 | 6 | 1.42 | 1 | 2.84 | 22.459 | 23.7978 | 22.1006 | 400.6974 | 382.5018 | 8.0581 | 13.8239 | 20.7513 | 35.5996 | 490.2673 | 1499.5299 | 90.955 | 70.2699 | -1.4707 | 0.29701 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81711 | 0.0047774 | 296.9478 | 295.609 | 239.9248 | 0.16894 | 2.9588 | 42.1061 | 28.2822 | 23.1284 | 2.8417 | 0.16419 | 0.97141 | 1.8703 | 0.10348 | 17.01 | 0.63285 | 34.8938 | 376.3029 | 0.012092
59 | 13:38:18 | 2866 | 0 | 13.0989 | 0.17436 | 241.5292 | 4.7801 | 1.9876 | 23.7999 | 6 | 1.42 | 1 | 2.84 | 22.4599 | 23.7999 | 22.1015 | 400.723 | 382.4556 | 8.0579 | 13.8268 | 20.7499 | 35.6052 | 490.2841 | 1499.4714 | 89.1174 | 70.2702 | -1.4707 | 0.29701 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81714 | 0.0047801 | 296.9499 | 295.6099 | 239.9154 | 0.16727 | 2.9592 | 42.1114 | 28.2846 | 23.1299 | 2.842 | 0.16427 | 0.97161 | 1.8704 | 0.10353 | 16.9723 | 0.63152 | 34.8981 | 376.229 | 0.01215
60 | 13:38:18 | 2866.5 | 0 | 13.1128 | 0.17446 | 241.4001 | 4.7829 | 1.9876 | 23.8012 | 6 | 1.42 | 1 | 2.84 | 22.4608 | 23.8012 | 22.101 | 400.6703 | 382.3855 | 8.0568 | 13.8289 | 20.7457 | 35.6086 | 490.2981 | 1499.4332 | 87.5953 | 70.2704 | -1.4707 | 0.29701 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81716 | 0.0047829 | 296.9512 | 295.6108 | 239.9093 | 0.16568 | 2.9594 | 42.1143 | 28.2855 | 23.131 | 2.8422 | 0.16436 | 0.97176 | 1.8704 | 0.10359 | 16.9633 | 0.6313 | 34.9026 | 376.1523 | 0.012167 | 12.93 | 22.4558 | 23.7909 | #DIV/0! | 2863.0333 | 0 | 12.93 | 0.1741 | 242.8446 | 4.7707 | 1.9865 | 23.7909 | 6 | 1.42 | 1 | 2.84 | 22.4558 | 23.7909 | 22.1019 | 400.3934 | 382.3375 | 8.0614 | 13.8191 | 20.7638 | 35.5939 | 490.2773 | 1499.7916 | 102.7097 | 70.2695 | -1.4707 | 0.29701 | 0.77778 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81713 | 0.0047707 | 296.9409 | 295.6058 | 239.9666 | 0.17345 | 2.9576 | 42.0888 | 28.2697 | 23.1233 | 2.8408 | 0.16404 | 0.97106 | 1.8698 | 0.10338 | 17.0646 | 0.63516 | 34.8928 | 376.1912 | 0.011993
Remark= | "13:38:30 Coolers: Tblock -> 27.00 C"
Remark= | "13:40:15 Flow: Fixed -> 500 umol/s"
61 | 13:41:05 | 3033.5 | 0 | 12.2206 | 0.1689 | 244.5312 | 4.8904 | 2.0854 | 25.7606 | 6 | 1.42 | 1 | 2.84 | 26.4074 | 25.7606 | 26.9829 | 398.6221 | 381.4282 | 11.803 | 17.667 | 23.9939 | 35.9145 | 491.5434 | 1498.4386 | 358.3293 | 70.2654 | -1.4044 | 0.25591 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81924 | 0.0048904 | 298.9106 | 299.5574 | 239.7502 | 0.37342 | 3.3267 | 47.3455 | 29.6785 | 26.084 | 3.3911 | 0.15942 | 1.2414 | 2.1497 | 0.10045 | 17.1821 | 0.64109 | 38.8459 | 375.6191 | 0.012638
62 | 13:41:05 | 3033.5 | 0 | 12.2206 | 0.1689 | 244.5312 | 4.8904 | 2.0854 | 25.7606 | 6 | 1.42 | 1 | 2.84 | 26.4074 | 25.7606 | 26.9829 | 398.6221 | 381.4282 | 11.803 | 17.667 | 23.9939 | 35.9145 | 491.5434 | 1498.4386 | 358.3293 | 70.2654 | -1.4044 | 0.25591 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81924 | 0.0048904 | 298.9106 | 299.5574 | 239.7502 | 0.37342 | 3.3267 | 47.3455 | 29.6785 | 26.084 | 3.3911 | 0.15942 | 1.2414 | 2.1497 | 0.10045 | 17.1821 | 0.64109 | 38.8459 | 375.6191 | 0.012638
63 | 13:41:05 | 3034 | 0 | 12.1918 | 0.16882 | 244.7831 | 4.8899 | 2.0861 | 25.7645 | 6 | 1.42 | 1 | 2.84 | 26.4098 | 25.7645 | 26.9831 | 398.6197 | 381.4602 | 11.8047 | 17.6683 | 23.994 | 35.9121 | 491.5227 | 1498.4454 | 358.4372 | 70.2652 | -1.4044 | 0.25591 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.8192 | 0.0048899 | 298.9145 | 299.5598 | 239.7513 | 0.3735 | 3.3275 | 47.3566 | 29.6883 | 26.0872 | 3.3917 | 0.15935 | 1.2415 | 2.1502 | 0.1004 | 17.1997 | 0.6417 | 38.838 | 375.6648 | 0.012605
64 | 13:41:06 | 3034.5 | 0 | 12.2445 | 0.16881 | 244.2815 | 4.8908 | 2.0866 | 25.7682 | 6 | 1.42 | 1 | 2.84 | 26.412 | 25.7682 | 26.9829 | 398.7105 | 381.4844 | 11.8052 | 17.6706 | 23.992 | 35.9122 | 491.4701 | 1498.4596 | 358.5312 | 70.2655 | -1.4044 | 0.25591 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81912 | 0.0048908 | 298.9182 | 299.562 | 239.7535 | 0.37283 | 3.3283 | 47.3668 | 29.6962 | 26.0901 | 3.3923 | 0.15934 | 1.2416 | 2.1507 | 0.1004 | 17.1645 | 0.64034 | 38.8343 | 375.6639 | 0.012658
65 | 13:41:06 | 3035 | 0 | 12.3313 | 0.16887 | 243.5107 | 4.8939 | 2.0873 | 25.7729 | 6 | 1.42 | 1 | 2.84 | 26.4137 | 25.7729 | 26.9832 | 398.8621 | 381.5273 | 11.8055 | 17.6748 | 23.9902 | 35.9172 | 491.4447 | 1498.5996 | 358.682 | 70.2656 | -1.4044 | 0.25591 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81907 | 0.0048939 | 298.9229 | 299.5637 | 239.7759 | 0.37109 | 3.3292 | 47.3799 | 29.7052 | 26.0933 | 3.3929 | 0.15939 | 1.2419 | 2.151 | 0.10043 | 17.1104 | 0.63825 | 38.8334 | 375.6656 | 0.012747
66 | 13:41:07 | 3035.5 | 0 | 12.3679 | 0.16893 | 243.2861 | 4.8969 | 2.0878 | 25.7771 | 6 | 1.42 | 1 | 2.84 | 26.4161 | 25.7771 | 26.9837 | 399.006 | 381.624 | 11.806 | 17.6791 | 23.9876 | 35.9206 | 491.4282 | 1498.9106 | 358.7498 | 70.2649 | -1.4044 | 0.25591 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81905 | 0.0048969 | 298.9271 | 299.5661 | 239.8257 | 0.36985 | 3.33 | 47.3921 | 29.713 | 26.0966 | 3.3936 | 0.15944 | 1.2422 | 2.1514 | 0.10046 | 17.0945 | 0.6375 | 38.8338 | 375.7449 | 0.012782
67 | 13:41:07 | 3036 | 0 | 12.4219 | 0.16895 | 242.8318 | 4.8985 | 2.0882 | 25.7802 | 6 | 1.42 | 1 | 2.84 | 26.4188 | 25.7802 | 26.9833 | 399.1372 | 381.6873 | 11.8062 | 17.6814 | 23.9841 | 35.9197 | 491.4044 | 1499.1631 | 358.8131 | 70.2652 | -1.4044 | 0.25591 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81901 | 0.0048985 | 298.9302 | 299.5688 | 239.8661 | 0.36945 | 3.3306 | 47.4006 | 29.7192 | 26.0995 | 3.3942 | 0.15946 | 1.2424 | 2.1518 | 0.10047 | 17.0626 | 0.63621 | 38.832 | 375.7825 | 0.012836
68 | 13:41:08 | 3036.5 | 0 | 12.4616 | 0.169 | 242.5768 | 4.9012 | 2.0887 | 25.7841 | 6 | 1.42 | 1 | 2.84 | 26.4205 | 25.7841 | 26.9836 | 399.2912 | 381.79 | 11.8065 | 17.6853 | 23.9824 | 35.9239 | 491.377 | 1499.4722 | 359.0293 | 70.2651 | -1.4044 | 0.25591 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81896 | 0.0049012 | 298.9341 | 299.5705 | 239.9155 | 0.36831 | 3.3314 | 47.4118 | 29.7265 | 26.1023 | 3.3947 | 0.15951 | 1.2427 | 2.1521 | 0.10051 | 17.0447 | 0.63537 | 38.832 | 375.8664 | 0.012874
69 | 13:41:09 | 3037 | 0 | 12.6113 | 0.16907 | 241.2111 | 4.9043 | 2.0893 | 25.7879 | 6 | 1.42 | 1 | 2.84 | 26.4237 | 25.7879 | 26.984 | 399.5269 | 381.8408 | 11.8059 | 17.6885 | 23.9765 | 35.9235 | 491.3669 | 1499.8141 | 359.1942 | 70.2648 | -1.4044 | 0.25591 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81894 | 0.0049043 | 298.9379 | 299.5737 | 239.9702 | 0.36726 | 3.3321 | 47.4227 | 29.7343 | 26.1058 | 3.3954 | 0.15957 | 1.2429 | 2.1526 | 0.10054 | 16.9487 | 0.63171 | 38.831 | 375.846 | 0.01303
70 | 13:41:09 | 3037.5 | 0 | 12.7078 | 0.16905 | 240.3713 | 4.9058 | 2.0901 | 25.7931 | 6 | 1.42 | 1 | 2.84 | 26.4254 | 25.7931 | 26.9844 | 399.7652 | 381.9598 | 11.8067 | 17.6911 | 23.9758 | 35.9253 | 491.3672 | 1500.072 | 359.4745 | 70.2651 | -1.4044 | 0.25591 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81895 | 0.0049058 | 298.9431 | 299.5754 | 240.0115 | 0.36648 | 3.3332 | 47.437 | 29.7459 | 26.1093 | 3.3961 | 0.15955 | 1.2431 | 2.1531 | 0.10053 | 16.8897 | 0.62931 | 38.8247 | 375.9192 | 0.013125
71 | 13:41:10 | 3038 | 0 | 12.8076 | 0.16903 | 239.4158 | 4.9071 | 2.0909 | 25.7978 | 6 | 1.42 | 1 | 2.84 | 26.4272 | 25.7978 | 26.9845 | 399.9248 | 381.9974 | 11.8072 | 17.6929 | 23.9744 | 35.9254 | 491.3853 | 1500.283 | 359.6512 | 70.2652 | -1.4044 | 0.25591 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81898 | 0.0049071 | 298.9478 | 299.5772 | 240.0453 | 0.3658 | 3.3341 | 47.4503 | 29.7573 | 26.1125 | 3.3968 | 0.15953 | 1.2432 | 2.1536 | 0.10052 | 16.8226 | 0.62675 | 38.8173 | 375.9093 | 0.013225
72 | 13:41:10 | 3038.5 | 0 | 12.849 | 0.16901 | 239.0436 | 4.9084 | 2.0916 | 25.8024 | 6 | 1.42 | 1 | 2.84 | 26.4292 | 25.8024 | 26.985 | 400.0233 | 382.0447 | 11.8086 | 17.6958 | 23.9742 | 35.9267 | 491.3935 | 1500.5957 | 359.7872 | 70.2647 | -1.4044 | 0.25591 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81899 | 0.0049084 | 298.9524 | 299.5792 | 240.0953 | 0.36535 | 3.335 | 47.4634 | 29.7676 | 26.1158 | 3.3974 | 0.15952 | 1.2434 | 2.1541 | 0.10051 | 16.7963 | 0.6257 | 38.8124 | 375.9369 | 0.013266
73 | 13:41:11 | 3039 | 0 | 12.8393 | 0.16896 | 239.1095 | 4.9088 | 2.0924 | 25.8069 | 6 | 1.42 | 1 | 2.84 | 26.4319 | 25.8069 | 26.985 | 400.0317 | 382.064 | 11.8091 | 17.697 | 23.9714 | 35.9233 | 491.3741 | 1500.6875 | 359.9003 | 70.2646 | -1.4044 | 0.25591 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81896 | 0.0049088 | 298.9569 | 299.5819 | 240.11 | 0.36509 | 3.3359 | 47.4762 | 29.7791 | 26.1194 | 3.3982 | 0.15947 | 1.2435 | 2.1547 | 0.10048 | 16.8009 | 0.62584 | 38.8034 | 375.9608 | 0.013252
74 | 13:41:11 | 3039.5 | 0 | 12.8882 | 0.16902 | 238.6417 | 4.9121 | 2.0931 | 25.8118 | 6 | 1.42 | 1 | 2.84 | 26.4342 | 25.8118 | 26.985 | 400.0592 | 382.0309 | 11.809 | 17.7008 | 23.9681 | 35.9263 | 491.3861 | 1500.6847 | 360.1062 | 70.2651 | -1.4044 | 0.25591 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81898 | 0.0049121 | 298.9618 | 299.5842 | 240.1095 | 0.36299 | 3.3369 | 47.4896 | 29.7888 | 26.123 | 3.3989 | 0.15952 | 1.2437 | 2.1552 | 0.10051 | 16.7682 | 0.62467 | 38.8016 | 375.9044 | 0.013303
75 | 13:41:12 | 3040 | 0 | 12.8613 | 0.169 | 238.8565 | 4.9138 | 2.094 | 25.8169 | 6 | 1.42 | 1 | 2.84 | 26.4359 | 25.8169 | 26.9857 | 399.9974 | 382.002 | 11.8095 | 17.703 | 23.9666 | 35.927 | 491.405 | 1500.7443 | 360.3276 | 70.2646 | -1.4044 | 0.25591 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81901 | 0.0049138 | 298.9669 | 299.5859 | 240.1191 | 0.36179 | 3.3379 | 47.5043 | 29.8013 | 26.1264 | 3.3996 | 0.15951 | 1.2439 | 2.1557 | 0.1005 | 16.7832 | 0.62528 | 38.7939 | 375.8883 | 0.013274 | 12.535 | 26.4209 | 25.7857 | #DIV/0! | 3036.5333 | 0 | 12.535 | 0.16895 | 241.7988 | 4.9008 | 2.0891 | 25.7857 | 6 | 1.42 | 1 | 2.84 | 26.4209 | 25.7857 | 26.9839 | 399.3466 | 381.7579 | 11.8064 | 17.6842 | 23.9817 | 35.9208 | 491.4275 | 1499.5206 | 359.1562 | 70.2651 | -1.4044 | 0.25591 | 0.73333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.81905 | 0.0049008 | 298.9357 | 299.5709 | 239.9233 | 0.36844 | 3.3317 | 47.4161 | 29.732 | 26.1033 | 3.3949 | 0.15947 | 1.2426 | 2.1524 | 0.10048 | 16.99 | 0.63339 | 38.8253 | 375.7994 | 0.01295
Remark= | "13:41:32 Coolers: Tblock -> 32.00 C"
Remark= | "13:44:41 Flow: Fixed -> 500 umol/s"
76 | 13:45:35 | 3304 | 0 | 11.7841 | 0.16204 | 243.5255 | 5.1996 | 2.2909 | 28.3124 | 6 | 1.42 | 1 | 2.84 | 30.8178 | 28.3124 | 32.0584 | 399.1833 | 382.4211 | 16.2104 | 22.3969 | 25.5096 | 35.2451 | 492.9856 | 1500.6868 | 98.9708 | 70.2594 | -0.96319 | 0.19588 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82164 | 0.0051996 | 301.4624 | 303.9678 | 240.1099 | 0.48065 | 3.8645 | 55.0034 | 32.6065 | 29.5651 | 4.1552 | 0.15329 | 1.5736 | 2.5816 | 0.096558 | 17.11 | 0.6368 | 41.6612 | 376.8195 | 0.013029
77 | 13:45:36 | 3304 | 0 | 11.7841 | 0.16204 | 243.5255 | 5.1996 | 2.2909 | 28.3124 | 6 | 1.42 | 1 | 2.84 | 30.8178 | 28.3124 | 32.0584 | 399.1833 | 382.4211 | 16.2104 | 22.3969 | 25.5096 | 35.2451 | 492.9856 | 1500.6868 | 98.9708 | 70.2594 | -0.96319 | 0.19588 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82164 | 0.0051996 | 301.4624 | 303.9678 | 240.1099 | 0.48065 | 3.8645 | 55.0034 | 32.6065 | 29.5651 | 4.1552 | 0.15329 | 1.5736 | 2.5816 | 0.096558 | 17.11 | 0.6368 | 41.6612 | 376.8195 | 0.013029
78 | 13:45:36 | 3304.5 | 0 | 11.6353 | 0.16218 | 245.0773 | 5.2026 | 2.2904 | 28.3108 | 6 | 1.42 | 1 | 2.84 | 30.8183 | 28.3108 | 32.0582 | 398.9497 | 382.3679 | 16.2099 | 22.3999 | 25.5079 | 35.2485 | 492.996 | 1500.687 | 99.0106 | 70.2592 | -0.96319 | 0.19588 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82166 | 0.0052026 | 301.4608 | 303.9683 | 240.1099 | 0.47939 | 3.8641 | 54.9984 | 32.5986 | 29.5646 | 4.155 | 0.15342 | 1.5738 | 2.5813 | 0.096638 | 17.2189 | 0.64095 | 41.6729 | 376.837 | 0.012867
79 | 13:45:37 | 3304.5 | 0 | 11.6353 | 0.16218 | 245.0773 | 5.2026 | 2.2904 | 28.3108 | 6 | 1.42 | 1 | 2.84 | 30.8183 | 28.3108 | 32.0582 | 398.9497 | 382.3679 | 16.2099 | 22.3999 | 25.5079 | 35.2485 | 492.996 | 1500.687 | 99.0106 | 70.2592 | -0.96319 | 0.19588 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82166 | 0.0052026 | 301.4608 | 303.9683 | 240.1099 | 0.47939 | 3.8641 | 54.9984 | 32.5986 | 29.5646 | 4.155 | 0.15342 | 1.5738 | 2.5813 | 0.096638 | 17.2189 | 0.64095 | 41.6729 | 376.837 | 0.012867
80 | 13:45:37 | 3305 | 0 | 11.5126 | 0.16229 | 246.3503 | 5.2055 | 2.2901 | 28.3102 | 6 | 1.42 | 1 | 2.84 | 30.8187 | 28.3102 | 32.0587 | 398.7578 | 382.3242 | 16.2078 | 22.4012 | 25.5041 | 35.2498 | 492.9936 | 1500.7374 | 99.0269 | 70.2591 | -0.96319 | 0.19588 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82166 | 0.0052055 | 301.4602 | 303.9687 | 240.118 | 0.47815 | 3.864 | 54.9964 | 32.5952 | 29.5644 | 4.155 | 0.15352 | 1.5739 | 2.5811 | 0.096701 | 17.3083 | 0.64435 | 41.679 | 376.8517 | 0.012733
81 | 13:45:38 | 3305.5 | 0 | 11.447 | 0.16233 | 247.0346 | 5.2062 | 2.2899 | 28.3092 | 6 | 1.42 | 1 | 2.84 | 30.8193 | 28.3092 | 32.0587 | 398.6725 | 382.3175 | 16.2069 | 22.4015 | 25.5015 | 35.2489 | 492.9641 | 1500.7401 | 98.9499 | 70.2586 | -0.96319 | 0.19588 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82161 | 0.0052062 | 301.4592 | 303.9693 | 240.1184 | 0.47797 | 3.8638 | 54.9937 | 32.5922 | 29.5642 | 4.155 | 0.15356 | 1.5739 | 2.5811 | 0.096725 | 17.3563 | 0.64615 | 41.6824 | 376.8761 | 0.01266
82 | 13:45:38 | 3306 | 0 | 11.4846 | 0.16234 | 246.6598 | 5.2061 | 2.2898 | 28.3083 | 6 | 1.42 | 1 | 2.84 | 30.8196 | 28.3083 | 32.0586 | 398.7189 | 382.3174 | 16.2056 | 22.4004 | 25.499 | 35.2464 | 492.9438 | 1500.8273 | 98.8112 | 70.2582 | -0.96319 | 0.19588 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82157 | 0.0052061 | 301.4583 | 303.9696 | 240.1324 | 0.47835 | 3.8636 | 54.991 | 32.5906 | 29.5639 | 4.1549 | 0.15356 | 1.5738 | 2.5811 | 0.096728 | 17.3299 | 0.64517 | 41.6826 | 376.8581 | 0.012703
83 | 13:45:39 | 3306.5 | 0 | 11.6069 | 0.16237 | 245.4693 | 5.2073 | 2.2898 | 28.3086 | 6 | 1.42 | 1 | 2.84 | 30.8196 | 28.3086 | 32.059 | 398.8887 | 382.3372 | 16.2042 | 22.4006 | 25.4966 | 35.2464 | 492.9297 | 1500.849 | 98.8181 | 70.2579 | -0.96319 | 0.19588 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82155 | 0.0052073 | 301.4586 | 303.9696 | 240.1358 | 0.47772 | 3.8637 | 54.9926 | 32.5919 | 29.5641 | 4.1549 | 0.15359 | 1.5738 | 2.5811 | 0.096747 | 17.2461 | 0.64202 | 41.6824 | 376.8199 | 0.012839
84 | 13:45:39 | 3307 | 0 | 11.8159 | 0.16236 | 243.3485 | 5.2073 | 2.29 | 28.3091 | 6 | 1.42 | 1 | 2.84 | 30.8205 | 28.3091 | 32.0594 | 399.1365 | 382.3301 | 16.2026 | 22.3993 | 25.493 | 35.2428 | 492.9127 | 1500.9263 | 98.8297 | 70.2582 | -0.96319 | 0.19588 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82152 | 0.0052073 | 301.4591 | 303.9705 | 240.1482 | 0.47792 | 3.8638 | 54.9938 | 32.5945 | 29.5648 | 4.1551 | 0.15358 | 1.5737 | 2.5814 | 0.096739 | 17.0972 | 0.63649 | 41.6789 | 376.7134 | 0.013073
85 | 13:45:40 | 3307.5 | 0 | 11.9697 | 0.16234 | 241.7828 | 5.2067 | 2.29 | 28.3086 | 6 | 1.42 | 1 | 2.84 | 30.8207 | 28.3086 | 32.0593 | 399.319 | 382.326 | 16.2018 | 22.3976 | 25.4915 | 35.2398 | 492.9223 | 1500.9119 | 98.777 | 70.2585 | -0.96319 | 0.19588 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82154 | 0.0052067 | 301.4586 | 303.9707 | 240.1459 | 0.47833 | 3.8636 | 54.9918 | 32.5942 | 29.5646 | 4.1551 | 0.15356 | 1.5736 | 2.5814 | 0.096728 | 16.9873 | 0.6324 | 41.677 | 376.6362 | 0.013245
86 | 13:45:40 | 3308 | 0 | 11.9764 | 0.16236 | 241.7678 | 5.207 | 2.2899 | 28.3079 | 6 | 1.42 | 1 | 2.84 | 30.8207 | 28.3079 | 32.0584 | 399.3662 | 382.3662 | 16.2015 | 22.3971 | 25.4912 | 35.2392 | 492.9659 | 1500.9058 | 98.8479 | 70.259 | -0.96319 | 0.19588 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82161 | 0.005207 | 301.4579 | 303.9707 | 240.1449 | 0.47829 | 3.8635 | 54.9893 | 32.5922 | 29.5643 | 4.155 | 0.15358 | 1.5736 | 2.5814 | 0.096739 | 16.9864 | 0.63229 | 41.6784 | 376.6732 | 0.013252
87 | 13:45:41 | 3308.5 | 0 | 12.0221 | 0.16233 | 241.2939 | 5.2067 | 2.2903 | 28.309 | 6 | 1.42 | 1 | 2.84 | 30.8206 | 28.309 | 32.0582 | 399.4342 | 382.3789 | 16.2002 | 22.3954 | 25.4896 | 35.2371 | 492.9761 | 1500.9241 | 98.7934 | 70.2595 | -0.96319 | 0.19588 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82163 | 0.0052067 | 301.459 | 303.9706 | 240.1478 | 0.47826 | 3.8637 | 54.9925 | 32.5971 | 29.5648 | 4.1551 | 0.15355 | 1.5735 | 2.5816 | 0.09672 | 16.9532 | 0.63103 | 41.6723 | 376.6642 | 0.013301
88 | 13:45:41 | 3309 | 0 | 12.0799 | 0.16223 | 240.65 | 5.2052 | 2.2909 | 28.3115 | 6 | 1.42 | 1 | 2.84 | 30.8204 | 28.3115 | 32.0584 | 399.5172 | 382.3925 | 16.2005 | 22.3938 | 25.4905 | 35.2353 | 492.9832 | 1500.8809 | 98.7486 | 70.2603 | -0.96319 | 0.19588 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82164 | 0.0052052 | 301.4615 | 303.9704 | 240.1409 | 0.47862 | 3.8643 | 54.9998 | 32.606 | 29.566 | 4.1554 | 0.15346 | 1.5734 | 2.582 | 0.096664 | 16.9081 | 0.62933 | 41.662 | 376.6503 | 0.013362
89 | 13:45:42 | 3309.5 | 0 | 12.1072 | 0.16221 | 240.3948 | 5.2058 | 2.2914 | 28.3137 | 6 | 1.42 | 1 | 2.84 | 30.8209 | 28.3137 | 32.0584 | 399.5874 | 382.4286 | 16.1997 | 22.3938 | 25.4888 | 35.2346 | 492.9704 | 1500.9039 | 98.7949 | 70.2609 | -0.96319 | 0.19588 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82162 | 0.0052058 | 301.4637 | 303.9709 | 240.1446 | 0.47813 | 3.8648 | 55.0063 | 32.6125 | 29.5673 | 4.1557 | 0.15345 | 1.5734 | 2.5823 | 0.096655 | 16.8904 | 0.6286 | 41.6569 | 376.6734 | 0.013389
90 | 13:45:42 | 3310 | 0 | 12.1222 | 0.16216 | 240.2199 | 5.2047 | 2.2917 | 28.3147 | 6 | 1.42 | 1 | 2.84 | 30.8207 | 28.3147 | 32.0585 | 399.6236 | 382.4457 | 16.1997 | 22.393 | 25.4892 | 35.234 | 492.9369 | 1500.8599 | 98.8912 | 70.2612 | -0.96319 | 0.19588 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82156 | 0.0052047 | 301.4647 | 303.9707 | 240.1376 | 0.4784 | 3.865 | 55.0093 | 32.6162 | 29.5677 | 4.1558 | 0.1534 | 1.5734 | 2.5824 | 0.096625 | 16.8781 | 0.62811 | 41.6523 | 376.6834 | 0.013404 | 11.7989 | 30.8196 | 28.3105 | #DIV/0! | 3306.6333 | 0 | 11.7989 | 0.16225 | 243.4785 | 5.2049 | 2.2904 | 28.3105 | 6 | 1.42 | 1 | 2.84 | 30.8196 | 28.3105 | 32.0586 | 399.1525 | 382.3695 | 16.2047 | 22.3978 | 25.498 | 35.2428 | 492.9641 | 1500.8143 | 98.8834 | 70.2592 | -0.96319 | 0.19588 | 0.71111 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82161 | 0.0052049 | 301.4605 | 303.9696 | 240.1303 | 0.47868 | 3.8641 | 54.9973 | 32.5995 | 29.565 | 4.1552 | 0.15348 | 1.5737 | 2.5815 | 0.096678 | 17.1066 | 0.63676 | 41.6715 | 376.7609 | 0.01305
Remark= | "13:46:02 Coolers: Tblock -> 37.00 C"
Remark= | "13:49:52 Flow: Fixed -> 500 umol/s"
91 | 13:51:11 | 3640 | 0 | 10.7613 | 0.15149 | 245.4591 | 5.5537 | 2.5851 | 31.3836 | 6 | 1.42 | 1 | 2.84 | 35.2774 | 31.3836 | 36.9424 | 399.2289 | 383.6044 | 22.2984 | 28.8352 | 27.3142 | 35.3215 | 495.059 | 1500.2112 | 388.5461 | 70.2591 | -0.50516 | 0.10324 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.8251 | 0.0055537 | 304.5336 | 308.4274 | 240.0338 | 0.5099 | 4.611 | 65.6283 | 36.7931 | 33.3305 | 5.1467 | 0.14381 | 2.0259 | 3.1207 | 0.090543 | 17.2458 | 0.63988 | 44.1376 | 378.489 | 0.012549
92 | 13:51:12 | 3640 | 0 | 10.7613 | 0.15149 | 245.4591 | 5.5537 | 2.5851 | 31.3836 | 6 | 1.42 | 1 | 2.84 | 35.2774 | 31.3836 | 36.9424 | 399.2289 | 383.6044 | 22.2984 | 28.8352 | 27.3142 | 35.3215 | 495.059 | 1500.2112 | 388.5461 | 70.2591 | -0.50516 | 0.10324 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.8251 | 0.0055537 | 304.5336 | 308.4274 | 240.0338 | 0.5099 | 4.611 | 65.6283 | 36.7931 | 33.3305 | 5.1467 | 0.14381 | 2.0259 | 3.1207 | 0.090543 | 17.2458 | 0.63988 | 44.1376 | 378.489 | 0.012549
93 | 13:51:12 | 3640 | 0 | 10.7613 | 0.15149 | 245.4591 | 5.5537 | 2.5851 | 31.3836 | 6 | 1.42 | 1 | 2.84 | 35.2774 | 31.3836 | 36.9424 | 399.2289 | 383.6044 | 22.2984 | 28.8352 | 27.3142 | 35.3215 | 495.059 | 1500.2112 | 388.5461 | 70.2591 | -0.50516 | 0.10324 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.8251 | 0.0055537 | 304.5336 | 308.4274 | 240.0338 | 0.5099 | 4.611 | 65.6283 | 36.7931 | 33.3305 | 5.1467 | 0.14381 | 2.0259 | 3.1207 | 0.090543 | 17.2458 | 0.63988 | 44.1376 | 378.489 | 0.012549
94 | 13:51:13 | 3640.5 | 0 | 10.8969 | 0.1515 | 244.0159 | 5.555 | 2.5854 | 31.3854 | 6 | 1.42 | 1 | 2.84 | 35.2783 | 31.3854 | 36.9429 | 399.3992 | 383.6085 | 22.2977 | 28.8366 | 27.3119 | 35.3213 | 495.02 | 1500.1411 | 386.5971 | 70.2589 | -0.50516 | 0.10324 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82503 | 0.005555 | 304.5354 | 308.4283 | 240.0226 | 0.50895 | 4.6115 | 65.6354 | 36.7988 | 33.3318 | 5.1471 | 0.14383 | 2.026 | 3.121 | 0.09055 | 17.1443 | 0.63611 | 44.135 | 378.4286 | 0.012709
95 | 13:51:13 | 3641 | 0 | 10.8903 | 0.15147 | 244.123 | 5.5547 | 2.5858 | 31.3865 | 6 | 1.42 | 1 | 2.84 | 35.2801 | 31.3865 | 36.9427 | 399.4587 | 383.675 | 22.2975 | 28.8363 | 27.3086 | 35.317 | 494.9987 | 1500.1323 | 384.2709 | 70.2581 | -0.50516 | 0.10324 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.825 | 0.0055547 | 304.5365 | 308.4301 | 240.0212 | 0.50919 | 4.6118 | 65.6404 | 36.8041 | 33.3333 | 5.1475 | 0.1438 | 2.026 | 3.1215 | 0.090532 | 17.1516 | 0.63628 | 44.1305 | 378.4983 | 0.012697
96 | 13:51:14 | 3641.5 | 0 | 10.8462 | 0.15144 | 244.661 | 5.5545 | 2.586 | 31.3877 | 6 | 1.42 | 1 | 2.84 | 35.2816 | 31.3877 | 36.9435 | 399.4958 | 383.7643 | 22.2989 | 28.8378 | 27.3078 | 35.3155 | 494.9709 | 1500.1472 | 381.6114 | 70.2573 | -0.50516 | 0.10324 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82495 | 0.0055545 | 304.5377 | 308.4316 | 240.0235 | 0.50941 | 4.6121 | 65.6454 | 36.8076 | 33.3346 | 5.1479 | 0.14378 | 2.0261 | 3.1218 | 0.090519 | 17.1892 | 0.63753 | 44.1288 | 378.6085 | 0.012642
97 | 13:51:14 | 3642 | 0 | 10.871 | 0.15141 | 244.4634 | 5.5541 | 2.5863 | 31.3892 | 6 | 1.42 | 1 | 2.84 | 35.2825 | 31.3892 | 36.9443 | 399.6247 | 383.8622 | 22.3009 | 28.8396 | 27.3086 | 35.3156 | 494.9594 | 1500.1007 | 378.4228 | 70.2565 | -0.50516 | 0.10324 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82493 | 0.0055541 | 304.5392 | 308.4325 | 240.0161 | 0.50941 | 4.6125 | 65.6516 | 36.812 | 33.3358 | 5.1482 | 0.14375 | 2.0262 | 3.1221 | 0.090502 | 17.1751 | 0.63685 | 44.1266 | 378.6946 | 0.012667
98 | 13:51:15 | 3642.5 | 0 | 11.0402 | 0.15146 | 242.7628 | 5.556 | 2.5863 | 31.3904 | 6 | 1.42 | 1 | 2.84 | 35.284 | 31.3904 | 36.9439 | 399.9169 | 383.9455 | 22.3016 | 28.8433 | 27.3071 | 35.3171 | 494.887 | 1500.0698 | 374.6876 | 70.2566 | -0.50516 | 0.10324 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82481 | 0.005556 | 304.5404 | 308.434 | 240.0112 | 0.50846 | 4.6128 | 65.6562 | 36.8129 | 33.3372 | 5.1486 | 0.14379 | 2.0264 | 3.1222 | 0.090529 | 17.0557 | 0.63228 | 44.1299 | 378.6975 | 0.012865
99 | 13:51:15 | 3643 | 0 | 11.1948 | 0.15148 | 241.2199 | 5.5562 | 2.5861 | 31.3903 | 6 | 1.42 | 1 | 2.84 | 35.284 | 31.3903 | 36.9433 | 400.21 | 384.0487 | 22.303 | 28.8456 | 27.3091 | 35.3202 | 494.8369 | 1499.9363 | 370.2652 | 70.257 | -0.50516 | 0.10324 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82473 | 0.0055562 | 304.5403 | 308.434 | 239.9898 | 0.50811 | 4.6127 | 65.6553 | 36.8097 | 33.3371 | 5.1486 | 0.14381 | 2.0266 | 3.122 | 0.090541 | 16.9474 | 0.6281 | 44.1342 | 378.7273 | 0.013046
100 | 13:51:16 | 3643.5 | 0 | 11.3107 | 0.15141 | 239.9769 | 5.5548 | 2.5868 | 31.3929 | 6 | 1.42 | 1 | 2.84 | 35.2849 | 31.3929 | 36.9437 | 400.4168 | 384.1145 | 22.3053 | 28.8466 | 27.3107 | 35.3199 | 494.818 | 1499.858 | 365.2979 | 70.2573 | -0.50516 | 0.10324 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.8247 | 0.0055548 | 304.5429 | 308.4349 | 239.9773 | 0.5084 | 4.6134 | 65.6649 | 36.8183 | 33.3389 | 5.1491 | 0.14374 | 2.0267 | 3.1224 | 0.090497 | 16.8601 | 0.62475 | 44.1277 | 378.738 | 0.013178
101 | 13:51:16 | 3644 | 0 | 11.349 | 0.15143 | 239.6592 | 5.5566 | 2.5872 | 31.3955 | 6 | 1.42 | 1 | 2.84 | 35.2862 | 31.3955 | 36.9438 | 400.5467 | 384.1958 | 22.3066 | 28.8503 | 27.3104 | 35.322 | 494.7912 | 1499.7523 | 359.7064 | 70.2579 | -0.50516 | 0.10324 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82465 | 0.0055566 | 304.5455 | 308.4362 | 239.9604 | 0.50713 | 4.6141 | 65.6741 | 36.8238 | 33.3409 | 5.1497 | 0.14376 | 2.027 | 3.1227 | 0.090512 | 16.8379 | 0.62379 | 44.1272 | 378.8011 | 0.013221
102 | 13:51:17 | 3644.5 | 0 | 11.3173 | 0.15143 | 240.0739 | 5.5576 | 2.5877 | 31.3984 | 6 | 1.42 | 1 | 2.84 | 35.287 | 31.3984 | 36.9434 | 400.5975 | 384.2834 | 22.3081 | 28.8532 | 27.3112 | 35.3243 | 494.7761 | 1499.6537 | 353.7769 | 70.2582 | -0.50516 | 0.10324 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82463 | 0.0055576 | 304.5484 | 308.437 | 239.9446 | 0.50609 | 4.6149 | 65.6847 | 36.8316 | 33.3427 | 5.1502 | 0.14376 | 2.0272 | 3.123 | 0.090509 | 16.8672 | 0.62473 | 44.124 | 378.9038 | 0.013179
103 | 13:51:17 | 3645 | 0 | 11.3628 | 0.15147 | 239.6373 | 5.5597 | 2.588 | 31.4006 | 6 | 1.42 | 1 | 2.84 | 35.2875 | 31.4006 | 36.9433 | 400.6792 | 384.3084 | 22.3085 | 28.8562 | 27.3112 | 35.3272 | 494.7625 | 1499.5354 | 347.6994 | 70.2589 | -0.50516 | 0.10324 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.8246 | 0.0055597 | 304.5506 | 308.4375 | 239.9257 | 0.50459 | 4.6154 | 65.692 | 36.8358 | 33.3441 | 5.1506 | 0.1438 | 2.0274 | 3.1232 | 0.090531 | 16.8367 | 0.62355 | 44.1242 | 378.9071 | 0.013232
104 | 13:51:18 | 3645.5 | 0 | 11.4478 | 0.15143 | 238.718 | 5.56 | 2.5888 | 31.4038 | 6 | 1.42 | 1 | 2.84 | 35.2895 | 31.4038 | 36.9432 | 400.8103 | 384.3357 | 22.3088 | 28.8571 | 27.3088 | 35.3247 | 494.7504 | 1499.4453 | 341.7686 | 70.2593 | -0.50516 | 0.10324 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82458 | 0.00556 | 304.5538 | 308.4395 | 239.9112 | 0.50406 | 4.6163 | 65.7036 | 36.8465 | 33.3467 | 5.1513 | 0.14376 | 2.0275 | 3.1239 | 0.09051 | 16.7722 | 0.62112 | 44.1167 | 378.894 | 0.013329
105 | 13:51:18 | 3646 | 0 | 11.5065 | 0.15146 | 238.1206 | 5.5611 | 2.5889 | 31.4045 | 6 | 1.42 | 1 | 2.84 | 35.29 | 31.4045 | 36.9417 | 400.8934 | 384.346 | 22.3086 | 28.8585 | 27.3081 | 35.3259 | 494.7229 | 1499.3204 | 336.2368 | 70.2603 | -0.50516 | 0.10324 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82454 | 0.0055611 | 304.5545 | 308.44 | 239.8913 | 0.50325 | 4.6165 | 65.7053 | 36.8468 | 33.3473 | 5.1515 | 0.14379 | 2.0276 | 3.1239 | 0.090527 | 16.7304 | 0.61955 | 44.1182 | 378.8764 | 0.013399 | 11.0878 | 35.2832 | 31.3917 | #DIV/0! | 3642.6 | 0 | 11.0878 | 0.15146 | 242.254 | 5.5561 | 2.5866 | 31.3917 | 6 | 1.42 | 1 | 2.84 | 35.2832 | 31.3917 | 36.9431 | 399.9824 | 383.9534 | 22.3027 | 28.8445 | 27.3104 | 35.321 | 494.8981 | 1499.9151 | 369.732 | 70.2582 | -0.50516 | 0.10324 | 0.73333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111215 | 0.82483 | 0.0055561 | 304.5417 | 308.4332 | 239.9864 | 0.50778 | 4.6131 | 65.6596 | 36.8151 | 33.3375 | 5.1487 | 0.14379 | 2.0266 | 3.1221 | 0.090526 | 17.0203 | 0.63095 | 44.129 | 378.6828 | 0.012921