## stm-pcup3_
OPEN 6.2.4
Mon Jun 29 2015 12:42:23
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "12:44:50 Coolers: Tblock -> 4.81 C"
Remark= | "12:45:22 Flow: Fixed -> 500 umol/s"
1 | 12:46:03 | 224.5 | 0 | 13.6019 | 0.27537 | 285.6043 | 4.6537 | 1.2828 | 14.7078 | 6 | 1.42 | 1 | 2.84 | 7.9787 | 14.7078 | 5.1893 | 399.4121 | 380.9591 | 0.094189 | 5.648 | 0.61519 | 36.8901 | 499.9103 | 1500.037 | 48.9978 | 70.2332 | -0.64233 | 0.23562 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0046537 | 287.8578 | 281.1287 | 240.0059 | -0.38428 | 1.6795 | 23.9125 | 18.2645 | 11.3432 | 1.3478 | 0.25103 | 0.39668 | 0.95116 | 0.15891 | 20.0589 | 0.7497 | 29.3262 | 374.4934 | 0.010652
2 | 12:46:03 | 224.5 | 0 | 13.6019 | 0.27537 | 285.6043 | 4.6537 | 1.2828 | 14.7078 | 6 | 1.42 | 1 | 2.84 | 7.9787 | 14.7078 | 5.1893 | 399.4121 | 380.9591 | 0.094189 | 5.648 | 0.61519 | 36.8901 | 499.9103 | 1500.037 | 48.9978 | 70.2332 | -0.64233 | 0.23562 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0046537 | 287.8578 | 281.1287 | 240.0059 | -0.38428 | 1.6795 | 23.9125 | 18.2645 | 11.3432 | 1.3478 | 0.25103 | 0.39668 | 0.95116 | 0.15891 | 20.0589 | 0.7497 | 29.3262 | 374.4934 | 0.010652
3 | 12:46:04 | 225 | 0 | 13.5843 | 0.27539 | 285.7278 | 4.6538 | 1.2827 | 14.7072 | 6 | 1.42 | 1 | 2.84 | 7.9804 | 14.7072 | 5.1909 | 399.3985 | 380.9671 | 0.09403 | 5.6479 | 0.61408 | 36.8846 | 499.928 | 1500.0815 | 48.979 | 70.233 | -0.64233 | 0.23562 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0046538 | 287.8572 | 281.1304 | 240.013 | -0.38402 | 1.6794 | 23.9117 | 18.2638 | 11.3438 | 1.3479 | 0.25104 | 0.39667 | 0.95123 | 0.15892 | 20.0675 | 0.75001 | 29.3269 | 374.5098 | 0.010638
4 | 12:46:04 | 225.5 | 0 | 13.6149 | 0.27521 | 285.4699 | 4.652 | 1.283 | 14.7085 | 6 | 1.42 | 1 | 2.84 | 7.982 | 14.7085 | 5.1925 | 399.4184 | 380.951 | 0.094553 | 5.6463 | 0.61743 | 36.8701 | 499.9215 | 1500.1313 | 49.1071 | 70.2331 | -0.64233 | 0.23562 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.004652 | 287.8585 | 281.132 | 240.021 | -0.38291 | 1.6795 | 23.9136 | 18.2674 | 11.3452 | 1.348 | 0.2509 | 0.39655 | 0.95147 | 0.15883 | 20.0494 | 0.74936 | 29.3148 | 374.4791 | 0.010658
5 | 12:46:05 | 226 | 0 | 13.6318 | 0.27529 | 285.404 | 4.6521 | 1.2827 | 14.7061 | 6 | 1.42 | 1 | 2.84 | 7.9834 | 14.7061 | 5.1945 | 399.4533 | 380.9657 | 0.094805 | 5.6466 | 0.61902 | 36.8692 | 499.9262 | 1500.0991 | 49.1428 | 70.2333 | -0.64233 | 0.23562 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0046521 | 287.8561 | 281.1334 | 240.0159 | -0.3826 | 1.6793 | 23.9099 | 18.2632 | 11.3448 | 1.348 | 0.25096 | 0.39658 | 0.9514 | 0.15887 | 20.0449 | 0.74916 | 29.3216 | 374.4858 | 0.010673
6 | 12:46:05 | 226.5 | 0 | 13.6736 | 0.27529 | 285.1763 | 4.6518 | 1.2826 | 14.7055 | 6 | 1.42 | 1 | 2.84 | 7.9852 | 14.7055 | 5.1963 | 399.5341 | 380.996 | 0.095626 | 5.6472 | 0.62431 | 36.8683 | 499.9183 | 1500.1069 | 49.1745 | 70.2334 | -0.64233 | 0.23562 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0046518 | 287.8555 | 281.1352 | 240.0171 | -0.38214 | 1.6792 | 23.9089 | 18.2617 | 11.3453 | 1.348 | 0.25097 | 0.39662 | 0.95141 | 0.15887 | 20.0289 | 0.7485 | 29.3247 | 374.4963 | 0.010707
7 | 12:46:06 | 227 | 0 | 13.7024 | 0.27523 | 284.9674 | 4.6507 | 1.2825 | 14.7043 | 6 | 1.42 | 1 | 2.84 | 7.9864 | 14.7043 | 5.1977 | 399.5555 | 380.9828 | 0.095703 | 5.6461 | 0.62475 | 36.8579 | 499.9015 | 1500.1525 | 49.1408 | 70.233 | -0.64233 | 0.23562 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0046507 | 287.8543 | 281.1364 | 240.0244 | -0.38116 | 1.6791 | 23.9072 | 18.2611 | 11.3454 | 1.348 | 0.25091 | 0.39654 | 0.95149 | 0.15884 | 20.0141 | 0.74798 | 29.3208 | 374.4693 | 0.010729
8 | 12:46:06 | 227.5 | 0 | 13.738 | 0.27535 | 284.8065 | 4.6512 | 1.2822 | 14.7013 | 6 | 1.42 | 1 | 2.84 | 7.9875 | 14.7013 | 5.2002 | 399.6222 | 381.0068 | 0.095899 | 5.6467 | 0.62599 | 36.8595 | 499.9154 | 1500.1995 | 49.2742 | 70.2333 | -0.64233 | 0.23562 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0046512 | 287.8513 | 281.1375 | 240.0319 | -0.38084 | 1.6787 | 23.9025 | 18.2558 | 11.3444 | 1.3479 | 0.25101 | 0.39659 | 0.95136 | 0.1589 | 20.0029 | 0.74751 | 29.3303 | 374.4764 | 0.01076
9 | 12:46:07 | 228 | 0 | 13.7689 | 0.27548 | 284.692 | 4.6516 | 1.2817 | 14.6979 | 6 | 1.42 | 1 | 2.84 | 7.9889 | 14.6979 | 5.2023 | 399.6964 | 381.044 | 0.096367 | 5.6476 | 0.62899 | 36.8617 | 499.9231 | 1500.1747 | 49.4002 | 70.2335 | -0.64233 | 0.23562 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0046516 | 287.8479 | 281.1389 | 240.0279 | -0.38052 | 1.6784 | 23.8971 | 18.2496 | 11.3434 | 1.3479 | 0.25112 | 0.39665 | 0.95121 | 0.15897 | 19.9949 | 0.74714 | 29.3417 | 374.499 | 0.010788
10 | 12:46:07 | 228.5 | 0 | 13.8101 | 0.27552 | 284.4872 | 4.6515 | 1.2815 | 14.6964 | 6 | 1.42 | 1 | 2.84 | 7.9913 | 14.6964 | 5.2045 | 399.785 | 381.0829 | 0.096992 | 5.6481 | 0.63296 | 36.8588 | 499.925 | 1500.1399 | 49.5323 | 70.2338 | -0.64233 | 0.23562 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0046515 | 287.8464 | 281.1413 | 240.0224 | -0.38007 | 1.6782 | 23.8947 | 18.2467 | 11.3439 | 1.3479 | 0.25116 | 0.39668 | 0.95122 | 0.15899 | 19.9806 | 0.74652 | 29.3467 | 374.5182 | 0.010821
11 | 12:46:08 | 229 | 0 | 13.871 | 0.27559 | 284.1276 | 4.6517 | 1.2813 | 14.6951 | 6 | 1.42 | 1 | 2.84 | 7.9926 | 14.6951 | 5.2064 | 399.8559 | 381.0797 | 0.097468 | 5.6491 | 0.63602 | 36.8624 | 499.898 | 1500.0773 | 49.5944 | 70.2342 | -0.64233 | 0.23562 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0046517 | 287.8451 | 281.1426 | 240.0124 | -0.37998 | 1.6781 | 23.8926 | 18.2435 | 11.3438 | 1.3479 | 0.25121 | 0.39676 | 0.95114 | 0.15903 | 19.9555 | 0.74559 | 29.3541 | 374.4861 | 0.010873
12 | 12:46:08 | 229.5 | 0 | 13.8569 | 0.27556 | 284.2561 | 4.6514 | 1.2814 | 14.6958 | 6 | 1.42 | 1 | 2.84 | 7.994 | 14.6958 | 5.2088 | 399.8915 | 381.1323 | 0.097948 | 5.6492 | 0.63909 | 36.8595 | 499.9066 | 1500.0675 | 49.5787 | 70.2343 | -0.64233 | 0.23562 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0046514 | 287.8458 | 281.144 | 240.0108 | -0.3798 | 1.6782 | 23.8936 | 18.2445 | 11.3449 | 1.348 | 0.25118 | 0.39676 | 0.95123 | 0.15901 | 19.9645 | 0.74582 | 29.3528 | 374.5454 | 0.01086
13 | 12:46:09 | 230 | 0 | 13.8728 | 0.27544 | 284.1207 | 4.6507 | 1.2817 | 14.6983 | 6 | 1.42 | 1 | 2.84 | 7.996 | 14.6983 | 5.2106 | 399.9092 | 381.1308 | 0.098209 | 5.6487 | 0.6407 | 36.8518 | 499.8954 | 1500.0919 | 49.6279 | 70.2345 | -0.64233 | 0.23562 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0046507 | 287.8483 | 281.146 | 240.0147 | -0.37947 | 1.6784 | 23.8974 | 18.2487 | 11.3472 | 1.3482 | 0.25109 | 0.39674 | 0.95146 | 0.15895 | 19.9551 | 0.74547 | 29.3449 | 374.5364 | 0.010869
14 | 12:46:09 | 230.5 | 0 | 13.948 | 0.27548 | 283.6305 | 4.6521 | 1.2819 | 14.7007 | 6 | 1.42 | 1 | 2.84 | 7.9971 | 14.7007 | 5.2128 | 399.9631 | 381.0945 | 0.097911 | 5.6499 | 0.63872 | 36.8566 | 499.907 | 1500.0825 | 49.7178 | 70.2343 | -0.64233 | 0.23562 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0046521 | 287.8507 | 281.1471 | 240.0132 | -0.38036 | 1.6787 | 23.9011 | 18.2513 | 11.3489 | 1.3483 | 0.25112 | 0.39682 | 0.95153 | 0.15897 | 19.9206 | 0.74425 | 29.3468 | 374.4643 | 0.010931
15 | 12:46:10 | 231 | 0 | 13.9668 | 0.27566 | 283.5958 | 4.6529 | 1.2814 | 14.697 | 6 | 1.42 | 1 | 2.84 | 7.9993 | 14.697 | 5.2147 | 400.0138 | 381.1226 | 0.098415 | 5.6512 | 0.64191 | 36.8601 | 499.9208 | 1500.0542 | 49.8319 | 70.2349 | -0.64233 | 0.23562 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0046529 | 287.847 | 281.1493 | 240.0087 | -0.38015 | 1.6783 | 23.8953 | 18.244 | 11.3482 | 1.3483 | 0.25127 | 0.39691 | 0.95137 | 0.15907 | 19.9183 | 0.74411 | 29.3616 | 374.4834 | 0.010951 | 13.7496 | 7.9881 | 14.702 | #DIV/0! | 227.5333 | 0 | 13.7496 | 0.27541 | 284.778 | 4.652 | 1.2821 | 14.702 | 6 | 1.42 | 1 | 2.84 | 7.9881 | 14.702 | 5.2007 | 399.6614 | 381.0316 | 0.096154 | 5.648 | 0.62762 | 36.8667 | 499.9138 | 1500.1022 | 49.3398 | 70.2337 | -0.64233 | 0.23562 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.004652 | 287.852 | 281.1381 | 240.0163 | -0.38151 | 1.6788 | 23.9034 | 18.2553 | 11.345 | 1.348 | 0.25107 | 0.39668 | 0.95132 | 0.15894 | 20.001 | 0.74739 | 29.336 | 374.4958 | 0.010771
Remark= | "12:46:17 Coolers: Tblock -> 10.00 C"
Remark= | "12:47:58 Flow: Fixed -> 500 umol/s"
16 | 12:48:44 | 385.5 | 0 | 14.2993 | 0.27257 | 279.3025 | 4.9328 | 1.3692 | 16.5172 | 6 | 1.42 | 1 | 2.84 | 11.7782 | 16.5172 | 9.9771 | 399.8936 | 380.4763 | 1.4789 | 7.3564 | 7.4876 | 37.2457 | 499.8474 | 1500.8289 | 56.1177 | 70.2329 | -1.3806 | 0.22366 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0049328 | 289.6672 | 284.9282 | 240.1326 | -0.3095 | 1.8859 | 26.8514 | 19.495 | 14.1477 | 1.6197 | 0.2487 | 0.51666 | 1.1031 | 0.15742 | 19.6162 | 0.73409 | 32.6019 | 373.679 | 0.012476
17 | 12:48:44 | 385.5 | 0 | 14.2993 | 0.27257 | 279.3025 | 4.9328 | 1.3692 | 16.5172 | 6 | 1.42 | 1 | 2.84 | 11.7782 | 16.5172 | 9.9771 | 399.8936 | 380.4763 | 1.4789 | 7.3564 | 7.4876 | 37.2457 | 499.8474 | 1500.8289 | 56.1177 | 70.2329 | -1.3806 | 0.22366 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0049328 | 289.6672 | 284.9282 | 240.1326 | -0.3095 | 1.8859 | 26.8514 | 19.495 | 14.1477 | 1.6197 | 0.2487 | 0.51666 | 1.1031 | 0.15742 | 19.6162 | 0.73409 | 32.6019 | 373.679 | 0.012476
18 | 12:48:45 | 386 | 0 | 14.3311 | 0.27253 | 279.1112 | 4.9325 | 1.3693 | 16.5184 | 6 | 1.42 | 1 | 2.84 | 11.7782 | 16.5184 | 9.9779 | 399.953 | 380.4976 | 1.4798 | 7.357 | 7.4921 | 37.2485 | 499.8461 | 1500.8905 | 56.078 | 70.2329 | -1.3806 | 0.22366 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0049325 | 289.6684 | 284.9282 | 240.1425 | -0.30938 | 1.886 | 26.8536 | 19.4966 | 14.1483 | 1.6198 | 0.24866 | 0.5167 | 1.1031 | 0.1574 | 19.6028 | 0.73354 | 32.6008 | 373.6853 | 0.012503
19 | 12:48:45 | 386.5 | 0 | 14.3607 | 0.27251 | 278.9461 | 4.9323 | 1.3693 | 16.5191 | 6 | 1.42 | 1 | 2.84 | 11.7785 | 16.5191 | 9.9786 | 400.0149 | 380.5236 | 1.4806 | 7.3577 | 7.4959 | 37.2514 | 499.8408 | 1500.9108 | 56.1127 | 70.233 | -1.3806 | 0.22366 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0049323 | 289.6691 | 284.9285 | 240.1457 | -0.30933 | 1.8861 | 26.8547 | 19.4971 | 14.1488 | 1.6198 | 0.24865 | 0.51675 | 1.1031 | 0.15739 | 19.5912 | 0.73306 | 32.6017 | 373.6972 | 0.012528
20 | 12:48:46 | 387 | 0 | 14.3871 | 0.27251 | 278.8026 | 4.9326 | 1.3694 | 16.5204 | 6 | 1.42 | 1 | 2.84 | 11.7785 | 16.5204 | 9.9795 | 400.0697 | 380.5463 | 1.4818 | 7.3593 | 7.5023 | 37.2592 | 499.8359 | 1500.9196 | 56.087 | 70.2325 | -1.3806 | 0.22366 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0049326 | 289.6704 | 284.9285 | 240.1471 | -0.3096 | 1.8862 | 26.8571 | 19.4978 | 14.1494 | 1.6199 | 0.24865 | 0.51686 | 1.103 | 0.15739 | 19.581 | 0.73264 | 32.6048 | 373.7073 | 0.012552
21 | 12:48:46 | 387.5 | 0 | 14.3723 | 0.27252 | 278.9161 | 4.9325 | 1.3693 | 16.5205 | 6 | 1.42 | 1 | 2.84 | 11.7791 | 16.5205 | 9.9802 | 400.0708 | 380.5651 | 1.4827 | 7.3601 | 7.5063 | 37.2615 | 499.8383 | 1500.9395 | 56.0437 | 70.2322 | -1.3806 | 0.22366 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0049325 | 289.6705 | 284.9291 | 240.1503 | -0.30947 | 1.8862 | 26.8573 | 19.4972 | 14.1498 | 1.6199 | 0.24866 | 0.51691 | 1.103 | 0.15739 | 19.5889 | 0.7329 | 32.6074 | 373.7332 | 0.01254
22 | 12:48:47 | 388 | 0 | 14.3549 | 0.27253 | 279.0105 | 4.9323 | 1.3692 | 16.5198 | 6 | 1.42 | 1 | 2.84 | 11.7791 | 16.5198 | 9.981 | 400.032 | 380.5463 | 1.4831 | 7.3606 | 7.5086 | 37.2641 | 499.8069 | 1500.9215 | 56.0659 | 70.2322 | -1.3806 | 0.22366 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83301 | 0.0049323 | 289.6698 | 284.9291 | 240.1474 | -0.30929 | 1.8862 | 26.8562 | 19.4956 | 14.1494 | 1.6199 | 0.24867 | 0.51695 | 1.103 | 0.1574 | 19.5955 | 0.73318 | 32.6105 | 373.7227 | 0.012526
23 | 12:48:47 | 388.5 | 0 | 14.303 | 0.27242 | 279.2961 | 4.9311 | 1.3694 | 16.5215 | 6 | 1.42 | 1 | 2.84 | 11.7791 | 16.5215 | 9.9816 | 399.9662 | 380.5422 | 1.4845 | 7.3608 | 7.5153 | 37.2655 | 499.7805 | 1500.9169 | 56.11 | 70.2323 | -1.3806 | 0.22366 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83297 | 0.0049311 | 289.6715 | 284.9291 | 240.1467 | -0.30891 | 1.8864 | 26.8591 | 19.4982 | 14.1503 | 1.62 | 0.24857 | 0.51697 | 1.103 | 0.15734 | 19.6156 | 0.73394 | 32.6062 | 373.7432 | 0.012478
24 | 12:48:48 | 389 | 0 | 14.2017 | 0.27226 | 279.9143 | 4.9298 | 1.3698 | 16.5247 | 6 | 1.42 | 1 | 2.84 | 11.7795 | 16.5247 | 9.982 | 399.8806 | 380.5792 | 1.486 | 7.3607 | 7.5232 | 37.264 | 499.7927 | 1500.9304 | 56.2404 | 70.2326 | -1.3806 | 0.22366 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83299 | 0.0049298 | 289.6747 | 284.9295 | 240.1489 | -0.30854 | 1.8868 | 26.8644 | 19.5037 | 14.1521 | 1.6202 | 0.24844 | 0.51696 | 1.1032 | 0.15725 | 19.6591 | 0.7355 | 32.5971 | 373.8284 | 0.012384
25 | 12:48:48 | 389.5 | 0 | 14.1504 | 0.27211 | 280.1982 | 4.9298 | 1.3704 | 16.5302 | 6 | 1.42 | 1 | 2.84 | 11.7804 | 16.5302 | 9.9832 | 399.83 | 380.5915 | 1.4868 | 7.361 | 7.5266 | 37.2631 | 499.8327 | 1500.9473 | 56.1835 | 70.2321 | -1.3806 | 0.22366 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0049298 | 289.6802 | 284.9304 | 240.1516 | -0.30908 | 1.8874 | 26.874 | 19.513 | 14.1553 | 1.6205 | 0.24832 | 0.51698 | 1.1035 | 0.15717 | 19.6789 | 0.73622 | 32.5855 | 373.865 | 0.012333
26 | 12:48:49 | 390 | 0 | 14.1389 | 0.2721 | 280.2591 | 4.9304 | 1.3707 | 16.5327 | 6 | 1.42 | 1 | 2.84 | 11.7807 | 16.5327 | 9.984 | 399.8097 | 380.5856 | 1.4876 | 7.3622 | 7.5304 | 37.2685 | 499.85 | 1500.9062 | 56.3191 | 70.232 | -1.3806 | 0.22366 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0049304 | 289.6827 | 284.9307 | 240.145 | -0.30974 | 1.8877 | 26.8783 | 19.5161 | 14.1567 | 1.6207 | 0.24831 | 0.51706 | 1.1036 | 0.15717 | 19.6831 | 0.73639 | 32.5852 | 373.8647 | 0.012323
27 | 12:48:49 | 390.5 | 0 | 14.145 | 0.27211 | 280.2221 | 4.9312 | 1.3708 | 16.5351 | 6 | 1.42 | 1 | 2.84 | 11.781 | 16.5351 | 9.9856 | 399.8151 | 380.5841 | 1.4887 | 7.364 | 7.5355 | 37.2767 | 499.8715 | 1500.9003 | 56.3385 | 70.2318 | -1.3806 | 0.22366 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0049312 | 289.6851 | 284.931 | 240.144 | -0.31046 | 1.888 | 26.8825 | 19.5185 | 14.1581 | 1.6208 | 0.24832 | 0.51719 | 1.1036 | 0.15717 | 19.6805 | 0.73629 | 32.5875 | 373.8603 | 0.012329
28 | 12:48:50 | 391 | 0 | 14.138 | 0.27204 | 280.2533 | 4.9316 | 1.3712 | 16.5391 | 6 | 1.42 | 1 | 2.84 | 11.7812 | 16.5391 | 9.987 | 399.8187 | 380.5963 | 1.4891 | 7.3647 | 7.5375 | 37.2798 | 499.8835 | 1500.9019 | 56.3834 | 70.232 | -1.3806 | 0.22366 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0049316 | 289.6891 | 284.9312 | 240.1443 | -0.31111 | 1.8885 | 26.8892 | 19.5244 | 14.1601 | 1.621 | 0.24826 | 0.51724 | 1.1038 | 0.15714 | 19.6827 | 0.73635 | 32.5818 | 373.8758 | 0.012321
29 | 12:48:50 | 391.5 | 0 | 14.144 | 0.27201 | 280.2003 | 4.9323 | 1.3716 | 16.5427 | 6 | 1.42 | 1 | 2.84 | 11.781 | 16.5427 | 9.9883 | 399.8226 | 380.5928 | 1.4898 | 7.3662 | 7.5414 | 37.2878 | 499.8882 | 1500.8965 | 56.5875 | 70.232 | -1.3806 | 0.22366 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0049323 | 289.6927 | 284.931 | 240.1434 | -0.31196 | 1.8889 | 26.8953 | 19.5291 | 14.1619 | 1.6212 | 0.24823 | 0.51735 | 1.1039 | 0.15712 | 19.679 | 0.73622 | 32.5802 | 373.8694 | 0.012326
30 | 12:48:51 | 392 | 0 | 14.1759 | 0.27207 | 280.0158 | 4.9336 | 1.3716 | 16.5442 | 6 | 1.42 | 1 | 2.84 | 11.7809 | 16.5442 | 9.9894 | 399.8557 | 380.5886 | 1.4903 | 7.3679 | 7.5441 | 37.2965 | 499.9287 | 1500.8639 | 56.6565 | 70.232 | -1.3806 | 0.22366 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0049336 | 289.6942 | 284.9309 | 240.1382 | -0.31294 | 1.8891 | 26.8979 | 19.5301 | 14.1625 | 1.6213 | 0.24829 | 0.51746 | 1.1038 | 0.15715 | 19.6661 | 0.73574 | 32.5847 | 373.85 | 0.012356 | 14.2534 | 11.7796 | 16.5269 | #DIV/0! | 388.5333 | 0 | 14.2534 | 0.27232 | 279.5834 | 4.9318 | 1.37 | 16.5269 | 6 | 1.42 | 1 | 2.84 | 11.7796 | 16.5269 | 9.9822 | 399.9151 | 380.5528 | 1.4846 | 7.361 | 7.5156 | 37.2652 | 499.846 | 1500.9002 | 56.2294 | 70.2324 | -1.3806 | 0.22366 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0049318 | 289.6769 | 284.9296 | 240.144 | -0.30992 | 1.887 | 26.8682 | 19.5072 | 14.1532 | 1.6203 | 0.24849 | 0.51698 | 1.1033 | 0.15729 | 19.6358 | 0.73468 | 32.5958 | 373.7774 | 0.01243
Remark= | "12:49:02 Coolers: Tblock -> 15.00 C"
Remark= | "12:52:06 Flow: Fixed -> 500 umol/s"
31 | 12:52:53 | 635 | 0 | 14.2885 | 0.26329 | 275.4397 | 4.9654 | 1.4191 | 18.0496 | 6 | 1.42 | 1 | 2.84 | 15.688 | 18.0496 | 15.0679 | 399.2465 | 379.8331 | 3.474 | 9.3779 | 13.6409 | 36.8226 | 499.8971 | 1500.1489 | 38.0069 | 70.2321 | -1.4094 | 0.22172 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0049654 | 291.1996 | 288.838 | 240.0238 | -0.045152 | 2.0777 | 29.5839 | 20.206 | 16.8688 | 1.9284 | 0.24095 | 0.65863 | 1.2698 | 0.15246 | 19.3447 | 0.72516 | 36.2523 | 373.0411 | 0.013886
32 | 12:52:53 | 635 | 0 | 14.2885 | 0.26329 | 275.4397 | 4.9654 | 1.4191 | 18.0496 | 6 | 1.42 | 1 | 2.84 | 15.688 | 18.0496 | 15.0679 | 399.2465 | 379.8331 | 3.474 | 9.3779 | 13.6409 | 36.8226 | 499.8971 | 1500.1489 | 38.0069 | 70.2321 | -1.4094 | 0.22172 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0049654 | 291.1996 | 288.838 | 240.0238 | -0.045152 | 2.0777 | 29.5839 | 20.206 | 16.8688 | 1.9284 | 0.24095 | 0.65863 | 1.2698 | 0.15246 | 19.3447 | 0.72516 | 36.2523 | 373.0411 | 0.013886
33 | 12:52:54 | 635.5 | 0 | 14.3239 | 0.26337 | 275.2167 | 4.9649 | 1.4186 | 18.0459 | 6 | 1.42 | 1 | 2.84 | 15.688 | 18.0459 | 15.0684 | 399.2644 | 379.8089 | 3.4757 | 9.3788 | 13.6474 | 36.8264 | 499.898 | 1500.1915 | 38.1078 | 70.2322 | -1.4094 | 0.22172 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0049649 | 291.1959 | 288.838 | 240.0306 | -0.04431 | 2.0773 | 29.5771 | 20.1983 | 16.8669 | 1.9282 | 0.24102 | 0.6587 | 1.2695 | 0.1525 | 19.3291 | 0.72462 | 36.2639 | 373 | 0.013926
34 | 12:52:54 | 636 | 0 | 14.2935 | 0.26329 | 275.4142 | 4.9631 | 1.4185 | 18.0449 | 6 | 1.42 | 1 | 2.84 | 15.6876 | 18.0449 | 15.0685 | 399.2545 | 379.8354 | 3.4772 | 9.3785 | 13.6538 | 36.8261 | 499.8795 | 1500.1967 | 38.1225 | 70.2324 | -1.4094 | 0.22172 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0049631 | 291.1949 | 288.8376 | 240.0315 | -0.043287 | 2.0771 | 29.5751 | 20.1966 | 16.8662 | 1.9281 | 0.24095 | 0.65867 | 1.2695 | 0.15245 | 19.343 | 0.72509 | 36.2632 | 373.0409 | 0.013895
35 | 12:52:55 | 636.5 | 0 | 14.2553 | 0.26311 | 275.5922 | 4.9608 | 1.4187 | 18.046 | 6 | 1.42 | 1 | 2.84 | 15.6878 | 18.046 | 15.0683 | 399.1982 | 379.8261 | 3.4788 | 9.3773 | 13.6597 | 36.8211 | 499.8788 | 1500.2194 | 38.1087 | 70.2322 | -1.4094 | 0.22172 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0049608 | 291.196 | 288.8378 | 240.0351 | -0.042158 | 2.0773 | 29.5772 | 20.1999 | 16.8669 | 1.9282 | 0.2408 | 0.65859 | 1.2696 | 0.15236 | 19.3554 | 0.72557 | 36.2538 | 373.0499 | 0.013854
36 | 12:52:55 | 637 | 0 | 14.2531 | 0.26305 | 275.5573 | 4.9585 | 1.4183 | 18.0433 | 6 | 1.42 | 1 | 2.84 | 15.6879 | 18.0433 | 15.0693 | 399.1627 | 379.7934 | 3.4812 | 9.3775 | 13.6692 | 36.8209 | 499.8512 | 1500.2562 | 38.0698 | 70.2319 | -1.4094 | 0.22172 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0049585 | 291.1933 | 288.8379 | 240.041 | -0.04054 | 2.0769 | 29.5725 | 20.195 | 16.8656 | 1.9281 | 0.24075 | 0.6586 | 1.2695 | 0.15233 | 19.3529 | 0.72555 | 36.2578 | 373.0182 | 0.013854
37 | 12:52:56 | 637.5 | 0 | 14.1725 | 0.26293 | 276.0622 | 4.956 | 1.4182 | 18.0421 | 6 | 1.42 | 1 | 2.84 | 15.6879 | 18.0421 | 15.0695 | 399.0881 | 379.8159 | 3.484 | 9.3773 | 13.6799 | 36.8203 | 499.8353 | 1500.2676 | 38.0596 | 70.232 | -1.4094 | 0.22172 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.004956 | 291.1921 | 288.8379 | 240.0428 | -0.038989 | 2.0768 | 29.5701 | 20.1928 | 16.865 | 1.928 | 0.24065 | 0.65859 | 1.2694 | 0.15226 | 19.3884 | 0.72683 | 36.2573 | 373.0789 | 0.013773
38 | 12:52:56 | 638 | 0 | 14.1517 | 0.26299 | 276.2056 | 4.9554 | 1.4178 | 18.039 | 6 | 1.42 | 1 | 2.84 | 15.6887 | 18.039 | 15.0698 | 399.0511 | 379.804 | 3.4849 | 9.3776 | 13.683 | 36.82 | 499.8273 | 1500.2454 | 37.9399 | 70.232 | -1.4094 | 0.22172 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0049554 | 291.189 | 288.8387 | 240.0393 | -0.038244 | 2.0764 | 29.5644 | 20.1868 | 16.8639 | 1.9278 | 0.2407 | 0.65861 | 1.2692 | 0.15229 | 19.3985 | 0.72723 | 36.2653 | 373.0769 | 0.013756
39 | 12:52:57 | 638.5 | 0 | 14.1185 | 0.26295 | 276.4195 | 4.954 | 1.4175 | 18.0372 | 6 | 1.42 | 1 | 2.84 | 15.6892 | 18.0372 | 15.0697 | 399.0197 | 379.8135 | 3.4865 | 9.3774 | 13.6886 | 36.8174 | 499.8418 | 1500.2626 | 38.0026 | 70.2317 | -1.4094 | 0.22172 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.004954 | 291.1872 | 288.8392 | 240.042 | -0.037175 | 2.0761 | 29.5611 | 20.1837 | 16.8632 | 1.9278 | 0.24067 | 0.65859 | 1.2692 | 0.15227 | 19.4134 | 0.72778 | 36.2672 | 373.1023 | 0.013724
40 | 12:52:57 | 639 | 0 | 14.0614 | 0.2628 | 276.7759 | 4.953 | 1.418 | 18.0404 | 6 | 1.42 | 1 | 2.84 | 15.6889 | 18.0404 | 15.0699 | 398.9888 | 379.8521 | 3.4876 | 9.3771 | 13.6935 | 36.8174 | 499.8583 | 1500.2797 | 37.9305 | 70.2321 | -1.4094 | 0.22172 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.004953 | 291.1904 | 288.8389 | 240.0447 | -0.037046 | 2.0765 | 29.5669 | 20.1897 | 16.8646 | 1.9279 | 0.24054 | 0.65858 | 1.2694 | 0.15219 | 19.4386 | 0.72864 | 36.2575 | 373.168 | 0.013662
41 | 12:52:58 | 639.5 | 0 | 14.0455 | 0.26268 | 276.8455 | 4.9518 | 1.4182 | 18.0426 | 6 | 1.42 | 1 | 2.84 | 15.689 | 18.0426 | 15.0698 | 398.9798 | 379.8621 | 3.4891 | 9.3773 | 13.6991 | 36.8179 | 499.8472 | 1500.2993 | 37.8788 | 70.2319 | -1.4094 | 0.22172 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0049518 | 291.1926 | 288.839 | 240.0479 | -0.036675 | 2.0768 | 29.5711 | 20.1938 | 16.8658 | 1.9281 | 0.24044 | 0.65859 | 1.2695 | 0.15213 | 19.4434 | 0.72881 | 36.2511 | 373.1856 | 0.013644
42 | 12:52:58 | 640 | 0 | 14.0491 | 0.26271 | 276.8296 | 4.9516 | 1.4181 | 18.0416 | 6 | 1.42 | 1 | 2.84 | 15.6895 | 18.0416 | 15.0698 | 398.9796 | 379.8582 | 3.4903 | 9.3782 | 13.7036 | 36.8202 | 499.859 | 1500.3042 | 37.8576 | 70.2322 | -1.4094 | 0.22172 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0049516 | 291.1916 | 288.8395 | 240.0487 | -0.036365 | 2.0767 | 29.5691 | 20.1909 | 16.8656 | 1.9281 | 0.24046 | 0.65865 | 1.2694 | 0.15214 | 19.4423 | 0.72877 | 36.2565 | 373.1799 | 0.013649
43 | 12:52:59 | 640.5 | 0 | 14.0758 | 0.26285 | 276.7231 | 4.9519 | 1.4174 | 18.0378 | 6 | 1.42 | 1 | 2.84 | 15.6896 | 18.0378 | 15.0699 | 399.0264 | 379.8731 | 3.4918 | 9.3799 | 13.7094 | 36.8271 | 499.869 | 1500.2572 | 37.8708 | 70.2326 | -1.4094 | 0.22172 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0049519 | 291.1878 | 288.8396 | 240.0411 | -0.036146 | 2.0762 | 29.5619 | 20.182 | 16.8637 | 1.9278 | 0.24059 | 0.65878 | 1.2691 | 0.15222 | 19.435 | 0.72846 | 36.2724 | 373.1821 | 0.013681
44 | 12:52:59 | 641 | 0 | 14.0444 | 0.26283 | 276.9414 | 4.9509 | 1.4173 | 18.0358 | 6 | 1.42 | 1 | 2.84 | 15.6891 | 18.0358 | 15.0692 | 399.0082 | 379.8936 | 3.492 | 9.3788 | 13.7108 | 36.8238 | 499.8875 | 1500.2427 | 37.8321 | 70.2329 | -1.4094 | 0.22172 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0049509 | 291.1858 | 288.8391 | 240.0388 | -0.035445 | 2.0759 | 29.5581 | 20.1793 | 16.8625 | 1.9277 | 0.24057 | 0.6587 | 1.269 | 0.15221 | 19.4504 | 0.729 | 36.2723 | 373.2176 | 0.013649
45 | 12:53:00 | 641.5 | 0 | 14.085 | 0.26302 | 276.7305 | 4.9527 | 1.4169 | 18.0336 | 6 | 1.42 | 1 | 2.84 | 15.689 | 18.0336 | 15.0689 | 399.0475 | 379.8842 | 3.4915 | 9.3801 | 13.7087 | 36.8292 | 499.9087 | 1500.2891 | 37.8123 | 70.2329 | -1.4094 | 0.22172 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0049527 | 291.1836 | 288.839 | 240.0462 | -0.036033 | 2.0757 | 29.554 | 20.1739 | 16.8613 | 1.9275 | 0.24072 | 0.65879 | 1.2687 | 0.15231 | 19.4356 | 0.72846 | 36.2844 | 373.1888 | 0.013695 | 14.1671 | 15.6886 | 18.042 | #DIV/0! | 638.0333 | 0 | 14.1671 | 0.26301 | 276.1462 | 4.957 | 1.4181 | 18.042 | 6 | 1.42 | 1 | 2.84 | 15.6886 | 18.042 | 15.0691 | 399.1041 | 379.8391 | 3.4839 | 9.3781 | 13.6792 | 36.8222 | 499.8691 | 1500.2406 | 37.9738 | 70.2322 | -1.4094 | 0.22172 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.004957 | 291.192 | 288.8386 | 240.0385 | -0.039515 | 2.0767 | 29.5698 | 20.1916 | 16.8653 | 1.928 | 0.24072 | 0.65865 | 1.2694 | 0.1523 | 19.3944 | 0.72701 | 36.2618 | 373.1047 | 0.013769
Remark= | "12:53:10 Coolers: Tblock -> 20.00 C"
Remark= | "12:54:51 Flow: Fixed -> 500 umol/s"
46 | 12:56:08 | 829.5 | 0 | 14.0553 | 0.25693 | 274.7475 | 4.9592 | 1.4458 | 19.4642 | 6 | 1.42 | 1 | 2.84 | 19.4906 | 19.4642 | 19.9639 | 399.0784 | 379.9497 | 5.8504 | 11.7321 | 18.0738 | 36.2438 | 499.9655 | 1500.1464 | 36.4682 | 70.2383 | -1.7032 | 0.19498 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.0049592 | 292.6142 | 292.6406 | 240.0234 | 0.25791 | 2.2699 | 32.3167 | 20.5847 | 19.4774 | 2.2717 | 0.23561 | 0.82404 | 1.4477 | 0.14903 | 19.2978 | 0.72312 | 40.2723 | 373.2685 | 0.015164
47 | 12:56:09 | 829.5 | 0 | 14.0553 | 0.25693 | 274.7475 | 4.9592 | 1.4458 | 19.4642 | 6 | 1.42 | 1 | 2.84 | 19.4906 | 19.4642 | 19.9639 | 399.0784 | 379.9497 | 5.8504 | 11.7321 | 18.0738 | 36.2438 | 499.9655 | 1500.1464 | 36.4682 | 70.2383 | -1.7032 | 0.19498 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.0049592 | 292.6142 | 292.6406 | 240.0234 | 0.25791 | 2.2699 | 32.3167 | 20.5847 | 19.4774 | 2.2717 | 0.23561 | 0.82404 | 1.4477 | 0.14903 | 19.2978 | 0.72312 | 40.2723 | 373.2685 | 0.015164
48 | 12:56:09 | 830 | 0 | 14.0919 | 0.2569 | 274.4784 | 4.9592 | 1.446 | 19.4648 | 6 | 1.42 | 1 | 2.84 | 19.4918 | 19.4648 | 19.9642 | 399.1051 | 379.9315 | 5.8496 | 11.7315 | 18.0699 | 36.2394 | 499.9421 | 1500.1692 | 36.5044 | 70.2385 | -1.7032 | 0.19498 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0049592 | 292.6148 | 292.6418 | 240.0271 | 0.25802 | 2.27 | 32.318 | 20.5865 | 19.4783 | 2.2719 | 0.23559 | 0.824 | 1.4479 | 0.14902 | 19.2789 | 0.72244 | 40.2687 | 373.2329 | 0.015204
49 | 12:56:10 | 830.5 | 0 | 14.062 | 0.25696 | 274.6825 | 4.9603 | 1.446 | 19.4653 | 6 | 1.42 | 1 | 2.84 | 19.493 | 19.4653 | 19.9644 | 399.0593 | 379.9185 | 5.8478 | 11.7319 | 18.0628 | 36.2378 | 499.8723 | 1500.2332 | 36.5255 | 70.2385 | -1.7032 | 0.19498 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0049603 | 292.6153 | 292.643 | 240.0373 | 0.25762 | 2.27 | 32.3189 | 20.5871 | 19.4792 | 2.272 | 0.23564 | 0.82403 | 1.448 | 0.14905 | 19.2933 | 0.723 | 40.2699 | 373.2341 | 0.015172
50 | 12:56:10 | 831 | 0 | 14.0442 | 0.25695 | 274.8356 | 4.9601 | 1.446 | 19.4651 | 6 | 1.42 | 1 | 2.84 | 19.4938 | 19.4651 | 19.9639 | 399.0763 | 379.9575 | 5.8478 | 11.7314 | 18.0622 | 36.2351 | 499.8895 | 1500.23 | 36.4637 | 70.239 | -1.7032 | 0.19498 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0049601 | 292.6151 | 292.6438 | 240.0368 | 0.25785 | 2.27 | 32.3183 | 20.5868 | 19.4794 | 2.272 | 0.23563 | 0.824 | 1.448 | 0.14905 | 19.3042 | 0.72333 | 40.2693 | 373.2816 | 0.015151
51 | 12:56:11 | 831.5 | 0 | 14.1081 | 0.25701 | 274.3725 | 4.9614 | 1.4461 | 19.4652 | 6 | 1.42 | 1 | 2.84 | 19.4951 | 19.4652 | 19.9645 | 399.0936 | 379.8957 | 5.8448 | 11.7306 | 18.0514 | 36.2294 | 499.8336 | 1500.3264 | 36.4929 | 70.2389 | -1.7032 | 0.19498 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0049614 | 292.6152 | 292.6451 | 240.0522 | 0.25753 | 2.27 | 32.3186 | 20.588 | 19.4802 | 2.2721 | 0.23568 | 0.82395 | 1.4482 | 0.14908 | 19.2716 | 0.72223 | 40.2677 | 373.1894 | 0.015223
52 | 12:56:11 | 832 | 0 | 14.1466 | 0.25732 | 274.2203 | 4.9657 | 1.4457 | 19.4642 | 6 | 1.42 | 1 | 2.84 | 19.4965 | 19.4642 | 19.9632 | 399.1332 | 379.8871 | 5.8429 | 11.7339 | 18.044 | 36.2364 | 499.8289 | 1500.3879 | 36.4763 | 70.2387 | -1.7032 | 0.19498 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0049657 | 292.6142 | 292.6465 | 240.0621 | 0.25568 | 2.2699 | 32.3165 | 20.5826 | 19.4803 | 2.2722 | 0.23595 | 0.82418 | 1.448 | 0.14925 | 19.2609 | 0.72185 | 40.2855 | 373.1625 | 0.015272
53 | 12:56:12 | 832.5 | 0 | 14.1566 | 0.25741 | 274.2001 | 4.9665 | 1.4455 | 19.463 | 6 | 1.42 | 1 | 2.84 | 19.4976 | 19.463 | 19.9635 | 399.1618 | 379.9037 | 5.8431 | 11.7348 | 18.0435 | 36.2369 | 499.8422 | 1500.3909 | 36.6013 | 70.2388 | -1.7032 | 0.19498 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0049665 | 292.613 | 292.6476 | 240.0625 | 0.25559 | 2.2697 | 32.3142 | 20.5794 | 19.4803 | 2.2721 | 0.23602 | 0.82424 | 1.4479 | 0.14929 | 19.2595 | 0.72176 | 40.2922 | 373.1743 | 0.015285
54 | 12:56:12 | 833 | 0 | 14.1432 | 0.25743 | 274.3291 | 4.9662 | 1.4453 | 19.4616 | 6 | 1.42 | 1 | 2.84 | 19.4989 | 19.4616 | 19.9654 | 399.1766 | 379.9355 | 5.8437 | 11.7348 | 18.0439 | 36.2339 | 499.8673 | 1500.4142 | 36.7194 | 70.2391 | -1.7032 | 0.19498 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0049662 | 292.6116 | 292.6489 | 240.0663 | 0.25614 | 2.2695 | 32.3112 | 20.5764 | 19.4802 | 2.2721 | 0.23604 | 0.82424 | 1.4479 | 0.14931 | 19.2686 | 0.72204 | 40.2958 | 373.2125 | 0.01527
55 | 12:56:13 | 833.5 | 0 | 14.1595 | 0.25757 | 274.2804 | 4.9671 | 1.4448 | 19.4595 | 6 | 1.42 | 1 | 2.84 | 19.5005 | 19.4595 | 19.9653 | 399.2054 | 379.944 | 5.8447 | 11.7369 | 18.0452 | 36.2369 | 499.864 | 1500.4087 | 36.7372 | 70.2393 | -1.7032 | 0.19498 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0049671 | 292.6095 | 292.6505 | 240.0654 | 0.25611 | 2.2692 | 32.307 | 20.5701 | 19.48 | 2.2721 | 0.23616 | 0.82439 | 1.4477 | 0.14938 | 19.2653 | 0.7219 | 40.3092 | 373.2133 | 0.015293
56 | 12:56:13 | 834 | 0 | 14.1376 | 0.25754 | 274.4369 | 4.9666 | 1.4448 | 19.4592 | 6 | 1.42 | 1 | 2.84 | 19.5008 | 19.4592 | 19.9657 | 399.2018 | 379.9679 | 5.8446 | 11.7359 | 18.0446 | 36.2332 | 499.8919 | 1500.4386 | 36.6808 | 70.2396 | -1.7032 | 0.19498 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0049666 | 292.6092 | 292.6508 | 240.0702 | 0.25652 | 2.2692 | 32.3061 | 20.5703 | 19.48 | 2.2721 | 0.23613 | 0.82432 | 1.4478 | 0.14937 | 19.2763 | 0.72226 | 40.3066 | 373.2475 | 0.015267
57 | 12:56:13 | 834.5 | 0 | 14.1422 | 0.25766 | 274.4645 | 4.9678 | 1.4446 | 19.4584 | 6 | 1.42 | 1 | 2.84 | 19.502 | 19.4584 | 19.9656 | 399.223 | 379.985 | 5.8455 | 11.7376 | 18.046 | 36.2358 | 499.9455 | 1500.389 | 36.7083 | 70.2399 | -1.7032 | 0.19498 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0049678 | 292.6084 | 292.652 | 240.0622 | 0.25605 | 2.2691 | 32.3044 | 20.5668 | 19.4802 | 2.2721 | 0.23623 | 0.82444 | 1.4477 | 0.14943 | 19.2784 | 0.7223 | 40.3156 | 373.2625 | 0.015275
58 | 12:56:14 | 835 | 0 | 14.1002 | 0.25774 | 274.7715 | 4.9683 | 1.4443 | 19.4568 | 6 | 1.42 | 1 | 2.84 | 19.5036 | 19.4568 | 19.9651 | 399.1732 | 379.9858 | 5.8461 | 11.7385 | 18.046 | 36.2353 | 499.9538 | 1500.4723 | 36.8095 | 70.2399 | -1.7032 | 0.19498 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83326 | 0.0049683 | 292.6068 | 292.6536 | 240.0756 | 0.25638 | 2.2688 | 32.3011 | 20.5626 | 19.4802 | 2.2721 | 0.2363 | 0.82451 | 1.4476 | 0.14947 | 19.2999 | 0.72311 | 40.3235 | 373.2833 | 0.015232
59 | 12:56:14 | 835.5 | 0 | 14.0762 | 0.25769 | 274.9482 | 4.9671 | 1.4443 | 19.4567 | 6 | 1.42 | 1 | 2.84 | 19.5047 | 19.4567 | 19.9651 | 399.1808 | 380.0237 | 5.8481 | 11.7388 | 18.0511 | 36.2339 | 499.9867 | 1500.4454 | 36.8467 | 70.2403 | -1.7032 | 0.19498 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83331 | 0.0049671 | 292.6067 | 292.6547 | 240.0713 | 0.25708 | 2.2688 | 32.3008 | 20.5619 | 19.4807 | 2.2722 | 0.23625 | 0.82454 | 1.4477 | 0.14944 | 19.3124 | 0.7235 | 40.3237 | 373.3326 | 0.015204
60 | 12:56:15 | 836 | 0 | 14.047 | 0.25751 | 275.12 | 4.9652 | 1.4446 | 19.4585 | 6 | 1.42 | 1 | 2.84 | 19.5061 | 19.4585 | 19.9661 | 399.1865 | 380.0662 | 5.8493 | 11.7375 | 18.0533 | 36.2265 | 500.0159 | 1500.4391 | 36.9388 | 70.2404 | -1.7032 | 0.19498 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83336 | 0.0049652 | 292.6085 | 292.6561 | 240.0702 | 0.25802 | 2.2691 | 32.3043 | 20.5669 | 19.4823 | 2.2724 | 0.2361 | 0.82444 | 1.448 | 0.14935 | 19.3245 | 0.72387 | 40.3125 | 373.3889 | 0.015166 | 14.1017 | 19.4977 | 19.4618 | #DIV/0! | 832.5333 | 0 | 14.1017 | 0.2573 | 274.5757 | 4.964 | 1.4453 | 19.4618 | 6 | 1.42 | 1 | 2.84 | 19.4977 | 19.4618 | 19.9647 | 399.1422 | 379.9534 | 5.8466 | 11.7345 | 18.0541 | 36.2359 | 499.911 | 1500.3358 | 36.6294 | 70.2392 | -1.7032 | 0.19498 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.004964 | 292.6118 | 292.6477 | 240.0537 | 0.25696 | 2.2695 | 32.3115 | 20.577 | 19.4797 | 2.2721 | 0.23593 | 0.82422 | 1.4478 | 0.14924 | 19.286 | 0.72266 | 40.2923 | 373.2501 | 0.015223
Remark= | "12:56:29 Coolers: Tblock -> 25.00 C"
Remark= | "12:58:49 Flow: Fixed -> 500 umol/s"
Remark= | "12:59:24 Lamp: ParIn -> 1500 uml"
Remark= | "12:59:24 CO2 Mixer: CO2R -> 400 uml"
Remark= | "12:59:24 Coolers: Tblock -> 25.00 C"
Remark= | "12:59:24 Flow: Fixed -> 500 umol/s"
61 | 12:59:30 | 1032 | 0 | 14.0012 | 0.2481 | 273.1662 | 5.03 | 1.5088 | 21.344 | 6 | 1.42 | 1 | 2.84 | 23.6725 | 21.344 | 25.0378 | 400.7377 | 381.6305 | 8.8647 | 14.812 | 21.2026 | 35.4274 | 499.9389 | 1501.4893 | 35.0469 | 70.2369 | -2.148 | 0.14595 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.00503 | 294.494 | 296.8225 | 240.2383 | 0.52799 | 2.5492 | 36.2942 | 21.4822 | 22.5083 | 2.7369 | 0.22816 | 1.0403 | 1.6965 | 0.14427 | 19.1863 | 0.71579 | 44.1387 | 374.975 | 0.016481
62 | 12:59:31 | 1032 | 0 | 14.0012 | 0.2481 | 273.1662 | 5.03 | 1.5088 | 21.344 | 6 | 1.42 | 1 | 2.84 | 23.6725 | 21.344 | 25.0378 | 400.7377 | 381.6305 | 8.8647 | 14.812 | 21.2026 | 35.4274 | 499.9389 | 1501.4893 | 35.0469 | 70.2369 | -2.148 | 0.14595 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.00503 | 294.494 | 296.8225 | 240.2383 | 0.52799 | 2.5492 | 36.2942 | 21.4822 | 22.5083 | 2.7369 | 0.22816 | 1.0403 | 1.6965 | 0.14427 | 19.1863 | 0.71579 | 44.1387 | 374.975 | 0.016481
63 | 12:59:31 | 1032.5 | 0 | 14.0328 | 0.24822 | 272.907 | 5.0335 | 1.5092 | 21.3478 | 6 | 1.42 | 1 | 2.84 | 23.6741 | 21.3478 | 25.0375 | 400.6901 | 381.5432 | 8.8635 | 14.8151 | 21.1978 | 35.4316 | 499.9248 | 1501.4791 | 34.9927 | 70.237 | -2.148 | 0.14595 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0050335 | 294.4978 | 296.8241 | 240.2367 | 0.52583 | 2.5498 | 36.3026 | 21.4875 | 22.511 | 2.7373 | 0.22827 | 1.0406 | 1.6968 | 0.14433 | 19.1682 | 0.71527 | 44.1398 | 374.8727 | 0.016523
64 | 12:59:32 | 1033 | 0 | 14.0278 | 0.24845 | 272.9439 | 5.0383 | 1.5094 | 21.3507 | 6 | 1.42 | 1 | 2.84 | 23.6759 | 21.3507 | 25.0376 | 400.604 | 381.4619 | 8.8622 | 14.8194 | 21.1925 | 35.438 | 499.9372 | 1501.36 | 34.9343 | 70.2374 | -2.148 | 0.14595 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0050383 | 294.5007 | 296.8259 | 240.2176 | 0.52295 | 2.5502 | 36.3089 | 21.4895 | 22.5133 | 2.7377 | 0.22846 | 1.0409 | 1.6969 | 0.14446 | 19.1709 | 0.71552 | 44.148 | 374.7938 | 0.016524
65 | 12:59:32 | 1033.5 | 0 | 13.9412 | 0.24855 | 273.5581 | 5.0407 | 1.5095 | 21.3528 | 6 | 1.42 | 1 | 2.84 | 23.6775 | 21.3528 | 25.0373 | 400.4892 | 381.4503 | 8.862 | 14.8219 | 21.1901 | 35.4408 | 499.9447 | 1501.2957 | 35.007 | 70.2377 | -2.148 | 0.14595 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0050407 | 294.5028 | 296.8275 | 240.2073 | 0.52151 | 2.5506 | 36.3132 | 21.4914 | 22.5151 | 2.738 | 0.22855 | 1.0411 | 1.697 | 0.14452 | 19.2141 | 0.71715 | 44.1516 | 374.8234 | 0.016422
66 | 12:59:33 | 1034 | 0 | 13.8865 | 0.24855 | 273.8866 | 5.0418 | 1.5098 | 21.3552 | 6 | 1.42 | 1 | 2.84 | 23.679 | 21.3552 | 25.0369 | 400.3839 | 381.4094 | 8.8608 | 14.8222 | 21.1853 | 35.4387 | 499.9153 | 1501.2467 | 35.0203 | 70.2381 | -2.148 | 0.14595 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0050418 | 294.5052 | 296.829 | 240.1995 | 0.52075 | 2.5509 | 36.3184 | 21.4962 | 22.5171 | 2.7383 | 0.22855 | 1.0411 | 1.6973 | 0.14451 | 19.2373 | 0.71809 | 44.1468 | 374.8084 | 0.016356
67 | 12:59:33 | 1034.5 | 0 | 13.8624 | 0.24845 | 273.9701 | 5.0413 | 1.5103 | 21.358 | 6 | 1.42 | 1 | 2.84 | 23.681 | 21.358 | 25.0367 | 400.3111 | 381.3655 | 8.8615 | 14.8225 | 21.1848 | 35.4354 | 499.9037 | 1501.1957 | 35.0168 | 70.2386 | -2.148 | 0.14595 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0050413 | 294.508 | 296.831 | 240.1913 | 0.52081 | 2.5514 | 36.3244 | 21.5019 | 22.5195 | 2.7387 | 0.22846 | 1.0411 | 1.6976 | 0.14446 | 19.2433 | 0.71839 | 44.1392 | 374.776 | 0.016326
68 | 12:59:34 | 1035 | 0 | 13.8913 | 0.24868 | 273.7723 | 5.0459 | 1.5103 | 21.3602 | 6 | 1.42 | 1 | 2.84 | 23.6829 | 21.3602 | 25.0369 | 400.263 | 381.2808 | 8.8596 | 14.8262 | 21.1775 | 35.4398 | 499.8947 | 1501.2413 | 34.9469 | 70.2382 | -2.148 | 0.14595 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0050459 | 294.5102 | 296.8329 | 240.1986 | 0.51844 | 2.5517 | 36.3294 | 21.5033 | 22.5215 | 2.7391 | 0.22866 | 1.0414 | 1.6977 | 0.14458 | 19.2293 | 0.71803 | 44.1473 | 374.6775 | 0.016368
69 | 12:59:34 | 1035.5 | 0 | 13.8965 | 0.24881 | 273.7311 | 5.0492 | 1.5106 | 21.3627 | 6 | 1.42 | 1 | 2.84 | 23.6845 | 21.3627 | 25.0368 | 400.2185 | 381.2286 | 8.8576 | 14.8282 | 21.1709 | 35.4413 | 499.8902 | 1501.2588 | 34.9223 | 70.2384 | -2.148 | 0.14595 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0050492 | 294.5127 | 296.8345 | 240.2014 | 0.51659 | 2.5521 | 36.335 | 21.5068 | 22.5236 | 2.7394 | 0.22877 | 1.0415 | 1.6979 | 0.14465 | 19.2264 | 0.71802 | 44.1487 | 374.6229 | 0.016377
70 | 12:59:35 | 1036 | 0 | 13.8897 | 0.24897 | 273.7866 | 5.0522 | 1.5106 | 21.364 | 6 | 1.42 | 1 | 2.84 | 23.6855 | 21.364 | 25.0364 | 400.1637 | 381.1813 | 8.8564 | 14.8303 | 21.1667 | 35.4445 | 499.9004 | 1501.2233 | 34.9928 | 70.2389 | -2.148 | 0.14595 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0050522 | 294.514 | 296.8355 | 240.1957 | 0.51492 | 2.5523 | 36.3375 | 21.5072 | 22.5247 | 2.7396 | 0.2289 | 1.0417 | 1.698 | 0.14474 | 19.2305 | 0.71826 | 44.1543 | 374.5788 | 0.016373
71 | 12:59:35 | 1036.5 | 0 | 13.8711 | 0.24884 | 273.8267 | 5.0513 | 1.5111 | 21.3659 | 6 | 1.42 | 1 | 2.84 | 23.6873 | 21.3659 | 25.0368 | 400.1003 | 381.1414 | 8.8558 | 14.8285 | 21.163 | 35.4364 | 499.9132 | 1501.2452 | 34.9949 | 70.2388 | -2.148 | 0.14595 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0050513 | 294.5159 | 296.8373 | 240.1992 | 0.51543 | 2.5526 | 36.3419 | 21.5134 | 22.5266 | 2.7399 | 0.22879 | 1.0415 | 1.6984 | 0.14467 | 19.2332 | 0.71844 | 44.1427 | 374.5478 | 0.016348
72 | 12:59:36 | 1037 | 0 | 13.8807 | 0.24862 | 273.6314 | 5.0495 | 1.5117 | 21.369 | 6 | 1.42 | 1 | 2.84 | 23.6887 | 21.369 | 25.0368 | 400.0624 | 381.0922 | 8.8552 | 14.8261 | 21.1598 | 35.4275 | 499.8893 | 1501.2977 | 34.9398 | 70.2386 | -2.148 | 0.14595 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0050495 | 294.519 | 296.8387 | 240.2076 | 0.51626 | 2.5531 | 36.349 | 21.5229 | 22.5289 | 2.7403 | 0.22861 | 1.0414 | 1.6989 | 0.14455 | 19.2195 | 0.71802 | 44.1248 | 374.4939 | 0.016355
73 | 12:59:36 | 1037.5 | 0 | 13.8965 | 0.24872 | 273.5332 | 5.0526 | 1.5121 | 21.3721 | 6 | 1.42 | 1 | 2.84 | 23.6904 | 21.3721 | 25.0369 | 400.0584 | 381.0673 | 8.8531 | 14.8279 | 21.1526 | 35.428 | 499.8727 | 1501.3494 | 34.8175 | 70.2384 | -2.148 | 0.14595 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0050526 | 294.5221 | 296.8404 | 240.2159 | 0.51455 | 2.5536 | 36.3559 | 21.528 | 22.5312 | 2.7407 | 0.22869 | 1.0415 | 1.6992 | 0.14461 | 19.2125 | 0.71781 | 44.1236 | 374.4616 | 0.016375
74 | 12:59:37 | 1038 | 0 | 13.9501 | 0.24888 | 273.1786 | 5.056 | 1.5122 | 21.3738 | 6 | 1.42 | 1 | 2.84 | 23.692 | 21.3738 | 25.0368 | 400.0769 | 381.0212 | 8.8518 | 14.8302 | 21.1472 | 35.4298 | 499.8998 | 1501.3893 | 34.8282 | 70.2378 | -2.148 | 0.14595 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.005056 | 294.5238 | 296.842 | 240.2223 | 0.51285 | 2.5539 | 36.3601 | 21.5299 | 22.5329 | 2.741 | 0.22882 | 1.0416 | 1.6993 | 0.14469 | 19.1875 | 0.71696 | 44.1279 | 374.39 | 0.016442
75 | 12:59:37 | 1038.5 | 0 | 13.9239 | 0.24898 | 273.3673 | 5.0587 | 1.5124 | 21.3758 | 6 | 1.42 | 1 | 2.84 | 23.6945 | 21.3758 | 25.0366 | 400.0213 | 380.9964 | 8.8502 | 14.8316 | 21.1401 | 35.4277 | 499.912 | 1501.4276 | 34.8551 | 70.2374 | -2.148 | 0.14595 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0050587 | 294.5258 | 296.8445 | 240.2284 | 0.51159 | 2.5542 | 36.3646 | 21.533 | 22.5351 | 2.7414 | 0.22891 | 1.0417 | 1.6996 | 0.14475 | 19.2006 | 0.71751 | 44.1284 | 374.3777 | 0.016412 | 13.9302 | 23.6826 | 21.3597 | #DIV/0! | 1035.0333 | 0 | 13.9302 | 0.24859 | 273.495 | 5.0447 | 1.5105 | 21.3597 | 6 | 1.42 | 1 | 2.84 | 23.6826 | 21.3597 | 25.037 | 400.3279 | 381.3 | 8.8586 | 14.8236 | 21.1756 | 35.4343 | 499.9117 | 1501.3326 | 34.9575 | 70.2379 | -2.148 | 0.14595 | 0.71111 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0050447 | 294.5097 | 296.8326 | 240.2132 | 0.51923 | 2.5516 | 36.3286 | 21.505 | 22.5211 | 2.739 | 0.22858 | 1.0412 | 1.6978 | 0.14454 | 19.2097 | 0.71727 | 44.14 | 374.6783 | 0.016411
Remark= | "13:00:00 Coolers: Tblock -> 30.00 C"
Remark= | "13:03:26 Flow: Fixed -> 500 umol/s"
Remark= | "13:04:27 Flow: Fixed -> 500 umol/s"
76 | 13:04:57 | 1359 | 0 | 13.6691 | 0.22607 | 262.7833 | 5.8576 | 1.8991 | 25.5591 | 6 | 1.42 | 1 | 2.84 | 28.6374 | 25.5591 | 30.1192 | 399.4383 | 380.3615 | 12.8764 | 19.7666 | 22.9615 | 35.2485 | 499.9922 | 1498.4149 | 73.8918 | 70.2265 | -1.6871 | 0.10258 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83332 | 0.0058576 | 298.7091 | 301.7874 | 239.7464 | 0.20517 | 3.2872 | 46.809 | 27.0423 | 27.0983 | 3.5999 | 0.2094 | 1.3881 | 2.2117 | 0.13228 | 18.4544 | 0.69088 | 44.6453 | 373.8639 | 0.016323
77 | 13:04:57 | 1359 | 0 | 13.6691 | 0.22607 | 262.7833 | 5.8576 | 1.8991 | 25.5591 | 6 | 1.42 | 1 | 2.84 | 28.6374 | 25.5591 | 30.1192 | 399.4383 | 380.3615 | 12.8764 | 19.7666 | 22.9615 | 35.2485 | 499.9922 | 1498.4149 | 73.8918 | 70.2265 | -1.6871 | 0.10258 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83332 | 0.0058576 | 298.7091 | 301.7874 | 239.7464 | 0.20517 | 3.2872 | 46.809 | 27.0423 | 27.0983 | 3.5999 | 0.2094 | 1.3881 | 2.2117 | 0.13228 | 18.4544 | 0.69088 | 44.6453 | 373.8639 | 0.016323
78 | 13:04:58 | 1359.5 | 0 | 13.6513 | 0.226 | 262.8921 | 5.8565 | 1.8993 | 25.56 | 6 | 1.42 | 1 | 2.84 | 28.6387 | 25.56 | 30.1194 | 399.426 | 380.3697 | 12.8773 | 19.7667 | 22.9616 | 35.2461 | 499.9577 | 1498.3821 | 73.02 | 70.2264 | -1.6871 | 0.10258 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83326 | 0.0058565 | 298.71 | 301.7887 | 239.7411 | 0.20576 | 3.2874 | 46.8115 | 27.0448 | 27.0994 | 3.6001 | 0.20934 | 1.3881 | 2.212 | 0.13224 | 18.462 | 0.69115 | 44.6419 | 373.8805 | 0.0163
79 | 13:04:58 | 1360 | 0 | 13.6445 | 0.22588 | 262.9008 | 5.8544 | 1.8995 | 25.5613 | 6 | 1.42 | 1 | 2.84 | 28.6398 | 25.5613 | 30.1197 | 399.4254 | 380.3779 | 12.8799 | 19.767 | 22.9647 | 35.2443 | 499.9521 | 1498.4816 | 72.0786 | 70.2267 | -1.6871 | 0.10258 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0058544 | 298.7113 | 301.7898 | 239.757 | 0.20699 | 3.2877 | 46.815 | 27.048 | 27.1006 | 3.6004 | 0.20924 | 1.3882 | 2.2122 | 0.13218 | 18.4626 | 0.69116 | 44.6374 | 373.8919 | 0.01629
80 | 13:04:59 | 1360.5 | 0 | 13.6532 | 0.22589 | 262.8562 | 5.8542 | 1.8994 | 25.5612 | 6 | 1.42 | 1 | 2.84 | 28.6406 | 25.5612 | 30.1198 | 399.4542 | 380.3946 | 12.8809 | 19.7684 | 22.9656 | 35.2452 | 499.9089 | 1498.6094 | 71.3493 | 70.2267 | -1.6871 | 0.10258 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0058542 | 298.7112 | 301.7906 | 239.7775 | 0.20747 | 3.2876 | 46.8146 | 27.0462 | 27.1009 | 3.6004 | 0.20925 | 1.3883 | 2.2122 | 0.13218 | 18.4595 | 0.69101 | 44.6406 | 373.9045 | 0.016301
81 | 13:04:59 | 1361 | 0 | 13.6924 | 0.22586 | 262.5594 | 5.8534 | 1.8993 | 25.5612 | 6 | 1.42 | 1 | 2.84 | 28.6411 | 25.5612 | 30.12 | 399.5078 | 380.401 | 12.8819 | 19.7685 | 22.9668 | 35.2447 | 499.8978 | 1498.708 | 70.645 | 70.2271 | -1.6871 | 0.10258 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0058534 | 298.7112 | 301.7911 | 239.7933 | 0.20816 | 3.2876 | 46.8144 | 27.0458 | 27.1011 | 3.6005 | 0.20922 | 1.3883 | 2.2122 | 0.13216 | 18.4388 | 0.69022 | 44.6405 | 373.8923 | 0.016348
82 | 13:05:00 | 1361.5 | 0 | 13.6889 | 0.22589 | 262.63 | 5.8522 | 1.8988 | 25.5584 | 6 | 1.42 | 1 | 2.84 | 28.6426 | 25.5584 | 30.1195 | 399.5349 | 380.4316 | 12.8833 | 19.7689 | 22.9672 | 35.2422 | 499.8698 | 1498.9207 | 70.1037 | 70.2271 | -1.6871 | 0.10258 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0058522 | 298.7084 | 301.7926 | 239.8273 | 0.20978 | 3.2871 | 46.8064 | 27.0375 | 27.1005 | 3.6003 | 0.20924 | 1.3883 | 2.212 | 0.13218 | 18.4437 | 0.69035 | 44.6489 | 373.9245 | 0.016345
83 | 13:05:00 | 1362 | 0 | 13.6697 | 0.22581 | 262.7814 | 5.8502 | 1.8987 | 25.5574 | 6 | 1.42 | 1 | 2.84 | 28.6433 | 25.5574 | 30.1192 | 399.5523 | 380.4719 | 12.8838 | 19.7674 | 22.9672 | 35.2381 | 499.8466 | 1499.0857 | 69.4499 | 70.2271 | -1.6871 | 0.10258 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0058502 | 298.7074 | 301.7933 | 239.8537 | 0.21137 | 3.2869 | 46.8038 | 27.0363 | 27.1004 | 3.6003 | 0.20918 | 1.3882 | 2.2121 | 0.13214 | 18.4544 | 0.69067 | 44.6469 | 373.974 | 0.01632
84 | 13:05:01 | 1362.5 | 0 | 13.6927 | 0.22585 | 262.6544 | 5.8499 | 1.8983 | 25.5559 | 6 | 1.42 | 1 | 2.84 | 28.6445 | 25.5559 | 30.1186 | 399.6044 | 380.496 | 12.8859 | 19.7692 | 22.9693 | 35.2389 | 499.8397 | 1499.2577 | 68.9618 | 70.2271 | -1.6871 | 0.10258 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0058499 | 298.7059 | 301.7945 | 239.8812 | 0.21223 | 3.2866 | 46.7995 | 27.0303 | 27.1002 | 3.6003 | 0.20922 | 1.3883 | 2.2119 | 0.13216 | 18.4455 | 0.69029 | 44.6551 | 373.9871 | 0.01635
85 | 13:05:01 | 1363 | 0 | 13.6983 | 0.22583 | 262.6476 | 5.8492 | 1.8982 | 25.556 | 6 | 1.42 | 1 | 2.84 | 28.6461 | 25.556 | 30.1182 | 399.6555 | 380.5408 | 12.8878 | 19.7702 | 22.9708 | 35.2375 | 499.8486 | 1499.5155 | 68.7285 | 70.2276 | -1.6871 | 0.10258 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0058492 | 298.706 | 301.7961 | 239.9225 | 0.2133 | 3.2866 | 46.7995 | 27.0294 | 27.101 | 3.6005 | 0.2092 | 1.3884 | 2.212 | 0.13215 | 18.4451 | 0.6902 | 44.6566 | 374.0293 | 0.016355
86 | 13:05:02 | 1363.5 | 0 | 13.7193 | 0.22582 | 262.5268 | 5.8485 | 1.898 | 25.5553 | 6 | 1.42 | 1 | 2.84 | 28.6475 | 25.5553 | 30.118 | 399.7189 | 380.5797 | 12.8894 | 19.7707 | 22.9715 | 35.2354 | 499.8639 | 1499.6583 | 68.624 | 70.227 | -1.6871 | 0.10258 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0058485 | 298.7053 | 301.7975 | 239.9453 | 0.21423 | 3.2865 | 46.7979 | 27.0272 | 27.1014 | 3.6005 | 0.20919 | 1.3884 | 2.2121 | 0.13214 | 18.4365 | 0.68981 | 44.659 | 374.0582 | 0.016379
87 | 13:05:02 | 1364 | 0 | 13.7265 | 0.22587 | 262.5454 | 5.8501 | 1.8982 | 25.557 | 6 | 1.42 | 1 | 2.84 | 28.6493 | 25.557 | 30.1174 | 399.7857 | 380.6379 | 12.8903 | 19.773 | 22.9706 | 35.2356 | 499.8962 | 1499.6713 | 68.4221 | 70.2269 | -1.6871 | 0.10258 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0058501 | 298.707 | 301.7993 | 239.9474 | 0.21345 | 3.2868 | 46.8028 | 27.0298 | 27.1032 | 3.6009 | 0.20923 | 1.3886 | 2.2123 | 0.13217 | 18.4377 | 0.68975 | 44.6601 | 374.113 | 0.016386
88 | 13:05:03 | 1364.5 | 0 | 13.7254 | 0.22571 | 262.5178 | 5.8489 | 1.899 | 25.561 | 6 | 1.42 | 1 | 2.84 | 28.6508 | 25.561 | 30.1174 | 399.818 | 380.6738 | 12.8924 | 19.7729 | 22.9724 | 35.2327 | 499.9495 | 1499.6615 | 68.2441 | 70.227 | -1.6871 | 0.10258 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0058489 | 298.711 | 301.8008 | 239.9458 | 0.2137 | 3.2876 | 46.8139 | 27.041 | 27.1059 | 3.6015 | 0.2091 | 1.3886 | 2.2129 | 0.13208 | 18.4358 | 0.68961 | 44.6472 | 374.1494 | 0.016378
89 | 13:05:03 | 1365 | 0 | 13.6834 | 0.22569 | 262.8483 | 5.8493 | 1.8993 | 25.5629 | 6 | 1.42 | 1 | 2.84 | 28.6532 | 25.5629 | 30.1166 | 399.7982 | 380.7049 | 12.8934 | 19.7742 | 22.971 | 35.2298 | 499.973 | 1499.7003 | 68.072 | 70.2266 | -1.6871 | 0.10258 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83329 | 0.0058493 | 298.7129 | 301.8032 | 239.952 | 0.21362 | 3.288 | 46.8193 | 27.0451 | 27.108 | 3.6019 | 0.20908 | 1.3887 | 2.2133 | 0.13207 | 18.4589 | 0.69043 | 44.6446 | 374.2005 | 0.016325
90 | 13:05:04 | 1365.5 | 0 | 13.6871 | 0.22558 | 262.7785 | 5.8494 | 1.9002 | 25.5682 | 6 | 1.42 | 1 | 2.84 | 28.6549 | 25.5682 | 30.1182 | 399.8162 | 380.7199 | 12.8955 | 19.7757 | 22.9724 | 35.229 | 500.0165 | 1499.6731 | 68.0586 | 70.2266 | -1.6871 | 0.10258 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83336 | 0.0058494 | 298.7182 | 301.8049 | 239.9477 | 0.21306 | 3.289 | 46.8341 | 27.0583 | 27.1115 | 3.6027 | 0.20898 | 1.3888 | 2.2139 | 0.13201 | 18.454 | 0.69021 | 44.6323 | 374.2138 | 0.016325 | 13.6847 | 28.6445 | 25.5596 | #DIV/0! | 1362.0333 | 0 | 13.6847 | 0.22585 | 262.7137 | 5.8521 | 1.899 | 25.5596 | 6 | 1.42 | 1 | 2.84 | 28.6445 | 25.5596 | 30.1187 | 399.5983 | 380.5015 | 12.885 | 19.7697 | 22.9676 | 35.2398 | 499.9203 | 1499.077 | 70.2361 | 70.2268 | -1.6871 | 0.10258 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0058521 | 298.7096 | 301.7945 | 239.8523 | 0.21023 | 3.2873 | 46.81 | 27.0403 | 27.102 | 3.6007 | 0.20922 | 1.3884 | 2.2123 | 0.13216 | 18.4496 | 0.69044 | 44.6468 | 373.9965 | 0.016336
Remark= | "13:05:17 Coolers: Tblock -> 35.00 C"
Remark= | "13:10:33 Flow: Fixed -> 500 umol/s"
Remark= | "13:11:34 Flow: Fixed -> 500 umol/s"
91 | 13:12:04 | 1786 | 0 | 12.7093 | 0.18908 | 251.9412 | 5.4459 | 2.0715 | 28.1753 | 6 | 1.42 | 1 | 2.84 | 32.9249 | 28.1753 | 35.0043 | 398.7789 | 381.0332 | 18.72 | 25.0927 | 26.1333 | 35.0297 | 499.8766 | 1500.4774 | 36.0432 | 70.231 | -1.2735 | 0.027022 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0054459 | 301.3253 | 306.0749 | 240.0764 | 0.67525 | 3.8338 | 54.5882 | 29.4955 | 30.5501 | 4.3969 | 0.17728 | 1.7623 | 2.6346 | 0.1118 | 17.6941 | 0.66121 | 47.2381 | 374.9918 | 0.01601
92 | 13:12:05 | 1786 | 0 | 12.7093 | 0.18908 | 251.9412 | 5.4459 | 2.0715 | 28.1753 | 6 | 1.42 | 1 | 2.84 | 32.9249 | 28.1753 | 35.0043 | 398.7789 | 381.0332 | 18.72 | 25.0927 | 26.1333 | 35.0297 | 499.8766 | 1500.4774 | 36.0432 | 70.231 | -1.2735 | 0.027022 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0054459 | 301.3253 | 306.0749 | 240.0764 | 0.67525 | 3.8338 | 54.5882 | 29.4955 | 30.5501 | 4.3969 | 0.17728 | 1.7623 | 2.6346 | 0.1118 | 17.6941 | 0.66121 | 47.2381 | 374.9918 | 0.01601
93 | 13:12:05 | 1786.5 | 0 | 12.7041 | 0.18906 | 251.9746 | 5.4444 | 2.0712 | 28.1727 | 6 | 1.42 | 1 | 2.84 | 32.925 | 28.1727 | 35.0035 | 398.7702 | 381.0314 | 18.7183 | 25.0892 | 26.1309 | 35.0248 | 499.8727 | 1500.4465 | 36.0545 | 70.2312 | -1.2735 | 0.027022 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0054444 | 301.3227 | 306.075 | 240.0714 | 0.67636 | 3.8332 | 54.5799 | 29.4907 | 30.5488 | 4.3966 | 0.17726 | 1.762 | 2.6346 | 0.11179 | 17.6965 | 0.6613 | 47.2386 | 374.9924 | 0.016004
94 | 13:12:06 | 1787 | 0 | 12.6948 | 0.18911 | 252.0772 | 5.4448 | 2.0708 | 28.1708 | 6 | 1.42 | 1 | 2.84 | 32.9259 | 28.1708 | 35.0035 | 398.7487 | 381.0212 | 18.7172 | 25.0886 | 26.128 | 35.022 | 499.8799 | 1500.4562 | 36.0078 | 70.2308 | -1.2735 | 0.027022 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0054448 | 301.3208 | 306.0759 | 240.073 | 0.67654 | 3.8328 | 54.5744 | 29.4857 | 30.5484 | 4.3965 | 0.1773 | 1.762 | 2.6345 | 0.11182 | 17.7036 | 0.66158 | 47.2431 | 374.9867 | 0.015994
95 | 13:12:06 | 1787.5 | 0 | 12.6645 | 0.18915 | 252.3636 | 5.4453 | 2.0706 | 28.1695 | 6 | 1.42 | 1 | 2.84 | 32.9273 | 28.1695 | 35.0036 | 398.7093 | 381.0172 | 18.7157 | 25.0879 | 26.1238 | 35.0183 | 499.8561 | 1500.5073 | 35.9953 | 70.2307 | -1.2735 | 0.027022 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0054453 | 301.3195 | 306.0773 | 240.0812 | 0.67679 | 3.8325 | 54.5701 | 29.4821 | 30.5484 | 4.3965 | 0.17734 | 1.7619 | 2.6346 | 0.11184 | 17.7237 | 0.66234 | 47.2463 | 374.9971 | 0.015956
96 | 13:12:07 | 1788 | 0 | 12.6848 | 0.1891 | 252.1751 | 5.444 | 2.0706 | 28.1694 | 6 | 1.42 | 1 | 2.84 | 32.9275 | 28.1694 | 35.0041 | 398.7537 | 381.0372 | 18.716 | 25.087 | 26.1237 | 35.0162 | 499.8436 | 1500.5614 | 35.8992 | 70.2303 | -1.2735 | 0.027022 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.005444 | 301.3194 | 306.0775 | 240.0898 | 0.6776 | 3.8325 | 54.5701 | 29.4831 | 30.5485 | 4.3965 | 0.17729 | 1.7619 | 2.6347 | 0.11181 | 17.7103 | 0.66181 | 47.2436 | 375.0075 | 0.01598
97 | 13:12:07 | 1788.5 | 0 | 12.6535 | 0.18903 | 252.4166 | 5.4421 | 2.0707 | 28.1687 | 6 | 1.42 | 1 | 2.84 | 32.9277 | 28.1687 | 35.0033 | 398.726 | 381.0475 | 18.7151 | 25.084 | 26.1222 | 35.0117 | 499.8344 | 1500.6167 | 35.8609 | 70.2304 | -1.2735 | 0.027022 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0054421 | 301.3187 | 306.0777 | 240.0987 | 0.67881 | 3.8323 | 54.5678 | 29.4838 | 30.5482 | 4.3965 | 0.17723 | 1.7617 | 2.6348 | 0.11177 | 17.7273 | 0.66243 | 47.2391 | 375.0326 | 0.015938
98 | 13:12:08 | 1789 | 0 | 12.6652 | 0.18902 | 252.3055 | 5.4423 | 2.0708 | 28.169 | 6 | 1.42 | 1 | 2.84 | 32.9291 | 28.169 | 35.0036 | 398.7362 | 381.0432 | 18.7142 | 25.0834 | 26.1189 | 35.0082 | 499.8214 | 1500.6309 | 35.8622 | 70.2305 | -1.2735 | 0.027022 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0054423 | 301.319 | 306.0791 | 240.1009 | 0.67893 | 3.8324 | 54.5689 | 29.4855 | 30.5491 | 4.3967 | 0.17722 | 1.7616 | 2.6351 | 0.11177 | 17.7195 | 0.66214 | 47.237 | 375.0227 | 0.015953
99 | 13:12:08 | 1789.5 | 0 | 12.6826 | 0.18906 | 252.1846 | 5.4432 | 2.0707 | 28.1686 | 6 | 1.42 | 1 | 2.84 | 32.9296 | 28.1686 | 35.0045 | 398.7678 | 381.0532 | 18.7125 | 25.0828 | 26.1158 | 35.0064 | 499.8168 | 1500.6583 | 35.9057 | 70.2304 | -1.2735 | 0.027022 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83303 | 0.0054432 | 301.3186 | 306.0796 | 240.1053 | 0.67863 | 3.8323 | 54.5676 | 29.4848 | 30.5491 | 4.3967 | 0.17726 | 1.7616 | 2.6351 | 0.11179 | 17.711 | 0.66181 | 47.2377 | 375.0244 | 0.015975
100 | 13:12:09 | 1790 | 0 | 12.6811 | 0.1892 | 252.2845 | 5.4448 | 2.0699 | 28.1647 | 6 | 1.42 | 1 | 2.84 | 32.9298 | 28.1647 | 35.0049 | 398.7653 | 381.0521 | 18.7106 | 25.0827 | 26.1127 | 35.0058 | 499.8247 | 1500.6642 | 35.9396 | 70.2305 | -1.2735 | 0.027022 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0054448 | 301.3147 | 306.0798 | 240.1063 | 0.67837 | 3.8314 | 54.5552 | 29.4725 | 30.5473 | 4.3962 | 0.17739 | 1.7616 | 2.6347 | 0.11187 | 17.7181 | 0.66207 | 47.2505 | 375.0241 | 0.015977
101 | 13:12:09 | 1790.5 | 0 | 12.687 | 0.18924 | 252.2433 | 5.4453 | 2.0697 | 28.1636 | 6 | 1.42 | 1 | 2.84 | 32.9303 | 28.1636 | 35.0056 | 398.7598 | 381.0386 | 18.7094 | 25.0823 | 26.1103 | 35.0043 | 499.8044 | 1500.7573 | 35.8137 | 70.2301 | -1.2735 | 0.027022 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83301 | 0.0054453 | 301.3136 | 306.0803 | 240.1212 | 0.6785 | 3.8312 | 54.5519 | 29.4696 | 30.5469 | 4.3961 | 0.17742 | 1.7615 | 2.6346 | 0.11189 | 17.7151 | 0.66199 | 47.2534 | 375.0079 | 0.015986
102 | 13:12:10 | 1791 | 0 | 12.6716 | 0.18917 | 252.3677 | 5.4435 | 2.0698 | 28.1636 | 6 | 1.42 | 1 | 2.84 | 32.9301 | 28.1636 | 35.0059 | 398.7762 | 381.0743 | 18.7094 | 25.0802 | 26.1108 | 35.0019 | 499.8124 | 1500.7273 | 35.8642 | 70.2308 | -1.2735 | 0.027022 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83302 | 0.0054435 | 301.3136 | 306.0801 | 240.1164 | 0.67935 | 3.8312 | 54.5515 | 29.4713 | 30.5469 | 4.3961 | 0.17735 | 1.7614 | 2.6347 | 0.11185 | 17.724 | 0.66225 | 47.2487 | 375.0509 | 0.015964
103 | 13:12:10 | 1791.5 | 0 | 12.7082 | 0.18908 | 251.9813 | 5.4428 | 2.0704 | 28.1653 | 6 | 1.42 | 1 | 2.84 | 32.9287 | 28.1653 | 35.0058 | 398.7993 | 381.0551 | 18.7077 | 25.0772 | 26.1105 | 35.0006 | 499.8458 | 1500.7087 | 35.8544 | 70.231 | -1.2735 | 0.027022 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0054428 | 301.3153 | 306.0787 | 240.1134 | 0.67925 | 3.8316 | 54.5565 | 29.4793 | 30.547 | 4.3962 | 0.17728 | 1.7612 | 2.635 | 0.1118 | 17.6969 | 0.66127 | 47.2378 | 375.0143 | 0.016008
104 | 13:12:11 | 1792 | 0 | 12.7222 | 0.18917 | 251.8848 | 5.4457 | 2.0705 | 28.166 | 6 | 1.42 | 1 | 2.84 | 32.9291 | 28.166 | 35.0056 | 398.7944 | 381.0339 | 18.7047 | 25.0769 | 26.1057 | 34.9994 | 499.8923 | 1500.7411 | 35.8629 | 70.2309 | -1.2735 | 0.027022 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0054457 | 301.316 | 306.0791 | 240.1186 | 0.6778 | 3.8317 | 54.5589 | 29.4819 | 30.5476 | 4.3963 | 0.17736 | 1.7612 | 2.6351 | 0.11185 | 17.6901 | 0.66106 | 47.2367 | 374.9863 | 0.016026
105 | 13:12:11 | 1792.5 | 0 | 12.7779 | 0.1893 | 251.4474 | 5.4499 | 2.0708 | 28.1676 | 6 | 1.42 | 1 | 2.84 | 32.929 | 28.1676 | 35.0058 | 398.839 | 381.0093 | 18.7014 | 25.0788 | 26.1013 | 35.0022 | 499.8759 | 1500.7275 | 35.8609 | 70.2307 | -1.2735 | 0.027022 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0054499 | 301.3176 | 306.079 | 240.1164 | 0.67533 | 3.8321 | 54.5642 | 29.4853 | 30.5483 | 4.3965 | 0.17747 | 1.7613 | 2.6352 | 0.11193 | 17.6593 | 0.65995 | 47.2379 | 374.9353 | 0.016099 | 12.6944 | 32.9279 | 28.1687 | #DIV/0! | 1789.0333 | 0 | 12.6944 | 0.18912 | 252.1059 | 5.4447 | 2.0706 | 28.1687 | 6 | 1.42 | 1 | 2.84 | 32.9279 | 28.1687 | 35.0046 | 398.7669 | 381.0387 | 18.7128 | 25.0844 | 26.1188 | 35.0121 | 499.8489 | 1500.6106 | 35.9245 | 70.2307 | -1.2735 | 0.027022 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0054447 | 301.3187 | 306.0779 | 240.0977 | 0.67752 | 3.8323 | 54.5676 | 29.4831 | 30.5483 | 4.3965 | 0.17732 | 1.7617 | 2.6348 | 0.11183 | 17.7056 | 0.66163 | 47.2418 | 375.0044 | 0.015992