## stm-pdeba1_
OPEN 6.2.4
Sat Jun 27 2015 14:14:13
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "14:16:32 CO2 Mixer: CO2R -> 400 uml"
Remark= | "14:16:39 Lamp: ParIn -> 1500 uml"
Remark= | "14:16:45 Coolers: Tblock -> 0.00 C"
Remark= | "14:31:08 Coolers: Tblock -> 7.74 C"
Remark= | "14:33:03 Flow: Fixed -> 500 umol/s"
1 | 14:34:25 | 1228 | 0 | 21.7063 | 0.33683 | 260.2605 | 5.3383 | 1.2004 | 14.677 | 4.3204 | 1.7888 | 1 | 3.5776 | 10.4836 | 14.677 | 7.8562 | 400.9767 | 380.4594 | 2.184 | 6.767 | 12.0613 | 37.3705 | 499.839 | 1501.4882 | 285.8594 | 70.2996 | -0.96982 | 0.32349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0053383 | 287.827 | 283.6336 | 240.2381 | -0.36527 | 1.6761 | 23.8425 | 17.0754 | 12.5803 | 1.4624 | 0.30785 | 0.47572 | 0.98665 | 0.19481 | 18.2962 | 0.68407 | 33.5275 | 372.2685 | 0.019549
2 | 14:34:25 | 1228 | 0 | 21.7063 | 0.33683 | 260.2605 | 5.3383 | 1.2004 | 14.677 | 4.3204 | 1.7888 | 1 | 3.5776 | 10.4836 | 14.677 | 7.8562 | 400.9767 | 380.4594 | 2.184 | 6.767 | 12.0613 | 37.3705 | 499.839 | 1501.4882 | 285.8594 | 70.2996 | -0.96982 | 0.32349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0053383 | 287.827 | 283.6336 | 240.2381 | -0.36527 | 1.6761 | 23.8425 | 17.0754 | 12.5803 | 1.4624 | 0.30785 | 0.47572 | 0.98665 | 0.19481 | 18.2962 | 0.68407 | 33.5275 | 372.2685 | 0.019549
3 | 14:34:25 | 1228.5 | 0 | 21.7451 | 0.33706 | 260.1573 | 5.3343 | 1.1988 | 14.6602 | 4.3204 | 1.7888 | 1 | 3.5776 | 10.4827 | 14.6602 | 7.8567 | 401.0229 | 380.4732 | 2.1848 | 6.7644 | 12.0663 | 37.358 | 499.8384 | 1501.5061 | 285.8298 | 70.2994 | -0.96982 | 0.32349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0053343 | 287.8102 | 283.6327 | 240.241 | -0.36192 | 1.6743 | 23.8168 | 17.0524 | 12.5714 | 1.4615 | 0.30804 | 0.47553 | 0.98599 | 0.19494 | 18.2889 | 0.68377 | 33.5505 | 372.2676 | 0.019598
4 | 14:34:26 | 1229 | 0 | 21.702 | 0.33697 | 260.3715 | 5.3324 | 1.1987 | 14.658 | 4.3204 | 1.7888 | 1 | 3.5776 | 10.4829 | 14.658 | 7.8563 | 401.0079 | 380.4955 | 2.1846 | 6.7627 | 12.0649 | 37.3481 | 499.8274 | 1501.4939 | 285.8098 | 70.2997 | -0.96982 | 0.32349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0053324 | 287.808 | 283.6329 | 240.239 | -0.36089 | 1.6741 | 23.8133 | 17.0506 | 12.5705 | 1.4614 | 0.30796 | 0.47541 | 0.98602 | 0.19489 | 18.304 | 0.6843 | 33.5463 | 372.3063 | 0.019554
5 | 14:34:26 | 1229.5 | 0 | 21.6803 | 0.33649 | 260.3494 | 5.3301 | 1.1997 | 14.6667 | 4.3204 | 1.7888 | 1 | 3.5776 | 10.4818 | 14.6667 | 7.8563 | 401.0078 | 380.5158 | 2.1851 | 6.761 | 12.0688 | 37.3421 | 499.8527 | 1501.4884 | 285.79 | 70.3007 | -0.96982 | 0.32349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0053301 | 287.8167 | 283.6318 | 240.2381 | -0.36088 | 1.675 | 23.8262 | 17.0652 | 12.5742 | 1.4618 | 0.30756 | 0.4753 | 0.98649 | 0.19463 | 18.3028 | 0.6842 | 33.517 | 372.3347 | 0.019516
6 | 14:34:27 | 1230 | 0 | 21.677 | 0.33591 | 260.2167 | 5.3269 | 1.2009 | 14.6758 | 4.3204 | 1.7888 | 1 | 3.5776 | 10.4817 | 14.6758 | 7.8565 | 401.0409 | 380.5536 | 2.1855 | 6.7584 | 12.071 | 37.328 | 499.8758 | 1501.3954 | 285.7943 | 70.3005 | -0.96982 | 0.32349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0053269 | 287.8258 | 283.6317 | 240.2233 | -0.36056 | 1.676 | 23.8404 | 17.082 | 12.5787 | 1.4622 | 0.30707 | 0.47512 | 0.9871 | 0.19432 | 18.2934 | 0.68378 | 33.4809 | 372.3737 | 0.01949
7 | 14:34:27 | 1230.5 | 0 | 21.6661 | 0.33588 | 260.2903 | 5.3254 | 1.2006 | 14.6724 | 4.3204 | 1.7888 | 1 | 3.5776 | 10.4815 | 14.6724 | 7.8561 | 401.0558 | 380.579 | 2.1854 | 6.7568 | 12.0704 | 37.3196 | 499.8914 | 1501.424 | 285.7579 | 70.3004 | -0.96982 | 0.32349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.0053254 | 287.8224 | 283.6315 | 240.2278 | -0.35952 | 1.6756 | 23.8351 | 17.0783 | 12.5769 | 1.462 | 0.30705 | 0.475 | 0.98704 | 0.1943 | 18.2985 | 0.68393 | 33.4802 | 372.4033 | 0.019478
8 | 14:34:28 | 1231 | 0 | 21.741 | 0.33596 | 259.9138 | 5.3245 | 1.2002 | 14.6674 | 4.3204 | 1.7888 | 1 | 3.5776 | 10.4804 | 14.6674 | 7.8557 | 401.0942 | 380.5528 | 2.1849 | 6.7557 | 12.0688 | 37.316 | 499.8852 | 1501.4215 | 285.7903 | 70.3004 | -0.96982 | 0.32349 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0053245 | 287.8174 | 283.6304 | 240.2274 | -0.35875 | 1.6751 | 23.8274 | 17.0717 | 12.5739 | 1.4618 | 0.30712 | 0.47493 | 0.98683 | 0.19435 | 18.2721 | 0.68299 | 33.4861 | 372.3488 | 0.019552
9 | 14:34:28 | 1231.5 | 0 | 21.7419 | 0.33582 | 259.8691 | 5.3207 | 1.1998 | 14.6617 | 4.3204 | 1.7888 | 1 | 3.5776 | 10.4799 | 14.6617 | 7.8559 | 401.0923 | 380.5528 | 2.185 | 6.7522 | 12.0699 | 37.2986 | 499.9196 | 1501.3921 | 285.8012 | 70.3012 | -0.96982 | 0.32349 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.0053207 | 287.8117 | 283.6299 | 240.2227 | -0.35663 | 1.6745 | 23.8183 | 17.0661 | 12.5708 | 1.4615 | 0.307 | 0.47469 | 0.98677 | 0.19427 | 18.2691 | 0.68287 | 33.4806 | 372.3484 | 0.01955
10 | 14:34:29 | 1232 | 0 | 21.725 | 0.33546 | 259.8522 | 5.3189 | 1.2006 | 14.6677 | 4.3204 | 1.7888 | 1 | 3.5776 | 10.4795 | 14.6677 | 7.8554 | 401.0914 | 380.5674 | 2.1845 | 6.75 | 12.0672 | 37.2879 | 499.9294 | 1501.2909 | 285.8554 | 70.3015 | -0.96982 | 0.32349 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.0053189 | 287.8177 | 283.6295 | 240.2065 | -0.35668 | 1.6751 | 23.8275 | 17.0774 | 12.5736 | 1.4617 | 0.3067 | 0.47454 | 0.98719 | 0.19408 | 18.268 | 0.6828 | 33.4557 | 372.3694 | 0.019519
11 | 14:34:29 | 1232.5 | 0 | 21.7208 | 0.33504 | 259.7323 | 5.3192 | 1.202 | 14.6799 | 4.3204 | 1.7888 | 1 | 3.5776 | 10.4791 | 14.6799 | 7.8556 | 401.0848 | 380.5641 | 2.1831 | 6.7489 | 12.0598 | 37.2825 | 499.9232 | 1501.3793 | 285.8854 | 70.3015 | -0.96982 | 0.32349 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.0053192 | 287.8299 | 283.6291 | 240.2207 | -0.3579 | 1.6764 | 23.8463 | 17.0974 | 12.5795 | 1.4623 | 0.30635 | 0.47446 | 0.98784 | 0.19385 | 18.2596 | 0.68249 | 33.4227 | 372.3677 | 0.019496
12 | 14:34:30 | 1233 | 0 | 21.7883 | 0.33471 | 259.261 | 5.3171 | 1.2026 | 14.684 | 4.3204 | 1.7888 | 1 | 3.5776 | 10.4789 | 14.684 | 7.8559 | 401.1179 | 380.54 | 2.1827 | 6.7467 | 12.0579 | 37.2707 | 499.9318 | 1501.4288 | 285.8777 | 70.3013 | -0.96982 | 0.32349 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.0053171 | 287.834 | 283.6289 | 240.2286 | -0.35734 | 1.6769 | 23.8526 | 17.106 | 12.5814 | 1.4625 | 0.30608 | 0.4743 | 0.98818 | 0.19368 | 18.2264 | 0.6813 | 33.4014 | 372.3182 | 0.019547
13 | 14:34:30 | 1233.5 | 0 | 21.7741 | 0.33482 | 259.3743 | 5.3162 | 1.202 | 14.6779 | 4.3204 | 1.7888 | 1 | 3.5776 | 10.4797 | 14.6779 | 7.856 | 401.1104 | 380.5442 | 2.1817 | 6.7452 | 12.0517 | 37.2601 | 499.9098 | 1501.441 | 285.8535 | 70.3009 | -0.96982 | 0.32349 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.0053162 | 287.8279 | 283.6297 | 240.2306 | -0.35627 | 1.6762 | 23.8435 | 17.0983 | 12.5788 | 1.4622 | 0.30617 | 0.47419 | 0.98804 | 0.19374 | 18.2342 | 0.68159 | 33.4078 | 372.3277 | 0.019537
14 | 14:34:31 | 1234 | 0 | 21.7814 | 0.33484 | 259.319 | 5.3135 | 1.2014 | 14.6701 | 4.3204 | 1.7888 | 1 | 3.5776 | 10.4791 | 14.6701 | 7.8564 | 401.0868 | 380.5151 | 2.1812 | 6.7424 | 12.0492 | 37.2462 | 499.9068 | 1501.5508 | 285.7774 | 70.3011 | -0.96982 | 0.32349 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.0053135 | 287.8201 | 283.6291 | 240.2481 | -0.35422 | 1.6754 | 23.8314 | 17.089 | 12.5746 | 1.4618 | 0.30618 | 0.474 | 0.98783 | 0.19375 | 18.2304 | 0.68149 | 33.411 | 372.2959 | 0.019547
15 | 14:34:31 | 1234.5 | 0 | 21.7344 | 0.3348 | 259.5698 | 5.3125 | 1.2013 | 14.668 | 4.3204 | 1.7888 | 1 | 3.5776 | 10.4779 | 14.668 | 7.8566 | 401.0676 | 380.5369 | 2.1805 | 6.7408 | 12.0466 | 37.2407 | 499.9085 | 1501.4988 | 285.7298 | 70.3011 | -0.96982 | 0.32349 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.0053125 | 287.818 | 283.6279 | 240.2398 | -0.35377 | 1.6751 | 23.8282 | 17.0873 | 12.5729 | 1.4617 | 0.30615 | 0.47389 | 0.98778 | 0.19373 | 18.2481 | 0.68211 | 33.4081 | 372.3354 | 0.019501 | 21.726 | 10.4808 | 14.6709 | #DIV/0! | 1231.0333 | 0 | 21.726 | 0.33583 | 259.9198 | 5.3246 | 1.2006 | 14.6709 | 4.3204 | 1.7888 | 1 | 3.5776 | 10.4808 | 14.6709 | 7.8561 | 401.0556 | 380.5273 | 2.1838 | 6.7546 | 12.0623 | 37.3093 | 499.8852 | 1501.4458 | 285.8181 | 70.3006 | -0.96982 | 0.32349 | 0.82222 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0053246 | 287.8209 | 283.6308 | 240.2313 | -0.35906 | 1.6755 | 23.8328 | 17.0782 | 12.5759 | 1.4619 | 0.30701 | 0.47485 | 0.98709 | 0.19428 | 18.2725 | 0.68305 | 33.4735 | 372.3289 | 0.019532
Remark= | "14:35:09 Coolers: Tblock -> 13.00 C"
Remark= | "14:37:15 Flow: Fixed -> 500 umol/s"
16 | 14:38:20 | 1463.5 | 0 | 21.6904 | 0.28388 | 238.7488 | 5.4189 | 1.4215 | 17.5631 | 4.3204 | 1.7888 | 1 | 3.5776 | 14.5555 | 17.5631 | 13.1178 | 399.9065 | 379.3847 | 3.8002 | 8.4438 | 16.0637 | 35.6924 | 499.919 | 1500.6741 | 287.2037 | 70.2971 | -1.7849 | 0.31901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.0054189 | 290.7131 | 287.7055 | 240.1078 | -0.29473 | 2.015 | 28.6648 | 20.221 | 16.0593 | 1.8316 | 0.26301 | 0.59357 | 1.238 | 0.16614 | 16.7833 | 0.62931 | 33.4076 | 371.1998 | 0.019521
17 | 14:38:21 | 1463.5 | 0 | 21.6904 | 0.28388 | 238.7488 | 5.4189 | 1.4215 | 17.5631 | 4.3204 | 1.7888 | 1 | 3.5776 | 14.5555 | 17.5631 | 13.1178 | 399.9065 | 379.3847 | 3.8002 | 8.4438 | 16.0637 | 35.6924 | 499.919 | 1500.6741 | 287.2037 | 70.2971 | -1.7849 | 0.31901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.0054189 | 290.7131 | 287.7055 | 240.1078 | -0.29473 | 2.015 | 28.6648 | 20.221 | 16.0593 | 1.8316 | 0.26301 | 0.59357 | 1.238 | 0.16614 | 16.7833 | 0.62931 | 33.4076 | 371.1998 | 0.019521
18 | 14:38:21 | 1463.5 | 0 | 21.6904 | 0.28388 | 238.7488 | 5.4189 | 1.4215 | 17.5631 | 4.3204 | 1.7888 | 1 | 3.5776 | 14.5555 | 17.5631 | 13.1178 | 399.9065 | 379.3847 | 3.8002 | 8.4438 | 16.0637 | 35.6924 | 499.919 | 1500.6741 | 287.2037 | 70.2971 | -1.7849 | 0.31901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.0054189 | 290.7131 | 287.7055 | 240.1078 | -0.29473 | 2.015 | 28.6648 | 20.221 | 16.0593 | 1.8316 | 0.26301 | 0.59357 | 1.238 | 0.16614 | 16.7833 | 0.62931 | 33.4076 | 371.1998 | 0.019521
19 | 14:38:22 | 1464 | 0 | 21.7123 | 0.28372 | 238.5353 | 5.4177 | 1.4219 | 17.566 | 4.3204 | 1.7888 | 1 | 3.5776 | 14.5561 | 17.566 | 13.1175 | 399.9146 | 379.3733 | 3.8005 | 8.4432 | 16.0645 | 35.6887 | 499.8974 | 1500.7452 | 287.2397 | 70.2968 | -1.7849 | 0.31901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.0054177 | 290.716 | 287.7061 | 240.1192 | -0.29431 | 2.0154 | 28.6701 | 20.2269 | 16.061 | 1.8318 | 0.26287 | 0.59353 | 1.2383 | 0.16605 | 16.7683 | 0.62876 | 33.3976 | 371.1801 | 0.019536
20 | 14:38:22 | 1464.5 | 0 | 21.7423 | 0.28381 | 238.3991 | 5.4191 | 1.4219 | 17.567 | 4.3204 | 1.7888 | 1 | 3.5776 | 14.5566 | 17.567 | 13.1179 | 399.9447 | 379.3763 | 3.8012 | 8.4453 | 16.0669 | 35.6964 | 499.8795 | 1500.7085 | 287.2249 | 70.2971 | -1.7849 | 0.31901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0054191 | 290.717 | 287.7066 | 240.1134 | -0.29504 | 2.0155 | 28.6718 | 20.2264 | 16.0618 | 1.8319 | 0.26295 | 0.59368 | 1.2382 | 0.1661 | 16.7588 | 0.6284 | 33.4043 | 371.1719 | 0.019567
21 | 14:38:22 | 1465 | 0 | 21.7853 | 0.28402 | 238.2149 | 5.4197 | 1.421 | 17.561 | 4.3204 | 1.7888 | 1 | 3.5776 | 14.5574 | 17.561 | 13.1174 | 399.9569 | 379.351 | 3.8015 | 8.4462 | 16.067 | 35.6979 | 499.8724 | 1500.7297 | 287.0079 | 70.2969 | -1.7849 | 0.31901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0054197 | 290.711 | 287.7074 | 240.1168 | -0.29458 | 2.0148 | 28.6611 | 20.215 | 16.0592 | 1.8316 | 0.26313 | 0.59374 | 1.2379 | 0.16621 | 16.7458 | 0.62795 | 33.4213 | 371.1303 | 0.019618
22 | 14:38:23 | 1465.5 | 0 | 21.7751 | 0.28412 | 238.3504 | 5.4197 | 1.4206 | 17.5575 | 4.3204 | 1.7888 | 1 | 3.5776 | 14.5585 | 17.5575 | 13.1178 | 399.9778 | 379.3808 | 3.802 | 8.4467 | 16.0682 | 35.6974 | 499.8769 | 1500.7195 | 286.8728 | 70.2965 | -1.7849 | 0.31901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0054197 | 290.7075 | 287.7085 | 240.1151 | -0.29411 | 2.0143 | 28.6549 | 20.2083 | 16.058 | 1.8315 | 0.26322 | 0.59377 | 1.2377 | 0.16627 | 16.7552 | 0.62826 | 33.4309 | 371.164 | 0.019613
23 | 14:38:23 | 1466 | 0 | 21.6976 | 0.28414 | 238.8914 | 5.419 | 1.4203 | 17.5557 | 4.3204 | 1.7888 | 1 | 3.5776 | 14.5597 | 17.5557 | 13.1177 | 399.9865 | 379.4566 | 3.803 | 8.447 | 16.0711 | 35.696 | 499.8839 | 1500.6605 | 286.7858 | 70.2964 | -1.7849 | 0.31901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.005419 | 290.7057 | 287.7097 | 240.1057 | -0.29361 | 2.0141 | 28.6516 | 20.2046 | 16.0577 | 1.8314 | 0.26323 | 0.59379 | 1.2376 | 0.16628 | 16.7932 | 0.62956 | 33.4356 | 371.269 | 0.01954
24 | 14:38:24 | 1466.5 | 0 | 21.7455 | 0.2841 | 238.5888 | 5.4207 | 1.4209 | 17.5608 | 4.3204 | 1.7888 | 1 | 3.5776 | 14.5602 | 17.5608 | 13.1178 | 400.0323 | 379.4607 | 3.8021 | 8.4474 | 16.0668 | 35.6967 | 499.8919 | 1500.6686 | 286.6037 | 70.2965 | -1.7849 | 0.31901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.0054207 | 290.7108 | 287.7102 | 240.107 | -0.29478 | 2.0148 | 28.6609 | 20.2135 | 16.0605 | 1.8318 | 0.26319 | 0.59382 | 1.2379 | 0.16625 | 16.772 | 0.62876 | 33.427 | 371.255 | 0.019579
25 | 14:38:25 | 1467 | 0 | 21.7493 | 0.28387 | 238.4518 | 5.4207 | 1.422 | 17.5691 | 4.3204 | 1.7888 | 1 | 3.5776 | 14.5608 | 17.5691 | 13.1178 | 400.0235 | 379.4485 | 3.8024 | 8.4478 | 16.0674 | 35.6966 | 499.8882 | 1500.6554 | 286.4799 | 70.2963 | -1.7849 | 0.31901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0054207 | 290.7191 | 287.7108 | 240.1049 | -0.2956 | 2.0158 | 28.676 | 20.2282 | 16.065 | 1.8323 | 0.263 | 0.59385 | 1.2384 | 0.16613 | 16.7623 | 0.62842 | 33.409 | 371.2414 | 0.019573
26 | 14:38:25 | 1467.5 | 0 | 21.728 | 0.28365 | 238.4965 | 5.4193 | 1.4226 | 17.5735 | 4.3204 | 1.7888 | 1 | 3.5776 | 14.5619 | 17.5735 | 13.1179 | 400.0198 | 379.4639 | 3.8024 | 8.4466 | 16.0664 | 35.6891 | 499.8927 | 1500.6425 | 286.4144 | 70.2962 | -1.7849 | 0.31901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.0054193 | 290.7235 | 287.7119 | 240.1028 | -0.29538 | 2.0164 | 28.6839 | 20.2374 | 16.0677 | 1.8326 | 0.26282 | 0.59376 | 1.2388 | 0.16601 | 16.7654 | 0.62851 | 33.3935 | 371.2648 | 0.019543
27 | 14:38:26 | 1468 | 0 | 21.7366 | 0.28383 | 238.5367 | 5.422 | 1.4225 | 17.5734 | 4.3204 | 1.7888 | 1 | 3.5776 | 14.5636 | 17.5734 | 13.1182 | 400.042 | 379.4786 | 3.802 | 8.4482 | 16.0629 | 35.6921 | 499.9168 | 1500.634 | 286.4394 | 70.2962 | -1.7849 | 0.31901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.005422 | 290.7234 | 287.7136 | 240.1014 | -0.29636 | 2.0164 | 28.6838 | 20.2355 | 16.0685 | 1.8327 | 0.26297 | 0.59388 | 1.2388 | 0.16611 | 16.7682 | 0.62859 | 33.4021 | 371.2763 | 0.019555
28 | 14:38:26 | 1468.5 | 0 | 21.6958 | 0.2839 | 238.8169 | 5.4215 | 1.422 | 17.5694 | 4.3204 | 1.7888 | 1 | 3.5776 | 14.5643 | 17.5694 | 13.1177 | 400.0135 | 379.4858 | 3.8018 | 8.4475 | 16.061 | 35.6872 | 499.9215 | 1500.6377 | 286.3915 | 70.2956 | -1.7849 | 0.31901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.0054215 | 290.7194 | 287.7143 | 240.102 | -0.29564 | 2.0158 | 28.6767 | 20.2292 | 16.0668 | 1.8325 | 0.26303 | 0.59382 | 1.2387 | 0.16615 | 16.7878 | 0.62932 | 33.4079 | 371.2989 | 0.019521
29 | 14:38:27 | 1469 | 0 | 21.6612 | 0.28386 | 239.0474 | 5.4211 | 1.4221 | 17.5699 | 4.3204 | 1.7888 | 1 | 3.5776 | 14.5657 | 17.5699 | 13.1177 | 400.0263 | 379.529 | 3.8025 | 8.4477 | 16.0623 | 35.6847 | 499.9351 | 1500.663 | 286.5208 | 70.2953 | -1.7849 | 0.31901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1572 | 0.0054211 | 290.7199 | 287.7157 | 240.1061 | -0.29535 | 2.0159 | 28.6778 | 20.2301 | 16.0678 | 1.8326 | 0.263 | 0.59383 | 1.2388 | 0.16613 | 16.8039 | 0.62985 | 33.4069 | 371.3551 | 0.019486
30 | 14:38:27 | 1469.5 | 0 | 21.6872 | 0.2837 | 238.7963 | 5.4223 | 1.4231 | 17.5787 | 4.3204 | 1.7888 | 1 | 3.5776 | 14.5661 | 17.5787 | 13.1177 | 400.0256 | 379.5057 | 3.8022 | 8.4485 | 16.0609 | 35.6872 | 499.9403 | 1500.6569 | 286.6399 | 70.2958 | -1.7849 | 0.31901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1572 | 0.0054223 | 290.7287 | 287.7161 | 240.1051 | -0.29677 | 2.017 | 28.6936 | 20.2451 | 16.0724 | 1.8332 | 0.26286 | 0.59389 | 1.2393 | 0.16604 | 16.7864 | 0.62923 | 33.3908 | 371.3221 | 0.019502 | 21.7191 | 14.5598 | 17.5661 | #DIV/0! | 1466.1 | 0 | 21.7191 | 0.28389 | 238.6248 | 5.42 | 1.4217 | 17.5661 | 4.3204 | 1.7888 | 1 | 3.5776 | 14.5598 | 17.5661 | 13.1178 | 399.9789 | 379.431 | 3.8016 | 8.4462 | 16.0651 | 35.6925 | 499.9036 | 1500.6762 | 286.8154 | 70.2965 | -1.7849 | 0.31901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.00542 | 290.7161 | 287.7098 | 240.1082 | -0.29505 | 2.0154 | 28.6704 | 20.2242 | 16.063 | 1.832 | 0.26302 | 0.59374 | 1.2383 | 0.16614 | 16.7745 | 0.6289 | 33.41 | 371.2352 | 0.019547
Remark= | "14:38:35 Coolers: Tblock -> 18.00 C"
Remark= | "14:41:06 Flow: Fixed -> 500 umol/s"
31 | 14:41:32 | 1655 | 0 | 21.2564 | 0.2634 | 231.3086 | 5.562 | 1.5582 | 19.9936 | 4.3204 | 1.7888 | 1 | 3.5776 | 18.593 | 19.9936 | 17.9973 | 399.7341 | 379.5367 | 6.4493 | 11.2029 | 21.0886 | 36.6326 | 499.8463 | 1499.3915 | 288.3424 | 70.2965 | -1.7525 | 0.31197 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.005562 | 293.1436 | 291.743 | 239.9026 | -0.1992 | 2.3457 | 33.3683 | 22.1654 | 19.2933 | 2.2459 | 0.24534 | 0.78752 | 1.4583 | 0.15486 | 16.2602 | 0.60945 | 36.7185 | 371.5156 | 0.021009
32 | 14:41:33 | 1655 | 0 | 21.2564 | 0.2634 | 231.3086 | 5.562 | 1.5582 | 19.9936 | 4.3204 | 1.7888 | 1 | 3.5776 | 18.593 | 19.9936 | 17.9973 | 399.7341 | 379.5367 | 6.4493 | 11.2029 | 21.0886 | 36.6326 | 499.8463 | 1499.3915 | 288.3424 | 70.2965 | -1.7525 | 0.31197 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.005562 | 293.1436 | 291.743 | 239.9026 | -0.1992 | 2.3457 | 33.3683 | 22.1654 | 19.2933 | 2.2459 | 0.24534 | 0.78752 | 1.4583 | 0.15486 | 16.2602 | 0.60945 | 36.7185 | 371.5156 | 0.021009
33 | 14:41:33 | 1655.5 | 0 | 21.2379 | 0.26334 | 231.4065 | 5.5619 | 1.5584 | 19.9959 | 4.3204 | 1.7888 | 1 | 3.5776 | 18.5938 | 19.9959 | 17.9979 | 399.7284 | 379.5477 | 6.4503 | 11.2036 | 21.0908 | 36.6332 | 499.8641 | 1499.3342 | 288.2316 | 70.2966 | -1.7525 | 0.31197 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0055619 | 293.1459 | 291.7438 | 239.8935 | -0.1994 | 2.346 | 33.3731 | 22.1695 | 19.2948 | 2.2461 | 0.24529 | 0.78758 | 1.4585 | 0.15483 | 16.2671 | 0.60969 | 36.7148 | 371.5336 | 0.020987
34 | 14:41:34 | 1656 | 0 | 21.2072 | 0.26325 | 231.5682 | 5.5604 | 1.5585 | 19.9961 | 4.3204 | 1.7888 | 1 | 3.5776 | 18.5954 | 19.9961 | 17.9978 | 399.7122 | 379.5597 | 6.451 | 11.2028 | 21.0912 | 36.6268 | 499.8938 | 1499.2723 | 288.321 | 70.2966 | -1.7525 | 0.31197 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.0055604 | 293.1461 | 291.7454 | 239.8836 | -0.1987 | 2.346 | 33.3735 | 22.1707 | 19.2957 | 2.2462 | 0.24521 | 0.78752 | 1.4587 | 0.15478 | 16.2785 | 0.6101 | 36.7107 | 371.5572 | 0.020953
35 | 14:41:34 | 1656.5 | 0 | 21.1518 | 0.26333 | 231.96 | 5.5616 | 1.5585 | 19.9962 | 4.3204 | 1.7888 | 1 | 3.5776 | 18.597 | 19.9962 | 17.9979 | 399.6698 | 379.5638 | 6.4508 | 11.2039 | 21.0885 | 36.6268 | 499.8707 | 1499.2701 | 288.2456 | 70.2968 | -1.7525 | 0.31197 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0055616 | 293.1462 | 291.747 | 239.8832 | -0.19909 | 2.3461 | 33.3737 | 22.1698 | 19.2966 | 2.2463 | 0.24527 | 0.7876 | 1.4587 | 0.15482 | 16.3061 | 0.61112 | 36.7147 | 371.5821 | 0.020899
36 | 14:41:35 | 1657 | 0 | 21.119 | 0.26323 | 232.1165 | 5.5612 | 1.5589 | 19.9989 | 4.3204 | 1.7888 | 1 | 3.5776 | 18.598 | 19.9989 | 17.9981 | 399.6386 | 379.5609 | 6.4509 | 11.2036 | 21.0876 | 36.624 | 499.8624 | 1499.26 | 288.0644 | 70.2973 | -1.7525 | 0.31197 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0055612 | 293.1489 | 291.748 | 239.8816 | -0.19909 | 2.3465 | 33.3791 | 22.1755 | 19.2985 | 2.2466 | 0.24519 | 0.78758 | 1.459 | 0.15477 | 16.3172 | 0.61154 | 36.7071 | 371.5916 | 0.020862
37 | 14:41:35 | 1657.5 | 0 | 21.0346 | 0.26324 | 232.6857 | 5.561 | 1.5588 | 19.9983 | 4.3204 | 1.7888 | 1 | 3.5776 | 18.5987 | 19.9983 | 17.9981 | 399.5941 | 379.5886 | 6.4512 | 11.2039 | 21.0876 | 36.6233 | 499.8492 | 1499.2366 | 287.9356 | 70.2972 | -1.7525 | 0.31197 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.005561 | 293.1483 | 291.7487 | 239.8778 | -0.19892 | 2.3464 | 33.3778 | 22.1739 | 19.2985 | 2.2466 | 0.2452 | 0.78761 | 1.459 | 0.15478 | 16.3571 | 0.61299 | 36.7094 | 371.6512 | 0.020777
38 | 14:41:36 | 1658 | 0 | 21.012 | 0.2631 | 232.7371 | 5.5594 | 1.5591 | 19.9997 | 4.3204 | 1.7888 | 1 | 3.5776 | 18.5998 | 19.9997 | 17.9994 | 399.5511 | 379.5651 | 6.4508 | 11.2023 | 21.085 | 36.6158 | 499.8283 | 1499.2479 | 287.7406 | 70.2976 | -1.7525 | 0.31197 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0055594 | 293.1497 | 291.7498 | 239.8797 | -0.19822 | 2.3466 | 33.3806 | 22.1783 | 19.2997 | 2.2468 | 0.24508 | 0.7875 | 1.4593 | 0.1547 | 16.3609 | 0.61317 | 36.6998 | 371.6362 | 0.02075
39 | 14:41:36 | 1658.5 | 0 | 21.0284 | 0.26313 | 232.6353 | 5.5617 | 1.5596 | 20.004 | 4.3204 | 1.7888 | 1 | 3.5776 | 18.6008 | 20.004 | 18.0008 | 399.5585 | 379.5586 | 6.4505 | 11.2038 | 21.0828 | 36.6181 | 499.8569 | 1499.2133 | 287.6475 | 70.2979 | -1.7525 | 0.31197 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0055617 | 293.154 | 291.7508 | 239.8741 | -0.19961 | 2.3472 | 33.3892 | 22.1854 | 19.3024 | 2.2471 | 0.2451 | 0.7876 | 1.4595 | 0.15471 | 16.3538 | 0.61291 | 36.6958 | 371.6236 | 0.020764
40 | 14:41:37 | 1659 | 0 | 21.0206 | 0.26299 | 232.6264 | 5.5617 | 1.5604 | 20.0095 | 4.3204 | 1.7888 | 1 | 3.5776 | 18.6021 | 20.0095 | 18.0011 | 399.5655 | 379.5723 | 6.4509 | 11.2041 | 21.0823 | 36.6166 | 499.8565 | 1499.2112 | 287.5623 | 70.2983 | -1.7525 | 0.31197 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0055617 | 293.1595 | 291.7521 | 239.8738 | -0.20008 | 2.348 | 33.4005 | 22.1963 | 19.3058 | 2.2476 | 0.24498 | 0.78763 | 1.46 | 0.15464 | 16.3532 | 0.61286 | 36.6834 | 371.6401 | 0.020749
41 | 14:41:37 | 1659.5 | 0 | 21.0009 | 0.26301 | 232.7965 | 5.5628 | 1.5606 | 20.0117 | 4.3204 | 1.7888 | 1 | 3.5776 | 18.6036 | 20.0117 | 18.0012 | 399.5884 | 379.612 | 6.4512 | 11.2052 | 21.0817 | 36.6175 | 499.8664 | 1499.1481 | 287.5917 | 70.2993 | -1.7525 | 0.31197 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0055628 | 293.1617 | 291.7536 | 239.8637 | -0.20071 | 2.3483 | 33.4044 | 22.1992 | 19.3076 | 2.2479 | 0.245 | 0.78772 | 1.4601 | 0.15464 | 16.3654 | 0.61325 | 36.6829 | 371.6873 | 0.020726
42 | 14:41:38 | 1660 | 0 | 20.9843 | 0.263 | 232.9069 | 5.5638 | 1.5609 | 20.0144 | 4.3204 | 1.7888 | 1 | 3.5776 | 18.605 | 20.0144 | 18.0015 | 399.5857 | 379.6224 | 6.451 | 11.2062 | 21.0793 | 36.6173 | 499.8459 | 1499.1863 | 287.4647 | 70.2995 | -1.7525 | 0.31197 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0055638 | 293.1644 | 291.755 | 239.8698 | -0.20123 | 2.3487 | 33.4099 | 22.2037 | 19.3097 | 2.2482 | 0.24499 | 0.78779 | 1.4604 | 0.15464 | 16.3732 | 0.61352 | 36.68 | 371.704 | 0.020707
43 | 14:41:38 | 1660.5 | 0 | 21.0816 | 0.26304 | 232.2839 | 5.5656 | 1.5612 | 20.0173 | 4.3204 | 1.7888 | 1 | 3.5776 | 18.6067 | 20.0173 | 18.0018 | 399.647 | 379.6004 | 6.4517 | 11.2081 | 21.0795 | 36.6199 | 499.8768 | 1499.1824 | 287.5421 | 70.2998 | -1.7525 | 0.31197 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0055656 | 293.1673 | 291.7567 | 239.8692 | -0.20215 | 2.3491 | 33.4159 | 22.2078 | 19.312 | 2.2485 | 0.24502 | 0.78793 | 1.4606 | 0.15466 | 16.3295 | 0.61192 | 36.6801 | 371.6452 | 0.020807
44 | 14:41:39 | 1661 | 0 | 21.1384 | 0.26307 | 231.9242 | 5.5664 | 1.5613 | 20.0181 | 4.3204 | 1.7888 | 1 | 3.5776 | 18.6084 | 20.0181 | 18.0023 | 399.6815 | 379.5871 | 6.4523 | 11.209 | 21.0792 | 36.619 | 499.9132 | 1499.1473 | 287.7504 | 70.2999 | -1.7525 | 0.31197 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.0055664 | 293.1681 | 291.7584 | 239.8636 | -0.20244 | 2.3492 | 33.4175 | 22.2085 | 19.3133 | 2.2487 | 0.24505 | 0.78799 | 1.4607 | 0.15468 | 16.3043 | 0.61099 | 36.6816 | 371.6105 | 0.020866
45 | 14:41:39 | 1661.5 | 0 | 21.1815 | 0.26299 | 231.5615 | 5.5669 | 1.5618 | 20.0223 | 4.3204 | 1.7888 | 1 | 3.5776 | 18.6102 | 20.0223 | 18.0024 | 399.6678 | 379.5378 | 6.4524 | 11.2092 | 21.0773 | 36.6157 | 499.95 | 1499.1611 | 287.9032 | 70.3003 | -1.7525 | 0.31197 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1572 | 0.0055669 | 293.1723 | 291.7602 | 239.8658 | -0.20289 | 2.3498 | 33.4259 | 22.2167 | 19.3162 | 2.2491 | 0.24498 | 0.78801 | 1.4611 | 0.15464 | 16.2788 | 0.61011 | 36.6726 | 371.5449 | 0.020907 | 21.1141 | 18.6004 | 20.0046 | #DIV/0! | 1658.0333 | 0 | 21.1141 | 0.26317 | 232.1217 | 5.5626 | 1.5596 | 20.0046 | 4.3204 | 1.7888 | 1 | 3.5776 | 18.6004 | 20.0046 | 17.9997 | 399.6438 | 379.57 | 6.4509 | 11.2048 | 21.0847 | 36.6226 | 499.8685 | 1499.2436 | 287.9124 | 70.298 | -1.7525 | 0.31197 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0055626 | 293.1546 | 291.7504 | 239.879 | -0.20006 | 2.3473 | 33.3905 | 22.1857 | 19.3025 | 2.2472 | 0.24514 | 0.78767 | 1.4595 | 0.15473 | 16.3177 | 0.61154 | 36.698 | 371.6026 | 0.020851
Remark= | "14:41:46 Coolers: Tblock -> 23.00 C"
Remark= | "14:44:06 Flow: Fixed -> 500 umol/s"
46 | 14:44:41 | 1843.5 | 0 | 20.5174 | 0.23517 | 221.2921 | 5.7415 | 1.78 | 22.7018 | 4.3204 | 1.7888 | 1 | 3.5776 | 22.8677 | 22.7018 | 23.0829 | 400.7953 | 381.1705 | 9.1799 | 14.0725 | 23.0685 | 35.3632 | 499.867 | 1499.2896 | 288.7369 | 70.2923 | -2.0974 | 0.29521 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0057415 | 295.8518 | 296.0177 | 239.8863 | -0.11115 | 2.7692 | 39.396 | 25.3235 | 22.7848 | 2.7832 | 0.22066 | 0.98919 | 1.794 | 0.13915 | 15.5551 | 0.58056 | 38.0286 | 373.4282 | 0.020894
47 | 14:44:41 | 1843.5 | 0 | 20.5174 | 0.23517 | 221.2921 | 5.7415 | 1.78 | 22.7018 | 4.3204 | 1.7888 | 1 | 3.5776 | 22.8677 | 22.7018 | 23.0829 | 400.7953 | 381.1705 | 9.1799 | 14.0725 | 23.0685 | 35.3632 | 499.867 | 1499.2896 | 288.7369 | 70.2923 | -2.0974 | 0.29521 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0057415 | 295.8518 | 296.0177 | 239.8863 | -0.11115 | 2.7692 | 39.396 | 25.3235 | 22.7848 | 2.7832 | 0.22066 | 0.98919 | 1.794 | 0.13915 | 15.5551 | 0.58056 | 38.0286 | 373.4282 | 0.020894
48 | 14:44:42 | 1844 | 0 | 20.4909 | 0.23487 | 221.2759 | 5.7383 | 1.7812 | 22.7077 | 4.3204 | 1.7888 | 1 | 3.5776 | 22.869 | 22.7077 | 23.0829 | 400.7523 | 381.1505 | 9.1801 | 14.0702 | 23.0673 | 35.3548 | 499.8411 | 1499.3174 | 288.7562 | 70.2925 | -2.0974 | 0.29521 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0057383 | 295.8577 | 296.019 | 239.8908 | -0.11023 | 2.7702 | 39.41 | 25.3397 | 22.7884 | 2.7838 | 0.2204 | 0.98903 | 1.7948 | 0.13898 | 15.554 | 0.58055 | 38.0056 | 373.4183 | 0.020855
49 | 14:44:42 | 1844.5 | 0 | 20.483 | 0.23484 | 221.2898 | 5.7388 | 1.7816 | 22.7099 | 4.3204 | 1.7888 | 1 | 3.5776 | 22.8708 | 22.7099 | 23.0836 | 400.7223 | 381.1276 | 9.1799 | 14.0705 | 23.0642 | 35.3514 | 499.8484 | 1499.2996 | 288.705 | 70.292 | -2.0974 | 0.29521 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0057388 | 295.8599 | 296.0208 | 239.8879 | -0.11056 | 2.7706 | 39.4156 | 25.3451 | 22.7904 | 2.7841 | 0.22037 | 0.98904 | 1.7951 | 0.13896 | 15.5549 | 0.58062 | 38.0006 | 373.3983 | 0.020845
50 | 14:44:43 | 1845 | 0 | 20.3998 | 0.23478 | 221.8625 | 5.738 | 1.7817 | 22.7107 | 4.3204 | 1.7888 | 1 | 3.5776 | 22.872 | 22.7107 | 23.0837 | 400.67 | 381.1469 | 9.1803 | 14.0702 | 23.0634 | 35.3483 | 499.8371 | 1499.2686 | 288.7131 | 70.2922 | -2.0974 | 0.29521 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.005738 | 295.8607 | 296.022 | 239.883 | -0.11021 | 2.7707 | 39.4172 | 25.347 | 22.7913 | 2.7843 | 0.22032 | 0.98903 | 1.7953 | 0.13893 | 15.5952 | 0.58209 | 37.9976 | 373.449 | 0.020756
51 | 14:44:43 | 1845.5 | 0 | 20.4627 | 0.23465 | 221.2874 | 5.7358 | 1.782 | 22.7116 | 4.3204 | 1.7888 | 1 | 3.5776 | 22.8732 | 22.7116 | 23.0838 | 400.6734 | 381.0959 | 9.1801 | 14.0683 | 23.0611 | 35.3408 | 499.8136 | 1499.3284 | 288.702 | 70.2921 | -2.0974 | 0.29521 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0057358 | 295.8616 | 296.0232 | 239.8925 | -0.10912 | 2.7709 | 39.4195 | 25.3512 | 22.7924 | 2.7845 | 0.2202 | 0.98889 | 1.7956 | 0.13886 | 15.5548 | 0.58066 | 37.9888 | 373.3743 | 0.02082
52 | 14:44:44 | 1846 | 0 | 20.4427 | 0.23485 | 221.5802 | 5.7405 | 1.782 | 22.713 | 4.3204 | 1.7888 | 1 | 3.5776 | 22.8748 | 22.713 | 23.0838 | 400.692 | 381.1304 | 9.1794 | 14.0716 | 23.0573 | 35.3456 | 499.8197 | 1499.3087 | 288.5897 | 70.2921 | -2.0974 | 0.29521 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0057405 | 295.863 | 296.0248 | 239.8894 | -0.11113 | 2.7711 | 39.4227 | 25.3511 | 22.7939 | 2.7847 | 0.22038 | 0.98912 | 1.7956 | 0.13897 | 15.5753 | 0.58138 | 37.997 | 373.4164 | 0.020801
53 | 14:44:44 | 1846.5 | 0 | 20.4679 | 0.23469 | 221.3084 | 5.738 | 1.7823 | 22.7144 | 4.3204 | 1.7888 | 1 | 3.5776 | 22.8769 | 22.7144 | 23.0841 | 400.7113 | 381.1298 | 9.18 | 14.0699 | 23.0559 | 35.337 | 499.8436 | 1499.2842 | 288.6542 | 70.2923 | -2.0974 | 0.29521 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.005738 | 295.8644 | 296.0269 | 239.8855 | -0.11006 | 2.7714 | 39.4261 | 25.3562 | 22.7957 | 2.785 | 0.22024 | 0.989 | 1.796 | 0.13888 | 15.5563 | 0.58066 | 37.9873 | 373.4062 | 0.020822
54 | 14:44:45 | 1847 | 0 | 20.4429 | 0.23459 | 221.4382 | 5.7369 | 1.7827 | 22.7162 | 4.3204 | 1.7888 | 1 | 3.5776 | 22.8787 | 22.7162 | 23.0847 | 400.7039 | 381.1439 | 9.1801 | 14.0691 | 23.0536 | 35.3311 | 499.8379 | 1499.2717 | 288.6729 | 70.2924 | -2.0974 | 0.29521 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0057369 | 295.8662 | 296.0287 | 239.8835 | -0.1096 | 2.7717 | 39.4303 | 25.3613 | 22.7975 | 2.7853 | 0.22016 | 0.98895 | 1.7964 | 0.13883 | 15.5654 | 0.58098 | 37.9799 | 373.4298 | 0.020792
55 | 14:44:45 | 1847.5 | 0 | 20.4867 | 0.23455 | 221.0803 | 5.7368 | 1.783 | 22.7176 | 4.3204 | 1.7888 | 1 | 3.5776 | 22.8809 | 22.7176 | 23.0851 | 400.7225 | 381.1246 | 9.1792 | 14.0681 | 23.0484 | 35.3241 | 499.831 | 1499.2501 | 288.6841 | 70.2924 | -2.0974 | 0.29521 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0057368 | 295.8676 | 296.0309 | 239.88 | -0.10949 | 2.7719 | 39.4337 | 25.3655 | 22.7993 | 2.7856 | 0.22011 | 0.98888 | 1.7968 | 0.1388 | 15.5403 | 0.58007 | 37.9739 | 373.3939 | 0.020835
56 | 14:44:46 | 1848 | 0 | 20.5933 | 0.23491 | 220.5122 | 5.7437 | 1.7825 | 22.7167 | 4.3204 | 1.7888 | 1 | 3.5776 | 22.8824 | 22.7167 | 23.0844 | 400.7805 | 381.089 | 9.1779 | 14.0726 | 23.043 | 35.332 | 499.8478 | 1499.2198 | 288.567 | 70.2923 | -2.0974 | 0.29521 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0057437 | 295.8667 | 296.0324 | 239.8752 | -0.11225 | 2.7717 | 39.4316 | 25.359 | 22.7996 | 2.7857 | 0.22044 | 0.9892 | 1.7965 | 0.13901 | 15.5003 | 0.57864 | 37.9925 | 373.3181 | 0.020958
57 | 14:44:46 | 1848.5 | 0 | 20.6218 | 0.23482 | 220.2677 | 5.7437 | 1.7832 | 22.7209 | 4.3204 | 1.7888 | 1 | 3.5776 | 22.8837 | 22.7209 | 23.084 | 400.8239 | 381.108 | 9.178 | 14.0726 | 23.0416 | 35.3296 | 499.8568 | 1499.2365 | 288.5035 | 70.293 | -2.0974 | 0.29521 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0057437 | 295.8709 | 296.0337 | 239.8778 | -0.11254 | 2.7724 | 39.4413 | 25.3687 | 22.8023 | 2.7862 | 0.22035 | 0.9892 | 1.797 | 0.13895 | 15.4833 | 0.57797 | 37.982 | 373.3264 | 0.02098
58 | 14:44:47 | 1849 | 0 | 20.6493 | 0.23484 | 220.0832 | 5.7459 | 1.7837 | 22.7242 | 4.3204 | 1.7888 | 1 | 3.5776 | 22.8853 | 22.7242 | 23.0844 | 400.8431 | 381.1036 | 9.1776 | 14.0739 | 23.0385 | 35.3293 | 499.8784 | 1499.238 | 288.5001 | 70.2929 | -2.0974 | 0.29521 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0057459 | 295.8742 | 296.0353 | 239.8781 | -0.11364 | 2.773 | 39.4491 | 25.3752 | 22.8047 | 2.7866 | 0.22038 | 0.98929 | 1.7973 | 0.13897 | 15.4703 | 0.57749 | 37.9786 | 373.3116 | 0.021007
59 | 14:44:47 | 1849.5 | 0 | 20.6197 | 0.23484 | 220.3149 | 5.7463 | 1.7839 | 22.7253 | 4.3204 | 1.7888 | 1 | 3.5776 | 22.8858 | 22.7253 | 23.0842 | 400.8463 | 381.1323 | 9.1776 | 14.0742 | 23.0376 | 35.3288 | 499.8833 | 1499.1777 | 288.4672 | 70.2928 | -2.0974 | 0.29521 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0057463 | 295.8753 | 296.0358 | 239.8684 | -0.11397 | 2.7732 | 39.4517 | 25.3776 | 22.8056 | 2.7867 | 0.22037 | 0.98931 | 1.7974 | 0.13896 | 15.4866 | 0.57805 | 37.9768 | 373.3514 | 0.020974
60 | 14:44:48 | 1850 | 0 | 20.6363 | 0.23459 | 220.0327 | 5.7438 | 1.7849 | 22.7301 | 4.3204 | 1.7888 | 1 | 3.5776 | 22.8874 | 22.7301 | 23.0852 | 400.8485 | 381.1207 | 9.1771 | 14.0716 | 23.034 | 35.3188 | 499.8759 | 1499.1945 | 288.5461 | 70.2924 | -2.0974 | 0.29521 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0057438 | 295.8801 | 296.0374 | 239.8711 | -0.11322 | 2.774 | 39.4634 | 25.3918 | 22.8087 | 2.7872 | 0.22015 | 0.98913 | 1.7981 | 0.13882 | 15.4666 | 0.57733 | 37.956 | 373.3336 | 0.02098 | 20.5221 | 22.8771 | 22.7148 | #DIV/0! | 1846.5333 | 0 | 20.5221 | 0.23481 | 220.9945 | 5.7406 | 1.7823 | 22.7148 | 4.3204 | 1.7888 | 1 | 3.5776 | 22.8771 | 22.7148 | 23.084 | 400.7587 | 381.1296 | 9.1792 | 14.0712 | 23.0535 | 35.3399 | 499.8499 | 1499.2649 | 288.6357 | 70.2924 | -2.0974 | 0.29521 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0057406 | 295.8648 | 296.0271 | 239.8824 | -0.11122 | 2.7714 | 39.4269 | 25.3558 | 22.7959 | 2.7851 | 0.22035 | 0.9891 | 1.796 | 0.13895 | 15.5342 | 0.57984 | 37.9916 | 373.3856 | 0.020881
Remark= | "14:44:54 Coolers: Tblock -> 28.00 C"
Remark= | "14:49:56 Flow: Fixed -> 500 umol/s"
61 | 14:50:21 | 2184 | 0 | 18.8522 | 0.20307 | 211.1392 | 5.8957 | 2.0836 | 26.2758 | 4.3204 | 1.7888 | 1 | 3.5776 | 27.3328 | 26.2758 | 27.9578 | 399.5625 | 381.326 | 14.15 | 19.1479 | 27.2555 | 36.8825 | 499.8838 | 1499.0234 | 289.7883 | 70.3004 | -1.4233 | 0.26033 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0058957 | 299.4258 | 300.4828 | 239.8437 | -0.075967 | 3.4297 | 48.7866 | 29.6387 | 26.8043 | 3.5382 | 0.19216 | 1.3461 | 2.1921 | 0.12104 | 14.8432 | 0.5537 | 40.49 | 374.2121 | 0.020398
62 | 14:50:22 | 2184 | 0 | 18.8522 | 0.20307 | 211.1392 | 5.8957 | 2.0836 | 26.2758 | 4.3204 | 1.7888 | 1 | 3.5776 | 27.3328 | 26.2758 | 27.9578 | 399.5625 | 381.326 | 14.15 | 19.1479 | 27.2555 | 36.8825 | 499.8838 | 1499.0234 | 289.7883 | 70.3004 | -1.4233 | 0.26033 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0058957 | 299.4258 | 300.4828 | 239.8437 | -0.075967 | 3.4297 | 48.7866 | 29.6387 | 26.8043 | 3.5382 | 0.19216 | 1.3461 | 2.1921 | 0.12104 | 14.8432 | 0.5537 | 40.49 | 374.2121 | 0.020398
63 | 14:50:22 | 2184.5 | 0 | 18.7854 | 0.20284 | 211.5689 | 5.8901 | 2.0838 | 26.2755 | 4.3204 | 1.7888 | 1 | 3.5776 | 27.3337 | 26.2755 | 27.9584 | 399.559 | 381.3816 | 14.1512 | 19.1445 | 27.2563 | 36.8737 | 499.8772 | 1499.027 | 289.8404 | 70.3002 | -1.4233 | 0.26033 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0058901 | 299.4255 | 300.4837 | 239.8443 | -0.073426 | 3.4297 | 48.786 | 29.6416 | 26.8046 | 3.5383 | 0.19196 | 1.3459 | 2.1924 | 0.12091 | 14.8733 | 0.55474 | 40.4801 | 374.2929 | 0.020317
64 | 14:50:23 | 2185 | 0 | 18.7781 | 0.20279 | 211.615 | 5.8887 | 2.0839 | 26.2755 | 4.3204 | 1.7888 | 1 | 3.5776 | 27.3341 | 26.2755 | 27.9586 | 399.5802 | 381.4091 | 14.1513 | 19.1435 | 27.2558 | 36.8709 | 499.8708 | 1499.0139 | 289.8826 | 70.2999 | -1.4233 | 0.26033 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0058887 | 299.4255 | 300.4841 | 239.8422 | -0.072836 | 3.4297 | 48.786 | 29.6425 | 26.8048 | 3.5383 | 0.19191 | 1.3458 | 2.1925 | 0.12088 | 14.8765 | 0.55482 | 40.4774 | 374.3232 | 0.020306
65 | 14:50:23 | 2185.5 | 0 | 18.7526 | 0.20275 | 211.8296 | 5.8879 | 2.084 | 26.276 | 4.3204 | 1.7888 | 1 | 3.5776 | 27.335 | 26.276 | 27.9586 | 399.5993 | 381.4502 | 14.1517 | 19.1432 | 27.2552 | 36.8686 | 499.8691 | 1498.9927 | 289.8792 | 70.3002 | -1.4233 | 0.26033 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0058879 | 299.426 | 300.485 | 239.8388 | -0.072479 | 3.4298 | 48.7872 | 29.644 | 26.8055 | 3.5385 | 0.19187 | 1.3458 | 2.1927 | 0.12085 | 14.8917 | 0.55533 | 40.4752 | 374.3739 | 0.020274
66 | 14:50:24 | 2186 | 0 | 18.787 | 0.20288 | 211.6462 | 5.8912 | 2.0839 | 26.2761 | 4.3204 | 1.7888 | 1 | 3.5776 | 27.3363 | 26.2761 | 27.9583 | 399.6323 | 381.4524 | 14.1506 | 19.1449 | 27.251 | 36.8689 | 499.8695 | 1498.9449 | 289.6608 | 70.3 | -1.4233 | 0.26033 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0058912 | 299.4261 | 300.4863 | 239.8312 | -0.073805 | 3.4298 | 48.7877 | 29.6427 | 26.8062 | 3.5386 | 0.19199 | 1.3459 | 2.1927 | 0.12093 | 14.8787 | 0.55484 | 40.4802 | 374.3631 | 0.020315
67 | 14:50:24 | 2186.5 | 0 | 18.9053 | 0.20294 | 210.7042 | 5.8934 | 2.0841 | 26.2774 | 4.3204 | 1.7888 | 1 | 3.5776 | 27.3373 | 26.2774 | 27.9587 | 399.7066 | 381.4235 | 14.15 | 19.1462 | 27.2481 | 36.8691 | 499.861 | 1498.9453 | 289.4758 | 70.2996 | -1.4233 | 0.26033 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0058934 | 299.4274 | 300.4873 | 239.8312 | -0.074788 | 3.43 | 48.7918 | 29.6456 | 26.8074 | 3.5389 | 0.19204 | 1.346 | 2.1929 | 0.12096 | 14.8124 | 0.55242 | 40.4803 | 374.2896 | 0.020447
68 | 14:50:25 | 2187 | 0 | 18.9518 | 0.2029 | 210.3395 | 5.8932 | 2.0843 | 26.2787 | 4.3204 | 1.7888 | 1 | 3.5776 | 27.3381 | 26.2787 | 27.9586 | 399.7849 | 381.4608 | 14.1505 | 19.1467 | 27.2477 | 36.8682 | 499.8409 | 1498.9111 | 289.3808 | 70.2996 | -1.4233 | 0.26033 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0058932 | 299.4287 | 300.4881 | 239.8258 | -0.074785 | 3.4303 | 48.7956 | 29.6488 | 26.8084 | 3.5391 | 0.19201 | 1.346 | 2.1931 | 0.12094 | 14.7868 | 0.55141 | 40.4778 | 374.3093 | 0.020495
69 | 14:50:25 | 2187.5 | 0 | 18.963 | 0.20282 | 210.2015 | 5.8917 | 2.0846 | 26.2797 | 4.3204 | 1.7888 | 1 | 3.5776 | 27.3386 | 26.2797 | 27.9591 | 399.809 | 381.476 | 14.1508 | 19.1457 | 27.2474 | 36.865 | 499.8506 | 1498.9703 | 289.3152 | 70.2993 | -1.4233 | 0.26033 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0058917 | 299.4297 | 300.4886 | 239.8352 | -0.074113 | 3.4305 | 48.7985 | 29.6529 | 26.8091 | 3.5392 | 0.19194 | 1.3459 | 2.1933 | 0.12089 | 14.777 | 0.55102 | 40.4719 | 374.3203 | 0.020503
70 | 14:50:26 | 2188 | 0 | 18.9543 | 0.20272 | 210.2409 | 5.8894 | 2.0847 | 26.2796 | 4.3204 | 1.7888 | 1 | 3.5776 | 27.3391 | 26.2796 | 27.9587 | 399.8409 | 381.5165 | 14.151 | 19.1438 | 27.247 | 36.8604 | 499.8644 | 1499.0028 | 289.1472 | 70.2991 | -1.4233 | 0.26033 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0058894 | 299.4296 | 300.4891 | 239.8404 | -0.073023 | 3.4305 | 48.7984 | 29.6546 | 26.8093 | 3.5393 | 0.19185 | 1.3458 | 2.1935 | 0.12084 | 14.7797 | 0.55107 | 40.4669 | 374.3641 | 0.020489
71 | 14:50:26 | 2188.5 | 0 | 18.9785 | 0.20282 | 210.1136 | 5.8925 | 2.0848 | 26.281 | 4.3204 | 1.7888 | 1 | 3.5776 | 27.3397 | 26.281 | 27.9584 | 399.8618 | 381.5153 | 14.1509 | 19.1463 | 27.2456 | 36.8636 | 499.8613 | 1499.0001 | 288.9916 | 70.2988 | -1.4233 | 0.26033 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0058925 | 299.431 | 300.4897 | 239.84 | -0.074427 | 3.4308 | 48.8027 | 29.6564 | 26.8103 | 3.5395 | 0.19194 | 1.346 | 2.1935 | 0.1209 | 14.7707 | 0.55073 | 40.4698 | 374.3537 | 0.020517
72 | 14:50:27 | 2189 | 0 | 19.1401 | 0.20301 | 208.8766 | 5.8977 | 2.0848 | 26.282 | 4.3204 | 1.7888 | 1 | 3.5776 | 27.3405 | 26.282 | 27.9579 | 399.9307 | 381.4437 | 14.1491 | 19.1488 | 27.2408 | 36.8667 | 499.8762 | 1499.0607 | 288.8546 | 70.2986 | -1.4233 | 0.26033 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0058977 | 299.432 | 300.4905 | 239.8497 | -0.076596 | 3.431 | 48.8056 | 29.6568 | 26.8112 | 3.5397 | 0.19211 | 1.3461 | 2.1935 | 0.121 | 14.6837 | 0.54759 | 40.4753 | 374.2212 | 0.020702
73 | 14:50:27 | 2189.5 | 0 | 19.1638 | 0.20298 | 208.6545 | 5.8974 | 2.085 | 26.2827 | 4.3204 | 1.7888 | 1 | 3.5776 | 27.3413 | 26.2827 | 27.9577 | 399.9423 | 381.4348 | 14.1493 | 19.1488 | 27.2398 | 36.8647 | 499.869 | 1499.0905 | 288.6992 | 70.2982 | -1.4233 | 0.26033 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0058974 | 299.4327 | 300.4913 | 239.8545 | -0.076402 | 3.4311 | 48.8081 | 29.6593 | 26.812 | 3.5398 | 0.19208 | 1.3461 | 2.1937 | 0.12098 | 14.668 | 0.54703 | 40.4728 | 374.2033 | 0.020727
74 | 14:50:28 | 2190 | 0 | 19.1712 | 0.20281 | 208.4412 | 5.8939 | 2.0854 | 26.2837 | 4.3204 | 1.7888 | 1 | 3.5776 | 27.3411 | 26.2837 | 27.9577 | 399.9195 | 381.406 | 14.1494 | 19.1462 | 27.2401 | 36.8598 | 499.846 | 1499.1766 | 288.6942 | 70.2979 | -1.4233 | 0.26033 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0058939 | 299.4337 | 300.4911 | 239.8683 | -0.074889 | 3.4313 | 48.811 | 29.6649 | 26.8124 | 3.5399 | 0.19193 | 1.3459 | 2.194 | 0.12089 | 14.653 | 0.54651 | 40.4625 | 374.1717 | 0.020732
75 | 14:50:28 | 2190.5 | 0 | 19.0918 | 0.20269 | 209.0258 | 5.8908 | 2.0855 | 26.2838 | 4.3204 | 1.7888 | 1 | 3.5776 | 27.3418 | 26.2838 | 27.9576 | 399.8848 | 381.4405 | 14.1503 | 19.1447 | 27.2409 | 36.8555 | 499.8361 | 1499.1848 | 288.7501 | 70.298 | -1.4233 | 0.26033 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0058908 | 299.4338 | 300.4918 | 239.8696 | -0.073535 | 3.4313 | 48.8114 | 29.6668 | 26.8128 | 3.54 | 0.19182 | 1.3458 | 2.1942 | 0.12082 | 14.6941 | 0.54799 | 40.4573 | 374.2362 | 0.020639 | 18.9418 | 27.3375 | 26.2789 | #DIV/0! | 2187.0333 | 0 | 18.9418 | 0.20287 | 210.3691 | 5.8926 | 2.0844 | 26.2789 | 4.3204 | 1.7888 | 1 | 3.5776 | 27.3375 | 26.2789 | 27.9583 | 399.7451 | 381.4308 | 14.1504 | 19.1459 | 27.2484 | 36.868 | 499.864 | 1499.0245 | 289.3432 | 70.2994 | -1.4233 | 0.26033 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0058926 | 299.4289 | 300.4875 | 239.8439 | -0.074469 | 3.4303 | 48.7962 | 29.6503 | 26.8082 | 3.539 | 0.19199 | 1.3459 | 2.1931 | 0.12092 | 14.7888 | 0.55153 | 40.4752 | 374.2831 | 0.020484
Remark= | "14:50:34 Coolers: Tblock -> 33.00 C"
Remark= | "14:55:01 Flow: Fixed -> 500 umol/s"
76 | 14:55:45 | 2507.5 | 0 | 17.2976 | 0.17136 | 198.7018 | 5.8569 | 2.4126 | 29.4952 | 4.3204 | 1.7888 | 1 | 3.5776 | 31.7274 | 29.4952 | 33.0414 | 400.2968 | 383.4054 | 19.6146 | 24.5526 | 29.3234 | 36.7055 | 499.8605 | 1500.4257 | 290.2255 | 70.2924 | -1.2694 | 0.19095 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0058569 | 302.6452 | 304.8774 | 240.0681 | 0.084135 | 4.1385 | 58.8749 | 34.3223 | 30.6113 | 4.4124 | 0.16353 | 1.7259 | 2.6865 | 0.10288 | 13.9672 | 0.51826 | 41.946 | 376.8781 | 0.019252
77 | 14:55:45 | 2508 | 0 | 17.3629 | 0.17131 | 198.0314 | 5.8558 | 2.4127 | 29.4956 | 4.3204 | 1.7888 | 1 | 3.5776 | 31.7273 | 29.4956 | 33.0402 | 400.3435 | 383.3949 | 19.6147 | 24.552 | 29.3236 | 36.7048 | 499.8284 | 1500.6827 | 290.2734 | 70.2921 | -1.2694 | 0.19095 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0058558 | 302.6456 | 304.8773 | 240.1092 | 0.084938 | 4.1386 | 58.8766 | 34.3245 | 30.6114 | 4.4124 | 0.16348 | 1.7258 | 2.6866 | 0.10285 | 13.92 | 0.51652 | 41.9431 | 376.843 | 0.019325
78 | 14:55:46 | 2508 | 0 | 17.3629 | 0.17131 | 198.0314 | 5.8558 | 2.4127 | 29.4956 | 4.3204 | 1.7888 | 1 | 3.5776 | 31.7273 | 29.4956 | 33.0402 | 400.3435 | 383.3949 | 19.6147 | 24.552 | 29.3236 | 36.7048 | 499.8284 | 1500.6827 | 290.2734 | 70.2921 | -1.2694 | 0.19095 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0058558 | 302.6456 | 304.8773 | 240.1092 | 0.084938 | 4.1386 | 58.8766 | 34.3245 | 30.6114 | 4.4124 | 0.16348 | 1.7258 | 2.6866 | 0.10285 | 13.92 | 0.51652 | 41.9431 | 376.843 | 0.019325
79 | 14:55:46 | 2508.5 | 0 | 17.4015 | 0.17119 | 197.5715 | 5.8519 | 2.4127 | 29.4951 | 4.3204 | 1.7888 | 1 | 3.5776 | 31.7284 | 29.4951 | 33.0404 | 400.3918 | 383.4106 | 19.6168 | 24.551 | 29.3247 | 36.7007 | 499.8156 | 1500.7134 | 290.329 | 70.2915 | -1.2694 | 0.19095 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0058519 | 302.6451 | 304.8784 | 240.1141 | 0.086833 | 4.1384 | 58.8753 | 34.3243 | 30.6117 | 4.4125 | 0.16338 | 1.7257 | 2.6867 | 0.10278 | 13.8876 | 0.5153 | 41.9405 | 376.8441 | 0.019367
80 | 14:55:47 | 2509 | 0 | 17.4778 | 0.1712 | 196.8377 | 5.853 | 2.4131 | 29.4969 | 4.3204 | 1.7888 | 1 | 3.5776 | 31.7291 | 29.4969 | 33.0398 | 400.4435 | 383.3966 | 19.6164 | 24.5514 | 29.323 | 36.6999 | 499.8301 | 1500.7499 | 290.3036 | 70.2916 | -1.2694 | 0.19095 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.005853 | 302.6469 | 304.8791 | 240.12 | 0.086261 | 4.1389 | 58.8816 | 34.3302 | 30.613 | 4.4128 | 0.16338 | 1.7258 | 2.687 | 0.10279 | 13.836 | 0.5134 | 41.9366 | 376.8013 | 0.019452
81 | 14:55:47 | 2509.5 | 0 | 17.5019 | 0.17127 | 196.6818 | 5.8556 | 2.4132 | 29.498 | 4.3204 | 1.7888 | 1 | 3.5776 | 31.7307 | 29.498 | 33.0394 | 400.4733 | 383.4039 | 19.6158 | 24.5532 | 29.3193 | 36.6992 | 499.8073 | 1500.7311 | 290.3905 | 70.2916 | -1.2694 | 0.19095 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0058556 | 302.648 | 304.8807 | 240.117 | 0.085198 | 4.1391 | 58.8851 | 34.3319 | 30.6143 | 4.4131 | 0.16344 | 1.7259 | 2.6872 | 0.10283 | 13.8251 | 0.51299 | 41.9381 | 376.7996 | 0.01948
82 | 14:55:48 | 2510 | 0 | 17.4807 | 0.17128 | 196.9192 | 5.8562 | 2.4134 | 29.4988 | 4.3204 | 1.7888 | 1 | 3.5776 | 31.7316 | 29.4988 | 33.0395 | 400.4871 | 383.4373 | 19.617 | 24.5544 | 29.3195 | 36.6989 | 499.8564 | 1500.7399 | 290.4137 | 70.2915 | -1.2694 | 0.19095 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0058562 | 302.6488 | 304.8816 | 240.1184 | 0.084984 | 4.1393 | 58.8882 | 34.3338 | 30.6152 | 4.4133 | 0.16345 | 1.726 | 2.6874 | 0.10283 | 13.8417 | 0.51356 | 41.9379 | 376.841 | 0.019454
83 | 14:55:48 | 2510.5 | 0 | 17.4918 | 0.1713 | 196.8104 | 5.8579 | 2.4137 | 29.5007 | 4.3204 | 1.7888 | 1 | 3.5776 | 31.7333 | 29.5007 | 33.0402 | 400.4738 | 383.4145 | 19.6171 | 24.5558 | 29.3167 | 36.6972 | 499.8703 | 1500.7358 | 290.485 | 70.2909 | -1.2694 | 0.19095 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0058579 | 302.6507 | 304.8833 | 240.1177 | 0.084253 | 4.1398 | 58.8949 | 34.3391 | 30.617 | 4.4138 | 0.16347 | 1.726 | 2.6877 | 0.10284 | 13.834 | 0.51331 | 41.9356 | 376.8139 | 0.019467
84 | 14:55:49 | 2511 | 0 | 17.4375 | 0.17131 | 197.3413 | 5.8589 | 2.4139 | 29.502 | 4.3204 | 1.7888 | 1 | 3.5776 | 31.7347 | 29.502 | 33.0405 | 400.432 | 383.4195 | 19.6179 | 24.5573 | 29.3156 | 36.6967 | 499.8782 | 1500.7374 | 290.4864 | 70.2908 | -1.2694 | 0.19095 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0058589 | 302.652 | 304.8847 | 240.118 | 0.083827 | 4.1401 | 58.8995 | 34.3422 | 30.6183 | 4.4141 | 0.16348 | 1.7262 | 2.688 | 0.10285 | 13.8713 | 0.51469 | 41.9351 | 376.8394 | 0.019405
85 | 14:55:49 | 2511.5 | 0 | 17.4343 | 0.17124 | 197.2803 | 5.8577 | 2.4145 | 29.5041 | 4.3204 | 1.7888 | 1 | 3.5776 | 31.7359 | 29.5041 | 33.0404 | 400.4093 | 383.4005 | 19.619 | 24.5572 | 29.315 | 36.6939 | 499.894 | 1500.734 | 290.5186 | 70.2906 | -1.2694 | 0.19095 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.0058577 | 302.6541 | 304.8859 | 240.1174 | 0.084221 | 4.1406 | 58.9069 | 34.3496 | 30.62 | 4.4146 | 0.16342 | 1.7261 | 2.6884 | 0.10281 | 13.8669 | 0.51455 | 41.9284 | 376.8217 | 0.019399
86 | 14:55:50 | 2512 | 0 | 17.4111 | 0.17125 | 197.5191 | 5.86 | 2.4152 | 29.508 | 4.3204 | 1.7888 | 1 | 3.5776 | 31.7377 | 29.508 | 33.041 | 400.405 | 383.4153 | 19.6192 | 24.5595 | 29.3124 | 36.6935 | 499.8872 | 1500.7385 | 290.4807 | 70.2906 | -1.2694 | 0.19095 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.00586 | 302.658 | 304.8877 | 240.1182 | 0.083012 | 4.1415 | 58.9201 | 34.3607 | 30.6229 | 4.4153 | 0.16343 | 1.7263 | 2.689 | 0.10282 | 13.8837 | 0.51516 | 41.9225 | 376.8452 | 0.019369
87 | 14:55:50 | 2512.5 | 0 | 17.4096 | 0.17133 | 197.63 | 5.8657 | 2.4164 | 29.5142 | 4.3204 | 1.7888 | 1 | 3.5776 | 31.7384 | 29.5142 | 33.0412 | 400.4349 | 383.4447 | 19.6184 | 24.5633 | 29.3104 | 36.6982 | 499.8951 | 1500.6523 | 290.4658 | 70.2913 | -1.2694 | 0.19095 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.0058657 | 302.6642 | 304.8884 | 240.1044 | 0.07986 | 4.143 | 58.9406 | 34.3773 | 30.6263 | 4.4161 | 0.1635 | 1.7266 | 2.6896 | 0.10286 | 13.8917 | 0.51541 | 41.9152 | 376.8752 | 0.019363
88 | 14:55:51 | 2513 | 0 | 17.3986 | 0.17131 | 197.7276 | 5.8658 | 2.4168 | 29.5162 | 4.3204 | 1.7888 | 1 | 3.5776 | 31.7397 | 29.5162 | 33.0411 | 400.4484 | 383.4672 | 19.6189 | 24.564 | 29.3091 | 36.6967 | 499.8876 | 1500.6395 | 290.4993 | 70.2917 | -1.2694 | 0.19095 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0058658 | 302.6662 | 304.8897 | 240.1023 | 0.079701 | 4.1435 | 58.947 | 34.383 | 30.6279 | 4.4166 | 0.16348 | 1.7266 | 2.6899 | 0.10285 | 13.8986 | 0.51563 | 41.9111 | 376.9018 | 0.019347
89 | 14:55:51 | 2513.5 | 0 | 17.3657 | 0.1712 | 197.9722 | 5.8649 | 2.4179 | 29.5208 | 4.3204 | 1.7888 | 1 | 3.5776 | 31.7412 | 29.5208 | 33.0414 | 400.4618 | 383.5093 | 19.6205 | 24.5648 | 29.3089 | 36.6946 | 499.8934 | 1500.6227 | 290.4176 | 70.2916 | -1.2694 | 0.19095 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.0058649 | 302.6708 | 304.8912 | 240.0996 | 0.079729 | 4.1446 | 58.9626 | 34.3978 | 30.631 | 4.4173 | 0.16338 | 1.7267 | 2.6906 | 0.10279 | 13.9158 | 0.51621 | 41.8993 | 376.9564 | 0.019302
90 | 14:55:52 | 2514 | 0 | 17.3289 | 0.17114 | 198.2859 | 5.8637 | 2.4181 | 29.5215 | 4.3204 | 1.7888 | 1 | 3.5776 | 31.742 | 29.5215 | 33.041 | 400.4515 | 383.5301 | 19.6197 | 24.5633 | 29.3063 | 36.6906 | 499.8589 | 1500.6027 | 290.4056 | 70.2914 | -1.2694 | 0.19095 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0058637 | 302.6715 | 304.892 | 240.0964 | 0.080221 | 4.1447 | 58.9651 | 34.4018 | 30.6318 | 4.4175 | 0.16333 | 1.7266 | 2.6909 | 0.10275 | 13.9378 | 0.517 | 41.8942 | 376.991 | 0.019257 | 17.4108 | 31.7337 | 29.5042 | #DIV/0! | 2510.5667 | 0 | 17.4108 | 0.17127 | 197.5561 | 5.8586 | 2.4145 | 29.5042 | 4.3204 | 1.7888 | 1 | 3.5776 | 31.7337 | 29.5042 | 33.0405 | 400.4197 | 383.4297 | 19.6174 | 24.5568 | 29.3168 | 36.6983 | 499.8594 | 1500.6792 | 290.3979 | 70.2914 | -1.2694 | 0.19095 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0058586 | 302.6542 | 304.8837 | 240.1087 | 0.083474 | 4.1406 | 58.9063 | 34.3495 | 30.6189 | 4.4143 | 0.16344 | 1.7261 | 2.6881 | 0.10283 | 13.8865 | 0.51523 | 41.9284 | 376.8597 | 0.019371
Remark= | "14:55:57 Coolers: Tblock -> 38.00 C"
Remark= | "15:01:39 Flow: Fixed -> 500 umol/s"
91 | 15:02:25 | 2907.5 | 0 | 15.8002 | 0.15459 | 194.9579 | 6.276 | 2.8263 | 32.7439 | 4.3204 | 1.7888 | 1 | 3.5776 | 36.1725 | 32.7439 | 38.1141 | 399.7798 | 384.0413 | 25.3751 | 30.633 | 29.605 | 35.7394 | 499.8934 | 1500.0676 | 268.929 | 70.3007 | -0.93048 | 0.11987 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.006276 | 305.8939 | 309.3225 | 240.0108 | 0.059894 | 4.9798 | 70.8364 | 40.2034 | 34.4582 | 5.4811 | 0.14819 | 2.1535 | 3.3276 | 0.093171 | 13.7057 | 0.50765 | 42.6879 | 378.0791 | 0.01784
92 | 15:02:25 | 2907.5 | 0 | 15.8002 | 0.15459 | 194.9579 | 6.276 | 2.8263 | 32.7439 | 4.3204 | 1.7888 | 1 | 3.5776 | 36.1725 | 32.7439 | 38.1141 | 399.7798 | 384.0413 | 25.3751 | 30.633 | 29.605 | 35.7394 | 499.8934 | 1500.0676 | 268.929 | 70.3007 | -0.93048 | 0.11987 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1571 | 0.006276 | 305.8939 | 309.3225 | 240.0108 | 0.059894 | 4.9798 | 70.8364 | 40.2034 | 34.4582 | 5.4811 | 0.14819 | 2.1535 | 3.3276 | 0.093171 | 13.7057 | 0.50765 | 42.6879 | 378.0791 | 0.01784
93 | 15:02:25 | 2908 | 0 | 15.7319 | 0.15459 | 195.6616 | 6.2739 | 2.8253 | 32.7399 | 4.3204 | 1.7888 | 1 | 3.5776 | 36.1732 | 32.7399 | 38.1143 | 399.705 | 384.0258 | 25.3753 | 30.6316 | 29.6039 | 35.7361 | 499.8791 | 1500.1515 | 268.735 | 70.3001 | -0.93048 | 0.11987 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0062739 | 305.8899 | 309.3232 | 240.0242 | 0.061464 | 4.9787 | 70.8212 | 40.1897 | 34.4565 | 5.4806 | 0.14819 | 2.1534 | 3.3272 | 0.093172 | 13.755 | 0.5095 | 42.6957 | 378.0894 | 0.017765
94 | 15:02:26 | 2908.5 | 0 | 15.6421 | 0.15461 | 196.6265 | 6.2762 | 2.826 | 32.7432 | 4.3204 | 1.7888 | 1 | 3.5776 | 36.1739 | 32.7432 | 38.1146 | 399.6488 | 384.0464 | 25.3767 | 30.635 | 29.604 | 35.7382 | 499.8816 | 1500.0791 | 268.4647 | 70.2994 | -0.93048 | 0.11987 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0062762 | 305.8932 | 309.3239 | 240.0127 | 0.060058 | 4.9797 | 70.835 | 40.2 | 34.4585 | 5.4812 | 0.1482 | 2.1536 | 3.3276 | 0.093183 | 13.8227 | 0.51199 | 42.6919 | 378.1439 | 0.01766
95 | 15:02:26 | 2909 | 0 | 15.6402 | 0.15451 | 196.5135 | 6.2761 | 2.8277 | 32.749 | 4.3204 | 1.7888 | 1 | 3.5776 | 36.1744 | 32.749 | 38.1149 | 399.63 | 384.029 | 25.3761 | 30.6344 | 29.6025 | 35.7365 | 499.8672 | 1500.0522 | 268.4049 | 70.2993 | -0.93048 | 0.11987 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0062761 | 305.899 | 309.3244 | 240.0084 | 0.059454 | 4.9813 | 70.8585 | 40.2241 | 34.4617 | 5.4822 | 0.14811 | 2.1536 | 3.3286 | 0.093123 | 13.8148 | 0.51172 | 42.6742 | 378.1271 | 0.017651
96 | 15:02:27 | 2909.5 | 0 | 15.7216 | 0.15454 | 195.6772 | 6.2791 | 2.8286 | 32.7524 | 4.3204 | 1.7888 | 1 | 3.5776 | 36.1756 | 32.7524 | 38.1144 | 399.6841 | 384.0116 | 25.3753 | 30.6362 | 29.5996 | 35.7363 | 499.8614 | 1500.0038 | 268.1041 | 70.2993 | -0.93048 | 0.11987 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0062791 | 305.9024 | 309.3256 | 240.0006 | 0.05783 | 4.9823 | 70.8721 | 40.2359 | 34.464 | 5.4829 | 0.14814 | 2.1537 | 3.3292 | 0.09314 | 13.756 | 0.50956 | 42.6684 | 378.0791 | 0.017743
97 | 15:02:27 | 2910 | 0 | 15.7291 | 0.15457 | 195.638 | 6.2809 | 2.8288 | 32.7534 | 4.3204 | 1.7888 | 1 | 3.5776 | 36.1766 | 32.7534 | 38.1148 | 399.701 | 384.0216 | 25.3745 | 30.6368 | 29.5971 | 35.7351 | 499.8678 | 1500.0007 | 267.8587 | 70.2992 | -0.93048 | 0.11987 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0062809 | 305.9034 | 309.3266 | 240.0001 | 0.057086 | 4.9825 | 70.8761 | 40.2393 | 34.465 | 5.4832 | 0.14817 | 2.1537 | 3.3294 | 0.093158 | 13.7532 | 0.50945 | 42.6672 | 378.0862 | 0.01775
98 | 15:02:28 | 2910.5 | 0 | 15.7643 | 0.15457 | 195.2821 | 6.2814 | 2.829 | 32.7542 | 4.3204 | 1.7888 | 1 | 3.5776 | 36.1784 | 32.7542 | 38.1152 | 399.741 | 384.031 | 25.3746 | 30.6373 | 29.5942 | 35.732 | 499.8703 | 1499.9141 | 267.5799 | 70.2991 | -0.93048 | 0.11987 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0062814 | 305.9042 | 309.3284 | 239.9862 | 0.056855 | 4.9828 | 70.8794 | 40.2421 | 34.4663 | 5.4836 | 0.14817 | 2.1538 | 3.3298 | 0.093159 | 13.7281 | 0.50851 | 42.6657 | 378.0823 | 0.01779
99 | 15:02:28 | 2911 | 0 | 15.8007 | 0.15462 | 194.9519 | 6.2813 | 2.8282 | 32.7513 | 4.3204 | 1.7888 | 1 | 3.5776 | 36.1778 | 32.7513 | 38.1142 | 399.7679 | 384.0258 | 25.3741 | 30.637 | 29.5947 | 35.733 | 499.849 | 1499.9049 | 267.246 | 70.2994 | -0.93048 | 0.11987 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0062813 | 305.9013 | 309.3278 | 239.9848 | 0.05714 | 4.9819 | 70.8673 | 40.2304 | 34.4645 | 5.483 | 0.14821 | 2.1538 | 3.3293 | 0.093186 | 13.705 | 0.50765 | 42.6738 | 378.0634 | 0.017835
100 | 15:02:29 | 2911.5 | 0 | 15.8209 | 0.15463 | 194.758 | 6.2822 | 2.8282 | 32.7517 | 4.3204 | 1.7888 | 1 | 3.5776 | 36.1775 | 32.7517 | 38.1132 | 399.7824 | 384.0222 | 25.3738 | 30.6375 | 29.5951 | 35.7344 | 499.8346 | 1499.8485 | 266.7509 | 70.2999 | -0.93048 | 0.11987 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0062822 | 305.9017 | 309.3275 | 239.9758 | 0.05663 | 4.982 | 70.8685 | 40.231 | 34.4646 | 5.483 | 0.14823 | 2.1538 | 3.3292 | 0.093197 | 13.6915 | 0.50715 | 42.6741 | 378.0522 | 0.017858
101 | 15:02:30 | 2912 | 0 | 15.9009 | 0.1547 | 193.9822 | 6.2856 | 2.8285 | 32.7534 | 4.3204 | 1.7888 | 1 | 3.5776 | 36.1781 | 32.7534 | 38.1134 | 399.8363 | 384.0064 | 25.3735 | 30.6399 | 29.5936 | 35.7359 | 499.8512 | 1499.8611 | 266.3589 | 70.2998 | -0.93048 | 0.11987 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0062856 | 305.9034 | 309.3281 | 239.9778 | 0.055069 | 4.9825 | 70.8753 | 40.2354 | 34.4657 | 5.4834 | 0.14829 | 2.154 | 3.3294 | 0.093237 | 13.6369 | 0.50515 | 42.674 | 378.0062 | 0.017951
102 | 15:02:30 | 2912.5 | 0 | 15.8937 | 0.15485 | 194.2058 | 6.2874 | 2.8268 | 32.747 | 4.3204 | 1.7888 | 1 | 3.5776 | 36.1787 | 32.747 | 38.1128 | 399.8109 | 383.9869 | 25.3718 | 30.6396 | 29.5907 | 35.7346 | 499.857 | 1499.8689 | 265.6326 | 70.3 | -0.93048 | 0.11987 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0062874 | 305.897 | 309.3287 | 239.979 | 0.055135 | 4.9807 | 70.8497 | 40.2101 | 34.4629 | 5.4825 | 0.14843 | 2.154 | 3.3286 | 0.093325 | 13.6527 | 0.50576 | 42.6925 | 377.9894 | 0.017951
103 | 15:02:31 | 2913 | 0 | 15.8357 | 0.15497 | 194.9497 | 6.2893 | 2.8256 | 32.7438 | 4.3204 | 1.7888 | 1 | 3.5776 | 36.1795 | 32.7438 | 38.113 | 399.7805 | 384.0061 | 25.3737 | 30.6431 | 29.5915 | 35.7368 | 499.861 | 1499.8291 | 265.355 | 70.2997 | -0.93048 | 0.11987 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0062893 | 305.8938 | 309.3295 | 239.9727 | 0.054765 | 4.9798 | 70.837 | 40.1939 | 34.4617 | 5.4821 | 0.14853 | 2.1542 | 3.3279 | 0.093392 | 13.7049 | 0.50767 | 42.7074 | 378.0305 | 0.01789
104 | 15:02:31 | 2913.5 | 0 | 15.8293 | 0.15488 | 194.9371 | 6.2875 | 2.8263 | 32.7461 | 4.3204 | 1.7888 | 1 | 3.5776 | 36.1797 | 32.7461 | 38.1133 | 399.7875 | 384.0192 | 25.3749 | 30.6428 | 29.5928 | 35.7363 | 499.8636 | 1499.8132 | 265.2654 | 70.2999 | -0.93048 | 0.11987 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0062875 | 305.8961 | 309.3297 | 239.9701 | 0.055221 | 4.9805 | 70.8463 | 40.2035 | 34.4629 | 5.4825 | 0.14846 | 2.1542 | 3.3283 | 0.093342 | 13.7041 | 0.50762 | 42.6996 | 378.046 | 0.017879
105 | 15:02:32 | 2914 | 0 | 15.8103 | 0.15475 | 194.9717 | 6.2879 | 2.8288 | 32.7552 | 4.3204 | 1.7888 | 1 | 3.5776 | 36.1803 | 32.7552 | 38.1143 | 399.7644 | 384.0132 | 25.3759 | 30.6439 | 29.5927 | 35.7361 | 499.8885 | 1499.8124 | 265.1742 | 70.2995 | -0.93048 | 0.11987 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0062879 | 305.9052 | 309.3303 | 239.97 | 0.054066 | 4.983 | 70.8829 | 40.2391 | 34.4678 | 5.484 | 0.14833 | 2.1542 | 3.3298 | 0.093263 | 13.7064 | 0.50772 | 42.6753 | 378.0472 | 0.017847 | 15.7814 | 36.1766 | 32.7486 | #DIV/0! | 2910.5333 | 0 | 15.7814 | 0.15466 | 195.2047 | 6.2814 | 2.8274 | 32.7486 | 4.3204 | 1.7888 | 1 | 3.5776 | 36.1766 | 32.7486 | 38.1141 | 399.7466 | 384.0219 | 25.3747 | 30.6374 | 29.5975 | 35.736 | 499.868 | 1499.9517 | 267.2525 | 70.2997 | -0.93048 | 0.11987 | 0.95556 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0062814 | 305.8986 | 309.3266 | 239.9923 | 0.057371 | 4.9812 | 70.8561 | 40.2187 | 34.4626 | 5.4824 | 0.14826 | 2.1538 | 3.3286 | 0.093215 | 13.7228 | 0.50832 | 42.6824 | 378.0667 | 0.017817
Remark= | "15:02:37 Coolers: Tblock -> 43.00 C"
Remark= | "15:06:47 Flow: Fixed -> 500 umol/s"
106 | 15:07:27 | 3210 | 0 | 15.4862 | 0.16276 | 205.392 | 6.8534 | 2.926 | 33.8256 | 4.3204 | 1.7888 | 1 | 3.5776 | 38.2081 | 33.8256 | 40.4293 | 399.8472 | 384.1867 | 27.922 | 33.6461 | 29.1535 | 35.13 | 499.8662 | 1499.0935 | 272.5592 | 70.2965 | -0.61261 | 0.08178 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0068534 | 306.9756 | 311.3581 | 239.855 | -0.062892 | 5.2912 | 75.2702 | 41.6241 | 36.0168 | 5.9743 | 0.15568 | 2.3652 | 3.6091 | 0.097914 | 14.4383 | 0.53462 | 44.0605 | 378.343 | 0.018035
107 | 15:07:27 | 3210 | 0 | 15.4862 | 0.16276 | 205.392 | 6.8534 | 2.926 | 33.8256 | 4.3204 | 1.7888 | 1 | 3.5776 | 38.2081 | 33.8256 | 40.4293 | 399.8472 | 384.1867 | 27.922 | 33.6461 | 29.1535 | 35.13 | 499.8662 | 1499.0935 | 272.5592 | 70.2965 | -0.61261 | 0.08178 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0068534 | 306.9756 | 311.3581 | 239.855 | -0.062892 | 5.2912 | 75.2702 | 41.6241 | 36.0168 | 5.9743 | 0.15568 | 2.3652 | 3.6091 | 0.097914 | 14.4383 | 0.53462 | 44.0605 | 378.343 | 0.018035
108 | 15:07:28 | 3210.5 | 0 | 15.4507 | 0.16277 | 205.8074 | 6.8446 | 2.9223 | 33.8115 | 4.3204 | 1.7888 | 1 | 3.5776 | 38.2094 | 33.8115 | 40.4313 | 399.8498 | 384.2224 | 27.9232 | 33.6402 | 29.1526 | 35.1213 | 499.8571 | 1499.1215 | 272.7259 | 70.2964 | -0.61261 | 0.08178 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0068446 | 306.9615 | 311.3594 | 239.8594 | -0.057325 | 5.2871 | 75.2113 | 41.5711 | 36.0105 | 5.9722 | 0.15569 | 2.3648 | 3.6074 | 0.097917 | 14.4675 | 0.53565 | 44.09 | 378.392 | 0.018003
109 | 15:07:28 | 3211 | 0 | 15.4529 | 0.16267 | 205.7322 | 6.8339 | 2.9196 | 33.8005 | 4.3204 | 1.7888 | 1 | 3.5776 | 38.2112 | 33.8005 | 40.4332 | 399.8728 | 384.2467 | 27.9246 | 33.6327 | 29.1512 | 35.11 | 499.8518 | 1499.1014 | 272.9459 | 70.2963 | -0.61261 | 0.08178 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.157 | 0.0068339 | 306.9505 | 311.3612 | 239.8562 | -0.051289 | 5.2838 | 75.1653 | 41.5326 | 36.0058 | 5.9707 | 0.15559 | 2.3643 | 3.6065 | 0.097857 | 14.4622 | 0.53542 | 44.1076 | 378.4155 | 0.018012
110 | 15:07:29 | 3211.5 | 0 | 15.449 | 0.16264 | 205.7764 | 6.8278 | 2.9175 | 33.7918 | 4.3204 | 1.7888 | 1 | 3.5776 | 38.2127 | 33.7918 | 40.4361 | 399.8823 | 384.2604 | 27.9235 | 33.6269 | 29.1475 | 35.1009 | 499.8165 | 1499.1544 | 272.9864 | 70.296 | -0.61261 | 0.08178 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0068278 | 306.9418 | 311.3627 | 239.8647 | -0.047397 | 5.2813 | 75.1293 | 41.5024 | 36.0023 | 5.9695 | 0.15557 | 2.3638 | 3.6057 | 0.097842 | 14.4652 | 0.53551 | 44.1223 | 378.4308 | 0.018012
111 | 15:07:29 | 3212 | 0 | 15.4647 | 0.1626 | 205.6011 | 6.8198 | 2.9149 | 33.7819 | 4.3204 | 1.7888 | 1 | 3.5776 | 38.2145 | 33.7819 | 40.4385 | 399.8972 | 384.2641 | 27.9247 | 33.6216 | 29.1459 | 35.0919 | 499.8088 | 1499.1373 | 272.9379 | 70.2959 | -0.61261 | 0.08178 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0068198 | 306.9319 | 311.3645 | 239.862 | -0.042642 | 5.2784 | 75.0876 | 41.466 | 35.9982 | 5.9682 | 0.15553 | 2.3635 | 3.6047 | 0.097816 | 14.4529 | 0.53505 | 44.141 | 378.4285 | 0.018039
112 | 15:07:30 | 3212.5 | 0 | 15.4637 | 0.16268 | 205.709 | 6.8168 | 2.9122 | 33.7721 | 4.3204 | 1.7888 | 1 | 3.5776 | 38.2171 | 33.7721 | 40.4407 | 399.8951 | 384.264 | 27.9249 | 33.6193 | 29.1417 | 35.0843 | 499.8105 | 1499.1316 | 272.517 | 70.2953 | -0.61261 | 0.08178 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0068168 | 306.9221 | 311.3671 | 239.861 | -0.039912 | 5.2755 | 75.0472 | 41.4278 | 35.9946 | 5.967 | 0.15561 | 2.3633 | 3.6037 | 0.097866 | 14.4604 | 0.53533 | 44.1649 | 378.4288 | 0.018047
113 | 15:07:30 | 3213 | 0 | 15.4003 | 0.16266 | 206.3512 | 6.8117 | 2.9104 | 33.7651 | 4.3204 | 1.7888 | 1 | 3.5776 | 38.2186 | 33.7651 | 40.444 | 399.8607 | 384.2865 | 27.9256 | 33.6156 | 29.1402 | 35.0777 | 499.8288 | 1499.0947 | 272.2563 | 70.2954 | -0.61261 | 0.08178 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0068117 | 306.9151 | 311.3686 | 239.8552 | -0.036781 | 5.2734 | 75.0175 | 41.4019 | 35.9918 | 5.9661 | 0.15559 | 2.363 | 3.6031 | 0.097856 | 14.5055 | 0.53697 | 44.1785 | 378.4751 | 0.017976
114 | 15:07:31 | 3213.5 | 0 | 15.378 | 0.16266 | 206.5791 | 6.8074 | 2.9087 | 33.7587 | 4.3204 | 1.7888 | 1 | 3.5776 | 38.2206 | 33.7587 | 40.4458 | 399.8424 | 384.2888 | 27.9261 | 33.6124 | 29.1377 | 35.0708 | 499.826 | 1499.0966 | 271.852 | 70.2956 | -0.61261 | 0.08178 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0068074 | 306.9087 | 311.3706 | 239.8554 | -0.033948 | 5.2715 | 74.9905 | 41.3781 | 35.9896 | 5.9654 | 0.15558 | 2.3628 | 3.6026 | 0.097852 | 14.5216 | 0.53756 | 44.1914 | 378.4859 | 0.017955
115 | 15:07:31 | 3214 | 0 | 15.4028 | 0.16266 | 206.328 | 6.804 | 2.9073 | 33.753 | 4.3204 | 1.7888 | 1 | 3.5776 | 38.2215 | 33.753 | 40.4475 | 399.8433 | 384.2694 | 27.9258 | 33.6094 | 29.1359 | 35.0658 | 499.8227 | 1499.1377 | 271.452 | 70.2957 | -0.61261 | 0.08178 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.006804 | 306.903 | 311.3715 | 239.862 | -0.031643 | 5.2698 | 74.9668 | 41.3574 | 35.9873 | 5.9646 | 0.15558 | 2.3626 | 3.602 | 0.097852 | 14.504 | 0.53694 | 44.2024 | 378.4572 | 0.01799
116 | 15:07:32 | 3214.5 | 0 | 15.4674 | 0.16276 | 205.751 | 6.8049 | 2.906 | 33.7487 | 4.3204 | 1.7888 | 1 | 3.5776 | 38.2232 | 33.7487 | 40.45 | 399.8603 | 384.23 | 27.9251 | 33.6096 | 29.1323 | 35.0626 | 499.8078 | 1499.1716 | 270.8538 | 70.2954 | -0.61261 | 0.08178 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0068049 | 306.8987 | 311.3732 | 239.8675 | -0.031257 | 5.2686 | 74.949 | 41.3395 | 35.986 | 5.9642 | 0.15568 | 2.3626 | 3.6016 | 0.09791 | 14.4634 | 0.53549 | 44.2154 | 378.3934 | 0.018074
117 | 15:07:32 | 3215 | 0 | 15.4924 | 0.16284 | 205.5867 | 6.8071 | 2.9055 | 33.7477 | 4.3204 | 1.7888 | 1 | 3.5776 | 38.2251 | 33.7477 | 40.4514 | 399.8873 | 384.2346 | 27.9257 | 33.6121 | 29.1299 | 35.0616 | 499.8036 | 1499.1382 | 270.3772 | 70.2952 | -0.61261 | 0.08178 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0068071 | 306.8977 | 311.3751 | 239.8621 | -0.031899 | 5.2683 | 74.9451 | 41.333 | 35.9864 | 5.9643 | 0.15575 | 2.3628 | 3.6016 | 0.097957 | 14.4518 | 0.53506 | 44.2225 | 378.3885 | 0.018106
118 | 15:07:33 | 3215.5 | 0 | 15.4815 | 0.16281 | 205.6926 | 6.8057 | 2.9055 | 33.7477 | 4.3204 | 1.7888 | 1 | 3.5776 | 38.2282 | 33.7477 | 40.4538 | 399.9077 | 384.2658 | 27.9276 | 33.6124 | 29.1271 | 35.0561 | 499.8413 | 1499.1183 | 270.1092 | 70.2952 | -0.61261 | 0.08178 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0068057 | 306.8977 | 311.3782 | 239.8589 | -0.030947 | 5.2683 | 74.945 | 41.3326 | 35.9879 | 5.9648 | 0.15572 | 2.3628 | 3.602 | 0.097938 | 14.4592 | 0.53529 | 44.2224 | 378.4238 | 0.018092
119 | 15:07:33 | 3216 | 0 | 15.438 | 0.1627 | 206.0482 | 6.8029 | 2.9062 | 33.7495 | 4.3204 | 1.7888 | 1 | 3.5776 | 38.2294 | 33.7495 | 40.4559 | 399.9022 | 384.2982 | 27.9277 | 33.6103 | 29.1254 | 35.0517 | 499.8263 | 1499.127 | 269.7116 | 70.2955 | -0.61261 | 0.08178 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0068029 | 306.8995 | 311.3794 | 239.8603 | -0.029811 | 5.2688 | 74.9525 | 41.3421 | 35.9895 | 5.9653 | 0.15562 | 2.3627 | 3.6027 | 0.097874 | 14.4843 | 0.53617 | 44.2133 | 378.4726 | 0.018035
120 | 15:07:34 | 3216.5 | 0 | 15.4192 | 0.16256 | 206.1525 | 6.7996 | 2.907 | 33.752 | 4.3204 | 1.7888 | 1 | 3.5776 | 38.2314 | 33.752 | 40.4584 | 399.9313 | 384.3442 | 27.9284 | 33.6083 | 29.123 | 35.0459 | 499.8202 | 1499.1241 | 269.4245 | 70.2958 | -0.61261 | 0.08178 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0067996 | 306.902 | 311.3814 | 239.8599 | -0.02847 | 5.2695 | 74.9624 | 41.3541 | 35.9917 | 5.9661 | 0.1555 | 2.3625 | 3.6035 | 0.097798 | 14.4916 | 0.53637 | 44.2024 | 378.5258 | 0.018006 | 15.4489 | 38.2186 | 33.7754 | #DIV/0! | 3213.0333 | 0 | 15.4489 | 0.1627 | 205.86 | 6.8195 | 2.913 | 33.7754 | 4.3204 | 1.7888 | 1 | 3.5776 | 38.2186 | 33.7754 | 40.443 | 399.8751 | 384.2566 | 27.9251 | 33.6215 | 29.1398 | 35.084 | 499.8302 | 1499.1228 | 271.6845 | 70.2958 | -0.61261 | 0.08178 | 0.77778 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1569 | 0.0068195 | 306.9254 | 311.3686 | 239.8596 | -0.041274 | 5.2764 | 75.0607 | 41.4391 | 35.997 | 5.9678 | 0.15562 | 2.3635 | 3.6044 | 0.097877 | 14.4711 | 0.53574 | 44.1597 | 378.4269 | 0.018028