## stm-pdeba3_
OPEN 6.2.4
Sun Jun 28 2015 10:40:36
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "10:42:55 CO2 Mixer: CO2R -> 400 uml"
Remark= | "10:43:03 Coolers: Tblock -> 0.00 C"
Remark= | "10:43:10 Lamp: ParIn -> 1500 uml"
Remark= | "10:56:26 Flow: Fixed -> 500 umol/s"
Remark= | "10:57:28 Coolers: Tblock -> 7.77 C"
Remark= | "10:58:01 Flow: Fixed -> 500 umol/s"
1 | 10:58:45 | 1099 | 0 | 23.3354 | 0.407 | 267.946 | 6.0121 | 1.1401 | 13.8626 | 4.3318 | 1.7863 | 1 | 3.5726 | 10.1496 | 13.8626 | 7.854 | 399.1789 | 376.9967 | 1.224 | 6.3997 | 6.9125 | 36.1428 | 499.9595 | 1500.8579 | 162.2167 | 70.3065 | -1.4886 | 0.28348 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1542 | 0.0060121 | 287.0126 | 283.2996 | 240.1373 | -0.60879 | 1.59 | 22.6158 | 16.2161 | 12.0061 | 1.4082 | 0.36537 | 0.44994 | 0.95825 | 0.23177 | 18.8383 | 0.71074 | 34.6831 | 368.1787 | 0.021982
2 | 10:58:46 | 1099 | 0 | 23.3354 | 0.407 | 267.946 | 6.0121 | 1.1401 | 13.8626 | 4.3318 | 1.7863 | 1 | 3.5726 | 10.1496 | 13.8626 | 7.854 | 399.1789 | 376.9967 | 1.224 | 6.3997 | 6.9125 | 36.1428 | 499.9595 | 1500.8579 | 162.2167 | 70.3065 | -1.4886 | 0.28348 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1542 | 0.0060121 | 287.0126 | 283.2996 | 240.1373 | -0.60879 | 1.59 | 22.6158 | 16.2161 | 12.0061 | 1.4082 | 0.36537 | 0.44994 | 0.95825 | 0.23177 | 18.8383 | 0.71074 | 34.6831 | 368.1787 | 0.021982
3 | 10:58:46 | 1099.5 | 0 | 23.3065 | 0.40685 | 268.0603 | 6.0116 | 1.1404 | 13.8644 | 4.3318 | 1.7863 | 1 | 3.5726 | 10.1489 | 13.8644 | 7.8537 | 399.1806 | 377.0237 | 1.2236 | 6.3988 | 6.9104 | 36.1387 | 499.9649 | 1500.8038 | 162.1115 | 70.3059 | -1.4886 | 0.28348 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1542 | 0.0060116 | 287.0144 | 283.2989 | 240.1286 | -0.60888 | 1.5902 | 22.6187 | 16.2199 | 12.0067 | 1.4082 | 0.36525 | 0.44987 | 0.95837 | 0.23169 | 18.8462 | 0.71099 | 34.6735 | 368.2167 | 0.021947
4 | 10:58:47 | 1100 | 0 | 23.2973 | 0.40696 | 268.1311 | 6.0115 | 1.1401 | 13.8616 | 4.3318 | 1.7863 | 1 | 3.5726 | 10.1487 | 13.8616 | 7.854 | 399.18 | 377.029 | 1.2233 | 6.3989 | 6.9091 | 36.1401 | 499.9174 | 1500.7841 | 162.1247 | 70.3058 | -1.4886 | 0.28348 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0060115 | 287.0116 | 283.2987 | 240.1254 | -0.60861 | 1.5899 | 22.6146 | 16.2157 | 12.0051 | 1.4081 | 0.36534 | 0.44988 | 0.95822 | 0.23174 | 18.8512 | 0.71117 | 34.6806 | 368.2254 | 0.021942
5 | 10:58:47 | 1100.5 | 0 | 23.2837 | 0.40698 | 268.2231 | 6.0107 | 1.1399 | 13.8601 | 4.3318 | 1.7863 | 1 | 3.5726 | 10.1485 | 13.8601 | 7.8546 | 399.197 | 377.058 | 1.2244 | 6.3993 | 6.9151 | 36.1426 | 499.9205 | 1500.7408 | 162.0951 | 70.306 | -1.4886 | 0.28348 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0060107 | 287.0101 | 283.2985 | 240.1185 | -0.60822 | 1.5898 | 22.6122 | 16.213 | 12.0043 | 1.408 | 0.36536 | 0.44991 | 0.95811 | 0.23176 | 18.8577 | 0.71136 | 34.6852 | 368.2595 | 0.02193
6 | 10:58:48 | 1101 | 0 | 23.2485 | 0.4069 | 268.3866 | 6.0105 | 1.14 | 13.8621 | 4.3318 | 1.7863 | 1 | 3.5726 | 10.1487 | 13.8621 | 7.8545 | 399.1996 | 377.0902 | 1.225 | 6.3999 | 6.9185 | 36.1463 | 499.901 | 1500.7225 | 162.1615 | 70.3064 | -1.4886 | 0.28348 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0060105 | 287.0121 | 283.2987 | 240.1156 | -0.60836 | 1.59 | 22.6151 | 16.2152 | 12.0054 | 1.4081 | 0.36529 | 0.44996 | 0.95817 | 0.23172 | 18.8693 | 0.71173 | 34.6832 | 368.3051 | 0.021893
7 | 10:58:48 | 1101.5 | 0 | 23.2863 | 0.40664 | 268.1264 | 6.0085 | 1.1403 | 13.8635 | 4.3318 | 1.7863 | 1 | 3.5726 | 10.1479 | 13.8635 | 7.855 | 399.1933 | 377.0508 | 1.2245 | 6.398 | 6.9163 | 36.1371 | 499.8763 | 1500.7548 | 162.1503 | 70.3064 | -1.4886 | 0.28348 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0060085 | 287.0135 | 283.2979 | 240.1208 | -0.60764 | 1.5901 | 22.6172 | 16.2192 | 12.0057 | 1.4082 | 0.36508 | 0.44982 | 0.95833 | 0.23158 | 18.851 | 0.71111 | 34.6687 | 368.2514 | 0.021923
8 | 10:58:49 | 1102 | 0 | 23.3339 | 0.40664 | 267.9177 | 6.008 | 1.1402 | 13.8626 | 4.3318 | 1.7863 | 1 | 3.5726 | 10.1476 | 13.8626 | 7.8549 | 399.2274 | 377.0437 | 1.225 | 6.3981 | 6.9191 | 36.1383 | 499.8718 | 1500.7006 | 162.1528 | 70.3066 | -1.4886 | 0.28348 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.006008 | 287.0126 | 283.2976 | 240.1121 | -0.60744 | 1.59 | 22.6157 | 16.2177 | 12.0051 | 1.4081 | 0.36508 | 0.44983 | 0.95827 | 0.23158 | 18.8364 | 0.71057 | 34.6707 | 368.2263 | 0.02197
9 | 10:58:49 | 1102.5 | 0 | 23.3383 | 0.40698 | 267.9835 | 6.0087 | 1.1395 | 13.856 | 4.3318 | 1.7863 | 1 | 3.5726 | 10.1468 | 13.856 | 7.8545 | 399.2356 | 377.0472 | 1.2247 | 6.3986 | 6.918 | 36.143 | 499.8587 | 1500.7264 | 162.1887 | 70.3065 | -1.4886 | 0.28348 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1539 | 0.0060087 | 287.006 | 283.2968 | 240.1162 | -0.60713 | 1.5894 | 22.6061 | 16.2075 | 12.0014 | 1.4078 | 0.36536 | 0.44986 | 0.95789 | 0.23176 | 18.841 | 0.71074 | 34.6896 | 368.2282 | 0.021986
10 | 10:58:50 | 1103 | 0 | 23.3732 | 0.40732 | 267.8964 | 6.0102 | 1.1389 | 13.8505 | 4.3318 | 1.7863 | 1 | 3.5726 | 10.1463 | 13.8505 | 7.8545 | 399.2474 | 377.0287 | 1.2235 | 6.3985 | 6.9111 | 36.1438 | 499.8666 | 1500.7451 | 162.1451 | 70.3061 | -1.4886 | 0.28348 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0060102 | 287.0005 | 283.2963 | 240.1192 | -0.60726 | 1.5888 | 22.5981 | 16.1996 | 11.9984 | 1.4075 | 0.36563 | 0.44985 | 0.95762 | 0.23193 | 18.8348 | 0.71055 | 34.7043 | 368.1965 | 0.02203
11 | 10:58:50 | 1103.5 | 0 | 23.4144 | 0.40747 | 267.7233 | 6.0092 | 1.1384 | 13.845 | 4.3318 | 1.7863 | 1 | 3.5726 | 10.1462 | 13.845 | 7.8551 | 399.2479 | 376.9923 | 1.2241 | 6.3987 | 6.9147 | 36.1449 | 499.8267 | 1500.7434 | 162.2356 | 70.3062 | -1.4886 | 0.28348 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1539 | 0.0060092 | 286.995 | 283.2962 | 240.1189 | -0.60627 | 1.5882 | 22.5901 | 16.1914 | 11.9956 | 1.4072 | 0.36575 | 0.44987 | 0.95735 | 0.23201 | 18.8226 | 0.71016 | 34.7168 | 368.1445 | 0.02208
12 | 10:58:51 | 1104 | 0 | 23.3831 | 0.40755 | 267.889 | 6.0094 | 1.1382 | 13.8433 | 4.3318 | 1.7863 | 1 | 3.5726 | 10.1464 | 13.8433 | 7.8554 | 399.2317 | 377.0047 | 1.2241 | 6.3985 | 6.9146 | 36.1436 | 499.861 | 1500.7649 | 162.2512 | 70.306 | -1.4886 | 0.28348 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1539 | 0.0060094 | 286.9933 | 283.2964 | 240.1224 | -0.60616 | 1.588 | 22.5876 | 16.1891 | 11.9948 | 1.4071 | 0.36582 | 0.44985 | 0.95729 | 0.23205 | 18.8342 | 0.71057 | 34.7206 | 368.1687 | 0.022052
13 | 10:58:51 | 1104.5 | 0 | 23.3857 | 0.40771 | 267.9134 | 6.0099 | 1.1379 | 13.8399 | 4.3318 | 1.7863 | 1 | 3.5726 | 10.1472 | 13.8399 | 7.8564 | 399.2323 | 377.0027 | 1.223 | 6.3979 | 6.9081 | 36.1381 | 499.8568 | 1500.7593 | 162.2806 | 70.3057 | -1.4886 | 0.28348 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1539 | 0.0060099 | 286.9899 | 283.2972 | 240.1215 | -0.60597 | 1.5877 | 22.5827 | 16.1848 | 11.9935 | 1.407 | 0.36595 | 0.44981 | 0.95721 | 0.23214 | 18.8359 | 0.71064 | 34.7265 | 368.1657 | 0.022058
14 | 10:58:52 | 1105 | 0 | 23.3996 | 0.40774 | 267.8548 | 6.0089 | 1.1376 | 13.8366 | 4.3318 | 1.7863 | 1 | 3.5726 | 10.1471 | 13.8366 | 7.8569 | 399.2365 | 376.9958 | 1.2228 | 6.3966 | 6.9069 | 36.1311 | 499.8725 | 1500.7534 | 162.299 | 70.306 | -1.4886 | 0.28348 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0060089 | 286.9866 | 283.2971 | 240.1205 | -0.60521 | 1.5874 | 22.5778 | 16.1812 | 11.9919 | 1.4069 | 0.36597 | 0.44972 | 0.95715 | 0.23215 | 18.8318 | 0.7105 | 34.7275 | 368.1536 | 0.022073
15 | 10:58:52 | 1105.5 | 0 | 23.4178 | 0.40815 | 267.8847 | 6.0112 | 1.137 | 13.832 | 4.3318 | 1.7863 | 1 | 3.5726 | 10.1473 | 13.832 | 7.8567 | 399.2632 | 377.0069 | 1.2228 | 6.3984 | 6.9067 | 36.1405 | 499.894 | 1500.7124 | 162.2715 | 70.3061 | -1.4886 | 0.28348 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0060112 | 286.982 | 283.2973 | 240.114 | -0.6058 | 1.5869 | 22.5711 | 16.1727 | 11.9896 | 1.4067 | 0.3663 | 0.44984 | 0.95682 | 0.23236 | 18.8339 | 0.71056 | 34.7492 | 368.1578 | 0.022103 | 23.3426 | 10.1478 | 13.8535 | #DIV/0! | 1102.0333 | 0 | 23.3426 | 0.40719 | 267.9922 | 6.0102 | 1.1392 | 13.8535 | 4.3318 | 1.7863 | 1 | 3.5726 | 10.1478 | 13.8535 | 7.8549 | 399.2154 | 377.0245 | 1.2239 | 6.3986 | 6.9129 | 36.1409 | 499.8938 | 1500.7618 | 162.1934 | 70.3062 | -1.4886 | 0.28348 | 0.93333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0060102 | 287.0035 | 283.2978 | 240.1219 | -0.60737 | 1.5891 | 22.6026 | 16.2039 | 12.0007 | 1.4077 | 0.36553 | 0.44986 | 0.95782 | 0.23187 | 18.8415 | 0.71081 | 34.6975 | 368.2038 | 0.021997
Remark= | "10:59:07 Coolers: Tblock -> 13.00 C"
Remark= | "11:01:01 Flow: Fixed -> 500 umol/s"
Remark= | "11:01:45 Flow: Fixed -> 500 umol/s"
16 | 11:02:07 | 1300.5 | 0 | 23.93 | 0.40326 | 263.5862 | 6.2415 | 1.1902 | 15.7972 | 4.3318 | 1.7863 | 1 | 3.5726 | 14.2527 | 15.7972 | 13.1376 | 399.17 | 376.3993 | 3.3288 | 8.6901 | 14.3513 | 37.4648 | 499.9218 | 1500.1573 | 165.638 | 70.3062 | -1.9624 | 0.2762 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0062415 | 288.9472 | 287.4027 | 240.0252 | -0.50048 | 1.8012 | 25.6194 | 16.9293 | 15.025 | 1.7141 | 0.36236 | 0.61097 | 1.1032 | 0.22982 | 18.5318 | 0.70028 | 39.5859 | 367.3566 | 0.025787
17 | 11:02:08 | 1300.5 | 0 | 23.93 | 0.40326 | 263.5862 | 6.2415 | 1.1902 | 15.7972 | 4.3318 | 1.7863 | 1 | 3.5726 | 14.2527 | 15.7972 | 13.1376 | 399.17 | 376.3993 | 3.3288 | 8.6901 | 14.3513 | 37.4648 | 499.9218 | 1500.1573 | 165.638 | 70.3062 | -1.9624 | 0.2762 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0062415 | 288.9472 | 287.4027 | 240.0252 | -0.50048 | 1.8012 | 25.6194 | 16.9293 | 15.025 | 1.7141 | 0.36236 | 0.61097 | 1.1032 | 0.22982 | 18.5318 | 0.70028 | 39.5859 | 367.3566 | 0.025787
18 | 11:02:08 | 1301 | 0 | 23.9383 | 0.40791 | 264.6511 | 6.2664 | 1.1828 | 15.7455 | 4.3318 | 1.7863 | 1 | 3.5726 | 14.2539 | 15.7455 | 13.1377 | 399.1619 | 376.3764 | 3.3291 | 8.7114 | 14.3513 | 37.5539 | 499.9327 | 1500.1096 | 165.696 | 70.3063 | -1.9624 | 0.2762 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0062664 | 288.8955 | 287.4039 | 240.0175 | -0.50591 | 1.7952 | 25.5346 | 16.8232 | 14.9997 | 1.7113 | 0.36611 | 0.61247 | 1.0989 | 0.23224 | 18.6066 | 0.70316 | 39.8376 | 367.3306 | 0.025961
19 | 11:02:09 | 1301.5 | 0 | 23.9787 | 0.41294 | 265.6226 | 6.2928 | 1.1748 | 15.6903 | 4.3318 | 1.7863 | 1 | 3.5726 | 14.2554 | 15.6903 | 13.1375 | 399.157 | 376.3271 | 3.3294 | 8.7346 | 14.3512 | 37.6502 | 499.9095 | 1500.1427 | 165.7247 | 70.3066 | -1.9624 | 0.2762 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0062928 | 288.8403 | 287.4054 | 240.0228 | -0.51156 | 1.7889 | 25.4445 | 16.7099 | 14.9729 | 1.7084 | 0.37016 | 0.6141 | 1.0943 | 0.23485 | 18.675 | 0.70583 | 40.1088 | 367.266 | 0.026187
20 | 11:02:09 | 1302 | 0 | 23.9647 | 0.41805 | 266.8484 | 6.3196 | 1.1669 | 15.6359 | 4.3318 | 1.7863 | 1 | 3.5726 | 14.257 | 15.6359 | 13.1379 | 399.142 | 376.316 | 3.3301 | 8.7581 | 14.353 | 37.7479 | 499.9211 | 1500.0508 | 165.8523 | 70.3071 | -1.9624 | 0.2762 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0063196 | 288.7859 | 287.407 | 240.0081 | -0.51761 | 1.7827 | 25.3559 | 16.5978 | 14.9464 | 1.7055 | 0.37426 | 0.61575 | 1.0897 | 0.23749 | 18.7613 | 0.70911 | 40.381 | 367.2602 | 0.02635
21 | 11:02:10 | 1302.5 | 0 | 23.9871 | 0.42245 | 267.7115 | 6.3439 | 1.1605 | 15.5926 | 4.3318 | 1.7863 | 1 | 3.5726 | 14.2575 | 15.5926 | 13.1382 | 399.1317 | 376.2796 | 3.3305 | 8.779 | 14.354 | 37.8364 | 499.9434 | 1500.079 | 165.8685 | 70.3067 | -1.9624 | 0.2762 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0063439 | 288.7426 | 287.4075 | 240.0126 | -0.52362 | 1.7778 | 25.2857 | 16.5068 | 14.9251 | 1.7031 | 0.37778 | 0.61722 | 1.0859 | 0.23976 | 18.8219 | 0.71147 | 40.6106 | 367.2154 | 0.026527
22 | 11:02:10 | 1303 | 0 | 24.0036 | 0.425 | 268.1701 | 6.3625 | 1.1577 | 15.5771 | 4.3318 | 1.7863 | 1 | 3.5726 | 14.2577 | 15.5771 | 13.138 | 399.1179 | 376.2449 | 3.3298 | 8.7944 | 14.3511 | 37.9026 | 499.9259 | 1500.105 | 165.8345 | 70.3071 | -1.9624 | 0.2762 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0063625 | 288.7271 | 287.4077 | 240.0168 | -0.53003 | 1.776 | 25.2606 | 16.4662 | 14.9174 | 1.7023 | 0.37982 | 0.61831 | 1.084 | 0.24107 | 18.8543 | 0.71275 | 40.7356 | 367.1744 | 0.02663
23 | 11:02:11 | 1303.5 | 0 | 24.0216 | 0.42672 | 268.441 | 6.3769 | 1.1562 | 15.5714 | 4.3318 | 1.7863 | 1 | 3.5726 | 14.2585 | 15.5714 | 13.138 | 399.1105 | 376.2184 | 3.3303 | 8.8069 | 14.3526 | 37.955 | 499.9478 | 1500.0909 | 165.9322 | 70.3074 | -1.9624 | 0.2762 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0063769 | 288.7214 | 287.4085 | 240.0145 | -0.53561 | 1.7753 | 25.2512 | 16.4443 | 14.915 | 1.702 | 0.38119 | 0.61919 | 1.0828 | 0.24195 | 18.8734 | 0.71352 | 40.818 | 367.1412 | 0.026707
24 | 11:02:11 | 1304 | 0 | 24.0119 | 0.42807 | 268.7522 | 6.3888 | 1.155 | 15.5674 | 4.3318 | 1.7863 | 1 | 3.5726 | 14.2592 | 15.5674 | 13.1386 | 399.0868 | 376.2002 | 3.3301 | 8.8166 | 14.3508 | 37.9947 | 499.9675 | 1500.0737 | 165.8709 | 70.3073 | -1.9624 | 0.2762 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1542 | 0.0063888 | 288.7174 | 287.4092 | 240.0118 | -0.54026 | 1.7749 | 25.2448 | 16.4282 | 14.9133 | 1.7018 | 0.38227 | 0.61987 | 1.082 | 0.24265 | 18.8952 | 0.71439 | 40.8806 | 367.1266 | 0.026738
25 | 11:02:12 | 1304.5 | 0 | 23.9482 | 0.42917 | 269.2682 | 6.3998 | 1.1544 | 15.5678 | 4.3318 | 1.7863 | 1 | 3.5726 | 14.2599 | 15.5678 | 13.1391 | 399.0621 | 376.2266 | 3.3303 | 8.8263 | 14.3512 | 38.0352 | 499.9592 | 1500.0066 | 165.7544 | 70.3078 | -1.9624 | 0.2762 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1542 | 0.0063998 | 288.7178 | 287.4099 | 240.001 | -0.5451 | 1.7749 | 25.2452 | 16.4189 | 14.9139 | 1.7019 | 0.38314 | 0.62056 | 1.0813 | 0.24321 | 18.9316 | 0.71571 | 40.9311 | 367.177 | 0.026696
26 | 11:02:12 | 1305 | 0 | 23.9592 | 0.4299 | 269.3812 | 6.4078 | 1.154 | 15.5686 | 4.3318 | 1.7863 | 1 | 3.5726 | 14.2608 | 15.5686 | 13.1395 | 399.0775 | 376.231 | 3.33 | 8.8325 | 14.3489 | 38.0595 | 499.9845 | 1500.0156 | 165.7167 | 70.3075 | -1.9624 | 0.2762 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1542 | 0.0064078 | 288.7186 | 287.4108 | 240.0025 | -0.54851 | 1.775 | 25.2466 | 16.4141 | 14.9147 | 1.702 | 0.38373 | 0.62099 | 1.081 | 0.24359 | 18.9395 | 0.716 | 40.9621 | 367.1773 | 0.026729
27 | 11:02:13 | 1305.5 | 0 | 23.9255 | 0.43071 | 269.7131 | 6.414 | 1.1532 | 15.5648 | 4.3318 | 1.7863 | 1 | 3.5726 | 14.2619 | 15.5648 | 13.1397 | 399.0762 | 376.2574 | 3.3299 | 8.8376 | 14.3475 | 38.0788 | 499.9999 | 1499.9995 | 165.764 | 70.3074 | -1.9624 | 0.2762 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1543 | 0.006414 | 288.7148 | 287.4119 | 239.9999 | -0.55076 | 1.7746 | 25.2406 | 16.4029 | 14.9134 | 1.7019 | 0.38437 | 0.62135 | 1.0805 | 0.244 | 18.9628 | 0.71683 | 41 | 367.2165 | 0.026713
28 | 11:02:13 | 1306 | 0 | 23.9314 | 0.43105 | 269.7296 | 6.418 | 1.1531 | 15.5661 | 4.3318 | 1.7863 | 1 | 3.5726 | 14.2637 | 15.5661 | 13.1388 | 399.0524 | 376.2274 | 3.3302 | 8.8413 | 14.347 | 38.0899 | 500.0011 | 1500.0649 | 165.6641 | 70.3067 | -1.9624 | 0.2762 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1543 | 0.006418 | 288.7161 | 287.4137 | 240.0104 | -0.55232 | 1.7747 | 25.2428 | 16.4015 | 14.9149 | 1.702 | 0.38464 | 0.6216 | 1.0804 | 0.24418 | 18.9638 | 0.71693 | 41.0153 | 367.1841 | 0.026732
29 | 11:02:14 | 1306.5 | 0 | 23.9961 | 0.43134 | 269.4921 | 6.4218 | 1.1531 | 15.5679 | 4.3318 | 1.7863 | 1 | 3.5726 | 14.2647 | 15.5679 | 13.1383 | 399.0731 | 376.1896 | 3.33 | 8.8447 | 14.3455 | 38.1022 | 499.9704 | 1500.1432 | 165.5926 | 70.3069 | -1.9624 | 0.2762 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1542 | 0.0064218 | 288.7179 | 287.4147 | 240.0229 | -0.55391 | 1.775 | 25.2457 | 16.401 | 14.9163 | 1.7022 | 0.38487 | 0.62184 | 1.0803 | 0.24433 | 18.9472 | 0.71637 | 41.028 | 367.122 | 0.026817
30 | 11:02:14 | 1307 | 0 | 23.9976 | 0.43153 | 269.539 | 6.4249 | 1.1532 | 15.5706 | 4.3318 | 1.7863 | 1 | 3.5726 | 14.2656 | 15.5706 | 13.138 | 399.0909 | 376.2053 | 3.3303 | 8.8475 | 14.3457 | 38.1123 | 499.9769 | 1500.0978 | 165.631 | 70.3071 | -1.9624 | 0.2762 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1542 | 0.0064249 | 288.7206 | 287.4156 | 240.0156 | -0.55551 | 1.7753 | 25.25 | 16.4025 | 14.9181 | 1.7024 | 0.38502 | 0.62204 | 1.0803 | 0.24443 | 18.9505 | 0.71647 | 41.0352 | 367.1371 | 0.026822 | 23.9683 | 14.2588 | 15.6254 | #DIV/0! | 1303.5333 | 0 | 23.9683 | 0.42209 | 267.6328 | 6.3547 | 1.1637 | 15.6254 | 4.3318 | 1.7863 | 1 | 3.5726 | 14.2588 | 15.6254 | 13.1383 | 399.112 | 376.2732 | 3.3298 | 8.7874 | 14.3502 | 37.8699 | 499.9522 | 1500.0863 | 165.7452 | 70.307 | -1.9624 | 0.2762 | 0.86667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0063547 | 288.7754 | 287.4088 | 240.0138 | -0.53144 | 1.7815 | 25.3391 | 16.5517 | 14.9421 | 1.705 | 0.37747 | 0.61782 | 1.0872 | 0.23956 | 18.8165 | 0.71127 | 40.5677 | 367.2161 | 0.026479
Remark= | "11:02:21 Coolers: Tblock -> 18.00 C"
Remark= | "11:04:00 Flow: Fixed -> 500 umol/s"
Remark= | "11:05:55 Flow: Fixed -> 500 umol/s"
31 | 11:07:40 | 1633.5 | 0 | 24.0478 | 0.37159 | 252.686 | 7.0435 | 1.44 | 19.0488 | 4.3318 | 1.7863 | 1 | 3.5726 | 18.5563 | 19.0488 | 18.0155 | 398.9642 | 375.8345 | 4.943 | 10.9788 | 16.2025 | 35.9867 | 499.9499 | 1500.6614 | 171.1673 | 70.3051 | -1.956 | 0.26806 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0070435 | 292.1988 | 291.7063 | 240.1058 | -0.73897 | 2.2119 | 31.4615 | 20.4827 | 18.8026 | 2.1782 | 0.33658 | 0.77187 | 1.4063 | 0.21325 | 17.7651 | 0.67233 | 39.7511 | 366.7474 | 0.026065
32 | 11:07:40 | 1633.5 | 0 | 24.0478 | 0.37159 | 252.686 | 7.0435 | 1.44 | 19.0488 | 4.3318 | 1.7863 | 1 | 3.5726 | 18.5563 | 19.0488 | 18.0155 | 398.9642 | 375.8345 | 4.943 | 10.9788 | 16.2025 | 35.9867 | 499.9499 | 1500.6614 | 171.1673 | 70.3051 | -1.956 | 0.26806 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0070435 | 292.1988 | 291.7063 | 240.1058 | -0.73897 | 2.2119 | 31.4615 | 20.4827 | 18.8026 | 2.1782 | 0.33658 | 0.77187 | 1.4063 | 0.21325 | 17.7651 | 0.67233 | 39.7511 | 366.7474 | 0.026065
33 | 11:07:41 | 1634 | 0 | 24.017 | 0.37163 | 252.863 | 7.0443 | 1.44 | 19.0489 | 4.3318 | 1.7863 | 1 | 3.5726 | 18.5571 | 19.0489 | 18.0157 | 398.9594 | 375.8576 | 4.9427 | 10.9788 | 16.2007 | 35.9851 | 499.9834 | 1500.6458 | 171.3264 | 70.3052 | -1.956 | 0.26806 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1542 | 0.0070443 | 292.1989 | 291.7071 | 240.1033 | -0.73928 | 2.2119 | 31.4616 | 20.4828 | 18.803 | 2.1782 | 0.33661 | 0.77187 | 1.4063 | 0.21327 | 17.7776 | 0.67276 | 39.7516 | 366.782 | 0.026029
34 | 11:07:41 | 1634 | 0 | 24.017 | 0.37163 | 252.863 | 7.0443 | 1.44 | 19.0489 | 4.3318 | 1.7863 | 1 | 3.5726 | 18.5571 | 19.0489 | 18.0157 | 398.9594 | 375.8576 | 4.9427 | 10.9788 | 16.2007 | 35.9851 | 499.9834 | 1500.6458 | 171.3264 | 70.3052 | -1.956 | 0.26806 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1542 | 0.0070443 | 292.1989 | 291.7071 | 240.1033 | -0.73928 | 2.2119 | 31.4616 | 20.4828 | 18.803 | 2.1782 | 0.33661 | 0.77187 | 1.4063 | 0.21327 | 17.7776 | 0.67276 | 39.7516 | 366.782 | 0.026029
35 | 11:07:42 | 1634.5 | 0 | 24.0744 | 0.37164 | 252.5879 | 7.0441 | 1.44 | 19.0481 | 4.3318 | 1.7863 | 1 | 3.5726 | 18.5577 | 19.0481 | 18.0161 | 398.9951 | 375.8437 | 4.9424 | 10.9783 | 16.1992 | 35.9822 | 499.9848 | 1500.6621 | 171.3895 | 70.3051 | -1.956 | 0.26806 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1542 | 0.0070441 | 292.1981 | 291.7077 | 240.1059 | -0.73902 | 2.2118 | 31.4601 | 20.4817 | 18.8029 | 2.1782 | 0.33662 | 0.77183 | 1.4064 | 0.21328 | 17.7582 | 0.67206 | 39.752 | 366.7465 | 0.026095
36 | 11:07:42 | 1635 | 0 | 24.1471 | 0.37169 | 252.2385 | 7.045 | 1.44 | 19.0483 | 4.3318 | 1.7863 | 1 | 3.5726 | 18.5579 | 19.0483 | 18.0159 | 399.0294 | 375.8139 | 4.9419 | 10.9789 | 16.197 | 35.9831 | 499.9616 | 1500.7144 | 171.2672 | 70.3048 | -1.956 | 0.26806 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1542 | 0.007045 | 292.1983 | 291.7079 | 240.1143 | -0.73934 | 2.2118 | 31.4607 | 20.4818 | 18.8031 | 2.1782 | 0.33667 | 0.77187 | 1.4064 | 0.21331 | 17.7336 | 0.67118 | 39.7538 | 366.6892 | 0.026179
37 | 11:07:43 | 1635.5 | 0 | 24.1913 | 0.37179 | 252.06 | 7.0462 | 1.4399 | 19.048 | 4.3318 | 1.7863 | 1 | 3.5726 | 18.5584 | 19.048 | 18.0162 | 399.0662 | 375.8118 | 4.9417 | 10.9797 | 16.1958 | 35.9848 | 499.9585 | 1500.755 | 171.1765 | 70.3048 | -1.956 | 0.26806 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1542 | 0.0070462 | 292.198 | 291.7084 | 240.1208 | -0.7397 | 2.2118 | 31.4601 | 20.4804 | 18.8032 | 2.1782 | 0.33675 | 0.77192 | 1.4063 | 0.21336 | 17.721 | 0.67071 | 39.7582 | 366.6704 | 0.026231
38 | 11:07:43 | 1636 | 0 | 24.1862 | 0.37172 | 252.0947 | 7.0451 | 1.4399 | 19.0475 | 4.3318 | 1.7863 | 1 | 3.5726 | 18.5591 | 19.0475 | 18.0161 | 399.0941 | 375.8437 | 4.9414 | 10.9786 | 16.1941 | 35.9796 | 499.9444 | 1500.8064 | 171.1655 | 70.3047 | -1.956 | 0.26806 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0070451 | 292.1975 | 291.7091 | 240.129 | -0.73901 | 2.2117 | 31.4592 | 20.4806 | 18.8033 | 2.1783 | 0.33669 | 0.77185 | 1.4064 | 0.21332 | 17.7234 | 0.67074 | 39.7549 | 366.7042 | 0.026221
39 | 11:07:44 | 1636.5 | 0 | 24.1406 | 0.37163 | 252.3082 | 7.0431 | 1.4398 | 19.0466 | 4.3318 | 1.7863 | 1 | 3.5726 | 18.5605 | 19.0466 | 18.0167 | 399.0833 | 375.8717 | 4.9423 | 10.9781 | 16.1957 | 35.9747 | 499.9216 | 1500.7737 | 171.2809 | 70.3048 | -1.956 | 0.26806 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0070431 | 292.1966 | 291.7105 | 240.1238 | -0.73796 | 2.2116 | 31.4574 | 20.4793 | 18.8036 | 2.1783 | 0.33662 | 0.77181 | 1.4065 | 0.21327 | 17.7385 | 0.67126 | 39.754 | 366.7495 | 0.026167
40 | 11:07:44 | 1637 | 0 | 24.1363 | 0.37158 | 252.3577 | 7.0426 | 1.4399 | 19.0475 | 4.3318 | 1.7863 | 1 | 3.5726 | 18.5613 | 19.0475 | 18.017 | 399.1254 | 375.9182 | 4.9432 | 10.9784 | 16.1979 | 35.9741 | 499.9381 | 1500.7235 | 171.3811 | 70.305 | -1.956 | 0.26806 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0070426 | 292.1975 | 291.7113 | 240.1158 | -0.73784 | 2.2117 | 31.459 | 20.4806 | 18.8044 | 2.1784 | 0.33657 | 0.77183 | 1.4066 | 0.21324 | 17.742 | 0.67131 | 39.7524 | 366.7976 | 0.026158
41 | 11:07:45 | 1637.5 | 0 | 24.1426 | 0.3716 | 252.3383 | 7.0432 | 1.4399 | 19.0478 | 4.3318 | 1.7863 | 1 | 3.5726 | 18.5618 | 19.0478 | 18.017 | 399.1342 | 375.9215 | 4.9428 | 10.9785 | 16.1962 | 35.9732 | 499.9412 | 1500.7112 | 171.3618 | 70.305 | -1.956 | 0.26806 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0070432 | 292.1978 | 291.7118 | 240.1138 | -0.73809 | 2.2118 | 31.4596 | 20.4811 | 18.8048 | 2.1785 | 0.33659 | 0.77184 | 1.4066 | 0.21326 | 17.7406 | 0.67125 | 39.7524 | 366.7985 | 0.026165
42 | 11:07:45 | 1638 | 0 | 24.183 | 0.3715 | 252.1144 | 7.0422 | 1.4401 | 19.0486 | 4.3318 | 1.7863 | 1 | 3.5726 | 18.5619 | 19.0486 | 18.0177 | 399.1602 | 375.9122 | 4.943 | 10.9779 | 16.1968 | 35.9715 | 499.9261 | 1500.718 | 171.3656 | 70.3055 | -1.956 | 0.26806 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0070422 | 292.1986 | 291.7119 | 240.1149 | -0.73771 | 2.2119 | 31.4609 | 20.483 | 18.8052 | 2.1785 | 0.33651 | 0.77181 | 1.4067 | 0.21321 | 17.725 | 0.67067 | 39.7479 | 366.7739 | 0.026208
43 | 11:07:46 | 1638.5 | 0 | 24.2245 | 0.37165 | 251.9392 | 7.0448 | 1.4401 | 19.0495 | 4.3318 | 1.7863 | 1 | 3.5726 | 18.5618 | 19.0495 | 18.0174 | 399.1731 | 375.8875 | 4.9418 | 10.9792 | 16.1929 | 35.9761 | 499.9044 | 1500.6251 | 171.3448 | 70.3058 | -1.956 | 0.26806 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0070448 | 292.1995 | 291.7118 | 240.1 | -0.73909 | 2.212 | 31.4626 | 20.4834 | 18.8056 | 2.1786 | 0.33663 | 0.7719 | 1.4067 | 0.21328 | 17.7128 | 0.67025 | 39.7521 | 366.7335 | 0.026258
44 | 11:07:46 | 1639 | 0 | 24.2438 | 0.3717 | 251.8817 | 7.0461 | 1.4402 | 19.0507 | 4.3318 | 1.7863 | 1 | 3.5726 | 18.5621 | 19.0507 | 18.0175 | 399.2083 | 375.907 | 4.9421 | 10.9803 | 16.1938 | 35.9789 | 499.9372 | 1500.5593 | 171.5317 | 70.3058 | -1.956 | 0.26806 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0070461 | 292.2007 | 291.7121 | 240.0895 | -0.73985 | 2.2122 | 31.465 | 20.4847 | 18.8064 | 2.1787 | 0.33667 | 0.77198 | 1.4067 | 0.21331 | 17.7087 | 0.67006 | 39.7534 | 366.7457 | 0.026279
45 | 11:07:47 | 1639.5 | 0 | 24.1988 | 0.37138 | 252.0377 | 7.043 | 1.4407 | 19.0534 | 4.3318 | 1.7863 | 1 | 3.5726 | 18.5627 | 19.0534 | 18.017 | 399.2078 | 375.9464 | 4.9434 | 10.9789 | 16.1976 | 35.9733 | 499.942 | 1500.5341 | 171.6115 | 70.306 | -1.956 | 0.26806 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.007043 | 292.2034 | 291.7127 | 240.0854 | -0.73879 | 2.2125 | 31.4702 | 20.4913 | 18.8081 | 2.1789 | 0.33641 | 0.77188 | 1.407 | 0.21314 | 17.7198 | 0.67041 | 39.7391 | 366.8021 | 0.026217 | 24.1332 | 18.5595 | 19.0488 | #DIV/0! | 1636.1333 | 0 | 24.1332 | 0.37162 | 252.3371 | 7.0441 | 1.44 | 19.0488 | 4.3318 | 1.7863 | 1 | 3.5726 | 18.5595 | 19.0488 | 18.0165 | 399.075 | 375.8708 | 4.9425 | 10.9788 | 16.1976 | 35.9797 | 499.9484 | 1500.6798 | 171.3242 | 70.3052 | -1.956 | 0.26806 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0070441 | 292.1988 | 291.7095 | 240.1088 | -0.73886 | 2.2119 | 31.4614 | 20.4826 | 18.8041 | 2.1784 | 0.33661 | 0.77187 | 1.4065 | 0.21327 | 17.7406 | 0.67134 | 39.7517 | 366.7513 | 0.026158
Remark= | "11:07:57 Coolers: Tblock -> 23.00 C"
Remark= | "11:10:54 Flow: Fixed -> 500 umol/s"
46 | 11:11:44 | 1877 | 0 | 23.4156 | 0.31036 | 236.4766 | 6.9863 | 1.6759 | 21.9223 | 4.3318 | 1.7863 | 1 | 3.5726 | 22.8064 | 21.9223 | 23.0989 | 400.6368 | 378.0597 | 7.7561 | 13.7263 | 19.5664 | 34.6276 | 499.943 | 1500.1042 | 175.2687 | 70.3046 | -2.0872 | 0.24304 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0069863 | 295.0723 | 295.9564 | 240.0167 | -0.56613 | 2.641 | 37.5645 | 23.8382 | 22.3644 | 2.713 | 0.28555 | 0.96502 | 1.748 | 0.18055 | 16.6254 | 0.6255 | 40.0761 | 369.2114 | 0.025417
47 | 11:11:44 | 1877 | 0 | 23.4156 | 0.31036 | 236.4766 | 6.9863 | 1.6759 | 21.9223 | 4.3318 | 1.7863 | 1 | 3.5726 | 22.8064 | 21.9223 | 23.0989 | 400.6368 | 378.0597 | 7.7561 | 13.7263 | 19.5664 | 34.6276 | 499.943 | 1500.1042 | 175.2687 | 70.3046 | -2.0872 | 0.24304 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0069863 | 295.0723 | 295.9564 | 240.0167 | -0.56613 | 2.641 | 37.5645 | 23.8382 | 22.3644 | 2.713 | 0.28555 | 0.96502 | 1.748 | 0.18055 | 16.6254 | 0.6255 | 40.0761 | 369.2114 | 0.025417
48 | 11:11:45 | 1877 | 0 | 23.4156 | 0.31036 | 236.4766 | 6.9863 | 1.6759 | 21.9223 | 4.3318 | 1.7863 | 1 | 3.5726 | 22.8064 | 21.9223 | 23.0989 | 400.6368 | 378.0597 | 7.7561 | 13.7263 | 19.5664 | 34.6276 | 499.943 | 1500.1042 | 175.2687 | 70.3046 | -2.0872 | 0.24304 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0069863 | 295.0723 | 295.9564 | 240.0167 | -0.56613 | 2.641 | 37.5645 | 23.8382 | 22.3644 | 2.713 | 0.28555 | 0.96502 | 1.748 | 0.18055 | 16.6254 | 0.6255 | 40.0761 | 369.2114 | 0.025417
49 | 11:11:45 | 1877.5 | 0 | 23.3998 | 0.31054 | 236.6403 | 6.9898 | 1.6759 | 21.923 | 4.3318 | 1.7863 | 1 | 3.5726 | 22.8073 | 21.923 | 23.0987 | 400.6364 | 378.0705 | 7.755 | 13.7285 | 19.5626 | 34.6313 | 499.9146 | 1500.0166 | 175.3179 | 70.3044 | -2.0872 | 0.24304 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0069898 | 295.073 | 295.9573 | 240.0027 | -0.56774 | 2.6411 | 37.5662 | 23.8377 | 22.3652 | 2.7132 | 0.2857 | 0.96518 | 1.748 | 0.18064 | 16.6369 | 0.62592 | 40.0828 | 369.2282 | 0.025402
50 | 11:11:46 | 1878 | 0 | 23.387 | 0.31074 | 236.7686 | 6.9935 | 1.6758 | 21.9238 | 4.3318 | 1.7863 | 1 | 3.5726 | 22.8079 | 21.9238 | 23.099 | 400.6097 | 378.0519 | 7.7545 | 13.7318 | 19.5607 | 34.6382 | 499.8726 | 1500.024 | 175.2794 | 70.3043 | -2.0872 | 0.24304 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0069935 | 295.0738 | 295.9579 | 240.0038 | -0.56936 | 2.6412 | 37.5681 | 23.8364 | 22.3658 | 2.7133 | 0.28587 | 0.9654 | 1.7479 | 0.18075 | 16.6458 | 0.62629 | 40.092 | 369.2145 | 0.025395
51 | 11:11:46 | 1878.5 | 0 | 23.3816 | 0.31074 | 236.8196 | 6.9949 | 1.6761 | 21.9266 | 4.3318 | 1.7863 | 1 | 3.5726 | 22.8094 | 21.9266 | 23.0986 | 400.6313 | 378.0766 | 7.755 | 13.7337 | 19.5601 | 34.6398 | 499.8511 | 1500.025 | 175.3343 | 70.3041 | -2.0872 | 0.24304 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1539 | 0.0069949 | 295.0766 | 295.9594 | 240.004 | -0.57009 | 2.6416 | 37.5746 | 23.8409 | 22.368 | 2.7136 | 0.28587 | 0.96553 | 1.7481 | 0.18075 | 16.6494 | 0.62638 | 40.0907 | 369.2412 | 0.025387
52 | 11:11:47 | 1879 | 0 | 23.4502 | 0.3108 | 236.4537 | 6.9972 | 1.6763 | 21.9288 | 4.3318 | 1.7863 | 1 | 3.5726 | 22.8116 | 21.9288 | 23.0988 | 400.6744 | 378.0594 | 7.7548 | 13.7355 | 19.5569 | 34.6397 | 499.8453 | 1499.9994 | 175.3456 | 70.3041 | -2.0872 | 0.24304 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1539 | 0.0069972 | 295.0788 | 295.9616 | 239.9999 | -0.57112 | 2.642 | 37.5797 | 23.8442 | 22.3702 | 2.714 | 0.28593 | 0.96566 | 1.7484 | 0.18078 | 16.6237 | 0.62544 | 40.0913 | 369.198 | 0.025465
53 | 11:11:47 | 1879.5 | 0 | 23.482 | 0.31086 | 236.3175 | 6.9995 | 1.6766 | 21.9309 | 4.3318 | 1.7863 | 1 | 3.5726 | 22.8133 | 21.9309 | 23.0994 | 400.7174 | 378.0742 | 7.7546 | 13.7372 | 19.5545 | 34.6404 | 499.8511 | 1499.9829 | 175.3667 | 70.3038 | -2.0872 | 0.24304 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1539 | 0.0069995 | 295.0809 | 295.9633 | 239.9973 | -0.57217 | 2.6423 | 37.5847 | 23.8475 | 22.3721 | 2.7143 | 0.28598 | 0.96578 | 1.7485 | 0.18082 | 16.614 | 0.62506 | 40.0918 | 369.2008 | 0.025499
54 | 11:11:48 | 1880 | 0 | 23.5079 | 0.3109 | 236.2162 | 7.0019 | 1.677 | 21.9344 | 4.3318 | 1.7863 | 1 | 3.5726 | 22.8154 | 21.9344 | 23.1001 | 400.7709 | 378.1042 | 7.7547 | 13.7393 | 19.5523 | 34.6416 | 499.8484 | 1499.9097 | 175.3814 | 70.3043 | -2.0872 | 0.24304 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1539 | 0.0070019 | 295.0844 | 295.9654 | 239.9855 | -0.57343 | 2.6429 | 37.5923 | 23.853 | 22.3749 | 2.7148 | 0.28601 | 0.96593 | 1.7488 | 0.18084 | 16.607 | 0.62474 | 40.0904 | 369.221 | 0.025525
55 | 11:11:48 | 1880.5 | 0 | 23.5741 | 0.31099 | 235.8782 | 7.0043 | 1.6771 | 21.9359 | 4.3318 | 1.7863 | 1 | 3.5726 | 22.816 | 21.9359 | 23.0994 | 400.8152 | 378.0912 | 7.7548 | 13.7413 | 19.5517 | 34.645 | 499.8638 | 1499.908 | 175.3523 | 70.3039 | -2.0872 | 0.24304 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1539 | 0.0070043 | 295.0859 | 295.966 | 239.9853 | -0.57458 | 2.6432 | 37.5962 | 23.8549 | 22.376 | 2.715 | 0.28609 | 0.96607 | 1.7489 | 0.18089 | 16.5832 | 0.62387 | 40.093 | 369.183 | 0.025601
56 | 11:11:49 | 1881 | 0 | 23.5877 | 0.31097 | 235.8171 | 7.0046 | 1.6772 | 21.9367 | 4.3318 | 1.7863 | 1 | 3.5726 | 22.8181 | 21.9367 | 23.099 | 400.8455 | 378.1113 | 7.755 | 13.7412 | 19.5497 | 34.6405 | 499.9055 | 1499.9167 | 175.37 | 70.3037 | -2.0872 | 0.24304 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0070046 | 295.0867 | 295.9681 | 239.9867 | -0.57455 | 2.6433 | 37.5981 | 23.8568 | 22.3774 | 2.7152 | 0.28607 | 0.96606 | 1.7491 | 0.18088 | 16.5788 | 0.62367 | 40.0908 | 369.198 | 0.025614
57 | 11:11:49 | 1881.5 | 0 | 23.5754 | 0.31084 | 235.8389 | 7.0044 | 1.6779 | 21.9407 | 4.3318 | 1.7863 | 1 | 3.5726 | 22.8187 | 21.9407 | 23.0991 | 400.8471 | 378.1239 | 7.7554 | 13.7414 | 19.55 | 34.6396 | 499.9119 | 1499.939 | 175.3697 | 70.304 | -2.0872 | 0.24304 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0070044 | 295.0907 | 295.9687 | 239.9902 | -0.57477 | 2.6439 | 37.607 | 23.8657 | 22.3797 | 2.7156 | 0.28596 | 0.96607 | 1.7495 | 0.1808 | 16.5804 | 0.62371 | 40.0805 | 369.2152 | 0.025592
58 | 11:11:50 | 1882 | 0 | 23.5825 | 0.31066 | 235.7474 | 7.0032 | 1.6784 | 21.9438 | 4.3318 | 1.7863 | 1 | 3.5726 | 22.8204 | 21.9438 | 23.099 | 400.8741 | 378.1452 | 7.7552 | 13.7401 | 19.5475 | 34.6327 | 499.9182 | 1499.9895 | 175.3652 | 70.3038 | -2.0872 | 0.24304 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0070032 | 295.0938 | 295.9704 | 239.9983 | -0.57433 | 2.6444 | 37.6143 | 23.8742 | 22.3821 | 2.716 | 0.2858 | 0.96598 | 1.75 | 0.18071 | 16.5739 | 0.62343 | 40.0677 | 369.2339 | 0.025591
59 | 11:11:50 | 1882.5 | 0 | 23.5977 | 0.31064 | 235.6692 | 7.0044 | 1.6788 | 21.9466 | 4.3318 | 1.7863 | 1 | 3.5726 | 22.8213 | 21.9466 | 23.0994 | 400.899 | 378.1572 | 7.7555 | 13.7412 | 19.5471 | 34.6337 | 499.9354 | 1499.921 | 175.3724 | 70.3042 | -2.0872 | 0.24304 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0070044 | 295.0966 | 295.9713 | 239.9874 | -0.57517 | 2.6449 | 37.6205 | 23.8793 | 22.384 | 2.7163 | 0.28579 | 0.96606 | 1.7502 | 0.1807 | 16.5685 | 0.6232 | 40.0644 | 369.2401 | 0.025605
60 | 11:11:51 | 1883 | 0 | 23.5953 | 0.31051 | 235.6319 | 7.0038 | 1.6793 | 21.9493 | 4.3318 | 1.7863 | 1 | 3.5726 | 22.8218 | 21.9493 | 23.0991 | 400.9031 | 378.164 | 7.755 | 13.74 | 19.5453 | 34.6297 | 499.9441 | 1499.9421 | 175.4007 | 70.304 | -2.0872 | 0.24304 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0070038 | 295.0993 | 295.9718 | 239.9907 | -0.57509 | 2.6453 | 37.6268 | 23.8868 | 22.3856 | 2.7166 | 0.28568 | 0.96598 | 1.7506 | 0.18062 | 16.5659 | 0.62309 | 40.0534 | 369.2478 | 0.025594 | 23.4912 | 22.8134 | 21.9325 | #DIV/0! | 1879.6 | 0 | 23.4912 | 0.31068 | 236.2152 | 6.9974 | 1.677 | 21.9325 | 4.3318 | 1.7863 | 1 | 3.5726 | 22.8134 | 21.9325 | 23.0991 | 400.7423 | 378.0939 | 7.7552 | 13.7353 | 19.5558 | 34.6357 | 499.8994 | 1499.9924 | 175.3374 | 70.3042 | -2.0872 | 0.24304 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0069974 | 295.0825 | 295.9634 | 239.9988 | -0.57139 | 2.6426 | 37.5881 | 23.8528 | 22.3729 | 2.7145 | 0.28583 | 0.96565 | 1.7488 | 0.18072 | 16.6069 | 0.62475 | 40.0811 | 369.2171 | 0.025501
Remark= | "11:12:09 Coolers: Tblock -> 28.00 C"
Remark= | "11:15:17 Flow: Fixed -> 500 umol/s"
61 | 11:16:10 | 2143 | 0 | 22.355 | 0.26679 | 221.8357 | 7.2209 | 1.9796 | 25.2836 | 4.3318 | 1.7863 | 1 | 3.5726 | 27.0233 | 25.2836 | 27.9774 | 400.0376 | 378.2992 | 11.6955 | 17.841 | 22.9408 | 34.9954 | 499.8976 | 1498.7257 | 179.7042 | 70.3018 | -2.0277 | 0.18907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0072209 | 298.4336 | 300.1733 | 239.7961 | -0.56694 | 3.2338 | 45.9994 | 28.1583 | 26.1535 | 3.405 | 0.24826 | 1.2543 | 2.1508 | 0.15673 | 15.5955 | 0.5864 | 41.161 | 369.8517 | 0.024879
62 | 11:16:10 | 2143 | 0 | 22.355 | 0.26679 | 221.8357 | 7.2209 | 1.9796 | 25.2836 | 4.3318 | 1.7863 | 1 | 3.5726 | 27.0233 | 25.2836 | 27.9774 | 400.0376 | 378.2992 | 11.6955 | 17.841 | 22.9408 | 34.9954 | 499.8976 | 1498.7257 | 179.7042 | 70.3018 | -2.0277 | 0.18907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0072209 | 298.4336 | 300.1733 | 239.7961 | -0.56694 | 3.2338 | 45.9994 | 28.1583 | 26.1535 | 3.405 | 0.24826 | 1.2543 | 2.1508 | 0.15673 | 15.5955 | 0.5864 | 41.161 | 369.8517 | 0.024879
63 | 11:16:11 | 2143.5 | 0 | 22.3852 | 0.26671 | 221.6396 | 7.22 | 1.9799 | 25.2848 | 4.3318 | 1.7863 | 1 | 3.5726 | 27.0249 | 25.2848 | 27.9778 | 400.0984 | 378.3348 | 11.6953 | 17.8398 | 22.9385 | 34.99 | 499.9194 | 1498.6604 | 179.696 | 70.3022 | -2.0277 | 0.18907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.00722 | 298.4348 | 300.1749 | 239.7857 | -0.5666 | 3.2341 | 46.0024 | 28.1626 | 26.1549 | 3.4053 | 0.24819 | 1.2542 | 2.1511 | 0.15668 | 15.5818 | 0.58583 | 41.1546 | 369.8759 | 0.024907
64 | 11:16:11 | 2144 | 0 | 22.4482 | 0.26685 | 221.3091 | 7.2235 | 1.9799 | 25.2853 | 4.3318 | 1.7863 | 1 | 3.5726 | 27.0259 | 25.2853 | 27.9777 | 400.148 | 378.3285 | 11.694 | 17.8415 | 22.9345 | 34.9911 | 499.9149 | 1498.6313 | 179.7132 | 70.302 | -2.0277 | 0.18907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0072235 | 298.4353 | 300.1759 | 239.781 | -0.56806 | 3.2342 | 46.0039 | 28.1624 | 26.1556 | 3.4055 | 0.24831 | 1.2543 | 2.1512 | 0.15676 | 15.5585 | 0.58497 | 41.1591 | 369.8458 | 0.024982
65 | 11:16:12 | 2144.5 | 0 | 22.4975 | 0.26675 | 220.9334 | 7.2215 | 1.98 | 25.2858 | 4.3318 | 1.7863 | 1 | 3.5726 | 27.0268 | 25.2858 | 27.9775 | 400.1717 | 378.3101 | 11.6947 | 17.8406 | 22.9349 | 34.9877 | 499.9122 | 1498.6144 | 179.7206 | 70.3025 | -2.0277 | 0.18907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0072215 | 298.4358 | 300.1768 | 239.7783 | -0.56719 | 3.2343 | 46.005 | 28.1644 | 26.1563 | 3.4056 | 0.24822 | 1.2542 | 2.1514 | 0.1567 | 15.5322 | 0.584 | 41.1547 | 369.8087 | 0.025037
66 | 11:16:12 | 2145 | 0 | 22.4729 | 0.26665 | 221.0399 | 7.2198 | 1.9803 | 25.2868 | 4.3318 | 1.7863 | 1 | 3.5726 | 27.0285 | 25.2868 | 27.9767 | 400.1548 | 378.3157 | 11.6952 | 17.8395 | 22.9336 | 34.9821 | 499.9264 | 1498.5872 | 179.6662 | 70.3028 | -2.0277 | 0.18907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0072198 | 298.4368 | 300.1785 | 239.7739 | -0.56643 | 3.2345 | 46.0075 | 28.168 | 26.1577 | 3.4059 | 0.24813 | 1.2542 | 2.1517 | 0.15664 | 15.5397 | 0.58427 | 41.1487 | 369.8237 | 0.025005
67 | 11:16:13 | 2145.5 | 0 | 22.395 | 0.26652 | 221.4694 | 7.2176 | 1.9806 | 25.288 | 4.3318 | 1.7863 | 1 | 3.5726 | 27.0286 | 25.288 | 27.976 | 400.0977 | 378.326 | 11.6958 | 17.8384 | 22.9347 | 34.9799 | 499.9092 | 1498.6379 | 179.5857 | 70.3031 | -2.0277 | 0.18907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0072176 | 298.438 | 300.1786 | 239.7821 | -0.56552 | 3.2347 | 46.0105 | 28.1721 | 26.1583 | 3.406 | 0.24802 | 1.2541 | 2.1519 | 0.15657 | 15.57 | 0.58539 | 41.142 | 369.8634 | 0.024911
68 | 11:16:13 | 2146 | 0 | 22.3049 | 0.26639 | 222.006 | 7.216 | 1.9811 | 25.29 | 4.3318 | 1.7863 | 1 | 3.5726 | 27.0295 | 25.29 | 27.9766 | 400.0622 | 378.369 | 11.6961 | 17.8373 | 22.9342 | 34.9761 | 499.9135 | 1498.6362 | 179.6206 | 70.3031 | -2.0277 | 0.18907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.007216 | 298.44 | 300.1795 | 239.7818 | -0.56499 | 3.2351 | 46.0161 | 28.1788 | 26.1598 | 3.4063 | 0.2479 | 1.254 | 2.1523 | 0.1565 | 15.6077 | 0.58674 | 41.1331 | 369.9405 | 0.0248
69 | 11:16:14 | 2146.5 | 0 | 22.2878 | 0.2662 | 222.0286 | 7.2137 | 1.9817 | 25.2931 | 4.3318 | 1.7863 | 1 | 3.5726 | 27.0313 | 25.2931 | 27.9774 | 400.0591 | 378.3811 | 11.6974 | 17.8367 | 22.9344 | 34.9713 | 499.9069 | 1498.6106 | 179.6122 | 70.3035 | -2.0277 | 0.18907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0072137 | 298.4431 | 300.1813 | 239.7777 | -0.56415 | 3.2357 | 46.0244 | 28.1877 | 26.1622 | 3.4068 | 0.24774 | 1.254 | 2.1528 | 0.1564 | 15.6094 | 0.58679 | 41.122 | 369.959 | 0.024773
70 | 11:16:14 | 2147 | 0 | 22.3066 | 0.26599 | 221.7902 | 7.211 | 1.9824 | 25.2965 | 4.3318 | 1.7863 | 1 | 3.5726 | 27.0321 | 25.2965 | 27.9773 | 400.0656 | 378.3717 | 11.6982 | 17.8354 | 22.9348 | 34.9669 | 499.8955 | 1498.6672 | 179.625 | 70.3033 | -2.0277 | 0.18907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.007211 | 298.4465 | 300.1821 | 239.7868 | -0.5632 | 3.2363 | 46.0338 | 28.1984 | 26.1643 | 3.4072 | 0.24756 | 1.2539 | 2.1533 | 0.15628 | 15.5926 | 0.58617 | 41.1081 | 369.9425 | 0.024787
71 | 11:16:15 | 2147.5 | 0 | 22.3423 | 0.26585 | 221.4751 | 7.2111 | 1.9834 | 25.3016 | 4.3318 | 1.7863 | 1 | 3.5726 | 27.0337 | 25.3016 | 27.9782 | 400.0769 | 378.352 | 11.6984 | 17.8357 | 22.933 | 34.9643 | 499.8915 | 1498.6334 | 179.697 | 70.3034 | -2.0277 | 0.18907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0072111 | 298.4516 | 300.1837 | 239.7813 | -0.56369 | 3.2373 | 46.0476 | 28.2119 | 26.1676 | 3.4079 | 0.24744 | 1.2539 | 2.154 | 0.15621 | 15.5704 | 0.58537 | 41.0951 | 369.9093 | 0.024821
72 | 11:16:15 | 2148 | 0 | 22.3579 | 0.26564 | 221.2813 | 7.2084 | 1.9841 | 25.3051 | 4.3318 | 1.7863 | 1 | 3.5726 | 27.0346 | 25.3051 | 27.9786 | 400.1049 | 378.368 | 11.6998 | 17.8347 | 22.9346 | 34.9605 | 499.9052 | 1498.6044 | 179.7249 | 70.3034 | -2.0277 | 0.18907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0072084 | 298.4551 | 300.1846 | 239.7767 | -0.56288 | 3.238 | 46.0573 | 28.2226 | 26.1699 | 3.4083 | 0.24725 | 1.2538 | 2.1545 | 0.15609 | 15.5568 | 0.58483 | 41.0815 | 369.9194 | 0.02483
73 | 11:16:16 | 2148.5 | 0 | 22.4004 | 0.26575 | 221.0652 | 7.2124 | 1.9844 | 25.3071 | 4.3318 | 1.7863 | 1 | 3.5726 | 27.0368 | 25.3071 | 27.9789 | 400.1379 | 378.3635 | 11.6982 | 17.8362 | 22.9283 | 34.9589 | 499.9215 | 1498.5927 | 179.7147 | 70.303 | -2.0277 | 0.18907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0072124 | 298.4571 | 300.1868 | 239.7748 | -0.56458 | 3.2384 | 46.063 | 28.2268 | 26.172 | 3.4087 | 0.24735 | 1.2539 | 2.1548 | 0.15615 | 15.5416 | 0.58427 | 41.0816 | 369.8989 | 0.024878
74 | 11:16:16 | 2149 | 0 | 22.4141 | 0.26578 | 221.0083 | 7.214 | 1.9846 | 25.3085 | 4.3318 | 1.7863 | 1 | 3.5726 | 27.0376 | 25.3085 | 27.9793 | 400.1679 | 378.3804 | 11.6978 | 17.8373 | 22.9263 | 34.9591 | 499.9073 | 1498.6256 | 179.8473 | 70.3024 | -2.0277 | 0.18907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.007214 | 298.4585 | 300.1876 | 239.7801 | -0.56526 | 3.2386 | 46.0673 | 28.23 | 26.1731 | 3.409 | 0.24738 | 1.254 | 2.155 | 0.15617 | 15.5374 | 0.58409 | 41.0808 | 369.9106 | 0.024892
75 | 11:16:17 | 2149.5 | 0 | 22.4059 | 0.26557 | 220.9499 | 7.2106 | 1.9852 | 25.3105 | 4.3318 | 1.7863 | 1 | 3.5726 | 27.0395 | 25.3105 | 27.9797 | 400.1613 | 378.3811 | 11.6982 | 17.8351 | 22.9244 | 34.9507 | 499.8864 | 1498.6511 | 179.8715 | 70.302 | -2.0277 | 0.18907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0072106 | 298.4605 | 300.1895 | 239.7842 | -0.56377 | 3.239 | 46.0729 | 28.2378 | 26.175 | 3.4094 | 0.24719 | 1.2538 | 2.1555 | 0.15605 | 15.5332 | 0.58393 | 41.0682 | 369.9144 | 0.024875 | 22.3819 | 27.0304 | 25.294 | #DIV/0! | 2146.0333 | 0 | 22.3819 | 0.26628 | 221.4445 | 7.2161 | 1.9818 | 25.294 | 4.3318 | 1.7863 | 1 | 3.5726 | 27.0304 | 25.294 | 27.9778 | 400.1054 | 378.3454 | 11.6967 | 17.838 | 22.9339 | 34.9753 | 499.907 | 1498.6403 | 179.7002 | 70.3027 | -2.0277 | 0.18907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0072161 | 298.444 | 300.1804 | 239.7824 | -0.56535 | 3.2358 | 46.0274 | 28.1893 | 26.1622 | 3.4068 | 0.24781 | 1.2541 | 2.1527 | 0.15644 | 15.5681 | 0.5853 | 41.1234 | 369.8877 | 0.024884
Remark= | "11:16:33 Coolers: Tblock -> 33.00 C"
Remark= | "11:19:46 Flow: Fixed -> 500 umol/s"
76 | 11:20:24 | 2397 | 0 | 20.6154 | 0.21006 | 200.2298 | 6.6778 | 2.2728 | 28.5156 | 4.3318 | 1.7863 | 1 | 3.5726 | 31.3706 | 28.5156 | 33.0594 | 400.7395 | 380.6733 | 17.642 | 23.2936 | 26.9177 | 35.5407 | 499.9093 | 1500.5131 | 183.1534 | 70.3013 | -1.9805 | 0.12349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0066778 | 301.6656 | 304.5206 | 240.0821 | -0.19442 | 3.9104 | 55.6237 | 32.3301 | 29.9431 | 4.2465 | 0.1984 | 1.6376 | 2.609 | 0.125 | 14.0764 | 0.52599 | 42.8499 | 372.8831 | 0.02369
77 | 11:20:24 | 2397 | 0 | 20.6154 | 0.21006 | 200.2298 | 6.6778 | 2.2728 | 28.5156 | 4.3318 | 1.7863 | 1 | 3.5726 | 31.3706 | 28.5156 | 33.0594 | 400.7395 | 380.6733 | 17.642 | 23.2936 | 26.9177 | 35.5407 | 499.9093 | 1500.5131 | 183.1534 | 70.3013 | -1.9805 | 0.12349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0066778 | 301.6656 | 304.5206 | 240.0821 | -0.19442 | 3.9104 | 55.6237 | 32.3301 | 29.9431 | 4.2465 | 0.1984 | 1.6376 | 2.609 | 0.125 | 14.0764 | 0.52599 | 42.8499 | 372.8831 | 0.02369
78 | 11:20:25 | 2397.5 | 0 | 20.531 | 0.20982 | 200.7098 | 6.6778 | 2.2753 | 28.5268 | 4.3318 | 1.7863 | 1 | 3.5726 | 31.372 | 28.5268 | 33.0604 | 400.6863 | 380.6927 | 17.6427 | 23.2944 | 26.9166 | 35.5391 | 499.9001 | 1500.5286 | 183.085 | 70.3013 | -1.9805 | 0.12349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0066778 | 301.6768 | 304.522 | 240.0846 | -0.19551 | 3.913 | 55.6597 | 32.3654 | 29.9494 | 4.2481 | 0.19818 | 1.6376 | 2.6105 | 0.12486 | 14.1102 | 0.52722 | 42.8197 | 372.9345 | 0.023573
79 | 11:20:25 | 2398 | 0 | 20.4926 | 0.20962 | 200.8704 | 6.6769 | 2.2771 | 28.5347 | 4.3318 | 1.7863 | 1 | 3.5726 | 31.3734 | 28.5347 | 33.0602 | 400.6707 | 380.7108 | 17.6441 | 23.295 | 26.9168 | 35.5374 | 499.9042 | 1500.4988 | 183.0671 | 70.3018 | -1.9805 | 0.12349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0066769 | 301.6847 | 304.5234 | 240.0798 | -0.19591 | 3.9147 | 55.6848 | 32.3898 | 29.954 | 4.2492 | 0.198 | 1.6377 | 2.6115 | 0.12474 | 14.1215 | 0.52762 | 42.7986 | 372.9671 | 0.023516
80 | 11:20:26 | 2398.5 | 0 | 20.5197 | 0.20937 | 200.445 | 6.675 | 2.279 | 28.5428 | 4.3318 | 1.7863 | 1 | 3.5726 | 31.3754 | 28.5428 | 33.0607 | 400.6767 | 380.6939 | 17.6449 | 23.2942 | 26.915 | 35.5323 | 499.9037 | 1500.5404 | 183.0251 | 70.3018 | -1.9805 | 0.12349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.006675 | 301.6928 | 304.5254 | 240.0865 | -0.19574 | 3.9166 | 55.7113 | 32.4171 | 29.9591 | 4.2505 | 0.19778 | 1.6376 | 2.6128 | 0.1246 | 14.0916 | 0.52653 | 42.773 | 372.94 | 0.023534
81 | 11:20:26 | 2399 | 0 | 20.5853 | 0.20938 | 199.9318 | 6.6773 | 2.2796 | 28.5465 | 4.3318 | 1.7863 | 1 | 3.5726 | 31.3776 | 28.5465 | 33.0611 | 400.7271 | 380.6864 | 17.6462 | 23.2976 | 26.9136 | 35.5328 | 499.894 | 1500.5005 | 183.0988 | 70.3015 | -1.9805 | 0.12349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0066773 | 301.6965 | 304.5276 | 240.0801 | -0.19693 | 3.9174 | 55.7232 | 32.4257 | 29.962 | 4.2512 | 0.19779 | 1.6379 | 2.6133 | 0.12461 | 14.0555 | 0.52519 | 42.7698 | 372.9076 | 0.02361
82 | 11:20:27 | 2399.5 | 0 | 20.5952 | 0.20928 | 199.7709 | 6.6759 | 2.2802 | 28.5491 | 4.3318 | 1.7863 | 1 | 3.5726 | 31.3788 | 28.5491 | 33.0616 | 400.7329 | 380.6836 | 17.6471 | 23.2974 | 26.9128 | 35.5299 | 499.8817 | 1500.4841 | 183.0449 | 70.3012 | -1.9805 | 0.12349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0066759 | 301.6991 | 304.5288 | 240.0775 | -0.19655 | 3.918 | 55.7319 | 32.4345 | 29.964 | 4.2516 | 0.1977 | 1.6378 | 2.6138 | 0.12455 | 14.0441 | 0.52477 | 42.7614 | 372.9011 | 0.023617
83 | 11:20:27 | 2400 | 0 | 20.6483 | 0.20915 | 199.2385 | 6.674 | 2.2808 | 28.5515 | 4.3318 | 1.7863 | 1 | 3.5726 | 31.3803 | 28.5515 | 33.0613 | 400.7555 | 380.6594 | 17.648 | 23.2972 | 26.9118 | 35.5263 | 499.8422 | 1500.5341 | 183.0738 | 70.3008 | -1.9805 | 0.12349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1539 | 0.006674 | 301.7015 | 304.5303 | 240.0854 | -0.19574 | 3.9186 | 55.7401 | 32.4429 | 29.9659 | 4.2521 | 0.19759 | 1.6378 | 2.6143 | 0.12448 | 14.0066 | 0.5234 | 42.7528 | 372.8568 | 0.023676
84 | 11:20:28 | 2400.5 | 0 | 20.6195 | 0.20913 | 199.4474 | 6.672 | 2.2803 | 28.5493 | 4.3318 | 1.7863 | 1 | 3.5726 | 31.3825 | 28.5493 | 33.0614 | 400.7302 | 380.6591 | 17.6492 | 23.2967 | 26.9099 | 35.5208 | 499.828 | 1500.545 | 183.097 | 70.3 | -1.9805 | 0.12349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1539 | 0.006672 | 301.6993 | 304.5325 | 240.0872 | -0.19434 | 3.9181 | 55.7335 | 32.4368 | 29.9659 | 4.2521 | 0.19756 | 1.6378 | 2.6144 | 0.12447 | 14.0212 | 0.52395 | 42.7567 | 372.8674 | 0.023644
85 | 11:20:28 | 2401 | 0 | 20.6151 | 0.20912 | 199.4858 | 6.6713 | 2.2801 | 28.5489 | 4.3318 | 1.7863 | 1 | 3.5726 | 31.3837 | 28.5489 | 33.061 | 400.7343 | 380.6671 | 17.651 | 23.2981 | 26.9109 | 35.5204 | 499.8235 | 1500.512 | 183.206 | 70.3 | -1.9805 | 0.12349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1539 | 0.0066713 | 301.6989 | 304.5337 | 240.0819 | -0.19392 | 3.918 | 55.7325 | 32.4344 | 29.9663 | 4.2522 | 0.19756 | 1.6379 | 2.6144 | 0.12446 | 14.0238 | 0.52404 | 42.7597 | 372.877 | 0.02364
86 | 11:20:29 | 2401.5 | 0 | 20.6276 | 0.20919 | 199.4489 | 6.6739 | 2.2803 | 28.5502 | 4.3318 | 1.7863 | 1 | 3.5726 | 31.3858 | 28.5502 | 33.0611 | 400.7548 | 380.6763 | 17.6511 | 23.3002 | 26.9076 | 35.5192 | 499.8367 | 1500.4583 | 183.213 | 70.2998 | -1.9805 | 0.12349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1539 | 0.0066739 | 301.7002 | 304.5358 | 240.0733 | -0.195 | 3.9183 | 55.7365 | 32.4363 | 29.968 | 4.2526 | 0.19762 | 1.638 | 2.6146 | 0.1245 | 14.0212 | 0.52393 | 42.7613 | 372.8815 | 0.023655
87 | 11:20:29 | 2402 | 0 | 20.6464 | 0.20919 | 199.2862 | 6.6754 | 2.2808 | 28.5532 | 4.3318 | 1.7863 | 1 | 3.5726 | 31.3869 | 28.5532 | 33.0616 | 400.7644 | 380.6682 | 17.6515 | 23.3022 | 26.9064 | 35.5197 | 499.8136 | 1500.47 | 183.2138 | 70.2993 | -1.9805 | 0.12349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1538 | 0.0066754 | 301.7032 | 304.5369 | 240.0752 | -0.19587 | 3.919 | 55.7468 | 32.4446 | 29.9701 | 4.2531 | 0.19762 | 1.6381 | 2.615 | 0.1245 | 14.0097 | 0.52352 | 42.7568 | 372.8664 | 0.023675
88 | 11:20:30 | 2402.5 | 0 | 20.6216 | 0.20929 | 199.5577 | 6.6799 | 2.2813 | 28.556 | 4.3318 | 1.7863 | 1 | 3.5726 | 31.3879 | 28.556 | 33.0608 | 400.7474 | 380.6715 | 17.6506 | 23.305 | 26.9037 | 35.5223 | 499.8188 | 1500.455 | 183.254 | 70.2994 | -1.9805 | 0.12349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1538 | 0.0066799 | 301.706 | 304.5379 | 240.0728 | -0.198 | 3.9196 | 55.7557 | 32.4507 | 29.9719 | 4.2536 | 0.19771 | 1.6383 | 2.6153 | 0.12456 | 14.0288 | 0.52423 | 42.7565 | 372.879 | 0.023646
89 | 11:20:30 | 2403 | 0 | 20.557 | 0.20925 | 200.0251 | 6.6808 | 2.282 | 28.5592 | 4.3318 | 1.7863 | 1 | 3.5726 | 31.3891 | 28.5592 | 33.0608 | 400.6905 | 380.6711 | 17.6502 | 23.3051 | 26.901 | 35.5196 | 499.8418 | 1500.4967 | 183.1925 | 70.2989 | -1.9805 | 0.12349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1539 | 0.0066808 | 301.7092 | 304.5391 | 240.0795 | -0.19854 | 3.9203 | 55.7665 | 32.4614 | 29.9742 | 4.2541 | 0.19767 | 1.6383 | 2.6158 | 0.12454 | 14.0615 | 0.52545 | 42.7477 | 372.903 | 0.023566
90 | 11:20:31 | 2403.5 | 0 | 20.521 | 0.20922 | 200.2817 | 6.6816 | 2.2826 | 28.5622 | 4.3318 | 1.7863 | 1 | 3.5726 | 31.3913 | 28.5622 | 33.0613 | 400.6608 | 380.6732 | 17.6511 | 23.3065 | 26.899 | 35.5172 | 499.8599 | 1500.5183 | 183.2503 | 70.299 | -1.9805 | 0.12349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1539 | 0.0066816 | 301.7122 | 304.5413 | 240.0829 | -0.19891 | 3.921 | 55.7761 | 32.4696 | 29.9768 | 4.2548 | 0.19764 | 1.6384 | 2.6163 | 0.12452 | 14.0796 | 0.52613 | 42.7423 | 372.9187 | 0.02352 | 20.5874 | 31.3804 | 28.5441 | #DIV/0! | 2400.0333 | 0 | 20.5874 | 0.20941 | 199.9306 | 6.6765 | 2.279 | 28.5441 | 4.3318 | 1.7863 | 1 | 3.5726 | 31.3804 | 28.5441 | 33.0608 | 400.7207 | 380.6773 | 17.6475 | 23.2984 | 26.9107 | 35.5279 | 499.8645 | 1500.5045 | 183.1419 | 70.3005 | -1.9805 | 0.12349 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1539 | 0.0066765 | 301.6941 | 304.5304 | 240.0807 | -0.19599 | 3.9169 | 55.7164 | 32.418 | 29.9623 | 4.2512 | 0.19781 | 1.6379 | 2.6133 | 0.12463 | 14.0552 | 0.5252 | 42.7771 | 372.8978 | 0.023617
Remark= | "11:20:47 Coolers: Tblock -> 38.00 C"
Remark= | "11:29:14 Flow: Fixed -> 500 umol/s"
91 | 11:30:46 | 3019.5 | 0 | 15.9048 | 0.13972 | 176.3323 | 5.8 | 2.8796 | 32.7536 | 4.3318 | 1.7863 | 1 | 3.5726 | 36.1014 | 32.7536 | 38.1349 | 399.5064 | 383.7961 | 25.0404 | 29.9158 | 29.3276 | 35.0377 | 499.9184 | 1499.637 | 198.1918 | 70.2977 | -1.2281 | 0.05749 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0058 | 305.9036 | 309.2514 | 239.9419 | 0.251 | 4.9826 | 70.8782 | 40.9625 | 34.4275 | 5.4717 | 0.13446 | 2.103 | 3.3687 | 0.084493 | 12.3958 | 0.45944 | 41.4306 | 377.786 | 0.017442
92 | 11:30:47 | 3019.5 | 0 | 15.9048 | 0.13972 | 176.3323 | 5.8 | 2.8796 | 32.7536 | 4.3318 | 1.7863 | 1 | 3.5726 | 36.1014 | 32.7536 | 38.1349 | 399.5064 | 383.7961 | 25.0404 | 29.9158 | 29.3276 | 35.0377 | 499.9184 | 1499.637 | 198.1918 | 70.2977 | -1.2281 | 0.05749 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0058 | 305.9036 | 309.2514 | 239.9419 | 0.251 | 4.9826 | 70.8782 | 40.9625 | 34.4275 | 5.4717 | 0.13446 | 2.103 | 3.3687 | 0.084493 | 12.3958 | 0.45944 | 41.4306 | 377.786 | 0.017442
93 | 11:30:47 | 3020 | 0 | 15.8901 | 0.13958 | 176.2667 | 5.7991 | 2.8818 | 32.7613 | 4.3318 | 1.7863 | 1 | 3.5726 | 36.1029 | 32.7613 | 38.1353 | 399.4489 | 383.7512 | 25.0395 | 29.9143 | 29.324 | 35.0329 | 499.8972 | 1499.6554 | 198.1599 | 70.2973 | -1.2281 | 0.05749 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0057991 | 305.9113 | 309.2529 | 239.9449 | 0.25067 | 4.9847 | 70.9094 | 40.9951 | 34.4321 | 5.4731 | 0.13433 | 2.1029 | 3.3702 | 0.084411 | 12.3911 | 0.45933 | 41.4066 | 377.7466 | 0.017418
94 | 11:30:48 | 3020.5 | 0 | 16.0808 | 0.13962 | 174.1063 | 5.8014 | 2.8822 | 32.763 | 4.3318 | 1.7863 | 1 | 3.5726 | 36.1038 | 32.763 | 38.1358 | 399.5864 | 383.7222 | 25.04 | 29.9169 | 29.323 | 35.0341 | 499.8771 | 1499.6488 | 198.2107 | 70.2973 | -1.2281 | 0.05749 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0058014 | 305.913 | 309.2538 | 239.9438 | 0.24959 | 4.9852 | 70.9164 | 40.9995 | 34.4334 | 5.4735 | 0.13437 | 2.1031 | 3.3705 | 0.084435 | 12.2392 | 0.45373 | 41.4064 | 377.6456 | 0.017632
95 | 11:30:48 | 3021 | 0 | 16.1197 | 0.13958 | 173.5963 | 5.8003 | 2.8822 | 32.7631 | 4.3318 | 1.7863 | 1 | 3.5726 | 36.1053 | 32.7631 | 38.1358 | 399.5942 | 383.6971 | 25.0405 | 29.9164 | 29.3208 | 35.0302 | 499.8882 | 1499.671 | 198.2849 | 70.2966 | -1.2281 | 0.05749 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0058003 | 305.9131 | 309.2553 | 239.9474 | 0.25026 | 4.9852 | 70.9172 | 41.0009 | 34.4342 | 5.4738 | 0.13434 | 2.103 | 3.3708 | 0.084416 | 12.2032 | 0.45243 | 41.4047 | 377.6058 | 0.017675
96 | 11:30:49 | 3021.5 | 0 | 16.0613 | 0.13955 | 174.1704 | 5.8 | 2.8828 | 32.7653 | 4.3318 | 1.7863 | 1 | 3.5726 | 36.1068 | 32.7653 | 38.1361 | 399.4928 | 383.6472 | 25.0422 | 29.9177 | 29.3205 | 35.029 | 499.9048 | 1499.6632 | 198.2387 | 70.2966 | -1.2281 | 0.05749 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0058 | 305.9153 | 309.2568 | 239.9461 | 0.25028 | 4.9859 | 70.9262 | 41.0085 | 34.436 | 5.4743 | 0.1343 | 2.1031 | 3.3712 | 0.084396 | 12.2436 | 0.45399 | 41.4002 | 377.578 | 0.017611
97 | 11:30:49 | 3022 | 0 | 15.8758 | 0.13953 | 176.2445 | 5.8008 | 2.8835 | 32.7682 | 4.3318 | 1.7863 | 1 | 3.5726 | 36.1086 | 32.7682 | 38.1366 | 399.3124 | 383.6274 | 25.042 | 29.9181 | 29.3173 | 35.026 | 499.9033 | 1499.7421 | 198.1904 | 70.2963 | -1.2281 | 0.05749 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0058008 | 305.9182 | 309.2586 | 239.9587 | 0.24995 | 4.9867 | 70.938 | 41.0198 | 34.4384 | 5.4751 | 0.13428 | 2.1031 | 3.3719 | 0.084383 | 12.3893 | 0.45942 | 41.3931 | 377.6282 | 0.017402
98 | 11:30:50 | 3022.5 | 0 | 15.7942 | 0.13947 | 177.0648 | 5.7999 | 2.8843 | 32.7706 | 4.3318 | 1.7863 | 1 | 3.5726 | 36.1091 | 32.7706 | 38.1355 | 399.2066 | 383.5926 | 25.0417 | 29.9171 | 29.3161 | 35.0237 | 499.9012 | 1499.7406 | 198.2033 | 70.2965 | -1.2281 | 0.05749 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0057999 | 305.9206 | 309.2591 | 239.9585 | 0.25014 | 4.9873 | 70.9472 | 41.0302 | 34.4399 | 5.4755 | 0.13423 | 2.1031 | 3.3724 | 0.084348 | 12.447 | 0.4616 | 41.3848 | 377.6243 | 0.017309
99 | 11:30:50 | 3023 | 0 | 15.7641 | 0.13946 | 177.4083 | 5.7998 | 2.8844 | 32.7708 | 4.3318 | 1.7863 | 1 | 3.5726 | 36.1097 | 32.7708 | 38.1361 | 399.1931 | 383.6048 | 25.0408 | 29.9163 | 29.314 | 35.0215 | 499.888 | 1499.7952 | 198.1385 | 70.2962 | -1.2281 | 0.05749 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0057998 | 305.9208 | 309.2597 | 239.9672 | 0.2503 | 4.9874 | 70.9486 | 41.0323 | 34.4403 | 5.4756 | 0.13422 | 2.103 | 3.3726 | 0.084342 | 12.4711 | 0.46248 | 41.3827 | 377.6478 | 0.017274
100 | 11:30:51 | 3023.5 | 0 | 15.8172 | 0.13946 | 176.8107 | 5.7979 | 2.8835 | 32.7674 | 4.3318 | 1.7863 | 1 | 3.5726 | 36.1101 | 32.7674 | 38.1361 | 399.2454 | 383.6118 | 25.0419 | 29.9157 | 29.3146 | 35.02 | 499.8925 | 1499.8979 | 198.1046 | 70.296 | -1.2281 | 0.05749 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0057979 | 305.9174 | 309.2601 | 239.9837 | 0.25171 | 4.9865 | 70.9352 | 41.0195 | 34.4387 | 5.4752 | 0.13422 | 2.103 | 3.3722 | 0.084341 | 12.4291 | 0.46091 | 41.3904 | 377.6347 | 0.017336
101 | 11:30:51 | 3024 | 0 | 15.7666 | 0.13943 | 177.4141 | 5.7958 | 2.8831 | 32.7656 | 4.3318 | 1.7863 | 1 | 3.5726 | 36.1102 | 32.7656 | 38.1362 | 399.2589 | 383.6696 | 25.0423 | 29.9144 | 29.3151 | 35.0184 | 499.8943 | 1499.8976 | 198.098 | 70.2965 | -1.2281 | 0.05749 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0057958 | 305.9156 | 309.2602 | 239.9836 | 0.25282 | 4.9859 | 70.9273 | 41.0129 | 34.4379 | 5.4749 | 0.13419 | 2.1029 | 3.372 | 0.084325 | 12.4716 | 0.46241 | 41.393 | 377.7118 | 0.017278
102 | 11:30:52 | 3024.5 | 0 | 15.7185 | 0.13934 | 177.9278 | 5.7922 | 2.883 | 32.7643 | 4.3318 | 1.7863 | 1 | 3.5726 | 36.1097 | 32.7643 | 38.1362 | 399.2893 | 383.7423 | 25.0413 | 29.9105 | 29.3147 | 35.0148 | 499.8862 | 1499.9047 | 198.0847 | 70.2966 | -1.2281 | 0.05749 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0057922 | 305.9143 | 309.2597 | 239.9847 | 0.25444 | 4.9856 | 70.9221 | 41.0117 | 34.437 | 5.4746 | 0.13411 | 2.1026 | 3.372 | 0.084276 | 12.5077 | 0.46366 | 41.3895 | 377.8026 | 0.01722
103 | 11:30:52 | 3025 | 0 | 15.8572 | 0.13944 | 176.5254 | 5.7958 | 2.8828 | 32.7642 | 4.3318 | 1.7863 | 1 | 3.5726 | 36.1094 | 32.7642 | 38.136 | 399.4793 | 383.8103 | 25.0397 | 29.9119 | 29.3137 | 35.0176 | 499.8763 | 1499.8956 | 197.9502 | 70.2973 | -1.2281 | 0.05749 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0057958 | 305.9142 | 309.2594 | 239.9833 | 0.25289 | 4.9856 | 70.921 | 41.0091 | 34.4368 | 5.4746 | 0.1342 | 2.1027 | 3.3718 | 0.084333 | 12.4093 | 0.45993 | 41.3938 | 377.8182 | 0.017373
104 | 11:30:53 | 3025.5 | 0 | 16.0216 | 0.13959 | 174.9564 | 5.7983 | 2.8811 | 32.7582 | 4.3318 | 1.7863 | 1 | 3.5726 | 36.1109 | 32.7582 | 38.1361 | 399.7442 | 383.9328 | 25.0385 | 29.9123 | 29.3096 | 35.0149 | 499.9251 | 1499.9302 | 198.1008 | 70.297 | -1.2281 | 0.05749 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0057983 | 305.9082 | 309.2609 | 239.9888 | 0.25279 | 4.9839 | 70.8973 | 40.985 | 34.4346 | 5.4739 | 0.13434 | 2.1027 | 3.3712 | 0.08442 | 12.2989 | 0.4557 | 41.4118 | 377.8785 | 0.017558
105 | 11:30:53 | 3026 | 0 | 16.3123 | 0.1397 | 171.8479 | 5.8012 | 2.8804 | 32.756 | 4.3318 | 1.7863 | 1 | 3.5726 | 36.1099 | 32.756 | 38.1361 | 400.0734 | 384.0091 | 25.0381 | 29.9142 | 29.3112 | 35.0195 | 499.9385 | 1499.86 | 198.1454 | 70.2976 | -1.2281 | 0.05749 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.1541 | 0.0058012 | 305.906 | 309.2599 | 239.9776 | 0.25158 | 4.9833 | 70.8881 | 40.9739 | 34.4329 | 5.4734 | 0.13445 | 2.1029 | 3.3705 | 0.084486 | 12.0805 | 0.44751 | 41.422 | 377.845 | 0.017883 | 15.9259 | 36.1073 | 32.763 | #DIV/0! | 3022.5333 | 0 | 15.9259 | 0.13955 | 175.8003 | 5.7988 | 2.8823 | 32.763 | 4.3318 | 1.7863 | 1 | 3.5726 | 36.1073 | 32.763 | 38.1359 | 399.4625 | 383.734 | 25.0406 | 29.9151 | 29.318 | 35.0252 | 499.9006 | 1499.7717 | 198.1529 | 70.2969 | -1.2281 | 0.05749 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.154 | 0.0057988 | 305.913 | 309.2573 | 239.9635 | 0.2513 | 4.9852 | 70.9167 | 41.0016 | 34.4351 | 5.4741 | 0.1343 | 2.1029 | 3.3711 | 0.084393 | 12.3582 | 0.45813 | 41.4027 | 377.716 | 0.017457