## stm-plipo1_
OPEN 6.2.4
Sat Jun 27 2015 13:04:12
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "13:08:43 CO2 Mixer: CO2R -> 400 uml"
Remark= | "13:08:50 Coolers: Tblock -> 0.00 C"
Remark= | "13:08:56 Lamp: ParIn -> 1500 uml"
Remark= | "13:20:59 Flow: Fixed -> 500 umol/s"
Remark= | "13:24:46 Coolers: Tblock -> 8.65 C"
Remark= | "13:25:35 Flow: Fixed -> 500 umol/s"
1 | 13:26:51 | 1374.5 | 0 | 15.8459 | 0.27206 | 276.4948 | 4.6081 | 1.259 | 15.1082 | 4.0444 | 1.8494 | 1 | 3.6988 | 11.0896 | 15.1082 | 8.6197 | 399.3434 | 385.0851 | 2.8982 | 6.6024 | 15.3795 | 35.0358 | 499.8024 | 1499.2393 | 311.6686 | 70.3303 | -1.0562 | 0.33377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0046081 | 288.2582 | 284.2396 | 239.8783 | -0.037544 | 1.7233 | 24.5034 | 17.9009 | 13.0989 | 1.5129 | 0.25342 | 0.46435 | 1.0485 | 0.15996 | 19.446 | 0.71801 | 30.8751 | 379.3016 | 0.012899
2 | 13:26:51 | 1374.5 | 0 | 15.8459 | 0.27206 | 276.4948 | 4.6081 | 1.259 | 15.1082 | 4.0444 | 1.8494 | 1 | 3.6988 | 11.0896 | 15.1082 | 8.6197 | 399.3434 | 385.0851 | 2.8982 | 6.6024 | 15.3795 | 35.0358 | 499.8024 | 1499.2393 | 311.6686 | 70.3303 | -1.0562 | 0.33377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0046081 | 288.2582 | 284.2396 | 239.8783 | -0.037544 | 1.7233 | 24.5034 | 17.9009 | 13.0989 | 1.5129 | 0.25342 | 0.46435 | 1.0485 | 0.15996 | 19.446 | 0.71801 | 30.8751 | 379.3016 | 0.012899
3 | 13:26:52 | 1375 | 0 | 15.8315 | 0.27219 | 276.6576 | 4.6067 | 1.2581 | 15.0989 | 4.0444 | 1.8494 | 1 | 3.6988 | 11.0895 | 15.0989 | 8.6207 | 399.3548 | 385.1086 | 2.8979 | 6.601 | 15.378 | 35.0285 | 499.8031 | 1499.1837 | 311.7423 | 70.3307 | -1.0562 | 0.33377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0046067 | 288.2489 | 284.2395 | 239.8694 | -0.036144 | 1.7223 | 24.4887 | 17.8877 | 13.0942 | 1.5124 | 0.25353 | 0.46425 | 1.0482 | 0.16003 | 19.4575 | 0.71839 | 30.8877 | 379.3303 | 0.012891
4 | 13:26:52 | 1375.5 | 0 | 15.821 | 0.27223 | 276.7273 | 4.606 | 1.2577 | 15.095 | 4.0444 | 1.8494 | 1 | 3.6988 | 11.089 | 15.095 | 8.6211 | 399.3346 | 385.0977 | 2.8975 | 6.5999 | 15.3762 | 35.0236 | 499.8242 | 1499.2512 | 311.7693 | 70.3304 | -1.0562 | 0.33377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.004606 | 288.245 | 284.239 | 239.8802 | -0.035429 | 1.7219 | 24.4826 | 17.8828 | 13.092 | 1.5122 | 0.25356 | 0.46417 | 1.048 | 0.16005 | 19.4623 | 0.71859 | 30.8906 | 379.3233 | 0.012884
5 | 13:26:53 | 1375.5 | 0 | 15.821 | 0.27223 | 276.7273 | 4.606 | 1.2577 | 15.095 | 4.0444 | 1.8494 | 1 | 3.6988 | 11.089 | 15.095 | 8.6211 | 399.3346 | 385.0977 | 2.8975 | 6.5999 | 15.3762 | 35.0236 | 499.8242 | 1499.2512 | 311.7693 | 70.3304 | -1.0562 | 0.33377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.004606 | 288.245 | 284.239 | 239.8802 | -0.035429 | 1.7219 | 24.4826 | 17.8828 | 13.092 | 1.5122 | 0.25356 | 0.46417 | 1.048 | 0.16005 | 19.4623 | 0.71859 | 30.8906 | 379.3233 | 0.012884
6 | 13:26:53 | 1376 | 0 | 15.8077 | 0.27206 | 276.7502 | 4.607 | 1.2587 | 15.104 | 4.0444 | 1.8494 | 1 | 3.6988 | 11.0881 | 15.104 | 8.6211 | 399.3302 | 385.1037 | 2.897 | 6.6001 | 15.3742 | 35.0269 | 499.8233 | 1499.2599 | 311.7475 | 70.3303 | -1.0562 | 0.33377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.004607 | 288.254 | 284.2381 | 239.8816 | -0.036778 | 1.7229 | 24.4968 | 17.8967 | 13.0961 | 1.5126 | 0.25342 | 0.46419 | 1.0484 | 0.15996 | 19.4639 | 0.71864 | 30.8733 | 379.3341 | 0.012866
7 | 13:26:54 | 1376.5 | 0 | 15.7492 | 0.27172 | 277.0124 | 4.6062 | 1.2599 | 15.1144 | 4.0444 | 1.8494 | 1 | 3.6988 | 11.0882 | 15.1144 | 8.6216 | 399.3054 | 385.127 | 2.8967 | 6.5991 | 15.3725 | 35.0211 | 499.8433 | 1499.3944 | 311.6579 | 70.3302 | -1.0562 | 0.33377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0046062 | 288.2644 | 284.2382 | 239.9031 | -0.037258 | 1.724 | 24.5132 | 17.9141 | 13.1013 | 1.5131 | 0.25313 | 0.46411 | 1.049 | 0.15978 | 19.4823 | 0.71928 | 30.8459 | 379.3787 | 0.012805
8 | 13:26:54 | 1377 | 0 | 15.7311 | 0.27146 | 277.0404 | 4.6061 | 1.261 | 15.124 | 4.0444 | 1.8494 | 1 | 3.6988 | 11.0886 | 15.124 | 8.6218 | 399.3052 | 385.1411 | 2.8961 | 6.5985 | 15.3693 | 35.0173 | 499.8333 | 1499.3138 | 311.6985 | 70.3306 | -1.0562 | 0.33377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0046061 | 288.274 | 284.2386 | 239.8902 | -0.038235 | 1.7251 | 24.5282 | 17.9297 | 13.1063 | 1.5136 | 0.2529 | 0.46408 | 1.0495 | 0.15963 | 19.4844 | 0.71932 | 30.823 | 379.3995 | 0.01278
9 | 13:26:55 | 1377.5 | 0 | 15.7326 | 0.27107 | 276.8698 | 4.605 | 1.2624 | 15.1353 | 4.0444 | 1.8494 | 1 | 3.6988 | 11.0893 | 15.1353 | 8.622 | 399.2841 | 385.119 | 2.8956 | 6.5972 | 15.3659 | 35.0086 | 499.8265 | 1499.3485 | 311.6566 | 70.3305 | -1.0562 | 0.33377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.004605 | 288.2853 | 284.2393 | 239.8958 | -0.038776 | 1.7263 | 24.5462 | 17.949 | 13.1123 | 1.5142 | 0.25256 | 0.46398 | 1.0502 | 0.15942 | 19.4724 | 0.71892 | 30.792 | 379.3769 | 0.012769
10 | 13:26:55 | 1378 | 0 | 15.6731 | 0.27072 | 277.1409 | 4.6046 | 1.2638 | 15.1478 | 4.0444 | 1.8494 | 1 | 3.6988 | 11.0899 | 15.1478 | 8.6218 | 399.2719 | 385.1545 | 2.8951 | 6.5965 | 15.3627 | 35.0035 | 499.8108 | 1499.3207 | 311.6302 | 70.3306 | -1.0562 | 0.33377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0046046 | 288.2978 | 284.2399 | 239.8913 | -0.039806 | 1.7277 | 24.5658 | 17.9693 | 13.1189 | 1.5148 | 0.25225 | 0.46393 | 1.0509 | 0.15922 | 19.4915 | 0.71956 | 30.7621 | 379.434 | 0.012707
11 | 13:26:56 | 1378.5 | 0 | 15.6778 | 0.27046 | 277.0124 | 4.6044 | 1.2649 | 15.1567 | 4.0444 | 1.8494 | 1 | 3.6988 | 11.0896 | 15.1567 | 8.6216 | 399.2717 | 385.1508 | 2.8941 | 6.5952 | 15.3573 | 34.9976 | 499.8162 | 1499.3452 | 311.5828 | 70.3307 | -1.0562 | 0.33377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0046044 | 288.3067 | 284.2396 | 239.8952 | -0.040588 | 1.7287 | 24.5797 | 17.9845 | 13.1232 | 1.5153 | 0.25203 | 0.46385 | 1.0514 | 0.15908 | 19.4825 | 0.71923 | 30.7378 | 379.4286 | 0.012701
12 | 13:26:56 | 1379 | 0 | 15.689 | 0.27013 | 276.8025 | 4.6033 | 1.266 | 15.1661 | 4.0444 | 1.8494 | 1 | 3.6988 | 11.0904 | 15.1661 | 8.6211 | 399.2593 | 385.1309 | 2.894 | 6.594 | 15.3563 | 34.9893 | 499.8567 | 1499.4166 | 311.5802 | 70.3302 | -1.0562 | 0.33377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0046033 | 288.3161 | 284.2404 | 239.9067 | -0.04087 | 1.7298 | 24.5947 | 18.0007 | 13.1282 | 1.5158 | 0.25174 | 0.46376 | 1.052 | 0.15889 | 19.4676 | 0.71872 | 30.7115 | 379.4046 | 0.0127
13 | 13:26:57 | 1379.5 | 0 | 15.7055 | 0.26993 | 276.6288 | 4.603 | 1.2668 | 15.1727 | 4.0444 | 1.8494 | 1 | 3.6988 | 11.0907 | 15.1727 | 8.6213 | 399.2723 | 385.1302 | 2.8938 | 6.5936 | 15.3548 | 34.9867 | 499.8455 | 1499.4124 | 311.6454 | 70.3309 | -1.0562 | 0.33377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.004603 | 288.3227 | 284.2407 | 239.906 | -0.041374 | 1.7305 | 24.605 | 18.0114 | 13.1317 | 1.5161 | 0.25157 | 0.46373 | 1.0524 | 0.15879 | 19.4556 | 0.71827 | 30.6956 | 379.398 | 0.012707
14 | 13:26:57 | 1380 | 0 | 15.7757 | 0.26992 | 276.1762 | 4.6018 | 1.2665 | 15.1695 | 4.0444 | 1.8494 | 1 | 3.6988 | 11.0921 | 15.1695 | 8.6214 | 399.3126 | 385.1145 | 2.8936 | 6.5924 | 15.3524 | 34.9771 | 499.8546 | 1499.3997 | 311.6342 | 70.331 | -1.0562 | 0.33377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0046018 | 288.3195 | 284.2421 | 239.9039 | -0.040458 | 1.7301 | 24.6 | 18.0076 | 13.1308 | 1.516 | 0.25156 | 0.46365 | 1.0524 | 0.15878 | 19.4237 | 0.71713 | 30.6963 | 379.3566 | 0.012765
15 | 13:26:58 | 1380.5 | 0 | 15.8348 | 0.27015 | 275.8703 | 4.6006 | 1.2652 | 15.1571 | 4.0444 | 1.8494 | 1 | 3.6988 | 11.0926 | 15.1571 | 8.6217 | 399.3337 | 385.0883 | 2.8936 | 6.5914 | 15.3519 | 34.9707 | 499.8549 | 1499.3699 | 311.7012 | 70.331 | -1.0562 | 0.33377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0046006 | 288.3071 | 284.2426 | 239.8992 | -0.038717 | 1.7288 | 24.5803 | 17.9889 | 13.1248 | 1.5154 | 0.25176 | 0.46358 | 1.0519 | 0.1589 | 19.4022 | 0.71638 | 30.7172 | 379.3088 | 0.012823 | 15.7695 | 11.0897 | 15.1302 | #DIV/0! | 1377.1667 | 0 | 15.7695 | 0.27122 | 276.6937 | 4.6051 | 1.2618 | 15.1302 | 4.0444 | 1.8494 | 1 | 3.6988 | 11.0897 | 15.1302 | 8.6212 | 399.3105 | 385.1156 | 2.8959 | 6.5976 | 15.3671 | 35.0097 | 499.8281 | 1499.3164 | 311.6768 | 70.3305 | -1.0562 | 0.33377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0046051 | 288.2802 | 284.2397 | 239.8906 | -0.03833 | 1.7258 | 24.538 | 17.9405 | 13.11 | 1.514 | 0.25269 | 0.46401 | 1.05 | 0.1595 | 19.46 | 0.71847 | 30.8049 | 379.36 | 0.012805
Remark= | "13:27:05 Coolers: Tblock -> 14.00 C"
Remark= | "13:29:06 Flow: Fixed -> 500 umol/s"
16 | 13:30:34 | 1597 | 0 | 15.9107 | 0.24396 | 264.6026 | 4.6221 | 1.3936 | 17.6405 | 4.0444 | 1.8494 | 1 | 3.6988 | 15.445 | 17.6405 | 14.0852 | 399.5674 | 385.2527 | 5.2707 | 8.9769 | 21.0496 | 35.8515 | 499.839 | 1499.219 | 54.5013 | 70.3305 | -1.774 | 0.326 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0046221 | 290.7905 | 288.595 | 239.875 | 0.12343 | 2.0249 | 28.7914 | 19.8144 | 16.5428 | 1.8889 | 0.22886 | 0.63135 | 1.2576 | 0.14432 | 18.6096 | 0.68683 | 34.1949 | 379.4456 | 0.014338
17 | 13:30:34 | 1597 | 0 | 15.9107 | 0.24396 | 264.6026 | 4.6221 | 1.3936 | 17.6405 | 4.0444 | 1.8494 | 1 | 3.6988 | 15.445 | 17.6405 | 14.0852 | 399.5674 | 385.2527 | 5.2707 | 8.9769 | 21.0496 | 35.8515 | 499.839 | 1499.219 | 54.5013 | 70.3305 | -1.774 | 0.326 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0046221 | 290.7905 | 288.595 | 239.875 | 0.12343 | 2.0249 | 28.7914 | 19.8144 | 16.5428 | 1.8889 | 0.22886 | 0.63135 | 1.2576 | 0.14432 | 18.6096 | 0.68683 | 34.1949 | 379.4456 | 0.014338
18 | 13:30:34 | 1597.5 | 0 | 15.9751 | 0.2441 | 264.2044 | 4.6243 | 1.3935 | 17.6402 | 4.0444 | 1.8494 | 1 | 3.6988 | 15.4457 | 17.6402 | 14.0847 | 399.5974 | 385.2299 | 5.2696 | 8.9777 | 21.0445 | 35.8533 | 499.8325 | 1499.2025 | 54.331 | 70.3309 | -1.774 | 0.326 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0046243 | 290.7902 | 288.5957 | 239.8724 | 0.12256 | 2.0249 | 28.7907 | 19.813 | 16.5429 | 1.8889 | 0.22899 | 0.63141 | 1.2575 | 0.1444 | 18.5817 | 0.68584 | 34.2007 | 379.3992 | 0.014401
19 | 13:30:35 | 1598 | 0 | 15.9502 | 0.24413 | 264.3675 | 4.6245 | 1.3934 | 17.6393 | 4.0444 | 1.8494 | 1 | 3.6988 | 15.4465 | 17.6393 | 14.0848 | 399.5578 | 385.2101 | 5.2691 | 8.9775 | 21.0416 | 35.8506 | 499.822 | 1499.2593 | 54.3815 | 70.3308 | -1.774 | 0.326 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0046245 | 290.7893 | 288.5965 | 239.8815 | 0.12273 | 2.0248 | 28.7891 | 19.8116 | 16.5429 | 1.8889 | 0.22902 | 0.63139 | 1.2575 | 0.14442 | 18.5932 | 0.68629 | 34.2021 | 379.3885 | 0.014379
20 | 13:30:35 | 1598.5 | 0 | 15.9767 | 0.24427 | 264.2319 | 4.6248 | 1.3927 | 17.6338 | 4.0444 | 1.8494 | 1 | 3.6988 | 15.4473 | 17.6338 | 14.0842 | 399.5602 | 385.191 | 5.2684 | 8.977 | 21.0374 | 35.8465 | 499.8208 | 1499.3164 | 54.5109 | 70.3302 | -1.774 | 0.326 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0046248 | 290.7838 | 288.5973 | 239.8906 | 0.12332 | 2.0241 | 28.7794 | 19.8024 | 16.5406 | 1.8887 | 0.22914 | 0.63136 | 1.2573 | 0.1445 | 18.5835 | 0.68598 | 34.2132 | 379.3597 | 0.014409
21 | 13:30:36 | 1599 | 0 | 15.9691 | 0.24439 | 264.3536 | 4.6245 | 1.392 | 17.628 | 4.0444 | 1.8494 | 1 | 3.6988 | 15.4486 | 17.628 | 14.0842 | 399.5673 | 385.2043 | 5.2684 | 8.9768 | 21.0357 | 35.8427 | 499.8203 | 1499.3781 | 54.648 | 70.3306 | -1.774 | 0.326 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0046245 | 290.778 | 288.5986 | 239.9005 | 0.12425 | 2.0233 | 28.7687 | 19.7919 | 16.5383 | 1.8884 | 0.22925 | 0.63134 | 1.257 | 0.14457 | 18.5921 | 0.68627 | 34.2259 | 379.3758 | 0.014407
22 | 13:30:36 | 1599.5 | 0 | 15.9633 | 0.24428 | 264.3435 | 4.624 | 1.3924 | 17.6307 | 4.0444 | 1.8494 | 1 | 3.6988 | 15.4497 | 17.6307 | 14.0845 | 399.5625 | 385.2044 | 5.2676 | 8.9756 | 21.0311 | 35.8352 | 499.8245 | 1499.3931 | 54.7394 | 70.3303 | -1.774 | 0.326 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.004624 | 290.7807 | 288.5997 | 239.9029 | 0.12432 | 2.0237 | 28.7737 | 19.7982 | 16.5402 | 1.8886 | 0.22915 | 0.63125 | 1.2574 | 0.14451 | 18.5914 | 0.68624 | 34.2146 | 379.3781 | 0.014397
23 | 13:30:37 | 1600 | 0 | 15.9868 | 0.24411 | 264.095 | 4.6244 | 1.3935 | 17.6392 | 4.0444 | 1.8494 | 1 | 3.6988 | 15.4505 | 17.6392 | 14.0841 | 399.5732 | 385.1959 | 5.2677 | 8.976 | 21.0304 | 35.8354 | 499.8183 | 1499.3096 | 54.934 | 70.3307 | -1.774 | 0.326 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0046244 | 290.7892 | 288.6005 | 239.8895 | 0.12325 | 2.0247 | 28.7889 | 19.8129 | 16.5448 | 1.8892 | 0.229 | 0.63129 | 1.2579 | 0.14441 | 18.574 | 0.68561 | 34.1971 | 379.3609 | 0.014411
24 | 13:30:37 | 1600.5 | 0 | 15.9734 | 0.2437 | 263.9929 | 4.622 | 1.3949 | 17.6496 | 4.0444 | 1.8494 | 1 | 3.6988 | 15.4513 | 17.6496 | 14.0843 | 399.5557 | 385.1899 | 5.2676 | 8.974 | 21.0289 | 35.8253 | 499.8167 | 1499.3368 | 55.0564 | 70.3303 | -1.774 | 0.326 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.004622 | 290.7996 | 288.6013 | 239.8939 | 0.12335 | 2.0261 | 28.8079 | 19.8339 | 16.5504 | 1.8898 | 0.22863 | 0.63114 | 1.2587 | 0.14418 | 18.5667 | 0.68536 | 34.1632 | 379.3598 | 0.014385
25 | 13:30:38 | 1601 | 0 | 15.9683 | 0.24364 | 263.9994 | 4.6237 | 1.3957 | 17.656 | 4.0444 | 1.8494 | 1 | 3.6988 | 15.4516 | 17.656 | 14.0846 | 399.5521 | 385.1903 | 5.2666 | 8.9742 | 21.0244 | 35.8256 | 499.8307 | 1499.2617 | 55.2012 | 70.3304 | -1.774 | 0.326 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0046237 | 290.806 | 288.6016 | 239.8819 | 0.12189 | 2.0269 | 28.8197 | 19.8454 | 16.5538 | 1.8903 | 0.22858 | 0.63116 | 1.2591 | 0.14415 | 18.5672 | 0.68537 | 34.1505 | 379.3622 | 0.014375
26 | 13:30:38 | 1601.5 | 0 | 15.9559 | 0.2435 | 264.0173 | 4.6232 | 1.3963 | 17.6599 | 4.0444 | 1.8494 | 1 | 3.6988 | 15.4525 | 17.6599 | 14.0847 | 399.5388 | 385.1873 | 5.2659 | 8.9731 | 21.0202 | 35.8187 | 499.8333 | 1499.3055 | 55.3412 | 70.3296 | -1.774 | 0.326 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0046232 | 290.8099 | 288.6025 | 239.8889 | 0.12187 | 2.0274 | 28.827 | 19.8539 | 16.5562 | 1.8905 | 0.22846 | 0.63108 | 1.2595 | 0.14407 | 18.5682 | 0.68543 | 34.1367 | 379.3636 | 0.014358
27 | 13:30:39 | 1602 | 0 | 15.9527 | 0.24343 | 264.031 | 4.6221 | 1.3963 | 17.6599 | 4.0444 | 1.8494 | 1 | 3.6988 | 15.4527 | 17.6599 | 14.0847 | 399.5565 | 385.2081 | 5.2663 | 8.9726 | 21.0221 | 35.8167 | 499.8417 | 1499.2556 | 55.4392 | 70.3303 | -1.774 | 0.326 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0046221 | 290.8099 | 288.6027 | 239.8809 | 0.12229 | 2.0274 | 28.8267 | 19.8541 | 16.5563 | 1.8905 | 0.2284 | 0.63105 | 1.2595 | 0.14403 | 18.5694 | 0.68542 | 34.1343 | 379.3856 | 0.014353
28 | 13:30:39 | 1602.5 | 0 | 15.9263 | 0.24315 | 264.0778 | 4.6211 | 1.3976 | 17.6691 | 4.0444 | 1.8494 | 1 | 3.6988 | 15.4529 | 17.6691 | 14.0849 | 399.5313 | 385.205 | 5.2665 | 8.9719 | 21.0223 | 35.8131 | 499.8551 | 1499.1312 | 55.5666 | 70.3303 | -1.774 | 0.326 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0046211 | 290.8191 | 288.6029 | 239.861 | 0.12162 | 2.0286 | 28.8434 | 19.8715 | 16.561 | 1.8911 | 0.22815 | 0.63099 | 1.2601 | 0.14387 | 18.5727 | 0.68555 | 34.1092 | 379.3921 | 0.014319
29 | 13:30:40 | 1603 | 0 | 15.9421 | 0.243 | 263.8837 | 4.6206 | 1.3982 | 17.6738 | 4.0444 | 1.8494 | 1 | 3.6988 | 15.4525 | 17.6738 | 14.0853 | 399.523 | 385.1846 | 5.2667 | 8.9716 | 21.0236 | 35.8127 | 499.8695 | 1499.0671 | 55.7216 | 70.3303 | -1.774 | 0.326 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.236 | 0.0046206 | 290.8238 | 288.6025 | 239.8507 | 0.12122 | 2.0292 | 28.852 | 19.8804 | 16.5632 | 1.8914 | 0.22802 | 0.63097 | 1.2604 | 0.14379 | 18.559 | 0.68508 | 34.0966 | 379.366 | 0.014328
30 | 13:30:40 | 1603.5 | 0 | 15.9143 | 0.24299 | 264.0523 | 4.6194 | 1.3979 | 17.671 | 4.0444 | 1.8494 | 1 | 3.6988 | 15.4527 | 17.671 | 14.085 | 399.4825 | 385.1668 | 5.2664 | 8.9704 | 21.0222 | 35.8076 | 499.8629 | 1499.1654 | 55.8774 | 70.33 | -1.774 | 0.326 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.236 | 0.0046194 | 290.821 | 288.6027 | 239.8665 | 0.12215 | 2.0288 | 28.847 | 19.8766 | 16.5618 | 1.8912 | 0.22801 | 0.63089 | 1.2603 | 0.14378 | 18.5708 | 0.68555 | 34.0978 | 379.3583 | 0.014304 | 15.9517 | 15.4496 | 17.6488 | #DIV/0! | 1600.0333 | 0 | 15.9517 | 0.24377 | 264.1904 | 4.6229 | 1.3948 | 17.6488 | 4.0444 | 1.8494 | 1 | 3.6988 | 15.4496 | 17.6488 | 14.0847 | 399.5529 | 385.2049 | 5.2679 | 8.9748 | 21.0322 | 35.8324 | 499.8351 | 1499.2547 | 54.9834 | 70.3304 | -1.774 | 0.326 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0046229 | 290.7988 | 288.5996 | 239.8807 | 0.12278 | 2.026 | 28.8065 | 19.8316 | 16.5492 | 1.8897 | 0.2287 | 0.6312 | 1.2585 | 0.14422 | 18.5806 | 0.68584 | 34.1688 | 379.3827 | 0.014367
Remark= | "13:30:48 Coolers: Tblock -> 19.00 C"
Remark= | "13:32:29 Flow: Fixed -> 500 umol/s"
Remark= | "13:33:48 Flow: Fixed -> 500 umol/s"
31 | 13:34:46 | 1850 | 0 | 15.3836 | 0.22306 | 259.3187 | 4.8156 | 1.5734 | 20.2444 | 4.0444 | 1.8494 | 1 | 3.6988 | 19.521 | 20.2444 | 18.9773 | 401.0567 | 387.102 | 7.6506 | 11.502 | 23.6218 | 35.5132 | 499.8734 | 1500.6383 | 317.4678 | 70.3321 | -1.7923 | 0.31294 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.236 | 0.0048156 | 293.3944 | 292.671 | 240.1021 | 0.18775 | 2.3824 | 33.8731 | 22.3712 | 19.8827 | 2.3296 | 0.21038 | 0.80896 | 1.5207 | 0.13257 | 18.2384 | 0.6699 | 36.2665 | 381.4872 | 0.014625
32 | 13:34:47 | 1850 | 0 | 15.3836 | 0.22306 | 259.3187 | 4.8156 | 1.5734 | 20.2444 | 4.0444 | 1.8494 | 1 | 3.6988 | 19.521 | 20.2444 | 18.9773 | 401.0567 | 387.102 | 7.6506 | 11.502 | 23.6218 | 35.5132 | 499.8734 | 1500.6383 | 317.4678 | 70.3321 | -1.7923 | 0.31294 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.236 | 0.0048156 | 293.3944 | 292.671 | 240.1021 | 0.18775 | 2.3824 | 33.8731 | 22.3712 | 19.8827 | 2.3296 | 0.21038 | 0.80896 | 1.5207 | 0.13257 | 18.2384 | 0.6699 | 36.2665 | 381.4872 | 0.014625
33 | 13:34:47 | 1850 | 0 | 15.3836 | 0.22306 | 259.3187 | 4.8156 | 1.5734 | 20.2444 | 4.0444 | 1.8494 | 1 | 3.6988 | 19.521 | 20.2444 | 18.9773 | 401.0567 | 387.102 | 7.6506 | 11.502 | 23.6218 | 35.5132 | 499.8734 | 1500.6383 | 317.4678 | 70.3321 | -1.7923 | 0.31294 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.236 | 0.0048156 | 293.3944 | 292.671 | 240.1021 | 0.18775 | 2.3824 | 33.8731 | 22.3712 | 19.8827 | 2.3296 | 0.21038 | 0.80896 | 1.5207 | 0.13257 | 18.2384 | 0.6699 | 36.2665 | 381.4872 | 0.014625
34 | 13:34:48 | 1850.5 | 0 | 15.3057 | 0.2229 | 259.8592 | 4.8138 | 1.5739 | 20.2474 | 4.0444 | 1.8494 | 1 | 3.6988 | 19.5223 | 20.2474 | 18.9771 | 401.0394 | 387.1487 | 7.6515 | 11.5013 | 23.6228 | 35.5083 | 499.8975 | 1500.6412 | 317.5907 | 70.3319 | -1.7923 | 0.31294 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.236 | 0.0048138 | 293.3974 | 292.6723 | 240.1026 | 0.18831 | 2.3828 | 33.8795 | 22.3781 | 19.8848 | 2.3299 | 0.21023 | 0.80891 | 1.521 | 0.13248 | 18.2764 | 0.67121 | 36.2557 | 381.5624 | 0.014543
35 | 13:34:48 | 1851 | 0 | 15.3094 | 0.22278 | 259.7729 | 4.8116 | 1.574 | 20.2477 | 4.0444 | 1.8494 | 1 | 3.6988 | 19.5235 | 20.2477 | 18.9775 | 401.0434 | 387.1495 | 7.6528 | 11.501 | 23.6248 | 35.5046 | 499.8643 | 1500.696 | 317.7676 | 70.3316 | -1.7923 | 0.31294 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.236 | 0.0048116 | 293.3977 | 292.6735 | 240.1114 | 0.18943 | 2.3828 | 33.8802 | 22.3792 | 19.8856 | 2.33 | 0.21012 | 0.80889 | 1.5212 | 0.13241 | 18.2703 | 0.67099 | 36.2521 | 381.5618 | 0.014545
36 | 13:34:49 | 1851.5 | 0 | 15.368 | 0.22284 | 259.3449 | 4.8126 | 1.5739 | 20.2477 | 4.0444 | 1.8494 | 1 | 3.6988 | 19.5249 | 20.2477 | 18.9775 | 401.0671 | 387.1252 | 7.653 | 11.5021 | 23.6232 | 35.5048 | 499.8492 | 1500.6589 | 317.9022 | 70.3317 | -1.7923 | 0.31294 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0048126 | 293.3977 | 292.6749 | 240.1054 | 0.1891 | 2.3828 | 33.8801 | 22.378 | 19.8863 | 2.3301 | 0.21018 | 0.80896 | 1.5212 | 0.13244 | 18.2402 | 0.66993 | 36.2562 | 381.5161 | 0.014605
37 | 13:34:49 | 1852 | 0 | 15.3624 | 0.22297 | 259.4525 | 4.8151 | 1.5739 | 20.2482 | 4.0444 | 1.8494 | 1 | 3.6988 | 19.5262 | 20.2482 | 18.9773 | 401.0676 | 387.1295 | 7.6524 | 11.5035 | 23.6194 | 35.5062 | 499.8525 | 1500.7084 | 317.9205 | 70.3316 | -1.7923 | 0.31294 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0048151 | 293.3982 | 292.6762 | 240.1133 | 0.18819 | 2.3829 | 33.8813 | 22.3778 | 19.8872 | 2.3303 | 0.21029 | 0.80906 | 1.5212 | 0.13252 | 18.2477 | 0.6702 | 36.2611 | 381.5224 | 0.014601
38 | 13:34:50 | 1852.5 | 0 | 15.4162 | 0.22301 | 259.0615 | 4.817 | 1.5742 | 20.2514 | 4.0444 | 1.8494 | 1 | 3.6988 | 19.527 | 20.2514 | 18.9777 | 401.1022 | 387.1196 | 7.6522 | 11.505 | 23.618 | 35.5094 | 499.8376 | 1500.6852 | 317.9931 | 70.3323 | -1.7923 | 0.31294 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.004817 | 293.4014 | 292.677 | 240.1096 | 0.18712 | 2.3834 | 33.8878 | 22.3828 | 19.8892 | 2.3306 | 0.21033 | 0.80917 | 1.5214 | 0.13254 | 18.2204 | 0.6692 | 36.2595 | 381.493 | 0.014653
39 | 13:34:50 | 1853 | 0 | 15.3853 | 0.22292 | 259.2598 | 4.8159 | 1.5745 | 20.2528 | 4.0444 | 1.8494 | 1 | 3.6988 | 19.5283 | 20.2528 | 18.977 | 401.0927 | 387.1349 | 7.6526 | 11.5046 | 23.6173 | 35.5053 | 499.8194 | 1500.7026 | 318.0319 | 70.3324 | -1.7923 | 0.31294 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0048159 | 293.4028 | 292.6783 | 240.1124 | 0.1876 | 2.3836 | 33.8906 | 22.386 | 19.8906 | 2.3308 | 0.21025 | 0.80914 | 1.5216 | 0.13249 | 18.2344 | 0.66969 | 36.2539 | 381.5195 | 0.01462
40 | 13:34:51 | 1853.5 | 0 | 15.3941 | 0.22293 | 259.1942 | 4.8165 | 1.5746 | 20.254 | 4.0444 | 1.8494 | 1 | 3.6988 | 19.5297 | 20.254 | 18.9769 | 401.0964 | 387.1312 | 7.6526 | 11.5052 | 23.6153 | 35.5039 | 499.8136 | 1500.6851 | 318.1566 | 70.3321 | -1.7923 | 0.31294 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0048165 | 293.404 | 292.6797 | 240.1096 | 0.18735 | 2.3838 | 33.8931 | 22.3879 | 19.8918 | 2.3309 | 0.21025 | 0.80918 | 1.5218 | 0.13249 | 18.2297 | 0.66953 | 36.2533 | 381.5126 | 0.014628
41 | 13:34:51 | 1854 | 0 | 15.4157 | 0.22284 | 258.9961 | 4.8153 | 1.5748 | 20.2548 | 4.0444 | 1.8494 | 1 | 3.6988 | 19.531 | 20.2548 | 18.9772 | 401.1168 | 387.1347 | 7.6529 | 11.5045 | 23.6144 | 35.4989 | 499.8241 | 1500.7405 | 318.3531 | 70.3324 | -1.7923 | 0.31294 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0048153 | 293.4048 | 292.681 | 240.1185 | 0.18798 | 2.3839 | 33.8947 | 22.3902 | 19.8929 | 2.3311 | 0.21018 | 0.80914 | 1.522 | 0.13245 | 18.2158 | 0.66901 | 36.2484 | 381.5082 | 0.014647
42 | 13:34:52 | 1854.5 | 0 | 15.4936 | 0.22309 | 258.5362 | 4.8192 | 1.5744 | 20.2539 | 4.0444 | 1.8494 | 1 | 3.6988 | 19.532 | 20.2539 | 18.9776 | 401.1792 | 387.1324 | 7.6524 | 11.5071 | 23.6112 | 35.505 | 499.8113 | 1500.7347 | 318.5009 | 70.3325 | -1.7923 | 0.31294 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0048192 | 293.4039 | 292.682 | 240.1176 | 0.18653 | 2.3838 | 33.8927 | 22.3856 | 19.893 | 2.3311 | 0.2104 | 0.80932 | 1.5218 | 0.13258 | 18.1835 | 0.66782 | 36.2617 | 381.4775 | 0.014728
43 | 13:34:52 | 1855 | 0 | 15.5257 | 0.22325 | 258.3836 | 4.8229 | 1.5746 | 20.2552 | 4.0444 | 1.8494 | 1 | 3.6988 | 19.5335 | 20.2552 | 18.9773 | 401.2126 | 387.1394 | 7.6508 | 11.5082 | 23.604 | 35.5051 | 499.8346 | 1500.7234 | 318.6293 | 70.3325 | -1.7923 | 0.31294 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0048229 | 293.4052 | 292.6835 | 240.1157 | 0.185 | 2.384 | 33.8956 | 22.3874 | 19.8944 | 2.3313 | 0.21054 | 0.8094 | 1.5219 | 0.13267 | 18.1728 | 0.66742 | 36.2646 | 381.4727 | 0.014759
44 | 13:34:53 | 1855.5 | 0 | 15.54 | 0.22326 | 258.3128 | 4.8236 | 1.5747 | 20.2564 | 4.0444 | 1.8494 | 1 | 3.6988 | 19.5349 | 20.2564 | 18.9773 | 401.257 | 387.1723 | 7.6506 | 11.5085 | 23.6014 | 35.5028 | 499.8512 | 1500.7622 | 318.8138 | 70.3323 | -1.7923 | 0.31294 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0048236 | 293.4064 | 292.6849 | 240.1219 | 0.18479 | 2.3841 | 33.8981 | 22.3896 | 19.8957 | 2.3315 | 0.21055 | 0.80942 | 1.5221 | 0.13268 | 18.1677 | 0.66718 | 36.263 | 381.5005 | 0.014771
45 | 13:34:53 | 1856 | 0 | 15.5475 | 0.22311 | 258.1927 | 4.8216 | 1.5751 | 20.2581 | 4.0444 | 1.8494 | 1 | 3.6988 | 19.5358 | 20.2581 | 18.9778 | 401.2735 | 387.1833 | 7.6506 | 11.5069 | 23.6001 | 35.496 | 499.8521 | 1500.7294 | 319.0739 | 70.3326 | -1.7923 | 0.31294 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0048216 | 293.4081 | 292.6858 | 240.1167 | 0.18547 | 2.3844 | 33.9016 | 22.3947 | 19.897 | 2.3317 | 0.21042 | 0.80931 | 1.5224 | 0.13259 | 18.1594 | 0.66685 | 36.2527 | 381.5088 | 0.014774 | 15.4143 | 19.5275 | 20.2507 | #DIV/0! | 1852.6 | 0 | 15.4143 | 0.223 | 259.0882 | 4.8168 | 1.5742 | 20.2507 | 4.0444 | 1.8494 | 1 | 3.6988 | 19.5275 | 20.2507 | 18.9773 | 401.1145 | 387.1338 | 7.6517 | 11.5043 | 23.6158 | 35.506 | 499.8485 | 1500.6922 | 318.0758 | 70.3321 | -1.7923 | 0.31294 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0048168 | 293.4007 | 292.6775 | 240.1107 | 0.18734 | 2.3833 | 33.8863 | 22.3821 | 19.8891 | 2.3305 | 0.21032 | 0.80912 | 1.5214 | 0.13254 | 18.2222 | 0.66925 | 36.2588 | 381.5078 | 0.01465
Remark= | "13:34:59 Coolers: Tblock -> 24.00 C"
Remark= | "13:37:15 Flow: Fixed -> 500 umol/s"
46 | 13:38:19 | 2062 | 0 | 14.8283 | 0.21107 | 256.351 | 4.988 | 1.71 | 22.4984 | 4.0444 | 1.8494 | 1 | 3.6988 | 23.6048 | 22.4984 | 24.0568 | 400.57 | 387.0065 | 10.5994 | 14.5775 | 25.4898 | 35.0566 | 499.7093 | 1499.9988 | 106.5741 | 70.3321 | -1.81 | 0.29269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2356 | 0.004988 | 295.6484 | 296.7548 | 239.9998 | 0.30527 | 2.7353 | 38.8905 | 24.313 | 23.0516 | 2.8285 | 0.19967 | 1.0253 | 1.8033 | 0.12577 | 18.0297 | 0.66239 | 39.2338 | 381.5944 | 0.015246
47 | 13:38:19 | 2062 | 0 | 14.8283 | 0.21107 | 256.351 | 4.988 | 1.71 | 22.4984 | 4.0444 | 1.8494 | 1 | 3.6988 | 23.6048 | 22.4984 | 24.0568 | 400.57 | 387.0065 | 10.5994 | 14.5775 | 25.4898 | 35.0566 | 499.7093 | 1499.9988 | 106.5741 | 70.3321 | -1.81 | 0.29269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2356 | 0.004988 | 295.6484 | 296.7548 | 239.9998 | 0.30527 | 2.7353 | 38.8905 | 24.313 | 23.0516 | 2.8285 | 0.19967 | 1.0253 | 1.8033 | 0.12577 | 18.0297 | 0.66239 | 39.2338 | 381.5944 | 0.015246
48 | 13:38:19 | 2062.5 | 0 | 14.7116 | 0.21088 | 257.1962 | 4.9844 | 1.7102 | 22.4985 | 4.0444 | 1.8494 | 1 | 3.6988 | 23.6055 | 22.4985 | 24.0568 | 400.5083 | 387.0405 | 10.5996 | 14.5749 | 25.4893 | 35.0487 | 499.7191 | 1499.9685 | 103.5356 | 70.3322 | -1.81 | 0.29269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2356 | 0.0049844 | 295.6485 | 296.7555 | 239.995 | 0.30678 | 2.7353 | 38.8906 | 24.3157 | 23.052 | 2.8286 | 0.19951 | 1.0251 | 1.8035 | 0.12567 | 18.0892 | 0.66452 | 39.2243 | 381.671 | 0.015119
49 | 13:38:20 | 2063 | 0 | 14.7684 | 0.21084 | 256.6979 | 4.9838 | 1.7103 | 22.4991 | 4.0444 | 1.8494 | 1 | 3.6988 | 23.607 | 22.4991 | 24.0571 | 400.5238 | 387.0104 | 10.5993 | 14.574 | 25.4864 | 35.0437 | 499.7211 | 1499.9681 | 100.1815 | 70.3323 | -1.81 | 0.29269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2356 | 0.0049838 | 295.6491 | 296.757 | 239.9949 | 0.30714 | 2.7354 | 38.8918 | 24.3178 | 23.053 | 2.8288 | 0.19947 | 1.025 | 1.8038 | 0.12564 | 18.0542 | 0.66328 | 39.2203 | 381.6202 | 0.015178
50 | 13:38:20 | 2063.5 | 0 | 14.8275 | 0.21084 | 256.2252 | 4.9837 | 1.7103 | 22.4984 | 4.0444 | 1.8494 | 1 | 3.6988 | 23.6082 | 22.4984 | 24.0579 | 400.5578 | 386.997 | 10.5985 | 14.573 | 25.4825 | 35.0386 | 499.7332 | 1499.9601 | 96.5054 | 70.3323 | -1.81 | 0.29269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2356 | 0.0049837 | 295.6484 | 296.7582 | 239.9936 | 0.30737 | 2.7352 | 38.8902 | 24.3172 | 23.0533 | 2.8288 | 0.19947 | 1.025 | 1.8039 | 0.12564 | 18.0209 | 0.66209 | 39.2194 | 381.5852 | 0.01524
51 | 13:38:21 | 2064 | 0 | 14.8244 | 0.21083 | 256.2679 | 4.9832 | 1.7101 | 22.497 | 4.0444 | 1.8494 | 1 | 3.6988 | 23.6082 | 22.497 | 24.0576 | 400.5746 | 387.0175 | 10.5979 | 14.5718 | 25.4812 | 35.0357 | 499.7727 | 1499.9854 | 92.3802 | 70.3321 | -1.81 | 0.29269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2357 | 0.0049832 | 295.647 | 296.7582 | 239.9977 | 0.30775 | 2.735 | 38.887 | 24.3152 | 23.0526 | 2.8287 | 0.19946 | 1.0249 | 1.8038 | 0.12564 | 18.0239 | 0.66216 | 39.2194 | 381.6068 | 0.015236
52 | 13:38:21 | 2064.5 | 0 | 14.8413 | 0.21079 | 256.1051 | 4.9825 | 1.7102 | 22.4967 | 4.0444 | 1.8494 | 1 | 3.6988 | 23.6089 | 22.4967 | 24.057 | 400.5773 | 387.0071 | 10.5973 | 14.5704 | 25.4784 | 35.0308 | 499.7861 | 1499.9622 | 88.1248 | 70.332 | -1.81 | 0.29269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0049825 | 295.6467 | 296.7589 | 239.9939 | 0.30813 | 2.735 | 38.8864 | 24.316 | 23.0528 | 2.8287 | 0.19943 | 1.0248 | 1.804 | 0.12562 | 18.0124 | 0.66176 | 39.2161 | 381.5902 | 0.015252
53 | 13:38:22 | 2065 | 0 | 14.8502 | 0.21069 | 255.9932 | 4.9807 | 1.7104 | 22.4972 | 4.0444 | 1.8494 | 1 | 3.6988 | 23.6094 | 22.4972 | 24.0556 | 400.5939 | 387.0189 | 10.598 | 14.5692 | 25.4796 | 35.0271 | 499.8564 | 1499.8824 | 84.0804 | 70.3322 | -1.81 | 0.29269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0049807 | 295.6472 | 296.7594 | 239.9812 | 0.30874 | 2.735 | 38.8875 | 24.3183 | 23.0533 | 2.8288 | 0.19934 | 1.0247 | 1.8041 | 0.12556 | 18.0046 | 0.66145 | 39.2104 | 381.5988 | 0.015259
54 | 13:38:22 | 2065.5 | 0 | 14.9063 | 0.21075 | 255.563 | 4.9825 | 1.7105 | 22.498 | 4.0444 | 1.8494 | 1 | 3.6988 | 23.6099 | 22.498 | 24.056 | 400.6153 | 386.995 | 10.5967 | 14.5691 | 25.4755 | 35.0256 | 499.8777 | 1499.8317 | 80.6625 | 70.3322 | -1.81 | 0.29269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.236 | 0.0049825 | 295.648 | 296.7599 | 239.9731 | 0.30792 | 2.7352 | 38.8894 | 24.3202 | 23.054 | 2.8289 | 0.19939 | 1.0247 | 1.8043 | 0.12559 | 17.9743 | 0.66038 | 39.2094 | 381.5545 | 0.015318
55 | 13:38:23 | 2066 | 0 | 14.9535 | 0.21079 | 255.1995 | 4.9833 | 1.7104 | 22.4975 | 4.0444 | 1.8494 | 1 | 3.6988 | 23.6104 | 22.4975 | 24.0554 | 400.6349 | 386.9775 | 10.596 | 14.5687 | 25.473 | 35.0234 | 499.923 | 1499.7532 | 77.8646 | 70.3319 | -1.81 | 0.29269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2361 | 0.0049833 | 295.6475 | 296.7604 | 239.9605 | 0.30757 | 2.7351 | 38.8883 | 24.3197 | 23.0539 | 2.8289 | 0.19943 | 1.0246 | 1.8043 | 0.12562 | 17.9487 | 0.65947 | 39.2098 | 381.5197 | 0.015368
56 | 13:38:24 | 2066.5 | 0 | 15.0293 | 0.21082 | 254.6059 | 4.9847 | 1.7108 | 22.4997 | 4.0444 | 1.8494 | 1 | 3.6988 | 23.6101 | 22.4997 | 24.0557 | 400.685 | 386.9658 | 10.5952 | 14.5691 | 25.4716 | 35.0251 | 499.9172 | 1499.6158 | 75.8664 | 70.3321 | -1.81 | 0.29269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2361 | 0.0049847 | 295.6497 | 296.7601 | 239.9385 | 0.30651 | 2.7355 | 38.8934 | 24.3243 | 23.0549 | 2.8291 | 0.19945 | 1.0247 | 1.8044 | 0.12563 | 17.907 | 0.65795 | 39.2063 | 381.4803 | 0.015446
57 | 13:38:24 | 2067 | 0 | 14.995 | 0.21082 | 254.8914 | 4.9848 | 1.7108 | 22.4995 | 4.0444 | 1.8494 | 1 | 3.6988 | 23.61 | 22.4995 | 24.0554 | 400.6736 | 386.9818 | 10.5945 | 14.5686 | 25.4701 | 35.0241 | 499.9096 | 1499.5792 | 74.3475 | 70.3319 | -1.81 | 0.29269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2361 | 0.0049848 | 295.6495 | 296.76 | 239.9327 | 0.30639 | 2.7354 | 38.8931 | 24.3245 | 23.0547 | 2.8291 | 0.19945 | 1.0246 | 1.8044 | 0.12563 | 17.927 | 0.65866 | 39.2055 | 381.5089 | 0.015409
58 | 13:38:25 | 2067.5 | 0 | 14.955 | 0.21083 | 255.2162 | 4.9855 | 1.711 | 22.5001 | 4.0444 | 1.8494 | 1 | 3.6988 | 23.6099 | 22.5001 | 24.0542 | 400.6522 | 386.9923 | 10.593 | 14.5676 | 25.4665 | 35.0218 | 499.9078 | 1499.6182 | 73.2815 | 70.3316 | -1.81 | 0.29269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2361 | 0.0049855 | 295.6501 | 296.7599 | 239.9389 | 0.30609 | 2.7355 | 38.8946 | 24.327 | 23.055 | 2.8291 | 0.19946 | 1.0246 | 1.8046 | 0.12564 | 17.9498 | 0.65949 | 39.2018 | 381.534 | 0.015366
59 | 13:38:25 | 2068 | 0 | 14.9549 | 0.2108 | 255.2075 | 4.9862 | 1.7114 | 22.5027 | 4.0444 | 1.8494 | 1 | 3.6988 | 23.6109 | 22.5027 | 24.0543 | 400.6591 | 386.9994 | 10.5926 | 14.5677 | 25.4639 | 35.0199 | 499.9144 | 1499.5691 | 72.365 | 70.3316 | -1.81 | 0.29269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2361 | 0.0049862 | 295.6527 | 296.7609 | 239.931 | 0.30556 | 2.736 | 38.9008 | 24.3331 | 23.0568 | 2.8294 | 0.19944 | 1.0246 | 1.8049 | 0.12562 | 17.9492 | 0.65945 | 39.1955 | 381.5411 | 0.015363
60 | 13:38:26 | 2068.5 | 0 | 15.0132 | 0.21103 | 254.8733 | 4.9912 | 1.7113 | 22.5034 | 4.0444 | 1.8494 | 1 | 3.6988 | 23.6115 | 22.5034 | 24.0539 | 400.7074 | 386.9994 | 10.5908 | 14.5697 | 25.4589 | 35.0238 | 499.931 | 1499.5333 | 71.7411 | 70.332 | -1.81 | 0.29269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2361 | 0.0049912 | 295.6534 | 296.7615 | 239.9253 | 0.30344 | 2.7361 | 38.9022 | 24.3324 | 23.0574 | 2.8295 | 0.19964 | 1.0247 | 1.8048 | 0.12575 | 17.9258 | 0.65859 | 39.2028 | 381.5198 | 0.015427 | 14.8858 | 23.6086 | 22.499 | #DIV/0! | 2065.0333 | 0 | 14.8858 | 0.21086 | 255.7829 | 4.9848 | 1.7105 | 22.499 | 4.0444 | 1.8494 | 1 | 3.6988 | 23.6086 | 22.499 | 24.056 | 400.6069 | 387.001 | 10.5965 | 14.5713 | 25.4771 | 35.0334 | 499.8259 | 1499.815 | 86.939 | 70.332 | -1.81 | 0.29269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0049848 | 295.649 | 296.7586 | 239.9704 | 0.30666 | 2.7353 | 38.8918 | 24.3205 | 23.0538 | 2.8289 | 0.19949 | 1.0248 | 1.8041 | 0.12565 | 17.9897 | 0.66094 | 39.2139 | 381.568 | 0.015298
Remark= | "13:38:31 Coolers: Tblock -> 29.00 C"
Remark= | "13:42:05 Flow: Fixed -> 500 umol/s"
61 | 13:43:14 | 2357 | 0 | 14.3355 | 0.18441 | 243.406 | 5.0743 | 1.9652 | 25.558 | 4.0444 | 1.8494 | 1 | 3.6988 | 27.8474 | 25.558 | 28.9373 | 400.765 | 387.5749 | 14.7647 | 18.7931 | 27.6096 | 35.1427 | 499.859 | 1499.0729 | 313.6011 | 70.3337 | -2.1252 | 0.25205 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0050743 | 298.708 | 300.9974 | 239.8517 | 0.40051 | 3.287 | 46.7345 | 27.9413 | 26.7027 | 3.5171 | 0.17566 | 1.3218 | 2.1953 | 0.11054 | 17.1196 | 0.62802 | 41.1229 | 382.3427 | 0.015419
62 | 13:43:14 | 2357 | 0 | 14.3355 | 0.18441 | 243.406 | 5.0743 | 1.9652 | 25.558 | 4.0444 | 1.8494 | 1 | 3.6988 | 27.8474 | 25.558 | 28.9373 | 400.765 | 387.5749 | 14.7647 | 18.7931 | 27.6096 | 35.1427 | 499.859 | 1499.0729 | 313.6011 | 70.3337 | -2.1252 | 0.25205 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0050743 | 298.708 | 300.9974 | 239.8517 | 0.40051 | 3.287 | 46.7345 | 27.9413 | 26.7027 | 3.5171 | 0.17566 | 1.3218 | 2.1953 | 0.11054 | 17.1196 | 0.62802 | 41.1229 | 382.3427 | 0.015419
63 | 13:43:15 | 2357.5 | 0 | 14.4193 | 0.18463 | 242.7647 | 5.0804 | 1.9654 | 25.56 | 4.0444 | 1.8494 | 1 | 3.6988 | 27.8482 | 25.56 | 28.9371 | 400.7929 | 387.5326 | 14.7629 | 18.7964 | 27.6049 | 35.147 | 499.8348 | 1499.0914 | 313.565 | 70.3336 | -2.1252 | 0.25205 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0050804 | 298.71 | 300.9982 | 239.8546 | 0.39789 | 3.2874 | 46.7402 | 27.9438 | 26.7041 | 3.5174 | 0.17585 | 1.322 | 2.1954 | 0.11066 | 17.0745 | 0.62644 | 41.1278 | 382.2698 | 0.015514
64 | 13:43:15 | 2358 | 0 | 14.436 | 0.18466 | 242.6392 | 5.0814 | 1.9654 | 25.5603 | 4.0444 | 1.8494 | 1 | 3.6988 | 27.8504 | 25.5603 | 28.9377 | 400.8083 | 387.5343 | 14.7622 | 18.7964 | 27.6 | 35.1426 | 499.838 | 1499.1177 | 313.665 | 70.3335 | -2.1252 | 0.25205 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0050814 | 298.7103 | 301.0004 | 239.8588 | 0.39774 | 3.2875 | 46.7411 | 27.9447 | 26.7054 | 3.5177 | 0.17588 | 1.322 | 2.1957 | 0.11068 | 17.0657 | 0.62611 | 41.1276 | 382.2654 | 0.015532
65 | 13:43:16 | 2358.5 | 0 | 14.469 | 0.18452 | 242.2376 | 5.0816 | 1.9669 | 25.5681 | 4.0444 | 1.8494 | 1 | 3.6988 | 27.8516 | 25.5681 | 28.9378 | 400.8255 | 387.5249 | 14.7626 | 18.797 | 27.5989 | 35.1413 | 499.8445 | 1499.1436 | 313.796 | 70.3338 | -2.1252 | 0.25205 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0050816 | 298.7181 | 301.0016 | 239.863 | 0.39695 | 3.289 | 46.7625 | 27.9655 | 26.7099 | 3.5186 | 0.17575 | 1.3221 | 2.1966 | 0.1106 | 17.0375 | 0.62509 | 41.1079 | 382.244 | 0.01556
66 | 13:43:16 | 2359 | 0 | 14.5024 | 0.18438 | 241.8329 | 5.0809 | 1.968 | 25.5738 | 4.0444 | 1.8494 | 1 | 3.6988 | 27.8525 | 25.5738 | 28.9371 | 400.8468 | 387.518 | 14.7625 | 18.7967 | 27.5974 | 35.1391 | 499.7884 | 1499.1073 | 313.7641 | 70.3339 | -2.1252 | 0.25205 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0050809 | 298.7238 | 301.0025 | 239.8572 | 0.39669 | 3.2901 | 46.7782 | 27.9815 | 26.7131 | 3.5193 | 0.17563 | 1.322 | 2.1973 | 0.11052 | 17.009 | 0.62406 | 41.0915 | 382.2248 | 0.015591
67 | 13:43:17 | 2359.5 | 0 | 14.6135 | 0.1846 | 240.9885 | 5.0862 | 1.9679 | 25.5741 | 4.0444 | 1.8494 | 1 | 3.6988 | 27.8534 | 25.5741 | 28.9368 | 400.9282 | 387.5083 | 14.7611 | 18.7995 | 27.5934 | 35.1424 | 499.8042 | 1499.1232 | 313.8662 | 70.3342 | -2.1252 | 0.25205 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0050862 | 298.7241 | 301.0034 | 239.8597 | 0.39458 | 3.2902 | 46.7789 | 27.9795 | 26.7138 | 3.5194 | 0.17582 | 1.3222 | 2.1972 | 0.11065 | 16.9497 | 0.62189 | 41.0998 | 382.1746 | 0.015716
68 | 13:43:17 | 2360 | 0 | 14.7035 | 0.18474 | 240.2686 | 5.0923 | 1.9688 | 25.5797 | 4.0444 | 1.8494 | 1 | 3.6988 | 27.8546 | 25.5797 | 28.9372 | 400.9863 | 387.4915 | 14.7596 | 18.8029 | 27.5885 | 35.1461 | 499.7944 | 1499.1494 | 313.8427 | 70.3336 | -2.1252 | 0.25205 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0050923 | 298.7297 | 301.0046 | 239.8639 | 0.39162 | 3.2912 | 46.7947 | 27.9918 | 26.7171 | 3.5201 | 0.17596 | 1.3225 | 2.1977 | 0.11073 | 16.899 | 0.62006 | 41.0953 | 382.1249 | 0.015813
69 | 13:43:18 | 2360.5 | 0 | 14.77 | 0.18482 | 239.7277 | 5.0964 | 1.9695 | 25.5843 | 4.0444 | 1.8494 | 1 | 3.6988 | 27.8562 | 25.5843 | 28.9372 | 401.0388 | 387.4887 | 14.7585 | 18.805 | 27.5837 | 35.1468 | 499.7874 | 1499.2046 | 313.7871 | 70.3334 | -2.1252 | 0.25205 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0050964 | 298.7343 | 301.0062 | 239.8727 | 0.38968 | 3.2921 | 46.8076 | 28.0025 | 26.7202 | 3.5208 | 0.17603 | 1.3226 | 2.1981 | 0.11078 | 16.8609 | 0.61867 | 41.0897 | 382.0978 | 0.015883
70 | 13:43:18 | 2361 | 0 | 14.7682 | 0.18466 | 239.6309 | 5.0954 | 1.9708 | 25.5908 | 4.0444 | 1.8494 | 1 | 3.6988 | 27.8579 | 25.5908 | 28.9377 | 401.0473 | 387.4992 | 14.7594 | 18.805 | 27.5827 | 35.1433 | 499.7965 | 1499.23 | 313.6816 | 70.3335 | -2.1252 | 0.25205 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0050954 | 298.7408 | 301.0079 | 239.8768 | 0.38964 | 3.2934 | 46.8257 | 28.0207 | 26.7243 | 3.5216 | 0.17588 | 1.3226 | 2.199 | 0.11068 | 16.8541 | 0.6184 | 41.0712 | 382.109 | 0.015874
71 | 13:43:19 | 2362 | 0 | 14.7232 | 0.18447 | 239.9418 | 5.0925 | 1.9716 | 25.5942 | 4.0444 | 1.8494 | 1 | 3.6988 | 27.8608 | 25.5942 | 28.9373 | 401.058 | 387.5464 | 14.7602 | 18.8037 | 27.5794 | 35.1348 | 499.7746 | 1499.235 | 313.6378 | 70.3331 | -2.1252 | 0.25205 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2357 | 0.0050925 | 298.7442 | 301.0108 | 239.8776 | 0.3908 | 3.2941 | 46.8353 | 28.0316 | 26.7275 | 3.5223 | 0.17571 | 1.3225 | 2.1997 | 0.11057 | 16.8758 | 0.61913 | 41.0572 | 382.1726 | 0.015817
72 | 13:43:19 | 2362.5 | 0 | 14.6511 | 0.18458 | 240.7142 | 5.0954 | 1.9716 | 25.5946 | 4.0444 | 1.8494 | 1 | 3.6988 | 27.862 | 25.5946 | 28.9375 | 401.064 | 387.6099 | 14.7588 | 18.8046 | 27.5749 | 35.1338 | 499.7868 | 1499.1949 | 313.6057 | 70.3331 | -2.1252 | 0.25205 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0050954 | 298.7446 | 301.012 | 239.8712 | 0.38962 | 3.2941 | 46.8364 | 28.0318 | 26.7283 | 3.5224 | 0.17581 | 1.3226 | 2.1999 | 0.11064 | 16.9302 | 0.62102 | 41.0599 | 382.2624 | 0.015737
73 | 13:43:20 | 2363 | 0 | 14.631 | 0.18478 | 241.04 | 5.0987 | 1.9708 | 25.5913 | 4.0444 | 1.8494 | 1 | 3.6988 | 27.8637 | 25.5913 | 28.9378 | 401.0575 | 387.6196 | 14.7579 | 18.8059 | 27.5705 | 35.133 | 499.8262 | 1499.166 | 313.6662 | 70.3332 | -2.1252 | 0.25205 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0050987 | 298.7413 | 301.0137 | 239.8666 | 0.38873 | 3.2935 | 46.8272 | 28.0213 | 26.7275 | 3.5223 | 0.17599 | 1.3227 | 2.1996 | 0.11075 | 16.9531 | 0.62185 | 41.0737 | 382.2795 | 0.01572
74 | 13:43:20 | 2364 | 0 | 14.4936 | 0.18461 | 242.1828 | 5.096 | 1.9715 | 25.5938 | 4.0444 | 1.8494 | 1 | 3.6988 | 27.8666 | 25.5938 | 28.9377 | 400.9917 | 387.6663 | 14.7584 | 18.8041 | 27.5668 | 35.1237 | 499.8499 | 1499.0898 | 313.5168 | 70.3335 | -2.1252 | 0.25205 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.005096 | 298.7438 | 301.0166 | 239.8544 | 0.3898 | 3.294 | 46.8341 | 28.0301 | 26.7302 | 3.5228 | 0.17584 | 1.3226 | 2.2003 | 0.11066 | 17.0336 | 0.62472 | 41.0613 | 382.3763 | 0.015564
75 | 13:43:21 | 2364.5 | 0 | 14.3961 | 0.1846 | 243.0644 | 5.097 | 1.972 | 25.5971 | 4.0444 | 1.8494 | 1 | 3.6988 | 27.8681 | 25.5971 | 28.9378 | 400.9471 | 387.7003 | 14.759 | 18.8054 | 27.5656 | 35.1233 | 499.8584 | 1499.0205 | 313.5901 | 70.3339 | -2.1252 | 0.25205 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.005097 | 298.7471 | 301.0181 | 239.8433 | 0.38908 | 3.2946 | 46.8429 | 28.0375 | 26.7326 | 3.5233 | 0.17583 | 1.3227 | 2.2007 | 0.11065 | 17.0957 | 0.62694 | 41.0562 | 382.4459 | 0.015454 | 14.5499 | 27.856 | 25.5785 | #DIV/0! | 2360.2667 | 0 | 14.5499 | 0.18459 | 241.5897 | 5.0882 | 1.9687 | 25.5785 | 4.0444 | 1.8494 | 1 | 3.6988 | 27.856 | 25.5785 | 28.9374 | 400.9282 | 387.5593 | 14.7608 | 18.8006 | 27.5884 | 35.1388 | 499.8201 | 1499.1346 | 313.6791 | 70.3336 | -2.1252 | 0.25205 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0050882 | 298.7285 | 301.006 | 239.8615 | 0.39359 | 3.291 | 46.7916 | 27.991 | 26.7173 | 3.5202 | 0.17582 | 1.3223 | 2.1978 | 0.11064 | 16.9919 | 0.62336 | 41.091 | 382.2488 | 0.015641
Remark= | "13:43:34 Coolers: Tblock -> 34.00 C"
Remark= | "13:47:25 Flow: Fixed -> 500 umol/s"
76 | 13:48:04 | 2648 | 0 | 13.4623 | 0.16646 | 236.1343 | 5.3094 | 2.2473 | 29.0228 | 4.0444 | 1.8494 | 1 | 3.6988 | 32.3714 | 29.0228 | 34.0151 | 399.5842 | 387.0294 | 21.1188 | 25.3059 | 30.4585 | 36.4973 | 499.8657 | 1500.5662 | 307.3653 | 70.3294 | -1.4613 | 0.16383 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.236 | 0.0053094 | 302.1728 | 305.5214 | 240.0906 | 0.43409 | 4.0271 | 57.2604 | 31.9546 | 30.6971 | 4.434 | 0.15929 | 1.7797 | 2.6543 | 0.10018 | 16.6072 | 0.61012 | 44.2981 | 382.1159 | 0.015607
77 | 13:48:05 | 2648 | 0 | 13.4623 | 0.16646 | 236.1343 | 5.3094 | 2.2473 | 29.0228 | 4.0444 | 1.8494 | 1 | 3.6988 | 32.3714 | 29.0228 | 34.0151 | 399.5842 | 387.0294 | 21.1188 | 25.3059 | 30.4585 | 36.4973 | 499.8657 | 1500.5662 | 307.3653 | 70.3294 | -1.4613 | 0.16383 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.236 | 0.0053094 | 302.1728 | 305.5214 | 240.0906 | 0.43409 | 4.0271 | 57.2604 | 31.9546 | 30.6971 | 4.434 | 0.15929 | 1.7797 | 2.6543 | 0.10018 | 16.6072 | 0.61012 | 44.2981 | 382.1159 | 0.015607
78 | 13:48:05 | 2648.5 | 0 | 13.4757 | 0.16646 | 235.9953 | 5.3093 | 2.2474 | 29.0232 | 4.0444 | 1.8494 | 1 | 3.6988 | 32.3723 | 29.0232 | 34.0149 | 399.5928 | 387.0274 | 21.1193 | 25.3063 | 30.4575 | 36.4958 | 499.8706 | 1500.5088 | 307.3708 | 70.329 | -1.4613 | 0.16383 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.236 | 0.0053093 | 302.1732 | 305.5223 | 240.0814 | 0.4341 | 4.0272 | 57.2619 | 31.9557 | 30.6978 | 4.4342 | 0.15929 | 1.7798 | 2.6544 | 0.10017 | 16.5973 | 0.60976 | 44.2975 | 382.109 | 0.015622
79 | 13:48:06 | 2649 | 0 | 13.399 | 0.16638 | 236.7121 | 5.3065 | 2.2472 | 29.0222 | 4.0444 | 1.8494 | 1 | 3.6988 | 32.3738 | 29.0222 | 34.0159 | 399.5618 | 387.0588 | 21.1207 | 25.3055 | 30.4569 | 36.4916 | 499.857 | 1500.4753 | 307.3831 | 70.3289 | -1.4613 | 0.16383 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0053065 | 302.1722 | 305.5238 | 240.076 | 0.43552 | 4.0269 | 57.2587 | 31.9531 | 30.698 | 4.4343 | 0.15921 | 1.7797 | 2.6546 | 0.10013 | 16.6477 | 0.61157 | 44.2977 | 382.1684 | 0.015531
80 | 13:48:06 | 2649.5 | 0 | 13.3973 | 0.16635 | 236.6815 | 5.306 | 2.2474 | 29.0229 | 4.0444 | 1.8494 | 1 | 3.6988 | 32.3744 | 29.0229 | 34.0154 | 399.535 | 387.0335 | 21.1212 | 25.3057 | 30.4566 | 36.4906 | 499.8495 | 1500.4382 | 307.4249 | 70.3286 | -1.4613 | 0.16383 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.005306 | 302.1729 | 305.5244 | 240.0701 | 0.43565 | 4.0271 | 57.2612 | 31.9555 | 30.6986 | 4.4344 | 0.15919 | 1.7797 | 2.6547 | 0.10011 | 16.6455 | 0.61153 | 44.2957 | 382.1437 | 0.015529
81 | 13:48:07 | 2650 | 0 | 13.3556 | 0.16623 | 236.9962 | 5.306 | 2.2488 | 29.0294 | 4.0444 | 1.8494 | 1 | 3.6988 | 32.3748 | 29.0294 | 34.0154 | 399.508 | 387.0399 | 21.1225 | 25.307 | 30.4573 | 36.4912 | 499.8396 | 1500.4542 | 307.4755 | 70.3282 | -1.4613 | 0.16383 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.005306 | 302.1794 | 305.5248 | 240.0727 | 0.43501 | 4.0286 | 57.2831 | 31.976 | 30.7021 | 4.4353 | 0.15908 | 1.7798 | 2.6555 | 0.10005 | 16.6675 | 0.61233 | 44.2788 | 382.1653 | 0.015474
82 | 13:48:07 | 2650.5 | 0 | 13.4059 | 0.16615 | 236.4195 | 5.3062 | 2.25 | 29.0346 | 4.0444 | 1.8494 | 1 | 3.6988 | 32.3752 | 29.0346 | 34.0146 | 399.5309 | 387.0222 | 21.1234 | 25.3081 | 30.4579 | 36.4919 | 499.8421 | 1500.4557 | 307.4751 | 70.328 | -1.4613 | 0.16383 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0053062 | 302.1846 | 305.5252 | 240.0729 | 0.43437 | 4.0298 | 57.3005 | 31.9924 | 30.7049 | 4.436 | 0.15901 | 1.7799 | 2.6562 | 0.099998 | 16.6269 | 0.61087 | 44.2655 | 382.1293 | 0.015529
83 | 13:48:08 | 2651 | 0 | 13.4107 | 0.16614 | 236.3649 | 5.3049 | 2.2495 | 29.0325 | 4.0444 | 1.8494 | 1 | 3.6988 | 32.3759 | 29.0325 | 34.0146 | 399.5306 | 387.0179 | 21.1236 | 25.3075 | 30.457 | 36.4895 | 499.8235 | 1500.475 | 307.5228 | 70.3278 | -1.4613 | 0.16383 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0053049 | 302.1825 | 305.5259 | 240.076 | 0.43526 | 4.0293 | 57.2937 | 31.9862 | 30.7042 | 4.4358 | 0.159 | 1.7798 | 2.656 | 0.099993 | 16.623 | 0.61073 | 44.2697 | 382.1232 | 0.015537
84 | 13:48:08 | 2651.5 | 0 | 13.4122 | 0.16618 | 236.3986 | 5.303 | 2.2483 | 29.0268 | 4.0444 | 1.8494 | 1 | 3.6988 | 32.3768 | 29.0268 | 34.0152 | 399.543 | 387.0305 | 21.1241 | 25.3062 | 30.4562 | 36.4858 | 499.8548 | 1500.4067 | 307.515 | 70.3277 | -1.4613 | 0.16383 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.005303 | 302.1768 | 305.5268 | 240.0651 | 0.43667 | 4.028 | 57.2748 | 31.9686 | 30.7018 | 4.4352 | 0.15903 | 1.7797 | 2.6555 | 0.10001 | 16.6254 | 0.6108 | 44.2832 | 382.1352 | 0.015543
85 | 13:48:09 | 2652 | 0 | 13.4073 | 0.16604 | 236.3279 | 5.3017 | 2.2494 | 29.032 | 4.0444 | 1.8494 | 1 | 3.6988 | 32.3776 | 29.032 | 34.0149 | 399.5304 | 387.0218 | 21.1257 | 25.3069 | 30.4571 | 36.4853 | 499.8342 | 1500.4764 | 307.4709 | 70.3279 | -1.4613 | 0.16383 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0053017 | 302.182 | 305.5276 | 240.0762 | 0.43682 | 4.0292 | 57.2921 | 31.9852 | 30.7048 | 4.436 | 0.15891 | 1.7798 | 2.6562 | 0.099936 | 16.6204 | 0.61063 | 44.2686 | 382.1283 | 0.015532
86 | 13:48:09 | 2652.5 | 0 | 13.414 | 0.16607 | 236.2634 | 5.3019 | 2.2492 | 29.0314 | 4.0444 | 1.8494 | 1 | 3.6988 | 32.3779 | 29.0314 | 34.0145 | 399.5155 | 387.0016 | 21.1265 | 25.3079 | 30.458 | 36.4862 | 499.8371 | 1500.4814 | 307.4575 | 70.3281 | -1.4613 | 0.16383 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0053019 | 302.1814 | 305.5279 | 240.077 | 0.43684 | 4.0291 | 57.2899 | 31.982 | 30.7046 | 4.436 | 0.15893 | 1.7799 | 2.6561 | 0.09995 | 16.616 | 0.6105 | 44.2724 | 382.1057 | 0.015542
87 | 13:48:10 | 2653 | 0 | 13.4301 | 0.1661 | 236.1281 | 5.3032 | 2.2493 | 29.0317 | 4.0444 | 1.8494 | 1 | 3.6988 | 32.3784 | 29.0317 | 34.014 | 399.5259 | 386.9982 | 21.1247 | 25.3072 | 30.4544 | 36.4841 | 499.8274 | 1500.5238 | 307.4811 | 70.3282 | -1.4613 | 0.16383 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0053032 | 302.1817 | 305.5284 | 240.0838 | 0.4364 | 4.0291 | 57.2906 | 31.9834 | 30.705 | 4.4361 | 0.15896 | 1.7798 | 2.6562 | 0.09997 | 16.6065 | 0.61015 | 44.2711 | 382.0964 | 0.015561
88 | 13:48:10 | 2653.5 | 0 | 13.4328 | 0.16607 | 236.0743 | 5.3048 | 2.2505 | 29.0367 | 4.0444 | 1.8494 | 1 | 3.6988 | 32.3799 | 29.0367 | 34.0139 | 399.5344 | 387.0046 | 21.1241 | 25.3077 | 30.4511 | 36.482 | 499.8461 | 1500.5756 | 307.4697 | 70.3285 | -1.4613 | 0.16383 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0053048 | 302.1867 | 305.5299 | 240.0921 | 0.43541 | 4.0303 | 57.307 | 31.9993 | 30.7083 | 4.4369 | 0.15893 | 1.7799 | 2.657 | 0.09995 | 16.6027 | 0.61 | 44.2583 | 382.1018 | 0.015559
89 | 13:48:11 | 2654 | 0 | 13.4345 | 0.16589 | 235.9197 | 5.3029 | 2.2519 | 29.0426 | 4.0444 | 1.8494 | 1 | 3.6988 | 32.3817 | 29.0426 | 34.0146 | 399.5449 | 387.0144 | 21.1245 | 25.3065 | 30.4486 | 36.4765 | 499.8558 | 1500.5741 | 307.4747 | 70.3283 | -1.4613 | 0.16383 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0053029 | 302.1926 | 305.5317 | 240.0919 | 0.43577 | 4.0317 | 57.3268 | 32.0203 | 30.7121 | 4.4379 | 0.15877 | 1.7798 | 2.6581 | 0.099846 | 16.5918 | 0.60959 | 44.2379 | 382.111 | 0.015553
90 | 13:48:11 | 2654.5 | 0 | 13.3649 | 0.1657 | 236.4773 | 5.301 | 2.2535 | 29.0494 | 4.0444 | 1.8494 | 1 | 3.6988 | 32.3827 | 29.0494 | 34.0155 | 399.5204 | 387.0468 | 21.1259 | 25.3065 | 30.4489 | 36.4743 | 499.8543 | 1500.5458 | 307.4767 | 70.3281 | -1.4613 | 0.16383 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.005301 | 302.1994 | 305.5327 | 240.0873 | 0.43585 | 4.0333 | 57.3494 | 32.043 | 30.716 | 4.4388 | 0.1586 | 1.7798 | 2.6591 | 0.099738 | 16.631 | 0.61098 | 44.2172 | 382.1688 | 0.015463 | 13.4176 | 32.3763 | 29.0307 | #DIV/0! | 2651.0333 | 0 | 13.4176 | 0.16618 | 236.3352 | 5.3051 | 2.2491 | 29.0307 | 4.0444 | 1.8494 | 1 | 3.6988 | 32.3763 | 29.0307 | 34.0149 | 399.5428 | 387.0251 | 21.1229 | 25.3067 | 30.4556 | 36.488 | 499.8482 | 1500.5016 | 307.4486 | 70.3284 | -1.4613 | 0.16383 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0053051 | 302.1807 | 305.5263 | 240.0802 | 0.43546 | 4.0289 | 57.2874 | 31.9806 | 30.7035 | 4.4357 | 0.15903 | 1.7798 | 2.6559 | 0.10001 | 16.6211 | 0.61065 | 44.274 | 382.1279 | 0.015546
Remark= | "13:48:25 Coolers: Tblock -> 39.00 C"
Remark= | "13:55:25 Flow: Fixed -> 500 umol/s"
Remark= | "13:56:09 Flow: Fixed -> 500 umol/s"
91 | 13:56:40 | 3163.5 | 0 | 11.9133 | 0.13943 | 227.316 | 5.3292 | 2.6485 | 32.3264 | 4.0444 | 1.8494 | 1 | 3.6988 | 36.9223 | 32.3264 | 39.0901 | 399.1643 | 387.8524 | 27.33 | 31.5062 | 30.6106 | 35.2881 | 499.834 | 1499.6449 | 321.1037 | 70.3179 | -0.80237 | 0.078312 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0053292 | 305.4764 | 310.0723 | 239.9432 | 0.58379 | 4.864 | 69.1716 | 37.6653 | 34.6243 | 5.5319 | 0.13437 | 2.2155 | 3.3165 | 0.08442 | 15.9844 | 0.58609 | 44.7445 | 383.5042 | 0.0139
92 | 13:56:40 | 3163.5 | 0 | 11.9133 | 0.13943 | 227.316 | 5.3292 | 2.6485 | 32.3264 | 4.0444 | 1.8494 | 1 | 3.6988 | 36.9223 | 32.3264 | 39.0901 | 399.1643 | 387.8524 | 27.33 | 31.5062 | 30.6106 | 35.2881 | 499.834 | 1499.6449 | 321.1037 | 70.3179 | -0.80237 | 0.078312 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0053292 | 305.4764 | 310.0723 | 239.9432 | 0.58379 | 4.864 | 69.1716 | 37.6653 | 34.6243 | 5.5319 | 0.13437 | 2.2155 | 3.3165 | 0.08442 | 15.9844 | 0.58609 | 44.7445 | 383.5042 | 0.0139
93 | 13:56:41 | 3164 | 0 | 11.9325 | 0.13941 | 227.0745 | 5.3295 | 2.649 | 32.3277 | 4.0444 | 1.8494 | 1 | 3.6988 | 36.9221 | 32.3277 | 39.0903 | 399.1791 | 387.8511 | 27.3283 | 31.5049 | 30.6088 | 35.2868 | 499.8146 | 1499.3842 | 321.1964 | 70.3176 | -0.80237 | 0.078312 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0053295 | 305.4777 | 310.0721 | 239.9015 | 0.58311 | 4.8644 | 69.1769 | 37.672 | 34.6249 | 5.5321 | 0.13435 | 2.2154 | 3.3167 | 0.08441 | 15.9673 | 0.58547 | 44.7387 | 383.4959 | 0.01392
94 | 13:56:41 | 3164.5 | 0 | 11.9785 | 0.13965 | 226.7965 | 5.3311 | 2.6456 | 32.3155 | 4.0444 | 1.8494 | 1 | 3.6988 | 36.9219 | 32.3155 | 39.0902 | 399.2213 | 387.8557 | 27.3277 | 31.5055 | 30.6086 | 35.2879 | 499.8207 | 1499.3385 | 321.3181 | 70.3178 | -0.80237 | 0.078312 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0053311 | 305.4655 | 310.0719 | 239.8942 | 0.58378 | 4.861 | 69.1292 | 37.6237 | 34.6187 | 5.5302 | 0.13457 | 2.2154 | 3.3148 | 0.084546 | 15.9478 | 0.58474 | 44.7761 | 383.4837 | 0.013986
95 | 13:56:42 | 3165 | 0 | 12.035 | 0.13981 | 226.312 | 5.3319 | 2.643 | 32.3059 | 4.0444 | 1.8494 | 1 | 3.6988 | 36.9205 | 32.3059 | 39.0899 | 399.252 | 387.8397 | 27.3264 | 31.5052 | 30.6095 | 35.2903 | 499.7833 | 1499.3763 | 321.271 | 70.3178 | -0.80237 | 0.078312 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0053319 | 305.4559 | 310.0705 | 239.9002 | 0.58444 | 4.8584 | 69.0919 | 37.5867 | 34.6132 | 5.5285 | 0.13472 | 2.2154 | 3.3131 | 0.084643 | 15.9138 | 0.58352 | 44.8041 | 383.4471 | 0.014062
96 | 13:56:42 | 3165.5 | 0 | 12.0196 | 0.1399 | 226.5834 | 5.3297 | 2.6403 | 32.2955 | 4.0444 | 1.8494 | 1 | 3.6988 | 36.9199 | 32.2955 | 39.0895 | 399.2272 | 387.8276 | 27.3259 | 31.5031 | 30.6101 | 35.2892 | 499.768 | 1499.3857 | 321.2753 | 70.3178 | -0.80237 | 0.078312 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2357 | 0.0053297 | 305.4455 | 310.0699 | 239.9017 | 0.58649 | 4.8555 | 69.0513 | 37.5482 | 34.6077 | 5.5268 | 0.13481 | 2.2152 | 3.3116 | 0.084697 | 15.9329 | 0.58424 | 44.8308 | 383.4407 | 0.014053
97 | 13:56:42 | 3165.5 | 0 | 12.0196 | 0.1399 | 226.5834 | 5.3297 | 2.6403 | 32.2955 | 4.0444 | 1.8494 | 1 | 3.6988 | 36.9199 | 32.2955 | 39.0895 | 399.2272 | 387.8276 | 27.3259 | 31.5031 | 30.6101 | 35.2892 | 499.768 | 1499.3857 | 321.2753 | 70.3178 | -0.80237 | 0.078312 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2357 | 0.0053297 | 305.4455 | 310.0699 | 239.9017 | 0.58649 | 4.8555 | 69.0513 | 37.5482 | 34.6077 | 5.5268 | 0.13481 | 2.2152 | 3.3116 | 0.084697 | 15.9329 | 0.58424 | 44.8308 | 383.4407 | 0.014053
98 | 13:56:43 | 3166 | 0 | 11.9758 | 0.13979 | 226.9904 | 5.3261 | 2.6406 | 32.2959 | 4.0444 | 1.8494 | 1 | 3.6988 | 36.9198 | 32.2959 | 39.0892 | 399.207 | 387.8434 | 27.3255 | 31.5001 | 30.6097 | 35.2861 | 499.7403 | 1499.3657 | 321.411 | 70.3182 | -0.80237 | 0.078312 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2356 | 0.0053261 | 305.4459 | 310.0698 | 239.8985 | 0.58788 | 4.8556 | 69.0525 | 37.5525 | 34.6079 | 5.5269 | 0.1347 | 2.215 | 3.3118 | 0.084631 | 15.9615 | 0.58526 | 44.824 | 383.4724 | 0.013998
99 | 13:56:43 | 3166.5 | 0 | 11.8832 | 0.13967 | 227.9327 | 5.3225 | 2.641 | 32.2965 | 4.0444 | 1.8494 | 1 | 3.6988 | 36.9193 | 32.2965 | 39.0899 | 399.1259 | 387.8381 | 27.3253 | 31.4972 | 30.6104 | 35.2838 | 499.7313 | 1499.2949 | 321.4724 | 70.318 | -0.80237 | 0.078312 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2356 | 0.0053225 | 305.4465 | 310.0693 | 239.8872 | 0.58911 | 4.8558 | 69.0548 | 37.5576 | 34.6079 | 5.5269 | 0.13459 | 2.2148 | 3.312 | 0.084562 | 16.0278 | 0.5877 | 44.8165 | 383.5009 | 0.013887
100 | 13:56:44 | 3167 | 0 | 11.9041 | 0.13961 | 227.6002 | 5.324 | 2.6429 | 32.3041 | 4.0444 | 1.8494 | 1 | 3.6988 | 36.9192 | 32.3041 | 39.0904 | 399.129 | 387.8242 | 27.3261 | 31.499 | 30.6115 | 35.2861 | 499.7471 | 1499.2688 | 321.4408 | 70.3181 | -0.80237 | 0.078312 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2357 | 0.005324 | 305.4541 | 310.0692 | 239.883 | 0.58756 | 4.8579 | 69.0845 | 37.5855 | 34.6116 | 5.528 | 0.13453 | 2.2149 | 3.3131 | 0.084522 | 16.0044 | 0.58686 | 44.7974 | 383.4794 | 0.013906
101 | 13:56:44 | 3167.5 | 0 | 11.9464 | 0.13968 | 227.1864 | 5.3248 | 2.6419 | 32.3005 | 4.0444 | 1.8494 | 1 | 3.6988 | 36.9192 | 32.3005 | 39.0906 | 399.1501 | 387.811 | 27.3267 | 31.5001 | 30.6121 | 35.2873 | 499.7507 | 1499.2931 | 321.2649 | 70.318 | -0.80237 | 0.078312 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2357 | 0.0053248 | 305.4505 | 310.0692 | 239.8869 | 0.58771 | 4.8569 | 69.0705 | 37.5704 | 34.6098 | 5.5275 | 0.1346 | 2.215 | 3.3124 | 0.084568 | 15.9753 | 0.58582 | 44.81 | 383.4508 | 0.01396
102 | 13:56:45 | 3168 | 0 | 11.9326 | 0.13966 | 227.3311 | 5.3258 | 2.6429 | 32.3046 | 4.0444 | 1.8494 | 1 | 3.6988 | 36.9192 | 32.3046 | 39.091 | 399.1616 | 387.8341 | 27.3278 | 31.5017 | 30.6133 | 35.289 | 499.7892 | 1499.2455 | 320.8115 | 70.318 | -0.80237 | 0.078312 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0053258 | 305.4546 | 310.0692 | 239.8793 | 0.58673 | 4.858 | 69.0867 | 37.585 | 34.6119 | 5.5281 | 0.13457 | 2.2151 | 3.313 | 0.084551 | 15.9855 | 0.58616 | 44.8005 | 383.4789 | 0.01394
103 | 13:56:45 | 3168.5 | 0 | 11.8864 | 0.13942 | 227.6428 | 5.3217 | 2.6452 | 32.3122 | 4.0444 | 1.8494 | 1 | 3.6988 | 36.9192 | 32.3122 | 39.091 | 399.1477 | 387.8598 | 27.3289 | 31.4992 | 30.6146 | 35.2863 | 499.8296 | 1499.2324 | 320.0891 | 70.3182 | -0.80237 | 0.078312 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0053217 | 305.4622 | 310.0692 | 239.8772 | 0.58755 | 4.8601 | 69.1162 | 37.6169 | 34.6157 | 5.5293 | 0.13435 | 2.215 | 3.3143 | 0.084411 | 16.0074 | 0.58692 | 44.7729 | 383.5214 | 0.013876
104 | 13:56:46 | 3169 | 0 | 11.8813 | 0.13925 | 227.5246 | 5.3217 | 2.6481 | 32.3232 | 4.0444 | 1.8494 | 1 | 3.6988 | 36.9195 | 32.3232 | 39.091 | 399.1452 | 387.8619 | 27.3296 | 31.4998 | 30.6149 | 35.2864 | 499.8555 | 1499.2355 | 319.343 | 70.3182 | -0.80237 | 0.078312 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0053217 | 305.4732 | 310.0695 | 239.8777 | 0.58631 | 4.8631 | 69.1591 | 37.6593 | 34.6214 | 5.531 | 0.1342 | 2.215 | 3.316 | 0.084315 | 15.9991 | 0.58661 | 44.7414 | 383.5254 | 0.013861
105 | 13:56:46 | 3169.5 | 0 | 11.9121 | 0.13911 | 227.0373 | 5.3218 | 2.6506 | 32.3324 | 4.0444 | 1.8494 | 1 | 3.6988 | 36.9197 | 32.3324 | 39.0907 | 399.1873 | 387.8792 | 27.3295 | 31.4997 | 30.6146 | 35.286 | 499.8617 | 1499.2145 | 318.4251 | 70.3183 | -0.80237 | 0.078312 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2359 | 0.0053218 | 305.4824 | 310.0697 | 239.8743 | 0.58521 | 4.8657 | 69.1947 | 37.695 | 34.626 | 5.5324 | 0.13407 | 2.215 | 3.3174 | 0.084234 | 15.9649 | 0.58533 | 44.7145 | 383.5314 | 0.013888 | 11.9422 | 36.9203 | 32.3108 | #DIV/0! | 3166.2333 | 0 | 11.9422 | 0.13958 | 227.1485 | 5.3266 | 2.6446 | 32.3108 | 4.0444 | 1.8494 | 1 | 3.6988 | 36.9203 | 32.3108 | 39.0902 | 399.1793 | 387.8439 | 27.3276 | 31.5021 | 30.6113 | 35.2874 | 499.7952 | 1499.354 | 320.8534 | 70.318 | -0.80237 | 0.078312 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.2358 | 0.0053266 | 305.4608 | 310.0703 | 239.8966 | 0.586 | 4.8597 | 69.1109 | 37.6088 | 34.6155 | 5.5292 | 0.13451 | 2.2152 | 3.3141 | 0.084508 | 15.9726 | 0.58567 | 44.7831 | 383.4851 | 0.013946