## stm-plipo2_
OPEN 6.2.4
Sat Jun 27 2015 15:15:41
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "15:17:34 CO2 Mixer: CO2R -> 400 uml"
Remark= | "15:17:42 Lamp: ParIn -> 1500 uml"
Remark= | "15:17:48 Coolers: Tblock -> 0.00 C"
Remark= | "15:34:14 Coolers: Tblock -> 8.00 C"
Remark= | "15:36:03 Flow: Fixed -> 500 umol/s"
Remark= | "15:37:46 Flow: Fixed -> 500 umol/s"
1 | 15:38:14 | 1395 | 0 | 19.7617 | 0.2621 | 252.0996 | 4.7799 | 1.3359 | 15.9694 | 2.4395 | 2.2018 | 1 | 4.4035 | 10.7017 | 15.9694 | 8.0295 | 399.261 | 388.7093 | 4.5858 | 6.9026 | 24.9568 | 37.565 | 499.8336 | 1499.6046 | 286.9242 | 70.2924 | -0.79135 | 0.37945 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0047799 | 289.1194 | 283.8517 | 239.9367 | -0.19609 | 1.8211 | 25.9079 | 19.0054 | 13.3355 | 1.5364 | 0.24738 | 0.4852 | 1.0512 | 0.15587 | 17.7207 | 0.64856 | 29.6089 | 382.6509 | 0.015291
2 | 15:38:15 | 1395 | 0 | 19.7617 | 0.2621 | 252.0996 | 4.7799 | 1.3359 | 15.9694 | 2.4395 | 2.2018 | 1 | 4.4035 | 10.7017 | 15.9694 | 8.0295 | 399.261 | 388.7093 | 4.5858 | 6.9026 | 24.9568 | 37.565 | 499.8336 | 1499.6046 | 286.9242 | 70.2924 | -0.79135 | 0.37945 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0047799 | 289.1194 | 283.8517 | 239.9367 | -0.19609 | 1.8211 | 25.9079 | 19.0054 | 13.3355 | 1.5364 | 0.24738 | 0.4852 | 1.0512 | 0.15587 | 17.7207 | 0.64856 | 29.6089 | 382.6509 | 0.015291
3 | 15:38:15 | 1395.5 | 0 | 19.6591 | 0.26164 | 252.5419 | 4.7751 | 1.3368 | 15.9767 | 2.4395 | 2.2018 | 1 | 4.4035 | 10.7027 | 15.9767 | 8.0302 | 399.2214 | 388.7205 | 4.5876 | 6.9021 | 24.9649 | 37.5599 | 499.8251 | 1499.6444 | 287.2548 | 70.2924 | -0.79135 | 0.37945 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0047751 | 289.1267 | 283.8527 | 239.9431 | -0.19485 | 1.822 | 25.92 | 19.0179 | 13.3397 | 1.5368 | 0.24696 | 0.48516 | 1.0517 | 0.15561 | 17.7518 | 0.64967 | 29.5877 | 382.6936 | 0.015199
4 | 15:38:16 | 1396 | 0 | 19.7906 | 0.26157 | 251.6653 | 4.7764 | 1.3375 | 15.9841 | 2.4395 | 2.2018 | 1 | 4.4035 | 10.7034 | 15.9841 | 8.0309 | 399.2753 | 388.7101 | 4.5892 | 6.9043 | 24.9727 | 37.5707 | 499.8329 | 1499.5621 | 287.8234 | 70.2936 | -0.79135 | 0.37945 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0047764 | 289.1341 | 283.8534 | 239.9299 | -0.19602 | 1.8228 | 25.9319 | 19.0277 | 13.3437 | 1.5372 | 0.2469 | 0.48532 | 1.0519 | 0.15557 | 17.6905 | 0.64744 | 29.5825 | 382.6429 | 0.0153
5 | 15:38:16 | 1396.5 | 0 | 19.8531 | 0.26183 | 251.3828 | 4.7788 | 1.337 | 15.9797 | 2.4395 | 2.2018 | 1 | 4.4035 | 10.7032 | 15.9797 | 8.0315 | 399.2972 | 388.701 | 4.5889 | 6.9051 | 24.9715 | 37.5759 | 499.8319 | 1499.6261 | 288.1841 | 70.2934 | -0.79135 | 0.37945 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0047788 | 289.1297 | 283.8532 | 239.9402 | -0.19644 | 1.8223 | 25.9247 | 19.0196 | 13.3414 | 1.537 | 0.24713 | 0.48539 | 1.0516 | 0.15572 | 17.6706 | 0.64673 | 29.5971 | 382.6146 | 0.015357
6 | 15:38:17 | 1397 | 0 | 19.8551 | 0.26179 | 251.38 | 4.7775 | 1.3367 | 15.9782 | 2.4395 | 2.2018 | 1 | 4.4035 | 10.7034 | 15.9782 | 8.0317 | 399.3224 | 388.7258 | 4.5901 | 6.9056 | 24.9775 | 37.578 | 499.8446 | 1499.6376 | 288.5984 | 70.2934 | -0.79135 | 0.37945 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0047775 | 289.1282 | 283.8534 | 239.942 | -0.19582 | 1.8222 | 25.9223 | 19.0167 | 13.3408 | 1.537 | 0.2471 | 0.48542 | 1.0515 | 0.1557 | 17.6703 | 0.64668 | 29.6008 | 382.6388 | 0.01536
7 | 15:38:17 | 1397.5 | 0 | 19.9418 | 0.26168 | 250.7789 | 4.7768 | 1.3371 | 15.9817 | 2.4395 | 2.2018 | 1 | 4.4035 | 10.7038 | 15.9817 | 8.0326 | 399.3681 | 388.7296 | 4.5912 | 6.9064 | 24.9831 | 37.5807 | 499.8615 | 1499.7059 | 288.8719 | 70.293 | -0.79135 | 0.37945 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0047768 | 289.1317 | 283.8538 | 239.9529 | -0.19572 | 1.8226 | 25.9281 | 19.0217 | 13.3427 | 1.5371 | 0.247 | 0.48547 | 1.0517 | 0.15563 | 17.628 | 0.64512 | 29.5958 | 382.616 | 0.015425
8 | 15:38:18 | 1398 | 0 | 20.0454 | 0.26173 | 250.1431 | 4.7746 | 1.3362 | 15.9743 | 2.4395 | 2.2018 | 1 | 4.4035 | 10.7039 | 15.9743 | 8.0329 | 399.406 | 388.7172 | 4.5925 | 6.9066 | 24.9896 | 37.5817 | 499.8521 | 1499.7428 | 289.0115 | 70.2925 | -0.79135 | 0.37945 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0047746 | 289.1243 | 283.8539 | 239.9588 | -0.19429 | 1.8217 | 25.9161 | 19.0095 | 13.3391 | 1.5368 | 0.24705 | 0.48548 | 1.0513 | 0.15566 | 17.5832 | 0.64351 | 29.6097 | 382.5718 | 0.015514
9 | 15:38:18 | 1398.5 | 0 | 20.0329 | 0.26171 | 250.2476 | 4.7739 | 1.3361 | 15.9743 | 2.4395 | 2.2018 | 1 | 4.4035 | 10.7039 | 15.9743 | 8.0333 | 399.4364 | 388.7533 | 4.5941 | 6.9079 | 24.9981 | 37.5889 | 499.8304 | 1499.7246 | 288.9003 | 70.2925 | -0.79135 | 0.37945 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0047739 | 289.1243 | 283.8539 | 239.9559 | -0.19405 | 1.8217 | 25.9161 | 19.0082 | 13.3391 | 1.5368 | 0.24703 | 0.48558 | 1.0512 | 0.15565 | 17.5905 | 0.64372 | 29.6143 | 382.6118 | 0.015506
10 | 15:38:19 | 1399 | 0 | 20.0673 | 0.26196 | 250.1609 | 4.7765 | 1.3356 | 15.9713 | 2.4395 | 2.2018 | 1 | 4.4035 | 10.704 | 15.9713 | 8.034 | 399.465 | 388.7647 | 4.5947 | 6.9098 | 25.0017 | 37.599 | 499.8351 | 1499.7047 | 288.9356 | 70.2931 | -0.79135 | 0.37945 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0047765 | 289.1213 | 283.854 | 239.9527 | -0.19472 | 1.8214 | 25.9108 | 19.0011 | 13.3376 | 1.5366 | 0.24725 | 0.48571 | 1.0509 | 0.15579 | 17.5846 | 0.64348 | 29.6303 | 382.6126 | 0.015541
11 | 15:38:19 | 1399.5 | 0 | 20.1222 | 0.26204 | 249.8528 | 4.7784 | 1.3358 | 15.9734 | 2.4395 | 2.2018 | 1 | 4.4035 | 10.7034 | 15.9734 | 8.0335 | 399.4955 | 388.7684 | 4.595 | 6.911 | 25.0046 | 37.6071 | 499.8521 | 1499.6904 | 288.9768 | 70.2935 | -0.79135 | 0.37945 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0047784 | 289.1234 | 283.8534 | 239.9505 | -0.19566 | 1.8216 | 25.9143 | 19.0033 | 13.3384 | 1.5367 | 0.24732 | 0.4858 | 1.0509 | 0.15584 | 17.563 | 0.64268 | 29.6323 | 382.5995 | 0.015585
12 | 15:38:20 | 1400 | 0 | 20.0664 | 0.26218 | 250.2895 | 4.7767 | 1.3347 | 15.9636 | 2.4395 | 2.2018 | 1 | 4.4035 | 10.7025 | 15.9636 | 8.0335 | 399.481 | 388.7812 | 4.5955 | 6.9107 | 25.0088 | 37.6077 | 499.8459 | 1499.8019 | 288.8852 | 70.2936 | -0.79135 | 0.37945 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0047767 | 289.1136 | 283.8525 | 239.9683 | -0.19414 | 1.8205 | 25.8979 | 18.9872 | 13.333 | 1.5362 | 0.24745 | 0.48578 | 1.0504 | 0.15591 | 17.5937 | 0.64378 | 29.65 | 382.6294 | 0.01555
13 | 15:38:20 | 1400.5 | 0 | 20.0763 | 0.26208 | 250.1953 | 4.7754 | 1.3348 | 15.965 | 2.4395 | 2.2018 | 1 | 4.4035 | 10.7028 | 15.965 | 8.0334 | 399.5027 | 388.7983 | 4.5966 | 6.9112 | 25.0146 | 37.61 | 499.8407 | 1499.7595 | 288.6041 | 70.2939 | -0.79135 | 0.37945 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0047754 | 289.115 | 283.8528 | 239.9615 | -0.19383 | 1.8206 | 25.9002 | 18.989 | 13.3339 | 1.5363 | 0.24736 | 0.48581 | 1.0504 | 0.15586 | 17.5872 | 0.64351 | 29.648 | 382.6434 | 0.015556
14 | 15:38:21 | 1401 | 0 | 20.1199 | 0.26225 | 249.9994 | 4.7777 | 1.3346 | 15.9645 | 2.4395 | 2.2018 | 1 | 4.4035 | 10.703 | 15.9645 | 8.0329 | 399.5222 | 388.7961 | 4.5971 | 6.9128 | 25.0169 | 37.6184 | 499.8391 | 1499.7784 | 288.6153 | 70.2942 | -0.79135 | 0.37945 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0047777 | 289.1145 | 283.853 | 239.9645 | -0.19458 | 1.8206 | 25.8993 | 18.9865 | 13.3338 | 1.5362 | 0.24751 | 0.48593 | 1.0503 | 0.15595 | 17.5735 | 0.64301 | 29.6575 | 382.6279 | 0.015595
15 | 15:38:21 | 1401.5 | 0 | 20.1089 | 0.26237 | 250.1486 | 4.7777 | 1.3341 | 15.96 | 2.4395 | 2.2018 | 1 | 4.4035 | 10.7031 | 15.96 | 8.0332 | 399.5397 | 388.8191 | 4.5979 | 6.9134 | 25.0208 | 37.6217 | 499.8513 | 1499.7202 | 288.7266 | 70.2943 | -0.79135 | 0.37945 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0047777 | 289.11 | 283.8531 | 239.9552 | -0.19425 | 1.82 | 25.8918 | 18.9784 | 13.3316 | 1.536 | 0.24761 | 0.48598 | 1.0501 | 0.15602 | 17.584 | 0.64335 | 29.6693 | 382.6543 | 0.015592 | 19.9508 | 10.7031 | 15.9724 | #DIV/0! | 1398.0333 | 0 | 19.9508 | 0.26193 | 250.8657 | 4.777 | 1.3359 | 15.9724 | 2.4395 | 2.2018 | 1 | 4.4035 | 10.7031 | 15.9724 | 8.0322 | 399.3903 | 388.7469 | 4.5921 | 6.9075 | 24.9892 | 37.5887 | 499.8407 | 1499.6872 | 288.3491 | 70.2932 | -0.79135 | 0.37945 | 0.88889 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.004777 | 289.1224 | 283.8531 | 239.9499 | -0.1951 | 1.8215 | 25.9126 | 19.0052 | 13.3377 | 1.5366 | 0.24723 | 0.48555 | 1.0511 | 0.15578 | 17.6342 | 0.64532 | 29.6195 | 382.6306 | 0.015444
Remark= | "15:38:42 Coolers: Tblock -> 13.00 C"
Remark= | "15:40:27 Flow: Fixed -> 500 umol/s"
Remark= | "15:42:24 Flow: Fixed -> 500 umol/s"
Remark= | "15:43:22 Flow: Fixed -> 500 umol/s"
16 | 15:45:13 | 1813 | 0 | 20.5478 | 0.268 | 248.8979 | 5.4407 | 1.484 | 18.3772 | 2.4395 | 2.2018 | 1 | 4.4035 | 14.8449 | 18.3772 | 13.1059 | 399.923 | 388.8628 | 6.4301 | 9.0612 | 26.6736 | 37.5881 | 499.8742 | 1499.2415 | 283.3117 | 70.2866 | -1.083 | 0.37919 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0491 | 0.0054407 | 291.5272 | 287.9949 | 239.8786 | -0.29947 | 2.1209 | 30.1754 | 21.1142 | 16.6111 | 1.8971 | 0.25262 | 0.63688 | 1.2603 | 0.1592 | 17.4942 | 0.64007 | 32.7227 | 382.5634 | 0.017576
17 | 15:45:14 | 1813 | 0 | 20.5478 | 0.268 | 248.8979 | 5.4407 | 1.484 | 18.3772 | 2.4395 | 2.2018 | 1 | 4.4035 | 14.8449 | 18.3772 | 13.1059 | 399.923 | 388.8628 | 6.4301 | 9.0612 | 26.6736 | 37.5881 | 499.8742 | 1499.2415 | 283.3117 | 70.2866 | -1.083 | 0.37919 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0491 | 0.0054407 | 291.5272 | 287.9949 | 239.8786 | -0.29947 | 2.1209 | 30.1754 | 21.1142 | 16.6111 | 1.8971 | 0.25262 | 0.63688 | 1.2603 | 0.1592 | 17.4942 | 0.64007 | 32.7227 | 382.5634 | 0.017576
18 | 15:45:14 | 1813.5 | 0 | 20.5231 | 0.26793 | 249.0273 | 5.4407 | 1.4844 | 18.3801 | 2.4395 | 2.2018 | 1 | 4.4035 | 14.8446 | 18.3801 | 13.1059 | 399.922 | 388.8733 | 6.4301 | 9.0614 | 26.6745 | 37.5898 | 499.8516 | 1499.2263 | 283.3607 | 70.2869 | -1.083 | 0.37919 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0054407 | 291.5301 | 287.9946 | 239.8762 | -0.29977 | 2.1213 | 30.1807 | 21.1193 | 16.6123 | 1.8973 | 0.25256 | 0.63689 | 1.2604 | 0.15916 | 17.5033 | 0.64038 | 32.717 | 382.5815 | 0.017551
19 | 15:45:15 | 1814 | 0 | 20.6298 | 0.26814 | 248.4366 | 5.4446 | 1.4844 | 18.3805 | 2.4395 | 2.2018 | 1 | 4.4035 | 14.8451 | 18.3805 | 13.1061 | 399.945 | 388.8442 | 6.43 | 9.063 | 26.6731 | 37.5951 | 499.8816 | 1499.2767 | 283.4318 | 70.2864 | -1.083 | 0.37919 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0491 | 0.0054446 | 291.5305 | 287.9951 | 239.8843 | -0.30108 | 2.1214 | 30.1816 | 21.1186 | 16.6128 | 1.8973 | 0.25275 | 0.637 | 1.2603 | 0.15928 | 17.4617 | 0.63891 | 32.7243 | 382.5197 | 0.017649
20 | 15:45:15 | 1814.5 | 0 | 20.7441 | 0.26849 | 247.8708 | 5.449 | 1.4837 | 18.377 | 2.4395 | 2.2018 | 1 | 4.4035 | 14.8448 | 18.377 | 13.1064 | 399.9777 | 388.8201 | 6.43 | 9.0652 | 26.6737 | 37.6051 | 499.8659 | 1499.27 | 283.4721 | 70.2868 | -1.083 | 0.37919 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0491 | 0.005449 | 291.527 | 287.9948 | 239.8832 | -0.30238 | 2.1209 | 30.1749 | 21.1098 | 16.6109 | 1.8971 | 0.25306 | 0.63716 | 1.26 | 0.15948 | 17.422 | 0.63749 | 32.7428 | 382.4605 | 0.017759
21 | 15:45:16 | 1815 | 0 | 20.6797 | 0.26805 | 248.0686 | 5.448 | 1.4857 | 18.3923 | 2.4395 | 2.2018 | 1 | 4.4035 | 14.8443 | 18.3923 | 13.106 | 399.9611 | 388.8345 | 6.4313 | 9.0661 | 26.6796 | 37.6098 | 499.8409 | 1499.3046 | 283.6704 | 70.2863 | -1.083 | 0.37919 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.005448 | 291.5423 | 287.9943 | 239.8887 | -0.30333 | 2.1229 | 30.2041 | 21.1381 | 16.6183 | 1.898 | 0.25267 | 0.63722 | 1.2608 | 0.15923 | 17.4358 | 0.63798 | 32.7104 | 382.4947 | 0.017685
22 | 15:45:16 | 1815.5 | 0 | 20.5602 | 0.26785 | 248.6887 | 5.4491 | 1.4871 | 18.4027 | 2.4395 | 2.2018 | 1 | 4.4035 | 14.8445 | 18.4027 | 13.1053 | 399.8878 | 388.8191 | 6.4307 | 9.0661 | 26.6768 | 37.6094 | 499.8319 | 1499.282 | 283.5872 | 70.2867 | -1.083 | 0.37919 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0054491 | 291.5527 | 287.9945 | 239.8851 | -0.30464 | 2.1243 | 30.2236 | 21.1575 | 16.6236 | 1.8987 | 0.25249 | 0.63722 | 1.2614 | 0.15912 | 17.4795 | 0.6396 | 32.6881 | 382.5159 | 0.01757
23 | 15:45:17 | 1816 | 0 | 20.4645 | 0.2676 | 249.1413 | 5.4485 | 1.4882 | 18.4113 | 2.4395 | 2.2018 | 1 | 4.4035 | 14.8451 | 18.4113 | 13.1048 | 399.8195 | 388.7975 | 6.4316 | 9.0667 | 26.6796 | 37.6106 | 499.8224 | 1499.2831 | 283.6147 | 70.2866 | -1.083 | 0.37919 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0054485 | 291.5613 | 287.9951 | 239.8853 | -0.3051 | 2.1255 | 30.2399 | 21.1732 | 16.6282 | 1.8992 | 0.25227 | 0.63727 | 1.2619 | 0.15898 | 17.5113 | 0.6408 | 32.6705 | 382.5236 | 0.017478
24 | 15:45:17 | 1816.5 | 0 | 20.314 | 0.26765 | 250.1081 | 5.4496 | 1.4883 | 18.4123 | 2.4395 | 2.2018 | 1 | 4.4035 | 14.8451 | 18.4123 | 13.1047 | 399.7635 | 388.8145 | 6.4319 | 9.0676 | 26.6807 | 37.6144 | 499.8092 | 1499.161 | 283.6131 | 70.2866 | -1.083 | 0.37919 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0488 | 0.0054496 | 291.5623 | 287.9951 | 239.8658 | -0.30576 | 2.1256 | 30.2419 | 21.1743 | 16.6287 | 1.8993 | 0.25231 | 0.63733 | 1.2619 | 0.159 | 17.5792 | 0.64326 | 32.6721 | 382.5868 | 0.017348
25 | 15:45:18 | 1817 | 0 | 20.2262 | 0.26809 | 250.8668 | 5.4534 | 1.487 | 18.4036 | 2.4395 | 2.2018 | 1 | 4.4035 | 14.845 | 18.4036 | 13.104 | 399.7334 | 388.8268 | 6.4314 | 9.0689 | 26.6789 | 37.6198 | 499.825 | 1499.1508 | 283.619 | 70.2867 | -1.083 | 0.37919 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0054534 | 291.5536 | 287.995 | 239.8641 | -0.30638 | 2.1244 | 30.2253 | 21.1564 | 16.6243 | 1.8987 | 0.2527 | 0.63742 | 1.2613 | 0.15925 | 17.6326 | 0.64519 | 32.6987 | 382.626 | 0.017285
26 | 15:45:18 | 1817.5 | 0 | 20.2131 | 0.26809 | 250.9563 | 5.4542 | 1.4872 | 18.4057 | 2.4395 | 2.2018 | 1 | 4.4035 | 14.8447 | 18.4057 | 13.1041 | 399.7362 | 388.8357 | 6.4324 | 9.0702 | 26.6836 | 37.6264 | 499.8209 | 1499.1592 | 283.6505 | 70.287 | -1.083 | 0.37919 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0054542 | 291.5557 | 287.9947 | 239.8655 | -0.30684 | 2.1247 | 30.2292 | 21.159 | 16.6252 | 1.8989 | 0.2527 | 0.63752 | 1.2613 | 0.15925 | 17.639 | 0.6454 | 32.6992 | 382.6389 | 0.017274
27 | 15:45:19 | 1818 | 0 | 20.0852 | 0.26784 | 251.678 | 5.4513 | 1.4877 | 18.4096 | 2.4395 | 2.2018 | 1 | 4.4035 | 14.845 | 18.4096 | 13.1037 | 399.7209 | 388.883 | 6.4336 | 9.0701 | 26.6882 | 37.6253 | 499.8112 | 1499.1437 | 283.5101 | 70.287 | -1.083 | 0.37919 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0488 | 0.0054513 | 291.5596 | 287.995 | 239.863 | -0.30616 | 2.1252 | 30.2366 | 21.1665 | 16.6273 | 1.8991 | 0.25248 | 0.63751 | 1.2616 | 0.15911 | 17.6897 | 0.64718 | 32.688 | 382.7254 | 0.017154
28 | 15:45:19 | 1818.5 | 0 | 20.0659 | 0.26755 | 251.6912 | 5.4492 | 1.4887 | 18.4169 | 2.4395 | 2.2018 | 1 | 4.4035 | 14.8454 | 18.4169 | 13.1029 | 399.741 | 388.913 | 6.435 | 9.0705 | 26.6935 | 37.6259 | 499.8207 | 1499.1426 | 283.5593 | 70.2869 | -1.083 | 0.37919 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0054492 | 291.5669 | 287.9954 | 239.8628 | -0.30601 | 2.1262 | 30.2504 | 21.1799 | 16.6311 | 1.8996 | 0.25223 | 0.63754 | 1.262 | 0.15895 | 17.6906 | 0.64717 | 32.6715 | 382.7614 | 0.017128
29 | 15:45:20 | 1819 | 0 | 20.1788 | 0.26787 | 251.1194 | 5.4519 | 1.4877 | 18.4103 | 2.4395 | 2.2018 | 1 | 4.4035 | 14.8464 | 18.4103 | 13.1029 | 399.7727 | 388.8893 | 6.4349 | 9.0716 | 26.6911 | 37.6279 | 499.8259 | 1499.1539 | 283.3329 | 70.2868 | -1.083 | 0.37919 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0054519 | 291.5603 | 287.9964 | 239.8646 | -0.30628 | 2.1253 | 30.2379 | 21.1663 | 16.6283 | 1.8992 | 0.25251 | 0.63762 | 1.2616 | 0.15913 | 17.6504 | 0.64573 | 32.6918 | 382.7031 | 0.017237
30 | 15:45:20 | 1819.5 | 0 | 20.3073 | 0.26768 | 250.2162 | 5.4513 | 1.4885 | 18.4167 | 2.4395 | 2.2018 | 1 | 4.4035 | 14.8464 | 18.4167 | 13.1032 | 399.8172 | 388.8717 | 6.4357 | 9.0721 | 26.6943 | 37.6295 | 499.8454 | 1499.2341 | 283.2704 | 70.2861 | -1.083 | 0.37919 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0054513 | 291.5667 | 287.9964 | 239.8775 | -0.30653 | 2.1262 | 30.2504 | 21.1783 | 16.6315 | 1.8996 | 0.25234 | 0.63764 | 1.262 | 0.15902 | 17.5867 | 0.64344 | 32.6781 | 382.646 | 0.017343
31 | 15:45:21 | 1820 | 0 | 20.3232 | 0.26769 | 250.1546 | 5.4502 | 1.4882 | 18.4145 | 2.4395 | 2.2018 | 1 | 4.4035 | 14.8461 | 18.4145 | 13.1024 | 399.8575 | 388.9038 | 6.4367 | 9.0726 | 26.699 | 37.6327 | 499.8219 | 1499.2098 | 283.2347 | 70.2865 | -1.083 | 0.37919 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0054502 | 291.5645 | 287.9961 | 239.8736 | -0.30601 | 2.1259 | 30.2461 | 21.1735 | 16.6303 | 1.8995 | 0.25235 | 0.63768 | 1.2618 | 0.15903 | 17.5825 | 0.64323 | 32.6842 | 382.6732 | 0.017358 | 20.3909 | 14.8451 | 18.4007 | #DIV/0! | 1816.5 | 0 | 20.3909 | 0.2679 | 249.7948 | 5.4488 | 1.4867 | 18.4007 | 2.4395 | 2.2018 | 1 | 4.4035 | 14.8451 | 18.4007 | 13.1046 | 399.8386 | 388.8526 | 6.4324 | 9.0676 | 26.6827 | 37.614 | 499.8366 | 1499.216 | 283.4826 | 70.2867 | -1.083 | 0.37919 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0054488 | 291.5507 | 287.9951 | 239.8745 | -0.30438 | 2.1241 | 30.2199 | 21.1523 | 16.6229 | 1.8986 | 0.25254 | 0.63733 | 1.2612 | 0.15915 | 17.5572 | 0.64239 | 32.6973 | 382.6013 | 0.017426
Remark= | "15:45:30 Coolers: Tblock -> 18.00 C"
Remark= | "15:48:54 Flow: Fixed -> 500 umol/s"
32 | 15:49:59 | 2099.5 | 0 | 21.2226 | 0.27056 | 243.9724 | 6.2715 | 1.688 | 21.1173 | 2.4395 | 2.2018 | 1 | 4.4035 | 18.9904 | 21.1173 | 17.9868 | 399.9685 | 388.4221 | 8.7292 | 11.754 | 27.8355 | 37.4807 | 499.8508 | 1500.1531 | 280.5947 | 70.276 | -1.3363 | 0.38121 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0062715 | 294.2673 | 292.1404 | 240.0245 | -0.48046 | 2.514 | 35.773 | 24.019 | 20.0539 | 2.3545 | 0.2549 | 0.82602 | 1.5284 | 0.16065 | 17.1454 | 0.62811 | 35.2039 | 381.9159 | 0.019562
33 | 15:50:00 | 2099.5 | 0 | 21.2226 | 0.27056 | 243.9724 | 6.2715 | 1.688 | 21.1173 | 2.4395 | 2.2018 | 1 | 4.4035 | 18.9904 | 21.1173 | 17.9868 | 399.9685 | 388.4221 | 8.7292 | 11.754 | 27.8355 | 37.4807 | 499.8508 | 1500.1531 | 280.5947 | 70.276 | -1.3363 | 0.38121 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0062715 | 294.2673 | 292.1404 | 240.0245 | -0.48046 | 2.514 | 35.773 | 24.019 | 20.0539 | 2.3545 | 0.2549 | 0.82602 | 1.5284 | 0.16065 | 17.1454 | 0.62811 | 35.2039 | 381.9159 | 0.019562
34 | 15:50:00 | 2100 | 0 | 21.3158 | 0.27112 | 243.6455 | 6.2799 | 1.687 | 21.1123 | 2.4395 | 2.2018 | 1 | 4.4035 | 18.991 | 21.1123 | 17.9862 | 399.9948 | 388.4018 | 8.7284 | 11.7571 | 27.8317 | 37.4892 | 499.8672 | 1500.2024 | 280.5666 | 70.2759 | -1.3363 | 0.38121 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0491 | 0.0062799 | 294.2623 | 292.141 | 240.0324 | -0.48291 | 2.5132 | 35.762 | 24.0049 | 20.0516 | 2.3541 | 0.25539 | 0.82624 | 1.5279 | 0.16096 | 17.1224 | 0.6273 | 35.23 | 381.867 | 0.019665
35 | 15:50:01 | 2100.5 | 0 | 21.2123 | 0.27094 | 244.2173 | 6.2756 | 1.6868 | 21.1114 | 2.4395 | 2.2018 | 1 | 4.4035 | 18.9912 | 21.1114 | 17.9853 | 399.9628 | 388.4216 | 8.7305 | 11.757 | 27.8381 | 37.4885 | 499.8889 | 1500.1643 | 280.5961 | 70.2758 | -1.3363 | 0.38121 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0492 | 0.0062756 | 294.2614 | 292.1412 | 240.0263 | -0.48132 | 2.5131 | 35.76 | 24.003 | 20.0513 | 2.3541 | 0.25524 | 0.82624 | 1.5278 | 0.16086 | 17.1626 | 0.62874 | 35.2293 | 381.9185 | 0.019567
36 | 15:50:01 | 2100.5 | 0 | 21.2123 | 0.27094 | 244.2173 | 6.2756 | 1.6868 | 21.1114 | 2.4395 | 2.2018 | 1 | 4.4035 | 18.9912 | 21.1114 | 17.9853 | 399.9628 | 388.4216 | 8.7305 | 11.757 | 27.8381 | 37.4885 | 499.8889 | 1500.1643 | 280.5961 | 70.2758 | -1.3363 | 0.38121 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0492 | 0.0062756 | 294.2614 | 292.1412 | 240.0263 | -0.48132 | 2.5131 | 35.76 | 24.003 | 20.0513 | 2.3541 | 0.25524 | 0.82624 | 1.5278 | 0.16086 | 17.1626 | 0.62874 | 35.2293 | 381.9185 | 0.019567
37 | 15:50:01 | 2101 | 0 | 21.0731 | 0.27059 | 244.9222 | 6.2673 | 1.6867 | 21.1094 | 2.4395 | 2.2018 | 1 | 4.4035 | 18.9928 | 21.1094 | 17.9849 | 399.9075 | 388.4347 | 8.7323 | 11.7551 | 27.8411 | 37.4786 | 499.8464 | 1500.1737 | 280.5242 | 70.2761 | -1.3363 | 0.38121 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0062673 | 294.2594 | 292.1428 | 240.0278 | -0.47804 | 2.5128 | 35.7555 | 24.0005 | 20.0511 | 2.354 | 0.25493 | 0.8261 | 1.5279 | 0.16067 | 17.2122 | 0.63054 | 35.2234 | 381.9743 | 0.019432
38 | 15:50:02 | 2101.5 | 0 | 21.0728 | 0.27084 | 245.0282 | 6.2699 | 1.6859 | 21.1056 | 2.4395 | 2.2018 | 1 | 4.4035 | 18.9935 | 21.1056 | 17.9842 | 399.8951 | 388.4216 | 8.7331 | 11.7573 | 27.8424 | 37.4838 | 499.8283 | 1500.1726 | 280.4016 | 70.2759 | -1.3363 | 0.38121 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0062699 | 294.2556 | 292.1435 | 240.0276 | -0.47858 | 2.5122 | 35.7472 | 23.99 | 20.0495 | 2.3538 | 0.25515 | 0.82625 | 1.5276 | 0.16081 | 17.2196 | 0.63083 | 35.2402 | 381.9612 | 0.019442
39 | 15:50:02 | 2102 | 0 | 21.0925 | 0.2713 | 245.0938 | 6.279 | 1.6856 | 21.1055 | 2.4395 | 2.2018 | 1 | 4.4035 | 18.9943 | 21.1055 | 17.9844 | 399.8807 | 388.3961 | 8.7326 | 11.761 | 27.8393 | 37.494 | 499.834 | 1500.1989 | 280.4431 | 70.2762 | -1.3363 | 0.38121 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.006279 | 294.2555 | 292.1443 | 240.0318 | -0.48168 | 2.5122 | 35.747 | 23.986 | 20.0499 | 2.3539 | 0.25556 | 0.82652 | 1.5274 | 0.16107 | 17.2243 | 0.63104 | 35.2569 | 381.9297 | 0.019471
40 | 15:50:03 | 2102.5 | 0 | 21.1731 | 0.2713 | 244.57 | 6.2815 | 1.6863 | 21.111 | 2.4395 | 2.2018 | 1 | 4.4035 | 18.9957 | 21.111 | 17.9844 | 399.895 | 388.3705 | 8.7333 | 11.7631 | 27.8395 | 37.4975 | 499.8244 | 1500.2085 | 280.301 | 70.2762 | -1.3363 | 0.38121 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0062815 | 294.261 | 292.1457 | 240.0334 | -0.48293 | 2.513 | 35.7591 | 23.996 | 20.0533 | 2.3544 | 0.25555 | 0.82666 | 1.5277 | 0.16106 | 17.1874 | 0.62973 | 35.2511 | 381.8794 | 0.019545
41 | 15:50:03 | 2103 | 0 | 20.9715 | 0.27083 | 245.6149 | 6.2748 | 1.6873 | 21.1165 | 2.4395 | 2.2018 | 1 | 4.4035 | 18.9963 | 21.1165 | 17.9848 | 399.829 | 388.4047 | 8.7354 | 11.7617 | 27.8448 | 37.4916 | 499.8545 | 1500.2198 | 280.2961 | 70.276 | -1.3363 | 0.38121 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0062748 | 294.2665 | 292.1463 | 240.0352 | -0.48099 | 2.5139 | 35.7711 | 24.0094 | 20.0564 | 2.3548 | 0.25514 | 0.82657 | 1.5283 | 0.1608 | 17.2608 | 0.63237 | 35.23 | 381.9754 | 0.019342
42 | 15:50:04 | 2103.5 | 0 | 20.9549 | 0.27075 | 245.6633 | 6.275 | 1.6878 | 21.1203 | 2.4395 | 2.2018 | 1 | 4.4035 | 18.9974 | 21.1203 | 17.9843 | 399.808 | 388.3912 | 8.7359 | 11.7625 | 27.8449 | 37.4918 | 499.8327 | 1500.1787 | 280.2867 | 70.2765 | -1.3363 | 0.38121 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.006275 | 294.2703 | 292.1474 | 240.0286 | -0.48136 | 2.5144 | 35.7793 | 24.0168 | 20.0588 | 2.3552 | 0.25507 | 0.82663 | 1.5285 | 0.16075 | 17.2644 | 0.63251 | 35.2234 | 381.9671 | 0.019324
43 | 15:50:04 | 2104 | 0 | 20.9821 | 0.2707 | 245.4618 | 6.2758 | 1.6883 | 21.1245 | 2.4395 | 2.2018 | 1 | 4.4035 | 18.9989 | 21.1245 | 17.9848 | 399.813 | 388.3829 | 8.7373 | 11.7642 | 27.8468 | 37.494 | 499.8318 | 1500.0792 | 280.2213 | 70.2769 | -1.3363 | 0.38121 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0062758 | 294.2745 | 292.1489 | 240.0127 | -0.48201 | 2.5151 | 35.7883 | 24.0241 | 20.0617 | 2.3556 | 0.25502 | 0.82675 | 1.5288 | 0.16073 | 17.2503 | 0.63201 | 35.2191 | 381.9503 | 0.019347
44 | 15:50:05 | 2104.5 | 0 | 20.8937 | 0.27051 | 245.9398 | 6.2749 | 1.6892 | 21.1303 | 2.4395 | 2.2018 | 1 | 4.4035 | 19.0003 | 21.1303 | 17.9846 | 399.7987 | 388.4117 | 8.7386 | 11.7651 | 27.8484 | 37.4935 | 499.8282 | 1500.0934 | 280.0928 | 70.2771 | -1.3363 | 0.38121 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0062749 | 294.2803 | 292.1503 | 240.0149 | -0.48205 | 2.516 | 35.8011 | 24.036 | 20.0653 | 2.3561 | 0.25485 | 0.82682 | 1.5293 | 0.16062 | 17.2839 | 0.63319 | 35.207 | 382.0063 | 0.019256
45 | 15:50:05 | 2105 | 0 | 20.8572 | 0.27043 | 246.166 | 6.2741 | 1.6894 | 21.1323 | 2.4395 | 2.2018 | 1 | 4.4035 | 19.0016 | 21.1323 | 17.9847 | 399.8218 | 388.4531 | 8.7402 | 11.7662 | 27.8514 | 37.494 | 499.849 | 1500.0192 | 280.207 | 70.2769 | -1.3363 | 0.38121 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0062741 | 294.2823 | 292.1516 | 240.0031 | -0.48191 | 2.5163 | 35.8054 | 24.0392 | 20.067 | 2.3564 | 0.25479 | 0.82689 | 1.5295 | 0.16058 | 17.2998 | 0.63371 | 35.205 | 382.0589 | 0.019219
46 | 15:50:06 | 2105.5 | 0 | 20.8866 | 0.27024 | 245.894 | 6.276 | 1.6911 | 21.1437 | 2.4395 | 2.2018 | 1 | 4.4035 | 19.0028 | 21.1437 | 17.9857 | 399.8439 | 388.4608 | 8.7408 | 11.7677 | 27.8514 | 37.4959 | 499.8657 | 1499.9774 | 280.2704 | 70.2771 | -1.3363 | 0.38121 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0491 | 0.006276 | 294.2937 | 292.1528 | 239.9964 | -0.48354 | 2.5181 | 35.8303 | 24.0626 | 20.0732 | 2.3573 | 0.25461 | 0.827 | 1.5303 | 0.16047 | 17.2807 | 0.633 | 35.1832 | 382.0576 | 0.019234 | 21.0762 | 18.9952 | 21.1179 | #DIV/0! | 2102.1667 | 0 | 21.0762 | 0.27077 | 244.9586 | 6.2748 | 1.6876 | 21.1179 | 2.4395 | 2.2018 | 1 | 4.4035 | 18.9952 | 21.1179 | 17.9851 | 399.89 | 388.4144 | 8.7338 | 11.7602 | 27.8419 | 37.4895 | 499.8494 | 1500.1439 | 280.3995 | 70.2763 | -1.3363 | 0.38121 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0062748 | 294.2679 | 292.1452 | 240.023 | -0.4813 | 2.5141 | 35.7742 | 24.014 | 20.0566 | 2.3548 | 0.25509 | 0.82646 | 1.5284 | 0.16077 | 17.2148 | 0.63066 | 35.2224 | 381.953 | 0.019436
Remark= | "15:50:13 Coolers: Tblock -> 23.00 C"
Remark= | "15:52:31 Flow: Fixed -> 500 umol/s"
47 | 15:53:40 | 2320.5 | 0 | 20.6173 | 0.26553 | 244.5594 | 7.0431 | 1.9205 | 23.7754 | 2.4395 | 2.2018 | 1 | 4.4035 | 23.2791 | 23.7754 | 23.0656 | 400.7533 | 389.3509 | 11.3292 | 14.7165 | 27.7655 | 36.0673 | 499.7618 | 1500.0142 | 279.7764 | 70.2821 | -1.2073 | 0.35525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0486 | 0.0070431 | 296.9254 | 296.4291 | 240.0023 | -0.61216 | 2.9548 | 42.0422 | 27.3257 | 23.5273 | 2.911 | 0.25043 | 1.0343 | 1.8767 | 0.15781 | 17.1881 | 0.62812 | 36.9101 | 383.0302 | 0.019867
48 | 15:53:41 | 2320.5 | 0 | 20.6173 | 0.26553 | 244.5594 | 7.0431 | 1.9205 | 23.7754 | 2.4395 | 2.2018 | 1 | 4.4035 | 23.2791 | 23.7754 | 23.0656 | 400.7533 | 389.3509 | 11.3292 | 14.7165 | 27.7655 | 36.0673 | 499.7618 | 1500.0142 | 279.7764 | 70.2821 | -1.2073 | 0.35525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0486 | 0.0070431 | 296.9254 | 296.4291 | 240.0023 | -0.61216 | 2.9548 | 42.0422 | 27.3257 | 23.5273 | 2.911 | 0.25043 | 1.0343 | 1.8767 | 0.15781 | 17.1881 | 0.62812 | 36.9101 | 383.0302 | 0.019867
49 | 15:53:41 | 2320.5 | 0 | 20.6173 | 0.26553 | 244.5594 | 7.0431 | 1.9205 | 23.7754 | 2.4395 | 2.2018 | 1 | 4.4035 | 23.2791 | 23.7754 | 23.0656 | 400.7533 | 389.3509 | 11.3292 | 14.7165 | 27.7655 | 36.0673 | 499.7618 | 1500.0142 | 279.7764 | 70.2821 | -1.2073 | 0.35525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0486 | 0.0070431 | 296.9254 | 296.4291 | 240.0023 | -0.61216 | 2.9548 | 42.0422 | 27.3257 | 23.5273 | 2.911 | 0.25043 | 1.0343 | 1.8767 | 0.15781 | 17.1881 | 0.62812 | 36.9101 | 383.0302 | 0.019867
50 | 15:53:41 | 2321 | 0 | 20.6978 | 0.26573 | 244.1462 | 7.0481 | 1.9205 | 23.7766 | 2.4395 | 2.2018 | 1 | 4.4035 | 23.2798 | 23.7766 | 23.0653 | 400.7891 | 389.3468 | 11.3297 | 14.7193 | 27.7657 | 36.0726 | 499.7803 | 1499.9664 | 279.7179 | 70.2821 | -1.2073 | 0.35525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0487 | 0.0070481 | 296.9266 | 296.4298 | 239.9946 | -0.61402 | 2.955 | 42.0451 | 27.3258 | 23.5282 | 2.9111 | 0.25061 | 1.0345 | 1.8766 | 0.15792 | 17.1591 | 0.62707 | 36.9166 | 383.0015 | 0.01995
51 | 15:53:42 | 2321.5 | 0 | 20.5467 | 0.26563 | 245.0815 | 7.0468 | 1.9208 | 23.7786 | 2.4395 | 2.2018 | 1 | 4.4035 | 23.2809 | 23.7786 | 23.0653 | 400.7621 | 389.3936 | 11.3309 | 14.7199 | 27.767 | 36.0719 | 499.7778 | 1499.9609 | 279.7101 | 70.2823 | -1.2073 | 0.35525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0487 | 0.0070468 | 296.9286 | 296.4309 | 239.9937 | -0.61367 | 2.9554 | 42.05 | 27.3301 | 23.5297 | 2.9114 | 0.25052 | 1.0346 | 1.8769 | 0.15787 | 17.2249 | 0.62939 | 36.9126 | 383.0945 | 0.019798
52 | 15:53:42 | 2322 | 0 | 20.4808 | 0.26562 | 245.5005 | 7.0463 | 1.9207 | 23.7784 | 2.4395 | 2.2018 | 1 | 4.4035 | 23.2812 | 23.7784 | 23.0655 | 400.7452 | 389.4093 | 11.3318 | 14.7204 | 27.7686 | 36.0725 | 499.7978 | 1500.0045 | 279.7865 | 70.2824 | -1.2073 | 0.35525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0488 | 0.0070463 | 296.9284 | 296.4312 | 240.0007 | -0.61337 | 2.9553 | 42.0494 | 27.329 | 23.5298 | 2.9114 | 0.25051 | 1.0346 | 1.8768 | 0.15786 | 17.2544 | 0.63044 | 36.9141 | 383.1305 | 0.019733
53 | 15:53:43 | 2322.5 | 0 | 20.5596 | 0.2656 | 244.972 | 7.0469 | 1.9211 | 23.7805 | 2.4395 | 2.2018 | 1 | 4.4035 | 23.2817 | 23.7805 | 23.0664 | 400.7573 | 389.3829 | 11.3321 | 14.721 | 27.7684 | 36.0727 | 499.793 | 1500.0931 | 279.7239 | 70.2821 | -1.2073 | 0.35525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0488 | 0.0070469 | 296.9305 | 296.4317 | 240.0149 | -0.6136 | 2.9557 | 42.0549 | 27.3339 | 23.5311 | 2.9116 | 0.25049 | 1.0346 | 1.877 | 0.15785 | 17.2171 | 0.62913 | 36.9105 | 383.0799 | 0.01981
54 | 15:53:43 | 2323 | 0 | 20.6598 | 0.26578 | 244.4157 | 7.0504 | 1.9208 | 23.7798 | 2.4395 | 2.2018 | 1 | 4.4035 | 23.2826 | 23.7798 | 23.0664 | 400.7867 | 389.3632 | 11.3325 | 14.723 | 27.7678 | 36.0755 | 499.81 | 1500.1722 | 279.7545 | 70.282 | -1.2073 | 0.35525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0488 | 0.0070504 | 296.9298 | 296.4326 | 240.0276 | -0.6146 | 2.9556 | 42.0531 | 27.3302 | 23.5312 | 2.9117 | 0.25065 | 1.0348 | 1.8769 | 0.15795 | 17.178 | 0.62773 | 36.9188 | 383.0295 | 0.019913
55 | 15:53:44 | 2323.5 | 0 | 20.5723 | 0.26565 | 244.9115 | 7.0485 | 1.9212 | 23.7819 | 2.4395 | 2.2018 | 1 | 4.4035 | 23.2833 | 23.7819 | 23.0664 | 400.7598 | 389.3791 | 11.3338 | 14.7234 | 27.7698 | 36.075 | 499.8031 | 1500.2158 | 279.7713 | 70.2818 | -1.2073 | 0.35525 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0488 | 0.0070485 | 296.9319 | 296.4333 | 240.0345 | -0.61401 | 2.956 | 42.0587 | 27.3352 | 23.5326 | 2.9119 | 0.25053 | 1.0348 | 1.8771 | 0.15787 | 17.2128 | 0.62898 | 36.9135 | 383.0722 | 0.019824
56 | 15:53:44 | 2324 | 0 | 20.4888 | 0.26549 | 245.3606 | 7.0448 | 1.9212 | 23.7821 | 2.4395 | 2.2018 | 1 | 4.4035 | 23.2842 | 23.7821 | 23.0663 | 400.7216 | 389.3829 | 11.3356 | 14.7233 | 27.7726 | 36.0726 | 499.8256 | 1500.2372 | 279.8167 | 70.2815 | -1.2073 | 0.35525 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0070448 | 296.9321 | 296.4342 | 240.0379 | -0.6126 | 2.956 | 42.0594 | 27.3361 | 23.5332 | 2.912 | 0.25039 | 1.0348 | 1.8772 | 0.15779 | 17.2443 | 0.63013 | 36.9105 | 383.1016 | 0.01974
57 | 15:53:45 | 2324.5 | 0 | 20.4711 | 0.26548 | 245.4591 | 7.0463 | 1.9216 | 23.7853 | 2.4395 | 2.2018 | 1 | 4.4035 | 23.2854 | 23.7853 | 23.0659 | 400.7081 | 389.3769 | 11.3365 | 14.7252 | 27.7728 | 36.0745 | 499.7865 | 1500.2393 | 279.8173 | 70.2815 | -1.2073 | 0.35525 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0487 | 0.0070463 | 296.9353 | 296.4354 | 240.0383 | -0.6133 | 2.9566 | 42.0674 | 27.3422 | 23.5353 | 2.9124 | 0.25039 | 1.0349 | 1.8775 | 0.15778 | 17.2512 | 0.63039 | 36.908 | 383.101 | 0.019722
58 | 15:53:45 | 2325 | 0 | 20.3514 | 0.26523 | 246.0844 | 7.0425 | 1.9223 | 23.7892 | 2.4395 | 2.2018 | 1 | 4.4035 | 23.2863 | 23.7892 | 23.0669 | 400.6507 | 389.3785 | 11.3385 | 14.7254 | 27.7763 | 36.0733 | 499.7819 | 1500.2969 | 279.832 | 70.2819 | -1.2073 | 0.35525 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0487 | 0.0070425 | 296.9392 | 296.4363 | 240.0475 | -0.61215 | 2.9573 | 42.0771 | 27.3517 | 23.5378 | 2.9128 | 0.25017 | 1.0349 | 1.8779 | 0.15764 | 17.2953 | 0.63199 | 36.8969 | 383.1393 | 0.019599
59 | 15:53:46 | 2325.5 | 0 | 20.4182 | 0.26499 | 245.5018 | 7.0394 | 1.9231 | 23.7935 | 2.4395 | 2.2018 | 1 | 4.4035 | 23.2874 | 23.7935 | 23.068 | 400.6278 | 389.3239 | 11.3398 | 14.7252 | 27.7776 | 36.0702 | 499.7893 | 1500.3344 | 279.7983 | 70.2813 | -1.2073 | 0.35525 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0488 | 0.0070394 | 296.9435 | 296.4374 | 240.0535 | -0.61131 | 2.958 | 42.0884 | 27.3632 | 23.5404 | 2.9133 | 0.24995 | 1.0349 | 1.8784 | 0.1575 | 17.2542 | 0.63058 | 36.8837 | 383.0643 | 0.01966
60 | 15:53:46 | 2326 | 0 | 20.369 | 0.26486 | 245.7421 | 7.0389 | 1.9239 | 23.7985 | 2.4395 | 2.2018 | 1 | 4.4035 | 23.2891 | 23.7985 | 23.0682 | 400.6041 | 389.3244 | 11.3422 | 14.7273 | 27.7803 | 36.0714 | 499.7931 | 1500.3547 | 279.7653 | 70.281 | -1.2073 | 0.35525 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0488 | 0.0070389 | 296.9485 | 296.4391 | 240.0568 | -0.6114 | 2.9589 | 42.1012 | 27.3739 | 23.5438 | 2.9139 | 0.24983 | 1.035 | 1.8788 | 0.15743 | 17.271 | 0.6312 | 36.876 | 383.0798 | 0.019608
61 | 15:53:47 | 2326.5 | 0 | 20.3059 | 0.26481 | 246.1115 | 7.0381 | 1.924 | 23.7994 | 2.4395 | 2.2018 | 1 | 4.4035 | 23.2899 | 23.7994 | 23.0674 | 400.575 | 389.326 | 11.3431 | 14.7278 | 27.7811 | 36.071 | 499.7819 | 1500.3413 | 279.76 | 70.2811 | -1.2073 | 0.35525 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0487 | 0.0070381 | 296.9494 | 296.4399 | 240.0546 | -0.61115 | 2.9591 | 42.1035 | 27.3757 | 23.5447 | 2.914 | 0.24979 | 1.0351 | 1.8789 | 0.1574 | 17.297 | 0.63215 | 36.8745 | 383.1008 | 0.019545 | 20.5182 | 23.2833 | 23.7833 | #DIV/0! | 2323.1 | 0 | 20.5182 | 0.26543 | 245.131 | 7.0444 | 1.9215 | 23.7833 | 2.4395 | 2.2018 | 1 | 4.4035 | 23.2833 | 23.7833 | 23.0663 | 400.7165 | 389.3627 | 11.3343 | 14.7221 | 27.771 | 36.0717 | 499.7871 | 1500.1506 | 279.7722 | 70.2818 | -1.2073 | 0.35525 | 0.84444 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0487 | 0.0070444 | 296.9333 | 296.4333 | 240.0241 | -0.61278 | 2.9562 | 42.0623 | 27.3403 | 23.5333 | 2.912 | 0.25034 | 1.0347 | 1.8773 | 0.15775 | 17.2283 | 0.62957 | 36.9044 | 383.0724 | 0.019767
Remark= | "15:53:58 Coolers: Tblock -> 28.00 C"
Remark= | "15:55:51 Flow: Fixed -> 500 umol/s"
62 | 15:56:20 | 2480.5 | 0 | 19.2806 | 0.2572 | 246.4735 | 7.4445 | 2.0824 | 25.8439 | 2.4395 | 2.2018 | 1 | 4.4035 | 27.1987 | 25.8439 | 27.9491 | 398.6535 | 387.8345 | 14.3727 | 17.9408 | 27.8937 | 34.8184 | 499.8451 | 1500.0702 | 278.1419 | 70.2768 | -1.0523 | 0.32361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0074445 | 298.9939 | 300.3487 | 240.0112 | -0.5821 | 3.3432 | 47.5721 | 29.6313 | 26.5213 | 3.4798 | 0.24301 | 1.2608 | 2.2189 | 0.15309 | 17.3214 | 0.63551 | 39.1572 | 381.9236 | 0.019768
63 | 15:56:21 | 2480.5 | 0 | 19.2806 | 0.2572 | 246.4735 | 7.4445 | 2.0824 | 25.8439 | 2.4395 | 2.2018 | 1 | 4.4035 | 27.1987 | 25.8439 | 27.9491 | 398.6535 | 387.8345 | 14.3727 | 17.9408 | 27.8937 | 34.8184 | 499.8451 | 1500.0702 | 278.1419 | 70.2768 | -1.0523 | 0.32361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0074445 | 298.9939 | 300.3487 | 240.0112 | -0.5821 | 3.3432 | 47.5721 | 29.6313 | 26.5213 | 3.4798 | 0.24301 | 1.2608 | 2.2189 | 0.15309 | 17.3214 | 0.63551 | 39.1572 | 381.9236 | 0.019768
64 | 15:56:21 | 2481 | 0 | 19.3492 | 0.25726 | 246.07 | 7.4479 | 2.0829 | 25.8473 | 2.4395 | 2.2018 | 1 | 4.4035 | 27.201 | 25.8473 | 27.9494 | 398.7022 | 387.8488 | 14.3735 | 17.9433 | 27.8913 | 34.8183 | 499.8316 | 1500.0529 | 278.1448 | 70.2766 | -1.0523 | 0.32361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0074479 | 298.9973 | 300.351 | 240.0085 | -0.58339 | 3.3439 | 47.5819 | 29.6386 | 26.5242 | 3.4803 | 0.24306 | 1.261 | 2.2194 | 0.15312 | 17.293 | 0.63445 | 39.155 | 381.9169 | 0.019837
65 | 15:56:22 | 2481.5 | 0 | 19.3849 | 0.25728 | 245.8506 | 7.4503 | 2.0834 | 25.8501 | 2.4395 | 2.2018 | 1 | 4.4035 | 27.204 | 25.8501 | 27.9498 | 398.7183 | 387.8474 | 14.3738 | 17.9447 | 27.8869 | 34.8147 | 499.85 | 1500.0677 | 278.2379 | 70.2762 | -1.0523 | 0.32361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0074503 | 299.0001 | 300.354 | 240.0108 | -0.58423 | 3.3444 | 47.5899 | 29.6453 | 26.527 | 3.4809 | 0.24308 | 1.2611 | 2.2199 | 0.15314 | 17.2774 | 0.63388 | 39.1517 | 381.9045 | 0.019873
66 | 15:56:22 | 2482 | 0 | 19.3887 | 0.25733 | 245.8517 | 7.4533 | 2.0838 | 25.8533 | 2.4395 | 2.2018 | 1 | 4.4035 | 27.2057 | 25.8533 | 27.9495 | 398.729 | 387.8558 | 14.3746 | 17.9468 | 27.8856 | 34.8154 | 499.8585 | 1500.05 | 278.2392 | 70.2763 | -1.0523 | 0.32361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0074533 | 299.0033 | 300.3557 | 240.008 | -0.58544 | 3.3451 | 47.5989 | 29.652 | 26.5295 | 3.4814 | 0.24312 | 1.2612 | 2.2202 | 0.15317 | 17.2776 | 0.63387 | 39.1495 | 381.9118 | 0.019875
67 | 15:56:23 | 2482.5 | 0 | 19.3722 | 0.25732 | 245.9554 | 7.4548 | 2.0843 | 25.8562 | 2.4395 | 2.2018 | 1 | 4.4035 | 27.2083 | 25.8562 | 27.9496 | 398.7292 | 387.8635 | 14.3756 | 17.9486 | 27.8831 | 34.8132 | 499.846 | 1499.9657 | 278.2993 | 70.2757 | -1.0523 | 0.32361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0074548 | 299.0062 | 300.3583 | 239.9945 | -0.58608 | 3.3457 | 47.6075 | 29.6589 | 26.5323 | 3.482 | 0.24311 | 1.2614 | 2.2207 | 0.15316 | 17.2847 | 0.63413 | 39.1459 | 381.9245 | 0.019856
68 | 15:56:23 | 2483 | 0 | 19.3877 | 0.25718 | 245.7743 | 7.4536 | 2.085 | 25.8597 | 2.4395 | 2.2018 | 1 | 4.4035 | 27.211 | 25.8597 | 27.9493 | 398.7206 | 387.8474 | 14.377 | 17.9495 | 27.8811 | 34.8092 | 499.8327 | 1500.0455 | 278.1414 | 70.275 | -1.0523 | 0.32361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0074536 | 299.0097 | 300.361 | 240.0073 | -0.58563 | 3.3464 | 47.618 | 29.6686 | 26.5353 | 3.4826 | 0.24299 | 1.2614 | 2.2212 | 0.15308 | 17.2718 | 0.63369 | 39.1374 | 381.9036 | 0.019869
69 | 15:56:24 | 2483.5 | 0 | 19.3676 | 0.2571 | 245.889 | 7.4529 | 2.0854 | 25.8626 | 2.4395 | 2.2018 | 1 | 4.4035 | 27.2133 | 25.8626 | 27.9491 | 398.7419 | 387.8786 | 14.3787 | 17.9508 | 27.8807 | 34.8071 | 499.8399 | 1500.047 | 278.1233 | 70.275 | -1.0523 | 0.32361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0074529 | 299.0126 | 300.3633 | 240.0075 | -0.58543 | 3.3469 | 47.6261 | 29.6752 | 26.538 | 3.4832 | 0.24291 | 1.2615 | 2.2217 | 0.15303 | 17.2799 | 0.63393 | 39.1326 | 381.941 | 0.019843
70 | 15:56:24 | 2484 | 0 | 19.4452 | 0.25716 | 245.3958 | 7.4572 | 2.0861 | 25.8669 | 2.4395 | 2.2018 | 1 | 4.4035 | 27.2154 | 25.8669 | 27.9488 | 398.7581 | 387.8554 | 14.3784 | 17.9528 | 27.8766 | 34.8067 | 499.8024 | 1500.0724 | 278.0902 | 70.275 | -1.0523 | 0.32361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0488 | 0.0074572 | 299.0169 | 300.3654 | 240.0116 | -0.58712 | 3.3478 | 47.6381 | 29.6853 | 26.5412 | 3.4838 | 0.24297 | 1.2616 | 2.2222 | 0.15307 | 17.2452 | 0.6327 | 39.1278 | 381.894 | 0.019923
71 | 15:56:25 | 2484.5 | 0 | 19.4113 | 0.25719 | 245.6666 | 7.4605 | 2.0868 | 25.8715 | 2.4395 | 2.2018 | 1 | 4.4035 | 27.2177 | 25.8715 | 27.9491 | 398.7922 | 387.9053 | 14.3801 | 17.9561 | 27.8761 | 34.8082 | 499.8025 | 1500.0363 | 278.1754 | 70.2749 | -1.0523 | 0.32361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0488 | 0.0074605 | 299.0215 | 300.3677 | 240.0058 | -0.58854 | 3.3487 | 47.6513 | 29.6952 | 26.5446 | 3.4845 | 0.24299 | 1.2619 | 2.2227 | 0.15309 | 17.2642 | 0.63332 | 39.1241 | 381.9543 | 0.019883
72 | 15:56:25 | 2485 | 0 | 19.3583 | 0.25713 | 245.97 | 7.4616 | 2.0876 | 25.8757 | 2.4395 | 2.2018 | 1 | 4.4035 | 27.2191 | 25.8757 | 27.9486 | 398.7647 | 387.9036 | 14.3805 | 17.957 | 27.8747 | 34.8072 | 499.8108 | 1500.0406 | 278.2354 | 70.2748 | -1.0523 | 0.32361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0488 | 0.0074616 | 299.0257 | 300.3691 | 240.0065 | -0.58919 | 3.3495 | 47.6631 | 29.7061 | 26.5474 | 3.4851 | 0.24294 | 1.2619 | 2.2232 | 0.15305 | 17.2855 | 0.6341 | 39.1157 | 381.9689 | 0.019824
73 | 15:56:26 | 2485.5 | 0 | 19.3193 | 0.25688 | 246.116 | 7.4587 | 2.0887 | 25.8814 | 2.4395 | 2.2018 | 1 | 4.4035 | 27.2203 | 25.8814 | 27.9485 | 398.7655 | 387.9234 | 14.3823 | 17.9575 | 27.8762 | 34.8059 | 499.7921 | 1500.0282 | 278.1899 | 70.2751 | -1.0523 | 0.32361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0488 | 0.0074587 | 299.0314 | 300.3703 | 240.0045 | -0.5886 | 3.3506 | 47.679 | 29.7215 | 26.5508 | 3.4858 | 0.24272 | 1.262 | 2.2239 | 0.15291 | 17.2958 | 0.63444 | 39.1008 | 382.0007 | 0.019775
74 | 15:56:26 | 2486 | 0 | 19.3856 | 0.25679 | 245.6321 | 7.4593 | 2.0895 | 25.8859 | 2.4395 | 2.2018 | 1 | 4.4035 | 27.2226 | 25.8859 | 27.9489 | 398.7841 | 387.9093 | 14.3832 | 17.9588 | 27.874 | 34.8034 | 499.7744 | 1500.0386 | 278.1411 | 70.2746 | -1.0523 | 0.32361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0487 | 0.0074593 | 299.0359 | 300.3726 | 240.0062 | -0.58899 | 3.3515 | 47.6921 | 29.7333 | 26.5542 | 3.4865 | 0.24264 | 1.262 | 2.2245 | 0.15286 | 17.2617 | 0.63322 | 39.0916 | 381.9662 | 0.01984
75 | 15:56:27 | 2486.5 | 0 | 19.4556 | 0.25697 | 245.2794 | 7.4661 | 2.09 | 25.8897 | 2.4395 | 2.2018 | 1 | 4.4035 | 27.224 | 25.8897 | 27.9491 | 398.8351 | 387.9252 | 14.3833 | 17.962 | 27.872 | 34.8069 | 499.7903 | 1500.054 | 278.0959 | 70.2748 | -1.0523 | 0.32361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0488 | 0.0074661 | 299.0397 | 300.374 | 240.0086 | -0.59159 | 3.3523 | 47.7026 | 29.7406 | 26.5568 | 3.487 | 0.2428 | 1.2623 | 2.2248 | 0.15296 | 17.2369 | 0.63229 | 39.0921 | 381.9606 | 0.019912
76 | 15:56:27 | 2487 | 0 | 19.4717 | 0.25697 | 245.1826 | 7.4674 | 2.0904 | 25.8917 | 2.4395 | 2.2018 | 1 | 4.4035 | 27.2249 | 25.8917 | 27.9488 | 398.8494 | 387.9312 | 14.3835 | 17.9629 | 27.8712 | 34.8071 | 499.7855 | 1499.954 | 278.2465 | 70.2755 | -1.0523 | 0.32361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0487 | 0.0074674 | 299.0417 | 300.3749 | 239.9926 | -0.59229 | 3.3527 | 47.708 | 29.7451 | 26.5583 | 3.4874 | 0.2428 | 1.2624 | 2.225 | 0.15297 | 17.2303 | 0.63203 | 39.0895 | 381.9617 | 0.019927 | 19.3772 | 27.2123 | 25.8653 | #DIV/0! | 2483.5333 | 0 | 19.3772 | 0.25713 | 245.8387 | 7.4555 | 2.0859 | 25.8653 | 2.4395 | 2.2018 | 1 | 4.4035 | 27.2123 | 25.8653 | 27.9491 | 398.7465 | 387.8776 | 14.378 | 17.9515 | 27.8811 | 34.8107 | 499.8205 | 1500.0396 | 278.1763 | 70.2755 | -1.0523 | 0.32361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0074555 | 299.0153 | 300.3623 | 240.0063 | -0.58672 | 3.3475 | 47.6334 | 29.6819 | 26.5388 | 3.4834 | 0.24294 | 1.2616 | 2.2218 | 0.15305 | 17.2764 | 0.6338 | 39.1285 | 381.9371 | 0.019851
Remark= | "15:56:41 Coolers: Tblock -> 33.00 C"
Remark= | "15:59:29 Flow: Fixed -> 500 umol/s"
77 | 16:00:19 | 2719.5 | 0 | 18.6448 | 0.22958 | 235.2098 | 7.7695 | 2.4004 | 29.1802 | 2.4395 | 2.2018 | 1 | 4.4035 | 31.7226 | 29.1802 | 33.0309 | 399.1705 | 388.5959 | 19.9685 | 23.6712 | 29.8537 | 35.3894 | 499.77 | 1499.0891 | 276.6669 | 70.2764 | -1.1072 | 0.27107 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0487 | 0.0077695 | 302.3302 | 304.8726 | 239.8543 | -0.57662 | 4.0639 | 57.8275 | 34.1563 | 30.4514 | 4.3722 | 0.2182 | 1.6635 | 2.7087 | 0.13735 | 16.5297 | 0.60528 | 41.4761 | 382.8799 | 0.020197
78 | 16:00:19 | 2719.5 | 0 | 18.6448 | 0.22958 | 235.2098 | 7.7695 | 2.4004 | 29.1802 | 2.4395 | 2.2018 | 1 | 4.4035 | 31.7226 | 29.1802 | 33.0309 | 399.1705 | 388.5959 | 19.9685 | 23.6712 | 29.8537 | 35.3894 | 499.77 | 1499.0891 | 276.6669 | 70.2764 | -1.1072 | 0.27107 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0487 | 0.0077695 | 302.3302 | 304.8726 | 239.8543 | -0.57662 | 4.0639 | 57.8275 | 34.1563 | 30.4514 | 4.3722 | 0.2182 | 1.6635 | 2.7087 | 0.13735 | 16.5297 | 0.60528 | 41.4761 | 382.8799 | 0.020197
79 | 16:00:20 | 2720 | 0 | 18.6079 | 0.2294 | 235.3759 | 7.7634 | 2.4003 | 29.1791 | 2.4395 | 2.2018 | 1 | 4.4035 | 31.7238 | 29.1791 | 33.0303 | 399.1529 | 388.5976 | 19.9694 | 23.6691 | 29.853 | 35.3839 | 499.7777 | 1499.0354 | 276.6784 | 70.2763 | -1.1072 | 0.27107 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0487 | 0.0077634 | 302.3291 | 304.8738 | 239.8457 | -0.57431 | 4.0636 | 57.8238 | 34.1547 | 30.4515 | 4.3722 | 0.21804 | 1.6634 | 2.7088 | 0.13725 | 16.5414 | 0.60571 | 41.4731 | 382.8929 | 0.020155
80 | 16:00:20 | 2720.5 | 0 | 18.6884 | 0.22966 | 234.9558 | 7.7676 | 2.3989 | 29.1737 | 2.4395 | 2.2018 | 1 | 4.4035 | 31.7258 | 29.1737 | 33.0297 | 399.1874 | 388.5919 | 19.9681 | 23.6699 | 29.8477 | 35.3811 | 499.7715 | 1499.0267 | 276.6777 | 70.2762 | -1.1072 | 0.27107 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0487 | 0.0077676 | 302.3237 | 304.8758 | 239.8443 | -0.57509 | 4.0624 | 57.8058 | 34.1359 | 30.4497 | 4.3718 | 0.21828 | 1.6634 | 2.7083 | 0.1374 | 16.5118 | 0.60463 | 41.4909 | 382.8625 | 0.020253
81 | 16:00:21 | 2721 | 0 | 18.7548 | 0.22958 | 234.4508 | 7.7643 | 2.3987 | 29.1721 | 2.4395 | 2.2018 | 1 | 4.4035 | 31.7273 | 29.1721 | 33.0301 | 399.2275 | 388.5999 | 19.9679 | 23.6682 | 29.8447 | 35.3752 | 499.76 | 1499.05 | 276.7398 | 70.2757 | -1.1072 | 0.27107 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0486 | 0.0077643 | 302.3221 | 304.8773 | 239.848 | -0.57359 | 4.062 | 57.8009 | 34.1327 | 30.4497 | 4.3717 | 0.21821 | 1.6633 | 2.7084 | 0.13736 | 16.4762 | 0.60332 | 41.4906 | 382.8502 | 0.020325
82 | 16:00:22 | 2721.5 | 0 | 18.798 | 0.22966 | 234.1901 | 7.7667 | 2.3987 | 29.1727 | 2.4395 | 2.2018 | 1 | 4.4035 | 31.7285 | 29.1727 | 33.03 | 399.2545 | 388.6053 | 19.9686 | 23.6701 | 29.8436 | 35.3755 | 499.7595 | 1499.0875 | 276.7613 | 70.2756 | -1.1072 | 0.27107 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0486 | 0.0077667 | 302.3227 | 304.8785 | 239.854 | -0.57432 | 4.0621 | 57.803 | 34.133 | 30.4506 | 4.372 | 0.21827 | 1.6634 | 2.7086 | 0.1374 | 16.4579 | 0.60264 | 41.4932 | 382.8424 | 0.020374
83 | 16:00:22 | 2722 | 0 | 18.8255 | 0.22959 | 233.9481 | 7.7667 | 2.3993 | 29.1753 | 2.4395 | 2.2018 | 1 | 4.4035 | 31.7302 | 29.1753 | 33.0296 | 399.2595 | 388.5969 | 19.9689 | 23.6703 | 29.841 | 35.3723 | 499.7583 | 1499.1019 | 276.6299 | 70.2755 | -1.1072 | 0.27107 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0486 | 0.0077667 | 302.3253 | 304.8802 | 239.8563 | -0.57439 | 4.0628 | 57.8119 | 34.1416 | 30.4528 | 4.3725 | 0.21822 | 1.6634 | 2.7091 | 0.13736 | 16.4408 | 0.60203 | 41.4862 | 382.8255 | 0.020401
84 | 16:00:23 | 2722.5 | 0 | 18.8625 | 0.22968 | 233.7343 | 7.7733 | 2.4005 | 29.1807 | 2.4395 | 2.2018 | 1 | 4.4035 | 31.7319 | 29.1807 | 33.03 | 399.2858 | 388.6041 | 19.9677 | 23.6722 | 29.8364 | 35.3718 | 499.7677 | 1499.104 | 276.6808 | 70.2753 | -1.1072 | 0.27107 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0487 | 0.0077733 | 302.3307 | 304.8819 | 239.8566 | -0.57707 | 4.064 | 57.8301 | 34.1579 | 30.4563 | 4.3734 | 0.2183 | 1.6636 | 2.7098 | 0.13741 | 16.4258 | 0.60147 | 41.4773 | 382.8214 | 0.020437
85 | 16:00:23 | 2723 | 0 | 18.9379 | 0.22972 | 233.2337 | 7.7757 | 2.4009 | 29.1827 | 2.4395 | 2.2018 | 1 | 4.4035 | 31.732 | 29.1827 | 33.0296 | 399.3407 | 388.6217 | 19.9673 | 23.6729 | 29.8357 | 35.3728 | 499.769 | 1499.099 | 276.6748 | 70.2756 | -1.1072 | 0.27107 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0487 | 0.0077757 | 302.3327 | 304.882 | 239.8558 | -0.5781 | 4.0645 | 57.8364 | 34.1634 | 30.4573 | 4.3737 | 0.21833 | 1.6636 | 2.71 | 0.13743 | 16.3906 | 0.60016 | 41.4743 | 382.8159 | 0.020517
86 | 16:00:24 | 2723.5 | 0 | 19.0574 | 0.22972 | 232.3658 | 7.7781 | 2.4015 | 29.1854 | 2.4395 | 2.2018 | 1 | 4.4035 | 31.734 | 29.1854 | 33.0302 | 399.3802 | 388.6024 | 19.9657 | 23.6725 | 29.8297 | 35.3679 | 499.7657 | 1499.1934 | 276.6775 | 70.2747 | -1.1072 | 0.27107 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0487 | 0.0077781 | 302.3354 | 304.884 | 239.8709 | -0.57888 | 4.0651 | 57.846 | 34.1735 | 30.4597 | 4.3742 | 0.21833 | 1.6636 | 2.7107 | 0.13743 | 16.3294 | 0.59795 | 41.4666 | 382.7599 | 0.020646
87 | 16:00:24 | 2724 | 0 | 19.1329 | 0.22995 | 231.9839 | 7.7848 | 2.4013 | 29.1852 | 2.4395 | 2.2018 | 1 | 4.4035 | 31.7362 | 29.1852 | 33.0305 | 399.4399 | 388.6243 | 19.9656 | 23.6754 | 29.8255 | 35.3675 | 499.786 | 1499.23 | 276.6182 | 70.2744 | -1.1072 | 0.27107 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0487 | 0.0077848 | 302.3352 | 304.8862 | 239.8768 | -0.58096 | 4.0651 | 57.8457 | 34.1703 | 30.4607 | 4.3745 | 0.21854 | 1.6638 | 2.7107 | 0.13757 | 16.3025 | 0.59694 | 41.4746 | 382.7587 | 0.020732
88 | 16:00:25 | 2724.5 | 0 | 19.2056 | 0.22996 | 231.4706 | 7.792 | 2.4034 | 29.1944 | 2.4395 | 2.2018 | 1 | 4.4035 | 31.7371 | 29.1944 | 33.0313 | 399.4867 | 388.6345 | 19.964 | 23.6772 | 29.8215 | 35.3682 | 499.7955 | 1499.2366 | 276.6516 | 70.2739 | -1.1072 | 0.27107 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0488 | 0.007792 | 302.3444 | 304.8871 | 239.8778 | -0.58428 | 4.0672 | 57.877 | 34.1998 | 30.4658 | 4.3758 | 0.21855 | 1.6639 | 2.7119 | 0.13757 | 16.2663 | 0.5956 | 41.4549 | 382.7466 | 0.020801
89 | 16:00:25 | 2725 | 0 | 19.179 | 0.23001 | 231.708 | 7.796 | 2.4041 | 29.1982 | 2.4395 | 2.2018 | 1 | 4.4035 | 31.7378 | 29.1982 | 33.0301 | 399.5038 | 388.6637 | 19.9639 | 23.679 | 29.8204 | 35.3696 | 499.7953 | 1499.2083 | 276.577 | 70.2743 | -1.1072 | 0.27107 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0488 | 0.007796 | 302.3482 | 304.8878 | 239.8733 | -0.58601 | 4.0681 | 57.8893 | 34.2103 | 30.468 | 4.3763 | 0.21859 | 1.664 | 2.7123 | 0.1376 | 16.2831 | 0.59617 | 41.4495 | 382.7839 | 0.020768
90 | 16:00:26 | 2725.5 | 0 | 19.147 | 0.22995 | 231.9277 | 7.7963 | 2.4047 | 29.2002 | 2.4395 | 2.2018 | 1 | 4.4035 | 31.7386 | 29.2002 | 33.0296 | 399.5169 | 388.6926 | 19.962 | 23.6771 | 29.8161 | 35.3652 | 499.8151 | 1499.1321 | 276.5349 | 70.2741 | -1.1072 | 0.27107 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0077963 | 302.3502 | 304.8886 | 239.8611 | -0.58633 | 4.0686 | 57.8961 | 34.219 | 30.4694 | 4.3767 | 0.21854 | 1.6639 | 2.7128 | 0.13757 | 16.2985 | 0.59669 | 41.4407 | 382.8227 | 0.020727
91 | 16:00:26 | 2726 | 0 | 19.1799 | 0.23001 | 231.7615 | 7.7966 | 2.4042 | 29.198 | 2.4395 | 2.2018 | 1 | 4.4035 | 31.74 | 29.198 | 33.0294 | 399.5656 | 388.725 | 19.9616 | 23.6769 | 29.8129 | 35.3617 | 499.8096 | 1499.1005 | 276.6282 | 70.2736 | -1.1072 | 0.27107 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0488 | 0.0077966 | 302.348 | 304.89 | 239.8561 | -0.58616 | 4.0681 | 57.8894 | 34.2125 | 30.469 | 4.3766 | 0.21859 | 1.6639 | 2.7127 | 0.1376 | 16.2867 | 0.59621 | 41.446 | 382.845 | 0.020764 | 18.9111 | 31.7312 | 29.1839 | #DIV/0! | 2722.5333 | 0 | 18.9111 | 0.22974 | 233.4351 | 7.7774 | 2.4012 | 29.1839 | 2.4395 | 2.2018 | 1 | 4.4035 | 31.7312 | 29.1839 | 33.0301 | 399.3295 | 388.6234 | 19.9665 | 23.6729 | 29.8357 | 35.3741 | 499.7781 | 1499.1189 | 276.6576 | 70.2752 | -1.1072 | 0.27107 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0487 | 0.0077774 | 302.3339 | 304.8812 | 239.859 | -0.57885 | 4.0648 | 57.8407 | 34.1678 | 30.4576 | 4.3737 | 0.21835 | 1.6636 | 2.7101 | 0.13745 | 16.4047 | 0.60067 | 41.4713 | 382.8258 | 0.020486
Remark= | "16:00:42 Coolers: Tblock -> 38.00 C"
Remark= | "16:07:52 Flow: Fixed -> 500 umol/s"
92 | 16:08:58 | 3238 | 0 | 16.1825 | 0.20221 | 235.0449 | 8.3875 | 2.8931 | 32.9054 | 2.4395 | 2.2018 | 1 | 4.4035 | 36.3909 | 32.9054 | 38.1094 | 399.1633 | 389.6704 | 26.3757 | 30.3449 | 30.3903 | 34.9638 | 499.8509 | 1499.0399 | 263.3766 | 70.265 | -0.20221 | 0.23776 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0083875 | 306.0554 | 309.5409 | 239.8464 | -0.68707 | 5.0253 | 71.5195 | 41.1746 | 34.6482 | 5.5393 | 0.19333 | 2.1322 | 3.4071 | 0.1216 | 16.5154 | 0.60319 | 42.0025 | 384.7093 | 0.017668
93 | 16:08:58 | 3238 | 0 | 16.1825 | 0.20221 | 235.0449 | 8.3875 | 2.8931 | 32.9054 | 2.4395 | 2.2018 | 1 | 4.4035 | 36.3909 | 32.9054 | 38.1094 | 399.1633 | 389.6704 | 26.3757 | 30.3449 | 30.3903 | 34.9638 | 499.8509 | 1499.0399 | 263.3766 | 70.265 | -0.20221 | 0.23776 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0083875 | 306.0554 | 309.5409 | 239.8464 | -0.68707 | 5.0253 | 71.5195 | 41.1746 | 34.6482 | 5.5393 | 0.19333 | 2.1322 | 3.4071 | 0.1216 | 16.5154 | 0.60319 | 42.0025 | 384.7093 | 0.017668
94 | 16:08:58 | 3238.5 | 0 | 16.1246 | 0.20262 | 235.829 | 8.3862 | 2.8872 | 32.8841 | 2.4395 | 2.2018 | 1 | 4.4035 | 36.3924 | 32.8841 | 38.1097 | 399.1678 | 389.7034 | 26.3747 | 30.3433 | 30.3868 | 34.9592 | 499.8537 | 1499.048 | 263.6181 | 70.2649 | -0.20221 | 0.23776 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0083862 | 306.0341 | 309.5424 | 239.8477 | -0.68438 | 5.0193 | 71.434 | 41.0906 | 34.6382 | 5.5362 | 0.19371 | 2.1321 | 3.4041 | 0.12184 | 16.5705 | 0.60515 | 42.0593 | 384.7601 | 0.017626
95 | 16:08:59 | 3239 | 0 | 16.1708 | 0.20318 | 235.8582 | 8.3907 | 2.8812 | 32.8629 | 2.4395 | 2.2018 | 1 | 4.4035 | 36.3924 | 32.8629 | 38.1096 | 399.1992 | 389.7113 | 26.3734 | 30.3441 | 30.3853 | 34.9601 | 499.8521 | 1499.0614 | 264.557 | 70.2651 | -0.20221 | 0.23776 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.049 | 0.0083907 | 306.0129 | 309.5424 | 239.8498 | -0.68383 | 5.0133 | 71.3487 | 41.0046 | 34.6277 | 5.5329 | 0.19422 | 2.1321 | 3.4008 | 0.12216 | 16.5726 | 0.60521 | 42.1212 | 384.7538 | 0.017703
96 | 16:08:59 | 3239.5 | 0 | 16.234 | 0.20346 | 235.4999 | 8.3959 | 2.8793 | 32.8564 | 2.4395 | 2.2018 | 1 | 4.4035 | 36.3925 | 32.8564 | 38.1096 | 399.1908 | 389.6708 | 26.3706 | 30.344 | 30.382 | 34.9599 | 499.8264 | 1499.0748 | 264.5465 | 70.2652 | -0.20221 | 0.23776 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0489 | 0.0083959 | 306.0064 | 309.5425 | 239.852 | -0.68503 | 5.0115 | 71.3223 | 40.9783 | 34.6244 | 5.5319 | 0.19447 | 2.1321 | 3.3998 | 0.12232 | 16.5475 | 0.60436 | 42.1411 | 384.6939 | 0.017783
97 | 16:09:00 | 3240 | 0 | 16.3419 | 0.20372 | 234.8083 | 8.3982 | 2.8766 | 32.8466 | 2.4395 | 2.2018 | 1 | 4.4035 | 36.3924 | 32.8466 | 38.1099 | 399.2209 | 389.6476 | 26.3701 | 30.3447 | 30.3815 | 34.9607 | 499.8121 | 1499.0916 | 265.675 | 70.2649 | -0.20221 | 0.23776 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0488 | 0.0083982 | 305.9966 | 309.5424 | 239.8546 | -0.68486 | 5.0087 | 71.2836 | 40.9389 | 34.6195 | 5.5304 | 0.19472 | 2.1322 | 3.3983 | 0.12248 | 16.4988 | 0.60262 | 42.1699 | 384.6376 | 0.017917
98 | 16:09:00 | 3240.5 | 0 | 16.301 | 0.20385 | 235.2673 | 8.3904 | 2.8723 | 32.8308 | 2.4395 | 2.2018 | 1 | 4.4035 | 36.3916 | 32.8308 | 38.11 | 399.2297 | 389.6776 | 26.3706 | 30.3416 | 30.3837 | 34.9589 | 499.808 | 1499.0305 | 266.7993 | 70.2654 | -0.20221 | 0.23776 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0488 | 0.0083904 | 305.9808 | 309.5416 | 239.8449 | -0.68074 | 5.0043 | 71.2198 | 40.8782 | 34.6112 | 5.5279 | 0.19483 | 2.132 | 3.3959 | 0.12255 | 16.5311 | 0.60375 | 42.2075 | 384.6802 | 0.017886
99 | 16:09:01 | 3241 | 0 | 16.2322 | 0.20396 | 235.8949 | 8.3876 | 2.8699 | 32.8219 | 2.4395 | 2.2018 | 1 | 4.4035 | 36.3921 | 32.8219 | 38.11 | 399.1963 | 389.6781 | 26.3698 | 30.3395 | 30.3819 | 34.9557 | 499.7968 | 1499.046 | 269.1213 | 70.2657 | -0.20221 | 0.23776 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0488 | 0.0083876 | 305.9719 | 309.5421 | 239.8474 | -0.67881 | 5.0018 | 71.1838 | 40.8442 | 34.607 | 5.5266 | 0.19493 | 2.1318 | 3.3948 | 0.12261 | 16.5753 | 0.60536 | 42.2289 | 384.7018 | 0.017818
100 | 16:09:02 | 3241.5 | 0 | 16.2071 | 0.2043 | 236.3415 | 8.3867 | 2.8651 | 32.8044 | 2.4395 | 2.2018 | 1 | 4.4035 | 36.3929 | 32.8044 | 38.1102 | 399.1907 | 389.6848 | 26.3687 | 30.3381 | 30.3793 | 34.9524 | 499.7922 | 1498.9645 | 269.1258 | 70.2656 | -0.20221 | 0.23776 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0488 | 0.0083867 | 305.9544 | 309.5429 | 239.8343 | -0.6768 | 4.9969 | 71.1138 | 40.7758 | 34.5987 | 5.524 | 0.19525 | 2.1317 | 3.3923 | 0.12281 | 16.6067 | 0.60649 | 42.2755 | 384.7161 | 0.01781
101 | 16:09:02 | 3242 | 0 | 16.2889 | 0.20483 | 235.9741 | 8.3935 | 2.8605 | 32.7878 | 2.4395 | 2.2018 | 1 | 4.4035 | 36.3934 | 32.7878 | 38.1099 | 399.152 | 389.6046 | 26.3644 | 30.3373 | 30.3734 | 34.9503 | 499.7597 | 1499.009 | 269.1354 | 70.2653 | -0.20221 | 0.23776 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0486 | 0.0083935 | 305.9378 | 309.5434 | 239.8414 | -0.67747 | 4.9922 | 71.0474 | 40.7101 | 34.5906 | 5.5216 | 0.19573 | 2.1317 | 3.3899 | 0.12312 | 16.5808 | 0.60568 | 42.3231 | 384.6109 | 0.017925
102 | 16:09:03 | 3242.5 | 0 | 16.2366 | 0.2048 | 236.3609 | 8.3917 | 2.8603 | 32.7865 | 2.4395 | 2.2018 | 1 | 4.4035 | 36.3929 | 32.7865 | 38.1102 | 399.1161 | 389.5947 | 26.3635 | 30.3355 | 30.3732 | 34.9493 | 499.7596 | 1499.0043 | 270.4784 | 70.2653 | -0.20221 | 0.23776 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0486 | 0.0083917 | 305.9365 | 309.5429 | 239.8407 | -0.67676 | 4.9918 | 71.0423 | 40.7068 | 34.5897 | 5.5213 | 0.1957 | 2.1315 | 3.3898 | 0.1231 | 16.608 | 0.60668 | 42.3235 | 384.617 | 0.017867
103 | 16:09:03 | 3243 | 0 | 16.1187 | 0.2046 | 237.1885 | 8.3839 | 2.8603 | 32.7857 | 2.4395 | 2.2018 | 1 | 4.4035 | 36.3928 | 32.7857 | 38.1101 | 399.0822 | 389.6196 | 26.3632 | 30.3316 | 30.3729 | 34.9449 | 499.7534 | 1498.9114 | 270.4114 | 70.2652 | -0.20221 | 0.23776 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0486 | 0.0083839 | 305.9357 | 309.5428 | 239.8258 | -0.67408 | 4.9916 | 71.0394 | 40.7078 | 34.5893 | 5.5212 | 0.19552 | 2.1313 | 3.3899 | 0.12298 | 16.6661 | 0.60877 | 42.3174 | 384.678 | 0.017732
104 | 16:09:04 | 3243.5 | 0 | 16.0926 | 0.20476 | 237.5181 | 8.3835 | 2.8581 | 32.7773 | 2.4395 | 2.2018 | 1 | 4.4035 | 36.3927 | 32.7773 | 38.1103 | 399.0796 | 389.6297 | 26.3624 | 30.3306 | 30.3722 | 34.944 | 499.7528 | 1498.8766 | 271.8271 | 70.2652 | -0.20221 | 0.23776 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0486 | 0.0083835 | 305.9273 | 309.5427 | 239.8202 | -0.67317 | 4.9892 | 71.0058 | 40.6752 | 34.585 | 5.5198 | 0.19567 | 2.1312 | 3.3887 | 0.12308 | 16.6892 | 0.6096 | 42.3394 | 384.6961 | 0.017711
105 | 16:09:04 | 3244 | 0 | 16.0206 | 0.20481 | 238.1285 | 8.3838 | 2.8575 | 32.7745 | 2.4395 | 2.2018 | 1 | 4.4035 | 36.393 | 32.7745 | 38.11 | 399.0592 | 389.6446 | 26.3582 | 30.3265 | 30.3668 | 34.9385 | 499.765 | 1498.8734 | 271.8378 | 70.265 | -0.20221 | 0.23776 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0487 | 0.0083838 | 305.9245 | 309.543 | 239.8197 | -0.67295 | 4.9884 | 70.9946 | 40.6682 | 34.5837 | 5.5195 | 0.19571 | 2.1309 | 3.3886 | 0.1231 | 16.7321 | 0.61114 | 42.3414 | 384.7331 | 0.017631
106 | 16:09:05 | 3244.5 | 0 | 16.0223 | 0.20508 | 238.2677 | 8.3913 | 2.8565 | 32.7708 | 2.4395 | 2.2018 | 1 | 4.4035 | 36.3936 | 32.7708 | 38.1094 | 399.0453 | 389.6283 | 26.3549 | 30.3268 | 30.3618 | 34.9375 | 499.7574 | 1498.9065 | 271.7972 | 70.2647 | -0.20221 | 0.23776 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0486 | 0.0083913 | 305.9208 | 309.5436 | 239.825 | -0.67514 | 4.9874 | 70.9803 | 40.6536 | 34.5822 | 5.519 | 0.19596 | 2.1309 | 3.3881 | 0.12326 | 16.7418 | 0.61153 | 42.3543 | 384.7163 | 0.017639 | 16.1838 | 36.3924 | 32.8267 | #DIV/0! | 3241.0333 | 0 | 16.1838 | 0.20389 | 236.2018 | 8.3892 | 2.8714 | 32.8267 | 2.4395 | 2.2018 | 1 | 4.4035 | 36.3924 | 32.8267 | 38.1098 | 399.1504 | 389.6557 | 26.3677 | 30.3382 | 30.3788 | 34.9533 | 499.7994 | 1498.9985 | 267.7122 | 70.2652 | -0.20221 | 0.23776 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 2.0488 | 0.0083892 | 305.9767 | 309.5424 | 239.8398 | -0.67988 | 5.0031 | 71.2037 | 40.8654 | 34.6096 | 5.5274 | 0.19487 | 2.1317 | 3.3957 | 0.12257 | 16.5968 | 0.60618 | 42.2138 | 384.6942 | 0.017759