## stm-plipo4_
OPEN 6.2.4
Sun Jun 28 2015 15:57:48
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
1 | 15:57:59 | 16 | 0 | 21.6751 | 0.43088 | 297.2186 | 6.959 | 1.2137 | 14.4163 | 1.172 | 2.4801 | 1 | 4.9601 | 10.2237 | 14.4163 | 7.6847 | 398.999 | 393.2766 | 4.5687 | 6.1898 | 25.6293 | 34.7239 | 499.9532 | 1500.7263 | 95.6729 | 70.1835 | -2.7783 | 0.28978 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.266 | 0.006959 | 287.5663 | 283.3737 | 240.1162 | -0.79006 | 1.6481 | 23.483 | 17.2932 | 12.32 | 1.4376 | 0.39644 | 0.43443 | 1.0032 | 0.25066 | 20.8598 | 0.75575 | 31.2242 | 387.3773 | 0.017471
2 | 15:57:59 | 16.5 | 0 | 21.7886 | 0.4312 | 296.8585 | 6.9544 | 1.2121 | 14.4007 | 1.172 | 2.4801 | 1 | 4.9601 | 10.2217 | 14.4007 | 7.6845 | 399.0419 | 393.2931 | 4.5688 | 6.1889 | 25.6336 | 34.7236 | 499.9424 | 1500.437 | 95.6119 | 70.1836 | -2.7783 | 0.28978 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2659 | 0.0069544 | 287.5507 | 283.3717 | 240.0699 | -0.78792 | 1.6465 | 23.4594 | 17.2704 | 12.3112 | 1.4368 | 0.39671 | 0.43436 | 1.0024 | 0.25083 | 20.8346 | 0.7548 | 31.2503 | 387.3629 | 0.017578
3 | 15:57:59 | 16.5 | 0 | 21.7886 | 0.4312 | 296.8585 | 6.9544 | 1.2121 | 14.4007 | 1.172 | 2.4801 | 1 | 4.9601 | 10.2217 | 14.4007 | 7.6845 | 399.0419 | 393.2931 | 4.5688 | 6.1889 | 25.6336 | 34.7236 | 499.9424 | 1500.437 | 95.6119 | 70.1836 | -2.7783 | 0.28978 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2659 | 0.0069544 | 287.5507 | 283.3717 | 240.0699 | -0.78792 | 1.6465 | 23.4594 | 17.2704 | 12.3112 | 1.4368 | 0.39671 | 0.43436 | 1.0024 | 0.25083 | 20.8346 | 0.7548 | 31.2503 | 387.3629 | 0.017578
4 | 15:58:00 | 17 | 0 | 22.1534 | 0.43085 | 295.4045 | 6.9469 | 1.2117 | 14.3962 | 1.172 | 2.4801 | 1 | 4.9601 | 10.2206 | 14.3962 | 7.6842 | 399.1705 | 393.3372 | 4.5695 | 6.1878 | 25.6399 | 34.7202 | 499.9761 | 1500.1655 | 95.5305 | 70.1841 | -2.7783 | 0.28978 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2662 | 0.0069469 | 287.5462 | 283.3706 | 240.0265 | -0.78557 | 1.646 | 23.4525 | 17.2646 | 12.3084 | 1.4365 | 0.39641 | 0.43429 | 1.0022 | 0.25064 | 20.7327 | 0.75102 | 31.249 | 387.3077 | 0.017874
5 | 15:58:01 | 17.5 | 0 | 22.8619 | 0.43073 | 292.6443 | 6.9435 | 1.2114 | 14.393 | 1.172 | 2.4801 | 1 | 4.9601 | 10.2194 | 14.393 | 7.6835 | 399.3855 | 393.3866 | 4.5696 | 6.187 | 25.6422 | 34.7185 | 499.9895 | 1499.9302 | 95.5363 | 70.1844 | -2.7783 | 0.28978 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2663 | 0.0069435 | 287.543 | 283.3694 | 239.9888 | -0.78459 | 1.6456 | 23.4474 | 17.2604 | 12.3062 | 1.4363 | 0.39632 | 0.43423 | 1.002 | 0.25058 | 20.5391 | 0.74391 | 31.2499 | 387.1643 | 0.018453
6 | 15:58:01 | 18 | 0 | 23.7599 | 0.43039 | 289.0637 | 6.9366 | 1.2111 | 14.389 | 1.172 | 2.4801 | 1 | 4.9601 | 10.2177 | 14.389 | 7.6829 | 399.6156 | 393.407 | 4.5698 | 6.1856 | 25.6463 | 34.7143 | 500.0071 | 1499.7073 | 95.4768 | 70.1845 | -2.7783 | 0.28978 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2665 | 0.0069366 | 287.539 | 283.3677 | 239.9532 | -0.78246 | 1.6452 | 23.4413 | 17.2558 | 12.3034 | 1.436 | 0.39603 | 0.43413 | 1.0019 | 0.25039 | 20.2878 | 0.73477 | 31.2464 | 386.9403 | 0.019187
7 | 15:58:02 | 18.5 | 0 | 24.66 | 0.43041 | 285.5126 | 6.9348 | 1.2107 | 14.3854 | 1.172 | 2.4801 | 1 | 4.9601 | 10.2165 | 14.3854 | 7.6818 | 399.8151 | 393.3949 | 4.5695 | 6.1851 | 25.6469 | 34.7145 | 499.946 | 1499.6404 | 95.4635 | 70.1848 | -2.7783 | 0.28978 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2659 | 0.0069348 | 287.5354 | 283.3665 | 239.9425 | -0.78179 | 1.6448 | 23.4358 | 17.2507 | 12.301 | 1.4358 | 0.39605 | 0.4341 | 1.0017 | 0.2504 | 20.0386 | 0.72577 | 31.2507 | 386.6832 | 0.01993
8 | 15:58:02 | 19 | 0 | 25.2403 | 0.43038 | 283.1906 | 6.9355 | 1.2109 | 14.3871 | 1.172 | 2.4801 | 1 | 4.9601 | 10.2149 | 14.3871 | 7.6811 | 399.9235 | 393.3669 | 4.569 | 6.1848 | 25.6466 | 34.7165 | 499.921 | 1499.7255 | 95.509 | 70.1846 | -2.7783 | 0.28978 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2657 | 0.0069355 | 287.5371 | 283.3649 | 239.9561 | -0.78214 | 1.645 | 23.4384 | 17.2536 | 12.301 | 1.4358 | 0.39602 | 0.43408 | 1.0017 | 0.25038 | 19.8756 | 0.71991 | 31.2462 | 386.4973 | 0.020405
9 | 15:58:03 | 19.5 | 0 | 25.3054 | 0.4303 | 282.897 | 6.9339 | 1.2109 | 14.3859 | 1.172 | 2.4801 | 1 | 4.9601 | 10.2139 | 14.3859 | 7.6803 | 399.9172 | 393.3459 | 4.5686 | 6.184 | 25.646 | 34.714 | 499.9444 | 1499.728 | 95.4483 | 70.1841 | -2.7783 | 0.28978 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2659 | 0.0069339 | 287.5359 | 283.3639 | 239.9565 | -0.78163 | 1.6449 | 23.4368 | 17.2528 | 12.2999 | 1.4357 | 0.39595 | 0.43402 | 1.0017 | 0.25034 | 19.8549 | 0.71921 | 31.2439 | 386.4585 | 0.020459
10 | 15:58:03 | 20 | 0 | 25.1084 | 0.42973 | 283.4894 | 6.9278 | 1.2113 | 14.3891 | 1.172 | 2.4801 | 1 | 4.9601 | 10.2131 | 14.3891 | 7.6799 | 399.8105 | 393.2863 | 4.5692 | 6.183 | 25.6507 | 34.7107 | 499.9755 | 1499.7518 | 95.5775 | 70.1842 | -2.7783 | 0.28978 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2662 | 0.0069278 | 287.5391 | 283.3631 | 239.9603 | -0.77994 | 1.6452 | 23.4416 | 17.2586 | 12.3011 | 1.4358 | 0.39547 | 0.43395 | 1.0018 | 0.25003 | 19.8965 | 0.72082 | 31.2275 | 386.4526 | 0.020289
11 | 15:58:04 | 20.5 | 0 | 24.5298 | 0.4293 | 285.6277 | 6.9267 | 1.2122 | 14.3975 | 1.172 | 2.4801 | 1 | 4.9601 | 10.2128 | 14.3975 | 7.6788 | 399.6247 | 393.2369 | 4.5695 | 6.1829 | 25.6528 | 34.7106 | 500.0174 | 1499.8234 | 95.5466 | 70.184 | -2.7783 | 0.28978 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2665 | 0.0069267 | 287.5475 | 283.3628 | 239.9717 | -0.78014 | 1.6461 | 23.4544 | 17.2714 | 12.3052 | 1.4362 | 0.39511 | 0.43394 | 1.0022 | 0.2498 | 20.0465 | 0.72635 | 31.2079 | 386.5606 | 0.019803
12 | 15:58:04 | 21 | 0 | 24.3245 | 0.4291 | 286.3182 | 6.9248 | 1.2124 | 14.3986 | 1.172 | 2.4801 | 1 | 4.9601 | 10.2117 | 14.3986 | 7.678 | 399.4973 | 393.158 | 4.569 | 6.182 | 25.6521 | 34.708 | 500.0229 | 1499.8595 | 95.5139 | 70.1838 | -2.7783 | 0.28978 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2666 | 0.0069248 | 287.5486 | 283.3617 | 239.9775 | -0.77963 | 1.6462 | 23.4561 | 17.2741 | 12.3051 | 1.4362 | 0.39494 | 0.43388 | 1.0023 | 0.24969 | 20.0949 | 0.72825 | 31.1999 | 386.5376 | 0.019634
13 | 15:58:05 | 21.5 | 0 | 24.4282 | 0.42869 | 285.7244 | 6.918 | 1.2123 | 14.3968 | 1.172 | 2.4801 | 1 | 4.9601 | 10.2112 | 14.3968 | 7.6781 | 399.419 | 393.0561 | 4.5694 | 6.1808 | 25.6551 | 34.7027 | 500.0126 | 1499.7932 | 95.4958 | 70.1844 | -2.7783 | 0.28978 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2665 | 0.006918 | 287.5468 | 283.3612 | 239.9669 | -0.77747 | 1.6461 | 23.4533 | 17.2725 | 12.304 | 1.4361 | 0.39459 | 0.4338 | 1.0023 | 0.24947 | 20.0534 | 0.72693 | 31.1929 | 386.4075 | 0.01972
14 | 15:58:05 | 22 | 0 | 24.3671 | 0.42838 | 285.7813 | 6.9156 | 1.2126 | 14.3999 | 1.172 | 2.4801 | 1 | 4.9601 | 10.2108 | 14.3999 | 7.6776 | 399.2834 | 392.9354 | 4.5693 | 6.1802 | 25.6555 | 34.6999 | 500.0269 | 1499.8044 | 95.5229 | 70.1843 | -2.7783 | 0.28978 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2666 | 0.0069156 | 287.5499 | 283.3608 | 239.9687 | -0.77692 | 1.6464 | 23.4579 | 17.2777 | 12.3054 | 1.4362 | 0.39433 | 0.43375 | 1.0025 | 0.2493 | 20.0574 | 0.7273 | 31.1815 | 386.3034 | 0.019669
15 | 15:58:06 | 22.5 | 0 | 23.9975 | 0.42835 | 287.1227 | 6.9159 | 1.2128 | 14.4014 | 1.172 | 2.4801 | 1 | 4.9601 | 10.2104 | 14.4014 | 7.6773 | 399.081 | 392.82 | 4.5696 | 6.1804 | 25.6575 | 34.7022 | 500.0482 | 1499.7848 | 95.509 | 70.184 | -2.7783 | 0.28978 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2668 | 0.0069159 | 287.5514 | 283.3604 | 239.9656 | -0.7772 | 1.6465 | 23.4603 | 17.2799 | 12.3059 | 1.4363 | 0.3943 | 0.43377 | 1.0025 | 0.24928 | 20.1514 | 0.73093 | 31.1793 | 386.2886 | 0.01937 | 23.7326 | 10.216 | 14.3958 | #DIV/0! | 19.0667 | 0 | 23.7326 | 0.42999 | 288.9141 | 6.9352 | 1.2119 | 14.3958 | 1.172 | 2.4801 | 1 | 4.9601 | 10.216 | 14.3958 | 7.6811 | 399.4417 | 393.2396 | 4.5692 | 6.1848 | 25.6459 | 34.7135 | 499.9817 | 1499.9543 | 95.5351 | 70.1841 | -2.7783 | 0.28978 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2662 | 0.0069352 | 287.5458 | 283.366 | 239.9927 | -0.78236 | 1.6459 | 23.4518 | 17.2671 | 12.3059 | 1.4363 | 0.39569 | 0.43407 | 1.0022 | 0.25018 | 20.2772 | 0.7347 | 31.2267 | 386.7803 | 0.019161
Remark= | "15:58:19 Coolers: Tblock -> 12.00 C"
Remark= | "16:00:19 Flow: Fixed -> 500 umol/s"
Remark= | "16:03:04 Flow: Fixed -> 500 umol/s"
16 | 16:03:24 | 341.5 | 0 | 21.8077 | 0.2689 | 249.8708 | 4.6981 | 1.2708 | 15.9639 | 1.172 | 2.4801 | 1 | 4.9601 | 13.3408 | 15.9639 | 11.9472 | 400.6343 | 395.0871 | 6.7398 | 7.8324 | 30.7752 | 35.7646 | 499.9452 | 1500.5405 | 90.5789 | 70.1807 | -3.2095 | 0.29311 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2659 | 0.0046981 | 289.1139 | 286.4908 | 240.0865 | 0.043191 | 1.8205 | 25.9401 | 18.1076 | 14.6523 | 1.6735 | 0.25507 | 0.54969 | 1.1238 | 0.16061 | 17.5361 | 0.63244 | 32.6467 | 389.1517 | 0.018295
17 | 16:03:24 | 341.5 | 0 | 21.8077 | 0.2689 | 249.8708 | 4.6981 | 1.2708 | 15.9639 | 1.172 | 2.4801 | 1 | 4.9601 | 13.3408 | 15.9639 | 11.9472 | 400.6343 | 395.0871 | 6.7398 | 7.8324 | 30.7752 | 35.7646 | 499.9452 | 1500.5405 | 90.5789 | 70.1807 | -3.2095 | 0.29311 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2659 | 0.0046981 | 289.1139 | 286.4908 | 240.0865 | 0.043191 | 1.8205 | 25.9401 | 18.1076 | 14.6523 | 1.6735 | 0.25507 | 0.54969 | 1.1238 | 0.16061 | 17.5361 | 0.63244 | 32.6467 | 389.1517 | 0.018295
18 | 16:03:25 | 342 | 0 | 21.4991 | 0.26862 | 251.5868 | 4.693 | 1.2707 | 15.9619 | 1.172 | 2.4801 | 1 | 4.9601 | 13.3404 | 15.9619 | 11.9471 | 400.5118 | 395.0375 | 6.7394 | 7.8309 | 30.7744 | 35.7585 | 499.953 | 1500.5474 | 90.6984 | 70.1808 | -3.2095 | 0.29311 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.266 | 0.004693 | 289.1119 | 286.4904 | 240.0876 | 0.044933 | 1.8203 | 25.9368 | 18.1059 | 14.6512 | 1.6733 | 0.25482 | 0.54958 | 1.1237 | 0.16045 | 17.6566 | 0.63687 | 32.6412 | 389.1861 | 0.018031
19 | 16:03:25 | 342.5 | 0 | 21.2214 | 0.26835 | 253.0936 | 4.6878 | 1.2705 | 15.9589 | 1.172 | 2.4801 | 1 | 4.9601 | 13.3403 | 15.9589 | 11.9471 | 400.368 | 394.9596 | 6.7382 | 7.8285 | 30.7693 | 35.7478 | 499.9696 | 1500.5232 | 90.7966 | 70.1811 | -3.2095 | 0.29311 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2661 | 0.0046878 | 289.1089 | 286.4903 | 240.0837 | 0.046786 | 1.8199 | 25.9317 | 18.1032 | 14.6496 | 1.6732 | 0.25458 | 0.54941 | 1.1237 | 0.16029 | 17.7624 | 0.64081 | 32.6347 | 389.1838 | 0.017795
20 | 16:03:26 | 343 | 0 | 20.9332 | 0.26821 | 254.7333 | 4.6847 | 1.2703 | 15.9561 | 1.172 | 2.4801 | 1 | 4.9601 | 13.3403 | 15.9561 | 11.9475 | 400.2268 | 394.8865 | 6.7375 | 7.827 | 30.7663 | 35.7414 | 499.9815 | 1500.5281 | 91.0021 | 70.181 | -3.2095 | 0.29311 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2662 | 0.0046847 | 289.1061 | 286.4903 | 240.0845 | 0.047996 | 1.8196 | 25.9271 | 18.1 | 14.6482 | 1.673 | 0.25446 | 0.54931 | 1.1237 | 0.16022 | 17.8774 | 0.64508 | 32.633 | 389.1891 | 0.017552
21 | 16:03:26 | 343.5 | 0 | 20.4568 | 0.26767 | 257.3618 | 4.6766 | 1.2705 | 15.9568 | 1.172 | 2.4801 | 1 | 4.9601 | 13.3396 | 15.9568 | 11.9482 | 400.058 | 394.8304 | 6.7371 | 7.8247 | 30.766 | 35.7324 | 500.0066 | 1500.4916 | 91.0949 | 70.1814 | -3.2095 | 0.29311 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2664 | 0.0046766 | 289.1068 | 286.4896 | 240.0786 | 0.050459 | 1.8197 | 25.9282 | 18.1035 | 14.6482 | 1.673 | 0.25396 | 0.54915 | 1.1239 | 0.1599 | 18.062 | 0.65183 | 32.6161 | 389.2627 | 0.017141
22 | 16:03:27 | 344 | 0 | 20.1386 | 0.26758 | 259.1759 | 4.676 | 1.2708 | 15.9582 | 1.172 | 2.4801 | 1 | 4.9601 | 13.3395 | 15.9582 | 11.9475 | 399.8749 | 394.7221 | 6.7358 | 7.8232 | 30.7603 | 35.7262 | 500.0051 | 1500.5784 | 91.1407 | 70.1817 | -3.2095 | 0.29311 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2664 | 0.004676 | 289.1082 | 286.4895 | 240.0925 | 0.050616 | 1.8198 | 25.9304 | 18.1072 | 14.6489 | 1.6731 | 0.25388 | 0.54905 | 1.124 | 0.15985 | 18.1894 | 0.6566 | 32.6069 | 389.241 | 0.01687
23 | 16:03:27 | 344.5 | 0 | 19.8658 | 0.26717 | 260.5783 | 4.6696 | 1.2709 | 15.9577 | 1.172 | 2.4801 | 1 | 4.9601 | 13.3387 | 15.9577 | 11.9473 | 399.7068 | 394.6187 | 6.735 | 7.8209 | 30.7584 | 35.7178 | 500.0069 | 1500.5945 | 91.2155 | 70.1823 | -3.2095 | 0.29311 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2664 | 0.0046696 | 289.1077 | 286.4887 | 240.0951 | 0.052676 | 1.8198 | 25.9293 | 18.1084 | 14.6482 | 1.673 | 0.25352 | 0.54889 | 1.1241 | 0.15962 | 18.288 | 0.66033 | 32.5944 | 389.2118 | 0.016637
24 | 16:03:28 | 345 | 0 | 19.3366 | 0.26671 | 263.5788 | 4.6635 | 1.2713 | 15.9601 | 1.172 | 2.4801 | 1 | 4.9601 | 13.3382 | 15.9601 | 11.9477 | 399.5124 | 394.5485 | 6.7342 | 7.8188 | 30.7561 | 35.7096 | 499.9715 | 1500.6864 | 91.3089 | 70.1825 | -3.2095 | 0.29311 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2661 | 0.0046635 | 289.1101 | 286.4882 | 240.1098 | 0.054496 | 1.8201 | 25.9332 | 18.1144 | 14.6491 | 1.6731 | 0.2531 | 0.54874 | 1.1244 | 0.15936 | 18.4986 | 0.66805 | 32.5763 | 389.2857 | 0.016181
25 | 16:03:28 | 345.5 | 0 | 19.1654 | 0.26638 | 264.4306 | 4.6596 | 1.2717 | 15.9625 | 1.172 | 2.4801 | 1 | 4.9601 | 13.3381 | 15.9625 | 11.9482 | 399.4063 | 394.4828 | 6.7331 | 7.8168 | 30.7511 | 35.7006 | 499.9573 | 1500.6624 | 91.3588 | 70.1827 | -3.2095 | 0.29311 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.266 | 0.0046596 | 289.1125 | 286.4881 | 240.106 | 0.055551 | 1.8203 | 25.9371 | 18.1203 | 14.6503 | 1.6732 | 0.25281 | 0.5486 | 1.1246 | 0.15917 | 18.5584 | 0.67032 | 32.5601 | 389.2666 | 0.016031
26 | 16:03:29 | 346 | 0 | 19.4199 | 0.26664 | 262.8826 | 4.6655 | 1.2722 | 15.9659 | 1.172 | 2.4801 | 1 | 4.9601 | 13.3383 | 15.9659 | 11.9483 | 399.3866 | 394.4029 | 6.7308 | 7.8159 | 30.74 | 35.6959 | 499.9376 | 1500.741 | 91.3124 | 70.1825 | -3.2095 | 0.29311 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2659 | 0.0046655 | 289.1159 | 286.4883 | 240.1185 | 0.053504 | 1.8207 | 25.9428 | 18.1269 | 14.6521 | 1.6734 | 0.25304 | 0.54854 | 1.1249 | 0.15932 | 18.4498 | 0.66653 | 32.5535 | 389.1173 | 0.016247
27 | 16:03:30 | 346.5 | 0 | 19.507 | 0.26676 | 262.3803 | 4.6691 | 1.2726 | 15.9695 | 1.172 | 2.4801 | 1 | 4.9601 | 13.3382 | 15.9695 | 11.9482 | 399.395 | 394.3903 | 6.7294 | 7.8154 | 30.7341 | 35.6941 | 499.9221 | 1500.8192 | 91.3176 | 70.1826 | -3.2095 | 0.29311 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2657 | 0.0046691 | 289.1195 | 286.4882 | 240.1311 | 0.052148 | 1.8211 | 25.9487 | 18.1333 | 14.6538 | 1.6736 | 0.25314 | 0.54851 | 1.1251 | 0.15938 | 18.4145 | 0.66528 | 32.5464 | 389.0811 | 0.016317
28 | 16:03:30 | 347 | 0 | 19.791 | 0.2664 | 260.4741 | 4.664 | 1.2729 | 15.9705 | 1.172 | 2.4801 | 1 | 4.9601 | 13.3379 | 15.9705 | 11.9483 | 399.4711 | 394.4005 | 6.7288 | 7.8136 | 30.7321 | 35.6867 | 499.9368 | 1500.8134 | 91.3336 | 70.1833 | -3.2095 | 0.29311 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2659 | 0.004664 | 289.1205 | 286.4879 | 240.1301 | 0.053672 | 1.8213 | 25.9502 | 18.1366 | 14.6542 | 1.6737 | 0.25282 | 0.54838 | 1.1253 | 0.15918 | 18.2809 | 0.66043 | 32.5332 | 389.0139 | 0.016551
29 | 16:03:31 | 347.5 | 0 | 20.3117 | 0.26627 | 257.1995 | 4.6612 | 1.2727 | 15.9682 | 1.172 | 2.4801 | 1 | 4.9601 | 13.3378 | 15.9682 | 11.9477 | 399.599 | 394.4064 | 6.7282 | 7.8124 | 30.7298 | 35.6815 | 499.9203 | 1500.8085 | 91.4336 | 70.1837 | -3.2095 | 0.29311 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2657 | 0.0046612 | 289.1182 | 286.4878 | 240.1294 | 0.054753 | 1.821 | 25.9462 | 18.1338 | 14.653 | 1.6735 | 0.2527 | 0.5483 | 1.1252 | 0.15911 | 18.0512 | 0.65212 | 32.5317 | 388.8782 | 0.016992
30 | 16:03:31 | 348 | 0 | 20.7383 | 0.26611 | 254.5255 | 4.6584 | 1.2727 | 15.9671 | 1.172 | 2.4801 | 1 | 4.9601 | 13.3374 | 15.9671 | 11.9478 | 399.7398 | 394.4473 | 6.7275 | 7.811 | 30.7275 | 35.6765 | 499.9153 | 1500.8037 | 91.4335 | 70.1839 | -3.2095 | 0.29311 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2657 | 0.0046584 | 289.1171 | 286.4874 | 240.1286 | 0.055678 | 1.8209 | 25.9443 | 18.1332 | 14.6523 | 1.6734 | 0.25256 | 0.54821 | 1.1252 | 0.15902 | 17.8636 | 0.64527 | 32.5271 | 388.803 | 0.01735 | 20.4 | 13.3391 | 15.9628 | #DIV/0! | 344.5333 | 0 | 20.4 | 0.26738 | 257.4495 | 4.675 | 1.2714 | 15.9628 | 1.172 | 2.4801 | 1 | 4.9601 | 13.3391 | 15.9628 | 11.9477 | 399.9017 | 394.6872 | 6.7343 | 7.8216 | 30.7544 | 35.7199 | 499.9583 | 1500.6452 | 91.1069 | 70.1821 | -3.2095 | 0.29311 | 0.82222 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.266 | 0.004675 | 289.1128 | 286.4891 | 240.1032 | 0.050643 | 1.8204 | 25.9377 | 18.1161 | 14.6509 | 1.6733 | 0.2537 | 0.54894 | 1.1244 | 0.15974 | 18.0683 | 0.65229 | 32.5899 | 389.1349 | 0.017086
Remark= | "16:03:44 Coolers: Tblock -> 17.00 C"
Remark= | "16:06:15 Flow: Fixed -> 500 umol/s"
31 | 16:07:19 | 577 | 0 | 17.9612 | 0.18348 | 225.0439 | 3.6094 | 1.403 | 18.2722 | 1.172 | 2.4801 | 1 | 4.9601 | 17.3001 | 18.2722 | 17.0329 | 401.2746 | 396.7292 | 9.1937 | 10.0312 | 32.5565 | 35.5222 | 500.0186 | 1499.403 | 93.8005 | 70.1805 | -3.5239 | 0.28377 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2665 | 0.0036094 | 291.4222 | 290.4501 | 239.9045 | 0.50971 | 2.107 | 30.0227 | 19.9914 | 17.7862 | 2.0436 | 0.17693 | 0.704 | 1.3396 | 0.11115 | 15.7937 | 0.56725 | 34.4752 | 391.8407 | 0.015803
32 | 16:07:20 | 577 | 0 | 17.9612 | 0.18348 | 225.0439 | 3.6094 | 1.403 | 18.2722 | 1.172 | 2.4801 | 1 | 4.9601 | 17.3001 | 18.2722 | 17.0329 | 401.2746 | 396.7292 | 9.1937 | 10.0312 | 32.5565 | 35.5222 | 500.0186 | 1499.403 | 93.8005 | 70.1805 | -3.5239 | 0.28377 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2665 | 0.0036094 | 291.4222 | 290.4501 | 239.9045 | 0.50971 | 2.107 | 30.0227 | 19.9914 | 17.7862 | 2.0436 | 0.17693 | 0.704 | 1.3396 | 0.11115 | 15.7937 | 0.56725 | 34.4752 | 391.8407 | 0.015803
33 | 16:07:20 | 577.5 | 0 | 17.7359 | 0.18309 | 226.706 | 3.6035 | 1.4035 | 18.2754 | 1.172 | 2.4801 | 1 | 4.9601 | 17.3009 | 18.2754 | 17.0328 | 401.2105 | 396.7184 | 9.1937 | 10.0299 | 32.5549 | 35.5156 | 500.0052 | 1499.3434 | 93.8271 | 70.1809 | -3.5239 | 0.28377 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2664 | 0.0036035 | 291.4254 | 290.4509 | 239.8949 | 0.51137 | 2.1074 | 30.0285 | 19.9986 | 17.7882 | 2.0438 | 0.17658 | 0.70391 | 1.3399 | 0.11093 | 15.9104 | 0.57145 | 34.4593 | 391.8912 | 0.015595
34 | 16:07:21 | 578 | 0 | 17.6254 | 0.18307 | 227.6464 | 3.604 | 1.4039 | 18.2778 | 1.172 | 2.4801 | 1 | 4.9601 | 17.3016 | 18.2778 | 17.0326 | 401.1636 | 396.6971 | 9.1933 | 10.0296 | 32.5519 | 35.5131 | 499.9786 | 1499.3978 | 93.9361 | 70.1809 | -3.5239 | 0.28377 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2662 | 0.003604 | 291.4278 | 290.4516 | 239.9036 | 0.51113 | 2.1077 | 30.0331 | 20.0035 | 17.7897 | 2.044 | 0.17656 | 0.70389 | 1.3402 | 0.11092 | 15.9764 | 0.57385 | 34.453 | 391.9 | 0.015495
35 | 16:07:21 | 578.5 | 0 | 17.5954 | 0.18284 | 227.7097 | 3.6009 | 1.4044 | 18.2817 | 1.172 | 2.4801 | 1 | 4.9601 | 17.3021 | 18.2817 | 17.0328 | 401.1498 | 396.6903 | 9.1941 | 10.0297 | 32.5536 | 35.5123 | 499.9483 | 1499.4028 | 94.0068 | 70.1805 | -3.5239 | 0.28377 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2659 | 0.0036009 | 291.4317 | 290.4521 | 239.9044 | 0.51185 | 2.1083 | 30.0406 | 20.0109 | 17.7919 | 2.0443 | 0.17634 | 0.70389 | 1.3404 | 0.11078 | 15.9808 | 0.57402 | 34.442 | 391.9014 | 0.015464
36 | 16:07:22 | 579 | 0 | 17.5943 | 0.18248 | 227.4164 | 3.5958 | 1.4051 | 18.2864 | 1.172 | 2.4801 | 1 | 4.9601 | 17.3027 | 18.2864 | 17.0324 | 401.155 | 396.6959 | 9.1941 | 10.0286 | 32.552 | 35.5066 | 499.9089 | 1499.4321 | 94.1003 | 70.18 | -3.5239 | 0.28377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2656 | 0.0035958 | 291.4364 | 290.4527 | 239.9091 | 0.51321 | 2.1089 | 30.0495 | 20.0209 | 17.7946 | 2.0447 | 0.176 | 0.70381 | 1.3409 | 0.11056 | 15.9601 | 0.57328 | 34.4235 | 391.9073 | 0.015454
37 | 16:07:22 | 579.5 | 0 | 17.596 | 0.18191 | 226.9587 | 3.5852 | 1.4052 | 18.2873 | 1.172 | 2.4801 | 1 | 4.9601 | 17.3035 | 18.2873 | 17.0321 | 401.1904 | 396.7318 | 9.1967 | 10.0287 | 32.5597 | 35.5055 | 499.9069 | 1499.3884 | 94.2073 | 70.1802 | -3.5239 | 0.28377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2656 | 0.0035852 | 291.4373 | 290.4535 | 239.9021 | 0.51652 | 2.109 | 30.0512 | 20.0225 | 17.7954 | 2.0448 | 0.17547 | 0.70382 | 1.341 | 0.11023 | 15.928 | 0.57207 | 34.4149 | 391.9427 | 0.01545
38 | 16:07:23 | 580 | 0 | 17.4943 | 0.18182 | 227.8614 | 3.5836 | 1.4052 | 18.2879 | 1.172 | 2.4801 | 1 | 4.9601 | 17.3046 | 18.2879 | 17.033 | 401.2358 | 396.8014 | 9.1979 | 10.0296 | 32.5619 | 35.5061 | 499.9256 | 1499.3801 | 94.3089 | 70.1803 | -3.5239 | 0.28377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2658 | 0.0035836 | 291.4379 | 290.4546 | 239.9008 | 0.51708 | 2.1091 | 30.0522 | 20.0226 | 17.7963 | 2.0449 | 0.17539 | 0.70388 | 1.341 | 0.11018 | 15.9914 | 0.57425 | 34.4154 | 392.0399 | 0.015357
39 | 16:07:23 | 580.5 | 0 | 17.8889 | 0.18198 | 224.4859 | 3.5864 | 1.4051 | 18.288 | 1.172 | 2.4801 | 1 | 4.9601 | 17.3052 | 18.288 | 17.0325 | 401.3374 | 396.81 | 9.1988 | 10.0311 | 32.5637 | 35.5102 | 499.9025 | 1499.3518 | 94.2946 | 70.1805 | -3.5239 | 0.28377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2656 | 0.0035864 | 291.438 | 290.4552 | 239.8963 | 0.51616 | 2.1091 | 30.0524 | 20.0212 | 17.7966 | 2.0449 | 0.17554 | 0.70399 | 1.3409 | 0.11027 | 15.7545 | 0.56573 | 34.4223 | 391.9412 | 0.015711
40 | 16:07:24 | 581 | 0 | 18.1068 | 0.18201 | 222.5715 | 3.5869 | 1.4051 | 18.288 | 1.172 | 2.4801 | 1 | 4.9601 | 17.3062 | 18.288 | 17.0329 | 401.3992 | 396.8206 | 9.1987 | 10.0312 | 32.5614 | 35.5082 | 499.8913 | 1499.3754 | 94.4034 | 70.1803 | -3.5239 | 0.28377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2655 | 0.0035869 | 291.438 | 290.4562 | 239.9001 | 0.51612 | 2.1091 | 30.0524 | 20.0213 | 17.7971 | 2.045 | 0.17556 | 0.70399 | 1.341 | 0.11029 | 15.6201 | 0.56089 | 34.4226 | 391.8924 | 0.015904
41 | 16:07:25 | 581.5 | 0 | 18.2583 | 0.18213 | 221.3555 | 3.5887 | 1.4049 | 18.2869 | 1.172 | 2.4801 | 1 | 4.9601 | 17.3072 | 18.2869 | 17.0327 | 401.4664 | 396.8519 | 9.1987 | 10.0316 | 32.5593 | 35.5075 | 499.8783 | 1499.3638 | 94.5044 | 70.1804 | -3.5239 | 0.28377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2654 | 0.0035887 | 291.4369 | 290.4572 | 239.8982 | 0.51569 | 2.1089 | 30.0504 | 20.0187 | 17.7971 | 2.045 | 0.17568 | 0.70402 | 1.341 | 0.11036 | 15.5348 | 0.55778 | 34.428 | 391.8825 | 0.01604
42 | 16:07:25 | 582 | 0 | 18.233 | 0.18172 | 221.249 | 3.5811 | 1.4049 | 18.2868 | 1.172 | 2.4801 | 1 | 4.9601 | 17.3081 | 18.2868 | 17.0326 | 401.4767 | 396.869 | 9.2002 | 10.0314 | 32.563 | 35.5046 | 499.9021 | 1499.316 | 94.5544 | 70.1805 | -3.5239 | 0.28377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2656 | 0.0035811 | 291.4368 | 290.4581 | 239.8906 | 0.51814 | 2.1089 | 30.0502 | 20.0188 | 17.7975 | 2.045 | 0.1753 | 0.70401 | 1.341 | 0.11012 | 15.5274 | 0.55749 | 34.4222 | 391.9066 | 0.016015
43 | 16:07:26 | 583 | 0 | 18.2283 | 0.18171 | 221.2775 | 3.5797 | 1.4045 | 18.2842 | 1.172 | 2.4801 | 1 | 4.9601 | 17.3101 | 18.2842 | 17.034 | 401.4741 | 396.8682 | 9.2016 | 10.0323 | 32.5639 | 35.5037 | 499.9531 | 1499.3002 | 94.6835 | 70.1808 | -3.5239 | 0.28377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.266 | 0.0035797 | 291.4342 | 290.4601 | 239.888 | 0.51893 | 2.1086 | 30.0451 | 20.0128 | 17.7971 | 2.045 | 0.17528 | 0.70408 | 1.3409 | 0.11011 | 15.5294 | 0.55756 | 34.4308 | 391.907 | 0.016014
44 | 16:07:26 | 583.5 | 0 | 18.1071 | 0.18182 | 222.4386 | 3.5826 | 1.4048 | 18.2871 | 1.172 | 2.4801 | 1 | 4.9601 | 17.3104 | 18.2871 | 17.0337 | 401.4315 | 396.8537 | 9.2015 | 10.0329 | 32.5628 | 35.505 | 499.9515 | 1499.2745 | 94.7904 | 70.1808 | -3.5239 | 0.28377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.266 | 0.0035826 | 291.4371 | 290.4604 | 239.8839 | 0.51777 | 2.109 | 30.0505 | 20.0176 | 17.7988 | 2.0452 | 0.17539 | 0.70412 | 1.3411 | 0.11018 | 15.6109 | 0.56051 | 34.428 | 391.9255 | 0.015906
45 | 16:07:27 | 584 | 0 | 18.1027 | 0.1815 | 222.1332 | 3.5776 | 1.4053 | 18.2898 | 1.172 | 2.4801 | 1 | 4.9601 | 17.3112 | 18.2898 | 17.0326 | 401.3589 | 396.7824 | 9.2022 | 10.0324 | 32.5635 | 35.5015 | 499.9361 | 1499.2173 | 94.8243 | 70.1807 | -3.5239 | 0.28377 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2658 | 0.0035776 | 291.4398 | 290.4612 | 239.8748 | 0.51913 | 2.1093 | 30.0557 | 20.0233 | 17.8005 | 2.0454 | 0.17509 | 0.70408 | 1.3414 | 0.10999 | 15.5895 | 0.55984 | 34.4165 | 391.8554 | 0.0159 | 17.8993 | 17.3049 | 18.2835 | #DIV/0! | 580.1333 | 0 | 17.8993 | 0.18234 | 224.6599 | 3.5917 | 1.4045 | 18.2835 | 1.172 | 2.4801 | 1 | 4.9601 | 17.3049 | 18.2835 | 17.0328 | 401.3066 | 396.7766 | 9.1973 | 10.0308 | 32.559 | 35.5096 | 499.9417 | 1499.3566 | 94.2695 | 70.1805 | -3.5239 | 0.28377 | 0.88889 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2659 | 0.0035917 | 291.4335 | 290.4549 | 239.8971 | 0.51483 | 2.1085 | 30.0438 | 20.013 | 17.7942 | 2.0446 | 0.17587 | 0.70396 | 1.3407 | 0.11048 | 15.7667 | 0.56621 | 34.4353 | 391.905 | 0.015727
Remark= | "16:07:42 Coolers: Tblock -> 22.00 C"
Remark= | "16:10:28 Flow: Fixed -> 500 umol/s"
46 | 16:10:57 | 794 | 0 | 16.4016 | 0.1658 | 220.9146 | 3.7515 | 1.6011 | 20.9953 | 1.172 | 2.4801 | 1 | 4.9601 | 21.5756 | 20.9953 | 22.1159 | 399.3916 | 395.1992 | 11.874 | 12.7422 | 32.2231 | 34.5793 | 499.9365 | 1500.53 | 209.744 | 70.167 | -3.7682 | 0.25292 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2658 | 0.0037515 | 294.1453 | 294.7256 | 240.0848 | 0.58526 | 2.4952 | 35.5611 | 22.8189 | 21.2855 | 2.5401 | 0.16043 | 0.89408 | 1.646 | 0.10074 | 15.5009 | 0.559 | 36.3705 | 390.7352 | 0.015267
47 | 16:10:57 | 794 | 0 | 16.4016 | 0.1658 | 220.9146 | 3.7515 | 1.6011 | 20.9953 | 1.172 | 2.4801 | 1 | 4.9601 | 21.5756 | 20.9953 | 22.1159 | 399.3916 | 395.1992 | 11.874 | 12.7422 | 32.2231 | 34.5793 | 499.9365 | 1500.53 | 209.744 | 70.167 | -3.7682 | 0.25292 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2658 | 0.0037515 | 294.1453 | 294.7256 | 240.0848 | 0.58526 | 2.4952 | 35.5611 | 22.8189 | 21.2855 | 2.5401 | 0.16043 | 0.89408 | 1.646 | 0.10074 | 15.5009 | 0.559 | 36.3705 | 390.7352 | 0.015267
48 | 16:10:57 | 794.5 | 0 | 16.6631 | 0.16646 | 218.9491 | 3.7666 | 1.6014 | 20.9961 | 1.172 | 2.4801 | 1 | 4.9601 | 21.5774 | 20.9961 | 22.1153 | 399.4097 | 395.1542 | 11.8683 | 12.7401 | 32.2044 | 34.57 | 499.891 | 1500.6289 | 216.8085 | 70.1671 | -3.7682 | 0.25292 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2655 | 0.0037666 | 294.1461 | 294.7274 | 240.1006 | 0.58064 | 2.4953 | 35.5628 | 22.8227 | 21.2867 | 2.5403 | 0.16105 | 0.89394 | 1.6463 | 0.10113 | 15.363 | 0.55409 | 36.3713 | 390.619 | 0.015515
49 | 16:10:58 | 795 | 0 | 16.7765 | 0.16689 | 218.2375 | 3.7774 | 1.6019 | 20.9985 | 1.172 | 2.4801 | 1 | 4.9601 | 21.5794 | 20.9985 | 22.1146 | 399.4208 | 395.1378 | 11.8636 | 12.7379 | 32.1873 | 34.5593 | 499.8891 | 1500.7244 | 224.9149 | 70.1666 | -3.7682 | 0.25292 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2654 | 0.0037774 | 294.1485 | 294.7294 | 240.1159 | 0.57731 | 2.4957 | 35.5683 | 22.8304 | 21.289 | 2.5406 | 0.16146 | 0.89377 | 1.6468 | 0.10138 | 15.313 | 0.55231 | 36.3649 | 390.5717 | 0.01562
50 | 16:10:59 | 795.5 | 0 | 16.6736 | 0.16706 | 219.394 | 3.7823 | 1.6025 | 21.0006 | 1.172 | 2.4801 | 1 | 4.9601 | 21.5807 | 21.0006 | 22.1153 | 399.4036 | 395.1443 | 11.8593 | 12.7347 | 32.173 | 34.5479 | 499.8982 | 1500.7661 | 233.9611 | 70.1664 | -3.7682 | 0.25292 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2655 | 0.0037823 | 294.1506 | 294.7307 | 240.1226 | 0.57571 | 2.496 | 35.5729 | 22.8382 | 21.2906 | 2.5409 | 0.16161 | 0.89355 | 1.6473 | 0.10148 | 15.3941 | 0.55523 | 36.3535 | 390.6062 | 0.015518
51 | 16:10:59 | 796 | 0 | 16.5818 | 0.167 | 220.2348 | 3.7825 | 1.603 | 21.0023 | 1.172 | 2.4801 | 1 | 4.9601 | 21.5828 | 21.0023 | 22.1153 | 399.3887 | 395.1512 | 11.855 | 12.7304 | 32.157 | 34.5315 | 499.939 | 1500.7816 | 243.3397 | 70.1661 | -3.7682 | 0.25292 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2659 | 0.0037825 | 294.1523 | 294.7328 | 240.1251 | 0.5757 | 2.4963 | 35.5768 | 22.8464 | 21.2925 | 2.5412 | 0.16156 | 0.89324 | 1.6479 | 0.10145 | 15.453 | 0.55734 | 36.3368 | 390.6382 | 0.015424
52 | 16:11:00 | 796.5 | 0 | 16.3869 | 0.16713 | 222.2387 | 3.786 | 1.6034 | 21.0031 | 1.172 | 2.4801 | 1 | 4.9601 | 21.5845 | 21.0031 | 22.1154 | 399.3517 | 395.1597 | 11.851 | 12.7272 | 32.1426 | 34.5191 | 499.9544 | 1500.8774 | 252.0119 | 70.1657 | -3.7682 | 0.25292 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.266 | 0.003786 | 294.1531 | 294.7345 | 240.1404 | 0.57475 | 2.4964 | 35.5788 | 22.8517 | 21.2938 | 2.5414 | 0.16168 | 0.89301 | 1.6483 | 0.10152 | 15.5935 | 0.5624 | 36.3274 | 390.6997 | 0.015237
53 | 16:11:00 | 797 | 0 | 16.361 | 0.16772 | 223.0224 | 3.7996 | 1.6036 | 21.004 | 1.172 | 2.4801 | 1 | 4.9601 | 21.5864 | 21.004 | 22.1153 | 399.338 | 395.1505 | 11.8466 | 12.726 | 32.1268 | 34.5116 | 499.9085 | 1500.9172 | 259.2953 | 70.165 | -3.7682 | 0.25292 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2656 | 0.0037996 | 294.154 | 294.7364 | 240.1468 | 0.57056 | 2.4966 | 35.5812 | 22.8551 | 21.2952 | 2.5416 | 0.16223 | 0.89292 | 1.6487 | 0.10187 | 15.6484 | 0.5644 | 36.3293 | 390.6976 | 0.015213
54 | 16:11:01 | 797.5 | 0 | 16.1212 | 0.16794 | 225.5416 | 3.805 | 1.6039 | 21.0044 | 1.172 | 2.4801 | 1 | 4.9601 | 21.5876 | 21.0044 | 22.1152 | 399.293 | 395.1607 | 11.843 | 12.7238 | 32.1146 | 34.503 | 499.8446 | 1501.0052 | 264.5839 | 70.1648 | -3.7682 | 0.25292 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2651 | 0.003805 | 294.1544 | 294.7376 | 240.1608 | 0.569 | 2.4966 | 35.5821 | 22.8583 | 21.296 | 2.5417 | 0.16244 | 0.89276 | 1.6489 | 0.10201 | 15.8251 | 0.57076 | 36.3248 | 390.773 | 0.014986
55 | 16:11:01 | 798 | 0 | 15.5787 | 0.16805 | 230.9056 | 3.809 | 1.6045 | 21.0076 | 1.172 | 2.4801 | 1 | 4.9601 | 21.5887 | 21.0076 | 22.1153 | 399.2221 | 395.2163 | 11.8392 | 12.721 | 32.1022 | 34.493 | 499.8226 | 1501.0337 | 267.5285 | 70.1652 | -3.7682 | 0.25292 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2649 | 0.003809 | 294.1576 | 294.7387 | 240.1654 | 0.5676 | 2.4971 | 35.5889 | 22.8679 | 21.2982 | 2.542 | 0.16254 | 0.89257 | 1.6495 | 0.10207 | 16.2015 | 0.58425 | 36.3115 | 390.9763 | 0.014469
56 | 16:11:02 | 798.5 | 0 | 14.59 | 0.16776 | 240.3032 | 3.8047 | 1.6054 | 21.0116 | 1.172 | 2.4801 | 1 | 4.9601 | 21.5904 | 21.0116 | 22.1154 | 399.1253 | 395.3517 | 11.8366 | 12.7173 | 32.0916 | 34.4796 | 499.8256 | 1501.0117 | 268.2313 | 70.1652 | -3.7682 | 0.25292 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2649 | 0.0038047 | 294.1616 | 294.7404 | 240.1619 | 0.56875 | 2.4977 | 35.5977 | 22.8803 | 21.301 | 2.5425 | 0.16227 | 0.89231 | 1.6502 | 0.1019 | 16.8609 | 0.60782 | 36.2888 | 391.3807 | 0.013528
57 | 16:11:02 | 799 | 0 | 13.9927 | 0.16794 | 246.3726 | 3.8108 | 1.6063 | 21.0158 | 1.172 | 2.4801 | 1 | 4.9601 | 21.592 | 21.0158 | 22.1163 | 399.1709 | 395.5368 | 11.8321 | 12.7142 | 32.0764 | 34.4678 | 499.8605 | 1500.9755 | 267.0922 | 70.1651 | -3.7682 | 0.25292 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2652 | 0.0038108 | 294.1658 | 294.742 | 240.1561 | 0.56657 | 2.4984 | 35.6068 | 22.8926 | 21.3039 | 2.5429 | 0.16244 | 0.89209 | 1.6508 | 0.10201 | 17.2868 | 0.62288 | 36.2731 | 391.7284 | 0.012957
58 | 16:11:03 | 799.5 | 0 | 14.4021 | 0.16836 | 242.9738 | 3.8215 | 1.6069 | 21.0196 | 1.172 | 2.4801 | 1 | 4.9601 | 21.5943 | 21.0196 | 22.1156 | 399.488 | 395.7567 | 11.8291 | 12.7137 | 32.0637 | 34.4615 | 499.8559 | 1500.912 | 264.1405 | 70.1649 | -3.7682 | 0.25292 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2652 | 0.0038215 | 294.1696 | 294.7443 | 240.1459 | 0.56298 | 2.4989 | 35.6153 | 22.9016 | 21.3069 | 2.5434 | 0.16283 | 0.89205 | 1.6513 | 0.10225 | 17.0482 | 0.61395 | 36.2682 | 391.8369 | 0.01333
59 | 16:11:03 | 800 | 0 | 15.6987 | 0.16867 | 231.0596 | 3.8297 | 1.6075 | 21.0233 | 1.172 | 2.4801 | 1 | 4.9601 | 21.5961 | 21.0233 | 22.1158 | 400.0755 | 396.0388 | 11.8267 | 12.7132 | 32.0533 | 34.4561 | 499.8032 | 1500.9786 | 259.6516 | 70.1645 | -3.7682 | 0.25292 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2647 | 0.0038297 | 294.1733 | 294.7461 | 240.1566 | 0.56029 | 2.4995 | 35.6236 | 22.9104 | 21.3097 | 2.5438 | 0.16312 | 0.89202 | 1.6518 | 0.10243 | 16.2122 | 0.58343 | 36.2622 | 391.766 | 0.014531
60 | 16:11:05 | 802 | 0 | 21.442 | 0.16742 | 175.5293 | 3.8098 | 1.6106 | 21.0415 | 1.172 | 2.4801 | 1 | 4.9601 | 21.6019 | 21.0415 | 22.116 | 402.4712 | 397.0895 | 11.8267 | 12.7085 | 32.0426 | 34.4318 | 499.8767 | 1500.746 | 235.8689 | 70.1655 | -3.7682 | 0.25292 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2653 | 0.0038098 | 294.1915 | 294.7519 | 240.1194 | 0.56537 | 2.5023 | 35.6629 | 22.9544 | 21.3217 | 2.5457 | 0.16196 | 0.8917 | 1.654 | 0.1017 | 12.3161 | 0.44204 | 36.1936 | 391.2536 | 0.019835 | 16.2714 | 21.5862 | 21.008 | #DIV/0! | 797.1333 | 0 | 16.2714 | 0.16733 | 223.7728 | 3.7925 | 1.6042 | 21.008 | 1.172 | 2.4801 | 1 | 4.9601 | 21.5862 | 21.008 | 22.1155 | 399.5961 | 395.4298 | 11.8483 | 12.7262 | 32.1321 | 34.5127 | 499.8828 | 1500.8279 | 245.1277 | 70.1657 | -3.7682 | 0.25292 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2654 | 0.0037925 | 294.158 | 294.7362 | 240.1325 | 0.57238 | 2.4972 | 35.5893 | 22.8632 | 21.2971 | 2.5419 | 0.16187 | 0.89294 | 1.6489 | 0.10165 | 15.7012 | 0.56593 | 36.3164 | 391.0012 | 0.015113
Remark= | "16:11:22 Coolers: Tblock -> 27.00 C"
Remark= | "16:13:38 Flow: Fixed -> 500 umol/s"
61 | 16:14:39 | 1017.5 | 0 | 15.4021 | 0.19067 | 246.3388 | 5.2088 | 1.9309 | 24.4449 | 1.172 | 2.4801 | 1 | 4.9601 | 26.0169 | 24.4449 | 26.9879 | 398.3892 | 394.2975 | 15.1164 | 16.3174 | 31.4068 | 33.9021 | 499.9804 | 1498.8462 | 108.3207 | 70.1758 | -3.8069 | 0.2108 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2662 | 0.0052088 | 297.5949 | 299.1669 | 239.8154 | 0.20243 | 3.076 | 43.8322 | 27.5147 | 25.2309 | 3.2237 | 0.18362 | 1.1451 | 2.0786 | 0.11537 | 17.287 | 0.62475 | 37.6765 | 390.1056 | 0.014875
62 | 16:14:40 | 1017.5 | 0 | 15.4021 | 0.19067 | 246.3388 | 5.2088 | 1.9309 | 24.4449 | 1.172 | 2.4801 | 1 | 4.9601 | 26.0169 | 24.4449 | 26.9879 | 398.3892 | 394.2975 | 15.1164 | 16.3174 | 31.4068 | 33.9021 | 499.9804 | 1498.8462 | 108.3207 | 70.1758 | -3.8069 | 0.2108 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2662 | 0.0052088 | 297.5949 | 299.1669 | 239.8154 | 0.20243 | 3.076 | 43.8322 | 27.5147 | 25.2309 | 3.2237 | 0.18362 | 1.1451 | 2.0786 | 0.11537 | 17.287 | 0.62475 | 37.6765 | 390.1056 | 0.014875
63 | 16:14:40 | 1018 | 0 | 15.1048 | 0.19077 | 248.8217 | 5.2125 | 1.9313 | 24.4469 | 1.172 | 2.4801 | 1 | 4.9601 | 26.0196 | 24.4469 | 26.9875 | 398.2183 | 394.196 | 15.1151 | 16.317 | 31.3991 | 33.8958 | 499.9726 | 1498.8356 | 108.2259 | 70.1758 | -3.8069 | 0.2108 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2662 | 0.0052125 | 297.5969 | 299.1696 | 239.8137 | 0.20131 | 3.0763 | 43.8375 | 27.5205 | 25.2333 | 3.2242 | 0.18371 | 1.1451 | 2.0791 | 0.11543 | 17.4613 | 0.63121 | 37.672 | 390.0849 | 0.014587
64 | 16:14:41 | 1018.5 | 0 | 14.9674 | 0.19122 | 250.2082 | 5.2259 | 1.9319 | 24.4513 | 1.172 | 2.4801 | 1 | 4.9601 | 26.0212 | 24.4513 | 26.9876 | 398.1263 | 394.135 | 15.1143 | 16.3193 | 31.3946 | 33.8975 | 499.9717 | 1498.8574 | 108.2354 | 70.176 | -3.8069 | 0.2108 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2661 | 0.0052259 | 297.6013 | 299.1712 | 239.8172 | 0.19683 | 3.0771 | 43.8489 | 27.5296 | 25.2362 | 3.2247 | 0.18412 | 1.1452 | 2.0795 | 0.11569 | 17.5586 | 0.63483 | 37.6725 | 390.0614 | 0.014456
65 | 16:14:41 | 1019 | 0 | 14.9971 | 0.19157 | 250.0951 | 5.2357 | 1.932 | 24.4523 | 1.172 | 2.4801 | 1 | 4.9601 | 26.0231 | 24.4523 | 26.9879 | 398.0405 | 394.0412 | 15.113 | 16.3203 | 31.3881 | 33.8956 | 499.9272 | 1498.9409 | 108.2365 | 70.1757 | -3.8069 | 0.2108 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2658 | 0.0052357 | 297.6023 | 299.1731 | 239.8305 | 0.19391 | 3.0773 | 43.8517 | 27.5314 | 25.2377 | 3.225 | 0.18445 | 1.1453 | 2.0797 | 0.1159 | 17.5506 | 0.63469 | 37.6766 | 389.9594 | 0.01449
66 | 16:14:42 | 1019.5 | 0 | 15.142 | 0.19171 | 248.9129 | 5.2409 | 1.9326 | 24.456 | 1.172 | 2.4801 | 1 | 4.9601 | 26.0252 | 24.456 | 26.9879 | 398.0286 | 393.9949 | 15.1131 | 16.3217 | 31.3842 | 33.8939 | 499.9314 | 1499.0128 | 108.1433 | 70.1752 | -3.8069 | 0.2108 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2658 | 0.0052409 | 297.606 | 299.1752 | 239.842 | 0.19219 | 3.078 | 43.8616 | 27.5399 | 25.2406 | 3.2256 | 0.18458 | 1.1454 | 2.0802 | 0.11598 | 17.4675 | 0.63177 | 37.6727 | 389.8737 | 0.014631
67 | 16:14:42 | 1020 | 0 | 15.7242 | 0.19179 | 244.0202 | 5.2456 | 1.9335 | 24.461 | 1.172 | 2.4801 | 1 | 4.9601 | 26.0267 | 24.461 | 26.9881 | 398.1317 | 393.9606 | 15.1121 | 16.3218 | 31.3793 | 33.8913 | 499.8692 | 1499.0448 | 108.1031 | 70.1754 | -3.8069 | 0.2108 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2653 | 0.0052456 | 297.611 | 299.1767 | 239.8472 | 0.19044 | 3.0789 | 43.8748 | 27.5529 | 25.2439 | 3.2262 | 0.18465 | 1.1454 | 2.0808 | 0.11603 | 17.1242 | 0.6194 | 37.6626 | 389.681 | 0.015197
68 | 16:14:43 | 1020.5 | 0 | 16.4281 | 0.19187 | 238.0908 | 5.2499 | 1.9343 | 24.4653 | 1.172 | 2.4801 | 1 | 4.9601 | 26.0283 | 24.4653 | 26.9884 | 398.2469 | 393.9103 | 15.1119 | 16.3227 | 31.3757 | 33.8896 | 499.8488 | 1499.1077 | 107.9665 | 70.1747 | -3.8069 | 0.2108 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2651 | 0.0052499 | 297.6153 | 299.1783 | 239.8572 | 0.18895 | 3.0797 | 43.8864 | 27.5637 | 25.2468 | 3.2268 | 0.18473 | 1.1454 | 2.0813 | 0.11608 | 16.7079 | 0.60443 | 37.6552 | 389.4391 | 0.015884
69 | 16:14:43 | 1021 | 0 | 16.9588 | 0.19203 | 233.747 | 5.2548 | 1.9346 | 24.4673 | 1.172 | 2.4801 | 1 | 4.9601 | 26.0293 | 24.4673 | 26.9881 | 398.3893 | 393.9278 | 15.1119 | 16.3238 | 31.3737 | 33.8898 | 499.8517 | 1499.1165 | 107.8337 | 70.1744 | -3.8069 | 0.2108 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2651 | 0.0052548 | 297.6173 | 299.1793 | 239.8586 | 0.18731 | 3.0801 | 43.8919 | 27.5681 | 25.2483 | 3.2271 | 0.18487 | 1.1455 | 2.0815 | 0.11617 | 16.403 | 0.59338 | 37.6549 | 389.3122 | 0.016403
70 | 16:14:44 | 1021.5 | 0 | 17.4222 | 0.1924 | 230.1634 | 5.2662 | 1.9352 | 24.4714 | 1.172 | 2.4801 | 1 | 4.9601 | 26.0311 | 24.4714 | 26.9883 | 398.5503 | 393.9792 | 15.1114 | 16.3259 | 31.3694 | 33.8906 | 499.8607 | 1499.051 | 107.7513 | 70.1747 | -3.8069 | 0.2108 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2652 | 0.0052662 | 297.6214 | 299.1811 | 239.8482 | 0.18344 | 3.0808 | 43.9024 | 27.5765 | 25.2513 | 3.2276 | 0.18522 | 1.1457 | 2.082 | 0.11638 | 16.1516 | 0.5842 | 37.6548 | 389.2374 | 0.016854
71 | 16:14:44 | 1022 | 0 | 17.9521 | 0.19249 | 225.8178 | 5.2718 | 1.9364 | 24.4786 | 1.172 | 2.4801 | 1 | 4.9601 | 26.0326 | 24.4786 | 26.9892 | 398.7281 | 394.032 | 15.1117 | 16.3276 | 31.3673 | 33.8911 | 499.8416 | 1499.1304 | 107.754 | 70.1747 | -3.8069 | 0.2108 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.265 | 0.0052718 | 297.6286 | 299.1826 | 239.8609 | 0.18129 | 3.0822 | 43.9213 | 27.5938 | 25.2556 | 3.2285 | 0.18529 | 1.1458 | 2.0827 | 0.11643 | 15.8467 | 0.5731 | 37.6431 | 389.1459 | 0.017365
72 | 16:14:45 | 1022.5 | 0 | 18.5427 | 0.19245 | 220.8093 | 5.2731 | 1.9372 | 24.4832 | 1.172 | 2.4801 | 1 | 4.9601 | 26.0348 | 24.4832 | 26.989 | 398.8524 | 394.0174 | 15.1116 | 16.3279 | 31.3631 | 33.8873 | 499.82 | 1499.1495 | 107.7251 | 70.1745 | -3.8069 | 0.2108 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2649 | 0.0052731 | 297.6332 | 299.1848 | 239.8639 | 0.18069 | 3.083 | 43.9334 | 27.6056 | 25.259 | 3.2291 | 0.18526 | 1.1458 | 2.0833 | 0.11641 | 15.4952 | 0.56041 | 37.6327 | 388.9707 | 0.01794
73 | 16:14:45 | 1023 | 0 | 19.1371 | 0.19234 | 215.8043 | 5.2735 | 1.9384 | 24.4897 | 1.172 | 2.4801 | 1 | 4.9601 | 26.0362 | 24.4897 | 26.989 | 399.0757 | 394.1015 | 15.1123 | 16.3286 | 31.3622 | 33.8862 | 499.8516 | 1499.0251 | 107.6932 | 70.1751 | -3.8069 | 0.2108 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2651 | 0.0052735 | 297.6397 | 299.1862 | 239.844 | 0.18001 | 3.0842 | 43.9503 | 27.6218 | 25.263 | 3.2299 | 0.18516 | 1.1459 | 2.084 | 0.11635 | 15.1441 | 0.54759 | 37.6183 | 388.893 | 0.018512
74 | 16:14:46 | 1023.5 | 0 | 19.6558 | 0.19222 | 211.3729 | 5.2722 | 1.9391 | 24.4933 | 1.172 | 2.4801 | 1 | 4.9601 | 26.038 | 24.4933 | 26.9892 | 399.2389 | 394.1429 | 15.1112 | 16.3272 | 31.3566 | 33.8798 | 499.8307 | 1498.9929 | 107.6441 | 70.1752 | -3.8069 | 0.2108 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2649 | 0.0052722 | 297.6433 | 299.188 | 239.8389 | 0.18023 | 3.0849 | 43.9598 | 27.6325 | 25.2657 | 3.2304 | 0.18505 | 1.1458 | 2.0846 | 0.11628 | 14.8331 | 0.53628 | 37.6055 | 388.7932 | 0.019012
75 | 16:14:46 | 1024 | 0 | 19.928 | 0.19238 | 209.25 | 5.2781 | 1.9397 | 24.4971 | 1.172 | 2.4801 | 1 | 4.9601 | 26.0411 | 24.4971 | 26.9895 | 399.3383 | 394.1785 | 15.1118 | 16.3291 | 31.3519 | 33.8773 | 499.8738 | 1498.9565 | 107.5424 | 70.175 | -3.8069 | 0.2108 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2653 | 0.0052781 | 297.6471 | 299.1911 | 239.833 | 0.17828 | 3.0856 | 43.9698 | 27.6407 | 25.2691 | 3.2311 | 0.1852 | 1.1459 | 2.0852 | 0.11637 | 14.6841 | 0.53085 | 37.6029 | 388.7547 | 0.019276 | 16.851 | 26.0281 | 24.4669 | #DIV/0! | 1020.5333 | 0 | 16.851 | 0.19177 | 234.6528 | 5.2478 | 1.9345 | 24.4669 | 1.172 | 2.4801 | 1 | 4.9601 | 26.0281 | 24.4669 | 26.9884 | 398.5162 | 394.0808 | 15.113 | 16.3232 | 31.3786 | 33.8913 | 499.8941 | 1498.9942 | 107.9664 | 70.1752 | -3.8069 | 0.2108 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.2655 | 0.0052478 | 297.6169 | 299.1781 | 239.8391 | 0.18932 | 3.08 | 43.8903 | 27.5671 | 25.2475 | 3.2269 | 0.18463 | 1.1455 | 2.0814 | 0.11602 | 16.4668 | 0.59544 | 37.6518 | 389.4945 | 0.016291