## stm-plipo6_
OPEN 6.2.4
Mon Jun 29 2015 11:03:07
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "11:06:17 CO2 Mixer: CO2R -> 400 uml"
Remark= | "11:06:23 Coolers: Tblock -> 0.00 C"
Remark= | "11:06:31 Lamp: ParIn -> 1500 uml"
Remark= | "11:21:27 Coolers: Tblock -> 2.44 C"
Remark= | "11:22:21 Flow: Fixed -> 500 umol/s"
1 | 11:23:03 | 1209 | 0 | 13.5747 | 0.39926 | 323.9466 | 5.2965 | 1.0082 | 10.9859 | 2.8514 | 2.1113 | 1 | 4.2226 | 4.9835 | 10.9859 | 2.3856 | 399.8744 | 390.9509 | 1.3781 | 4.3857 | 11.0653 | 35.2155 | 499.9307 | 1500.3524 | 191.718 | 70.2465 | -2.6292 | 0.2238 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0052965 | 284.1359 | 278.1335 | 240.0564 | -0.43071 | 1.3163 | 18.7378 | 14.3521 | 7.9847 | 1.0757 | 0.36477 | 0.30808 | 0.76766 | 0.23085 | 22.7561 | 0.82861 | 29.2037 | 386.611 | 0.010254
2 | 11:23:04 | 1209 | 0 | 13.5747 | 0.39926 | 323.9466 | 5.2965 | 1.0082 | 10.9859 | 2.8514 | 2.1113 | 1 | 4.2226 | 4.9835 | 10.9859 | 2.3856 | 399.8744 | 390.9509 | 1.3781 | 4.3857 | 11.0653 | 35.2155 | 499.9307 | 1500.3524 | 191.718 | 70.2465 | -2.6292 | 0.2238 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0052965 | 284.1359 | 278.1335 | 240.0564 | -0.43071 | 1.3163 | 18.7378 | 14.3521 | 7.9847 | 1.0757 | 0.36477 | 0.30808 | 0.76766 | 0.23085 | 22.7561 | 0.82861 | 29.2037 | 386.611 | 0.010254
3 | 11:23:04 | 1209.5 | 0 | 13.5285 | 0.39886 | 324.0721 | 5.2941 | 1.0087 | 10.99 | 2.8514 | 2.1113 | 1 | 4.2226 | 4.9823 | 10.99 | 2.3857 | 399.8321 | 390.9357 | 1.3779 | 4.3841 | 11.0647 | 35.2057 | 499.9389 | 1500.3208 | 187.1187 | 70.2465 | -2.6292 | 0.2238 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0052941 | 284.14 | 278.1323 | 240.0513 | -0.43031 | 1.3166 | 18.743 | 14.3588 | 7.9862 | 1.0758 | 0.36444 | 0.30797 | 0.76788 | 0.23064 | 22.7649 | 0.82897 | 29.1838 | 386.6106 | 0.010212
4 | 11:23:05 | 1210 | 0 | 13.5186 | 0.39861 | 324.098 | 5.2933 | 1.0091 | 10.995 | 2.8514 | 2.1113 | 1 | 4.2226 | 4.9818 | 10.995 | 2.3855 | 399.8482 | 390.9579 | 1.3784 | 4.3841 | 11.069 | 35.2066 | 499.9538 | 1500.2637 | 182.4047 | 70.2467 | -2.6292 | 0.2238 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0052933 | 284.145 | 278.1318 | 240.0422 | -0.43054 | 1.3171 | 18.7492 | 14.3651 | 7.9884 | 1.076 | 0.36422 | 0.30797 | 0.76805 | 0.2305 | 22.7668 | 0.82898 | 29.1722 | 386.6359 | 0.0102
5 | 11:23:05 | 1210.5 | 0 | 13.5607 | 0.39841 | 323.863 | 5.2957 | 1.01 | 11.0053 | 2.8514 | 2.1113 | 1 | 4.2226 | 4.9822 | 11.0053 | 2.3856 | 399.8502 | 390.9363 | 1.3775 | 4.3842 | 11.0617 | 35.2067 | 500.0121 | 1500.255 | 177.8366 | 70.2466 | -2.6292 | 0.2238 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7536 | 0.0052957 | 284.1553 | 278.1322 | 240.0408 | -0.43227 | 1.318 | 18.762 | 14.3778 | 7.9937 | 1.0764 | 0.36406 | 0.30798 | 0.76843 | 0.2304 | 22.7503 | 0.82843 | 29.1547 | 386.6009 | 0.010227
6 | 11:23:05 | 1211 | 0 | 13.6941 | 0.39859 | 323.2857 | 5.2962 | 1.0097 | 11.0022 | 2.8514 | 2.1113 | 1 | 4.2226 | 4.9809 | 11.0022 | 2.3848 | 399.8936 | 390.9036 | 1.3778 | 4.3848 | 11.065 | 35.215 | 500.0015 | 1500.2081 | 173.711 | 70.2469 | -2.6292 | 0.2238 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7535 | 0.0052962 | 284.1522 | 278.1309 | 240.0333 | -0.43235 | 1.3177 | 18.758 | 14.3732 | 7.9915 | 1.0762 | 0.36421 | 0.30802 | 0.76822 | 0.23049 | 22.7098 | 0.82702 | 29.1651 | 386.5255 | 0.010333
7 | 11:23:06 | 1211.5 | 0 | 13.6462 | 0.39865 | 323.508 | 5.2948 | 1.0093 | 10.9971 | 2.8514 | 2.1113 | 1 | 4.2226 | 4.98 | 10.9971 | 2.3853 | 399.8721 | 390.9098 | 1.3779 | 4.3841 | 11.0666 | 35.2112 | 500.0122 | 1500.1191 | 169.9168 | 70.2466 | -2.6292 | 0.2238 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7536 | 0.0052948 | 284.1471 | 278.13 | 240.0191 | -0.43161 | 1.3173 | 18.7518 | 14.3677 | 7.9886 | 1.076 | 0.36426 | 0.30797 | 0.76805 | 0.23052 | 22.7253 | 0.82758 | 29.1698 | 386.5471 | 0.010298
8 | 11:23:06 | 1212 | 0 | 13.6758 | 0.39863 | 323.3938 | 5.2946 | 1.0093 | 10.9975 | 2.8514 | 2.1113 | 1 | 4.2226 | 4.98 | 10.9975 | 2.3861 | 399.9045 | 390.9251 | 1.3781 | 4.3843 | 11.0685 | 35.213 | 499.9995 | 1500.0228 | 166.043 | 70.2476 | -2.6292 | 0.2238 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7535 | 0.0052946 | 284.1475 | 278.13 | 240.0036 | -0.43169 | 1.3173 | 18.752 | 14.3677 | 7.9888 | 1.076 | 0.36425 | 0.30799 | 0.76805 | 0.23051 | 22.7176 | 0.82725 | 29.1702 | 386.5529 | 0.01032
9 | 11:23:07 | 1212.5 | 0 | 13.5642 | 0.3987 | 323.8958 | 5.2925 | 1.0087 | 10.9902 | 2.8514 | 2.1113 | 1 | 4.2226 | 4.9787 | 10.9902 | 2.3861 | 399.85 | 390.9346 | 1.3781 | 4.3831 | 11.0696 | 35.2073 | 499.9901 | 1499.9954 | 162.2016 | 70.2479 | -2.6292 | 0.2238 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7535 | 0.0052925 | 284.1402 | 278.1287 | 239.9993 | -0.43043 | 1.3166 | 18.7428 | 14.3596 | 7.9844 | 1.0757 | 0.3643 | 0.30791 | 0.76781 | 0.23055 | 22.753 | 0.82852 | 29.1766 | 386.598 | 0.010237
10 | 11:23:08 | 1213 | 0 | 13.4886 | 0.39847 | 324.1743 | 5.2885 | 1.0085 | 10.9863 | 2.8514 | 2.1113 | 1 | 4.2226 | 4.9776 | 10.9863 | 2.3854 | 399.79 | 390.9186 | 1.3783 | 4.3812 | 11.0724 | 35.1941 | 499.9861 | 1499.9639 | 159.6079 | 70.248 | -2.6292 | 0.2238 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7535 | 0.0052885 | 284.1363 | 278.1276 | 239.9942 | -0.42876 | 1.3163 | 18.7379 | 14.3567 | 7.9819 | 1.0755 | 0.36411 | 0.30777 | 0.76777 | 0.23042 | 22.7726 | 0.82926 | 29.1691 | 386.6062 | 0.010177
11 | 11:23:08 | 1213.5 | 0 | 13.4212 | 0.39859 | 324.521 | 5.2872 | 1.008 | 10.9799 | 2.8514 | 2.1113 | 1 | 4.2226 | 4.9762 | 10.9799 | 2.3851 | 399.7896 | 390.9564 | 1.3787 | 4.3808 | 11.0762 | 35.195 | 499.9674 | 1499.986 | 159.3763 | 70.2483 | -2.6292 | 0.2238 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0052872 | 284.1299 | 278.1262 | 239.9977 | -0.42781 | 1.3157 | 18.7299 | 14.3491 | 7.9781 | 1.0753 | 0.36421 | 0.30775 | 0.76751 | 0.23049 | 22.797 | 0.83007 | 29.179 | 386.6656 | 0.010128
12 | 11:23:09 | 1214 | 0 | 13.4273 | 0.39895 | 324.5073 | 5.2889 | 1.0075 | 10.9742 | 2.8514 | 2.1113 | 1 | 4.2226 | 4.9749 | 10.9742 | 2.3845 | 399.7519 | 390.9149 | 1.378 | 4.3811 | 11.0714 | 35.2001 | 499.9694 | 1500.0049 | 161.4747 | 70.2485 | -2.6292 | 0.2238 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0052889 | 284.1242 | 278.1249 | 240.0008 | -0.42804 | 1.3152 | 18.7228 | 14.3417 | 7.9746 | 1.075 | 0.36452 | 0.30776 | 0.76724 | 0.23068 | 22.7961 | 0.83012 | 29.1942 | 386.6222 | 0.010139
13 | 11:23:09 | 1214.5 | 0 | 13.446 | 0.39935 | 324.4653 | 5.2896 | 1.0067 | 10.9662 | 2.8514 | 2.1113 | 1 | 4.2226 | 4.9733 | 10.9662 | 2.3843 | 399.7422 | 390.894 | 1.3781 | 4.3818 | 11.0736 | 35.2103 | 499.9339 | 1499.9851 | 164.9333 | 70.2485 | -2.6292 | 0.2238 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0052896 | 284.1162 | 278.1233 | 239.9976 | -0.42782 | 1.3145 | 18.7129 | 14.331 | 7.9698 | 1.0746 | 0.36484 | 0.30782 | 0.76683 | 0.23089 | 22.7932 | 0.83006 | 29.2157 | 386.5952 | 0.010161
14 | 11:23:10 | 1215 | 0 | 13.4782 | 0.39924 | 324.2966 | 5.2908 | 1.0072 | 10.9717 | 2.8514 | 2.1113 | 1 | 4.2226 | 4.9726 | 10.9717 | 2.3849 | 399.7481 | 390.8811 | 1.3776 | 4.3821 | 11.0703 | 35.2137 | 499.9273 | 1500.0115 | 170.7147 | 70.2483 | -2.6292 | 0.2238 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0052908 | 284.1217 | 278.1226 | 240.0018 | -0.42872 | 1.315 | 18.7197 | 14.3376 | 7.9721 | 1.0748 | 0.36475 | 0.30783 | 0.76699 | 0.23084 | 22.7813 | 0.82966 | 29.2071 | 386.572 | 0.010183
15 | 11:23:10 | 1215.5 | 0 | 13.5451 | 0.39927 | 323.9968 | 5.2917 | 1.0073 | 10.9734 | 2.8514 | 2.1113 | 1 | 4.2226 | 4.9725 | 10.9734 | 2.3842 | 399.7697 | 390.8646 | 1.3778 | 4.3826 | 11.0715 | 35.2186 | 499.9385 | 1500.0782 | 177.287 | 70.2483 | -2.6292 | 0.2238 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0052917 | 284.1234 | 278.1225 | 240.0125 | -0.42911 | 1.3152 | 18.7218 | 14.3391 | 7.9729 | 1.0749 | 0.36478 | 0.30787 | 0.76701 | 0.23085 | 22.7602 | 0.82892 | 29.2079 | 386.5341 | 0.010235 | 13.5429 | 4.9787 | 10.9867 | #DIV/0! | 1212.0333 | 0 | 13.5429 | 0.39886 | 323.9981 | 5.2927 | 1.0084 | 10.9867 | 2.8514 | 2.1113 | 1 | 4.2226 | 4.9787 | 10.9867 | 2.3852 | 399.8261 | 390.9223 | 1.378 | 4.3833 | 11.0688 | 35.2086 | 499.9661 | 1500.128 | 173.0708 | 70.2474 | -2.6292 | 0.2238 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0052927 | 284.1367 | 278.1287 | 240.0205 | -0.43006 | 1.3163 | 18.7386 | 14.3553 | 7.9827 | 1.0756 | 0.36443 | 0.30792 | 0.76768 | 0.23063 | 22.76 | 0.8288 | 29.1848 | 386.5926 | 0.010224
Remark= | "11:23:24 Coolers: Tblock -> 7.00 C"
Remark= | "11:24:53 Flow: Fixed -> 500 umol/s"
Remark= | "11:25:16 Lamp: ParIn -> 1500 uml"
Remark= | "11:25:16 CO2 Mixer: CO2R -> 400 uml"
Remark= | "11:25:16 Coolers: Tblock -> 7.00 C"
Remark= | "11:25:16 Flow: Fixed -> 500 umol/s"
Remark= | "11:26:55 Flow: Fixed -> 500 umol/s"
16 | 11:27:10 | 1457 | 0 | 14.2165 | 0.36943 | 315.8473 | 4.7748 | 0.97459 | 11.8661 | 2.8514 | 2.1113 | 1 | 4.2226 | 8.5546 | 11.8661 | 7.0872 | 399.0443 | 389.8758 | 3.2819 | 5.9884 | 20.6174 | 37.6203 | 500.0218 | 1499.83 | 148.4226 | 70.2454 | -3.0666 | 0.22662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7536 | 0.0047748 | 285.0161 | 281.7046 | 239.9728 | -0.025855 | 1.3952 | 19.8625 | 13.874 | 10.2103 | 1.25 | 0.33971 | 0.42066 | 0.8293 | 0.2148 | 22.1868 | 0.81012 | 34.9279 | 385.3307 | 0.012886
17 | 11:27:11 | 1457 | 0 | 14.2165 | 0.36943 | 315.8473 | 4.7748 | 0.97459 | 11.8661 | 2.8514 | 2.1113 | 1 | 4.2226 | 8.5546 | 11.8661 | 7.0872 | 399.0443 | 389.8758 | 3.2819 | 5.9884 | 20.6174 | 37.6203 | 500.0218 | 1499.83 | 148.4226 | 70.2454 | -3.0666 | 0.22662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7536 | 0.0047748 | 285.0161 | 281.7046 | 239.9728 | -0.025855 | 1.3952 | 19.8625 | 13.874 | 10.2103 | 1.25 | 0.33971 | 0.42066 | 0.8293 | 0.2148 | 22.1868 | 0.81012 | 34.9279 | 385.3307 | 0.012886
18 | 11:27:11 | 1457.5 | 0 | 14.2793 | 0.36946 | 315.56 | 4.7759 | 0.97473 | 11.8678 | 2.8514 | 2.1113 | 1 | 4.2226 | 8.5562 | 11.8678 | 7.0863 | 399.0778 | 389.8734 | 3.2815 | 5.9887 | 20.6127 | 37.6172 | 500.0332 | 1499.9052 | 148.1363 | 70.2451 | -3.0666 | 0.22662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7536 | 0.0047759 | 285.0178 | 281.7062 | 239.9848 | -0.026175 | 1.3954 | 19.8647 | 13.8761 | 10.212 | 1.2501 | 0.33973 | 0.42067 | 0.82943 | 0.21482 | 22.1666 | 0.80939 | 34.926 | 385.3082 | 0.012943
19 | 11:27:12 | 1458 | 0 | 14.3087 | 0.36951 | 315.4415 | 4.7771 | 0.97484 | 11.8698 | 2.8514 | 2.1113 | 1 | 4.2226 | 8.5567 | 11.8698 | 7.0859 | 399.1039 | 389.8819 | 3.2818 | 5.9897 | 20.6138 | 37.6229 | 500.0069 | 1499.9465 | 147.6833 | 70.2455 | -3.0666 | 0.22662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7536 | 0.0047771 | 285.0198 | 281.7067 | 239.9914 | -0.026701 | 1.3956 | 19.8674 | 13.8776 | 10.2133 | 1.2502 | 0.33978 | 0.42075 | 0.82946 | 0.21485 | 22.1583 | 0.80907 | 34.928 | 385.3074 | 0.012971
20 | 11:27:12 | 1458 | 0 | 14.3087 | 0.36951 | 315.4415 | 4.7771 | 0.97484 | 11.8698 | 2.8514 | 2.1113 | 1 | 4.2226 | 8.5567 | 11.8698 | 7.0859 | 399.1039 | 389.8819 | 3.2818 | 5.9897 | 20.6138 | 37.6229 | 500.0069 | 1499.9465 | 147.6833 | 70.2455 | -3.0666 | 0.22662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7536 | 0.0047771 | 285.0198 | 281.7067 | 239.9914 | -0.026701 | 1.3956 | 19.8674 | 13.8776 | 10.2133 | 1.2502 | 0.33978 | 0.42075 | 0.82946 | 0.21485 | 22.1583 | 0.80907 | 34.928 | 385.3074 | 0.012971
21 | 11:27:13 | 1458.5 | 0 | 14.3578 | 0.36987 | 315.2793 | 4.7767 | 0.97389 | 11.859 | 2.8514 | 2.1113 | 1 | 4.2226 | 8.5569 | 11.859 | 7.0849 | 399.1286 | 389.8787 | 3.2814 | 5.9891 | 20.6108 | 37.6183 | 500.0049 | 1499.9563 | 146.5389 | 70.2456 | -3.0666 | 0.22662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7535 | 0.0047767 | 285.009 | 281.7069 | 239.993 | -0.025594 | 1.3946 | 19.8532 | 13.8641 | 10.208 | 1.2498 | 0.34008 | 0.4207 | 0.82906 | 0.21504 | 22.147 | 0.80866 | 34.9504 | 385.2885 | 0.013024
22 | 11:27:13 | 1459 | 0 | 14.4639 | 0.37013 | 314.8173 | 4.7781 | 0.97356 | 11.8557 | 2.8514 | 2.1113 | 1 | 4.2226 | 8.5568 | 11.8557 | 7.0842 | 399.1683 | 389.8576 | 3.2809 | 5.9895 | 20.6081 | 37.621 | 500.0005 | 1499.9434 | 144.0936 | 70.2454 | -3.0666 | 0.22662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7535 | 0.0047781 | 285.0057 | 281.7068 | 239.9909 | -0.025887 | 1.3943 | 19.8488 | 13.8594 | 10.2063 | 1.2496 | 0.34031 | 0.42073 | 0.82889 | 0.21518 | 22.1145 | 0.80752 | 34.9624 | 385.2334 | 0.013127
23 | 11:27:14 | 1459.5 | 0 | 14.4227 | 0.36979 | 314.9946 | 4.7745 | 0.97364 | 11.856 | 2.8514 | 2.1113 | 1 | 4.2226 | 8.5575 | 11.856 | 7.0839 | 399.1913 | 389.9049 | 3.2823 | 5.9887 | 20.6158 | 37.6147 | 500.0062 | 1499.8503 | 141.4505 | 70.2455 | -3.0666 | 0.22662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7536 | 0.0047745 | 285.006 | 281.7075 | 239.976 | -0.024621 | 1.3943 | 19.8493 | 13.8606 | 10.2068 | 1.2497 | 0.34001 | 0.42068 | 0.82898 | 0.215 | 22.127 | 0.80788 | 34.9533 | 385.2939 | 0.013084
24 | 11:27:14 | 1460 | 0 | 14.3775 | 0.3688 | 315.0431 | 4.7689 | 0.97491 | 11.8684 | 2.8514 | 2.1113 | 1 | 4.2226 | 8.5578 | 11.8684 | 7.0827 | 399.1812 | 389.9212 | 3.2833 | 5.9868 | 20.6221 | 37.6019 | 499.9807 | 1499.8021 | 139.024 | 70.246 | -3.0666 | 0.22662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7535 | 0.0047689 | 285.0184 | 281.7078 | 239.9683 | -0.023635 | 1.3955 | 19.8653 | 13.8785 | 10.2131 | 1.2502 | 0.33918 | 0.42055 | 0.82965 | 0.21446 | 22.1305 | 0.80797 | 34.907 | 385.3247 | 0.013025
25 | 11:27:15 | 1460.5 | 0 | 14.3842 | 0.36875 | 315.0042 | 4.771 | 0.97547 | 11.8756 | 2.8514 | 2.1113 | 1 | 4.2226 | 8.5585 | 11.8756 | 7.0826 | 399.1908 | 389.9263 | 3.2837 | 5.9884 | 20.6233 | 37.6103 | 499.9666 | 1499.8126 | 137.539 | 70.2459 | -3.0666 | 0.22662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.004771 | 285.0256 | 281.7085 | 239.97 | -0.024969 | 1.3961 | 19.8749 | 13.8865 | 10.217 | 1.2505 | 0.33913 | 0.42066 | 0.82986 | 0.21443 | 22.1277 | 0.80786 | 34.9001 | 385.3276 | 0.013028
26 | 11:27:15 | 1461 | 0 | 14.4133 | 0.36909 | 314.9272 | 4.7726 | 0.97495 | 11.8708 | 2.8514 | 2.1113 | 1 | 4.2226 | 8.5586 | 11.8708 | 7.0826 | 399.2032 | 389.9215 | 3.2838 | 5.9895 | 20.624 | 37.6167 | 499.9586 | 1499.8416 | 136.6174 | 70.2457 | -3.0666 | 0.22662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0047726 | 285.0208 | 281.7086 | 239.9746 | -0.025099 | 1.3957 | 19.8686 | 13.8791 | 10.2147 | 1.2503 | 0.33943 | 0.42074 | 0.82959 | 0.21462 | 22.1223 | 0.80767 | 34.9191 | 385.3135 | 0.013062
27 | 11:27:16 | 1461.5 | 0 | 14.4279 | 0.36928 | 314.8964 | 4.7745 | 0.97489 | 11.8708 | 2.8514 | 2.1113 | 1 | 4.2226 | 8.5576 | 11.8708 | 7.0826 | 399.2162 | 389.9258 | 3.2836 | 5.9903 | 20.6239 | 37.6248 | 499.9543 | 1499.7905 | 136.1217 | 70.2461 | -3.0666 | 0.22662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0047745 | 285.0208 | 281.7076 | 239.9665 | -0.025964 | 1.3957 | 19.8685 | 13.8782 | 10.2142 | 1.2503 | 0.33958 | 0.4208 | 0.82949 | 0.21472 | 22.1202 | 0.80758 | 34.9258 | 385.3132 | 0.013078
28 | 11:27:16 | 1462 | 0 | 14.4133 | 0.36912 | 314.912 | 4.7749 | 0.97534 | 11.8756 | 2.8514 | 2.1113 | 1 | 4.2226 | 8.5573 | 11.8756 | 7.0812 | 399.1863 | 389.9045 | 3.2832 | 5.9901 | 20.6219 | 37.6238 | 499.9706 | 1499.8154 | 135.5046 | 70.2454 | -3.0666 | 0.22662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0047749 | 285.0256 | 281.7073 | 239.9705 | -0.026494 | 1.3961 | 19.8749 | 13.8848 | 10.2164 | 1.2505 | 0.33945 | 0.42078 | 0.8297 | 0.21464 | 22.1211 | 0.80766 | 34.9132 | 385.2965 | 0.01306
29 | 11:27:17 | 1462.5 | 0 | 14.3309 | 0.36866 | 315.215 | 4.7747 | 0.97642 | 11.8876 | 2.8514 | 2.1113 | 1 | 4.2226 | 8.557 | 11.8876 | 7.0812 | 399.1488 | 389.9139 | 3.2839 | 5.9906 | 20.6262 | 37.6276 | 499.9725 | 1499.8379 | 135.2121 | 70.2454 | -3.0666 | 0.22662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0047747 | 285.0376 | 281.707 | 239.9741 | -0.027432 | 1.3972 | 19.8908 | 13.9001 | 10.2223 | 1.251 | 0.33906 | 0.42081 | 0.83016 | 0.21439 | 22.1424 | 0.80842 | 34.8862 | 385.3323 | 0.012975
30 | 11:27:17 | 1463 | 0 | 14.2381 | 0.36825 | 315.6061 | 4.7735 | 0.97715 | 11.8955 | 2.8514 | 2.1113 | 1 | 4.2226 | 8.5572 | 11.8955 | 7.0805 | 399.1322 | 389.9509 | 3.2847 | 5.9906 | 20.6309 | 37.6269 | 499.9944 | 1499.854 | 135.6778 | 70.2455 | -3.0666 | 0.22662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7535 | 0.0047735 | 285.0455 | 281.7072 | 239.9766 | -0.027588 | 1.398 | 19.9011 | 13.9105 | 10.2264 | 1.2513 | 0.33871 | 0.42081 | 0.83049 | 0.21417 | 22.1699 | 0.80935 | 34.8654 | 385.3989 | 0.012881 | 14.344 | 8.5569 | 11.8703 | #DIV/0! | 1459.6667 | 0 | 14.344 | 0.36927 | 315.2555 | 4.7746 | 0.97492 | 11.8703 | 2.8514 | 2.1113 | 1 | 4.2226 | 8.5569 | 11.8703 | 7.0839 | 399.1414 | 389.8996 | 3.2826 | 5.9892 | 20.6188 | 37.6193 | 499.9933 | 1499.8642 | 141.8752 | 70.2456 | -3.0666 | 0.22662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7535 | 0.0047746 | 285.0203 | 281.7069 | 239.9783 | -0.025905 | 1.3956 | 19.868 | 13.8787 | 10.2136 | 1.2502 | 0.33958 | 0.42072 | 0.82952 | 0.21472 | 22.1453 | 0.80856 | 34.9214 | 385.3138 | 0.013
Remark= | "11:27:23 Coolers: Tblock -> 12.00 C"
Remark= | "11:30:19 Flow: Fixed -> 500 umol/s"
31 | 11:30:36 | 1663 | 0 | 16.3612 | 0.34828 | 300.8273 | 5.0794 | 1.0916 | 14.3808 | 2.8514 | 2.1113 | 1 | 4.2226 | 12.5715 | 14.3808 | 11.9692 | 400.3883 | 389.9282 | 4.9943 | 7.8682 | 24.0041 | 37.8171 | 499.9884 | 1499.0205 | 162.2098 | 70.2454 | -3.1419 | 0.22239 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7535 | 0.0050794 | 287.5308 | 285.7215 | 239.8433 | -0.02119 | 1.6443 | 23.4086 | 15.5403 | 13.4761 | 1.5506 | 0.32174 | 0.55271 | 0.99786 | 0.20331 | 21.1317 | 0.77149 | 37.6966 | 384.6974 | 0.016032
32 | 11:30:37 | 1663 | 0 | 16.3612 | 0.34828 | 300.8273 | 5.0794 | 1.0916 | 14.3808 | 2.8514 | 2.1113 | 1 | 4.2226 | 12.5715 | 14.3808 | 11.9692 | 400.3883 | 389.9282 | 4.9943 | 7.8682 | 24.0041 | 37.8171 | 499.9884 | 1499.0205 | 162.2098 | 70.2454 | -3.1419 | 0.22239 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7535 | 0.0050794 | 287.5308 | 285.7215 | 239.8433 | -0.02119 | 1.6443 | 23.4086 | 15.5403 | 13.4761 | 1.5506 | 0.32174 | 0.55271 | 0.99786 | 0.20331 | 21.1317 | 0.77149 | 37.6966 | 384.6974 | 0.016032
33 | 11:30:37 | 1663.5 | 0 | 16.5082 | 0.34848 | 300.1335 | 5.083 | 1.0918 | 14.3835 | 2.8514 | 2.1113 | 1 | 4.2226 | 12.5731 | 14.3835 | 11.9688 | 400.4497 | 389.9044 | 4.9937 | 7.8698 | 23.9989 | 37.821 | 499.9628 | 1498.9836 | 161.9178 | 70.2459 | -3.1419 | 0.22239 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.005083 | 287.5335 | 285.7231 | 239.8374 | -0.02268 | 1.6446 | 23.4126 | 15.5428 | 13.4783 | 1.5508 | 0.32192 | 0.55282 | 0.99796 | 0.20343 | 21.0831 | 0.76976 | 37.7002 | 384.6267 | 0.016181
34 | 11:30:38 | 1664 | 0 | 16.4789 | 0.34806 | 300.1801 | 5.0806 | 1.0925 | 14.39 | 2.8514 | 2.1113 | 1 | 4.2226 | 12.5739 | 14.39 | 11.969 | 400.4333 | 389.9051 | 4.9949 | 7.8697 | 24.0034 | 37.8185 | 499.9568 | 1499.0122 | 161.8489 | 70.2455 | -3.1419 | 0.22239 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0050806 | 287.54 | 285.7239 | 239.8419 | -0.022264 | 1.6453 | 23.4226 | 15.5529 | 13.482 | 1.5512 | 0.32156 | 0.55281 | 0.99834 | 0.2032 | 21.0863 | 0.76988 | 37.6803 | 384.6367 | 0.016143
35 | 11:30:38 | 1664.5 | 0 | 16.5099 | 0.3479 | 299.9806 | 5.0818 | 1.0932 | 14.3972 | 2.8514 | 2.1113 | 1 | 4.2226 | 12.5747 | 14.3972 | 11.9686 | 400.4427 | 389.8965 | 4.9949 | 7.8704 | 24.002 | 37.8197 | 499.9527 | 1499.0338 | 160.5984 | 70.2455 | -3.1419 | 0.22239 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0050818 | 287.5472 | 285.7247 | 239.8454 | -0.02323 | 1.6461 | 23.4335 | 15.5631 | 13.486 | 1.5516 | 0.32142 | 0.55286 | 0.9987 | 0.20311 | 21.0723 | 0.76939 | 37.6659 | 384.6182 | 0.016168
36 | 11:30:39 | 1665 | 0 | 16.493 | 0.34804 | 300.1049 | 5.0833 | 1.0932 | 14.3972 | 2.8514 | 2.1113 | 1 | 4.2226 | 12.5774 | 14.3972 | 11.969 | 400.4473 | 389.9098 | 4.995 | 7.8716 | 23.9982 | 37.8182 | 499.922 | 1499.0873 | 159.4829 | 70.2449 | -3.1419 | 0.22239 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0050833 | 287.5472 | 285.7274 | 239.854 | -0.023469 | 1.6461 | 23.4336 | 15.562 | 13.4873 | 1.5517 | 0.32153 | 0.55294 | 0.99876 | 0.20318 | 21.0809 | 0.76968 | 37.672 | 384.6369 | 0.016154
37 | 11:30:39 | 1665.5 | 0 | 16.5469 | 0.34833 | 299.9319 | 5.0858 | 1.0929 | 14.3955 | 2.8514 | 2.1113 | 1 | 4.2226 | 12.5785 | 14.3955 | 11.9692 | 400.5027 | 389.9338 | 4.9953 | 7.8733 | 23.9978 | 37.8237 | 499.9208 | 1499.084 | 158.0348 | 70.2454 | -3.1419 | 0.22239 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0050858 | 287.5455 | 285.7285 | 239.8534 | -0.024166 | 1.6459 | 23.4309 | 15.5577 | 13.487 | 1.5517 | 0.32178 | 0.55306 | 0.99861 | 0.20334 | 21.0688 | 0.76919 | 37.6865 | 384.6436 | 0.016212
38 | 11:30:40 | 1666 | 0 | 16.5456 | 0.34814 | 299.9012 | 5.0856 | 1.0933 | 14.4008 | 2.8514 | 2.1113 | 1 | 4.2226 | 12.5804 | 14.4008 | 11.9697 | 400.5093 | 389.941 | 4.9964 | 7.8742 | 23.9998 | 37.8237 | 499.9138 | 1499.0969 | 156.3854 | 70.2452 | -3.1419 | 0.22239 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7532 | 0.0050856 | 287.5508 | 285.7304 | 239.8555 | -0.024373 | 1.6465 | 23.439 | 15.5647 | 13.4906 | 1.552 | 0.32162 | 0.55313 | 0.9989 | 0.20324 | 21.0666 | 0.76909 | 37.6767 | 384.6513 | 0.016206
39 | 11:30:40 | 1666.5 | 0 | 16.5159 | 0.34795 | 300.0234 | 5.0862 | 1.094 | 14.4078 | 2.8514 | 2.1113 | 1 | 4.2226 | 12.5822 | 14.4078 | 11.9698 | 400.5174 | 389.9659 | 4.9971 | 7.8753 | 24.0008 | 37.8243 | 499.9213 | 1499.0969 | 155.8939 | 70.2452 | -3.1419 | 0.22239 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0050862 | 287.5578 | 285.7322 | 239.8555 | -0.025049 | 1.6472 | 23.4496 | 15.5743 | 13.495 | 1.5525 | 0.32146 | 0.5532 | 0.99928 | 0.20314 | 21.0752 | 0.76936 | 37.6636 | 384.6857 | 0.01617
40 | 11:30:41 | 1667 | 0 | 16.3664 | 0.34789 | 300.7921 | 5.0866 | 1.0943 | 14.4105 | 2.8514 | 2.1113 | 1 | 4.2226 | 12.5837 | 14.4105 | 11.9697 | 400.4904 | 390.024 | 4.9976 | 7.8759 | 24.0005 | 37.8235 | 499.9245 | 1499.0872 | 155.0495 | 70.2452 | -3.1419 | 0.22239 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0050866 | 287.5605 | 285.7337 | 239.8539 | -0.025302 | 1.6475 | 23.4537 | 15.5778 | 13.4971 | 1.5527 | 0.32141 | 0.55324 | 0.99945 | 0.2031 | 21.1292 | 0.77121 | 37.6596 | 384.7916 | 0.016018
41 | 11:30:41 | 1667.5 | 0 | 16.1913 | 0.34773 | 301.654 | 5.0843 | 1.0942 | 14.41 | 2.8514 | 2.1113 | 1 | 4.2226 | 12.5855 | 14.41 | 11.97 | 400.4337 | 390.0684 | 4.9989 | 7.8758 | 24.004 | 37.8182 | 499.9608 | 1499.1366 | 154.8211 | 70.2445 | -3.1419 | 0.22239 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0050843 | 287.56 | 285.7355 | 239.8619 | -0.024198 | 1.6475 | 23.4532 | 15.5774 | 13.4978 | 1.5528 | 0.32128 | 0.55323 | 0.99952 | 0.20302 | 21.1895 | 0.77334 | 37.6577 | 384.892 | 0.015841
42 | 11:30:42 | 1668 | 0 | 16.2499 | 0.34808 | 301.4346 | 5.0883 | 1.0941 | 14.4099 | 2.8514 | 2.1113 | 1 | 4.2226 | 12.5873 | 14.4099 | 11.97 | 400.4586 | 390.0588 | 4.9985 | 7.8777 | 23.9994 | 37.8231 | 499.9517 | 1499.1595 | 154.7668 | 70.2449 | -3.1419 | 0.22239 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0050883 | 287.5599 | 285.7373 | 239.8655 | -0.025479 | 1.6474 | 23.4529 | 15.5752 | 13.4986 | 1.5528 | 0.32157 | 0.55337 | 0.99947 | 0.20321 | 21.1742 | 0.77279 | 37.6705 | 384.8636 | 0.015905
43 | 11:30:42 | 1668.5 | 0 | 16.3386 | 0.3482 | 301.0099 | 5.0913 | 1.0944 | 14.4136 | 2.8514 | 2.1113 | 1 | 4.2226 | 12.5898 | 14.4136 | 11.9702 | 400.4913 | 390.0409 | 4.9987 | 7.8794 | 23.9962 | 37.8248 | 499.9836 | 1499.136 | 155.9557 | 70.2448 | -3.1419 | 0.22239 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7535 | 0.0050913 | 287.5636 | 285.7398 | 239.8618 | -0.026738 | 1.6478 | 23.4586 | 15.5792 | 13.5017 | 1.5532 | 0.32168 | 0.55348 | 0.99967 | 0.20328 | 21.1444 | 0.77174 | 37.671 | 384.8174 | 0.015994
44 | 11:30:43 | 1669 | 0 | 16.3332 | 0.34809 | 301.0089 | 5.0948 | 1.0955 | 14.4251 | 2.8514 | 2.1113 | 1 | 4.2226 | 12.5904 | 14.4251 | 11.9702 | 400.495 | 390.0478 | 4.9988 | 7.8812 | 23.9957 | 37.8322 | 500.0234 | 1499.1272 | 157.002 | 70.245 | -3.1419 | 0.22239 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7536 | 0.0050948 | 287.5751 | 285.7404 | 239.8603 | -0.028981 | 1.6491 | 23.4759 | 15.5947 | 13.5078 | 1.5538 | 0.32158 | 0.55361 | 1.0002 | 0.20321 | 21.1444 | 0.77172 | 37.6528 | 384.826 | 0.015981
45 | 11:30:43 | 1669.5 | 0 | 16.318 | 0.3479 | 301.0376 | 5.0946 | 1.0959 | 14.43 | 2.8514 | 2.1113 | 1 | 4.2226 | 12.5929 | 14.43 | 11.9704 | 400.4834 | 390.0455 | 4.9997 | 7.8818 | 23.996 | 37.8289 | 500.0504 | 1499.1504 | 158.4723 | 70.2449 | -3.1419 | 0.22239 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7537 | 0.0050946 | 287.58 | 285.7429 | 239.8641 | -0.029087 | 1.6496 | 23.4834 | 15.6016 | 13.5114 | 1.5541 | 0.32142 | 0.55366 | 1.0005 | 0.20311 | 21.1463 | 0.7718 | 37.6424 | 384.8285 | 0.015962 | 16.4079 | 12.5809 | 14.4022 | #DIV/0! | 1666.0333 | 0 | 16.4079 | 0.34809 | 300.5898 | 5.0857 | 1.0935 | 14.4022 | 2.8514 | 2.1113 | 1 | 4.2226 | 12.5809 | 14.4022 | 11.9695 | 400.4621 | 389.9732 | 4.9965 | 7.8742 | 24.0001 | 37.8223 | 499.9614 | 1499.0822 | 158.3099 | 70.2452 | -3.1419 | 0.22239 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0050857 | 287.5522 | 285.7309 | 239.8531 | -0.024493 | 1.6466 | 23.4411 | 15.5669 | 13.4915 | 1.5521 | 0.32158 | 0.55312 | 0.999 | 0.20321 | 21.115 | 0.7708 | 37.6728 | 384.7275 | 0.016067
Remark= | "11:30:48 Coolers: Tblock -> 17.00 C"
Remark= | "11:32:40 Flow: Fixed -> 500 umol/s"
46 | 11:33:01 | 1807.5 | 0 | 17.4024 | 0.34178 | 292.8168 | 5.4364 | 1.1856 | 16.496 | 2.8514 | 2.1113 | 1 | 4.2226 | 16.6978 | 16.496 | 17.0542 | 400.3403 | 389.2096 | 6.8634 | 9.9328 | 25.2736 | 36.5763 | 500.0076 | 1499.6884 | 106.315 | 70.246 | -3.3314 | 0.19566 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7536 | 0.0054364 | 289.646 | 289.8478 | 239.9501 | 0.019505 | 1.8833 | 26.8103 | 16.8775 | 16.5969 | 1.8954 | 0.31619 | 0.69774 | 1.1977 | 0.19977 | 20.5692 | 0.75234 | 40.6723 | 383.646 | 0.018449
47 | 11:33:02 | 1807.5 | 0 | 17.4024 | 0.34178 | 292.8168 | 5.4364 | 1.1856 | 16.496 | 2.8514 | 2.1113 | 1 | 4.2226 | 16.6978 | 16.496 | 17.0542 | 400.3403 | 389.2096 | 6.8634 | 9.9328 | 25.2736 | 36.5763 | 500.0076 | 1499.6884 | 106.315 | 70.246 | -3.3314 | 0.19566 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7536 | 0.0054364 | 289.646 | 289.8478 | 239.9501 | 0.019505 | 1.8833 | 26.8103 | 16.8775 | 16.5969 | 1.8954 | 0.31619 | 0.69774 | 1.1977 | 0.19977 | 20.5692 | 0.75234 | 40.6723 | 383.646 | 0.018449
48 | 11:33:02 | 1807.5 | 0 | 17.4024 | 0.34178 | 292.8168 | 5.4364 | 1.1856 | 16.496 | 2.8514 | 2.1113 | 1 | 4.2226 | 16.6978 | 16.496 | 17.0542 | 400.3403 | 389.2096 | 6.8634 | 9.9328 | 25.2736 | 36.5763 | 500.0076 | 1499.6884 | 106.315 | 70.246 | -3.3314 | 0.19566 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7536 | 0.0054364 | 289.646 | 289.8478 | 239.9501 | 0.019505 | 1.8833 | 26.8103 | 16.8775 | 16.5969 | 1.8954 | 0.31619 | 0.69774 | 1.1977 | 0.19977 | 20.5692 | 0.75234 | 40.6723 | 383.646 | 0.018449
49 | 11:33:02 | 1808 | 0 | 17.4999 | 0.34233 | 292.4509 | 5.4411 | 1.1849 | 16.4912 | 2.8514 | 2.1113 | 1 | 4.2226 | 16.701 | 16.4912 | 17.0536 | 400.377 | 389.1894 | 6.8628 | 9.9349 | 25.2661 | 36.5767 | 499.9918 | 1499.6964 | 103.114 | 70.2459 | -3.3314 | 0.19566 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7535 | 0.0054411 | 289.6412 | 289.851 | 239.9514 | 0.018463 | 1.8827 | 26.8022 | 16.8672 | 16.5961 | 1.8953 | 0.31666 | 0.69789 | 1.1975 | 0.20007 | 20.5435 | 0.75144 | 40.6978 | 383.5946 | 0.018567
50 | 11:33:03 | 1808.5 | 0 | 17.5641 | 0.3425 | 292.1692 | 5.4425 | 1.1846 | 16.4895 | 2.8514 | 2.1113 | 1 | 4.2226 | 16.704 | 16.4895 | 17.0544 | 400.4066 | 389.182 | 6.8627 | 9.9356 | 25.2607 | 36.5719 | 499.9908 | 1499.6943 | 101.2848 | 70.2455 | -3.3314 | 0.19566 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7535 | 0.0054425 | 289.6395 | 289.854 | 239.9511 | 0.018384 | 1.8825 | 26.7993 | 16.8637 | 16.5967 | 1.8954 | 0.3168 | 0.69793 | 1.1975 | 0.20016 | 20.5236 | 0.75073 | 40.706 | 383.5667 | 0.01864
51 | 11:33:03 | 1809 | 0 | 17.5627 | 0.34257 | 292.231 | 5.4423 | 1.1844 | 16.4884 | 2.8514 | 2.1113 | 1 | 4.2226 | 16.7069 | 16.4884 | 17.0545 | 400.4447 | 389.2204 | 6.8642 | 9.9372 | 25.2619 | 36.5711 | 499.9719 | 1499.6437 | 101.2244 | 70.2457 | -3.3314 | 0.19566 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0054423 | 289.6384 | 289.8569 | 239.943 | 0.018717 | 1.8824 | 26.7974 | 16.8602 | 16.5976 | 1.8955 | 0.31686 | 0.69804 | 1.1975 | 0.2002 | 20.528 | 0.75081 | 40.7149 | 383.6056 | 0.018641
52 | 11:33:04 | 1809.5 | 0 | 17.5238 | 0.34248 | 292.4519 | 5.4439 | 1.185 | 16.494 | 2.8514 | 2.1113 | 1 | 4.2226 | 16.7088 | 16.494 | 17.0548 | 400.4781 | 389.2751 | 6.8644 | 9.9383 | 25.2593 | 36.5706 | 499.9553 | 1499.6625 | 102.6456 | 70.2452 | -3.3314 | 0.19566 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0054439 | 289.644 | 289.8588 | 239.946 | 0.017837 | 1.8831 | 26.8071 | 16.8688 | 16.6014 | 1.896 | 0.31679 | 0.69812 | 1.1979 | 0.20015 | 20.5433 | 0.75127 | 40.7049 | 383.6727 | 0.018591
53 | 11:33:04 | 1810 | 0 | 17.5263 | 0.34248 | 292.448 | 5.446 | 1.1854 | 16.4988 | 2.8514 | 2.1113 | 1 | 4.2226 | 16.7116 | 16.4988 | 17.0555 | 400.4933 | 389.2878 | 6.865 | 9.9403 | 25.2566 | 36.5709 | 499.926 | 1499.7694 | 105.1532 | 70.2447 | -3.3314 | 0.19566 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.005446 | 289.6488 | 289.8616 | 239.9631 | 0.017034 | 1.8836 | 26.8155 | 16.8752 | 16.6052 | 1.8964 | 0.31679 | 0.69825 | 1.1982 | 0.20015 | 20.5429 | 0.75124 | 40.7004 | 383.6845 | 0.018591
54 | 11:33:05 | 1810.5 | 0 | 17.5681 | 0.34224 | 292.1869 | 5.4456 | 1.1861 | 16.5049 | 2.8514 | 2.1113 | 1 | 4.2226 | 16.7143 | 16.5049 | 17.0563 | 400.5262 | 389.297 | 6.8658 | 9.9409 | 25.2552 | 36.5665 | 499.9323 | 1499.8121 | 108.3475 | 70.2441 | -3.3314 | 0.19566 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0054456 | 289.6549 | 289.8643 | 239.9699 | 0.016915 | 1.8844 | 26.8262 | 16.8853 | 16.6096 | 1.897 | 0.31658 | 0.69829 | 1.1987 | 0.20002 | 20.5244 | 0.75055 | 40.6851 | 383.6804 | 0.018629
55 | 11:33:05 | 1811 | 0 | 17.5952 | 0.34234 | 292.0782 | 5.4496 | 1.1866 | 16.5111 | 2.8514 | 2.1113 | 1 | 4.2226 | 16.7171 | 16.5111 | 17.0572 | 400.5468 | 389.3015 | 6.8668 | 9.944 | 25.2542 | 36.5714 | 499.9463 | 1499.8398 | 111.8752 | 70.244 | -3.3314 | 0.19566 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0054496 | 289.6611 | 289.8671 | 239.9744 | 0.015195 | 1.8851 | 26.8367 | 16.8928 | 16.6141 | 1.8975 | 0.31667 | 0.6985 | 1.199 | 0.20007 | 20.5167 | 0.75026 | 40.6832 | 383.6763 | 0.018657
56 | 11:33:06 | 1811.5 | 0 | 17.6358 | 0.34213 | 291.8068 | 5.4489 | 1.1871 | 16.5157 | 2.8514 | 2.1113 | 1 | 4.2226 | 16.7196 | 16.5157 | 17.0577 | 400.5515 | 389.2839 | 6.8678 | 9.9445 | 25.2542 | 36.5676 | 499.9752 | 1499.8478 | 115.1541 | 70.2441 | -3.3314 | 0.19566 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0054489 | 289.6657 | 289.8696 | 239.9756 | 0.015263 | 1.8857 | 26.8446 | 16.9001 | 16.6176 | 1.8979 | 0.31649 | 0.69854 | 1.1994 | 0.19996 | 20.4977 | 0.7496 | 40.6717 | 383.6457 | 0.018696
57 | 11:33:06 | 1812 | 0 | 17.6489 | 0.34184 | 291.6681 | 5.4488 | 1.188 | 16.5235 | 2.8514 | 2.1113 | 1 | 4.2226 | 16.7214 | 16.5235 | 17.0583 | 400.5587 | 389.2848 | 6.869 | 9.9453 | 25.2557 | 36.5664 | 500.0229 | 1499.8478 | 118.1318 | 70.244 | -3.3314 | 0.19566 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7536 | 0.0054488 | 289.6735 | 289.8714 | 239.9756 | 0.014774 | 1.8866 | 26.858 | 16.9127 | 16.6224 | 1.8985 | 0.31624 | 0.6986 | 1.1999 | 0.1998 | 20.4879 | 0.74924 | 40.653 | 383.6424 | 0.018702
58 | 11:33:07 | 1812.5 | 0 | 17.6682 | 0.34179 | 291.5426 | 5.4504 | 1.1885 | 16.5287 | 2.8514 | 2.1113 | 1 | 4.2226 | 16.7241 | 16.5287 | 17.059 | 400.5553 | 389.2706 | 6.8698 | 9.9469 | 25.2541 | 36.5658 | 500.0432 | 1499.8755 | 120.5149 | 70.2439 | -3.3314 | 0.19566 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7537 | 0.0054504 | 289.6787 | 289.8741 | 239.9801 | 0.013989 | 1.8872 | 26.8669 | 16.9201 | 16.6264 | 1.899 | 0.3162 | 0.69871 | 1.2003 | 0.19977 | 20.4791 | 0.74895 | 40.646 | 383.622 | 0.01872
59 | 11:33:07 | 1813 | 0 | 17.5931 | 0.34139 | 291.8133 | 5.4474 | 1.1892 | 16.5335 | 2.8514 | 2.1113 | 1 | 4.2226 | 16.7262 | 16.5335 | 17.0596 | 400.5134 | 389.2723 | 6.8708 | 9.9462 | 25.2543 | 36.5579 | 500.0515 | 1499.9055 | 122.5925 | 70.2432 | -3.3314 | 0.19566 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7537 | 0.0054474 | 289.6835 | 289.8762 | 239.9849 | 0.014918 | 1.8878 | 26.8754 | 16.9292 | 16.6299 | 1.8994 | 0.31585 | 0.69865 | 1.2008 | 0.19955 | 20.4979 | 0.74964 | 40.6271 | 383.6477 | 0.018631
60 | 11:33:08 | 1813.5 | 0 | 17.6564 | 0.34122 | 291.4186 | 5.4464 | 1.1895 | 16.5361 | 2.8514 | 2.1113 | 1 | 4.2226 | 16.7285 | 16.5361 | 17.059 | 400.5072 | 389.2307 | 6.8713 | 9.946 | 25.2526 | 36.5524 | 500.0641 | 1499.923 | 124.5316 | 70.2437 | -3.3314 | 0.19566 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7538 | 0.0054464 | 289.6861 | 289.8785 | 239.9877 | 0.015279 | 1.8881 | 26.8796 | 16.9336 | 16.6323 | 1.8997 | 0.31571 | 0.69865 | 1.2011 | 0.19946 | 20.4703 | 0.7487 | 40.6189 | 383.5858 | 0.018697 | 17.55 | 16.7118 | 16.5069 | #DIV/0! | 1810.1 | 0 | 17.55 | 0.34204 | 292.1811 | 5.4441 | 1.1864 | 16.5069 | 2.8514 | 2.1113 | 1 | 4.2226 | 16.7118 | 16.5069 | 17.0562 | 400.4653 | 389.2483 | 6.866 | 9.9399 | 25.2604 | 36.5692 | 499.9929 | 1499.7722 | 110.2343 | 70.2448 | -3.3314 | 0.19566 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7535 | 0.0054441 | 289.6569 | 289.8618 | 239.9635 | 0.017019 | 1.8846 | 26.8293 | 16.8894 | 16.6093 | 1.8969 | 0.31641 | 0.69823 | 1.1987 | 0.19991 | 20.5242 | 0.75063 | 40.6751 | 383.6375 | 0.018607
Remark= | "11:33:20 Coolers: Tblock -> 22.00 C"
Remark= | "11:35:22 Flow: Fixed -> 500 umol/s"
61 | 11:35:53 | 1979.5 | 0 | 18.3706 | 0.33353 | 284.0818 | 5.8324 | 1.2964 | 18.8853 | 2.8514 | 2.1113 | 1 | 4.2226 | 21.0027 | 18.8853 | 22.13 | 399.9794 | 388.2105 | 9.4287 | 12.7129 | 26.5329 | 35.7748 | 499.9452 | 1500.2804 | 59.7045 | 70.2487 | -3.461 | 0.16603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0058324 | 292.0353 | 294.1527 | 240.0449 | 0.048701 | 2.1895 | 31.1671 | 18.4543 | 19.944 | 2.3385 | 0.30911 | 0.89306 | 1.4454 | 0.19525 | 19.9564 | 0.73177 | 43.8928 | 382.3373 | 0.02109
62 | 11:35:53 | 1979.5 | 0 | 18.3706 | 0.33353 | 284.0818 | 5.8324 | 1.2964 | 18.8853 | 2.8514 | 2.1113 | 1 | 4.2226 | 21.0027 | 18.8853 | 22.13 | 399.9794 | 388.2105 | 9.4287 | 12.7129 | 26.5329 | 35.7748 | 499.9452 | 1500.2804 | 59.7045 | 70.2487 | -3.461 | 0.16603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0058324 | 292.0353 | 294.1527 | 240.0449 | 0.048701 | 2.1895 | 31.1671 | 18.4543 | 19.944 | 2.3385 | 0.30911 | 0.89306 | 1.4454 | 0.19525 | 19.9564 | 0.73177 | 43.8928 | 382.3373 | 0.02109
63 | 11:35:54 | 1980.5 | 0 | 18.3163 | 0.33329 | 284.2911 | 5.8297 | 1.2966 | 18.8876 | 2.8514 | 2.1113 | 1 | 4.2226 | 21.007 | 18.8876 | 22.129 | 399.946 | 388.2092 | 9.4313 | 12.7138 | 26.5332 | 35.768 | 499.9655 | 1500.292 | 59.873 | 70.2485 | -3.461 | 0.16603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0058297 | 292.0376 | 294.157 | 240.0467 | 0.0499 | 2.1898 | 31.1716 | 18.4578 | 19.9473 | 2.339 | 0.30891 | 0.89313 | 1.4458 | 0.19512 | 19.971 | 0.73231 | 43.887 | 382.3534 | 0.021024
64 | 11:35:54 | 1980.5 | 0 | 18.3163 | 0.33329 | 284.2911 | 5.8297 | 1.2966 | 18.8876 | 2.8514 | 2.1113 | 1 | 4.2226 | 21.007 | 18.8876 | 22.129 | 399.946 | 388.2092 | 9.4313 | 12.7138 | 26.5332 | 35.768 | 499.9655 | 1500.292 | 59.873 | 70.2485 | -3.461 | 0.16603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0058297 | 292.0376 | 294.157 | 240.0467 | 0.0499 | 2.1898 | 31.1716 | 18.4578 | 19.9473 | 2.339 | 0.30891 | 0.89313 | 1.4458 | 0.19512 | 19.971 | 0.73231 | 43.887 | 382.3534 | 0.021024
65 | 11:35:55 | 1981 | 0 | 18.3136 | 0.33343 | 284.3585 | 5.8318 | 1.2966 | 18.8882 | 2.8514 | 2.1113 | 1 | 4.2226 | 21.0094 | 18.8882 | 22.128 | 399.9633 | 388.2276 | 9.4315 | 12.7151 | 26.53 | 35.7666 | 499.9719 | 1500.2782 | 59.9982 | 70.2489 | -3.461 | 0.16603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0058318 | 292.0382 | 294.1594 | 240.0445 | 0.049283 | 2.1898 | 31.1725 | 18.4574 | 19.9488 | 2.3392 | 0.30903 | 0.89322 | 1.446 | 0.1952 | 19.9759 | 0.73245 | 43.8915 | 382.3727 | 0.021022
66 | 11:35:55 | 1981.5 | 0 | 18.345 | 0.33348 | 284.2092 | 5.8345 | 1.297 | 18.8915 | 2.8514 | 2.1113 | 1 | 4.2226 | 21.0113 | 18.8915 | 22.1277 | 399.9811 | 388.2268 | 9.4306 | 12.7158 | 26.5245 | 35.7643 | 499.966 | 1500.2262 | 59.982 | 70.249 | -3.461 | 0.16603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0058345 | 292.0415 | 294.1613 | 240.0362 | 0.048115 | 2.1903 | 31.179 | 18.4632 | 19.9514 | 2.3396 | 0.30907 | 0.89327 | 1.4463 | 0.19522 | 19.9654 | 0.73207 | 43.886 | 382.3618 | 0.021056
67 | 11:35:56 | 1982 | 0 | 18.3321 | 0.33373 | 284.3794 | 5.8393 | 1.2972 | 18.8943 | 2.8514 | 2.1113 | 1 | 4.2226 | 21.0133 | 18.8943 | 22.1277 | 400.0165 | 388.2682 | 9.4313 | 12.7192 | 26.523 | 35.7694 | 499.9585 | 1500.1995 | 60.1694 | 70.2491 | -3.461 | 0.16603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0058393 | 292.0443 | 294.1633 | 240.0319 | 0.04623 | 2.1907 | 31.1844 | 18.4653 | 19.9538 | 2.3399 | 0.30929 | 0.89351 | 1.4464 | 0.19536 | 19.9774 | 0.73243 | 43.8924 | 382.4073 | 0.021041
68 | 11:35:56 | 1982.5 | 0 | 18.3295 | 0.33356 | 284.332 | 5.8378 | 1.2975 | 18.8958 | 2.8514 | 2.1113 | 1 | 4.2226 | 21.0158 | 18.8958 | 22.1285 | 399.9999 | 388.2535 | 9.4309 | 12.718 | 26.5179 | 35.7607 | 499.9615 | 1500.2345 | 60.1104 | 70.2493 | -3.461 | 0.16603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0058378 | 292.0458 | 294.1658 | 240.0375 | 0.046904 | 2.1909 | 31.1873 | 18.4693 | 19.9558 | 2.3402 | 0.30914 | 0.89343 | 1.4468 | 0.19527 | 19.9741 | 0.73234 | 43.883 | 382.3935 | 0.021035
69 | 11:35:57 | 1983 | 0 | 18.3506 | 0.33341 | 284.1959 | 5.837 | 1.2978 | 18.8987 | 2.8514 | 2.1113 | 1 | 4.2226 | 21.018 | 18.8987 | 22.1287 | 400.0243 | 388.2658 | 9.4321 | 12.7187 | 26.5176 | 35.7577 | 499.9549 | 1500.2815 | 60.195 | 70.2491 | -3.461 | 0.16603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.005837 | 292.0487 | 294.168 | 240.045 | 0.047241 | 2.1913 | 31.1929 | 18.4742 | 19.9584 | 2.3406 | 0.30901 | 0.89348 | 1.4471 | 0.19519 | 19.9645 | 0.73196 | 43.8763 | 382.3991 | 0.021055
70 | 11:35:57 | 1983.5 | 0 | 18.372 | 0.33345 | 284.0878 | 5.8391 | 1.2982 | 18.9019 | 2.8514 | 2.1113 | 1 | 4.2226 | 21.0204 | 18.9019 | 22.1285 | 400.0306 | 388.2597 | 9.432 | 12.7198 | 26.5138 | 35.756 | 499.9619 | 1500.286 | 60.4942 | 70.2496 | -3.461 | 0.16603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0058391 | 292.0519 | 294.1704 | 240.0458 | 0.046386 | 2.1917 | 31.1989 | 18.4791 | 19.9611 | 2.341 | 0.30904 | 0.89356 | 1.4474 | 0.19521 | 19.9571 | 0.7317 | 43.8724 | 382.3861 | 0.021079
71 | 11:35:58 | 1984 | 0 | 18.369 | 0.33342 | 284.1098 | 5.8401 | 1.2985 | 18.9046 | 2.8514 | 2.1113 | 1 | 4.2226 | 21.0234 | 18.9046 | 22.1284 | 400.0466 | 388.2767 | 9.4318 | 12.7203 | 26.5085 | 35.751 | 499.9421 | 1500.2495 | 60.7988 | 70.2503 | -3.461 | 0.16603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0058401 | 292.0546 | 294.1734 | 240.0399 | 0.04599 | 2.1921 | 31.204 | 18.4837 | 19.964 | 2.3414 | 0.30902 | 0.8936 | 1.4478 | 0.19519 | 19.9588 | 0.73172 | 43.867 | 382.404 | 0.021072
72 | 11:35:58 | 1984.5 | 0 | 18.4258 | 0.33338 | 283.7898 | 5.8418 | 1.299 | 18.9083 | 2.8514 | 2.1113 | 1 | 4.2226 | 21.0256 | 18.9083 | 22.1287 | 400.0586 | 388.2559 | 9.431 | 12.7204 | 26.5025 | 35.7464 | 499.939 | 1500.2493 | 60.7597 | 70.2502 | -3.461 | 0.16603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0058418 | 292.0583 | 294.1756 | 240.0399 | 0.045245 | 2.1926 | 31.2112 | 18.4908 | 19.967 | 2.3418 | 0.30899 | 0.89361 | 1.4482 | 0.19517 | 19.9363 | 0.73094 | 43.8579 | 382.3651 | 0.021135
73 | 11:35:59 | 1985 | 0 | 18.4155 | 0.33346 | 283.88 | 5.8448 | 1.2994 | 18.9121 | 2.8514 | 2.1113 | 1 | 4.2226 | 21.0283 | 18.9121 | 22.1291 | 400.0755 | 388.2786 | 9.4311 | 12.722 | 26.4984 | 35.745 | 499.9689 | 1500.2842 | 60.5853 | 70.25 | -3.461 | 0.16603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0058448 | 292.0621 | 294.1783 | 240.0455 | 0.044072 | 2.1931 | 31.2186 | 18.4966 | 19.9702 | 2.3423 | 0.30905 | 0.89372 | 1.4486 | 0.19521 | 19.9426 | 0.73112 | 43.8543 | 382.3911 | 0.02112
74 | 11:35:59 | 1985.5 | 0 | 18.4297 | 0.33332 | 283.7735 | 5.8441 | 1.2997 | 18.9147 | 2.8514 | 2.1113 | 1 | 4.2226 | 21.0311 | 18.9147 | 22.1296 | 400.086 | 388.2812 | 9.4323 | 12.7229 | 26.4973 | 35.7411 | 499.9698 | 1500.3353 | 60.5444 | 70.2497 | -3.461 | 0.16603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0058441 | 292.0647 | 294.1811 | 240.0536 | 0.044428 | 2.1935 | 31.2239 | 18.501 | 19.9729 | 2.3427 | 0.30894 | 0.89378 | 1.4489 | 0.19514 | 19.935 | 0.73085 | 43.8484 | 382.3892 | 0.021133
75 | 11:36:00 | 1986 | 0 | 18.3966 | 0.33339 | 283.9594 | 5.8448 | 1.2996 | 18.9146 | 2.8514 | 2.1113 | 1 | 4.2226 | 21.0338 | 18.9146 | 22.1296 | 400.0674 | 388.2815 | 9.4331 | 12.724 | 26.4952 | 35.7384 | 499.9753 | 1500.3136 | 60.4848 | 70.2496 | -3.461 | 0.16603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0058448 | 292.0646 | 294.1838 | 240.0502 | 0.04441 | 2.1935 | 31.2237 | 18.4997 | 19.9742 | 2.3429 | 0.309 | 0.89386 | 1.449 | 0.19518 | 19.948 | 0.73132 | 43.853 | 382.4 | 0.021097 | 18.3635 | 21.0166 | 18.898 | #DIV/0! | 1982.5667 | 0 | 18.3635 | 0.33345 | 284.1214 | 5.8373 | 1.2978 | 18.898 | 2.8514 | 2.1113 | 1 | 4.2226 | 21.0166 | 18.898 | 22.1288 | 400.0134 | 388.2477 | 9.4312 | 12.718 | 26.5174 | 35.7588 | 499.9594 | 1500.2722 | 60.2185 | 70.2493 | -3.461 | 0.16603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0058373 | 292.048 | 294.1666 | 240.0435 | 0.047034 | 2.1912 | 31.1916 | 18.4736 | 19.9573 | 2.3404 | 0.30904 | 0.89343 | 1.447 | 0.1952 | 19.9593 | 0.7318 | 43.8761 | 382.3768 | 0.021071
Remark= | "11:36:12 Coolers: Tblock -> 27.00 C"
Remark= | "11:40:18 Flow: Fixed -> 500 umol/s"
76 | 11:40:45 | 2271.5 | 0 | 18.1595 | 0.30053 | 275.0951 | 5.7179 | 1.394 | 21.3307 | 2.8514 | 2.1113 | 1 | 4.2226 | 25.2794 | 21.3307 | 27.0076 | 400.007 | 388.3805 | 13.205 | 16.4134 | 28.6938 | 35.6654 | 499.8236 | 1499.2753 | 106.2152 | 70.2519 | -3.1176 | 0.12169 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7529 | 0.0057179 | 294.4807 | 298.4294 | 239.884 | 0.26823 | 2.5471 | 36.2568 | 19.8434 | 23.3051 | 2.8722 | 0.28056 | 1.1531 | 1.7191 | 0.17704 | 19.326 | 0.70831 | 47.5244 | 382.5749 | 0.022558
77 | 11:40:46 | 2271.5 | 0 | 18.1595 | 0.30053 | 275.0951 | 5.7179 | 1.394 | 21.3307 | 2.8514 | 2.1113 | 1 | 4.2226 | 25.2794 | 21.3307 | 27.0076 | 400.007 | 388.3805 | 13.205 | 16.4134 | 28.6938 | 35.6654 | 499.8236 | 1499.2753 | 106.2152 | 70.2519 | -3.1176 | 0.12169 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7529 | 0.0057179 | 294.4807 | 298.4294 | 239.884 | 0.26823 | 2.5471 | 36.2568 | 19.8434 | 23.3051 | 2.8722 | 0.28056 | 1.1531 | 1.7191 | 0.17704 | 19.326 | 0.70831 | 47.5244 | 382.5749 | 0.022558
78 | 11:40:46 | 2271.5 | 0 | 18.1595 | 0.30053 | 275.0951 | 5.7179 | 1.394 | 21.3307 | 2.8514 | 2.1113 | 1 | 4.2226 | 25.2794 | 21.3307 | 27.0076 | 400.007 | 388.3805 | 13.205 | 16.4134 | 28.6938 | 35.6654 | 499.8236 | 1499.2753 | 106.2152 | 70.2519 | -3.1176 | 0.12169 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7529 | 0.0057179 | 294.4807 | 298.4294 | 239.884 | 0.26823 | 2.5471 | 36.2568 | 19.8434 | 23.3051 | 2.8722 | 0.28056 | 1.1531 | 1.7191 | 0.17704 | 19.326 | 0.70831 | 47.5244 | 382.5749 | 0.022558
79 | 11:40:47 | 2272 | 0 | 18.1571 | 0.30033 | 275.0728 | 5.7173 | 1.3947 | 21.336 | 2.8514 | 2.1113 | 1 | 4.2226 | 25.281 | 21.336 | 27.0081 | 400.0389 | 388.414 | 13.207 | 16.4151 | 28.6954 | 35.6656 | 499.8317 | 1499.3134 | 107.9026 | 70.2519 | -3.1176 | 0.12169 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7529 | 0.0057173 | 294.486 | 298.431 | 239.8901 | 0.26814 | 2.5479 | 36.2686 | 19.8535 | 23.3085 | 2.8728 | 0.28039 | 1.1532 | 1.7196 | 0.17693 | 19.3244 | 0.70819 | 47.512 | 382.6091 | 0.022547
80 | 11:40:47 | 2272.5 | 0 | 18.1864 | 0.30075 | 275.0351 | 5.7214 | 1.3939 | 21.332 | 2.8514 | 2.1113 | 1 | 4.2226 | 25.2825 | 21.332 | 27.0084 | 400.0436 | 388.4009 | 13.2072 | 16.4175 | 28.6932 | 35.6678 | 499.8249 | 1499.3534 | 109.5289 | 70.2521 | -3.1176 | 0.12169 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7529 | 0.0057214 | 294.482 | 298.4325 | 239.8965 | 0.26721 | 2.5473 | 36.2596 | 19.8421 | 23.3073 | 2.8726 | 0.28075 | 1.1534 | 1.7192 | 0.17716 | 19.3218 | 0.70812 | 47.5342 | 382.5867 | 0.022596
81 | 11:40:48 | 2273 | 0 | 18.3049 | 0.30059 | 274.2937 | 5.7187 | 1.394 | 21.332 | 2.8514 | 2.1113 | 1 | 4.2226 | 25.2838 | 21.332 | 27.0088 | 400.0758 | 388.3663 | 13.2085 | 16.4174 | 28.694 | 35.6648 | 499.8274 | 1499.3358 | 111.3517 | 70.2521 | -3.1176 | 0.12169 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7529 | 0.0057187 | 294.482 | 298.4338 | 239.8937 | 0.2683 | 2.5473 | 36.2597 | 19.8424 | 23.3079 | 2.8727 | 0.28062 | 1.1534 | 1.7194 | 0.17708 | 19.2697 | 0.70628 | 47.5318 | 382.5142 | 0.022746
82 | 11:40:48 | 2273.5 | 0 | 18.349 | 0.30086 | 274.1109 | 5.724 | 1.3941 | 21.3338 | 2.8514 | 2.1113 | 1 | 4.2226 | 25.285 | 21.3338 | 27.0096 | 400.0779 | 388.3425 | 13.2078 | 16.4195 | 28.6904 | 35.6669 | 499.8444 | 1499.3766 | 112.8839 | 70.2524 | -3.1176 | 0.12169 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.753 | 0.005724 | 294.4838 | 298.435 | 239.9002 | 0.26636 | 2.5476 | 36.2635 | 19.844 | 23.3094 | 2.873 | 0.28085 | 1.1535 | 1.7195 | 0.17723 | 19.2569 | 0.70585 | 47.5359 | 382.4763 | 0.022805
83 | 11:40:49 | 2274 | 0 | 18.252 | 0.30064 | 274.5895 | 5.7233 | 1.3949 | 21.339 | 2.8514 | 2.1113 | 1 | 4.2226 | 25.2859 | 21.339 | 27.0105 | 400.041 | 388.3604 | 13.2084 | 16.4199 | 28.6901 | 35.6659 | 499.8118 | 1499.389 | 114.6965 | 70.2524 | -3.1176 | 0.12169 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7529 | 0.0057233 | 294.489 | 298.4359 | 239.9022 | 0.26623 | 2.5484 | 36.2751 | 19.8552 | 23.3125 | 2.8735 | 0.28066 | 1.1535 | 1.72 | 0.1771 | 19.2906 | 0.70705 | 47.5201 | 382.5251 | 0.022674
84 | 11:40:49 | 2274.5 | 0 | 18.2198 | 0.30078 | 274.8224 | 5.7239 | 1.3944 | 21.3359 | 2.8514 | 2.1113 | 1 | 4.2226 | 25.2865 | 21.3359 | 27.0104 | 400.028 | 388.3663 | 13.2078 | 16.4194 | 28.6877 | 35.6635 | 499.8447 | 1499.4237 | 116.0028 | 70.2525 | -3.1176 | 0.12169 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.753 | 0.0057239 | 294.4859 | 298.4365 | 239.9078 | 0.26642 | 2.5479 | 36.268 | 19.8486 | 23.3112 | 2.8733 | 0.28078 | 1.1535 | 1.7198 | 0.17718 | 19.3069 | 0.70764 | 47.5291 | 382.5414 | 0.022637
85 | 11:40:50 | 2275 | 0 | 18.1784 | 0.30099 | 275.1157 | 5.728 | 1.3945 | 21.3368 | 2.8514 | 2.1113 | 1 | 4.2226 | 25.2881 | 21.3368 | 27.0102 | 400.0009 | 388.3628 | 13.2063 | 16.42 | 28.6821 | 35.6618 | 499.8792 | 1499.441 | 116.068 | 70.2529 | -3.1176 | 0.12169 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7531 | 0.005728 | 294.4868 | 298.4381 | 239.9106 | 0.26497 | 2.5481 | 36.2699 | 19.8499 | 23.3125 | 2.8735 | 0.28096 | 1.1536 | 1.7199 | 0.1773 | 19.3277 | 0.7084 | 47.5309 | 382.5511 | 0.022586
86 | 11:40:50 | 2275.5 | 0 | 18.2064 | 0.3011 | 274.9775 | 5.7273 | 1.3939 | 21.3325 | 2.8514 | 2.1113 | 1 | 4.2226 | 25.289 | 21.3325 | 27.0097 | 399.9919 | 388.3387 | 13.2064 | 16.4196 | 28.6812 | 35.6593 | 499.9063 | 1499.4912 | 115.3896 | 70.2535 | -3.1176 | 0.12169 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7532 | 0.0057273 | 294.4825 | 298.439 | 239.9186 | 0.2658 | 2.5474 | 36.26 | 19.8404 | 23.3107 | 2.8732 | 0.28106 | 1.1535 | 1.7197 | 0.17736 | 19.3181 | 0.70809 | 47.5432 | 382.518 | 0.022629
87 | 11:40:51 | 2276 | 0 | 18.2435 | 0.30132 | 274.8035 | 5.7273 | 1.393 | 21.3267 | 2.8514 | 2.1113 | 1 | 4.2226 | 25.2891 | 21.3267 | 27.0094 | 399.9702 | 388.2957 | 13.2061 | 16.4193 | 28.6803 | 35.6585 | 499.9005 | 1499.5115 | 114.8031 | 70.2536 | -3.1176 | 0.12169 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7532 | 0.0057273 | 294.4767 | 298.4391 | 239.9218 | 0.26636 | 2.5465 | 36.2471 | 19.8278 | 23.3079 | 2.8727 | 0.28125 | 1.1535 | 1.7192 | 0.17748 | 19.3059 | 0.70772 | 47.5607 | 382.4632 | 0.022686
88 | 11:40:51 | 2276.5 | 0 | 18.2034 | 0.30109 | 274.9629 | 5.7228 | 1.3928 | 21.3251 | 2.8514 | 2.1113 | 1 | 4.2226 | 25.2897 | 21.3251 | 27.0094 | 399.9524 | 388.3022 | 13.2074 | 16.4179 | 28.682 | 35.6541 | 499.9178 | 1499.4418 | 113.779 | 70.2534 | -3.1176 | 0.12169 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7532 | 0.0057228 | 294.4751 | 298.4397 | 239.9107 | 0.26815 | 2.5462 | 36.2436 | 19.8257 | 23.3074 | 2.8726 | 0.28105 | 1.1534 | 1.7192 | 0.17735 | 19.3171 | 0.70812 | 47.5587 | 382.4825 | 0.022635
89 | 11:40:52 | 2277 | 0 | 18.1435 | 0.30115 | 275.3379 | 5.7266 | 1.3935 | 21.3299 | 2.8514 | 2.1113 | 1 | 4.2226 | 25.2913 | 21.3299 | 27.0096 | 399.9489 | 388.3319 | 13.2064 | 16.419 | 28.677 | 35.6531 | 499.9198 | 1499.4537 | 112.8168 | 70.2533 | -3.1176 | 0.12169 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7532 | 0.0057266 | 294.4799 | 298.4413 | 239.9126 | 0.26646 | 2.547 | 36.2543 | 19.8353 | 23.3106 | 2.8732 | 0.2811 | 1.1535 | 1.7197 | 0.17739 | 19.3434 | 0.70903 | 47.5493 | 382.5314 | 0.022553
90 | 11:40:52 | 2277.5 | 0 | 18.129 | 0.30067 | 275.2901 | 5.7205 | 1.3941 | 21.3331 | 2.8514 | 2.1113 | 1 | 4.2226 | 25.293 | 21.3331 | 27.0102 | 399.9684 | 388.3611 | 13.2086 | 16.4178 | 28.6786 | 35.6466 | 499.9233 | 1499.4606 | 112.003 | 70.2529 | -3.1176 | 0.12169 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0057205 | 294.4831 | 298.443 | 239.9137 | 0.26858 | 2.5475 | 36.2615 | 19.8438 | 23.313 | 2.8736 | 0.28069 | 1.1534 | 1.7202 | 0.17712 | 19.3399 | 0.70885 | 47.5316 | 382.5652 | 0.022524 | 18.2035 | 25.2855 | 21.3323 | #DIV/0! | 2274.1 | 0 | 18.2035 | 0.30079 | 274.9132 | 5.7223 | 1.394 | 21.3323 | 2.8514 | 2.1113 | 1 | 4.2226 | 25.2855 | 21.3323 | 27.0091 | 400.0106 | 388.359 | 13.2069 | 16.4175 | 28.6876 | 35.6616 | 499.8602 | 1499.3878 | 111.7248 | 70.2526 | -3.1176 | 0.12169 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.753 | 0.0057223 | 294.4823 | 298.4355 | 239.902 | 0.26718 | 2.5474 | 36.2601 | 19.8426 | 23.3089 | 2.8729 | 0.28079 | 1.1534 | 1.7195 | 0.17719 | 19.3134 | 0.70788 | 47.534 | 382.5392 | 0.022619
Remark= | "11:41:04 Coolers: Tblock -> 32.00 C"
Remark= | "11:54:23 Flow: Fixed -> 500 umol/s"
91 | 11:55:15 | 3141 | 0 | 18.475 | 0.30002 | 270.894 | 7.0942 | 1.7196 | 25.1432 | 2.8514 | 2.1113 | 1 | 4.2226 | 30.0982 | 25.1432 | 32.0828 | 400.7585 | 388.6488 | 17.2135 | 21.174 | 28.2217 | 34.7149 | 499.9412 | 1500.717 | 123.6575 | 70.2453 | -2.6109 | 0.083666 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0070942 | 298.2932 | 303.2482 | 240.1147 | -0.12205 | 3.2069 | 45.6533 | 24.4793 | 27.6207 | 3.7117 | 0.28012 | 1.4874 | 2.2244 | 0.17676 | 19.029 | 0.69701 | 48.2063 | 382.7423 | 0.023269
92 | 11:55:15 | 3141 | 0 | 18.475 | 0.30002 | 270.894 | 7.0942 | 1.7196 | 25.1432 | 2.8514 | 2.1113 | 1 | 4.2226 | 30.0982 | 25.1432 | 32.0828 | 400.7585 | 388.6488 | 17.2135 | 21.174 | 28.2217 | 34.7149 | 499.9412 | 1500.717 | 123.6575 | 70.2453 | -2.6109 | 0.083666 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0070942 | 298.2932 | 303.2482 | 240.1147 | -0.12205 | 3.2069 | 45.6533 | 24.4793 | 27.6207 | 3.7117 | 0.28012 | 1.4874 | 2.2244 | 0.17676 | 19.029 | 0.69701 | 48.2063 | 382.7423 | 0.023269
93 | 11:55:15 | 3141.5 | 0 | 18.4482 | 0.29993 | 271.0073 | 7.0918 | 1.7195 | 25.1426 | 2.8514 | 2.1113 | 1 | 4.2226 | 30.0981 | 25.1426 | 32.0829 | 400.7357 | 388.6418 | 17.2147 | 21.1738 | 28.2236 | 34.7146 | 499.9407 | 1500.7969 | 128.6105 | 70.245 | -2.6109 | 0.083666 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0070918 | 298.2926 | 303.2481 | 240.1275 | -0.12099 | 3.2068 | 45.6517 | 24.4779 | 27.6203 | 3.7117 | 0.28004 | 1.4874 | 2.2243 | 0.17671 | 19.0369 | 0.69732 | 48.2066 | 382.7439 | 0.023236
94 | 11:55:16 | 3142 | 0 | 18.4611 | 0.3002 | 271.0209 | 7.094 | 1.7186 | 25.1388 | 2.8514 | 2.1113 | 1 | 4.2226 | 30.0979 | 25.1388 | 32.0826 | 400.7378 | 388.6348 | 17.2154 | 21.1762 | 28.225 | 34.7189 | 499.8848 | 1500.8667 | 135.5201 | 70.2447 | -2.6109 | 0.083666 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7531 | 0.007094 | 298.2888 | 303.2479 | 240.1387 | -0.12139 | 3.2061 | 45.6418 | 24.4656 | 27.6184 | 3.7112 | 0.28027 | 1.4875 | 2.2237 | 0.17686 | 19.0378 | 0.69737 | 48.2246 | 382.7327 | 0.023261
95 | 11:55:16 | 3142.5 | 0 | 18.4749 | 0.30036 | 270.9889 | 7.0949 | 1.7179 | 25.1365 | 2.8514 | 2.1113 | 1 | 4.2226 | 30.0969 | 25.1365 | 32.0826 | 400.7331 | 388.6223 | 17.2176 | 21.1788 | 28.2304 | 34.7253 | 499.8924 | 1500.897 | 143.8912 | 70.245 | -2.6109 | 0.083666 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7532 | 0.0070949 | 298.2865 | 303.2469 | 240.1435 | -0.12154 | 3.2056 | 45.6352 | 24.4564 | 27.6167 | 3.7109 | 0.28041 | 1.4877 | 2.2232 | 0.17695 | 19.0356 | 0.69731 | 48.2385 | 382.7158 | 0.023286
96 | 11:55:17 | 3143 | 0 | 18.4757 | 0.30033 | 270.9742 | 7.0921 | 1.7175 | 25.1337 | 2.8514 | 2.1113 | 1 | 4.2226 | 30.0976 | 25.1337 | 32.0821 | 400.7292 | 388.6186 | 17.2184 | 21.1781 | 28.2306 | 34.7227 | 499.8963 | 1500.8199 | 154.0511 | 70.2452 | -2.6109 | 0.083666 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7532 | 0.0070921 | 298.2837 | 303.2476 | 240.1312 | -0.12028 | 3.2051 | 45.6275 | 24.4494 | 27.6157 | 3.7106 | 0.28038 | 1.4877 | 2.223 | 0.17693 | 19.0346 | 0.69728 | 48.2444 | 382.7118 | 0.02329
97 | 11:55:17 | 3143.5 | 0 | 18.4256 | 0.30042 | 271.2937 | 7.0927 | 1.7171 | 25.1323 | 2.8514 | 2.1113 | 1 | 4.2226 | 30.0974 | 25.1323 | 32.0819 | 400.7092 | 388.627 | 17.2193 | 21.1793 | 28.2325 | 34.7253 | 499.8914 | 1500.8398 | 164.9525 | 70.2455 | -2.6109 | 0.083666 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7531 | 0.0070927 | 298.2823 | 303.2474 | 240.1344 | -0.12038 | 3.2048 | 45.6235 | 24.4442 | 27.6149 | 3.7105 | 0.28047 | 1.4877 | 2.2227 | 0.17698 | 19.0572 | 0.69808 | 48.252 | 382.7362 | 0.023229
98 | 11:55:18 | 3144 | 0 | 18.4574 | 0.29992 | 270.9085 | 7.0897 | 1.719 | 25.1422 | 2.8514 | 2.1113 | 1 | 4.2226 | 30.0976 | 25.1422 | 32.0825 | 400.6935 | 388.5938 | 17.22 | 21.1784 | 28.2335 | 34.7236 | 499.885 | 1500.9265 | 175.8026 | 70.2456 | -2.6109 | 0.083666 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7531 | 0.0070897 | 298.2922 | 303.2476 | 240.1482 | -0.12007 | 3.2067 | 45.6503 | 24.4718 | 27.6199 | 3.7116 | 0.28003 | 1.4877 | 2.2239 | 0.1767 | 19.0301 | 0.69715 | 48.2175 | 382.6928 | 0.023255
99 | 11:55:18 | 3144.5 | 0 | 18.4951 | 0.29995 | 270.6941 | 7.0925 | 1.7196 | 25.1459 | 2.8514 | 2.1113 | 1 | 4.2226 | 30.0979 | 25.1459 | 32.0828 | 400.7045 | 388.5831 | 17.2212 | 21.1811 | 28.235 | 34.7273 | 499.902 | 1500.9801 | 186.0294 | 70.2457 | -2.6109 | 0.083666 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7532 | 0.0070925 | 298.2959 | 303.2479 | 240.1568 | -0.12137 | 3.2074 | 45.6604 | 24.4794 | 27.6219 | 3.712 | 0.28005 | 1.4879 | 2.2241 | 0.17672 | 19.0151 | 0.69662 | 48.2131 | 382.6701 | 0.023302
100 | 11:55:19 | 3145 | 0 | 18.5287 | 0.30001 | 270.5183 | 7.0958 | 1.72 | 25.1494 | 2.8514 | 2.1113 | 1 | 4.2226 | 30.0982 | 25.1494 | 32.0832 | 400.7174 | 388.576 | 17.2227 | 21.1843 | 28.2368 | 34.732 | 499.8962 | 1500.9962 | 195.3464 | 70.2457 | -2.6109 | 0.083666 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7532 | 0.0070958 | 298.2994 | 303.2482 | 240.1594 | -0.12283 | 3.2081 | 45.6698 | 24.4855 | 27.6238 | 3.7124 | 0.28011 | 1.4881 | 2.2243 | 0.17675 | 19.0027 | 0.69618 | 48.2112 | 382.6523 | 0.023345
101 | 11:55:19 | 3145.5 | 0 | 18.6406 | 0.30008 | 269.8961 | 7.0981 | 1.7202 | 25.1509 | 2.8514 | 2.1113 | 1 | 4.2226 | 30.099 | 25.1509 | 32.0837 | 400.7583 | 388.5526 | 17.2227 | 21.1857 | 28.2356 | 34.7327 | 499.8968 | 1501.0448 | 203.3902 | 70.2457 | -2.6109 | 0.083666 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7532 | 0.0070981 | 298.3009 | 303.249 | 240.1672 | -0.1237 | 3.2084 | 45.6739 | 24.4882 | 27.625 | 3.7127 | 0.28017 | 1.4882 | 2.2245 | 0.17679 | 18.959 | 0.69462 | 48.2107 | 382.5931 | 0.023489
102 | 11:55:20 | 3146 | 0 | 18.6875 | 0.30046 | 269.7894 | 7.0987 | 1.7183 | 25.1415 | 2.8514 | 2.1113 | 1 | 4.2226 | 30.0987 | 25.1415 | 32.0838 | 400.8005 | 388.5686 | 17.2233 | 21.1863 | 28.2372 | 34.7345 | 499.9282 | 1501.0707 | 210.2575 | 70.246 | -2.6109 | 0.083666 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0070987 | 298.2915 | 303.2487 | 240.1713 | -0.12301 | 3.2066 | 45.648 | 24.4617 | 27.6201 | 3.7116 | 0.2805 | 1.4883 | 2.2233 | 0.177 | 18.9516 | 0.69432 | 48.2425 | 382.5942 | 0.023564
103 | 11:55:20 | 3146.5 | 0 | 18.7431 | 0.3006 | 269.547 | 7.0993 | 1.7177 | 25.138 | 2.8514 | 2.1113 | 1 | 4.2226 | 30.0991 | 25.138 | 32.0844 | 400.8478 | 388.5842 | 17.2222 | 21.1855 | 28.2347 | 34.7323 | 499.9321 | 1501.1649 | 216.3132 | 70.2458 | -2.6109 | 0.083666 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0070993 | 298.288 | 303.2491 | 240.1864 | -0.12274 | 3.2059 | 45.6387 | 24.4532 | 27.6185 | 3.7113 | 0.28062 | 1.4882 | 2.2231 | 0.17708 | 18.9346 | 0.69366 | 48.2518 | 382.592 | 0.023638
104 | 11:55:21 | 3147 | 0 | 18.8383 | 0.3005 | 268.967 | 7.1006 | 1.7186 | 25.143 | 2.8514 | 2.1113 | 1 | 4.2226 | 30.0989 | 25.143 | 32.0858 | 400.8881 | 388.5699 | 17.2232 | 21.1873 | 28.2367 | 34.7357 | 499.9297 | 1501.322 | 221.0284 | 70.2458 | -2.6109 | 0.083666 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0071006 | 298.293 | 303.2489 | 240.2115 | -0.12349 | 3.2069 | 45.6522 | 24.4649 | 27.6209 | 3.7118 | 0.28054 | 1.4883 | 2.2235 | 0.17703 | 18.8938 | 0.6922 | 48.2407 | 382.5472 | 0.023756
105 | 11:55:22 | 3147.5 | 0 | 18.9261 | 0.30042 | 268.441 | 7.105 | 1.72 | 25.1515 | 2.8514 | 2.1113 | 1 | 4.2226 | 30.0993 | 25.1515 | 32.0861 | 400.9354 | 388.5661 | 17.2236 | 21.1901 | 28.2365 | 34.7392 | 499.9288 | 1501.3872 | 224.6282 | 70.2455 | -2.6109 | 0.083666 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.007105 | 298.3015 | 303.2493 | 240.2219 | -0.12579 | 3.2085 | 45.6757 | 24.4856 | 27.6254 | 3.7128 | 0.28047 | 1.4885 | 2.2242 | 0.17698 | 18.8568 | 0.69085 | 48.2221 | 382.5154 | 0.023859 | 18.5701 | 30.0982 | 25.1422 | #DIV/0! | 3144.0333 | 0 | 18.5701 | 0.30021 | 270.389 | 7.0956 | 1.7189 | 25.1422 | 2.8514 | 2.1113 | 1 | 4.2226 | 30.0982 | 25.1422 | 32.0833 | 400.7672 | 388.6024 | 17.2194 | 21.1809 | 28.2314 | 34.7263 | 499.9125 | 1500.9698 | 173.8091 | 70.2454 | -2.6109 | 0.083666 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7532 | 0.0070956 | 298.2922 | 303.2482 | 240.1552 | -0.12211 | 3.2067 | 45.6504 | 24.4695 | 27.6202 | 3.7116 | 0.28029 | 1.4879 | 2.2238 | 0.17687 | 18.9936 | 0.6958 | 48.2259 | 382.6655 | 0.023403
Remark= | "11:55:42 Coolers: Tblock -> 37.00 C"
Remark= | "12:00:06 Flow: Fixed -> 500 umol/s"
Remark= | "12:03:11 Coolers: Tblock -> 34.15 C"
Remark= | "12:04:35 Flow: Fixed -> 500 umol/s"
106 | 12:05:12 | 3738 | 0 | 19.4619 | 0.31048 | 266.0194 | 8.3331 | 1.9478 | 27.1762 | 2.8514 | 2.1113 | 1 | 4.2226 | 32.2439 | 27.1762 | 34.2286 | 400.4883 | 387.5445 | 19.1141 | 23.7547 | 27.7322 | 34.4651 | 499.869 | 1500.2336 | 255.112 | 70.2426 | -2.2443 | 0.032011 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7531 | 0.0083331 | 300.3262 | 305.3939 | 240.0374 | -0.55564 | 3.6164 | 51.484 | 27.7293 | 29.7101 | 4.19 | 0.28921 | 1.6686 | 2.5214 | 0.18255 | 18.6859 | 0.68642 | 47.8676 | 381.3225 | 0.024431
107 | 12:05:12 | 3738 | 0 | 19.4619 | 0.31048 | 266.0194 | 8.3331 | 1.9478 | 27.1762 | 2.8514 | 2.1113 | 1 | 4.2226 | 32.2439 | 27.1762 | 34.2286 | 400.4883 | 387.5445 | 19.1141 | 23.7547 | 27.7322 | 34.4651 | 499.869 | 1500.2336 | 255.112 | 70.2426 | -2.2443 | 0.032011 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7531 | 0.0083331 | 300.3262 | 305.3939 | 240.0374 | -0.55564 | 3.6164 | 51.484 | 27.7293 | 29.7101 | 4.19 | 0.28921 | 1.6686 | 2.5214 | 0.18255 | 18.6859 | 0.68642 | 47.8676 | 381.3225 | 0.024431
108 | 12:05:13 | 3738.5 | 0 | 19.5237 | 0.31058 | 265.7193 | 8.3301 | 1.9465 | 27.17 | 2.8514 | 2.1113 | 1 | 4.2226 | 32.2444 | 27.17 | 34.2286 | 400.5117 | 387.5326 | 19.1151 | 23.7542 | 27.7328 | 34.4634 | 499.8409 | 1500.2443 | 253.9188 | 70.2425 | -2.2443 | 0.032011 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.753 | 0.0083301 | 300.32 | 305.3944 | 240.0391 | -0.55388 | 3.615 | 51.4652 | 27.711 | 29.7072 | 4.1893 | 0.2893 | 1.6686 | 2.5208 | 0.18261 | 18.6648 | 0.68567 | 47.8847 | 381.2908 | 0.024519
109 | 12:05:13 | 3738.5 | 0 | 19.5237 | 0.31058 | 265.7193 | 8.3301 | 1.9465 | 27.17 | 2.8514 | 2.1113 | 1 | 4.2226 | 32.2444 | 27.17 | 34.2286 | 400.5117 | 387.5326 | 19.1151 | 23.7542 | 27.7328 | 34.4634 | 499.8409 | 1500.2443 | 253.9188 | 70.2425 | -2.2443 | 0.032011 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.753 | 0.0083301 | 300.32 | 305.3944 | 240.0391 | -0.55388 | 3.615 | 51.4652 | 27.711 | 29.7072 | 4.1893 | 0.2893 | 1.6686 | 2.5208 | 0.18261 | 18.6648 | 0.68567 | 47.8847 | 381.2908 | 0.024519
110 | 12:05:14 | 3739 | 0 | 19.5981 | 0.31069 | 265.3469 | 8.3313 | 1.9461 | 27.169 | 2.8514 | 2.1113 | 1 | 4.2226 | 32.245 | 27.169 | 34.228 | 400.5409 | 387.5191 | 19.1171 | 23.7569 | 27.7348 | 34.4661 | 499.8364 | 1500.2255 | 252.8595 | 70.2425 | -2.2443 | 0.032011 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.753 | 0.0083313 | 300.319 | 305.395 | 240.0361 | -0.55416 | 3.6148 | 51.4623 | 27.7054 | 29.707 | 4.1893 | 0.2894 | 1.6687 | 2.5205 | 0.18267 | 18.6386 | 0.68473 | 47.8936 | 381.2535 | 0.024619
111 | 12:05:14 | 3739.5 | 0 | 19.6533 | 0.31075 | 265.0592 | 8.3367 | 1.947 | 27.1744 | 2.8514 | 2.1113 | 1 | 4.2226 | 32.2462 | 27.1744 | 34.2284 | 400.5678 | 387.514 | 19.118 | 23.7605 | 27.7341 | 34.469 | 499.8642 | 1500.2268 | 252.0935 | 70.2425 | -2.2443 | 0.032011 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7531 | 0.0083367 | 300.3244 | 305.3962 | 240.0363 | -0.55656 | 3.616 | 51.4787 | 27.7182 | 29.7103 | 4.1901 | 0.28945 | 1.669 | 2.5211 | 0.18271 | 18.6184 | 0.684 | 47.8863 | 381.2308 | 0.024686
112 | 12:05:15 | 3740 | 0 | 19.6843 | 0.31081 | 264.9042 | 8.3394 | 1.9473 | 27.1763 | 2.8514 | 2.1113 | 1 | 4.2226 | 32.2468 | 27.1763 | 34.2287 | 400.5801 | 387.5086 | 19.1179 | 23.7618 | 27.7331 | 34.4697 | 499.8832 | 1500.392 | 250.8136 | 70.2427 | -2.2443 | 0.032011 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7531 | 0.0083394 | 300.3263 | 305.3968 | 240.0627 | -0.55746 | 3.6164 | 51.4842 | 27.7224 | 29.7116 | 4.1904 | 0.2895 | 1.6691 | 2.5213 | 0.18274 | 18.6076 | 0.68361 | 47.8845 | 381.2154 | 0.024725
113 | 12:05:15 | 3740.5 | 0 | 19.5036 | 0.31068 | 265.9012 | 8.3311 | 1.9461 | 27.1705 | 2.8514 | 2.1113 | 1 | 4.2226 | 32.2483 | 27.1705 | 34.229 | 400.5401 | 387.573 | 19.1217 | 23.761 | 27.7364 | 34.4658 | 499.8751 | 1500.3822 | 249.2476 | 70.2428 | -2.2443 | 0.032011 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7531 | 0.0083311 | 300.3205 | 305.3983 | 240.0611 | -0.55371 | 3.6152 | 51.4666 | 27.7056 | 29.7094 | 4.1898 | 0.28939 | 1.669 | 2.5208 | 0.18267 | 18.6776 | 0.68607 | 47.8974 | 381.3376 | 0.024497
114 | 12:05:16 | 3741 | 0 | 19.6183 | 0.31096 | 265.3447 | 8.3422 | 1.947 | 27.1767 | 2.8514 | 2.1113 | 1 | 4.2226 | 32.2492 | 27.1767 | 34.2301 | 400.582 | 387.5473 | 19.1213 | 23.7668 | 27.7342 | 34.4721 | 499.8806 | 1500.3779 | 248.0559 | 70.2425 | -2.2443 | 0.032011 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7531 | 0.0083422 | 300.3267 | 305.3992 | 240.0605 | -0.55829 | 3.6165 | 51.4856 | 27.7188 | 29.713 | 4.1907 | 0.28963 | 1.6694 | 2.5213 | 0.18282 | 18.6385 | 0.68468 | 47.8942 | 381.2752 | 0.024644
115 | 12:05:16 | 3741.5 | 0 | 19.663 | 0.31123 | 265.207 | 8.3469 | 1.9466 | 27.1753 | 2.8514 | 2.1113 | 1 | 4.2226 | 32.2489 | 27.1753 | 34.2296 | 400.6203 | 387.5599 | 19.1216 | 23.7693 | 27.7352 | 34.4764 | 499.9174 | 1500.2926 | 248.1769 | 70.2424 | -2.2443 | 0.032011 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7532 | 0.0083469 | 300.3253 | 305.3989 | 240.0468 | -0.56001 | 3.6162 | 51.4813 | 27.712 | 29.7121 | 4.1905 | 0.28987 | 1.6696 | 2.5209 | 0.18297 | 18.6288 | 0.6843 | 47.9059 | 381.2735 | 0.024706
116 | 12:05:17 | 3742 | 0 | 19.6287 | 0.31089 | 265.2899 | 8.3452 | 1.9482 | 27.183 | 2.8514 | 2.1113 | 1 | 4.2226 | 32.2502 | 27.183 | 34.2298 | 400.6223 | 387.5822 | 19.1233 | 23.7699 | 27.7356 | 34.4748 | 499.9349 | 1500.313 | 248.1428 | 70.2425 | -2.2443 | 0.032011 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0083452 | 300.333 | 305.4002 | 240.0501 | -0.55997 | 3.6178 | 51.5045 | 27.7347 | 29.7166 | 4.1916 | 0.28957 | 1.6697 | 2.5219 | 0.18278 | 18.6346 | 0.68447 | 47.8822 | 381.3068 | 0.024649
117 | 12:05:17 | 3742.5 | 0 | 19.5286 | 0.31068 | 265.8272 | 8.3451 | 1.9493 | 27.189 | 2.8514 | 2.1113 | 1 | 4.2226 | 32.2512 | 27.189 | 34.2304 | 400.6436 | 387.6606 | 19.1254 | 23.7717 | 27.7371 | 34.4756 | 499.9498 | 1500.3146 | 248.2771 | 70.2427 | -2.2443 | 0.032011 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7534 | 0.0083451 | 300.339 | 305.4012 | 240.0503 | -0.5604 | 3.6191 | 51.5226 | 27.7509 | 29.7201 | 4.1924 | 0.28939 | 1.6698 | 2.5226 | 0.18267 | 18.6724 | 0.68572 | 47.867 | 381.4173 | 0.024508
118 | 12:05:18 | 3743.5 | 0 | 19.5331 | 0.31047 | 265.8394 | 8.3345 | 1.9481 | 27.1831 | 2.8514 | 2.1113 | 1 | 4.2226 | 32.2519 | 27.1831 | 34.2301 | 400.7435 | 387.7589 | 19.1305 | 23.7714 | 27.7434 | 34.4736 | 499.9089 | 1500.3129 | 249.5266 | 70.2424 | -2.2443 | 0.032011 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7532 | 0.0083345 | 300.3331 | 305.4019 | 240.0501 | -0.55587 | 3.6178 | 51.5048 | 27.7335 | 29.7175 | 4.1918 | 0.28921 | 1.6698 | 2.522 | 0.18255 | 18.6732 | 0.68558 | 47.8799 | 381.514 | 0.024514
119 | 12:05:18 | 3744 | 0 | 19.6146 | 0.31072 | 265.5154 | 8.3357 | 1.9469 | 27.1785 | 2.8514 | 2.1113 | 1 | 4.2226 | 32.2526 | 27.1785 | 34.2302 | 400.8169 | 387.7855 | 19.1325 | 23.7739 | 27.745 | 34.4758 | 499.9166 | 1500.2451 | 250.5936 | 70.2424 | -2.2443 | 0.032011 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7532 | 0.0083357 | 300.3285 | 305.4026 | 240.0392 | -0.55588 | 3.6169 | 51.491 | 27.7171 | 29.7156 | 4.1913 | 0.28942 | 1.6699 | 2.5214 | 0.18269 | 18.6504 | 0.6847 | 47.8998 | 381.5147 | 0.024626
120 | 12:05:19 | 3744.5 | 0 | 19.7061 | 0.31063 | 265.0245 | 8.3377 | 1.9479 | 27.1835 | 2.8514 | 2.1113 | 1 | 4.2226 | 32.254 | 27.1835 | 34.2302 | 400.9077 | 387.8237 | 19.1325 | 23.7749 | 27.7429 | 34.4746 | 499.9221 | 1500.2712 | 252.2762 | 70.2423 | -2.2443 | 0.032011 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7533 | 0.0083377 | 300.3335 | 305.404 | 240.0434 | -0.55693 | 3.6179 | 51.5063 | 27.7313 | 29.7187 | 4.1921 | 0.28934 | 1.67 | 2.5221 | 0.18264 | 18.6159 | 0.68336 | 47.8869 | 381.5236 | 0.024734 | 19.5802 | 32.2481 | 27.1768 | #DIV/0! | 3740.7333 | 0 | 19.5802 | 0.31071 | 265.5158 | 8.3368 | 1.9473 | 27.1768 | 2.8514 | 2.1113 | 1 | 4.2226 | 32.2481 | 27.1768 | 34.2293 | 400.611 | 387.5991 | 19.1213 | 23.7637 | 27.7361 | 34.47 | 499.8873 | 1500.2873 | 251.2083 | 70.2425 | -2.2443 | 0.032011 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.7531 | 0.0083368 | 300.3268 | 305.3981 | 240.046 | -0.55655 | 3.6165 | 51.4858 | 27.722 | 29.7124 | 4.1906 | 0.28941 | 1.6692 | 2.5214 | 0.18268 | 18.6505 | 0.68503 | 47.8855 | 381.3393 | 0.024587