## stm-rartr1_
OPEN 6.2.4
Wed Jun 24 2015 09:31:11
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "09:35:55 Coolers: Tblock -> 5.49 C"
Remark= | "09:37:21 Flow: Fixed -> 500 umol/s"
Remark= | "09:38:41 Flow: Fixed -> 500 umol/s"
1 | 09:38:55 | 566.5 | 0 | 8.816 | 0.52319 | 361.3394 | 6.3484 | 0.97122 | 11.3612 | 1.2034 | 2.4732 | 1 | 4.9463 | 7.8649 | 11.3612 | 5.5207 | 401.5205 | 398.7892 | 3.6436 | 5.1637 | 25.0126 | 35.448 | 499.975 | 1499.2739 | 156.3603 | 73.2484 | -3.4564 | 0.25805 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1546 | 0.0063484 | 284.5112 | 281.0149 | 239.8838 | -0.54101 | 1.3495 | 18.423 | 13.2593 | 9.6131 | 1.2009 | 0.47314 | 0.37823 | 0.8227 | 0.29984 | 26.4675 | 0.90609 | 34.1363 | 396.3831 | 0.0075923
2 | 09:38:55 | 566.5 | 0 | 8.816 | 0.52319 | 361.3394 | 6.3484 | 0.97122 | 11.3612 | 1.2034 | 2.4732 | 1 | 4.9463 | 7.8649 | 11.3612 | 5.5207 | 401.5205 | 398.7892 | 3.6436 | 5.1637 | 25.0126 | 35.448 | 499.975 | 1499.2739 | 156.3603 | 73.2484 | -3.4564 | 0.25805 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1546 | 0.0063484 | 284.5112 | 281.0149 | 239.8838 | -0.54101 | 1.3495 | 18.423 | 13.2593 | 9.6131 | 1.2009 | 0.47314 | 0.37823 | 0.8227 | 0.29984 | 26.4675 | 0.90609 | 34.1363 | 396.3831 | 0.0075923
3 | 09:38:56 | 567 | 0 | 8.769 | 0.52359 | 361.4885 | 6.3537 | 0.97136 | 11.3628 | 1.2034 | 2.4732 | 1 | 4.9463 | 7.8648 | 11.3628 | 5.521 | 401.4832 | 398.763 | 3.6425 | 5.1638 | 25.0055 | 35.4488 | 500.0232 | 1499.3176 | 156.2912 | 73.2483 | -3.4564 | 0.25805 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.155 | 0.0063537 | 284.5128 | 281.0148 | 239.8908 | -0.54281 | 1.3496 | 18.4249 | 13.2612 | 9.6138 | 1.201 | 0.47347 | 0.37824 | 0.82275 | 0.30005 | 26.4784 | 0.90652 | 34.1387 | 396.3697 | 0.0075526
4 | 09:38:56 | 567.5 | 0 | 8.5377 | 0.52361 | 362.2038 | 6.3566 | 0.97176 | 11.3669 | 1.2034 | 2.4732 | 1 | 4.9463 | 7.8642 | 11.3669 | 5.5213 | 401.3815 | 398.7169 | 3.6412 | 5.1631 | 24.9978 | 35.446 | 500.0391 | 1499.316 | 156.2975 | 73.2488 | -3.4564 | 0.25805 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1552 | 0.0063566 | 284.5169 | 281.0142 | 239.8906 | -0.54407 | 1.35 | 18.4297 | 13.2666 | 9.6155 | 1.2011 | 0.47349 | 0.37819 | 0.82293 | 0.30006 | 26.531 | 0.90842 | 34.1289 | 396.3867 | 0.007351
5 | 09:38:57 | 568 | 0 | 8.0937 | 0.5229 | 363.6181 | 6.3474 | 0.97157 | 11.3633 | 1.2034 | 2.4732 | 1 | 4.9463 | 7.8632 | 11.3633 | 5.521 | 401.2556 | 398.6984 | 3.6416 | 5.1615 | 25.002 | 35.4372 | 499.9756 | 1499.2491 | 156.4529 | 73.2493 | -3.4564 | 0.25805 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1547 | 0.0063474 | 284.5133 | 281.0132 | 239.8799 | -0.541 | 1.3496 | 18.4253 | 13.2638 | 9.6133 | 1.2009 | 0.47291 | 0.37807 | 0.82287 | 0.29968 | 26.6348 | 0.91201 | 34.1184 | 396.4894 | 0.0069647
6 | 09:38:57 | 568.5 | 0 | 7.635 | 0.52262 | 365.0773 | 6.34 | 0.97091 | 11.355 | 1.2034 | 2.4732 | 1 | 4.9463 | 7.8621 | 11.355 | 5.5199 | 401.0956 | 398.6492 | 3.6418 | 5.1601 | 25.0053 | 35.4308 | 499.8988 | 1499.2673 | 156.3157 | 73.2491 | -3.4564 | 0.25805 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.154 | 0.00634 | 284.505 | 281.0121 | 239.8828 | -0.53807 | 1.3489 | 18.4151 | 13.255 | 9.6085 | 1.2006 | 0.47267 | 0.37798 | 0.82259 | 0.29954 | 26.7416 | 0.91579 | 34.1231 | 396.5654 | 0.0065696
7 | 09:38:58 | 569 | 0 | 7.3994 | 0.5231 | 365.7991 | 6.3447 | 0.97081 | 11.3539 | 1.2034 | 2.4732 | 1 | 4.9463 | 7.862 | 11.3539 | 5.5204 | 400.959 | 398.569 | 3.6408 | 5.1603 | 24.9991 | 35.4324 | 499.8982 | 1499.2838 | 156.2972 | 73.2493 | -3.4564 | 0.25805 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.154 | 0.0063447 | 284.5039 | 281.012 | 239.8854 | -0.53949 | 1.3488 | 18.4138 | 13.2535 | 9.608 | 1.2005 | 0.47307 | 0.37799 | 0.82253 | 0.29979 | 26.7945 | 0.91778 | 34.1316 | 396.5495 | 0.0063687
8 | 09:38:58 | 569.5 | 0 | 7.353 | 0.52267 | 365.8113 | 6.3413 | 0.97102 | 11.3557 | 1.2034 | 2.4732 | 1 | 4.9463 | 7.8625 | 11.3557 | 5.52 | 400.8242 | 398.446 | 3.641 | 5.1596 | 24.9992 | 35.426 | 499.9208 | 1499.3119 | 156.2681 | 73.2492 | -3.4564 | 0.25805 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1542 | 0.0063413 | 284.5057 | 281.0125 | 239.8899 | -0.53845 | 1.349 | 18.416 | 13.2564 | 9.6091 | 1.2006 | 0.47272 | 0.37793 | 0.82267 | 0.29956 | 26.7954 | 0.9181 | 34.1197 | 396.4391 | 0.0063284
9 | 09:38:59 | 570 | 0 | 6.847 | 0.52234 | 367.3958 | 6.3373 | 0.97097 | 11.3544 | 1.2034 | 2.4732 | 1 | 4.9463 | 7.8634 | 11.3544 | 5.5203 | 400.6261 | 398.3701 | 3.641 | 5.1587 | 24.998 | 35.4178 | 499.915 | 1499.3307 | 156.2762 | 73.2492 | -3.4564 | 0.25805 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1541 | 0.0063373 | 284.5044 | 281.0134 | 239.8929 | -0.53699 | 1.3488 | 18.4144 | 13.2557 | 9.6089 | 1.2006 | 0.47245 | 0.37787 | 0.82272 | 0.29939 | 26.9115 | 0.92225 | 34.1136 | 396.5014 | 0.0058909
10 | 09:38:59 | 570.5 | 0 | 6.6092 | 0.52309 | 368.1206 | 6.3395 | 0.97006 | 11.3433 | 1.2034 | 2.4732 | 1 | 4.9463 | 7.8629 | 11.3433 | 5.52 | 400.4692 | 398.2705 | 3.6395 | 5.1577 | 24.9886 | 35.4119 | 499.938 | 1499.3257 | 156.2009 | 73.2491 | -3.4564 | 0.25805 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1543 | 0.0063395 | 284.4933 | 281.0129 | 239.8921 | -0.53696 | 1.3479 | 18.4009 | 13.2433 | 9.6031 | 1.2001 | 0.47306 | 0.37779 | 0.82233 | 0.29978 | 26.9645 | 0.9243 | 34.1367 | 396.4667 | 0.0056907
11 | 09:39:00 | 571 | 0 | 6.3893 | 0.52294 | 368.746 | 6.3384 | 0.97012 | 11.3436 | 1.2034 | 2.4732 | 1 | 4.9463 | 7.863 | 11.3436 | 5.5197 | 400.3195 | 398.174 | 3.6393 | 5.1571 | 24.9864 | 35.4078 | 499.9314 | 1499.257 | 156.2876 | 73.2488 | -3.4564 | 0.25805 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1543 | 0.0063384 | 284.4936 | 281.013 | 239.8811 | -0.53669 | 1.3479 | 18.4014 | 13.2442 | 9.6033 | 1.2001 | 0.47294 | 0.37775 | 0.82239 | 0.29971 | 27.0102 | 0.92609 | 34.1317 | 396.4302 | 0.005501
12 | 09:39:00 | 571.5 | 0 | 6.057 | 0.52235 | 369.7414 | 6.3321 | 0.97016 | 11.3424 | 1.2034 | 2.4732 | 1 | 4.9463 | 7.8636 | 11.3424 | 5.5199 | 400.1567 | 398.0919 | 3.6389 | 5.1553 | 24.9828 | 35.3932 | 499.94 | 1499.3464 | 156.227 | 73.2483 | -3.4564 | 0.25805 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1544 | 0.0063321 | 284.4924 | 281.0136 | 239.8954 | -0.53443 | 1.3478 | 18.4 | 13.2448 | 9.603 | 1.2001 | 0.47245 | 0.37761 | 0.8225 | 0.29939 | 27.0829 | 0.92878 | 34.1172 | 396.4388 | 0.0052126
13 | 09:39:01 | 572 | 0 | 6.1389 | 0.52232 | 369.3567 | 6.3322 | 0.97021 | 11.3422 | 1.2034 | 2.4732 | 1 | 4.9463 | 7.8638 | 11.3422 | 5.5211 | 400.0614 | 397.9774 | 3.638 | 5.1542 | 24.9764 | 35.3852 | 500.0127 | 1499.3763 | 156.1048 | 73.2479 | -3.4564 | 0.25805 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.155 | 0.0063322 | 284.4922 | 281.0138 | 239.9002 | -0.53439 | 1.3477 | 18.3998 | 13.2456 | 9.603 | 1.2001 | 0.47243 | 0.37753 | 0.82258 | 0.29938 | 27.0546 | 0.92808 | 34.1118 | 396.3019 | 0.0052841
14 | 09:39:01 | 572.5 | 0 | 6.3509 | 0.52224 | 368.5853 | 6.3317 | 0.97028 | 11.342 | 1.2034 | 2.4732 | 1 | 4.9463 | 7.8642 | 11.342 | 5.5224 | 400.0429 | 397.9083 | 3.6372 | 5.153 | 24.9702 | 35.3768 | 500.0812 | 1499.464 | 156.2537 | 73.2482 | -3.4564 | 0.25805 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1555 | 0.0063317 | 284.492 | 281.0142 | 239.9142 | -0.53411 | 1.3477 | 18.3995 | 13.2465 | 9.6031 | 1.2001 | 0.47237 | 0.37745 | 0.82267 | 0.29934 | 26.9982 | 0.92631 | 34.1057 | 396.175 | 0.0054673
15 | 09:39:02 | 573 | 0 | 6.4512 | 0.52159 | 368.1616 | 6.323 | 0.97004 | 11.338 | 1.2034 | 2.4732 | 1 | 4.9463 | 7.8641 | 11.338 | 5.5222 | 399.9951 | 397.8372 | 3.6377 | 5.1515 | 24.9739 | 35.3663 | 500.0779 | 1499.4769 | 156.4204 | 73.2487 | -3.4564 | 0.25805 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1555 | 0.006323 | 284.488 | 281.0141 | 239.9163 | -0.531 | 1.3474 | 18.3946 | 13.2431 | 9.6011 | 1.2 | 0.47184 | 0.37734 | 0.82262 | 0.299 | 26.9673 | 0.92541 | 34.0972 | 396.0765 | 0.0055537 | 7.3509 | 7.8636 | 11.3524 | #DIV/0! | 569.5333 | 0 | 7.3509 | 0.52278 | 365.7856 | 6.341 | 0.97078 | 11.3524 | 1.2034 | 2.4732 | 1 | 4.9463 | 7.8636 | 11.3524 | 5.5207 | 400.7807 | 398.4034 | 3.6405 | 5.1589 | 24.994 | 35.4184 | 499.9735 | 1499.3247 | 156.2943 | 73.2487 | -3.4564 | 0.25805 | 0.57778 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1546 | 0.006341 | 284.5024 | 281.0136 | 239.8919 | -0.53803 | 1.3487 | 18.4121 | 13.2532 | 9.608 | 1.2005 | 0.47281 | 0.37788 | 0.82264 | 0.29962 | 26.7933 | 0.91814 | 34.1231 | 396.3971 | 0.006328
Remark= | "09:39:13 Coolers: Tblock -> 10.00 C"
Remark= | "09:41:18 Flow: Fixed -> 500 umol/s"
Remark= | "09:42:58 Flow: Fixed -> 500 umol/s"
Remark= | "09:44:59 Flow: Fixed -> 500 umol/s"
16 | 09:46:31 | 1022.5 | 0 | 12.7307 | 0.39842 | 333.3284 | 5.7144 | 1.1192 | 13.8858 | 1.2034 | 2.4732 | 1 | 4.9463 | 11.5355 | 13.8858 | 10.0147 | 400.5469 | 396.9363 | 5.0931 | 6.4598 | 27.3298 | 34.6637 | 499.9077 | 1500.2601 | 159.355 | 73.2521 | -3.7489 | 0.2618 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1541 | 0.0057144 | 287.0358 | 284.6855 | 240.0416 | -0.25942 | 1.5924 | 21.7391 | 15.2793 | 12.7107 | 1.4749 | 0.36872 | 0.4732 | 1.0017 | 0.23295 | 24.417 | 0.83975 | 34.0243 | 393.4617 | 0.011009
17 | 09:46:31 | 1022.5 | 0 | 12.7307 | 0.39842 | 333.3284 | 5.7144 | 1.1192 | 13.8858 | 1.2034 | 2.4732 | 1 | 4.9463 | 11.5355 | 13.8858 | 10.0147 | 400.5469 | 396.9363 | 5.0931 | 6.4598 | 27.3298 | 34.6637 | 499.9077 | 1500.2601 | 159.355 | 73.2521 | -3.7489 | 0.2618 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1541 | 0.0057144 | 287.0358 | 284.6855 | 240.0416 | -0.25942 | 1.5924 | 21.7391 | 15.2793 | 12.7107 | 1.4749 | 0.36872 | 0.4732 | 1.0017 | 0.23295 | 24.417 | 0.83975 | 34.0243 | 393.4617 | 0.011009
18 | 09:46:32 | 1023 | 0 | 12.5054 | 0.39848 | 334.3244 | 5.7165 | 1.1195 | 13.8883 | 1.2034 | 2.4732 | 1 | 4.9463 | 11.5349 | 13.8883 | 10.0142 | 400.5285 | 396.9719 | 5.0926 | 6.4598 | 27.3279 | 34.6647 | 499.9153 | 1500.3002 | 159.4149 | 73.2518 | -3.7489 | 0.2618 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1542 | 0.0057165 | 287.0383 | 284.6849 | 240.048 | -0.26029 | 1.5927 | 21.7427 | 15.2829 | 12.7116 | 1.475 | 0.36877 | 0.47319 | 1.0018 | 0.23298 | 24.4899 | 0.84219 | 34.0202 | 393.5588 | 0.01081
19 | 09:46:32 | 1023.5 | 0 | 12.6186 | 0.3985 | 333.8103 | 5.7164 | 1.1194 | 13.8876 | 1.2034 | 2.4732 | 1 | 4.9463 | 11.5342 | 13.8876 | 10.0138 | 400.5189 | 396.9348 | 5.0925 | 6.4598 | 27.3288 | 34.6663 | 499.881 | 1500.2812 | 159.4565 | 73.2519 | -3.7489 | 0.2618 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1539 | 0.0057164 | 287.0376 | 284.6842 | 240.045 | -0.26026 | 1.5926 | 21.7418 | 15.282 | 12.7109 | 1.4749 | 0.36878 | 0.47319 | 1.0018 | 0.23299 | 24.4523 | 0.84097 | 34.0215 | 393.4908 | 0.01091
20 | 09:46:33 | 1024 | 0 | 12.6073 | 0.39784 | 333.7749 | 5.708 | 1.1195 | 13.8872 | 1.2034 | 2.4732 | 1 | 4.9463 | 11.5343 | 13.8872 | 10.0133 | 400.5147 | 396.9341 | 5.0931 | 6.4584 | 27.3315 | 34.6584 | 499.8633 | 1500.2156 | 159.5249 | 73.2517 | -3.7489 | 0.2618 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1537 | 0.005708 | 287.0372 | 284.6843 | 240.0345 | -0.25763 | 1.5926 | 21.7412 | 15.2829 | 12.7108 | 1.4749 | 0.36823 | 0.47309 | 1.0018 | 0.23263 | 24.4496 | 0.84088 | 34.0082 | 393.4932 | 0.010896
21 | 09:46:33 | 1024.5 | 0 | 12.3792 | 0.39782 | 334.7662 | 5.7047 | 1.1189 | 13.8811 | 1.2034 | 2.4732 | 1 | 4.9463 | 11.5342 | 13.8811 | 10.0126 | 400.4813 | 396.9559 | 5.093 | 6.4575 | 27.3315 | 34.6541 | 499.8771 | 1500.1105 | 159.5094 | 73.2515 | -3.7489 | 0.2618 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1538 | 0.0057047 | 287.0311 | 284.6842 | 240.0177 | -0.25624 | 1.5919 | 21.7326 | 15.275 | 12.7076 | 1.4746 | 0.3682 | 0.47302 | 1.0016 | 0.23262 | 24.5221 | 0.84333 | 34.0157 | 393.5772 | 0.010699
22 | 09:46:34 | 1025 | 0 | 12.1542 | 0.39833 | 335.8223 | 5.711 | 1.1188 | 13.8812 | 1.2034 | 2.4732 | 1 | 4.9463 | 11.5344 | 13.8812 | 10.0125 | 400.4668 | 396.995 | 5.093 | 6.459 | 27.331 | 34.6614 | 499.8846 | 1500.0049 | 159.3618 | 73.2515 | -3.7489 | 0.2618 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1539 | 0.005711 | 287.0312 | 284.6844 | 240.0008 | -0.25839 | 1.592 | 21.7328 | 15.2738 | 12.7078 | 1.4746 | 0.36864 | 0.47313 | 1.0015 | 0.23289 | 24.5995 | 0.84591 | 34.0279 | 393.6778 | 0.010506
23 | 09:46:34 | 1025.5 | 0 | 11.7595 | 0.39714 | 337.4012 | 5.7001 | 1.1198 | 13.8887 | 1.2034 | 2.4732 | 1 | 4.9463 | 11.5351 | 13.8887 | 10.0127 | 400.4234 | 397.0477 | 5.0933 | 6.4566 | 27.3314 | 34.6472 | 499.8984 | 1499.864 | 159.1564 | 73.2515 | -3.7489 | 0.2618 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.154 | 0.0057001 | 287.0387 | 284.6851 | 239.9782 | -0.25554 | 1.5927 | 21.7433 | 15.2867 | 12.7119 | 1.475 | 0.36762 | 0.47296 | 1.0021 | 0.23225 | 24.7152 | 0.84977 | 33.9894 | 393.8382 | 0.010149
24 | 09:46:35 | 1026 | 0 | 11.806 | 0.39766 | 337.2421 | 5.7079 | 1.1199 | 13.8907 | 1.2034 | 2.4732 | 1 | 4.9463 | 11.5338 | 13.8907 | 10.0121 | 400.4141 | 397.0265 | 5.0919 | 6.4572 | 27.3264 | 34.653 | 499.8921 | 1499.7366 | 158.9366 | 73.2517 | -3.7489 | 0.2618 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.154 | 0.0057079 | 287.0407 | 284.6838 | 239.9578 | -0.25843 | 1.5929 | 21.7462 | 15.2891 | 12.7123 | 1.4751 | 0.36807 | 0.473 | 1.0021 | 0.23253 | 24.7036 | 0.84942 | 33.9941 | 393.8042 | 0.010191
25 | 09:46:35 | 1026.5 | 0 | 11.7466 | 0.39799 | 337.55 | 5.7108 | 1.1197 | 13.8885 | 1.2034 | 2.4732 | 1 | 4.9463 | 11.5335 | 13.8885 | 10.0115 | 400.4151 | 397.0414 | 5.092 | 6.4579 | 27.3272 | 34.6577 | 499.8888 | 1499.6621 | 158.4362 | 73.2514 | -3.7489 | 0.2618 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1539 | 0.0057108 | 287.0385 | 284.6835 | 239.9459 | -0.25931 | 1.5927 | 21.7431 | 15.2852 | 12.711 | 1.475 | 0.36835 | 0.47305 | 1.0019 | 0.23271 | 24.726 | 0.85016 | 34.0056 | 393.8354 | 0.010143
26 | 09:46:36 | 1027 | 0 | 11.9178 | 0.39761 | 336.749 | 5.705 | 1.1195 | 13.8863 | 1.2034 | 2.4732 | 1 | 4.9463 | 11.5333 | 13.8863 | 10.0112 | 400.4248 | 397.0104 | 5.0922 | 6.4568 | 27.3287 | 34.6522 | 499.8708 | 1499.2417 | 158.2802 | 73.2514 | -3.7489 | 0.2618 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1538 | 0.005705 | 287.0363 | 284.6833 | 239.8787 | -0.2578 | 1.5925 | 21.7401 | 15.2832 | 12.7098 | 1.4748 | 0.36802 | 0.47297 | 1.0019 | 0.2325 | 24.6673 | 0.84821 | 34.0002 | 393.7577 | 0.010291
27 | 09:46:36 | 1027.5 | 0 | 11.9955 | 0.39786 | 336.4531 | 5.7096 | 1.1197 | 13.8885 | 1.2034 | 2.4732 | 1 | 4.9463 | 11.5334 | 13.8885 | 10.011 | 400.4488 | 397.0156 | 5.0914 | 6.457 | 27.3244 | 34.6527 | 499.925 | 1499.0032 | 158.3722 | 73.2512 | -3.7489 | 0.2618 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1542 | 0.0057096 | 287.0385 | 284.6834 | 239.8405 | -0.25969 | 1.5927 | 21.7432 | 15.2862 | 12.7109 | 1.475 | 0.36824 | 0.47298 | 1.002 | 0.23264 | 24.6456 | 0.84746 | 33.9999 | 393.7417 | 0.010358
28 | 09:46:37 | 1028 | 0 | 12.0047 | 0.39899 | 336.5622 | 5.7263 | 1.1201 | 13.8936 | 1.2034 | 2.4732 | 1 | 4.9463 | 11.5327 | 13.8936 | 10.0112 | 400.4684 | 397.0316 | 5.09 | 6.4595 | 27.318 | 34.6678 | 499.9545 | 1499.0562 | 158.3796 | 73.2513 | -3.7489 | 0.2618 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1545 | 0.0057263 | 287.0436 | 284.6827 | 239.849 | -0.26544 | 1.5932 | 21.7504 | 15.2909 | 12.7132 | 1.4752 | 0.36921 | 0.47317 | 1.002 | 0.23326 | 24.6536 | 0.8477 | 34.0151 | 393.7551 | 0.01037
29 | 09:46:37 | 1028.5 | 0 | 12.217 | 0.39826 | 335.553 | 5.7224 | 1.1212 | 13.9038 | 1.2034 | 2.4732 | 1 | 4.9463 | 11.5321 | 13.9038 | 10.0119 | 400.5064 | 397.0191 | 5.0901 | 6.4585 | 27.3192 | 34.6639 | 499.9839 | 1499.1399 | 158.3003 | 73.2513 | -3.7489 | 0.2618 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1547 | 0.0057224 | 287.0538 | 284.6821 | 239.8624 | -0.26489 | 1.5943 | 21.7648 | 15.3063 | 12.718 | 1.4756 | 0.36859 | 0.47309 | 1.0025 | 0.23286 | 24.5797 | 0.84518 | 33.983 | 393.6847 | 0.010546
30 | 09:46:38 | 1029 | 0 | 12.5945 | 0.39835 | 333.912 | 5.7252 | 1.1215 | 13.9062 | 1.2034 | 2.4732 | 1 | 4.9463 | 11.5318 | 13.9062 | 10.011 | 400.5478 | 396.9695 | 5.089 | 6.458 | 27.3139 | 34.6618 | 500.005 | 1499.1783 | 158.4745 | 73.2509 | -3.7489 | 0.2618 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1549 | 0.0057252 | 287.0562 | 284.6818 | 239.8685 | -0.26592 | 1.5946 | 21.7683 | 15.3103 | 12.719 | 1.4757 | 0.36866 | 0.47306 | 1.0027 | 0.23291 | 24.4594 | 0.84115 | 33.9773 | 393.5321 | 0.010874 | 12.2512 | 11.5339 | 13.8896 | #DIV/0! | 1025.5333 | 0 | 12.2512 | 0.39811 | 335.3718 | 5.7129 | 1.1197 | 13.8896 | 1.2034 | 2.4732 | 1 | 4.9463 | 11.5339 | 13.8896 | 10.0126 | 400.4835 | 396.9884 | 5.092 | 6.4584 | 27.3266 | 34.6592 | 499.9103 | 1499.7543 | 158.9542 | 73.2516 | -3.7489 | 0.2618 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1541 | 0.0057129 | 287.0396 | 284.6839 | 239.9607 | -0.25991 | 1.5928 | 21.7446 | 15.2862 | 12.7117 | 1.475 | 0.36846 | 0.47309 | 1.0019 | 0.23278 | 24.5665 | 0.84479 | 34.0071 | 393.6447 | 0.010584
Remark= | "09:46:45 Coolers: Tblock -> 15.00 C"
Remark= | "09:50:04 Flow: Fixed -> 500 umol/s"
Remark= | "09:51:43 Flow: Fixed -> 500 umol/s"
31 | 09:52:17 | 1368.5 | 0 | 14.033 | 0.32244 | 312.4214 | 5.4205 | 1.2884 | 17.0467 | 1.2034 | 2.4732 | 1 | 4.9463 | 15.8721 | 17.0467 | 15.0948 | 399.8954 | 396.0007 | 7.7433 | 9.0363 | 31.3419 | 36.5754 | 499.9291 | 1500.3313 | 165.5125 | 73.2555 | -3.9961 | 0.26453 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1543 | 0.0054205 | 290.1967 | 289.0221 | 240.053 | -0.081978 | 1.9503 | 26.6235 | 17.5872 | 16.4594 | 1.8789 | 0.30271 | 0.66196 | 1.217 | 0.19087 | 22.8866 | 0.78894 | 36.858 | 392.1706 | 0.013189
32 | 09:52:17 | 1368.5 | 0 | 14.033 | 0.32244 | 312.4214 | 5.4205 | 1.2884 | 17.0467 | 1.2034 | 2.4732 | 1 | 4.9463 | 15.8721 | 17.0467 | 15.0948 | 399.8954 | 396.0007 | 7.7433 | 9.0363 | 31.3419 | 36.5754 | 499.9291 | 1500.3313 | 165.5125 | 73.2555 | -3.9961 | 0.26453 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1543 | 0.0054205 | 290.1967 | 289.0221 | 240.053 | -0.081978 | 1.9503 | 26.6235 | 17.5872 | 16.4594 | 1.8789 | 0.30271 | 0.66196 | 1.217 | 0.19087 | 22.8866 | 0.78894 | 36.858 | 392.1706 | 0.013189
33 | 09:52:18 | 1369 | 0 | 14.4685 | 0.32307 | 310.2413 | 5.4281 | 1.2878 | 17.043 | 1.2034 | 2.4732 | 1 | 4.9463 | 15.8725 | 17.043 | 15.0944 | 399.9258 | 395.9257 | 7.7427 | 9.0375 | 31.3386 | 36.5793 | 499.9397 | 1500.2739 | 165.4899 | 73.2556 | -3.9961 | 0.26453 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1544 | 0.0054281 | 290.193 | 289.0225 | 240.0438 | -0.084195 | 1.9499 | 26.6174 | 17.5799 | 16.4578 | 1.8787 | 0.30327 | 0.66205 | 1.2167 | 0.19123 | 22.7269 | 0.78358 | 36.8774 | 391.9768 | 0.013612
34 | 09:52:18 | 1369.5 | 0 | 14.5329 | 0.32384 | 310.0808 | 5.4391 | 1.2876 | 17.0426 | 1.2034 | 2.4732 | 1 | 4.9463 | 15.8728 | 17.0426 | 15.0946 | 399.9443 | 395.9279 | 7.7426 | 9.04 | 31.338 | 36.5891 | 499.9534 | 1500.1593 | 165.4588 | 73.2561 | -3.9961 | 0.26453 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1545 | 0.0054391 | 290.1926 | 289.0228 | 240.0255 | -0.087774 | 1.9498 | 26.6164 | 17.5764 | 16.4577 | 1.8787 | 0.30394 | 0.66223 | 1.2165 | 0.19165 | 22.7153 | 0.78317 | 36.8967 | 391.9614 | 0.01368
35 | 09:52:19 | 1370 | 0 | 14.413 | 0.32334 | 310.5953 | 5.4307 | 1.2875 | 17.0407 | 1.2034 | 2.4732 | 1 | 4.9463 | 15.8732 | 17.0407 | 15.095 | 399.9198 | 395.9328 | 7.7431 | 9.0386 | 31.3391 | 36.5822 | 499.9325 | 1500.1807 | 165.4094 | 73.2557 | -3.9961 | 0.26453 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1543 | 0.0054307 | 290.1907 | 289.0232 | 240.0289 | -0.084895 | 1.9496 | 26.6133 | 17.5748 | 16.4569 | 1.8786 | 0.3035 | 0.66213 | 1.2165 | 0.19137 | 22.7529 | 0.78446 | 36.8896 | 391.9991 | 0.013563
36 | 09:52:19 | 1370.5 | 0 | 14.5094 | 0.32301 | 310.0068 | 5.4276 | 1.288 | 17.0451 | 1.2034 | 2.4732 | 1 | 4.9463 | 15.8744 | 17.0451 | 15.0953 | 399.9275 | 395.9175 | 7.7445 | 9.0392 | 31.3425 | 36.5822 | 499.931 | 1500.1481 | 165.3435 | 73.2559 | -3.9961 | 0.26453 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1543 | 0.0054276 | 290.1951 | 289.0244 | 240.0237 | -0.084189 | 1.9501 | 26.6208 | 17.5815 | 16.4597 | 1.879 | 0.30321 | 0.66218 | 1.2168 | 0.19119 | 22.7098 | 0.78301 | 36.8786 | 391.9575 | 0.013652
37 | 09:52:20 | 1371 | 0 | 14.3875 | 0.32356 | 310.7753 | 5.4378 | 1.2883 | 17.0492 | 1.2034 | 2.4732 | 1 | 4.9463 | 15.8748 | 17.0492 | 15.0956 | 399.9218 | 395.94 | 7.7443 | 9.0415 | 31.3404 | 36.5901 | 499.8974 | 1500.1675 | 165.3187 | 73.2559 | -3.9961 | 0.26453 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.154 | 0.0054378 | 290.1992 | 289.0248 | 240.0268 | -0.087705 | 1.9506 | 26.6276 | 17.5861 | 16.462 | 1.8792 | 0.3037 | 0.66234 | 1.2169 | 0.1915 | 22.7661 | 0.7849 | 36.8847 | 392.0132 | 0.013537
38 | 09:52:20 | 1371.5 | 0 | 14.3441 | 0.32335 | 310.9924 | 5.4363 | 1.2887 | 17.0526 | 1.2034 | 2.4732 | 1 | 4.9463 | 15.8754 | 17.0526 | 15.0963 | 399.9547 | 395.9833 | 7.7446 | 9.0415 | 31.3407 | 36.5889 | 499.8908 | 1500.2095 | 165.2841 | 73.2555 | -3.9961 | 0.26453 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1539 | 0.0054363 | 290.2026 | 289.0254 | 240.0335 | -0.087405 | 1.9511 | 26.6335 | 17.592 | 16.464 | 1.8795 | 0.30351 | 0.66234 | 1.2171 | 0.19138 | 22.7819 | 0.78537 | 36.8749 | 392.0684 | 0.013491
39 | 09:52:21 | 1372 | 0 | 14.8635 | 0.32241 | 308.0263 | 5.4232 | 1.2891 | 17.0545 | 1.2034 | 2.4732 | 1 | 4.9463 | 15.8746 | 17.0545 | 15.0956 | 400.0015 | 395.9066 | 7.7451 | 9.0388 | 31.3443 | 36.5799 | 499.9136 | 1500.199 | 165.213 | 73.2557 | -3.9961 | 0.26453 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1541 | 0.0054232 | 290.2045 | 289.0246 | 240.0318 | -0.083428 | 1.9513 | 26.6367 | 17.5978 | 16.4645 | 1.8795 | 0.30268 | 0.66215 | 1.2174 | 0.19085 | 22.5647 | 0.77803 | 36.8501 | 391.8499 | 0.013978
40 | 09:52:21 | 1372.5 | 0 | 14.9455 | 0.32388 | 307.9387 | 5.4457 | 1.289 | 17.0553 | 1.2034 | 2.4732 | 1 | 4.9463 | 15.8753 | 17.0553 | 15.0952 | 400.0262 | 395.9095 | 7.7436 | 9.0426 | 31.3364 | 36.5933 | 499.9181 | 1500.2102 | 165.1935 | 73.2556 | -3.9961 | 0.26453 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1542 | 0.0054457 | 290.2053 | 289.0253 | 240.0336 | -0.090613 | 1.9514 | 26.638 | 17.5954 | 16.4653 | 1.8796 | 0.30397 | 0.66242 | 1.2172 | 0.19168 | 22.5582 | 0.7778 | 36.8794 | 391.8305 | 0.014067
41 | 09:52:22 | 1373 | 0 | 14.6094 | 0.32219 | 309.3714 | 5.4218 | 1.2896 | 17.058 | 1.2034 | 2.4732 | 1 | 4.9463 | 15.8757 | 17.058 | 15.096 | 400.028 | 395.9944 | 7.745 | 9.0384 | 31.3416 | 36.5753 | 499.9224 | 1500.1948 | 165.0383 | 73.2554 | -3.9961 | 0.26453 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1542 | 0.0054218 | 290.208 | 289.0257 | 240.0312 | -0.083157 | 1.9517 | 26.6428 | 17.6044 | 16.4669 | 1.8798 | 0.30249 | 0.66211 | 1.2177 | 0.19073 | 22.6631 | 0.78125 | 36.8382 | 392.007 | 0.013729
42 | 09:52:22 | 1373.5 | 0 | 15.0584 | 0.32165 | 306.8645 | 5.4149 | 1.29 | 17.06 | 1.2034 | 2.4732 | 1 | 4.9463 | 15.8765 | 17.06 | 15.096 | 400.073 | 395.9322 | 7.7453 | 9.0369 | 31.3408 | 36.5673 | 499.9467 | 1500.2788 | 165.0455 | 73.2549 | -3.9961 | 0.26453 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1544 | 0.0054149 | 290.21 | 289.0265 | 240.0446 | -0.080936 | 1.952 | 26.6463 | 17.6093 | 16.4683 | 1.88 | 0.30201 | 0.662 | 1.218 | 0.19043 | 22.4793 | 0.77504 | 36.8223 | 391.8223 | 0.014151
43 | 09:52:23 | 1374 | 0 | 15.4123 | 0.32341 | 305.4417 | 5.4418 | 1.2898 | 17.0611 | 1.2034 | 2.4732 | 1 | 4.9463 | 15.8775 | 17.0611 | 15.0959 | 400.1582 | 395.93 | 7.7432 | 9.0412 | 31.3303 | 36.5821 | 499.9735 | 1500.2101 | 164.9576 | 73.255 | -3.9961 | 0.26453 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1546 | 0.0054418 | 290.2111 | 289.0275 | 240.0336 | -0.089659 | 1.9521 | 26.648 | 17.6069 | 16.4693 | 1.8801 | 0.30356 | 0.66231 | 1.2178 | 0.19141 | 22.3751 | 0.77145 | 36.8562 | 391.7235 | 0.014501
44 | 09:52:23 | 1374.5 | 0 | 15.2261 | 0.3235 | 306.4741 | 5.443 | 1.2897 | 17.0602 | 1.2034 | 2.4732 | 1 | 4.9463 | 15.8779 | 17.0602 | 15.0958 | 400.1663 | 395.9826 | 7.7421 | 9.0404 | 31.3254 | 36.5784 | 499.9657 | 1500.1781 | 164.8957 | 73.2551 | -3.9961 | 0.26453 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1546 | 0.005443 | 290.2102 | 289.0279 | 240.0285 | -0.089985 | 1.952 | 26.6465 | 17.606 | 16.469 | 1.8801 | 0.30364 | 0.66226 | 1.2178 | 0.19147 | 22.4508 | 0.77396 | 36.8567 | 391.827 | 0.014322
45 | 09:52:24 | 1375 | 0 | 15.3773 | 0.32239 | 305.4133 | 5.4262 | 1.2899 | 17.0597 | 1.2034 | 2.4732 | 1 | 4.9463 | 15.8794 | 17.0597 | 15.096 | 400.1782 | 395.9599 | 7.7431 | 9.0374 | 31.3264 | 36.5625 | 499.9853 | 1500.127 | 164.831 | 73.2551 | -3.9961 | 0.26453 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1547 | 0.0054262 | 290.2097 | 289.0294 | 240.0203 | -0.084497 | 1.9519 | 26.6457 | 17.6083 | 16.4695 | 1.8801 | 0.30266 | 0.66203 | 1.2181 | 0.19084 | 22.3731 | 0.77132 | 36.8334 | 391.763 | 0.014458 | 14.6809 | 15.8749 | 17.0517 | #DIV/0! | 1371.5333 | 0 | 14.6809 | 0.32297 | 309.1376 | 5.4305 | 1.2888 | 17.0517 | 1.2034 | 2.4732 | 1 | 4.9463 | 15.8749 | 17.0517 | 15.0954 | 400.0011 | 395.9496 | 7.7437 | 9.0391 | 31.3379 | 36.5801 | 499.9352 | 1500.2133 | 165.2336 | 73.2555 | -3.9961 | 0.26453 | 0.97778 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1543 | 0.0054305 | 290.2017 | 289.0249 | 240.0341 | -0.085493 | 1.9509 | 26.632 | 17.5929 | 16.4633 | 1.8794 | 0.30317 | 0.66216 | 1.2172 | 0.19117 | 22.646 | 0.78075 | 36.8636 | 391.9427 | 0.013808
Remark= | "09:52:31 Coolers: Tblock -> 20.00 C"
Remark= | "09:55:14 Flow: Fixed -> 500 umol/s"
Remark= | "09:57:15 Flow: Fixed -> 500 umol/s"
46 | 09:57:24 | 1675 | 0 | 16.2785 | 0.25215 | 276.5177 | 5.145 | 1.5371 | 20.0121 | 1.2034 | 2.4732 | 1 | 4.9463 | 20.0542 | 20.0121 | 19.9791 | 400.1839 | 395.7757 | 9.8503 | 11.075 | 30.6472 | 34.4575 | 499.9736 | 1500.781 | 162.4846 | 73.2553 | -4.1705 | 0.25117 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1546 | 0.005145 | 293.1621 | 293.2042 | 240.125 | 0.099201 | 2.3484 | 32.0575 | 20.9825 | 20.0332 | 2.3514 | 0.23992 | 0.8113 | 1.5401 | 0.151 | 20.2564 | 0.69867 | 36.3492 | 391.3328 | 0.01512
47 | 09:57:24 | 1675 | 0 | 16.2785 | 0.25215 | 276.5177 | 5.145 | 1.5371 | 20.0121 | 1.2034 | 2.4732 | 1 | 4.9463 | 20.0542 | 20.0121 | 19.9791 | 400.1839 | 395.7757 | 9.8503 | 11.075 | 30.6472 | 34.4575 | 499.9736 | 1500.781 | 162.4846 | 73.2553 | -4.1705 | 0.25117 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1546 | 0.005145 | 293.1621 | 293.2042 | 240.125 | 0.099201 | 2.3484 | 32.0575 | 20.9825 | 20.0332 | 2.3514 | 0.23992 | 0.8113 | 1.5401 | 0.151 | 20.2564 | 0.69867 | 36.3492 | 391.3328 | 0.01512
48 | 09:57:24 | 1675.5 | 0 | 16.3676 | 0.25202 | 275.8722 | 5.1435 | 1.5374 | 20.014 | 1.2034 | 2.4732 | 1 | 4.9463 | 20.0544 | 20.014 | 19.9796 | 400.1916 | 395.7619 | 9.8502 | 11.0746 | 30.6467 | 34.456 | 499.9518 | 1500.7393 | 162.4448 | 73.2557 | -4.1705 | 0.25117 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1545 | 0.0051435 | 293.164 | 293.2044 | 240.1183 | 0.099485 | 2.3486 | 32.061 | 20.9864 | 20.0342 | 2.3516 | 0.2398 | 0.81128 | 1.5403 | 0.15093 | 20.2092 | 0.69707 | 36.3428 | 391.2947 | 0.015202
49 | 09:57:25 | 1676 | 0 | 16.4537 | 0.25223 | 275.3871 | 5.1477 | 1.5374 | 20.0145 | 1.2034 | 2.4732 | 1 | 4.9463 | 20.0555 | 20.0145 | 19.98 | 400.2023 | 395.7514 | 9.8504 | 11.0757 | 30.6448 | 34.4569 | 499.9435 | 1500.7063 | 162.5491 | 73.2552 | -4.1705 | 0.25117 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1544 | 0.0051477 | 293.1645 | 293.2055 | 240.113 | 0.09817 | 2.3487 | 32.0622 | 20.9865 | 20.035 | 2.3517 | 0.23999 | 0.81136 | 1.5404 | 0.15105 | 20.1735 | 0.69586 | 36.3475 | 391.2607 | 0.015285
50 | 09:57:25 | 1676.5 | 0 | 16.5227 | 0.2521 | 274.8778 | 5.1464 | 1.5378 | 20.0171 | 1.2034 | 2.4732 | 1 | 4.9463 | 20.0563 | 20.0171 | 19.9802 | 400.216 | 395.7482 | 9.8503 | 11.0755 | 30.6431 | 34.4545 | 499.896 | 1500.7373 | 162.5876 | 73.2552 | -4.1705 | 0.25117 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.154 | 0.0051464 | 293.1671 | 293.2063 | 240.118 | 0.098473 | 2.3491 | 32.0673 | 20.9918 | 20.0367 | 2.352 | 0.23987 | 0.81134 | 1.5406 | 0.15097 | 20.1362 | 0.69458 | 36.3397 | 391.2387 | 0.015347
51 | 09:57:26 | 1677 | 0 | 16.3051 | 0.25209 | 276.3163 | 5.146 | 1.5377 | 20.0165 | 1.2034 | 2.4732 | 1 | 4.9463 | 20.0565 | 20.0165 | 19.9801 | 400.1904 | 395.7748 | 9.8501 | 11.0752 | 30.6421 | 34.4532 | 499.8817 | 1500.7286 | 162.5342 | 73.2554 | -4.1705 | 0.25117 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1539 | 0.005146 | 293.1665 | 293.2065 | 240.1166 | 0.098659 | 2.349 | 32.0661 | 20.9909 | 20.0365 | 2.3519 | 0.23987 | 0.81132 | 1.5406 | 0.15097 | 20.2417 | 0.69817 | 36.3399 | 391.3247 | 0.015142
52 | 09:57:27 | 1677.5 | 0 | 16.4163 | 0.25168 | 275.423 | 5.138 | 1.5377 | 20.0161 | 1.2034 | 2.4732 | 1 | 4.9463 | 20.0578 | 20.0161 | 19.979 | 400.2126 | 395.7713 | 9.8512 | 11.0744 | 30.6435 | 34.4482 | 499.9106 | 1500.7256 | 162.5442 | 73.2558 | -4.1705 | 0.25117 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1541 | 0.005138 | 293.1661 | 293.2078 | 240.1161 | 0.10135 | 2.3489 | 32.065 | 20.9906 | 20.0369 | 2.352 | 0.2395 | 0.81126 | 1.5407 | 0.15073 | 20.1763 | 0.69591 | 36.3337 | 391.2908 | 0.015243
53 | 09:57:27 | 1678 | 0 | 16.6876 | 0.25149 | 273.5311 | 5.1356 | 1.5381 | 20.0187 | 1.2034 | 2.4732 | 1 | 4.9463 | 20.0591 | 20.0187 | 19.9796 | 400.2381 | 395.7318 | 9.8512 | 11.0738 | 30.6408 | 34.4435 | 499.9146 | 1500.7538 | 162.5784 | 73.2559 | -4.1705 | 0.25117 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1541 | 0.0051356 | 293.1687 | 293.2091 | 240.1206 | 0.10202 | 2.3493 | 32.0703 | 20.9965 | 20.0389 | 2.3523 | 0.23932 | 0.81122 | 1.5411 | 0.15062 | 20.0378 | 0.6912 | 36.3238 | 391.1773 | 0.015496
54 | 09:57:28 | 1678.5 | 0 | 16.7136 | 0.25143 | 273.3328 | 5.1343 | 1.5381 | 20.0187 | 1.2034 | 2.4732 | 1 | 4.9463 | 20.0595 | 20.0187 | 19.9798 | 400.2405 | 395.7282 | 9.852 | 11.0742 | 30.6426 | 34.4441 | 499.9306 | 1500.7562 | 162.5853 | 73.2563 | -4.1705 | 0.25117 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1543 | 0.0051343 | 293.1687 | 293.2095 | 240.121 | 0.1025 | 2.3493 | 32.07 | 20.9958 | 20.0391 | 2.3523 | 0.23926 | 0.81125 | 1.541 | 0.15059 | 20.0233 | 0.69071 | 36.3246 | 391.1666 | 0.015521
55 | 09:57:28 | 1679 | 0 | 16.8168 | 0.25163 | 272.7301 | 5.1384 | 1.5381 | 20.0193 | 1.2034 | 2.4732 | 1 | 4.9463 | 20.0603 | 20.0193 | 19.9803 | 400.2524 | 395.7148 | 9.8512 | 11.0744 | 30.6389 | 34.4433 | 499.9231 | 1500.8318 | 162.5964 | 73.2566 | -4.1705 | 0.25117 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1542 | 0.0051384 | 293.1693 | 293.2103 | 240.1331 | 0.10128 | 2.3494 | 32.0711 | 20.9966 | 20.0398 | 2.3524 | 0.23945 | 0.81128 | 1.5411 | 0.1507 | 19.9793 | 0.68921 | 36.3266 | 391.125 | 0.015619
56 | 09:57:29 | 1679.5 | 0 | 16.5973 | 0.25165 | 274.1984 | 5.1395 | 1.5383 | 20.0207 | 1.2034 | 2.4732 | 1 | 4.9463 | 20.0614 | 20.0207 | 19.9806 | 400.2283 | 395.7437 | 9.8515 | 11.0749 | 30.6378 | 34.4424 | 499.9561 | 1500.8788 | 162.6649 | 73.2563 | -4.1705 | 0.25117 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1545 | 0.0051395 | 293.1707 | 293.2114 | 240.1406 | 0.10098 | 2.3496 | 32.0739 | 20.999 | 20.041 | 2.3526 | 0.23947 | 0.81131 | 1.5413 | 0.15072 | 20.0868 | 0.69287 | 36.3253 | 391.2138 | 0.015411
57 | 09:57:29 | 1680 | 0 | 16.5231 | 0.25142 | 274.6095 | 5.1362 | 1.5387 | 20.0226 | 1.2034 | 2.4732 | 1 | 4.9463 | 20.0618 | 20.0226 | 19.9807 | 400.2351 | 395.7688 | 9.8514 | 11.0739 | 30.6367 | 34.4388 | 499.9729 | 1500.8944 | 162.5888 | 73.2566 | -4.1705 | 0.25117 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1546 | 0.0051362 | 293.1726 | 293.2118 | 240.1431 | 0.10192 | 2.3499 | 32.0777 | 21.0038 | 20.0422 | 2.3528 | 0.23926 | 0.81124 | 1.5415 | 0.15058 | 20.117 | 0.69386 | 36.3154 | 391.2591 | 0.015336
58 | 09:57:30 | 1680.5 | 0 | 16.4481 | 0.25164 | 275.2129 | 5.1413 | 1.5389 | 20.0248 | 1.2034 | 2.4732 | 1 | 4.9463 | 20.0625 | 20.0248 | 19.9806 | 400.2453 | 395.7967 | 9.8509 | 11.0747 | 30.634 | 34.4396 | 499.9885 | 1500.8651 | 162.5921 | 73.2567 | -4.1705 | 0.25117 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1548 | 0.0051413 | 293.1748 | 293.2125 | 240.1384 | 0.10014 | 2.3502 | 32.082 | 21.0073 | 20.0436 | 2.353 | 0.23946 | 0.81129 | 1.5417 | 0.15071 | 20.1612 | 0.69534 | 36.3156 | 391.3075 | 0.015265
59 | 09:57:30 | 1681 | 0 | 16.6284 | 0.25176 | 274.0837 | 5.1445 | 1.5392 | 20.0271 | 1.2034 | 2.4732 | 1 | 4.9463 | 20.0634 | 20.0271 | 19.9806 | 400.2879 | 395.7953 | 9.8512 | 11.0757 | 30.6329 | 34.4408 | 499.9553 | 1500.8755 | 162.6257 | 73.2568 | -4.1705 | 0.25117 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1545 | 0.0051445 | 293.1771 | 293.2134 | 240.1401 | 0.09901 | 2.3506 | 32.0866 | 21.0108 | 20.0453 | 2.3532 | 0.23957 | 0.81137 | 1.5418 | 0.15078 | 20.0785 | 0.69249 | 36.3154 | 391.2569 | 0.015434
60 | 09:57:31 | 1681.5 | 0 | 16.5687 | 0.25175 | 274.469 | 5.1455 | 1.5395 | 20.0294 | 1.2034 | 2.4732 | 1 | 4.9463 | 20.0642 | 20.0294 | 19.9817 | 400.2743 | 395.7961 | 9.851 | 11.0757 | 30.6307 | 34.4391 | 499.9783 | 1500.892 | 162.6272 | 73.2566 | -4.1705 | 0.25117 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1547 | 0.0051455 | 293.1794 | 293.2142 | 240.1427 | 0.098583 | 2.3509 | 32.0912 | 21.0155 | 20.0468 | 2.3534 | 0.23956 | 0.81137 | 1.5421 | 0.15078 | 20.1067 | 0.69346 | 36.3103 | 391.274 | 0.015376 | 16.5071 | 20.0587 | 20.0189 | #DIV/0! | 1678.0333 | 0 | 16.5071 | 0.25181 | 274.872 | 5.1418 | 1.5381 | 20.0189 | 1.2034 | 2.4732 | 1 | 4.9463 | 20.0587 | 20.0189 | 19.9801 | 400.2255 | 395.7623 | 9.8509 | 11.0749 | 30.6406 | 34.4477 | 499.9433 | 1500.7964 | 162.5659 | 73.256 | -4.1705 | 0.25117 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1544 | 0.0051418 | 293.1689 | 293.2087 | 240.1274 | 0.10006 | 2.3494 | 32.0706 | 20.9958 | 20.0388 | 2.3523 | 0.23961 | 0.8113 | 1.541 | 0.15081 | 20.136 | 0.69454 | 36.3306 | 391.257 | 0.015328
Remark= | "09:57:37 Coolers: Tblock -> 25.00 C"
Remark= | "10:02:56 Flow: Fixed -> 500 umol/s"
61 | 10:03:39 | 2050.5 | 0 | 15.5472 | 0.17969 | 240.0967 | 4.3682 | 1.7954 | 23.4284 | 1.2034 | 2.4732 | 1 | 4.9463 | 24.5178 | 23.4284 | 25.0448 | 399.7447 | 395.5861 | 13.9559 | 14.9917 | 33.0944 | 35.5506 | 499.9068 | 1500.9039 | 174.752 | 73.2608 | -3.826 | 0.22369 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1541 | 0.0043682 | 296.5784 | 297.6678 | 240.1446 | 0.43235 | 2.8937 | 39.4983 | 24.5066 | 23.9731 | 2.9901 | 0.17339 | 1.0983 | 1.8918 | 0.10892 | 17.5897 | 0.60694 | 38.4535 | 391.3428 | 0.015277
62 | 10:03:40 | 2051 | 0 | 15.4944 | 0.18011 | 240.8948 | 4.3776 | 1.7951 | 23.4285 | 1.2034 | 2.4732 | 1 | 4.9463 | 24.518 | 23.4285 | 25.0444 | 399.7359 | 395.5891 | 13.9573 | 14.9953 | 33.0972 | 35.5586 | 499.9099 | 1500.9302 | 174.7467 | 73.2606 | -3.826 | 0.22369 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1541 | 0.0043776 | 296.5785 | 297.668 | 240.1488 | 0.4294 | 2.8937 | 39.4986 | 24.5033 | 23.9733 | 2.9902 | 0.17378 | 1.0986 | 1.8916 | 0.10917 | 17.6481 | 0.60895 | 38.4671 | 391.3602 | 0.01523
63 | 10:03:40 | 2051 | 0 | 15.4944 | 0.18011 | 240.8948 | 4.3776 | 1.7951 | 23.4285 | 1.2034 | 2.4732 | 1 | 4.9463 | 24.518 | 23.4285 | 25.0444 | 399.7359 | 395.5891 | 13.9573 | 14.9953 | 33.0972 | 35.5586 | 499.9099 | 1500.9302 | 174.7467 | 73.2606 | -3.826 | 0.22369 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1541 | 0.0043776 | 296.5785 | 297.668 | 240.1488 | 0.4294 | 2.8937 | 39.4986 | 24.5033 | 23.9733 | 2.9902 | 0.17378 | 1.0986 | 1.8916 | 0.10917 | 17.6481 | 0.60895 | 38.4671 | 391.3602 | 0.01523
64 | 10:03:40 | 2051.5 | 0 | 15.759 | 0.17965 | 238.1092 | 4.3681 | 1.7957 | 23.4321 | 1.2034 | 2.4732 | 1 | 4.9463 | 24.5187 | 23.4321 | 25.0449 | 399.7451 | 395.5355 | 13.9606 | 14.9964 | 33.1035 | 35.5595 | 499.9 | 1500.9586 | 174.7381 | 73.2601 | -3.826 | 0.22369 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.154 | 0.0043681 | 296.5821 | 297.6687 | 240.1534 | 0.43221 | 2.8943 | 39.5075 | 24.511 | 23.9754 | 2.9906 | 0.17335 | 1.0986 | 1.8919 | 0.10889 | 17.4439 | 0.60199 | 38.4556 | 391.2344 | 0.01549
65 | 10:03:41 | 2052 | 0 | 15.6151 | 0.17997 | 239.6641 | 4.3755 | 1.7956 | 23.4329 | 1.2034 | 2.4732 | 1 | 4.9463 | 24.52 | 23.4329 | 25.045 | 399.7261 | 395.5507 | 13.9619 | 14.9994 | 33.1039 | 35.5637 | 499.9328 | 1500.9868 | 174.7066 | 73.2598 | -3.826 | 0.22369 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1543 | 0.0043755 | 296.5829 | 297.67 | 240.1579 | 0.42994 | 2.8944 | 39.5093 | 24.51 | 23.9764 | 2.9907 | 0.17365 | 1.0989 | 1.8919 | 0.10908 | 17.5578 | 0.6059 | 38.4649 | 391.2889 | 0.01535
66 | 10:03:41 | 2052.5 | 0 | 15.5778 | 0.18067 | 240.5226 | 4.39 | 1.7949 | 23.4305 | 1.2034 | 2.4732 | 1 | 4.9463 | 24.5208 | 23.4305 | 25.0454 | 399.7157 | 395.5479 | 13.9628 | 15.0037 | 33.1043 | 35.5722 | 499.927 | 1500.974 | 174.8061 | 73.2598 | -3.826 | 0.22369 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1542 | 0.00439 | 296.5805 | 297.6708 | 240.1558 | 0.42556 | 2.894 | 39.5038 | 24.5001 | 23.9756 | 2.9906 | 0.1743 | 1.0992 | 1.8914 | 0.10949 | 17.6206 | 0.60807 | 38.4895 | 391.2962 | 0.015323
67 | 10:03:42 | 2053 | 0 | 15.6159 | 0.18075 | 240.2362 | 4.3914 | 1.7946 | 23.4299 | 1.2034 | 2.4732 | 1 | 4.9463 | 24.5217 | 23.4299 | 25.0461 | 399.7109 | 395.5338 | 13.9649 | 15.0061 | 33.1075 | 35.576 | 499.9218 | 1500.9833 | 174.7871 | 73.2598 | -3.826 | 0.22369 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1542 | 0.0043914 | 296.5799 | 297.6717 | 240.1573 | 0.42525 | 2.8939 | 39.5023 | 24.4962 | 23.9758 | 2.9906 | 0.17438 | 1.0993 | 1.8913 | 0.10954 | 17.5996 | 0.60737 | 38.4979 | 391.2717 | 0.015365
68 | 10:03:43 | 2053.5 | 0 | 15.424 | 0.1807 | 241.9306 | 4.3906 | 1.7948 | 23.4321 | 1.2034 | 2.4732 | 1 | 4.9463 | 24.5232 | 23.4321 | 25.0465 | 399.6873 | 395.5563 | 13.9672 | 15.0082 | 33.11 | 35.5779 | 499.9162 | 1500.8927 | 174.8092 | 73.2596 | -3.826 | 0.22369 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1542 | 0.0043906 | 296.5821 | 297.6732 | 240.1428 | 0.42533 | 2.8943 | 39.5078 | 24.4995 | 23.9777 | 2.991 | 0.17433 | 1.0995 | 1.8915 | 0.10951 | 17.7237 | 0.61162 | 38.4972 | 391.3466 | 0.015173
69 | 10:03:43 | 2054 | 0 | 15.2844 | 0.18074 | 243.2399 | 4.3923 | 1.7951 | 23.4346 | 1.2034 | 2.4732 | 1 | 4.9463 | 24.524 | 23.4346 | 25.0462 | 399.6877 | 395.5901 | 13.9691 | 15.0105 | 33.1126 | 35.5813 | 499.9186 | 1500.8835 | 174.8379 | 73.2591 | -3.826 | 0.22369 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1542 | 0.0043923 | 296.5846 | 297.674 | 240.1414 | 0.42466 | 2.8948 | 39.514 | 24.5034 | 23.9793 | 2.9913 | 0.17436 | 1.0997 | 1.8916 | 0.10953 | 17.8195 | 0.61488 | 38.4972 | 391.4186 | 0.015033
70 | 10:03:44 | 2054.5 | 0 | 15.1005 | 0.18097 | 245.0677 | 4.3987 | 1.7955 | 23.4383 | 1.2034 | 2.4732 | 1 | 4.9463 | 24.5244 | 23.4383 | 25.0467 | 399.6616 | 395.6077 | 13.9711 | 15.014 | 33.1166 | 35.5887 | 499.9239 | 1500.8357 | 174.7986 | 73.2591 | -3.826 | 0.22369 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1542 | 0.0043987 | 296.5883 | 297.6744 | 240.1337 | 0.42229 | 2.8954 | 39.5227 | 24.5087 | 23.9813 | 2.9916 | 0.17458 | 1.0999 | 1.8917 | 0.10967 | 17.9534 | 0.61947 | 38.5 | 391.4864 | 0.01485
71 | 10:03:44 | 2055 | 0 | 15.1096 | 0.18115 | 245.132 | 4.4047 | 1.7962 | 23.4437 | 1.2034 | 2.4732 | 1 | 4.9463 | 24.5265 | 23.4437 | 25.0473 | 399.6829 | 395.6264 | 13.9733 | 15.0176 | 33.1175 | 35.5926 | 499.943 | 1500.7788 | 174.8339 | 73.2592 | -3.826 | 0.22369 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1544 | 0.0044047 | 296.5937 | 297.6765 | 240.1246 | 0.42006 | 2.8963 | 39.5355 | 24.5179 | 23.9851 | 2.9923 | 0.17475 | 1.1002 | 1.8921 | 0.10978 | 17.9582 | 0.6196 | 38.4985 | 391.5025 | 0.014858
72 | 10:03:45 | 2055.5 | 0 | 15.2113 | 0.18105 | 244.1423 | 4.4043 | 1.797 | 23.4488 | 1.2034 | 2.4732 | 1 | 4.9463 | 24.5279 | 23.4488 | 25.0473 | 399.7079 | 395.6271 | 13.974 | 15.0182 | 33.1167 | 35.5913 | 499.9576 | 1500.7052 | 174.8382 | 73.2593 | -3.826 | 0.22369 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1545 | 0.0044043 | 296.5988 | 297.6779 | 240.1128 | 0.41978 | 2.8972 | 39.5476 | 24.5294 | 23.9883 | 2.9929 | 0.17465 | 1.1002 | 1.8927 | 0.10971 | 17.8857 | 0.6171 | 38.4868 | 391.4755 | 0.014955
73 | 10:03:45 | 2056 | 0 | 15.1096 | 0.1809 | 244.9692 | 4.4029 | 1.7978 | 23.4536 | 1.2034 | 2.4732 | 1 | 4.9463 | 24.5279 | 23.4536 | 25.047 | 399.7105 | 395.6543 | 13.975 | 15.0188 | 33.119 | 35.5928 | 499.9641 | 1500.679 | 174.8018 | 73.2596 | -3.826 | 0.22369 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1546 | 0.0044029 | 296.6036 | 297.6779 | 240.1086 | 0.41979 | 2.8981 | 39.559 | 24.5401 | 23.9908 | 2.9933 | 0.17452 | 1.1003 | 1.893 | 0.10963 | 17.9463 | 0.61915 | 38.4755 | 391.5304 | 0.014848
74 | 10:03:46 | 2056.5 | 0 | 15.1933 | 0.18034 | 243.7932 | 4.3916 | 1.7986 | 23.4581 | 1.2034 | 2.4732 | 1 | 4.9463 | 24.5285 | 23.4581 | 25.0466 | 399.717 | 395.6419 | 13.9778 | 15.019 | 33.1247 | 35.592 | 499.986 | 1500.5996 | 174.8189 | 73.2598 | -3.826 | 0.22369 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1547 | 0.0043916 | 296.6081 | 297.6785 | 240.0959 | 0.42298 | 2.8989 | 39.5695 | 24.5506 | 23.9933 | 2.9938 | 0.174 | 1.1003 | 1.8935 | 0.1093 | 17.8602 | 0.6162 | 38.4587 | 391.4952 | 0.014925
75 | 10:03:46 | 2057 | 0 | 15.1887 | 0.18061 | 244.0096 | 4.4009 | 1.7998 | 23.4658 | 1.2034 | 2.4732 | 1 | 4.9463 | 24.5303 | 23.4658 | 25.0472 | 399.7084 | 395.6336 | 13.9775 | 15.0209 | 33.1204 | 35.5926 | 499.9825 | 1500.6329 | 174.7508 | 73.2594 | -3.826 | 0.22369 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1547 | 0.0044009 | 296.6158 | 297.6803 | 240.1013 | 0.4196 | 2.9002 | 39.5881 | 24.5673 | 23.998 | 2.9946 | 0.17424 | 1.1004 | 1.8942 | 0.10946 | 17.876 | 0.61676 | 38.4483 | 391.4881 | 0.014917 | 15.3817 | 24.5232 | 23.4391 | #DIV/0! | 2053.5667 | 0 | 15.3817 | 0.18049 | 242.1802 | 4.389 | 1.7961 | 23.4391 | 1.2034 | 2.4732 | 1 | 4.9463 | 24.5232 | 23.4391 | 25.046 | 399.7118 | 395.5913 | 13.967 | 15.0077 | 33.1097 | 35.5766 | 499.9333 | 1500.845 | 174.7848 | 73.2598 | -3.826 | 0.22369 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1543 | 0.004389 | 296.5891 | 297.6732 | 240.1352 | 0.42524 | 2.8955 | 39.5242 | 24.5165 | 23.9811 | 2.9916 | 0.17414 | 1.0995 | 1.8921 | 0.10939 | 17.7421 | 0.6122 | 38.4772 | 391.3932 | 0.015121
Remark= | "10:03:53 Coolers: Tblock -> 30.00 C"
Remark= | "10:07:26 Flow: Fixed -> 500 umol/s"
Remark= | "10:10:42 Flow: Fixed -> 500 umol/s"
76 | 10:12:07 | 2558.5 | 0 | 17.509 | 0.1893 | 227.2692 | 5.5565 | 2.1555 | 27.1654 | 1.2034 | 2.4732 | 1 | 4.9463 | 29.1427 | 27.1654 | 30.1275 | 399.9515 | 395.2082 | 18.5985 | 19.9095 | 33.601 | 35.9694 | 499.9257 | 1500.908 | 180.6803 | 73.2612 | -3.6622 | 0.16979 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1542 | 0.0055565 | 300.3154 | 302.2927 | 240.1453 | 0.13264 | 3.6141 | 49.3314 | 29.4219 | 28.154 | 3.829 | 0.18232 | 1.4586 | 2.3705 | 0.11456 | 16.65 | 0.57506 | 40.4969 | 390.4294 | 0.018161
77 | 10:12:07 | 2558.5 | 0 | 17.509 | 0.1893 | 227.2692 | 5.5565 | 2.1555 | 27.1654 | 1.2034 | 2.4732 | 1 | 4.9463 | 29.1427 | 27.1654 | 30.1275 | 399.9515 | 395.2082 | 18.5985 | 19.9095 | 33.601 | 35.9694 | 499.9257 | 1500.908 | 180.6803 | 73.2612 | -3.6622 | 0.16979 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1542 | 0.0055565 | 300.3154 | 302.2927 | 240.1453 | 0.13264 | 3.6141 | 49.3314 | 29.4219 | 28.154 | 3.829 | 0.18232 | 1.4586 | 2.3705 | 0.11456 | 16.65 | 0.57506 | 40.4969 | 390.4294 | 0.018161
78 | 10:12:08 | 2559 | 0 | 17.6973 | 0.18901 | 225.4096 | 5.5473 | 2.1551 | 27.163 | 1.2034 | 2.4732 | 1 | 4.9463 | 29.1429 | 27.163 | 30.1278 | 399.9573 | 395.1696 | 18.5997 | 19.9084 | 33.6027 | 35.9671 | 499.929 | 1500.9387 | 180.671 | 73.2614 | -3.6622 | 0.16979 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1543 | 0.0055473 | 300.313 | 302.2929 | 240.1502 | 0.13582 | 3.6136 | 49.3244 | 29.416 | 28.153 | 3.8288 | 0.18205 | 1.4585 | 2.3703 | 0.11439 | 16.5138 | 0.57041 | 40.4975 | 390.3395 | 0.018361
79 | 10:12:09 | 2559.5 | 0 | 17.5912 | 0.18924 | 226.5434 | 5.5516 | 2.1542 | 27.1591 | 1.2034 | 2.4732 | 1 | 4.9463 | 29.1427 | 27.1591 | 30.1269 | 399.9785 | 395.2156 | 18.5989 | 19.9087 | 33.6018 | 35.9682 | 499.9076 | 1500.9146 | 180.7089 | 73.2614 | -3.6622 | 0.16979 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1541 | 0.0055516 | 300.3091 | 302.2927 | 240.1463 | 0.13473 | 3.6127 | 49.3131 | 29.4044 | 28.1509 | 3.8284 | 0.18227 | 1.4585 | 2.3698 | 0.11452 | 16.5969 | 0.57321 | 40.5104 | 390.4145 | 0.018253
80 | 10:12:09 | 2560 | 0 | 17.8103 | 0.18923 | 224.6176 | 5.5501 | 2.1537 | 27.1569 | 1.2034 | 2.4732 | 1 | 4.9463 | 29.1426 | 27.1569 | 30.1262 | 399.9736 | 395.158 | 18.5992 | 19.9088 | 33.6025 | 35.9684 | 499.8813 | 1500.7842 | 180.7012 | 73.2616 | -3.6622 | 0.16979 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1539 | 0.0055501 | 300.3069 | 302.2926 | 240.1255 | 0.13525 | 3.6123 | 49.3064 | 29.3977 | 28.1497 | 3.8281 | 0.18226 | 1.4585 | 2.3695 | 0.11452 | 16.4558 | 0.56842 | 40.516 | 390.297 | 0.018488
81 | 10:12:10 | 2560.5 | 0 | 17.7288 | 0.18905 | 225.2156 | 5.5432 | 2.1531 | 27.1537 | 1.2034 | 2.4732 | 1 | 4.9463 | 29.1431 | 27.1537 | 30.1268 | 400 | 395.2044 | 18.6003 | 19.9082 | 33.6034 | 35.9663 | 499.8579 | 1500.7806 | 180.8007 | 73.2616 | -3.6622 | 0.16979 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1537 | 0.0055432 | 300.3037 | 302.2931 | 240.1249 | 0.13776 | 3.6116 | 49.2973 | 29.3891 | 28.1484 | 3.8278 | 0.18209 | 1.4585 | 2.3693 | 0.11441 | 16.4996 | 0.56987 | 40.5204 | 390.3657 | 0.018403
82 | 10:12:10 | 2561 | 0 | 17.8712 | 0.18971 | 224.5125 | 5.5599 | 2.1523 | 27.1507 | 1.2034 | 2.4732 | 1 | 4.9463 | 29.1429 | 27.1507 | 30.1259 | 400.0208 | 395.1896 | 18.599 | 19.9108 | 33.6017 | 35.9717 | 499.8827 | 1500.7732 | 180.7959 | 73.2619 | -3.6622 | 0.16979 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1539 | 0.0055599 | 300.3007 | 302.2929 | 240.1237 | 0.13267 | 3.611 | 49.2885 | 29.3777 | 28.1468 | 3.8274 | 0.18271 | 1.4587 | 2.3687 | 0.1148 | 16.4482 | 0.56811 | 40.5408 | 390.312 | 0.018562
83 | 10:12:11 | 2561.5 | 0 | 17.7929 | 0.18983 | 225.3037 | 5.5605 | 2.1512 | 27.1461 | 1.2034 | 2.4732 | 1 | 4.9463 | 29.1433 | 27.1461 | 30.1262 | 400.0281 | 395.2157 | 18.5998 | 19.9118 | 33.6023 | 35.9725 | 499.8899 | 1500.777 | 180.9798 | 73.2618 | -3.6622 | 0.16979 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1539 | 0.0055605 | 300.2961 | 302.2933 | 240.1243 | 0.1329 | 3.61 | 49.2751 | 29.3634 | 28.1447 | 3.827 | 0.18282 | 1.4588 | 2.3682 | 0.11487 | 16.5062 | 0.57008 | 40.5555 | 390.3595 | 0.018485
84 | 10:12:11 | 2562 | 0 | 17.7247 | 0.19001 | 226.0252 | 5.5631 | 2.1503 | 27.142 | 1.2034 | 2.4732 | 1 | 4.9463 | 29.1442 | 27.142 | 30.1264 | 400.0087 | 395.2125 | 18.6005 | 19.913 | 33.6018 | 35.9729 | 499.8958 | 1500.7826 | 181.1783 | 73.2616 | -3.6622 | 0.16979 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.154 | 0.0055631 | 300.292 | 302.2942 | 240.1252 | 0.13251 | 3.6091 | 49.2633 | 29.3503 | 28.1431 | 3.8266 | 0.18298 | 1.4589 | 2.3677 | 0.11498 | 16.559 | 0.57191 | 40.5701 | 390.3749 | 0.018421
85 | 10:12:12 | 2562.5 | 0 | 17.5901 | 0.19031 | 227.4065 | 5.5678 | 2.1489 | 27.1358 | 1.2034 | 2.4732 | 1 | 4.9463 | 29.1445 | 27.1358 | 30.1256 | 399.9814 | 395.2172 | 18.6004 | 19.9141 | 33.6009 | 35.974 | 499.8927 | 1500.817 | 181.1991 | 73.2615 | -3.6622 | 0.16979 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.154 | 0.0055678 | 300.2858 | 302.2945 | 240.1307 | 0.13162 | 3.6078 | 49.2455 | 29.3314 | 28.1402 | 3.826 | 0.18326 | 1.4589 | 2.367 | 0.11515 | 16.6601 | 0.5754 | 40.5907 | 390.4163 | 0.018288
86 | 10:12:12 | 2563 | 0 | 17.4633 | 0.19062 | 228.7412 | 5.5712 | 2.1468 | 27.126 | 1.2034 | 2.4732 | 1 | 4.9463 | 29.1447 | 27.126 | 30.1258 | 399.9599 | 395.2256 | 18.5999 | 19.9145 | 33.5995 | 35.9741 | 499.8708 | 1500.806 | 181.1955 | 73.2612 | -3.6622 | 0.16979 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1538 | 0.0055712 | 300.276 | 302.2947 | 240.129 | 0.13136 | 3.6057 | 49.2175 | 29.3031 | 28.1354 | 3.8249 | 0.18355 | 1.459 | 2.3659 | 0.11533 | 16.7579 | 0.57876 | 40.6189 | 390.4594 | 0.018167
87 | 10:12:13 | 2563.5 | 0 | 17.4296 | 0.19062 | 229.0084 | 5.5713 | 2.1469 | 27.1268 | 1.2034 | 2.4732 | 1 | 4.9463 | 29.145 | 27.1268 | 30.1263 | 399.9402 | 395.2142 | 18.6006 | 19.9151 | 33.6 | 35.9746 | 499.881 | 1500.8087 | 181.3157 | 73.261 | -3.6622 | 0.16979 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1539 | 0.0055713 | 300.2768 | 302.295 | 240.1294 | 0.13129 | 3.6059 | 49.2198 | 29.3047 | 28.1359 | 3.825 | 0.18354 | 1.459 | 2.366 | 0.11533 | 16.7774 | 0.57945 | 40.6182 | 390.4571 | 0.018132
88 | 10:12:13 | 2564 | 0 | 17.2958 | 0.19057 | 230.1277 | 5.5682 | 2.1462 | 27.123 | 1.2034 | 2.4732 | 1 | 4.9463 | 29.1451 | 27.123 | 30.1271 | 399.9213 | 395.228 | 18.6003 | 19.914 | 33.5992 | 35.9723 | 499.9133 | 1500.9083 | 181.3508 | 73.2607 | -3.6622 | 0.16979 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1541 | 0.0055682 | 300.273 | 302.2951 | 240.1453 | 0.13272 | 3.6051 | 49.2091 | 29.2951 | 28.134 | 3.8246 | 0.1835 | 1.4589 | 2.3657 | 0.1153 | 16.8593 | 0.58227 | 40.6247 | 390.5075 | 0.017993
89 | 10:12:14 | 2564.5 | 0 | 17.3574 | 0.19093 | 229.8546 | 5.5782 | 2.1462 | 27.1236 | 1.2034 | 2.4732 | 1 | 4.9463 | 29.1453 | 27.1236 | 30.1268 | 399.922 | 395.2132 | 18.5999 | 19.9159 | 33.5978 | 35.975 | 499.9343 | 1500.8458 | 181.3449 | 73.2603 | -3.6622 | 0.16979 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1543 | 0.0055782 | 300.2736 | 302.2953 | 240.1353 | 0.12943 | 3.6052 | 49.2113 | 29.2954 | 28.1345 | 3.8247 | 0.18383 | 1.459 | 2.3656 | 0.11551 | 16.8392 | 0.5816 | 40.6306 | 390.4759 | 0.018061
90 | 10:12:14 | 2565 | 0 | 17.2487 | 0.19068 | 230.6248 | 5.5708 | 2.1459 | 27.1223 | 1.2034 | 2.4732 | 1 | 4.9463 | 29.1452 | 27.1223 | 30.128 | 399.9259 | 395.2438 | 18.6011 | 19.9154 | 33.6002 | 35.9742 | 499.9215 | 1500.8344 | 181.412 | 73.2599 | -3.6622 | 0.16979 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1542 | 0.0055708 | 300.2723 | 302.2952 | 240.1335 | 0.13188 | 3.6049 | 49.2076 | 29.2922 | 28.1337 | 3.8245 | 0.18361 | 1.459 | 2.3655 | 0.11537 | 16.8956 | 0.5835 | 40.6299 | 390.5361 | 0.017945 | 17.5746 | 29.1438 | 27.144 | #DIV/0! | 2561.5333 | 0 | 17.5746 | 0.18989 | 227.1953 | 5.5611 | 2.1508 | 27.144 | 1.2034 | 2.4732 | 1 | 4.9463 | 29.1438 | 27.144 | 30.1267 | 399.9681 | 395.2082 | 18.5998 | 19.9118 | 33.6011 | 35.9713 | 499.9006 | 1500.8391 | 181.001 | 73.2612 | -3.6622 | 0.16979 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.154 | 0.0055611 | 300.294 | 302.2938 | 240.1343 | 0.13301 | 3.6095 | 49.2695 | 29.3576 | 28.1439 | 3.8268 | 0.18287 | 1.4588 | 2.368 | 0.11491 | 16.6446 | 0.57487 | 40.5612 | 390.4116 | 0.018259
Remark= | "10:12:21 Coolers: Tblock -> 35.00 C"
Remark= | "10:19:09 Flow: Fixed -> 500 umol/s"
Remark= | "10:21:37 Flow: Fixed -> 500 umol/s"
Remark= | "10:23:06 Flow: Fixed -> 500 umol/s"
91 | 10:23:37 | 3248 | 0 | 16.2716 | 0.17643 | 226.1821 | 6.4098 | 2.638 | 30.8335 | 1.2034 | 2.4732 | 1 | 4.9463 | 33.6234 | 30.8335 | 35.0123 | 401.4465 | 396.9161 | 23.4849 | 24.9896 | 32.8852 | 34.9923 | 499.8017 | 1499.8652 | 193.0663 | 73.2594 | -3.066 | 0.10928 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1532 | 0.0064098 | 303.9835 | 306.7734 | 239.9784 | -0.060746 | 4.4687 | 60.9987 | 36.0091 | 32.2285 | 4.8372 | 0.17035 | 1.8307 | 3.0065 | 0.107 | 16.57 | 0.56985 | 40.4398 | 392.4751 | 0.016766
92 | 10:23:38 | 3248.5 | 0 | 16.1898 | 0.17632 | 226.8603 | 6.4111 | 2.64 | 30.8412 | 1.2034 | 2.4732 | 1 | 4.9463 | 33.6237 | 30.8412 | 35.0114 | 401.4639 | 396.9531 | 23.4837 | 24.9888 | 32.8833 | 34.9908 | 499.8042 | 1499.8324 | 193.1892 | 73.2598 | -3.066 | 0.10928 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1532 | 0.0064111 | 303.9912 | 306.7737 | 239.9732 | -0.061821 | 4.4707 | 61.0252 | 36.0364 | 32.2325 | 4.8383 | 0.17025 | 1.8307 | 3.0076 | 0.10694 | 16.6198 | 0.5715 | 40.4185 | 392.5344 | 0.01667
93 | 10:23:38 | 3248.5 | 0 | 16.1898 | 0.17632 | 226.8603 | 6.4111 | 2.64 | 30.8412 | 1.2034 | 2.4732 | 1 | 4.9463 | 33.6237 | 30.8412 | 35.0114 | 401.4639 | 396.9531 | 23.4837 | 24.9888 | 32.8833 | 34.9908 | 499.8042 | 1499.8324 | 193.1892 | 73.2598 | -3.066 | 0.10928 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1532 | 0.0064111 | 303.9912 | 306.7737 | 239.9732 | -0.061821 | 4.4707 | 61.0252 | 36.0364 | 32.2325 | 4.8383 | 0.17025 | 1.8307 | 3.0076 | 0.10694 | 16.6198 | 0.5715 | 40.4185 | 392.5344 | 0.01667
94 | 10:23:39 | 3249 | 0 | 16.0161 | 0.17622 | 228.3807 | 6.411 | 2.6414 | 30.8464 | 1.2034 | 2.4732 | 1 | 4.9463 | 33.6244 | 30.8464 | 35.0114 | 401.459 | 396.9897 | 23.4823 | 24.9874 | 32.8801 | 34.9875 | 499.7867 | 1499.798 | 193.1468 | 73.2601 | -3.066 | 0.10928 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1531 | 0.006411 | 303.9964 | 306.7744 | 239.9677 | -0.062221 | 4.472 | 61.043 | 36.0555 | 32.2354 | 4.8391 | 0.17016 | 1.8306 | 3.0085 | 0.10688 | 16.7312 | 0.57528 | 40.4025 | 392.6185 | 0.016481
95 | 10:23:39 | 3249.5 | 0 | 15.6127 | 0.17635 | 232.225 | 6.4163 | 2.6417 | 30.8471 | 1.2034 | 2.4732 | 1 | 4.9463 | 33.6249 | 30.8471 | 35.0106 | 401.4466 | 397.0737 | 23.4798 | 24.9862 | 32.8758 | 34.9851 | 499.7691 | 1499.7825 | 193.3021 | 73.2605 | -3.066 | 0.10928 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1529 | 0.0064163 | 303.9971 | 306.7749 | 239.9652 | -0.063926 | 4.4722 | 61.0453 | 36.0591 | 32.236 | 4.8393 | 0.17028 | 1.8305 | 3.0087 | 0.10696 | 17.0129 | 0.58484 | 40.4004 | 392.8125 | 0.016058
96 | 10:23:40 | 3250 | 0 | 15.3501 | 0.17665 | 234.9035 | 6.4227 | 2.6401 | 30.8412 | 1.2034 | 2.4732 | 1 | 4.9463 | 33.6253 | 30.8412 | 35.0108 | 401.4427 | 397.1324 | 23.4792 | 24.9871 | 32.8746 | 34.9858 | 499.776 | 1499.701 | 193.2534 | 73.2609 | -3.066 | 0.10928 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.153 | 0.0064227 | 303.9912 | 306.7753 | 239.9522 | -0.06551 | 4.4707 | 61.0242 | 36.037 | 32.2332 | 4.8385 | 0.17056 | 1.8306 | 3.0079 | 0.10713 | 17.2092 | 0.5915 | 40.4203 | 392.9429 | 0.01579
97 | 10:23:40 | 3250.5 | 0 | 14.8272 | 0.17622 | 239.4418 | 6.4041 | 2.6388 | 30.8351 | 1.2034 | 2.4732 | 1 | 4.9463 | 33.6258 | 30.8351 | 35.0113 | 401.4313 | 397.2484 | 23.4804 | 24.984 | 32.8756 | 34.9807 | 499.7683 | 1499.6183 | 193.2512 | 73.2617 | -3.066 | 0.10928 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1529 | 0.0064041 | 303.9851 | 306.7758 | 239.9389 | -0.05914 | 4.4691 | 61.0022 | 36.0182 | 32.2304 | 4.8377 | 0.17016 | 1.8304 | 3.0074 | 0.10688 | 17.5419 | 0.60275 | 40.4257 | 393.2016 | 0.015244
98 | 10:23:41 | 3251 | 0 | 14.5152 | 0.1756 | 241.8741 | 6.379 | 2.6375 | 30.829 | 1.2034 | 2.4732 | 1 | 4.9463 | 33.626 | 30.829 | 35.0117 | 401.3993 | 397.2939 | 23.4828 | 24.9805 | 32.8786 | 34.9755 | 499.7706 | 1499.5861 | 193.2334 | 73.2619 | -3.066 | 0.10928 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1529 | 0.006379 | 303.979 | 306.776 | 239.9338 | -0.05069 | 4.4676 | 60.9811 | 36.0006 | 32.2275 | 4.8369 | 0.16958 | 1.8301 | 3.0068 | 0.10651 | 17.7201 | 0.6088 | 40.4278 | 393.3323 | 0.014919
99 | 10:23:41 | 3251.5 | 0 | 14.3187 | 0.17562 | 243.7185 | 6.3744 | 2.6352 | 30.8202 | 1.2034 | 2.4732 | 1 | 4.9463 | 33.6279 | 30.8202 | 35.0125 | 401.373 | 397.3154 | 23.4837 | 24.9803 | 32.8763 | 34.9714 | 499.7794 | 1499.6321 | 193.0838 | 73.2614 | -3.066 | 0.10928 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.153 | 0.0063744 | 303.9702 | 306.7779 | 239.9411 | -0.048243 | 4.4653 | 60.9507 | 35.9705 | 32.224 | 4.836 | 0.1696 | 1.8301 | 3.0059 | 0.10652 | 17.8552 | 0.61341 | 40.4492 | 393.4074 | 0.014722
100 | 10:23:42 | 3252 | 0 | 14.2896 | 0.17519 | 243.6971 | 6.3567 | 2.6342 | 30.8158 | 1.2034 | 2.4732 | 1 | 4.9463 | 33.6286 | 30.8158 | 35.0129 | 401.3816 | 397.3326 | 23.4872 | 24.9797 | 32.8798 | 34.9691 | 499.7637 | 1499.6311 | 193.0559 | 73.2614 | -3.066 | 0.10928 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1529 | 0.0063567 | 303.9658 | 306.7786 | 239.941 | -0.04218 | 4.4642 | 60.9354 | 35.9557 | 32.2222 | 4.8355 | 0.1692 | 1.83 | 3.0054 | 0.10627 | 17.8536 | 0.61333 | 40.4542 | 393.4325 | 0.014693
101 | 10:23:42 | 3252.5 | 0 | 14.0928 | 0.1749 | 245.3402 | 6.3435 | 2.633 | 30.8108 | 1.2034 | 2.4732 | 1 | 4.9463 | 33.628 | 30.8108 | 35.0135 | 401.3816 | 397.381 | 23.4894 | 24.9788 | 32.8839 | 34.9689 | 499.7515 | 1499.6217 | 193.0577 | 73.2612 | -3.066 | 0.10928 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1528 | 0.0063435 | 303.9608 | 306.778 | 239.9395 | -0.037625 | 4.4629 | 60.9182 | 35.9394 | 32.2194 | 4.8347 | 0.16892 | 1.83 | 3.0047 | 0.1061 | 17.9739 | 0.61739 | 40.4615 | 393.5347 | 0.01449
102 | 10:23:43 | 3253 | 0 | 14.1815 | 0.17449 | 244.2262 | 6.3252 | 2.6314 | 30.8039 | 1.2034 | 2.4732 | 1 | 4.9463 | 33.6278 | 30.8039 | 35.0141 | 401.3838 | 397.3637 | 23.4911 | 24.9762 | 32.8868 | 34.9658 | 499.7617 | 1499.5956 | 193.0464 | 73.2615 | -3.066 | 0.10928 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1529 | 0.0063252 | 303.9539 | 306.7778 | 239.9353 | -0.031283 | 4.4612 | 60.8941 | 35.918 | 32.2159 | 4.8337 | 0.16854 | 1.8298 | 3.004 | 0.10586 | 17.8924 | 0.61462 | 40.4696 | 393.4931 | 0.014585
103 | 10:23:43 | 3253.5 | 0 | 14.4437 | 0.17436 | 241.7124 | 6.3173 | 2.63 | 30.7988 | 1.2034 | 2.4732 | 1 | 4.9463 | 33.6284 | 30.7988 | 35.015 | 401.4189 | 397.3366 | 23.4945 | 24.9777 | 32.8903 | 34.9666 | 499.7793 | 1499.5864 | 193.1738 | 73.2612 | -3.066 | 0.10928 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.153 | 0.0063173 | 303.9488 | 306.7784 | 239.9338 | -0.028293 | 4.4599 | 60.8764 | 35.8987 | 32.2136 | 4.8331 | 0.16842 | 1.8299 | 3.0032 | 0.10578 | 17.7081 | 0.60833 | 40.4833 | 393.3945 | 0.014864
104 | 10:23:44 | 3254 | 0 | 14.4664 | 0.17356 | 240.911 | 6.2901 | 2.6303 | 30.7995 | 1.2034 | 2.4732 | 1 | 4.9463 | 33.6291 | 30.7995 | 35.0156 | 401.425 | 397.3399 | 23.4992 | 24.9759 | 32.8955 | 34.9627 | 499.7832 | 1499.6462 | 193.141 | 73.261 | -3.066 | 0.10928 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1531 | 0.0062901 | 303.9495 | 306.7791 | 239.9434 | -0.019612 | 4.4601 | 60.879 | 35.9031 | 32.2143 | 4.8333 | 0.16768 | 1.8298 | 3.0035 | 0.10531 | 17.6494 | 0.60631 | 40.4692 | 393.3916 | 0.014882
105 | 10:23:44 | 3254.5 | 0 | 15.2326 | 0.17319 | 233.4312 | 6.2796 | 2.6313 | 30.8034 | 1.2034 | 2.4732 | 1 | 4.9463 | 33.6298 | 30.8034 | 35.0162 | 401.4848 | 397.2164 | 23.5017 | 24.976 | 32.8975 | 34.9612 | 499.7914 | 1499.701 | 193.2319 | 73.2605 | -3.066 | 0.10928 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1531 | 0.0062796 | 303.9534 | 306.7798 | 239.9522 | -0.016501 | 4.461 | 60.8929 | 35.917 | 32.2166 | 4.8339 | 0.16733 | 1.8298 | 3.0042 | 0.10509 | 17.1013 | 0.58767 | 40.4551 | 393.059 | 0.015678 | 15.0665 | 33.6265 | 30.8245 | #DIV/0! | 3251.0667 | 0 | 15.0665 | 0.17543 | 236.651 | 6.3701 | 2.6362 | 30.8245 | 1.2034 | 2.4732 | 1 | 4.9463 | 33.6265 | 30.8245 | 35.0127 | 401.4268 | 397.1897 | 23.4869 | 24.9825 | 32.8831 | 34.9769 | 499.7794 | 1499.6953 | 193.1615 | 73.2608 | -3.066 | 0.10928 | 0.75556 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.153 | 0.0063701 | 303.9745 | 306.7765 | 239.9512 | -0.047308 | 4.4664 | 60.9661 | 35.9836 | 32.2255 | 4.8364 | 0.16942 | 1.8302 | 3.0061 | 0.10641 | 17.3372 | 0.59581 | 40.4397 | 393.0776 | 0.015501
Remark= | "10:23:50 Coolers: Tblock -> 40.00 C"
Remark= | "10:30:40 Flow: Fixed -> 500 umol/s"
Remark= | "10:31:04 Flow: Fixed -> 500 umol/s"
Remark= | "10:32:01 Flow: Fixed -> 500 umol/s"
Remark= | "10:32:36 Flow: Fixed -> 500 umol/s"
106 | 10:33:01 | 3813 | 0 | 12.4409 | 0.15941 | 244.9792 | 6.4868 | 2.9204 | 33.4888 | 1.2034 | 2.4732 | 1 | 4.9463 | 37.9153 | 33.4888 | 40.0803 | 398.3028 | 394.6913 | 29.5012 | 31.0144 | 32.614 | 34.2869 | 499.8655 | 1500.1495 | 195.43 | 73.2598 | -2.8813 | 0.032631 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1537 | 0.0064868 | 306.6388 | 311.0653 | 240.0239 | 0.072767 | 5.1925 | 70.8783 | 39.8638 | 35.702 | 5.8717 | 0.15443 | 2.2721 | 3.5996 | 0.096956 | 17.9471 | 0.62069 | 42.5884 | 391.2958 | 0.013541
107 | 10:33:02 | 3813 | 0 | 12.4409 | 0.15941 | 244.9792 | 6.4868 | 2.9204 | 33.4888 | 1.2034 | 2.4732 | 1 | 4.9463 | 37.9153 | 33.4888 | 40.0803 | 398.3028 | 394.6913 | 29.5012 | 31.0144 | 32.614 | 34.2869 | 499.8655 | 1500.1495 | 195.43 | 73.2598 | -2.8813 | 0.032631 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1537 | 0.0064868 | 306.6388 | 311.0653 | 240.0239 | 0.072767 | 5.1925 | 70.8783 | 39.8638 | 35.702 | 5.8717 | 0.15443 | 2.2721 | 3.5996 | 0.096956 | 17.9471 | 0.62069 | 42.5884 | 391.2958 | 0.013541
108 | 10:33:02 | 3813 | 0 | 12.4409 | 0.15941 | 244.9792 | 6.4868 | 2.9204 | 33.4888 | 1.2034 | 2.4732 | 1 | 4.9463 | 37.9153 | 33.4888 | 40.0803 | 398.3028 | 394.6913 | 29.5012 | 31.0144 | 32.614 | 34.2869 | 499.8655 | 1500.1495 | 195.43 | 73.2598 | -2.8813 | 0.032631 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1537 | 0.0064868 | 306.6388 | 311.0653 | 240.0239 | 0.072767 | 5.1925 | 70.8783 | 39.8638 | 35.702 | 5.8717 | 0.15443 | 2.2721 | 3.5996 | 0.096956 | 17.9471 | 0.62069 | 42.5884 | 391.2958 | 0.013541
109 | 10:33:03 | 3813.5 | 0 | 12.4045 | 0.15954 | 245.4316 | 6.4888 | 2.9191 | 33.4848 | 1.2034 | 2.4732 | 1 | 4.9463 | 37.9161 | 33.4848 | 40.0804 | 398.2803 | 394.6774 | 29.5028 | 31.0165 | 32.6142 | 34.2875 | 499.8655 | 1500.1932 | 195.8525 | 73.2597 | -2.8813 | 0.032631 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1537 | 0.0064888 | 306.6348 | 311.0661 | 240.0309 | 0.072628 | 5.1914 | 70.8626 | 39.8462 | 35.7005 | 5.8712 | 0.15455 | 2.2723 | 3.5989 | 0.09703 | 17.9802 | 0.62185 | 42.603 | 391.2918 | 0.013506
110 | 10:33:03 | 3814 | 0 | 12.3423 | 0.15954 | 246.0473 | 6.489 | 2.9192 | 33.4856 | 1.2034 | 2.4732 | 1 | 4.9463 | 37.9158 | 33.4856 | 40.0813 | 398.2588 | 394.6708 | 29.505 | 31.0188 | 32.6172 | 34.2907 | 499.8575 | 1500.0892 | 196.8911 | 73.2597 | -2.8813 | 0.032631 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1537 | 0.006489 | 306.6356 | 311.0658 | 240.0143 | 0.072337 | 5.1916 | 70.8658 | 39.847 | 35.7007 | 5.8713 | 0.15455 | 2.2724 | 3.5988 | 0.097031 | 18.0253 | 0.62342 | 42.6043 | 391.3023 | 0.013438
111 | 10:33:04 | 3814.5 | 0 | 12.3556 | 0.15974 | 246.0902 | 6.4885 | 2.9154 | 33.4731 | 1.2034 | 2.4732 | 1 | 4.9463 | 37.9156 | 33.4731 | 40.0819 | 398.2569 | 394.6658 | 29.507 | 31.0206 | 32.6197 | 34.293 | 499.8617 | 1500.1091 | 197.8901 | 73.2595 | -2.8813 | 0.032631 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1537 | 0.0064885 | 306.6231 | 311.0656 | 240.0175 | 0.073623 | 5.188 | 70.8162 | 39.7956 | 35.6943 | 5.8692 | 0.15474 | 2.2726 | 3.5967 | 0.097151 | 18.0285 | 0.62354 | 42.6419 | 391.2936 | 0.013465
112 | 10:33:04 | 3815 | 0 | 12.672 | 0.15996 | 243.0818 | 6.4976 | 2.9157 | 33.4749 | 1.2034 | 2.4732 | 1 | 4.9463 | 37.9161 | 33.4749 | 40.0834 | 398.313 | 394.6449 | 29.5087 | 31.0244 | 32.6204 | 34.2959 | 499.8687 | 1500.1913 | 198.2456 | 73.259 | -2.8813 | 0.032631 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1538 | 0.0064976 | 306.6249 | 311.0661 | 240.0306 | 0.070716 | 5.1885 | 70.824 | 39.7995 | 35.6955 | 5.8696 | 0.15494 | 2.2728 | 3.5968 | 0.097279 | 17.8079 | 0.61595 | 42.6445 | 391.1864 | 0.013814
113 | 10:33:05 | 3815.5 | 0 | 12.9411 | 0.16019 | 240.5737 | 6.5061 | 2.9154 | 33.4751 | 1.2034 | 2.4732 | 1 | 4.9463 | 37.916 | 33.4751 | 40.0828 | 398.3631 | 394.6295 | 29.511 | 31.0287 | 32.6234 | 34.3012 | 499.8724 | 1500.1979 | 198.2986 | 73.2594 | -2.8813 | 0.032631 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1538 | 0.0065061 | 306.6251 | 311.066 | 240.0317 | 0.068004 | 5.1885 | 70.8243 | 39.7956 | 35.6955 | 5.8696 | 0.15516 | 2.2731 | 3.5965 | 0.097416 | 17.6243 | 0.60962 | 42.653 | 391.0975 | 0.014114
114 | 10:33:05 | 3816 | 0 | 13.0469 | 0.16031 | 239.5941 | 6.5115 | 2.9156 | 33.4762 | 1.2034 | 2.4732 | 1 | 4.9463 | 37.9157 | 33.4762 | 40.0835 | 398.3613 | 394.6017 | 29.5117 | 31.0306 | 32.6245 | 34.3037 | 499.8702 | 1500.2258 | 199.2601 | 73.2592 | -2.8813 | 0.032631 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1538 | 0.0065115 | 306.6262 | 311.0657 | 240.0361 | 0.066208 | 5.1889 | 70.829 | 39.7984 | 35.696 | 5.8697 | 0.15528 | 2.2733 | 3.5965 | 0.09749 | 17.5525 | 0.60718 | 42.654 | 391.0408 | 0.014231
115 | 10:33:06 | 3816.5 | 0 | 12.8994 | 0.16059 | 241.2748 | 6.5259 | 2.917 | 33.4819 | 1.2034 | 2.4732 | 1 | 4.9463 | 37.916 | 33.4819 | 40.0842 | 398.3365 | 394.6111 | 29.5116 | 31.0339 | 32.6237 | 34.3065 | 499.8733 | 1500.2697 | 200.141 | 73.2586 | -2.8813 | 0.032631 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1538 | 0.0065259 | 306.6319 | 311.066 | 240.0431 | 0.061241 | 5.1905 | 70.852 | 39.818 | 35.6989 | 5.8707 | 0.15554 | 2.2735 | 3.5972 | 0.097656 | 17.6755 | 0.61142 | 42.6466 | 391.0905 | 0.014066
116 | 10:33:06 | 3817 | 0 | 12.8638 | 0.1607 | 241.7115 | 6.5312 | 2.9174 | 33.4838 | 1.2034 | 2.4732 | 1 | 4.9463 | 37.917 | 33.4838 | 40.0851 | 398.331 | 394.6137 | 29.5129 | 31.0365 | 32.623 | 34.307 | 499.8784 | 1500.2869 | 200.0623 | 73.2579 | -2.8813 | 0.032631 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1538 | 0.0065312 | 306.6338 | 311.067 | 240.0459 | 0.059507 | 5.1911 | 70.8602 | 39.8237 | 35.7004 | 5.8712 | 0.15565 | 2.2737 | 3.5975 | 0.097722 | 17.7073 | 0.61253 | 42.646 | 391.1028 | 0.014027
117 | 10:33:07 | 3817.5 | 0 | 13.0199 | 0.16079 | 240.2055 | 6.5375 | 2.9186 | 33.4889 | 1.2034 | 2.4732 | 1 | 4.9463 | 37.9165 | 33.4889 | 40.0862 | 398.3458 | 394.5903 | 29.5154 | 31.0404 | 32.6265 | 34.3123 | 499.8734 | 1500.2281 | 199.6559 | 73.2577 | -2.8813 | 0.032631 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1538 | 0.0065375 | 306.6389 | 311.0665 | 240.0365 | 0.056931 | 5.1926 | 70.8807 | 39.8403 | 35.7027 | 5.8719 | 0.15573 | 2.2739 | 3.598 | 0.097775 | 17.5969 | 0.60875 | 42.639 | 391.0368 | 0.014197
118 | 10:33:07 | 3818.5 | 0 | 13.3601 | 0.16053 | 236.5638 | 6.5319 | 2.9207 | 33.4967 | 1.2034 | 2.4732 | 1 | 4.9463 | 37.9154 | 33.4967 | 40.0869 | 398.3787 | 394.542 | 29.5189 | 31.0425 | 32.6323 | 34.3166 | 499.8879 | 1500.3086 | 197.2237 | 73.2575 | -2.8813 | 0.032631 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1539 | 0.0065319 | 306.6467 | 311.0654 | 240.0494 | 0.058012 | 5.1948 | 70.9118 | 39.8693 | 35.706 | 5.873 | 0.15548 | 2.2741 | 3.5989 | 0.097617 | 17.3301 | 0.59959 | 42.6184 | 390.8956 | 0.014566
119 | 10:33:08 | 3819 | 0 | 13.2071 | 0.16022 | 237.8565 | 6.5205 | 2.921 | 33.4973 | 1.2034 | 2.4732 | 1 | 4.9463 | 37.9142 | 33.4973 | 40.0868 | 398.3618 | 394.563 | 29.5208 | 31.0418 | 32.6364 | 34.3179 | 499.8913 | 1500.2815 | 196.7587 | 73.2573 | -2.8813 | 0.032631 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.154 | 0.0065205 | 306.6473 | 311.0642 | 240.045 | 0.061412 | 5.195 | 70.9146 | 39.8728 | 35.7057 | 5.8729 | 0.1552 | 2.274 | 3.5989 | 0.097437 | 17.4247 | 0.60284 | 42.6121 | 390.9584 | 0.014395
120 | 10:33:08 | 3819.5 | 0 | 13.2134 | 0.16028 | 237.8994 | 6.5146 | 2.9174 | 33.4851 | 1.2034 | 2.4732 | 1 | 4.9463 | 37.9138 | 33.4851 | 40.0867 | 398.3976 | 394.5978 | 29.5229 | 31.0425 | 32.6394 | 34.3194 | 499.8981 | 1500.2633 | 196.7173 | 73.2573 | -2.8813 | 0.032631 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.154 | 0.0065146 | 306.6351 | 311.0638 | 240.0421 | 0.064331 | 5.1914 | 70.8659 | 39.8234 | 35.6994 | 5.8709 | 0.15525 | 2.2741 | 3.5968 | 0.097472 | 17.4279 | 0.60289 | 42.6459 | 390.9915 | 0.014412 | 12.7766 | 37.9156 | 33.4846 | #DIV/0! | 3815.7 | 0 | 12.7766 | 0.16004 | 242.0845 | 6.5069 | 2.9182 | 33.4846 | 1.2034 | 2.4732 | 1 | 4.9463 | 37.9156 | 33.4846 | 40.0834 | 398.3262 | 394.6321 | 29.5102 | 31.028 | 32.6228 | 34.3008 | 499.873 | 1500.2062 | 197.5525 | 73.2588 | -2.8813 | 0.032631 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.1538 | 0.0065069 | 306.6346 | 311.0656 | 240.033 | 0.066883 | 5.1913 | 70.8628 | 39.8347 | 35.7001 | 5.8711 | 0.15503 | 2.2731 | 3.598 | 0.09733 | 17.7348 | 0.61344 | 42.6249 | 391.145 | 0.013923
Remark= | "10:33:15 Coolers: Tblock -> 45.00 C"