## stm-rartr2_
OPEN 6.2.4
Wed Jun 24 2015 10:41:07
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "10:46:38 CO2 Mixer: CO2R -> 400 uml"
Remark= | "10:46:47 Coolers: Tblock -> 0.00 C"
Remark= | "10:46:55 Lamp: ParIn -> 1500 uml"
Remark= | "10:54:10 Flow: Fixed -> 500 umol/s"
Remark= | "10:57:08 Flow: Fixed -> 500 umol/s"
Remark= | "10:57:31 Coolers: Tblock -> 13.00 C"
Remark= | "10:59:26 Flow: Fixed -> 500 umol/s"
1 | 10:59:58 | 1147 | 0 | 30.8117 | 0.66124 | 298.2769 | 11.7842 | 1.4505 | 17.9073 | 1.042 | 2.5086 | 1 | 5.0172 | 15.1204 | 17.9073 | 13.123 | 399.5865 | 392.1999 | 5.8739 | 8.31 | 24.9469 | 35.2935 | 499.8732 | 1501.2245 | 231.1157 | 73.2491 | -3.1276 | 0.30189 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.797 | 0.011784 | 291.0573 | 288.2704 | 240.1959 | -2.2117 | 2.0592 | 28.1127 | 19.8027 | 16.5138 | 1.8855 | 0.58424 | 0.6087 | 1.2768 | 0.37137 | 21.8485 | 0.76052 | 36.6078 | 383.9093 | 0.029381
2 | 10:59:59 | 1147 | 0 | 30.8117 | 0.66124 | 298.2769 | 11.7842 | 1.4505 | 17.9073 | 1.042 | 2.5086 | 1 | 5.0172 | 15.1204 | 17.9073 | 13.123 | 399.5865 | 392.1999 | 5.8739 | 8.31 | 24.9469 | 35.2935 | 499.8732 | 1501.2245 | 231.1157 | 73.2491 | -3.1276 | 0.30189 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.797 | 0.011784 | 291.0573 | 288.2704 | 240.1959 | -2.2117 | 2.0592 | 28.1127 | 19.8027 | 16.5138 | 1.8855 | 0.58424 | 0.6087 | 1.2768 | 0.37137 | 21.8485 | 0.76052 | 36.6078 | 383.9093 | 0.029381
3 | 10:59:59 | 1147.5 | 0 | 30.783 | 0.6612 | 298.3351 | 11.7841 | 1.4506 | 17.9074 | 1.042 | 2.5086 | 1 | 5.0172 | 15.1195 | 17.9074 | 13.1228 | 399.5678 | 392.1869 | 5.873 | 8.3093 | 24.9448 | 35.2925 | 499.8452 | 1501.2844 | 231.0175 | 73.2492 | -3.1276 | 0.30189 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7967 | 0.011784 | 291.0574 | 288.2695 | 240.2055 | -2.2116 | 2.0592 | 28.1129 | 19.8036 | 16.5135 | 1.8854 | 0.58421 | 0.60865 | 1.2768 | 0.37135 | 21.8528 | 0.7607 | 36.6049 | 383.9039 | 0.029351
4 | 11:00:00 | 1148 | 0 | 30.9051 | 0.66104 | 297.9681 | 11.7869 | 1.4513 | 17.9127 | 1.042 | 2.5086 | 1 | 5.0172 | 15.119 | 17.9127 | 13.1235 | 399.5723 | 392.1658 | 5.8727 | 8.3095 | 24.9443 | 35.2949 | 499.8472 | 1501.2156 | 230.9653 | 73.2497 | -3.1276 | 0.30189 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7968 | 0.011787 | 291.0627 | 288.269 | 240.1945 | -2.213 | 2.0599 | 28.122 | 19.8125 | 16.5158 | 1.8857 | 0.58408 | 0.60867 | 1.277 | 0.37127 | 21.8261 | 0.7598 | 36.5949 | 383.85 | 0.029464
5 | 11:00:00 | 1148.5 | 0 | 30.8908 | 0.66071 | 297.9571 | 11.7802 | 1.4511 | 17.9101 | 1.042 | 2.5086 | 1 | 5.0172 | 15.1187 | 17.9101 | 13.1235 | 399.5556 | 392.1523 | 5.8717 | 8.3072 | 24.9406 | 35.2858 | 499.8289 | 1501.2393 | 231.0122 | 73.2499 | -3.1276 | 0.30189 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7966 | 0.01178 | 291.0601 | 288.2687 | 240.1983 | -2.2107 | 2.0596 | 28.1173 | 19.8101 | 16.5144 | 1.8855 | 0.58382 | 0.6085 | 1.277 | 0.3711 | 21.8253 | 0.7598 | 36.5885 | 383.8404 | 0.029446
6 | 11:00:01 | 1149 | 0 | 30.7882 | 0.66153 | 298.3638 | 11.792 | 1.4509 | 17.9091 | 1.042 | 2.5086 | 1 | 5.0172 | 15.1177 | 17.9091 | 13.1234 | 399.5787 | 392.1959 | 5.8696 | 8.3076 | 24.9334 | 35.2894 | 499.8375 | 1501.2245 | 231.0405 | 73.2494 | -3.1276 | 0.30189 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7967 | 0.011792 | 291.0591 | 288.2677 | 240.1959 | -2.2145 | 2.0595 | 28.1159 | 19.8083 | 16.5134 | 1.8854 | 0.58446 | 0.60853 | 1.2769 | 0.37151 | 21.855 | 0.76075 | 36.6002 | 383.9115 | 0.029352
7 | 11:00:01 | 1149.5 | 0 | 30.846 | 0.66143 | 298.2038 | 11.7888 | 1.4507 | 17.9067 | 1.042 | 2.5086 | 1 | 5.0172 | 15.1175 | 17.9067 | 13.1235 | 399.593 | 392.1982 | 5.8686 | 8.306 | 24.9295 | 35.2834 | 499.8206 | 1501.2231 | 231.0628 | 73.2496 | -3.1276 | 0.30189 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7965 | 0.011789 | 291.0567 | 288.2675 | 240.1957 | -2.2133 | 2.0592 | 28.1115 | 19.8055 | 16.5121 | 1.8852 | 0.58439 | 0.60841 | 1.2768 | 0.37146 | 21.8433 | 0.76034 | 36.5984 | 383.8983 | 0.029407
8 | 11:00:02 | 1150 | 0 | 30.9119 | 0.66153 | 298.0157 | 11.7942 | 1.4512 | 17.9097 | 1.042 | 2.5086 | 1 | 5.0172 | 15.1172 | 17.9097 | 13.1245 | 399.5851 | 392.1764 | 5.8666 | 8.305 | 24.9212 | 35.2796 | 499.8359 | 1501.1924 | 231.0384 | 73.2494 | -3.1276 | 0.30189 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7967 | 0.011794 | 291.0597 | 288.2672 | 240.1908 | -2.2153 | 2.0595 | 28.1169 | 19.8119 | 16.5135 | 1.8854 | 0.58447 | 0.60834 | 1.2771 | 0.37151 | 21.8295 | 0.7599 | 36.591 | 383.8587 | 0.029466
9 | 11:00:02 | 1150.5 | 0 | 30.52 | 0.66172 | 299.1238 | 11.796 | 1.4511 | 17.9076 | 1.042 | 2.5086 | 1 | 5.0172 | 15.1167 | 17.9076 | 13.1246 | 399.5527 | 392.2255 | 5.8646 | 8.3034 | 24.9137 | 35.2738 | 499.844 | 1501.1982 | 230.9824 | 73.2493 | -3.1276 | 0.30189 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7967 | 0.011796 | 291.0576 | 288.2667 | 240.1917 | -2.2157 | 2.0593 | 28.1132 | 19.8099 | 16.5121 | 1.8852 | 0.58462 | 0.60822 | 1.277 | 0.37161 | 21.9106 | 0.76263 | 36.5916 | 384.0133 | 0.029082
10 | 11:00:03 | 1151 | 0 | 30.5998 | 0.66223 | 298.9358 | 11.7993 | 1.4505 | 17.9019 | 1.042 | 2.5086 | 1 | 5.0172 | 15.1166 | 17.9019 | 13.1244 | 399.5323 | 392.1882 | 5.8614 | 8.3009 | 24.9003 | 35.2635 | 499.8381 | 1501.1661 | 231.0118 | 73.2492 | -3.1276 | 0.30189 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7967 | 0.011799 | 291.0519 | 288.2666 | 240.1866 | -2.2164 | 2.0585 | 28.1032 | 19.8023 | 16.5093 | 1.8849 | 0.58501 | 0.60804 | 1.2769 | 0.37186 | 21.8968 | 0.76223 | 36.5993 | 383.9545 | 0.029168
11 | 11:00:03 | 1151.5 | 0 | 30.4855 | 0.66235 | 299.2506 | 11.8028 | 1.4507 | 17.9019 | 1.042 | 2.5086 | 1 | 5.0172 | 15.1169 | 17.9019 | 13.1244 | 399.5083 | 392.1882 | 5.8581 | 8.2982 | 24.8856 | 35.2511 | 499.8682 | 1501.1652 | 231.0567 | 73.2491 | -3.1276 | 0.30189 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.797 | 0.011803 | 291.0519 | 288.2669 | 240.1864 | -2.2175 | 2.0585 | 28.1031 | 19.8049 | 16.5094 | 1.8849 | 0.58511 | 0.60783 | 1.2771 | 0.37193 | 21.9198 | 0.76303 | 36.592 | 383.9853 | 0.029051
12 | 11:00:04 | 1152 | 0 | 30.5016 | 0.66229 | 299.2165 | 11.8012 | 1.4506 | 17.8991 | 1.042 | 2.5086 | 1 | 5.0172 | 15.117 | 17.8991 | 13.1236 | 399.5265 | 392.2032 | 5.8546 | 8.2943 | 24.8703 | 35.2343 | 499.8722 | 1501.1804 | 231.1772 | 73.249 | -3.1276 | 0.30189 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.797 | 0.011801 | 291.0491 | 288.267 | 240.1889 | -2.2167 | 2.0582 | 28.0982 | 19.8039 | 16.508 | 1.8848 | 0.58506 | 0.60755 | 1.2772 | 0.3719 | 21.9173 | 0.76291 | 36.5838 | 383.996 | 0.029059
13 | 11:00:04 | 1152.5 | 0 | 30.4612 | 0.6627 | 299.3803 | 11.8106 | 1.451 | 17.9006 | 1.042 | 2.5086 | 1 | 5.0172 | 15.1164 | 17.9006 | 13.1239 | 399.5331 | 392.2177 | 5.8507 | 8.2922 | 24.8548 | 35.2269 | 499.8929 | 1501.1694 | 231.1685 | 73.2489 | -3.1276 | 0.30189 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7972 | 0.011811 | 291.0506 | 288.2664 | 240.1871 | -2.2199 | 2.0584 | 28.1009 | 19.8087 | 16.5085 | 1.8848 | 0.58538 | 0.6074 | 1.2774 | 0.3721 | 21.9293 | 0.7633 | 36.5794 | 384.0213 | 0.029015
14 | 11:00:05 | 1153 | 0 | 30.5009 | 0.66212 | 299.2057 | 11.8065 | 1.4516 | 17.9032 | 1.042 | 2.5086 | 1 | 5.0172 | 15.1159 | 17.9032 | 13.1239 | 399.54 | 392.2169 | 5.8477 | 8.2883 | 24.8429 | 35.2115 | 499.9126 | 1501.1522 | 231.192 | 73.2492 | -3.1276 | 0.30189 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7974 | 0.011806 | 291.0532 | 288.2659 | 240.1844 | -2.2188 | 2.0587 | 28.1055 | 19.8172 | 16.5096 | 1.8849 | 0.58493 | 0.60711 | 1.2778 | 0.37181 | 21.9166 | 0.76286 | 36.5558 | 384.0099 | 0.029035
15 | 11:00:06 | 1153.5 | 0 | 30.6952 | 0.66157 | 298.6323 | 11.8011 | 1.452 | 17.9037 | 1.042 | 2.5086 | 1 | 5.0172 | 15.1155 | 17.9037 | 13.124 | 399.5841 | 392.2213 | 5.8444 | 8.2838 | 24.8294 | 35.1931 | 499.9348 | 1501.1448 | 231.2344 | 73.2492 | -3.1276 | 0.30189 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7976 | 0.011801 | 291.0537 | 288.2655 | 240.1832 | -2.2172 | 2.0588 | 28.1064 | 19.8226 | 16.5096 | 1.8849 | 0.5845 | 0.60678 | 1.2782 | 0.37153 | 21.8746 | 0.76139 | 36.5345 | 383.962 | 0.029207 | 30.7009 | 15.1177 | 17.9059 | #DIV/0! | 1150.0333 | 0 | 30.7009 | 0.66166 | 298.6095 | 11.7941 | 1.451 | 17.9059 | 1.042 | 2.5086 | 1 | 5.0172 | 15.1177 | 17.9059 | 13.1237 | 399.5602 | 392.1957 | 5.8634 | 8.3017 | 24.907 | 35.2644 | 499.8616 | 1501.2003 | 231.0794 | 73.2493 | -3.1276 | 0.30189 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7969 | 0.011794 | 291.0559 | 288.2677 | 240.192 | -2.2149 | 2.059 | 28.1102 | 19.8085 | 16.5118 | 1.8852 | 0.58457 | 0.60809 | 1.2771 | 0.37158 | 21.8729 | 0.76138 | 36.5887 | 383.9349 | 0.029258
Remark= | "11:00:12 Coolers: Tblock -> 18.00 C"
Remark= | "11:01:56 Flow: Fixed -> 500 umol/s"
Remark= | "11:03:40 Flow: Fixed -> 500 umol/s"
Remark= | "11:04:46 Flow: Fixed -> 500 umol/s"
16 | 11:05:48 | 1496 | 0 | 31.2491 | 0.51503 | 275.9046 | 10.4085 | 1.596 | 20.5322 | 1.042 | 2.5086 | 1 | 5.0172 | 19.0445 | 20.5322 | 18.0088 | 400.6543 | 393.2862 | 9.1725 | 11.3179 | 30.384 | 37.4905 | 499.8426 | 1500.1982 | 235.4917 | 73.2499 | -3.6549 | 0.28777 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7967 | 0.010408 | 293.6822 | 292.1945 | 240.0317 | -1.681 | 2.4251 | 33.1069 | 21.789 | 19.7884 | 2.316 | 0.46708 | 0.82903 | 1.487 | 0.29589 | 20.21 | 0.70154 | 38.957 | 384.8779 | 0.03163
17 | 11:05:48 | 1496 | 0 | 31.2491 | 0.51503 | 275.9046 | 10.4085 | 1.596 | 20.5322 | 1.042 | 2.5086 | 1 | 5.0172 | 19.0445 | 20.5322 | 18.0088 | 400.6543 | 393.2862 | 9.1725 | 11.3179 | 30.384 | 37.4905 | 499.8426 | 1500.1982 | 235.4917 | 73.2499 | -3.6549 | 0.28777 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7967 | 0.010408 | 293.6822 | 292.1945 | 240.0317 | -1.681 | 2.4251 | 33.1069 | 21.789 | 19.7884 | 2.316 | 0.46708 | 0.82903 | 1.487 | 0.29589 | 20.21 | 0.70154 | 38.957 | 384.8779 | 0.03163
18 | 11:05:48 | 1496.5 | 0 | 31.6343 | 0.51493 | 274.5856 | 10.4029 | 1.5955 | 20.5303 | 1.042 | 2.5086 | 1 | 5.0172 | 19.0451 | 20.5303 | 18.0086 | 400.7086 | 393.2608 | 9.1776 | 11.3217 | 30.3997 | 37.5021 | 499.8465 | 1500.1858 | 235.4369 | 73.2502 | -3.6549 | 0.28777 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7968 | 0.010403 | 293.6803 | 292.1951 | 240.0297 | -1.6791 | 2.4248 | 33.1029 | 21.7812 | 19.7877 | 2.3159 | 0.467 | 0.82932 | 1.4866 | 0.29583 | 20.1135 | 0.69823 | 38.9705 | 384.7488 | 0.032042
19 | 11:05:49 | 1497 | 0 | 31.7569 | 0.51492 | 274.1927 | 10.3975 | 1.5947 | 20.5275 | 1.042 | 2.5086 | 1 | 5.0172 | 19.0449 | 20.5275 | 18.0082 | 400.7455 | 393.2724 | 9.1832 | 11.3264 | 30.4191 | 37.5181 | 499.8328 | 1500.1687 | 235.3721 | 73.2507 | -3.6549 | 0.28777 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7966 | 0.010398 | 293.6775 | 292.1949 | 240.027 | -1.6772 | 2.4244 | 33.0968 | 21.7705 | 19.7862 | 2.3157 | 0.46699 | 0.82966 | 1.4861 | 0.29583 | 20.0848 | 0.69721 | 38.9892 | 384.7274 | 0.032183
20 | 11:05:50 | 1497.5 | 0 | 31.8588 | 0.51411 | 273.7193 | 10.381 | 1.5944 | 20.5276 | 1.042 | 2.5086 | 1 | 5.0172 | 19.0457 | 20.5276 | 18.0083 | 400.782 | 393.2893 | 9.1908 | 11.3304 | 30.4425 | 37.5294 | 499.8601 | 1500.1287 | 235.3549 | 73.2506 | -3.6549 | 0.28777 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7969 | 0.010381 | 293.6776 | 292.1957 | 240.0206 | -1.672 | 2.4244 | 33.0972 | 21.7668 | 19.7867 | 2.3158 | 0.46632 | 0.82996 | 1.4858 | 0.2954 | 20.0501 | 0.69597 | 38.9911 | 384.7169 | 0.032289
21 | 11:05:50 | 1498 | 0 | 32.0475 | 0.5135 | 272.9874 | 10.3662 | 1.5939 | 20.5261 | 1.042 | 2.5086 | 1 | 5.0172 | 19.0459 | 20.5261 | 18.0079 | 400.8285 | 393.2973 | 9.1984 | 11.335 | 30.4675 | 37.5445 | 499.8362 | 1500.1396 | 235.3681 | 73.251 | -3.6549 | 0.28777 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7967 | 0.010366 | 293.6761 | 292.1959 | 240.0223 | -1.6671 | 2.4242 | 33.094 | 21.759 | 19.786 | 2.3157 | 0.46582 | 0.8303 | 1.4854 | 0.29508 | 19.9966 | 0.6941 | 39.0004 | 384.6741 | 0.032491
22 | 11:05:51 | 1498.5 | 0 | 32.3689 | 0.51335 | 271.8846 | 10.3608 | 1.5934 | 20.526 | 1.042 | 2.5086 | 1 | 5.0172 | 19.047 | 20.526 | 18.0074 | 400.8884 | 393.2907 | 9.2051 | 11.3406 | 30.4873 | 37.5602 | 499.8343 | 1500.1444 | 235.331 | 73.2503 | -3.6549 | 0.28777 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7966 | 0.010361 | 293.676 | 292.197 | 240.0231 | -1.6654 | 2.4242 | 33.0941 | 21.7535 | 19.7865 | 2.3158 | 0.4657 | 0.8307 | 1.4851 | 0.295 | 19.9156 | 0.69131 | 39.0141 | 384.581 | 0.032837
23 | 11:05:51 | 1499 | 0 | 32.3843 | 0.51293 | 271.7954 | 10.3474 | 1.5926 | 20.5229 | 1.042 | 2.5086 | 1 | 5.0172 | 19.048 | 20.5229 | 18.0068 | 400.9301 | 393.3302 | 9.2135 | 11.3462 | 30.5132 | 37.5763 | 499.836 | 1500.1464 | 235.244 | 73.2502 | -3.6549 | 0.28777 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7967 | 0.010347 | 293.6729 | 292.198 | 240.0234 | -1.6608 | 2.4237 | 33.0878 | 21.7416 | 19.7855 | 2.3156 | 0.46535 | 0.83111 | 1.4845 | 0.29478 | 19.9091 | 0.69101 | 39.0313 | 384.6164 | 0.032864
24 | 11:05:52 | 1499.5 | 0 | 32.5951 | 0.51225 | 270.9547 | 10.3301 | 1.5918 | 20.5205 | 1.042 | 2.5086 | 1 | 5.0172 | 19.0484 | 20.5205 | 18.0073 | 400.9607 | 393.3184 | 9.2227 | 11.3518 | 30.5427 | 37.5938 | 499.8405 | 1500.1501 | 235.3506 | 73.25 | -3.6549 | 0.28777 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7967 | 0.01033 | 293.6705 | 292.1984 | 240.024 | -1.6551 | 2.4233 | 33.083 | 21.7312 | 19.7845 | 2.3155 | 0.4648 | 0.83152 | 1.484 | 0.29442 | 19.8474 | 0.68889 | 39.044 | 384.5478 | 0.033095
25 | 11:05:52 | 1500 | 0 | 32.5266 | 0.51188 | 271.1229 | 10.3204 | 1.5914 | 20.5203 | 1.042 | 2.5086 | 1 | 5.0172 | 19.049 | 20.5203 | 18.0073 | 400.9552 | 393.3283 | 9.2305 | 11.3575 | 30.5677 | 37.6114 | 499.8666 | 1500.1376 | 235.2658 | 73.2498 | -3.6549 | 0.28777 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.797 | 0.01032 | 293.6703 | 292.199 | 240.022 | -1.652 | 2.4233 | 33.0826 | 21.7251 | 19.7846 | 2.3155 | 0.46449 | 0.83194 | 1.4836 | 0.29422 | 19.8597 | 0.6893 | 39.0562 | 384.5762 | 0.033033
26 | 11:05:53 | 1500.5 | 0 | 32.0743 | 0.51093 | 272.4838 | 10.3002 | 1.5909 | 20.5204 | 1.042 | 2.5086 | 1 | 5.0172 | 19.0495 | 20.5204 | 18.008 | 400.89 | 393.3593 | 9.241 | 11.3637 | 30.6011 | 37.6306 | 499.886 | 1500.0958 | 235.2585 | 73.2499 | -3.6549 | 0.28777 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7971 | 0.0103 | 293.6704 | 292.1995 | 240.0153 | -1.6457 | 2.4233 | 33.0827 | 21.719 | 19.785 | 2.3155 | 0.46371 | 0.83239 | 1.4832 | 0.29372 | 19.9594 | 0.69271 | 39.0628 | 384.7289 | 0.032566
27 | 11:05:53 | 1501 | 0 | 31.9922 | 0.51006 | 272.5774 | 10.285 | 1.591 | 20.5241 | 1.042 | 2.5086 | 1 | 5.0172 | 19.0501 | 20.5241 | 18.0085 | 400.8578 | 393.3457 | 9.2507 | 11.3702 | 30.6321 | 37.6505 | 499.9052 | 1500.0646 | 235.1597 | 73.2494 | -3.6549 | 0.28777 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7973 | 0.010285 | 293.6741 | 292.2001 | 240.0103 | -1.6412 | 2.4239 | 33.0905 | 21.7203 | 19.7871 | 2.3159 | 0.46299 | 0.83286 | 1.483 | 0.29326 | 19.9661 | 0.69297 | 39.0636 | 384.7374 | 0.032483
28 | 11:05:54 | 1502 | 0 | 32.1369 | 0.50946 | 271.9697 | 10.2699 | 1.5904 | 20.5267 | 1.042 | 2.5086 | 1 | 5.0172 | 19.0511 | 20.5267 | 18.0095 | 400.8772 | 393.3366 | 9.2679 | 11.3842 | 30.6872 | 37.6945 | 499.926 | 1500.1091 | 235.049 | 73.2495 | -3.6549 | 0.28777 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7975 | 0.01027 | 293.6767 | 292.2011 | 240.0175 | -1.6365 | 2.4243 | 33.0959 | 21.7117 | 19.7889 | 2.3161 | 0.46249 | 0.83389 | 1.4822 | 0.29294 | 19.9217 | 0.69144 | 39.0903 | 384.6893 | 0.032656
29 | 11:05:54 | 1502.5 | 0 | 31.862 | 0.50823 | 272.689 | 10.2454 | 1.5901 | 20.5271 | 1.042 | 2.5086 | 1 | 5.0172 | 19.0508 | 20.5271 | 18.01 | 400.8519 | 393.3706 | 9.2782 | 11.3894 | 30.7217 | 37.7123 | 499.9339 | 1500.1699 | 235.0285 | 73.2496 | -3.6549 | 0.28777 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7976 | 0.010245 | 293.6771 | 292.2008 | 240.0272 | -1.6287 | 2.4243 | 33.0967 | 21.7073 | 19.789 | 2.3161 | 0.46148 | 0.83427 | 1.4819 | 0.29229 | 19.9744 | 0.69321 | 39.0903 | 384.7973 | 0.032368
30 | 11:05:55 | 1503 | 0 | 31.9639 | 0.50762 | 272.2019 | 10.2313 | 1.5896 | 20.5267 | 1.042 | 2.5086 | 1 | 5.0172 | 19.0506 | 20.5267 | 18.0106 | 400.841 | 393.3396 | 9.2865 | 11.3948 | 30.7497 | 37.7308 | 499.9288 | 1500.1592 | 235.1413 | 73.2497 | -3.6549 | 0.28777 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7976 | 0.010231 | 293.6767 | 292.2006 | 240.0255 | -1.6243 | 2.4242 | 33.0957 | 21.7009 | 19.7886 | 2.3161 | 0.46098 | 0.83466 | 1.4814 | 0.29197 | 19.9387 | 0.69203 | 39.0997 | 384.739 | 0.032484 | 31.98 | 19.0477 | 20.526 | #DIV/0! | 1499.1333 | 0 | 31.98 | 0.51228 | 272.9982 | 10.337 | 1.5928 | 20.526 | 1.042 | 2.5086 | 1 | 5.0172 | 19.0477 | 20.526 | 18.0084 | 400.8284 | 393.3141 | 9.2194 | 11.3498 | 30.5333 | 37.589 | 499.8679 | 1500.1464 | 235.2896 | 73.2501 | -3.6549 | 0.28777 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.797 | 0.010337 | 293.676 | 292.1977 | 240.0234 | -1.6578 | 2.4242 | 33.0942 | 21.7444 | 19.7869 | 2.3158 | 0.46482 | 0.83138 | 1.4844 | 0.29443 | 19.9971 | 0.6941 | 39.0278 | 384.7091 | 0.032443
Remark= | "11:06:03 Coolers: Tblock -> 23.00 C"
Remark= | "11:07:54 Flow: Fixed -> 500 umol/s"
Remark= | "11:09:55 Flow: Fixed -> 500 umol/s"
Remark= | "11:12:14 Flow: Fixed -> 500 umol/s"
31 | 11:13:22 | 1951 | 0 | 31.9209 | 0.40943 | 244.4856 | 10.3569 | 1.949 | 23.9216 | 1.042 | 2.5086 | 1 | 5.0172 | 23.4605 | 23.9216 | 23.0928 | 399.2203 | 391.7196 | 11.9606 | 14.0894 | 30.2145 | 35.5921 | 499.8338 | 1500.3556 | 240.3418 | 73.2406 | -3.741 | 0.2662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7966 | 0.010357 | 297.0716 | 296.6105 | 240.0569 | -1.5821 | 2.9809 | 40.7 | 26.6106 | 23.691 | 2.9398 | 0.37854 | 1.0319 | 1.9079 | 0.23918 | 17.9063 | 0.62413 | 37.8479 | 383.1305 | 0.031533
32 | 11:13:22 | 1951 | 0 | 31.9209 | 0.40943 | 244.4856 | 10.3569 | 1.949 | 23.9216 | 1.042 | 2.5086 | 1 | 5.0172 | 23.4605 | 23.9216 | 23.0928 | 399.2203 | 391.7196 | 11.9606 | 14.0894 | 30.2145 | 35.5921 | 499.8338 | 1500.3556 | 240.3418 | 73.2406 | -3.741 | 0.2662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7966 | 0.010357 | 297.0716 | 296.6105 | 240.0569 | -1.5821 | 2.9809 | 40.7 | 26.6106 | 23.691 | 2.9398 | 0.37854 | 1.0319 | 1.9079 | 0.23918 | 17.9063 | 0.62413 | 37.8479 | 383.1305 | 0.031533
33 | 11:13:23 | 1951.5 | 0 | 31.8811 | 0.40991 | 244.8055 | 10.3652 | 1.9485 | 23.9204 | 1.042 | 2.5086 | 1 | 5.0172 | 23.46 | 23.9204 | 23.092 | 399.2244 | 391.7314 | 11.963 | 14.0934 | 30.2215 | 35.6037 | 499.8341 | 1500.3351 | 240.3015 | 73.2409 | -3.741 | 0.2662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7966 | 0.010365 | 297.0704 | 296.61 | 240.0536 | -1.5847 | 2.9807 | 40.697 | 26.6035 | 23.6902 | 2.9397 | 0.37895 | 1.0322 | 1.9075 | 0.23944 | 17.9298 | 0.62493 | 37.8654 | 383.153 | 0.031507
34 | 11:13:23 | 1952 | 0 | 31.7746 | 0.41062 | 245.4343 | 10.3798 | 1.9481 | 23.9192 | 1.042 | 2.5086 | 1 | 5.0172 | 23.4601 | 23.9192 | 23.0921 | 399.1819 | 391.7098 | 11.9624 | 14.0959 | 30.22 | 35.6097 | 499.8306 | 1500.3096 | 240.3569 | 73.2411 | -3.741 | 0.2662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7966 | 0.01038 | 297.0692 | 296.6101 | 240.0495 | -1.5892 | 2.9805 | 40.694 | 26.5981 | 23.6897 | 2.9396 | 0.37956 | 1.0324 | 1.9072 | 0.23983 | 17.9759 | 0.62657 | 37.8818 | 383.1601 | 0.031415
35 | 11:13:24 | 1952.5 | 0 | 31.7516 | 0.41138 | 245.7509 | 10.3968 | 1.9479 | 23.9193 | 1.042 | 2.5086 | 1 | 5.0172 | 23.4603 | 23.9193 | 23.092 | 399.1761 | 391.7077 | 11.9609 | 14.0978 | 30.216 | 35.6143 | 499.848 | 1500.3881 | 240.4212 | 73.2414 | -3.741 | 0.2662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7968 | 0.010397 | 297.0693 | 296.6103 | 240.0621 | -1.5945 | 2.9805 | 40.694 | 26.5962 | 23.6898 | 2.9396 | 0.38021 | 1.0325 | 1.9071 | 0.24025 | 17.9991 | 0.62738 | 37.8948 | 383.1641 | 0.031402
36 | 11:13:24 | 1953 | 0 | 31.4935 | 0.41205 | 246.9874 | 10.4117 | 1.9478 | 23.919 | 1.042 | 2.5086 | 1 | 5.0172 | 23.4608 | 23.919 | 23.0918 | 399.1091 | 391.6938 | 11.9598 | 14.0996 | 30.2121 | 35.6176 | 499.8748 | 1500.3895 | 240.3803 | 73.2411 | -3.741 | 0.2662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.797 | 0.010412 | 297.069 | 296.6108 | 240.0623 | -1.5991 | 2.9804 | 40.6934 | 26.5938 | 23.6899 | 2.9396 | 0.38078 | 1.0327 | 1.907 | 0.24061 | 18.0896 | 0.63056 | 37.9072 | 383.2196 | 0.031153
37 | 11:13:25 | 1953.5 | 0 | 31.2981 | 0.41237 | 247.8623 | 10.418 | 1.9476 | 23.9183 | 1.042 | 2.5086 | 1 | 5.0172 | 23.4607 | 23.9183 | 23.0919 | 399.056 | 391.6809 | 11.9594 | 14.1006 | 30.2115 | 35.6203 | 499.8759 | 1500.3882 | 240.3908 | 73.2412 | -3.741 | 0.2662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.797 | 0.010418 | 297.0683 | 296.6107 | 240.0621 | -1.6011 | 2.9803 | 40.6917 | 26.5911 | 23.6895 | 2.9396 | 0.38105 | 1.0327 | 1.9068 | 0.24079 | 18.1537 | 0.63282 | 37.9144 | 383.2594 | 0.030962
38 | 11:13:26 | 1954 | 0 | 31.1274 | 0.4123 | 248.543 | 10.4175 | 1.9478 | 23.9198 | 1.042 | 2.5086 | 1 | 5.0172 | 23.4604 | 23.9198 | 23.0927 | 399.0297 | 391.6906 | 11.9603 | 14.1012 | 30.2142 | 35.6225 | 499.9027 | 1500.3652 | 240.3688 | 73.2413 | -3.741 | 0.2662 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7973 | 0.010417 | 297.0698 | 296.6104 | 240.0584 | -1.6011 | 2.9806 | 40.6954 | 26.5942 | 23.6901 | 2.9397 | 0.38099 | 1.0328 | 1.9069 | 0.24075 | 18.2036 | 0.63454 | 37.912 | 383.315 | 0.030787
39 | 11:13:26 | 1954.5 | 0 | 30.9695 | 0.41219 | 249.143 | 10.4149 | 1.9478 | 23.92 | 1.042 | 2.5086 | 1 | 5.0172 | 23.4614 | 23.92 | 23.0932 | 398.9831 | 391.6774 | 11.9616 | 14.1019 | 30.2158 | 35.6223 | 499.9178 | 1500.3362 | 240.3067 | 73.2415 | -3.741 | 0.2662 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7974 | 0.010415 | 297.07 | 296.6114 | 240.0538 | -1.6002 | 2.9806 | 40.6956 | 26.5937 | 23.6907 | 2.9398 | 0.3809 | 1.0328 | 1.9069 | 0.24069 | 18.2476 | 0.63609 | 37.9122 | 383.3443 | 0.030628
40 | 11:13:27 | 1955 | 0 | 31.1244 | 0.4122 | 248.4696 | 10.4137 | 1.9475 | 23.9187 | 1.042 | 2.5086 | 1 | 5.0172 | 23.4611 | 23.9187 | 23.0927 | 398.9655 | 391.6277 | 11.9623 | 14.1024 | 30.2179 | 35.6239 | 499.9162 | 1500.3412 | 240.2724 | 73.2413 | -3.741 | 0.2662 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7974 | 0.010414 | 297.0687 | 296.6111 | 240.0546 | -1.5998 | 2.9804 | 40.6926 | 26.5902 | 23.6899 | 2.9396 | 0.38091 | 1.0329 | 1.9068 | 0.24069 | 18.1982 | 0.63445 | 37.9159 | 383.2528 | 0.030792
41 | 11:13:27 | 1955.5 | 0 | 31.169 | 0.41155 | 248.1012 | 10.3993 | 1.9476 | 23.9191 | 1.042 | 2.5086 | 1 | 5.0172 | 23.4623 | 23.9191 | 23.0932 | 398.9748 | 391.629 | 11.9646 | 14.1017 | 30.2215 | 35.6196 | 499.9241 | 1500.3461 | 240.3116 | 73.2411 | -3.741 | 0.2662 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7975 | 0.010399 | 297.0691 | 296.6123 | 240.0554 | -1.5952 | 2.9805 | 40.6938 | 26.5921 | 23.6907 | 2.9398 | 0.38035 | 1.0328 | 1.907 | 0.24034 | 18.1712 | 0.63351 | 37.9058 | 383.2422 | 0.030829
42 | 11:13:28 | 1956 | 0 | 31.0697 | 0.41109 | 248.4153 | 10.3877 | 1.9475 | 23.9184 | 1.042 | 2.5086 | 1 | 5.0172 | 23.4625 | 23.9184 | 23.0929 | 398.9964 | 391.6724 | 11.9673 | 14.1019 | 30.2278 | 35.6196 | 499.943 | 1500.3354 | 240.3461 | 73.2408 | -3.741 | 0.2662 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7977 | 0.010388 | 297.0684 | 296.6125 | 240.0537 | -1.5914 | 2.9803 | 40.6921 | 26.5901 | 23.6905 | 2.9397 | 0.37996 | 1.0328 | 1.9069 | 0.24009 | 18.1941 | 0.63424 | 37.9026 | 383.3123 | 0.030722
43 | 11:13:28 | 1957 | 0 | 31.6623 | 0.41085 | 245.9054 | 10.3803 | 1.9471 | 23.9182 | 1.042 | 2.5086 | 1 | 5.0172 | 23.463 | 23.9182 | 23.093 | 399.0929 | 391.6459 | 11.9732 | 14.1063 | 30.2416 | 35.6295 | 499.9321 | 1500.2982 | 240.2335 | 73.2405 | -3.741 | 0.2662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7976 | 0.01038 | 297.0682 | 296.613 | 240.0477 | -1.5891 | 2.9803 | 40.6919 | 26.5856 | 23.6906 | 2.9398 | 0.37975 | 1.0332 | 1.9066 | 0.23996 | 18.0102 | 0.62788 | 37.91 | 383.1264 | 0.03133
44 | 11:13:29 | 1957.5 | 0 | 31.6769 | 0.41059 | 245.7811 | 10.3735 | 1.947 | 23.9177 | 1.042 | 2.5086 | 1 | 5.0172 | 23.4629 | 23.9177 | 23.093 | 399.1075 | 391.6582 | 11.9753 | 14.107 | 30.247 | 35.6312 | 499.9435 | 1500.3157 | 240.2088 | 73.2403 | -3.741 | 0.2662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7977 | 0.010374 | 297.0677 | 296.6129 | 240.0505 | -1.5869 | 2.9802 | 40.6908 | 26.5838 | 23.6903 | 2.9397 | 0.37953 | 1.0332 | 1.9065 | 0.23981 | 18.0011 | 0.62754 | 37.9096 | 383.1347 | 0.031343
45 | 11:13:30 | 1958.5 | 0 | 31.864 | 0.41089 | 245.1446 | 10.3796 | 1.9468 | 23.919 | 1.042 | 2.5086 | 1 | 5.0172 | 23.4645 | 23.919 | 23.0933 | 399.1863 | 391.6974 | 11.9793 | 14.1122 | 30.2543 | 35.6412 | 499.9412 | 1500.3464 | 240.4196 | 73.2406 | -3.741 | 0.2662 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7977 | 0.01038 | 297.069 | 296.6145 | 240.0554 | -1.5888 | 2.9804 | 40.6937 | 26.5815 | 23.6917 | 2.94 | 0.37978 | 1.0336 | 1.9064 | 0.23998 | 17.9545 | 0.62585 | 37.9225 | 383.1235 | 0.03154 | 31.5136 | 23.4614 | 23.9194 | #DIV/0! | 1954.1667 | 0 | 31.5136 | 0.41112 | 246.621 | 10.3901 | 1.9478 | 23.9194 | 1.042 | 2.5086 | 1 | 5.0172 | 23.4614 | 23.9194 | 23.0926 | 399.1016 | 391.6841 | 11.9647 | 14.1 | 30.2233 | 35.6173 | 499.8901 | 1500.3471 | 240.3335 | 73.241 | -3.741 | 0.2662 | 0.88889 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7972 | 0.01039 | 297.0694 | 296.6114 | 240.0555 | -1.5924 | 2.9805 | 40.6944 | 26.5943 | 23.6904 | 2.9397 | 0.37999 | 1.0327 | 1.907 | 0.24011 | 18.0628 | 0.62964 | 37.8967 | 383.2046 | 0.031165
Remark= | "11:13:40 Coolers: Tblock -> 28.00 C"
Remark= | "11:16:19 Flow: Fixed -> 500 umol/s"
Remark= | "11:18:36 Flow: Fixed -> 500 umol/s"
46 | 11:21:21 | 2430 | 0 | 30.6394 | 0.37764 | 240.1775 | 10.5425 | 2.1243 | 26.7656 | 1.042 | 2.5086 | 1 | 5.0172 | 27.5977 | 26.7656 | 27.968 | 400.6711 | 393.4203 | 17.0424 | 19.1976 | 33.6705 | 37.9286 | 499.9423 | 1499.2158 | 245.9676 | 73.2338 | -3.7115 | 0.23129 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7977 | 0.010543 | 299.9156 | 300.7477 | 239.8745 | -1.5319 | 3.5302 | 48.2041 | 29.0065 | 27.1816 | 3.6175 | 0.35121 | 1.4059 | 2.2116 | 0.22173 | 17.5891 | 0.61049 | 42.0861 | 385.1761 | 0.033478
47 | 11:21:22 | 2430 | 0 | 30.6394 | 0.37764 | 240.1775 | 10.5425 | 2.1243 | 26.7656 | 1.042 | 2.5086 | 1 | 5.0172 | 27.5977 | 26.7656 | 27.968 | 400.6711 | 393.4203 | 17.0424 | 19.1976 | 33.6705 | 37.9286 | 499.9423 | 1499.2158 | 245.9676 | 73.2338 | -3.7115 | 0.23129 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7977 | 0.010543 | 299.9156 | 300.7477 | 239.8745 | -1.5319 | 3.5302 | 48.2041 | 29.0065 | 27.1816 | 3.6175 | 0.35121 | 1.4059 | 2.2116 | 0.22173 | 17.5891 | 0.61049 | 42.0861 | 385.1761 | 0.033478
48 | 11:21:22 | 2430.5 | 0 | 30.5624 | 0.37782 | 240.5613 | 10.5497 | 2.1248 | 26.7653 | 1.042 | 2.5086 | 1 | 5.0172 | 27.5983 | 26.7653 | 27.9679 | 400.6452 | 393.4095 | 17.0327 | 19.1896 | 33.65 | 37.9111 | 499.9162 | 1499.2601 | 246.0603 | 73.2335 | -3.7115 | 0.23129 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7974 | 0.01055 | 299.9153 | 300.7483 | 239.8816 | -1.534 | 3.5301 | 48.2035 | 29.0139 | 27.1818 | 3.6176 | 0.35136 | 1.4053 | 2.2122 | 0.22183 | 17.6171 | 0.61148 | 42.0727 | 385.1859 | 0.033382
49 | 11:21:23 | 2431 | 0 | 30.5447 | 0.3778 | 240.6224 | 10.5497 | 2.1249 | 26.7627 | 1.042 | 2.5086 | 1 | 5.0172 | 27.5974 | 26.7627 | 27.9681 | 400.63 | 393.3983 | 17.0241 | 19.1808 | 33.635 | 37.8962 | 499.9372 | 1499.2859 | 246.1216 | 73.2338 | -3.7115 | 0.23129 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7976 | 0.01055 | 299.9127 | 300.7474 | 239.8857 | -1.5339 | 3.5296 | 48.1961 | 29.0153 | 27.18 | 3.6172 | 0.35134 | 1.4047 | 2.2125 | 0.22182 | 17.6217 | 0.61165 | 42.0615 | 385.1795 | 0.033355
50 | 11:21:23 | 2431.5 | 0 | 30.7129 | 0.37784 | 239.9038 | 10.5522 | 2.1252 | 26.7615 | 1.042 | 2.5086 | 1 | 5.0172 | 27.5984 | 26.7615 | 27.9684 | 400.6763 | 393.4099 | 17.0161 | 19.1732 | 33.617 | 37.8786 | 499.9745 | 1499.2908 | 246.1057 | 73.2337 | -3.7115 | 0.23129 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.798 | 0.010552 | 299.9115 | 300.7484 | 239.8865 | -1.5345 | 3.5293 | 48.1928 | 29.0196 | 27.18 | 3.6172 | 0.35138 | 1.4041 | 2.213 | 0.22184 | 17.569 | 0.60981 | 42.0496 | 385.1458 | 0.033532
51 | 11:21:24 | 2432 | 0 | 30.823 | 0.37807 | 239.5414 | 10.5579 | 2.1251 | 26.7585 | 1.042 | 2.5086 | 1 | 5.0172 | 27.5984 | 26.7585 | 27.9685 | 400.7433 | 393.4534 | 17.0074 | 19.1657 | 33.5999 | 37.8638 | 499.9771 | 1499.303 | 246.0933 | 73.2337 | -3.7115 | 0.23129 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.798 | 0.010558 | 299.9085 | 300.7484 | 239.8885 | -1.536 | 3.5287 | 48.1842 | 29.0185 | 27.1785 | 3.6169 | 0.35158 | 1.4036 | 2.2133 | 0.22197 | 17.5425 | 0.60882 | 42.0445 | 385.1597 | 0.033647
52 | 11:21:25 | 2432.5 | 0 | 30.8218 | 0.37851 | 239.7087 | 10.5686 | 2.125 | 26.7554 | 1.042 | 2.5086 | 1 | 5.0172 | 27.5974 | 26.7554 | 27.9686 | 400.7595 | 393.4687 | 16.9977 | 19.1583 | 33.5829 | 37.8516 | 499.9648 | 1499.3285 | 246.1003 | 73.2339 | -3.7115 | 0.23129 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7979 | 0.010569 | 299.9054 | 300.7474 | 239.8926 | -1.5392 | 3.5281 | 48.1753 | 29.0171 | 27.1764 | 3.6164 | 0.35196 | 1.403 | 2.2134 | 0.22221 | 17.5548 | 0.60922 | 42.0418 | 385.1753 | 0.033642
53 | 11:21:25 | 2433 | 0 | 30.9304 | 0.37865 | 239.2886 | 10.575 | 2.1256 | 26.7559 | 1.042 | 2.5086 | 1 | 5.0172 | 27.598 | 26.7559 | 27.9692 | 400.7993 | 393.4848 | 16.9894 | 19.1514 | 33.5654 | 37.8368 | 499.9271 | 1499.3307 | 246.1763 | 73.234 | -3.7115 | 0.23129 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7975 | 0.010575 | 299.9059 | 300.748 | 239.8929 | -1.5412 | 3.5282 | 48.1766 | 29.0252 | 27.1769 | 3.6165 | 0.35208 | 1.4025 | 2.214 | 0.22229 | 17.5241 | 0.60813 | 42.0288 | 385.1622 | 0.033751
54 | 11:21:26 | 2433.5 | 0 | 30.8235 | 0.37888 | 239.8225 | 10.5813 | 2.1256 | 26.7534 | 1.042 | 2.5086 | 1 | 5.0172 | 27.5974 | 26.7534 | 27.9686 | 400.7622 | 393.4691 | 16.9809 | 19.1443 | 33.5494 | 37.8238 | 499.8963 | 1499.4408 | 246.2041 | 73.2335 | -3.7115 | 0.23129 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7972 | 0.010581 | 299.9034 | 300.7474 | 239.9105 | -1.5429 | 3.5277 | 48.17 | 29.0256 | 27.1754 | 3.6162 | 0.35228 | 1.402 | 2.2142 | 0.22242 | 17.563 | 0.60951 | 42.0229 | 385.1752 | 0.033629
55 | 11:21:26 | 2434 | 0 | 30.8596 | 0.37925 | 239.7876 | 10.5913 | 2.1258 | 26.7522 | 1.042 | 2.5086 | 1 | 5.0172 | 27.5975 | 26.7522 | 27.9689 | 400.7729 | 393.4714 | 16.9734 | 19.139 | 33.5347 | 37.8131 | 499.8941 | 1499.4532 | 246.1814 | 73.2337 | -3.7115 | 0.23129 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7972 | 0.010591 | 299.9022 | 300.7475 | 239.9125 | -1.5459 | 3.5274 | 48.1663 | 29.0273 | 27.1748 | 3.6161 | 0.35259 | 1.4016 | 2.2145 | 0.22262 | 17.5605 | 0.60942 | 42.0193 | 385.1679 | 0.033666
56 | 11:21:27 | 2435 | 0 | 31.0654 | 0.3796 | 238.9361 | 10.6066 | 2.127 | 26.7536 | 1.042 | 2.5086 | 1 | 5.0172 | 27.5975 | 26.7536 | 27.9686 | 400.7567 | 393.4109 | 16.957 | 19.1257 | 33.502 | 37.7869 | 499.8769 | 1499.4337 | 246.2265 | 73.2337 | -3.7115 | 0.23129 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7971 | 0.010607 | 299.9036 | 300.7475 | 239.9094 | -1.5508 | 3.5277 | 48.1702 | 29.0445 | 27.1755 | 3.6162 | 0.3529 | 1.4006 | 2.2156 | 0.22281 | 17.4982 | 0.60734 | 41.9937 | 385.0519 | 0.03388
57 | 11:21:27 | 2435.5 | 0 | 30.783 | 0.37964 | 240.1833 | 10.6125 | 2.128 | 26.7559 | 1.042 | 2.5086 | 1 | 5.0172 | 27.5967 | 26.7559 | 27.9684 | 400.7005 | 393.413 | 16.949 | 19.119 | 33.4879 | 37.7754 | 499.8743 | 1499.415 | 246.2467 | 73.234 | -3.7115 | 0.23129 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.797 | 0.010612 | 299.9059 | 300.7467 | 239.9064 | -1.5529 | 3.5282 | 48.1767 | 29.0577 | 27.1763 | 3.6164 | 0.35293 | 1.4002 | 2.2162 | 0.22284 | 17.5896 | 0.61051 | 41.9755 | 385.1301 | 0.033551
58 | 11:21:28 | 2436 | 0 | 30.9119 | 0.37963 | 239.5533 | 10.6186 | 2.1293 | 26.7597 | 1.042 | 2.5086 | 1 | 5.0172 | 27.5963 | 26.7597 | 27.9678 | 400.6711 | 393.3563 | 16.9411 | 19.1124 | 33.4732 | 37.7634 | 499.863 | 1499.4232 | 246.2457 | 73.234 | -3.7115 | 0.23129 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7969 | 0.010619 | 299.9097 | 300.7463 | 239.9077 | -1.5552 | 3.529 | 48.1873 | 29.0749 | 27.178 | 3.6167 | 0.35293 | 1.3997 | 2.2171 | 0.22283 | 17.5435 | 0.609 | 41.9538 | 385.0387 | 0.033682
59 | 11:21:29 | 2436.5 | 0 | 30.7615 | 0.3798 | 240.2881 | 10.625 | 2.1297 | 26.7594 | 1.042 | 2.5086 | 1 | 5.0172 | 27.5965 | 26.7594 | 27.9672 | 400.6625 | 393.3786 | 16.9334 | 19.106 | 33.4577 | 37.7504 | 499.8754 | 1499.4298 | 246.2294 | 73.2341 | -3.7115 | 0.23129 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.797 | 0.010625 | 299.9094 | 300.7465 | 239.9088 | -1.5572 | 3.5289 | 48.1864 | 29.0804 | 27.1779 | 3.6167 | 0.35307 | 1.3992 | 2.2175 | 0.22293 | 17.5973 | 0.61083 | 41.9438 | 385.1014 | 0.033504
60 | 11:21:29 | 2437 | 0 | 30.721 | 0.38009 | 240.584 | 10.6326 | 2.1297 | 26.7575 | 1.042 | 2.5086 | 1 | 5.0172 | 27.5961 | 26.7575 | 27.9668 | 400.6776 | 393.4022 | 16.9266 | 19.1005 | 33.4448 | 37.7403 | 499.9212 | 1499.4231 | 246.2631 | 73.2339 | -3.7115 | 0.23129 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7975 | 0.010633 | 299.9075 | 300.7461 | 239.9077 | -1.5594 | 3.5285 | 48.1812 | 29.0807 | 27.1768 | 3.6165 | 0.35332 | 1.3988 | 2.2177 | 0.22308 | 17.6189 | 0.61155 | 41.9404 | 385.1359 | 0.033454 | 30.7733 | 27.5974 | 26.7588 | #DIV/0! | 2433.2 | 0 | 30.7733 | 0.37872 | 239.9424 | 10.5804 | 2.1263 | 26.7588 | 1.042 | 2.5086 | 1 | 5.0172 | 27.5974 | 26.7588 | 27.9682 | 400.7066 | 393.4244 | 16.9876 | 19.1507 | 33.5627 | 37.8366 | 499.9188 | 1499.35 | 246.146 | 73.2338 | -3.7115 | 0.23129 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7975 | 0.01058 | 299.9088 | 300.7474 | 239.896 | -1.5431 | 3.5288 | 48.185 | 29.0343 | 27.1781 | 3.6168 | 0.35214 | 1.4025 | 2.2143 | 0.22233 | 17.5719 | 0.60988 | 42.0214 | 385.1441 | 0.033575
Remark= | "11:21:36 Coolers: Tblock -> 33.00 C"
Remark= | "11:24:12 Flow: Fixed -> 500 umol/s"
Remark= | "11:26:00 Flow: Fixed -> 500 umol/s"
61 | 11:26:19 | 2727 | 0 | 29.0743 | 0.34021 | 231.9299 | 10.851 | 2.3939 | 29.5133 | 1.042 | 2.5086 | 1 | 5.0172 | 31.8396 | 29.5133 | 33.0522 | 400.4424 | 393.4879 | 21.6711 | 23.8803 | 33.5404 | 36.9594 | 499.619 | 1499.8379 | 249.1365 | 73.2357 | -3.5876 | 0.15512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7946 | 0.010851 | 302.6633 | 304.9896 | 239.9741 | -1.4937 | 4.1428 | 56.5679 | 32.6876 | 30.6765 | 4.4288 | 0.31861 | 1.7489 | 2.6799 | 0.20096 | 16.9855 | 0.58942 | 43.6168 | 385.6647 | 0.032882
62 | 11:26:19 | 2727 | 0 | 29.0743 | 0.34021 | 231.9299 | 10.851 | 2.3939 | 29.5133 | 1.042 | 2.5086 | 1 | 5.0172 | 31.8396 | 29.5133 | 33.0522 | 400.4424 | 393.4879 | 21.6711 | 23.8803 | 33.5404 | 36.9594 | 499.619 | 1499.8379 | 249.1365 | 73.2357 | -3.5876 | 0.15512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7946 | 0.010851 | 302.6633 | 304.9896 | 239.9741 | -1.4937 | 4.1428 | 56.5679 | 32.6876 | 30.6765 | 4.4288 | 0.31861 | 1.7489 | 2.6799 | 0.20096 | 16.9855 | 0.58942 | 43.6168 | 385.6647 | 0.032882
63 | 11:26:20 | 2727.5 | 0 | 29.3258 | 0.34033 | 230.7395 | 10.8531 | 2.3936 | 29.5122 | 1.042 | 2.5086 | 1 | 5.0172 | 31.8408 | 29.5122 | 33.0516 | 400.4739 | 393.4662 | 21.6709 | 23.8806 | 33.5379 | 36.9577 | 499.5747 | 1499.8334 | 249.1546 | 73.2359 | -3.5876 | 0.15512 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7942 | 0.010853 | 302.6622 | 304.9908 | 239.9733 | -1.4941 | 4.1425 | 56.564 | 32.6834 | 30.6765 | 4.4288 | 0.31871 | 1.7489 | 2.6799 | 0.20103 | 16.8984 | 0.58643 | 43.6216 | 385.5753 | 0.033177
64 | 11:26:20 | 2728 | 0 | 29.438 | 0.34068 | 230.3212 | 10.8572 | 2.3922 | 29.5061 | 1.042 | 2.5086 | 1 | 5.0172 | 31.8415 | 29.5061 | 33.0514 | 400.4755 | 393.4431 | 21.6686 | 23.8795 | 33.5329 | 36.9543 | 499.5112 | 1499.8289 | 249.0693 | 73.2358 | -3.5876 | 0.15512 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7935 | 0.010857 | 302.6561 | 304.9915 | 239.9726 | -1.4948 | 4.1411 | 56.5442 | 32.6648 | 30.6738 | 4.4281 | 0.31902 | 1.7488 | 2.6793 | 0.20122 | 16.8678 | 0.5854 | 43.6383 | 385.5221 | 0.033322
65 | 11:26:21 | 2728.5 | 0 | 29.3242 | 0.34086 | 230.9471 | 10.8601 | 2.3917 | 29.5036 | 1.042 | 2.5086 | 1 | 5.0172 | 31.8417 | 29.5036 | 33.0505 | 400.4538 | 393.4444 | 21.6671 | 23.8788 | 33.5302 | 36.9528 | 499.4665 | 1499.8322 | 249.0597 | 73.2358 | -3.5876 | 0.15512 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7931 | 0.01086 | 302.6536 | 304.9917 | 239.9731 | -1.4955 | 4.1405 | 56.5363 | 32.6575 | 30.6727 | 4.4279 | 0.31917 | 1.7488 | 2.6791 | 0.20132 | 16.9136 | 0.58699 | 43.645 | 385.554 | 0.033195
66 | 11:26:21 | 2729 | 0 | 29.2429 | 0.34091 | 231.3671 | 10.868 | 2.3931 | 29.5095 | 1.042 | 2.5086 | 1 | 5.0172 | 31.8428 | 29.5095 | 33.0514 | 400.4535 | 393.4603 | 21.6662 | 23.8795 | 33.5267 | 36.9516 | 499.4614 | 1499.8419 | 249.1207 | 73.2355 | -3.5876 | 0.15512 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7931 | 0.010868 | 302.6595 | 304.9928 | 239.9747 | -1.4984 | 4.1419 | 56.5557 | 32.6762 | 30.6761 | 4.4287 | 0.31922 | 1.7488 | 2.6799 | 0.20135 | 16.9443 | 0.58803 | 43.632 | 385.5918 | 0.03309
67 | 11:26:22 | 2729.5 | 0 | 29.3303 | 0.34086 | 230.9253 | 10.8707 | 2.394 | 29.5136 | 1.042 | 2.5086 | 1 | 5.0172 | 31.844 | 29.5136 | 33.0518 | 400.4817 | 393.4704 | 21.6664 | 23.88 | 33.5246 | 36.9499 | 499.4957 | 1499.7684 | 249.0511 | 73.2356 | -3.5876 | 0.15512 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7934 | 0.010871 | 302.6636 | 304.994 | 239.9629 | -1.4995 | 4.1429 | 56.5691 | 32.689 | 30.6788 | 4.4294 | 0.31917 | 1.7489 | 2.6805 | 0.20132 | 16.912 | 0.58689 | 43.6223 | 385.5784 | 0.033183
68 | 11:26:22 | 2730 | 0 | 29.632 | 0.34062 | 229.3417 | 10.8632 | 2.3939 | 29.5135 | 1.042 | 2.5086 | 1 | 5.0172 | 31.845 | 29.5135 | 33.0517 | 400.5096 | 393.4361 | 21.6689 | 23.8811 | 33.5267 | 36.9494 | 499.4972 | 1499.7505 | 249.0493 | 73.2356 | -3.5876 | 0.15512 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7934 | 0.010863 | 302.6635 | 304.995 | 239.9601 | -1.4971 | 4.1428 | 56.5686 | 32.6875 | 30.6793 | 4.4295 | 0.31897 | 1.7489 | 2.6806 | 0.20119 | 16.796 | 0.58292 | 43.6219 | 385.4629 | 0.033534
69 | 11:26:23 | 2731 | 0 | 29.6097 | 0.34003 | 229.2041 | 10.8608 | 2.3972 | 29.5279 | 1.042 | 2.5086 | 1 | 5.0172 | 31.8457 | 29.5279 | 33.052 | 400.5159 | 393.4486 | 21.6725 | 23.8837 | 33.5308 | 36.9519 | 499.594 | 1499.8004 | 248.9518 | 73.2353 | -3.5876 | 0.15512 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7943 | 0.010861 | 302.6779 | 304.9957 | 239.9681 | -1.4974 | 4.1463 | 56.616 | 32.7322 | 30.6868 | 4.4314 | 0.31845 | 1.7491 | 2.6823 | 0.20086 | 16.7858 | 0.58255 | 43.5844 | 385.4814 | 0.033478
70 | 11:26:23 | 2731.5 | 0 | 29.7184 | 0.3396 | 228.4842 | 10.859 | 2.3996 | 29.5388 | 1.042 | 2.5086 | 1 | 5.0172 | 31.8466 | 29.5388 | 33.0521 | 400.5367 | 393.4479 | 21.6751 | 23.8857 | 33.533 | 36.9529 | 499.6629 | 1499.7794 | 248.873 | 73.2352 | -3.5876 | 0.15512 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.795 | 0.010859 | 302.6888 | 304.9966 | 239.9647 | -1.4978 | 4.1489 | 56.6516 | 32.7658 | 30.6927 | 4.4329 | 0.31807 | 1.7493 | 2.6837 | 0.20062 | 16.7331 | 0.58072 | 43.5562 | 385.4514 | 0.033582
71 | 11:26:24 | 2732 | 0 | 29.5379 | 0.33886 | 229.0631 | 10.8519 | 2.4029 | 29.5534 | 1.042 | 2.5086 | 1 | 5.0172 | 31.8475 | 29.5534 | 33.0525 | 400.5182 | 393.4691 | 21.6804 | 23.889 | 33.5396 | 36.9563 | 499.7756 | 1499.7864 | 248.9825 | 73.2353 | -3.5876 | 0.15512 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7961 | 0.010852 | 302.7034 | 304.9975 | 239.9658 | -1.4967 | 4.1524 | 56.699 | 32.81 | 30.7004 | 4.4349 | 0.31742 | 1.7495 | 2.6854 | 0.20021 | 16.7755 | 0.58216 | 43.5182 | 385.5212 | 0.033343
72 | 11:26:25 | 2732.5 | 0 | 29.4967 | 0.33863 | 229.1498 | 10.8538 | 2.4048 | 29.5631 | 1.042 | 2.5086 | 1 | 5.0172 | 31.8487 | 29.5631 | 33.053 | 400.5018 | 393.4623 | 21.6858 | 23.8944 | 33.5456 | 36.9621 | 499.8545 | 1499.7483 | 248.8928 | 73.2354 | -3.5876 | 0.15512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7968 | 0.010854 | 302.7131 | 304.9987 | 239.9597 | -1.498 | 4.1547 | 56.7308 | 32.8364 | 30.7059 | 4.4363 | 0.31722 | 1.7499 | 2.6864 | 0.20008 | 16.7819 | 0.58239 | 43.501 | 385.5255 | 0.033283
73 | 11:26:25 | 2733 | 0 | 29.2902 | 0.33844 | 230.088 | 10.8427 | 2.4036 | 29.5592 | 1.042 | 2.5086 | 1 | 5.0172 | 31.8498 | 29.5592 | 33.0525 | 400.4587 | 393.4637 | 21.6917 | 23.8979 | 33.5528 | 36.9654 | 499.8864 | 1499.8125 | 248.8761 | 73.2354 | -3.5876 | 0.15512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7971 | 0.010843 | 302.7092 | 304.9998 | 239.97 | -1.494 | 4.1538 | 56.7181 | 32.8202 | 30.7045 | 4.4359 | 0.31705 | 1.7502 | 2.6858 | 0.19997 | 16.8506 | 0.58478 | 43.5144 | 385.5824 | 0.033055
74 | 11:26:26 | 2733.5 | 0 | 29.2024 | 0.33825 | 230.4227 | 10.8317 | 2.4025 | 29.5555 | 1.042 | 2.5086 | 1 | 5.0172 | 31.8501 | 29.5555 | 33.0519 | 400.4133 | 393.4376 | 21.6975 | 23.9015 | 33.561 | 36.97 | 499.8984 | 1499.6122 | 249.0075 | 73.2352 | -3.5876 | 0.15512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7973 | 0.010832 | 302.7055 | 305.0001 | 239.9379 | -1.4905 | 4.1529 | 56.7061 | 32.8046 | 30.7028 | 4.4355 | 0.31688 | 1.7504 | 2.6851 | 0.19987 | 16.8751 | 0.58567 | 43.5275 | 385.58 | 0.032966
75 | 11:26:26 | 2734.5 | 0 | 29.0505 | 0.33746 | 230.8219 | 10.8195 | 2.4049 | 29.568 | 1.042 | 2.5086 | 1 | 5.0172 | 31.8527 | 29.568 | 33.0521 | 400.3676 | 393.4254 | 21.7077 | 23.9089 | 33.5717 | 36.9759 | 499.9559 | 1499.5909 | 249.1378 | 73.2351 | -3.5876 | 0.15512 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7978 | 0.01082 | 302.718 | 305.0027 | 239.9345 | -1.4875 | 4.1559 | 56.7471 | 32.8382 | 30.7104 | 4.4374 | 0.31619 | 1.751 | 2.6864 | 0.19943 | 16.9043 | 0.5867 | 43.5007 | 385.6086 | 0.032772 | 29.3565 | 31.8451 | 29.5301 | #DIV/0! | 2730.3 | 0 | 29.3565 | 0.33973 | 230.3157 | 10.8529 | 2.3974 | 29.5301 | 1.042 | 2.5086 | 1 | 5.0172 | 31.8451 | 29.5301 | 33.0519 | 400.4697 | 393.4567 | 21.6774 | 23.8867 | 33.5396 | 36.9579 | 499.6582 | 1499.7774 | 249.0333 | 73.2355 | -3.5876 | 0.15512 | 0.8 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.795 | 0.010853 | 302.6801 | 304.9951 | 239.9644 | -1.4953 | 4.1468 | 56.6228 | 32.7361 | 30.6876 | 4.4316 | 0.31818 | 1.7494 | 2.6823 | 0.20069 | 16.8673 | 0.58536 | 43.5811 | 385.5576 | 0.033183
Remark= | "11:26:43 Coolers: Tblock -> 38.00 C"
Remark= | "11:31:14 Flow: Fixed -> 500 umol/s"
Remark= | "11:33:33 Flow: Fixed -> 500 umol/s"
76 | 11:34:43 | 3231.5 | 0 | 27.778 | 0.31292 | 221.7658 | 12.3692 | 2.9212 | 33.2745 | 1.042 | 2.5086 | 1 | 5.0172 | 36.4918 | 33.2745 | 38.126 | 398.6253 | 391.8247 | 27.6682 | 30.1688 | 33.0428 | 36.0291 | 499.901 | 1500.8546 | 256.8972 | 73.2325 | -3.4275 | 0.11126 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7973 | 0.012369 | 306.4245 | 309.6418 | 240.1367 | -1.8737 | 5.1305 | 70.0584 | 39.8896 | 34.8831 | 5.6119 | 0.29455 | 2.2093 | 3.4026 | 0.18566 | 16.2405 | 0.56598 | 43.5774 | 384.3503 | 0.031495
77 | 11:34:43 | 3231.5 | 0 | 27.778 | 0.31292 | 221.7658 | 12.3692 | 2.9212 | 33.2745 | 1.042 | 2.5086 | 1 | 5.0172 | 36.4918 | 33.2745 | 38.126 | 398.6253 | 391.8247 | 27.6682 | 30.1688 | 33.0428 | 36.0291 | 499.901 | 1500.8546 | 256.8972 | 73.2325 | -3.4275 | 0.11126 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7973 | 0.012369 | 306.4245 | 309.6418 | 240.1367 | -1.8737 | 5.1305 | 70.0584 | 39.8896 | 34.8831 | 5.6119 | 0.29455 | 2.2093 | 3.4026 | 0.18566 | 16.2405 | 0.56598 | 43.5774 | 384.3503 | 0.031495
78 | 11:34:44 | 3232 | 0 | 28.1527 | 0.31257 | 219.6051 | 12.3652 | 2.9233 | 33.2822 | 1.042 | 2.5086 | 1 | 5.0172 | 36.4919 | 33.2822 | 38.1262 | 398.6629 | 391.7842 | 27.671 | 30.1709 | 33.0459 | 36.0314 | 499.8725 | 1500.8145 | 256.7361 | 73.2326 | -3.4275 | 0.11126 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.797 | 0.012365 | 306.4322 | 309.6419 | 240.1303 | -1.8731 | 5.1328 | 70.0887 | 39.9178 | 34.8871 | 5.6131 | 0.29424 | 2.2095 | 3.4037 | 0.18546 | 16.0822 | 0.56053 | 43.5574 | 384.2091 | 0.031916
79 | 11:34:44 | 3232.5 | 0 | 28.0967 | 0.31265 | 219.9076 | 12.376 | 2.9251 | 33.2894 | 1.042 | 2.5086 | 1 | 5.0172 | 36.4925 | 33.2894 | 38.1277 | 398.6382 | 391.7703 | 27.6729 | 30.175 | 33.0468 | 36.0348 | 499.8683 | 1500.851 | 256.8278 | 73.232 | -3.4275 | 0.11126 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.797 | 0.012376 | 306.4394 | 309.6425 | 240.1361 | -1.877 | 5.1348 | 70.1174 | 39.9424 | 34.891 | 5.6144 | 0.29431 | 2.2098 | 3.4046 | 0.18551 | 16.1043 | 0.56132 | 43.5456 | 384.2102 | 0.031844
80 | 11:34:45 | 3233 | 0 | 28.1162 | 0.31231 | 219.6282 | 12.3653 | 2.9255 | 33.2912 | 1.042 | 2.5086 | 1 | 5.0172 | 36.4937 | 33.2912 | 38.127 | 398.6165 | 391.745 | 27.6756 | 30.1757 | 33.0482 | 36.0337 | 499.831 | 1500.7935 | 256.7899 | 73.2325 | -3.4275 | 0.11126 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7966 | 0.012365 | 306.4412 | 309.6437 | 240.1269 | -1.8738 | 5.1354 | 70.124 | 39.9483 | 34.8925 | 5.6148 | 0.29401 | 2.2098 | 3.405 | 0.18532 | 16.0839 | 0.56064 | 43.5388 | 384.1796 | 0.031864
81 | 11:34:46 | 3233.5 | 0 | 27.9262 | 0.31223 | 220.6006 | 12.3583 | 2.9246 | 33.2883 | 1.042 | 2.5086 | 1 | 5.0172 | 36.4959 | 33.2883 | 38.127 | 398.5888 | 391.7575 | 27.6781 | 30.1767 | 33.0472 | 36.0306 | 499.8397 | 1500.8679 | 256.8582 | 73.2325 | -3.4275 | 0.11126 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7967 | 0.012358 | 306.4383 | 309.6459 | 240.1389 | -1.8711 | 5.1345 | 70.1128 | 39.9361 | 34.8921 | 5.6147 | 0.29393 | 2.2099 | 3.4048 | 0.18527 | 16.1551 | 0.5631 | 43.5464 | 384.2432 | 0.031649
82 | 11:34:46 | 3234 | 0 | 27.9839 | 0.3123 | 220.3232 | 12.3594 | 2.9243 | 33.2878 | 1.042 | 2.5086 | 1 | 5.0172 | 36.4975 | 33.2878 | 38.1274 | 398.5913 | 391.7475 | 27.68 | 30.179 | 33.0466 | 36.0302 | 499.807 | 1500.8212 | 256.8696 | 73.2326 | -3.4275 | 0.11126 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7964 | 0.012359 | 306.4378 | 309.6475 | 240.1314 | -1.8713 | 5.1344 | 70.1105 | 39.9315 | 34.8926 | 5.6149 | 0.294 | 2.2101 | 3.4048 | 0.18531 | 16.1348 | 0.56241 | 43.5518 | 384.2177 | 0.03172
83 | 11:34:47 | 3234.5 | 0 | 28.2249 | 0.31221 | 219.0137 | 12.3644 | 2.9262 | 33.2951 | 1.042 | 2.5086 | 1 | 5.0172 | 36.4995 | 33.2951 | 38.1274 | 398.6428 | 391.7484 | 27.6819 | 30.1819 | 33.0454 | 36.0298 | 499.8149 | 1500.7937 | 256.9331 | 73.2328 | -3.4275 | 0.11126 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7965 | 0.012364 | 306.4451 | 309.6495 | 240.127 | -1.8733 | 5.1365 | 70.139 | 39.9571 | 34.8973 | 5.6163 | 0.29392 | 2.2103 | 3.406 | 0.18526 | 16.039 | 0.55907 | 43.5366 | 384.1538 | 0.031988
84 | 11:34:47 | 3235 | 0 | 28.4079 | 0.31176 | 217.8585 | 12.3582 | 2.9286 | 33.3039 | 1.042 | 2.5086 | 1 | 5.0172 | 36.5002 | 33.3039 | 38.1284 | 398.7014 | 391.7694 | 27.6848 | 30.1836 | 33.0475 | 36.0302 | 499.8178 | 1500.7706 | 256.9468 | 73.2325 | -3.4275 | 0.11126 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7965 | 0.012358 | 306.4539 | 309.6502 | 240.1233 | -1.8721 | 5.139 | 70.1741 | 39.9905 | 34.9021 | 5.6178 | 0.29352 | 2.2104 | 3.4074 | 0.18501 | 15.9543 | 0.55609 | 43.5119 | 384.1255 | 0.032179
85 | 11:34:48 | 3235.5 | 0 | 28.4488 | 0.31158 | 217.5669 | 12.3571 | 2.9299 | 33.3089 | 1.042 | 2.5086 | 1 | 5.0172 | 36.5007 | 33.3089 | 38.1285 | 398.7232 | 391.783 | 27.6874 | 30.1858 | 33.0495 | 36.0317 | 499.8391 | 1500.7642 | 256.9388 | 73.2322 | -3.4275 | 0.11126 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7967 | 0.012357 | 306.4589 | 309.6507 | 240.1223 | -1.8721 | 5.1404 | 70.1938 | 40.008 | 34.9048 | 5.6187 | 0.29336 | 2.2106 | 3.4081 | 0.18491 | 15.9329 | 0.55532 | 43.5005 | 384.1281 | 0.032217
86 | 11:34:48 | 3236 | 0 | 28.4645 | 0.31142 | 217.4466 | 12.3513 | 2.9299 | 33.3094 | 1.042 | 2.5086 | 1 | 5.0172 | 36.5021 | 33.3094 | 38.1282 | 398.7623 | 391.8194 | 27.6906 | 30.1878 | 33.0508 | 36.0313 | 499.8509 | 1500.7667 | 256.9968 | 73.232 | -3.4275 | 0.11126 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7968 | 0.012351 | 306.4594 | 309.6521 | 240.1227 | -1.8703 | 5.1406 | 70.1961 | 40.0083 | 34.9057 | 5.619 | 0.29322 | 2.2107 | 3.4082 | 0.18482 | 15.9241 | 0.55497 | 43.5001 | 384.1603 | 0.032232
87 | 11:34:49 | 3236.5 | 0 | 28.3826 | 0.31155 | 217.9979 | 12.3458 | 2.9275 | 33.3014 | 1.042 | 2.5086 | 1 | 5.0172 | 36.5028 | 33.3014 | 38.1276 | 398.7951 | 391.8697 | 27.6929 | 30.1889 | 33.0523 | 36.0314 | 499.8606 | 1500.7146 | 256.8602 | 73.2322 | -3.4275 | 0.11126 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7969 | 0.012346 | 306.4514 | 309.6528 | 240.1143 | -1.8678 | 5.1383 | 70.1644 | 39.9755 | 34.9021 | 5.6178 | 0.29334 | 2.2108 | 3.407 | 0.18489 | 15.9645 | 0.5563 | 43.5232 | 384.2327 | 0.03215
88 | 11:34:49 | 3237 | 0 | 28.3784 | 0.31202 | 218.2814 | 12.3578 | 2.9262 | 33.2983 | 1.042 | 2.5086 | 1 | 5.0172 | 36.5031 | 33.2983 | 38.1287 | 398.8415 | 391.9165 | 27.6957 | 30.1939 | 33.0549 | 36.0365 | 499.9096 | 1500.7819 | 256.9586 | 73.2318 | -3.4275 | 0.11126 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7974 | 0.012358 | 306.4483 | 309.6531 | 240.1251 | -1.8712 | 5.1374 | 70.1525 | 39.9586 | 34.9007 | 5.6174 | 0.29375 | 2.2112 | 3.4062 | 0.18515 | 15.9851 | 0.55696 | 43.5426 | 384.2806 | 0.032155
89 | 11:34:50 | 3238 | 0 | 28.7989 | 0.31153 | 215.8805 | 12.3438 | 2.9272 | 33.3026 | 1.042 | 2.5086 | 1 | 5.0172 | 36.5033 | 33.3026 | 38.1298 | 398.9588 | 391.9471 | 27.7029 | 30.1983 | 33.063 | 36.0412 | 499.8976 | 1500.7439 | 256.8684 | 73.2314 | -3.4275 | 0.11126 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7973 | 0.012344 | 306.4526 | 309.6533 | 240.119 | -1.8672 | 5.1387 | 70.1701 | 39.9718 | 34.903 | 5.6181 | 0.29331 | 2.2115 | 3.4066 | 0.18488 | 15.8092 | 0.55079 | 43.5323 | 384.198 | 0.032631
90 | 11:34:50 | 3238.5 | 0 | 28.8621 | 0.31144 | 215.5346 | 12.345 | 2.9282 | 33.307 | 1.042 | 2.5086 | 1 | 5.0172 | 36.5025 | 33.307 | 38.1301 | 399.0066 | 391.9818 | 27.7059 | 30.2014 | 33.0678 | 36.0463 | 499.9177 | 1500.7845 | 256.8415 | 73.2313 | -3.4275 | 0.11126 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7974 | 0.012345 | 306.457 | 309.6525 | 240.1255 | -1.868 | 5.1399 | 70.1872 | 39.9858 | 34.9048 | 5.6186 | 0.29324 | 2.2117 | 3.407 | 0.18483 | 15.7839 | 0.54986 | 43.5248 | 384.2157 | 0.032696 | 28.2533 | 36.4979 | 33.2943 | #DIV/0! | 3234.6 | 0 | 28.2533 | 0.31209 | 218.8784 | 12.3591 | 2.9259 | 33.2943 | 1.042 | 2.5086 | 1 | 5.0172 | 36.4979 | 33.2943 | 38.1278 | 398.7187 | 391.8193 | 27.6837 | 30.1824 | 33.0501 | 36.0332 | 499.8619 | 1500.7985 | 256.8814 | 73.2322 | -3.4275 | 0.11126 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7969 | 0.012359 | 306.4443 | 309.6479 | 240.1278 | -1.8717 | 5.1363 | 70.1365 | 39.9541 | 34.8961 | 5.616 | 0.29382 | 2.2103 | 3.4056 | 0.18519 | 16.029 | 0.55862 | 43.5378 | 384.217 | 0.032015
Remark= | "11:35:00 Coolers: Tblock -> 43.00 C"
Remark= | "11:40:18 Flow: Fixed -> 500 umol/s"
Remark= | "11:42:00 Flow: Fixed -> 500 umol/s"
91 | 11:43:13 | 3742.5 | 0 | 23.9755 | 0.28332 | 227.5328 | 12.7105 | 3.2576 | 36.4712 | 1.042 | 2.5086 | 1 | 5.0172 | 40.8736 | 36.4712 | 43.005 | 398.8591 | 392.8203 | 36.614 | 39.1599 | 34.5205 | 36.9209 | 499.8787 | 1500.0845 | 263.1687 | 73.2267 | -2.1038 | -0.06342 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7971 | 0.012711 | 309.6212 | 314.0236 | 240.0135 | -1.8556 | 6.1251 | 83.6464 | 44.4865 | 38.6724 | 6.9037 | 0.26817 | 2.8676 | 4.0362 | 0.16891 | 16.6615 | 0.57923 | 46.3654 | 386.3691 | 0.028771
92 | 11:43:14 | 3742.5 | 0 | 23.9755 | 0.28332 | 227.5328 | 12.7105 | 3.2576 | 36.4712 | 1.042 | 2.5086 | 1 | 5.0172 | 40.8736 | 36.4712 | 43.005 | 398.8591 | 392.8203 | 36.614 | 39.1599 | 34.5205 | 36.9209 | 499.8787 | 1500.0845 | 263.1687 | 73.2267 | -2.1038 | -0.06342 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7971 | 0.012711 | 309.6212 | 314.0236 | 240.0135 | -1.8556 | 6.1251 | 83.6464 | 44.4865 | 38.6724 | 6.9037 | 0.26817 | 2.8676 | 4.0362 | 0.16891 | 16.6615 | 0.57923 | 46.3654 | 386.3691 | 0.028771
93 | 11:43:14 | 3743 | 0 | 24.0466 | 0.28312 | 227.0487 | 12.6975 | 3.2564 | 36.4679 | 1.042 | 2.5086 | 1 | 5.0172 | 40.8733 | 36.4679 | 43.0039 | 398.8752 | 392.8226 | 36.6185 | 39.1618 | 34.5254 | 36.9233 | 499.8753 | 1500.0707 | 263.2105 | 73.2265 | -2.1038 | -0.06342 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.797 | 0.012697 | 309.6179 | 314.0233 | 240.0113 | -1.8513 | 6.124 | 83.6315 | 44.4697 | 38.6706 | 6.903 | 0.268 | 2.8677 | 4.0354 | 0.1688 | 16.626 | 0.57799 | 46.3745 | 386.3522 | 0.028864
94 | 11:43:15 | 3743.5 | 0 | 24.1583 | 0.28332 | 226.4421 | 12.7197 | 3.2598 | 36.4791 | 1.042 | 2.5086 | 1 | 5.0172 | 40.8741 | 36.4791 | 43.0043 | 398.8595 | 392.7818 | 36.619 | 39.1668 | 34.5244 | 36.9264 | 499.8655 | 1500.1088 | 263.3002 | 73.2265 | -2.1038 | -0.06342 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7969 | 0.01272 | 309.6291 | 314.0241 | 240.0174 | -1.8591 | 6.1278 | 83.683 | 44.5162 | 38.6766 | 6.9053 | 0.26818 | 2.868 | 4.0372 | 0.16891 | 16.5816 | 0.57651 | 46.3519 | 386.2814 | 0.028989
95 | 11:43:15 | 3744 | 0 | 24.2153 | 0.2837 | 226.2925 | 12.7321 | 3.2588 | 36.4773 | 1.042 | 2.5086 | 1 | 5.0172 | 40.876 | 36.4773 | 43.0059 | 398.8644 | 392.7741 | 36.6219 | 39.172 | 34.5233 | 36.9273 | 499.8883 | 1500.1458 | 263.208 | 73.226 | -2.1038 | -0.06342 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7972 | 0.012732 | 309.6273 | 314.026 | 240.0233 | -1.8626 | 6.1272 | 83.6755 | 44.5035 | 38.6767 | 6.9053 | 0.26852 | 2.8684 | 4.0369 | 0.16913 | 16.5705 | 0.57614 | 46.3663 | 386.2584 | 0.029068
96 | 11:43:16 | 3744.5 | 0 | 23.9941 | 0.28374 | 227.6171 | 12.7262 | 3.2569 | 36.4723 | 1.042 | 2.5086 | 1 | 5.0172 | 40.8769 | 36.4723 | 43.0059 | 398.8514 | 392.8077 | 36.6266 | 39.1755 | 34.5261 | 36.9288 | 499.8998 | 1500.1353 | 263.2755 | 73.226 | -2.1038 | -0.06342 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7973 | 0.012726 | 309.6223 | 314.0269 | 240.0216 | -1.8602 | 6.1255 | 83.6526 | 44.4771 | 38.6746 | 6.9046 | 0.26856 | 2.8687 | 4.0359 | 0.16915 | 16.6675 | 0.57946 | 46.3844 | 386.3515 | 0.028807
97 | 11:43:16 | 3745 | 0 | 23.7151 | 0.28402 | 229.3396 | 12.7312 | 3.2552 | 36.4681 | 1.042 | 2.5086 | 1 | 5.0172 | 40.8782 | 36.4681 | 43.006 | 398.7895 | 392.8035 | 36.6285 | 39.1784 | 34.5256 | 36.9291 | 499.8961 | 1500.1184 | 263.2312 | 73.2262 | -2.1038 | -0.06342 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7972 | 0.012731 | 309.6181 | 314.0282 | 240.0189 | -1.8613 | 6.1241 | 83.6328 | 44.4544 | 38.6731 | 6.904 | 0.2688 | 2.8689 | 4.0351 | 0.16931 | 16.7937 | 0.58385 | 46.4024 | 386.4224 | 0.028478
98 | 11:43:17 | 3745.5 | 0 | 23.5507 | 0.28337 | 229.9487 | 12.7177 | 3.2587 | 36.4787 | 1.042 | 2.5086 | 1 | 5.0172 | 40.8795 | 36.4787 | 43.0059 | 398.7433 | 392.7925 | 36.6327 | 39.18 | 34.5272 | 36.9281 | 499.8684 | 1500.1727 | 263.2359 | 73.2262 | -2.1038 | -0.06342 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.797 | 0.012718 | 309.6287 | 314.0295 | 240.0276 | -1.8578 | 6.1277 | 83.6815 | 44.5015 | 38.6791 | 6.9062 | 0.26822 | 2.869 | 4.0372 | 0.16894 | 16.8383 | 0.58542 | 46.3689 | 386.4556 | 0.028257
99 | 11:43:18 | 3746 | 0 | 23.643 | 0.28235 | 228.8764 | 12.7027 | 3.2659 | 36.5004 | 1.042 | 2.5086 | 1 | 5.0172 | 40.8793 | 36.5004 | 43.006 | 398.7332 | 392.7643 | 36.6367 | 39.1811 | 34.5314 | 36.9295 | 499.8625 | 1500.1846 | 263.2085 | 73.2262 | -2.1038 | -0.06342 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7969 | 0.012703 | 309.6504 | 314.0293 | 240.0295 | -1.8551 | 6.135 | 83.781 | 44.5999 | 38.6898 | 6.9102 | 0.2673 | 2.8691 | 4.0411 | 0.16835 | 16.7597 | 0.58273 | 46.3008 | 386.4025 | 0.02833
100 | 11:43:18 | 3746.5 | 0 | 23.7211 | 0.28219 | 228.3441 | 12.7002 | 3.2669 | 36.504 | 1.042 | 2.5086 | 1 | 5.0172 | 40.8798 | 36.504 | 43.0059 | 398.7457 | 392.7607 | 36.6397 | 39.1835 | 34.5331 | 36.9307 | 499.8614 | 1500.1605 | 263.2166 | 73.2258 | -2.1038 | -0.06342 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7969 | 0.0127 | 309.654 | 314.0298 | 240.0257 | -1.8546 | 6.1362 | 83.7981 | 44.6146 | 38.6919 | 6.911 | 0.26716 | 2.8692 | 4.0417 | 0.16826 | 16.7207 | 0.58138 | 46.2919 | 386.378 | 0.02842
101 | 11:43:19 | 3747 | 0 | 23.8135 | 0.28278 | 228.0567 | 12.731 | 3.2683 | 36.5096 | 1.042 | 2.5086 | 1 | 5.0172 | 40.88 | 36.5096 | 43.0068 | 398.7411 | 392.7348 | 36.6411 | 39.191 | 34.5341 | 36.9374 | 499.8905 | 1500.1516 | 263.1969 | 73.2259 | -2.1038 | -0.06342 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7972 | 0.012731 | 309.6596 | 314.03 | 240.0243 | -1.8647 | 6.1381 | 83.8235 | 44.6326 | 38.6948 | 6.9121 | 0.2677 | 2.8698 | 4.0423 | 0.1686 | 16.6997 | 0.58069 | 46.2917 | 386.3271 | 0.028535
102 | 11:43:19 | 3747.5 | 0 | 23.9691 | 0.28243 | 227.0192 | 12.7176 | 3.2687 | 36.5113 | 1.042 | 2.5086 | 1 | 5.0172 | 40.8804 | 36.5113 | 43.007 | 398.7897 | 392.7523 | 36.6464 | 39.1934 | 34.5386 | 36.9391 | 499.9131 | 1500.152 | 263.1252 | 73.2264 | -2.1038 | -0.06342 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7974 | 0.012718 | 309.6613 | 314.0304 | 240.0243 | -1.8606 | 6.1387 | 83.8311 | 44.6376 | 38.6959 | 6.9125 | 0.26738 | 2.87 | 4.0425 | 0.1684 | 16.6238 | 0.57802 | 46.2866 | 386.3028 | 0.02872
103 | 11:43:20 | 3748.5 | 0 | 24.3902 | 0.28205 | 224.3753 | 12.7152 | 3.2722 | 36.5232 | 1.042 | 2.5086 | 1 | 5.0172 | 40.8796 | 36.5232 | 43.0073 | 398.8488 | 392.7242 | 36.6526 | 39.199 | 34.5461 | 36.9462 | 499.9398 | 1500.0225 | 263.274 | 73.227 | -2.1038 | -0.06342 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7977 | 0.012715 | 309.6732 | 314.0296 | 240.0036 | -1.8612 | 6.1426 | 83.885 | 44.686 | 38.7014 | 6.9145 | 0.26703 | 2.8704 | 4.0441 | 0.16818 | 16.4303 | 0.57133 | 46.2573 | 386.1614 | 0.029216
104 | 11:43:20 | 3749 | 0 | 24.9001 | 0.28238 | 221.5701 | 12.7365 | 3.2739 | 36.5297 | 1.042 | 2.5086 | 1 | 5.0172 | 40.8786 | 36.5297 | 43.0064 | 398.9193 | 392.6869 | 36.6545 | 39.205 | 34.5498 | 36.9539 | 499.9555 | 1499.9341 | 263.2959 | 73.2272 | -2.1038 | -0.06342 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7978 | 0.012736 | 309.6797 | 314.0286 | 239.9894 | -1.8686 | 6.1448 | 83.9143 | 44.7093 | 38.7042 | 6.9156 | 0.26734 | 2.8709 | 4.0447 | 0.16838 | 16.225 | 0.56424 | 46.2505 | 385.9869 | 0.029836
105 | 11:43:21 | 3749.5 | 0 | 25.1639 | 0.28327 | 220.5008 | 12.7638 | 3.2713 | 36.523 | 1.042 | 2.5086 | 1 | 5.0172 | 40.8787 | 36.523 | 43.0064 | 398.9677 | 392.6784 | 36.6543 | 39.2103 | 34.5496 | 36.9588 | 499.9706 | 1499.9047 | 263.355 | 73.2273 | -2.1038 | -0.06342 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.798 | 0.012764 | 309.673 | 314.0287 | 239.9847 | -1.8765 | 6.1426 | 83.8835 | 44.6732 | 38.7008 | 6.9143 | 0.26813 | 2.8713 | 4.0431 | 0.16888 | 16.1467 | 0.56153 | 46.2838 | 385.9074 | 0.03018 | 24.0821 | 40.8774 | 36.4925 | #DIV/0! | 3745.6333 | 0 | 24.0821 | 0.28302 | 226.6998 | 12.7208 | 3.2632 | 36.4925 | 1.042 | 2.5086 | 1 | 5.0172 | 40.8774 | 36.4925 | 43.0059 | 398.8298 | 392.7683 | 36.6334 | 39.1812 | 34.5317 | 36.9334 | 499.8963 | 1500.0954 | 263.2314 | 73.2264 | -2.1038 | -0.06342 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 4.7972 | 0.012721 | 309.6425 | 314.0274 | 240.0153 | -1.8603 | 6.1323 | 83.7444 | 44.5632 | 38.6849 | 6.9084 | 0.26791 | 2.8691 | 4.0393 | 0.16874 | 16.6004 | 0.57718 | 46.3294 | 386.2884 | 0.028883
Remark= | "11:44:03 Coolers: Tblock -> 48.00 C"