## stm-rartr3_
OPEN 6.2.4
Wed Jun 24 2015 11:52:31
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "11:52:38 CO2 Mixer: CO2R -> 400 uml"
Remark= | "11:52:46 Coolers: Tblock -> 0.00 C"
Remark= | "11:52:54 Lamp: ParIn -> 1500 uml"
Remark= | "12:02:02 Flow: Fixed -> 500 umol/s"
Remark= | "12:09:50 Coolers: Tblock -> 16.72 C"
Remark= | "12:10:30 Flow: Fixed -> 500 umol/s"
1 | 12:11:04 | 1121 | 0 | 23.9457 | 0.39806 | 277.813 | 9.865 | 1.9103 | 22.4583 | 0.94234 | 2.5305 | 1 | 5.061 | 18.7597 | 22.4583 | 16.7954 | 400.0257 | 394.7769 | 9.3344 | 11.1736 | 31.4689 | 37.669 | 499.8219 | 1498.645 | 285.4878 | 73.235 | -2.248 | 0.34273 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3041 | 0.009865 | 295.6083 | 291.9097 | 239.7832 | -1.669 | 2.7286 | 37.2579 | 26.0844 | 20.609 | 2.4366 | 0.36904 | 0.8183 | 1.6183 | 0.23309 | 20.3456 | 0.70372 | 33.484 | 388.3894 | 0.020644
2 | 12:11:04 | 1121 | 0 | 23.9457 | 0.39806 | 277.813 | 9.865 | 1.9103 | 22.4583 | 0.94234 | 2.5305 | 1 | 5.061 | 18.7597 | 22.4583 | 16.7954 | 400.0257 | 394.7769 | 9.3344 | 11.1736 | 31.4689 | 37.669 | 499.8219 | 1498.645 | 285.4878 | 73.235 | -2.248 | 0.34273 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3041 | 0.009865 | 295.6083 | 291.9097 | 239.7832 | -1.669 | 2.7286 | 37.2579 | 26.0844 | 20.609 | 2.4366 | 0.36904 | 0.8183 | 1.6183 | 0.23309 | 20.3456 | 0.70372 | 33.484 | 388.3894 | 0.020644
3 | 12:11:04 | 1121.5 | 0 | 24.4041 | 0.3982 | 275.9139 | 9.8728 | 1.9112 | 22.4642 | 0.94234 | 2.5305 | 1 | 5.061 | 18.7594 | 22.4642 | 16.7963 | 400.113 | 394.7772 | 9.334 | 11.1746 | 31.4684 | 37.6735 | 499.8239 | 1498.5325 | 285.5698 | 73.2354 | -2.248 | 0.34273 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3041 | 0.0098728 | 295.6142 | 291.9094 | 239.7652 | -1.6721 | 2.7296 | 37.2712 | 26.0966 | 20.6118 | 2.437 | 0.36915 | 0.81838 | 1.6186 | 0.23317 | 20.2067 | 0.69891 | 33.4777 | 388.2675 | 0.021042
4 | 12:11:05 | 1122 | 0 | 24.6244 | 0.39775 | 274.9181 | 9.8661 | 1.9119 | 22.4679 | 0.94234 | 2.5305 | 1 | 5.061 | 18.7574 | 22.4679 | 16.7959 | 400.1989 | 394.8221 | 9.3341 | 11.1734 | 31.4728 | 37.6744 | 499.8365 | 1498.4728 | 285.6206 | 73.2361 | -2.248 | 0.34273 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3042 | 0.0098661 | 295.6179 | 291.9074 | 239.7556 | -1.6705 | 2.7302 | 37.2791 | 26.1058 | 20.6127 | 2.4371 | 0.36877 | 0.81829 | 1.6188 | 0.23292 | 20.1339 | 0.69631 | 33.4628 | 388.2536 | 0.021223
5 | 12:11:05 | 1122.5 | 0 | 24.7607 | 0.39722 | 274.2267 | 9.8578 | 1.9126 | 22.4726 | 0.94234 | 2.5305 | 1 | 5.061 | 18.7573 | 22.4726 | 16.7955 | 400.2425 | 394.8404 | 9.336 | 11.1738 | 31.4794 | 37.6761 | 499.8197 | 1498.4852 | 285.7049 | 73.2362 | -2.248 | 0.34273 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.304 | 0.0098578 | 295.6226 | 291.9073 | 239.7576 | -1.6683 | 2.731 | 37.2899 | 26.1161 | 20.615 | 2.4375 | 0.36832 | 0.81833 | 1.6192 | 0.23263 | 20.0833 | 0.69453 | 33.4489 | 388.2355 | 0.021333
6 | 12:11:06 | 1123 | 0 | 24.9617 | 0.39713 | 273.3456 | 9.8547 | 1.9125 | 22.4709 | 0.94234 | 2.5305 | 1 | 5.061 | 18.7568 | 22.4709 | 16.796 | 400.2678 | 394.8278 | 9.335 | 11.1723 | 31.4769 | 37.6721 | 499.7893 | 1498.5508 | 285.7708 | 73.2356 | -2.248 | 0.34273 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3037 | 0.0098547 | 295.6209 | 291.9068 | 239.7681 | -1.6671 | 2.7307 | 37.2861 | 26.1138 | 20.6138 | 2.4373 | 0.36823 | 0.81821 | 1.6191 | 0.23258 | 20.0186 | 0.69232 | 33.447 | 388.1693 | 0.021508
7 | 12:11:07 | 1123.5 | 0 | 25.0501 | 0.3968 | 272.9354 | 9.8435 | 1.9118 | 22.4661 | 0.94234 | 2.5305 | 1 | 5.061 | 18.7556 | 22.4661 | 16.7958 | 400.3222 | 394.8665 | 9.3357 | 11.1708 | 31.4817 | 37.6701 | 499.819 | 1498.49 | 285.8482 | 73.2364 | -2.248 | 0.34273 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.304 | 0.0098435 | 295.6161 | 291.9056 | 239.7584 | -1.6634 | 2.7299 | 37.2748 | 26.104 | 20.6108 | 2.4369 | 0.36796 | 0.81811 | 1.6188 | 0.2324 | 19.9888 | 0.69121 | 33.4483 | 388.1845 | 0.021585
8 | 12:11:07 | 1124 | 0 | 24.949 | 0.39696 | 273.4308 | 9.8466 | 1.9116 | 22.4654 | 0.94234 | 2.5305 | 1 | 5.061 | 18.7551 | 22.4654 | 16.7956 | 400.3331 | 394.8963 | 9.3354 | 11.1711 | 31.4816 | 37.672 | 499.8254 | 1498.4945 | 285.9139 | 73.2362 | -2.248 | 0.34273 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3041 | 0.0098466 | 295.6154 | 291.9051 | 239.7591 | -1.6644 | 2.7298 | 37.2733 | 26.1023 | 20.6103 | 2.4368 | 0.36809 | 0.81813 | 1.6186 | 0.23249 | 20.025 | 0.69241 | 33.4521 | 388.2413 | 0.021497
9 | 12:11:08 | 1124.5 | 0 | 24.9709 | 0.39692 | 273.3368 | 9.8438 | 1.9113 | 22.4633 | 0.94234 | 2.5305 | 1 | 5.061 | 18.7549 | 22.4633 | 16.7964 | 400.3434 | 394.9026 | 9.3358 | 11.171 | 31.4837 | 37.6725 | 499.8224 | 1498.6271 | 286.0964 | 73.2365 | -2.248 | 0.34273 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3041 | 0.0098438 | 295.6133 | 291.9049 | 239.7803 | -1.6632 | 2.7294 | 37.2686 | 26.0976 | 20.6091 | 2.4366 | 0.36806 | 0.81812 | 1.6185 | 0.23247 | 20.0182 | 0.69216 | 33.4552 | 388.2417 | 0.021518
10 | 12:11:08 | 1125 | 0 | 24.8789 | 0.39686 | 273.7468 | 9.8447 | 1.9118 | 22.4663 | 0.94234 | 2.5305 | 1 | 5.061 | 18.7539 | 22.4663 | 16.7968 | 400.3697 | 394.9464 | 9.3363 | 11.1716 | 31.4872 | 37.6767 | 499.8442 | 1498.9261 | 286.2581 | 73.2364 | -2.248 | 0.34273 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3043 | 0.0098447 | 295.6163 | 291.9039 | 239.8282 | -1.6635 | 2.7299 | 37.2754 | 26.1039 | 20.6101 | 2.4368 | 0.368 | 0.81816 | 1.6186 | 0.23243 | 20.0482 | 0.69312 | 33.4504 | 388.31 | 0.021432
11 | 12:11:09 | 1125.5 | 0 | 24.7417 | 0.39655 | 274.2645 | 9.8404 | 1.9123 | 22.4695 | 0.94234 | 2.5305 | 1 | 5.061 | 18.7537 | 22.4695 | 16.7958 | 400.3647 | 394.9677 | 9.3371 | 11.1716 | 31.4904 | 37.6771 | 499.8528 | 1499.2701 | 286.4407 | 73.2361 | -2.248 | 0.34273 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3044 | 0.0098404 | 295.6195 | 291.9037 | 239.8832 | -1.662 | 2.7304 | 37.2828 | 26.1112 | 20.6116 | 2.437 | 0.36773 | 0.81816 | 1.6188 | 0.23226 | 20.0861 | 0.6944 | 33.4407 | 388.3679 | 0.021304
12 | 12:11:09 | 1126 | 0 | 24.9779 | 0.39685 | 273.3118 | 9.8445 | 1.9117 | 22.4664 | 0.94234 | 2.5305 | 1 | 5.061 | 18.7538 | 22.4664 | 16.7963 | 400.3709 | 394.929 | 9.3372 | 11.1724 | 31.4901 | 37.6793 | 499.8467 | 1499.5339 | 286.7276 | 73.2358 | -2.248 | 0.34273 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3043 | 0.0098445 | 295.6164 | 291.9038 | 239.9254 | -1.6627 | 2.7299 | 37.276 | 26.1036 | 20.6101 | 2.4368 | 0.368 | 0.81822 | 1.6185 | 0.23243 | 20.0162 | 0.69205 | 33.4519 | 388.2662 | 0.02152
13 | 12:11:10 | 1126.5 | 0 | 24.9813 | 0.39741 | 273.4458 | 9.8537 | 1.911 | 22.4629 | 0.94234 | 2.5305 | 1 | 5.061 | 18.753 | 22.4629 | 16.7964 | 400.3774 | 394.9344 | 9.3368 | 11.1736 | 31.4902 | 37.6854 | 499.8627 | 1499.8042 | 287.0235 | 73.2359 | -2.248 | 0.34273 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3045 | 0.0098537 | 295.6129 | 291.903 | 239.9687 | -1.6651 | 2.7293 | 37.2678 | 26.0942 | 20.6079 | 2.4364 | 0.36847 | 0.81831 | 1.6181 | 0.23273 | 20.0261 | 0.69238 | 33.4683 | 388.2707 | 0.021533
14 | 12:11:10 | 1127 | 0 | 24.8626 | 0.39735 | 273.9266 | 9.854 | 1.9114 | 22.4655 | 0.94234 | 2.5305 | 1 | 5.061 | 18.7529 | 22.4655 | 16.7962 | 400.3537 | 394.9332 | 9.338 | 11.1748 | 31.4949 | 37.6901 | 499.8888 | 1500.0175 | 287.3228 | 73.2365 | -2.248 | 0.34273 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3048 | 0.009854 | 295.6155 | 291.9029 | 240.0028 | -1.6651 | 2.7298 | 37.2735 | 26.0987 | 20.6092 | 2.4366 | 0.36842 | 0.81841 | 1.6182 | 0.2327 | 20.0614 | 0.6936 | 33.466 | 388.3012 | 0.021428
15 | 12:11:11 | 1127.5 | 0 | 24.7246 | 0.39737 | 274.4806 | 9.8613 | 1.9127 | 22.4738 | 0.94234 | 2.5305 | 1 | 5.061 | 18.7523 | 22.4738 | 16.7972 | 400.305 | 394.9099 | 9.338 | 11.1762 | 31.4959 | 37.696 | 499.8784 | 1500.2965 | 287.6013 | 73.2361 | -2.248 | 0.34273 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3047 | 0.0098613 | 295.6238 | 291.9023 | 240.0474 | -1.6678 | 2.7312 | 37.2926 | 26.1164 | 20.6131 | 2.4372 | 0.36844 | 0.8185 | 1.6187 | 0.23271 | 20.1019 | 0.69505 | 33.4546 | 388.3147 | 0.021301 | 24.7186 | 18.7557 | 22.4661 | #DIV/0! | 1124.0333 | 0 | 24.7186 | 0.3973 | 274.4606 | 9.8543 | 1.9116 | 22.4661 | 0.94234 | 2.5305 | 1 | 5.061 | 18.7557 | 22.4661 | 16.7961 | 400.2676 | 394.8738 | 9.3359 | 11.173 | 31.4821 | 37.6769 | 499.8369 | 1498.9861 | 286.1916 | 73.2359 | -2.248 | 0.34273 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3042 | 0.0098543 | 295.6161 | 291.9057 | 239.8378 | -1.6662 | 2.7299 | 37.2751 | 26.1022 | 20.6109 | 2.4369 | 0.36838 | 0.81826 | 1.6186 | 0.23267 | 20.1004 | 0.69506 | 33.4595 | 388.2802 | 0.021301
Remark= | "12:11:20 Coolers: Tblock -> 21.00 C"
Remark= | "12:13:48 Flow: Fixed -> 500 umol/s"
Remark= | "12:17:18 Flow: Fixed -> 500 umol/s"
16 | 12:18:58 | 1595.5 | 0 | 27.156 | 0.33628 | 242.7692 | 9.5492 | 2.1554 | 24.7886 | 0.94234 | 2.5305 | 1 | 5.061 | 22.3974 | 24.7886 | 21.121 | 400.4608 | 394.6307 | 11.6654 | 13.4415 | 31.4266 | 36.2114 | 499.84 | 1500.3549 | 306.9828 | 73.2369 | -2.6731 | 0.3361 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3043 | 0.0095492 | 297.9386 | 295.5474 | 240.0568 | -1.4703 | 3.1398 | 42.8723 | 29.4308 | 23.593 | 2.9225 | 0.31533 | 0.98441 | 1.9381 | 0.19886 | 17.7797 | 0.61518 | 33.7645 | 387.3869 | 0.023669
17 | 12:18:59 | 1595.5 | 0 | 27.156 | 0.33628 | 242.7692 | 9.5492 | 2.1554 | 24.7886 | 0.94234 | 2.5305 | 1 | 5.061 | 22.3974 | 24.7886 | 21.121 | 400.4608 | 394.6307 | 11.6654 | 13.4415 | 31.4266 | 36.2114 | 499.84 | 1500.3549 | 306.9828 | 73.2369 | -2.6731 | 0.3361 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3043 | 0.0095492 | 297.9386 | 295.5474 | 240.0568 | -1.4703 | 3.1398 | 42.8723 | 29.4308 | 23.593 | 2.9225 | 0.31533 | 0.98441 | 1.9381 | 0.19886 | 17.7797 | 0.61518 | 33.7645 | 387.3869 | 0.023669
18 | 12:18:59 | 1596 | 0 | 27.3088 | 0.3359 | 241.8435 | 9.5412 | 2.1559 | 24.7909 | 0.94234 | 2.5305 | 1 | 5.061 | 22.3976 | 24.7909 | 21.1208 | 400.4569 | 394.5988 | 11.6664 | 13.4409 | 31.4291 | 36.2098 | 499.8567 | 1500.3444 | 307.0109 | 73.2372 | -2.6731 | 0.3361 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3044 | 0.0095412 | 297.9409 | 295.5476 | 240.0551 | -1.468 | 3.1403 | 42.8779 | 29.4369 | 23.5943 | 2.9228 | 0.315 | 0.98438 | 1.9384 | 0.19865 | 17.7119 | 0.61288 | 33.7546 | 387.3143 | 0.0238
19 | 12:19:00 | 1596.5 | 0 | 27.3999 | 0.33598 | 241.3939 | 9.5388 | 2.1549 | 24.786 | 0.94234 | 2.5305 | 1 | 5.061 | 22.3981 | 24.786 | 21.1213 | 400.4344 | 394.5596 | 11.6678 | 13.4418 | 31.4319 | 36.211 | 499.875 | 1500.3451 | 307.1206 | 73.2372 | -2.6731 | 0.3361 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3046 | 0.0095388 | 297.936 | 295.5481 | 240.0552 | -1.4668 | 3.1393 | 42.8652 | 29.4234 | 23.592 | 2.9224 | 0.31507 | 0.98444 | 1.9379 | 0.19869 | 17.679 | 0.61181 | 33.7669 | 387.2507 | 0.023892
20 | 12:19:00 | 1597 | 0 | 27.0985 | 0.33588 | 242.8176 | 9.5357 | 2.1548 | 24.7853 | 0.94234 | 2.5305 | 1 | 5.061 | 22.3984 | 24.7853 | 21.1218 | 400.3568 | 394.5391 | 11.6681 | 13.4416 | 31.4322 | 36.2096 | 499.8755 | 1500.3839 | 307.1899 | 73.2368 | -2.6731 | 0.3361 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3046 | 0.0095357 | 297.9353 | 295.5484 | 240.0614 | -1.4657 | 3.1392 | 42.8638 | 29.4222 | 23.5919 | 2.9223 | 0.31497 | 0.98442 | 1.9379 | 0.19864 | 17.7832 | 0.61545 | 33.7661 | 387.3107 | 0.023625
21 | 12:19:01 | 1597.5 | 0 | 26.7498 | 0.33589 | 244.5192 | 9.5386 | 2.1554 | 24.789 | 0.94234 | 2.5305 | 1 | 5.061 | 22.3985 | 24.789 | 21.122 | 400.2795 | 394.5271 | 11.6686 | 13.4427 | 31.4336 | 36.2126 | 499.8548 | 1500.4208 | 307.2474 | 73.2372 | -2.6731 | 0.3361 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3044 | 0.0095386 | 297.939 | 295.5485 | 240.0673 | -1.4668 | 3.1399 | 42.873 | 29.4303 | 23.5937 | 2.9227 | 0.31498 | 0.98451 | 1.9382 | 0.19864 | 17.9079 | 0.61978 | 33.7619 | 387.3917 | 0.023313
22 | 12:19:01 | 1598 | 0 | 26.3863 | 0.33584 | 246.2438 | 9.534 | 2.1546 | 24.7848 | 0.94234 | 2.5305 | 1 | 5.061 | 22.3983 | 24.7848 | 21.1219 | 400.158 | 394.4744 | 11.6689 | 13.4422 | 31.4346 | 36.2116 | 499.8365 | 1500.4183 | 307.2693 | 73.2368 | -2.6731 | 0.3361 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3042 | 0.009534 | 297.9348 | 295.5483 | 240.0669 | -1.4651 | 3.1391 | 42.8625 | 29.4202 | 23.5915 | 2.9223 | 0.31494 | 0.98446 | 1.9378 | 0.19861 | 18.0341 | 0.62423 | 33.768 | 387.4359 | 0.022998
23 | 12:19:02 | 1598.5 | 0 | 26.0481 | 0.33557 | 247.7689 | 9.5244 | 2.1541 | 24.7814 | 0.94234 | 2.5305 | 1 | 5.061 | 22.3988 | 24.7814 | 21.1216 | 400.0452 | 394.4261 | 11.6701 | 13.4416 | 31.4365 | 36.2086 | 499.8302 | 1500.3903 | 307.3426 | 73.2363 | -2.6731 | 0.3361 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3042 | 0.0095244 | 297.9314 | 295.5488 | 240.0624 | -1.4618 | 3.1385 | 42.8541 | 29.4125 | 23.5901 | 2.922 | 0.31471 | 0.98442 | 1.9376 | 0.19847 | 18.1457 | 0.62818 | 33.7696 | 387.4778 | 0.022702
24 | 12:19:02 | 1599 | 0 | 25.625 | 0.33462 | 249.4751 | 9.5033 | 2.155 | 24.7857 | 0.94234 | 2.5305 | 1 | 5.061 | 22.3992 | 24.7857 | 21.1217 | 399.9334 | 394.3958 | 11.6718 | 13.4394 | 31.4403 | 36.2016 | 499.8345 | 1500.4103 | 307.2814 | 73.2366 | -2.6731 | 0.3361 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3042 | 0.0095033 | 297.9357 | 295.5492 | 240.0656 | -1.4555 | 3.1393 | 42.8649 | 29.4255 | 23.5925 | 2.9224 | 0.31387 | 0.98425 | 1.9382 | 0.19793 | 18.2707 | 0.63255 | 33.7449 | 387.5604 | 0.022312
25 | 12:19:03 | 1599.5 | 0 | 25.5322 | 0.33482 | 249.958 | 9.5029 | 2.1538 | 24.7792 | 0.94234 | 2.5305 | 1 | 5.061 | 22.3992 | 24.7792 | 21.1216 | 399.8595 | 394.3393 | 11.6722 | 13.4398 | 31.4417 | 36.203 | 499.8168 | 1500.4741 | 307.278 | 73.2368 | -2.6731 | 0.3361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.304 | 0.0095029 | 297.9292 | 295.5492 | 240.0759 | -1.4548 | 3.1381 | 42.8482 | 29.4084 | 23.5892 | 2.9219 | 0.31404 | 0.98429 | 1.9376 | 0.19804 | 18.3061 | 0.63387 | 33.7607 | 387.5286 | 0.022243
26 | 12:19:03 | 1600 | 0 | 25.5392 | 0.33517 | 250.0294 | 9.507 | 2.1526 | 24.7734 | 0.94234 | 2.5305 | 1 | 5.061 | 22.3991 | 24.7734 | 21.1218 | 399.8315 | 394.3094 | 11.6727 | 13.4411 | 31.4428 | 36.2064 | 499.7956 | 1500.5204 | 307.2521 | 73.2365 | -2.6731 | 0.3361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3038 | 0.009507 | 297.9234 | 295.5491 | 240.0833 | -1.4556 | 3.137 | 42.8334 | 29.3924 | 23.5863 | 2.9213 | 0.31435 | 0.98438 | 1.937 | 0.19824 | 18.3113 | 0.63409 | 33.7788 | 387.497 | 0.022263
27 | 12:19:04 | 1600.5 | 0 | 25.5967 | 0.33473 | 249.5755 | 9.4968 | 2.1529 | 24.7745 | 0.94234 | 2.5305 | 1 | 5.061 | 22.3995 | 24.7745 | 21.1216 | 399.8283 | 394.2962 | 11.6733 | 13.4398 | 31.4438 | 36.2021 | 499.7941 | 1500.5677 | 307.2784 | 73.2363 | -2.6731 | 0.3361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3038 | 0.0094968 | 297.9245 | 295.5495 | 240.0908 | -1.4524 | 3.1372 | 42.8364 | 29.3965 | 23.587 | 2.9215 | 0.31397 | 0.98428 | 1.9372 | 0.198 | 18.278 | 0.63296 | 33.7685 | 387.4683 | 0.022308
28 | 12:19:04 | 1601 | 0 | 25.7818 | 0.33425 | 248.4934 | 9.4897 | 2.1542 | 24.7812 | 0.94234 | 2.5305 | 1 | 5.061 | 22.3997 | 24.7812 | 21.1219 | 399.8778 | 394.3115 | 11.6741 | 13.4392 | 31.4456 | 36.2001 | 499.8169 | 1500.5651 | 307.3379 | 73.2364 | -2.6731 | 0.3361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.304 | 0.0094897 | 297.9312 | 295.5497 | 240.0904 | -1.4507 | 3.1384 | 42.8536 | 29.4144 | 23.5905 | 2.9221 | 0.31354 | 0.98424 | 1.9378 | 0.19772 | 18.1988 | 0.6302 | 33.7484 | 387.4343 | 0.022458
29 | 12:19:05 | 1601.5 | 0 | 25.8773 | 0.33406 | 247.9528 | 9.4829 | 2.1538 | 24.779 | 0.94234 | 2.5305 | 1 | 5.061 | 22.3993 | 24.779 | 21.1222 | 399.8923 | 394.3087 | 11.675 | 13.4387 | 31.4488 | 36.1998 | 499.8384 | 1500.5979 | 307.4085 | 73.2365 | -2.6731 | 0.3361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3042 | 0.0094829 | 297.929 | 295.5493 | 240.0957 | -1.4484 | 3.138 | 42.8478 | 29.409 | 23.5891 | 2.9219 | 0.31337 | 0.98421 | 1.9376 | 0.19762 | 18.1592 | 0.62883 | 33.7493 | 387.406 | 0.022543
30 | 12:19:05 | 1602 | 0 | 26.0763 | 0.33382 | 246.8658 | 9.4755 | 2.1536 | 24.7774 | 0.94234 | 2.5305 | 1 | 5.061 | 22.3991 | 24.7774 | 21.1225 | 399.909 | 394.2888 | 11.676 | 13.4384 | 31.4519 | 36.1991 | 499.8589 | 1500.6885 | 307.3463 | 73.2362 | -2.6731 | 0.3361 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3045 | 0.0094755 | 297.9274 | 295.5491 | 240.1102 | -1.4459 | 3.1377 | 42.8439 | 29.4056 | 23.5883 | 2.9217 | 0.31317 | 0.98417 | 1.9375 | 0.19749 | 18.0795 | 0.6261 | 33.7484 | 387.333 | 0.02272 | 26.3555 | 22.3986 | 24.783 | #DIV/0! | 1598.5333 | 0 | 26.3555 | 0.33527 | 246.165 | 9.518 | 2.1544 | 24.783 | 0.94234 | 2.5305 | 1 | 5.061 | 22.3986 | 24.783 | 21.1216 | 400.119 | 394.4424 | 11.6704 | 13.4407 | 31.4377 | 36.2065 | 499.8376 | 1500.4558 | 307.2219 | 73.2367 | -2.6731 | 0.3361 | 0.8 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3042 | 0.009518 | 297.933 | 295.5486 | 240.0729 | -1.4599 | 3.1388 | 42.8579 | 29.4173 | 23.5908 | 2.9221 | 0.31444 | 0.98435 | 1.9378 | 0.1983 | 18.0283 | 0.62409 | 33.761 | 387.4122 | 0.022968
Remark= | "12:19:14 Coolers: Tblock -> 26.00 C"
Remark= | "12:21:42 Flow: Fixed -> 500 umol/s"
Remark= | "12:24:29 Flow: Fixed -> 500 umol/s"
31 | 12:26:01 | 2018.5 | 0 | 24.9591 | 0.27258 | 225.506 | 8.7039 | 2.3805 | 27.441 | 0.94234 | 2.5305 | 1 | 5.061 | 26.5563 | 27.441 | 26.0116 | 400.7137 | 395.3598 | 16.0383 | 17.6501 | 33.6792 | 37.0639 | 499.8753 | 1498.6174 | 298.3628 | 73.2234 | -2.473 | 0.32569 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3046 | 0.0087039 | 300.591 | 299.7063 | 239.7788 | -1.0889 | 3.6729 | 50.1604 | 32.5103 | 26.9987 | 3.5789 | 0.25865 | 1.2924 | 2.2865 | 0.16285 | 16.5123 | 0.57038 | 36.3413 | 388.7021 | 0.023335
32 | 12:26:01 | 2018.5 | 0 | 24.9591 | 0.27258 | 225.506 | 8.7039 | 2.3805 | 27.441 | 0.94234 | 2.5305 | 1 | 5.061 | 26.5563 | 27.441 | 26.0116 | 400.7137 | 395.3598 | 16.0383 | 17.6501 | 33.6792 | 37.0639 | 499.8753 | 1498.6174 | 298.3628 | 73.2234 | -2.473 | 0.32569 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3046 | 0.0087039 | 300.591 | 299.7063 | 239.7788 | -1.0889 | 3.6729 | 50.1604 | 32.5103 | 26.9987 | 3.5789 | 0.25865 | 1.2924 | 2.2865 | 0.16285 | 16.5123 | 0.57038 | 36.3413 | 388.7021 | 0.023335
33 | 12:26:02 | 2018.5 | 0 | 24.9591 | 0.27258 | 225.506 | 8.7039 | 2.3805 | 27.441 | 0.94234 | 2.5305 | 1 | 5.061 | 26.5563 | 27.441 | 26.0116 | 400.7137 | 395.3598 | 16.0383 | 17.6501 | 33.6792 | 37.0639 | 499.8753 | 1498.6174 | 298.3628 | 73.2234 | -2.473 | 0.32569 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3046 | 0.0087039 | 300.591 | 299.7063 | 239.7788 | -1.0889 | 3.6729 | 50.1604 | 32.5103 | 26.9987 | 3.5789 | 0.25865 | 1.2924 | 2.2865 | 0.16285 | 16.5123 | 0.57038 | 36.3413 | 388.7021 | 0.023335
34 | 12:26:02 | 2019 | 0 | 24.7012 | 0.27244 | 226.9561 | 8.6992 | 2.3804 | 27.4409 | 0.94234 | 2.5305 | 1 | 5.061 | 26.5571 | 27.4409 | 26.0113 | 400.6427 | 395.3378 | 16.0401 | 17.6511 | 33.6818 | 37.0646 | 499.8739 | 1498.6156 | 298.2959 | 73.224 | -2.473 | 0.32569 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3046 | 0.0086992 | 300.5909 | 299.7071 | 239.7785 | -1.0874 | 3.6729 | 50.1599 | 32.5088 | 26.999 | 3.579 | 0.25852 | 1.2925 | 2.2865 | 0.16277 | 16.6186 | 0.57408 | 36.342 | 388.7488 | 0.023092
35 | 12:26:03 | 2019.5 | 0 | 24.658 | 0.27246 | 227.2273 | 8.6997 | 2.3803 | 27.4416 | 0.94234 | 2.5305 | 1 | 5.061 | 26.5579 | 27.4416 | 26.0112 | 400.6351 | 395.3384 | 16.0431 | 17.6541 | 33.6863 | 37.0691 | 499.8809 | 1498.5939 | 298.2979 | 73.2237 | -2.473 | 0.32569 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3047 | 0.0086997 | 300.5916 | 299.7079 | 239.775 | -1.0875 | 3.673 | 50.1619 | 32.5077 | 26.9997 | 3.5791 | 0.25854 | 1.2927 | 2.2864 | 0.16279 | 16.6384 | 0.57477 | 36.3466 | 388.7609 | 0.023054
36 | 12:26:03 | 2020 | 0 | 24.5747 | 0.27216 | 227.5427 | 8.6911 | 2.3805 | 27.4425 | 0.94234 | 2.5305 | 1 | 5.061 | 26.5578 | 27.4425 | 26.0115 | 400.591 | 395.3105 | 16.0455 | 17.655 | 33.6915 | 37.071 | 499.863 | 1498.532 | 298.2711 | 73.2238 | -2.473 | 0.32569 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3045 | 0.0086911 | 300.5925 | 299.7078 | 239.7651 | -1.085 | 3.6732 | 50.1646 | 32.5096 | 27.0002 | 3.5792 | 0.25827 | 1.2928 | 2.2864 | 0.16261 | 16.6615 | 0.57561 | 36.3427 | 388.7553 | 0.022974
37 | 12:26:04 | 2020.5 | 0 | 24.5983 | 0.27239 | 227.4983 | 8.6969 | 2.3802 | 27.4416 | 0.94234 | 2.5305 | 1 | 5.061 | 26.5584 | 27.4416 | 26.0114 | 400.5691 | 395.2837 | 16.0462 | 17.6568 | 33.692 | 37.0738 | 499.8564 | 1498.5227 | 298.274 | 73.2241 | -2.473 | 0.32569 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3044 | 0.0086969 | 300.5916 | 299.7084 | 239.7636 | -1.0867 | 3.6731 | 50.1619 | 32.505 | 27 | 3.5792 | 0.25848 | 1.2929 | 2.2863 | 0.16275 | 16.6584 | 0.57553 | 36.351 | 388.7221 | 0.023003
38 | 12:26:04 | 2021 | 0 | 24.5409 | 0.27233 | 227.8087 | 8.6942 | 2.38 | 27.441 | 0.94234 | 2.5305 | 1 | 5.061 | 26.5584 | 27.441 | 26.0119 | 400.5585 | 395.2839 | 16.0476 | 17.6578 | 33.6951 | 37.0759 | 499.8376 | 1498.4989 | 298.3265 | 73.2239 | -2.473 | 0.32569 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3042 | 0.0086942 | 300.591 | 299.7084 | 239.7598 | -1.0858 | 3.6729 | 50.1603 | 32.5025 | 26.9997 | 3.5791 | 0.25842 | 1.293 | 2.2861 | 0.16271 | 16.681 | 0.57632 | 36.3532 | 388.7377 | 0.02295
39 | 12:26:05 | 2021.5 | 0 | 24.6475 | 0.27245 | 227.2605 | 8.6971 | 2.3797 | 27.4405 | 0.94234 | 2.5305 | 1 | 5.061 | 26.5592 | 27.4405 | 26.0121 | 400.6034 | 395.3086 | 16.0485 | 17.6591 | 33.695 | 37.0768 | 499.8436 | 1498.6141 | 298.3563 | 73.2239 | -2.473 | 0.32569 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3043 | 0.0086971 | 300.5905 | 299.7092 | 239.7783 | -1.0865 | 3.6728 | 50.1586 | 32.4994 | 26.9999 | 3.5791 | 0.25853 | 1.2931 | 2.2861 | 0.16278 | 16.6409 | 0.57489 | 36.3585 | 388.7339 | 0.023053
40 | 12:26:05 | 2022 | 0 | 24.5947 | 0.27249 | 227.6145 | 8.697 | 2.3793 | 27.4395 | 0.94234 | 2.5305 | 1 | 5.061 | 26.5594 | 27.4395 | 26.0116 | 400.6086 | 395.3234 | 16.0507 | 17.6614 | 33.6993 | 37.0812 | 499.8153 | 1498.5753 | 298.4196 | 73.224 | -2.473 | 0.32569 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.304 | 0.008697 | 300.5895 | 299.7094 | 239.772 | -1.0864 | 3.6726 | 50.1555 | 32.4941 | 26.9995 | 3.579 | 0.25857 | 1.2932 | 2.2858 | 0.1628 | 16.6668 | 0.57577 | 36.3656 | 388.7628 | 0.023006
41 | 12:26:06 | 2022.5 | 0 | 24.5449 | 0.27231 | 227.8398 | 8.6911 | 2.3793 | 27.4393 | 0.94234 | 2.5305 | 1 | 5.061 | 26.5601 | 27.4393 | 26.0117 | 400.6224 | 395.3471 | 16.0524 | 17.662 | 33.7015 | 37.0808 | 499.8304 | 1498.6354 | 298.4441 | 73.2238 | -2.473 | 0.32569 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3042 | 0.0086911 | 300.5893 | 299.7101 | 239.7817 | -1.0844 | 3.6725 | 50.1551 | 32.4931 | 26.9997 | 3.5791 | 0.2584 | 1.2933 | 2.2858 | 0.1627 | 16.6833 | 0.5763 | 36.3648 | 388.7998 | 0.022957
42 | 12:26:06 | 2023 | 0 | 24.9675 | 0.27211 | 225.2274 | 8.6856 | 2.3794 | 27.4407 | 0.94234 | 2.5305 | 1 | 5.061 | 26.5607 | 27.4407 | 26.0123 | 400.7282 | 395.3738 | 16.0554 | 17.6639 | 33.7066 | 37.0835 | 499.845 | 1498.6493 | 298.4299 | 73.2235 | -2.473 | 0.32569 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3043 | 0.0086856 | 300.5907 | 299.7107 | 239.7839 | -1.0828 | 3.6728 | 50.1594 | 32.4955 | 27.0007 | 3.5793 | 0.25822 | 1.2934 | 2.2859 | 0.16258 | 16.4919 | 0.56966 | 36.363 | 388.7138 | 0.023356
43 | 12:26:07 | 2023.5 | 0 | 25.2545 | 0.27199 | 223.435 | 8.6828 | 2.3797 | 27.4418 | 0.94234 | 2.5305 | 1 | 5.061 | 26.5607 | 27.4418 | 26.0131 | 400.7732 | 395.3652 | 16.0561 | 17.664 | 33.7081 | 37.0838 | 499.8718 | 1498.6799 | 298.3493 | 73.2239 | -2.473 | 0.32569 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3046 | 0.0086828 | 300.5918 | 299.7107 | 239.7888 | -1.082 | 3.6731 | 50.1626 | 32.4986 | 27.0013 | 3.5794 | 0.25812 | 1.2934 | 2.286 | 0.16251 | 16.3608 | 0.56514 | 36.3594 | 388.6286 | 0.023628
44 | 12:26:07 | 2024 | 0 | 25.3067 | 0.272 | 223.1421 | 8.6834 | 2.3797 | 27.4422 | 0.94234 | 2.5305 | 1 | 5.061 | 26.5616 | 27.4422 | 26.0133 | 400.7957 | 395.3778 | 16.0569 | 17.665 | 33.7081 | 37.0838 | 499.8696 | 1498.6985 | 298.2035 | 73.2236 | -2.473 | 0.32569 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3046 | 0.0086834 | 300.5922 | 299.7116 | 239.7918 | -1.0821 | 3.6732 | 50.1638 | 32.4988 | 27.0019 | 3.5796 | 0.25813 | 1.2935 | 2.2861 | 0.16252 | 16.3393 | 0.56438 | 36.3606 | 388.6273 | 0.023677
45 | 12:26:08 | 2024.5 | 0 | 25.2927 | 0.27212 | 223.309 | 8.6877 | 2.3798 | 27.444 | 0.94234 | 2.5305 | 1 | 5.061 | 26.5615 | 27.444 | 26.0134 | 400.8147 | 395.3991 | 16.0591 | 17.6679 | 33.7127 | 37.09 | 499.8768 | 1498.6669 | 298.0204 | 73.2236 | -2.473 | 0.32569 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3047 | 0.0086877 | 300.594 | 299.7115 | 239.7867 | -1.0836 | 3.6736 | 50.169 | 32.5011 | 27.0027 | 3.5797 | 0.25824 | 1.2937 | 2.286 | 0.16259 | 16.3515 | 0.56477 | 36.3639 | 388.6524 | 0.023665 | 24.8372 | 26.5588 | 27.4412 | #DIV/0! | 2021.1 | 0 | 24.8372 | 0.27233 | 226.092 | 8.6945 | 2.38 | 27.4412 | 0.94234 | 2.5305 | 1 | 5.061 | 26.5588 | 27.4412 | 26.012 | 400.6722 | 395.3419 | 16.0478 | 17.6579 | 33.6944 | 37.0751 | 499.8594 | 1498.609 | 298.3185 | 73.2237 | -2.473 | 0.32569 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3045 | 0.0086945 | 300.5912 | 299.7088 | 239.7774 | -1.0858 | 3.673 | 50.1609 | 32.503 | 27 | 3.5792 | 0.25843 | 1.293 | 2.2862 | 0.16271 | 16.5553 | 0.57189 | 36.353 | 388.7166 | 0.023228
Remark= | "12:26:19 Coolers: Tblock -> 31.00 C"
Remark= | "12:32:48 Flow: Fixed -> 500 umol/s"
Remark= | "12:34:15 Flow: Fixed -> 500 umol/s"
46 | 12:35:51 | 2609 | 0 | 23.2093 | 0.23195 | 211.079 | 8.3784 | 2.6515 | 30.3744 | 0.94234 | 2.5305 | 1 | 5.061 | 30.9672 | 30.3744 | 31.0843 | 400.6794 | 395.679 | 21.6945 | 23.2373 | 35.2754 | 37.7839 | 499.8601 | 1499.3976 | 264.6709 | 73.2179 | -2.3309 | 0.29375 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3045 | 0.0083784 | 303.5244 | 304.1172 | 239.9036 | -0.86139 | 4.3529 | 59.4517 | 36.2144 | 30.6708 | 4.4274 | 0.22179 | 1.7014 | 2.726 | 0.1395 | 15.4548 | 0.53346 | 39.2435 | 389.488 | 0.023385
47 | 12:35:51 | 2609 | 0 | 23.2093 | 0.23195 | 211.079 | 8.3784 | 2.6515 | 30.3744 | 0.94234 | 2.5305 | 1 | 5.061 | 30.9672 | 30.3744 | 31.0843 | 400.6794 | 395.679 | 21.6945 | 23.2373 | 35.2754 | 37.7839 | 499.8601 | 1499.3976 | 264.6709 | 73.2179 | -2.3309 | 0.29375 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3045 | 0.0083784 | 303.5244 | 304.1172 | 239.9036 | -0.86139 | 4.3529 | 59.4517 | 36.2144 | 30.6708 | 4.4274 | 0.22179 | 1.7014 | 2.726 | 0.1395 | 15.4548 | 0.53346 | 39.2435 | 389.488 | 0.023385
48 | 12:35:52 | 2609.5 | 0 | 23.3765 | 0.2321 | 209.9976 | 8.3824 | 2.6512 | 30.374 | 0.94234 | 2.5305 | 1 | 5.061 | 30.9671 | 30.374 | 31.0846 | 400.6921 | 395.6602 | 21.6968 | 23.2403 | 35.2791 | 37.7888 | 499.8884 | 1499.5269 | 265.1667 | 73.2176 | -2.3309 | 0.29375 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3048 | 0.0083824 | 303.524 | 304.1171 | 239.9243 | -0.86247 | 4.3528 | 59.4505 | 36.2103 | 30.6705 | 4.4273 | 0.22192 | 1.7016 | 2.7257 | 0.13958 | 15.3755 | 0.53075 | 39.2509 | 389.4246 | 0.023562
49 | 12:35:52 | 2610 | 0 | 23.4289 | 0.23241 | 209.8519 | 8.3855 | 2.6489 | 30.366 | 0.94234 | 2.5305 | 1 | 5.061 | 30.9675 | 30.366 | 31.0848 | 400.6974 | 395.6553 | 21.7004 | 23.2445 | 35.2845 | 37.7951 | 499.8822 | 1499.4965 | 265.7072 | 73.2182 | -2.3309 | 0.29375 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3047 | 0.0083855 | 303.516 | 304.1175 | 239.9194 | -0.86277 | 4.3508 | 59.4228 | 36.1784 | 30.6667 | 4.4264 | 0.2222 | 1.7019 | 2.7244 | 0.13976 | 15.365 | 0.53039 | 39.2804 | 389.4058 | 0.023633
50 | 12:35:53 | 2610.5 | 0 | 22.9794 | 0.23185 | 212.6686 | 8.3615 | 2.6474 | 30.3601 | 0.94234 | 2.5305 | 1 | 5.061 | 30.9684 | 30.3601 | 31.0851 | 400.6661 | 395.7104 | 21.7051 | 23.2448 | 35.2904 | 37.7937 | 499.8696 | 1499.4828 | 266.3264 | 73.2188 | -2.3309 | 0.29375 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3046 | 0.0083615 | 303.5101 | 304.1184 | 239.9172 | -0.85477 | 4.3494 | 59.4026 | 36.1578 | 30.6643 | 4.4257 | 0.2217 | 1.702 | 2.7238 | 0.13944 | 15.5713 | 0.53743 | 39.2884 | 389.5807 | 0.023174
51 | 12:35:53 | 2611 | 0 | 23.0997 | 0.23252 | 212.2526 | 8.3836 | 2.6471 | 30.3603 | 0.94234 | 2.5305 | 1 | 5.061 | 30.9687 | 30.3603 | 31.0856 | 400.6656 | 395.6853 | 21.7055 | 23.2493 | 35.2904 | 37.8004 | 499.8436 | 1499.4883 | 266.9174 | 73.2187 | -2.3309 | 0.29375 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3043 | 0.0083836 | 303.5103 | 304.1187 | 239.9181 | -0.86159 | 4.3494 | 59.4031 | 36.1539 | 30.6645 | 4.4258 | 0.2223 | 1.7023 | 2.7235 | 0.13982 | 15.5409 | 0.53642 | 39.3031 | 389.5236 | 0.023308
52 | 12:35:54 | 2611.5 | 0 | 23.2574 | 0.23311 | 211.5409 | 8.4004 | 2.6461 | 30.3573 | 0.94234 | 2.5305 | 1 | 5.061 | 30.9684 | 30.3573 | 31.0854 | 400.6788 | 395.6674 | 21.7069 | 23.2538 | 35.2934 | 37.8086 | 499.8311 | 1499.5153 | 267.2939 | 73.2189 | -2.3309 | 0.29375 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3042 | 0.0084004 | 303.5073 | 304.1184 | 239.9224 | -0.86657 | 4.3487 | 59.3929 | 36.1391 | 30.6629 | 4.4254 | 0.22284 | 1.7026 | 2.7228 | 0.14016 | 15.4888 | 0.53464 | 39.3244 | 389.4636 | 0.023483
53 | 12:35:54 | 2612 | 0 | 23.0923 | 0.23282 | 212.4747 | 8.3935 | 2.6469 | 30.3617 | 0.94234 | 2.5305 | 1 | 5.061 | 30.9686 | 30.3617 | 31.0853 | 400.6309 | 395.6512 | 21.7114 | 23.257 | 35.3003 | 37.8132 | 499.8404 | 1499.5112 | 267.5128 | 73.2185 | -2.3309 | 0.29375 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3043 | 0.0083935 | 303.5117 | 304.1186 | 239.9218 | -0.86476 | 4.3498 | 59.408 | 36.1509 | 30.6651 | 4.426 | 0.22258 | 1.7028 | 2.7231 | 0.14 | 15.5571 | 0.53703 | 39.316 | 389.4914 | 0.02331
54 | 12:35:55 | 2612.5 | 0 | 23.189 | 0.23279 | 211.7826 | 8.3918 | 2.6467 | 30.3616 | 0.94234 | 2.5305 | 1 | 5.061 | 30.969 | 30.3616 | 31.0857 | 400.6472 | 395.6493 | 21.7137 | 23.2591 | 35.3032 | 37.8157 | 499.8228 | 1499.4912 | 267.7927 | 73.2186 | -2.3309 | 0.29375 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3041 | 0.0083918 | 303.5116 | 304.119 | 239.9186 | -0.86422 | 4.3497 | 59.4075 | 36.1484 | 30.6653 | 4.426 | 0.22255 | 1.703 | 2.723 | 0.13998 | 15.5064 | 0.53528 | 39.3194 | 389.4637 | 0.023411
55 | 12:35:55 | 2613 | 0 | 23.2359 | 0.2329 | 211.5348 | 8.3944 | 2.6463 | 30.3607 | 0.94234 | 2.5305 | 1 | 5.061 | 30.9696 | 30.3607 | 31.0865 | 400.6564 | 395.6496 | 21.7157 | 23.2615 | 35.305 | 37.8181 | 499.8321 | 1499.5289 | 267.9078 | 73.2182 | -2.3309 | 0.29375 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3042 | 0.0083944 | 303.5107 | 304.1196 | 239.9246 | -0.86487 | 4.3495 | 59.4048 | 36.1432 | 30.6652 | 4.426 | 0.22266 | 1.7032 | 2.7228 | 0.14005 | 15.4882 | 0.53465 | 39.3266 | 389.4515 | 0.023463
56 | 12:35:56 | 2613.5 | 0 | 23.2531 | 0.23292 | 211.4593 | 8.3951 | 2.6463 | 30.3618 | 0.94234 | 2.5305 | 1 | 5.061 | 30.9702 | 30.3618 | 31.0863 | 400.6921 | 395.682 | 21.72 | 23.2659 | 35.3108 | 37.824 | 499.8378 | 1499.4862 | 268.1339 | 73.218 | -2.3309 | 0.29375 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3042 | 0.0083951 | 303.5118 | 304.1202 | 239.9178 | -0.86519 | 4.3498 | 59.4089 | 36.143 | 30.666 | 4.4262 | 0.22267 | 1.7035 | 2.7227 | 0.14006 | 15.4826 | 0.53442 | 39.3311 | 389.4793 | 0.023482
57 | 12:35:56 | 2614 | 0 | 23.2162 | 0.23288 | 211.693 | 8.3986 | 2.6478 | 30.368 | 0.94234 | 2.5305 | 1 | 5.061 | 30.9702 | 30.368 | 31.0868 | 400.7029 | 395.6995 | 21.7194 | 23.2659 | 35.3098 | 37.8241 | 499.839 | 1499.4863 | 268.2078 | 73.2181 | -2.3309 | 0.29375 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3043 | 0.0083986 | 303.518 | 304.1202 | 239.9178 | -0.86677 | 4.3513 | 59.4297 | 36.1638 | 30.6691 | 4.427 | 0.22263 | 1.7035 | 2.7235 | 0.14003 | 15.4998 | 0.53498 | 39.3164 | 389.5066 | 0.023434
58 | 12:35:57 | 2614.5 | 0 | 23.04 | 0.23306 | 213.0467 | 8.4045 | 2.6477 | 30.3684 | 0.94234 | 2.5305 | 1 | 5.061 | 30.9696 | 30.3684 | 31.0866 | 400.6829 | 395.7126 | 21.7218 | 23.2693 | 35.3147 | 37.8305 | 499.8771 | 1499.553 | 268.0989 | 73.2176 | -2.3309 | 0.29375 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3047 | 0.0084045 | 303.5184 | 304.1196 | 239.9285 | -0.86862 | 4.3515 | 59.4318 | 36.1625 | 30.669 | 4.4269 | 0.2228 | 1.7037 | 2.7232 | 0.14014 | 15.5988 | 0.53839 | 39.3226 | 389.5667 | 0.023256
59 | 12:35:58 | 2615 | 0 | 22.4544 | 0.23279 | 216.9958 | 8.3938 | 2.6473 | 30.3672 | 0.94234 | 2.5305 | 1 | 5.061 | 30.9698 | 30.3672 | 31.0869 | 400.6379 | 395.7788 | 21.7253 | 23.2708 | 35.32 | 37.8326 | 499.8873 | 1499.5256 | 268.0328 | 73.2176 | -2.3309 | 0.29375 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3048 | 0.0083938 | 303.5172 | 304.1198 | 239.9241 | -0.86522 | 4.3511 | 59.4274 | 36.1565 | 30.6685 | 4.4268 | 0.22255 | 1.7038 | 2.723 | 0.13998 | 15.8879 | 0.54828 | 39.3251 | 389.7891 | 0.022654
60 | 12:35:58 | 2615.5 | 0 | 22.3834 | 0.23273 | 217.4541 | 8.3917 | 2.6473 | 30.3675 | 0.94234 | 2.5305 | 1 | 5.061 | 30.9706 | 30.3675 | 31.0869 | 400.6306 | 395.785 | 21.7269 | 23.272 | 35.3209 | 37.8327 | 499.8822 | 1499.4768 | 267.9963 | 73.2174 | -2.3309 | 0.29375 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3047 | 0.0083917 | 303.5175 | 304.1206 | 239.9163 | -0.86457 | 4.3512 | 59.4285 | 36.1565 | 30.669 | 4.4269 | 0.2225 | 1.7039 | 2.723 | 0.13994 | 15.9214 | 0.54942 | 39.3255 | 389.8143 | 0.022581 | 23.095 | 30.9688 | 30.3656 | #DIV/0! | 2612.0333 | 0 | 23.095 | 0.23259 | 212.3274 | 8.3889 | 2.648 | 30.3656 | 0.94234 | 2.5305 | 1 | 5.061 | 30.9688 | 30.3656 | 31.0857 | 400.6693 | 395.6896 | 21.7105 | 23.2553 | 35.2982 | 37.8097 | 499.8569 | 1499.4909 | 266.9624 | 73.2182 | -2.3309 | 0.29375 | 0.93333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3044 | 0.0083889 | 303.5156 | 304.1188 | 239.9185 | -0.86368 | 4.3507 | 59.4215 | 36.1662 | 30.6672 | 4.4265 | 0.22237 | 1.7027 | 2.7238 | 0.13986 | 15.5462 | 0.5366 | 39.3011 | 389.5291 | 0.023301
Remark= | "12:36:04 Coolers: Tblock -> 36.00 C"
Remark= | "12:40:01 Flow: Fixed -> 500 umol/s"
61 | 12:41:47 | 2964.5 | 0 | 21.3902 | 0.23224 | 221.0339 | 9.0655 | 2.8496 | 32.2688 | 0.94234 | 2.5305 | 1 | 5.061 | 34.8819 | 32.2688 | 35.9686 | 398.859 | 394.1534 | 25.6318 | 27.294 | 33.4464 | 35.6154 | 499.906 | 1499.1583 | 266.885 | 73.2241 | -2.0261 | 0.20448 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.305 | 0.0090655 | 305.4188 | 308.0319 | 239.8653 | -0.8952 | 4.8482 | 66.2108 | 38.9168 | 33.5754 | 5.2178 | 0.22205 | 1.9986 | 3.2192 | 0.13966 | 16.185 | 0.56078 | 41.0455 | 388.4476 | 0.022602
62 | 12:41:47 | 2964.5 | 0 | 21.3902 | 0.23224 | 221.0339 | 9.0655 | 2.8496 | 32.2688 | 0.94234 | 2.5305 | 1 | 5.061 | 34.8819 | 32.2688 | 35.9686 | 398.859 | 394.1534 | 25.6318 | 27.294 | 33.4464 | 35.6154 | 499.906 | 1499.1583 | 266.885 | 73.2241 | -2.0261 | 0.20448 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.305 | 0.0090655 | 305.4188 | 308.0319 | 239.8653 | -0.8952 | 4.8482 | 66.2108 | 38.9168 | 33.5754 | 5.2178 | 0.22205 | 1.9986 | 3.2192 | 0.13966 | 16.185 | 0.56078 | 41.0455 | 388.4476 | 0.022602
63 | 12:41:47 | 2965 | 0 | 21.2882 | 0.23135 | 221.1556 | 9.0349 | 2.8506 | 32.2714 | 0.94234 | 2.5305 | 1 | 5.061 | 34.882 | 32.2714 | 35.9686 | 398.8079 | 394.1237 | 25.6346 | 27.2912 | 33.4501 | 35.6117 | 499.9073 | 1499.2391 | 268.0859 | 73.224 | -2.0261 | 0.20448 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.305 | 0.0090349 | 305.4214 | 308.032 | 239.8783 | -0.88587 | 4.8489 | 66.2206 | 38.9293 | 33.5767 | 5.2181 | 0.22123 | 1.9984 | 3.2198 | 0.13915 | 16.1939 | 0.56113 | 41.025 | 388.4452 | 0.022483
64 | 12:41:48 | 2965.5 | 0 | 20.8079 | 0.23075 | 224.1787 | 9.0129 | 2.8507 | 32.2711 | 0.94234 | 2.5305 | 1 | 5.061 | 34.8813 | 32.2711 | 35.9693 | 398.7607 | 394.1686 | 25.636 | 27.2886 | 33.4531 | 35.6096 | 499.9013 | 1499.2395 | 269.7991 | 73.2241 | -2.0261 | 0.20448 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3049 | 0.0090129 | 305.4211 | 308.0313 | 239.8783 | -0.87908 | 4.8489 | 66.2194 | 38.9308 | 33.5762 | 5.218 | 0.22069 | 1.9982 | 3.2198 | 0.1388 | 16.4153 | 0.56874 | 41.0152 | 388.6182 | 0.021961
65 | 12:41:48 | 2966 | 0 | 20.3198 | 0.23055 | 227.5525 | 8.9868 | 2.8449 | 32.2492 | 0.94234 | 2.5305 | 1 | 5.061 | 34.8807 | 32.2492 | 35.9689 | 398.7129 | 394.2145 | 25.638 | 27.2859 | 33.4568 | 35.6073 | 499.8836 | 1499.1512 | 271.9056 | 73.2241 | -2.0261 | 0.20448 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3047 | 0.0089868 | 305.3992 | 308.0307 | 239.8642 | -0.86927 | 4.8428 | 66.1372 | 38.8513 | 33.565 | 5.2147 | 0.22051 | 1.998 | 3.2167 | 0.13869 | 16.6623 | 0.57723 | 41.0629 | 388.7943 | 0.021461
66 | 12:41:49 | 2966.5 | 0 | 20.4938 | 0.23038 | 226.2157 | 8.9711 | 2.842 | 32.2382 | 0.94234 | 2.5305 | 1 | 5.061 | 34.8802 | 32.2382 | 35.9676 | 398.7031 | 394.1732 | 25.6389 | 27.2839 | 33.4591 | 35.6058 | 499.8918 | 1499.14 | 274.2044 | 73.2242 | -2.0261 | 0.20448 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3048 | 0.0089711 | 305.3882 | 308.0302 | 239.8624 | -0.86353 | 4.8398 | 66.096 | 38.8121 | 33.5592 | 5.213 | 0.22035 | 1.9978 | 3.2152 | 0.13859 | 16.5645 | 0.5739 | 41.0851 | 388.7066 | 0.021661
67 | 12:41:49 | 2967 | 0 | 20.4683 | 0.23097 | 226.7812 | 8.9784 | 2.8374 | 32.2219 | 0.94234 | 2.5305 | 1 | 5.061 | 34.8787 | 32.2219 | 35.9679 | 398.7015 | 394.1759 | 25.6398 | 27.2862 | 33.4629 | 35.6116 | 499.8892 | 1499.2036 | 276.6845 | 73.224 | -2.0261 | 0.20448 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3048 | 0.0089784 | 305.3719 | 308.0287 | 239.8726 | -0.86445 | 4.8354 | 66.0357 | 38.7495 | 33.5503 | 5.2104 | 0.22089 | 1.998 | 3.2124 | 0.13893 | 16.6058 | 0.57533 | 41.1347 | 388.7161 | 0.02166
68 | 12:41:50 | 2967.5 | 0 | 20.5323 | 0.23133 | 226.5739 | 8.9836 | 2.8349 | 32.2133 | 0.94234 | 2.5305 | 1 | 5.061 | 34.8779 | 32.2133 | 35.9676 | 398.7211 | 394.183 | 25.6411 | 27.2884 | 33.4661 | 35.6161 | 499.8856 | 1499.2448 | 279.1996 | 73.2241 | -2.0261 | 0.20448 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3047 | 0.0089836 | 305.3633 | 308.0279 | 239.8792 | -0.86537 | 4.833 | 66.0036 | 38.7151 | 33.5456 | 5.2091 | 0.22122 | 1.9982 | 3.2109 | 0.13914 | 16.5907 | 0.57479 | 41.1633 | 388.706 | 0.021743
69 | 12:41:50 | 2968 | 0 | 20.7914 | 0.23143 | 224.8392 | 8.9817 | 2.8332 | 32.2076 | 0.94234 | 2.5305 | 1 | 5.061 | 34.8779 | 32.2076 | 35.9671 | 398.77 | 394.183 | 25.643 | 27.29 | 33.4686 | 35.6182 | 499.8718 | 1499.323 | 281.476 | 73.2241 | -2.0261 | 0.20448 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3046 | 0.0089817 | 305.3576 | 308.0279 | 239.8917 | -0.8642 | 4.8315 | 65.9821 | 38.6921 | 33.5427 | 5.2082 | 0.22131 | 1.9983 | 3.21 | 0.13919 | 16.4636 | 0.57039 | 41.1809 | 388.637 | 0.022031
70 | 12:41:51 | 2968.5 | 0 | 21.175 | 0.23275 | 222.9659 | 9.0263 | 2.8318 | 32.204 | 0.94234 | 2.5305 | 1 | 5.061 | 34.8773 | 32.204 | 35.967 | 398.8217 | 394.1589 | 25.6412 | 27.2964 | 33.4672 | 35.6277 | 499.8432 | 1499.3534 | 283.3073 | 73.224 | -2.0261 | 0.20448 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3043 | 0.0090263 | 305.354 | 308.0273 | 239.8965 | -0.87773 | 4.8305 | 65.9689 | 38.6725 | 33.5407 | 5.2076 | 0.22252 | 1.9988 | 3.2089 | 0.13996 | 16.3265 | 0.56568 | 41.2139 | 388.5106 | 0.022463
71 | 12:41:51 | 2969 | 0 | 21.5506 | 0.23327 | 220.678 | 9.0464 | 2.832 | 32.2059 | 0.94234 | 2.5305 | 1 | 5.061 | 34.8771 | 32.2059 | 35.9665 | 398.8878 | 394.1526 | 25.6419 | 27.3008 | 33.4685 | 35.6338 | 499.8369 | 1499.4427 | 284.8662 | 73.2236 | -2.0261 | 0.20448 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3042 | 0.0090464 | 305.3559 | 308.0271 | 239.9108 | -0.88402 | 4.831 | 65.9763 | 38.6755 | 33.5415 | 5.2079 | 0.223 | 1.9991 | 3.2088 | 0.14026 | 16.1588 | 0.55988 | 41.2213 | 388.4041 | 0.022872
72 | 12:41:52 | 2969.5 | 0 | 22.1773 | 0.23421 | 216.8994 | 9.0695 | 2.8284 | 32.1943 | 0.94234 | 2.5305 | 1 | 5.061 | 34.8765 | 32.1943 | 35.966 | 398.9383 | 394.0834 | 25.6425 | 27.3057 | 33.4705 | 35.6414 | 499.8364 | 1499.5256 | 285.9168 | 73.2239 | -2.0261 | 0.20448 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3042 | 0.0090695 | 305.3443 | 308.0265 | 239.9241 | -0.89016 | 4.8278 | 65.9326 | 38.627 | 33.5354 | 5.2061 | 0.22385 | 1.9994 | 3.2067 | 0.1408 | 15.8822 | 0.55039 | 41.2677 | 388.1677 | 0.023578
73 | 12:41:52 | 2970 | 0 | 22.5784 | 0.23451 | 214.285 | 9.0901 | 2.8313 | 32.2061 | 0.94234 | 2.5305 | 1 | 5.061 | 34.876 | 32.2061 | 35.9661 | 398.9874 | 394.0556 | 25.6429 | 27.3098 | 33.4721 | 35.6479 | 499.8541 | 1499.6703 | 286.648 | 73.2242 | -2.0261 | 0.20448 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3044 | 0.0090901 | 305.3561 | 308.026 | 239.9472 | -0.89744 | 4.8311 | 65.9763 | 38.6665 | 33.541 | 5.2077 | 0.22413 | 1.9997 | 3.208 | 0.14098 | 15.6908 | 0.54379 | 41.2484 | 388.0329 | 0.024001
74 | 12:41:53 | 2970.5 | 0 | 22.5179 | 0.23442 | 214.64 | 9.1047 | 2.8368 | 32.2271 | 0.94234 | 2.5305 | 1 | 5.061 | 34.8748 | 32.2271 | 35.9672 | 399.0119 | 394.0905 | 25.6443 | 27.3138 | 33.4762 | 35.6556 | 499.8697 | 1499.7305 | 286.9909 | 73.2243 | -2.0261 | 0.20448 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3046 | 0.0091047 | 305.3771 | 308.0248 | 239.9569 | -0.90379 | 4.8368 | 66.0545 | 38.7407 | 33.5509 | 5.2106 | 0.22405 | 2 | 3.2106 | 0.14093 | 15.7169 | 0.54465 | 41.2018 | 388.0839 | 0.023907
75 | 12:41:53 | 2971 | 0 | 22.1985 | 0.23354 | 216.2707 | 9.0806 | 2.8394 | 32.2364 | 0.94234 | 2.5305 | 1 | 5.061 | 34.8739 | 32.2364 | 35.9669 | 398.9597 | 394.1003 | 25.647 | 27.3121 | 33.4815 | 35.6552 | 499.8781 | 1499.7249 | 286.9868 | 73.2245 | -2.0261 | 0.20448 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3047 | 0.0090806 | 305.3864 | 308.0239 | 239.956 | -0.8972 | 4.8393 | 66.0892 | 38.7771 | 33.5551 | 5.2118 | 0.22324 | 1.9999 | 3.2119 | 0.14041 | 15.8363 | 0.54877 | 41.1666 | 388.1789 | 0.023542 | 21.312 | 34.8785 | 32.2323 | #DIV/0! | 2967.5333 | 0 | 21.312 | 0.23226 | 221.6736 | 9.0332 | 2.8395 | 32.2323 | 0.94234 | 2.5305 | 1 | 5.061 | 34.8785 | 32.2323 | 35.9676 | 398.8335 | 394.1447 | 25.6397 | 27.2961 | 33.463 | 35.6248 | 499.8774 | 1499.3537 | 277.9894 | 73.2241 | -2.0261 | 0.20448 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3047 | 0.0090332 | 305.3823 | 308.0285 | 239.8966 | -0.88217 | 4.8382 | 66.0743 | 38.7782 | 33.5554 | 5.2119 | 0.22207 | 1.9987 | 3.2132 | 0.13968 | 16.2318 | 0.56242 | 41.1385 | 388.4598 | 0.022571
Remark= | "12:42:04 Coolers: Tblock -> 41.00 C"
Remark= | "12:45:08 Flow: Fixed -> 500 umol/s"
Remark= | "12:47:20 Flow: Fixed -> 500 umol/s"
76 | 12:48:37 | 3375 | 0 | 19.9565 | 0.23458 | 230.1513 | 10.5406 | 3.2485 | 35.3217 | 0.94234 | 2.5305 | 1 | 5.061 | 39.3663 | 35.3217 | 41.0535 | 399.5798 | 395.0331 | 32.2416 | 34.1606 | 32.9422 | 34.9029 | 499.9201 | 1499.6465 | 298.1964 | 73.2204 | -1.7011 | 0.093864 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3051 | 0.010541 | 308.4717 | 312.5163 | 239.9434 | -1.2103 | 5.7498 | 78.5272 | 44.3666 | 37.344 | 6.4242 | 0.22419 | 2.5013 | 3.923 | 0.14102 | 16.8518 | 0.58261 | 42.7804 | 389.7098 | 0.021907
77 | 12:48:38 | 3375.5 | 0 | 20.2852 | 0.23469 | 227.9501 | 10.5437 | 3.2482 | 35.321 | 0.94234 | 2.5305 | 1 | 5.061 | 39.3669 | 35.321 | 41.0535 | 399.6268 | 395.018 | 32.2425 | 34.1621 | 32.9422 | 34.9035 | 499.9127 | 1499.6301 | 298.1199 | 73.2208 | -1.7011 | 0.093864 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.305 | 0.010544 | 308.471 | 312.5169 | 239.9408 | -1.2111 | 5.7496 | 78.5236 | 44.3615 | 37.344 | 6.4242 | 0.22428 | 2.5014 | 3.9228 | 0.14108 | 16.6907 | 0.57706 | 42.7856 | 389.607 | 0.022277
78 | 12:48:38 | 3375.5 | 0 | 20.2852 | 0.23469 | 227.9501 | 10.5437 | 3.2482 | 35.321 | 0.94234 | 2.5305 | 1 | 5.061 | 39.3669 | 35.321 | 41.0535 | 399.6268 | 395.018 | 32.2425 | 34.1621 | 32.9422 | 34.9035 | 499.9127 | 1499.6301 | 298.1199 | 73.2208 | -1.7011 | 0.093864 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.305 | 0.010544 | 308.471 | 312.5169 | 239.9408 | -1.2111 | 5.7496 | 78.5236 | 44.3615 | 37.344 | 6.4242 | 0.22428 | 2.5014 | 3.9228 | 0.14108 | 16.6907 | 0.57706 | 42.7856 | 389.607 | 0.022277
79 | 12:48:38 | 3376 | 0 | 20.4206 | 0.23518 | 227.3427 | 10.5392 | 3.2405 | 35.2964 | 0.94234 | 2.5305 | 1 | 5.061 | 39.3681 | 35.2964 | 41.0539 | 399.6344 | 395.0004 | 32.2421 | 34.1608 | 32.9393 | 34.8996 | 499.9108 | 1499.641 | 297.921 | 73.2202 | -1.7011 | 0.093864 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.305 | 0.010539 | 308.4464 | 312.5181 | 239.9426 | -1.2074 | 5.7417 | 78.4175 | 44.2567 | 37.3323 | 6.4201 | 0.22473 | 2.5013 | 3.9189 | 0.14136 | 16.6461 | 0.57555 | 42.852 | 389.5532 | 0.022463
80 | 12:48:39 | 3376.5 | 0 | 20.3182 | 0.23507 | 228.0364 | 10.5291 | 3.2388 | 35.2916 | 0.94234 | 2.5305 | 1 | 5.061 | 39.3699 | 35.2916 | 41.0533 | 399.6623 | 395.0484 | 32.2459 | 34.1628 | 32.9401 | 34.8983 | 499.9243 | 1499.681 | 297.6726 | 73.2202 | -1.7011 | 0.093864 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3052 | 0.010529 | 308.4416 | 312.5199 | 239.949 | -1.2037 | 5.7402 | 78.3968 | 44.2341 | 37.3308 | 6.4196 | 0.22463 | 2.5014 | 3.9182 | 0.1413 | 16.6969 | 0.57724 | 42.8656 | 389.6285 | 0.022353
81 | 12:48:39 | 3377 | 0 | 20.3067 | 0.23496 | 228.0606 | 10.5175 | 3.2368 | 35.2849 | 0.94234 | 2.5305 | 1 | 5.061 | 39.37 | 35.2849 | 41.052 | 399.6498 | 395.0387 | 32.2469 | 34.1617 | 32.9412 | 34.8973 | 499.8993 | 1499.6971 | 297.3768 | 73.221 | -1.7011 | 0.093864 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3049 | 0.010517 | 308.4349 | 312.52 | 239.9515 | -1.1995 | 5.7381 | 78.367 | 44.2052 | 37.3275 | 6.4185 | 0.22454 | 2.5014 | 3.9171 | 0.14124 | 16.6988 | 0.57731 | 42.8808 | 389.622 | 0.022349
82 | 12:48:40 | 3377.5 | 0 | 20.4149 | 0.23574 | 227.8262 | 10.5197 | 3.2274 | 35.2559 | 0.94234 | 2.5305 | 1 | 5.061 | 39.3707 | 35.2559 | 41.052 | 399.6657 | 395.0337 | 32.2477 | 34.1631 | 32.941 | 34.8976 | 499.8684 | 1499.723 | 297.1036 | 73.221 | -1.7011 | 0.093864 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3046 | 0.01052 | 308.4059 | 312.5207 | 239.9557 | -1.1976 | 5.7289 | 78.2412 | 44.0781 | 37.3133 | 6.4135 | 0.22525 | 2.5015 | 3.912 | 0.14169 | 16.6817 | 0.57673 | 42.9657 | 389.5881 | 0.022515
83 | 12:48:40 | 3378 | 0 | 20.4039 | 0.23578 | 227.9315 | 10.5117 | 3.2245 | 35.2463 | 0.94234 | 2.5305 | 1 | 5.061 | 39.3704 | 35.2463 | 41.052 | 399.6504 | 395.021 | 32.2478 | 34.1618 | 32.9415 | 34.8966 | 499.8585 | 1499.812 | 296.8318 | 73.2209 | -1.7011 | 0.093864 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3045 | 0.010512 | 308.3963 | 312.5204 | 239.9699 | -1.1942 | 5.7259 | 78.2001 | 44.0383 | 37.3084 | 6.4118 | 0.22528 | 2.5014 | 3.9104 | 0.14171 | 16.6893 | 0.57701 | 42.9889 | 389.5783 | 0.022515
84 | 12:48:41 | 3378.5 | 0 | 20.4016 | 0.23569 | 227.8792 | 10.5167 | 3.2271 | 35.2545 | 0.94234 | 2.5305 | 1 | 5.061 | 39.3708 | 35.2545 | 41.0523 | 399.6478 | 395.0184 | 32.2465 | 34.1614 | 32.9395 | 34.8955 | 499.8504 | 1499.8474 | 296.78 | 73.221 | -1.7011 | 0.093864 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3044 | 0.010517 | 308.4045 | 312.5208 | 239.9756 | -1.1964 | 5.7285 | 78.2352 | 44.0738 | 37.3127 | 6.4133 | 0.22521 | 2.5013 | 3.9119 | 0.14166 | 16.6856 | 0.57688 | 42.9667 | 389.5763 | 0.022501
85 | 12:48:41 | 3379 | 0 | 20.2567 | 0.23592 | 229.037 | 10.5162 | 3.224 | 35.2445 | 0.94234 | 2.5305 | 1 | 5.061 | 39.3716 | 35.2445 | 41.0523 | 399.6422 | 395.0403 | 32.2456 | 34.1603 | 32.9371 | 34.893 | 499.8634 | 1499.9626 | 296.7413 | 73.2209 | -1.7011 | 0.093864 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3045 | 0.010516 | 308.3945 | 312.5216 | 239.994 | -1.1951 | 5.7253 | 78.192 | 44.0316 | 37.308 | 6.4117 | 0.22542 | 2.5013 | 3.9104 | 0.14179 | 16.7703 | 0.57978 | 42.9935 | 389.6369 | 0.022352
86 | 12:48:42 | 3379.5 | 0 | 20.0573 | 0.23626 | 230.6348 | 10.5162 | 3.2197 | 35.2308 | 0.94234 | 2.5305 | 1 | 5.061 | 39.3727 | 35.2308 | 41.0521 | 399.632 | 395.0676 | 32.2453 | 34.1601 | 32.9346 | 34.8903 | 499.8654 | 1500.0399 | 296.6895 | 73.2203 | -1.7011 | 0.093864 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3045 | 0.010516 | 308.3808 | 312.5227 | 240.0064 | -1.1937 | 5.721 | 78.1334 | 43.9733 | 37.3017 | 6.4095 | 0.22572 | 2.5012 | 3.9082 | 0.14199 | 16.8872 | 0.58379 | 43.0318 | 389.7173 | 0.022147
87 | 12:48:42 | 3380 | 0 | 19.9942 | 0.23664 | 231.3192 | 10.5231 | 3.217 | 35.2229 | 0.94234 | 2.5305 | 1 | 5.061 | 39.372 | 35.2229 | 41.0525 | 399.6484 | 395.0955 | 32.2471 | 34.1631 | 32.9381 | 34.8951 | 499.8801 | 1500.0491 | 296.84 | 73.2212 | -1.7011 | 0.093864 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3047 | 0.010523 | 308.3729 | 312.522 | 240.0078 | -1.1952 | 5.7185 | 78.0985 | 43.9354 | 37.2974 | 6.408 | 0.22607 | 2.5015 | 3.9065 | 0.14221 | 16.9375 | 0.58548 | 43.0604 | 389.7621 | 0.022089
88 | 12:48:43 | 3380.5 | 0 | 20.3051 | 0.23683 | 229.2828 | 10.5374 | 3.2188 | 35.2287 | 0.94234 | 2.5305 | 1 | 5.061 | 39.3713 | 35.2287 | 41.0529 | 399.6844 | 395.0718 | 32.2444 | 34.163 | 32.9365 | 34.8963 | 499.8763 | 1500.0645 | 297.0384 | 73.2213 | -1.7011 | 0.093864 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3046 | 0.010537 | 308.3787 | 312.5213 | 240.0103 | -1.2002 | 5.7203 | 78.1234 | 43.9604 | 37.3 | 6.4089 | 0.22624 | 2.5015 | 3.9074 | 0.14232 | 16.7884 | 0.58036 | 43.0475 | 389.6555 | 0.022432
89 | 12:48:44 | 3381 | 0 | 20.385 | 0.2373 | 229.0391 | 10.5509 | 3.2169 | 35.2229 | 0.94234 | 2.5305 | 1 | 5.061 | 39.3717 | 35.2229 | 41.0535 | 399.7213 | 395.0927 | 32.2443 | 34.1653 | 32.9355 | 34.8977 | 499.886 | 1500.0482 | 297.4274 | 73.2206 | -1.7011 | 0.093864 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3047 | 0.010551 | 308.3729 | 312.5217 | 240.0077 | -1.2038 | 5.7185 | 78.099 | 43.9337 | 37.2973 | 6.4079 | 0.22667 | 2.5016 | 3.9063 | 0.14259 | 16.7704 | 0.57971 | 43.0701 | 389.6551 | 0.022532
90 | 12:48:44 | 3381.5 | 0 | 20.4319 | 0.23767 | 228.9407 | 10.5683 | 3.2174 | 35.2255 | 0.94234 | 2.5305 | 1 | 5.061 | 39.3722 | 35.2255 | 41.054 | 399.7527 | 395.114 | 32.2444 | 34.1685 | 32.9348 | 34.9001 | 499.8971 | 1500.0408 | 297.9068 | 73.2208 | -1.7011 | 0.093864 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3049 | 0.010568 | 308.3755 | 312.5222 | 240.0065 | -1.2094 | 5.7193 | 78.11 | 43.9415 | 37.2988 | 6.4085 | 0.22701 | 2.5018 | 3.9066 | 0.1428 | 16.7632 | 0.57943 | 43.0715 | 389.6639 | 0.022584 | 20.2815 | 39.3701 | 35.2646 | #DIV/0! | 3378.0667 | 0 | 20.2815 | 0.2358 | 228.7588 | 10.5316 | 3.2303 | 35.2646 | 0.94234 | 2.5305 | 1 | 5.061 | 39.3701 | 35.2646 | 41.0529 | 399.655 | 395.0474 | 32.245 | 34.1625 | 32.9391 | 34.8978 | 499.8884 | 1499.8342 | 297.3844 | 73.2208 | -1.7011 | 0.093864 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3048 | 0.010532 | 308.4146 | 312.5201 | 239.9735 | -1.2019 | 5.7317 | 78.2792 | 44.1168 | 37.3173 | 6.4149 | 0.2253 | 2.5014 | 3.9135 | 0.14172 | 16.7499 | 0.57907 | 42.9431 | 389.6374 | 0.022353
Remark= | "12:48:53 Coolers: Tblock -> 46.00 C"
Remark= | "12:54:24 Flow: Fixed -> 500 umol/s"
Remark= | "12:57:09 Flow: Fixed -> 500 umol/s"
91 | 12:58:57 | 3994.5 | 0 | 17.0001 | 0.25079 | 256.6068 | 11.996 | 3.4289 | 37.9254 | 0.94234 | 2.5305 | 1 | 5.061 | 43.8287 | 37.9254 | 46.1269 | 399.7874 | 395.6879 | 41.5636 | 43.7261 | 33.547 | 35.2924 | 499.8902 | 1500.4043 | 259.1642 | 73.2166 | -0.74309 | -0.054227 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3048 | 0.011996 | 311.0754 | 316.9787 | 240.0647 | -1.4694 | 6.6304 | 90.5588 | 46.8327 | 40.877 | 7.7682 | 0.23895 | 3.2015 | 4.5667 | 0.15036 | 18.7879 | 0.64851 | 47.1799 | 391.1532 | 0.020505
92 | 12:58:57 | 3994.5 | 0 | 17.0001 | 0.25079 | 256.6068 | 11.996 | 3.4289 | 37.9254 | 0.94234 | 2.5305 | 1 | 5.061 | 43.8287 | 37.9254 | 46.1269 | 399.7874 | 395.6879 | 41.5636 | 43.7261 | 33.547 | 35.2924 | 499.8902 | 1500.4043 | 259.1642 | 73.2166 | -0.74309 | -0.054227 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3048 | 0.011996 | 311.0754 | 316.9787 | 240.0647 | -1.4694 | 6.6304 | 90.5588 | 46.8327 | 40.877 | 7.7682 | 0.23895 | 3.2015 | 4.5667 | 0.15036 | 18.7879 | 0.64851 | 47.1799 | 391.1532 | 0.020505
93 | 12:58:58 | 3995 | 0 | 17.4092 | 0.25093 | 254.0338 | 11.9942 | 3.4267 | 37.919 | 0.94234 | 2.5305 | 1 | 5.061 | 43.8284 | 37.919 | 46.1266 | 399.8286 | 395.6522 | 41.5636 | 43.7258 | 33.5475 | 35.2926 | 499.8797 | 1500.4574 | 260.0979 | 73.2166 | -0.74309 | -0.054227 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3047 | 0.011994 | 311.069 | 316.9784 | 240.0732 | -1.4682 | 6.6281 | 90.5274 | 46.8016 | 40.8737 | 7.7668 | 0.23907 | 3.2015 | 4.5653 | 0.15044 | 18.5995 | 0.64206 | 47.199 | 391.0083 | 0.021015
94 | 12:58:58 | 3995.5 | 0 | 17.1896 | 0.25084 | 255.3849 | 12.0055 | 3.4309 | 37.9312 | 0.94234 | 2.5305 | 1 | 5.061 | 43.8284 | 37.9312 | 46.1266 | 399.8058 | 395.67 | 41.5637 | 43.7278 | 33.5474 | 35.2942 | 499.8947 | 1500.5239 | 260.8481 | 73.2161 | -0.74309 | -0.054227 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3048 | 0.012005 | 311.0812 | 316.9784 | 240.0838 | -1.4727 | 6.6325 | 90.5878 | 46.86 | 40.8798 | 7.7693 | 0.23899 | 3.2016 | 4.5677 | 0.15039 | 18.6983 | 0.64545 | 47.1658 | 391.0847 | 0.020731
95 | 12:58:59 | 3996 | 0 | 17.0691 | 0.25076 | 256.0968 | 12.0128 | 3.4339 | 37.9399 | 0.94234 | 2.5305 | 1 | 5.061 | 43.8285 | 37.9399 | 46.1271 | 399.7805 | 395.667 | 41.5639 | 43.7293 | 33.5475 | 35.2953 | 499.9046 | 1500.5758 | 261.3394 | 73.2164 | -0.74309 | -0.054227 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3049 | 0.012013 | 311.0899 | 316.9785 | 240.0921 | -1.4757 | 6.6356 | 90.6306 | 46.9012 | 40.8842 | 7.7711 | 0.23892 | 3.2017 | 4.5694 | 0.15035 | 18.7505 | 0.64725 | 47.1421 | 391.1138 | 0.020574
96 | 12:58:59 | 3996.5 | 0 | 16.6957 | 0.25109 | 258.6298 | 12.0355 | 3.436 | 37.9464 | 0.94234 | 2.5305 | 1 | 5.061 | 43.8293 | 37.9464 | 46.1269 | 399.7388 | 395.6937 | 41.5626 | 43.7322 | 33.5449 | 35.296 | 499.8896 | 1500.6506 | 261.5714 | 73.2162 | -0.74309 | -0.054227 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3048 | 0.012036 | 311.0964 | 316.9793 | 240.1041 | -1.4831 | 6.6379 | 90.6622 | 46.9301 | 40.8878 | 7.7726 | 0.23922 | 3.2019 | 4.5707 | 0.15054 | 18.9359 | 0.65361 | 47.1305 | 391.2402 | 0.020112
97 | 12:59:00 | 3997 | 0 | 16.4528 | 0.25195 | 260.573 | 12.0517 | 3.4297 | 37.9292 | 0.94234 | 2.5305 | 1 | 5.061 | 43.83 | 37.9292 | 46.1276 | 399.6967 | 395.6962 | 41.5623 | 43.7347 | 33.5433 | 35.2966 | 499.8949 | 1500.7361 | 261.5407 | 73.216 | -0.74309 | -0.054227 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3048 | 0.012052 | 311.0792 | 316.98 | 240.1178 | -1.4864 | 6.6318 | 90.5783 | 46.8435 | 40.8796 | 7.7692 | 0.24 | 3.2021 | 4.5671 | 0.15103 | 19.0781 | 0.65852 | 47.1898 | 391.3075 | 0.019841
98 | 12:59:00 | 3997.5 | 0 | 16.465 | 0.25251 | 260.7402 | 12.0497 | 3.422 | 37.9078 | 0.94234 | 2.5305 | 1 | 5.061 | 43.8298 | 37.9078 | 46.127 | 399.6577 | 395.6551 | 41.562 | 43.7342 | 33.5434 | 35.2966 | 499.8768 | 1500.776 | 261.3784 | 73.2159 | -0.74309 | -0.054227 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3047 | 0.01205 | 311.0578 | 316.9798 | 240.1242 | -1.4838 | 6.6241 | 90.4731 | 46.7389 | 40.8688 | 7.7647 | 0.24051 | 3.202 | 4.5627 | 0.15135 | 19.0903 | 0.65901 | 47.2551 | 391.2631 | 0.019886
99 | 12:59:01 | 3998 | 0 | 16.0944 | 0.25274 | 263.1837 | 12.0601 | 3.422 | 37.908 | 0.94234 | 2.5305 | 1 | 5.061 | 43.8292 | 37.908 | 46.1271 | 399.5892 | 395.6555 | 41.5609 | 43.7351 | 33.5436 | 35.2983 | 499.857 | 1500.7953 | 261.2397 | 73.216 | -0.74309 | -0.054227 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3044 | 0.01206 | 311.058 | 316.9792 | 240.1272 | -1.4871 | 6.6241 | 90.4741 | 46.739 | 40.8686 | 7.7647 | 0.24072 | 3.2021 | 4.5626 | 0.15148 | 19.2692 | 0.66518 | 47.2578 | 391.3624 | 0.019434
100 | 12:59:01 | 3998.5 | 0 | 16.0238 | 0.25254 | 263.5151 | 12.0652 | 3.426 | 37.9187 | 0.94234 | 2.5305 | 1 | 5.061 | 43.8287 | 37.9187 | 46.1261 | 399.5667 | 395.6461 | 41.5588 | 43.7338 | 33.5428 | 35.2983 | 499.8729 | 1500.8092 | 261.1844 | 73.2159 | -0.74309 | -0.054227 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3046 | 0.012065 | 311.0687 | 316.9787 | 240.1295 | -1.4897 | 6.628 | 90.5269 | 46.793 | 40.8737 | 7.7668 | 0.24053 | 3.202 | 4.5648 | 0.15137 | 19.2935 | 0.66604 | 47.2241 | 391.3717 | 0.019335
101 | 12:59:02 | 3999 | 0 | 16.0685 | 0.25365 | 263.7466 | 12.0789 | 3.4158 | 37.8907 | 0.94234 | 2.5305 | 1 | 5.061 | 43.8287 | 37.8907 | 46.1265 | 399.5851 | 395.6552 | 41.5582 | 43.7356 | 33.5424 | 35.2998 | 499.8896 | 1500.8004 | 261.2647 | 73.2159 | -0.74309 | -0.054227 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3048 | 0.012079 | 311.0407 | 316.9787 | 240.1281 | -1.4914 | 6.618 | 90.3896 | 46.654 | 40.8597 | 7.761 | 0.24154 | 3.2021 | 4.5589 | 0.15201 | 19.3105 | 0.66661 | 47.3159 | 391.369 | 0.019427
102 | 12:59:02 | 3999.5 | 0 | 16.4731 | 0.25477 | 261.7077 | 12.0782 | 3.4017 | 37.8513 | 0.94234 | 2.5305 | 1 | 5.061 | 43.8278 | 37.8513 | 46.126 | 399.6325 | 395.6265 | 41.5578 | 43.735 | 33.5439 | 35.3013 | 499.9066 | 1500.7769 | 261.341 | 73.2167 | -0.74309 | -0.054227 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.305 | 0.012078 | 311.0013 | 316.9778 | 240.1243 | -1.4878 | 6.6038 | 90.1955 | 46.4605 | 40.8395 | 7.7527 | 0.24256 | 3.2021 | 4.5506 | 0.15265 | 19.1614 | 0.6615 | 47.438 | 391.2324 | 0.019974
103 | 12:59:03 | 4000 | 0 | 16.7048 | 0.2549 | 260.2969 | 12.0757 | 3.3994 | 37.8445 | 0.94234 | 2.5305 | 1 | 5.061 | 43.8264 | 37.8445 | 46.1248 | 399.6559 | 395.6064 | 41.556 | 43.7328 | 33.5449 | 35.3021 | 499.9007 | 1500.7213 | 261.5936 | 73.2168 | -0.74309 | -0.054227 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3049 | 0.012076 | 310.9945 | 316.9764 | 240.1154 | -1.4866 | 6.6014 | 90.1621 | 46.4293 | 40.8354 | 7.751 | 0.24267 | 3.202 | 4.549 | 0.15272 | 19.0581 | 0.65797 | 47.4562 | 391.1504 | 0.020267
104 | 12:59:03 | 4000.5 | 0 | 16.838 | 0.25432 | 259.1609 | 12.0745 | 3.4062 | 37.8632 | 0.94234 | 2.5305 | 1 | 5.061 | 43.8253 | 37.8632 | 46.1245 | 399.6635 | 395.5894 | 41.5548 | 43.7311 | 33.5458 | 35.3027 | 499.9436 | 1500.7213 | 262.2229 | 73.2168 | -0.74309 | -0.054227 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3054 | 0.012074 | 311.0132 | 316.9753 | 240.1154 | -1.488 | 6.6081 | 90.2536 | 46.5224 | 40.8442 | 7.7546 | 0.24215 | 3.2019 | 4.5528 | 0.15239 | 18.9749 | 0.65513 | 47.3959 | 391.0979 | 0.020405
105 | 12:59:04 | 4001 | 0 | 16.9491 | 0.25299 | 257.8252 | 12.0541 | 3.4173 | 37.8935 | 0.94234 | 2.5305 | 1 | 5.061 | 43.8242 | 37.8935 | 46.1241 | 399.6725 | 395.579 | 41.5558 | 43.7285 | 33.5486 | 35.3026 | 499.9452 | 1500.5754 | 262.9594 | 73.2169 | -0.74309 | -0.054227 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3054 | 0.012054 | 311.0435 | 316.9742 | 240.0921 | -1.4847 | 6.619 | 90.402 | 46.6735 | 40.8589 | 7.7607 | 0.24094 | 3.2017 | 4.559 | 0.15163 | 18.8772 | 0.65177 | 47.2944 | 391.0579 | 0.020498 | 16.6956 | 43.8281 | 37.9063 | #DIV/0! | 3997.5333 | 0 | 16.6956 | 0.25237 | 259.2072 | 12.0419 | 3.4217 | 37.9063 | 0.94234 | 2.5305 | 1 | 5.061 | 43.8281 | 37.9063 | 46.1263 | 399.6965 | 395.6512 | 41.5605 | 43.7312 | 33.5453 | 35.2974 | 499.8958 | 1500.6486 | 261.1273 | 73.2164 | -0.74309 | -0.054227 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 5.3049 | 0.012042 | 311.0563 | 316.9781 | 240.1038 | -1.4816 | 6.6235 | 90.4654 | 46.7342 | 40.8672 | 7.7641 | 0.24038 | 3.2018 | 4.5623 | 0.15127 | 18.9782 | 0.65514 | 47.255 | 391.1977 | 0.020167