## stm-rpoga3_
OPEN 6.2.4
Fri Jun 26 2015 15:37:59
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "15:38:05 CO2 Mixer: CO2R -> 400 uml"
Remark= | "15:38:12 Coolers: Tblock -> 0.00 C"
Remark= | "15:38:19 Lamp: ParIn -> 1500 uml"
Remark= | "15:51:43 Coolers: Tblock -> 11.27 C"
Remark= | "15:53:26 Flow: Fixed -> 500 umol/s"
1 | 15:53:48 | 966.5 | 0 | 16.6217 | 0.2384 | 258.8055 | 4.6648 | 1.4913 | 18.0914 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0115 | 18.0914 | 11.3605 | 399.1952 | 386.696 | 4.9422 | 8.081 | 22.5486 | 36.8695 | 499.8424 | 1501.2751 | 5.8137 | 73.2501 | 0.96674 | 0.32962 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.0046648 | 291.2414 | 287.1615 | 240.204 | -0.071099 | 2.0832 | 28.4397 | 20.3587 | 16.0514 | 1.8307 | 0.22495 | 0.59193 | 1.2388 | 0.14174 | 18.9575 | 0.66927 | 31.1981 | 381.0662 | 0.013608
2 | 15:53:49 | 966.5 | 0 | 16.6217 | 0.2384 | 258.8055 | 4.6648 | 1.4913 | 18.0914 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0115 | 18.0914 | 11.3605 | 399.1952 | 386.696 | 4.9422 | 8.081 | 22.5486 | 36.8695 | 499.8424 | 1501.2751 | 5.8137 | 73.2501 | 0.96674 | 0.32962 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.0046648 | 291.2414 | 287.1615 | 240.204 | -0.071099 | 2.0832 | 28.4397 | 20.3587 | 16.0514 | 1.8307 | 0.22495 | 0.59193 | 1.2388 | 0.14174 | 18.9575 | 0.66927 | 31.1981 | 381.0662 | 0.013608
3 | 15:53:49 | 967 | 0 | 16.6209 | 0.23852 | 258.883 | 4.6653 | 1.4907 | 18.0873 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0111 | 18.0873 | 11.3604 | 399.2068 | 386.7078 | 4.9418 | 8.081 | 22.5474 | 36.8706 | 499.8352 | 1501.2755 | 5.7882 | 73.2503 | 0.96674 | 0.32962 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.0046653 | 291.2373 | 287.1611 | 240.2041 | -0.07096 | 2.0827 | 28.4323 | 20.3513 | 16.0492 | 1.8304 | 0.22506 | 0.59194 | 1.2385 | 0.14181 | 18.9633 | 0.66945 | 31.2076 | 381.0783 | 0.013611
4 | 15:53:50 | 967.5 | 0 | 16.622 | 0.23858 | 258.93 | 4.6652 | 1.4904 | 18.0847 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0112 | 18.0847 | 11.3606 | 399.2321 | 386.7326 | 4.9423 | 8.0814 | 22.5502 | 36.8729 | 499.8454 | 1501.2148 | 5.767 | 73.251 | 0.96674 | 0.32962 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.0046652 | 291.2347 | 287.1612 | 240.1944 | -0.070769 | 2.0823 | 28.4275 | 20.346 | 16.0479 | 1.8303 | 0.22511 | 0.59197 | 1.2383 | 0.14184 | 18.9669 | 0.66953 | 31.2149 | 381.1027 | 0.013615
5 | 15:53:50 | 968 | 0 | 16.6349 | 0.23863 | 258.8786 | 4.6652 | 1.4901 | 18.0826 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0111 | 18.0826 | 11.3607 | 399.2568 | 386.7478 | 4.9423 | 8.0815 | 22.55 | 36.8734 | 499.8184 | 1501.1953 | 5.7362 | 73.2511 | 0.96674 | 0.32962 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.0046652 | 291.2326 | 287.1611 | 240.1912 | -0.07058 | 2.0821 | 28.4236 | 20.3421 | 16.0469 | 1.8302 | 0.22515 | 0.59198 | 1.2382 | 0.14187 | 18.9631 | 0.66937 | 31.2197 | 381.1135 | 0.013627
6 | 15:53:51 | 968.5 | 0 | 16.6846 | 0.23865 | 258.5529 | 4.6655 | 1.4901 | 18.0826 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0101 | 18.0826 | 11.3608 | 399.3012 | 386.7574 | 4.9422 | 8.0819 | 22.5509 | 36.8771 | 499.7805 | 1501.222 | 5.7977 | 73.2509 | 0.96674 | 0.32962 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0046655 | 291.2326 | 287.1601 | 240.1955 | -0.07074 | 2.0821 | 28.4236 | 20.3418 | 16.0463 | 1.8301 | 0.22517 | 0.592 | 1.2381 | 0.14188 | 18.9392 | 0.66851 | 31.2211 | 381.1064 | 0.013668
7 | 15:53:51 | 969 | 0 | 16.7711 | 0.23874 | 258.002 | 4.6653 | 1.4895 | 18.0779 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0102 | 18.0779 | 11.3609 | 399.3624 | 386.76 | 4.9422 | 8.0818 | 22.5509 | 36.8763 | 499.7816 | 1501.2762 | 5.786 | 73.2505 | 0.96674 | 0.32962 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0046653 | 291.2279 | 287.1602 | 240.2042 | -0.07014 | 2.0814 | 28.4154 | 20.3337 | 16.0441 | 1.8298 | 0.22525 | 0.59199 | 1.2378 | 0.14193 | 18.8988 | 0.66709 | 31.2305 | 381.0796 | 0.013744
8 | 15:53:52 | 969.5 | 0 | 16.8359 | 0.23874 | 257.5493 | 4.6657 | 1.4896 | 18.0786 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0096 | 18.0786 | 11.3599 | 399.404 | 386.7576 | 4.9416 | 8.0814 | 22.5487 | 36.8758 | 499.7825 | 1501.2954 | 5.6865 | 73.2501 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0046657 | 291.2286 | 287.1596 | 240.2073 | -0.070392 | 2.0815 | 28.4169 | 20.3355 | 16.0441 | 1.8298 | 0.22525 | 0.59196 | 1.2379 | 0.14193 | 18.8655 | 0.66592 | 31.2277 | 381.0553 | 0.013797
9 | 15:53:52 | 970 | 0 | 16.902 | 0.23861 | 257.0394 | 4.6641 | 1.4898 | 18.08 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0084 | 18.08 | 11.3604 | 399.4583 | 386.7673 | 4.9416 | 8.0804 | 22.5506 | 36.8743 | 499.7769 | 1501.3032 | 5.7501 | 73.2501 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0046641 | 291.23 | 287.1584 | 240.2085 | -0.070012 | 2.0817 | 28.4193 | 20.3389 | 16.0442 | 1.8299 | 0.22514 | 0.59189 | 1.238 | 0.14186 | 18.8282 | 0.66458 | 31.22 | 381.0426 | 0.013848
10 | 15:54:06 | 984 | 0 | 16.4459 | 0.23806 | 260.1086 | 4.6628 | 1.4927 | 18.0994 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0009 | 18.0994 | 11.3571 | 399.3336 | 386.9525 | 4.9388 | 8.0765 | 22.549 | 36.8747 | 499.8086 | 1501.3732 | 5.7734 | 73.2505 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0046628 | 291.2494 | 287.1509 | 240.2197 | -0.071896 | 2.0843 | 28.4539 | 20.3774 | 16.0502 | 1.8306 | 0.22464 | 0.59161 | 1.2389 | 0.14155 | 19.0531 | 0.6722 | 31.1635 | 381.3823 | 0.013438
11 | 15:54:06 | 984.5 | 0 | 16.4709 | 0.23806 | 259.9309 | 4.6637 | 1.493 | 18.1018 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0005 | 18.1018 | 11.3563 | 399.3493 | 386.9509 | 4.938 | 8.0764 | 22.5462 | 36.8756 | 499.7999 | 1501.3777 | 5.8061 | 73.2509 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0046637 | 291.2518 | 287.1505 | 240.2204 | -0.072523 | 2.0846 | 28.458 | 20.3816 | 16.0511 | 1.8307 | 0.22464 | 0.59161 | 1.2391 | 0.14155 | 19.0402 | 0.67174 | 31.1591 | 381.3721 | 0.013457
12 | 15:54:07 | 984.5 | 0 | 16.4709 | 0.23806 | 259.9309 | 4.6637 | 1.493 | 18.1018 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0005 | 18.1018 | 11.3563 | 399.3493 | 386.9509 | 4.938 | 8.0764 | 22.5462 | 36.8756 | 499.7999 | 1501.3777 | 5.8061 | 73.2509 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0046637 | 291.2518 | 287.1505 | 240.2204 | -0.072523 | 2.0846 | 28.458 | 20.3816 | 16.0511 | 1.8307 | 0.22464 | 0.59161 | 1.2391 | 0.14155 | 19.0402 | 0.67174 | 31.1591 | 381.3721 | 0.013457
13 | 15:54:07 | 985 | 0 | 16.5062 | 0.23812 | 259.714 | 4.6645 | 1.4929 | 18.1011 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0011 | 18.1011 | 11.3565 | 399.3737 | 386.9507 | 4.9377 | 8.0767 | 22.5439 | 36.8755 | 499.7806 | 1501.4424 | 5.7828 | 73.2511 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0046645 | 291.2511 | 287.1511 | 240.2308 | -0.072589 | 2.0845 | 28.4566 | 20.3799 | 16.0511 | 1.8307 | 0.22469 | 0.59163 | 1.239 | 0.14158 | 19.0243 | 0.67118 | 31.1625 | 381.36 | 0.013488
14 | 15:54:08 | 985.5 | 0 | 16.5275 | 0.23813 | 259.5487 | 4.6646 | 1.4928 | 18.1009 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0006 | 18.1009 | 11.3565 | 399.3639 | 386.9263 | 4.9377 | 8.0768 | 22.5445 | 36.8772 | 499.7716 | 1501.4567 | 5.768 | 73.2511 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4739 | 0.0046646 | 291.2509 | 287.1506 | 240.2331 | -0.07265 | 2.0845 | 28.4563 | 20.3795 | 16.0507 | 1.8306 | 0.22471 | 0.59164 | 1.239 | 0.14159 | 19.0122 | 0.6708 | 31.1634 | 381.3284 | 0.013507
15 | 15:54:08 | 986 | 0 | 16.5319 | 0.23785 | 259.3626 | 4.6644 | 1.4944 | 18.1132 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0001 | 18.1132 | 11.3571 | 399.3533 | 386.9127 | 4.9376 | 8.0766 | 22.5448 | 36.8777 | 499.7703 | 1501.4537 | 5.8358 | 73.2516 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4739 | 0.0046644 | 291.2632 | 287.1501 | 240.2326 | -0.073793 | 2.0861 | 28.4781 | 20.4015 | 16.0566 | 1.8313 | 0.22445 | 0.59163 | 1.2397 | 0.14143 | 18.9987 | 0.67034 | 31.1364 | 381.3133 | 0.013499 | 16.6179 | 14.0066 | 18.0916 | #DIV/0! | 974.8 | 0 | 16.6179 | 0.23837 | 258.9361 | 4.6646 | 1.4914 | 18.0916 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0066 | 18.0916 | 11.359 | 399.3157 | 386.8178 | 4.9404 | 8.0794 | 22.548 | 36.8744 | 499.8024 | 1501.3209 | 5.7808 | 73.2507 | 0.96674 | 0.32962 | 0.84444 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0046646 | 291.2416 | 287.1566 | 240.2113 | -0.071451 | 2.0832 | 28.4399 | 20.3605 | 16.0491 | 1.8304 | 0.22492 | 0.59182 | 1.2386 | 0.14172 | 18.9672 | 0.6694 | 31.1921 | 381.1893 | 0.013598
16 | 15:54:29 | 1007.5 | 0 | 16.5986 | 0.23828 | 259.0217 | 4.669 | 1.4933 | 18.1023 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0035 | 18.1023 | 11.3702 | 399.3081 | 386.8239 | 4.9321 | 8.0736 | 22.514 | 36.8541 | 499.873 | 1501.3655 | 6.0088 | 73.2482 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.004669 | 291.2523 | 287.1535 | 240.2185 | -0.074369 | 2.0846 | 28.46 | 20.3864 | 16.0529 | 1.8309 | 0.22484 | 0.59138 | 1.2395 | 0.14168 | 18.9729 | 0.66961 | 31.1515 | 381.2019 | 0.013564
17 | 15:54:30 | 1007.5 | 0 | 16.5986 | 0.23828 | 259.0217 | 4.669 | 1.4933 | 18.1023 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0035 | 18.1023 | 11.3702 | 399.3081 | 386.8239 | 4.9321 | 8.0736 | 22.514 | 36.8541 | 499.873 | 1501.3655 | 6.0088 | 73.2482 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.004669 | 291.2523 | 287.1535 | 240.2185 | -0.074369 | 2.0846 | 28.46 | 20.3864 | 16.0529 | 1.8309 | 0.22484 | 0.59138 | 1.2395 | 0.14168 | 18.9729 | 0.66961 | 31.1515 | 381.2019 | 0.013564
18 | 15:54:30 | 1008 | 0 | 16.5373 | 0.23834 | 259.4796 | 4.6682 | 1.4927 | 18.0976 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0037 | 18.0976 | 11.3705 | 399.2673 | 386.8245 | 4.9322 | 8.0733 | 22.5142 | 36.8522 | 499.8605 | 1501.3553 | 5.9844 | 73.2483 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.0046682 | 291.2476 | 287.1537 | 240.2169 | -0.073623 | 2.084 | 28.4515 | 20.3783 | 16.0506 | 1.8306 | 0.2249 | 0.59135 | 1.2393 | 0.14171 | 19.0064 | 0.67079 | 31.1597 | 381.2233 | 0.013517
19 | 15:54:31 | 1008.5 | 0 | 16.5349 | 0.23857 | 259.5743 | 4.6699 | 1.4919 | 18.0917 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0044 | 18.0917 | 11.3709 | 399.2333 | 386.7916 | 4.9313 | 8.0736 | 22.5091 | 36.8519 | 499.848 | 1501.3809 | 5.9589 | 73.2483 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.0046699 | 291.2417 | 287.1544 | 240.2209 | -0.073614 | 2.0832 | 28.4409 | 20.3673 | 16.048 | 1.8303 | 0.2251 | 0.59138 | 1.2389 | 0.14184 | 19.0134 | 0.6711 | 31.175 | 381.1912 | 0.013523
20 | 15:54:31 | 1009 | 0 | 16.5082 | 0.23852 | 259.7645 | 4.671 | 1.4925 | 18.0969 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0046 | 18.0969 | 11.3719 | 399.2492 | 386.825 | 4.9314 | 8.0744 | 22.509 | 36.855 | 499.8437 | 1501.3425 | 5.9663 | 73.2484 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.004671 | 291.2469 | 287.1546 | 240.2148 | -0.074559 | 2.0839 | 28.4503 | 20.3759 | 16.0508 | 1.8306 | 0.22505 | 0.59144 | 1.2392 | 0.14181 | 19.0273 | 0.67153 | 31.1675 | 381.2337 | 0.013496
21 | 15:54:32 | 1009.5 | 0 | 16.5492 | 0.23837 | 259.401 | 4.6705 | 1.4932 | 18.102 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0046 | 18.102 | 11.3729 | 399.2697 | 386.818 | 4.9312 | 8.0738 | 22.508 | 36.8525 | 499.8489 | 1501.3953 | 5.96 | 73.2481 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.0046705 | 291.252 | 287.1546 | 240.2232 | -0.074794 | 2.0846 | 28.4595 | 20.3857 | 16.0533 | 1.8309 | 0.22492 | 0.59139 | 1.2395 | 0.14173 | 19.0006 | 0.6706 | 31.1541 | 381.2127 | 0.013525
22 | 15:54:32 | 1010 | 0 | 16.6248 | 0.23837 | 258.8836 | 4.6713 | 1.4935 | 18.1046 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0049 | 18.1046 | 11.3735 | 399.3346 | 386.8313 | 4.9311 | 8.0744 | 22.5072 | 36.854 | 499.8435 | 1501.465 | 5.871 | 73.2478 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.0046713 | 291.2546 | 287.1549 | 240.2344 | -0.075211 | 2.0849 | 28.4641 | 20.3898 | 16.0547 | 1.8311 | 0.22491 | 0.59143 | 1.2397 | 0.14172 | 18.9627 | 0.66924 | 31.1511 | 381.2005 | 0.013586
23 | 15:54:33 | 1010.5 | 0 | 16.736 | 0.23829 | 258.0648 | 4.6736 | 1.4947 | 18.1145 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0048 | 18.1145 | 11.3737 | 399.4102 | 386.8306 | 4.9308 | 8.0756 | 22.5057 | 36.8598 | 499.8368 | 1501.4901 | 5.9419 | 73.248 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.0046736 | 291.2645 | 287.1548 | 240.2384 | -0.07703 | 2.0862 | 28.4819 | 20.4063 | 16.0597 | 1.8317 | 0.22484 | 0.59152 | 1.2401 | 0.14168 | 18.9027 | 0.66713 | 31.1364 | 381.1621 | 0.013671
24 | 15:54:33 | 1011 | 0 | 16.805 | 0.23823 | 257.5375 | 4.6734 | 1.495 | 18.1167 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0049 | 18.1167 | 11.3747 | 399.4369 | 386.8105 | 4.9312 | 8.0759 | 22.5073 | 36.8609 | 499.8332 | 1501.4431 | 5.96 | 73.2479 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.0046734 | 291.2667 | 287.1549 | 240.2309 | -0.07722 | 2.0865 | 28.4859 | 20.41 | 16.0608 | 1.8318 | 0.22479 | 0.59154 | 1.2403 | 0.14164 | 18.8641 | 0.6658 | 31.1324 | 381.1187 | 0.013727
25 | 15:54:34 | 1011.5 | 0 | 16.814 | 0.23829 | 257.5036 | 4.6724 | 1.4943 | 18.1115 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.005 | 18.1115 | 11.3746 | 399.4385 | 386.8062 | 4.9318 | 8.0759 | 22.5101 | 36.8605 | 499.828 | 1501.426 | 5.9918 | 73.2477 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.0046724 | 291.2615 | 287.155 | 240.2282 | -0.076335 | 2.0858 | 28.4766 | 20.4007 | 16.0582 | 1.8315 | 0.22485 | 0.59154 | 1.24 | 0.14168 | 18.8616 | 0.66572 | 31.1425 | 381.1113 | 0.01374
26 | 15:54:34 | 1012 | 0 | 16.819 | 0.23848 | 257.5642 | 4.672 | 1.493 | 18.1017 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0057 | 18.1017 | 11.3754 | 399.4378 | 386.8018 | 4.9318 | 8.0757 | 22.5088 | 36.8578 | 499.8116 | 1501.4325 | 6.0215 | 73.2474 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.004672 | 291.2517 | 287.1557 | 240.2292 | -0.075199 | 2.0846 | 28.4592 | 20.3836 | 16.0537 | 1.831 | 0.22502 | 0.59152 | 1.2394 | 0.14179 | 18.8659 | 0.66588 | 31.1623 | 381.1052 | 0.013753
27 | 15:54:35 | 1012.5 | 0 | 16.794 | 0.23866 | 257.8503 | 4.6708 | 1.4916 | 18.0904 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0056 | 18.0904 | 11.3759 | 399.4397 | 386.8217 | 4.9323 | 8.0751 | 22.5112 | 36.8555 | 499.8423 | 1501.4391 | 6.0681 | 73.2475 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.0046708 | 291.2404 | 287.1556 | 240.2302 | -0.07364 | 2.0831 | 28.439 | 20.3638 | 16.048 | 1.8303 | 0.22518 | 0.59148 | 1.2388 | 0.14189 | 18.8869 | 0.66659 | 31.1836 | 381.1335 | 0.013741
28 | 15:54:35 | 1013 | 0 | 16.8466 | 0.23898 | 257.6209 | 4.6706 | 1.4897 | 18.0757 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0059 | 18.0757 | 11.3763 | 399.448 | 386.7946 | 4.9323 | 8.0751 | 22.511 | 36.8543 | 499.8455 | 1501.5244 | 6.0936 | 73.2471 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.0046706 | 291.2257 | 287.1559 | 240.2439 | -0.072034 | 2.0812 | 28.4128 | 20.3378 | 16.0408 | 1.8295 | 0.22546 | 0.59147 | 1.238 | 0.14207 | 18.87 | 0.66604 | 31.2145 | 381.0886 | 0.013799
29 | 15:54:36 | 1013.5 | 0 | 16.8359 | 0.23924 | 257.8383 | 4.672 | 1.4886 | 18.0677 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0068 | 18.0677 | 11.3769 | 399.4537 | 386.8069 | 4.932 | 8.0758 | 22.5085 | 36.8556 | 499.8373 | 1501.472 | 6.1519 | 73.2474 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.004672 | 291.2177 | 287.1568 | 240.2355 | -0.071831 | 2.0801 | 28.3985 | 20.3227 | 16.0372 | 1.829 | 0.2257 | 0.59153 | 1.2375 | 0.14222 | 18.886 | 0.66658 | 31.2355 | 381.1046 | 0.013799
30 | 15:54:36 | 1014 | 0 | 16.798 | 0.23947 | 258.2127 | 4.6708 | 1.4869 | 18.0541 | 3.3907 | 1.9929 | 1 | 3.9858 | 14.0068 | 18.0541 | 11.3771 | 399.421 | 386.8006 | 4.9321 | 8.0749 | 22.5089 | 36.8518 | 499.8539 | 1501.3951 | 6.2971 | 73.2477 | 0.96674 | 0.32962 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.0046708 | 291.2041 | 287.1568 | 240.2232 | -0.070181 | 2.0783 | 28.3741 | 20.2992 | 16.0304 | 1.8283 | 0.2259 | 0.59147 | 1.2368 | 0.14235 | 18.9135 | 0.66756 | 31.2607 | 381.1111 | 0.013779
Remark= | "15:54:49 Coolers: Tblock -> 16.00 C"
Remark= | "15:57:26 Flow: Fixed -> 500 umol/s"
31 | 15:58:09 | 1227.5 | 0 | 16.8431 | 0.23589 | 255.3505 | 5.1164 | 1.6472 | 20.1962 | 3.3907 | 1.9929 | 1 | 3.9858 | 17.6555 | 20.1962 | 16.0422 | 399.8688 | 387.0979 | 6.5036 | 9.9403 | 23.5038 | 35.924 | 499.7776 | 1499.1326 | 6.0786 | 73.2491 | 0.75342 | 0.31025 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0051164 | 293.3462 | 290.8055 | 239.8612 | -0.1152 | 2.3753 | 32.4275 | 22.4871 | 18.9259 | 2.195 | 0.22271 | 0.72812 | 1.4669 | 0.14032 | 18.7042 | 0.65965 | 33.1118 | 381.3931 | 0.014623
32 | 15:58:10 | 1228 | 0 | 16.9511 | 0.23612 | 254.6765 | 5.1213 | 1.6472 | 20.1973 | 3.3907 | 1.9929 | 1 | 3.9858 | 17.6567 | 20.1973 | 16.0423 | 399.9107 | 387.0652 | 6.5023 | 9.9423 | 23.4975 | 35.9288 | 499.768 | 1499.0825 | 6.0129 | 73.2494 | 0.75342 | 0.31025 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4739 | 0.0051213 | 293.3473 | 290.8067 | 239.8532 | -0.11716 | 2.3754 | 32.4295 | 22.4872 | 18.927 | 2.1952 | 0.22292 | 0.72827 | 1.4669 | 0.14045 | 18.6549 | 0.65797 | 33.1195 | 381.3239 | 0.014723
33 | 15:58:10 | 1228 | 0 | 16.9511 | 0.23612 | 254.6765 | 5.1213 | 1.6472 | 20.1973 | 3.3907 | 1.9929 | 1 | 3.9858 | 17.6567 | 20.1973 | 16.0423 | 399.9107 | 387.0652 | 6.5023 | 9.9423 | 23.4975 | 35.9288 | 499.768 | 1499.0825 | 6.0129 | 73.2494 | 0.75342 | 0.31025 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4739 | 0.0051213 | 293.3473 | 290.8067 | 239.8532 | -0.11716 | 2.3754 | 32.4295 | 22.4872 | 18.927 | 2.1952 | 0.22292 | 0.72827 | 1.4669 | 0.14045 | 18.6549 | 0.65797 | 33.1195 | 381.3239 | 0.014723
34 | 15:58:11 | 1228.5 | 0 | 16.9602 | 0.23611 | 254.5957 | 5.122 | 1.6475 | 20.1998 | 3.3907 | 1.9929 | 1 | 3.9858 | 17.6571 | 20.1998 | 16.0416 | 399.91 | 387.0574 | 6.5021 | 9.9428 | 23.4963 | 35.9297 | 499.7372 | 1498.9823 | 6.141 | 73.2496 | 0.75342 | 0.31025 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4738 | 0.005122 | 293.3498 | 290.8071 | 239.8372 | -0.11776 | 2.3758 | 32.4344 | 22.4915 | 18.9284 | 2.1954 | 0.2229 | 0.72831 | 1.467 | 0.14044 | 18.649 | 0.65777 | 33.1161 | 381.313 | 0.014729
35 | 15:58:11 | 1229 | 0 | 16.9488 | 0.23608 | 254.6577 | 5.1231 | 1.648 | 20.2033 | 3.3907 | 1.9929 | 1 | 3.9858 | 17.6577 | 20.2033 | 16.0418 | 399.8996 | 387.0548 | 6.5015 | 9.9428 | 23.4934 | 35.9286 | 499.7569 | 1498.9626 | 6.2014 | 73.25 | 0.75342 | 0.31025 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4739 | 0.0051231 | 293.3533 | 290.8077 | 239.834 | -0.1185 | 2.3763 | 32.4412 | 22.4984 | 18.9305 | 2.1956 | 0.22288 | 0.72831 | 1.4673 | 0.14043 | 18.6537 | 0.65794 | 33.1093 | 381.3142 | 0.014717
36 | 15:58:12 | 1229.5 | 0 | 16.8834 | 0.23607 | 255.1371 | 5.1242 | 1.6484 | 20.2063 | 3.3907 | 1.9929 | 1 | 3.9858 | 17.6587 | 20.2063 | 16.0428 | 399.8862 | 387.0858 | 6.5013 | 9.9433 | 23.4911 | 35.9278 | 499.7694 | 1498.9548 | 6.1814 | 73.2495 | 0.75342 | 0.31025 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4739 | 0.0051242 | 293.3563 | 290.8087 | 239.8328 | -0.11913 | 2.3768 | 32.4475 | 22.5042 | 18.9325 | 2.1959 | 0.22287 | 0.72834 | 1.4676 | 0.14042 | 18.6887 | 0.65912 | 33.1046 | 381.3674 | 0.014656
37 | 15:58:12 | 1230 | 0 | 16.8897 | 0.23619 | 255.1591 | 5.127 | 1.6485 | 20.2081 | 3.3907 | 1.9929 | 1 | 3.9858 | 17.6598 | 20.2081 | 16.043 | 399.9033 | 387.0975 | 6.5014 | 9.9453 | 23.4895 | 35.9323 | 499.7589 | 1498.9567 | 6.1877 | 73.2489 | 0.75342 | 0.31025 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4739 | 0.005127 | 293.3581 | 290.8098 | 239.8331 | -0.12029 | 2.377 | 32.4512 | 22.5059 | 18.9339 | 2.1961 | 0.22298 | 0.72849 | 1.4676 | 0.14049 | 18.6901 | 0.65916 | 33.1089 | 381.377 | 0.014663
38 | 15:58:13 | 1230.5 | 0 | 16.9192 | 0.23644 | 255.0974 | 5.1295 | 1.6477 | 20.203 | 3.3907 | 1.9929 | 1 | 3.9858 | 17.6615 | 20.203 | 16.0424 | 399.945 | 387.1187 | 6.501 | 9.9465 | 23.4853 | 35.9326 | 499.7659 | 1498.9519 | 6.3234 | 73.249 | 0.75342 | 0.31025 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4739 | 0.0051295 | 293.353 | 290.8115 | 239.8323 | -0.12063 | 2.3763 | 32.4412 | 22.4946 | 18.9323 | 2.1959 | 0.2232 | 0.72857 | 1.4673 | 0.14063 | 18.6856 | 0.65896 | 33.1257 | 381.3882 | 0.014695
39 | 15:58:13 | 1231 | 0 | 16.9472 | 0.23667 | 255.0052 | 5.1313 | 1.6468 | 20.1972 | 3.3907 | 1.9929 | 1 | 3.9858 | 17.6625 | 20.1972 | 16.0425 | 399.9497 | 387.1054 | 6.5012 | 9.9475 | 23.4847 | 35.9342 | 499.8222 | 1498.9539 | 6.3732 | 73.2489 | 0.75342 | 0.31025 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.0051313 | 293.3472 | 290.8125 | 239.8326 | -0.12066 | 2.3754 | 32.4294 | 22.4818 | 18.9298 | 2.1955 | 0.2234 | 0.72865 | 1.4669 | 0.14076 | 18.6789 | 0.65875 | 33.1436 | 381.3654 | 0.014728
40 | 15:58:14 | 1231.5 | 0 | 17.0055 | 0.2367 | 254.5964 | 5.1346 | 1.6476 | 20.2035 | 3.3907 | 1.9929 | 1 | 3.9858 | 17.6627 | 20.2035 | 16.0428 | 399.9771 | 387.0927 | 6.5005 | 9.949 | 23.4817 | 35.9387 | 499.8321 | 1498.9402 | 6.3266 | 73.2484 | 0.75342 | 0.31025 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.0051346 | 293.3535 | 290.8127 | 239.8304 | -0.12255 | 2.3763 | 32.4422 | 22.4933 | 18.9331 | 2.196 | 0.22343 | 0.72875 | 1.4672 | 0.14078 | 18.6488 | 0.65771 | 33.1362 | 381.3329 | 0.014777
41 | 15:58:14 | 1232 | 0 | 16.9582 | 0.2365 | 254.843 | 5.133 | 1.6484 | 20.2083 | 3.3907 | 1.9929 | 1 | 3.9858 | 17.664 | 20.2083 | 16.0424 | 399.9613 | 387.1098 | 6.5011 | 9.9484 | 23.4818 | 35.9334 | 499.8522 | 1498.9668 | 6.3298 | 73.2479 | 0.75342 | 0.31025 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.005133 | 293.3583 | 290.814 | 239.8347 | -0.12224 | 2.3771 | 32.4522 | 22.5038 | 18.9361 | 2.1964 | 0.22326 | 0.7287 | 1.4677 | 0.14067 | 18.6667 | 0.65832 | 33.1219 | 381.3661 | 0.014728
42 | 15:58:15 | 1232.5 | 0 | 16.9727 | 0.23641 | 254.7112 | 5.1352 | 1.6496 | 20.2181 | 3.3907 | 1.9929 | 1 | 3.9858 | 17.6654 | 20.2181 | 16.043 | 399.9932 | 387.1317 | 6.5016 | 9.9503 | 23.4817 | 35.9372 | 499.8666 | 1498.9972 | 6.2736 | 73.2479 | 0.75342 | 0.31025 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.0051352 | 293.3681 | 290.8154 | 239.8395 | -0.12386 | 2.3785 | 32.4717 | 22.5214 | 18.9417 | 2.1972 | 0.22318 | 0.72884 | 1.4683 | 0.14062 | 18.6571 | 0.65794 | 33.1076 | 381.383 | 0.014734
43 | 15:58:15 | 1233 | 0 | 16.952 | 0.23647 | 254.9121 | 5.1381 | 1.6502 | 20.2225 | 3.3907 | 1.9929 | 1 | 3.9858 | 17.6672 | 20.2225 | 16.0432 | 400.0152 | 387.1667 | 6.5014 | 9.952 | 23.4779 | 35.9389 | 499.8638 | 1499.0529 | 6.1762 | 73.2471 | 0.75342 | 0.31025 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.0051381 | 293.3725 | 290.8172 | 239.8485 | -0.12516 | 2.3791 | 32.481 | 22.5289 | 18.9449 | 2.1976 | 0.22323 | 0.72896 | 1.4686 | 0.14065 | 18.6716 | 0.6584 | 33.1049 | 381.4251 | 0.014713
44 | 15:58:16 | 1233.5 | 0 | 16.9694 | 0.23665 | 254.8639 | 5.1408 | 1.6499 | 20.2214 | 3.3907 | 1.9929 | 1 | 3.9858 | 17.6684 | 20.2214 | 16.0421 | 400.0136 | 387.1527 | 6.5017 | 9.9541 | 23.4772 | 35.9437 | 499.864 | 1499.0886 | 6.1359 | 73.2474 | 0.75342 | 0.31025 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.0051408 | 293.3714 | 290.8184 | 239.8542 | -0.12594 | 2.379 | 32.4788 | 22.5247 | 18.9449 | 2.1976 | 0.22339 | 0.72911 | 1.4685 | 0.14075 | 18.6681 | 0.6583 | 33.1158 | 381.4052 | 0.014734
45 | 15:58:16 | 1234 | 0 | 16.9869 | 0.23667 | 254.7541 | 5.1413 | 1.6499 | 20.2215 | 3.3907 | 1.9929 | 1 | 3.9858 | 17.6691 | 20.2215 | 16.0413 | 400.0257 | 387.1533 | 6.5015 | 9.9541 | 23.4757 | 35.9424 | 499.8855 | 1499.0546 | 6.1316 | 73.2477 | 0.75342 | 0.31025 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4743 | 0.0051413 | 293.3715 | 290.8191 | 239.8487 | -0.12613 | 2.379 | 32.4788 | 22.5247 | 18.9453 | 2.1977 | 0.22341 | 0.72912 | 1.4686 | 0.14076 | 18.6601 | 0.65802 | 33.1162 | 381.3998 | 0.014749 | 16.9426 | 17.6615 | 20.2069 | #DIV/0! | 1230.5667 | 0 | 16.9426 | 0.23634 | 254.8691 | 5.1293 | 1.6483 | 20.2069 | 3.3907 | 1.9929 | 1 | 3.9858 | 17.6615 | 20.2069 | 16.0424 | 399.9447 | 387.1037 | 6.5016 | 9.9468 | 23.4877 | 35.9334 | 499.8059 | 1499.0107 | 6.1924 | 73.2487 | 0.75342 | 0.31025 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0051293 | 293.3569 | 290.8115 | 239.8417 | -0.12082 | 2.3769 | 32.4491 | 22.5023 | 18.9342 | 2.1961 | 0.22311 | 0.72859 | 1.4676 | 0.14058 | 18.6688 | 0.6584 | 33.1174 | 381.3652 | 0.014713
Remark= | "15:58:25 Coolers: Tblock -> 21.00 C"
Remark= | "16:01:26 Flow: Fixed -> 500 umol/s"
46 | 16:01:56 | 1454.5 | 0 | 17.5849 | 0.24661 | 252.0122 | 6.2369 | 1.9163 | 23.1869 | 3.3907 | 1.9929 | 1 | 3.9858 | 21.9131 | 23.1869 | 21.1205 | 399.2929 | 385.7321 | 8.5949 | 12.7717 | 23.8521 | 35.4433 | 499.8437 | 1499.6228 | 9.4768 | 73.2494 | 0.70383 | 0.28708 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.0062369 | 296.3369 | 295.0631 | 239.9396 | -0.43377 | 2.8518 | 38.9324 | 26.1606 | 22.55 | 2.7438 | 0.23224 | 0.93552 | 1.8083 | 0.14638 | 18.4597 | 0.65333 | 35.0408 | 379.7761 | 0.016225
47 | 16:01:57 | 1455 | 0 | 17.5647 | 0.24665 | 252.1609 | 6.2402 | 1.917 | 23.1917 | 3.3907 | 1.9929 | 1 | 3.9858 | 21.9135 | 23.1917 | 21.1201 | 399.2833 | 385.7356 | 8.5938 | 12.7727 | 23.8485 | 35.4453 | 499.8546 | 1499.675 | 9.4493 | 73.2496 | 0.70383 | 0.28708 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.0062402 | 296.3417 | 295.0635 | 239.948 | -0.43541 | 2.8526 | 38.9436 | 26.1709 | 22.5526 | 2.7443 | 0.23227 | 0.93559 | 1.8087 | 0.1464 | 18.4707 | 0.65371 | 35.0343 | 379.7864 | 0.016203
48 | 16:01:57 | 1455 | 0 | 17.5647 | 0.24665 | 252.1609 | 6.2402 | 1.917 | 23.1917 | 3.3907 | 1.9929 | 1 | 3.9858 | 21.9135 | 23.1917 | 21.1201 | 399.2833 | 385.7356 | 8.5938 | 12.7727 | 23.8485 | 35.4453 | 499.8546 | 1499.675 | 9.4493 | 73.2496 | 0.70383 | 0.28708 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.0062402 | 296.3417 | 295.0635 | 239.948 | -0.43541 | 2.8526 | 38.9436 | 26.1709 | 22.5526 | 2.7443 | 0.23227 | 0.93559 | 1.8087 | 0.1464 | 18.4707 | 0.65371 | 35.0343 | 379.7864 | 0.016203
49 | 16:01:58 | 1455.5 | 0 | 17.5496 | 0.24653 | 252.2103 | 6.2407 | 1.918 | 23.1979 | 3.3907 | 1.9929 | 1 | 3.9858 | 21.9143 | 23.1979 | 21.1212 | 399.2824 | 385.7448 | 8.5944 | 12.7736 | 23.8492 | 35.4464 | 499.8586 | 1499.7037 | 9.5796 | 73.2501 | 0.70383 | 0.28708 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.0062407 | 296.3479 | 295.0643 | 239.9526 | -0.4361 | 2.8537 | 38.958 | 26.1845 | 22.5561 | 2.7448 | 0.23217 | 0.93566 | 1.8092 | 0.14633 | 18.4744 | 0.65383 | 35.0223 | 379.8008 | 0.016183
50 | 16:01:58 | 1456 | 0 | 17.5119 | 0.24653 | 252.469 | 6.242 | 1.9184 | 23.2002 | 3.3907 | 1.9929 | 1 | 3.9858 | 21.916 | 23.2002 | 21.1213 | 399.2652 | 385.7532 | 8.5939 | 12.7739 | 23.8454 | 35.4434 | 499.871 | 1499.7399 | 9.6411 | 73.2499 | 0.70383 | 0.28708 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.006242 | 296.3502 | 295.066 | 239.9584 | -0.43662 | 2.8541 | 38.9635 | 26.1897 | 22.5581 | 2.7452 | 0.23217 | 0.93568 | 1.8095 | 0.14633 | 18.4933 | 0.65448 | 35.0184 | 379.8219 | 0.016145
51 | 16:01:59 | 1456.5 | 0 | 17.4294 | 0.24657 | 253.0722 | 6.2433 | 1.9185 | 23.2013 | 3.3907 | 1.9929 | 1 | 3.9858 | 21.917 | 23.2013 | 21.1213 | 399.2434 | 385.787 | 8.5944 | 12.7752 | 23.8452 | 35.4449 | 499.8733 | 1499.7371 | 9.6517 | 73.25 | 0.70383 | 0.28708 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.0062433 | 296.3513 | 295.067 | 239.9579 | -0.43714 | 2.8543 | 38.9661 | 26.1909 | 22.5592 | 2.7454 | 0.23221 | 0.93578 | 1.8096 | 0.14636 | 18.5375 | 0.65599 | 35.0202 | 379.8836 | 0.016068
52 | 16:01:59 | 1457 | 0 | 17.3926 | 0.24673 | 253.3936 | 6.247 | 1.9185 | 23.2023 | 3.3907 | 1.9929 | 1 | 3.9858 | 21.9176 | 23.2023 | 21.1218 | 399.2267 | 385.7948 | 8.5941 | 12.7772 | 23.8435 | 35.4492 | 499.8942 | 1499.7474 | 9.6697 | 73.2501 | 0.70383 | 0.28708 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4743 | 0.006247 | 296.3523 | 295.0676 | 239.9596 | -0.43861 | 2.8544 | 38.9684 | 26.1912 | 22.56 | 2.7455 | 0.23234 | 0.93593 | 1.8096 | 0.14644 | 18.5611 | 0.65681 | 35.0255 | 379.9039 | 0.016035
53 | 16:02:00 | 1457.5 | 0 | 17.3603 | 0.24679 | 253.6505 | 6.2489 | 1.9186 | 23.2036 | 3.3907 | 1.9929 | 1 | 3.9858 | 21.9185 | 23.2036 | 21.1215 | 399.2178 | 385.8077 | 8.5942 | 12.7785 | 23.8427 | 35.451 | 499.9142 | 1499.7673 | 9.6878 | 73.2502 | 0.70383 | 0.28708 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4744 | 0.0062489 | 296.3536 | 295.0685 | 239.9628 | -0.43937 | 2.8546 | 38.9712 | 26.1927 | 22.561 | 2.7457 | 0.2324 | 0.93603 | 1.8096 | 0.14648 | 18.5799 | 0.65745 | 35.0273 | 379.9277 | 0.016005
54 | 16:02:00 | 1458 | 0 | 17.3306 | 0.24678 | 253.8408 | 6.25 | 1.9191 | 23.2061 | 3.3907 | 1.9929 | 1 | 3.9858 | 21.9199 | 23.2061 | 21.1213 | 399.1998 | 385.8094 | 8.5936 | 12.7786 | 23.8387 | 35.448 | 499.9094 | 1499.8098 | 9.6381 | 73.2499 | 0.70383 | 0.28708 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4743 | 0.00625 | 296.3561 | 295.0699 | 239.9696 | -0.43984 | 2.8551 | 38.9773 | 26.1987 | 22.563 | 2.746 | 0.23239 | 0.93603 | 1.81 | 0.14647 | 18.5938 | 0.65794 | 35.0222 | 379.9395 | 0.015975
55 | 16:02:01 | 1458.5 | 0 | 17.3082 | 0.24689 | 254.0703 | 6.2544 | 1.9196 | 23.2104 | 3.3907 | 1.9929 | 1 | 3.9858 | 21.9211 | 23.2104 | 21.1216 | 399.2188 | 385.8427 | 8.594 | 12.7819 | 23.8383 | 35.4547 | 499.9206 | 1499.767 | 9.6699 | 73.2502 | 0.70383 | 0.28708 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4744 | 0.0062544 | 296.3604 | 295.0711 | 239.9627 | -0.44192 | 2.8558 | 38.9874 | 26.2055 | 22.5657 | 2.7465 | 0.23249 | 0.93627 | 1.8102 | 0.14654 | 18.6107 | 0.65848 | 35.0234 | 379.9804 | 0.015953
56 | 16:02:01 | 1459 | 0 | 17.3397 | 0.24696 | 253.9041 | 6.2564 | 1.9196 | 23.2115 | 3.3907 | 1.9929 | 1 | 3.9858 | 21.9226 | 23.2115 | 21.1217 | 399.2558 | 385.8573 | 8.5941 | 12.7834 | 23.8362 | 35.4554 | 499.9034 | 1499.7733 | 9.6858 | 73.2499 | 0.70383 | 0.28708 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4743 | 0.0062564 | 296.3615 | 295.0726 | 239.9637 | -0.44261 | 2.856 | 38.99 | 26.2066 | 22.567 | 2.7467 | 0.23255 | 0.93638 | 1.8103 | 0.14657 | 18.5985 | 0.65803 | 35.026 | 379.9844 | 0.015983
57 | 16:02:02 | 1459.5 | 0 | 17.3419 | 0.24699 | 253.9289 | 6.2566 | 1.9195 | 23.211 | 3.3907 | 1.9929 | 1 | 3.9858 | 21.9244 | 23.211 | 21.1213 | 399.2854 | 385.8854 | 8.5946 | 12.784 | 23.8351 | 35.4534 | 499.9084 | 1499.7183 | 9.7335 | 73.2498 | 0.70383 | 0.28708 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4743 | 0.0062566 | 296.361 | 295.0744 | 239.9549 | -0.44256 | 2.8559 | 38.989 | 26.2049 | 22.5677 | 2.7468 | 0.23258 | 0.93643 | 1.8104 | 0.14659 | 18.6002 | 0.65804 | 35.0288 | 380.0117 | 0.015985
58 | 16:02:02 | 1460 | 0 | 17.4362 | 0.24703 | 253.2864 | 6.2586 | 1.9198 | 23.2137 | 3.3907 | 1.9929 | 1 | 3.9858 | 21.9255 | 23.2137 | 21.1215 | 399.321 | 385.8567 | 8.5951 | 12.7858 | 23.835 | 35.4561 | 499.9122 | 1499.701 | 9.6837 | 73.2502 | 0.70383 | 0.28708 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4744 | 0.0062586 | 296.3637 | 295.0755 | 239.9522 | -0.44352 | 2.8564 | 38.9952 | 26.2093 | 22.5696 | 2.7471 | 0.23261 | 0.93657 | 1.8105 | 0.14661 | 18.5533 | 0.65643 | 35.0286 | 379.951 | 0.016075
59 | 16:02:03 | 1460.5 | 0 | 17.536 | 0.24712 | 252.6143 | 6.2614 | 1.92 | 23.2153 | 3.3907 | 1.9929 | 1 | 3.9858 | 21.9265 | 23.2153 | 21.1218 | 399.3421 | 385.8094 | 8.5941 | 12.7867 | 23.8307 | 35.4566 | 499.9083 | 1499.6067 | 9.6666 | 73.2504 | 0.70383 | 0.28708 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4743 | 0.0062614 | 296.3653 | 295.0765 | 239.9371 | -0.44483 | 2.8567 | 38.9988 | 26.2121 | 22.5709 | 2.7473 | 0.23269 | 0.93663 | 1.8107 | 0.14666 | 18.5041 | 0.65476 | 35.0291 | 379.87 | 0.016171
60 | 16:02:03 | 1461 | 0 | 17.5315 | 0.24709 | 252.6282 | 6.2613 | 1.9202 | 23.2167 | 3.3907 | 1.9929 | 1 | 3.9858 | 21.928 | 23.2167 | 21.1213 | 399.3376 | 385.8076 | 8.5946 | 12.7873 | 23.8302 | 35.4552 | 499.8937 | 1499.5699 | 9.7238 | 73.251 | 0.70383 | 0.28708 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4743 | 0.0062613 | 296.3667 | 295.078 | 239.9312 | -0.44481 | 2.8569 | 39.0016 | 26.2144 | 22.5723 | 2.7475 | 0.23266 | 0.93668 | 1.8109 | 0.14665 | 18.5053 | 0.6548 | 35.0276 | 379.8697 | 0.016166 | 17.4521 | 21.9194 | 23.204 | #DIV/0! | 1457.5667 | 0 | 17.4521 | 0.24679 | 253.0268 | 6.2492 | 1.9187 | 23.204 | 3.3907 | 1.9929 | 1 | 3.9858 | 21.9194 | 23.204 | 21.1212 | 399.2704 | 385.7973 | 8.5942 | 12.7789 | 23.8413 | 35.4499 | 499.888 | 1499.7076 | 9.6271 | 73.25 | 0.70383 | 0.28708 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4743 | 0.0062492 | 296.354 | 295.0694 | 239.9532 | -0.4395 | 2.8547 | 38.9724 | 26.1935 | 22.5617 | 2.7458 | 0.2324 | 0.93605 | 1.8097 | 0.14648 | 18.5342 | 0.65585 | 35.0272 | 379.8862 | 0.016092
Remark= | "16:02:08 Coolers: Tblock -> 26.00 C"
Remark= | "16:04:00 Flow: Fixed -> 500 umol/s"
61 | 16:05:51 | 1689.5 | 0 | 17.7956 | 0.22909 | 240.2106 | 6.6633 | 2.1815 | 26.2038 | 3.3907 | 1.9929 | 1 | 3.9858 | 26.0975 | 26.2038 | 26.0037 | 399.7114 | 385.8992 | 12.3994 | 16.8422 | 26.7621 | 36.3511 | 499.9836 | 1499.8621 | 11.0807 | 73.2492 | 0.57373 | 0.24901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4746 | 0.0066633 | 299.3538 | 299.2475 | 239.9779 | -0.48338 | 3.4152 | 46.6238 | 29.7816 | 26.1506 | 3.4045 | 0.21664 | 1.2337 | 2.1708 | 0.13647 | 17.5952 | 0.62247 | 37.6158 | 379.8718 | 0.017622
62 | 16:05:52 | 1689.5 | 0 | 17.7956 | 0.22909 | 240.2106 | 6.6633 | 2.1815 | 26.2038 | 3.3907 | 1.9929 | 1 | 3.9858 | 26.0975 | 26.2038 | 26.0037 | 399.7114 | 385.8992 | 12.3994 | 16.8422 | 26.7621 | 36.3511 | 499.9836 | 1499.8621 | 11.0807 | 73.2492 | 0.57373 | 0.24901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4746 | 0.0066633 | 299.3538 | 299.2475 | 239.9779 | -0.48338 | 3.4152 | 46.6238 | 29.7816 | 26.1506 | 3.4045 | 0.21664 | 1.2337 | 2.1708 | 0.13647 | 17.5952 | 0.62247 | 37.6158 | 379.8718 | 0.017622
63 | 16:05:52 | 1690 | 0 | 17.7678 | 0.22912 | 240.4223 | 6.6655 | 2.1819 | 26.2057 | 3.3907 | 1.9929 | 1 | 3.9858 | 26.099 | 26.2057 | 26.0036 | 399.6942 | 385.8993 | 12.3973 | 16.8419 | 26.7552 | 36.3471 | 499.948 | 1499.8735 | 11.016 | 73.249 | 0.57373 | 0.24901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4745 | 0.0066655 | 299.3557 | 299.249 | 239.9798 | -0.48425 | 3.4156 | 46.6294 | 29.7875 | 26.1524 | 3.4048 | 0.21667 | 1.2336 | 2.1712 | 0.13648 | 17.6107 | 0.62302 | 37.6112 | 379.8813 | 0.017591
64 | 16:05:53 | 1690.5 | 0 | 17.6858 | 0.22916 | 241.0375 | 6.6673 | 2.1822 | 26.2072 | 3.3907 | 1.9929 | 1 | 3.9858 | 26.1006 | 26.2072 | 26.0038 | 399.6536 | 385.9128 | 12.3955 | 16.8415 | 26.7488 | 36.3431 | 499.9123 | 1499.8689 | 10.9757 | 73.2493 | 0.57373 | 0.24901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4744 | 0.0066673 | 299.3572 | 299.2506 | 239.979 | -0.48494 | 3.4158 | 46.6331 | 29.7915 | 26.1539 | 3.4051 | 0.2167 | 1.2336 | 2.1715 | 0.1365 | 17.6558 | 0.62459 | 37.6081 | 379.9226 | 0.017507
65 | 16:05:53 | 1691 | 0 | 17.6963 | 0.22916 | 240.949 | 6.6688 | 2.1826 | 26.2092 | 3.3907 | 1.9929 | 1 | 3.9858 | 26.1016 | 26.2092 | 26.0038 | 399.6469 | 385.8978 | 12.3941 | 16.8414 | 26.7442 | 36.3407 | 499.8826 | 1499.895 | 11.0128 | 73.2495 | 0.57373 | 0.24901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4743 | 0.0066688 | 299.3592 | 299.2516 | 239.9832 | -0.48559 | 3.4163 | 46.6386 | 29.7972 | 26.1554 | 3.4054 | 0.2167 | 1.2336 | 2.1718 | 0.13651 | 17.6494 | 0.62439 | 37.6036 | 379.904 | 0.017516
66 | 16:05:54 | 1691.5 | 0 | 17.7623 | 0.22913 | 240.4272 | 6.6695 | 2.1831 | 26.2113 | 3.3907 | 1.9929 | 1 | 3.9858 | 26.1028 | 26.2113 | 26.0037 | 399.6596 | 385.8651 | 12.393 | 16.8409 | 26.7399 | 36.3372 | 499.8595 | 1499.8761 | 10.9364 | 73.2494 | 0.57373 | 0.24901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.0066695 | 299.3613 | 299.2528 | 239.9802 | -0.48597 | 3.4167 | 46.6445 | 29.8036 | 26.1571 | 3.4057 | 0.21668 | 1.2336 | 2.1722 | 0.13649 | 17.6112 | 0.62309 | 37.5975 | 379.849 | 0.017581
67 | 16:05:54 | 1692 | 0 | 17.8225 | 0.22912 | 239.9639 | 6.6703 | 2.1835 | 26.2129 | 3.3907 | 1.9929 | 1 | 3.9858 | 26.1037 | 26.2129 | 26.0037 | 399.6795 | 385.8429 | 12.3907 | 16.8396 | 26.7338 | 36.3325 | 499.8192 | 1499.848 | 10.914 | 73.2497 | 0.57373 | 0.24901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.0066703 | 299.3629 | 299.2537 | 239.9757 | -0.48638 | 3.417 | 46.6488 | 29.8092 | 26.1583 | 3.406 | 0.21666 | 1.2335 | 2.1725 | 0.13648 | 17.5773 | 0.62192 | 37.5912 | 379.8063 | 0.01764
68 | 16:05:55 | 1692.5 | 0 | 17.8598 | 0.22913 | 239.7108 | 6.6721 | 2.184 | 26.215 | 3.3907 | 1.9929 | 1 | 3.9858 | 26.1041 | 26.215 | 26.0033 | 399.7155 | 385.8527 | 12.3887 | 16.8389 | 26.7288 | 36.3301 | 499.8051 | 1499.8196 | 10.8555 | 73.2498 | 0.57373 | 0.24901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0066721 | 299.365 | 299.2541 | 239.9711 | -0.48729 | 3.4174 | 46.6544 | 29.8155 | 26.1596 | 3.4062 | 0.21668 | 1.2334 | 2.1728 | 0.13649 | 17.5588 | 0.62125 | 37.5855 | 379.8035 | 0.017674
69 | 16:05:55 | 1693 | 0 | 17.8671 | 0.22916 | 239.6645 | 6.6741 | 2.1844 | 26.2167 | 3.3907 | 1.9929 | 1 | 3.9858 | 26.1055 | 26.2167 | 26.0033 | 399.7132 | 385.8446 | 12.3869 | 16.8385 | 26.7229 | 36.3266 | 499.7915 | 1499.8723 | 10.8703 | 73.2501 | 0.57373 | 0.24901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0066741 | 299.3667 | 299.2555 | 239.9796 | -0.48802 | 3.4178 | 46.6589 | 29.8204 | 26.1611 | 3.4066 | 0.2167 | 1.2334 | 2.1731 | 0.13651 | 17.5555 | 0.62114 | 37.5816 | 379.793 | 0.01768
70 | 16:05:56 | 1693.5 | 0 | 17.8238 | 0.22906 | 239.9352 | 6.6724 | 2.1847 | 26.2176 | 3.3907 | 1.9929 | 1 | 3.9858 | 26.1069 | 26.2176 | 26.0032 | 399.7009 | 385.8624 | 12.386 | 16.8364 | 26.7185 | 36.3186 | 499.8057 | 1499.9064 | 10.9371 | 73.2497 | 0.57373 | 0.24901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0066724 | 299.3676 | 299.2569 | 239.985 | -0.48725 | 3.418 | 46.6617 | 29.8253 | 26.1623 | 3.4068 | 0.21661 | 1.2333 | 2.1735 | 0.13645 | 17.5752 | 0.62182 | 37.5736 | 379.8255 | 0.017632
71 | 16:05:56 | 1694 | 0 | 17.8822 | 0.22897 | 239.4635 | 6.6719 | 2.1853 | 26.2205 | 3.3907 | 1.9929 | 1 | 3.9858 | 26.1082 | 26.2205 | 26.0033 | 399.7387 | 385.8602 | 12.3853 | 16.8356 | 26.7151 | 36.3142 | 499.7892 | 1499.8463 | 10.9668 | 73.2496 | 0.57373 | 0.24901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0066719 | 299.3705 | 299.2582 | 239.9754 | -0.48732 | 3.4185 | 46.6696 | 29.834 | 26.1643 | 3.4072 | 0.21653 | 1.2332 | 2.174 | 0.1364 | 17.5406 | 0.6206 | 37.5643 | 379.8035 | 0.017686
72 | 16:05:57 | 1694.5 | 0 | 17.8869 | 0.229 | 239.4419 | 6.6745 | 2.1859 | 26.2234 | 3.3907 | 1.9929 | 1 | 3.9858 | 26.1097 | 26.2234 | 26.0031 | 399.7419 | 385.8602 | 12.3843 | 16.8361 | 26.7104 | 36.312 | 499.81 | 1499.8486 | 10.9658 | 73.2494 | 0.57373 | 0.24901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0066745 | 299.3734 | 299.2597 | 239.9758 | -0.48846 | 3.4191 | 46.6778 | 29.8417 | 26.1665 | 3.4077 | 0.21656 | 1.2332 | 2.1744 | 0.13642 | 17.539 | 0.62054 | 37.5594 | 379.8018 | 0.017689
73 | 16:05:57 | 1695 | 0 | 17.8509 | 0.22902 | 239.7603 | 6.6757 | 2.1862 | 26.2246 | 3.3907 | 1.9929 | 1 | 3.9858 | 26.111 | 26.2246 | 26.003 | 399.7751 | 385.9177 | 12.3833 | 16.8357 | 26.706 | 36.3082 | 499.8247 | 1499.8156 | 11.0834 | 73.2493 | 0.57373 | 0.24901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.0066757 | 299.3746 | 299.261 | 239.9705 | -0.48896 | 3.4194 | 46.6811 | 29.8454 | 26.1678 | 3.4079 | 0.21657 | 1.2332 | 2.1747 | 0.13642 | 17.5623 | 0.62127 | 37.5561 | 379.8716 | 0.017648
74 | 16:05:58 | 1695.5 | 0 | 17.8704 | 0.22901 | 239.635 | 6.6768 | 2.1866 | 26.2265 | 3.3907 | 1.9929 | 1 | 3.9858 | 26.1126 | 26.2265 | 26.0034 | 399.8106 | 385.9398 | 12.3823 | 16.8354 | 26.7014 | 36.3041 | 499.837 | 1499.8159 | 11.1641 | 73.2491 | 0.57373 | 0.24901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.0066768 | 299.3765 | 299.2626 | 239.9705 | -0.48943 | 3.4198 | 46.6866 | 29.8512 | 26.1696 | 3.4083 | 0.21657 | 1.2332 | 2.1751 | 0.13642 | 17.5531 | 0.62091 | 37.5511 | 379.8871 | 0.017665
75 | 16:05:58 | 1696 | 0 | 17.9326 | 0.22905 | 239.2105 | 6.6782 | 2.1867 | 26.2272 | 3.3907 | 1.9929 | 1 | 3.9858 | 26.1137 | 26.2272 | 26.0035 | 399.855 | 385.942 | 12.3819 | 16.8358 | 26.6987 | 36.3025 | 499.846 | 1499.8262 | 11.1938 | 73.249 | 0.57373 | 0.24901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.0066782 | 299.3772 | 299.2637 | 239.9722 | -0.48991 | 3.4199 | 46.6887 | 29.8528 | 26.1705 | 3.4084 | 0.2166 | 1.2332 | 2.1752 | 0.13644 | 17.5219 | 0.61981 | 37.5509 | 379.8682 | 0.017727 | 17.82 | 26.105 | 26.215 | #DIV/0! | 1692.5333 | 0 | 17.82 | 0.22909 | 240.0029 | 6.6709 | 2.184 | 26.215 | 3.3907 | 1.9929 | 1 | 3.9858 | 26.105 | 26.215 | 26.0035 | 399.7205 | 385.8864 | 12.3899 | 16.8388 | 26.7299 | 36.3279 | 499.8599 | 1499.8558 | 11.0035 | 73.2494 | 0.57373 | 0.24901 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.0066709 | 299.365 | 299.255 | 239.9769 | -0.4867 | 3.4174 | 46.6547 | 29.8159 | 26.16 | 3.4063 | 0.21663 | 1.2334 | 2.1729 | 0.13646 | 17.5801 | 0.62195 | 37.5844 | 379.8507 | 0.017632
Remark= | "16:06:05 Coolers: Tblock -> 31.00 C"
Remark= | "16:08:54 Flow: Fixed -> 500 umol/s"
76 | 16:09:18 | 1896 | 0 | 16.422 | 0.19807 | 232.3097 | 6.7928 | 2.5358 | 29.1858 | 3.3907 | 1.9929 | 1 | 3.9858 | 30.3963 | 29.1858 | 31.0787 | 401.291 | 388.3621 | 16.371 | 20.8825 | 27.5101 | 35.0913 | 499.8696 | 1501.3663 | 10.9288 | 73.2392 | 1.1211 | 0.21755 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.0067928 | 302.3358 | 303.5463 | 240.2186 | -0.39216 | 4.0652 | 55.5062 | 34.6237 | 29.7911 | 4.2096 | 0.1887 | 1.5294 | 2.6802 | 0.11874 | 17.0142 | 0.59818 | 38.2152 | 382.7999 | 0.016394
77 | 16:09:19 | 1896 | 0 | 16.422 | 0.19807 | 232.3097 | 6.7928 | 2.5358 | 29.1858 | 3.3907 | 1.9929 | 1 | 3.9858 | 30.3963 | 29.1858 | 31.0787 | 401.291 | 388.3621 | 16.371 | 20.8825 | 27.5101 | 35.0913 | 499.8696 | 1501.3663 | 10.9288 | 73.2392 | 1.1211 | 0.21755 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.0067928 | 302.3358 | 303.5463 | 240.2186 | -0.39216 | 4.0652 | 55.5062 | 34.6237 | 29.7911 | 4.2096 | 0.1887 | 1.5294 | 2.6802 | 0.11874 | 17.0142 | 0.59818 | 38.2152 | 382.7999 | 0.016394
78 | 16:09:19 | 1896.5 | 0 | 16.493 | 0.19802 | 231.7067 | 6.793 | 2.5365 | 29.1886 | 3.3907 | 1.9929 | 1 | 3.9858 | 30.3974 | 29.1886 | 31.0796 | 401.3543 | 388.377 | 16.3707 | 20.8824 | 27.5077 | 35.0887 | 499.8659 | 1501.3749 | 10.8949 | 73.239 | 1.1211 | 0.21755 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.006793 | 302.3386 | 303.5474 | 240.22 | -0.3924 | 4.0659 | 55.515 | 34.6327 | 29.793 | 4.2101 | 0.18865 | 1.5294 | 2.6807 | 0.11872 | 16.97 | 0.5966 | 38.208 | 382.7908 | 0.016462
79 | 16:09:20 | 1897 | 0 | 16.538 | 0.19809 | 231.399 | 6.7959 | 2.5367 | 29.1897 | 3.3907 | 1.9929 | 1 | 3.9858 | 30.3979 | 29.1897 | 31.08 | 401.4053 | 388.396 | 16.369 | 20.8828 | 27.5041 | 35.0884 | 499.8408 | 1501.3867 | 10.9213 | 73.2387 | 1.1211 | 0.21755 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.0067959 | 302.3397 | 303.5479 | 240.2219 | -0.39355 | 4.0661 | 55.5188 | 34.636 | 29.7938 | 4.2102 | 0.18871 | 1.5294 | 2.6808 | 0.11875 | 16.9474 | 0.59578 | 38.2071 | 382.7946 | 0.016507
80 | 16:09:20 | 1897.5 | 0 | 16.5357 | 0.19811 | 231.4567 | 6.797 | 2.5369 | 29.1907 | 3.3907 | 1.9929 | 1 | 3.9858 | 30.3983 | 29.1907 | 31.0798 | 401.4388 | 388.4301 | 16.3685 | 20.8832 | 27.5023 | 35.0879 | 499.8231 | 1501.4135 | 10.8758 | 73.2381 | 1.1211 | 0.21755 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.006797 | 302.3407 | 303.5483 | 240.2261 | -0.394 | 4.0664 | 55.5225 | 34.6393 | 29.7945 | 4.2104 | 0.18873 | 1.5294 | 2.681 | 0.11876 | 16.9515 | 0.59588 | 38.2054 | 382.8294 | 0.016502
81 | 16:09:21 | 1898 | 0 | 16.591 | 0.19805 | 230.9533 | 6.7965 | 2.5374 | 29.1922 | 3.3907 | 1.9929 | 1 | 3.9858 | 30.4003 | 29.1922 | 31.0809 | 401.4659 | 388.4194 | 16.3666 | 20.8812 | 27.4958 | 35.0802 | 499.8034 | 1501.444 | 10.8855 | 73.2377 | 1.1211 | 0.21755 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0067965 | 302.3422 | 303.5503 | 240.231 | -0.39372 | 4.0667 | 55.5276 | 34.6464 | 29.7962 | 4.2108 | 0.18867 | 1.5293 | 2.6816 | 0.11873 | 16.9145 | 0.5946 | 38.1975 | 382.8 | 0.016555
82 | 16:09:21 | 1898.5 | 0 | 16.6374 | 0.19804 | 230.5672 | 6.7976 | 2.538 | 29.1945 | 3.3907 | 1.9929 | 1 | 3.9858 | 30.4021 | 29.1945 | 31.0802 | 401.504 | 388.4248 | 16.3658 | 20.8815 | 27.4917 | 35.0771 | 499.7674 | 1501.4396 | 10.7402 | 73.2377 | 1.1211 | 0.21755 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4739 | 0.0067976 | 302.3445 | 303.5521 | 240.2303 | -0.39421 | 4.0673 | 55.5351 | 34.6536 | 29.7983 | 4.2113 | 0.18866 | 1.5293 | 2.682 | 0.11872 | 16.8862 | 0.5936 | 38.1925 | 382.7897 | 0.0166
83 | 16:09:22 | 1899 | 0 | 16.6829 | 0.19803 | 230.1588 | 6.7997 | 2.5388 | 29.1979 | 3.3907 | 1.9929 | 1 | 3.9858 | 30.4033 | 29.1979 | 31.0803 | 401.5087 | 388.3983 | 16.3634 | 20.8804 | 27.4858 | 35.073 | 499.7716 | 1501.5006 | 10.6925 | 73.2377 | 1.1211 | 0.21755 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4739 | 0.0067997 | 302.3479 | 303.5533 | 240.2401 | -0.39516 | 4.0681 | 55.5459 | 34.6655 | 29.8006 | 4.2119 | 0.18866 | 1.5292 | 2.6827 | 0.11872 | 16.8563 | 0.59258 | 38.183 | 382.7478 | 0.016643
84 | 16:09:22 | 1899.5 | 0 | 16.6634 | 0.19795 | 230.2397 | 6.8005 | 2.54 | 29.2031 | 3.3907 | 1.9929 | 1 | 3.9858 | 30.4052 | 29.2031 | 31.0802 | 401.4772 | 388.3792 | 16.3629 | 20.8806 | 27.4818 | 35.0694 | 499.7464 | 1501.4949 | 10.6819 | 73.2376 | 1.1211 | 0.21755 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4739 | 0.0068005 | 302.3531 | 303.5552 | 240.2392 | -0.39581 | 4.0693 | 55.5629 | 34.6823 | 29.8042 | 4.2128 | 0.18859 | 1.5292 | 2.6835 | 0.11867 | 16.8622 | 0.59282 | 38.1702 | 382.7353 | 0.016618
85 | 16:09:23 | 1900 | 0 | 16.6587 | 0.19786 | 230.2135 | 6.8008 | 2.5412 | 29.2081 | 3.3907 | 1.9929 | 1 | 3.9858 | 30.4063 | 29.2081 | 31.0807 | 401.4766 | 388.382 | 16.3621 | 20.8799 | 27.4788 | 35.0662 | 499.7534 | 1501.4884 | 10.6957 | 73.2379 | 1.1211 | 0.21755 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4739 | 0.0068008 | 302.3581 | 303.5563 | 240.2381 | -0.39633 | 4.0704 | 55.5784 | 34.6985 | 29.8072 | 4.2135 | 0.1885 | 1.5292 | 2.6843 | 0.11862 | 16.8604 | 0.59275 | 38.1568 | 382.7396 | 0.016608
86 | 16:09:23 | 1900.5 | 0 | 16.6395 | 0.19784 | 230.3405 | 6.8006 | 2.5414 | 29.2086 | 3.3907 | 1.9929 | 1 | 3.9858 | 30.4082 | 29.2086 | 31.0801 | 401.4477 | 388.3662 | 16.3615 | 20.8792 | 27.4749 | 35.0612 | 499.7531 | 1501.5225 | 10.7084 | 73.2378 | 1.1211 | 0.21755 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4739 | 0.0068006 | 302.3586 | 303.5582 | 240.2436 | -0.39606 | 4.0706 | 55.5802 | 34.701 | 29.8084 | 4.2138 | 0.18848 | 1.5291 | 2.6846 | 0.11861 | 16.8696 | 0.5931 | 38.154 | 382.7304 | 0.016588
87 | 16:09:24 | 1901 | 0 | 16.5903 | 0.19774 | 230.706 | 6.7991 | 2.5421 | 29.2112 | 3.3907 | 1.9929 | 1 | 3.9858 | 30.4095 | 29.2112 | 31.0795 | 401.4481 | 388.4008 | 16.3616 | 20.8781 | 27.4731 | 35.0569 | 499.7741 | 1501.5217 | 10.7137 | 73.2382 | 1.1211 | 0.21755 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4739 | 0.0067991 | 302.3612 | 303.5595 | 240.2435 | -0.39562 | 4.0712 | 55.5882 | 34.71 | 29.8103 | 4.2143 | 0.18839 | 1.5291 | 2.6852 | 0.11855 | 16.8965 | 0.59399 | 38.145 | 382.7816 | 0.016533
88 | 16:09:24 | 1901.5 | 0 | 16.6444 | 0.19768 | 230.2036 | 6.7993 | 2.5429 | 29.2141 | 3.3907 | 1.9929 | 1 | 3.9858 | 30.4118 | 29.2141 | 31.08 | 401.468 | 388.3845 | 16.3602 | 20.8768 | 27.4672 | 35.0501 | 499.7912 | 1501.5479 | 10.7838 | 73.2385 | 1.1211 | 0.21755 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0067993 | 302.3641 | 303.5618 | 240.2477 | -0.39574 | 4.0719 | 55.5975 | 34.7207 | 29.813 | 4.2149 | 0.18834 | 1.529 | 2.6859 | 0.11852 | 16.8598 | 0.59272 | 38.1353 | 382.747 | 0.016584
89 | 16:09:25 | 1902 | 0 | 16.5881 | 0.1976 | 230.6372 | 6.8005 | 2.5444 | 29.2206 | 3.3907 | 1.9929 | 1 | 3.9858 | 30.413 | 29.2206 | 31.0795 | 401.4715 | 388.4256 | 16.3599 | 20.8773 | 27.4651 | 35.0489 | 499.7893 | 1501.4734 | 10.7539 | 73.2391 | 1.1211 | 0.21755 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0068005 | 302.3706 | 303.563 | 240.2357 | -0.39682 | 4.0734 | 55.6177 | 34.7405 | 29.8168 | 4.2158 | 0.18826 | 1.529 | 2.6868 | 0.11847 | 16.8917 | 0.59377 | 38.1207 | 382.8071 | 0.016519
90 | 16:09:25 | 1902.5 | 0 | 16.6649 | 0.19751 | 229.9324 | 6.8003 | 2.5453 | 29.2244 | 3.3907 | 1.9929 | 1 | 3.9858 | 30.4144 | 29.2244 | 31.0809 | 401.5094 | 388.4125 | 16.3594 | 20.8762 | 27.4621 | 35.0445 | 499.8291 | 1501.2485 | 10.9607 | 73.2394 | 1.1211 | 0.21755 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.0068003 | 302.3744 | 303.5644 | 240.1998 | -0.39731 | 4.0743 | 55.6297 | 34.7535 | 29.8194 | 4.2165 | 0.18819 | 1.529 | 2.6875 | 0.11842 | 16.8401 | 0.59198 | 38.1092 | 382.7681 | 0.016592 | 16.5848 | 30.404 | 29.201 | #DIV/0! | 1899.0333 | 0 | 16.5848 | 0.19791 | 230.8756 | 6.7978 | 2.5396 | 29.201 | 3.3907 | 1.9929 | 1 | 3.9858 | 30.404 | 29.201 | 31.0799 | 401.4372 | 388.3947 | 16.3649 | 20.8803 | 27.4874 | 35.0717 | 499.8032 | 1501.4393 | 10.8111 | 73.2384 | 1.1211 | 0.21755 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0067978 | 302.351 | 303.554 | 240.2303 | -0.39474 | 4.0688 | 55.5555 | 34.6752 | 29.8025 | 4.2124 | 0.18855 | 1.5292 | 2.6831 | 0.11865 | 16.909 | 0.59444 | 38.1743 | 382.7774 | 0.01654
Remark= | "16:09:32 Coolers: Tblock -> 36.00 C"
Remark= | "16:12:22 Flow: Fixed -> 500 umol/s"
91 | 16:12:55 | 2113 | 0 | 15.3165 | 0.16847 | 218.2077 | 6.5312 | 2.8245 | 31.9453 | 3.3907 | 1.9929 | 1 | 3.9858 | 34.5151 | 31.9453 | 35.9654 | 400.5452 | 388.4333 | 22.1131 | 26.4268 | 29.4591 | 35.2058 | 499.8067 | 1498.9768 | 11.6346 | 73.2505 | 1.1415 | 0.14753 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0065312 | 305.0953 | 307.6651 | 239.8363 | -0.14252 | 4.7603 | 64.9868 | 38.56 | 33.2302 | 5.1178 | 0.16164 | 1.9358 | 3.182 | 0.10162 | 15.9838 | 0.56176 | 40.3445 | 383.2456 | 0.016124
92 | 16:12:55 | 2113 | 0 | 15.3165 | 0.16847 | 218.2077 | 6.5312 | 2.8245 | 31.9453 | 3.3907 | 1.9929 | 1 | 3.9858 | 34.5151 | 31.9453 | 35.9654 | 400.5452 | 388.4333 | 22.1131 | 26.4268 | 29.4591 | 35.2058 | 499.8067 | 1498.9768 | 11.6346 | 73.2505 | 1.1415 | 0.14753 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0065312 | 305.0953 | 307.6651 | 239.8363 | -0.14252 | 4.7603 | 64.9868 | 38.56 | 33.2302 | 5.1178 | 0.16164 | 1.9358 | 3.182 | 0.10162 | 15.9838 | 0.56176 | 40.3445 | 383.2456 | 0.016124
93 | 16:12:55 | 2113.5 | 0 | 15.2875 | 0.16837 | 218.4023 | 6.5288 | 2.825 | 31.9468 | 3.3907 | 1.9929 | 1 | 3.9858 | 34.5167 | 31.9468 | 35.9657 | 400.5305 | 388.4382 | 22.1132 | 26.4256 | 29.4566 | 35.201 | 499.7804 | 1498.9926 | 11.6135 | 73.2505 | 1.1415 | 0.14753 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0065288 | 305.0968 | 307.6667 | 239.8388 | -0.14153 | 4.7607 | 64.9926 | 38.567 | 33.2318 | 5.1183 | 0.16155 | 1.9357 | 3.1826 | 0.10156 | 15.9981 | 0.56226 | 40.3374 | 383.2603 | 0.01609
94 | 16:12:56 | 2114 | 0 | 15.2733 | 0.16848 | 218.6429 | 6.5308 | 2.8242 | 31.944 | 3.3907 | 1.9929 | 1 | 3.9858 | 34.5182 | 31.944 | 35.966 | 400.5268 | 388.4438 | 22.1136 | 26.4273 | 29.4547 | 35.2003 | 499.7867 | 1498.9991 | 11.6315 | 73.2503 | 1.1415 | 0.14753 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0065308 | 305.094 | 307.6682 | 239.8399 | -0.14185 | 4.76 | 64.9821 | 38.5549 | 33.2311 | 5.1181 | 0.16165 | 1.9358 | 3.1823 | 0.10162 | 16.0157 | 0.56287 | 40.3484 | 383.2707 | 0.016079
95 | 16:12:56 | 2114.5 | 0 | 15.3167 | 0.16854 | 218.2743 | 6.5309 | 2.8233 | 31.9408 | 3.3907 | 1.9929 | 1 | 3.9858 | 34.5191 | 31.9408 | 35.9657 | 400.5488 | 388.4365 | 22.1133 | 26.4269 | 29.4529 | 35.1983 | 499.791 | 1499.0215 | 11.7109 | 73.2508 | 1.1415 | 0.14753 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.474 | 0.0065309 | 305.0908 | 307.6691 | 239.8434 | -0.1414 | 4.7591 | 64.97 | 38.5431 | 33.2299 | 5.1177 | 0.1617 | 1.9358 | 3.182 | 0.10166 | 15.9888 | 0.56193 | 40.3567 | 383.2487 | 0.016129
96 | 16:12:57 | 2115 | 0 | 15.3207 | 0.16843 | 218.1419 | 6.5287 | 2.824 | 31.9429 | 3.3907 | 1.9929 | 1 | 3.9858 | 34.5209 | 31.9429 | 35.9669 | 400.548 | 388.434 | 22.1134 | 26.4254 | 29.4501 | 35.1927 | 499.8116 | 1499.0867 | 11.7174 | 73.2504 | 1.1415 | 0.14753 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.0065287 | 305.0929 | 307.6709 | 239.8539 | -0.14049 | 4.7597 | 64.9782 | 38.5528 | 33.2319 | 5.1183 | 0.1616 | 1.9357 | 3.1826 | 0.10159 | 15.979 | 0.56159 | 40.3475 | 383.2448 | 0.016129
97 | 16:12:57 | 2115.5 | 0 | 15.2584 | 0.16842 | 218.7267 | 6.5305 | 2.825 | 31.9465 | 3.3907 | 1.9929 | 1 | 3.9858 | 34.5219 | 31.9465 | 35.9662 | 400.5148 | 388.4431 | 22.1122 | 26.4252 | 29.4465 | 35.1901 | 499.8341 | 1499.0474 | 11.8161 | 73.2501 | 1.1415 | 0.14753 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4741 | 0.0065305 | 305.0965 | 307.6719 | 239.8476 | -0.14153 | 4.7606 | 64.9917 | 38.5665 | 33.2342 | 5.119 | 0.16159 | 1.9356 | 3.1833 | 0.10159 | 16.0218 | 0.56309 | 40.3381 | 383.275 | 0.016059
98 | 16:12:58 | 2116 | 0 | 15.2523 | 0.16847 | 218.8281 | 6.5332 | 2.8252 | 31.9474 | 3.3907 | 1.9929 | 1 | 3.9858 | 34.5236 | 31.9474 | 35.9666 | 400.5102 | 388.4428 | 22.1112 | 26.4257 | 29.4422 | 35.1871 | 499.8706 | 1499.0814 | 11.7514 | 73.2494 | 1.1415 | 0.14753 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.0065332 | 305.0974 | 307.6736 | 239.853 | -0.14241 | 4.7609 | 64.9957 | 38.5701 | 33.2355 | 5.1194 | 0.16164 | 1.9357 | 3.1837 | 0.10162 | 16.029 | 0.56335 | 40.3369 | 383.2769 | 0.016052
99 | 16:12:58 | 2116.5 | 0 | 15.2668 | 0.16838 | 218.6019 | 6.5293 | 2.825 | 31.9461 | 3.3907 | 1.9929 | 1 | 3.9858 | 34.5252 | 31.9461 | 35.9672 | 400.5042 | 388.4289 | 22.1123 | 26.4239 | 29.4409 | 35.1815 | 499.9043 | 1499.1051 | 11.7028 | 73.2491 | 1.1415 | 0.14753 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4743 | 0.0065293 | 305.0961 | 307.6752 | 239.8568 | -0.14056 | 4.7605 | 64.9912 | 38.5673 | 33.2357 | 5.1194 | 0.16156 | 1.9355 | 3.1839 | 0.10157 | 16.0124 | 0.56278 | 40.3359 | 383.258 | 0.016067
100 | 16:12:59 | 2117.5 | 0 | 15.292 | 0.16835 | 218.3334 | 6.5327 | 2.827 | 31.9536 | 3.3907 | 1.9929 | 1 | 3.9858 | 34.5282 | 31.9536 | 35.9676 | 400.5348 | 388.4422 | 22.1108 | 26.4244 | 29.434 | 35.1763 | 499.9373 | 1499.1154 | 11.6487 | 73.249 | 1.1415 | 0.14753 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4744 | 0.0065327 | 305.1036 | 307.6782 | 239.8585 | -0.14235 | 4.7626 | 65.0187 | 38.5942 | 33.2409 | 5.1209 | 0.16153 | 1.9356 | 3.1853 | 0.10155 | 15.9927 | 0.56207 | 40.3181 | 383.2628 | 0.016087
101 | 16:13:00 | 2118.5 | 0 | 15.2714 | 0.16809 | 218.3236 | 6.5331 | 2.8313 | 31.9689 | 3.3907 | 1.9929 | 1 | 3.9858 | 34.5307 | 31.9689 | 35.968 | 400.5649 | 388.4862 | 22.1087 | 26.4225 | 29.4271 | 35.1688 | 499.9445 | 1499.0812 | 11.6074 | 73.2488 | 1.1415 | 0.14753 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4744 | 0.0065331 | 305.1189 | 307.6807 | 239.853 | -0.14391 | 4.7667 | 65.0753 | 38.6528 | 33.2498 | 5.1234 | 0.16129 | 1.9354 | 3.188 | 0.10139 | 15.9919 | 0.56199 | 40.2741 | 383.3138 | 0.016045
102 | 16:13:01 | 2119 | 0 | 15.2674 | 0.16812 | 218.3903 | 6.534 | 2.8313 | 31.9687 | 3.3907 | 1.9929 | 1 | 3.9858 | 34.5319 | 31.9687 | 35.9671 | 400.5681 | 388.492 | 22.1074 | 26.4218 | 29.4235 | 35.1657 | 499.9498 | 1499.0837 | 11.6221 | 73.2493 | 1.1415 | 0.14753 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4745 | 0.006534 | 305.1187 | 307.6819 | 239.8534 | -0.1441 | 4.7666 | 65.0741 | 38.6523 | 33.2503 | 5.1236 | 0.16131 | 1.9354 | 3.1882 | 0.10141 | 15.9969 | 0.56215 | 40.2742 | 383.3209 | 0.016041
103 | 16:13:01 | 2119 | 0 | 15.2674 | 0.16812 | 218.3903 | 6.534 | 2.8313 | 31.9687 | 3.3907 | 1.9929 | 1 | 3.9858 | 34.5319 | 31.9687 | 35.9671 | 400.5681 | 388.492 | 22.1074 | 26.4218 | 29.4235 | 35.1657 | 499.9498 | 1499.0837 | 11.6221 | 73.2493 | 1.1415 | 0.14753 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4745 | 0.006534 | 305.1187 | 307.6819 | 239.8534 | -0.1441 | 4.7666 | 65.0741 | 38.6523 | 33.2503 | 5.1236 | 0.16131 | 1.9354 | 3.1882 | 0.10141 | 15.9969 | 0.56215 | 40.2742 | 383.3209 | 0.016041
104 | 16:13:02 | 2119.5 | 0 | 15.3196 | 0.16811 | 217.8604 | 6.5342 | 2.8315 | 31.9693 | 3.3907 | 1.9929 | 1 | 3.9858 | 34.5335 | 31.9693 | 35.9686 | 400.5833 | 388.4715 | 22.1054 | 26.42 | 29.4184 | 35.1604 | 499.9368 | 1499.1923 | 11.5998 | 73.2495 | 1.1415 | 0.14753 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4744 | 0.0065342 | 305.1193 | 307.6835 | 239.8708 | -0.14391 | 4.7668 | 65.0761 | 38.6561 | 33.2514 | 5.1239 | 0.1613 | 1.9353 | 3.1887 | 0.1014 | 15.9582 | 0.56081 | 40.2701 | 383.2827 | 0.016096
105 | 16:13:02 | 2120 | 0 | 15.3042 | 0.16804 | 217.9663 | 6.5341 | 2.8326 | 31.9729 | 3.3907 | 1.9929 | 1 | 3.9858 | 34.5347 | 31.9729 | 35.969 | 400.5976 | 388.496 | 22.1043 | 26.4188 | 29.4151 | 35.1567 | 499.9331 | 1499.1345 | 11.6527 | 73.2503 | 1.1415 | 0.14753 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4744 | 0.0065341 | 305.1229 | 307.6847 | 239.8615 | -0.14419 | 4.7678 | 65.0888 | 38.67 | 33.2538 | 5.1246 | 0.16124 | 1.9352 | 3.1894 | 0.10136 | 15.9661 | 0.56105 | 40.2589 | 383.3125 | 0.016074 | 15.2887 | 34.5244 | 31.9538 | #DIV/0! | 2116.3 | 0 | 15.2887 | 0.16832 | 218.3532 | 6.5318 | 2.827 | 31.9538 | 3.3907 | 1.9929 | 1 | 3.9858 | 34.5244 | 31.9538 | 35.9668 | 400.546 | 388.4543 | 22.1106 | 26.4242 | 29.4402 | 35.1838 | 499.8695 | 1499.0652 | 11.6644 | 73.2498 | 1.1415 | 0.14753 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.4742 | 0.0065318 | 305.1038 | 307.6744 | 239.8504 | -0.14249 | 4.7626 | 65.0188 | 38.5946 | 33.2391 | 5.1204 | 0.1615 | 1.9356 | 3.1848 | 0.10153 | 15.9943 | 0.56211 | 40.3173 | 383.2759 | 0.016082
Remark= | "16:13:07 Coolers: Tblock -> 41.00 C"