## stm-rpoga4_
OPEN 6.2.4
Fri Jun 26 2015 16:20:07
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "16:20:18 CO2 Mixer: CO2R -> 400 uml"
Remark= | "16:20:27 Coolers: Tblock -> 0.00 C"
Remark= | "16:20:33 Lamp: ParIn -> 1500 uml"
Remark= | "16:29:09 Flow: Fixed -> 500 umol/s"
Remark= | "16:31:27 Coolers: Tblock -> 13.71 C"
Remark= | "16:32:41 Flow: Fixed -> 500 umol/s"
1 | 16:32:57 | 779.5 | 0 | 25.4393 | 0.40694 | 265.0631 | 8.7298 | 1.6832 | 20.0738 | 2.5799 | 2.1709 | 1 | 4.3419 | 16.2046 | 20.0738 | 13.6903 | 400.0307 | 385.1653 | 4.7396 | 9.2039 | 18.7802 | 36.4696 | 499.8547 | 1500.2272 | 12.8504 | 73.2528 | 1.4328 | 0.32379 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9375 | 0.0087298 | 293.2238 | 289.3546 | 240.0363 | -1.5203 | 2.3574 | 32.1812 | 22.9773 | 18.1392 | 2.0895 | 0.37207 | 0.67421 | 1.4153 | 0.23545 | 19.4166 | 0.68818 | 33.3393 | 377.2555 | 0.022481
2 | 16:32:58 | 779.5 | 0 | 25.4393 | 0.40694 | 265.0631 | 8.7298 | 1.6832 | 20.0738 | 2.5799 | 2.1709 | 1 | 4.3419 | 16.2046 | 20.0738 | 13.6903 | 400.0307 | 385.1653 | 4.7396 | 9.2039 | 18.7802 | 36.4696 | 499.8547 | 1500.2272 | 12.8504 | 73.2528 | 1.4328 | 0.32379 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9375 | 0.0087298 | 293.2238 | 289.3546 | 240.0363 | -1.5203 | 2.3574 | 32.1812 | 22.9773 | 18.1392 | 2.0895 | 0.37207 | 0.67421 | 1.4153 | 0.23545 | 19.4166 | 0.68818 | 33.3393 | 377.2555 | 0.022481
3 | 16:32:58 | 780 | 0 | 25.3917 | 0.4074 | 265.3975 | 8.7302 | 1.6815 | 20.0627 | 2.5799 | 2.1709 | 1 | 4.3419 | 16.2039 | 20.0627 | 13.6907 | 400.0214 | 385.1806 | 4.7397 | 9.2041 | 18.7816 | 36.4721 | 499.8638 | 1500.2317 | 12.8272 | 73.2528 | 1.4328 | 0.32379 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9375 | 0.0087302 | 293.2127 | 289.3539 | 240.0371 | -1.5195 | 2.3557 | 32.1591 | 22.955 | 18.1333 | 2.0887 | 0.37245 | 0.67422 | 1.4145 | 0.23569 | 19.4411 | 0.68902 | 33.3654 | 377.2856 | 0.022455
4 | 16:32:59 | 780.5 | 0 | 25.3028 | 0.40792 | 265.942 | 8.731 | 1.6797 | 20.0506 | 2.5799 | 2.1709 | 1 | 4.3419 | 16.2033 | 20.0506 | 13.691 | 400.0135 | 385.2182 | 4.7394 | 9.2043 | 18.7813 | 36.4745 | 499.8601 | 1500.2789 | 12.7581 | 73.2532 | 1.4328 | 0.32379 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9375 | 0.008731 | 293.2006 | 289.3533 | 240.0446 | -1.5187 | 2.354 | 32.1349 | 22.9306 | 18.127 | 2.0879 | 0.37289 | 0.67424 | 1.4136 | 0.23597 | 19.4811 | 0.69037 | 33.3942 | 377.3509 | 0.022392
5 | 16:32:59 | 781 | 0 | 25.2524 | 0.40819 | 266.2373 | 8.732 | 1.6789 | 20.045 | 2.5799 | 2.1709 | 1 | 4.3419 | 16.2031 | 20.045 | 13.6913 | 400.0034 | 385.2332 | 4.7389 | 9.2044 | 18.7795 | 36.4757 | 499.8397 | 1500.3584 | 12.7486 | 73.2535 | 1.4328 | 0.32379 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.008732 | 293.195 | 289.3531 | 240.0573 | -1.5185 | 2.3532 | 32.1236 | 22.9193 | 18.1241 | 2.0875 | 0.37312 | 0.67425 | 1.4132 | 0.23611 | 19.5028 | 0.69111 | 33.4081 | 377.3816 | 0.022355
6 | 16:33:00 | 781.5 | 0 | 25.2172 | 0.40839 | 266.4103 | 8.7278 | 1.6774 | 20.0339 | 2.5799 | 2.1709 | 1 | 4.3419 | 16.2021 | 20.0339 | 13.6911 | 399.955 | 385.2029 | 4.7394 | 9.2031 | 18.7825 | 36.4724 | 499.8011 | 1500.4033 | 12.7 | 73.2528 | 1.4328 | 0.32379 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9373 | 0.0087278 | 293.1839 | 289.3521 | 240.0645 | -1.5161 | 2.3515 | 32.1018 | 22.8987 | 18.118 | 2.0867 | 0.37328 | 0.67415 | 1.4125 | 0.23622 | 19.5153 | 0.69161 | 33.426 | 377.3622 | 0.022337
7 | 16:33:00 | 782 | 0 | 25.158 | 0.4086 | 266.7185 | 8.7293 | 1.6769 | 20.0307 | 2.5799 | 2.1709 | 1 | 4.3419 | 16.2022 | 20.0307 | 13.6917 | 399.9331 | 385.2114 | 4.7392 | 9.2036 | 18.7819 | 36.4744 | 499.8108 | 1500.4033 | 12.7212 | 73.253 | 1.4328 | 0.32379 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9373 | 0.0087293 | 293.1807 | 289.3522 | 240.0645 | -1.5163 | 2.3511 | 32.0954 | 22.8918 | 18.1165 | 2.0865 | 0.37345 | 0.67419 | 1.4123 | 0.23633 | 19.5379 | 0.6924 | 33.436 | 377.3891 | 0.02229
8 | 16:33:01 | 782.5 | 0 | 25.0974 | 0.40842 | 266.9366 | 8.7269 | 1.6771 | 20.0316 | 2.5799 | 2.1709 | 1 | 4.3419 | 16.2022 | 20.0316 | 13.6917 | 399.9114 | 385.2213 | 4.7392 | 9.2024 | 18.7817 | 36.4697 | 499.8072 | 1500.4459 | 12.7126 | 73.2533 | 1.4328 | 0.32379 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9373 | 0.0087269 | 293.1816 | 289.3522 | 240.0713 | -1.5155 | 2.3512 | 32.0971 | 22.8947 | 18.1169 | 2.0866 | 0.37331 | 0.6741 | 1.4125 | 0.23624 | 19.554 | 0.69294 | 33.4286 | 377.4179 | 0.022229
9 | 16:33:01 | 783 | 0 | 25.1018 | 0.4085 | 266.9246 | 8.7267 | 1.6768 | 20.029 | 2.5799 | 2.1709 | 1 | 4.3419 | 16.2014 | 20.029 | 13.6916 | 399.8969 | 385.2053 | 4.7388 | 9.2017 | 18.7812 | 36.469 | 499.825 | 1500.4104 | 12.7402 | 73.2535 | 1.4328 | 0.32379 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.0087267 | 293.179 | 289.3514 | 240.0657 | -1.5153 | 2.3508 | 32.0916 | 22.8899 | 18.1152 | 2.0863 | 0.37337 | 0.67406 | 1.4123 | 0.23628 | 19.5532 | 0.69294 | 33.4325 | 377.4005 | 0.022237
10 | 16:33:02 | 783.5 | 0 | 25.1288 | 0.40844 | 266.805 | 8.7251 | 1.6767 | 20.0286 | 2.5799 | 2.1709 | 1 | 4.3419 | 16.2002 | 20.0286 | 13.6921 | 399.9191 | 385.2135 | 4.7395 | 9.2017 | 18.7855 | 36.4718 | 499.8164 | 1500.4048 | 12.6681 | 73.2534 | 1.4328 | 0.32379 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9373 | 0.0087251 | 293.1786 | 289.3502 | 240.0648 | -1.5148 | 2.3508 | 32.091 | 22.8893 | 18.1144 | 2.0862 | 0.37332 | 0.67406 | 1.4122 | 0.23624 | 19.5444 | 0.69262 | 33.4322 | 377.4003 | 0.02226
11 | 16:33:02 | 784 | 0 | 25.1574 | 0.40816 | 266.6279 | 8.7231 | 1.6773 | 20.0322 | 2.5799 | 2.1709 | 1 | 4.3419 | 16.2 | 20.0322 | 13.6923 | 399.9447 | 385.2247 | 4.7392 | 9.2003 | 18.7843 | 36.4667 | 499.8165 | 1500.4664 | 12.7445 | 73.2536 | 1.4328 | 0.32379 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9373 | 0.0087231 | 293.1822 | 289.35 | 240.0746 | -1.5143 | 2.3513 | 32.0981 | 22.8978 | 18.1161 | 2.0865 | 0.37309 | 0.67396 | 1.4125 | 0.2361 | 19.5314 | 0.69214 | 33.4182 | 377.4026 | 0.022276
12 | 16:33:03 | 784.5 | 0 | 25.2936 | 0.40791 | 265.9656 | 8.7214 | 1.678 | 20.0362 | 2.5799 | 2.1709 | 1 | 4.3419 | 16.1997 | 20.0362 | 13.693 | 399.9828 | 385.1931 | 4.7393 | 9.1996 | 18.7852 | 36.4644 | 499.8197 | 1500.4976 | 12.7817 | 73.2535 | 1.4328 | 0.32379 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.0087214 | 293.1862 | 289.3497 | 240.0796 | -1.514 | 2.3519 | 32.106 | 22.9064 | 18.118 | 2.0867 | 0.37288 | 0.6739 | 1.4128 | 0.23596 | 19.4829 | 0.69047 | 33.4056 | 377.3287 | 0.022393
13 | 16:33:03 | 785 | 0 | 25.399 | 0.40775 | 265.4629 | 8.7209 | 1.6784 | 20.0392 | 2.5799 | 2.1709 | 1 | 4.3419 | 16.1984 | 20.0392 | 13.6934 | 400.0131 | 385.1692 | 4.7391 | 9.1991 | 18.7861 | 36.4656 | 499.8217 | 1500.4696 | 12.9217 | 73.2533 | 1.4328 | 0.32379 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.0087209 | 293.1892 | 289.3484 | 240.0751 | -1.5143 | 2.3523 | 32.1121 | 22.9129 | 18.1188 | 2.0868 | 0.37275 | 0.67387 | 1.4129 | 0.23588 | 19.446 | 0.68921 | 33.3969 | 377.272 | 0.022484
14 | 16:33:04 | 785.5 | 0 | 25.3879 | 0.40779 | 265.5356 | 8.7207 | 1.6783 | 20.0379 | 2.5799 | 2.1709 | 1 | 4.3419 | 16.1978 | 20.0379 | 13.6933 | 400.0231 | 385.1855 | 4.7391 | 9.1988 | 18.7868 | 36.4661 | 499.8391 | 1500.4604 | 12.9693 | 73.2537 | 1.4328 | 0.32379 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.0087207 | 293.1879 | 289.3478 | 240.0737 | -1.5141 | 2.3521 | 32.1093 | 22.9105 | 18.1178 | 2.0867 | 0.37278 | 0.67385 | 1.4128 | 0.2359 | 19.4515 | 0.68937 | 33.3989 | 377.2917 | 0.022474
15 | 16:33:04 | 786 | 0 | 25.3872 | 0.40771 | 265.5065 | 8.7178 | 1.678 | 20.0355 | 2.5799 | 2.1709 | 1 | 4.3419 | 16.1962 | 20.0355 | 13.6938 | 400.0081 | 385.1712 | 4.7389 | 9.1972 | 18.7879 | 36.4634 | 499.8336 | 1500.4728 | 12.9682 | 73.2539 | 1.4328 | 0.32379 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.0087178 | 293.1855 | 289.3462 | 240.0756 | -1.513 | 2.3518 | 32.1045 | 22.9072 | 18.1159 | 2.0864 | 0.37271 | 0.67373 | 1.4127 | 0.23585 | 19.4494 | 0.68932 | 33.3974 | 377.2777 | 0.022473 | 25.2769 | 16.2013 | 20.0427 | #DIV/0! | 782.5333 | 0 | 25.2769 | 0.40794 | 266.0398 | 8.7262 | 1.6788 | 20.0427 | 2.5799 | 2.1709 | 1 | 4.3419 | 16.2013 | 20.0427 | 13.6918 | 399.9791 | 385.1974 | 4.7393 | 9.2019 | 18.7831 | 36.4697 | 499.8309 | 1500.3839 | 12.7975 | 73.2533 | 1.4328 | 0.32379 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.0087262 | 293.1927 | 289.3513 | 240.0614 | -1.5163 | 2.3528 | 32.1191 | 22.9172 | 18.122 | 2.0872 | 0.3729 | 0.67407 | 1.4132 | 0.23598 | 19.4883 | 0.69066 | 33.4012 | 377.3381 | 0.022375
Remark= | "16:33:11 Coolers: Tblock -> 19.00 C"
Remark= | "16:34:41 Flow: Fixed -> 500 umol/s"
16 | 16:35:33 | 935 | 0 | 25.6388 | 0.40072 | 261.4676 | 9.0876 | 1.7713 | 21.8358 | 2.5799 | 2.1709 | 1 | 4.3419 | 20.1323 | 21.8358 | 18.9774 | 399.6137 | 384.5766 | 7.0471 | 11.6828 | 21.8175 | 36.1695 | 499.8435 | 1500.354 | 12.5878 | 73.2477 | 0.87445 | 0.29038 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.0090876 | 294.9858 | 293.2823 | 240.0566 | -1.4626 | 2.627 | 35.8653 | 24.1825 | 20.984 | 2.4935 | 0.36686 | 0.85573 | 1.6377 | 0.23211 | 19.1519 | 0.67988 | 36.7678 | 376.6049 | 0.025031
17 | 16:35:33 | 935 | 0 | 25.6388 | 0.40072 | 261.4676 | 9.0876 | 1.7713 | 21.8358 | 2.5799 | 2.1709 | 1 | 4.3419 | 20.1323 | 21.8358 | 18.9774 | 399.6137 | 384.5766 | 7.0471 | 11.6828 | 21.8175 | 36.1695 | 499.8435 | 1500.354 | 12.5878 | 73.2477 | 0.87445 | 0.29038 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.0090876 | 294.9858 | 293.2823 | 240.0566 | -1.4626 | 2.627 | 35.8653 | 24.1825 | 20.984 | 2.4935 | 0.36686 | 0.85573 | 1.6377 | 0.23211 | 19.1519 | 0.67988 | 36.7678 | 376.6049 | 0.025031
18 | 16:35:33 | 935.5 | 0 | 25.5941 | 0.40093 | 261.6902 | 9.0944 | 1.7718 | 21.8402 | 2.5799 | 2.1709 | 1 | 4.3419 | 20.1333 | 21.8402 | 18.977 | 399.5763 | 384.5607 | 7.0466 | 11.6859 | 21.8147 | 36.1768 | 499.8359 | 1500.3933 | 12.6535 | 73.2477 | 0.87445 | 0.29038 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.0090944 | 294.9902 | 293.2833 | 240.0629 | -1.4653 | 2.6278 | 35.8748 | 24.189 | 20.9867 | 2.4939 | 0.36703 | 0.85596 | 1.6379 | 0.23222 | 19.1682 | 0.68049 | 36.7701 | 376.6028 | 0.024989
19 | 16:35:34 | 936 | 0 | 25.5215 | 0.40115 | 262.0373 | 9.0987 | 1.7717 | 21.8402 | 2.5799 | 2.1709 | 1 | 4.3419 | 20.1344 | 21.8402 | 18.9768 | 399.524 | 384.545 | 7.0458 | 11.6872 | 21.8104 | 36.1781 | 499.8299 | 1500.4324 | 12.7743 | 73.247 | 0.87445 | 0.29038 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.0090987 | 294.9902 | 293.2844 | 240.0692 | -1.4667 | 2.6278 | 35.8752 | 24.188 | 20.9873 | 2.494 | 0.36722 | 0.85605 | 1.6379 | 0.23234 | 19.1935 | 0.68142 | 36.7762 | 376.6097 | 0.024922
20 | 16:35:34 | 936.5 | 0 | 25.5421 | 0.40135 | 261.9922 | 9.1008 | 1.7713 | 21.8383 | 2.5799 | 2.1709 | 1 | 4.3419 | 20.1359 | 21.8383 | 18.9773 | 399.5237 | 384.5331 | 7.0456 | 11.6883 | 21.8078 | 36.1782 | 499.8111 | 1500.4137 | 12.7403 | 73.2473 | 0.87445 | 0.29038 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9373 | 0.0091008 | 294.9883 | 293.2859 | 240.0662 | -1.4672 | 2.6274 | 35.8709 | 24.1826 | 20.9871 | 2.494 | 0.36739 | 0.85614 | 1.6378 | 0.23245 | 19.1902 | 0.68133 | 36.7855 | 376.5914 | 0.02495
21 | 16:35:35 | 937 | 0 | 25.5254 | 0.40161 | 262.1024 | 9.1043 | 1.7709 | 21.8362 | 2.5799 | 2.1709 | 1 | 4.3419 | 20.1365 | 21.8362 | 18.977 | 399.4866 | 384.5036 | 7.0442 | 11.6889 | 21.8029 | 36.1788 | 499.7955 | 1500.4285 | 12.6385 | 73.2472 | 0.87445 | 0.29038 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9373 | 0.0091043 | 294.9862 | 293.2865 | 240.0685 | -1.4682 | 2.6271 | 35.8664 | 24.1775 | 20.9863 | 2.4938 | 0.36761 | 0.85618 | 1.6377 | 0.23259 | 19.1983 | 0.68166 | 36.7946 | 376.567 | 0.024941
22 | 16:35:35 | 937.5 | 0 | 25.4933 | 0.40173 | 262.2608 | 9.1053 | 1.7707 | 21.835 | 2.5799 | 2.1709 | 1 | 4.3419 | 20.1374 | 21.835 | 18.9764 | 399.4628 | 384.4955 | 7.0444 | 11.6898 | 21.8026 | 36.18 | 499.7688 | 1500.3824 | 12.6711 | 73.2478 | 0.87445 | 0.29038 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9372 | 0.0091053 | 294.985 | 293.2874 | 240.0612 | -1.4684 | 2.6269 | 35.8635 | 24.1737 | 20.9862 | 2.4938 | 0.36771 | 0.85625 | 1.6376 | 0.23265 | 19.21 | 0.68209 | 36.8011 | 376.5689 | 0.024914
23 | 16:35:36 | 938 | 0 | 25.5379 | 0.40208 | 262.1303 | 9.1102 | 1.7702 | 21.8328 | 2.5799 | 2.1709 | 1 | 4.3419 | 20.1389 | 21.8328 | 18.9767 | 399.4525 | 384.4613 | 7.0432 | 11.691 | 21.7967 | 36.1806 | 499.7708 | 1500.3975 | 12.6076 | 73.2482 | 0.87445 | 0.29038 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9372 | 0.0091102 | 294.9828 | 293.2889 | 240.0636 | -1.4699 | 2.6266 | 35.8585 | 24.1675 | 20.9859 | 2.4938 | 0.368 | 0.85635 | 1.6374 | 0.23284 | 19.2006 | 0.68181 | 36.8133 | 376.5209 | 0.024969
24 | 16:35:36 | 938.5 | 0 | 25.5443 | 0.40221 | 262.1359 | 9.1146 | 1.7705 | 21.8356 | 2.5799 | 2.1709 | 1 | 4.3419 | 20.1407 | 21.8356 | 18.9767 | 399.459 | 384.4635 | 7.0426 | 11.6927 | 21.7925 | 36.1819 | 499.7637 | 1500.3899 | 12.5927 | 73.2486 | 0.87445 | 0.29038 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9371 | 0.0091146 | 294.9856 | 293.2907 | 240.0624 | -1.4715 | 2.627 | 35.8644 | 24.1716 | 20.9881 | 2.4941 | 0.36811 | 0.85648 | 1.6376 | 0.23291 | 19.2011 | 0.68182 | 36.8142 | 376.5211 | 0.024976
25 | 16:35:37 | 939 | 0 | 25.5688 | 0.40233 | 262.0532 | 9.1173 | 1.7706 | 21.8366 | 2.5799 | 2.1709 | 1 | 4.3419 | 20.1419 | 21.8366 | 18.9769 | 399.4631 | 384.4536 | 7.0423 | 11.6941 | 21.7902 | 36.1837 | 499.7383 | 1500.4188 | 12.5428 | 73.249 | 0.87445 | 0.29038 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.937 | 0.0091173 | 294.9866 | 293.2919 | 240.067 | -1.4725 | 2.6272 | 35.8664 | 24.1723 | 20.9892 | 2.4943 | 0.36821 | 0.85658 | 1.6377 | 0.23297 | 19.1951 | 0.68163 | 36.8176 | 376.5036 | 0.025003
26 | 16:35:37 | 939.5 | 0 | 25.6507 | 0.40239 | 261.7214 | 9.1215 | 1.7712 | 21.841 | 2.5799 | 2.1709 | 1 | 4.3419 | 20.1441 | 21.841 | 18.9766 | 399.5092 | 384.4566 | 7.042 | 11.6959 | 21.7864 | 36.1845 | 499.7397 | 1500.4286 | 12.5163 | 73.249 | 0.87445 | 0.29038 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.937 | 0.0091215 | 294.991 | 293.2941 | 240.0686 | -1.4741 | 2.6279 | 35.876 | 24.18 | 20.9925 | 2.4948 | 0.36826 | 0.85672 | 1.6381 | 0.233 | 19.1708 | 0.68076 | 36.8146 | 376.4812 | 0.025083
27 | 16:35:38 | 940 | 0 | 25.8415 | 0.40214 | 260.8199 | 9.1255 | 1.7729 | 21.8528 | 2.5799 | 2.1709 | 1 | 4.3419 | 20.1454 | 21.8528 | 18.9769 | 399.5837 | 384.4323 | 7.042 | 11.6978 | 21.7847 | 36.1875 | 499.751 | 1500.4363 | 12.4622 | 73.2492 | 0.87445 | 0.29038 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9371 | 0.0091255 | 295.0028 | 293.2954 | 240.0698 | -1.4765 | 2.6298 | 35.9017 | 24.2039 | 20.9991 | 2.4958 | 0.36805 | 0.85686 | 1.6389 | 0.23287 | 19.1049 | 0.67845 | 36.7934 | 376.3976 | 0.02526
28 | 16:35:38 | 940.5 | 0 | 25.8539 | 0.402 | 260.7464 | 9.1295 | 1.7743 | 21.8619 | 2.5799 | 2.1709 | 1 | 4.3419 | 20.1469 | 21.8619 | 18.976 | 399.6159 | 384.4575 | 7.0417 | 11.6994 | 21.7818 | 36.1894 | 499.7623 | 1500.3826 | 12.443 | 73.2496 | 0.87445 | 0.29038 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9371 | 0.0091295 | 295.0119 | 293.2969 | 240.0612 | -1.4787 | 2.6312 | 35.9217 | 24.2222 | 21.0044 | 2.4966 | 0.36793 | 0.85698 | 1.6396 | 0.23279 | 19.0996 | 0.67822 | 36.7781 | 376.4189 | 0.025261
29 | 16:35:39 | 941 | 0 | 25.8574 | 0.40169 | 260.6806 | 9.1291 | 1.7754 | 21.869 | 2.5799 | 2.1709 | 1 | 4.3419 | 20.1486 | 21.869 | 18.9764 | 399.6519 | 384.492 | 7.0422 | 11.6996 | 21.7809 | 36.1859 | 499.7763 | 1500.4069 | 12.5512 | 73.2496 | 0.87445 | 0.29038 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9372 | 0.0091291 | 295.019 | 293.2986 | 240.0651 | -1.479 | 2.6324 | 35.9372 | 24.2376 | 21.0088 | 2.4973 | 0.36768 | 0.85699 | 1.6403 | 0.23263 | 19.0947 | 0.67799 | 36.7607 | 376.4523 | 0.02525
30 | 16:35:39 | 941.5 | 0 | 25.9111 | 0.40191 | 260.4908 | 9.1338 | 1.7754 | 21.8698 | 2.5799 | 2.1709 | 1 | 4.3419 | 20.1506 | 21.8698 | 18.9764 | 399.6618 | 384.4739 | 7.0412 | 11.7009 | 21.7752 | 36.1853 | 499.7958 | 1500.4584 | 12.4391 | 73.2493 | 0.87445 | 0.29038 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9373 | 0.0091338 | 295.0198 | 293.3006 | 240.0733 | -1.4805 | 2.6325 | 35.9391 | 24.2383 | 21.0102 | 2.4975 | 0.36786 | 0.85708 | 1.6404 | 0.23275 | 19.0808 | 0.67753 | 36.7652 | 376.4175 | 0.025308 | 25.648 | 20.1399 | 21.8441 | #DIV/0! | 938.0333 | 0 | 25.648 | 0.40166 | 261.5864 | 9.1107 | 1.772 | 21.8441 | 2.5799 | 2.1709 | 1 | 4.3419 | 20.1399 | 21.8441 | 18.9768 | 399.5465 | 384.4988 | 7.0439 | 11.6918 | 21.7975 | 36.1807 | 499.7884 | 1500.4051 | 12.5872 | 73.2483 | 0.87445 | 0.29038 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9372 | 0.0091107 | 294.9941 | 293.2899 | 240.0648 | -1.4709 | 2.6284 | 35.8831 | 24.1913 | 20.992 | 2.4947 | 0.36765 | 0.85641 | 1.6383 | 0.23261 | 19.1608 | 0.68033 | 36.788 | 376.5242 | 0.025059
Remark= | "16:35:46 Coolers: Tblock -> 24.00 C"
Remark= | "16:37:58 Flow: Fixed -> 500 umol/s"
31 | 16:38:24 | 1106.5 | 0 | 26.48 | 0.39449 | 254.4468 | 10.2185 | 2.0104 | 24.5971 | 2.5799 | 2.1709 | 1 | 4.3419 | 24.3732 | 24.5971 | 24.0587 | 400.166 | 384.4704 | 9.7351 | 14.9307 | 23.2825 | 35.7082 | 499.8308 | 1500.316 | 12.2518 | 73.2492 | 0.98996 | 0.25704 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.010218 | 297.7471 | 297.5232 | 240.0506 | -1.7333 | 3.1041 | 42.3774 | 27.4467 | 24.4852 | 3.0834 | 0.36164 | 1.0937 | 1.9897 | 0.22876 | 18.638 | 0.66181 | 38.8757 | 376.2371 | 0.027361
32 | 16:38:24 | 1106.5 | 0 | 26.48 | 0.39449 | 254.4468 | 10.2185 | 2.0104 | 24.5971 | 2.5799 | 2.1709 | 1 | 4.3419 | 24.3732 | 24.5971 | 24.0587 | 400.166 | 384.4704 | 9.7351 | 14.9307 | 23.2825 | 35.7082 | 499.8308 | 1500.316 | 12.2518 | 73.2492 | 0.98996 | 0.25704 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.010218 | 297.7471 | 297.5232 | 240.0506 | -1.7333 | 3.1041 | 42.3774 | 27.4467 | 24.4852 | 3.0834 | 0.36164 | 1.0937 | 1.9897 | 0.22876 | 18.638 | 0.66181 | 38.8757 | 376.2371 | 0.027361
33 | 16:38:25 | 1107 | 0 | 26.4507 | 0.39459 | 254.5845 | 10.2236 | 2.011 | 24.6007 | 2.5799 | 2.1709 | 1 | 4.3419 | 24.3747 | 24.6007 | 24.0587 | 400.14 | 384.4588 | 9.7346 | 14.9327 | 23.2793 | 35.7099 | 499.8399 | 1500.3577 | 12.2731 | 73.2493 | 0.98996 | 0.25704 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.010224 | 297.7507 | 297.5247 | 240.0572 | -1.7353 | 3.1048 | 42.3863 | 27.4536 | 24.4877 | 3.0838 | 0.36172 | 1.0938 | 1.99 | 0.22882 | 18.6481 | 0.66219 | 38.8741 | 376.2346 | 0.02733
34 | 16:38:25 | 1107.5 | 0 | 26.3586 | 0.39478 | 255.0089 | 10.2308 | 2.0115 | 24.6049 | 2.5799 | 2.1709 | 1 | 4.3419 | 24.3761 | 24.6049 | 24.059 | 400.0793 | 384.445 | 9.7344 | 14.9358 | 23.2765 | 35.7141 | 499.8642 | 1500.3562 | 12.309 | 73.2491 | 0.98996 | 0.25704 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9375 | 0.010231 | 297.7549 | 297.5261 | 240.057 | -1.7381 | 3.1055 | 42.3971 | 27.4613 | 24.4905 | 3.0844 | 0.36187 | 1.094 | 1.9903 | 0.22891 | 18.6792 | 0.66332 | 38.8746 | 376.2495 | 0.027234
35 | 16:38:26 | 1108 | 0 | 26.2938 | 0.39482 | 255.2989 | 10.2362 | 2.0123 | 24.6104 | 2.5799 | 2.1709 | 1 | 4.3419 | 24.3783 | 24.6104 | 24.0595 | 400.0547 | 384.4536 | 9.7346 | 14.9385 | 23.274 | 35.7158 | 499.888 | 1500.3328 | 12.3036 | 73.2487 | 0.98996 | 0.25704 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9376 | 0.010236 | 297.7604 | 297.5283 | 240.0532 | -1.7404 | 3.1066 | 42.4113 | 27.4728 | 24.4943 | 3.0851 | 0.36191 | 1.0942 | 1.9908 | 0.22894 | 18.7003 | 0.66406 | 38.8694 | 376.2781 | 0.027161
36 | 16:38:26 | 1108.5 | 0 | 26.2127 | 0.39493 | 255.6599 | 10.241 | 2.0128 | 24.6133 | 2.5799 | 2.1709 | 1 | 4.3419 | 24.3797 | 24.6133 | 24.0596 | 400.0007 | 384.4403 | 9.7337 | 14.9402 | 23.27 | 35.7168 | 499.8808 | 1500.3329 | 12.2124 | 73.2489 | 0.98996 | 0.25704 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9376 | 0.010241 | 297.7633 | 297.5297 | 240.0533 | -1.7422 | 3.1071 | 42.4185 | 27.4783 | 24.4965 | 3.0855 | 0.362 | 1.0944 | 1.9911 | 0.229 | 18.7268 | 0.66502 | 38.8687 | 376.2901 | 0.027076
37 | 16:38:27 | 1109 | 0 | 26.1911 | 0.39507 | 255.7433 | 10.2455 | 2.013 | 24.6153 | 2.5799 | 2.1709 | 1 | 4.3419 | 24.3811 | 24.6153 | 24.0584 | 399.9435 | 384.394 | 9.733 | 14.9416 | 23.2666 | 35.7176 | 499.8943 | 1500.3462 | 12.2811 | 73.2495 | 0.98996 | 0.25704 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9376 | 0.010246 | 297.7653 | 297.5311 | 240.0554 | -1.7439 | 3.1075 | 42.4231 | 27.4815 | 24.4982 | 3.0858 | 0.36212 | 1.0945 | 1.9913 | 0.22907 | 18.7331 | 0.66532 | 38.8699 | 376.2505 | 0.027058
38 | 16:38:27 | 1109.5 | 0 | 26.1719 | 0.39529 | 255.8264 | 10.25 | 2.0129 | 24.6153 | 2.5799 | 2.1709 | 1 | 4.3419 | 24.3833 | 24.6153 | 24.0583 | 399.8751 | 384.3349 | 9.7324 | 14.9433 | 23.262 | 35.7169 | 499.8937 | 1500.4342 | 12.3309 | 73.2497 | 0.98996 | 0.25704 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9376 | 0.01025 | 297.7653 | 297.5333 | 240.0695 | -1.7452 | 3.1075 | 42.4231 | 27.4798 | 24.4993 | 3.086 | 0.3623 | 1.0946 | 1.9914 | 0.22919 | 18.7392 | 0.66563 | 38.8763 | 376.1974 | 0.027046
39 | 16:38:28 | 1110 | 0 | 26.0852 | 0.39555 | 256.2655 | 10.2573 | 2.0131 | 24.6181 | 2.5799 | 2.1709 | 1 | 4.3419 | 24.3848 | 24.6181 | 24.0573 | 399.8347 | 384.3382 | 9.7328 | 14.9472 | 23.261 | 35.7234 | 499.905 | 1500.4154 | 12.3848 | 73.25 | 0.98996 | 0.25704 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9377 | 0.010257 | 297.7681 | 297.5348 | 240.0665 | -1.7479 | 3.108 | 42.4299 | 27.4827 | 24.5014 | 3.0864 | 0.36252 | 1.0949 | 1.9915 | 0.22933 | 18.7714 | 0.66677 | 38.8828 | 376.2276 | 0.026959
40 | 16:38:28 | 1110.5 | 0 | 26.071 | 0.39548 | 256.307 | 10.2605 | 2.0141 | 24.6237 | 2.5799 | 2.1709 | 1 | 4.3419 | 24.3873 | 24.6237 | 24.0576 | 399.834 | 384.3442 | 9.7325 | 14.9486 | 23.2569 | 35.7212 | 499.9084 | 1500.4337 | 12.4242 | 73.2502 | 0.98996 | 0.25704 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9377 | 0.010261 | 297.7737 | 297.5373 | 240.0694 | -1.7494 | 3.109 | 42.4441 | 27.4956 | 24.5055 | 3.0871 | 0.36246 | 1.095 | 1.9921 | 0.22929 | 18.7745 | 0.66687 | 38.8732 | 376.2381 | 0.026937
41 | 16:38:29 | 1111 | 0 | 26.0919 | 0.39551 | 256.1984 | 10.2646 | 2.0147 | 24.628 | 2.5799 | 2.1709 | 1 | 4.3419 | 24.39 | 24.628 | 24.057 | 399.8212 | 384.3204 | 9.7328 | 14.9507 | 23.2538 | 35.7206 | 499.9235 | 1500.3849 | 12.384 | 73.2501 | 0.98996 | 0.25704 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9378 | 0.010265 | 297.778 | 297.54 | 240.0616 | -1.751 | 3.1098 | 42.455 | 27.5043 | 24.509 | 3.0878 | 0.36249 | 1.0951 | 1.9926 | 0.22931 | 18.7666 | 0.66663 | 38.8695 | 376.2078 | 0.026958
42 | 16:38:29 | 1111.5 | 0 | 26.1155 | 0.39564 | 256.1348 | 10.2682 | 2.0147 | 24.6291 | 2.5799 | 2.1709 | 1 | 4.3419 | 24.3923 | 24.6291 | 24.0567 | 399.8365 | 384.3222 | 9.7328 | 14.9527 | 23.2505 | 35.7203 | 499.9057 | 1500.3953 | 12.366 | 73.25 | 0.98996 | 0.25704 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9377 | 0.010268 | 297.7791 | 297.5423 | 240.0632 | -1.7522 | 3.11 | 42.4578 | 27.5051 | 24.5107 | 3.0881 | 0.3626 | 1.0953 | 1.9928 | 0.22938 | 18.7619 | 0.66646 | 38.8733 | 376.2022 | 0.026985
43 | 16:38:30 | 1112 | 0 | 26.1479 | 0.39576 | 256.002 | 10.2704 | 2.0146 | 24.6288 | 2.5799 | 2.1709 | 1 | 4.3419 | 24.3942 | 24.6288 | 24.0565 | 399.8264 | 384.2948 | 9.7324 | 14.9535 | 23.2469 | 35.7183 | 499.8963 | 1500.3949 | 12.3512 | 73.2501 | 0.98996 | 0.25704 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9377 | 0.01027 | 297.7788 | 297.5442 | 240.0632 | -1.7528 | 3.11 | 42.457 | 27.5035 | 24.5115 | 3.0882 | 0.3627 | 1.0953 | 1.9929 | 0.22944 | 18.7522 | 0.66616 | 38.8772 | 376.1647 | 0.027024
44 | 16:38:30 | 1112.5 | 0 | 26.1696 | 0.39591 | 255.9437 | 10.2754 | 2.0149 | 24.6315 | 2.5799 | 2.1709 | 1 | 4.3419 | 24.3962 | 24.6315 | 24.0564 | 399.8365 | 384.293 | 9.7327 | 14.9563 | 23.2449 | 35.7206 | 499.904 | 1500.3738 | 12.4117 | 73.2503 | 0.98996 | 0.25704 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9377 | 0.010275 | 297.7815 | 297.5462 | 240.0598 | -1.7547 | 3.1105 | 42.4639 | 27.5076 | 24.5139 | 3.0887 | 0.36282 | 1.0956 | 1.9931 | 0.22952 | 18.748 | 0.66601 | 38.8796 | 376.1562 | 0.027049
45 | 16:38:31 | 1113 | 0 | 26.1638 | 0.39605 | 256.0144 | 10.2813 | 2.0154 | 24.6352 | 2.5799 | 2.1709 | 1 | 4.3419 | 24.3983 | 24.6352 | 24.0573 | 399.8474 | 384.3058 | 9.7324 | 14.959 | 23.2413 | 35.7224 | 499.9092 | 1500.3817 | 12.3928 | 73.2502 | 0.98996 | 0.25704 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9377 | 0.010281 | 297.7852 | 297.5483 | 240.0611 | -1.7569 | 3.1112 | 42.4732 | 27.5142 | 24.5167 | 3.0892 | 0.36294 | 1.0957 | 1.9935 | 0.2296 | 18.7531 | 0.66617 | 38.8797 | 376.1708 | 0.027042 | 26.2322 | 24.3842 | 24.6166 | #DIV/0! | 1109.5333 | 0 | 26.2322 | 0.39522 | 255.5921 | 10.2494 | 2.0131 | 24.6166 | 2.5799 | 2.1709 | 1 | 4.3419 | 24.3842 | 24.6166 | 24.058 | 399.9508 | 384.3791 | 9.7334 | 14.9441 | 23.2632 | 35.717 | 499.885 | 1500.3714 | 12.3286 | 73.2496 | 0.98996 | 0.25704 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9376 | 0.010249 | 297.7666 | 297.5342 | 240.0594 | -1.7451 | 3.1077 | 42.4263 | 27.4822 | 24.5004 | 3.0862 | 0.36225 | 1.0947 | 1.9915 | 0.22915 | 18.722 | 0.66495 | 38.8747 | 376.2228 | 0.027105
Remark= | "16:38:37 Coolers: Tblock -> 29.00 C"
Remark= | "16:41:05 Flow: Fixed -> 500 umol/s"
Remark= | "16:41:47 Flow: Fixed -> 500 umol/s"
46 | 16:42:26 | 1347.5 | 0 | 26.7789 | 0.39279 | 249.0924 | 12.0666 | 2.3673 | 27.8732 | 2.5799 | 2.1709 | 1 | 4.3419 | 28.7351 | 27.8732 | 28.9336 | 399.5826 | 383.3728 | 12.9987 | 19.1079 | 24.0406 | 35.3393 | 499.8338 | 1500.1777 | 12.9203 | 73.2482 | 0.96875 | 0.21352 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.012067 | 301.0232 | 301.8851 | 240.0284 | -2.2858 | 3.7669 | 51.4261 | 32.3182 | 28.3041 | 3.8626 | 0.3602 | 1.3996 | 2.463 | 0.22784 | 18.2456 | 0.64974 | 40.2628 | 375.0466 | 0.028748
47 | 16:42:26 | 1347.5 | 0 | 26.7789 | 0.39279 | 249.0924 | 12.0666 | 2.3673 | 27.8732 | 2.5799 | 2.1709 | 1 | 4.3419 | 28.7351 | 27.8732 | 28.9336 | 399.5826 | 383.3728 | 12.9987 | 19.1079 | 24.0406 | 35.3393 | 499.8338 | 1500.1777 | 12.9203 | 73.2482 | 0.96875 | 0.21352 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.012067 | 301.0232 | 301.8851 | 240.0284 | -2.2858 | 3.7669 | 51.4261 | 32.3182 | 28.3041 | 3.8626 | 0.3602 | 1.3996 | 2.463 | 0.22784 | 18.2456 | 0.64974 | 40.2628 | 375.0466 | 0.028748
48 | 16:42:27 | 1348 | 0 | 26.8929 | 0.39276 | 248.592 | 12.0681 | 2.3677 | 27.8752 | 2.5799 | 2.1709 | 1 | 4.3419 | 28.7366 | 27.8752 | 28.9332 | 399.6373 | 383.3683 | 12.9985 | 19.1085 | 24.0382 | 35.3374 | 499.8295 | 1500.1416 | 13.0358 | 73.2483 | 0.96875 | 0.21352 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.012068 | 301.0252 | 301.8866 | 240.0227 | -2.2864 | 3.7673 | 51.4323 | 32.3237 | 28.3059 | 3.863 | 0.36018 | 1.3997 | 2.4634 | 0.22783 | 18.2089 | 0.64844 | 40.2593 | 375.0066 | 0.028871
49 | 16:42:27 | 1348.5 | 0 | 26.9754 | 0.39282 | 248.2463 | 12.071 | 2.3679 | 27.8767 | 2.5799 | 2.1709 | 1 | 4.3419 | 28.7383 | 27.8767 | 28.9334 | 399.6752 | 383.3626 | 12.9975 | 19.1092 | 24.0339 | 35.3351 | 499.8154 | 1500.1583 | 13.0148 | 73.2483 | 0.96875 | 0.21352 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9373 | 0.012071 | 301.0267 | 301.8883 | 240.0253 | -2.2875 | 3.7677 | 51.4367 | 32.3275 | 28.3075 | 3.8634 | 0.36023 | 1.3997 | 2.4637 | 0.22786 | 18.1836 | 0.64755 | 40.2579 | 374.9753 | 0.028961
50 | 16:42:28 | 1349 | 0 | 26.949 | 0.39291 | 248.4131 | 12.0744 | 2.3681 | 27.8776 | 2.5799 | 2.1709 | 1 | 4.3419 | 28.7397 | 27.8776 | 28.934 | 399.6926 | 383.3925 | 12.9967 | 19.1102 | 24.0304 | 35.334 | 499.8075 | 1500.2095 | 13.0032 | 73.248 | 0.96875 | 0.21352 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9373 | 0.012074 | 301.0276 | 301.8897 | 240.0335 | -2.2885 | 3.7678 | 51.4395 | 32.3293 | 28.3086 | 3.8637 | 0.36031 | 1.3998 | 2.4639 | 0.22791 | 18.1958 | 0.64793 | 40.259 | 375.0134 | 0.028931
51 | 16:42:28 | 1349.5 | 0 | 26.8796 | 0.39292 | 248.7378 | 12.0751 | 2.3682 | 27.8782 | 2.5799 | 2.1709 | 1 | 4.3419 | 28.7403 | 27.8782 | 28.9337 | 399.6879 | 383.4222 | 12.9964 | 19.1106 | 24.0289 | 35.3334 | 499.774 | 1500.1699 | 12.9554 | 73.2481 | 0.96875 | 0.21352 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9372 | 0.012075 | 301.0282 | 301.8903 | 240.0272 | -2.2888 | 3.768 | 51.4414 | 32.3308 | 28.3093 | 3.8638 | 0.36031 | 1.3998 | 2.464 | 0.22791 | 18.2196 | 0.64873 | 40.2583 | 375.0647 | 0.028852
52 | 16:42:29 | 1350 | 0 | 26.9009 | 0.39285 | 248.63 | 12.0744 | 2.3684 | 27.8794 | 2.5799 | 2.1709 | 1 | 4.3419 | 28.7418 | 27.8794 | 28.9341 | 399.7026 | 383.4258 | 12.9968 | 19.1108 | 24.0276 | 35.3307 | 499.7646 | 1500.1918 | 12.9893 | 73.2483 | 0.96875 | 0.21352 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9371 | 0.012074 | 301.0294 | 301.8918 | 240.0307 | -2.2885 | 3.7683 | 51.4449 | 32.3341 | 28.3106 | 3.8641 | 0.36025 | 1.3998 | 2.4643 | 0.22788 | 18.2117 | 0.64844 | 40.2554 | 375.0616 | 0.028873
53 | 16:42:29 | 1350.5 | 0 | 26.9645 | 0.39295 | 248.3897 | 12.0786 | 2.3687 | 27.8811 | 2.5799 | 2.1709 | 1 | 4.3419 | 28.7426 | 27.8811 | 28.9346 | 399.7435 | 383.4327 | 12.9958 | 19.112 | 24.0247 | 35.3314 | 499.7551 | 1500.1519 | 13.0041 | 73.2482 | 0.96875 | 0.21352 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9371 | 0.012079 | 301.0311 | 301.8926 | 240.0243 | -2.2902 | 3.7686 | 51.4498 | 32.3378 | 28.3118 | 3.8644 | 0.36034 | 1.3999 | 2.4645 | 0.22793 | 18.1941 | 0.64781 | 40.2553 | 375.0487 | 0.028942
54 | 16:42:30 | 1351 | 0 | 27.0479 | 0.39318 | 248.0871 | 12.0869 | 2.369 | 27.8835 | 2.5799 | 2.1709 | 1 | 4.3419 | 28.7433 | 27.8835 | 28.9346 | 399.7801 | 383.4257 | 12.9949 | 19.1149 | 24.022 | 35.3352 | 499.7879 | 1500.0613 | 12.9967 | 73.2483 | 0.96875 | 0.21352 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9372 | 0.012087 | 301.0335 | 301.8933 | 240.0098 | -2.2934 | 3.7691 | 51.4571 | 32.3423 | 28.3134 | 3.8647 | 0.36053 | 1.4001 | 2.4646 | 0.22805 | 18.172 | 0.64703 | 40.2582 | 375.0158 | 0.029036
55 | 16:42:30 | 1351.5 | 0 | 27.1271 | 0.3932 | 247.7336 | 12.091 | 2.3697 | 27.8868 | 2.5799 | 2.1709 | 1 | 4.3419 | 28.7447 | 27.8868 | 28.9354 | 399.8051 | 383.4096 | 12.9931 | 19.115 | 24.0167 | 35.3326 | 499.8026 | 1500.0837 | 13.0116 | 73.2484 | 0.96875 | 0.21352 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9373 | 0.012091 | 301.0368 | 301.8947 | 240.0134 | -2.295 | 3.7699 | 51.4668 | 32.3519 | 28.3158 | 3.8653 | 0.36054 | 1.4001 | 2.4651 | 0.22806 | 18.1461 | 0.64613 | 40.2516 | 374.9751 | 0.029119
56 | 16:42:31 | 1352 | 0 | 27.1872 | 0.3933 | 247.492 | 12.0958 | 2.3701 | 27.889 | 2.5799 | 2.1709 | 1 | 4.3419 | 28.7456 | 27.889 | 28.9354 | 399.8244 | 383.3973 | 12.9926 | 19.1168 | 24.0146 | 35.3341 | 499.8146 | 1500.0812 | 13.0486 | 73.2485 | 0.96875 | 0.21352 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9373 | 0.012096 | 301.039 | 301.8956 | 240.013 | -2.2968 | 3.7703 | 51.4733 | 32.3565 | 28.3173 | 3.8656 | 0.36063 | 1.4003 | 2.4653 | 0.22812 | 18.1284 | 0.64552 | 40.2516 | 374.9441 | 0.029186
57 | 16:42:31 | 1352.5 | 0 | 27.1848 | 0.39321 | 247.4799 | 12.0968 | 2.3708 | 27.8924 | 2.5799 | 2.1709 | 1 | 4.3419 | 28.7467 | 27.8924 | 28.9353 | 399.8315 | 383.406 | 12.993 | 19.1175 | 24.0138 | 35.3331 | 499.8301 | 1499.9945 | 13.0486 | 73.2483 | 0.96875 | 0.21352 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.012097 | 301.0424 | 301.8967 | 239.9991 | -2.2975 | 3.7711 | 51.4836 | 32.3662 | 28.3195 | 3.8661 | 0.36056 | 1.4003 | 2.4658 | 0.22807 | 18.1275 | 0.64548 | 40.2442 | 374.9535 | 0.029178
58 | 16:42:32 | 1353 | 0 | 27.1277 | 0.3931 | 247.6709 | 12.0987 | 2.3717 | 27.8968 | 2.5799 | 2.1709 | 1 | 4.3419 | 28.7478 | 27.8968 | 28.935 | 399.7844 | 383.3883 | 12.9924 | 19.1177 | 24.0112 | 35.3315 | 499.8387 | 1499.9286 | 13.0528 | 73.2483 | 0.96875 | 0.21352 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.012099 | 301.0468 | 301.8978 | 239.9886 | -2.2986 | 3.7721 | 51.4969 | 32.3792 | 28.3223 | 3.8667 | 0.36046 | 1.4003 | 2.4664 | 0.22801 | 18.1415 | 0.64601 | 40.2339 | 374.9536 | 0.029109
59 | 16:42:32 | 1353.5 | 0 | 27.1075 | 0.39321 | 247.8003 | 12.105 | 2.3723 | 27.9003 | 2.5799 | 2.1709 | 1 | 4.3419 | 28.7492 | 27.9003 | 28.9355 | 399.7914 | 383.4055 | 12.992 | 19.1201 | 24.0086 | 35.333 | 499.87 | 1499.8776 | 13.1505 | 73.2486 | 0.96875 | 0.21352 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9376 | 0.012105 | 301.0503 | 301.8992 | 239.9804 | -2.3011 | 3.7728 | 51.5072 | 32.3871 | 28.3248 | 3.8673 | 0.36056 | 1.4005 | 2.4668 | 0.22807 | 18.151 | 0.64631 | 40.2323 | 374.977 | 0.029084
60 | 16:42:33 | 1354 | 0 | 27.1537 | 0.39344 | 247.6457 | 12.1122 | 2.3725 | 27.9019 | 2.5799 | 2.1709 | 1 | 4.3419 | 28.7497 | 27.9019 | 28.9353 | 399.7987 | 383.3878 | 12.9906 | 19.1223 | 24.0054 | 35.3362 | 499.8785 | 1499.8617 | 13.1992 | 73.2491 | 0.96875 | 0.21352 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9376 | 0.012112 | 301.0519 | 301.8997 | 239.9779 | -2.3038 | 3.7732 | 51.5119 | 32.3896 | 28.3258 | 3.8675 | 0.36075 | 1.4007 | 2.4668 | 0.22819 | 18.1398 | 0.64594 | 40.2356 | 374.9451 | 0.029139 | 27.0037 | 28.7424 | 27.8843 | #DIV/0! | 1350.5333 | 0 | 27.0037 | 0.39303 | 248.2069 | 12.0841 | 2.3693 | 27.8843 | 2.5799 | 2.1709 | 1 | 4.3419 | 28.7424 | 27.8843 | 28.9344 | 399.728 | 383.398 | 12.9952 | 19.1134 | 24.0238 | 35.3344 | 499.8157 | 1500.0845 | 13.0234 | 73.2484 | 0.96875 | 0.21352 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9373 | 0.012084 | 301.0343 | 301.8924 | 240.0135 | -2.2925 | 3.7693 | 51.4596 | 32.3462 | 28.3134 | 3.8647 | 0.3604 | 1.4 | 2.4647 | 0.22797 | 18.1807 | 0.64739 | 40.2519 | 375.0018 | 0.028985
Remark= | "16:42:38 Coolers: Tblock -> 34.00 C"
Remark= | "16:45:40 Flow: Fixed -> 500 umol/s"
61 | 16:46:12 | 1574.5 | 0 | 25.7238 | 0.3566 | 242.4637 | 12.7023 | 2.7034 | 30.834 | 2.5799 | 2.1709 | 1 | 4.3419 | 33.1102 | 30.834 | 34.0164 | 400.9417 | 385.139 | 17.7027 | 24.101 | 25.5093 | 34.7293 | 499.8293 | 1499.4014 | 13.3975 | 73.2523 | 1.1322 | 0.15118 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.012702 | 303.984 | 306.2602 | 239.9042 | -2.364 | 4.4689 | 61.0064 | 36.9054 | 31.9721 | 4.7675 | 0.32954 | 1.7655 | 3.0021 | 0.20823 | 17.761 | 0.62955 | 41.6125 | 377.1408 | 0.028383
62 | 16:46:13 | 1574.5 | 0 | 25.7238 | 0.3566 | 242.4637 | 12.7023 | 2.7034 | 30.834 | 2.5799 | 2.1709 | 1 | 4.3419 | 33.1102 | 30.834 | 34.0164 | 400.9417 | 385.139 | 17.7027 | 24.101 | 25.5093 | 34.7293 | 499.8293 | 1499.4014 | 13.3975 | 73.2523 | 1.1322 | 0.15118 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.012702 | 303.984 | 306.2602 | 239.9042 | -2.364 | 4.4689 | 61.0064 | 36.9054 | 31.9721 | 4.7675 | 0.32954 | 1.7655 | 3.0021 | 0.20823 | 17.761 | 0.62955 | 41.6125 | 377.1408 | 0.028383
63 | 16:46:13 | 1575 | 0 | 25.6959 | 0.35654 | 242.5582 | 12.7033 | 2.704 | 30.8363 | 2.5799 | 2.1709 | 1 | 4.3419 | 33.1119 | 30.8363 | 34.0165 | 400.9151 | 385.126 | 17.7014 | 24.1005 | 25.5049 | 34.7251 | 499.8078 | 1499.4822 | 13.4431 | 73.2521 | 1.1322 | 0.15118 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9373 | 0.012703 | 303.9863 | 306.2619 | 239.9171 | -2.3643 | 4.4694 | 61.0145 | 36.914 | 31.9741 | 4.7681 | 0.32949 | 1.7654 | 3.0027 | 0.2082 | 17.7679 | 0.62982 | 41.6057 | 377.1365 | 0.028348
64 | 16:46:14 | 1575.5 | 0 | 25.7301 | 0.35643 | 242.3461 | 12.7036 | 2.7049 | 30.8394 | 2.5799 | 2.1709 | 1 | 4.3419 | 33.1137 | 30.8394 | 34.0173 | 400.9218 | 385.1154 | 17.7005 | 24.0997 | 25.501 | 34.7204 | 499.8154 | 1499.5298 | 13.3785 | 73.2521 | 1.1322 | 0.15118 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9373 | 0.012704 | 303.9894 | 306.2637 | 239.9248 | -2.3645 | 4.4702 | 61.0254 | 36.9258 | 31.9766 | 4.7688 | 0.32939 | 1.7654 | 3.0034 | 0.20814 | 17.7524 | 0.62928 | 41.5957 | 377.1152 | 0.02838
65 | 16:46:14 | 1576 | 0 | 25.7508 | 0.35632 | 242.2347 | 12.7012 | 2.7052 | 30.8401 | 2.5799 | 2.1709 | 1 | 4.3419 | 33.1151 | 30.8401 | 34.0177 | 400.9554 | 385.139 | 17.7003 | 24.0982 | 25.4989 | 34.7156 | 499.8275 | 1499.5797 | 13.3161 | 73.2519 | 1.1322 | 0.15118 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.012701 | 303.9901 | 306.2651 | 239.9327 | -2.3635 | 4.4704 | 61.0278 | 36.9296 | 31.9776 | 4.769 | 0.32929 | 1.7652 | 3.0038 | 0.20808 | 17.7442 | 0.62895 | 41.5905 | 377.1324 | 0.028398
66 | 16:46:15 | 1576.5 | 0 | 25.7884 | 0.35614 | 242.026 | 12.7001 | 2.7061 | 30.8437 | 2.5799 | 2.1709 | 1 | 4.3419 | 33.1165 | 30.8437 | 34.0183 | 401.0039 | 385.1684 | 17.7003 | 24.0974 | 25.4969 | 34.7118 | 499.8372 | 1499.5424 | 13.3352 | 73.2524 | 1.1322 | 0.15118 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9374 | 0.0127 | 303.9937 | 306.2665 | 239.9268 | -2.3633 | 4.4713 | 61.0399 | 36.9424 | 31.9801 | 4.7697 | 0.32915 | 1.7652 | 3.0045 | 0.20798 | 17.729 | 0.62836 | 41.5793 | 377.1501 | 0.028431
67 | 16:46:15 | 1577 | 0 | 25.8555 | 0.35615 | 241.7496 | 12.7031 | 2.7067 | 30.846 | 2.5799 | 2.1709 | 1 | 4.3419 | 33.1189 | 30.846 | 34.0184 | 401.0788 | 385.2086 | 17.6994 | 24.0978 | 25.4922 | 34.7077 | 499.8589 | 1499.5221 | 13.3777 | 73.2525 | 1.1322 | 0.15118 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9375 | 0.012703 | 303.996 | 306.2689 | 239.9235 | -2.3644 | 4.4719 | 61.0481 | 36.9502 | 31.9825 | 4.7704 | 0.32915 | 1.7652 | 3.0051 | 0.20799 | 17.7088 | 0.62758 | 41.5746 | 377.1694 | 0.0285
68 | 16:46:16 | 1577.5 | 0 | 25.9358 | 0.35598 | 241.338 | 12.7038 | 2.708 | 30.8513 | 2.5799 | 2.1709 | 1 | 4.3419 | 33.1209 | 30.8513 | 34.0177 | 401.1486 | 385.2366 | 17.6992 | 24.0979 | 25.4892 | 34.7043 | 499.862 | 1499.5381 | 13.3468 | 73.2528 | 1.1322 | 0.15118 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9375 | 0.012704 | 304.0013 | 306.2709 | 239.9261 | -2.3649 | 4.4733 | 61.0661 | 36.9682 | 31.9861 | 4.7713 | 0.32901 | 1.7652 | 3.0061 | 0.20789 | 17.6787 | 0.62647 | 41.5609 | 377.1725 | 0.028579
69 | 16:46:16 | 1578 | 0 | 26.1455 | 0.35595 | 240.3014 | 12.7103 | 2.7096 | 30.8578 | 2.5799 | 2.1709 | 1 | 4.3419 | 33.1216 | 30.8578 | 34.0185 | 401.2191 | 385.198 | 17.697 | 24.0989 | 25.485 | 34.7043 | 499.8669 | 1499.5586 | 13.3392 | 73.2528 | 1.1322 | 0.15118 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9375 | 0.01271 | 304.0078 | 306.2716 | 239.9294 | -2.3678 | 4.4749 | 61.0887 | 36.9898 | 31.9897 | 4.7723 | 0.32898 | 1.7653 | 3.007 | 0.20788 | 17.6027 | 0.62384 | 41.5472 | 377.0686 | 0.028808
70 | 16:46:17 | 1578.5 | 0 | 26.203 | 0.35579 | 239.9889 | 12.7102 | 2.7107 | 30.8619 | 2.5799 | 2.1709 | 1 | 4.3419 | 33.1235 | 30.8619 | 34.0187 | 401.2644 | 385.2144 | 17.6969 | 24.0985 | 25.4822 | 34.7 | 499.8936 | 1499.5358 | 13.4664 | 73.2528 | 1.1322 | 0.15118 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9376 | 0.01271 | 304.0119 | 306.2735 | 239.9257 | -2.368 | 4.476 | 61.1033 | 37.0048 | 31.9927 | 4.7731 | 0.32884 | 1.7653 | 3.0078 | 0.20779 | 17.5798 | 0.623 | 41.535 | 377.0673 | 0.028863
71 | 16:46:17 | 1579 | 0 | 26.2127 | 0.35576 | 239.967 | 12.7142 | 2.7118 | 30.8664 | 2.5799 | 2.1709 | 1 | 4.3419 | 33.1247 | 30.8664 | 34.019 | 401.3125 | 385.2577 | 17.6964 | 24.0994 | 25.4799 | 34.6992 | 499.9333 | 1499.4818 | 13.427 | 73.2532 | 1.1322 | 0.15118 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9378 | 0.012714 | 304.0164 | 306.2747 | 239.9171 | -2.3698 | 4.4771 | 61.1184 | 37.019 | 31.9955 | 4.7739 | 0.32882 | 1.7654 | 3.0085 | 0.20777 | 17.5784 | 0.62287 | 41.5262 | 377.1074 | 0.028865
72 | 16:46:18 | 1579.5 | 0 | 26.2669 | 0.35579 | 239.7398 | 12.7155 | 2.7118 | 30.8668 | 2.5799 | 2.1709 | 1 | 4.3419 | 33.1256 | 30.8668 | 34.0191 | 401.3591 | 385.2755 | 17.6962 | 24.1001 | 25.4782 | 34.6983 | 499.9182 | 1499.4501 | 13.5013 | 73.2532 | 1.1322 | 0.15118 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9377 | 0.012716 | 304.0168 | 306.2756 | 239.912 | -2.3702 | 4.4772 | 61.12 | 37.02 | 31.9962 | 4.7741 | 0.32884 | 1.7654 | 3.0087 | 0.20779 | 17.5617 | 0.62226 | 41.5265 | 377.1084 | 0.028925
73 | 16:46:18 | 1580 | 0 | 26.39 | 0.35554 | 239.0732 | 12.7181 | 2.7141 | 30.8758 | 2.5799 | 2.1709 | 1 | 4.3419 | 33.1267 | 30.8758 | 34.0191 | 401.4285 | 385.2809 | 17.6954 | 24.1006 | 25.4755 | 34.6968 | 499.921 | 1499.4375 | 13.5374 | 73.253 | 1.1322 | 0.15118 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9377 | 0.012718 | 304.0258 | 306.2767 | 239.91 | -2.3719 | 4.4795 | 61.1515 | 37.0509 | 32.0013 | 4.7754 | 0.32863 | 1.7654 | 3.01 | 0.20765 | 17.5128 | 0.62052 | 41.5037 | 377.0755 | 0.029047
74 | 16:46:19 | 1580.5 | 0 | 26.4795 | 0.35545 | 238.6376 | 12.7192 | 2.7149 | 30.8793 | 2.5799 | 2.1709 | 1 | 4.3419 | 33.1284 | 30.8793 | 34.0189 | 401.4922 | 385.2982 | 17.6963 | 24.102 | 25.4742 | 34.6953 | 499.926 | 1499.4744 | 13.5226 | 73.2525 | 1.1322 | 0.15118 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9378 | 0.012719 | 304.0293 | 306.2784 | 239.9159 | -2.3724 | 4.4804 | 61.164 | 37.0621 | 32.0038 | 4.7761 | 0.32855 | 1.7655 | 3.0106 | 0.2076 | 17.4808 | 0.61936 | 41.4965 | 377.065 | 0.029141
75 | 16:46:19 | 1581 | 0 | 26.4765 | 0.3552 | 238.583 | 12.7187 | 2.7165 | 30.8856 | 2.5799 | 2.1709 | 1 | 4.3419 | 33.1287 | 30.8856 | 34.0194 | 401.5161 | 385.324 | 17.6962 | 24.1014 | 25.4737 | 34.694 | 499.9364 | 1499.4336 | 13.5236 | 73.2528 | 1.1322 | 0.15118 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9378 | 0.012719 | 304.0356 | 306.2787 | 239.9094 | -2.3729 | 4.482 | 61.1858 | 37.0843 | 32.0072 | 4.777 | 0.32834 | 1.7655 | 3.0115 | 0.20747 | 17.4769 | 0.61918 | 41.4784 | 377.0917 | 0.029123 | 26.0252 | 33.1198 | 30.8546 | #DIV/0! | 1577.5333 | 0 | 26.0252 | 0.35602 | 240.8981 | 12.7084 | 2.7087 | 30.8546 | 2.5799 | 2.1709 | 1 | 4.3419 | 33.1198 | 30.8546 | 34.0181 | 401.1666 | 385.208 | 17.6987 | 24.0996 | 25.49 | 34.7088 | 499.8709 | 1499.4912 | 13.4207 | 73.2526 | 1.1322 | 0.15118 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9376 | 0.012708 | 304.0046 | 306.2698 | 239.9186 | -2.3671 | 4.4741 | 61.0778 | 36.9781 | 31.9872 | 4.7716 | 0.32904 | 1.7654 | 3.0063 | 0.20791 | 17.6464 | 0.62537 | 41.5564 | 377.1161 | 0.028678
Remark= | "16:46:28 Coolers: Tblock -> 39.00 C"
Remark= | "16:51:32 Flow: Fixed -> 500 umol/s"
76 | 16:52:03 | 1926 | 0 | 21.8606 | 0.25234 | 218.7933 | 10.7978 | 3.1426 | 34.2493 | 2.5799 | 2.1709 | 1 | 4.3419 | 37.6247 | 34.2493 | 39.0918 | 399.4687 | 386.038 | 25.6604 | 31.0589 | 28.8164 | 34.8789 | 499.988 | 1499.9242 | 15.0856 | 73.2533 | 1.6648 | 0.051897 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.938 | 0.010798 | 307.3993 | 310.7747 | 239.9879 | -1.5571 | 5.4178 | 73.9592 | 42.9003 | 35.937 | 5.9481 | 0.23848 | 2.2752 | 3.673 | 0.15024 | 16.0273 | 0.56677 | 42.1426 | 379.2409 | 0.024292
77 | 16:52:05 | 1927 | 0 | 21.767 | 0.25192 | 219.1522 | 10.7892 | 3.145 | 34.2562 | 2.5799 | 2.1709 | 1 | 4.3419 | 37.6256 | 34.2562 | 39.0922 | 399.4168 | 386.0356 | 25.6595 | 31.054 | 28.814 | 34.8716 | 499.9701 | 1499.8972 | 15.108 | 73.2534 | 1.6648 | 0.051897 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9379 | 0.010789 | 307.4062 | 310.7756 | 239.9835 | -1.5547 | 5.4198 | 73.9876 | 42.9337 | 35.9409 | 5.9494 | 0.2381 | 2.2748 | 3.6746 | 0.15 | 16.0536 | 0.5677 | 42.1138 | 379.2676 | 0.02417
78 | 16:52:05 | 1927.5 | 0 | 21.6245 | 0.25159 | 219.9046 | 10.7833 | 3.1472 | 34.2625 | 2.5799 | 2.1709 | 1 | 4.3419 | 37.6272 | 34.2625 | 39.093 | 399.3678 | 386.0609 | 25.6595 | 31.0511 | 28.8113 | 34.8652 | 499.9647 | 1499.9282 | 15.1251 | 73.2532 | 1.6648 | 0.051897 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9379 | 0.010783 | 307.4125 | 310.7772 | 239.9885 | -1.553 | 5.4217 | 74.0138 | 42.9627 | 35.9449 | 5.9507 | 0.23781 | 2.2746 | 3.6761 | 0.14981 | 16.1087 | 0.56961 | 42.0902 | 379.3373 | 0.023994
79 | 16:52:06 | 1927.5 | 0 | 21.6245 | 0.25159 | 219.9046 | 10.7833 | 3.1472 | 34.2625 | 2.5799 | 2.1709 | 1 | 4.3419 | 37.6272 | 34.2625 | 39.093 | 399.3678 | 386.0609 | 25.6595 | 31.0511 | 28.8113 | 34.8652 | 499.9647 | 1499.9282 | 15.1251 | 73.2532 | 1.6648 | 0.051897 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9379 | 0.010783 | 307.4125 | 310.7772 | 239.9885 | -1.553 | 5.4217 | 74.0138 | 42.9627 | 35.9449 | 5.9507 | 0.23781 | 2.2746 | 3.6761 | 0.14981 | 16.1087 | 0.56961 | 42.0902 | 379.3373 | 0.023994
80 | 16:52:06 | 1928 | 0 | 21.655 | 0.25141 | 219.606 | 10.7845 | 3.1495 | 34.2701 | 2.5799 | 2.1709 | 1 | 4.3419 | 37.6284 | 34.2701 | 39.0943 | 399.3892 | 386.0659 | 25.6588 | 31.0511 | 28.8084 | 34.8627 | 499.9475 | 1500.0284 | 15.0565 | 73.2527 | 1.6648 | 0.051897 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9379 | 0.010784 | 307.4201 | 310.7784 | 240.0045 | -1.5539 | 5.424 | 74.0456 | 42.9944 | 35.9493 | 5.9522 | 0.23765 | 2.2746 | 3.6776 | 0.14971 | 16.0867 | 0.56883 | 42.0692 | 379.3328 | 0.024016
81 | 16:52:07 | 1928.5 | 0 | 21.8005 | 0.25121 | 218.5398 | 10.7837 | 3.1516 | 34.2771 | 2.5799 | 2.1709 | 1 | 4.3419 | 37.63 | 34.2771 | 39.094 | 399.4579 | 386.0591 | 25.6587 | 31.0509 | 28.8059 | 34.8595 | 499.9254 | 1500.0287 | 15.0808 | 73.2528 | 1.6648 | 0.051897 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9378 | 0.010784 | 307.4271 | 310.78 | 240.0046 | -1.5542 | 5.4262 | 74.0744 | 43.0234 | 35.9536 | 5.9536 | 0.23747 | 2.2746 | 3.679 | 0.1496 | 16.0087 | 0.56608 | 42.0493 | 379.2808 | 0.024169
82 | 16:52:07 | 1929 | 0 | 21.8465 | 0.25091 | 218.058 | 10.777 | 3.1532 | 34.2813 | 2.5799 | 2.1709 | 1 | 4.3419 | 37.6313 | 34.2813 | 39.0948 | 399.4653 | 386.0445 | 25.658 | 31.0468 | 28.8031 | 34.8525 | 499.9324 | 1500.0177 | 15.064 | 73.2528 | 1.6648 | 0.051897 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9378 | 0.010777 | 307.4313 | 310.7813 | 240.0028 | -1.5521 | 5.4274 | 74.0918 | 43.045 | 35.9563 | 5.9545 | 0.23721 | 2.2743 | 3.6802 | 0.14943 | 15.9734 | 0.56485 | 42.0296 | 379.2518 | 0.024211
83 | 16:52:08 | 1929.5 | 0 | 21.7837 | 0.25068 | 218.3515 | 10.7744 | 3.1552 | 34.2877 | 2.5799 | 2.1709 | 1 | 4.3419 | 37.6315 | 34.2877 | 39.0945 | 399.4639 | 386.0757 | 25.6578 | 31.0453 | 28.8025 | 34.8504 | 499.9295 | 1499.9813 | 15.0131 | 73.2529 | 1.6648 | 0.051897 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9378 | 0.010774 | 307.4377 | 310.7815 | 239.997 | -1.5518 | 5.4293 | 74.1178 | 43.0725 | 35.9596 | 5.9555 | 0.23699 | 2.2742 | 3.6814 | 0.14929 | 15.9949 | 0.56557 | 42.0093 | 379.3026 | 0.024126
84 | 16:52:08 | 1930 | 0 | 21.7627 | 0.25042 | 218.3496 | 10.77 | 3.1569 | 34.2929 | 2.5799 | 2.1709 | 1 | 4.3419 | 37.6326 | 34.2929 | 39.0949 | 399.4639 | 386.0875 | 25.6581 | 31.0434 | 28.8011 | 34.8461 | 499.9356 | 1499.9453 | 15.0067 | 73.2528 | 1.6648 | 0.051897 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9378 | 0.01077 | 307.4429 | 310.7826 | 239.9912 | -1.5507 | 5.4309 | 74.1393 | 43.0959 | 35.9627 | 5.9566 | 0.23676 | 2.274 | 3.6826 | 0.14915 | 15.9947 | 0.56554 | 41.9907 | 379.3209 | 0.024091
85 | 16:52:09 | 1930.5 | 0 | 21.8933 | 0.25027 | 217.3999 | 10.7673 | 3.1579 | 34.2955 | 2.5799 | 2.1709 | 1 | 4.3419 | 37.6341 | 34.2955 | 39.0955 | 399.5101 | 386.0667 | 25.6569 | 31.041 | 28.7976 | 34.8408 | 499.9245 | 1499.947 | 15.029 | 73.2531 | 1.6648 | 0.051897 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9378 | 0.010767 | 307.4455 | 310.7841 | 239.9915 | -1.5499 | 5.4317 | 74.1499 | 43.1088 | 35.9648 | 5.9572 | 0.23663 | 2.2739 | 3.6834 | 0.14906 | 15.9252 | 0.56311 | 41.9795 | 379.2595 | 0.024233
86 | 16:52:09 | 1931 | 0 | 21.8625 | 0.25001 | 217.4568 | 10.7613 | 3.1592 | 34.2994 | 2.5799 | 2.1709 | 1 | 4.3419 | 37.6352 | 34.2994 | 39.096 | 399.501 | 386.0747 | 25.6585 | 31.0395 | 28.7976 | 34.8369 | 499.927 | 1499.963 | 15.0291 | 73.2528 | 1.6648 | 0.051897 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9378 | 0.010761 | 307.4494 | 310.7852 | 239.9941 | -1.548 | 5.4329 | 74.1663 | 43.1268 | 35.9673 | 5.9581 | 0.2364 | 2.2737 | 3.6843 | 0.14892 | 15.9293 | 0.56325 | 41.9644 | 379.277 | 0.024189
87 | 16:52:10 | 1931.5 | 0 | 21.9186 | 0.24996 | 217.0877 | 10.7585 | 3.159 | 34.2982 | 2.5799 | 2.1709 | 1 | 4.3419 | 37.6359 | 34.2982 | 39.0957 | 399.5523 | 386.0975 | 25.6581 | 31.0377 | 28.7958 | 34.8333 | 499.9273 | 1499.9751 | 15.0281 | 73.2525 | 1.6648 | 0.051897 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9378 | 0.010758 | 307.4482 | 310.7859 | 239.996 | -1.5468 | 5.4325 | 74.1618 | 43.1241 | 35.9671 | 5.958 | 0.23635 | 2.2736 | 3.6844 | 0.14889 | 15.9022 | 0.56226 | 41.964 | 379.2824 | 0.024251
88 | 16:52:10 | 1932 | 0 | 21.8518 | 0.24989 | 217.5014 | 10.7521 | 3.1579 | 34.2942 | 2.5799 | 2.1709 | 1 | 4.3419 | 37.6364 | 34.2942 | 39.0943 | 399.5267 | 386.1081 | 25.6586 | 31.0349 | 28.7959 | 34.8295 | 499.947 | 1499.9193 | 15.0565 | 73.2529 | 1.6648 | 0.051897 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9379 | 0.010752 | 307.4442 | 310.7864 | 239.9871 | -1.5441 | 5.4313 | 74.145 | 43.1101 | 35.9653 | 5.9574 | 0.23629 | 2.2734 | 3.684 | 0.14885 | 15.9326 | 0.56332 | 41.9695 | 379.3138 | 0.024178
89 | 16:52:11 | 1932.5 | 0 | 21.7394 | 0.24988 | 218.2452 | 10.7466 | 3.1565 | 34.2887 | 2.5799 | 2.1709 | 1 | 4.3419 | 37.6362 | 34.2887 | 39.0948 | 399.4797 | 386.1202 | 25.6585 | 31.032 | 28.796 | 34.8265 | 499.9521 | 1499.9286 | 15.0355 | 73.2526 | 1.6648 | 0.051897 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9379 | 0.010747 | 307.4387 | 310.7862 | 239.9886 | -1.5417 | 5.4297 | 74.1225 | 43.0905 | 35.9624 | 5.9565 | 0.23628 | 2.2732 | 3.6833 | 0.14884 | 15.987 | 0.56523 | 41.9789 | 379.3609 | 0.024056
90 | 16:52:11 | 1933 | 0 | 21.69 | 0.25001 | 218.673 | 10.7472 | 3.1551 | 34.2841 | 2.5799 | 2.1709 | 1 | 4.3419 | 37.6363 | 34.2841 | 39.0939 | 399.4838 | 386.1494 | 25.6579 | 31.0317 | 28.795 | 34.8259 | 499.9443 | 1499.8596 | 15.0692 | 73.2527 | 1.6648 | 0.051897 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9378 | 0.010747 | 307.4341 | 310.7863 | 239.9775 | -1.5415 | 5.4283 | 74.1033 | 43.0716 | 35.9602 | 5.9557 | 0.2364 | 2.2732 | 3.6826 | 0.14892 | 16.0184 | 0.56629 | 41.9916 | 379.4054 | 0.024006 | 21.7787 | 37.6315 | 34.28 | #DIV/0! | 1929.5667 | 0 | 21.7787 | 0.25081 | 218.4683 | 10.7717 | 3.1529 | 34.28 | 2.5799 | 2.1709 | 1 | 4.3419 | 37.6315 | 34.28 | 39.0942 | 399.461 | 386.0763 | 25.6586 | 31.0446 | 28.8035 | 34.8497 | 499.9454 | 1499.9515 | 15.0608 | 73.2529 | 1.6648 | 0.051897 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9378 | 0.010772 | 307.43 | 310.7815 | 239.9922 | -1.5502 | 5.427 | 74.0861 | 43.0415 | 35.9557 | 5.9543 | 0.23711 | 2.2741 | 3.6802 | 0.14937 | 16.0034 | 0.56587 | 42.0288 | 379.3047 | 0.024132
Remark= | "16:52:19 Coolers: Tblock -> 44.00 C"
Remark= | "16:55:48 Flow: Fixed -> 500 umol/s"
Remark= | "16:58:47 Flow: Fixed -> 500 umol/s"
91 | 16:59:10 | 2353 | 0 | 14.9704 | 0.15718 | 207.5898 | 8.2215 | 3.7147 | 37.7474 | 2.5799 | 2.1709 | 1 | 4.3419 | 42.0261 | 37.7474 | 43.9837 | 399.8916 | 390.5109 | 34.8607 | 38.9375 | 30.932 | 34.5494 | 500.0169 | 1498.4645 | 15.7627 | 73.2446 | 2.532 | -0.072576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9381 | 0.0082215 | 310.8974 | 315.1761 | 239.7543 | -0.53201 | 6.5667 | 89.654 | 50.7165 | 39.8867 | 7.3689 | 0.15168 | 2.852 | 4.5169 | 0.095281 | 15.2048 | 0.53159 | 41.6558 | 385.8563 | 0.016162
92 | 16:59:11 | 2353 | 0 | 14.9704 | 0.15718 | 207.5898 | 8.2215 | 3.7147 | 37.7474 | 2.5799 | 2.1709 | 1 | 4.3419 | 42.0261 | 37.7474 | 43.9837 | 399.8916 | 390.5109 | 34.8607 | 38.9375 | 30.932 | 34.5494 | 500.0169 | 1498.4645 | 15.7627 | 73.2446 | 2.532 | -0.072576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9381 | 0.0082215 | 310.8974 | 315.1761 | 239.7543 | -0.53201 | 6.5667 | 89.654 | 50.7165 | 39.8867 | 7.3689 | 0.15168 | 2.852 | 4.5169 | 0.095281 | 15.2048 | 0.53159 | 41.6558 | 385.8563 | 0.016162
93 | 16:59:11 | 2353.5 | 0 | 15.0004 | 0.15704 | 207.1452 | 8.2156 | 3.7152 | 37.748 | 2.5799 | 2.1709 | 1 | 4.3419 | 42.0269 | 37.748 | 43.9827 | 399.8975 | 390.502 | 34.86 | 38.9342 | 30.9301 | 34.545 | 499.9893 | 1498.4753 | 15.8527 | 73.2446 | 2.532 | -0.072576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.938 | 0.0082156 | 310.898 | 315.1769 | 239.756 | -0.52987 | 6.5669 | 89.6573 | 50.7232 | 39.8875 | 7.3692 | 0.15155 | 2.8517 | 4.5175 | 0.095199 | 15.1723 | 0.53046 | 41.6485 | 385.8379 | 0.016192
94 | 16:59:12 | 2354 | 0 | 14.946 | 0.1568 | 207.4648 | 8.2089 | 3.7175 | 37.7537 | 2.5799 | 2.1709 | 1 | 4.3419 | 42.028 | 37.7537 | 43.9826 | 399.874 | 390.5084 | 34.8594 | 38.93 | 30.9279 | 34.5394 | 500.0128 | 1498.6663 | 15.9915 | 73.2449 | 2.532 | -0.072576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9381 | 0.0082089 | 310.9037 | 315.178 | 239.7866 | -0.52772 | 6.5689 | 89.6846 | 50.7546 | 39.8908 | 7.3705 | 0.15134 | 2.8514 | 4.5191 | 0.095061 | 15.1957 | 0.53127 | 41.6263 | 385.8613 | 0.016124
95 | 16:59:12 | 2354.5 | 0 | 14.9146 | 0.15662 | 207.6004 | 8.2111 | 3.7226 | 37.7682 | 2.5799 | 2.1709 | 1 | 4.3419 | 42.0289 | 37.7682 | 43.9821 | 399.8836 | 390.5334 | 34.8591 | 38.9309 | 30.9263 | 34.5388 | 500.0045 | 1498.8979 | 15.8906 | 73.2454 | 2.532 | -0.072576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9381 | 0.0082111 | 310.9182 | 315.1789 | 239.8237 | -0.52962 | 6.5741 | 89.7543 | 50.8234 | 39.8985 | 7.3736 | 0.15117 | 2.8515 | 4.522 | 0.094954 | 15.2058 | 0.53158 | 41.588 | 385.896 | 0.016074
96 | 16:59:13 | 2355 | 0 | 14.9743 | 0.15633 | 206.7337 | 8.2031 | 3.7254 | 37.7752 | 2.5799 | 2.1709 | 1 | 4.3419 | 42.0293 | 37.7752 | 43.9822 | 399.938 | 390.5582 | 34.8585 | 38.9265 | 30.9253 | 34.5343 | 499.9846 | 1499.2159 | 15.9276 | 73.2456 | 2.532 | -0.072576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.938 | 0.0082031 | 310.9252 | 315.1793 | 239.8745 | -0.52705 | 6.5766 | 89.7886 | 50.8621 | 39.9023 | 7.375 | 0.1509 | 2.8512 | 4.5238 | 0.094787 | 15.1423 | 0.52933 | 41.5612 | 385.9023 | 0.016127
97 | 16:59:13 | 2355.5 | 0 | 15.0319 | 0.15614 | 205.9634 | 8.2001 | 3.7284 | 37.783 | 2.5799 | 2.1709 | 1 | 4.3419 | 42.0293 | 37.783 | 43.9809 | 399.9816 | 390.5719 | 34.8571 | 38.924 | 30.9239 | 34.5318 | 499.9485 | 1499.3884 | 15.9359 | 73.2454 | 2.532 | -0.072576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9379 | 0.0082001 | 310.933 | 315.1793 | 239.9021 | -0.52658 | 6.5794 | 89.8267 | 50.9027 | 39.9062 | 7.3766 | 0.15072 | 2.851 | 4.5256 | 0.094675 | 15.0859 | 0.52734 | 41.5358 | 385.8981 | 0.016179
98 | 16:59:14 | 2356 | 0 | 15.0532 | 0.15592 | 205.5467 | 8.1938 | 3.7307 | 37.7888 | 2.5799 | 2.1709 | 1 | 4.3419 | 42.0296 | 37.7888 | 43.9802 | 400.022 | 390.6023 | 34.8573 | 38.9211 | 30.9238 | 34.529 | 499.9404 | 1499.5833 | 15.9588 | 73.246 | 2.532 | -0.072576 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9378 | 0.0081938 | 310.9388 | 315.1796 | 239.9333 | -0.52465 | 6.5815 | 89.8545 | 50.9334 | 39.9092 | 7.3778 | 0.15051 | 2.8508 | 4.527 | 0.094542 | 15.0555 | 0.52623 | 41.515 | 385.9218 | 0.016193
99 | 16:59:14 | 2356.5 | 0 | 15.119 | 0.15569 | 204.6486 | 8.1878 | 3.7331 | 37.7953 | 2.5799 | 2.1709 | 1 | 4.3419 | 42.0301 | 37.7953 | 43.9799 | 400.0589 | 390.6064 | 34.8577 | 38.9185 | 30.9233 | 34.5258 | 499.9395 | 1499.8347 | 16.0063 | 73.246 | 2.532 | -0.072576 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9378 | 0.0081878 | 310.9453 | 315.1801 | 239.9735 | -0.52281 | 6.5838 | 89.8858 | 50.9673 | 39.9127 | 7.3791 | 0.1503 | 2.8506 | 4.5285 | 0.094408 | 14.9897 | 0.52393 | 41.4926 | 385.9055 | 0.016256
100 | 16:59:15 | 2357 | 0 | 15.0914 | 0.15547 | 204.7597 | 8.1824 | 3.7357 | 37.802 | 2.5799 | 2.1709 | 1 | 4.3419 | 42.0313 | 37.802 | 43.9803 | 400.1075 | 390.6701 | 34.8583 | 38.9165 | 30.9218 | 34.5217 | 499.9397 | 1500.1075 | 16.0381 | 73.2456 | 2.532 | -0.072576 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9378 | 0.0081824 | 310.952 | 315.1813 | 240.0172 | -0.52114 | 6.5862 | 89.9192 | 51.0027 | 39.9167 | 7.3807 | 0.1501 | 2.8505 | 4.5302 | 0.094279 | 14.9977 | 0.52412 | 41.4698 | 385.9778 | 0.016214
101 | 16:59:15 | 2357.5 | 0 | 15.0605 | 0.15532 | 204.9781 | 8.1774 | 3.7369 | 37.8047 | 2.5799 | 2.1709 | 1 | 4.3419 | 42.0319 | 37.8047 | 43.9803 | 400.1517 | 390.7309 | 34.8584 | 38.9141 | 30.9209 | 34.5184 | 499.9348 | 1500.3784 | 15.9618 | 73.2454 | 2.532 | -0.072576 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9378 | 0.0081774 | 310.9547 | 315.1819 | 240.0605 | -0.51921 | 6.5871 | 89.9324 | 51.0183 | 39.9183 | 7.3814 | 0.14996 | 2.8503 | 4.5311 | 0.094191 | 15.0137 | 0.5246 | 41.4583 | 386.0482 | 0.016174
102 | 16:59:16 | 2358 | 0 | 15.0928 | 0.15523 | 204.5869 | 8.1742 | 3.7376 | 37.8064 | 2.5799 | 2.1709 | 1 | 4.3419 | 42.0323 | 37.8064 | 43.98 | 400.2044 | 390.767 | 34.858 | 38.9124 | 30.9198 | 34.5161 | 499.9096 | 1500.4636 | 15.8643 | 73.2454 | 2.532 | -0.072576 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9377 | 0.0081742 | 310.9564 | 315.1823 | 240.0742 | -0.51812 | 6.5878 | 89.9409 | 51.0285 | 39.9194 | 7.3818 | 0.14987 | 2.8502 | 4.5316 | 0.094135 | 14.985 | 0.52355 | 41.4506 | 386.0742 | 0.016204
103 | 16:59:16 | 2358.5 | 0 | 15.1068 | 0.15494 | 204.1571 | 8.1636 | 3.7393 | 37.8098 | 2.5799 | 2.1709 | 1 | 4.3419 | 42.0328 | 37.8098 | 43.9796 | 400.2068 | 390.7642 | 34.8571 | 38.9063 | 30.9178 | 34.5094 | 499.9 | 1500.525 | 15.7977 | 73.2446 | 2.532 | -0.072576 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9377 | 0.0081636 | 310.9598 | 315.1828 | 240.084 | -0.51457 | 6.589 | 89.9583 | 51.052 | 39.9213 | 7.3825 | 0.1496 | 2.8497 | 4.5329 | 0.093968 | 14.9534 | 0.52246 | 41.4309 | 386.0671 | 0.016212
104 | 16:59:17 | 2359 | 0 | 15.0369 | 0.15485 | 204.7885 | 8.1617 | 3.7405 | 37.8129 | 2.5799 | 2.1709 | 1 | 4.3419 | 42.0331 | 37.8129 | 43.9787 | 400.1887 | 390.7822 | 34.8559 | 38.9042 | 30.9162 | 34.5069 | 499.8909 | 1500.4974 | 15.7973 | 73.2446 | 2.532 | -0.072576 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9376 | 0.0081617 | 310.9629 | 315.1831 | 240.0796 | -0.51421 | 6.5901 | 89.9733 | 51.0691 | 39.923 | 7.3832 | 0.14952 | 2.8495 | 4.5337 | 0.093914 | 14.9997 | 0.52405 | 41.4195 | 386.1068 | 0.016131
105 | 16:59:17 | 2359.5 | 0 | 15.0571 | 0.15464 | 204.3409 | 8.1546 | 3.7421 | 37.8167 | 2.5799 | 2.1709 | 1 | 4.3419 | 42.035 | 37.8167 | 43.9795 | 400.1657 | 390.751 | 34.857 | 38.9015 | 30.9142 | 34.5012 | 499.9254 | 1500.5044 | 15.7658 | 73.2445 | 2.532 | -0.072576 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9378 | 0.0081546 | 310.9667 | 315.185 | 240.0807 | -0.5119 | 6.5914 | 89.9924 | 51.0909 | 39.9259 | 7.3843 | 0.14932 | 2.8493 | 4.535 | 0.093791 | 14.9669 | 0.52294 | 41.4037 | 386.0693 | 0.016148 | 15.0284 | 42.03 | 37.784 | #DIV/0! | 2356.0333 | 0 | 15.0284 | 0.15596 | 205.8596 | 8.1918 | 3.729 | 37.784 | 2.5799 | 2.1709 | 1 | 4.3419 | 42.03 | 37.784 | 43.9811 | 400.0309 | 390.6246 | 34.8583 | 38.921 | 30.9237 | 34.5278 | 499.9569 | 1499.5645 | 15.8876 | 73.2452 | 2.532 | -0.072576 | 0.82222 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 1.9379 | 0.0081918 | 310.934 | 315.18 | 239.9303 | -0.52343 | 6.5797 | 89.8317 | 50.9107 | 39.907 | 7.3769 | 0.15055 | 2.8508 | 4.5261 | 0.094564 | 15.0782 | 0.527 | 41.5275 | 385.9519 | 0.01617