## stm-rvaoc1_
OPEN 6.2.4
Thr Jun 25 2015 11:11:32
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "11:16:37 Coolers: Tblock -> 0.00 C"
Remark= | "11:16:41 CO2 Mixer: CO2R -> 400 uml"
Remark= | "11:16:50 Lamp: ParIn -> 1500 uml"
Remark= | "11:24:35 Flow: Fixed -> 500 umol/s"
Remark= | "11:29:11 Coolers: Tblock -> 11.84 C"
Remark= | "11:30:17 Flow: Fixed -> 500 umol/s"
Remark= | "11:33:48 Flow: Fixed -> 500 umol/s"
1 | 11:34:22 | 1386.5 | 0 | 15.9506 | 0.28226 | 270.4375 | 5.0698 | 1.4229 | 17.2871 | 6 | 1.42 | 1 | 2.84 | 14.1146 | 17.2871 | 12.0643 | 400.1171 | 378.6693 | 1.5623 | 7.6008 | 7.0878 | 34.4831 | 499.9213 | 1499.5496 | 16.0576 | 73.3261 | -1.6975 | 0.25533 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0050698 | 290.4371 | 287.2646 | 239.9279 | -0.19868 | 1.9802 | 27.0057 | 19.405 | 15.7009 | 1.7901 | 0.25674 | 0.55733 | 1.2328 | 0.16258 | 19.8301 | 0.71418 | 33.49 | 371.0872 | 0.014395
2 | 11:34:22 | 1386.5 | 0 | 15.9506 | 0.28226 | 270.4375 | 5.0698 | 1.4229 | 17.2871 | 6 | 1.42 | 1 | 2.84 | 14.1146 | 17.2871 | 12.0643 | 400.1171 | 378.6693 | 1.5623 | 7.6008 | 7.0878 | 34.4831 | 499.9213 | 1499.5496 | 16.0576 | 73.3261 | -1.6975 | 0.25533 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0050698 | 290.4371 | 287.2646 | 239.9279 | -0.19868 | 1.9802 | 27.0057 | 19.405 | 15.7009 | 1.7901 | 0.25674 | 0.55733 | 1.2328 | 0.16258 | 19.8301 | 0.71418 | 33.49 | 371.0872 | 0.014395
3 | 11:34:23 | 1387 | 0 | 15.9891 | 0.28195 | 270.1077 | 5.064 | 1.4227 | 17.2829 | 6 | 1.42 | 1 | 2.84 | 14.1149 | 17.2829 | 12.0637 | 400.1594 | 378.6678 | 1.5649 | 7.5966 | 7.0995 | 34.4635 | 499.9159 | 1499.5388 | 15.975 | 73.3258 | -1.6975 | 0.25533 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.005064 | 290.4329 | 287.2649 | 239.9262 | -0.19509 | 1.9797 | 26.9987 | 19.4021 | 15.6989 | 1.7899 | 0.25649 | 0.55703 | 1.2329 | 0.16241 | 19.8059 | 0.71331 | 33.4764 | 371.0674 | 0.014425
4 | 11:34:23 | 1387.5 | 0 | 16.0139 | 0.28184 | 269.9386 | 5.0618 | 1.4226 | 17.2816 | 6 | 1.42 | 1 | 2.84 | 14.1151 | 17.2816 | 12.0633 | 400.204 | 378.684 | 1.5669 | 7.5958 | 7.1084 | 34.4597 | 499.9278 | 1499.4702 | 15.9908 | 73.326 | -1.6975 | 0.25533 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0050618 | 290.4316 | 287.2651 | 239.9152 | -0.19387 | 1.9795 | 26.9964 | 19.4006 | 15.6984 | 1.7898 | 0.2564 | 0.55697 | 1.2329 | 0.16236 | 19.7935 | 0.71283 | 33.4738 | 371.0718 | 0.014446
5 | 11:34:24 | 1388 | 0 | 16.0386 | 0.28191 | 269.8178 | 5.0607 | 1.4219 | 17.2765 | 6 | 1.42 | 1 | 2.84 | 14.1147 | 17.2765 | 12.063 | 400.2364 | 378.6865 | 1.568 | 7.5958 | 7.1138 | 34.4605 | 499.9099 | 1499.4447 | 16.0788 | 73.3259 | -1.6975 | 0.25533 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0050607 | 290.4265 | 287.2647 | 239.9111 | -0.19273 | 1.9789 | 26.9878 | 19.3919 | 15.6956 | 1.7895 | 0.25646 | 0.55697 | 1.2326 | 0.16239 | 19.7846 | 0.71251 | 33.4838 | 371.0625 | 0.014473
6 | 11:34:24 | 1388.5 | 0 | 16.0755 | 0.28229 | 269.7001 | 5.0626 | 1.4208 | 17.2682 | 6 | 1.42 | 1 | 2.84 | 14.1146 | 17.2682 | 12.0632 | 400.2592 | 378.6646 | 1.5674 | 7.5974 | 7.1109 | 34.4677 | 499.9186 | 1499.3944 | 16.0575 | 73.3261 | -1.6975 | 0.25533 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0050626 | 290.4182 | 287.2646 | 239.9031 | -0.1928 | 1.9779 | 26.9735 | 19.3761 | 15.6914 | 1.789 | 0.25677 | 0.55708 | 1.232 | 0.16259 | 19.7761 | 0.71224 | 33.5113 | 371.0231 | 0.01452
7 | 11:34:25 | 1389 | 0 | 16.087 | 0.28244 | 269.6656 | 5.0654 | 1.4209 | 17.2704 | 6 | 1.42 | 1 | 2.84 | 14.1149 | 17.2704 | 12.0633 | 400.2597 | 378.6514 | 1.5671 | 7.6 | 7.1095 | 34.4793 | 499.948 | 1499.366 | 16.0627 | 73.3265 | -1.6975 | 0.25533 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0050654 | 290.4204 | 287.2649 | 239.8985 | -0.19458 | 1.9781 | 26.9772 | 19.3772 | 15.6927 | 1.7892 | 0.25689 | 0.55728 | 1.2319 | 0.16267 | 19.7736 | 0.71217 | 33.5199 | 371.0044 | 0.014534
8 | 11:34:25 | 1389.5 | 0 | 16.1093 | 0.28252 | 269.5294 | 5.068 | 1.4212 | 17.2739 | 6 | 1.42 | 1 | 2.84 | 14.115 | 17.2739 | 12.0624 | 400.2625 | 378.6259 | 1.5652 | 7.6013 | 7.101 | 34.485 | 499.9367 | 1499.3727 | 16.0256 | 73.3263 | -1.6975 | 0.25533 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.005068 | 290.4239 | 287.265 | 239.8996 | -0.19634 | 1.9786 | 26.9831 | 19.3818 | 15.6944 | 1.7894 | 0.25696 | 0.55738 | 1.232 | 0.16272 | 19.7636 | 0.71186 | 33.5201 | 370.9684 | 0.014556
9 | 11:34:26 | 1390 | 0 | 16.1058 | 0.28249 | 269.5175 | 5.0694 | 1.4217 | 17.278 | 6 | 1.42 | 1 | 2.84 | 14.1155 | 17.278 | 12.0625 | 400.2362 | 378.6044 | 1.5635 | 7.601 | 7.093 | 34.4826 | 499.9606 | 1499.3224 | 16.0256 | 73.3266 | -1.6975 | 0.25533 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0050694 | 290.428 | 287.2655 | 239.8916 | -0.19765 | 1.9791 | 26.99 | 19.389 | 15.6968 | 1.7897 | 0.25694 | 0.55736 | 1.2323 | 0.1627 | 19.7628 | 0.71187 | 33.5117 | 370.9485 | 0.01455
10 | 11:34:26 | 1390.5 | 0 | 16.1339 | 0.28243 | 269.2864 | 5.0701 | 1.4222 | 17.2812 | 6 | 1.42 | 1 | 2.84 | 14.1154 | 17.2812 | 12.0626 | 400.2301 | 378.565 | 1.562 | 7.6001 | 7.086 | 34.479 | 499.971 | 1499.3221 | 16.0681 | 73.3268 | -1.6975 | 0.25533 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83329 | 0.0050701 | 290.4312 | 287.2654 | 239.8915 | -0.19841 | 1.9795 | 26.9954 | 19.3953 | 15.6983 | 1.7898 | 0.25689 | 0.55729 | 1.2325 | 0.16267 | 19.7459 | 0.71133 | 33.5019 | 370.8957 | 0.014573
11 | 11:34:27 | 1391 | 0 | 16.1134 | 0.28255 | 269.4373 | 5.0722 | 1.4222 | 17.2821 | 6 | 1.42 | 1 | 2.84 | 14.115 | 17.2821 | 12.0623 | 400.1948 | 378.5533 | 1.5602 | 7.601 | 7.0782 | 34.4835 | 499.9704 | 1499.3381 | 16.1359 | 73.3267 | -1.6975 | 0.25533 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.0050722 | 290.4321 | 287.265 | 239.8941 | -0.19969 | 1.9796 | 26.997 | 19.396 | 15.6985 | 1.7899 | 0.25699 | 0.55735 | 1.2325 | 0.16273 | 19.7569 | 0.71176 | 33.5058 | 370.8938 | 0.014556
12 | 11:34:27 | 1391.5 | 0 | 16.1129 | 0.28251 | 269.4152 | 5.0732 | 1.4227 | 17.2857 | 6 | 1.42 | 1 | 2.84 | 14.1152 | 17.2857 | 12.0626 | 400.1859 | 378.5443 | 1.5592 | 7.6012 | 7.0737 | 34.484 | 499.9637 | 1499.3157 | 16.2304 | 73.3262 | -1.6975 | 0.25533 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0050732 | 290.4357 | 287.2652 | 239.8905 | -0.20066 | 1.98 | 27.0033 | 19.4021 | 15.7004 | 1.7901 | 0.25695 | 0.55737 | 1.2327 | 0.16271 | 19.7552 | 0.71171 | 33.4994 | 370.885 | 0.014554
13 | 11:34:28 | 1392 | 0 | 16.1218 | 0.28233 | 269.2684 | 5.0732 | 1.4235 | 17.2916 | 6 | 1.42 | 1 | 2.84 | 14.1153 | 17.2916 | 12.062 | 400.1662 | 378.5139 | 1.5581 | 7.6001 | 7.0683 | 34.4787 | 499.9595 | 1499.3605 | 16.1192 | 73.3258 | -1.6975 | 0.25533 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0050732 | 290.4416 | 287.2653 | 239.8977 | -0.20132 | 1.9808 | 27.0135 | 19.4134 | 15.7034 | 1.7904 | 0.2568 | 0.55729 | 1.2331 | 0.16262 | 19.7443 | 0.71138 | 33.4816 | 370.8503 | 0.014555
14 | 11:34:28 | 1392.5 | 0 | 16.117 | 0.28172 | 269.106 | 5.0684 | 1.425 | 17.2997 | 6 | 1.42 | 1 | 2.84 | 14.1157 | 17.2997 | 12.0615 | 400.1735 | 378.5287 | 1.5574 | 7.594 | 7.0651 | 34.4498 | 499.949 | 1499.4214 | 16.1478 | 73.3256 | -1.6975 | 0.25533 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0050684 | 290.4497 | 287.2657 | 239.9074 | -0.19966 | 1.9818 | 27.0274 | 19.4334 | 15.7077 | 1.7909 | 0.2563 | 0.55683 | 1.2341 | 0.16229 | 19.7324 | 0.71093 | 33.4338 | 370.8674 | 0.01453
15 | 11:34:29 | 1393 | 0 | 16.0784 | 0.28103 | 269.149 | 5.0614 | 1.4261 | 17.3038 | 6 | 1.42 | 1 | 2.84 | 14.1161 | 17.3038 | 12.0613 | 400.1625 | 378.5668 | 1.5568 | 7.5851 | 7.0621 | 34.4083 | 499.9476 | 1499.4476 | 16.095 | 73.3252 | -1.6975 | 0.25533 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0050614 | 290.4538 | 287.2661 | 239.9116 | -0.19638 | 1.9823 | 27.0346 | 19.4496 | 15.7099 | 1.7912 | 0.25573 | 0.55618 | 1.235 | 0.16193 | 19.7354 | 0.71097 | 33.3818 | 370.9239 | 0.01447 | 16.0665 | 14.1151 | 17.2833 | #DIV/0! | 1389.5333 | 0 | 16.0665 | 0.28217 | 269.6543 | 5.0673 | 1.4226 | 17.2833 | 6 | 1.42 | 1 | 2.84 | 14.1151 | 17.2833 | 12.0628 | 400.1976 | 378.613 | 1.5627 | 7.5981 | 7.0897 | 34.4699 | 499.9414 | 1499.4142 | 16.0752 | 73.3261 | -1.6975 | 0.25533 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0050673 | 290.4333 | 287.2651 | 239.9063 | -0.1971 | 1.9798 | 26.9993 | 19.4012 | 15.6992 | 1.7899 | 0.25667 | 0.55714 | 1.2328 | 0.16253 | 19.7727 | 0.71222 | 33.4854 | 370.9758 | 0.014502
Remark= | "11:34:38 Coolers: Tblock -> 17.00 C"
Remark= | "11:39:48 Flow: Fixed -> 500 umol/s"
Remark= | "11:40:36 Flow: Fixed -> 500 umol/s"
Remark= | "11:40:56 Flow: Fixed -> 500 umol/s"
16 | 11:42:34 | 1878.5 | 0 | 15.345 | 0.23547 | 257.2507 | 4.8929 | 1.6146 | 20.2345 | 6 | 1.42 | 1 | 2.84 | 18.2358 | 20.2345 | 17.0385 | 400.9187 | 380.2695 | 4.6405 | 10.4513 | 16.1863 | 36.4549 | 499.9409 | 1500.4637 | 16.6276 | 73.3257 | -1.9088 | 0.23657 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0048929 | 293.3845 | 291.3858 | 240.0742 | 0.032985 | 2.3809 | 32.4704 | 22.0191 | 19.2352 | 2.2377 | 0.21744 | 0.76635 | 1.4714 | 0.13742 | 18.8631 | 0.6765 | 36.0059 | 372.9753 | 0.014814
17 | 11:42:35 | 1878.5 | 0 | 15.345 | 0.23547 | 257.2507 | 4.8929 | 1.6146 | 20.2345 | 6 | 1.42 | 1 | 2.84 | 18.2358 | 20.2345 | 17.0385 | 400.9187 | 380.2695 | 4.6405 | 10.4513 | 16.1863 | 36.4549 | 499.9409 | 1500.4637 | 16.6276 | 73.3257 | -1.9088 | 0.23657 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0048929 | 293.3845 | 291.3858 | 240.0742 | 0.032985 | 2.3809 | 32.4704 | 22.0191 | 19.2352 | 2.2377 | 0.21744 | 0.76635 | 1.4714 | 0.13742 | 18.8631 | 0.6765 | 36.0059 | 372.9753 | 0.014814
18 | 11:42:35 | 1879 | 0 | 15.3243 | 0.23613 | 257.7026 | 4.9035 | 1.6139 | 20.2362 | 6 | 1.42 | 1 | 2.84 | 18.2374 | 20.2362 | 17.0396 | 400.9159 | 380.285 | 4.6401 | 10.4639 | 16.1832 | 36.4949 | 499.9005 | 1500.4966 | 16.6246 | 73.3255 | -1.9088 | 0.23657 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0049035 | 293.3862 | 291.3874 | 240.0794 | 0.027485 | 2.3812 | 32.4737 | 22.0098 | 19.2368 | 2.238 | 0.218 | 0.76727 | 1.4707 | 0.13777 | 18.8962 | 0.67766 | 36.0524 | 373.0005 | 0.014812
19 | 11:42:36 | 1879.5 | 0 | 15.2972 | 0.23706 | 258.299 | 4.9159 | 1.6121 | 20.2313 | 6 | 1.42 | 1 | 2.84 | 18.2378 | 20.2313 | 17.039 | 400.8795 | 380.2741 | 4.6396 | 10.4784 | 16.1811 | 36.5448 | 499.8683 | 1500.5688 | 16.5787 | 73.3257 | -1.9088 | 0.23657 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0049159 | 293.3813 | 291.3878 | 240.091 | 0.021771 | 2.3804 | 32.4638 | 21.9854 | 19.2345 | 2.2377 | 0.2188 | 0.76834 | 1.4693 | 0.13828 | 18.9399 | 0.67924 | 36.1232 | 373.0026 | 0.014814
20 | 11:42:36 | 1880 | 0 | 15.276 | 0.23787 | 258.8153 | 4.9276 | 1.6108 | 20.2294 | 6 | 1.42 | 1 | 2.84 | 18.2379 | 20.2294 | 17.0392 | 400.8715 | 380.2867 | 4.6396 | 10.492 | 16.1811 | 36.592 | 499.8817 | 1500.5703 | 16.6994 | 73.3258 | -1.9088 | 0.23657 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0049276 | 293.3794 | 291.3879 | 240.0912 | 0.015918 | 2.3802 | 32.4601 | 21.9681 | 19.2337 | 2.2375 | 0.21949 | 0.76934 | 1.4682 | 0.13872 | 18.9778 | 0.68058 | 36.1826 | 373.0252 | 0.014817
21 | 11:42:37 | 1880.5 | 0 | 15.2818 | 0.23847 | 259.0351 | 4.937 | 1.6101 | 20.2298 | 6 | 1.42 | 1 | 2.84 | 18.2383 | 20.2298 | 17.0395 | 400.8827 | 380.2869 | 4.6388 | 10.5023 | 16.178 | 36.627 | 499.8846 | 1500.5851 | 16.7247 | 73.3259 | -1.9088 | 0.23657 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.004937 | 293.3798 | 291.3883 | 240.0936 | 0.011005 | 2.3802 | 32.4608 | 21.9585 | 19.2341 | 2.2376 | 0.22 | 0.77009 | 1.4675 | 0.13905 | 18.994 | 0.68116 | 36.224 | 373.0226 | 0.01484
22 | 11:42:37 | 1881 | 0 | 15.3218 | 0.23906 | 258.9882 | 4.9458 | 1.6093 | 20.2289 | 6 | 1.42 | 1 | 2.84 | 18.2387 | 20.2289 | 17.0391 | 400.9147 | 380.2675 | 4.6377 | 10.5114 | 16.1737 | 36.6579 | 499.8996 | 1500.5858 | 16.7237 | 73.3258 | -1.9088 | 0.23657 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0049458 | 293.3789 | 291.3887 | 240.0937 | 0.0065389 | 2.3801 | 32.459 | 21.9476 | 19.2338 | 2.2376 | 0.2205 | 0.77076 | 1.4668 | 0.13937 | 18.9905 | 0.68107 | 36.2641 | 372.9842 | 0.014897
23 | 11:42:38 | 1881.5 | 0 | 15.3393 | 0.23972 | 259.1461 | 4.9562 | 1.6086 | 20.2293 | 6 | 1.42 | 1 | 2.84 | 18.2392 | 20.2293 | 17.0391 | 400.9394 | 380.266 | 4.6356 | 10.5218 | 16.1658 | 36.6928 | 499.8867 | 1500.6104 | 16.656 | 73.3256 | -1.9088 | 0.23657 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0049562 | 293.3793 | 291.3892 | 240.0977 | 0.0011239 | 2.3801 | 32.4598 | 21.938 | 19.2342 | 2.2376 | 0.22106 | 0.77152 | 1.4661 | 0.13973 | 19.002 | 0.68149 | 36.3068 | 372.9744 | 0.014932
24 | 11:42:38 | 1882 | 0 | 15.3838 | 0.24026 | 259.0677 | 4.9652 | 1.6082 | 20.231 | 6 | 1.42 | 1 | 2.84 | 18.2393 | 20.231 | 17.0395 | 401.0034 | 380.2721 | 4.6338 | 10.5308 | 16.1596 | 36.7238 | 499.8819 | 1500.6235 | 16.6486 | 73.3258 | -1.9088 | 0.23657 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0049652 | 293.381 | 291.3893 | 240.0998 | -0.0038089 | 2.3804 | 32.4632 | 21.9325 | 19.2352 | 2.2377 | 0.22152 | 0.77218 | 1.4656 | 0.14002 | 18.9963 | 0.68127 | 36.3403 | 372.9594 | 0.01499
25 | 11:42:39 | 1882.5 | 0 | 15.411 | 0.24049 | 258.9642 | 4.9685 | 1.6079 | 20.2298 | 6 | 1.42 | 1 | 2.84 | 18.2391 | 20.2298 | 17.0394 | 401.0281 | 380.2621 | 4.6318 | 10.5328 | 16.1525 | 36.7313 | 499.866 | 1500.6313 | 16.6115 | 73.3255 | -1.9088 | 0.23657 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0049685 | 293.3798 | 291.3891 | 240.101 | -0.0054153 | 2.3802 | 32.4609 | 21.9281 | 19.2344 | 2.2376 | 0.22171 | 0.77232 | 1.4653 | 0.14014 | 18.9887 | 0.68102 | 36.353 | 372.9364 | 0.015022
26 | 11:42:39 | 1883 | 0 | 15.4373 | 0.24079 | 258.917 | 4.973 | 1.6075 | 20.2281 | 6 | 1.42 | 1 | 2.84 | 18.2386 | 20.2281 | 17.0394 | 401.0695 | 380.2709 | 4.6289 | 10.5349 | 16.1432 | 36.7401 | 499.8885 | 1500.6034 | 16.6017 | 73.3259 | -1.9088 | 0.23657 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.004973 | 293.3781 | 291.3886 | 240.0965 | -0.0076356 | 2.38 | 32.4574 | 21.9225 | 19.2334 | 2.2375 | 0.22197 | 0.77248 | 1.465 | 0.14031 | 18.9853 | 0.68088 | 36.3688 | 372.9328 | 0.015055
27 | 11:42:40 | 1883.5 | 0 | 15.4687 | 0.24078 | 258.7035 | 4.9751 | 1.6082 | 20.2329 | 6 | 1.42 | 1 | 2.84 | 18.2392 | 20.2329 | 17.0401 | 401.1224 | 380.2859 | 4.6265 | 10.5348 | 16.1341 | 36.7381 | 499.9092 | 1500.5823 | 16.7388 | 73.3259 | -1.9088 | 0.23657 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0049751 | 293.3829 | 291.3892 | 240.0932 | -0.0093283 | 2.3807 | 32.4671 | 21.9323 | 19.2361 | 2.2379 | 0.22196 | 0.77247 | 1.4654 | 0.1403 | 18.9697 | 0.68029 | 36.3589 | 372.9328 | 0.015081
28 | 11:42:40 | 1884 | 0 | 15.4637 | 0.24058 | 258.6741 | 4.9729 | 1.6087 | 20.2334 | 6 | 1.42 | 1 | 2.84 | 18.24 | 20.2334 | 17.0401 | 401.138 | 380.3083 | 4.6232 | 10.5289 | 16.1217 | 36.7157 | 499.9107 | 1500.6281 | 16.6848 | 73.3256 | -1.9088 | 0.23657 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0049729 | 293.3834 | 291.39 | 240.1005 | -0.0080511 | 2.3807 | 32.4681 | 21.9392 | 19.2367 | 2.238 | 0.22179 | 0.77204 | 1.4659 | 0.1402 | 18.9674 | 0.68017 | 36.3369 | 372.9576 | 0.015066
29 | 11:42:41 | 1884.5 | 0 | 15.4567 | 0.24008 | 258.5429 | 4.9661 | 1.6096 | 20.2346 | 6 | 1.42 | 1 | 2.84 | 18.2401 | 20.2346 | 17.04 | 401.1644 | 380.3466 | 4.6212 | 10.5188 | 16.1147 | 36.6802 | 499.9241 | 1500.6382 | 16.7484 | 73.3255 | -1.9088 | 0.23657 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0049661 | 293.3846 | 291.3901 | 240.1021 | -0.0046237 | 2.3809 | 32.4705 | 21.9517 | 19.2373 | 2.2381 | 0.22137 | 0.7713 | 1.4668 | 0.13992 | 18.9578 | 0.67976 | 36.2952 | 372.9993 | 0.01504
30 | 11:42:41 | 1885 | 0 | 15.4175 | 0.23938 | 258.5726 | 4.9568 | 1.6109 | 20.2374 | 6 | 1.42 | 1 | 2.84 | 18.2405 | 20.2374 | 17.0401 | 401.1774 | 380.4095 | 4.6197 | 10.5064 | 16.1088 | 36.6362 | 499.9025 | 1500.614 | 16.7949 | 73.3254 | -1.9088 | 0.23657 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0049568 | 293.3874 | 291.3905 | 240.0982 | -6.7173e-05 | 2.3813 | 32.4762 | 21.9697 | 19.2389 | 2.2383 | 0.22077 | 0.77039 | 1.4679 | 0.13954 | 18.9599 | 0.67972 | 36.2397 | 373.0808 | 0.014976 | 15.3713 | 18.2385 | 20.2321 | #DIV/0! | 1881.5333 | 0 | 15.3713 | 0.23878 | 258.5286 | 4.9433 | 1.6103 | 20.2321 | 6 | 1.42 | 1 | 2.84 | 18.2385 | 20.2321 | 17.0394 | 400.9963 | 380.2907 | 4.6332 | 10.504 | 16.158 | 36.6323 | 499.8991 | 1500.5777 | 16.6727 | 73.3257 | -1.9088 | 0.23657 | 0.88889 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0049433 | 293.3821 | 291.3885 | 240.0924 | 0.007392 | 2.3806 | 32.4654 | 21.9614 | 19.2353 | 2.2378 | 0.22026 | 0.77021 | 1.4676 | 0.13921 | 18.9568 | 0.67982 | 36.2305 | 372.9839 | 0.014931
Remark= | "11:42:50 Coolers: Tblock -> 22.00 C"
Remark= | "11:46:02 Flow: Fixed -> 500 umol/s"
Remark= | "11:47:36 Flow: Fixed -> 500 umol/s"
31 | 11:48:58 | 2263.5 | 0 | 15.9208 | 0.2279 | 245.8673 | 5.4666 | 1.8493 | 23.3671 | 6 | 1.42 | 1 | 2.84 | 22.5776 | 23.3671 | 22.1162 | 399.7062 | 378.1161 | 7.6283 | 14.0971 | 20.3524 | 37.6112 | 499.8903 | 1499.8582 | 16.9073 | 73.3283 | -2.1919 | 0.20845 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0054666 | 296.5171 | 295.7276 | 239.9773 | -0.11793 | 2.883 | 39.3162 | 25.2191 | 22.9724 | 2.815 | 0.21097 | 1.0337 | 1.7813 | 0.13328 | 18.029 | 0.65024 | 38.9914 | 370.5481 | 0.016753
32 | 11:48:59 | 2263.5 | 0 | 15.9208 | 0.2279 | 245.8673 | 5.4666 | 1.8493 | 23.3671 | 6 | 1.42 | 1 | 2.84 | 22.5776 | 23.3671 | 22.1162 | 399.7062 | 378.1161 | 7.6283 | 14.0971 | 20.3524 | 37.6112 | 499.8903 | 1499.8582 | 16.9073 | 73.3283 | -2.1919 | 0.20845 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0054666 | 296.5171 | 295.7276 | 239.9773 | -0.11793 | 2.883 | 39.3162 | 25.2191 | 22.9724 | 2.815 | 0.21097 | 1.0337 | 1.7813 | 0.13328 | 18.029 | 0.65024 | 38.9914 | 370.5481 | 0.016753
33 | 11:48:59 | 2264 | 0 | 15.9659 | 0.22782 | 245.4744 | 5.466 | 1.8497 | 23.3675 | 6 | 1.42 | 1 | 2.84 | 22.5781 | 23.3675 | 22.1163 | 399.7424 | 378.0983 | 7.6238 | 14.092 | 20.3396 | 37.5962 | 499.8859 | 1499.9865 | 16.882 | 73.3278 | -2.1919 | 0.20845 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.005466 | 296.5175 | 295.7281 | 239.9978 | -0.11736 | 2.883 | 39.3172 | 25.2252 | 22.9728 | 2.8151 | 0.2109 | 1.0333 | 1.7817 | 0.13324 | 18.0001 | 0.64923 | 38.9767 | 370.5089 | 0.016796
34 | 11:49:00 | 2264.5 | 0 | 15.97 | 0.22759 | 245.3615 | 5.4624 | 1.8502 | 23.3674 | 6 | 1.42 | 1 | 2.84 | 22.5782 | 23.3674 | 22.1166 | 399.7792 | 378.1309 | 7.6203 | 14.0846 | 20.3302 | 37.5763 | 499.8673 | 1499.9611 | 16.866 | 73.3279 | -2.1919 | 0.20845 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0054624 | 296.5174 | 295.7282 | 239.9938 | -0.11552 | 2.883 | 39.317 | 25.2324 | 22.9728 | 2.8151 | 0.2107 | 1.0328 | 1.7823 | 0.13311 | 17.9918 | 0.64888 | 38.9547 | 370.5395 | 0.016789
35 | 11:49:00 | 2265 | 0 | 15.9996 | 0.2274 | 245.0605 | 5.4594 | 1.8507 | 23.3666 | 6 | 1.42 | 1 | 2.84 | 22.5791 | 23.3666 | 22.1169 | 399.8262 | 378.1439 | 7.6166 | 14.0773 | 20.3192 | 37.5545 | 499.8746 | 1499.9404 | 16.8482 | 73.3277 | -2.1919 | 0.20845 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0054594 | 296.5166 | 295.7291 | 239.9905 | -0.11375 | 2.8829 | 39.3154 | 25.2381 | 22.9729 | 2.8151 | 0.21054 | 1.0323 | 1.7828 | 0.133 | 17.9697 | 0.64806 | 38.9348 | 370.5384 | 0.016812
36 | 11:49:01 | 2265.5 | 0 | 16.0068 | 0.22749 | 245.0822 | 5.4614 | 1.8507 | 23.3664 | 6 | 1.42 | 1 | 2.84 | 22.5796 | 23.3664 | 22.1166 | 399.871 | 378.1776 | 7.6127 | 14.0762 | 20.308 | 37.5504 | 499.8429 | 1499.9518 | 16.8832 | 73.3275 | -2.1919 | 0.20845 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0054614 | 296.5164 | 295.7296 | 239.9923 | -0.11472 | 2.8829 | 39.3149 | 25.2387 | 22.973 | 2.8151 | 0.21061 | 1.0322 | 1.7829 | 0.13305 | 17.9713 | 0.64806 | 38.9343 | 370.5688 | 0.016818
37 | 11:49:01 | 2266 | 0 | 16.0184 | 0.22779 | 245.1612 | 5.4682 | 1.8506 | 23.3678 | 6 | 1.42 | 1 | 2.84 | 22.5802 | 23.3678 | 22.1171 | 399.9034 | 378.1933 | 7.609 | 14.0803 | 20.2971 | 37.5595 | 499.8531 | 1499.9569 | 16.9194 | 73.3269 | -2.1919 | 0.20845 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0054682 | 296.5178 | 295.7302 | 239.9931 | -0.11833 | 2.8831 | 39.3185 | 25.2381 | 22.974 | 2.8153 | 0.21088 | 1.0325 | 1.7828 | 0.13322 | 17.9769 | 0.64824 | 38.9471 | 370.579 | 0.016835
38 | 11:49:01 | 2266 | 0 | 16.0184 | 0.22779 | 245.1612 | 5.4682 | 1.8506 | 23.3678 | 6 | 1.42 | 1 | 2.84 | 22.5802 | 23.3678 | 22.1171 | 399.9034 | 378.1933 | 7.609 | 14.0803 | 20.2971 | 37.5595 | 499.8531 | 1499.9569 | 16.9194 | 73.3269 | -2.1919 | 0.20845 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0054682 | 296.5178 | 295.7302 | 239.9931 | -0.11833 | 2.8831 | 39.3185 | 25.2381 | 22.974 | 2.8153 | 0.21088 | 1.0325 | 1.7828 | 0.13322 | 17.9769 | 0.64824 | 38.9471 | 370.579 | 0.016835
39 | 11:49:02 | 2266.5 | 0 | 16.0226 | 0.2284 | 245.4514 | 5.4795 | 1.8499 | 23.3684 | 6 | 1.42 | 1 | 2.84 | 22.5809 | 23.3684 | 22.1173 | 399.9384 | 378.2193 | 7.6072 | 14.0914 | 20.2917 | 37.5879 | 499.8854 | 1499.8488 | 17.0305 | 73.3273 | -2.1919 | 0.20845 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0054795 | 296.5184 | 295.7309 | 239.9758 | -0.12444 | 2.8832 | 39.3196 | 25.2283 | 22.9746 | 2.8154 | 0.2114 | 1.0333 | 1.7821 | 0.13355 | 17.9983 | 0.64897 | 38.9845 | 370.6029 | 0.016855
40 | 11:49:02 | 2267 | 0 | 16.0315 | 0.22926 | 245.7961 | 5.4955 | 1.8488 | 23.3687 | 6 | 1.42 | 1 | 2.84 | 22.5813 | 23.3687 | 22.1176 | 399.9392 | 378.2033 | 7.6046 | 14.1074 | 20.2844 | 37.6297 | 499.9062 | 1499.8103 | 17.1013 | 73.3273 | -2.1919 | 0.20845 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0054955 | 296.5187 | 295.7313 | 239.9696 | -0.13289 | 2.8833 | 39.3205 | 25.2131 | 22.975 | 2.8155 | 0.21214 | 1.0345 | 1.781 | 0.13403 | 18.0236 | 0.6499 | 39.0393 | 370.5827 | 0.016888
41 | 11:49:03 | 2267.5 | 0 | 16.0675 | 0.23013 | 245.9136 | 5.512 | 1.8479 | 23.3702 | 6 | 1.42 | 1 | 2.84 | 22.5827 | 23.3702 | 22.1184 | 399.9474 | 378.162 | 7.602 | 14.1238 | 20.2755 | 37.6702 | 499.9291 | 1499.8318 | 17.1566 | 73.327 | -2.1919 | 0.20845 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.005512 | 296.5202 | 295.7327 | 239.9731 | -0.14149 | 2.8835 | 39.3241 | 25.2002 | 22.9764 | 2.8157 | 0.21288 | 1.0357 | 1.78 | 0.1345 | 18.0321 | 0.65029 | 39.0924 | 370.5243 | 0.016952
42 | 11:49:03 | 2268 | 0 | 16.0758 | 0.23095 | 246.2395 | 5.5269 | 1.8468 | 23.3709 | 6 | 1.42 | 1 | 2.84 | 22.5834 | 23.3709 | 22.1188 | 399.9527 | 378.1519 | 7.6013 | 14.1403 | 20.2729 | 37.7127 | 499.9586 | 1499.7483 | 17.1957 | 73.3276 | -2.1919 | 0.20845 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83326 | 0.0055269 | 296.5209 | 295.7334 | 239.9597 | -0.14947 | 2.8837 | 39.3257 | 25.1854 | 22.9772 | 2.8158 | 0.21358 | 1.0369 | 1.779 | 0.13495 | 18.0561 | 0.65117 | 39.1465 | 370.5102 | 0.016985
43 | 11:49:04 | 2268.5 | 0 | 16.0952 | 0.2315 | 246.325 | 5.538 | 1.8464 | 23.374 | 6 | 1.42 | 1 | 2.84 | 22.5852 | 23.374 | 22.1193 | 399.9412 | 378.1136 | 7.6011 | 14.1528 | 20.2701 | 37.7418 | 499.9855 | 1499.7153 | 17.2456 | 73.3276 | -2.1919 | 0.20845 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83331 | 0.005538 | 296.524 | 295.7352 | 239.9544 | -0.15549 | 2.8842 | 39.3328 | 25.18 | 22.9796 | 2.8162 | 0.21405 | 1.0378 | 1.7784 | 0.13525 | 18.0624 | 0.65146 | 39.1807 | 370.4627 | 0.017022
44 | 11:49:04 | 2269 | 0 | 16.0848 | 0.23211 | 246.6758 | 5.549 | 1.8456 | 23.3745 | 6 | 1.42 | 1 | 2.84 | 22.5856 | 23.3745 | 22.1193 | 399.9194 | 378.0996 | 7.6001 | 14.1647 | 20.2671 | 37.7728 | 499.995 | 1499.7405 | 17.289 | 73.3277 | -2.1919 | 0.20845 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83332 | 0.005549 | 296.5245 | 295.7356 | 239.9585 | -0.16127 | 2.8843 | 39.3341 | 25.1694 | 22.9801 | 2.8163 | 0.21457 | 1.0387 | 1.7777 | 0.13558 | 18.0882 | 0.65241 | 39.2199 | 370.4537 | 0.017029
45 | 11:49:05 | 2269.5 | 0 | 16.1033 | 0.23254 | 246.681 | 5.5572 | 1.8451 | 23.3761 | 6 | 1.42 | 1 | 2.84 | 22.5862 | 23.3761 | 22.1195 | 399.8735 | 378.0289 | 7.6011 | 14.1751 | 20.2688 | 37.7989 | 500.0084 | 1499.8053 | 17.2816 | 73.3275 | -2.1919 | 0.20845 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83335 | 0.0055572 | 296.5261 | 295.7362 | 239.9688 | -0.16554 | 2.8845 | 39.3378 | 25.1628 | 22.9812 | 2.8165 | 0.21494 | 1.0394 | 1.7771 | 0.13582 | 18.0885 | 0.65255 | 39.2499 | 370.3741 | 0.017065 | 16.0201 | 22.5811 | 23.3694 | #DIV/0! | 2266.2667 | 0 | 16.0201 | 0.22911 | 245.7412 | 5.4918 | 1.8488 | 23.3694 | 6 | 1.42 | 1 | 2.84 | 22.5811 | 23.3694 | 22.1175 | 399.8633 | 378.1432 | 7.611 | 14.1094 | 20.3018 | 37.6355 | 499.9084 | 1499.8647 | 17.0289 | 73.3276 | -2.1919 | 0.20845 | 0.77778 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0054918 | 296.5194 | 295.7311 | 239.9783 | -0.13096 | 2.8834 | 39.3219 | 25.2125 | 22.9752 | 2.8155 | 0.212 | 1.0346 | 1.7809 | 0.13394 | 18.0196 | 0.64986 | 39.0394 | 370.528 | 0.016879
Remark= | "11:49:13 Coolers: Tblock -> 27.00 C"
Remark= | "11:51:54 Flow: Fixed -> 500 umol/s"
Remark= | "11:53:56 Flow: Fixed -> 500 umol/s"
46 | 11:55:39 | 2663.5 | 0 | 15.9788 | 0.21665 | 237.1814 | 6.2823 | 2.2139 | 26.6037 | 6 | 1.42 | 1 | 2.84 | 26.8843 | 26.6037 | 26.9951 | 400.1352 | 378.1044 | 10.0866 | 17.4954 | 20.8048 | 36.0863 | 499.8694 | 1499.3436 | 17.5977 | 73.3239 | -2.2192 | 0.14576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0062823 | 299.7537 | 300.0343 | 239.895 | -0.40066 | 3.4967 | 47.6884 | 30.1929 | 26.744 | 3.5257 | 0.20129 | 1.2828 | 2.2429 | 0.1271 | 17.3911 | 0.62729 | 39.1926 | 370.5088 | 0.016902
47 | 11:55:39 | 2663.5 | 0 | 15.9788 | 0.21665 | 237.1814 | 6.2823 | 2.2139 | 26.6037 | 6 | 1.42 | 1 | 2.84 | 26.8843 | 26.6037 | 26.9951 | 400.1352 | 378.1044 | 10.0866 | 17.4954 | 20.8048 | 36.0863 | 499.8694 | 1499.3436 | 17.5977 | 73.3239 | -2.2192 | 0.14576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0062823 | 299.7537 | 300.0343 | 239.895 | -0.40066 | 3.4967 | 47.6884 | 30.1929 | 26.744 | 3.5257 | 0.20129 | 1.2828 | 2.2429 | 0.1271 | 17.3911 | 0.62729 | 39.1926 | 370.5088 | 0.016902
48 | 11:55:40 | 2664 | 0 | 15.9293 | 0.21642 | 237.4644 | 6.2767 | 2.214 | 26.6023 | 6 | 1.42 | 1 | 2.84 | 26.885 | 26.6023 | 26.995 | 400.0972 | 378.1276 | 10.0869 | 17.4893 | 20.8044 | 36.0722 | 499.8552 | 1499.3763 | 17.6124 | 73.3241 | -2.2192 | 0.14576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0062767 | 299.7523 | 300.035 | 239.9002 | -0.39738 | 3.4964 | 47.6844 | 30.195 | 26.7437 | 3.5256 | 0.2011 | 1.2824 | 2.2432 | 0.12698 | 17.4119 | 0.628 | 39.1791 | 370.5556 | 0.016842
49 | 11:55:40 | 2664.5 | 0 | 15.9185 | 0.21627 | 237.4729 | 6.2736 | 2.2144 | 26.6028 | 6 | 1.42 | 1 | 2.84 | 26.8855 | 26.6028 | 26.9951 | 400.0936 | 378.1372 | 10.0867 | 17.4858 | 20.8035 | 36.064 | 499.8303 | 1499.3805 | 17.6897 | 73.3243 | -2.2192 | 0.14576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0062736 | 299.7528 | 300.0355 | 239.9009 | -0.39574 | 3.4965 | 47.6856 | 30.1998 | 26.7442 | 3.5257 | 0.20097 | 1.2821 | 2.2436 | 0.12689 | 17.4125 | 0.62801 | 39.1682 | 370.5703 | 0.016825
50 | 11:55:41 | 2665 | 0 | 15.9128 | 0.21625 | 237.4912 | 6.2733 | 2.2144 | 26.6033 | 6 | 1.42 | 1 | 2.84 | 26.8855 | 26.6033 | 26.9958 | 400.0686 | 378.1194 | 10.0875 | 17.4863 | 20.8053 | 36.0652 | 499.8326 | 1499.3599 | 17.7214 | 73.3245 | -2.2192 | 0.14576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0062733 | 299.7533 | 300.0355 | 239.8976 | -0.39569 | 3.4966 | 47.6867 | 30.2004 | 26.7444 | 3.5258 | 0.20095 | 1.2822 | 2.2436 | 0.12689 | 17.4139 | 0.62809 | 39.168 | 370.5552 | 0.01682
51 | 11:55:41 | 2665 | 0 | 15.9128 | 0.21625 | 237.4912 | 6.2733 | 2.2144 | 26.6033 | 6 | 1.42 | 1 | 2.84 | 26.8855 | 26.6033 | 26.9958 | 400.0686 | 378.1194 | 10.0875 | 17.4863 | 20.8053 | 36.0652 | 499.8326 | 1499.3599 | 17.7214 | 73.3245 | -2.2192 | 0.14576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0062733 | 299.7533 | 300.0355 | 239.8976 | -0.39569 | 3.4966 | 47.6867 | 30.2004 | 26.7444 | 3.5258 | 0.20095 | 1.2822 | 2.2436 | 0.12689 | 17.4139 | 0.62809 | 39.168 | 370.5552 | 0.01682
52 | 11:55:42 | 2665.5 | 0 | 15.872 | 0.21633 | 237.8327 | 6.275 | 2.2143 | 26.6034 | 6 | 1.42 | 1 | 2.84 | 26.8864 | 26.6034 | 26.9957 | 400.0064 | 378.1043 | 10.0873 | 17.4885 | 20.8038 | 36.0678 | 499.804 | 1499.4138 | 17.6993 | 73.3246 | -2.2192 | 0.14576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83301 | 0.006275 | 299.7534 | 300.0364 | 239.9062 | -0.39636 | 3.4966 | 47.6869 | 30.1984 | 26.7449 | 3.5259 | 0.20102 | 1.2823 | 2.2435 | 0.12693 | 17.439 | 0.62901 | 39.1737 | 370.5595 | 0.016779
53 | 11:55:42 | 2666 | 0 | 15.8833 | 0.21658 | 237.8817 | 6.2807 | 2.214 | 26.6044 | 6 | 1.42 | 1 | 2.84 | 26.8866 | 26.6044 | 26.9959 | 400.0247 | 378.1072 | 10.0881 | 17.4957 | 20.8053 | 36.0825 | 499.8201 | 1499.4038 | 17.7426 | 73.3249 | -2.2192 | 0.14576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83303 | 0.0062807 | 299.7544 | 300.0366 | 239.9046 | -0.39949 | 3.4968 | 47.6896 | 30.1939 | 26.7455 | 3.526 | 0.20123 | 1.2829 | 2.2431 | 0.12706 | 17.4426 | 0.62914 | 39.1909 | 370.557 | 0.016799
54 | 11:55:43 | 2666.5 | 0 | 15.8998 | 0.217 | 237.9524 | 6.2904 | 2.2134 | 26.6057 | 6 | 1.42 | 1 | 2.84 | 26.8872 | 26.6057 | 26.9967 | 400.0191 | 378.0793 | 10.0886 | 17.507 | 20.8055 | 36.1044 | 499.8618 | 1499.3997 | 17.7957 | 73.3249 | -2.2192 | 0.14576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0062904 | 299.7557 | 300.0372 | 239.9039 | -0.40468 | 3.4971 | 47.6934 | 30.1865 | 26.7465 | 3.5262 | 0.20159 | 1.2837 | 2.2425 | 0.12729 | 17.4478 | 0.62937 | 39.2185 | 370.5213 | 0.016829
55 | 11:55:43 | 2667 | 0 | 15.905 | 0.21756 | 238.1994 | 6.3028 | 2.2124 | 26.6061 | 6 | 1.42 | 1 | 2.84 | 26.8872 | 26.6061 | 26.9965 | 400.0147 | 378.0634 | 10.0886 | 17.5214 | 20.8055 | 36.134 | 499.8659 | 1499.3373 | 17.7902 | 73.3248 | -2.2192 | 0.14576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0063028 | 299.7561 | 300.0372 | 239.894 | -0.41127 | 3.4972 | 47.6944 | 30.173 | 26.7467 | 3.5262 | 0.20208 | 1.2848 | 2.2415 | 0.1276 | 17.4659 | 0.63005 | 39.2575 | 370.5029 | 0.016853
56 | 11:55:44 | 2667.5 | 0 | 15.9486 | 0.21822 | 238.1693 | 6.3177 | 2.2114 | 26.6068 | 6 | 1.42 | 1 | 2.84 | 26.8877 | 26.6068 | 26.996 | 400.0185 | 378.0084 | 10.0876 | 17.538 | 20.8028 | 36.167 | 499.8635 | 1499.3842 | 17.8103 | 73.3244 | -2.2192 | 0.14576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0063177 | 299.7568 | 300.0377 | 239.9015 | -0.419 | 3.4973 | 47.6967 | 30.1587 | 26.7472 | 3.5264 | 0.20265 | 1.286 | 2.2404 | 0.12797 | 17.4636 | 0.63006 | 39.3018 | 370.4272 | 0.016921
57 | 11:55:44 | 2668 | 0 | 15.9764 | 0.2188 | 238.2514 | 6.3312 | 2.2106 | 26.6089 | 6 | 1.42 | 1 | 2.84 | 26.8881 | 26.6089 | 26.9965 | 400.0423 | 377.9923 | 10.0882 | 17.5546 | 20.8036 | 36.2004 | 499.8524 | 1499.3711 | 17.7932 | 73.3243 | -2.2192 | 0.14576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0063312 | 299.7589 | 300.0381 | 239.8994 | -0.42632 | 3.4978 | 47.7028 | 30.1482 | 26.7485 | 3.5266 | 0.20315 | 1.2872 | 2.2395 | 0.12829 | 17.4696 | 0.63031 | 39.3415 | 370.3979 | 0.016969
58 | 11:55:45 | 2668.5 | 0 | 15.9833 | 0.21921 | 238.4053 | 6.3413 | 2.2102 | 26.6109 | 6 | 1.42 | 1 | 2.84 | 26.8885 | 26.6109 | 26.9967 | 400.0429 | 377.9816 | 10.0874 | 17.5651 | 20.8013 | 36.221 | 499.8844 | 1499.3899 | 17.7658 | 73.3242 | -2.2192 | 0.14576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0063413 | 299.7609 | 300.0385 | 239.9024 | -0.43175 | 3.4982 | 47.7085 | 30.1434 | 26.7497 | 3.5269 | 0.20351 | 1.2879 | 2.2389 | 0.12852 | 17.4809 | 0.63073 | 39.3661 | 370.3839 | 0.016988
59 | 11:55:45 | 2669 | 0 | 15.9978 | 0.21959 | 238.5181 | 6.3502 | 2.2098 | 26.612 | 6 | 1.42 | 1 | 2.84 | 26.8901 | 26.612 | 26.996 | 400.0874 | 378.0055 | 10.0869 | 17.5746 | 20.7981 | 36.2371 | 499.9082 | 1499.4297 | 17.662 | 73.3238 | -2.2192 | 0.14576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0063502 | 299.762 | 300.0401 | 239.9087 | -0.43624 | 3.4984 | 47.7117 | 30.1371 | 26.7511 | 3.5272 | 0.20383 | 1.2886 | 2.2385 | 0.12872 | 17.4891 | 0.63099 | 39.39 | 370.4009 | 0.017013
60 | 11:55:46 | 2669.5 | 0 | 16.0171 | 0.21991 | 238.5778 | 6.3574 | 2.2093 | 26.6129 | 6 | 1.42 | 1 | 2.84 | 26.8918 | 26.6129 | 26.9962 | 400.1549 | 378.0488 | 10.0876 | 17.5829 | 20.7976 | 36.2506 | 499.9655 | 1499.4083 | 17.7254 | 73.3238 | -2.2192 | 0.14576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.0063574 | 299.7629 | 300.0418 | 239.9053 | -0.43993 | 3.4986 | 47.7142 | 30.1313 | 26.7524 | 3.5274 | 0.2041 | 1.2892 | 2.2382 | 0.1289 | 17.4934 | 0.63108 | 39.4106 | 370.435 | 0.017041 | 15.941 | 26.8869 | 26.606 | #DIV/0! | 2666.2 | 0 | 15.941 | 0.21745 | 237.8714 | 6.3005 | 2.2127 | 26.606 | 6 | 1.42 | 1 | 2.84 | 26.8869 | 26.606 | 26.9959 | 400.0673 | 378.0735 | 10.0875 | 17.5178 | 20.8034 | 36.1269 | 499.861 | 1499.3801 | 17.715 | 73.3243 | -2.2192 | 0.14576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0063005 | 299.756 | 300.0369 | 239.9008 | -0.41006 | 3.4972 | 47.6946 | 30.1768 | 26.7465 | 3.5262 | 0.20198 | 1.2845 | 2.2417 | 0.12754 | 17.4418 | 0.62917 | 39.2479 | 370.496 | 0.016887
Remark= | "11:55:52 Coolers: Tblock -> 32.00 C"
Remark= | "11:59:47 Flow: Fixed -> 500 umol/s"
Remark= | "12:02:00 Flow: Fixed -> 500 umol/s"
Remark= | "12:03:29 Flow: Fixed -> 500 umol/s"
Remark= | "12:04:24 Flow: Fixed -> 500 umol/s"
61 | 12:05:40 | 3265 | 0 | 15.5316 | 0.15852 | 193.0764 | 6.7887 | 3.1676 | 32.2547 | 6 | 1.42 | 1 | 2.84 | 31.4335 | 32.2547 | 32.0758 | 399.5478 | 377.8251 | 14.9066 | 22.8693 | 23.6353 | 36.2606 | 499.8409 | 1499.5228 | 18.7334 | 73.3176 | -1.6244 | 0.084131 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0067887 | 305.4047 | 304.5835 | 239.9236 | -0.81509 | 4.8443 | 66.0735 | 43.2042 | 31.8441 | 4.7331 | 0.15014 | 1.6767 | 3.0564 | 0.094558 | 14.1559 | 0.51102 | 35.1864 | 370.4421 | 0.014753
62 | 12:05:41 | 3265.5 | 0 | 15.5198 | 0.15874 | 193.407 | 6.7957 | 3.1667 | 32.2538 | 6 | 1.42 | 1 | 2.84 | 31.4341 | 32.2538 | 32.0757 | 399.5343 | 377.8216 | 14.9069 | 22.8781 | 23.6348 | 36.2731 | 499.8187 | 1499.4847 | 18.7185 | 73.3172 | -1.6244 | 0.084131 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83303 | 0.0067957 | 305.4038 | 304.5841 | 239.9176 | -0.81858 | 4.8441 | 66.0705 | 43.1924 | 31.8439 | 4.7331 | 0.15034 | 1.6774 | 3.0557 | 0.094682 | 14.1801 | 0.5119 | 35.2057 | 370.4442 | 0.014749
63 | 12:05:41 | 3265.5 | 0 | 15.5198 | 0.15874 | 193.407 | 6.7957 | 3.1667 | 32.2538 | 6 | 1.42 | 1 | 2.84 | 31.4341 | 32.2538 | 32.0757 | 399.5343 | 377.8216 | 14.9069 | 22.8781 | 23.6348 | 36.2731 | 499.8187 | 1499.4847 | 18.7185 | 73.3172 | -1.6244 | 0.084131 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83303 | 0.0067957 | 305.4038 | 304.5841 | 239.9176 | -0.81858 | 4.8441 | 66.0705 | 43.1924 | 31.8439 | 4.7331 | 0.15034 | 1.6774 | 3.0557 | 0.094682 | 14.1801 | 0.5119 | 35.2057 | 370.4442 | 0.014749
64 | 12:05:41 | 3266 | 0 | 15.5477 | 0.159 | 193.3471 | 6.8038 | 3.1657 | 32.2525 | 6 | 1.42 | 1 | 2.84 | 31.4351 | 32.2525 | 32.0756 | 399.5462 | 377.7954 | 14.9066 | 22.8875 | 23.6331 | 36.2863 | 499.7925 | 1499.4801 | 18.658 | 73.3176 | -1.6244 | 0.084131 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83299 | 0.0068038 | 305.4025 | 304.5851 | 239.9168 | -0.82244 | 4.8438 | 66.0656 | 43.178 | 31.8438 | 4.733 | 0.15057 | 1.6781 | 3.055 | 0.094827 | 14.1757 | 0.51178 | 35.2278 | 370.4048 | 0.014787
65 | 12:05:42 | 3266.5 | 0 | 15.5736 | 0.15926 | 193.3039 | 6.8119 | 3.1645 | 32.2506 | 6 | 1.42 | 1 | 2.84 | 31.4351 | 32.2506 | 32.0754 | 399.542 | 377.7563 | 14.9062 | 22.8968 | 23.6323 | 36.3005 | 499.7832 | 1499.5088 | 18.6167 | 73.3171 | -1.6244 | 0.084131 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83297 | 0.0068119 | 305.4006 | 304.5851 | 239.9214 | -0.82629 | 4.8432 | 66.0586 | 43.1618 | 31.8428 | 4.7328 | 0.1508 | 1.6787 | 3.054 | 0.094976 | 14.1725 | 0.51172 | 35.2508 | 370.3534 | 0.014823
66 | 12:05:42 | 3267 | 0 | 15.6024 | 0.15957 | 193.278 | 6.821 | 3.163 | 32.2477 | 6 | 1.42 | 1 | 2.84 | 31.4357 | 32.2477 | 32.0757 | 399.5431 | 377.7195 | 14.9055 | 22.9066 | 23.6305 | 36.315 | 499.7917 | 1499.5735 | 18.5606 | 73.3172 | -1.6244 | 0.084131 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83299 | 0.006821 | 305.3977 | 304.5857 | 239.9318 | -0.83042 | 4.8424 | 66.0478 | 43.1412 | 31.8417 | 4.7325 | 0.15108 | 1.6795 | 3.053 | 0.095151 | 14.1706 | 0.5117 | 35.2779 | 370.3028 | 0.014864
67 | 12:05:43 | 3267.5 | 0 | 15.7003 | 0.15976 | 192.4212 | 6.8273 | 3.1623 | 32.2471 | 6 | 1.42 | 1 | 2.84 | 31.4367 | 32.2471 | 32.0754 | 399.6099 | 377.6666 | 14.9056 | 22.9138 | 23.6291 | 36.3242 | 499.8003 | 1499.6024 | 18.5682 | 73.317 | -1.6244 | 0.084131 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.833 | 0.0068273 | 305.3971 | 304.5867 | 239.9364 | -0.83337 | 4.8423 | 66.0457 | 43.1319 | 31.8419 | 4.7325 | 0.15125 | 1.68 | 3.0525 | 0.09526 | 14.1077 | 0.5095 | 35.2938 | 370.2034 | 0.014968
68 | 12:05:43 | 3268 | 0 | 15.6955 | 0.15987 | 192.5887 | 6.8309 | 3.1618 | 32.2468 | 6 | 1.42 | 1 | 2.84 | 31.4371 | 32.2468 | 32.0759 | 399.6123 | 377.6747 | 14.9069 | 22.9188 | 23.6308 | 36.3314 | 499.8346 | 1499.5616 | 18.5724 | 73.3172 | -1.6244 | 0.084131 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0068309 | 305.3968 | 304.5871 | 239.9299 | -0.83521 | 4.8422 | 66.0443 | 43.1255 | 31.8419 | 4.7325 | 0.15135 | 1.6803 | 3.0522 | 0.095324 | 14.1201 | 0.50993 | 35.3043 | 370.2138 | 0.014967
69 | 12:05:44 | 3268.5 | 0 | 15.7433 | 0.15992 | 192.1194 | 6.8317 | 3.1612 | 32.2445 | 6 | 1.42 | 1 | 2.84 | 31.438 | 32.2445 | 32.0757 | 399.6253 | 377.6306 | 14.9066 | 22.9192 | 23.629 | 36.3302 | 499.8428 | 1499.6074 | 18.6243 | 73.3172 | -1.6244 | 0.084131 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0068317 | 305.3945 | 304.588 | 239.9372 | -0.83507 | 4.8416 | 66.0358 | 43.1166 | 31.8412 | 4.7323 | 0.1514 | 1.6804 | 3.052 | 0.095355 | 14.0857 | 0.50875 | 35.3108 | 370.147 | 0.015019
70 | 12:05:44 | 3269 | 0 | 15.7597 | 0.15988 | 191.888 | 6.8294 | 3.1611 | 32.2432 | 6 | 1.42 | 1 | 2.84 | 31.4372 | 32.2432 | 32.0752 | 399.6223 | 377.6096 | 14.9062 | 22.916 | 23.6297 | 36.327 | 499.8537 | 1499.5719 | 18.7078 | 73.3176 | -1.6244 | 0.084131 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0068294 | 305.3932 | 304.5872 | 239.9315 | -0.83387 | 4.8412 | 66.0307 | 43.1147 | 31.8402 | 4.7321 | 0.15135 | 1.6801 | 3.0519 | 0.095327 | 14.0688 | 0.50817 | 35.3078 | 370.1182 | 0.015034
71 | 12:05:45 | 3269.5 | 0 | 15.7569 | 0.15979 | 191.8221 | 6.8263 | 3.1613 | 32.2432 | 6 | 1.42 | 1 | 2.84 | 31.4378 | 32.2432 | 32.0756 | 399.6098 | 377.6021 | 14.9065 | 22.9126 | 23.6292 | 36.3202 | 499.859 | 1499.6488 | 18.6878 | 73.3176 | -1.6244 | 0.084131 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0068263 | 305.3932 | 304.5878 | 239.9438 | -0.83205 | 4.8412 | 66.0309 | 43.1183 | 31.8405 | 4.7322 | 0.15127 | 1.6799 | 3.0523 | 0.095276 | 14.0639 | 0.508 | 35.3008 | 370.1121 | 0.015029
72 | 12:05:45 | 3270 | 0 | 15.7865 | 0.15968 | 191.4008 | 6.8217 | 3.1612 | 32.2415 | 6 | 1.42 | 1 | 2.84 | 31.4375 | 32.2415 | 32.0745 | 399.6175 | 377.5776 | 14.908 | 22.9084 | 23.6321 | 36.3143 | 499.8822 | 1499.6339 | 18.7598 | 73.3175 | -1.6244 | 0.084131 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0068217 | 305.3915 | 304.5875 | 239.9414 | -0.82951 | 4.8408 | 66.0246 | 43.1162 | 31.8395 | 4.7319 | 0.15118 | 1.6796 | 3.0523 | 0.095217 | 14.033 | 0.50692 | 35.2959 | 370.0735 | 0.015056
73 | 12:05:46 | 3270.5 | 0 | 15.7413 | 0.15957 | 191.7716 | 6.8185 | 3.1617 | 32.2424 | 6 | 1.42 | 1 | 2.84 | 31.4386 | 32.2424 | 32.0753 | 399.5824 | 377.5985 | 14.9077 | 22.9042 | 23.63 | 36.3052 | 499.8924 | 1499.6835 | 18.7707 | 73.3174 | -1.6244 | 0.084131 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0068185 | 305.3924 | 304.5886 | 239.9494 | -0.82772 | 4.841 | 66.0277 | 43.1236 | 31.8405 | 4.7321 | 0.15108 | 1.6793 | 3.0529 | 0.095155 | 14.0602 | 0.50787 | 35.2856 | 370.1158 | 0.015007
74 | 12:05:46 | 3271 | 0 | 15.7617 | 0.15947 | 191.472 | 6.8151 | 3.1621 | 32.2433 | 6 | 1.42 | 1 | 2.84 | 31.4395 | 32.2433 | 32.0756 | 399.6182 | 377.6112 | 14.9098 | 22.9023 | 23.632 | 36.3002 | 499.8891 | 1499.7014 | 18.7898 | 73.317 | -1.6244 | 0.084131 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0068151 | 305.3933 | 304.5895 | 239.9522 | -0.82593 | 4.8412 | 66.0317 | 43.1294 | 31.8414 | 4.7324 | 0.15099 | 1.6791 | 3.0533 | 0.095095 | 14.0381 | 0.50706 | 35.2784 | 370.1189 | 0.015023
75 | 12:05:47 | 3271.5 | 0 | 15.7273 | 0.1595 | 191.9024 | 6.8158 | 3.1618 | 32.2428 | 6 | 1.42 | 1 | 2.84 | 31.4397 | 32.2428 | 32.0759 | 399.6251 | 377.6591 | 14.9117 | 22.9049 | 23.6349 | 36.3041 | 499.9 | 1499.6523 | 18.8098 | 73.3171 | -1.6244 | 0.084131 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0068158 | 305.3928 | 304.5897 | 239.9444 | -0.82631 | 4.8411 | 66.0297 | 43.1247 | 31.8412 | 4.7323 | 0.15102 | 1.6793 | 3.053 | 0.095115 | 14.0697 | 0.50814 | 35.2841 | 370.1831 | 0.014991 | 15.6645 | 31.4366 | 32.2472 | #DIV/0! | 3268.0667 | 0 | 15.6645 | 0.15942 | 192.4804 | 6.8156 | 3.1633 | 32.2472 | 6 | 1.42 | 1 | 2.84 | 31.4366 | 32.2472 | 32.0755 | 399.5847 | 377.6913 | 14.9072 | 22.9011 | 23.6319 | 36.3044 | 499.84 | 1499.5812 | 18.6864 | 73.3173 | -1.6244 | 0.084131 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0068156 | 305.3972 | 304.5866 | 239.933 | -0.82736 | 4.8423 | 66.0458 | 43.1447 | 31.8419 | 4.7325 | 0.15094 | 1.679 | 3.0535 | 0.095067 | 14.1121 | 0.50962 | 35.2677 | 370.2452 | 0.014921
Remark= | "12:05:55 Coolers: Tblock -> 37.00 C"
Remark= | "12:08:52 Flow: Fixed -> 500 umol/s"
Remark= | "12:12:09 Flow: Fixed -> 500 umol/s"
76 | 12:12:45 | 3689 | 0 | 15.6535 | 0.13018 | 152.4896 | 7.4893 | 4.1543 | 37.1121 | 6 | 1.42 | 1 | 2.84 | 35.776 | 37.1121 | 36.9579 | 399.9833 | 377.7992 | 21.1419 | 29.8625 | 26.2896 | 37.1333 | 499.8983 | 1500.5103 | 19.2687 | 73.3117 | -1.478 | -0.054228 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0074893 | 310.2621 | 308.926 | 240.0816 | -1.2495 | 6.3436 | 86.5287 | 56.6662 | 36.4441 | 6.1161 | 0.12447 | 2.1893 | 3.9268 | 0.078289 | 11.1793 | 0.40363 | 33.5126 | 370.3583 | 0.014164
77 | 12:12:45 | 3689 | 0 | 15.6535 | 0.13018 | 152.4896 | 7.4893 | 4.1543 | 37.1121 | 6 | 1.42 | 1 | 2.84 | 35.776 | 37.1121 | 36.9579 | 399.9833 | 377.7992 | 21.1419 | 29.8625 | 26.2896 | 37.1333 | 499.8983 | 1500.5103 | 19.2687 | 73.3117 | -1.478 | -0.054228 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0074893 | 310.2621 | 308.926 | 240.0816 | -1.2495 | 6.3436 | 86.5287 | 56.6662 | 36.4441 | 6.1161 | 0.12447 | 2.1893 | 3.9268 | 0.078289 | 11.1793 | 0.40363 | 33.5126 | 370.3583 | 0.014164
78 | 12:12:45 | 3689.5 | 0 | 15.6747 | 0.13065 | 152.8959 | 7.5118 | 4.1523 | 37.1117 | 6 | 1.42 | 1 | 2.84 | 35.7765 | 37.1117 | 36.958 | 400.0056 | 377.7854 | 21.1413 | 29.888 | 26.288 | 37.1641 | 499.8843 | 1500.5005 | 19.2391 | 73.3115 | -1.478 | -0.054228 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0075118 | 310.2617 | 308.9265 | 240.0801 | -1.2609 | 6.3434 | 86.5271 | 56.6391 | 36.4441 | 6.1161 | 0.12491 | 2.1911 | 3.9249 | 0.078562 | 11.209 | 0.40472 | 33.553 | 370.3344 | 0.014202
79 | 12:12:46 | 3690 | 0 | 15.6732 | 0.13111 | 153.5699 | 7.5329 | 4.1501 | 37.1105 | 6 | 1.42 | 1 | 2.84 | 35.7768 | 37.1105 | 36.9587 | 400.021 | 377.7926 | 21.1409 | 29.9121 | 26.287 | 37.1934 | 499.8749 | 1500.5077 | 19.27 | 73.3112 | -1.478 | -0.054228 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0075329 | 310.2605 | 308.9268 | 240.0812 | -1.2715 | 6.343 | 86.5214 | 56.6093 | 36.4436 | 6.1159 | 0.12532 | 2.1929 | 3.923 | 0.078826 | 11.2584 | 0.40649 | 33.5931 | 370.3424 | 0.014217
80 | 12:12:46 | 3690.5 | 0 | 15.6928 | 0.13139 | 153.7468 | 7.5452 | 4.1482 | 37.1081 | 6 | 1.42 | 1 | 2.84 | 35.777 | 37.1081 | 36.9586 | 400.0517 | 377.7948 | 21.1422 | 29.9274 | 26.2883 | 37.2118 | 499.8915 | 1500.6058 | 19.2022 | 73.3113 | -1.478 | -0.054228 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0075452 | 310.2581 | 308.927 | 240.0969 | -1.2773 | 6.3422 | 86.5101 | 56.5827 | 36.4426 | 6.1156 | 0.12558 | 2.194 | 3.9215 | 0.078993 | 11.2714 | 0.40696 | 33.6219 | 370.3352 | 0.014247
81 | 12:12:47 | 3691 | 0 | 15.735 | 0.13166 | 153.5996 | 7.557 | 4.1466 | 37.1065 | 6 | 1.42 | 1 | 2.84 | 35.7773 | 37.1065 | 36.9588 | 400.089 | 377.7744 | 21.1422 | 29.9417 | 26.2879 | 37.2292 | 499.8486 | 1500.6427 | 19.178 | 73.3111 | -1.478 | -0.054228 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.007557 | 310.2565 | 308.9273 | 240.1028 | -1.283 | 6.3416 | 86.5029 | 56.5612 | 36.4419 | 6.1153 | 0.12583 | 2.1951 | 3.9203 | 0.079147 | 11.2606 | 0.40659 | 33.6474 | 370.2948 | 0.014298
82 | 12:12:47 | 3691.5 | 0 | 15.7673 | 0.13193 | 153.5846 | 7.5695 | 4.1454 | 37.1063 | 6 | 1.42 | 1 | 2.84 | 35.7784 | 37.1063 | 36.9595 | 400.1335 | 377.7753 | 21.1431 | 29.9567 | 26.2872 | 37.2453 | 499.8662 | 1500.7288 | 19.1995 | 73.311 | -1.478 | -0.054228 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0075695 | 310.2563 | 308.9284 | 240.1166 | -1.2891 | 6.3416 | 86.5023 | 56.5456 | 36.4424 | 6.1155 | 0.12607 | 2.1962 | 3.9193 | 0.0793 | 11.2594 | 0.40655 | 33.6706 | 370.2803 | 0.014338
83 | 12:12:48 | 3692 | 0 | 15.785 | 0.13221 | 153.7698 | 7.5823 | 4.1439 | 37.1054 | 6 | 1.42 | 1 | 2.84 | 35.7788 | 37.1054 | 36.9596 | 400.1568 | 377.7712 | 21.1449 | 29.9734 | 26.2889 | 37.2653 | 499.8581 | 1500.7627 | 19.2219 | 73.3106 | -1.478 | -0.054228 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0075823 | 310.2554 | 308.9288 | 240.122 | -1.2954 | 6.3412 | 86.4982 | 56.5248 | 36.4421 | 6.1154 | 0.12633 | 2.1974 | 3.918 | 0.079464 | 11.273 | 0.40704 | 33.6978 | 370.2678 | 0.014366
84 | 12:12:48 | 3692.5 | 0 | 15.8418 | 0.13262 | 153.6332 | 7.6014 | 4.1421 | 37.1049 | 6 | 1.42 | 1 | 2.84 | 35.7798 | 37.1049 | 36.9599 | 400.2038 | 377.7422 | 21.1456 | 29.9959 | 26.2883 | 37.2911 | 499.8699 | 1500.7729 | 19.2188 | 73.3106 | -1.478 | -0.054228 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0076014 | 310.2549 | 308.9298 | 240.1237 | -1.305 | 6.3411 | 86.4959 | 56.5 | 36.4423 | 6.1155 | 0.1267 | 2.199 | 3.9165 | 0.079699 | 11.2629 | 0.40671 | 33.7334 | 370.2118 | 0.014435
85 | 12:12:49 | 3693 | 0 | 15.878 | 0.1331 | 153.8502 | 7.6239 | 4.14 | 37.1046 | 6 | 1.42 | 1 | 2.84 | 35.7801 | 37.1046 | 36.9601 | 400.2368 | 377.7224 | 21.1459 | 30.022 | 26.2882 | 37.3228 | 499.8856 | 1500.7797 | 19.2188 | 73.3103 | -1.478 | -0.054228 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0076239 | 310.2546 | 308.9301 | 240.1247 | -1.3165 | 6.3409 | 86.4947 | 56.4726 | 36.4423 | 6.1155 | 0.12714 | 2.2009 | 3.9145 | 0.079975 | 11.2788 | 0.40731 | 33.7743 | 370.1748 | 0.014487
86 | 12:12:49 | 3693.5 | 0 | 15.9209 | 0.13365 | 154.0772 | 7.6493 | 4.1372 | 37.1028 | 6 | 1.42 | 1 | 2.84 | 35.7815 | 37.1028 | 36.9598 | 400.2565 | 377.68 | 21.1474 | 30.0525 | 26.2881 | 37.3578 | 499.8988 | 1500.8312 | 19.3015 | 73.3104 | -1.478 | -0.054228 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0076493 | 310.2528 | 308.9315 | 240.133 | -1.3289 | 6.3404 | 86.4864 | 56.4339 | 36.4422 | 6.1154 | 0.12765 | 2.2032 | 3.9123 | 0.080297 | 11.2955 | 0.40796 | 33.825 | 370.112 | 0.01455
87 | 12:12:50 | 3694 | 0 | 15.9473 | 0.13425 | 154.5647 | 7.6774 | 4.1347 | 37.1028 | 6 | 1.42 | 1 | 2.84 | 35.7816 | 37.1028 | 36.9597 | 400.2725 | 377.6529 | 21.1486 | 30.0857 | 26.2896 | 37.3992 | 499.9215 | 1500.8802 | 19.2335 | 73.3109 | -1.478 | -0.054228 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0076774 | 310.2528 | 308.9316 | 240.1408 | -1.3432 | 6.3403 | 86.4855 | 56.3998 | 36.4422 | 6.1154 | 0.12819 | 2.2056 | 3.9098 | 0.080642 | 11.3313 | 0.40928 | 33.8765 | 370.0723 | 0.014598
88 | 12:12:50 | 3694.5 | 0 | 15.9594 | 0.13489 | 155.2714 | 7.7081 | 4.1324 | 37.1038 | 6 | 1.42 | 1 | 2.84 | 35.7821 | 37.1038 | 36.9599 | 400.276 | 377.629 | 21.1493 | 30.1215 | 26.2896 | 37.4425 | 499.9387 | 1500.8298 | 19.2652 | 73.3108 | -1.478 | -0.054228 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0077081 | 310.2538 | 308.9321 | 240.1328 | -1.3592 | 6.3407 | 86.4903 | 56.3688 | 36.4429 | 6.1157 | 0.12877 | 2.2082 | 3.9075 | 0.08101 | 11.3831 | 0.41117 | 33.9292 | 370.0427 | 0.014633
89 | 12:12:51 | 3695 | 0 | 15.9593 | 0.13545 | 156.0135 | 7.7345 | 4.1301 | 37.1035 | 6 | 1.42 | 1 | 2.84 | 35.7823 | 37.1035 | 36.9599 | 400.2588 | 377.6021 | 21.1503 | 30.1522 | 26.2906 | 37.4804 | 499.9799 | 1500.8265 | 19.3265 | 73.3111 | -1.478 | -0.054228 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8333 | 0.0077345 | 310.2535 | 308.9323 | 240.1322 | -1.3727 | 6.3406 | 86.4886 | 56.3365 | 36.4429 | 6.1157 | 0.12928 | 2.2105 | 3.9052 | 0.081335 | 11.4375 | 0.41317 | 33.9773 | 370.0158 | 0.014655
90 | 12:12:51 | 3695.5 | 0 | 15.954 | 0.13585 | 156.5946 | 7.7529 | 4.1284 | 37.1029 | 6 | 1.42 | 1 | 2.84 | 35.7822 | 37.1029 | 36.9592 | 400.2433 | 377.5844 | 21.1498 | 30.1731 | 26.2903 | 37.5067 | 499.9729 | 1500.7423 | 19.3135 | 73.3114 | -1.478 | -0.054228 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83329 | 0.0077529 | 310.2529 | 308.9322 | 240.1188 | -1.3822 | 6.3404 | 86.4857 | 56.3127 | 36.4426 | 6.1156 | 0.12965 | 2.212 | 3.9035 | 0.081564 | 11.4802 | 0.41473 | 34.0112 | 370.0007 | 0.014665 | 15.8064 | 35.7791 | 37.1065 | #DIV/0! | 3692.0333 | 0 | 15.8064 | 0.13261 | 154.01 | 7.6016 | 4.1427 | 37.1065 | 6 | 1.42 | 1 | 2.84 | 35.7791 | 37.1065 | 36.9592 | 400.1448 | 377.727 | 21.145 | 29.9951 | 26.2887 | 37.2917 | 499.8992 | 1500.6954 | 19.2484 | 73.311 | -1.478 | -0.054228 | 0.64444 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0076016 | 310.2565 | 308.9291 | 240.1113 | -1.3056 | 6.3416 | 86.5031 | 56.508 | 36.4428 | 6.1156 | 0.12669 | 2.199 | 3.9167 | 0.079693 | 11.2906 | 0.40773 | 33.7291 | 370.2134 | 0.014401
Remark= | "12:13:02 Coolers: Tblock -> 42.00 C"
Remark= | "12:15:54 Flow: Fixed -> 500 umol/s"
Remark= | "12:18:41 Flow: Fixed -> 500 umol/s"
Remark= | "12:20:51 Flow: Fixed -> 500 umol/s"
Remark= | "12:23:02 Flow: Fixed -> 500 umol/s"
Remark= | "12:26:42 Flow: Fixed -> 500 umol/s"
Remark= | "12:28:24 Flow: Fixed -> 500 umol/s"
Remark= | "12:28:45 Flow: Fixed -> 500 umol/s"
91 | 12:30:50 | 4775 | 0 | 15.0055 | 0.12027 | 137.6608 | 9.3937 | 5.5178 | 42.0782 | 6 | 1.42 | 1 | 2.84 | 40.4346 | 42.0782 | 42.0401 | 400.1685 | 377.9008 | 26.8025 | 37.6511 | 25.8911 | 36.3708 | 499.9724 | 1499.7782 | 35.7075 | 73.2951 | -0.098136 | -0.16622 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83329 | 0.0093937 | 315.2282 | 313.5846 | 239.9645 | -2.2699 | 8.2774 | 112.9328 | 75.2817 | 41.2564 | 7.926 | 0.11539 | 2.7596 | 5.1663 | 0.07254 | 10.0899 | 0.36428 | 30.8406 | 370.7679 | 0.012482
92 | 12:30:50 | 4775 | 0 | 15.0055 | 0.12027 | 137.6608 | 9.3937 | 5.5178 | 42.0782 | 6 | 1.42 | 1 | 2.84 | 40.4346 | 42.0782 | 42.0401 | 400.1685 | 377.9008 | 26.8025 | 37.6511 | 25.8911 | 36.3708 | 499.9724 | 1499.7782 | 35.7075 | 73.2951 | -0.098136 | -0.16622 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83329 | 0.0093937 | 315.2282 | 313.5846 | 239.9645 | -2.2699 | 8.2774 | 112.9328 | 75.2817 | 41.2564 | 7.926 | 0.11539 | 2.7596 | 5.1663 | 0.07254 | 10.0899 | 0.36428 | 30.8406 | 370.7679 | 0.012482
93 | 12:30:51 | 4775.5 | 0 | 14.9896 | 0.12575 | 147.4267 | 9.3788 | 5.2878 | 41.5413 | 6 | 1.42 | 1 | 2.84 | 40.4347 | 41.5413 | 42.0393 | 400.1542 | 377.9123 | 26.8042 | 37.6358 | 25.8926 | 36.3558 | 499.9745 | 1499.8242 | 35.6533 | 73.295 | -0.098136 | -0.16622 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83329 | 0.0093788 | 314.6913 | 313.5847 | 239.9719 | -2.1803 | 8.0463 | 109.7801 | 72.1443 | 40.988 | 7.814 | 0.12042 | 2.7585 | 5.0555 | 0.075723 | 10.8056 | 0.39011 | 32.0618 | 370.787 | 0.012961
94 | 12:30:51 | 4776 | 0 | 14.951 | 0.13331 | 159.875 | 9.3529 | 4.9975 | 40.8426 | 6 | 1.42 | 1 | 2.84 | 40.4349 | 40.8426 | 42.0392 | 400.1074 | 377.9227 | 26.805 | 37.6072 | 25.8931 | 36.3278 | 499.9596 | 1499.822 | 35.699 | 73.2952 | -0.098136 | -0.16622 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0093529 | 313.9926 | 313.5849 | 239.9715 | -2.061 | 7.754 | 105.7908 | 68.1836 | 40.6388 | 7.6704 | 0.12734 | 2.7564 | 4.914 | 0.080102 | 11.7181 | 0.42304 | 33.6836 | 370.8157 | 0.013581
95 | 12:30:52 | 4776.5 | 0 | 14.8945 | 0.14136 | 171.9439 | 9.3155 | 4.717 | 40.1424 | 6 | 1.42 | 1 | 2.84 | 40.4348 | 40.1424 | 42.0395 | 400.0445 | 377.945 | 26.8046 | 37.5639 | 25.8927 | 36.286 | 499.9724 | 1499.8711 | 35.7387 | 73.2948 | -0.098136 | -0.16622 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83329 | 0.0093155 | 313.2924 | 313.5848 | 239.9794 | -1.9359 | 7.4702 | 101.9203 | 64.3564 | 40.2886 | 7.5287 | 0.13465 | 2.7532 | 4.7755 | 0.084736 | 12.6026 | 0.45494 | 35.3406 | 370.8649 | 0.014193
96 | 12:30:52 | 4777 | 0 | 14.8867 | 0.15 | 182.9995 | 9.2713 | 4.4459 | 39.4421 | 6 | 1.42 | 1 | 2.84 | 40.435 | 39.4421 | 42.0396 | 400.0348 | 377.9638 | 26.8057 | 37.5147 | 25.8935 | 36.2381 | 499.9588 | 1499.8677 | 35.7468 | 73.2948 | -0.098136 | -0.16622 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83326 | 0.0092713 | 312.5921 | 313.585 | 239.9788 | -1.8079 | 7.1955 | 98.1725 | 60.6577 | 39.9386 | 7.3894 | 0.14248 | 2.7496 | 4.6397 | 0.089694 | 13.4129 | 0.48417 | 37.0414 | 370.8874 | 0.014868
97 | 12:30:53 | 4777.5 | 0 | 14.8443 | 0.15924 | 193.9507 | 9.2181 | 4.1851 | 38.7434 | 6 | 1.42 | 1 | 2.84 | 40.436 | 38.7434 | 42.0397 | 400.0207 | 378.0237 | 26.8052 | 37.4537 | 25.8916 | 36.1771 | 499.9489 | 1499.8885 | 35.7703 | 73.2946 | -0.098136 | -0.16622 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0092181 | 311.8934 | 313.586 | 239.9822 | -1.6758 | 6.9302 | 94.5527 | 57.099 | 39.5897 | 7.2527 | 0.15078 | 2.7452 | 4.5075 | 0.094965 | 14.2155 | 0.51306 | 38.7767 | 370.9675 | 0.015517
98 | 12:30:53 | 4778 | 0 | 14.8325 | 0.1692 | 204.1687 | 9.1601 | 3.9343 | 38.0481 | 6 | 1.42 | 1 | 2.84 | 40.4376 | 38.0481 | 42.0395 | 400.0422 | 378.0852 | 26.8067 | 37.3888 | 25.8906 | 36.1111 | 499.9504 | 1499.8591 | 35.8815 | 73.2941 | -0.098136 | -0.16622 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0091601 | 311.1981 | 313.5876 | 239.9775 | -1.5422 | 6.6747 | 91.0667 | 53.6779 | 39.2429 | 7.119 | 0.15969 | 2.7404 | 4.3786 | 0.10062 | 14.9644 | 0.54001 | 40.5526 | 371.0345 | 0.016211
99 | 12:30:54 | 4778.5 | 0 | 14.8351 | 0.18035 | 214.117 | 9.1078 | 3.6905 | 37.3504 | 6 | 1.42 | 1 | 2.84 | 40.4379 | 37.3504 | 42.0397 | 400.0543 | 378.1163 | 26.8066 | 37.3295 | 25.8901 | 36.0532 | 499.9243 | 1499.8766 | 35.8841 | 73.2938 | -0.098136 | -0.16622 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0091078 | 310.5004 | 313.5879 | 239.9802 | -1.4117 | 6.4265 | 87.6812 | 50.3516 | 38.8942 | 6.9867 | 0.16958 | 2.736 | 4.2507 | 0.1069 | 15.6934 | 0.56627 | 42.403 | 371.0644 | 0.016953
100 | 12:30:54 | 4779 | 0 | 14.7908 | 0.19273 | 224.3059 | 9.0558 | 3.4539 | 36.6505 | 6 | 1.42 | 1 | 2.84 | 40.4386 | 36.6505 | 42.0394 | 400.0591 | 378.1967 | 26.8069 | 37.2706 | 25.8894 | 35.9949 | 499.9179 | 1499.89 | 35.9614 | 73.2938 | -0.098136 | -0.16622 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0090558 | 309.8005 | 313.5886 | 239.9824 | -1.2814 | 6.1856 | 84.3947 | 47.1241 | 38.5446 | 6.8563 | 0.18048 | 2.7317 | 4.1246 | 0.11384 | 16.4402 | 0.59309 | 44.3237 | 371.1658 | 0.017663
101 | 12:30:55 | 4779.5 | 0 | 14.7532 | 0.19475 | 226.2824 | 9.005 | 3.4025 | 36.4857 | 6 | 1.42 | 1 | 2.84 | 40.439 | 36.4857 | 42.0389 | 400.0751 | 378.2801 | 26.8076 | 37.2131 | 25.8895 | 35.9386 | 499.9207 | 1499.8774 | 35.9911 | 73.2938 | -0.098136 | -0.16622 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.009005 | 309.6357 | 313.589 | 239.9804 | -1.2309 | 6.13 | 83.6363 | 46.4231 | 38.4623 | 6.8259 | 0.18226 | 2.7275 | 4.0984 | 0.11497 | 16.5851 | 0.59819 | 44.7155 | 371.2672 | 0.017769
102 | 12:30:55 | 4780 | 0 | 14.7512 | 0.19355 | 225.6218 | 8.9615 | 3.4059 | 36.4848 | 6 | 1.42 | 1 | 2.84 | 40.4392 | 36.4848 | 42.0389 | 400.1287 | 378.3553 | 26.8082 | 37.1638 | 25.8898 | 35.8907 | 499.9271 | 1499.8855 | 36.081 | 73.294 | -0.098136 | -0.16622 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0089615 | 309.6348 | 313.5892 | 239.9817 | -1.2084 | 6.1297 | 83.6323 | 46.4684 | 38.462 | 6.8258 | 0.1812 | 2.7239 | 4.1019 | 0.1143 | 16.5367 | 0.59632 | 44.6386 | 371.3433 | 0.017732
103 | 12:30:56 | 4780.5 | 0 | 14.7766 | 0.19263 | 224.8344 | 8.9325 | 3.4101 | 36.4904 | 6 | 1.42 | 1 | 2.84 | 40.4405 | 36.4904 | 42.0392 | 400.1651 | 378.3737 | 26.8089 | 37.1317 | 25.8888 | 35.8573 | 499.9162 | 1499.8483 | 36.1594 | 73.2942 | -0.098136 | -0.16622 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0089325 | 309.6404 | 313.5905 | 239.9757 | -1.1942 | 6.1316 | 83.6574 | 46.5258 | 38.4654 | 6.827 | 0.1804 | 2.7215 | 4.1055 | 0.11379 | 16.479 | 0.59421 | 44.5703 | 371.3496 | 0.017735
104 | 12:30:56 | 4781 | 0 | 14.7547 | 0.19219 | 224.783 | 8.9204 | 3.4128 | 36.4952 | 6 | 1.42 | 1 | 2.84 | 40.4418 | 36.4952 | 42.0388 | 400.1924 | 378.4323 | 26.8083 | 37.1171 | 25.8864 | 35.8407 | 499.9173 | 1499.8635 | 36.2067 | 73.2942 | -0.098136 | -0.16622 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0089204 | 309.6452 | 313.5918 | 239.9782 | -1.1884 | 6.1332 | 83.6797 | 46.5626 | 38.4685 | 6.8282 | 0.18001 | 2.7205 | 4.1077 | 0.11354 | 16.4753 | 0.59398 | 44.5329 | 371.4186 | 0.017691
105 | 12:30:57 | 4782.5 | 0 | 14.8216 | 0.19166 | 223.9197 | 8.8983 | 3.4132 | 36.4916 | 6 | 1.42 | 1 | 2.84 | 40.4407 | 36.4916 | 42.0377 | 400.2946 | 378.4658 | 26.8111 | 37.0938 | 25.8911 | 35.8209 | 499.9623 | 1499.9867 | 36.2067 | 73.2954 | -0.098136 | -0.16622 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0088983 | 309.6416 | 313.5907 | 239.9979 | -1.1765 | 6.132 | 83.6616 | 46.5678 | 38.4662 | 6.8273 | 0.17955 | 2.7188 | 4.1085 | 0.11325 | 16.4123 | 0.59165 | 44.5063 | 371.4203 | 0.01776
106 | 12:31:27 | 4812 | 0 | 14.9902 | 0.20221 | 228.516 | 9.2581 | 3.3769 | 36.478 | 6 | 1.42 | 1 | 2.84 | 40.4459 | 36.478 | 42.0329 | 400.1146 | 377.9226 | 26.8327 | 37.528 | 25.9041 | 36.2293 | 499.8824 | 1500.075 | 37.5341 | 73.2936 | -0.098136 | -0.16622 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.0092581 | 309.628 | 313.5959 | 240.012 | -1.3585 | 6.1274 | 83.6014 | 46.0734 | 38.4619 | 6.8258 | 0.18877 | 2.7506 | 4.0752 | 0.11912 | 16.7488 | 0.60466 | 45.2356 | 370.797 | 0.018287
107 | 12:31:28 | 4812.5 | 0 | 15.0495 | 0.20241 | 228.0979 | 9.2676 | 3.3772 | 36.4815 | 6 | 1.42 | 1 | 2.84 | 40.4462 | 36.4815 | 42.0352 | 400.1373 | 377.8708 | 26.8333 | 37.5392 | 25.9042 | 36.2395 | 499.8911 | 1500.0745 | 37.5621 | 73.2935 | -0.098136 | -0.16622 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0092676 | 309.6315 | 313.5962 | 240.0119 | -1.3638 | 6.1286 | 83.6174 | 46.0782 | 38.4638 | 6.8265 | 0.18894 | 2.7514 | 4.0751 | 0.11923 | 16.7181 | 0.60364 | 45.2431 | 370.717 | 0.018367
108 | 12:31:28 | 4812.5 | 0 | 15.0495 | 0.20241 | 228.0979 | 9.2676 | 3.3772 | 36.4815 | 6 | 1.42 | 1 | 2.84 | 40.4462 | 36.4815 | 42.0352 | 400.1373 | 377.8708 | 26.8333 | 37.5392 | 25.9042 | 36.2395 | 499.8911 | 1500.0745 | 37.5621 | 73.2935 | -0.098136 | -0.16622 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0092676 | 309.6315 | 313.5962 | 240.0119 | -1.3638 | 6.1286 | 83.6174 | 46.0782 | 38.4638 | 6.8265 | 0.18894 | 2.7514 | 4.0751 | 0.11923 | 16.7181 | 0.60364 | 45.2431 | 370.717 | 0.018367
109 | 12:31:29 | 4813 | 0 | 15.0391 | 0.20255 | 228.2729 | 9.276 | 3.3781 | 36.4868 | 6 | 1.42 | 1 | 2.84 | 40.4456 | 36.4868 | 42.0355 | 400.152 | 377.8934 | 26.8359 | 37.5516 | 25.9076 | 36.2527 | 499.8809 | 1500.011 | 37.6846 | 73.2936 | -0.098136 | -0.16622 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.009276 | 309.6368 | 313.5956 | 240.0018 | -1.3692 | 6.1304 | 83.6418 | 46.0902 | 38.4662 | 6.8273 | 0.18906 | 2.7523 | 4.075 | 0.11931 | 16.731 | 0.60407 | 45.2462 | 370.7445 | 0.018354
110 | 12:31:29 | 4813.5 | 0 | 15.0611 | 0.20268 | 228.1467 | 9.2848 | 3.3791 | 36.4926 | 6 | 1.42 | 1 | 2.84 | 40.4454 | 36.4926 | 42.0371 | 400.1636 | 377.8752 | 26.8387 | 37.5644 | 25.9105 | 36.2651 | 499.8873 | 1500.0093 | 37.6057 | 73.293 | -0.098136 | -0.16622 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0092848 | 309.6426 | 313.5954 | 240.0015 | -1.3746 | 6.1323 | 83.6689 | 46.1046 | 38.469 | 6.8283 | 0.18918 | 2.7532 | 4.0751 | 0.11938 | 16.7216 | 0.60376 | 45.2481 | 370.7158 | 0.018383
111 | 12:31:30 | 4814 | 0 | 15.0581 | 0.20317 | 228.4343 | 9.3026 | 3.3779 | 36.4938 | 6 | 1.42 | 1 | 2.84 | 40.4455 | 36.4938 | 42.0379 | 400.1459 | 377.8519 | 26.8402 | 37.5867 | 25.9115 | 36.2862 | 499.8607 | 1500.0737 | 37.6103 | 73.2926 | -0.098136 | -0.16622 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0093026 | 309.6438 | 313.5955 | 240.0118 | -1.3838 | 6.1327 | 83.6748 | 46.0881 | 38.4697 | 6.8286 | 0.18961 | 2.7548 | 4.0738 | 0.11965 | 16.7425 | 0.60456 | 45.2795 | 370.694 | 0.018393
112 | 12:31:30 | 4814.5 | 0 | 15.0724 | 0.20385 | 228.6972 | 9.3263 | 3.3759 | 36.4938 | 6 | 1.42 | 1 | 2.84 | 40.4457 | 36.4938 | 42.0387 | 400.1551 | 377.8341 | 26.8407 | 37.614 | 25.9118 | 36.3123 | 499.8752 | 1500.0234 | 37.5885 | 73.2926 | -0.098136 | -0.16622 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.0093263 | 309.6438 | 313.5957 | 240.0037 | -1.396 | 6.1328 | 83.6751 | 46.0611 | 38.4698 | 6.8286 | 0.1902 | 2.7568 | 4.0718 | 0.12003 | 16.7618 | 0.60528 | 45.3231 | 370.6695 | 0.01843
113 | 12:31:31 | 4815.5 | 0 | 15.0571 | 0.20519 | 229.5817 | 9.3716 | 3.3716 | 36.4923 | 6 | 1.42 | 1 | 2.84 | 40.4453 | 36.4923 | 42.0405 | 400.144 | 377.8217 | 26.8411 | 37.6658 | 25.9129 | 36.3633 | 499.8896 | 1499.9794 | 37.8028 | 73.2932 | -0.098136 | -0.16622 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0093716 | 309.6423 | 313.5953 | 239.9967 | -1.4192 | 6.1322 | 83.6673 | 46.0015 | 38.4688 | 6.8283 | 0.19136 | 2.7606 | 4.0676 | 0.12077 | 16.8268 | 0.60765 | 45.4116 | 370.6642 | 0.018447
114 | 12:31:31 | 4816 | 0 | 15.041 | 0.20593 | 230.127 | 9.398 | 3.3697 | 36.4935 | 6 | 1.42 | 1 | 2.84 | 40.4451 | 36.4935 | 42.0412 | 400.1346 | 377.8205 | 26.8424 | 37.6968 | 25.9144 | 36.3935 | 499.9124 | 1500.0278 | 37.8496 | 73.293 | -0.098136 | -0.16622 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.009398 | 309.6435 | 313.5951 | 240.0044 | -1.4329 | 6.1326 | 83.6729 | 45.9761 | 38.4693 | 6.8285 | 0.19201 | 2.7629 | 4.0656 | 0.12118 | 16.8667 | 0.60909 | 45.4576 | 370.6707 | 0.018446
115 | 12:31:32 | 4816.5 | 0 | 15.0255 | 0.20673 | 230.7027 | 9.4258 | 3.3674 | 36.4936 | 6 | 1.42 | 1 | 2.84 | 40.4451 | 36.4936 | 42.0407 | 400.1311 | 377.8225 | 26.8424 | 37.7288 | 25.9143 | 36.4243 | 499.9006 | 1500.0491 | 37.8653 | 73.293 | -0.098136 | -0.16622 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0094258 | 309.6436 | 313.5951 | 240.0078 | -1.4472 | 6.1327 | 83.6735 | 45.9447 | 38.4694 | 6.8285 | 0.1927 | 2.7653 | 4.0632 | 0.12163 | 16.9089 | 0.61061 | 45.5086 | 370.6801 | 0.018447
116 | 12:31:33 | 4817 | 0 | 15.0309 | 0.20775 | 231.2216 | 9.4583 | 3.3635 | 36.4896 | 6 | 1.42 | 1 | 2.84 | 40.4455 | 36.4896 | 42.0406 | 400.1312 | 377.8033 | 26.8416 | 37.7644 | 25.913 | 36.4578 | 499.9376 | 1500.0637 | 37.8499 | 73.2928 | -0.098136 | -0.16622 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0094583 | 309.6396 | 313.5955 | 240.0102 | -1.4632 | 6.1314 | 83.6557 | 45.8913 | 38.4676 | 6.8278 | 0.19359 | 2.7679 | 4.06 | 0.12219 | 16.9469 | 0.61202 | 45.5781 | 370.6584 | 0.018483
117 | 12:31:33 | 4817.5 | 0 | 15.0374 | 0.20882 | 231.7292 | 9.4914 | 3.3591 | 36.4847 | 6 | 1.42 | 1 | 2.84 | 40.4459 | 36.4847 | 42.0402 | 400.1062 | 377.7564 | 26.8405 | 37.8009 | 25.9116 | 36.4927 | 499.9468 | 1500.0603 | 37.8432 | 73.2935 | -0.098136 | -0.16622 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0094914 | 309.6347 | 313.5959 | 240.0096 | -1.4795 | 6.1297 | 83.6323 | 45.8315 | 38.4653 | 6.827 | 0.19452 | 2.7706 | 4.0564 | 0.12278 | 16.9842 | 0.61344 | 45.6526 | 370.6084 | 0.018523
118 | 12:31:34 | 4818 | 0 | 15.0543 | 0.20975 | 232.1019 | 9.5223 | 3.3561 | 36.4836 | 6 | 1.42 | 1 | 2.84 | 40.4461 | 36.4836 | 42.0404 | 400.1311 | 377.7478 | 26.8412 | 37.8365 | 25.9122 | 36.5269 | 499.9623 | 1499.9851 | 38.0105 | 73.294 | -0.098136 | -0.16622 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0095223 | 309.6336 | 313.5961 | 239.9976 | -1.4953 | 6.1293 | 83.6263 | 45.7899 | 38.4648 | 6.8268 | 0.19533 | 2.7732 | 4.0536 | 0.1233 | 17.0117 | 0.61444 | 45.7137 | 370.5917 | 0.01857
119 | 12:31:34 | 4819 | 0 | 15.0342 | 0.21148 | 233.1495 | 9.5851 | 3.3524 | 36.4882 | 6 | 1.42 | 1 | 2.84 | 40.4482 | 36.4882 | 42.0404 | 400.0935 | 377.7076 | 26.843 | 37.9093 | 25.9108 | 36.5928 | 499.9888 | 1499.9945 | 38.1166 | 73.2934 | -0.098136 | -0.16622 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83331 | 0.0095851 | 309.6382 | 313.5982 | 239.9991 | -1.5279 | 6.1309 | 83.6482 | 45.7388 | 38.4682 | 6.8281 | 0.19682 | 2.7785 | 4.0496 | 0.12425 | 17.0883 | 0.61728 | 45.8163 | 370.561 | 0.018588
120 | 12:31:35 | 4819.5 | 0 | 15.0045 | 0.21228 | 233.8005 | 9.6141 | 3.3506 | 36.4898 | 6 | 1.42 | 1 | 2.84 | 40.449 | 36.4898 | 42.0407 | 400.0639 | 377.7015 | 26.8418 | 37.9408 | 25.9086 | 36.6217 | 500.0116 | 1500.0629 | 38.1456 | 73.2934 | -0.098136 | -0.16622 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83335 | 0.0096141 | 309.6398 | 313.599 | 240.0101 | -1.5428 | 6.1314 | 83.6556 | 45.7148 | 38.4694 | 6.8285 | 0.19752 | 2.7808 | 4.0477 | 0.1247 | 17.136 | 0.61901 | 45.8627 | 370.5691 | 0.01857 | 15.0403 | 40.446 | 36.4882 | #DIV/0! | 4815.4 | 0 | 15.0403 | 0.20581 | 230.0451 | 9.39 | 3.3689 | 36.4882 | 6 | 1.42 | 1 | 2.84 | 40.446 | 36.4882 | 42.0385 | 400.1294 | 377.82 | 26.8393 | 37.6844 | 25.9101 | 36.3798 | 499.9146 | 1500.0376 | 37.7754 | 73.2932 | -0.098136 | -0.16622 | 0.75556 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.00939 | 309.6382 | 313.596 | 240.006 | -1.4278 | 6.1309 | 83.6486 | 45.9641 | 38.4671 | 6.8277 | 0.1919 | 2.762 | 4.0657 | 0.12112 | 16.8608 | 0.60888 | 45.4547 | 370.6706 | 0.018444