## stm-rvaoc4_
OPEN 6.2.4
Fri Jun 26 2015 12:10:30
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Tair | Tleaf | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "12:11:53 CO2 Mixer: CO2R -> 400 uml"
Remark= | "12:12:03 Coolers: Tblock -> 0.00 C"
Remark= | "12:12:11 Lamp: ParIn -> 1500 uml"
Remark= | "12:26:49 Coolers: Tblock -> 16.88 C"
Remark= | "12:29:25 Flow: Fixed -> 500 umol/s"
Remark= | "12:30:44 Flow: Fixed -> 500 umol/s"
1 | 12:31:19 | 1298 | 0 | 13.2666 | 0.13593 | 206.7994 | 3.7516 | 2.0666 | 23.2902 | 6 | 1.42 | 1 | 2.84 | 18.8832 | 23.2902 | 16.8282 | 400.5652 | 382.9164 | 6.5025 | 10.9564 | 21.7701 | 36.6816 | 499.8573 | 1500.8561 | 153.1801 | 73.2922 | 1.0345 | 0.3473 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0037516 | 296.4402 | 292.0332 | 240.137 | 0.31244 | 2.8696 | 39.1533 | 28.1969 | 21.0867 | 2.5093 | 0.12972 | 0.80302 | 1.7062 | 0.081609 | 15.1568 | 0.54006 | 29.5065 | 376.6101 | 0.010394
2 | 12:31:19 | 1298.5 | 0 | 13.2822 | 0.13595 | 206.6469 | 3.7531 | 2.067 | 23.293 | 6 | 1.42 | 1 | 2.84 | 18.8836 | 23.293 | 16.8288 | 400.5906 | 382.9224 | 6.5022 | 10.9577 | 21.7685 | 36.6852 | 499.8598 | 1500.5686 | 153.1894 | 73.2923 | 1.0345 | 0.3473 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0037531 | 296.443 | 292.0336 | 240.091 | 0.31082 | 2.8701 | 39.1598 | 28.2021 | 21.0883 | 2.5095 | 0.12974 | 0.80312 | 1.7064 | 0.081625 | 15.1456 | 0.53966 | 29.5057 | 376.6087 | 0.010406
3 | 12:31:20 | 1298.5 | 0 | 13.2822 | 0.13595 | 206.6469 | 3.7531 | 2.067 | 23.293 | 6 | 1.42 | 1 | 2.84 | 18.8836 | 23.293 | 16.8288 | 400.5906 | 382.9224 | 6.5022 | 10.9577 | 21.7685 | 36.6852 | 499.8598 | 1500.5686 | 153.1894 | 73.2923 | 1.0345 | 0.3473 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0037531 | 296.443 | 292.0336 | 240.091 | 0.31082 | 2.8701 | 39.1598 | 28.2021 | 21.0883 | 2.5095 | 0.12974 | 0.80312 | 1.7064 | 0.081625 | 15.1456 | 0.53966 | 29.5057 | 376.6087 | 0.010406
4 | 12:31:20 | 1299 | 0 | 13.2759 | 0.136 | 206.7717 | 3.7546 | 2.0672 | 23.2948 | 6 | 1.42 | 1 | 2.84 | 18.8831 | 23.2948 | 16.8281 | 400.5828 | 382.9203 | 6.5018 | 10.9595 | 21.7681 | 36.6925 | 499.8259 | 1500.2529 | 153.1946 | 73.2925 | 1.0345 | 0.3473 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0037546 | 296.4448 | 292.0331 | 240.0405 | 0.30909 | 2.8704 | 39.1641 | 28.2046 | 21.089 | 2.5096 | 0.12979 | 0.80325 | 1.7064 | 0.081652 | 15.1548 | 0.53999 | 29.5081 | 376.6096 | 0.010402
5 | 12:31:21 | 1299.5 | 0 | 13.2551 | 0.13602 | 207.0601 | 3.7551 | 2.0671 | 23.2947 | 6 | 1.42 | 1 | 2.84 | 18.8835 | 23.2947 | 16.8278 | 400.5723 | 382.9345 | 6.5017 | 10.96 | 21.7669 | 36.693 | 499.8266 | 1499.9797 | 153.2666 | 73.2922 | 1.0345 | 0.3473 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0037551 | 296.4447 | 292.0335 | 239.9968 | 0.30838 | 2.8704 | 39.1638 | 28.2038 | 21.0891 | 2.5096 | 0.12981 | 0.80328 | 1.7063 | 0.081665 | 15.1759 | 0.54072 | 29.5099 | 376.6337 | 0.010386
6 | 12:31:21 | 1300 | 0 | 13.2725 | 0.13609 | 206.9401 | 3.7558 | 2.0665 | 23.2912 | 6 | 1.42 | 1 | 2.84 | 18.8834 | 23.2912 | 16.828 | 400.5981 | 382.9391 | 6.5018 | 10.9608 | 21.7675 | 36.6961 | 499.8275 | 1499.6831 | 153.3124 | 73.2925 | 1.0345 | 0.3473 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0037558 | 296.4412 | 292.0334 | 239.9493 | 0.30793 | 2.8698 | 39.1555 | 28.1946 | 21.0873 | 2.5094 | 0.12987 | 0.80335 | 1.706 | 0.081706 | 15.1672 | 0.5404 | 29.5198 | 376.63 | 0.010403
7 | 12:31:22 | 1300.5 | 0 | 13.2745 | 0.13615 | 206.9756 | 3.7565 | 2.066 | 23.2891 | 6 | 1.42 | 1 | 2.84 | 18.8832 | 23.2891 | 16.8281 | 400.5913 | 382.9295 | 6.502 | 10.962 | 21.7685 | 36.7004 | 499.823 | 1499.4523 | 153.3473 | 73.2924 | 1.0345 | 0.3473 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0037565 | 296.4391 | 292.0332 | 239.9124 | 0.30736 | 2.8694 | 39.1507 | 28.1887 | 21.0862 | 2.5092 | 0.12992 | 0.80343 | 1.7058 | 0.08174 | 15.1697 | 0.54051 | 29.5276 | 376.6195 | 0.010407
8 | 12:31:22 | 1301 | 0 | 13.2884 | 0.1362 | 206.8509 | 3.7575 | 2.0659 | 23.2885 | 6 | 1.42 | 1 | 2.84 | 18.8828 | 23.2885 | 16.8283 | 400.5961 | 382.9172 | 6.5012 | 10.9624 | 21.7662 | 36.7025 | 499.8225 | 1499.4146 | 153.3521 | 73.2921 | 1.0345 | 0.3473 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0037575 | 296.4385 | 292.0328 | 239.9063 | 0.30677 | 2.8693 | 39.1495 | 28.1871 | 21.0857 | 2.5091 | 0.12997 | 0.80345 | 1.7056 | 0.081767 | 15.1605 | 0.5402 | 29.5305 | 376.6005 | 0.01042
9 | 12:31:23 | 1301.5 | 0 | 13.2803 | 0.13627 | 207.0533 | 3.7587 | 2.0656 | 23.2874 | 6 | 1.42 | 1 | 2.84 | 18.8828 | 23.2874 | 16.8284 | 400.6143 | 382.9444 | 6.5016 | 10.9642 | 21.7679 | 36.709 | 499.8235 | 1499.3872 | 153.3383 | 73.2925 | 1.0345 | 0.3473 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0037587 | 296.4374 | 292.0328 | 239.9019 | 0.30624 | 2.8692 | 39.1466 | 28.1824 | 21.0851 | 2.509 | 0.13003 | 0.8036 | 1.7054 | 0.081807 | 15.1755 | 0.54069 | 29.5388 | 376.6316 | 0.010416
10 | 12:31:23 | 1302 | 0 | 13.2811 | 0.13625 | 206.9997 | 3.7589 | 2.0659 | 23.2898 | 6 | 1.42 | 1 | 2.84 | 18.8825 | 23.2898 | 16.8283 | 400.5956 | 382.9249 | 6.5019 | 10.9646 | 21.7691 | 36.7108 | 499.826 | 1499.4191 | 153.2553 | 73.2925 | 1.0345 | 0.3473 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0037589 | 296.4398 | 292.0325 | 239.907 | 0.30589 | 2.8696 | 39.1521 | 28.1875 | 21.0861 | 2.5092 | 0.13001 | 0.80362 | 1.7056 | 0.081795 | 15.1715 | 0.54058 | 29.5353 | 376.6117 | 0.010415
11 | 12:31:24 | 1302.5 | 0 | 13.2698 | 0.13628 | 207.1719 | 3.7605 | 2.0663 | 23.2927 | 6 | 1.42 | 1 | 2.84 | 18.8822 | 23.2927 | 16.8278 | 400.587 | 382.9282 | 6.5013 | 10.9662 | 21.7675 | 36.7167 | 499.7991 | 1499.4641 | 153.2473 | 73.2923 | 1.0345 | 0.3473 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.833 | 0.0037605 | 296.4427 | 292.0322 | 239.9143 | 0.3047 | 2.8701 | 39.1591 | 28.193 | 21.0874 | 2.5094 | 0.13004 | 0.80374 | 1.7056 | 0.081814 | 15.1841 | 0.54102 | 29.5347 | 376.6204 | 0.010406
12 | 12:31:24 | 1303 | 0 | 13.2789 | 0.13632 | 207.1005 | 3.7618 | 2.0665 | 23.2944 | 6 | 1.42 | 1 | 2.84 | 18.8819 | 23.2944 | 16.828 | 400.5963 | 382.9267 | 6.5011 | 10.9674 | 21.7672 | 36.7214 | 499.8209 | 1499.4767 | 153.2381 | 73.2925 | 1.0345 | 0.3473 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83303 | 0.0037618 | 296.4444 | 292.0319 | 239.9163 | 0.30375 | 2.8704 | 39.1632 | 28.1958 | 21.0882 | 2.5095 | 0.13007 | 0.80383 | 1.7057 | 0.081835 | 15.1789 | 0.54084 | 29.5355 | 376.6146 | 0.010414
13 | 12:31:25 | 1303.5 | 0 | 13.3171 | 0.13636 | 206.6673 | 3.763 | 2.0666 | 23.2955 | 6 | 1.42 | 1 | 2.84 | 18.8813 | 23.2955 | 16.8286 | 400.6193 | 382.9031 | 6.5013 | 10.969 | 21.7687 | 36.7285 | 499.8131 | 1499.5228 | 153.0985 | 73.2923 | 1.0345 | 0.3473 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83302 | 0.003763 | 296.4455 | 292.0313 | 239.9236 | 0.30299 | 2.8705 | 39.1657 | 28.1967 | 21.0884 | 2.5095 | 0.13011 | 0.80395 | 1.7056 | 0.081858 | 15.1471 | 0.53974 | 29.5387 | 376.5728 | 0.010446
14 | 12:31:25 | 1304 | 0 | 13.3658 | 0.13631 | 206.0205 | 3.7632 | 2.0673 | 23.2998 | 6 | 1.42 | 1 | 2.84 | 18.8813 | 23.2998 | 16.8284 | 400.6708 | 382.8965 | 6.5014 | 10.9692 | 21.769 | 36.7289 | 499.8235 | 1499.5658 | 153.0826 | 73.2921 | 1.0345 | 0.3473 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0037632 | 296.4498 | 292.0313 | 239.9305 | 0.30242 | 2.8713 | 39.1762 | 28.207 | 21.0906 | 2.5099 | 0.13007 | 0.80396 | 1.7059 | 0.081831 | 15.0997 | 0.53806 | 29.5303 | 376.5431 | 0.010482
15 | 12:31:26 | 1304.5 | 0 | 13.3926 | 0.13634 | 205.765 | 3.7643 | 2.0675 | 23.3016 | 6 | 1.42 | 1 | 2.84 | 18.8812 | 23.3016 | 16.829 | 400.7381 | 382.9319 | 6.5018 | 10.9708 | 21.7706 | 36.7342 | 499.8515 | 1499.5494 | 153.0737 | 73.2918 | 1.0345 | 0.3473 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0037643 | 296.4516 | 292.0312 | 239.9279 | 0.30154 | 2.8716 | 39.1805 | 28.2097 | 21.0914 | 2.51 | 0.13009 | 0.80407 | 1.7059 | 0.081847 | 15.0809 | 0.53734 | 29.5317 | 376.5657 | 0.010503 | 13.2922 | 18.8826 | 23.2931 | #DIV/0! | 1301.0667 | 0 | 13.2922 | 0.13616 | 206.7646 | 3.7578 | 2.0666 | 23.2931 | 6 | 1.42 | 1 | 2.84 | 18.8826 | 23.2931 | 16.8283 | 400.6072 | 382.9238 | 6.5017 | 10.9632 | 21.7683 | 36.7057 | 499.8307 | 1499.8107 | 153.2244 | 73.2923 | 1.0345 | 0.3473 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.0037578 | 296.4431 | 292.0326 | 239.9697 | 0.30674 | 2.8701 | 39.16 | 28.1968 | 21.0878 | 2.5094 | 0.12993 | 0.80352 | 1.7059 | 0.081745 | 15.1543 | 0.53996 | 29.5239 | 376.6054 | 0.01042
Remark= | "12:31:34 Coolers: Tblock -> 22.00 C"
Remark= | "12:34:03 Flow: Fixed -> 500 umol/s"
16 | 12:35:06 | 1524.5 | 0 | 13.8886 | 0.1481 | 209.458 | 4.4471 | 2.2477 | 25.4706 | 6 | 1.42 | 1 | 2.84 | 23.1086 | 25.4706 | 22.1097 | 399.7306 | 381.0243 | 8.6841 | 13.948 | 22.4239 | 36.0164 | 499.8231 | 1500.3135 | 153.1517 | 73.2907 | 0.71595 | 0.31269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0044471 | 298.6206 | 296.2586 | 240.0502 | 0.20305 | 3.27 | 44.6167 | 30.6687 | 24.2896 | 3.0475 | 0.14076 | 1.0223 | 2.0252 | 0.088605 | 15.3513 | 0.54972 | 32.6979 | 374.4223 | 0.012129
17 | 12:35:06 | 1524.5 | 0 | 13.8886 | 0.1481 | 209.458 | 4.4471 | 2.2477 | 25.4706 | 6 | 1.42 | 1 | 2.84 | 23.1086 | 25.4706 | 22.1097 | 399.7306 | 381.0243 | 8.6841 | 13.948 | 22.4239 | 36.0164 | 499.8231 | 1500.3135 | 153.1517 | 73.2907 | 0.71595 | 0.31269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0044471 | 298.6206 | 296.2586 | 240.0502 | 0.20305 | 3.27 | 44.6167 | 30.6687 | 24.2896 | 3.0475 | 0.14076 | 1.0223 | 2.0252 | 0.088605 | 15.3513 | 0.54972 | 32.6979 | 374.4223 | 0.012129
18 | 12:35:07 | 1525 | 0 | 13.949 | 0.14809 | 208.7728 | 4.4475 | 2.248 | 25.4725 | 6 | 1.42 | 1 | 2.84 | 23.1094 | 25.4725 | 22.1094 | 399.7886 | 381.0106 | 8.6848 | 13.949 | 22.4249 | 36.0173 | 499.8449 | 1500.2616 | 153.209 | 73.2909 | 0.71595 | 0.31269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0044475 | 298.6225 | 296.2594 | 240.0419 | 0.20258 | 3.2704 | 44.6217 | 30.6727 | 24.291 | 3.0477 | 0.14075 | 1.0223 | 2.0254 | 0.088601 | 15.3012 | 0.54794 | 32.6963 | 374.3799 | 0.012182
19 | 12:35:07 | 1525.5 | 0 | 13.8889 | 0.1481 | 209.4735 | 4.4477 | 2.2481 | 25.4729 | 6 | 1.42 | 1 | 2.84 | 23.1116 | 25.4729 | 22.1094 | 399.7532 | 381.0472 | 8.6854 | 13.9497 | 22.4233 | 36.0144 | 499.8511 | 1500.2446 | 153.1906 | 73.2907 | 0.71595 | 0.31269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0044477 | 298.6229 | 296.2616 | 240.0391 | 0.20267 | 3.2704 | 44.6229 | 30.6732 | 24.2923 | 3.048 | 0.14076 | 1.0224 | 2.0256 | 0.088604 | 15.3525 | 0.54973 | 32.6971 | 374.4451 | 0.012128
20 | 12:35:08 | 1526 | 0 | 13.9262 | 0.14817 | 209.1233 | 4.4497 | 2.248 | 25.4735 | 6 | 1.42 | 1 | 2.84 | 23.1135 | 25.4735 | 22.1094 | 399.7885 | 381.0369 | 8.6849 | 13.9516 | 22.4194 | 36.0149 | 499.8533 | 1500.23 | 153.2095 | 73.2903 | 0.71595 | 0.31269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0044497 | 298.6235 | 296.2635 | 240.0368 | 0.20177 | 3.2705 | 44.6246 | 30.673 | 24.2935 | 3.0482 | 0.14082 | 1.0225 | 2.0257 | 0.088645 | 15.3267 | 0.54883 | 32.7016 | 374.417 | 0.012163
21 | 12:35:08 | 1526.5 | 0 | 13.9901 | 0.14824 | 208.4623 | 4.4509 | 2.2476 | 25.472 | 6 | 1.42 | 1 | 2.84 | 23.1139 | 25.472 | 22.1097 | 399.8329 | 381.004 | 8.6848 | 13.953 | 22.4188 | 36.0179 | 499.8479 | 1500.2772 | 153.2125 | 73.2906 | 0.71595 | 0.31269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0044509 | 298.622 | 296.2639 | 240.0444 | 0.20148 | 3.2703 | 44.6204 | 30.6673 | 24.2929 | 3.0481 | 0.14089 | 1.0226 | 2.0255 | 0.088686 | 15.2783 | 0.54714 | 32.7093 | 374.3538 | 0.012224
22 | 12:35:09 | 1527 | 0 | 13.9657 | 0.14827 | 208.7646 | 4.4511 | 2.2473 | 25.4705 | 6 | 1.42 | 1 | 2.84 | 23.1148 | 25.4705 | 22.1102 | 399.8077 | 381.0071 | 8.6848 | 13.9535 | 22.4174 | 36.017 | 499.8236 | 1500.2885 | 153.1237 | 73.2905 | 0.71595 | 0.31269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0044511 | 298.6205 | 296.2648 | 240.0461 | 0.20171 | 3.27 | 44.6167 | 30.6632 | 24.2927 | 3.048 | 0.14091 | 1.0227 | 2.0254 | 0.088702 | 15.3005 | 0.54793 | 32.7136 | 374.3685 | 0.012204
23 | 12:35:09 | 1527.5 | 0 | 13.8929 | 0.14832 | 209.6661 | 4.4517 | 2.2468 | 25.4681 | 6 | 1.42 | 1 | 2.84 | 23.1158 | 25.4681 | 22.1104 | 399.7669 | 381.0531 | 8.6842 | 13.9536 | 22.4144 | 36.0151 | 499.8204 | 1500.2968 | 153.1188 | 73.2907 | 0.71595 | 0.31269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83303 | 0.0044517 | 298.6181 | 296.2658 | 240.0475 | 0.20189 | 3.2695 | 44.6101 | 30.6566 | 24.292 | 3.0479 | 0.14096 | 1.0227 | 2.0252 | 0.088733 | 15.3666 | 0.55023 | 32.7197 | 374.4491 | 0.01214
24 | 12:35:10 | 1528 | 0 | 13.8922 | 0.14843 | 209.7793 | 4.4529 | 2.2459 | 25.4632 | 6 | 1.42 | 1 | 2.84 | 23.1167 | 25.4632 | 22.1099 | 399.7579 | 381.0443 | 8.6833 | 13.9542 | 22.4109 | 36.0145 | 499.818 | 1500.2861 | 153.1328 | 73.29 | 0.71595 | 0.31269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83303 | 0.0044529 | 298.6132 | 296.2667 | 240.0458 | 0.20202 | 3.2686 | 44.5976 | 30.6434 | 24.2899 | 3.0475 | 0.14106 | 1.0227 | 2.0248 | 0.088796 | 15.3747 | 0.55054 | 32.7325 | 374.4406 | 0.012144
25 | 12:35:11 | 1528.5 | 0 | 13.8428 | 0.1484 | 210.3283 | 4.4521 | 2.2459 | 25.4637 | 6 | 1.42 | 1 | 2.84 | 23.1172 | 25.4637 | 22.1108 | 399.7372 | 381.0832 | 8.6845 | 13.9544 | 22.4134 | 36.0142 | 499.8203 | 1500.3054 | 152.9475 | 73.2907 | 0.71595 | 0.31269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83303 | 0.0044521 | 298.6137 | 296.2672 | 240.0489 | 0.20247 | 3.2687 | 44.5985 | 30.6442 | 24.2905 | 3.0476 | 0.14103 | 1.0227 | 2.0249 | 0.088778 | 15.4151 | 0.55192 | 32.7316 | 374.503 | 0.012099
26 | 12:35:11 | 1529.5 | 0 | 13.8194 | 0.14824 | 210.4341 | 4.4494 | 2.2469 | 25.468 | 6 | 1.42 | 1 | 2.84 | 23.1188 | 25.468 | 22.1105 | 399.7261 | 381.0999 | 8.6854 | 13.9525 | 22.4136 | 36.0058 | 499.783 | 1500.2756 | 152.957 | 73.2906 | 0.71595 | 0.31269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83297 | 0.0044494 | 298.618 | 296.2688 | 240.0441 | 0.20347 | 3.2695 | 44.6099 | 30.6574 | 24.2934 | 3.0482 | 0.14088 | 1.0226 | 2.0256 | 0.088684 | 15.4228 | 0.55218 | 32.7157 | 374.5309 | 0.012071
27 | 12:35:12 | 1530 | 0 | 13.7983 | 0.14815 | 210.5887 | 4.4487 | 2.2477 | 25.4721 | 6 | 1.42 | 1 | 2.84 | 23.1188 | 25.4721 | 22.1104 | 399.7107 | 381.1096 | 8.6856 | 13.952 | 22.4142 | 36.0047 | 499.7688 | 1500.2938 | 152.9408 | 73.2908 | 0.71595 | 0.31269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83295 | 0.0044487 | 298.6221 | 296.2688 | 240.047 | 0.20332 | 3.2703 | 44.6206 | 30.6686 | 24.2954 | 3.0485 | 0.14081 | 1.0226 | 2.026 | 0.088637 | 15.4342 | 0.55257 | 32.7051 | 374.5505 | 0.012048
28 | 12:35:12 | 1530.5 | 0 | 13.8071 | 0.14812 | 210.4572 | 4.4494 | 2.2485 | 25.4767 | 6 | 1.42 | 1 | 2.84 | 23.12 | 25.4767 | 22.1104 | 399.7275 | 381.1145 | 8.6856 | 13.9531 | 22.4125 | 36.0047 | 499.743 | 1500.2335 | 153.0264 | 73.2902 | 0.71595 | 0.31269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83291 | 0.0044494 | 298.6267 | 296.27 | 240.0374 | 0.20236 | 3.2712 | 44.6332 | 30.6801 | 24.2983 | 3.0491 | 0.14078 | 1.0226 | 2.0264 | 0.088617 | 15.4244 | 0.55222 | 32.6976 | 374.5513 | 0.012053
29 | 12:35:13 | 1531 | 0 | 13.8068 | 0.14807 | 210.4292 | 4.4497 | 2.2494 | 25.4811 | 6 | 1.42 | 1 | 2.84 | 23.121 | 25.4811 | 22.1093 | 399.7516 | 381.1392 | 8.6857 | 13.9534 | 22.4112 | 36.0031 | 499.7554 | 1500.1837 | 153.1736 | 73.2897 | 0.71595 | 0.31269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83293 | 0.0044497 | 298.6311 | 296.271 | 240.0294 | 0.20165 | 3.272 | 44.6452 | 30.6917 | 24.301 | 3.0496 | 0.14073 | 1.0226 | 2.0269 | 0.088589 | 15.4223 | 0.55211 | 32.6885 | 374.5761 | 0.012049
30 | 12:35:13 | 1531.5 | 0 | 13.854 | 0.14806 | 209.8675 | 4.4508 | 2.2501 | 25.4854 | 6 | 1.42 | 1 | 2.84 | 23.1218 | 25.4854 | 22.1096 | 399.7819 | 381.1127 | 8.686 | 13.955 | 22.4107 | 36.0051 | 499.7607 | 1500.1746 | 153.2796 | 73.2894 | 0.71595 | 0.31269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83293 | 0.0044508 | 298.6354 | 296.2718 | 240.0279 | 0.20056 | 3.2729 | 44.6568 | 30.7018 | 24.3036 | 3.05 | 0.14072 | 1.0228 | 2.0273 | 0.088581 | 15.3811 | 0.55067 | 32.6832 | 374.5272 | 0.01209 | 13.8807 | 23.1154 | 25.4721 | #DIV/0! | 1527.7 | 0 | 13.8807 | 0.14819 | 209.6709 | 4.4497 | 2.2477 | 25.4721 | 6 | 1.42 | 1 | 2.84 | 23.1154 | 25.4721 | 22.1099 | 399.7595 | 381.0607 | 8.6849 | 13.9521 | 22.4168 | 36.0121 | 499.8091 | 1500.2652 | 153.1217 | 73.2904 | 0.71595 | 0.31269 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83302 | 0.0044497 | 298.6221 | 296.2654 | 240.0424 | 0.20227 | 3.2703 | 44.6208 | 30.6687 | 24.2937 | 3.0482 | 0.14084 | 1.0226 | 2.0257 | 0.088658 | 15.3669 | 0.55023 | 32.7058 | 374.4625 | 0.012124
Remark= | "12:35:19 Coolers: Tblock -> 27.00 C"
Remark= | "12:37:28 Flow: Fixed -> 500 umol/s"
Remark= | "12:39:29 Flow: Fixed -> 500 umol/s"
Remark= | "12:40:35 Flow: Fixed -> 500 umol/s"
31 | 12:41:25 | 1904.5 | 0 | 12.9324 | 0.12983 | 199.0768 | 4.6821 | 2.6649 | 28.7468 | 6 | 1.42 | 1 | 2.84 | 27.4473 | 28.7468 | 26.9849 | 399.7865 | 382.1167 | 12.1932 | 17.7134 | 24.3233 | 35.3352 | 499.8885 | 1499.0328 | 153.8133 | 73.2952 | 1.0652 | 0.29649 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0046821 | 301.8968 | 300.5973 | 239.8452 | 0.2128 | 3.9632 | 54.072 | 36.3585 | 28.097 | 3.8164 | 0.12415 | 1.2983 | 2.518 | 0.078087 | 14.5914 | 0.52098 | 33.3047 | 375.9692 | 0.011456
32 | 12:41:25 | 1904.5 | 0 | 12.9324 | 0.12983 | 199.0768 | 4.6821 | 2.6649 | 28.7468 | 6 | 1.42 | 1 | 2.84 | 27.4473 | 28.7468 | 26.9849 | 399.7865 | 382.1167 | 12.1932 | 17.7134 | 24.3233 | 35.3352 | 499.8885 | 1499.0328 | 153.8133 | 73.2952 | 1.0652 | 0.29649 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0046821 | 301.8968 | 300.5973 | 239.8452 | 0.2128 | 3.9632 | 54.072 | 36.3585 | 28.097 | 3.8164 | 0.12415 | 1.2983 | 2.518 | 0.078087 | 14.5914 | 0.52098 | 33.3047 | 375.9692 | 0.011456
33 | 12:41:26 | 1905 | 0 | 12.9409 | 0.12982 | 198.952 | 4.6816 | 2.6648 | 28.7464 | 6 | 1.42 | 1 | 2.84 | 27.448 | 28.7464 | 26.9849 | 399.7901 | 382.1091 | 12.1937 | 17.7138 | 24.3232 | 35.3342 | 499.8524 | 1499.0842 | 153.8047 | 73.2945 | 1.0652 | 0.29649 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0046816 | 301.8964 | 300.598 | 239.8535 | 0.21329 | 3.9631 | 54.0713 | 36.3575 | 28.0972 | 3.8164 | 0.12414 | 1.2983 | 2.5181 | 0.078081 | 14.5821 | 0.52067 | 33.3055 | 375.9576 | 0.011464
34 | 12:41:26 | 1905.5 | 0 | 12.963 | 0.12988 | 198.7627 | 4.6826 | 2.6642 | 28.7445 | 6 | 1.42 | 1 | 2.84 | 27.4487 | 28.7445 | 26.9848 | 399.8293 | 382.1215 | 12.1946 | 17.7157 | 24.3236 | 35.3363 | 499.8613 | 1499.0776 | 153.7528 | 73.2943 | 1.0652 | 0.29649 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0046826 | 301.8945 | 300.5987 | 239.8524 | 0.21314 | 3.9627 | 54.0655 | 36.3497 | 28.0966 | 3.8163 | 0.1242 | 1.2985 | 2.5178 | 0.078115 | 14.5682 | 0.52016 | 33.314 | 375.9595 | 0.011487
35 | 12:41:27 | 1906 | 0 | 12.9637 | 0.12987 | 198.7684 | 4.6824 | 2.6643 | 28.7447 | 6 | 1.42 | 1 | 2.84 | 27.4494 | 28.7447 | 26.9851 | 399.8571 | 382.1481 | 12.1945 | 17.7155 | 24.3226 | 35.3346 | 499.8521 | 1499.0291 | 153.8662 | 73.2945 | 1.0652 | 0.29649 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0046824 | 301.8947 | 300.5994 | 239.8446 | 0.21322 | 3.9627 | 54.0659 | 36.3505 | 28.097 | 3.8164 | 0.12419 | 1.2984 | 2.5179 | 0.07811 | 14.5686 | 0.52013 | 33.313 | 375.9858 | 0.011486
36 | 12:41:27 | 1906.5 | 0 | 12.9641 | 0.12988 | 198.7736 | 4.6828 | 2.6643 | 28.7451 | 6 | 1.42 | 1 | 2.84 | 27.4499 | 28.7451 | 26.9847 | 399.8553 | 382.1446 | 12.1947 | 17.7166 | 24.3225 | 35.3358 | 499.8184 | 1499.0742 | 153.8819 | 73.2947 | 1.0652 | 0.29649 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83303 | 0.0046828 | 301.8951 | 300.5999 | 239.8519 | 0.21312 | 3.9628 | 54.067 | 36.3504 | 28.0975 | 3.8165 | 0.1242 | 1.2985 | 2.5179 | 0.078116 | 14.569 | 0.52015 | 33.3146 | 375.9821 | 0.011487
37 | 12:41:28 | 1907 | 0 | 12.9518 | 0.12982 | 198.867 | 4.6805 | 2.6642 | 28.7437 | 6 | 1.42 | 1 | 2.84 | 27.4505 | 28.7437 | 26.9841 | 399.852 | 382.1562 | 12.1948 | 17.7142 | 24.3217 | 35.3297 | 499.7974 | 1499.085 | 153.8118 | 73.2945 | 1.0652 | 0.29649 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.833 | 0.0046805 | 301.8937 | 300.6005 | 239.8536 | 0.2146 | 3.9625 | 54.0628 | 36.3487 | 28.0971 | 3.8164 | 0.12415 | 1.2984 | 2.518 | 0.078082 | 14.5759 | 0.52038 | 33.3116 | 375.9995 | 0.011475
38 | 12:41:28 | 1907.5 | 0 | 12.9504 | 0.1299 | 198.9619 | 4.6813 | 2.6631 | 28.7394 | 6 | 1.42 | 1 | 2.84 | 27.4506 | 28.7394 | 26.9836 | 399.8322 | 382.1375 | 12.1942 | 17.7146 | 24.3201 | 35.33 | 499.787 | 1499.1016 | 153.8147 | 73.2939 | 1.0652 | 0.29649 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83298 | 0.0046813 | 301.8894 | 300.6006 | 239.8562 | 0.21485 | 3.9615 | 54.0497 | 36.3352 | 28.095 | 3.8159 | 0.12421 | 1.2984 | 2.5175 | 0.078125 | 14.5827 | 0.52066 | 33.3223 | 375.9815 | 0.011478
39 | 12:41:29 | 1908 | 0 | 12.922 | 0.12995 | 199.3821 | 4.6821 | 2.6625 | 28.7369 | 6 | 1.42 | 1 | 2.84 | 27.4508 | 28.7369 | 26.9833 | 399.7955 | 382.1346 | 12.194 | 17.7153 | 24.3195 | 35.3311 | 499.787 | 1499.0957 | 153.7317 | 73.2941 | 1.0652 | 0.29649 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83298 | 0.0046821 | 301.8869 | 300.6008 | 239.8553 | 0.21483 | 3.9609 | 54.0418 | 36.3264 | 28.0938 | 3.8157 | 0.12426 | 1.2984 | 2.5172 | 0.078157 | 14.6135 | 0.52176 | 33.33 | 375.9921 | 0.011455
40 | 12:41:29 | 1908.5 | 0 | 12.9303 | 0.12996 | 199.2819 | 4.682 | 2.6623 | 28.736 | 6 | 1.42 | 1 | 2.84 | 27.4512 | 28.736 | 26.9838 | 399.7932 | 382.1221 | 12.1945 | 17.7158 | 24.32 | 35.3314 | 499.7793 | 1499.089 | 153.7288 | 73.2944 | 1.0652 | 0.29649 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83297 | 0.004682 | 301.886 | 300.6012 | 239.8542 | 0.21501 | 3.9608 | 54.0389 | 36.3231 | 28.0936 | 3.8156 | 0.12427 | 1.2985 | 2.5171 | 0.078163 | 14.6063 | 0.52151 | 33.3329 | 375.9757 | 0.011464
41 | 12:41:30 | 1909 | 0 | 12.9011 | 0.12998 | 199.6798 | 4.6828 | 2.6623 | 28.7363 | 6 | 1.42 | 1 | 2.84 | 27.4511 | 28.7363 | 26.9834 | 399.7702 | 382.1339 | 12.1936 | 17.7158 | 24.3186 | 35.3319 | 499.7848 | 1499.0414 | 153.7655 | 73.2949 | 1.0652 | 0.29649 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83297 | 0.0046828 | 301.8863 | 300.6011 | 239.8466 | 0.21445 | 3.9608 | 54.0394 | 36.3237 | 28.0937 | 3.8156 | 0.12429 | 1.2985 | 2.5171 | 0.078175 | 14.6355 | 0.52254 | 33.333 | 376.0013 | 0.011437
42 | 12:41:30 | 1909.5 | 0 | 12.8926 | 0.12994 | 199.7164 | 4.682 | 2.6628 | 28.7381 | 6 | 1.42 | 1 | 2.84 | 27.4509 | 28.7381 | 26.9838 | 399.7483 | 382.1228 | 12.1932 | 17.7144 | 24.3181 | 35.3297 | 499.7891 | 1499.0116 | 153.7522 | 73.2953 | 1.0652 | 0.29649 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83298 | 0.004682 | 301.8881 | 300.6009 | 239.8419 | 0.21453 | 3.9612 | 54.0446 | 36.3301 | 28.0945 | 3.8158 | 0.12425 | 1.2984 | 2.5174 | 0.078148 | 14.6383 | 0.52265 | 33.3262 | 375.9943 | 0.011427
43 | 12:41:31 | 1910 | 0 | 12.925 | 0.1299 | 199.2374 | 4.6809 | 2.6629 | 28.738 | 6 | 1.42 | 1 | 2.84 | 27.451 | 28.738 | 26.9835 | 399.7488 | 382.0862 | 12.194 | 17.7136 | 24.3196 | 35.3278 | 499.8158 | 1499.0774 | 153.7324 | 73.2951 | 1.0652 | 0.29649 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83303 | 0.0046809 | 301.888 | 300.601 | 239.8524 | 0.21526 | 3.9612 | 54.0445 | 36.3309 | 28.0945 | 3.8158 | 0.12422 | 1.2983 | 2.5175 | 0.078128 | 14.6031 | 0.52145 | 33.3241 | 375.9422 | 0.011457
44 | 12:41:31 | 1910.5 | 0 | 12.9023 | 0.12993 | 199.587 | 4.6818 | 2.6629 | 28.7378 | 6 | 1.42 | 1 | 2.84 | 27.4512 | 28.7378 | 26.9833 | 399.7578 | 382.1232 | 12.1931 | 17.7133 | 24.3176 | 35.327 | 499.8599 | 1499.0011 | 153.7051 | 73.2951 | 1.0652 | 0.29649 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0046818 | 301.8878 | 300.6012 | 239.8402 | 0.21468 | 3.9612 | 54.0439 | 36.3306 | 28.0945 | 3.8158 | 0.12424 | 1.2983 | 2.5175 | 0.078144 | 14.6288 | 0.52231 | 33.3245 | 375.9901 | 0.011436
45 | 12:41:32 | 1911 | 0 | 12.9108 | 0.12997 | 199.5242 | 4.6834 | 2.6629 | 28.7382 | 6 | 1.42 | 1 | 2.84 | 27.4517 | 28.7382 | 26.9834 | 399.755 | 382.1108 | 12.1928 | 17.7145 | 24.3162 | 35.3282 | 499.8936 | 1498.9896 | 153.8119 | 73.2952 | 1.0652 | 0.29649 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0046834 | 301.8882 | 300.6017 | 239.8383 | 0.21386 | 3.9613 | 54.0451 | 36.3306 | 28.095 | 3.8159 | 0.12429 | 1.2984 | 2.5175 | 0.07817 | 14.6242 | 0.52216 | 33.3269 | 375.9736 | 0.011444 | 12.9322 | 27.45 | 28.7412 | #DIV/0! | 1907.5333 | 0 | 12.9322 | 0.1299 | 199.1766 | 4.682 | 2.6636 | 28.7412 | 6 | 1.42 | 1 | 2.84 | 27.45 | 28.7412 | 26.9841 | 399.7972 | 382.1256 | 12.1939 | 17.7147 | 24.3207 | 35.3319 | 499.8303 | 1499.0549 | 153.7858 | 73.2947 | 1.0652 | 0.29649 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83305 | 0.004682 | 301.8912 | 300.6 | 239.8488 | 0.21403 | 3.9619 | 54.055 | 36.3403 | 28.0956 | 3.816 | 0.12422 | 1.2984 | 2.5176 | 0.078126 | 14.5986 | 0.52123 | 33.3192 | 375.9782 | 0.011461
Remark= | "12:41:40 Coolers: Tblock -> 32.00 C"
Remark= | "12:43:56 Flow: Fixed -> 500 umol/s"
46 | 12:44:42 | 2101.5 | 0 | 12.7276 | 0.12629 | 197.2294 | 4.7865 | 2.7792 | 30.8675 | 6 | 1.42 | 1 | 2.84 | 31.5451 | 30.8675 | 32.0683 | 400.3473 | 382.8718 | 17.5584 | 23.1701 | 27.6555 | 36.4943 | 499.9079 | 1500.2091 | 154.0133 | 73.2953 | 0.91404 | 0.23984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0047865 | 304.0175 | 304.6951 | 240.0335 | 0.43692 | 4.4774 | 61.0874 | 37.9173 | 31.2063 | 4.5647 | 0.12092 | 1.6983 | 2.8665 | 0.076038 | 14.456 | 0.51513 | 37.9584 | 376.8217 | 0.012821
47 | 12:44:43 | 2101.5 | 0 | 12.7276 | 0.12629 | 197.2294 | 4.7865 | 2.7792 | 30.8675 | 6 | 1.42 | 1 | 2.84 | 31.5451 | 30.8675 | 32.0683 | 400.3473 | 382.8718 | 17.5584 | 23.1701 | 27.6555 | 36.4943 | 499.9079 | 1500.2091 | 154.0133 | 73.2953 | 0.91404 | 0.23984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0047865 | 304.0175 | 304.6951 | 240.0335 | 0.43692 | 4.4774 | 61.0874 | 37.9173 | 31.2063 | 4.5647 | 0.12092 | 1.6983 | 2.8665 | 0.076038 | 14.456 | 0.51513 | 37.9584 | 376.8217 | 0.012821
48 | 12:44:43 | 2102 | 0 | 12.7198 | 0.12631 | 197.3466 | 4.7881 | 2.7797 | 30.8701 | 6 | 1.42 | 1 | 2.84 | 31.5471 | 30.8701 | 32.069 | 400.3363 | 382.8694 | 17.5584 | 23.172 | 27.6523 | 36.4931 | 499.9071 | 1500.2314 | 154.0189 | 73.2952 | 0.91404 | 0.23984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0047881 | 304.0201 | 304.6971 | 240.037 | 0.43605 | 4.4781 | 61.0964 | 37.9244 | 31.2086 | 4.5653 | 0.12093 | 1.6984 | 2.8669 | 0.076049 | 14.4646 | 0.51544 | 37.956 | 376.823 | 0.012812
49 | 12:44:44 | 2102.5 | 0 | 12.7111 | 0.12633 | 197.4559 | 4.7889 | 2.7798 | 30.8711 | 6 | 1.42 | 1 | 2.84 | 31.5482 | 30.8711 | 32.0687 | 400.3056 | 382.8484 | 17.5593 | 23.174 | 27.6517 | 36.4936 | 499.8936 | 1500.2506 | 153.951 | 73.2947 | 0.91404 | 0.23984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0047889 | 304.0211 | 304.6982 | 240.0401 | 0.43569 | 4.4783 | 61.1002 | 37.9262 | 31.2096 | 4.5656 | 0.12095 | 1.6985 | 2.8671 | 0.076058 | 14.4725 | 0.51575 | 37.957 | 376.8062 | 0.012804
50 | 12:44:44 | 2103 | 0 | 12.6654 | 0.12636 | 198.0838 | 4.7903 | 2.7798 | 30.8718 | 6 | 1.42 | 1 | 2.84 | 31.5496 | 30.8718 | 32.0691 | 400.2542 | 382.8502 | 17.559 | 23.1756 | 27.6492 | 36.4933 | 499.8633 | 1500.2714 | 153.9443 | 73.2949 | 0.91404 | 0.23984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0047903 | 304.0218 | 304.6996 | 240.0434 | 0.43514 | 4.4785 | 61.1024 | 37.9267 | 31.2107 | 4.5659 | 0.12098 | 1.6987 | 2.8672 | 0.076079 | 14.5185 | 0.51739 | 37.959 | 376.8297 | 0.012758
51 | 12:44:45 | 2103.5 | 0 | 12.6486 | 0.12638 | 198.3252 | 4.7916 | 2.7802 | 30.8736 | 6 | 1.42 | 1 | 2.84 | 31.5507 | 30.8736 | 32.0694 | 400.2404 | 382.856 | 17.5591 | 23.1773 | 27.6478 | 36.4938 | 499.866 | 1500.3546 | 153.9986 | 73.2952 | 0.91404 | 0.23984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0047916 | 304.0236 | 304.7007 | 240.0567 | 0.43451 | 4.479 | 61.1084 | 37.9312 | 31.2121 | 4.5662 | 0.121 | 1.6988 | 2.8674 | 0.07609 | 14.5363 | 0.51802 | 37.9581 | 376.8434 | 0.012741
52 | 12:44:45 | 2104 | 0 | 12.5908 | 0.12641 | 199.1007 | 4.7922 | 2.78 | 30.8733 | 6 | 1.42 | 1 | 2.84 | 31.5507 | 30.8733 | 32.0691 | 400.1775 | 382.8614 | 17.5595 | 23.1786 | 27.6483 | 36.4959 | 499.8416 | 1500.2732 | 154.0637 | 73.2953 | 0.91404 | 0.23984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0047922 | 304.0233 | 304.7007 | 240.0437 | 0.43408 | 4.4789 | 61.1073 | 37.9287 | 31.212 | 4.5662 | 0.12102 | 1.6989 | 2.8673 | 0.076106 | 14.5932 | 0.52003 | 37.9615 | 376.8763 | 0.012682
53 | 12:44:46 | 2104.5 | 0 | 12.5837 | 0.12639 | 199.1567 | 4.792 | 2.7802 | 30.8745 | 6 | 1.42 | 1 | 2.84 | 31.5515 | 30.8745 | 32.0693 | 400.1584 | 382.8507 | 17.5606 | 23.1796 | 27.6489 | 36.4958 | 499.8347 | 1500.2692 | 154.0527 | 73.2954 | 0.91404 | 0.23984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.004792 | 304.0245 | 304.7015 | 240.0431 | 0.43412 | 4.4792 | 61.1116 | 37.9321 | 31.213 | 4.5665 | 0.12101 | 1.699 | 2.8675 | 0.076095 | 14.5973 | 0.52019 | 37.9598 | 376.869 | 0.012675
54 | 12:44:46 | 2105 | 0 | 12.5579 | 0.12642 | 199.5369 | 4.7933 | 2.7804 | 30.8755 | 6 | 1.42 | 1 | 2.84 | 31.5525 | 30.8755 | 32.0688 | 400.1461 | 382.868 | 17.5603 | 23.181 | 27.647 | 36.4962 | 499.817 | 1500.2439 | 154.1126 | 73.2956 | 0.91404 | 0.23984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83303 | 0.0047933 | 304.0255 | 304.7025 | 240.039 | 0.43338 | 4.4795 | 61.115 | 37.9339 | 31.214 | 4.5667 | 0.12103 | 1.6991 | 2.8677 | 0.076112 | 14.6252 | 0.52116 | 37.9606 | 376.8985 | 0.012648
55 | 12:44:47 | 2105.5 | 0 | 12.587 | 0.12643 | 199.1653 | 4.7945 | 2.7809 | 30.8779 | 6 | 1.42 | 1 | 2.84 | 31.5533 | 30.8779 | 32.0688 | 400.1746 | 382.8604 | 17.5601 | 23.1824 | 27.6453 | 36.4966 | 499.7968 | 1500.2328 | 154.1242 | 73.2951 | 0.91404 | 0.23984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83299 | 0.0047945 | 304.0279 | 304.7033 | 240.0372 | 0.43251 | 4.4801 | 61.1235 | 37.9411 | 31.2156 | 4.5671 | 0.12104 | 1.6992 | 2.868 | 0.076117 | 14.5978 | 0.5202 | 37.9575 | 376.8771 | 0.012677
56 | 12:44:48 | 2106 | 0 | 12.6141 | 0.1264 | 198.7876 | 4.7949 | 2.7818 | 30.8814 | 6 | 1.42 | 1 | 2.84 | 31.5548 | 30.8814 | 32.0693 | 400.219 | 382.8726 | 17.5604 | 23.1829 | 27.6432 | 36.4942 | 499.8156 | 1500.2131 | 154.0818 | 73.295 | 0.91404 | 0.23984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83303 | 0.0047949 | 304.0314 | 304.7048 | 240.0341 | 0.43199 | 4.4809 | 61.1358 | 37.9528 | 31.2181 | 4.5678 | 0.12101 | 1.6992 | 2.8686 | 0.076099 | 14.5701 | 0.5192 | 37.9496 | 376.8765 | 0.012702
57 | 12:44:48 | 2106.5 | 0 | 12.6079 | 0.12636 | 198.8353 | 4.795 | 2.7826 | 30.8846 | 6 | 1.42 | 1 | 2.84 | 31.5561 | 30.8846 | 32.0692 | 400.2338 | 382.894 | 17.5593 | 23.1823 | 27.6398 | 36.4907 | 499.7943 | 1500.2052 | 154.0957 | 73.2956 | 0.91404 | 0.23984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83299 | 0.004795 | 304.0346 | 304.7061 | 240.0328 | 0.43165 | 4.4818 | 61.1465 | 37.9642 | 31.2203 | 4.5684 | 0.12098 | 1.6992 | 2.8692 | 0.076077 | 14.5738 | 0.5193 | 37.9408 | 376.9008 | 0.012692
58 | 12:44:49 | 2107 | 0 | 12.6252 | 0.12634 | 198.5884 | 4.796 | 2.7836 | 30.8884 | 6 | 1.42 | 1 | 2.84 | 31.5569 | 30.8884 | 32.0685 | 400.2609 | 382.9001 | 17.5584 | 23.1823 | 27.6369 | 36.489 | 499.8014 | 1500.2273 | 153.9881 | 73.2953 | 0.91404 | 0.23984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.833 | 0.004796 | 304.0384 | 304.7069 | 240.0364 | 0.43077 | 4.4827 | 61.16 | 37.9777 | 31.2226 | 4.569 | 0.12096 | 1.6992 | 2.8698 | 0.076064 | 14.5556 | 0.51864 | 37.9316 | 376.8987 | 0.012706
59 | 12:44:49 | 2107.5 | 0 | 12.6468 | 0.12628 | 198.2334 | 4.7958 | 2.7846 | 30.8925 | 6 | 1.42 | 1 | 2.84 | 31.558 | 30.8925 | 32.0685 | 400.2803 | 382.8946 | 17.5588 | 23.1823 | 27.6359 | 36.4868 | 499.8267 | 1500.2427 | 153.9549 | 73.2955 | 0.91404 | 0.23984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0047958 | 304.0425 | 304.708 | 240.0388 | 0.43044 | 4.4838 | 61.1744 | 37.992 | 31.2253 | 4.5696 | 0.12091 | 1.6992 | 2.8705 | 0.076033 | 14.5296 | 0.51772 | 37.9211 | 376.8829 | 0.012725
60 | 12:44:50 | 2108 | 0 | 12.6901 | 0.12621 | 197.5704 | 4.7956 | 2.786 | 30.8977 | 6 | 1.42 | 1 | 2.84 | 31.56 | 30.8977 | 32.0691 | 400.3203 | 382.8843 | 17.5585 | 23.1812 | 27.6321 | 36.4808 | 499.8701 | 1500.2943 | 153.9033 | 73.2953 | 0.91404 | 0.23984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0047956 | 304.0477 | 304.71 | 240.0471 | 0.43021 | 4.4851 | 61.1925 | 38.0113 | 31.2288 | 4.5706 | 0.12084 | 1.6991 | 2.8715 | 0.07599 | 14.481 | 0.51601 | 37.9059 | 376.852 | 0.012764 | 12.6469 | 31.552 | 30.8778 | #DIV/0! | 2104.5333 | 0 | 12.6469 | 0.12635 | 198.3097 | 4.7921 | 2.7812 | 30.8778 | 6 | 1.42 | 1 | 2.84 | 31.552 | 30.8778 | 32.0689 | 400.2534 | 382.8702 | 17.5592 | 23.1781 | 27.646 | 36.4926 | 499.8496 | 1500.2485 | 154.0211 | 73.2953 | 0.91404 | 0.23984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0047921 | 304.0278 | 304.702 | 240.0398 | 0.43363 | 4.48 | 61.1232 | 37.9451 | 31.2149 | 4.567 | 0.12097 | 1.6988 | 2.8681 | 0.07607 | 14.5352 | 0.51796 | 37.949 | 376.8585 | 0.012735
Remark= | "12:44:55 Coolers: Tblock -> 37.00 C"
Remark= | "12:48:22 Flow: Fixed -> 500 umol/s"
61 | 12:49:17 | 2376 | 0 | 11.5392 | 0.1153 | 196.8889 | 5.0991 | 3.2037 | 33.7823 | 6 | 1.42 | 1 | 2.84 | 35.8488 | 33.7823 | 36.9512 | 400.0353 | 383.8368 | 22.3611 | 28.3078 | 27.6877 | 35.0509 | 499.9136 | 1499.0411 | 154.2886 | 73.2937 | 1.256 | 0.17769 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0050991 | 306.9323 | 308.9988 | 239.8466 | 0.47968 | 5.2785 | 72.0179 | 43.71 | 34.8155 | 5.5909 | 0.11081 | 2.0748 | 3.5161 | 0.069644 | 14.4307 | 0.51295 | 38.5944 | 378.3516 | 0.011771
62 | 12:49:17 | 2376 | 0 | 11.5392 | 0.1153 | 196.8889 | 5.0991 | 3.2037 | 33.7823 | 6 | 1.42 | 1 | 2.84 | 35.8488 | 33.7823 | 36.9512 | 400.0353 | 383.8368 | 22.3611 | 28.3078 | 27.6877 | 35.0509 | 499.9136 | 1499.0411 | 154.2886 | 73.2937 | 1.256 | 0.17769 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0050991 | 306.9323 | 308.9988 | 239.8466 | 0.47968 | 5.2785 | 72.0179 | 43.71 | 34.8155 | 5.5909 | 0.11081 | 2.0748 | 3.5161 | 0.069644 | 14.4307 | 0.51295 | 38.5944 | 378.3516 | 0.011771
63 | 12:49:18 | 2376.5 | 0 | 11.538 | 0.11529 | 196.8964 | 5.1002 | 3.2047 | 33.7863 | 6 | 1.42 | 1 | 2.84 | 35.8501 | 33.7863 | 36.9521 | 400.0537 | 383.856 | 22.3614 | 28.3093 | 27.686 | 35.0503 | 499.9161 | 1499.0355 | 154.2945 | 73.2938 | 1.256 | 0.17769 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0051002 | 306.9363 | 309.0001 | 239.8457 | 0.47871 | 5.2796 | 72.0338 | 43.7245 | 34.8182 | 5.5918 | 0.11079 | 2.0749 | 3.5168 | 0.069635 | 14.4313 | 0.51294 | 38.5869 | 378.3714 | 0.011767
64 | 12:49:18 | 2377 | 0 | 11.4925 | 0.11527 | 197.542 | 5.0997 | 3.205 | 33.787 | 6 | 1.42 | 1 | 2.84 | 35.8508 | 33.787 | 36.952 | 400.0449 | 383.901 | 22.3615 | 28.3092 | 27.6853 | 35.0491 | 499.8898 | 1499.0022 | 154.2693 | 73.2944 | 1.256 | 0.17769 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0050997 | 306.937 | 309.0008 | 239.8403 | 0.47886 | 5.2799 | 72.0365 | 43.7273 | 34.8189 | 5.592 | 0.11077 | 2.0749 | 3.5171 | 0.069624 | 14.4787 | 0.51456 | 38.5847 | 378.438 | 0.011718
65 | 12:49:19 | 2377.5 | 0 | 11.4842 | 0.11525 | 197.6468 | 5.0989 | 3.205 | 33.7872 | 6 | 1.42 | 1 | 2.84 | 35.8516 | 33.7872 | 36.9523 | 400.0536 | 383.9193 | 22.3627 | 28.3096 | 27.6857 | 35.0482 | 499.8713 | 1499.0096 | 154.3084 | 73.2947 | 1.256 | 0.17769 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0050989 | 306.9372 | 309.0016 | 239.8415 | 0.47942 | 5.2799 | 72.037 | 43.7274 | 34.8194 | 5.5921 | 0.11076 | 2.0749 | 3.5172 | 0.069612 | 14.4865 | 0.51481 | 38.5846 | 378.4603 | 0.011708
66 | 12:49:19 | 2378 | 0 | 11.4754 | 0.11524 | 197.7665 | 5.0989 | 3.2052 | 33.788 | 6 | 1.42 | 1 | 2.84 | 35.8534 | 33.788 | 36.9525 | 400.0532 | 383.9288 | 22.3622 | 28.3095 | 27.6823 | 35.0444 | 499.8495 | 1499.028 | 154.2686 | 73.2946 | 1.256 | 0.17769 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0050989 | 306.938 | 309.0034 | 239.8445 | 0.4796 | 5.2801 | 72.04 | 43.7305 | 34.8207 | 5.5925 | 0.11075 | 2.0749 | 3.5176 | 0.069608 | 14.4952 | 0.51511 | 38.5825 | 378.474 | 0.011698
67 | 12:49:20 | 2378.5 | 0 | 11.458 | 0.11522 | 197.9806 | 5.0978 | 3.2052 | 33.7879 | 6 | 1.42 | 1 | 2.84 | 35.8537 | 33.7879 | 36.9517 | 400.0366 | 383.9331 | 22.3638 | 28.31 | 27.6839 | 35.0446 | 499.8374 | 1499.0347 | 154.1548 | 73.2945 | 1.256 | 0.17769 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0050978 | 306.9379 | 309.0037 | 239.8455 | 0.4802 | 5.2801 | 72.0399 | 43.7299 | 34.8208 | 5.5926 | 0.11073 | 2.075 | 3.5176 | 0.069594 | 14.5109 | 0.51566 | 38.5828 | 378.4865 | 0.01168
68 | 12:49:20 | 2379 | 0 | 11.4067 | 0.11522 | 198.7006 | 5.0982 | 3.2054 | 33.7893 | 6 | 1.42 | 1 | 2.84 | 35.8548 | 33.7893 | 36.9523 | 399.9889 | 383.9467 | 22.3649 | 28.3115 | 27.6836 | 35.0444 | 499.8351 | 1499.0345 | 154.1975 | 73.295 | 1.256 | 0.17769 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 0.0050982 | 306.9393 | 309.0048 | 239.8455 | 0.47998 | 5.2805 | 72.0449 | 43.7334 | 34.822 | 5.5929 | 0.11073 | 2.0751 | 3.5179 | 0.069593 | 14.5638 | 0.51752 | 38.5818 | 378.5245 | 0.011626
69 | 12:49:21 | 2379.5 | 0 | 11.4016 | 0.11523 | 198.7973 | 5.0993 | 3.2058 | 33.7909 | 6 | 1.42 | 1 | 2.84 | 35.8556 | 33.7909 | 36.951 | 399.9971 | 383.9597 | 22.3652 | 28.3133 | 27.6828 | 35.0452 | 499.8151 | 1499.0343 | 154.2505 | 73.295 | 1.256 | 0.17769 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83303 | 0.0050993 | 306.9409 | 309.0056 | 239.8455 | 0.47931 | 5.281 | 72.0512 | 43.7379 | 34.8232 | 5.5933 | 0.11074 | 2.0752 | 3.5181 | 0.069601 | 14.5708 | 0.51776 | 38.581 | 378.5399 | 0.011621
70 | 12:49:22 | 2380 | 0 | 11.3397 | 0.11516 | 199.5732 | 5.0966 | 3.2061 | 33.7915 | 6 | 1.42 | 1 | 2.84 | 35.8567 | 33.7915 | 36.9503 | 399.9411 | 383.9794 | 22.367 | 28.3119 | 27.6833 | 35.0412 | 499.8212 | 1499.0859 | 154.2918 | 73.2949 | 1.256 | 0.17769 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0050966 | 306.9415 | 309.0067 | 239.8537 | 0.48088 | 5.2812 | 72.0538 | 43.7419 | 34.8241 | 5.5936 | 0.11067 | 2.0751 | 3.5185 | 0.069557 | 14.6277 | 0.51975 | 38.5759 | 378.589 | 0.011554
71 | 12:49:22 | 2380.5 | 0 | 11.3192 | 0.1151 | 199.7846 | 5.0946 | 3.2064 | 33.7921 | 6 | 1.42 | 1 | 2.84 | 35.858 | 33.7921 | 36.9501 | 399.9235 | 383.9879 | 22.3676 | 28.31 | 27.682 | 35.0362 | 499.8454 | 1499.1223 | 154.2446 | 73.2946 | 1.256 | 0.17769 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.0050946 | 306.9421 | 309.008 | 239.8596 | 0.48205 | 5.2814 | 72.0567 | 43.7468 | 34.8251 | 5.5939 | 0.11061 | 2.075 | 3.5189 | 0.069523 | 14.6431 | 0.52029 | 38.5703 | 378.6073 | 0.011531
72 | 12:49:23 | 2381 | 0 | 11.3384 | 0.11509 | 199.5118 | 5.0952 | 3.207 | 33.7944 | 6 | 1.42 | 1 | 2.84 | 35.8591 | 33.7944 | 36.9502 | 399.9563 | 383.9977 | 22.369 | 28.3118 | 27.682 | 35.0363 | 499.852 | 1499.1241 | 154.2502 | 73.2945 | 1.256 | 0.17769 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.0050952 | 306.9444 | 309.0091 | 239.8599 | 0.48162 | 5.2821 | 72.0662 | 43.7543 | 34.8268 | 5.5944 | 0.1106 | 2.0751 | 3.5193 | 0.069517 | 14.6231 | 0.51957 | 38.5672 | 378.608 | 0.01155
73 | 12:49:23 | 2381.5 | 0 | 11.3527 | 0.11509 | 199.3044 | 5.0971 | 3.208 | 33.7984 | 6 | 1.42 | 1 | 2.84 | 35.8602 | 33.7984 | 36.95 | 399.9623 | 383.9864 | 22.3686 | 28.3134 | 27.6798 | 35.0363 | 499.8739 | 1499.1534 | 154.2678 | 73.2944 | 1.256 | 0.17769 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83312 | 0.0050971 | 306.9484 | 309.0102 | 239.8645 | 0.48021 | 5.2832 | 72.0822 | 43.7687 | 34.8293 | 5.5952 | 0.11061 | 2.0752 | 3.52 | 0.069521 | 14.6079 | 0.51904 | 38.5602 | 378.5899 | 0.011563
74 | 12:49:24 | 2382 | 0 | 11.4074 | 0.11515 | 198.5867 | 5.1003 | 3.2085 | 33.801 | 6 | 1.42 | 1 | 2.84 | 35.8605 | 33.801 | 36.9498 | 400.0024 | 383.9601 | 22.3683 | 28.3166 | 27.679 | 35.0396 | 499.8926 | 1499.1627 | 154.26 | 73.2943 | 1.256 | 0.17769 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0051003 | 306.951 | 309.0105 | 239.866 | 0.47828 | 5.284 | 72.0927 | 43.776 | 34.8307 | 5.5956 | 0.11066 | 2.0754 | 3.5202 | 0.069552 | 14.5553 | 0.51721 | 38.5595 | 378.5375 | 0.01162
75 | 12:49:24 | 2383 | 0 | 11.5261 | 0.11516 | 196.929 | 5.1037 | 3.2103 | 33.8075 | 6 | 1.42 | 1 | 2.84 | 35.8622 | 33.8075 | 36.9504 | 400.1272 | 383.941 | 22.3672 | 28.3195 | 27.6749 | 35.0396 | 499.8945 | 1499.1233 | 154.35 | 73.2941 | 1.256 | 0.17769 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0051037 | 306.9575 | 309.0122 | 239.8597 | 0.47576 | 5.2859 | 72.1192 | 43.7997 | 34.8349 | 5.5969 | 0.11067 | 2.0756 | 3.5213 | 0.069559 | 14.4337 | 0.51291 | 38.5482 | 378.4621 | 0.01174 | 11.4412 | 35.855 | 33.7911 | #DIV/0! | 2379.0667 | 0 | 11.4412 | 0.1152 | 198.1865 | 5.0986 | 3.206 | 33.7911 | 6 | 1.42 | 1 | 2.84 | 35.855 | 33.7911 | 36.9511 | 400.0141 | 383.9314 | 22.3648 | 28.3114 | 27.6831 | 35.0438 | 499.8681 | 1499.0689 | 154.2657 | 73.2944 | 1.256 | 0.17769 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | 0.0050986 | 306.9411 | 309.005 | 239.851 | 0.47961 | 5.2811 | 72.0526 | 43.7412 | 34.823 | 5.5932 | 0.11071 | 2.0751 | 3.5182 | 0.069586 | 14.526 | 0.5162 | 38.5769 | 378.4928 | 0.011661
Remark= | "12:49:32 Coolers: Tblock -> 42.00 C"
Remark= | "12:54:02 Flow: Fixed -> 500 umol/s"
76 | 12:54:37 | 2696 | 0 | 10.0268 | 0.10719 | 205.9105 | 5.4176 | 3.6094 | 36.9149 | 6 | 1.42 | 1 | 2.84 | 40.3798 | 36.9149 | 42.0315 | 399.6183 | 385.0812 | 30.1156 | 36.3808 | 29.1737 | 35.2429 | 499.9495 | 1500.4944 | 154.6719 | 73.2881 | 1.9334 | 0.035271 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0054176 | 310.0649 | 313.5298 | 240.0791 | 0.54088 | 6.2756 | 85.6299 | 49.2491 | 38.6474 | 6.8944 | 0.10329 | 2.6663 | 4.2281 | 0.064897 | 15.0908 | 0.53472 | 40.9772 | 380.3149 | 0.010803
77 | 12:54:37 | 2696 | 0 | 10.0268 | 0.10719 | 205.9105 | 5.4176 | 3.6094 | 36.9149 | 6 | 1.42 | 1 | 2.84 | 40.3798 | 36.9149 | 42.0315 | 399.6183 | 385.0812 | 30.1156 | 36.3808 | 29.1737 | 35.2429 | 499.9495 | 1500.4944 | 154.6719 | 73.2881 | 1.9334 | 0.035271 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0054176 | 310.0649 | 313.5298 | 240.0791 | 0.54088 | 6.2756 | 85.6299 | 49.2491 | 38.6474 | 6.8944 | 0.10329 | 2.6663 | 4.2281 | 0.064897 | 15.0908 | 0.53472 | 40.9772 | 380.3149 | 0.010803
78 | 12:54:38 | 2696.5 | 0 | 10.0453 | 0.10723 | 205.6558 | 5.4186 | 3.6088 | 36.9133 | 6 | 1.42 | 1 | 2.84 | 40.3802 | 36.9133 | 42.0317 | 399.6003 | 385.0411 | 30.1143 | 36.3806 | 29.172 | 35.2422 | 499.96 | 1500.4839 | 154.6398 | 73.2882 | 1.9334 | 0.035271 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0054186 | 310.0633 | 313.5302 | 240.0774 | 0.54059 | 6.2751 | 85.6223 | 49.2417 | 38.6467 | 6.8942 | 0.10333 | 2.6663 | 4.2279 | 0.06492 | 15.0721 | 0.53411 | 40.9819 | 380.266 | 0.010826
79 | 12:54:38 | 2697 | 0 | 10.0454 | 0.1073 | 205.7301 | 5.4196 | 3.6072 | 36.9088 | 6 | 1.42 | 1 | 2.84 | 40.3817 | 36.9088 | 42.0316 | 399.5679 | 385.0081 | 30.1138 | 36.3812 | 29.1693 | 35.2402 | 499.9525 | 1500.4802 | 154.6131 | 73.2887 | 1.9334 | 0.035271 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0054196 | 310.0588 | 313.5317 | 240.0768 | 0.54103 | 6.2736 | 85.6006 | 49.2194 | 38.6452 | 6.8936 | 0.10339 | 2.6663 | 4.2273 | 0.064962 | 15.0777 | 0.53435 | 40.9957 | 380.233 | 0.010831
80 | 12:54:39 | 2697.5 | 0 | 10.0388 | 0.10731 | 205.8428 | 5.417 | 3.6053 | 36.9034 | 6 | 1.42 | 1 | 2.84 | 40.3823 | 36.9034 | 42.0312 | 399.5489 | 384.9984 | 30.1169 | 36.3814 | 29.1716 | 35.2395 | 499.9561 | 1500.4519 | 154.6363 | 73.2891 | 1.9334 | 0.035271 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83326 | 0.005417 | 310.0534 | 313.5323 | 240.0723 | 0.54318 | 6.2717 | 85.5748 | 49.1934 | 38.6428 | 6.8927 | 0.1034 | 2.6664 | 4.2264 | 0.064966 | 15.086 | 0.53466 | 41.01 | 380.2265 | 0.010828
81 | 12:54:40 | 2698 | 0 | 9.9991 | 0.10727 | 206.3993 | 5.4131 | 3.6039 | 36.8988 | 6 | 1.42 | 1 | 2.84 | 40.3829 | 36.8988 | 42.0318 | 399.5081 | 385.0067 | 30.1194 | 36.3794 | 29.1732 | 35.2365 | 499.9474 | 1500.4822 | 154.4825 | 73.2895 | 1.9334 | 0.035271 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.0054131 | 310.0488 | 313.5329 | 240.0771 | 0.54605 | 6.2702 | 85.5532 | 49.1737 | 38.6409 | 6.892 | 0.10337 | 2.6662 | 4.2258 | 0.064946 | 15.1269 | 0.53609 | 41.0188 | 380.2536 | 0.010786
82 | 12:54:40 | 2698.5 | 0 | 9.9514 | 0.1073 | 207.1926 | 5.4117 | 3.6021 | 36.8937 | 6 | 1.42 | 1 | 2.84 | 40.3837 | 36.8937 | 42.0321 | 399.4878 | 385.0438 | 30.1216 | 36.3802 | 29.1742 | 35.236 | 499.9348 | 1500.5308 | 154.4751 | 73.2899 | 1.9334 | 0.035271 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0054117 | 310.0437 | 313.5337 | 240.0849 | 0.54774 | 6.2684 | 85.5287 | 49.1484 | 38.6387 | 6.8912 | 0.1034 | 2.6663 | 4.2249 | 0.064964 | 15.1851 | 0.5381 | 41.0336 | 380.3134 | 0.010737
83 | 12:54:41 | 2699 | 0 | 9.9494 | 0.10734 | 207.2797 | 5.4102 | 3.6002 | 36.8881 | 6 | 1.42 | 1 | 2.84 | 40.3848 | 36.8881 | 42.0326 | 399.4889 | 385.0479 | 30.1231 | 36.38 | 29.174 | 35.2338 | 499.9336 | 1500.5326 | 154.4343 | 73.2902 | 1.9334 | 0.035271 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0054102 | 310.0381 | 313.5348 | 240.0852 | 0.54952 | 6.2665 | 85.5022 | 49.1222 | 38.6365 | 6.8904 | 0.10343 | 2.6663 | 4.2241 | 0.064982 | 15.1916 | 0.53832 | 41.0483 | 380.3184 | 0.010738
84 | 12:54:41 | 2699.5 | 0 | 9.9399 | 0.10738 | 207.52 | 5.4093 | 3.598 | 36.8818 | 6 | 1.42 | 1 | 2.84 | 40.3852 | 36.8818 | 42.0316 | 399.5005 | 385.0706 | 30.1234 | 36.3795 | 29.174 | 35.2328 | 499.9169 | 1500.5002 | 154.2898 | 73.2908 | 1.9334 | 0.035271 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0054093 | 310.0318 | 313.5352 | 240.08 | 0.55096 | 6.2643 | 85.472 | 49.0926 | 38.6335 | 6.8893 | 0.10347 | 2.6663 | 4.223 | 0.065011 | 15.2093 | 0.53891 | 41.065 | 380.3457 | 0.010732
85 | 12:54:42 | 2700 | 0 | 9.9486 | 0.10745 | 207.4828 | 5.4093 | 3.5962 | 36.8762 | 6 | 1.42 | 1 | 2.84 | 40.3848 | 36.8762 | 42.0315 | 399.5098 | 385.0687 | 30.1225 | 36.379 | 29.1739 | 35.2333 | 499.8904 | 1500.5688 | 154.3664 | 73.2908 | 1.9334 | 0.035271 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.0054093 | 310.0262 | 313.5348 | 240.091 | 0.55182 | 6.2624 | 85.446 | 49.0671 | 38.6305 | 6.8881 | 0.10353 | 2.6662 | 4.2219 | 0.065046 | 15.2066 | 0.53882 | 41.0797 | 380.3396 | 0.010745
86 | 12:54:42 | 2700.5 | 0 | 9.9535 | 0.10755 | 207.5794 | 5.4118 | 3.5944 | 36.8714 | 6 | 1.42 | 1 | 2.84 | 40.3858 | 36.8714 | 42.0314 | 399.5345 | 385.0855 | 30.1209 | 36.3805 | 29.1706 | 35.2328 | 499.8596 | 1500.5875 | 154.3697 | 73.2908 | 1.9334 | 0.035271 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8331 | 0.0054118 | 310.0214 | 313.5358 | 240.094 | 0.55149 | 6.2608 | 85.4235 | 49.043 | 38.6286 | 6.8874 | 0.10363 | 2.6664 | 4.2211 | 0.065108 | 15.2137 | 0.53905 | 41.0959 | 380.3541 | 0.010754
87 | 12:54:43 | 2701 | 0 | 9.9611 | 0.1076 | 207.5507 | 5.413 | 3.5936 | 36.8695 | 6 | 1.42 | 1 | 2.84 | 40.3853 | 36.8695 | 42.0315 | 399.5581 | 385.099 | 30.1208 | 36.382 | 29.1714 | 35.2352 | 499.847 | 1500.5836 | 154.3552 | 73.2909 | 1.9334 | 0.035271 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.005413 | 310.0195 | 313.5353 | 240.0934 | 0.55107 | 6.2601 | 85.4144 | 49.0324 | 38.6274 | 6.887 | 0.10367 | 2.6665 | 4.2205 | 0.065138 | 15.2116 | 0.53895 | 41.1035 | 380.364 | 0.010764
88 | 12:54:43 | 2701.5 | 0 | 9.9502 | 0.10759 | 207.7331 | 5.4129 | 3.5939 | 36.8705 | 6 | 1.42 | 1 | 2.84 | 40.3856 | 36.8705 | 42.0322 | 399.5871 | 385.1406 | 30.1219 | 36.383 | 29.172 | 35.2356 | 499.841 | 1500.6206 | 154.4089 | 73.291 | 1.9334 | 0.035271 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | 0.0054129 | 310.0205 | 313.5356 | 240.0993 | 0.55109 | 6.2604 | 85.4189 | 49.0359 | 38.6281 | 6.8872 | 0.10366 | 2.6665 | 4.2207 | 0.065132 | 15.225 | 0.53937 | 41.1021 | 380.4107 | 0.010751
89 | 12:54:44 | 2702 | 0 | 9.9635 | 0.10763 | 207.6045 | 5.4144 | 3.5937 | 36.87 | 6 | 1.42 | 1 | 2.84 | 40.386 | 36.87 | 42.0314 | 399.6209 | 385.1572 | 30.1203 | 36.3834 | 29.17 | 35.2355 | 499.8243 | 1500.5508 | 154.4107 | 73.2914 | 1.9334 | 0.035271 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0054144 | 310.02 | 313.536 | 240.0881 | 0.55033 | 6.2603 | 85.4162 | 49.0329 | 38.628 | 6.8872 | 0.1037 | 2.6666 | 4.2206 | 0.065154 | 15.2156 | 0.53901 | 41.1047 | 380.4211 | 0.010766
90 | 12:54:44 | 2702.5 | 0 | 10.0033 | 0.10763 | 206.9944 | 5.4148 | 3.594 | 36.8705 | 6 | 1.42 | 1 | 2.84 | 40.3857 | 36.8705 | 42.0319 | 399.6464 | 385.1348 | 30.1182 | 36.3817 | 29.1684 | 35.2345 | 499.825 | 1500.5334 | 154.4197 | 73.2913 | 1.9334 | 0.035271 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83304 | 0.0054148 | 310.0205 | 313.5357 | 240.0853 | 0.54996 | 6.2604 | 85.4185 | 49.0367 | 38.6281 | 6.8872 | 0.1037 | 2.6665 | 4.2208 | 0.065154 | 15.1709 | 0.53746 | 41.1016 | 380.3797 | 0.010809 | 9.9869 | 40.3836 | 36.8897 | #DIV/0! | 2699.0333 | 0 | 9.9869 | 0.1074 | 206.8258 | 5.4141 | 3.6007 | 36.8897 | 6 | 1.42 | 1 | 2.84 | 40.3836 | 36.8897 | 42.0317 | 399.5597 | 385.071 | 30.1192 | 36.3809 | 29.1721 | 35.2369 | 499.9058 | 1500.5264 | 154.483 | 73.2899 | 1.9334 | 0.035271 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0054141 | 310.0397 | 313.5336 | 240.0842 | 0.54711 | 6.267 | 85.5101 | 49.1292 | 38.6366 | 6.8904 | 0.10348 | 2.6664 | 4.2241 | 0.065018 | 15.1582 | 0.53711 | 41.0463 | 380.3237 | 0.010778