## 062716-stm-vaoc7_
OPEN 6.2.4
Mon Jun 27 2016 15:28:11
Unit= | PSC-3840
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "15:39:28 Flow: Fixed -> 500 umol/s"
1 | 15:39:53 | 722.0001 | 0 | 10.2521 | 0.1505 | 264.4902 | 2.144 | 1.0883 | 11.4528 | 6 | 1.42 | 1 | 2.84 | 3.1741 | 11.4528 | 0.034907 | 399.479 | 386.1817 | 1.1076 | 3.6712 | 10.5463 | 34.9577 | 499.951 | 1700.7288 | 6.6779 | 73.3621 | 2.2272 | 0.083525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.002144 | 284.6028 | 276.3241 | 272.1166 | 1.192 | 1.3577 | 18.5062 | 14.835 | 7.3134 | 1.0276 | 0.14292 | 0.26933 | 0.75825 | 0.089978 | 19.4035 | 0.68489 | 23.0184 | 381.3083 | 0.0061888
2 | 15:39:54 | 722.0001 | 0 | 10.2521 | 0.1505 | 264.4902 | 2.144 | 1.0883 | 11.4528 | 6 | 1.42 | 1 | 2.84 | 3.1741 | 11.4528 | 0.034907 | 399.479 | 386.1817 | 1.1076 | 3.6712 | 10.5463 | 34.9577 | 499.951 | 1700.7288 | 6.6779 | 73.3621 | 2.2272 | 0.083525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83325 | 0.002144 | 284.6028 | 276.3241 | 272.1166 | 1.192 | 1.3577 | 18.5062 | 14.835 | 7.3134 | 1.0276 | 0.14292 | 0.26933 | 0.75825 | 0.089978 | 19.4035 | 0.68489 | 23.0184 | 381.3083 | 0.0061888
3 | 15:39:54 | 722.5001 | 0 | 10.2697 | 0.15032 | 264.1695 | 2.1416 | 1.0883 | 11.4498 | 6 | 1.42 | 1 | 2.84 | 3.1747 | 11.4498 | 0.034653 | 399.4973 | 386.1797 | 1.1077 | 3.6685 | 10.5472 | 34.9296 | 499.9434 | 1700.7225 | 6.6473 | 73.3618 | 2.2272 | 0.083525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0021416 | 284.5998 | 276.3247 | 272.1156 | 1.1938 | 1.3574 | 18.5027 | 14.8342 | 7.3123 | 1.0275 | 0.14277 | 0.26912 | 0.75837 | 0.089878 | 19.38 | 0.68406 | 23.0034 | 381.298 | 0.0061956
4 | 15:39:55 | 722.5001 | 0 | 10.2697 | 0.15032 | 264.1695 | 2.1416 | 1.0883 | 11.4498 | 6 | 1.42 | 1 | 2.84 | 3.1747 | 11.4498 | 0.034653 | 399.4973 | 386.1797 | 1.1077 | 3.6685 | 10.5472 | 34.9296 | 499.9434 | 1700.7225 | 6.6473 | 73.3618 | 2.2272 | 0.083525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0021416 | 284.5998 | 276.3247 | 272.1156 | 1.1938 | 1.3574 | 18.5027 | 14.8342 | 7.3123 | 1.0275 | 0.14277 | 0.26912 | 0.75837 | 0.089878 | 19.38 | 0.68406 | 23.0034 | 381.298 | 0.0061956
5 | 15:39:55 | 723.0001 | 0 | 10.2434 | 0.15011 | 264.3275 | 2.1394 | 1.0886 | 11.4513 | 6 | 1.42 | 1 | 2.84 | 3.1748 | 11.4513 | 0.034015 | 399.486 | 386.2006 | 1.1078 | 3.666 | 10.5482 | 34.9062 | 499.9291 | 1700.8107 | 6.7077 | 73.3618 | 2.2272 | 0.083525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0021394 | 284.6013 | 276.3248 | 272.1297 | 1.1949 | 1.3575 | 18.5045 | 14.8385 | 7.313 | 1.0276 | 0.14258 | 0.26895 | 0.75861 | 0.089759 | 19.3915 | 0.68443 | 22.9835 | 381.3314 | 0.0061738
6 | 15:39:56 | 723.5001 | 0 | 10.2275 | 0.14987 | 264.3596 | 2.1377 | 1.0894 | 11.4591 | 6 | 1.42 | 1 | 2.84 | 3.1746 | 11.4591 | 0.033914 | 399.5061 | 386.2399 | 1.108 | 3.6643 | 10.5497 | 34.8899 | 499.911 | 1700.7775 | 6.7829 | 73.3618 | 2.2272 | 0.083525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0021377 | 284.6091 | 276.3246 | 272.1244 | 1.1948 | 1.3582 | 18.5141 | 14.8498 | 7.3169 | 1.0278 | 0.14236 | 0.26882 | 0.75901 | 0.08962 | 19.3939 | 0.68444 | 22.958 | 381.3782 | 0.0061567
7 | 15:39:56 | 724.0001 | 0 | 10.2218 | 0.14968 | 264.2999 | 2.1358 | 1.0898 | 11.4611 | 6 | 1.42 | 1 | 2.84 | 3.1749 | 11.4611 | 0.034484 | 399.5161 | 386.258 | 1.108 | 3.662 | 10.5499 | 34.8672 | 499.9267 | 1700.8232 | 6.8106 | 73.3617 | 2.2272 | 0.083525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0021358 | 284.6111 | 276.3249 | 272.1317 | 1.1957 | 1.3584 | 18.5165 | 14.8545 | 7.318 | 1.0279 | 0.14219 | 0.26865 | 0.75925 | 0.089511 | 19.3895 | 0.68426 | 22.9386 | 381.399 | 0.0061478
8 | 15:39:57 | 724.5001 | 0 | 10.2514 | 0.1497 | 264.0109 | 2.1355 | 1.0895 | 11.4576 | 6 | 1.42 | 1 | 2.84 | 3.1758 | 11.4576 | 0.034645 | 399.5737 | 386.28 | 1.1077 | 3.6613 | 10.546 | 34.859 | 499.9233 | 1700.7693 | 6.7946 | 73.3619 | 2.2272 | 0.083525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0021355 | 284.6076 | 276.3258 | 272.1231 | 1.1962 | 1.3581 | 18.5122 | 14.8508 | 7.3167 | 1.0278 | 0.1422 | 0.2686 | 0.75921 | 0.089522 | 19.3683 | 0.68347 | 22.9404 | 381.407 | 0.0061659
9 | 15:39:57 | 725.0001 | 0 | 10.2618 | 0.14963 | 263.8262 | 2.1344 | 1.0894 | 11.4546 | 6 | 1.42 | 1 | 2.84 | 3.1761 | 11.4546 | 0.034238 | 399.5639 | 386.2587 | 1.1072 | 3.6594 | 10.5414 | 34.8398 | 499.9354 | 1700.7615 | 6.6748 | 73.3617 | 2.2272 | 0.083525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0021344 | 284.6046 | 276.3261 | 272.1218 | 1.1972 | 1.3578 | 18.5086 | 14.8492 | 7.3154 | 1.0277 | 0.14214 | 0.26846 | 0.75926 | 0.089482 | 19.3547 | 0.68303 | 22.9326 | 381.3808 | 0.0061705
10 | 15:39:58 | 725.5001 | 0 | 10.2545 | 0.14941 | 263.7561 | 2.1316 | 1.0895 | 11.4536 | 6 | 1.42 | 1 | 2.84 | 3.1767 | 11.4536 | 0.034676 | 399.564 | 386.2691 | 1.1075 | 3.6564 | 10.5436 | 34.8094 | 499.9438 | 1700.7871 | 6.6038 | 73.3616 | 2.2272 | 0.083525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83324 | 0.0021316 | 284.6036 | 276.3267 | 272.1259 | 1.1989 | 1.3577 | 18.5074 | 14.851 | 7.3152 | 1.0277 | 0.14194 | 0.26824 | 0.75947 | 0.089356 | 19.3496 | 0.68283 | 22.9125 | 381.3947 | 0.0061604
11 | 15:39:58 | 726.0001 | 0 | 10.279 | 0.14917 | 263.3009 | 2.1293 | 1.09 | 11.4566 | 6 | 1.42 | 1 | 2.84 | 3.1767 | 11.4566 | 0.035046 | 399.5846 | 386.2618 | 1.1077 | 3.6537 | 10.5461 | 34.7847 | 499.9636 | 1700.7739 | 6.5995 | 73.3619 | 2.2272 | 0.083525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0021293 | 284.6066 | 276.3267 | 272.1238 | 1.1998 | 1.358 | 18.511 | 14.8572 | 7.3166 | 1.0278 | 0.14173 | 0.26805 | 0.75976 | 0.08922 | 19.3163 | 0.68166 | 22.8891 | 381.3756 | 0.0061692
12 | 15:39:59 | 726.5001 | 0 | 10.277 | 0.1489 | 263.1469 | 2.1264 | 1.0904 | 11.4586 | 6 | 1.42 | 1 | 2.84 | 3.1771 | 11.4586 | 0.03513 | 399.6034 | 386.2852 | 1.1082 | 3.6506 | 10.5503 | 34.7543 | 499.9968 | 1700.7916 | 6.6366 | 73.3623 | 2.2272 | 0.083525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83333 | 0.0021264 | 284.6086 | 276.3271 | 272.1267 | 1.2011 | 1.3582 | 18.5134 | 14.8627 | 7.3179 | 1.0279 | 0.14149 | 0.26782 | 0.76007 | 0.089066 | 19.3051 | 0.68122 | 22.8636 | 381.4 | 0.0061607
13 | 15:39:59 | 727.0001 | 0 | 10.3114 | 0.14872 | 262.6424 | 2.1248 | 1.0908 | 11.4619 | 6 | 1.42 | 1 | 2.84 | 3.1771 | 11.4619 | 0.03523 | 399.6615 | 386.3031 | 1.1081 | 3.6485 | 10.5492 | 34.7339 | 500.0092 | 1700.7545 | 6.5317 | 73.362 | 2.2272 | 0.083525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83335 | 0.0021248 | 284.6119 | 276.3271 | 272.1207 | 1.2015 | 1.3585 | 18.5174 | 14.8689 | 7.3195 | 1.028 | 0.14132 | 0.26766 | 0.76035 | 0.08896 | 19.268 | 0.67989 | 22.8435 | 381.4015 | 0.0061759
14 | 15:40:00 | 727.5001 | 0 | 10.344 | 0.1486 | 262.1561 | 2.1223 | 1.0904 | 11.4548 | 6 | 1.42 | 1 | 2.84 | 3.177 | 11.4548 | 0.035115 | 399.6596 | 386.2644 | 1.1081 | 3.6454 | 10.5489 | 34.7042 | 500.0483 | 1700.818 | 6.4481 | 73.3618 | 2.2272 | 0.083525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83341 | 0.0021223 | 284.6048 | 276.327 | 272.1309 | 1.2038 | 1.3578 | 18.5088 | 14.8634 | 7.3159 | 1.0278 | 0.14121 | 0.26743 | 0.76032 | 0.088891 | 19.2322 | 0.6787 | 22.8334 | 381.3473 | 0.0061935
15 | 15:40:00 | 728.0001 | 0 | 10.3401 | 0.14837 | 262.047 | 2.1201 | 1.0908 | 11.4569 | 6 | 1.42 | 1 | 2.84 | 3.177 | 11.4569 | 0.035146 | 399.6712 | 386.2817 | 1.1076 | 3.6423 | 10.5448 | 34.6745 | 500.0521 | 1700.8645 | 6.3845 | 73.3616 | 2.2272 | 0.083525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83342 | 0.0021201 | 284.6069 | 276.327 | 272.1383 | 1.2048 | 1.358 | 18.5114 | 14.8691 | 7.317 | 1.0278 | 0.14101 | 0.2672 | 0.76063 | 0.088762 | 19.2242 | 0.67838 | 22.8089 | 381.3665 | 0.0061842 | 10.2704 | 0.14959 | 263.6795 | 2.1339 | 1.0894 | 11.4554 | 6 | 1.42 | 1 | 2.84 | 3.1757 | 11.4554 | 0.034717 | 399.5562 | 386.2417 | 1.1078 | 3.6593 | 10.547 | 34.8398 | 499.9619 | 1700.7756 | 6.6417 | 73.3619 | 2.2272 | 0.083525 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83327 | 0.0021339 | 284.6054 | 276.3257 | 272.1241 | 1.1974 | 1.3579 | 18.5095 | 14.8502 | 7.3155 | 1.0277 | 0.1421 | 0.26845 | 0.75928 | 0.089458 | 19.344 | 0.68268 | 22.9298 | 381.3596 | 0.0061752
Remark= | "15:40:16 Coolers: Tblock -> 5.00 C"
Remark= | "15:45:16 Flow: Fixed -> 500 umol/s"
16 | 15:45:36 | 1064.5001 | 0 | 9.84 | 0.11086 | 231.7515 | 1.8186 | 1.2335 | 14.1043 | 6 | 1.42 | 1 | 2.84 | 7.4108 | 14.1043 | 5.1237 | 399.5548 | 386.9004 | 3.0313 | 5.2026 | 21.4996 | 36.8993 | 499.919 | 1699.0435 | 6.7523 | 73.3676 | 2.1901 | 0.08992 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0018186 | 287.2543 | 280.5608 | 271.8469 | 1.51 | 1.6152 | 22.0148 | 16.8122 | 10.7576 | 1.2964 | 0.1067 | 0.3817 | 0.91473 | 0.067049 | 17.003 | 0.599 | 25.4876 | 382.223 | 0.0065615
17 | 15:45:36 | 1064.5001 | 0 | 9.84 | 0.11086 | 231.7515 | 1.8186 | 1.2335 | 14.1043 | 6 | 1.42 | 1 | 2.84 | 7.4108 | 14.1043 | 5.1237 | 399.5548 | 386.9004 | 3.0313 | 5.2026 | 21.4996 | 36.8993 | 499.919 | 1699.0435 | 6.7523 | 73.3676 | 2.1901 | 0.08992 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0018186 | 287.2543 | 280.5608 | 271.8469 | 1.51 | 1.6152 | 22.0148 | 16.8122 | 10.7576 | 1.2964 | 0.1067 | 0.3817 | 0.91473 | 0.067049 | 17.003 | 0.599 | 25.4876 | 382.223 | 0.0065615
18 | 15:45:37 | 1065.0001 | 0 | 9.8889 | 0.11105 | 231.2486 | 1.8202 | 1.2326 | 14.0968 | 6 | 1.42 | 1 | 2.84 | 7.411 | 14.0968 | 5.1235 | 399.5867 | 386.8724 | 3.0302 | 5.2036 | 21.4916 | 36.906 | 499.8965 | 1699.0656 | 6.7883 | 73.3683 | 2.1901 | 0.08992 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.0018202 | 287.2468 | 280.561 | 271.8505 | 1.5101 | 1.6144 | 22.0038 | 16.8002 | 10.7539 | 1.2961 | 0.10687 | 0.38178 | 0.91434 | 0.067158 | 16.9663 | 0.59774 | 25.5084 | 382.1717 | 0.0066004
19 | 15:45:37 | 1065.5001 | 0 | 9.9023 | 0.11103 | 231.0441 | 1.8199 | 1.2326 | 14.0962 | 6 | 1.42 | 1 | 2.84 | 7.4116 | 14.0962 | 5.1241 | 399.618 | 386.8878 | 3.0302 | 5.2032 | 21.491 | 36.9018 | 499.8991 | 1699.0579 | 6.8477 | 73.3687 | 2.1901 | 0.08992 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0018199 | 287.2462 | 280.5616 | 271.8493 | 1.5104 | 1.6143 | 22.0029 | 16.7997 | 10.7539 | 1.2961 | 0.10686 | 0.38175 | 0.91437 | 0.067148 | 16.9514 | 0.59719 | 25.5072 | 382.1807 | 0.0066089
20 | 15:45:38 | 1065.5001 | 0 | 9.9023 | 0.11103 | 231.0441 | 1.8199 | 1.2326 | 14.0962 | 6 | 1.42 | 1 | 2.84 | 7.4116 | 14.0962 | 5.1241 | 399.618 | 386.8878 | 3.0302 | 5.2032 | 21.491 | 36.9018 | 499.8991 | 1699.0579 | 6.8477 | 73.3687 | 2.1901 | 0.08992 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0018199 | 287.2462 | 280.5616 | 271.8493 | 1.5104 | 1.6143 | 22.0029 | 16.7997 | 10.7539 | 1.2961 | 0.10686 | 0.38175 | 0.91437 | 0.067148 | 16.9514 | 0.59719 | 25.5072 | 382.1807 | 0.0066089
21 | 15:45:38 | 1066.0001 | 0 | 9.9148 | 0.11095 | 230.7749 | 1.8188 | 1.2327 | 14.0965 | 6 | 1.42 | 1 | 2.84 | 7.4124 | 14.0965 | 5.1241 | 399.6487 | 386.9044 | 3.0304 | 5.202 | 21.4914 | 36.8917 | 499.9205 | 1699.0428 | 6.8519 | 73.3694 | 2.1901 | 0.08992 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0018188 | 287.2465 | 280.5624 | 271.8468 | 1.511 | 1.6143 | 22.003 | 16.8011 | 10.7544 | 1.2962 | 0.10678 | 0.38167 | 0.9145 | 0.067102 | 16.9318 | 0.59646 | 25.4998 | 382.1914 | 0.0066152
22 | 15:45:39 | 1066.5001 | 0 | 9.9322 | 0.11089 | 230.4416 | 1.8182 | 1.233 | 14.0994 | 6 | 1.42 | 1 | 2.84 | 7.4137 | 14.0994 | 5.1245 | 399.6814 | 386.9164 | 3.0303 | 5.2012 | 21.4891 | 36.8836 | 499.9152 | 1699.0092 | 6.8709 | 73.3702 | 2.1901 | 0.08992 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0018182 | 287.2494 | 280.5637 | 271.8415 | 1.511 | 1.6147 | 22.007 | 16.8058 | 10.7566 | 1.2963 | 0.10672 | 0.38162 | 0.91473 | 0.067062 | 16.9076 | 0.59558 | 25.4904 | 382.1951 | 0.0066243
23 | 15:45:39 | 1067.0001 | 0 | 9.9402 | 0.11083 | 230.2801 | 1.8176 | 1.2332 | 14.1 | 6 | 1.42 | 1 | 2.84 | 7.4143 | 14.1 | 5.125 | 399.7126 | 386.9387 | 3.0305 | 5.2005 | 21.4895 | 36.8774 | 499.932 | 1698.9735 | 6.8761 | 73.3711 | 2.1901 | 0.08992 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0018176 | 287.25 | 280.5643 | 271.8358 | 1.5113 | 1.6147 | 22.0076 | 16.8071 | 10.7572 | 1.2964 | 0.10667 | 0.38157 | 0.91483 | 0.067032 | 16.8959 | 0.59513 | 25.4854 | 382.2136 | 0.006628
24 | 15:45:40 | 1067.5001 | 0 | 9.9765 | 0.11071 | 229.5579 | 1.8163 | 1.2336 | 14.1031 | 6 | 1.42 | 1 | 2.84 | 7.4144 | 14.1031 | 5.1252 | 399.7256 | 386.9089 | 3.0309 | 5.1994 | 21.4921 | 36.8687 | 499.9383 | 1699.0612 | 6.7777 | 73.3704 | 2.1901 | 0.08992 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0018163 | 287.2531 | 280.5644 | 271.8498 | 1.5118 | 1.615 | 22.0122 | 16.8129 | 10.7587 | 1.2965 | 0.10656 | 0.38148 | 0.91505 | 0.06696 | 16.8428 | 0.59331 | 25.4722 | 382.1666 | 0.0066495
25 | 15:45:40 | 1068.0001 | 0 | 9.949 | 0.11064 | 229.9009 | 1.8156 | 1.2339 | 14.1065 | 6 | 1.42 | 1 | 2.84 | 7.4142 | 14.1065 | 5.1253 | 399.7321 | 386.9492 | 3.0315 | 5.1991 | 21.4964 | 36.8669 | 499.9534 | 1699.0909 | 6.7576 | 73.3704 | 2.1901 | 0.08992 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83326 | 0.0018156 | 287.2565 | 280.5642 | 271.8545 | 1.5118 | 1.6154 | 22.017 | 16.8179 | 10.7603 | 1.2967 | 0.10649 | 0.38146 | 0.91521 | 0.066915 | 16.8679 | 0.59414 | 25.4638 | 382.2199 | 0.0066281
26 | 15:45:41 | 1068.5001 | 0 | 9.94 | 0.11055 | 229.9371 | 1.8151 | 1.2345 | 14.1112 | 6 | 1.42 | 1 | 2.84 | 7.4144 | 14.1112 | 5.1252 | 399.7354 | 386.9636 | 3.0316 | 5.1985 | 21.4971 | 36.8627 | 499.9677 | 1699.1545 | 6.6569 | 73.3704 | 2.1901 | 0.08992 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.0018151 | 287.2612 | 280.5644 | 271.8647 | 1.5116 | 1.6159 | 22.0237 | 16.8252 | 10.7628 | 1.2969 | 0.10641 | 0.38142 | 0.91547 | 0.066867 | 16.8706 | 0.59421 | 25.452 | 382.2386 | 0.0066188
27 | 15:45:41 | 1069.0001 | 0 | 9.9269 | 0.11032 | 229.8407 | 1.8127 | 1.2354 | 14.1184 | 6 | 1.42 | 1 | 2.84 | 7.4153 | 14.1184 | 5.1259 | 399.7411 | 386.9867 | 3.0324 | 5.1964 | 21.5012 | 36.8449 | 499.9886 | 1699.1891 | 6.5637 | 73.3697 | 2.1901 | 0.08992 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83331 | 0.0018127 | 287.2684 | 280.5653 | 271.8702 | 1.5121 | 1.6166 | 22.0342 | 16.8378 | 10.7668 | 1.2972 | 0.10619 | 0.38126 | 0.91597 | 0.066728 | 16.8633 | 0.59392 | 25.4252 | 382.2679 | 0.0066025
28 | 15:45:42 | 1069.5001 | 0 | 9.955 | 0.11028 | 229.3794 | 1.8126 | 1.2357 | 14.121 | 6 | 1.42 | 1 | 2.84 | 7.4163 | 14.121 | 5.1258 | 399.7737 | 386.9855 | 3.0324 | 5.1963 | 21.4995 | 36.8412 | 499.9857 | 1699.231 | 6.4842 | 73.3697 | 2.1901 | 0.08992 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83331 | 0.0018126 | 287.271 | 280.5663 | 271.8769 | 1.5121 | 1.6169 | 22.038 | 16.8417 | 10.7687 | 1.2974 | 0.10616 | 0.38125 | 0.91614 | 0.066708 | 16.8295 | 0.59273 | 25.4197 | 382.2534 | 0.0066201
29 | 15:45:42 | 1070.0001 | 0 | 9.9694 | 0.1103 | 229.1934 | 1.8128 | 1.2356 | 14.1208 | 6 | 1.42 | 1 | 2.84 | 7.4173 | 14.1208 | 5.1261 | 399.7936 | 386.9879 | 3.0323 | 5.1965 | 21.497 | 36.8401 | 499.9765 | 1699.3137 | 6.5319 | 73.3692 | 2.1901 | 0.08992 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83329 | 0.0018128 | 287.2708 | 280.5673 | 271.8902 | 1.5122 | 1.6169 | 22.0378 | 16.8413 | 10.7691 | 1.2974 | 0.10618 | 0.38126 | 0.91616 | 0.066719 | 16.8157 | 0.59225 | 25.4214 | 382.2489 | 0.0066301
30 | 15:45:43 | 1070.5001 | 0 | 9.9603 | 0.1102 | 229.2474 | 1.8116 | 1.2358 | 14.1221 | 6 | 1.42 | 1 | 2.84 | 7.4182 | 14.1221 | 5.1265 | 399.832 | 387.0378 | 3.0331 | 5.1958 | 21.5012 | 36.8324 | 499.9836 | 1699.2817 | 6.5319 | 73.3685 | 2.1901 | 0.08992 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83331 | 0.0018116 | 287.2721 | 280.5682 | 271.8851 | 1.5128 | 1.617 | 22.0399 | 16.8441 | 10.7702 | 1.2975 | 0.10609 | 0.38121 | 0.91632 | 0.066662 | 16.8195 | 0.59231 | 25.4134 | 382.3032 | 0.0066211 | 9.9225 | 0.1107 | 230.3595 | 1.8166 | 1.2339 | 14.1064 | 6 | 1.42 | 1 | 2.84 | 7.4138 | 14.1064 | 5.1248 | 399.6872 | 386.9352 | 3.0313 | 5.2001 | 21.4951 | 36.8745 | 499.9396 | 1699.1077 | 6.7261 | 73.3693 | 2.1901 | 0.08992 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0018166 | 287.2564 | 280.5638 | 271.8572 | 1.5112 | 1.6154 | 22.0173 | 16.8173 | 10.7601 | 1.2967 | 0.10655 | 0.38152 | 0.91513 | 0.066954 | 16.9013 | 0.59534 | 25.4694 | 382.2185 | 0.0066119
Remark= | "15:46:21 Coolers: Tblock -> 10.00 C"
Remark= | "15:49:13 Flow: Fixed -> 500 umol/s"
31 | 15:49:39 | 1308.0001 | 0 | 9.471 | 0.088874 | 204.8923 | 1.7366 | 1.4544 | 16.7292 | 6 | 1.42 | 1 | 2.84 | 11.5493 | 16.7292 | 10.0115 | 401.6856 | 389.5071 | 4.1584 | 6.2296 | 22.3263 | 33.4467 | 499.9316 | 1700.1177 | 6.7671 | 73.3591 | 1.9708 | 0.087984 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0017366 | 289.8792 | 284.6993 | 272.0188 | 1.7069 | 1.9114 | 26.0559 | 19.8263 | 14.1393 | 1.6188 | 0.086178 | 0.457 | 1.1618 | 0.054097 | 15.0307 | 0.52603 | 25.0071 | 385.005 | 0.0061516
32 | 15:49:40 | 1308.0001 | 0 | 9.471 | 0.088874 | 204.8923 | 1.7366 | 1.4544 | 16.7292 | 6 | 1.42 | 1 | 2.84 | 11.5493 | 16.7292 | 10.0115 | 401.6856 | 389.5071 | 4.1584 | 6.2296 | 22.3263 | 33.4467 | 499.9316 | 1700.1177 | 6.7671 | 73.3591 | 1.9708 | 0.087984 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | 0.0017366 | 289.8792 | 284.6993 | 272.0188 | 1.7069 | 1.9114 | 26.0559 | 19.8263 | 14.1393 | 1.6188 | 0.086178 | 0.457 | 1.1618 | 0.054097 | 15.0307 | 0.52603 | 25.0071 | 385.005 | 0.0061516
33 | 15:50:09 | 1337.5001 | 0 | 8.6607 | 0.087234 | 215.8295 | 1.7266 | 1.4722 | 16.868 | 6 | 1.42 | 1 | 2.84 | 11.6099 | 16.868 | 10.0108 | 399.88 | 388.6801 | 4.1591 | 6.2185 | 22.2399 | 33.252 | 499.9207 | 1699.955 | 7.2027 | 73.3559 | 1.9708 | 0.087984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0017266 | 290.018 | 284.7599 | 271.9928 | 1.7013 | 1.9284 | 26.2877 | 20.0692 | 14.2389 | 1.6293 | 0.084635 | 0.45616 | 1.1732 | 0.053124 | 15.8324 | 0.55529 | 24.7069 | 384.5632 | 0.0055642
34 | 15:50:09 | 1338.0001 | 0 | 8.6466 | 0.087163 | 215.9528 | 1.7252 | 1.4722 | 16.8673 | 6 | 1.42 | 1 | 2.84 | 11.611 | 16.8673 | 10.0108 | 399.8526 | 388.6702 | 4.1594 | 6.2172 | 22.2399 | 33.2425 | 499.9183 | 1699.9283 | 7.1932 | 73.356 | 1.9708 | 0.087984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0017252 | 290.0173 | 284.761 | 271.9885 | 1.7023 | 1.9283 | 26.2864 | 20.0692 | 14.2391 | 1.6293 | 0.084567 | 0.45607 | 1.1733 | 0.053082 | 15.8414 | 0.55562 | 24.7014 | 384.56 | 0.005554
35 | 15:50:10 | 1338.0001 | 0 | 8.6466 | 0.087163 | 215.9528 | 1.7252 | 1.4722 | 16.8673 | 6 | 1.42 | 1 | 2.84 | 11.611 | 16.8673 | 10.0108 | 399.8526 | 388.6702 | 4.1594 | 6.2172 | 22.2399 | 33.2425 | 499.9183 | 1699.9283 | 7.1932 | 73.356 | 1.9708 | 0.087984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0017252 | 290.0173 | 284.761 | 271.9885 | 1.7023 | 1.9283 | 26.2864 | 20.0692 | 14.2391 | 1.6293 | 0.084567 | 0.45607 | 1.1733 | 0.053082 | 15.8414 | 0.55562 | 24.7014 | 384.56 | 0.005554
36 | 15:50:10 | 1338.5001 | 0 | 8.6401 | 0.087145 | 216.0306 | 1.7247 | 1.472 | 16.8657 | 6 | 1.42 | 1 | 2.84 | 11.6122 | 16.8657 | 10.0109 | 399.833 | 388.6584 | 4.16 | 6.2171 | 22.2412 | 33.2396 | 499.9062 | 1699.9082 | 7.0638 | 73.3562 | 1.9708 | 0.087984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83318 | 0.0017247 | 290.0157 | 284.7622 | 271.9853 | 1.7029 | 1.9281 | 26.2838 | 20.0667 | 14.239 | 1.6293 | 0.08455 | 0.45606 | 1.1733 | 0.053071 | 15.8472 | 0.55584 | 24.703 | 384.5513 | 0.0055503
37 | 15:50:11 | 1339.0001 | 0 | 8.6459 | 0.087135 | 215.8829 | 1.7245 | 1.472 | 16.8655 | 6 | 1.42 | 1 | 2.84 | 11.6138 | 16.8655 | 10.0111 | 399.8164 | 388.6356 | 4.1602 | 6.217 | 22.2402 | 33.2353 | 499.9356 | 1699.8586 | 7.0002 | 73.3561 | 1.9708 | 0.087984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0017245 | 290.0155 | 284.7638 | 271.9774 | 1.7031 | 1.928 | 26.2834 | 20.0664 | 14.2397 | 1.6294 | 0.084541 | 0.45605 | 1.1733 | 0.053065 | 15.8363 | 0.55549 | 24.7028 | 384.5257 | 0.0055543
38 | 15:50:11 | 1339.0001 | 0 | 8.6459 | 0.087135 | 215.8829 | 1.7245 | 1.472 | 16.8655 | 6 | 1.42 | 1 | 2.84 | 11.6138 | 16.8655 | 10.0111 | 399.8164 | 388.6356 | 4.1602 | 6.217 | 22.2402 | 33.2353 | 499.9356 | 1699.8586 | 7.0002 | 73.3561 | 1.9708 | 0.087984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.0017245 | 290.0155 | 284.7638 | 271.9774 | 1.7031 | 1.928 | 26.2834 | 20.0664 | 14.2397 | 1.6294 | 0.084541 | 0.45605 | 1.1733 | 0.053065 | 15.8363 | 0.55549 | 24.7028 | 384.5257 | 0.0055543
39 | 15:50:12 | 1339.5001 | 0 | 8.6193 | 0.087103 | 216.3355 | 1.7239 | 1.472 | 16.8656 | 6 | 1.42 | 1 | 2.84 | 11.6149 | 16.8656 | 10.0108 | 399.8008 | 388.652 | 4.1607 | 6.2168 | 22.2409 | 33.2318 | 499.9283 | 1699.8798 | 6.9939 | 73.3557 | 1.9708 | 0.087984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0017239 | 290.0156 | 284.7649 | 271.9808 | 1.7036 | 1.9281 | 26.2836 | 20.0668 | 14.2402 | 1.6295 | 0.084511 | 0.45604 | 1.1734 | 0.053046 | 15.8694 | 0.55663 | 24.701 | 384.5548 | 0.0055364
40 | 15:50:12 | 1340.0001 | 0 | 8.6392 | 0.087077 | 215.8974 | 1.7232 | 1.4719 | 16.864 | 6 | 1.42 | 1 | 2.84 | 11.6156 | 16.864 | 10.0097 | 399.8015 | 388.6291 | 4.1608 | 6.2161 | 22.2402 | 33.2264 | 499.9231 | 1699.9357 | 6.9092 | 73.3554 | 1.9708 | 0.087984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0017232 | 290.014 | 284.7656 | 271.9897 | 1.7043 | 1.9279 | 26.2812 | 20.0651 | 14.2398 | 1.6294 | 0.084486 | 0.45598 | 1.1734 | 0.053031 | 15.8372 | 0.55554 | 24.7 | 384.5225 | 0.0055494
41 | 15:50:13 | 1340.5001 | 0 | 8.6344 | 0.087064 | 215.9635 | 1.7232 | 1.4721 | 16.8654 | 6 | 1.42 | 1 | 2.84 | 11.6165 | 16.8654 | 10.0104 | 399.7963 | 388.6294 | 4.1605 | 6.2159 | 22.2373 | 33.2229 | 499.9134 | 1699.9843 | 6.8859 | 73.3547 | 1.9708 | 0.087984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83319 | 0.0017232 | 290.0154 | 284.7665 | 271.9975 | 1.7043 | 1.928 | 26.2837 | 20.0679 | 14.2409 | 1.6295 | 0.084475 | 0.45596 | 1.1736 | 0.053023 | 15.8419 | 0.55571 | 24.6965 | 384.525 | 0.0055455
42 | 15:50:13 | 1341.0001 | 0 | 8.6322 | 0.087014 | 215.9097 | 1.7225 | 1.4723 | 16.8664 | 6 | 1.42 | 1 | 2.84 | 11.6174 | 16.8664 | 10.01 | 399.7916 | 388.6275 | 4.1602 | 6.2148 | 22.2345 | 33.215 | 499.9049 | 1700.0817 | 6.7694 | 73.3547 | 1.9708 | 0.087984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0017225 | 290.0164 | 284.7674 | 272.0131 | 1.7049 | 1.9282 | 26.2855 | 20.0707 | 14.2419 | 1.6296 | 0.084427 | 0.45588 | 1.1738 | 0.052993 | 15.838 | 0.55557 | 24.6895 | 384.5242 | 0.0055426
43 | 15:50:14 | 1341.5001 | 0 | 8.6648 | 0.086957 | 215.1779 | 1.7217 | 1.4726 | 16.868 | 6 | 1.42 | 1 | 2.84 | 11.6185 | 16.868 | 10.0104 | 399.807 | 388.604 | 4.1601 | 6.2137 | 22.232 | 33.207 | 499.8996 | 1700.134 | 6.6921 | 73.3546 | 1.9708 | 0.087984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.0017217 | 290.018 | 284.7685 | 272.0214 | 1.7053 | 1.9284 | 26.2882 | 20.0744 | 14.2433 | 1.6298 | 0.084374 | 0.45581 | 1.174 | 0.05296 | 15.7843 | 0.55372 | 24.6817 | 384.4852 | 0.0055623
44 | 15:50:14 | 1342.0001 | 0 | 8.6812 | 0.086954 | 214.8827 | 1.722 | 1.4729 | 16.8712 | 6 | 1.42 | 1 | 2.84 | 11.6195 | 16.8712 | 10.0109 | 399.8432 | 388.6209 | 4.1607 | 6.2147 | 22.2341 | 33.2099 | 499.9203 | 1700.2003 | 6.7494 | 73.3547 | 1.9708 | 0.087984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.001722 | 290.0212 | 284.7695 | 272.032 | 1.705 | 1.9287 | 26.2933 | 20.0787 | 14.2453 | 1.63 | 0.084371 | 0.45588 | 1.1741 | 0.052958 | 15.7627 | 0.55294 | 24.6803 | 384.4943 | 0.0055724
45 | 15:50:15 | 1342.5001 | 0 | 8.6952 | 0.086961 | 214.6304 | 1.7225 | 1.4731 | 16.874 | 6 | 1.42 | 1 | 2.84 | 11.6206 | 16.874 | 10.0119 | 399.8576 | 388.6184 | 4.1611 | 6.2156 | 22.2344 | 33.2123 | 499.9265 | 1700.2372 | 6.8077 | 73.3548 | 1.9708 | 0.087984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0017225 | 290.024 | 284.7706 | 272.0379 | 1.7046 | 1.9291 | 26.298 | 20.0824 | 14.2473 | 1.6302 | 0.084378 | 0.45594 | 1.1743 | 0.052962 | 15.7442 | 0.55229 | 24.6795 | 384.4851 | 0.0055813
46 | 15:50:15 | 1343.0001 | 0 | 8.686 | 0.086974 | 214.8369 | 1.723 | 1.4734 | 16.8761 | 6 | 1.42 | 1 | 2.84 | 11.6209 | 16.8761 | 10.0117 | 399.8618 | 388.6337 | 4.1608 | 6.2158 | 22.2322 | 33.2129 | 499.9402 | 1700.2343 | 6.8617 | 73.3549 | 1.9708 | 0.087984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | 0.001723 | 290.0261 | 284.7709 | 272.0375 | 1.7041 | 1.9293 | 26.3016 | 20.0858 | 14.2485 | 1.6303 | 0.084389 | 0.45596 | 1.1744 | 0.05297 | 15.7593 | 0.5528 | 24.6774 | 384.5048 | 0.0055747
47 | 15:50:16 | 1343.5001 | 0 | 8.6866 | 0.086943 | 214.7453 | 1.7227 | 1.4736 | 16.8774 | 6 | 1.42 | 1 | 2.84 | 11.622 | 16.8774 | 10.0116 | 399.8365 | 388.6086 | 4.1599 | 6.2145 | 22.2261 | 33.2034 | 499.9741 | 1700.2625 | 6.7949 | 73.3549 | 1.9708 | 0.087984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83329 | 0.0017227 | 290.0274 | 284.772 | 272.042 | 1.7042 | 1.9295 | 26.3037 | 20.0892 | 14.2497 | 1.6305 | 0.08436 | 0.45586 | 1.1746 | 0.052951 | 15.7526 | 0.5526 | 24.6696 | 384.4795 | 0.0055736 | 8.655 | 0.087068 | 215.594 | 1.7237 | 1.4724 | 16.8685 | 6 | 1.42 | 1 | 2.84 | 11.6158 | 16.8685 | 10.0109 | 399.8298 | 388.6383 | 4.1602 | 6.2161 | 22.2369 | 33.2259 | 499.9243 | 1700.0258 | 6.9412 | 73.3554 | 1.9708 | 0.087984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | 0.0017237 | 290.0185 | 284.7658 | 272.0041 | 1.7037 | 1.9284 | 26.2887 | 20.0725 | 14.2422 | 1.6297 | 0.084478 | 0.45599 | 1.1737 | 0.053026 | 15.815 | 0.55474 | 24.6929 | 384.5241 | 0.005558